## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0675e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0675e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -5.2106e-15 | -5.2106e-15 | -1.0421e-14 | 2.3448e-14 | 5.2111e-15 | 1.5632e-14 | 5.7634e-09 | -5.7634e-09 | -3.1264e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.9283e-12 | 180 | 180 | 9.9407e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1264e-14 | 5.2108e-15 | 2.6053e-14 | 1.0421e-14 | 2.6052e-15 | -2.6053e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.9549e-12 | -180 | 180 | 9.9407e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1264e-14 | 5.2108e-15 | 2.6053e-14 | 1.0421e-14 | 2.6052e-15 | -2.6053e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.9549e-12 | -180 | 180 | 9.9407e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -5.2106e-15 | -5.2106e-15 | -1.0421e-14 | 2.3448e-14 | 5.2111e-15 | 1.5632e-14 | 5.7634e-09 | -5.7634e-09 | -3.1264e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.9283e-12 | 180 | 180 | 9.9407e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1264e-14 | 5.2108e-15 | 2.6053e-14 | 1.0421e-14 | 2.6052e-15 | -2.6053e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.9549e-12 | -180 | 180 | 9.9407e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1264e-14 | 5.2108e-15 | 2.6053e-14 | 1.0421e-14 | 2.6052e-15 | -2.6053e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.9549e-12 | -180 | 180 | 9.9407e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5133e-15 | -9.5549e-10 | -3.075e-09 | -1.4329e-14 | 9.5549e-10 | 3.075e-09 | 1.0421e-14 | 4.0277e-09 | -3.5665e-10 | -7.816e-15 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.6591e-12 | -140.8543 | 122.4159 | 4.6649e-12 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 3.1851e-10 | 1.025e-09 | 6.5133e-15 | -3.185e-10 | -1.025e-09 | -1.0421e-14 | -1.3426e-09 | 1.1888e-10 | 7.816e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.6712e-12 | -140.8543 | 122.4159 | 4.6649e-12 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 3.1851e-10 | 1.025e-09 | 6.5133e-15 | -3.185e-10 | -1.025e-09 | -1.0421e-14 | -1.3426e-09 | 1.1888e-10 | 7.816e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.6712e-12 | -140.8543 | 122.4159 | 4.6649e-12 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5133e-15 | -9.5549e-10 | -3.075e-09 | -1.4329e-14 | 9.5549e-10 | 3.075e-09 | 1.0421e-14 | 4.0277e-09 | -3.5665e-10 | -7.816e-15 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.6591e-12 | -140.8543 | 122.4159 | 4.6649e-12 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 3.1851e-10 | 1.025e-09 | 6.5133e-15 | -3.185e-10 | -1.025e-09 | -1.0421e-14 | -1.3426e-09 | 1.1888e-10 | 7.816e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.6712e-12 | -140.8543 | 122.4159 | 4.6649e-12 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 3.1851e-10 | 1.025e-09 | 6.5133e-15 | -3.185e-10 | -1.025e-09 | -1.0421e-14 | -1.3426e-09 | 1.1888e-10 | 7.816e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.6712e-12 | -140.8543 | 122.4159 | 4.6649e-12 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0078e-27 | -1.8948e-14 | -9.0417e-21 | -4.737e-15 | 2.3685e-14 | 2.3692e-15 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0712e-12 | -180 | 180 | 6.106e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 9.4742e-15 | 4.7373e-15 | 1.1842e-14 | -4.7372e-15 | -2.3687e-15 | -2.0254e-27 | -1.5877e-09 | 1.5877e-09 | 1.262e-27 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1244e-12 | -180 | 180 | 6.106e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 9.4742e-15 | 4.7373e-15 | 1.1842e-14 | -4.7372e-15 | -2.3687e-15 | -2.0254e-27 | -1.5877e-09 | 1.5877e-09 | 1.262e-27 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1244e-12 | -180 | 180 | 6.106e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0078e-27 | -1.8948e-14 | -9.0417e-21 | -4.737e-15 | 2.3685e-14 | 2.3692e-15 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0712e-12 | -180 | 180 | 6.106e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 9.4742e-15 | 4.7373e-15 | 1.1842e-14 | -4.7372e-15 | -2.3687e-15 | -2.0254e-27 | -1.5877e-09 | 1.5877e-09 | 1.262e-27 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1244e-12 | -180 | 180 | 6.106e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 9.4742e-15 | 4.7373e-15 | 1.1842e-14 | -4.7372e-15 | -2.3687e-15 | -2.0254e-27 | -1.5877e-09 | 1.5877e-09 | 1.262e-27 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1244e-12 | -180 | 180 | 6.106e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4803e-15 | -8.0024e-10 | -2.5674e-09 | -3.5527e-15 | 8.0024e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4064e-10 | -4.737e-15 | -3.4014e-09 | 3.4063e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.2503e-12 | -141.4824 | 122.8363 | 2.2639e-12 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 2.6675e-10 | 8.558e-10 | 5.3291e-15 | -2.6675e-10 | -8.558e-10 | -9.4739e-15 | -1.1338e-09 | 1.1354e-10 | 9.4739e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.2775e-12 | -141.4824 | 122.8363 | 2.2639e-12 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 2.6675e-10 | 8.558e-10 | 5.3291e-15 | -2.6675e-10 | -8.558e-10 | -9.4739e-15 | -1.1338e-09 | 1.1354e-10 | 9.4739e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.2775e-12 | -141.4824 | 122.8363 | 2.2639e-12 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4803e-15 | -8.0024e-10 | -2.5674e-09 | -3.5527e-15 | 8.0024e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4064e-10 | -4.737e-15 | -3.4014e-09 | 3.4063e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.2503e-12 | -141.4824 | 122.8363 | 2.2639e-12 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 2.6675e-10 | 8.558e-10 | 5.3291e-15 | -2.6675e-10 | -8.558e-10 | -9.4739e-15 | -1.1338e-09 | 1.1354e-10 | 9.4739e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.2775e-12 | -141.4824 | 122.8363 | 2.2639e-12 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 2.6675e-10 | 8.558e-10 | 5.3291e-15 | -2.6675e-10 | -8.558e-10 | -9.4739e-15 | -1.1338e-09 | 1.1354e-10 | 9.4739e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.2775e-12 | -141.4824 | 122.8363 | 2.2639e-12 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016178 | 0.016178 | 0.016178 | 0.021585 | 0.021585 | 0.021585 | 0.18681 | 0.18681 | 0.18681 | 0.24924 | 0.24924 | 0.24924 | -1.0041e-14 | -0.17395 | 0.18194 | 0.0015057 | 0.23465 | -0.24019 | 4.0373e-14 | 0.30876 | 0.30404 | 0.00060027 | -0.41074 | -0.40567 | 90.7583 | 90.7583 | 90.7583 | -89.3893 | -89.3893 | -89.3893 |  | 0 | 1.897 | 1.8967 | 0.0065037 | 1.8979 | 1.8915 | 0 | -149.8449 | 149.8619 | -67.6544 | -149.6504 | 149.9818
Line_1 | 0.016189 | 0.016189 | 0.016189 | 0.010792 | 0.010792 | 0.010792 | 0.18693 | 0.18693 | 0.18693 | 0.12462 | 0.12462 | 0.12462 | 0.001936 | 0.1771 | -0.17904 | -0.00075287 | -0.11732 | 0.1201 | 0.00077242 | -0.30756 | -0.30412 | -0.00030013 | 0.20537 | 0.20284 | -89.446 | -89.446 | -89.446 | 90.6107 | 90.6107 | 90.6107 |  | 0.01115 | 1.8986 | 1.8879 | 0.0065037 | 1.8979 | 1.8915 | -67.6949 | -149.5116 | 150.0681 | -67.6544 | -149.6504 | 149.9818
Line_2 | 0.016189 | 0.016189 | 0.016189 | 0.010792 | 0.010792 | 0.010792 | 0.18693 | 0.18693 | 0.18693 | 0.12462 | 0.12462 | 0.12462 | 0.001936 | 0.1771 | -0.17904 | -0.00075287 | -0.11732 | 0.1201 | 0.00077242 | -0.30756 | -0.30412 | -0.00030013 | 0.20537 | 0.20284 | -89.446 | -89.446 | -89.446 | 90.6107 | 90.6107 | 90.6107 |  | 0.01115 | 1.8986 | 1.8879 | 0.0065037 | 1.8979 | 1.8915 | -67.6949 | -149.5116 | 150.0681 | -67.6544 | -149.6504 | 149.9818

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016178 | 0.016178 | 0.016178 | 0.021585 | 0.021585 | 0.021585 | 0.18681 | 0.18681 | 0.18681 | 0.24924 | 0.24924 | 0.24924 | -1.0041e-14 | -0.17395 | 0.18194 | 0.0015057 | 0.23465 | -0.24019 | 4.0373e-14 | 0.30876 | 0.30404 | 0.00060027 | -0.41074 | -0.40567 | 90.7583 | 90.7583 | 90.7583 | -89.3893 | -89.3893 | -89.3893 |  | 0 | 1.897 | 1.8967 | 0.0065037 | 1.8979 | 1.8915 | 0 | -149.8449 | 149.8619 | -67.6544 | -149.6504 | 149.9818
Line_1 | 0.016189 | 0.016189 | 0.016189 | 0.010792 | 0.010792 | 0.010792 | 0.18693 | 0.18693 | 0.18693 | 0.12462 | 0.12462 | 0.12462 | 0.001936 | 0.1771 | -0.17904 | -0.00075287 | -0.11732 | 0.1201 | 0.00077242 | -0.30756 | -0.30412 | -0.00030013 | 0.20537 | 0.20284 | -89.446 | -89.446 | -89.446 | 90.6107 | 90.6107 | 90.6107 |  | 0.01115 | 1.8986 | 1.8879 | 0.0065037 | 1.8979 | 1.8915 | -67.6949 | -149.5116 | 150.0681 | -67.6544 | -149.6504 | 149.9818
Line_2 | 0.016189 | 0.016189 | 0.016189 | 0.010792 | 0.010792 | 0.010792 | 0.18693 | 0.18693 | 0.18693 | 0.12462 | 0.12462 | 0.12462 | 0.001936 | 0.1771 | -0.17904 | -0.00075287 | -0.11732 | 0.1201 | 0.00077242 | -0.30756 | -0.30412 | -0.00030013 | 0.20537 | 0.20284 | -89.446 | -89.446 | -89.446 | 90.6107 | 90.6107 | 90.6107 |  | 0.01115 | 1.8986 | 1.8879 | 0.0065037 | 1.8979 | 1.8915 | -67.6949 | -149.5116 | 150.0681 | -67.6544 | -149.6504 | 149.9818

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015868 | 0.015868 | 0.015868 | 0.021171 | 0.021171 | 0.021171 | 0.18323 | 0.18323 | 0.18323 | 0.24447 | 0.24447 | 0.24447 | -0.0037771 | -0.16873 | 0.1802 | 0.0064749 | 0.22761 | -0.23797 | -0.0037771 | 0.3022 | 0.29112 | 0.0056298 | -0.40203 | -0.38845 | 91.8177 | 91.8177 | 91.8177 | -88.3298 | -88.3298 | -88.3298 |  | 0.029152 | 1.8889 | 1.8686 | 0.035098 | 1.8898 | 1.8634 | -43.1822 | -149.0053 | 150.0616 | -47.3237 | -148.8136 | 150.1787
Line_1 | 0.015879 | 0.015879 | 0.015879 | 0.010586 | 0.010586 | 0.010586 | 0.18335 | 0.18335 | 0.18335 | 0.12223 | 0.12223 | 0.12223 | 0.0056285 | 0.17178 | -0.17741 | -0.0032375 | -0.1138 | 0.11898 | 0.0045361 | -0.30105 | -0.29121 | -0.0028149 | 0.20101 | 0.19423 | -88.3866 | -88.3866 | -88.3866 | 91.6702 | 91.6702 | 91.6702 |  | 0.039426 | 1.8904 | 1.8598 | 0.035098 | 1.8898 | 1.8634 | -49.5208 | -148.6768 | 150.2629 | -47.3237 | -148.8136 | 150.1787
Line_2 | 0.015879 | 0.015879 | 0.015879 | 0.010586 | 0.010586 | 0.010586 | 0.18335 | 0.18335 | 0.18335 | 0.12223 | 0.12223 | 0.12223 | 0.0056285 | 0.17178 | -0.17741 | -0.0032375 | -0.1138 | 0.11898 | 0.0045361 | -0.30105 | -0.29121 | -0.0028149 | 0.20101 | 0.19423 | -88.3866 | -88.3866 | -88.3866 | 91.6702 | 91.6702 | 91.6702 |  | 0.039426 | 1.8904 | 1.8598 | 0.035098 | 1.8898 | 1.8634 | -49.5208 | -148.6768 | 150.2629 | -47.3237 | -148.8136 | 150.1787

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015868 | 0.015868 | 0.015868 | 0.021171 | 0.021171 | 0.021171 | 0.18323 | 0.18323 | 0.18323 | 0.24447 | 0.24447 | 0.24447 | -0.0037771 | -0.16873 | 0.1802 | 0.0064749 | 0.22761 | -0.23797 | -0.0037771 | 0.3022 | 0.29112 | 0.0056298 | -0.40203 | -0.38845 | 91.8177 | 91.8177 | 91.8177 | -88.3298 | -88.3298 | -88.3298 |  | 0.029152 | 1.8889 | 1.8686 | 0.035098 | 1.8898 | 1.8634 | -43.1822 | -149.0053 | 150.0616 | -47.3237 | -148.8136 | 150.1787
Line_1 | 0.015879 | 0.015879 | 0.015879 | 0.010586 | 0.010586 | 0.010586 | 0.18335 | 0.18335 | 0.18335 | 0.12223 | 0.12223 | 0.12223 | 0.0056285 | 0.17178 | -0.17741 | -0.0032375 | -0.1138 | 0.11898 | 0.0045361 | -0.30105 | -0.29121 | -0.0028149 | 0.20101 | 0.19423 | -88.3866 | -88.3866 | -88.3866 | 91.6702 | 91.6702 | 91.6702 |  | 0.039426 | 1.8904 | 1.8598 | 0.035098 | 1.8898 | 1.8634 | -49.5208 | -148.6768 | 150.2629 | -47.3237 | -148.8136 | 150.1787
Line_2 | 0.015879 | 0.015879 | 0.015879 | 0.010586 | 0.010586 | 0.010586 | 0.18335 | 0.18335 | 0.18335 | 0.12223 | 0.12223 | 0.12223 | 0.0056285 | 0.17178 | -0.17741 | -0.0032375 | -0.1138 | 0.11898 | 0.0045361 | -0.30105 | -0.29121 | -0.0028149 | 0.20101 | 0.19423 | -88.3866 | -88.3866 | -88.3866 | 91.6702 | 91.6702 | 91.6702 |  | 0.039426 | 1.8904 | 1.8598 | 0.035098 | 1.8898 | 1.8634 | -49.5208 | -148.6768 | 150.2629 | -47.3237 | -148.8136 | 150.1787

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014702 | 0.014702 | 0.014702 | 0.019614 | 0.019614 | 0.019614 | 0.16976 | 0.16976 | 0.16976 | 0.22649 | 0.22649 | 0.22649 | -3.1118e-14 | -0.14064 | 0.1533 | 0.0023873 | 0.19171 | -0.2005 | -3.3246e-14 | 0.25669 | 0.24929 | 0.00049804 | -0.34104 | -0.33311 | 91.442 | 91.442 | 91.442 | -88.8413 | -88.8413 | -88.8413 |  | 0 | 1.7242 | 1.724 | 0.010767 | 1.7274 | 1.7166 | 0 | -149.8405 | 149.8525 | -77.0571 | -149.4994 | 150.1149
Line_1 | 0.014711 | 0.014711 | 0.014711 | 0.0098072 | 0.0098072 | 0.0098072 | 0.16987 | 0.16987 | 0.16987 | 0.11324 | 0.11324 | 0.11324 | 0.0030694 | 0.14555 | -0.14862 | -0.0011936 | -0.095855 | 0.10025 | 0.00064208 | -0.25524 | -0.24985 | -0.00024902 | 0.17052 | 0.16655 | -88.9502 | -88.9502 | -88.9502 | 91.1587 | 91.1587 | 91.1587 |  | 0.01846 | 1.7297 | 1.7114 | 0.010767 | 1.7274 | 1.7166 | -77.135 | -149.2567 | 150.3044 | -77.0571 | -149.4994 | 150.1149
Line_2 | 0.014711 | 0.014711 | 0.014711 | 0.0098072 | 0.0098072 | 0.0098072 | 0.16987 | 0.16987 | 0.16987 | 0.11324 | 0.11324 | 0.11324 | 0.0030694 | 0.14555 | -0.14862 | -0.0011936 | -0.095855 | 0.10025 | 0.00064208 | -0.25524 | -0.24985 | -0.00024902 | 0.17052 | 0.16655 | -88.9502 | -88.9502 | -88.9502 | 91.1587 | 91.1587 | 91.1587 |  | 0.01846 | 1.7297 | 1.7114 | 0.010767 | 1.7274 | 1.7166 | -77.135 | -149.2567 | 150.3044 | -77.0571 | -149.4994 | 150.1149

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014702 | 0.014702 | 0.014702 | 0.019614 | 0.019614 | 0.019614 | 0.16976 | 0.16976 | 0.16976 | 0.22649 | 0.22649 | 0.22649 | -3.1118e-14 | -0.14064 | 0.1533 | 0.0023873 | 0.19171 | -0.2005 | -3.3246e-14 | 0.25669 | 0.24929 | 0.00049804 | -0.34104 | -0.33311 | 91.442 | 91.442 | 91.442 | -88.8413 | -88.8413 | -88.8413 |  | 0 | 1.7242 | 1.724 | 0.010767 | 1.7274 | 1.7166 | 0 | -149.8405 | 149.8525 | -77.0571 | -149.4994 | 150.1149
Line_1 | 0.014711 | 0.014711 | 0.014711 | 0.0098072 | 0.0098072 | 0.0098072 | 0.16987 | 0.16987 | 0.16987 | 0.11324 | 0.11324 | 0.11324 | 0.0030694 | 0.14555 | -0.14862 | -0.0011936 | -0.095855 | 0.10025 | 0.00064208 | -0.25524 | -0.24985 | -0.00024902 | 0.17052 | 0.16655 | -88.9502 | -88.9502 | -88.9502 | 91.1587 | 91.1587 | 91.1587 |  | 0.01846 | 1.7297 | 1.7114 | 0.010767 | 1.7274 | 1.7166 | -77.135 | -149.2567 | 150.3044 | -77.0571 | -149.4994 | 150.1149
Line_2 | 0.014711 | 0.014711 | 0.014711 | 0.0098072 | 0.0098072 | 0.0098072 | 0.16987 | 0.16987 | 0.16987 | 0.11324 | 0.11324 | 0.11324 | 0.0030694 | 0.14555 | -0.14862 | -0.0011936 | -0.095855 | 0.10025 | 0.00064208 | -0.25524 | -0.24985 | -0.00024902 | 0.17052 | 0.16655 | -88.9502 | -88.9502 | -88.9502 | 91.1587 | 91.1587 | 91.1587 |  | 0.01846 | 1.7297 | 1.7114 | 0.010767 | 1.7274 | 1.7166 | -77.135 | -149.2567 | 150.3044 | -77.0571 | -149.4994 | 150.1149

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014417 | 0.014417 | 0.014417 | 0.019235 | 0.019235 | 0.019235 | 0.16647 | 0.16647 | 0.16647 | 0.2221 | 0.2221 | 0.2221 | -0.0031177 | -0.13638 | 0.15168 | 0.0064347 | 0.18591 | -0.1985 | -0.0031177 | 0.25111 | 0.23859 | 0.004659 | -0.33364 | -0.31884 | 92.4878 | 92.4878 | 92.4878 | -87.7956 | -87.7956 | -87.7956 |  | 0.026486 | 1.7165 | 1.6983 | 0.035769 | 1.7196 | 1.691 | -42.5122 | -149.0044 | 150.0419 | -51.8891 | -148.668 | 150.2995
Line_1 | 0.014426 | 0.014426 | 0.014426 | 0.0096173 | 0.0096173 | 0.0096173 | 0.16658 | 0.16658 | 0.16658 | 0.11105 | 0.11105 | 0.11105 | 0.0060499 | 0.14114 | -0.14719 | -0.0032173 | -0.092955 | 0.099249 | 0.0037584 | -0.24971 | -0.23916 | -0.0023295 | 0.16682 | 0.15942 | -87.9045 | -87.9045 | -87.9045 | 92.2044 | 92.2044 | 92.2044 |  | 0.042757 | 1.7219 | 1.6858 | 0.035769 | 1.7196 | 1.691 | -56.0544 | -148.4286 | 150.4854 | -51.8891 | -148.668 | 150.2995
Line_2 | 0.014426 | 0.014426 | 0.014426 | 0.0096173 | 0.0096173 | 0.0096173 | 0.16658 | 0.16658 | 0.16658 | 0.11105 | 0.11105 | 0.11105 | 0.0060499 | 0.14114 | -0.14719 | -0.0032173 | -0.092955 | 0.099249 | 0.0037584 | -0.24971 | -0.23916 | -0.0023295 | 0.16682 | 0.15942 | -87.9045 | -87.9045 | -87.9045 | 92.2044 | 92.2044 | 92.2044 |  | 0.042757 | 1.7219 | 1.6858 | 0.035769 | 1.7196 | 1.691 | -56.0544 | -148.4286 | 150.4854 | -51.8891 | -148.668 | 150.2995

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014417 | 0.014417 | 0.014417 | 0.019235 | 0.019235 | 0.019235 | 0.16647 | 0.16647 | 0.16647 | 0.2221 | 0.2221 | 0.2221 | -0.0031177 | -0.13638 | 0.15168 | 0.0064347 | 0.18591 | -0.1985 | -0.0031177 | 0.25111 | 0.23859 | 0.004659 | -0.33364 | -0.31884 | 92.4878 | 92.4878 | 92.4878 | -87.7956 | -87.7956 | -87.7956 |  | 0.026486 | 1.7165 | 1.6983 | 0.035769 | 1.7196 | 1.691 | -42.5122 | -149.0044 | 150.0419 | -51.8891 | -148.668 | 150.2995
Line_1 | 0.014426 | 0.014426 | 0.014426 | 0.0096173 | 0.0096173 | 0.0096173 | 0.16658 | 0.16658 | 0.16658 | 0.11105 | 0.11105 | 0.11105 | 0.0060499 | 0.14114 | -0.14719 | -0.0032173 | -0.092955 | 0.099249 | 0.0037584 | -0.24971 | -0.23916 | -0.0023295 | 0.16682 | 0.15942 | -87.9045 | -87.9045 | -87.9045 | 92.2044 | 92.2044 | 92.2044 |  | 0.042757 | 1.7219 | 1.6858 | 0.035769 | 1.7196 | 1.691 | -56.0544 | -148.4286 | 150.4854 | -51.8891 | -148.668 | 150.2995
Line_2 | 0.014426 | 0.014426 | 0.014426 | 0.0096173 | 0.0096173 | 0.0096173 | 0.16658 | 0.16658 | 0.16658 | 0.11105 | 0.11105 | 0.11105 | 0.0060499 | 0.14114 | -0.14719 | -0.0032173 | -0.092955 | 0.099249 | 0.0037584 | -0.24971 | -0.23916 | -0.0023295 | 0.16682 | 0.15942 | -87.9045 | -87.9045 | -87.9045 | 92.2044 | 92.2044 | 92.2044 |  | 0.042757 | 1.7219 | 1.6858 | 0.035769 | 1.7196 | 1.691 | -56.0544 | -148.4286 | 150.4854 | -51.8891 | -148.668 | 150.2995

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.008125 | 0.008125 | 0.008125 | 0.01084 | 0.01084 | 0.01084 | 0.09382 | 0.09382 | 0.09382 | 0.12517 | 0.12517 | 0.12517 | 0.0020151 | 1.2e-14 | 2.5118e-14 | -0.0017776 | 0.00037978 | 0.00037978 | 0.15456 | 6.2887e-14 | -2.7684e-14 | -0.20607 | 0.0001514 | 0.0001514 | -89.2502 | -89.2502 | -89.2502 | 90.6022 | 90.6022 | 90.6022 |  | 1.6476 | 0 | 0 | 1.6463 | 0.0032662 | 0.0032662 | 0.0028451 | 0 | 0 | 0.10799 | 112.3371 | 112.3371
Line_1 | 0.0081303 | 0.0081303 | 0.0081303 | 0.0054201 | 0.0054201 | 0.0054201 | 0.09388 | 0.09388 | 0.09388 | 0.062586 | 0.062586 | 0.062586 | -0.00097659 | 0.00048829 | 0.00048829 | 0.00088878 | -0.00018989 | -0.00018989 | -0.15447 | 0.00019482 | 0.00019482 | 0.10303 | -7.57e-05 | -7.57e-05 | 90.5455 | 90.5455 | 90.5455 | -89.3978 | -89.3978 | -89.3978 |  | 1.6454 | 0.0055999 | 0.0055999 | 1.6463 | 0.0032662 | 0.0032662 | 0.18326 | 112.2966 | 112.2966 | 0.10799 | 112.3371 | 112.3371
Line_2 | 0.0081303 | 0.0081303 | 0.0081303 | 0.0054201 | 0.0054201 | 0.0054201 | 0.09388 | 0.09388 | 0.09388 | 0.062586 | 0.062586 | 0.062586 | -0.00097659 | 0.00048829 | 0.00048829 | 0.00088878 | -0.00018989 | -0.00018989 | -0.15447 | 0.00019482 | 0.00019482 | 0.10303 | -7.57e-05 | -7.57e-05 | 90.5455 | 90.5455 | 90.5455 | -89.3978 | -89.3978 | -89.3978 |  | 1.6454 | 0.0055999 | 0.0055999 | 1.6463 | 0.0032662 | 0.0032662 | 0.18326 | 112.2966 | 112.2966 | 0.10799 | 112.3371 | 112.3371

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.008125 | 0.008125 | 0.008125 | 0.01084 | 0.01084 | 0.01084 | 0.09382 | 0.09382 | 0.09382 | 0.12517 | 0.12517 | 0.12517 | 0.0020151 | 1.2e-14 | 2.5118e-14 | -0.0017776 | 0.00037978 | 0.00037978 | 0.15456 | 6.2887e-14 | -2.7684e-14 | -0.20607 | 0.0001514 | 0.0001514 | -89.2502 | -89.2502 | -89.2502 | 90.6022 | 90.6022 | 90.6022 |  | 1.6476 | 0 | 0 | 1.6463 | 0.0032662 | 0.0032662 | 0.0028451 | 0 | 0 | 0.10799 | 112.3371 | 112.3371
Line_1 | 0.0081303 | 0.0081303 | 0.0081303 | 0.0054201 | 0.0054201 | 0.0054201 | 0.09388 | 0.09388 | 0.09388 | 0.062586 | 0.062586 | 0.062586 | -0.00097659 | 0.00048829 | 0.00048829 | 0.00088878 | -0.00018989 | -0.00018989 | -0.15447 | 0.00019482 | 0.00019482 | 0.10303 | -7.57e-05 | -7.57e-05 | 90.5455 | 90.5455 | 90.5455 | -89.3978 | -89.3978 | -89.3978 |  | 1.6454 | 0.0055999 | 0.0055999 | 1.6463 | 0.0032662 | 0.0032662 | 0.18326 | 112.2966 | 112.2966 | 0.10799 | 112.3371 | 112.3371
Line_2 | 0.0081303 | 0.0081303 | 0.0081303 | 0.0054201 | 0.0054201 | 0.0054201 | 0.09388 | 0.09388 | 0.09388 | 0.062586 | 0.062586 | 0.062586 | -0.00097659 | 0.00048829 | 0.00048829 | 0.00088878 | -0.00018989 | -0.00018989 | -0.15447 | 0.00019482 | 0.00019482 | 0.10303 | -7.57e-05 | -7.57e-05 | 90.5455 | 90.5455 | 90.5455 | -89.3978 | -89.3978 | -89.3978 |  | 1.6454 | 0.0055999 | 0.0055999 | 1.6463 | 0.0032662 | 0.0032662 | 0.18326 | 112.2966 | 112.2966 | 0.10799 | 112.3371 | 112.3371

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080465 | 0.0080465 | 0.0080465 | 0.010735 | 0.010735 | 0.010735 | 0.092913 | 0.092913 | 0.092913 | 0.12396 | 0.12396 | 0.12396 | 0.0029475 | 0.068338 | -0.069309 | -0.0030357 | -0.090851 | 0.092888 | 0.15256 | -0.014285 | 0.013314 | -0.2034 | 0.018973 | -0.017377 | -88.7129 | -88.7129 | -88.7129 | 91.1395 | 91.1395 | 91.1395 |  | 1.6423 | 0.7514 | 0.75959 | 1.641 | 0.7487 | 0.76233 | 0.18023 | -100.5201 | 80.413 | 0.28443 | -100.6564 | 80.5435
Line_1 | 0.0080517 | 0.0080517 | 0.0080517 | 0.0053677 | 0.0053677 | 0.0053677 | 0.092973 | 0.092973 | 0.092973 | 0.061981 | 0.061981 | 0.061981 | -0.0019261 | -0.067953 | 0.069879 | 0.0015179 | 0.045425 | -0.046444 | -0.15247 | 0.014242 | -0.012884 | 0.1017 | -0.0094864 | 0.0086884 | 91.0828 | 91.0828 | 91.0828 | -88.8605 | -88.8605 | -88.8605 |  | 1.6401 | 0.74677 | 0.76428 | 1.641 | 0.7487 | 0.76233 | 0.35902 | -100.7541 | 80.6359 | 0.28443 | -100.6564 | 80.5435
Line_2 | 0.0080517 | 0.0080517 | 0.0080517 | 0.0053677 | 0.0053677 | 0.0053677 | 0.092973 | 0.092973 | 0.092973 | 0.061981 | 0.061981 | 0.061981 | -0.0019261 | -0.067953 | 0.069879 | 0.0015179 | 0.045425 | -0.046444 | -0.15247 | 0.014242 | -0.012884 | 0.1017 | -0.0094864 | 0.0086884 | 91.0828 | 91.0828 | 91.0828 | -88.8605 | -88.8605 | -88.8605 |  | 1.6401 | 0.74677 | 0.76428 | 1.641 | 0.7487 | 0.76233 | 0.35902 | -100.7541 | 80.6359 | 0.28443 | -100.6564 | 80.5435

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080465 | 0.0080465 | 0.0080465 | 0.010735 | 0.010735 | 0.010735 | 0.092913 | 0.092913 | 0.092913 | 0.12396 | 0.12396 | 0.12396 | 0.0029475 | 0.068338 | -0.069309 | -0.0030357 | -0.090851 | 0.092888 | 0.15256 | -0.014285 | 0.013314 | -0.2034 | 0.018973 | -0.017377 | -88.7129 | -88.7129 | -88.7129 | 91.1395 | 91.1395 | 91.1395 |  | 1.6423 | 0.7514 | 0.75959 | 1.641 | 0.7487 | 0.76233 | 0.18023 | -100.5201 | 80.413 | 0.28443 | -100.6564 | 80.5435
Line_1 | 0.0080517 | 0.0080517 | 0.0080517 | 0.0053677 | 0.0053677 | 0.0053677 | 0.092973 | 0.092973 | 0.092973 | 0.061981 | 0.061981 | 0.061981 | -0.0019261 | -0.067953 | 0.069879 | 0.0015179 | 0.045425 | -0.046444 | -0.15247 | 0.014242 | -0.012884 | 0.1017 | -0.0094864 | 0.0086884 | 91.0828 | 91.0828 | 91.0828 | -88.8605 | -88.8605 | -88.8605 |  | 1.6401 | 0.74677 | 0.76428 | 1.641 | 0.7487 | 0.76233 | 0.35902 | -100.7541 | 80.6359 | 0.28443 | -100.6564 | 80.5435
Line_2 | 0.0080517 | 0.0080517 | 0.0080517 | 0.0053677 | 0.0053677 | 0.0053677 | 0.092973 | 0.092973 | 0.092973 | 0.061981 | 0.061981 | 0.061981 | -0.0019261 | -0.067953 | 0.069879 | 0.0015179 | 0.045425 | -0.046444 | -0.15247 | 0.014242 | -0.012884 | 0.1017 | -0.0094864 | 0.0086884 | 91.0828 | 91.0828 | 91.0828 | -88.8605 | -88.8605 | -88.8605 |  | 1.6401 | 0.74677 | 0.76428 | 1.641 | 0.7487 | 0.76233 | 0.35902 | -100.7541 | 80.6359 | 0.28443 | -100.6564 | 80.5435

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073849 | 0.0073849 | 0.0073849 | 0.0098527 | 0.0098527 | 0.0098527 | 0.085274 | 0.085274 | 0.085274 | 0.11377 | 0.11377 | 0.11377 | 0.0031961 | 6.9818e-14 | -7.2617e-14 | -0.0028194 | 0.00060237 | 0.00060237 | 0.12767 | -3.9522e-14 | -5.4002e-14 | -0.17023 | 0.00012567 | 0.00012567 | -88.564 | -88.564 | -88.564 | 91.1527 | 91.1527 | 91.1527 |  | 1.4977 | 0 | 0 | 1.4965 | 0.0054086 | 0.0054086 | 0.0020096 | 0 | 0 | 0.20384 | 102.9369 | 102.9369
Line_1 | 0.0073896 | 0.0073896 | 0.0073896 | 0.0049263 | 0.0049263 | 0.0049263 | 0.085327 | 0.085327 | 0.085327 | 0.056885 | 0.056885 | 0.056885 | -0.001549 | 0.00077448 | 0.00077448 | 0.0014097 | -0.00030118 | -0.00030118 | -0.12761 | 0.00016201 | 0.00016201 | 0.085115 | -6.2834e-05 | -6.2834e-05 | 91.0438 | 91.0438 | 91.0438 | -88.8473 | -88.8473 | -88.8473 |  | 1.4956 | 0.009273 | 0.009273 | 1.4965 | 0.0054086 | 0.0054086 | 0.34834 | 102.859 | 102.859 | 0.20384 | 102.9369 | 102.9369
Line_2 | 0.0073896 | 0.0073896 | 0.0073896 | 0.0049263 | 0.0049263 | 0.0049263 | 0.085327 | 0.085327 | 0.085327 | 0.056885 | 0.056885 | 0.056885 | -0.001549 | 0.00077448 | 0.00077448 | 0.0014097 | -0.00030118 | -0.00030118 | -0.12761 | 0.00016201 | 0.00016201 | 0.085115 | -6.2834e-05 | -6.2834e-05 | 91.0438 | 91.0438 | 91.0438 | -88.8473 | -88.8473 | -88.8473 |  | 1.4956 | 0.009273 | 0.009273 | 1.4965 | 0.0054086 | 0.0054086 | 0.34834 | 102.859 | 102.859 | 0.20384 | 102.9369 | 102.9369

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073849 | 0.0073849 | 0.0073849 | 0.0098527 | 0.0098527 | 0.0098527 | 0.085274 | 0.085274 | 0.085274 | 0.11377 | 0.11377 | 0.11377 | 0.0031961 | 6.9818e-14 | -7.2617e-14 | -0.0028194 | 0.00060237 | 0.00060237 | 0.12767 | -3.9522e-14 | -5.4002e-14 | -0.17023 | 0.00012567 | 0.00012567 | -88.564 | -88.564 | -88.564 | 91.1527 | 91.1527 | 91.1527 |  | 1.4977 | 0 | 0 | 1.4965 | 0.0054086 | 0.0054086 | 0.0020096 | 0 | 0 | 0.20384 | 102.9369 | 102.9369
Line_1 | 0.0073896 | 0.0073896 | 0.0073896 | 0.0049263 | 0.0049263 | 0.0049263 | 0.085327 | 0.085327 | 0.085327 | 0.056885 | 0.056885 | 0.056885 | -0.001549 | 0.00077448 | 0.00077448 | 0.0014097 | -0.00030118 | -0.00030118 | -0.12761 | 0.00016201 | 0.00016201 | 0.085115 | -6.2834e-05 | -6.2834e-05 | 91.0438 | 91.0438 | 91.0438 | -88.8473 | -88.8473 | -88.8473 |  | 1.4956 | 0.009273 | 0.009273 | 1.4965 | 0.0054086 | 0.0054086 | 0.34834 | 102.859 | 102.859 | 0.20384 | 102.9369 | 102.9369
Line_2 | 0.0073896 | 0.0073896 | 0.0073896 | 0.0049263 | 0.0049263 | 0.0049263 | 0.085327 | 0.085327 | 0.085327 | 0.056885 | 0.056885 | 0.056885 | -0.001549 | 0.00077448 | 0.00077448 | 0.0014097 | -0.00030118 | -0.00030118 | -0.12761 | 0.00016201 | 0.00016201 | 0.085115 | -6.2834e-05 | -6.2834e-05 | 91.0438 | 91.0438 | 91.0438 | -88.8473 | -88.8473 | -88.8473 |  | 1.4956 | 0.009273 | 0.009273 | 1.4965 | 0.0054086 | 0.0054086 | 0.34834 | 102.859 | 102.859 | 0.20384 | 102.9369 | 102.9369

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073127 | 0.0073127 | 0.0073127 | 0.0097564 | 0.0097564 | 0.0097564 | 0.08444 | 0.08444 | 0.08444 | 0.11266 | 0.11266 | 0.11266 | 0.0039361 | 0.05566 | -0.056462 | -0.0038294 | -0.073752 | 0.075998 | 0.12599 | -0.012697 | 0.011895 | -0.16799 | 0.016696 | -0.015374 | -88.0335 | -88.0335 | -88.0335 | 91.6832 | 91.6832 | 91.6832 |  | 1.4928 | 0.6761 | 0.68335 | 1.4916 | 0.67123 | 0.68827 | 0.17712 | -100.884 | 80.0697 | 0.37734 | -101.0725 | 80.2468
Line_1 | 0.0073173 | 0.0073173 | 0.0073173 | 0.0048782 | 0.0048782 | 0.0048782 | 0.084493 | 0.084493 | 0.084493 | 0.056328 | 0.056328 | 0.056328 | -0.0023159 | -0.055022 | 0.057338 | 0.0019147 | 0.036876 | -0.037999 | -0.12593 | 0.012483 | -0.011357 | 0.083996 | -0.008348 | 0.0076871 | 91.5743 | 91.5743 | 91.5743 | -88.3168 | -88.3168 | -88.3168 |  | 1.4907 | 0.66774 | 0.69179 | 1.4916 | 0.67123 | 0.68827 | 0.5207 | -101.2079 | 80.3708 | 0.37734 | -101.0725 | 80.2468
Line_2 | 0.0073173 | 0.0073173 | 0.0073173 | 0.0048782 | 0.0048782 | 0.0048782 | 0.084493 | 0.084493 | 0.084493 | 0.056328 | 0.056328 | 0.056328 | -0.0023159 | -0.055022 | 0.057338 | 0.0019147 | 0.036876 | -0.037999 | -0.12593 | 0.012483 | -0.011357 | 0.083996 | -0.008348 | 0.0076871 | 91.5743 | 91.5743 | 91.5743 | -88.3168 | -88.3168 | -88.3168 |  | 1.4907 | 0.66774 | 0.69179 | 1.4916 | 0.67123 | 0.68827 | 0.5207 | -101.2079 | 80.3708 | 0.37734 | -101.0725 | 80.2468

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073127 | 0.0073127 | 0.0073127 | 0.0097564 | 0.0097564 | 0.0097564 | 0.08444 | 0.08444 | 0.08444 | 0.11266 | 0.11266 | 0.11266 | 0.0039361 | 0.05566 | -0.056462 | -0.0038294 | -0.073752 | 0.075998 | 0.12599 | -0.012697 | 0.011895 | -0.16799 | 0.016696 | -0.015374 | -88.0335 | -88.0335 | -88.0335 | 91.6832 | 91.6832 | 91.6832 |  | 1.4928 | 0.6761 | 0.68335 | 1.4916 | 0.67123 | 0.68827 | 0.17712 | -100.884 | 80.0697 | 0.37734 | -101.0725 | 80.2468
Line_1 | 0.0073173 | 0.0073173 | 0.0073173 | 0.0048782 | 0.0048782 | 0.0048782 | 0.084493 | 0.084493 | 0.084493 | 0.056328 | 0.056328 | 0.056328 | -0.0023159 | -0.055022 | 0.057338 | 0.0019147 | 0.036876 | -0.037999 | -0.12593 | 0.012483 | -0.011357 | 0.083996 | -0.008348 | 0.0076871 | 91.5743 | 91.5743 | 91.5743 | -88.3168 | -88.3168 | -88.3168 |  | 1.4907 | 0.66774 | 0.69179 | 1.4916 | 0.67123 | 0.68827 | 0.5207 | -101.2079 | 80.3708 | 0.37734 | -101.0725 | 80.2468
Line_2 | 0.0073173 | 0.0073173 | 0.0073173 | 0.0048782 | 0.0048782 | 0.0048782 | 0.084493 | 0.084493 | 0.084493 | 0.056328 | 0.056328 | 0.056328 | -0.0023159 | -0.055022 | 0.057338 | 0.0019147 | 0.036876 | -0.037999 | -0.12593 | 0.012483 | -0.011357 | 0.083996 | -0.008348 | 0.0076871 | 91.5743 | 91.5743 | 91.5743 | -88.3168 | -88.3168 | -88.3168 |  | 1.4907 | 0.66774 | 0.69179 | 1.4916 | 0.67123 | 0.68827 | 0.5207 | -101.2079 | 80.3708 | 0.37734 | -101.0725 | 80.2468