## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.8321 | 0.62303 | 0.19624 | 3.8311 | 0.62411 | 0.19742 | 44.2492 | 7.1941 | 2.266 | 44.2381 | 7.2066 | 2.2796 | 20.7361 | -6.8687 | 2.4514 | 2.7682e-10 | 7.2341 | -2.952 | 15.1175 | -2.3823 | 0.59708 | -2.2156e-10 | 0.23543 | -1.1381 | -61.5288 | 51.0563 | 97.1793 | 118.4827 | -128.8889 | -82.9272 |  | 0.57994 | 1.0106 | 1.1135 | 0 | 1.0043 | 1.3879 | -25.4352 | -109.815 | 110.868 | 0 | -127.0248 | 118.1568
Line_1 | 1.0826 | 0.31376 | 0.10058 | 1.0808 | 0.31205 | 0.09871 | 12.5007 | 3.623 | 1.1614 | 12.4797 | 3.6033 | 1.1398 | 2.2703 | 3.9626 | -1.3428 | 9.2948e-11 | -3.617 | 1.476 | 0.84464 | 0.56351 | -0.55545 | -3.6955e-11 | -0.11772 | 0.56907 | -78.545 | -128.7151 | -83.2479 | 101.4923 | 51.1111 | 97.0728 |  | 0.19378 | 1.1047 | 1.2512 | 0 | 1.0043 | 1.3879 | -58.1379 | -120.6215 | 119.2246 | 0 | -127.0248 | 118.1568
Line_2 | 1.0826 | 0.31376 | 0.10058 | 1.0808 | 0.31205 | 0.09871 | 12.5007 | 3.623 | 1.1614 | 12.4797 | 3.6033 | 1.1398 | 2.2703 | 3.9626 | -1.3428 | 9.2948e-11 | -3.617 | 1.476 | 0.84464 | 0.56351 | -0.55545 | -3.6955e-11 | -0.11772 | 0.56907 | -78.545 | -128.7151 | -83.2479 | 101.4923 | 51.1111 | 97.0728 |  | 0.19378 | 1.1047 | 1.2512 | 0 | 1.0043 | 1.3879 | -58.1379 | -120.6215 | 119.2246 | 0 | -127.0248 | 118.1568

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.8321 | 0.62303 | 0.19624 | 3.8311 | 0.62411 | 0.19742 | 44.2492 | 7.1941 | 2.266 | 44.2381 | 7.2066 | 2.2796 | 20.7361 | -6.8687 | 2.4514 | 2.7682e-10 | 7.2341 | -2.952 | 15.1175 | -2.3823 | 0.59708 | -2.2156e-10 | 0.23543 | -1.1381 | -61.5288 | 51.0563 | 97.1793 | 118.4827 | -128.8889 | -82.9272 |  | 0.57994 | 1.0106 | 1.1135 | 0 | 1.0043 | 1.3879 | -25.4352 | -109.815 | 110.868 | 0 | -127.0248 | 118.1568
Line_1 | 1.0826 | 0.31376 | 0.10058 | 1.0808 | 0.31205 | 0.09871 | 12.5007 | 3.623 | 1.1614 | 12.4797 | 3.6033 | 1.1398 | 2.2703 | 3.9626 | -1.3428 | 9.2948e-11 | -3.617 | 1.476 | 0.84464 | 0.56351 | -0.55545 | -3.6955e-11 | -0.11772 | 0.56907 | -78.545 | -128.7151 | -83.2479 | 101.4923 | 51.1111 | 97.0728 |  | 0.19378 | 1.1047 | 1.2512 | 0 | 1.0043 | 1.3879 | -58.1379 | -120.6215 | 119.2246 | 0 | -127.0248 | 118.1568
Line_2 | 1.0826 | 0.31376 | 0.10058 | 1.0808 | 0.31205 | 0.09871 | 12.5007 | 3.623 | 1.1614 | 12.4797 | 3.6033 | 1.1398 | 2.2703 | 3.9626 | -1.3428 | 9.2948e-11 | -3.617 | 1.476 | 0.84464 | 0.56351 | -0.55545 | -3.6955e-11 | -0.11772 | 0.56907 | -78.545 | -128.7151 | -83.2479 | 101.4923 | 51.1111 | 97.0728 |  | 0.19378 | 1.1047 | 1.2512 | 0 | 1.0043 | 1.3879 | -58.1379 | -120.6215 | 119.2246 | 0 | -127.0248 | 118.1568

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80583 | 0.23812 | 0.18209 | 0.80562 | 0.23817 | 0.18201 | 9.3049 | 2.7495 | 2.1025 | 9.3025 | 2.7501 | 2.1017 | 8.2135 | -2.1347 | 0.26428 | -7.1565 | 2.3503 | -0.38188 | 4.8406 | -2.1428 | -2.4046 | -4.2225 | 2.046 | 2.5319 | -35.9863 | 16.8192 | -158.2086 | 144.0295 | -163.1088 | 21.6988 |  | 1.0246 | 1.1001 | 1.1505 | 0.89324 | 1.1331 | 1.2183 | -5.4736 | -118.073 | 118.0634 | -5.4291 | -122.0678 | 120.276
Line_1 | 0.35433 | 0.11916 | 0.090888 | 0.35387 | 0.11908 | 0.091004 | 4.0915 | 1.376 | 1.0495 | 4.0861 | 1.3751 | 1.0508 | 1.9391 | 1.1743 | -0.1854 | -1.7409 | -1.1751 | 0.19094 | 3.3122 | 1.0706 | 1.2346 | -3.208 | -1.023 | -1.2659 | -66.9615 | -162.8812 | 21.4057 | 113.0593 | 16.8912 | -158.3012 |  | 0.93807 | 1.1549 | 1.1896 | 0.89324 | 1.1331 | 1.2183 | -7.3086 | -120.5261 | 119.9462 | -5.4291 | -122.0678 | 120.276
Line_2 | 0.35433 | 0.11916 | 0.090888 | 0.35387 | 0.11908 | 0.091004 | 4.0915 | 1.376 | 1.0495 | 4.0861 | 1.3751 | 1.0508 | 1.9391 | 1.1743 | -0.1854 | -1.7409 | -1.1751 | 0.19094 | 3.3122 | 1.0706 | 1.2346 | -3.208 | -1.023 | -1.2659 | -66.9615 | -162.8812 | 21.4057 | 113.0593 | 16.8912 | -158.3012 |  | 0.93807 | 1.1549 | 1.1896 | 0.89324 | 1.1331 | 1.2183 | -7.3086 | -120.5261 | 119.9462 | -5.4291 | -122.0678 | 120.276

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80583 | 0.23812 | 0.18209 | 0.80562 | 0.23817 | 0.18201 | 9.3049 | 2.7495 | 2.1025 | 9.3025 | 2.7501 | 2.1017 | 8.2135 | -2.1347 | 0.26428 | -7.1565 | 2.3503 | -0.38188 | 4.8406 | -2.1428 | -2.4046 | -4.2225 | 2.046 | 2.5319 | -35.9863 | 16.8192 | -158.2086 | 144.0295 | -163.1088 | 21.6988 |  | 1.0246 | 1.1001 | 1.1505 | 0.89324 | 1.1331 | 1.2183 | -5.4736 | -118.073 | 118.0634 | -5.4291 | -122.0678 | 120.276
Line_1 | 0.35433 | 0.11916 | 0.090888 | 0.35387 | 0.11908 | 0.091004 | 4.0915 | 1.376 | 1.0495 | 4.0861 | 1.3751 | 1.0508 | 1.9391 | 1.1743 | -0.1854 | -1.7409 | -1.1751 | 0.19094 | 3.3122 | 1.0706 | 1.2346 | -3.208 | -1.023 | -1.2659 | -66.9615 | -162.8812 | 21.4057 | 113.0593 | 16.8912 | -158.3012 |  | 0.93807 | 1.1549 | 1.1896 | 0.89324 | 1.1331 | 1.2183 | -7.3086 | -120.5261 | 119.9462 | -5.4291 | -122.0678 | 120.276
Line_2 | 0.35433 | 0.11916 | 0.090888 | 0.35387 | 0.11908 | 0.091004 | 4.0915 | 1.376 | 1.0495 | 4.0861 | 1.3751 | 1.0508 | 1.9391 | 1.1743 | -0.1854 | -1.7409 | -1.1751 | 0.19094 | 3.3122 | 1.0706 | 1.2346 | -3.208 | -1.023 | -1.2659 | -66.9615 | -162.8812 | 21.4057 | 113.0593 | 16.8912 | -158.3012 |  | 0.93807 | 1.1549 | 1.1896 | 0.89324 | 1.1331 | 1.2183 | -7.3086 | -120.5261 | 119.9462 | -5.4291 | -122.0678 | 120.276

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8071 | 0.53547 | 0.37207 | 2.8064 | 0.53656 | 0.37316 | 32.4139 | 6.1831 | 4.2963 | 32.4056 | 6.1957 | 4.3088 | 19.0243 | -4.505 | 4.2404 | -8.3472e-11 | 3.3744 | -5.1155 | 8.9115 | 2.7672 | 0.90474 | -3.9868e-12 | -4.38 | -2.0617 | -50.937 | 98.7634 | 99.1844 | 129.0819 | -81.2832 | -80.8838 |  | 0.64812 | 0.85509 | 1.0092 | 0 | 0.89241 | 1.28 | -25.8374 | -112.7971 | 111.2285 | 0 | -133.6718 | 121.067
Line_1 | 0.87188 | 0.27001 | 0.18831 | 0.87029 | 0.26828 | 0.18658 | 10.0677 | 3.1178 | 2.1744 | 10.0493 | 3.0978 | 2.1544 | 3.1164 | 2.4742 | -2.0547 | -2.4364e-11 | -1.6872 | 2.5577 | 0.60153 | -1.9455 | -0.87983 | -8.8311e-12 | 2.19 | 1.0308 | -68.1598 | -81.371 | -81.0135 | 111.8926 | 98.7168 | 99.1162 |  | 0.31526 | 1.0095 | 1.0279 | 0 | 0.89241 | 1.28 | -57.2348 | -119.5499 | 122.1678 | 0 | -133.6718 | 121.067
Line_2 | 0.87188 | 0.27001 | 0.18831 | 0.87029 | 0.26828 | 0.18658 | 10.0677 | 3.1178 | 2.1744 | 10.0493 | 3.0978 | 2.1544 | 3.1164 | 2.4742 | -2.0547 | -2.4364e-11 | -1.6872 | 2.5577 | 0.60153 | -1.9455 | -0.87983 | -8.8311e-12 | 2.19 | 1.0308 | -68.1598 | -81.371 | -81.0135 | 111.8926 | 98.7168 | 99.1162 |  | 0.31526 | 1.0095 | 1.0279 | 0 | 0.89241 | 1.28 | -57.2348 | -119.5499 | 122.1678 | 0 | -133.6718 | 121.067

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8071 | 0.53547 | 0.37207 | 2.8064 | 0.53656 | 0.37316 | 32.4139 | 6.1831 | 4.2963 | 32.4056 | 6.1957 | 4.3088 | 19.0243 | -4.505 | 4.2404 | -8.3472e-11 | 3.3744 | -5.1155 | 8.9115 | 2.7672 | 0.90474 | -3.9868e-12 | -4.38 | -2.0617 | -50.937 | 98.7634 | 99.1844 | 129.0819 | -81.2832 | -80.8838 |  | 0.64812 | 0.85509 | 1.0092 | 0 | 0.89241 | 1.28 | -25.8374 | -112.7971 | 111.2285 | 0 | -133.6718 | 121.067
Line_1 | 0.87188 | 0.27001 | 0.18831 | 0.87029 | 0.26828 | 0.18658 | 10.0677 | 3.1178 | 2.1744 | 10.0493 | 3.0978 | 2.1544 | 3.1164 | 2.4742 | -2.0547 | -2.4364e-11 | -1.6872 | 2.5577 | 0.60153 | -1.9455 | -0.87983 | -8.8311e-12 | 2.19 | 1.0308 | -68.1598 | -81.371 | -81.0135 | 111.8926 | 98.7168 | 99.1162 |  | 0.31526 | 1.0095 | 1.0279 | 0 | 0.89241 | 1.28 | -57.2348 | -119.5499 | 122.1678 | 0 | -133.6718 | 121.067
Line_2 | 0.87188 | 0.27001 | 0.18831 | 0.87029 | 0.26828 | 0.18658 | 10.0677 | 3.1178 | 2.1744 | 10.0493 | 3.0978 | 2.1544 | 3.1164 | 2.4742 | -2.0547 | -2.4364e-11 | -1.6872 | 2.5577 | 0.60153 | -1.9455 | -0.87983 | -8.8311e-12 | 2.19 | 1.0308 | -68.1598 | -81.371 | -81.0135 | 111.8926 | 98.7168 | 99.1162 |  | 0.31526 | 1.0095 | 1.0279 | 0 | 0.89241 | 1.28 | -57.2348 | -119.5499 | 122.1678 | 0 | -133.6718 | 121.067

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75107 | 0.14327 | 0.099549 | 0.75087 | 0.14356 | 0.099841 | 8.6726 | 1.6543 | 1.1495 | 8.6703 | 1.6577 | 1.1529 | 6.368 | -1.0858 | 1.1419 | -5.0061 | 1.0072 | -1.2069 | 4.6133 | 1.149 | 0.18754 | -3.9727 | -1.2658 | -0.27173 | -41.7689 | 107.9316 | 108.3525 | 138.2501 | -72.115 | -71.7157 |  | 0.9067 | 0.95562 | 1.0067 | 0.73709 | 0.97583 | 1.073 | -5.8473 | -118.6896 | 117.6795 | -3.3156 | -123.6063 | 120.9731
Line_1 | 0.23328 | 0.072244 | 0.050383 | 0.23285 | 0.071781 | 0.04992 | 2.6937 | 0.8342 | 0.58177 | 2.6888 | 0.82885 | 0.57643 | 1.3427 | 0.56314 | -0.57117 | -1.119 | -0.50359 | 0.60343 | 1.6828 | -0.61789 | -0.12659 | -1.6357 | 0.63291 | 0.13586 | -58.9917 | -72.2028 | -71.8453 | 121.0607 | 107.885 | 108.2843 |  | 0.79921 | 1.0022 | 1.0056 | 0.73709 | 0.97583 | 1.073 | -7.5768 | -119.8572 | 120.6512 | -3.3156 | -123.6063 | 120.9731
Line_2 | 0.23328 | 0.072244 | 0.050383 | 0.23285 | 0.071781 | 0.04992 | 2.6937 | 0.8342 | 0.58177 | 2.6888 | 0.82885 | 0.57643 | 1.3427 | 0.56314 | -0.57117 | -1.119 | -0.50359 | 0.60343 | 1.6828 | -0.61789 | -0.12659 | -1.6357 | 0.63291 | 0.13586 | -58.9917 | -72.2028 | -71.8453 | 121.0607 | 107.885 | 108.2843 |  | 0.79921 | 1.0022 | 1.0056 | 0.73709 | 0.97583 | 1.073 | -7.5768 | -119.8572 | 120.6512 | -3.3156 | -123.6063 | 120.9731

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75107 | 0.14327 | 0.099549 | 0.75087 | 0.14356 | 0.099841 | 8.6726 | 1.6543 | 1.1495 | 8.6703 | 1.6577 | 1.1529 | 6.368 | -1.0858 | 1.1419 | -5.0061 | 1.0072 | -1.2069 | 4.6133 | 1.149 | 0.18754 | -3.9727 | -1.2658 | -0.27173 | -41.7689 | 107.9316 | 108.3525 | 138.2501 | -72.115 | -71.7157 |  | 0.9067 | 0.95562 | 1.0067 | 0.73709 | 0.97583 | 1.073 | -5.8473 | -118.6896 | 117.6795 | -3.3156 | -123.6063 | 120.9731
Line_1 | 0.23328 | 0.072244 | 0.050383 | 0.23285 | 0.071781 | 0.04992 | 2.6937 | 0.8342 | 0.58177 | 2.6888 | 0.82885 | 0.57643 | 1.3427 | 0.56314 | -0.57117 | -1.119 | -0.50359 | 0.60343 | 1.6828 | -0.61789 | -0.12659 | -1.6357 | 0.63291 | 0.13586 | -58.9917 | -72.2028 | -71.8453 | 121.0607 | 107.885 | 108.2843 |  | 0.79921 | 1.0022 | 1.0056 | 0.73709 | 0.97583 | 1.073 | -7.5768 | -119.8572 | 120.6512 | -3.3156 | -123.6063 | 120.9731
Line_2 | 0.23328 | 0.072244 | 0.050383 | 0.23285 | 0.071781 | 0.04992 | 2.6937 | 0.8342 | 0.58177 | 2.6888 | 0.82885 | 0.57643 | 1.3427 | 0.56314 | -0.57117 | -1.119 | -0.50359 | 0.60343 | 1.6828 | -0.61789 | -0.12659 | -1.6357 | 0.63291 | 0.13586 | -58.9917 | -72.2028 | -71.8453 | 121.0607 | 107.885 | 108.2843 |  | 0.79921 | 1.0022 | 1.0056 | 0.73709 | 0.97583 | 1.073 | -7.5768 | -119.8572 | 120.6512 | -3.3156 | -123.6063 | 120.9731

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3411 | 4.795 | 3.1314 | 0.34173 | 4.7949 | 3.1307 | 3.9387 | 55.3684 | 36.1581 | 3.9459 | 55.3669 | 36.15 | -3.098 | 28.5518 | -0.39875 | 3.8354 | 1.3631e-10 | 1.1972e-10 | 2.2708 | 7.8107 | 15.8529 | -3.268 | -1.8369e-10 | -8.7423e-11 | -146.3342 | 175.7361 | 37.9736 | 33.835 | -4.2498 | -142.0439 |  | 0.97521 | 0.53462 | 0.43857 | 1.277 | 0 | 0 | -2.5753 | -168.9643 | 129.4145 | -6.5982 | 0 | 0
Line_1 | 0.17185 | 1.0797 | 0.94773 | 0.17086 | 1.0789 | 0.94623 | 1.9844 | 12.4679 | 10.9435 | 1.973 | 12.4583 | 10.9261 | 1.9542 | 1.8764 | 1.1006 | -1.9177 | 4.2766e-11 | 2.6598e-11 | -1.3907 | -0.28368 | 1.7824 | 1.634 | -2.864e-11 | -3.6057e-11 | 34.3674 | 156.0496 | 55.471 | -146.165 | -23.861 | -124.597 |  | 1.2087 | 0.15221 | 0.19142 | 1.277 | 0 | 0 | -1.0689 | 147.4526 | 113.7755 | -6.5982 | 0 | 0
Line_2 | 0.17185 | 1.0797 | 0.94773 | 0.17086 | 1.0789 | 0.94623 | 1.9844 | 12.4679 | 10.9435 | 1.973 | 12.4583 | 10.9261 | 1.9542 | 1.8764 | 1.1006 | -1.9177 | 4.2766e-11 | 2.6598e-11 | -1.3907 | -0.28368 | 1.7824 | 1.634 | -2.864e-11 | -3.6057e-11 | 34.3674 | 156.0496 | 55.471 | -146.165 | -23.861 | -124.597 |  | 1.2087 | 0.15221 | 0.19142 | 1.277 | 0 | 0 | -1.0689 | 147.4526 | 113.7755 | -6.5982 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3411 | 4.795 | 3.1314 | 0.34173 | 4.7949 | 3.1307 | 3.9387 | 55.3684 | 36.1581 | 3.9459 | 55.3669 | 36.15 | -3.098 | 28.5518 | -0.39875 | 3.8354 | 1.3631e-10 | 1.1972e-10 | 2.2708 | 7.8107 | 15.8529 | -3.268 | -1.8369e-10 | -8.7423e-11 | -146.3342 | 175.7361 | 37.9736 | 33.835 | -4.2498 | -142.0439 |  | 0.97521 | 0.53462 | 0.43857 | 1.277 | 0 | 0 | -2.5753 | -168.9643 | 129.4145 | -6.5982 | 0 | 0
Line_1 | 0.17185 | 1.0797 | 0.94773 | 0.17086 | 1.0789 | 0.94623 | 1.9844 | 12.4679 | 10.9435 | 1.973 | 12.4583 | 10.9261 | 1.9542 | 1.8764 | 1.1006 | -1.9177 | 4.2766e-11 | 2.6598e-11 | -1.3907 | -0.28368 | 1.7824 | 1.634 | -2.864e-11 | -3.6057e-11 | 34.3674 | 156.0496 | 55.471 | -146.165 | -23.861 | -124.597 |  | 1.2087 | 0.15221 | 0.19142 | 1.277 | 0 | 0 | -1.0689 | 147.4526 | 113.7755 | -6.5982 | 0 | 0
Line_2 | 0.17185 | 1.0797 | 0.94773 | 0.17086 | 1.0789 | 0.94623 | 1.9844 | 12.4679 | 10.9435 | 1.973 | 12.4583 | 10.9261 | 1.9542 | 1.8764 | 1.1006 | -1.9177 | 4.2766e-11 | 2.6598e-11 | -1.3907 | -0.28368 | 1.7824 | 1.634 | -2.864e-11 | -3.6057e-11 | 34.3674 | 156.0496 | 55.471 | -146.165 | -23.861 | -124.597 |  | 1.2087 | 0.15221 | 0.19142 | 1.277 | 0 | 0 | -1.0689 | 147.4526 | 113.7755 | -6.5982 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14367 | 0.9461 | 0.73555 | 0.14342 | 0.94617 | 0.73529 | 1.659 | 10.9247 | 8.4934 | 1.656 | 10.9255 | 8.4904 | -1.1866 | 9.8766 | 5.7453 | 1.3044 | -8.739 | -5.5083 | -1.3955 | 5.2848 | 5.9113 | 1.4788 | -5.2974 | -4.92 | 129.7976 | -156.4984 | 70.6389 | -50.1433 | 23.5191 | -109.3724 |  | 1.1042 | 1.0254 | 0.97055 | 1.1907 | 0.93535 | 0.86988 | -0.5776 | -128.3478 | 116.4549 | -1.5572 | -125.2576 | 112.3986
Line_1 | 0.071302 | 0.32459 | 0.34419 | 0.071709 | 0.32442 | 0.34381 | 0.82332 | 3.7481 | 3.9744 | 0.82802 | 3.7461 | 3.97 | 0.6272 | 1.6026 | 2.415 | -0.65221 | -1.4631 | -2.2904 | 0.73766 | 3.1683 | 2.7687 | -0.73942 | -3.1839 | -2.5846 | -49.9574 | 169.3451 | 63.9917 | 129.8567 | -10.5776 | -116.0545 |  | 1.176 | 0.94731 | 0.9244 | 1.1907 | 0.93535 | 0.86988 | -0.33038 | -127.487 | 112.8941 | -1.5572 | -125.2576 | 112.3986
Line_2 | 0.071302 | 0.32459 | 0.34419 | 0.071709 | 0.32442 | 0.34381 | 0.82332 | 3.7481 | 3.9744 | 0.82802 | 3.7461 | 3.97 | 0.6272 | 1.6026 | 2.415 | -0.65221 | -1.4631 | -2.2904 | 0.73766 | 3.1683 | 2.7687 | -0.73942 | -3.1839 | -2.5846 | -49.9574 | 169.3451 | 63.9917 | 129.8567 | -10.5776 | -116.0545 |  | 1.176 | 0.94731 | 0.9244 | 1.1907 | 0.93535 | 0.86988 | -0.33038 | -127.487 | 112.8941 | -1.5572 | -125.2576 | 112.3986

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14367 | 0.9461 | 0.73555 | 0.14342 | 0.94617 | 0.73529 | 1.659 | 10.9247 | 8.4934 | 1.656 | 10.9255 | 8.4904 | -1.1866 | 9.8766 | 5.7453 | 1.3044 | -8.739 | -5.5083 | -1.3955 | 5.2848 | 5.9113 | 1.4788 | -5.2974 | -4.92 | 129.7976 | -156.4984 | 70.6389 | -50.1433 | 23.5191 | -109.3724 |  | 1.1042 | 1.0254 | 0.97055 | 1.1907 | 0.93535 | 0.86988 | -0.5776 | -128.3478 | 116.4549 | -1.5572 | -125.2576 | 112.3986
Line_1 | 0.071302 | 0.32459 | 0.34419 | 0.071709 | 0.32442 | 0.34381 | 0.82332 | 3.7481 | 3.9744 | 0.82802 | 3.7461 | 3.97 | 0.6272 | 1.6026 | 2.415 | -0.65221 | -1.4631 | -2.2904 | 0.73766 | 3.1683 | 2.7687 | -0.73942 | -3.1839 | -2.5846 | -49.9574 | 169.3451 | 63.9917 | 129.8567 | -10.5776 | -116.0545 |  | 1.176 | 0.94731 | 0.9244 | 1.1907 | 0.93535 | 0.86988 | -0.33038 | -127.487 | 112.8941 | -1.5572 | -125.2576 | 112.3986
Line_2 | 0.071302 | 0.32459 | 0.34419 | 0.071709 | 0.32442 | 0.34381 | 0.82332 | 3.7481 | 3.9744 | 0.82802 | 3.7461 | 3.97 | 0.6272 | 1.6026 | 2.415 | -0.65221 | -1.4631 | -2.2904 | 0.73766 | 3.1683 | 2.7687 | -0.73942 | -3.1839 | -2.5846 | -49.9574 | 169.3451 | 63.9917 | 129.8567 | -10.5776 | -116.0545 |  | 1.176 | 0.94731 | 0.9244 | 1.1907 | 0.93535 | 0.86988 | -0.33038 | -127.487 | 112.8941 | -1.5572 | -125.2576 | 112.3986

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35192 | 3.7855 | 2.6664 | 0.35296 | 3.7856 | 2.6658 | 4.0636 | 43.7109 | 30.7889 | 4.0756 | 43.7125 | 30.7816 | 0.19312 | 27.1861 | 1.3227 | -0.42511 | -1.4343e-10 | -5.6657e-11 | 3.6248 | 2.5633 | 12.3285 | -4.834 | -9.1819e-11 | -1.0671e-10 | -91.0108 | -172.0282 | 38.0132 | 88.9934 | 7.9873 | -142.0044 |  | 0.89327 | 0.62471 | 0.40272 | 1.1907 | 0 | 0 | -4.0605 | -166.642 | 121.8897 | -6.0323 | 0 | 0
Line_1 | 0.17802 | 0.94611 | 0.64413 | 0.17648 | 0.94546 | 0.6429 | 2.0556 | 10.9247 | 7.4378 | 2.0378 | 10.9172 | 7.4235 | 0.13903 | 2.7356 | 0.98912 | 0.21255 | -2.3568e-11 | -2.2598e-11 | -2.1471 | -0.77138 | 1.6678 | 2.417 | -3.5406e-11 | -1.8393e-11 | 89.0784 | 164.1773 | 60.9722 | -91.0066 | -15.7363 | -119.1132 |  | 1.0467 | 0.26017 | 0.2607 | 1.1907 | 0 | 0 | 2.7833 | 148.43 | 120.3008 | -6.0323 | 0 | 0
Line_2 | 0.17802 | 0.94611 | 0.64413 | 0.17648 | 0.94546 | 0.6429 | 2.0556 | 10.9247 | 7.4378 | 2.0378 | 10.9172 | 7.4235 | 0.13903 | 2.7356 | 0.98912 | 0.21255 | -2.3568e-11 | -2.2598e-11 | -2.1471 | -0.77138 | 1.6678 | 2.417 | -3.5406e-11 | -1.8393e-11 | 89.0784 | 164.1773 | 60.9722 | -91.0066 | -15.7363 | -119.1132 |  | 1.0467 | 0.26017 | 0.2607 | 1.1907 | 0 | 0 | 2.7833 | 148.43 | 120.3008 | -6.0323 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35192 | 3.7855 | 2.6664 | 0.35296 | 3.7856 | 2.6658 | 4.0636 | 43.7109 | 30.7889 | 4.0756 | 43.7125 | 30.7816 | 0.19312 | 27.1861 | 1.3227 | -0.42511 | -1.4343e-10 | -5.6657e-11 | 3.6248 | 2.5633 | 12.3285 | -4.834 | -9.1819e-11 | -1.0671e-10 | -91.0108 | -172.0282 | 38.0132 | 88.9934 | 7.9873 | -142.0044 |  | 0.89327 | 0.62471 | 0.40272 | 1.1907 | 0 | 0 | -4.0605 | -166.642 | 121.8897 | -6.0323 | 0 | 0
Line_1 | 0.17802 | 0.94611 | 0.64413 | 0.17648 | 0.94546 | 0.6429 | 2.0556 | 10.9247 | 7.4378 | 2.0378 | 10.9172 | 7.4235 | 0.13903 | 2.7356 | 0.98912 | 0.21255 | -2.3568e-11 | -2.2598e-11 | -2.1471 | -0.77138 | 1.6678 | 2.417 | -3.5406e-11 | -1.8393e-11 | 89.0784 | 164.1773 | 60.9722 | -91.0066 | -15.7363 | -119.1132 |  | 1.0467 | 0.26017 | 0.2607 | 1.1907 | 0 | 0 | 2.7833 | 148.43 | 120.3008 | -6.0323 | 0 | 0
Line_2 | 0.17802 | 0.94611 | 0.64413 | 0.17648 | 0.94546 | 0.6429 | 2.0556 | 10.9247 | 7.4378 | 2.0378 | 10.9172 | 7.4235 | 0.13903 | 2.7356 | 0.98912 | 0.21255 | -2.3568e-11 | -2.2598e-11 | -2.1471 | -0.77138 | 1.6678 | 2.417 | -3.5406e-11 | -1.8393e-11 | 89.0784 | 164.1773 | 60.9722 | -91.0066 | -15.7363 | -119.1132 |  | 1.0467 | 0.26017 | 0.2607 | 1.1907 | 0 | 0 | 2.7833 | 148.43 | 120.3008 | -6.0323 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11748 | 0.89384 | 0.7594 | 0.11778 | 0.89395 | 0.75913 | 1.3566 | 10.3212 | 8.7688 | 1.3601 | 10.3225 | 8.7657 | 0.075033 | 8.1728 | 4.4757 | -0.10389 | -6.6206 | -4.041 | 1.307 | 4.6285 | 5.9881 | -1.4231 | -4.7664 | -4.8332 | -87.867 | -158.3954 | 62.7043 | 92.1268 | 21.6225 | -117.3061 |  | 0.96505 | 0.91002 | 0.85256 | 1.0491 | 0.7903 | 0.7187 | -1.1526 | -128.8714 | 115.9291 | -2.0487 | -122.6259 | 112.7948
Line_1 | 0.059345 | 0.2165 | 0.21189 | 0.058892 | 0.21638 | 0.21147 | 0.68526 | 2.5 | 2.4467 | 0.68003 | 2.4986 | 2.4418 | -0.016173 | 1.004 | 1.5634 | 0.051947 | -0.85356 | -1.4231 | -0.69065 | 1.7057 | 1.169 | 0.71154 | -1.7806 | -1.027 | 92.1719 | 172.8687 | 77.0217 | -87.8732 | -7.0149 | -103.0225 |  | 1.0082 | 0.79172 | 0.79785 | 1.0491 | 0.7903 | 0.7187 | 0.83046 | -127.6144 | 113.8074 | -2.0487 | -122.6259 | 112.7948
Line_2 | 0.059345 | 0.2165 | 0.21189 | 0.058892 | 0.21638 | 0.21147 | 0.68526 | 2.5 | 2.4467 | 0.68003 | 2.4986 | 2.4418 | -0.016173 | 1.004 | 1.5634 | 0.051947 | -0.85356 | -1.4231 | -0.69065 | 1.7057 | 1.169 | 0.71154 | -1.7806 | -1.027 | 92.1719 | 172.8687 | 77.0217 | -87.8732 | -7.0149 | -103.0225 |  | 1.0082 | 0.79172 | 0.79785 | 1.0491 | 0.7903 | 0.7187 | 0.83046 | -127.6144 | 113.8074 | -2.0487 | -122.6259 | 112.7948

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11748 | 0.89384 | 0.7594 | 0.11778 | 0.89395 | 0.75913 | 1.3566 | 10.3212 | 8.7688 | 1.3601 | 10.3225 | 8.7657 | 0.075033 | 8.1728 | 4.4757 | -0.10389 | -6.6206 | -4.041 | 1.307 | 4.6285 | 5.9881 | -1.4231 | -4.7664 | -4.8332 | -87.867 | -158.3954 | 62.7043 | 92.1268 | 21.6225 | -117.3061 |  | 0.96505 | 0.91002 | 0.85256 | 1.0491 | 0.7903 | 0.7187 | -1.1526 | -128.8714 | 115.9291 | -2.0487 | -122.6259 | 112.7948
Line_1 | 0.059345 | 0.2165 | 0.21189 | 0.058892 | 0.21638 | 0.21147 | 0.68526 | 2.5 | 2.4467 | 0.68003 | 2.4986 | 2.4418 | -0.016173 | 1.004 | 1.5634 | 0.051947 | -0.85356 | -1.4231 | -0.69065 | 1.7057 | 1.169 | 0.71154 | -1.7806 | -1.027 | 92.1719 | 172.8687 | 77.0217 | -87.8732 | -7.0149 | -103.0225 |  | 1.0082 | 0.79172 | 0.79785 | 1.0491 | 0.7903 | 0.7187 | 0.83046 | -127.6144 | 113.8074 | -2.0487 | -122.6259 | 112.7948
Line_2 | 0.059345 | 0.2165 | 0.21189 | 0.058892 | 0.21638 | 0.21147 | 0.68526 | 2.5 | 2.4467 | 0.68003 | 2.4986 | 2.4418 | -0.016173 | 1.004 | 1.5634 | 0.051947 | -0.85356 | -1.4231 | -0.69065 | 1.7057 | 1.169 | 0.71154 | -1.7806 | -1.027 | 92.1719 | 172.8687 | 77.0217 | -87.8732 | -7.0149 | -103.0225 |  | 1.0082 | 0.79172 | 0.79785 | 1.0491 | 0.7903 | 0.7187 | 0.83046 | -127.6144 | 113.8074 | -2.0487 | -122.6259 | 112.7948