## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -3.1264e-14 | 30.1766 | -15.8685 | 2.6053e-14 | -23.0225 | 23.0225 | 4.4031e-28 | 3.131 | 13.1032 | -5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | -8.0693e-13 | -161.8563 | 152.6723 | -7.945e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 1.3027e-14 | 5.2107e-15 | -1.5632e-14 | -7.816e-15 | -1.0421e-14 | -7.2698e-29 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -7.9938e-13 | -180 | 180 | -7.945e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.8159e-15 | -5.2106e-15 | 5.2106e-15 | 1.3027e-14 | -1.0421e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -7.9544e-13 | -180 | 180 | -7.945e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -3.1264e-14 | 30.1766 | -15.8685 | 2.6053e-14 | -23.0225 | 23.0225 | 4.4031e-28 | 3.131 | 13.1032 | -5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | -8.0693e-13 | -161.8563 | 152.6723 | -7.945e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 1.3027e-14 | 5.2107e-15 | -1.5632e-14 | -7.816e-15 | -1.0421e-14 | -7.2698e-29 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -7.9938e-13 | -180 | 180 | -7.945e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.8159e-15 | -5.2106e-15 | 5.2106e-15 | 1.3027e-14 | -1.0421e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -7.9544e-13 | -180 | 180 | -7.945e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -7.816e-15 | 19.0761 | -0.30087 | 5.2106e-15 | -17.4596 | 1.9173 | -1.0421e-14 | 3.9919 | 15.2185 | 7.816e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | -1.5606e-13 | -138.0936 | 121.2196 | -1.5226e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.734e-10 | 1.0337e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | -1.3937e-29 | -1.3544e-09 | 3.8386e-10 | -2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -1.5326e-13 | -142.8673 | 128.239 | -1.5226e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.734e-10 | 1.0337e-09 | -2.6053e-15 | -4.7339e-10 | -1.0337e-09 | 6.9404e-30 | -1.3544e-09 | 3.8386e-10 | 6.9237e-30 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -1.5263e-13 | -142.8673 | 128.239 | -1.5226e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -7.816e-15 | 19.0761 | -0.30087 | 5.2106e-15 | -17.4596 | 1.9173 | -1.0421e-14 | 3.9919 | 15.2185 | 7.816e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | -1.5606e-13 | -138.0936 | 121.2196 | -1.5226e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.734e-10 | 1.0337e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | -1.3937e-29 | -1.3544e-09 | 3.8386e-10 | -2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -1.5326e-13 | -142.8673 | 128.239 | -1.5226e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.734e-10 | 1.0337e-09 | -2.6053e-15 | -4.7339e-10 | -1.0337e-09 | 6.9404e-30 | -1.3544e-09 | 3.8386e-10 | 6.9237e-30 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -1.5263e-13 | -142.8673 | 128.239 | -1.5226e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.8422e-14 | 26.5997 | -7.1734 | 2.3685e-14 | -16.8865 | 16.8865 | -1.6838e-27 | -0.51586 | 11.9957 | -4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 3.3945e-12 | -160.7833 | 141.207 | 3.4114e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 7.1055e-15 | 9.0063e-20 | -7.1054e-15 | -2.3685e-15 | 4.7369e-15 | 2.813e-28 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 3.4024e-12 | -180 | 180 | 3.4114e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6028e-28 | 7.1055e-15 | 9.0062e-20 | -2.3685e-15 | -7.1054e-15 | 4.7369e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 3.3884e-12 | -180 | 180 | 3.4114e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.8422e-14 | 26.5997 | -7.1734 | 2.3685e-14 | -16.8865 | 16.8865 | -1.6838e-27 | -0.51586 | 11.9957 | -4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 3.3945e-12 | -160.7833 | 141.207 | 3.4114e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 7.1055e-15 | 9.0063e-20 | -7.1054e-15 | -2.3685e-15 | 4.7369e-15 | 2.813e-28 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 3.4024e-12 | -180 | 180 | 3.4114e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6028e-28 | 7.1055e-15 | 9.0062e-20 | -2.3685e-15 | -7.1054e-15 | 4.7369e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 3.3884e-12 | -180 | 180 | 3.4114e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.4211e-14 | 15.3932 | 0.73601 | 1.3027e-14 | -13.0917 | 1.5655 | 2.3685e-15 | 2.3135 | 11.9328 | -2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 7.529e-13 | -138.1765 | 119.7467 | 7.6086e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.798e-10 | 8.2616e-10 | 1.7764e-15 | -4.798e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5326e-10 | -7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 7.5617e-13 | -142.5584 | 131.6989 | 7.6086e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | 6.2904e-29 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5326e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 7.5e-13 | -142.5584 | 131.6989 | 7.6086e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.4211e-14 | 15.3932 | 0.73601 | 1.3027e-14 | -13.0917 | 1.5655 | 2.3685e-15 | 2.3135 | 11.9328 | -2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 7.529e-13 | -138.1765 | 119.7467 | 7.6086e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.798e-10 | 8.2616e-10 | 1.7764e-15 | -4.798e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5326e-10 | -7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 7.5617e-13 | -142.5584 | 131.6989 | 7.6086e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | 6.2904e-29 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5326e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 7.5e-13 | -142.5584 | 131.6989 | 7.6086e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.03292 | 0.01646 | 0.01646 | 0.038406 | 0.010973 | 0.010973 | 0.38012 | 0.19006 | 0.19006 | 0.44348 | 0.12671 | 0.12671 | 0.00089732 | 0.18116 | -0.18096 | 4.6923e-14 | -0.12079 | 0.12062 | 0.00077202 | -0.3155 | -0.31623 | 5.3664e-14 | 0.21039 | 0.21088 | 89.8839 | -90.1161 | -90.1161 | -90.1161 | 89.8839 | 89.8839 | 0.0031141 | 1.9142 | 1.917 | 0 | 1.9146 | 1.9173 | 130.5915 | -150.2518 | 150.1041 | 0 | -150.2556 | 150.115
Line_1 | 0 | 0 | 0 | 0.0054866 | 0.0054866 | 0.0054866 | 0 | 0 | 0 | 0.063354 | 0.063354 | 0.063354 | -1.4035e-12 | -6.7715e-09 | -6.7965e-09 | 6.7033e-15 | 0.060394 | -0.060311 | 3.5446e-12 | -3.894e-09 | 3.8795e-09 | 7.6662e-15 | -0.1052 | -0.10544 | 0 | 0 | 0 | -90.1161 | -90.1161 | -90.1161 | 0.00094491 | 1.9145 | 1.9181 | 0 | 1.9146 | 1.9173 | 111.5556 | -150.2836 | 150.0974 | 0 | -150.2556 | 150.115
Line_2 | 0 | 0 | 0 | 0.0054866 | 0.0054866 | 0.0054866 | 0 | 0 | 0 | 0.063354 | 0.063354 | 0.063354 | -1.4036e-12 | -6.7715e-09 | -6.7965e-09 | 6.7033e-15 | 0.060394 | -0.060311 | 3.5446e-12 | -3.894e-09 | 3.8796e-09 | 7.6662e-15 | -0.1052 | -0.10544 | 0 | 0 | 0 | -90.1161 | -90.1161 | -90.1161 | 0.00094491 | 1.9145 | 1.9181 | 0 | 1.9146 | 1.9173 | 111.5556 | -150.2836 | 150.0974 | 0 | -150.2556 | 150.115

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.03292 | 0.01646 | 0.01646 | 0.038406 | 0.010973 | 0.010973 | 0.38012 | 0.19006 | 0.19006 | 0.44348 | 0.12671 | 0.12671 | 0.00089732 | 0.18116 | -0.18096 | 4.6923e-14 | -0.12079 | 0.12062 | 0.00077202 | -0.3155 | -0.31623 | 5.3664e-14 | 0.21039 | 0.21088 | 89.8839 | -90.1161 | -90.1161 | -90.1161 | 89.8839 | 89.8839 | 0.0031141 | 1.9142 | 1.917 | 0 | 1.9146 | 1.9173 | 130.5915 | -150.2518 | 150.1041 | 0 | -150.2556 | 150.115
Line_1 | 0 | 0 | 0 | 0.0054866 | 0.0054866 | 0.0054866 | 0 | 0 | 0 | 0.063354 | 0.063354 | 0.063354 | -1.4035e-12 | -6.7715e-09 | -6.7965e-09 | 6.7033e-15 | 0.060394 | -0.060311 | 3.5446e-12 | -3.894e-09 | 3.8795e-09 | 7.6662e-15 | -0.1052 | -0.10544 | 0 | 0 | 0 | -90.1161 | -90.1161 | -90.1161 | 0.00094491 | 1.9145 | 1.9181 | 0 | 1.9146 | 1.9173 | 111.5556 | -150.2836 | 150.0974 | 0 | -150.2556 | 150.115
Line_2 | 0 | 0 | 0 | 0.0054866 | 0.0054866 | 0.0054866 | 0 | 0 | 0 | 0.063354 | 0.063354 | 0.063354 | -1.4036e-12 | -6.7715e-09 | -6.7965e-09 | 6.7033e-15 | 0.060394 | -0.060311 | 3.5446e-12 | -3.894e-09 | 3.8796e-09 | 7.6662e-15 | -0.1052 | -0.10544 | 0 | 0 | 0 | -90.1161 | -90.1161 | -90.1161 | 0.00094491 | 1.9145 | 1.9181 | 0 | 1.9146 | 1.9173 | 111.5556 | -150.2836 | 150.0974 | 0 | -150.2556 | 150.115

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.033564 | 0.016782 | 0.016782 | 0.039158 | 0.011188 | 0.011188 | 0.38757 | 0.19378 | 0.19378 | 0.45216 | 0.12919 | 0.12919 | 0.009382 | 0.18677 | -0.18234 | -0.0098574 | -0.12453 | 0.12154 | 0.0092517 | -0.3222 | -0.33028 | -0.0098574 | 0.21487 | 0.22025 | 88.746 | -91.254 | -91.254 | -91.254 | 88.746 | 88.746 | 0.033998 | 1.9219 | 1.9469 | 0.030831 | 1.9224 | 1.9473 | 133.3455 | -151.1539 | 149.8436 | 133.746 | -151.1578 | 149.8543
Line_1 | 0 | 0 | 0 | 0.005594 | 0.005594 | 0.005594 | 0 | 0 | 0 | 0.064594 | 0.064594 | 0.064594 | -9.1028e-11 | -6.9155e-09 | -7.0983e-09 | -0.0014082 | 0.062267 | -0.060772 | 9.3473e-11 | -4.0147e-09 | 3.9091e-09 | -0.0014082 | -0.10743 | -0.11013 | 0 | 0 | 0 | -91.254 | -91.254 | -91.254 | 0.031718 | 1.9222 | 1.948 | 0.030831 | 1.9224 | 1.9473 | 133.0568 | -151.1862 | 149.8363 | 133.746 | -151.1578 | 149.8543
Line_2 | 0 | 0 | 0 | 0.005594 | 0.005594 | 0.005594 | 0 | 0 | 0 | 0.064594 | 0.064594 | 0.064594 | -9.1029e-11 | -6.9155e-09 | -7.0984e-09 | -0.0014082 | 0.062267 | -0.060772 | 9.3474e-11 | -4.0146e-09 | 3.909e-09 | -0.0014082 | -0.10743 | -0.11013 | 0 | 0 | 0 | -91.254 | -91.254 | -91.254 | 0.031718 | 1.9222 | 1.948 | 0.030831 | 1.9224 | 1.9473 | 133.0568 | -151.1862 | 149.8363 | 133.746 | -151.1578 | 149.8543

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.033564 | 0.016782 | 0.016782 | 0.039158 | 0.011188 | 0.011188 | 0.38757 | 0.19378 | 0.19378 | 0.45216 | 0.12919 | 0.12919 | 0.009382 | 0.18677 | -0.18234 | -0.0098574 | -0.12453 | 0.12154 | 0.0092517 | -0.3222 | -0.33028 | -0.0098574 | 0.21487 | 0.22025 | 88.746 | -91.254 | -91.254 | -91.254 | 88.746 | 88.746 | 0.033998 | 1.9219 | 1.9469 | 0.030831 | 1.9224 | 1.9473 | 133.3455 | -151.1539 | 149.8436 | 133.746 | -151.1578 | 149.8543
Line_1 | 0 | 0 | 0 | 0.005594 | 0.005594 | 0.005594 | 0 | 0 | 0 | 0.064594 | 0.064594 | 0.064594 | -9.1028e-11 | -6.9155e-09 | -7.0983e-09 | -0.0014082 | 0.062267 | -0.060772 | 9.3473e-11 | -4.0147e-09 | 3.9091e-09 | -0.0014082 | -0.10743 | -0.11013 | 0 | 0 | 0 | -91.254 | -91.254 | -91.254 | 0.031718 | 1.9222 | 1.948 | 0.030831 | 1.9224 | 1.9473 | 133.0568 | -151.1862 | 149.8363 | 133.746 | -151.1578 | 149.8543
Line_2 | 0 | 0 | 0 | 0.005594 | 0.005594 | 0.005594 | 0 | 0 | 0 | 0.064594 | 0.064594 | 0.064594 | -9.1029e-11 | -6.9155e-09 | -7.0984e-09 | -0.0014082 | 0.062267 | -0.060772 | 9.3474e-11 | -4.0146e-09 | 3.909e-09 | -0.0014082 | -0.10743 | -0.11013 | 0 | 0 | 0 | -91.254 | -91.254 | -91.254 | 0.031718 | 1.9222 | 1.948 | 0.030831 | 1.9224 | 1.9473 | 133.0568 | -151.1862 | 149.8363 | 133.746 | -151.1578 | 149.8543

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.029935 | 0.014968 | 0.014968 | 0.034924 | 0.0099784 | 0.0099784 | 0.34566 | 0.17283 | 0.17283 | 0.40327 | 0.11522 | 0.11522 | 0.0014246 | 0.14983 | -0.14952 | -6.2581e-14 | -0.099916 | 0.099651 | 0.00063809 | -0.26064 | -0.26173 | -1.2138e-13 | 0.17381 | 0.17454 | 89.7906 | -90.2094 | -90.2094 | -90.2094 | 89.7906 | 89.7906 | 0.004516 | 1.7395 | 1.7441 | 0 | 1.74 | 1.7443 | 113.9183 | -150.3164 | 150.0532 | 0 | -150.3169 | 150.0673
Line_1 | 0 | 0 | 0 | 0.0049892 | 0.0049892 | 0.0049892 | 0 | 0 | 0 | 0.05761 | 0.05761 | 0.05761 | -1.1488e-12 | -5.5918e-09 | -5.6292e-09 | -8.9402e-15 | 0.049958 | -0.049825 | 5.6257e-12 | -3.2243e-09 | 3.2027e-09 | -1.734e-14 | -0.086906 | -0.087271 | 0 | 0 | 0 | -90.2094 | -90.2094 | -90.2094 | 0.0015655 | 1.7395 | 1.7454 | 0 | 1.74 | 1.7443 | 101.4534 | -150.3659 | 150.0288 | 0 | -150.3169 | 150.0673
Line_2 | 0 | 0 | 0 | 0.0049892 | 0.0049892 | 0.0049892 | 0 | 0 | 0 | 0.05761 | 0.05761 | 0.05761 | -1.1488e-12 | -5.5918e-09 | -5.6293e-09 | -8.9402e-15 | 0.049958 | -0.049825 | 5.6257e-12 | -3.2243e-09 | 3.2026e-09 | -1.734e-14 | -0.086906 | -0.087271 | 0 | 0 | 0 | -90.2094 | -90.2094 | -90.2094 | 0.0015655 | 1.7395 | 1.7454 | 0 | 1.74 | 1.7443 | 101.4534 | -150.3659 | 150.0288 | 0 | -150.3169 | 150.0673

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.029935 | 0.014968 | 0.014968 | 0.034924 | 0.0099784 | 0.0099784 | 0.34566 | 0.17283 | 0.17283 | 0.40327 | 0.11522 | 0.11522 | 0.0014246 | 0.14983 | -0.14952 | -6.2581e-14 | -0.099916 | 0.099651 | 0.00063809 | -0.26064 | -0.26173 | -1.2138e-13 | 0.17381 | 0.17454 | 89.7906 | -90.2094 | -90.2094 | -90.2094 | 89.7906 | 89.7906 | 0.004516 | 1.7395 | 1.7441 | 0 | 1.74 | 1.7443 | 113.9183 | -150.3164 | 150.0532 | 0 | -150.3169 | 150.0673
Line_1 | 0 | 0 | 0 | 0.0049892 | 0.0049892 | 0.0049892 | 0 | 0 | 0 | 0.05761 | 0.05761 | 0.05761 | -1.1488e-12 | -5.5918e-09 | -5.6292e-09 | -8.9402e-15 | 0.049958 | -0.049825 | 5.6257e-12 | -3.2243e-09 | 3.2027e-09 | -1.734e-14 | -0.086906 | -0.087271 | 0 | 0 | 0 | -90.2094 | -90.2094 | -90.2094 | 0.0015655 | 1.7395 | 1.7454 | 0 | 1.74 | 1.7443 | 101.4534 | -150.3659 | 150.0288 | 0 | -150.3169 | 150.0673
Line_2 | 0 | 0 | 0 | 0.0049892 | 0.0049892 | 0.0049892 | 0 | 0 | 0 | 0.05761 | 0.05761 | 0.05761 | -1.1488e-12 | -5.5918e-09 | -5.6293e-09 | -8.9402e-15 | 0.049958 | -0.049825 | 5.6257e-12 | -3.2243e-09 | 3.2026e-09 | -1.734e-14 | -0.086906 | -0.087271 | 0 | 0 | 0 | -90.2094 | -90.2094 | -90.2094 | 0.0015655 | 1.7395 | 1.7454 | 0 | 1.74 | 1.7443 | 101.4534 | -150.3659 | 150.0288 | 0 | -150.3169 | 150.0673

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.03052 | 0.01526 | 0.01526 | 0.035607 | 0.010173 | 0.010173 | 0.35242 | 0.17621 | 0.17621 | 0.41116 | 0.11747 | 0.11747 | 0.0084671 | 0.15447 | -0.15065 | -0.0081506 | -0.10301 | 0.1004 | 0.0076495 | -0.26616 | -0.27335 | -0.0081506 | 0.17749 | 0.18229 | 88.6506 | -91.3494 | -91.3494 | -91.3494 | 88.6506 | 88.6506 | 0.032379 | 1.7464 | 1.7713 | 0.028035 | 1.7469 | 1.7715 | 130.7465 | -151.2201 | 149.7902 | 133.6506 | -151.2207 | 149.8043
Line_1 | 0 | 0 | 0 | 0.0050867 | 0.0050867 | 0.0050867 | 0 | 0 | 0 | 0.058737 | 0.058737 | 0.058737 | -7.5168e-11 | -5.7102e-09 | -5.8788e-09 | -0.0011644 | 0.051504 | -0.050202 | 8.0135e-11 | -3.324e-09 | 3.2266e-09 | -0.0011644 | -0.088747 | -0.091143 | 0 | 0 | 0 | -91.3494 | -91.3494 | -91.3494 | 0.029381 | 1.7464 | 1.7726 | 0.028035 | 1.7469 | 1.7715 | 131.9398 | -151.2703 | 149.765 | 133.6506 | -151.2207 | 149.8043
Line_2 | 0 | 0 | 0 | 0.0050867 | 0.0050867 | 0.0050867 | 0 | 0 | 0 | 0.058737 | 0.058737 | 0.058737 | -7.5168e-11 | -5.7102e-09 | -5.8788e-09 | -0.0011644 | 0.051504 | -0.050202 | 8.0135e-11 | -3.3239e-09 | 3.2266e-09 | -0.0011644 | -0.088747 | -0.091143 | 0 | 0 | 0 | -91.3494 | -91.3494 | -91.3494 | 0.029381 | 1.7464 | 1.7726 | 0.028035 | 1.7469 | 1.7715 | 131.9398 | -151.2703 | 149.765 | 133.6506 | -151.2207 | 149.8043

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.03052 | 0.01526 | 0.01526 | 0.035607 | 0.010173 | 0.010173 | 0.35242 | 0.17621 | 0.17621 | 0.41116 | 0.11747 | 0.11747 | 0.0084671 | 0.15447 | -0.15065 | -0.0081506 | -0.10301 | 0.1004 | 0.0076495 | -0.26616 | -0.27335 | -0.0081506 | 0.17749 | 0.18229 | 88.6506 | -91.3494 | -91.3494 | -91.3494 | 88.6506 | 88.6506 | 0.032379 | 1.7464 | 1.7713 | 0.028035 | 1.7469 | 1.7715 | 130.7465 | -151.2201 | 149.7902 | 133.6506 | -151.2207 | 149.8043
Line_1 | 0 | 0 | 0 | 0.0050867 | 0.0050867 | 0.0050867 | 0 | 0 | 0 | 0.058737 | 0.058737 | 0.058737 | -7.5168e-11 | -5.7102e-09 | -5.8788e-09 | -0.0011644 | 0.051504 | -0.050202 | 8.0135e-11 | -3.324e-09 | 3.2266e-09 | -0.0011644 | -0.088747 | -0.091143 | 0 | 0 | 0 | -91.3494 | -91.3494 | -91.3494 | 0.029381 | 1.7464 | 1.7726 | 0.028035 | 1.7469 | 1.7715 | 131.9398 | -151.2703 | 149.765 | 133.6506 | -151.2207 | 149.8043
Line_2 | 0 | 0 | 0 | 0.0050867 | 0.0050867 | 0.0050867 | 0 | 0 | 0 | 0.058737 | 0.058737 | 0.058737 | -7.5168e-11 | -5.7102e-09 | -5.8788e-09 | -0.0011644 | 0.051504 | -0.050202 | 8.0135e-11 | -3.3239e-09 | 3.2266e-09 | -0.0011644 | -0.088747 | -0.091143 | 0 | 0 | 0 | -91.3494 | -91.3494 | -91.3494 | 0.029381 | 1.7464 | 1.7726 | 0.028035 | 1.7469 | 1.7715 | 131.9398 | -151.2703 | 149.765 | 133.6506 | -151.2207 | 149.8043

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081838 | 3.71 | 3.7083 | 0.0054559 | 3.7106 | 3.7077 | 0.094498 | 42.8397 | 42.8196 | 0.062999 | 42.8464 | 42.813 | 5.5466e-05 | 7.1542 | 7.154 | -4.1268e-05 | 5.9553e-11 | 6.2559e-11 | -0.15619 | 8.1408 | 8.0935 | 0.10414 | -3.4843e-11 | 4.006e-11 | 89.9541 | -167.7181 | 12.1584 | -90.0459 | 12.3231 | -167.8828 | 1.6528 | 0.25298 | 0.25227 | 1.6531 | 0 | 0 | -0.025572 | -119.0272 | 60.6841 | -0.023216 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0027279 | 0.0027279 | 0.0027279 | 0 | 0 | 0 | 0.031499 | 0.031499 | 0.031499 | -3.3538e-09 | 1.1755e-12 | -1.8755e-12 | 2.0632e-05 | -1.5643e-14 | -3.851e-14 | -4.4433e-12 | 1.4856e-12 | 2.7596e-13 | -0.052071 | -4.8252e-14 | 3.8784e-14 | 0 | 0 | 0 | 89.9541 | 89.9541 | 89.9541 | 1.6533 | 0.00046981 | 0.00046981 | 1.6531 | 0 | 0 | -0.038349 | -68.3742 | -68.3742 | -0.023216 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0027279 | 0.0027279 | 0.0027279 | 0 | 0 | 0 | 0.031499 | 0.031499 | 0.031499 | -3.3538e-09 | 1.1755e-12 | -1.8755e-12 | 2.0632e-05 | -1.5643e-14 | -3.851e-14 | -4.4745e-12 | 1.4856e-12 | 2.7597e-13 | -0.052071 | -4.8252e-14 | 3.8784e-14 | 0 | 0 | 0 | 89.9541 | 89.9541 | 89.9541 | 1.6533 | 0.00046981 | 0.00046981 | 1.6531 | 0 | 0 | -0.038349 | -68.3742 | -68.3742 | -0.023216 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081838 | 3.71 | 3.7083 | 0.0054559 | 3.7106 | 3.7077 | 0.094498 | 42.8397 | 42.8196 | 0.062999 | 42.8464 | 42.813 | 5.5466e-05 | 7.1542 | 7.154 | -4.1268e-05 | 5.9553e-11 | 6.2559e-11 | -0.15619 | 8.1408 | 8.0935 | 0.10414 | -3.4843e-11 | 4.006e-11 | 89.9541 | -167.7181 | 12.1584 | -90.0459 | 12.3231 | -167.8828 | 1.6528 | 0.25298 | 0.25227 | 1.6531 | 0 | 0 | -0.025572 | -119.0272 | 60.6841 | -0.023216 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0027279 | 0.0027279 | 0.0027279 | 0 | 0 | 0 | 0.031499 | 0.031499 | 0.031499 | -3.3538e-09 | 1.1755e-12 | -1.8755e-12 | 2.0632e-05 | -1.5643e-14 | -3.851e-14 | -4.4433e-12 | 1.4856e-12 | 2.7596e-13 | -0.052071 | -4.8252e-14 | 3.8784e-14 | 0 | 0 | 0 | 89.9541 | 89.9541 | 89.9541 | 1.6533 | 0.00046981 | 0.00046981 | 1.6531 | 0 | 0 | -0.038349 | -68.3742 | -68.3742 | -0.023216 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0027279 | 0.0027279 | 0.0027279 | 0 | 0 | 0 | 0.031499 | 0.031499 | 0.031499 | -3.3538e-09 | 1.1755e-12 | -1.8755e-12 | 2.0632e-05 | -1.5643e-14 | -3.851e-14 | -4.4745e-12 | 1.4856e-12 | 2.7597e-13 | -0.052071 | -4.8252e-14 | 3.8784e-14 | 0 | 0 | 0 | 89.9541 | 89.9541 | 89.9541 | 1.6533 | 0.00046981 | 0.00046981 | 1.6531 | 0 | 0 | -0.038349 | -68.3742 | -68.3742 | -0.023216 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082632 | 1.1367 | 1.1318 | 0.0055088 | 1.1383 | 1.1302 | 0.095415 | 13.125 | 13.0688 | 0.06361 | 13.1438 | 13.0502 | 0.0010808 | 7.1233 | 7.0798 | -0.00072488 | -6.4719 | -6.3936 | -0.15821 | 7.2939 | 7.0892 | 0.10549 | -6.5224 | -6.3431 | 89.3945 | -144.3613 | 35.3013 | -90.6055 | 35.7505 | -144.8118 | 1.6582 | 0.77678 | 0.76664 | 1.6584 | 0.69906 | 0.69012 | -0.2141 | -98.6832 | 80.3394 | -0.21179 | -99.0269 | 79.961
Line_1 | 0 | 0 | 0 | 0.0027544 | 0.0027544 | 0.0027544 | 0 | 0 | 0 | 0.031805 | 0.031805 | 0.031805 | -3.3972e-09 | 8.4e-10 | 3.8491e-10 | 0.00036244 | -0.021994 | 0.021653 | -2.6505e-11 | 1.0107e-09 | -1.7904e-09 | -0.052745 | 0.0032562 | -0.0035976 | 0 | 0 | 0 | 89.3945 | 89.3945 | 89.3945 | 1.6586 | 0.69947 | 0.68972 | 1.6584 | 0.69906 | 0.69012 | -0.22706 | -99.0074 | 79.9406 | -0.21179 | -99.0269 | 79.961
Line_2 | 0 | 0 | 0 | 0.0027544 | 0.0027544 | 0.0027544 | 0 | 0 | 0 | 0.031805 | 0.031805 | 0.031805 | -3.3972e-09 | 8.4e-10 | 3.849e-10 | 0.00036244 | -0.021994 | 0.021653 | -2.6536e-11 | 1.0107e-09 | -1.7904e-09 | -0.052745 | 0.0032562 | -0.0035976 | 0 | 0 | 0 | 89.3945 | 89.3945 | 89.3945 | 1.6586 | 0.69947 | 0.68972 | 1.6584 | 0.69906 | 0.69012 | -0.22706 | -99.0074 | 79.9406 | -0.21179 | -99.0269 | 79.961

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082632 | 1.1367 | 1.1318 | 0.0055088 | 1.1383 | 1.1302 | 0.095415 | 13.125 | 13.0688 | 0.06361 | 13.1438 | 13.0502 | 0.0010808 | 7.1233 | 7.0798 | -0.00072488 | -6.4719 | -6.3936 | -0.15821 | 7.2939 | 7.0892 | 0.10549 | -6.5224 | -6.3431 | 89.3945 | -144.3613 | 35.3013 | -90.6055 | 35.7505 | -144.8118 | 1.6582 | 0.77678 | 0.76664 | 1.6584 | 0.69906 | 0.69012 | -0.2141 | -98.6832 | 80.3394 | -0.21179 | -99.0269 | 79.961
Line_1 | 0 | 0 | 0 | 0.0027544 | 0.0027544 | 0.0027544 | 0 | 0 | 0 | 0.031805 | 0.031805 | 0.031805 | -3.3972e-09 | 8.4e-10 | 3.8491e-10 | 0.00036244 | -0.021994 | 0.021653 | -2.6505e-11 | 1.0107e-09 | -1.7904e-09 | -0.052745 | 0.0032562 | -0.0035976 | 0 | 0 | 0 | 89.3945 | 89.3945 | 89.3945 | 1.6586 | 0.69947 | 0.68972 | 1.6584 | 0.69906 | 0.69012 | -0.22706 | -99.0074 | 79.9406 | -0.21179 | -99.0269 | 79.961
Line_2 | 0 | 0 | 0 | 0.0027544 | 0.0027544 | 0.0027544 | 0 | 0 | 0 | 0.031805 | 0.031805 | 0.031805 | -3.3972e-09 | 8.4e-10 | 3.849e-10 | 0.00036244 | -0.021994 | 0.021653 | -2.6536e-11 | 1.0107e-09 | -1.7904e-09 | -0.052745 | 0.0032562 | -0.0035976 | 0 | 0 | 0 | 89.3945 | 89.3945 | 89.3945 | 1.6586 | 0.69947 | 0.68972 | 1.6584 | 0.69906 | 0.69012 | -0.22706 | -99.0074 | 79.9406 | -0.21179 | -99.0269 | 79.961

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074403 | 3.1204 | 3.1178 | 0.0049602 | 3.1213 | 3.1169 | 0.085914 | 36.0311 | 36.0011 | 0.057276 | 36.0411 | 35.9912 | 8.8017e-05 | 9.7255 | 9.7008 | -6.5485e-05 | -1.3073e-10 | 4.229e-11 | -0.1291 | 5.7724 | 5.7075 | 0.08608 | -1.364e-10 | -1.7643e-10 | 89.9152 | -159.6083 | 20.2636 | -90.0848 | 20.4344 | -159.7791 | 1.5027 | 0.31388 | 0.31264 | 1.5029 | 0 | 0 | -0.045726 | -128.9177 | 50.734 | -0.041203 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024801 | 0.0024801 | 0.0024801 | 0 | 0 | 0 | 0.028638 | 0.028638 | 0.028638 | -2.7725e-09 | 2.1322e-12 | -2.7094e-12 | 3.2741e-05 | -1.3792e-13 | 1.1998e-13 | -6.7533e-12 | 1.8936e-12 | 9.0169e-13 | -0.04304 | 5.9298e-14 | 8.0276e-14 | 0 | 0 | 0 | 89.9152 | 89.9152 | 89.9152 | 1.5031 | 0.00077819 | 0.00077819 | 1.5029 | 0 | 0 | -0.070259 | -78.422 | -78.422 | -0.041203 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024801 | 0.0024801 | 0.0024801 | 0 | 0 | 0 | 0.028638 | 0.028638 | 0.028638 | -2.7725e-09 | 2.1322e-12 | -2.7093e-12 | 3.2741e-05 | -1.3792e-13 | 1.1998e-13 | -6.739e-12 | 1.8936e-12 | 9.017e-13 | -0.04304 | 5.9298e-14 | 8.0276e-14 | 0 | 0 | 0 | 89.9152 | 89.9152 | 89.9152 | 1.5031 | 0.00077819 | 0.00077819 | 1.5029 | 0 | 0 | -0.070259 | -78.422 | -78.422 | -0.041203 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074403 | 3.1204 | 3.1178 | 0.0049602 | 3.1213 | 3.1169 | 0.085914 | 36.0311 | 36.0011 | 0.057276 | 36.0411 | 35.9912 | 8.8017e-05 | 9.7255 | 9.7008 | -6.5485e-05 | -1.3073e-10 | 4.229e-11 | -0.1291 | 5.7724 | 5.7075 | 0.08608 | -1.364e-10 | -1.7643e-10 | 89.9152 | -159.6083 | 20.2636 | -90.0848 | 20.4344 | -159.7791 | 1.5027 | 0.31388 | 0.31264 | 1.5029 | 0 | 0 | -0.045726 | -128.9177 | 50.734 | -0.041203 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024801 | 0.0024801 | 0.0024801 | 0 | 0 | 0 | 0.028638 | 0.028638 | 0.028638 | -2.7725e-09 | 2.1322e-12 | -2.7094e-12 | 3.2741e-05 | -1.3792e-13 | 1.1998e-13 | -6.7533e-12 | 1.8936e-12 | 9.0169e-13 | -0.04304 | 5.9298e-14 | 8.0276e-14 | 0 | 0 | 0 | 89.9152 | 89.9152 | 89.9152 | 1.5031 | 0.00077819 | 0.00077819 | 1.5029 | 0 | 0 | -0.070259 | -78.422 | -78.422 | -0.041203 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024801 | 0.0024801 | 0.0024801 | 0 | 0 | 0 | 0.028638 | 0.028638 | 0.028638 | -2.7725e-09 | 2.1322e-12 | -2.7093e-12 | 3.2741e-05 | -1.3792e-13 | 1.1998e-13 | -6.739e-12 | 1.8936e-12 | 9.017e-13 | -0.04304 | 5.9298e-14 | 8.0276e-14 | 0 | 0 | 0 | 89.9152 | 89.9152 | 89.9152 | 1.5031 | 0.00077819 | 0.00077819 | 1.5029 | 0 | 0 | -0.070259 | -78.422 | -78.422 | -0.041203 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0075125 | 0.995 | 0.99037 | 0.0050083 | 0.99655 | 0.98884 | 0.086747 | 11.4892 | 11.4358 | 0.057831 | 11.5071 | 11.4181 | 0.00093629 | 5.9363 | 5.886 | -0.00063113 | -4.9614 | -4.8934 | -0.13077 | 5.5948 | 5.4226 | 0.087193 | -5.0006 | -4.8543 | 89.3552 | -142.4639 | 37.1944 | -90.6448 | 37.6493 | -142.9202 | 1.5075 | 0.70999 | 0.69983 | 1.5078 | 0.61216 | 0.60366 | -0.23455 | -99.1604 | 79.8478 | -0.23006 | -97.1255 | 81.8496
Line_1 | 0 | 0 | 0 | 0.0025042 | 0.0025042 | 0.0025042 | 0 | 0 | 0 | 0.028916 | 0.028916 | 0.028916 | -2.8083e-09 | 6.9284e-10 | 4.0501e-10 | 0.00031557 | -0.017588 | 0.017306 | -2.5032e-11 | 8.744e-10 | -1.3664e-09 | -0.043596 | 0.0019979 | -0.0022801 | 0 | 0 | 0 | 89.3552 | 89.3552 | 89.3552 | 1.5079 | 0.61291 | 0.60292 | 1.5078 | 0.61216 | 0.60366 | -0.25934 | -97.1026 | 81.8251 | -0.23006 | -97.1255 | 81.8496
Line_2 | 0 | 0 | 0 | 0.0025042 | 0.0025042 | 0.0025042 | 0 | 0 | 0 | 0.028916 | 0.028916 | 0.028916 | -2.8083e-09 | 6.9284e-10 | 4.0502e-10 | 0.00031557 | -0.017588 | 0.017306 | -2.5025e-11 | 8.744e-10 | -1.3664e-09 | -0.043596 | 0.0019979 | -0.0022801 | 0 | 0 | 0 | 89.3552 | 89.3552 | 89.3552 | 1.5079 | 0.61291 | 0.60292 | 1.5078 | 0.61216 | 0.60366 | -0.25934 | -97.1026 | 81.8251 | -0.23006 | -97.1255 | 81.8496

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0075125 | 0.995 | 0.99037 | 0.0050083 | 0.99655 | 0.98884 | 0.086747 | 11.4892 | 11.4358 | 0.057831 | 11.5071 | 11.4181 | 0.00093629 | 5.9363 | 5.886 | -0.00063113 | -4.9614 | -4.8934 | -0.13077 | 5.5948 | 5.4226 | 0.087193 | -5.0006 | -4.8543 | 89.3552 | -142.4639 | 37.1944 | -90.6448 | 37.6493 | -142.9202 | 1.5075 | 0.70999 | 0.69983 | 1.5078 | 0.61216 | 0.60366 | -0.23455 | -99.1604 | 79.8478 | -0.23006 | -97.1255 | 81.8496
Line_1 | 0 | 0 | 0 | 0.0025042 | 0.0025042 | 0.0025042 | 0 | 0 | 0 | 0.028916 | 0.028916 | 0.028916 | -2.8083e-09 | 6.9284e-10 | 4.0501e-10 | 0.00031557 | -0.017588 | 0.017306 | -2.5032e-11 | 8.744e-10 | -1.3664e-09 | -0.043596 | 0.0019979 | -0.0022801 | 0 | 0 | 0 | 89.3552 | 89.3552 | 89.3552 | 1.5079 | 0.61291 | 0.60292 | 1.5078 | 0.61216 | 0.60366 | -0.25934 | -97.1026 | 81.8251 | -0.23006 | -97.1255 | 81.8496
Line_2 | 0 | 0 | 0 | 0.0025042 | 0.0025042 | 0.0025042 | 0 | 0 | 0 | 0.028916 | 0.028916 | 0.028916 | -2.8083e-09 | 6.9284e-10 | 4.0502e-10 | 0.00031557 | -0.017588 | 0.017306 | -2.5025e-11 | 8.744e-10 | -1.3664e-09 | -0.043596 | 0.0019979 | -0.0022801 | 0 | 0 | 0 | 89.3552 | 89.3552 | 89.3552 | 1.5079 | 0.61291 | 0.60292 | 1.5078 | 0.61216 | 0.60366 | -0.25934 | -97.1026 | 81.8251 | -0.23006 | -97.1255 | 81.8496