## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 5.2796e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 5.2797e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 5.2796e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 5.2797e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 1.6145e-10 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 1.6145e-10 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 1.6145e-10 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 1.6145e-10 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.5275e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.5275e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.5275e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.5275e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -1.5632e-14 | 30.1766 | -15.8685 | 5.2106e-15 | -23.0225 | 23.0225 | 1.5632e-14 | 3.131 | 13.1032 | -2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.6137e-13 | -161.8563 | 152.6723 | 8.7721e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2107e-15 | 1.0421e-14 | -7.9776e-29 | 1.0421e-14 | -1.5632e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.8117e-13 | -180 | 180 | 8.7721e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2107e-15 | 1.0421e-14 | -7.9776e-29 | 1.0421e-14 | -1.5632e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.8117e-13 | -180 | 180 | 8.7721e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -1.5632e-14 | 30.1766 | -15.8685 | 5.2106e-15 | -23.0225 | 23.0225 | 1.5632e-14 | 3.131 | 13.1032 | -2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.6137e-13 | -161.8563 | 152.6723 | 8.7721e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2107e-15 | 1.0421e-14 | -7.9776e-29 | 1.0421e-14 | -1.5632e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.8117e-13 | -180 | 180 | 8.7721e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2107e-15 | 1.0421e-14 | -7.9776e-29 | 1.0421e-14 | -1.5632e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.8117e-13 | -180 | 180 | 8.7721e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.3027e-14 | 19.0761 | -0.30087 | 7.816e-15 | -17.4596 | 1.9173 | 7.816e-15 | 3.9919 | 15.2185 | -7.816e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.8252e-13 | -138.0936 | 121.2196 | 3.9186e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -5.3456e-29 | -4.7339e-10 | -1.0337e-09 | -1.0421e-14 | -1.3544e-09 | 3.8387e-10 | 7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9859e-13 | -142.8673 | 128.239 | 3.9186e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -5.3456e-29 | -4.7339e-10 | -1.0337e-09 | -1.0421e-14 | -1.3544e-09 | 3.8387e-10 | 7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9859e-13 | -142.8673 | 128.239 | 3.9186e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.3027e-14 | 19.0761 | -0.30087 | 7.816e-15 | -17.4596 | 1.9173 | 7.816e-15 | 3.9919 | 15.2185 | -7.816e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.8252e-13 | -138.0936 | 121.2196 | 3.9186e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -5.3456e-29 | -4.7339e-10 | -1.0337e-09 | -1.0421e-14 | -1.3544e-09 | 3.8387e-10 | 7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9859e-13 | -142.8673 | 128.239 | 3.9186e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -5.3456e-29 | -4.7339e-10 | -1.0337e-09 | -1.0421e-14 | -1.3544e-09 | 3.8387e-10 | 7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9859e-13 | -142.8673 | 128.239 | 3.9186e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.1842e-14 | 26.5997 | -7.1734 | 1.1842e-14 | -16.8865 | 16.8865 | 4.737e-15 | -0.51586 | 11.9957 | -4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.5086e-13 | -160.7833 | 141.207 | 9.7367e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3686e-15 | 8.9957e-20 | 4.737e-15 | 2.3685e-15 | -1.4455e-20 | -7.8536e-29 | -1.5877e-09 | 1.5877e-09 | 8.0499e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.4993e-13 | -180 | 180 | 9.7367e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3686e-15 | 8.9957e-20 | 4.737e-15 | 2.3685e-15 | -1.4455e-20 | -7.8536e-29 | -1.5877e-09 | 1.5877e-09 | 8.0499e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.4993e-13 | -180 | 180 | 9.7367e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.1842e-14 | 26.5997 | -7.1734 | 1.1842e-14 | -16.8865 | 16.8865 | 4.737e-15 | -0.51586 | 11.9957 | -4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.5086e-13 | -160.7833 | 141.207 | 9.7367e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3686e-15 | 8.9957e-20 | 4.737e-15 | 2.3685e-15 | -1.4455e-20 | -7.8536e-29 | -1.5877e-09 | 1.5877e-09 | 8.0499e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.4993e-13 | -180 | 180 | 9.7367e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3686e-15 | 8.9957e-20 | 4.737e-15 | 2.3685e-15 | -1.4455e-20 | -7.8536e-29 | -1.5877e-09 | 1.5877e-09 | 8.0499e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.4993e-13 | -180 | 180 | 9.7367e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -6.5133e-15 | 15.3932 | 0.73601 | 6.5133e-15 | -13.0917 | 1.5655 | 2.3685e-15 | 2.3135 | 11.9328 | -4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.7033e-13 | -138.1765 | 119.7467 | 4.8211e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | 4.798e-10 | 8.2616e-10 | 5.9212e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 4.9823e-29 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.7408e-13 | -142.5584 | 131.6989 | 4.8211e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | 4.798e-10 | 8.2616e-10 | 5.9212e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 4.9823e-29 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.7408e-13 | -142.5584 | 131.6989 | 4.8211e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -6.5133e-15 | 15.3932 | 0.73601 | 6.5133e-15 | -13.0917 | 1.5655 | 2.3685e-15 | 2.3135 | 11.9328 | -4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.7033e-13 | -138.1765 | 119.7467 | 4.8211e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | 4.798e-10 | 8.2616e-10 | 5.9212e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 4.9823e-29 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.7408e-13 | -142.5584 | 131.6989 | 4.8211e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | 4.798e-10 | 8.2616e-10 | 5.9212e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 4.9823e-29 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.7408e-13 | -142.5584 | 131.6989 | 4.8211e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.388 | 1.194 | 1.194 | 2.3863 | 1.1957 | 1.1957 | 27.5742 | 13.7871 | 13.7871 | 27.5551 | 13.8062 | 13.8062 | 2.9541 | -1.0349 | 21.2489 | 1.5628e-10 | 1.8103 | -20.5304 | 3.3715 | 14.6937 | 0.7856 | -1.8276e-10 | -13.8719 | 0.013609 | -58.0302 | 121.9698 | 121.9698 | 122.0236 | -58.1376 | -58.1376 |  | 0.16256 | 1.0684 | 1.5423 | 0 | 1.0133 | 1.487 | -9.255 | -144.0014 | 124.0871 | 0 | -140.7024 | 121.8244
Line_1 | 0.5993 | 0.5993 | 0.5993 | 0.59783 | 0.59783 | 0.59783 | 6.9201 | 6.9201 | 6.9201 | 6.9031 | 6.9031 | 6.9031 | 1.3251 | 2.2529 | -8.9654 | 3.928e-11 | -0.90515 | 10.2652 | 0.52882 | -6.4215 | 0.50537 | -4.5676e-11 | 6.936 | -0.0068043 | -58.3061 | -58.3061 | -58.3061 | 121.8624 | 121.8624 | 121.8624 |  | 0.20617 | 0.98341 | 1.2976 | 0 | 1.0133 | 1.487 | -36.5503 | -128.9733 | 118.4676 | 0 | -140.7024 | 121.8244
Line_2 | 0.5993 | 0.5993 | 0.5993 | 0.59783 | 0.59783 | 0.59783 | 6.9201 | 6.9201 | 6.9201 | 6.9031 | 6.9031 | 6.9031 | 1.3251 | 2.2529 | -8.9654 | 3.928e-11 | -0.90515 | 10.2652 | 0.52882 | -6.4215 | 0.50537 | -4.5676e-11 | 6.936 | -0.0068043 | -58.3061 | -58.3061 | -58.3061 | 121.8624 | 121.8624 | 121.8624 |  | 0.20617 | 0.98341 | 1.2976 | 0 | 1.0133 | 1.487 | -36.5503 | -128.9733 | 118.4676 | 0 | -140.7024 | 121.8244

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.388 | 1.194 | 1.194 | 2.3863 | 1.1957 | 1.1957 | 27.5742 | 13.7871 | 13.7871 | 27.5551 | 13.8062 | 13.8062 | 2.9541 | -1.0349 | 21.2489 | 1.5628e-10 | 1.8103 | -20.5304 | 3.3715 | 14.6937 | 0.7856 | -1.8276e-10 | -13.8719 | 0.013609 | -58.0302 | 121.9698 | 121.9698 | 122.0236 | -58.1376 | -58.1376 |  | 0.16256 | 1.0684 | 1.5423 | 0 | 1.0133 | 1.487 | -9.255 | -144.0014 | 124.0871 | 0 | -140.7024 | 121.8244
Line_1 | 0.5993 | 0.5993 | 0.5993 | 0.59783 | 0.59783 | 0.59783 | 6.9201 | 6.9201 | 6.9201 | 6.9031 | 6.9031 | 6.9031 | 1.3251 | 2.2529 | -8.9654 | 3.928e-11 | -0.90515 | 10.2652 | 0.52882 | -6.4215 | 0.50537 | -4.5676e-11 | 6.936 | -0.0068043 | -58.3061 | -58.3061 | -58.3061 | 121.8624 | 121.8624 | 121.8624 |  | 0.20617 | 0.98341 | 1.2976 | 0 | 1.0133 | 1.487 | -36.5503 | -128.9733 | 118.4676 | 0 | -140.7024 | 121.8244
Line_2 | 0.5993 | 0.5993 | 0.5993 | 0.59783 | 0.59783 | 0.59783 | 6.9201 | 6.9201 | 6.9201 | 6.9031 | 6.9031 | 6.9031 | 1.3251 | 2.2529 | -8.9654 | 3.928e-11 | -0.90515 | 10.2652 | 0.52882 | -6.4215 | 0.50537 | -4.5676e-11 | 6.936 | -0.0068043 | -58.3061 | -58.3061 | -58.3061 | 121.8624 | 121.8624 | 121.8624 |  | 0.20617 | 0.98341 | 1.2976 | 0 | 1.0133 | 1.487 | -36.5503 | -128.9733 | 118.4676 | 0 | -140.7024 | 121.8244

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80217 | 0.40109 | 0.40109 | 0.80162 | 0.40164 | 0.40164 | 9.2627 | 4.6314 | 4.6314 | 9.2563 | 4.6378 | 4.6378 | 5.1595 | -1 | 5.6941 | -4.8273 | 1.0949 | -5.6192 | 5.2066 | 4.9544 | -0.79459 | -4.8183 | -4.8645 | 0.87981 | -49.3436 | 130.6564 | 130.6564 | 130.7102 | -49.451 | -49.451 |  | 0.79134 | 1.0913 | 1.2414 | 0.73684 | 1.0751 | 1.2264 | -4.0833 | -127.932 | 122.7122 | -4.3436 | -126.7661 | 121.6503
Line_1 | 0.20132 | 0.20132 | 0.20132 | 0.20082 | 0.20082 | 0.20082 | 2.3246 | 2.3246 | 2.3246 | 2.3189 | 2.3189 | 2.3189 | 1.3549 | 0.70551 | -2.6683 | -1.2059 | -0.54746 | 2.8096 | 1.2767 | -2.377 | 0.49237 | -1.2105 | 2.4323 | -0.43991 | -49.6196 | -49.6196 | -49.6196 | 130.549 | 130.549 | 130.549 |  | 0.80082 | 1.0666 | 1.1672 | 0.73684 | 1.0751 | 1.2264 | -6.3214 | -123.0881 | 119.9253 | -4.3436 | -126.7661 | 121.6503
Line_2 | 0.20132 | 0.20132 | 0.20132 | 0.20082 | 0.20082 | 0.20082 | 2.3246 | 2.3246 | 2.3246 | 2.3189 | 2.3189 | 2.3189 | 1.3549 | 0.70551 | -2.6683 | -1.2059 | -0.54746 | 2.8096 | 1.2767 | -2.377 | 0.49237 | -1.2105 | 2.4323 | -0.43991 | -49.6196 | -49.6196 | -49.6196 | 130.549 | 130.549 | 130.549 |  | 0.80082 | 1.0666 | 1.1672 | 0.73684 | 1.0751 | 1.2264 | -6.3214 | -123.0881 | 119.9253 | -4.3436 | -126.7661 | 121.6503

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80217 | 0.40109 | 0.40109 | 0.80162 | 0.40164 | 0.40164 | 9.2627 | 4.6314 | 4.6314 | 9.2563 | 4.6378 | 4.6378 | 5.1595 | -1 | 5.6941 | -4.8273 | 1.0949 | -5.6192 | 5.2066 | 4.9544 | -0.79459 | -4.8183 | -4.8645 | 0.87981 | -49.3436 | 130.6564 | 130.6564 | 130.7102 | -49.451 | -49.451 |  | 0.79134 | 1.0913 | 1.2414 | 0.73684 | 1.0751 | 1.2264 | -4.0833 | -127.932 | 122.7122 | -4.3436 | -126.7661 | 121.6503
Line_1 | 0.20132 | 0.20132 | 0.20132 | 0.20082 | 0.20082 | 0.20082 | 2.3246 | 2.3246 | 2.3246 | 2.3189 | 2.3189 | 2.3189 | 1.3549 | 0.70551 | -2.6683 | -1.2059 | -0.54746 | 2.8096 | 1.2767 | -2.377 | 0.49237 | -1.2105 | 2.4323 | -0.43991 | -49.6196 | -49.6196 | -49.6196 | 130.549 | 130.549 | 130.549 |  | 0.80082 | 1.0666 | 1.1672 | 0.73684 | 1.0751 | 1.2264 | -6.3214 | -123.0881 | 119.9253 | -4.3436 | -126.7661 | 121.6503
Line_2 | 0.20132 | 0.20132 | 0.20132 | 0.20082 | 0.20082 | 0.20082 | 2.3246 | 2.3246 | 2.3246 | 2.3189 | 2.3189 | 2.3189 | 1.3549 | 0.70551 | -2.6683 | -1.2059 | -0.54746 | 2.8096 | 1.2767 | -2.377 | 0.49237 | -1.2105 | 2.4323 | -0.43991 | -49.6196 | -49.6196 | -49.6196 | 130.549 | 130.549 | 130.549 |  | 0.80082 | 1.0666 | 1.1672 | 0.73684 | 1.0751 | 1.2264 | -6.3214 | -123.0881 | 119.9253 | -4.3436 | -126.7661 | 121.6503

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8596 | 0.92982 | 0.92982 | 1.8584 | 0.93111 | 0.93111 | 21.4734 | 10.7367 | 10.7367 | 21.4586 | 10.7515 | 10.7515 | 3.441 | 1.8547 | 15.6691 | -7.3681e-11 | -0.95983 | -14.8258 | 2.0547 | 10.8936 | -1.5559 | -6.696e-13 | -10.4075 | 2.023 | -47.975 | 132.025 | 132.025 | 132.0998 | -48.1244 | -48.1244 |  | 0.18664 | 1.0292 | 1.4666 | 0 | 0.97212 | 1.3917 | -17.1331 | -147.6371 | 126.3543 | 0 | -143.3936 | 124.1054
Line_1 | 0.4667 | 0.4667 | 0.4667 | 0.46555 | 0.46555 | 0.46555 | 5.389 | 5.389 | 5.389 | 5.3757 | 5.3757 | 5.3757 | 1.5432 | 1.0813 | -5.8916 | -1.8458e-11 | 0.47992 | 7.4129 | 0.32149 | -4.8968 | 1.3082 | -2.3997e-13 | 5.2038 | -1.0115 | -48.3347 | -48.3347 | -48.3347 | 131.8756 | 131.8756 | 131.8756 |  | 0.29251 | 0.93056 | 1.1199 | 0 | 0.97212 | 1.3917 | -36.5669 | -125.883 | 119.1461 | 0 | -143.3936 | 124.1054
Line_2 | 0.4667 | 0.4667 | 0.4667 | 0.46555 | 0.46555 | 0.46555 | 5.389 | 5.389 | 5.389 | 5.3757 | 5.3757 | 5.3757 | 1.5432 | 1.0813 | -5.8916 | -1.8458e-11 | 0.47992 | 7.4129 | 0.32149 | -4.8968 | 1.3082 | -2.3997e-13 | 5.2038 | -1.0115 | -48.3347 | -48.3347 | -48.3347 | 131.8756 | 131.8756 | 131.8756 |  | 0.29251 | 0.93056 | 1.1199 | 0 | 0.97212 | 1.3917 | -36.5669 | -125.883 | 119.1461 | 0 | -143.3936 | 124.1054

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8596 | 0.92982 | 0.92982 | 1.8584 | 0.93111 | 0.93111 | 21.4734 | 10.7367 | 10.7367 | 21.4586 | 10.7515 | 10.7515 | 3.441 | 1.8547 | 15.6691 | -7.3681e-11 | -0.95983 | -14.8258 | 2.0547 | 10.8936 | -1.5559 | -6.696e-13 | -10.4075 | 2.023 | -47.975 | 132.025 | 132.025 | 132.0998 | -48.1244 | -48.1244 |  | 0.18664 | 1.0292 | 1.4666 | 0 | 0.97212 | 1.3917 | -17.1331 | -147.6371 | 126.3543 | 0 | -143.3936 | 124.1054
Line_1 | 0.4667 | 0.4667 | 0.4667 | 0.46555 | 0.46555 | 0.46555 | 5.389 | 5.389 | 5.389 | 5.3757 | 5.3757 | 5.3757 | 1.5432 | 1.0813 | -5.8916 | -1.8458e-11 | 0.47992 | 7.4129 | 0.32149 | -4.8968 | 1.3082 | -2.3997e-13 | 5.2038 | -1.0115 | -48.3347 | -48.3347 | -48.3347 | 131.8756 | 131.8756 | 131.8756 |  | 0.29251 | 0.93056 | 1.1199 | 0 | 0.97212 | 1.3917 | -36.5669 | -125.883 | 119.1461 | 0 | -143.3936 | 124.1054
Line_2 | 0.4667 | 0.4667 | 0.4667 | 0.46555 | 0.46555 | 0.46555 | 5.389 | 5.389 | 5.389 | 5.3757 | 5.3757 | 5.3757 | 1.5432 | 1.0813 | -5.8916 | -1.8458e-11 | 0.47992 | 7.4129 | 0.32149 | -4.8968 | 1.3082 | -2.3997e-13 | 5.2038 | -1.0115 | -48.3347 | -48.3347 | -48.3347 | 131.8756 | 131.8756 | 131.8756 |  | 0.29251 | 0.93056 | 1.1199 | 0 | 0.97212 | 1.3917 | -36.5669 | -125.883 | 119.1461 | 0 | -143.3936 | 124.1054

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68689 | 0.34344 | 0.34344 | 0.68642 | 0.34392 | 0.34392 | 7.9315 | 3.9658 | 3.9658 | 7.9261 | 3.9712 | 3.9712 | 4.0081 | -0.39458 | 4.5547 | -3.5408 | 0.52386 | -4.4446 | 3.819 | 3.9032 | -0.85988 | -3.5316 | -3.8385 | 0.9182 | -46.0984 | 133.9016 | 133.9016 | 133.9764 | -46.2478 | -46.2478 |  | 0.698 | 0.98923 | 1.1688 | 0.63095 | 0.97553 | 1.1428 | -2.4827 | -130.3259 | 123.2104 | -1.0984 | -128.4762 | 122.0799
Line_1 | 0.17238 | 0.17238 | 0.17238 | 0.17196 | 0.17196 | 0.17196 | 1.9905 | 1.9905 | 1.9905 | 1.9856 | 1.9856 | 1.9856 | 1.093 | 0.48018 | -2.0189 | -0.88357 | -0.26193 | 2.2223 | 0.93747 | -1.8791 | 0.49591 | -0.88818 | 1.9192 | -0.4591 | -46.4581 | -46.4581 | -46.4581 | 133.7522 | 133.7522 | 133.7522 |  | 0.72342 | 0.97438 | 1.0444 | 0.63095 | 0.97553 | 1.1428 | -5.8383 | -122.1239 | 119.7415 | -1.0984 | -128.4762 | 122.0799
Line_2 | 0.17238 | 0.17238 | 0.17238 | 0.17196 | 0.17196 | 0.17196 | 1.9905 | 1.9905 | 1.9905 | 1.9856 | 1.9856 | 1.9856 | 1.093 | 0.48018 | -2.0189 | -0.88357 | -0.26193 | 2.2223 | 0.93747 | -1.8791 | 0.49591 | -0.88818 | 1.9192 | -0.4591 | -46.4581 | -46.4581 | -46.4581 | 133.7522 | 133.7522 | 133.7522 |  | 0.72342 | 0.97438 | 1.0444 | 0.63095 | 0.97553 | 1.1428 | -5.8383 | -122.1239 | 119.7415 | -1.0984 | -128.4762 | 122.0799

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68689 | 0.34344 | 0.34344 | 0.68642 | 0.34392 | 0.34392 | 7.9315 | 3.9658 | 3.9658 | 7.9261 | 3.9712 | 3.9712 | 4.0081 | -0.39458 | 4.5547 | -3.5408 | 0.52386 | -4.4446 | 3.819 | 3.9032 | -0.85988 | -3.5316 | -3.8385 | 0.9182 | -46.0984 | 133.9016 | 133.9016 | 133.9764 | -46.2478 | -46.2478 |  | 0.698 | 0.98923 | 1.1688 | 0.63095 | 0.97553 | 1.1428 | -2.4827 | -130.3259 | 123.2104 | -1.0984 | -128.4762 | 122.0799
Line_1 | 0.17238 | 0.17238 | 0.17238 | 0.17196 | 0.17196 | 0.17196 | 1.9905 | 1.9905 | 1.9905 | 1.9856 | 1.9856 | 1.9856 | 1.093 | 0.48018 | -2.0189 | -0.88357 | -0.26193 | 2.2223 | 0.93747 | -1.8791 | 0.49591 | -0.88818 | 1.9192 | -0.4591 | -46.4581 | -46.4581 | -46.4581 | 133.7522 | 133.7522 | 133.7522 |  | 0.72342 | 0.97438 | 1.0444 | 0.63095 | 0.97553 | 1.1428 | -5.8383 | -122.1239 | 119.7415 | -1.0984 | -128.4762 | 122.0799
Line_2 | 0.17238 | 0.17238 | 0.17238 | 0.17196 | 0.17196 | 0.17196 | 1.9905 | 1.9905 | 1.9905 | 1.9856 | 1.9856 | 1.9856 | 1.093 | 0.48018 | -2.0189 | -0.88357 | -0.26193 | 2.2223 | 0.93747 | -1.8791 | 0.49591 | -0.88818 | 1.9192 | -0.4591 | -46.4581 | -46.4581 | -46.4581 | 133.7522 | 133.7522 | 133.7522 |  | 0.72342 | 0.97438 | 1.0444 | 0.63095 | 0.97553 | 1.1428 | -5.8383 | -122.1239 | 119.7415 | -1.0984 | -128.4762 | 122.0799

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95876 | 3.9897 | 3.4724 | 0.96009 | 3.9903 | 3.4714 | 11.0709 | 46.0688 | 40.0962 | 11.0862 | 46.0755 | 40.0843 | 12.5521 | 8.275 | 6.2685 | -12.0705 | 1.5059e-10 | 1.7478e-10 | 9.4408 | 9.4089 | 7.0987 | -8.9357 | -1.3542e-10 | 1.5833e-11 | -44.9138 | -173.5722 | 18.879 | 134.9788 | 6.4588 | -161.1538 |  | 1.4187 | 0.27199 | 0.23619 | 1.3547 | 0 | 0 | -7.966 | -124.9034 | 67.433 | -8.509 | 0 | 0
Line_1 | 0.48123 | 0.48123 | 0.48123 | 0.48005 | 0.48005 | 0.48005 | 5.5567 | 5.5567 | 5.5567 | 5.5431 | 5.5431 | 5.5431 | -5.1825 | 0.8544 | 0.8544 | 6.0353 | 2.4029e-11 | -8.68e-12 | -4.1556 | 0.34097 | 0.34097 | 4.4678 | 4.0276e-12 | -2.2664e-11 | 134.8102 | 134.8102 | 134.8102 | -45.0212 | -45.0212 | -45.0212 |  | 1.1955 | 0.16555 | 0.16555 | 1.3547 | 0 | 0 | -6.465 | 156.5661 | 156.5661 | -8.509 | 0 | 0
Line_2 | 0.48123 | 0.48123 | 0.48123 | 0.48005 | 0.48005 | 0.48005 | 5.5567 | 5.5567 | 5.5567 | 5.5431 | 5.5431 | 5.5431 | -5.1825 | 0.8544 | 0.8544 | 6.0353 | 2.4029e-11 | -8.68e-12 | -4.1556 | 0.34097 | 0.34097 | 4.4678 | 4.0276e-12 | -2.2664e-11 | 134.8102 | 134.8102 | 134.8102 | -45.0212 | -45.0212 | -45.0212 |  | 1.1955 | 0.16555 | 0.16555 | 1.3547 | 0 | 0 | -6.465 | 156.5661 | 156.5661 | -8.509 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95876 | 3.9897 | 3.4724 | 0.96009 | 3.9903 | 3.4714 | 11.0709 | 46.0688 | 40.0962 | 11.0862 | 46.0755 | 40.0843 | 12.5521 | 8.275 | 6.2685 | -12.0705 | 1.5059e-10 | 1.7478e-10 | 9.4408 | 9.4089 | 7.0987 | -8.9357 | -1.3542e-10 | 1.5833e-11 | -44.9138 | -173.5722 | 18.879 | 134.9788 | 6.4588 | -161.1538 |  | 1.4187 | 0.27199 | 0.23619 | 1.3547 | 0 | 0 | -7.966 | -124.9034 | 67.433 | -8.509 | 0 | 0
Line_1 | 0.48123 | 0.48123 | 0.48123 | 0.48005 | 0.48005 | 0.48005 | 5.5567 | 5.5567 | 5.5567 | 5.5431 | 5.5431 | 5.5431 | -5.1825 | 0.8544 | 0.8544 | 6.0353 | 2.4029e-11 | -8.68e-12 | -4.1556 | 0.34097 | 0.34097 | 4.4678 | 4.0276e-12 | -2.2664e-11 | 134.8102 | 134.8102 | 134.8102 | -45.0212 | -45.0212 | -45.0212 |  | 1.1955 | 0.16555 | 0.16555 | 1.3547 | 0 | 0 | -6.465 | 156.5661 | 156.5661 | -8.509 | 0 | 0
Line_2 | 0.48123 | 0.48123 | 0.48123 | 0.48005 | 0.48005 | 0.48005 | 5.5567 | 5.5567 | 5.5567 | 5.5431 | 5.5431 | 5.5431 | -5.1825 | 0.8544 | 0.8544 | 6.0353 | 2.4029e-11 | -8.68e-12 | -4.1556 | 0.34097 | 0.34097 | 4.4678 | 4.0276e-12 | -2.2664e-11 | 134.8102 | 134.8102 | 134.8102 | -45.0212 | -45.0212 | -45.0212 |  | 1.1955 | 0.16555 | 0.16555 | 1.3547 | 0 | 0 | -6.465 | 156.5661 | 156.5661 | -8.509 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36858 | 1.1789 | 1.1185 | 0.36909 | 1.1794 | 1.1178 | 4.256 | 13.6131 | 12.915 | 4.2619 | 13.6188 | 12.907 | 3.8928 | 10.4206 | 4.8355 | -3.8206 | -9.7048 | -4.1796 | 3.433 | 6.397 | 9.0449 | -3.365 | -5.5716 | -8.3052 | -44.9669 | -153.397 | 44.8212 | 134.9257 | 26.6371 | -135.205 |  | 1.2195 | 0.89822 | 0.79414 | 1.1946 | 0.82169 | 0.72036 | -3.5584 | -121.8522 | 106.6917 | -3.7025 | -123.5026 | 108.081
Line_1 | 0.185 | 0.185 | 0.185 | 0.18455 | 0.18455 | 0.18455 | 2.1362 | 2.1362 | 2.1362 | 2.1309 | 2.1309 | 2.1309 | -1.7838 | -0.23088 | 1.5013 | 1.9103 | 0.35124 | -1.3696 | -1.6419 | 1.769 | -0.64046 | 1.6825 | -1.7154 | 0.69318 | 134.7572 | 134.7572 | 134.7572 | -45.0743 | -45.0743 | -45.0743 |  | 1.1349 | 0.83512 | 0.76407 | 1.1946 | 0.82169 | 0.72036 | -2.6149 | -127.8066 | 111.6539 | -3.7025 | -123.5026 | 108.081
Line_2 | 0.185 | 0.185 | 0.185 | 0.18455 | 0.18455 | 0.18455 | 2.1362 | 2.1362 | 2.1362 | 2.1309 | 2.1309 | 2.1309 | -1.7838 | -0.23088 | 1.5013 | 1.9103 | 0.35124 | -1.3696 | -1.6419 | 1.769 | -0.64046 | 1.6825 | -1.7154 | 0.69318 | 134.7572 | 134.7572 | 134.7572 | -45.0743 | -45.0743 | -45.0743 |  | 1.1349 | 0.83512 | 0.76407 | 1.1946 | 0.82169 | 0.72036 | -2.6149 | -127.8066 | 111.6539 | -3.7025 | -123.5026 | 108.081

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36858 | 1.1789 | 1.1185 | 0.36909 | 1.1794 | 1.1178 | 4.256 | 13.6131 | 12.915 | 4.2619 | 13.6188 | 12.907 | 3.8928 | 10.4206 | 4.8355 | -3.8206 | -9.7048 | -4.1796 | 3.433 | 6.397 | 9.0449 | -3.365 | -5.5716 | -8.3052 | -44.9669 | -153.397 | 44.8212 | 134.9257 | 26.6371 | -135.205 |  | 1.2195 | 0.89822 | 0.79414 | 1.1946 | 0.82169 | 0.72036 | -3.5584 | -121.8522 | 106.6917 | -3.7025 | -123.5026 | 108.081
Line_1 | 0.185 | 0.185 | 0.185 | 0.18455 | 0.18455 | 0.18455 | 2.1362 | 2.1362 | 2.1362 | 2.1309 | 2.1309 | 2.1309 | -1.7838 | -0.23088 | 1.5013 | 1.9103 | 0.35124 | -1.3696 | -1.6419 | 1.769 | -0.64046 | 1.6825 | -1.7154 | 0.69318 | 134.7572 | 134.7572 | 134.7572 | -45.0743 | -45.0743 | -45.0743 |  | 1.1349 | 0.83512 | 0.76407 | 1.1946 | 0.82169 | 0.72036 | -2.6149 | -127.8066 | 111.6539 | -3.7025 | -123.5026 | 108.081
Line_2 | 0.185 | 0.185 | 0.185 | 0.18455 | 0.18455 | 0.18455 | 2.1362 | 2.1362 | 2.1362 | 2.1309 | 2.1309 | 2.1309 | -1.7838 | -0.23088 | 1.5013 | 1.9103 | 0.35124 | -1.3696 | -1.6419 | 1.769 | -0.64046 | 1.6825 | -1.7154 | 0.69318 | 134.7572 | 134.7572 | 134.7572 | -45.0743 | -45.0743 | -45.0743 |  | 1.1349 | 0.83512 | 0.76407 | 1.1946 | 0.82169 | 0.72036 | -2.6149 | -127.8066 | 111.6539 | -3.7025 | -123.5026 | 108.081

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70871 | 3.3317 | 2.934 | 0.70969 | 3.3325 | 2.9329 | 8.1835 | 38.4709 | 33.8791 | 8.1948 | 38.4803 | 33.8658 | 9.6755 | 11.0872 | 8.5864 | -9.1706 | -1.7084e-10 | -1.2706e-13 | 5.1325 | 6.5738 | 5.0584 | -4.8709 | -1.4811e-10 | -1.9998e-10 | -35.369 | -164.7128 | 26.0535 | 144.4817 | 15.3203 | -153.9805 |  | 1.3384 | 0.33505 | 0.29415 | 1.2671 | 0 | 0 | -7.4245 | -134.0484 | 56.5566 | -7.5434 | 0 | 0
Line_1 | 0.35572 | 0.35572 | 0.35572 | 0.35484 | 0.35484 | 0.35484 | 4.1075 | 4.1075 | 4.1075 | 4.0974 | 4.0974 | 4.0974 | -3.6911 | 0.89652 | 0.89652 | 4.5853 | 7.4024e-13 | -2.1263e-11 | -2.2715 | 0.18677 | 0.18677 | 2.4355 | -2.4065e-11 | 1.1544e-11 | 144.2714 | 144.2714 | 144.2714 | -35.5183 | -35.5183 | -35.5183 |  | 1.0552 | 0.22295 | 0.22295 | 1.2671 | 0 | 0 | -4.1197 | 156.0392 | 156.0392 | -7.5434 | 0 | 0
Line_2 | 0.35572 | 0.35572 | 0.35572 | 0.35484 | 0.35484 | 0.35484 | 4.1075 | 4.1075 | 4.1075 | 4.0974 | 4.0974 | 4.0974 | -3.6911 | 0.89652 | 0.89652 | 4.5853 | 7.4024e-13 | -2.1263e-11 | -2.2715 | 0.18677 | 0.18677 | 2.4355 | -2.4065e-11 | 1.1544e-11 | 144.2714 | 144.2714 | 144.2714 | -35.5183 | -35.5183 | -35.5183 |  | 1.0552 | 0.22295 | 0.22295 | 1.2671 | 0 | 0 | -4.1197 | 156.0392 | 156.0392 | -7.5434 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70871 | 3.3317 | 2.934 | 0.70969 | 3.3325 | 2.9329 | 8.1835 | 38.4709 | 33.8791 | 8.1948 | 38.4803 | 33.8658 | 9.6755 | 11.0872 | 8.5864 | -9.1706 | -1.7084e-10 | -1.2706e-13 | 5.1325 | 6.5738 | 5.0584 | -4.8709 | -1.4811e-10 | -1.9998e-10 | -35.369 | -164.7128 | 26.0535 | 144.4817 | 15.3203 | -153.9805 |  | 1.3384 | 0.33505 | 0.29415 | 1.2671 | 0 | 0 | -7.4245 | -134.0484 | 56.5566 | -7.5434 | 0 | 0
Line_1 | 0.35572 | 0.35572 | 0.35572 | 0.35484 | 0.35484 | 0.35484 | 4.1075 | 4.1075 | 4.1075 | 4.0974 | 4.0974 | 4.0974 | -3.6911 | 0.89652 | 0.89652 | 4.5853 | 7.4024e-13 | -2.1263e-11 | -2.2715 | 0.18677 | 0.18677 | 2.4355 | -2.4065e-11 | 1.1544e-11 | 144.2714 | 144.2714 | 144.2714 | -35.5183 | -35.5183 | -35.5183 |  | 1.0552 | 0.22295 | 0.22295 | 1.2671 | 0 | 0 | -4.1197 | 156.0392 | 156.0392 | -7.5434 | 0 | 0
Line_2 | 0.35572 | 0.35572 | 0.35572 | 0.35484 | 0.35484 | 0.35484 | 4.1075 | 4.1075 | 4.1075 | 4.0974 | 4.0974 | 4.0974 | -3.6911 | 0.89652 | 0.89652 | 4.5853 | 7.4024e-13 | -2.1263e-11 | -2.2715 | 0.18677 | 0.18677 | 2.4355 | -2.4065e-11 | 1.1544e-11 | 144.2714 | 144.2714 | 144.2714 | -35.5183 | -35.5183 | -35.5183 |  | 1.0552 | 0.22295 | 0.22295 | 1.2671 | 0 | 0 | -4.1197 | 156.0392 | 156.0392 | -7.5434 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30894 | 1.0354 | 0.97287 | 0.30937 | 1.036 | 0.97208 | 3.5673 | 11.9559 | 11.2337 | 3.5723 | 11.9629 | 11.2247 | 3.2703 | 8.486 | 4.0986 | -3.1726 | -7.4212 | -3.1506 | 2.407 | 5.0476 | 6.7141 | -2.363 | -4.4098 | -6.1544 | -40.8177 | -151.031 | 46.3064 | 139.033 | 29.0064 | -133.7209 |  | 1.1383 | 0.82584 | 0.70024 | 1.1074 | 0.7216 | 0.61596 | -4.4638 | -120.2863 | 104.9044 | -4.2876 | -120.2737 | 109.1702
Line_1 | 0.15506 | 0.15506 | 0.15506 | 0.15468 | 0.15468 | 0.15468 | 1.7905 | 1.7905 | 1.7905 | 1.7861 | 1.7861 | 1.7861 | -1.4155 | -0.074039 | 1.1288 | 1.5863 | 0.23916 | -0.95411 | -1.1547 | 1.3042 | -0.51015 | 1.1815 | -1.2665 | 0.54781 | 138.8226 | 138.8226 | 138.8226 | -40.967 | -40.967 | -40.967 |  | 1.0202 | 0.72957 | 0.69184 | 1.1074 | 0.7216 | 0.61596 | -1.9697 | -127.9282 | 114.5029 | -4.2876 | -120.2737 | 109.1702
Line_2 | 0.15506 | 0.15506 | 0.15506 | 0.15468 | 0.15468 | 0.15468 | 1.7905 | 1.7905 | 1.7905 | 1.7861 | 1.7861 | 1.7861 | -1.4155 | -0.074039 | 1.1288 | 1.5863 | 0.23916 | -0.95411 | -1.1547 | 1.3042 | -0.51015 | 1.1815 | -1.2665 | 0.54781 | 138.8226 | 138.8226 | 138.8226 | -40.967 | -40.967 | -40.967 |  | 1.0202 | 0.72957 | 0.69184 | 1.1074 | 0.7216 | 0.61596 | -1.9697 | -127.9282 | 114.5029 | -4.2876 | -120.2737 | 109.1702

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30894 | 1.0354 | 0.97287 | 0.30937 | 1.036 | 0.97208 | 3.5673 | 11.9559 | 11.2337 | 3.5723 | 11.9629 | 11.2247 | 3.2703 | 8.486 | 4.0986 | -3.1726 | -7.4212 | -3.1506 | 2.407 | 5.0476 | 6.7141 | -2.363 | -4.4098 | -6.1544 | -40.8177 | -151.031 | 46.3064 | 139.033 | 29.0064 | -133.7209 |  | 1.1383 | 0.82584 | 0.70024 | 1.1074 | 0.7216 | 0.61596 | -4.4638 | -120.2863 | 104.9044 | -4.2876 | -120.2737 | 109.1702
Line_1 | 0.15506 | 0.15506 | 0.15506 | 0.15468 | 0.15468 | 0.15468 | 1.7905 | 1.7905 | 1.7905 | 1.7861 | 1.7861 | 1.7861 | -1.4155 | -0.074039 | 1.1288 | 1.5863 | 0.23916 | -0.95411 | -1.1547 | 1.3042 | -0.51015 | 1.1815 | -1.2665 | 0.54781 | 138.8226 | 138.8226 | 138.8226 | -40.967 | -40.967 | -40.967 |  | 1.0202 | 0.72957 | 0.69184 | 1.1074 | 0.7216 | 0.61596 | -1.9697 | -127.9282 | 114.5029 | -4.2876 | -120.2737 | 109.1702
Line_2 | 0.15506 | 0.15506 | 0.15506 | 0.15468 | 0.15468 | 0.15468 | 1.7905 | 1.7905 | 1.7905 | 1.7861 | 1.7861 | 1.7861 | -1.4155 | -0.074039 | 1.1288 | 1.5863 | 0.23916 | -0.95411 | -1.1547 | 1.3042 | -0.51015 | 1.1815 | -1.2665 | 0.54781 | 138.8226 | 138.8226 | 138.8226 | -40.967 | -40.967 | -40.967 |  | 1.0202 | 0.72957 | 0.69184 | 1.1074 | 0.7216 | 0.61596 | -1.9697 | -127.9282 | 114.5029 | -4.2876 | -120.2737 | 109.1702