## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 5.2796e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 5.2797e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 5.2796e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 5.2797e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 1.6145e-10 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 1.6145e-10 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 1.6145e-10 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 1.6145e-10 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.5275e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.5275e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.5275e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.5275e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -1.0421e-14 | 30.1766 | -15.8685 | 5.2106e-15 | -23.0225 | 23.0225 | 2.6053e-14 | 3.131 | 13.1032 | -3.1264e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.749e-13 | -161.8563 | 152.6723 | 8.8998e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.0421e-14 | -5.2106e-15 | -5.2106e-15 | -2.6053e-15 | 1.099e-21 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.0867e-13 | -180 | 180 | 8.8998e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.0421e-14 | -5.2106e-15 | -5.2106e-15 | -2.6053e-15 | 1.099e-21 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.0867e-13 | -180 | 180 | 8.8998e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -1.0421e-14 | 30.1766 | -15.8685 | 5.2106e-15 | -23.0225 | 23.0225 | 2.6053e-14 | 3.131 | 13.1032 | -3.1264e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.749e-13 | -161.8563 | 152.6723 | 8.8998e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.0421e-14 | -5.2106e-15 | -5.2106e-15 | -2.6053e-15 | 1.099e-21 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.0867e-13 | -180 | 180 | 8.8998e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.0421e-14 | -5.2106e-15 | -5.2106e-15 | -2.6053e-15 | 1.099e-21 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.0867e-13 | -180 | 180 | 8.8998e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.6053e-15 | 19.0761 | -0.30087 | 1.1115e-28 | -17.4596 | 1.9173 | 1.3027e-14 | 3.9919 | 15.2185 | -1.5632e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 4.0095e-13 | -138.0936 | 121.2196 | 4.0741e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | 2.6053e-15 | -4.7339e-10 | -1.0337e-09 | -1.3027e-14 | -1.3544e-09 | 3.8388e-10 | 7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.1454e-13 | -142.8673 | 128.239 | 4.0741e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | 2.6053e-15 | -4.7339e-10 | -1.0337e-09 | -1.3027e-14 | -1.3544e-09 | 3.8388e-10 | 7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.1454e-13 | -142.8673 | 128.239 | 4.0741e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.6053e-15 | 19.0761 | -0.30087 | 1.1115e-28 | -17.4596 | 1.9173 | 1.3027e-14 | 3.9919 | 15.2185 | -1.5632e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 4.0095e-13 | -138.0936 | 121.2196 | 4.0741e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | 2.6053e-15 | -4.7339e-10 | -1.0337e-09 | -1.3027e-14 | -1.3544e-09 | 3.8388e-10 | 7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.1454e-13 | -142.8673 | 128.239 | 4.0741e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | 2.6053e-15 | -4.7339e-10 | -1.0337e-09 | -1.3027e-14 | -1.3544e-09 | 3.8388e-10 | 7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.1454e-13 | -142.8673 | 128.239 | 4.0741e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.1316e-14 | 26.5997 | -7.1734 | 2.1316e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.5853e-13 | -160.7833 | 141.207 | 9.6373e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 8.9778e-20 | 4.737e-15 | 2.3685e-15 | -1.4273e-20 | -1.4455e-20 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3904e-13 | -180 | 180 | 9.6373e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 8.9778e-20 | 4.737e-15 | 2.3685e-15 | -1.4273e-20 | -1.4455e-20 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3904e-13 | -180 | 180 | 9.6373e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.1316e-14 | 26.5997 | -7.1734 | 2.1316e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.5853e-13 | -160.7833 | 141.207 | 9.6373e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 8.9778e-20 | 4.737e-15 | 2.3685e-15 | -1.4273e-20 | -1.4455e-20 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3904e-13 | -180 | 180 | 9.6373e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 8.9778e-20 | 4.737e-15 | 2.3685e-15 | -1.4273e-20 | -1.4455e-20 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3904e-13 | -180 | 180 | 9.6373e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.125e-14 | 15.3932 | 0.73601 | 1.0658e-14 | -13.0917 | 1.5655 | -9.4739e-15 | 2.3135 | 11.9328 | 9.4739e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.7536e-13 | -138.1765 | 119.7467 | 4.7867e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | 5.9362e-29 | -4.7979e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | -7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.6374e-13 | -142.5584 | 131.6989 | 4.7867e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | 5.9362e-29 | -4.7979e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | -7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.6374e-13 | -142.5584 | 131.6989 | 4.7867e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.125e-14 | 15.3932 | 0.73601 | 1.0658e-14 | -13.0917 | 1.5655 | -9.4739e-15 | 2.3135 | 11.9328 | 9.4739e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.7536e-13 | -138.1765 | 119.7467 | 4.7867e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | 5.9362e-29 | -4.7979e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | -7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.6374e-13 | -142.5584 | 131.6989 | 4.7867e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | 5.9362e-29 | -4.7979e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | -7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.6374e-13 | -142.5584 | 131.6989 | 4.7867e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6568 | 1.3284 | 1.3284 | 2.655 | 1.3302 | 1.3302 | 30.6781 | 15.3391 | 15.3391 | 30.6568 | 15.3604 | 15.3604 | 3.6593 | -7.9754 | 19.6569 | 2.6728e-10 | 8.9216 | -18.7567 | 4.1662 | 14.3842 | 4.8687 | -1.967e-10 | -13.3553 | -3.8486 | -70.9982 | 109.0018 | 109.0018 | 109.0247 | -71.0438 | -71.0438 |  | 0.18075 | 1.0722 | 1.3202 | 0 | 1.0456 | 1.2465 | -22.2925 | -131.9917 | 122.913 | 0 | -127.3001 | 120.5515
Line_1 | 0.66676 | 0.66676 | 0.66676 | 0.66512 | 0.66512 | 0.66512 | 7.6991 | 7.6991 | 7.6991 | 7.6802 | 7.6802 | 7.6802 | 1.6409 | 6.118 | -7.759 | 6.7019e-11 | -4.4608 | 9.3783 | 0.65282 | -6.0378 | -1.2837 | -4.9197e-11 | 6.6777 | 1.9243 | -71.0892 | -71.0892 | -71.0892 | 108.9562 | 108.9562 | 108.9562 |  | 0.22938 | 1.1164 | 1.0215 | 0 | 1.0456 | 1.2465 | -49.3948 | -115.7107 | 118.3048 | 0 | -127.3001 | 120.5515
Line_2 | 0.66676 | 0.66676 | 0.66676 | 0.66512 | 0.66512 | 0.66512 | 7.6991 | 7.6991 | 7.6991 | 7.6802 | 7.6802 | 7.6802 | 1.6409 | 6.118 | -7.759 | 6.7019e-11 | -4.4608 | 9.3783 | 0.65282 | -6.0378 | -1.2837 | -4.9197e-11 | 6.6777 | 1.9243 | -71.0892 | -71.0892 | -71.0892 | 108.9562 | 108.9562 | 108.9562 |  | 0.22938 | 1.1164 | 1.0215 | 0 | 1.0456 | 1.2465 | -49.3948 | -115.7107 | 118.3048 | 0 | -127.3001 | 120.5515

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6568 | 1.3284 | 1.3284 | 2.655 | 1.3302 | 1.3302 | 30.6781 | 15.3391 | 15.3391 | 30.6568 | 15.3604 | 15.3604 | 3.6593 | -7.9754 | 19.6569 | 2.6728e-10 | 8.9216 | -18.7567 | 4.1662 | 14.3842 | 4.8687 | -1.967e-10 | -13.3553 | -3.8486 | -70.9982 | 109.0018 | 109.0018 | 109.0247 | -71.0438 | -71.0438 |  | 0.18075 | 1.0722 | 1.3202 | 0 | 1.0456 | 1.2465 | -22.2925 | -131.9917 | 122.913 | 0 | -127.3001 | 120.5515
Line_1 | 0.66676 | 0.66676 | 0.66676 | 0.66512 | 0.66512 | 0.66512 | 7.6991 | 7.6991 | 7.6991 | 7.6802 | 7.6802 | 7.6802 | 1.6409 | 6.118 | -7.759 | 6.7019e-11 | -4.4608 | 9.3783 | 0.65282 | -6.0378 | -1.2837 | -4.9197e-11 | 6.6777 | 1.9243 | -71.0892 | -71.0892 | -71.0892 | 108.9562 | 108.9562 | 108.9562 |  | 0.22938 | 1.1164 | 1.0215 | 0 | 1.0456 | 1.2465 | -49.3948 | -115.7107 | 118.3048 | 0 | -127.3001 | 120.5515
Line_2 | 0.66676 | 0.66676 | 0.66676 | 0.66512 | 0.66512 | 0.66512 | 7.6991 | 7.6991 | 7.6991 | 7.6802 | 7.6802 | 7.6802 | 1.6409 | 6.118 | -7.759 | 6.7019e-11 | -4.4608 | 9.3783 | 0.65282 | -6.0378 | -1.2837 | -4.9197e-11 | 6.6777 | 1.9243 | -71.0892 | -71.0892 | -71.0892 | 108.9562 | 108.9562 | 108.9562 |  | 0.22938 | 1.1164 | 1.0215 | 0 | 1.0456 | 1.2465 | -49.3948 | -115.7107 | 118.3048 | 0 | -127.3001 | 120.5515

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.84395 | 0.42198 | 0.42198 | 0.84337 | 0.42256 | 0.42256 | 9.7451 | 4.8726 | 4.8726 | 9.7383 | 4.8793 | 4.8793 | 5.7112 | -1.7824 | 5.6321 | -5.3403 | 1.8822 | -5.5471 | 5.7623 | 5.1001 | -0.48636 | -5.3361 | -5.0005 | 0.58775 | -53.004 | 126.996 | 126.996 | 127.0188 | -53.0496 | -53.0496 |  | 0.83252 | 1.1088 | 1.1602 | 0.77522 | 1.095 | 1.1432 | -7.7486 | -123.7401 | 122.0604 | -8.004 | -122.4237 | 120.9022
Line_1 | 0.2118 | 0.2118 | 0.2118 | 0.21128 | 0.21128 | 0.21128 | 2.4457 | 2.4457 | 2.4457 | 2.4397 | 2.4397 | 2.4397 | 1.5041 | 1.111 | -2.615 | -1.3363 | -0.94108 | 2.7736 | 1.4086 | -2.4398 | 0.35827 | -1.3384 | 2.5003 | -0.29387 | -53.0951 | -53.0951 | -53.0951 | 126.9504 | 126.9504 | 126.9504 |  | 0.84259 | 1.0962 | 1.0792 | 0.77522 | 1.095 | 1.1432 | -9.9719 | -118.6129 | 119.1039 | -8.004 | -122.4237 | 120.9022
Line_2 | 0.2118 | 0.2118 | 0.2118 | 0.21128 | 0.21128 | 0.21128 | 2.4457 | 2.4457 | 2.4457 | 2.4397 | 2.4397 | 2.4397 | 1.5041 | 1.111 | -2.615 | -1.3363 | -0.94108 | 2.7736 | 1.4086 | -2.4398 | 0.35827 | -1.3384 | 2.5003 | -0.29387 | -53.0951 | -53.0951 | -53.0951 | 126.9504 | 126.9504 | 126.9504 |  | 0.84259 | 1.0962 | 1.0792 | 0.77522 | 1.095 | 1.1432 | -9.9719 | -118.6129 | 119.1039 | -8.004 | -122.4237 | 120.9022

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.84395 | 0.42198 | 0.42198 | 0.84337 | 0.42256 | 0.42256 | 9.7451 | 4.8726 | 4.8726 | 9.7383 | 4.8793 | 4.8793 | 5.7112 | -1.7824 | 5.6321 | -5.3403 | 1.8822 | -5.5471 | 5.7623 | 5.1001 | -0.48636 | -5.3361 | -5.0005 | 0.58775 | -53.004 | 126.996 | 126.996 | 127.0188 | -53.0496 | -53.0496 |  | 0.83252 | 1.1088 | 1.1602 | 0.77522 | 1.095 | 1.1432 | -7.7486 | -123.7401 | 122.0604 | -8.004 | -122.4237 | 120.9022
Line_1 | 0.2118 | 0.2118 | 0.2118 | 0.21128 | 0.21128 | 0.21128 | 2.4457 | 2.4457 | 2.4457 | 2.4397 | 2.4397 | 2.4397 | 1.5041 | 1.111 | -2.615 | -1.3363 | -0.94108 | 2.7736 | 1.4086 | -2.4398 | 0.35827 | -1.3384 | 2.5003 | -0.29387 | -53.0951 | -53.0951 | -53.0951 | 126.9504 | 126.9504 | 126.9504 |  | 0.84259 | 1.0962 | 1.0792 | 0.77522 | 1.095 | 1.1432 | -9.9719 | -118.6129 | 119.1039 | -8.004 | -122.4237 | 120.9022
Line_2 | 0.2118 | 0.2118 | 0.2118 | 0.21128 | 0.21128 | 0.21128 | 2.4457 | 2.4457 | 2.4457 | 2.4397 | 2.4397 | 2.4397 | 1.5041 | 1.111 | -2.615 | -1.3363 | -0.94108 | 2.7736 | 1.4086 | -2.4398 | 0.35827 | -1.3384 | 2.5003 | -0.29387 | -53.0951 | -53.0951 | -53.0951 | 126.9504 | 126.9504 | 126.9504 |  | 0.84259 | 1.0962 | 1.0792 | 0.77522 | 1.095 | 1.1432 | -9.9719 | -118.6129 | 119.1039 | -8.004 | -122.4237 | 120.9022

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.116 | 1.058 | 1.058 | 2.1146 | 1.0595 | 1.0595 | 24.4338 | 12.2169 | 12.2169 | 24.4168 | 12.2338 | 12.2338 | 4.4569 | -1.8522 | 16.0794 | -1.0663e-10 | 2.9976 | -14.976 | 2.6516 | 11.706 | 0.47144 | -1.9666e-11 | -11.0612 | 0.16142 | -57.932 | 122.068 | 122.068 | 122.1119 | -58.0195 | -58.0195 |  | 0.21225 | 0.9701 | 1.3167 | 0 | 0.93676 | 1.2242 | -27.1812 | -138.9407 | 123.7474 | 0 | -132.8564 | 121.3629
Line_1 | 0.53105 | 0.53105 | 0.53105 | 0.52974 | 0.52974 | 0.52974 | 6.132 | 6.132 | 6.132 | 6.1169 | 6.1169 | 6.1169 | 1.9985 | 3.5095 | -5.508 | -2.6703e-11 | -1.4988 | 7.488 | 0.41411 | -5.1278 | 0.48359 | -4.9879e-12 | 5.5306 | -0.080712 | -58.1068 | -58.1068 | -58.1068 | 121.9805 | 121.9805 | 121.9805 |  | 0.33284 | 1.0133 | 0.9017 | 0 | 0.93676 | 1.2242 | -46.4004 | -113.7191 | 116.8757 | 0 | -132.8564 | 121.3629
Line_2 | 0.53105 | 0.53105 | 0.53105 | 0.52974 | 0.52974 | 0.52974 | 6.132 | 6.132 | 6.132 | 6.1169 | 6.1169 | 6.1169 | 1.9985 | 3.5095 | -5.508 | -2.6703e-11 | -1.4988 | 7.488 | 0.41411 | -5.1278 | 0.48359 | -4.9879e-12 | 5.5306 | -0.080712 | -58.1068 | -58.1068 | -58.1068 | 121.9805 | 121.9805 | 121.9805 |  | 0.33284 | 1.0133 | 0.9017 | 0 | 0.93676 | 1.2242 | -46.4004 | -113.7191 | 116.8757 | 0 | -132.8564 | 121.3629

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.116 | 1.058 | 1.058 | 2.1146 | 1.0595 | 1.0595 | 24.4338 | 12.2169 | 12.2169 | 24.4168 | 12.2338 | 12.2338 | 4.4569 | -1.8522 | 16.0794 | -1.0663e-10 | 2.9976 | -14.976 | 2.6516 | 11.706 | 0.47144 | -1.9666e-11 | -11.0612 | 0.16142 | -57.932 | 122.068 | 122.068 | 122.1119 | -58.0195 | -58.0195 |  | 0.21225 | 0.9701 | 1.3167 | 0 | 0.93676 | 1.2242 | -27.1812 | -138.9407 | 123.7474 | 0 | -132.8564 | 121.3629
Line_1 | 0.53105 | 0.53105 | 0.53105 | 0.52974 | 0.52974 | 0.52974 | 6.132 | 6.132 | 6.132 | 6.1169 | 6.1169 | 6.1169 | 1.9985 | 3.5095 | -5.508 | -2.6703e-11 | -1.4988 | 7.488 | 0.41411 | -5.1278 | 0.48359 | -4.9879e-12 | 5.5306 | -0.080712 | -58.1068 | -58.1068 | -58.1068 | 121.9805 | 121.9805 | 121.9805 |  | 0.33284 | 1.0133 | 0.9017 | 0 | 0.93676 | 1.2242 | -46.4004 | -113.7191 | 116.8757 | 0 | -132.8564 | 121.3629
Line_2 | 0.53105 | 0.53105 | 0.53105 | 0.52974 | 0.52974 | 0.52974 | 6.132 | 6.132 | 6.132 | 6.1169 | 6.1169 | 6.1169 | 1.9985 | 3.5095 | -5.508 | -2.6703e-11 | -1.4988 | 7.488 | 0.41411 | -5.1278 | 0.48359 | -4.9879e-12 | 5.5306 | -0.080712 | -58.1068 | -58.1068 | -58.1068 | 121.9805 | 121.9805 | 121.9805 |  | 0.33284 | 1.0133 | 0.9017 | 0 | 0.93676 | 1.2242 | -46.4004 | -113.7191 | 116.8757 | 0 | -132.8564 | 121.3629

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72296 | 0.36148 | 0.36148 | 0.72246 | 0.36198 | 0.36198 | 8.348 | 4.174 | 4.174 | 8.3422 | 4.1798 | 4.1798 | 4.4403 | -0.93362 | 4.5544 | -3.9203 | 1.0724 | -4.4304 | 4.2295 | 4.0439 | -0.66238 | -3.9143 | -3.9712 | 0.73315 | -49.3852 | 130.6148 | 130.6148 | 130.6587 | -49.4727 | -49.4727 |  | 0.73458 | 0.99431 | 1.1026 | 0.66408 | 0.98413 | 1.0744 | -5.7775 | -126.3849 | 122.3398 | -4.3852 | -124.3606 | 121.1309
Line_1 | 0.18144 | 0.18144 | 0.18144 | 0.18099 | 0.18099 | 0.18099 | 2.095 | 2.095 | 2.095 | 2.0899 | 2.0899 | 2.0899 | 1.2141 | 0.77385 | -1.9879 | -0.97986 | -0.53621 | 2.2152 | 1.0351 | -1.9413 | 0.41244 | -0.98286 | 1.9856 | -0.36658 | -49.56 | -49.56 | -49.56 | 130.5273 | 130.5273 | 130.5273 |  | 0.76153 | 0.99754 | 0.96907 | 0.66408 | 0.98413 | 1.0744 | -9.109 | -117.8269 | 118.719 | -4.3852 | -124.3606 | 121.1309
Line_2 | 0.18144 | 0.18144 | 0.18144 | 0.18099 | 0.18099 | 0.18099 | 2.095 | 2.095 | 2.095 | 2.0899 | 2.0899 | 2.0899 | 1.2141 | 0.77385 | -1.9879 | -0.97986 | -0.53621 | 2.2152 | 1.0351 | -1.9413 | 0.41244 | -0.98286 | 1.9856 | -0.36658 | -49.56 | -49.56 | -49.56 | 130.5273 | 130.5273 | 130.5273 |  | 0.76153 | 0.99754 | 0.96907 | 0.66408 | 0.98413 | 1.0744 | -9.109 | -117.8269 | 118.719 | -4.3852 | -124.3606 | 121.1309

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72296 | 0.36148 | 0.36148 | 0.72246 | 0.36198 | 0.36198 | 8.348 | 4.174 | 4.174 | 8.3422 | 4.1798 | 4.1798 | 4.4403 | -0.93362 | 4.5544 | -3.9203 | 1.0724 | -4.4304 | 4.2295 | 4.0439 | -0.66238 | -3.9143 | -3.9712 | 0.73315 | -49.3852 | 130.6148 | 130.6148 | 130.6587 | -49.4727 | -49.4727 |  | 0.73458 | 0.99431 | 1.1026 | 0.66408 | 0.98413 | 1.0744 | -5.7775 | -126.3849 | 122.3398 | -4.3852 | -124.3606 | 121.1309
Line_1 | 0.18144 | 0.18144 | 0.18144 | 0.18099 | 0.18099 | 0.18099 | 2.095 | 2.095 | 2.095 | 2.0899 | 2.0899 | 2.0899 | 1.2141 | 0.77385 | -1.9879 | -0.97986 | -0.53621 | 2.2152 | 1.0351 | -1.9413 | 0.41244 | -0.98286 | 1.9856 | -0.36658 | -49.56 | -49.56 | -49.56 | 130.5273 | 130.5273 | 130.5273 |  | 0.76153 | 0.99754 | 0.96907 | 0.66408 | 0.98413 | 1.0744 | -9.109 | -117.8269 | 118.719 | -4.3852 | -124.3606 | 121.1309
Line_2 | 0.18144 | 0.18144 | 0.18144 | 0.18099 | 0.18099 | 0.18099 | 2.095 | 2.095 | 2.095 | 2.0899 | 2.0899 | 2.0899 | 1.2141 | 0.77385 | -1.9879 | -0.97986 | -0.53621 | 2.2152 | 1.0351 | -1.9413 | 0.41244 | -0.98286 | 1.9856 | -0.36658 | -49.56 | -49.56 | -49.56 | 130.5273 | 130.5273 | 130.5273 |  | 0.76153 | 0.99754 | 0.96907 | 0.66408 | 0.98413 | 1.0744 | -9.109 | -117.8269 | 118.719 | -4.3852 | -124.3606 | 121.1309

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2281 | 3.8897 | 3.6249 | 1.2299 | 3.89 | 3.6241 | 14.1815 | 44.9141 | 41.8573 | 14.2012 | 44.9174 | 41.8471 | 9.1957 | 7.8639 | 6.8317 | -8.4066 | 2.0834e-10 | 2.6188e-10 | 15.5674 | 8.9413 | 7.7386 | -14.7052 | -1.9099e-10 | -5.6488e-12 | -65.1677 | -176.6423 | 21.7357 | 114.7867 | 3.3863 | -158.2921 |  | 1.2749 | 0.26512 | 0.24662 | 1.1928 | 0 | 0 | -5.7383 | -127.9741 | 70.2975 | -4.9689 | 0 | 0
Line_1 | 0.61644 | 0.61644 | 0.61644 | 0.61493 | 0.61493 | 0.61493 | 7.1181 | 7.1181 | 7.1181 | 7.1006 | 7.1006 | 7.1006 | -2.8052 | 1.4026 | 1.4026 | 4.2033 | 4.0128e-11 | -3.3437e-12 | -6.8161 | 0.55801 | 0.55801 | 7.3526 | 1.9648e-11 | -4.432e-11 | 114.7412 | 114.7412 | 114.7412 | -65.2133 | -65.2133 | -65.2133 |  | 1.0355 | 0.21207 | 0.21207 | 1.1928 | 0 | 0 | 2.3712 | 136.4356 | 136.4356 | -4.9689 | 0 | 0
Line_2 | 0.61644 | 0.61644 | 0.61644 | 0.61493 | 0.61493 | 0.61493 | 7.1181 | 7.1181 | 7.1181 | 7.1006 | 7.1006 | 7.1006 | -2.8052 | 1.4026 | 1.4026 | 4.2033 | 4.0128e-11 | -3.3437e-12 | -6.8161 | 0.55801 | 0.55801 | 7.3526 | 1.9648e-11 | -4.432e-11 | 114.7412 | 114.7412 | 114.7412 | -65.2133 | -65.2133 | -65.2133 |  | 1.0355 | 0.21207 | 0.21207 | 1.1928 | 0 | 0 | 2.3712 | 136.4356 | 136.4356 | -4.9689 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2281 | 3.8897 | 3.6249 | 1.2299 | 3.89 | 3.6241 | 14.1815 | 44.9141 | 41.8573 | 14.2012 | 44.9174 | 41.8471 | 9.1957 | 7.8639 | 6.8317 | -8.4066 | 2.0834e-10 | 2.6188e-10 | 15.5674 | 8.9413 | 7.7386 | -14.7052 | -1.9099e-10 | -5.6488e-12 | -65.1677 | -176.6423 | 21.7357 | 114.7867 | 3.3863 | -158.2921 |  | 1.2749 | 0.26512 | 0.24662 | 1.1928 | 0 | 0 | -5.7383 | -127.9741 | 70.2975 | -4.9689 | 0 | 0
Line_1 | 0.61644 | 0.61644 | 0.61644 | 0.61493 | 0.61493 | 0.61493 | 7.1181 | 7.1181 | 7.1181 | 7.1006 | 7.1006 | 7.1006 | -2.8052 | 1.4026 | 1.4026 | 4.2033 | 4.0128e-11 | -3.3437e-12 | -6.8161 | 0.55801 | 0.55801 | 7.3526 | 1.9648e-11 | -4.432e-11 | 114.7412 | 114.7412 | 114.7412 | -65.2133 | -65.2133 | -65.2133 |  | 1.0355 | 0.21207 | 0.21207 | 1.1928 | 0 | 0 | 2.3712 | 136.4356 | 136.4356 | -4.9689 | 0 | 0
Line_2 | 0.61644 | 0.61644 | 0.61644 | 0.61493 | 0.61493 | 0.61493 | 7.1181 | 7.1181 | 7.1181 | 7.1006 | 7.1006 | 7.1006 | -2.8052 | 1.4026 | 1.4026 | 4.2033 | 4.0128e-11 | -3.3437e-12 | -6.8161 | 0.55801 | 0.55801 | 7.3526 | 1.9648e-11 | -4.432e-11 | 114.7412 | 114.7412 | 114.7412 | -65.2133 | -65.2133 | -65.2133 |  | 1.0355 | 0.21207 | 0.21207 | 1.1928 | 0 | 0 | 2.3712 | 136.4356 | 136.4356 | -4.9689 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40807 | 1.1627 | 1.142 | 0.40864 | 1.1629 | 1.1416 | 4.712 | 13.426 | 13.1871 | 4.7186 | 13.4281 | 13.1826 | 3.5131 | 10.3091 | 5.1851 | -3.4274 | -9.6105 | -4.5015 | 4.2165 | 5.7831 | 9.8976 | -4.1268 | -4.9796 | -9.1285 | -51.578 | -154.6228 | 45.7482 | 128.3764 | 25.4081 | -134.278 |  | 1.1647 | 0.88041 | 0.84731 | 1.1369 | 0.80606 | 0.77208 | -1.3781 | -125.3318 | 108.0995 | -1.3343 | -127.2014 | 109.4726
Line_1 | 0.20482 | 0.20482 | 0.20482 | 0.20432 | 0.20432 | 0.20432 | 2.3651 | 2.3651 | 2.3651 | 2.3593 | 2.3593 | 2.3593 | -1.5614 | -0.32143 | 1.8829 | 1.7137 | 0.47365 | -1.7233 | -2.0082 | 1.9076 | -0.52863 | 2.0634 | -1.8418 | 0.59015 | 128.331 | 128.331 | 128.331 | -51.6236 | -51.6236 | -51.6236 |  | 1.0756 | 0.81792 | 0.82689 | 1.1369 | 0.80606 | 0.77208 | 0.46511 | -132.1042 | 112.6486 | -1.3343 | -127.2014 | 109.4726
Line_2 | 0.20482 | 0.20482 | 0.20482 | 0.20432 | 0.20432 | 0.20432 | 2.3651 | 2.3651 | 2.3651 | 2.3593 | 2.3593 | 2.3593 | -1.5614 | -0.32143 | 1.8829 | 1.7137 | 0.47365 | -1.7233 | -2.0082 | 1.9076 | -0.52863 | 2.0634 | -1.8418 | 0.59015 | 128.331 | 128.331 | 128.331 | -51.6236 | -51.6236 | -51.6236 |  | 1.0756 | 0.81792 | 0.82689 | 1.1369 | 0.80606 | 0.77208 | 0.46511 | -132.1042 | 112.6486 | -1.3343 | -127.2014 | 109.4726

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40807 | 1.1627 | 1.142 | 0.40864 | 1.1629 | 1.1416 | 4.712 | 13.426 | 13.1871 | 4.7186 | 13.4281 | 13.1826 | 3.5131 | 10.3091 | 5.1851 | -3.4274 | -9.6105 | -4.5015 | 4.2165 | 5.7831 | 9.8976 | -4.1268 | -4.9796 | -9.1285 | -51.578 | -154.6228 | 45.7482 | 128.3764 | 25.4081 | -134.278 |  | 1.1647 | 0.88041 | 0.84731 | 1.1369 | 0.80606 | 0.77208 | -1.3781 | -125.3318 | 108.0995 | -1.3343 | -127.2014 | 109.4726
Line_1 | 0.20482 | 0.20482 | 0.20482 | 0.20432 | 0.20432 | 0.20432 | 2.3651 | 2.3651 | 2.3651 | 2.3593 | 2.3593 | 2.3593 | -1.5614 | -0.32143 | 1.8829 | 1.7137 | 0.47365 | -1.7233 | -2.0082 | 1.9076 | -0.52863 | 2.0634 | -1.8418 | 0.59015 | 128.331 | 128.331 | 128.331 | -51.6236 | -51.6236 | -51.6236 |  | 1.0756 | 0.81792 | 0.82689 | 1.1369 | 0.80606 | 0.77208 | 0.46511 | -132.1042 | 112.6486 | -1.3343 | -127.2014 | 109.4726
Line_2 | 0.20482 | 0.20482 | 0.20482 | 0.20432 | 0.20432 | 0.20432 | 2.3651 | 2.3651 | 2.3651 | 2.3593 | 2.3593 | 2.3593 | -1.5614 | -0.32143 | 1.8829 | 1.7137 | 0.47365 | -1.7233 | -2.0082 | 1.9076 | -0.52863 | 2.0634 | -1.8418 | 0.59015 | 128.331 | 128.331 | 128.331 | -51.6236 | -51.6236 | -51.6236 |  | 1.0756 | 0.81792 | 0.82689 | 1.1369 | 0.80606 | 0.77208 | 0.46511 | -132.1042 | 112.6486 | -1.3343 | -127.2014 | 109.4726

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91905 | 3.3096 | 2.9877 | 0.92032 | 3.3102 | 2.9866 | 10.6123 | 38.2155 | 34.4993 | 10.627 | 38.2229 | 34.4866 | 9.8869 | 10.9388 | 8.904 | -9.0384 | -1.895e-10 | -2.6054e-11 | 8.694 | 6.4849 | 5.2478 | -8.2246 | -1.5461e-10 | -2.2037e-10 | -48.9707 | -167.1351 | 28.5997 | 130.9418 | 12.8958 | -151.4299 |  | 1.2406 | 0.33276 | 0.29958 | 1.1499 | 0 | 0 | -7.6439 | -136.4742 | 59.1141 | -6.7574 | 0 | 0
Line_1 | 0.4613 | 0.4613 | 0.4613 | 0.46016 | 0.46016 | 0.46016 | 5.3266 | 5.3266 | 5.3266 | 5.3135 | 5.3135 | 5.3135 | -3.016 | 1.508 | 1.508 | 4.5192 | 6.5829e-12 | -3.2305e-11 | -3.8168 | 0.31247 | 0.31247 | 4.1123 | -3.3354e-11 | 1.1196e-11 | 130.8545 | 130.8545 | 130.8545 | -49.0582 | -49.0582 | -49.0582 |  | 0.91328 | 0.28913 | 0.28913 | 1.1499 | 0 | 0 | 2.5389 | 142.5609 | 142.5609 | -6.7574 | 0 | 0
Line_2 | 0.4613 | 0.4613 | 0.4613 | 0.46016 | 0.46016 | 0.46016 | 5.3266 | 5.3266 | 5.3266 | 5.3135 | 5.3135 | 5.3135 | -3.016 | 1.508 | 1.508 | 4.5192 | 6.5829e-12 | -3.2305e-11 | -3.8168 | 0.31247 | 0.31247 | 4.1123 | -3.3354e-11 | 1.1196e-11 | 130.8545 | 130.8545 | 130.8545 | -49.0582 | -49.0582 | -49.0582 |  | 0.91328 | 0.28913 | 0.28913 | 1.1499 | 0 | 0 | 2.5389 | 142.5609 | 142.5609 | -6.7574 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91905 | 3.3096 | 2.9877 | 0.92032 | 3.3102 | 2.9866 | 10.6123 | 38.2155 | 34.4993 | 10.627 | 38.2229 | 34.4866 | 9.8869 | 10.9388 | 8.904 | -9.0384 | -1.895e-10 | -2.6054e-11 | 8.694 | 6.4849 | 5.2478 | -8.2246 | -1.5461e-10 | -2.2037e-10 | -48.9707 | -167.1351 | 28.5997 | 130.9418 | 12.8958 | -151.4299 |  | 1.2406 | 0.33276 | 0.29958 | 1.1499 | 0 | 0 | -7.6439 | -136.4742 | 59.1141 | -6.7574 | 0 | 0
Line_1 | 0.4613 | 0.4613 | 0.4613 | 0.46016 | 0.46016 | 0.46016 | 5.3266 | 5.3266 | 5.3266 | 5.3135 | 5.3135 | 5.3135 | -3.016 | 1.508 | 1.508 | 4.5192 | 6.5829e-12 | -3.2305e-11 | -3.8168 | 0.31247 | 0.31247 | 4.1123 | -3.3354e-11 | 1.1196e-11 | 130.8545 | 130.8545 | 130.8545 | -49.0582 | -49.0582 | -49.0582 |  | 0.91328 | 0.28913 | 0.28913 | 1.1499 | 0 | 0 | 2.5389 | 142.5609 | 142.5609 | -6.7574 | 0 | 0
Line_2 | 0.4613 | 0.4613 | 0.4613 | 0.46016 | 0.46016 | 0.46016 | 5.3266 | 5.3266 | 5.3266 | 5.3135 | 5.3135 | 5.3135 | -3.016 | 1.508 | 1.508 | 4.5192 | 6.5829e-12 | -3.2305e-11 | -3.8168 | 0.31247 | 0.31247 | 4.1123 | -3.3354e-11 | 1.1196e-11 | 130.8545 | 130.8545 | 130.8545 | -49.0582 | -49.0582 | -49.0582 |  | 0.91328 | 0.28913 | 0.28913 | 1.1499 | 0 | 0 | 2.5389 | 142.5609 | 142.5609 | -6.7574 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34205 | 1.0252 | 0.98906 | 0.34252 | 1.0256 | 0.98851 | 3.9496 | 11.8383 | 11.4207 | 3.9551 | 11.8426 | 11.4143 | 3.1244 | 8.4683 | 4.2887 | -3.0067 | -7.423 | -3.3088 | 2.9592 | 4.6647 | 7.2647 | -2.8993 | -4.0392 | -6.6873 | -46.4768 | -152.1812 | 47.265 | 133.4357 | 27.8522 | -132.7604 |  | 1.0896 | 0.81668 | 0.73868 | 1.0561 | 0.7136 | 0.65366 | -3.0325 | -123.3334 | 106.7097 | -2.6058 | -123.595 | 110.9135
Line_1 | 0.17168 | 0.17168 | 0.17168 | 0.17126 | 0.17126 | 0.17126 | 1.9824 | 1.9824 | 1.9824 | 1.9776 | 1.9776 | 1.9776 | -1.2959 | -0.1107 | 1.4066 | 1.5033 | 0.31671 | -1.1941 | -1.4122 | 1.4214 | -0.45125 | 1.4497 | -1.3752 | 0.49514 | 133.3484 | 133.3484 | 133.3484 | -46.5643 | -46.5643 | -46.5643 |  | 0.96686 | 0.71915 | 0.74517 | 1.0561 | 0.7136 | 0.65366 | 0.80737 | -132.198 | 115.5621 | -2.6058 | -123.595 | 110.9135
Line_2 | 0.17168 | 0.17168 | 0.17168 | 0.17126 | 0.17126 | 0.17126 | 1.9824 | 1.9824 | 1.9824 | 1.9776 | 1.9776 | 1.9776 | -1.2959 | -0.1107 | 1.4066 | 1.5033 | 0.31671 | -1.1941 | -1.4122 | 1.4214 | -0.45125 | 1.4497 | -1.3752 | 0.49514 | 133.3484 | 133.3484 | 133.3484 | -46.5643 | -46.5643 | -46.5643 |  | 0.96686 | 0.71915 | 0.74517 | 1.0561 | 0.7136 | 0.65366 | 0.80737 | -132.198 | 115.5621 | -2.6058 | -123.595 | 110.9135

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34205 | 1.0252 | 0.98906 | 0.34252 | 1.0256 | 0.98851 | 3.9496 | 11.8383 | 11.4207 | 3.9551 | 11.8426 | 11.4143 | 3.1244 | 8.4683 | 4.2887 | -3.0067 | -7.423 | -3.3088 | 2.9592 | 4.6647 | 7.2647 | -2.8993 | -4.0392 | -6.6873 | -46.4768 | -152.1812 | 47.265 | 133.4357 | 27.8522 | -132.7604 |  | 1.0896 | 0.81668 | 0.73868 | 1.0561 | 0.7136 | 0.65366 | -3.0325 | -123.3334 | 106.7097 | -2.6058 | -123.595 | 110.9135
Line_1 | 0.17168 | 0.17168 | 0.17168 | 0.17126 | 0.17126 | 0.17126 | 1.9824 | 1.9824 | 1.9824 | 1.9776 | 1.9776 | 1.9776 | -1.2959 | -0.1107 | 1.4066 | 1.5033 | 0.31671 | -1.1941 | -1.4122 | 1.4214 | -0.45125 | 1.4497 | -1.3752 | 0.49514 | 133.3484 | 133.3484 | 133.3484 | -46.5643 | -46.5643 | -46.5643 |  | 0.96686 | 0.71915 | 0.74517 | 1.0561 | 0.7136 | 0.65366 | 0.80737 | -132.198 | 115.5621 | -2.6058 | -123.595 | 110.9135
Line_2 | 0.17168 | 0.17168 | 0.17168 | 0.17126 | 0.17126 | 0.17126 | 1.9824 | 1.9824 | 1.9824 | 1.9776 | 1.9776 | 1.9776 | -1.2959 | -0.1107 | 1.4066 | 1.5033 | 0.31671 | -1.1941 | -1.4122 | 1.4214 | -0.45125 | 1.4497 | -1.3752 | 0.49514 | 133.3484 | 133.3484 | 133.3484 | -46.5643 | -46.5643 | -46.5643 |  | 0.96686 | 0.71915 | 0.74517 | 1.0561 | 0.7136 | 0.65366 | 0.80737 | -132.198 | 115.5621 | -2.6058 | -123.595 | 110.9135