## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6324 | 0.83966 | 0.62835 | 1.6308 | 0.84139 | 0.63006 | 18.8497 | 9.6955 | 7.2556 | 18.8309 | 9.7155 | 7.2753 | 6.5689 | -10.5082 | 9.0589 | -4.8234 | 11.2027 | -8.9545 | 6.8597 | 4.8166 | 1.993 | -3.9956 | -5.0311 | -2.282 | -59.626 | 78.2043 | 113.6898 | 120.4015 | -101.7609 | -66.3637 |  | 0.50386 | 1.1922 | 1.2784 | 0.33261 | 1.264 | 1.2701 | -13.3851 | -126.4208 | 126.0973 | -19.9613 | -125.9455 | 127.9335
Line_1 | 2.4698 | 0.63055 | 0.44545 | 2.472 | 0.62823 | 0.44298 | 28.5192 | 7.281 | 5.1436 | 28.5447 | 7.2541 | 5.1151 | 8.9707e-11 | 8.8039 | -5.6225 | 6.9713 | -8.7326 | 5.2907 | -9.5137e-11 | -3.782 | -4.4275 | 6.4454 | 2.7961 | 3.7709 | 117.3085 | -108.1165 | -87.5519 | -62.7165 | 71.8088 | 92.4545 |  | 0 | 1.316 | 1.3913 | 0.33261 | 1.264 | 1.2701 | 0 | -131.364 | 130.6673 | -19.9613 | -125.9455 | 127.9335
Line_2 | 0.85008 | 0.23 | 0.27092 | 0.84831 | 0.22823 | 0.26965 | 9.8159 | 2.6558 | 3.1283 | 9.7954 | 2.6354 | 3.1137 | 3.6533 | 2.7789 | -3.2864 | -2.1479 | -2.4701 | 3.6639 | 3.299 | -2.0362 | 1.4027 | -2.4498 | 2.235 | -1.4889 | -68.7315 | -83.7359 | -30.2183 | 111.2813 | 96.1946 | 150.0485 |  | 0.50147 | 1.2972 | 1.1422 | 0.33261 | 1.264 | 1.2701 | -26.6489 | -119.9679 | 126.6684 | -19.9613 | -125.9455 | 127.9335

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6324 | 0.83966 | 0.62835 | 1.6308 | 0.84139 | 0.63006 | 18.8497 | 9.6955 | 7.2556 | 18.8309 | 9.7155 | 7.2753 | 6.5689 | -10.5082 | 9.0589 | -4.8234 | 11.2027 | -8.9545 | 6.8597 | 4.8166 | 1.993 | -3.9956 | -5.0311 | -2.282 | -59.626 | 78.2043 | 113.6898 | 120.4015 | -101.7609 | -66.3637 |  | 0.50386 | 1.1922 | 1.2784 | 0.33261 | 1.264 | 1.2701 | -13.3851 | -126.4208 | 126.0973 | -19.9613 | -125.9455 | 127.9335
Line_1 | 2.4698 | 0.63055 | 0.44545 | 2.472 | 0.62823 | 0.44298 | 28.5192 | 7.281 | 5.1436 | 28.5447 | 7.2541 | 5.1151 | 8.9707e-11 | 8.8039 | -5.6225 | 6.9713 | -8.7326 | 5.2907 | -9.5137e-11 | -3.782 | -4.4275 | 6.4454 | 2.7961 | 3.7709 | 117.3085 | -108.1165 | -87.5519 | -62.7165 | 71.8088 | 92.4545 |  | 0 | 1.316 | 1.3913 | 0.33261 | 1.264 | 1.2701 | 0 | -131.364 | 130.6673 | -19.9613 | -125.9455 | 127.9335
Line_2 | 0.85008 | 0.23 | 0.27092 | 0.84831 | 0.22823 | 0.26965 | 9.8159 | 2.6558 | 3.1283 | 9.7954 | 2.6354 | 3.1137 | 3.6533 | 2.7789 | -3.2864 | -2.1479 | -2.4701 | 3.6639 | 3.299 | -2.0362 | 1.4027 | -2.4498 | 2.235 | -1.4889 | -68.7315 | -83.7359 | -30.2183 | 111.2813 | 96.1946 | 150.0485 |  | 0.50147 | 1.2972 | 1.1422 | 0.33261 | 1.264 | 1.2701 | -26.6489 | -119.9679 | 126.6684 | -19.9613 | -125.9455 | 127.9335

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45948 | 0.25738 | 0.28304 | 0.45899 | 0.25778 | 0.28341 | 5.3056 | 2.972 | 3.2683 | 5.3 | 2.9766 | 3.2725 | 4.6147 | -3.4865 | 2.8358 | -4.4382 | 3.5899 | -2.8585 | 1.975 | 0.19302 | -2.6022 | -1.7301 | -0.19732 | 2.5895 | -29.1773 | 61.5193 | 165.6944 | 150.8724 | -118.3732 | -14.4088 |  | 0.94609 | 1.1749 | 1.1776 | 0.89878 | 1.2079 | 1.1786 | -6.007 | -121.6495 | 123.1544 | -7.8302 | -121.5193 | 123.4179
Line_1 | 0.7944 | 0.21078 | 0.14575 | 0.79515 | 0.21013 | 0.14503 | 9.1729 | 2.4339 | 1.683 | 9.1816 | 2.4264 | 1.6746 | -6.0062 | 2.9632 | -1.9676 | 6.7813 | -2.8985 | 1.8832 | -4.0277 | -0.55387 | 0.55106 | 4.7024 | 0.43392 | -0.59097 | 137.4613 | -112.8507 | -39.3413 | -42.569 | 66.9951 | 140.8407 |  | 0.78837 | 1.2386 | 1.2141 | 0.89878 | 1.2079 | 1.1786 | -8.6933 | -123.4379 | 125.013 | -7.8302 | -121.5193 | 123.4179
Line_2 | 0.36531 | 0.052485 | 0.16367 | 0.36469 | 0.052401 | 0.16341 | 4.2182 | 0.60605 | 1.8899 | 4.211 | 0.60507 | 1.8868 | 2.5754 | 0.68865 | -0.90688 | -2.3431 | -0.69149 | 0.97533 | 3.1409 | 0.25498 | 1.9638 | -2.9723 | -0.2366 | -1.9985 | -59.5773 | -139.7328 | 7.2061 | 120.4198 | 39.5917 | -172.5955 |  | 0.96291 | 1.2117 | 1.1446 | 0.89878 | 1.2079 | 1.1786 | -8.9278 | -119.4152 | 121.9936 | -7.8302 | -121.5193 | 123.4179

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45948 | 0.25738 | 0.28304 | 0.45899 | 0.25778 | 0.28341 | 5.3056 | 2.972 | 3.2683 | 5.3 | 2.9766 | 3.2725 | 4.6147 | -3.4865 | 2.8358 | -4.4382 | 3.5899 | -2.8585 | 1.975 | 0.19302 | -2.6022 | -1.7301 | -0.19732 | 2.5895 | -29.1773 | 61.5193 | 165.6944 | 150.8724 | -118.3732 | -14.4088 |  | 0.94609 | 1.1749 | 1.1776 | 0.89878 | 1.2079 | 1.1786 | -6.007 | -121.6495 | 123.1544 | -7.8302 | -121.5193 | 123.4179
Line_1 | 0.7944 | 0.21078 | 0.14575 | 0.79515 | 0.21013 | 0.14503 | 9.1729 | 2.4339 | 1.683 | 9.1816 | 2.4264 | 1.6746 | -6.0062 | 2.9632 | -1.9676 | 6.7813 | -2.8985 | 1.8832 | -4.0277 | -0.55387 | 0.55106 | 4.7024 | 0.43392 | -0.59097 | 137.4613 | -112.8507 | -39.3413 | -42.569 | 66.9951 | 140.8407 |  | 0.78837 | 1.2386 | 1.2141 | 0.89878 | 1.2079 | 1.1786 | -8.6933 | -123.4379 | 125.013 | -7.8302 | -121.5193 | 123.4179
Line_2 | 0.36531 | 0.052485 | 0.16367 | 0.36469 | 0.052401 | 0.16341 | 4.2182 | 0.60605 | 1.8899 | 4.211 | 0.60507 | 1.8868 | 2.5754 | 0.68865 | -0.90688 | -2.3431 | -0.69149 | 0.97533 | 3.1409 | 0.25498 | 1.9638 | -2.9723 | -0.2366 | -1.9985 | -59.5773 | -139.7328 | 7.2061 | 120.4198 | 39.5917 | -172.5955 |  | 0.96291 | 1.2117 | 1.1446 | 0.89878 | 1.2079 | 1.1786 | -8.9278 | -119.4152 | 121.9936 | -7.8302 | -121.5193 | 123.4179

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3656 | 0.6701 | 0.56003 | 1.3645 | 0.67125 | 0.56118 | 15.7685 | 7.7376 | 6.4666 | 15.756 | 7.751 | 6.48 | 7.2785 | -5.2218 | 6.6737 | -5.0217 | 5.6968 | -6.3986 | 5.876 | 5.7968 | 1.5988 | -3.6183 | -6.1395 | -1.9179 | -54.7501 | 104.8772 | 109.3763 | 125.2681 | -75.1256 | -70.6363 |  | 0.59323 | 1.0083 | 1.0612 | 0.39283 | 1.0806 | 1.0309 | -15.836 | -123.1102 | 122.8485 | -18.9576 | -122.2679 | 126.0487
Line_1 | 1.8807 | 0.58102 | 0.50873 | 1.8824 | 0.57909 | 0.50679 | 21.717 | 6.709 | 5.8743 | 21.7366 | 6.6868 | 5.8519 | -4.1829e-11 | 6.081 | -5.1621 | 6.9518 | -6.0798 | 5.0429 | 5.1682e-12 | -5.0511 | -4.3207 | 4.9582 | 3.9043 | 3.3105 | 125.5732 | -89.5387 | -87.2193 | -54.4552 | 90.4401 | 92.7653 |  | 0 | 1.1783 | 1.146 | 0.39283 | 1.0806 | 1.0309 | 0 | -129.2529 | 132.7102 | -18.9576 | -122.2679 | 126.0487
Line_2 | 0.51909 | 0.18262 | 0.16395 | 0.51799 | 0.18175 | 0.16328 | 5.9939 | 2.1087 | 1.8931 | 5.9813 | 2.0987 | 1.8854 | 3.0037 | -0.039682 | -1.0872 | -1.9301 | 0.38297 | 1.3557 | 1.8439 | -2.2696 | 1.3032 | -1.3399 | 2.2352 | -1.3926 | -53.7415 | -22.7601 | -8.4874 | 126.2737 | 157.4546 | 171.8192 |  | 0.58801 | 1.0765 | 0.89651 | 0.39283 | 1.0806 | 1.0309 | -22.1967 | -113.7618 | 121.3482 | -18.9576 | -122.2679 | 126.0487

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3656 | 0.6701 | 0.56003 | 1.3645 | 0.67125 | 0.56118 | 15.7685 | 7.7376 | 6.4666 | 15.756 | 7.751 | 6.48 | 7.2785 | -5.2218 | 6.6737 | -5.0217 | 5.6968 | -6.3986 | 5.876 | 5.7968 | 1.5988 | -3.6183 | -6.1395 | -1.9179 | -54.7501 | 104.8772 | 109.3763 | 125.2681 | -75.1256 | -70.6363 |  | 0.59323 | 1.0083 | 1.0612 | 0.39283 | 1.0806 | 1.0309 | -15.836 | -123.1102 | 122.8485 | -18.9576 | -122.2679 | 126.0487
Line_1 | 1.8807 | 0.58102 | 0.50873 | 1.8824 | 0.57909 | 0.50679 | 21.717 | 6.709 | 5.8743 | 21.7366 | 6.6868 | 5.8519 | -4.1829e-11 | 6.081 | -5.1621 | 6.9518 | -6.0798 | 5.0429 | 5.1682e-12 | -5.0511 | -4.3207 | 4.9582 | 3.9043 | 3.3105 | 125.5732 | -89.5387 | -87.2193 | -54.4552 | 90.4401 | 92.7653 |  | 0 | 1.1783 | 1.146 | 0.39283 | 1.0806 | 1.0309 | 0 | -129.2529 | 132.7102 | -18.9576 | -122.2679 | 126.0487
Line_2 | 0.51909 | 0.18262 | 0.16395 | 0.51799 | 0.18175 | 0.16328 | 5.9939 | 2.1087 | 1.8931 | 5.9813 | 2.0987 | 1.8854 | 3.0037 | -0.039682 | -1.0872 | -1.9301 | 0.38297 | 1.3557 | 1.8439 | -2.2696 | 1.3032 | -1.3399 | 2.2352 | -1.3926 | -53.7415 | -22.7601 | -8.4874 | 126.2737 | 157.4546 | 171.8192 |  | 0.58801 | 1.0765 | 0.89651 | 0.39283 | 1.0806 | 1.0309 | -22.1967 | -113.7618 | 121.3482 | -18.9576 | -122.2679 | 126.0487

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50145 | 0.24606 | 0.20564 | 0.50105 | 0.24649 | 0.20607 | 5.7902 | 2.8413 | 2.3746 | 5.7857 | 2.8462 | 2.3795 | 4.1102 | -1.4529 | 2.4144 | -3.8041 | 1.5183 | -2.3805 | 2.8708 | 2.4659 | -0.065937 | -2.5637 | -2.515 | 0.023161 | -41.2112 | 118.416 | 122.9151 | 138.807 | -61.5867 | -57.0974 |  | 0.86586 | 1.0073 | 1.0171 | 0.79288 | 1.0322 | 1.0005 | -6.2788 | -121.0776 | 121.3508 | -7.2154 | -120.467 | 122.3451
Line_1 | 0.69062 | 0.21335 | 0.18681 | 0.69124 | 0.21264 | 0.1861 | 7.9745 | 2.4636 | 2.157 | 7.9818 | 2.4554 | 2.1488 | -4.3252 | 1.8123 | -2.0875 | 5.2651 | -1.8093 | 2.0661 | -2.8382 | -1.9338 | -0.73046 | 3.5115 | 1.7747 | 0.59405 | 139.1121 | -75.9999 | -73.6804 | -40.9163 | 103.979 | 106.3042 |  | 0.64872 | 1.0758 | 1.0253 | 0.79288 | 1.0322 | 1.0005 | -7.6148 | -122.8574 | 125.6052 | -7.2154 | -120.467 | 122.3451
Line_2 | 0.19061 | 0.067058 | 0.060202 | 0.19021 | 0.066741 | 0.059956 | 2.201 | 0.77432 | 0.69515 | 2.1963 | 0.77065 | 0.69231 | 1.608 | -0.24422 | -0.28095 | -1.461 | 0.29102 | 0.31431 | 1.0176 | -0.74792 | 0.60621 | -0.94774 | 0.7403 | -0.61721 | -40.2026 | -9.2212 | 5.0515 | 139.8126 | 170.9935 | -174.6419 |  | 0.86461 | 1.0161 | 0.96115 | 0.79288 | 1.0322 | 1.0005 | -7.8753 | -117.3046 | 119.9173 | -7.2154 | -120.467 | 122.3451

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50145 | 0.24606 | 0.20564 | 0.50105 | 0.24649 | 0.20607 | 5.7902 | 2.8413 | 2.3746 | 5.7857 | 2.8462 | 2.3795 | 4.1102 | -1.4529 | 2.4144 | -3.8041 | 1.5183 | -2.3805 | 2.8708 | 2.4659 | -0.065937 | -2.5637 | -2.515 | 0.023161 | -41.2112 | 118.416 | 122.9151 | 138.807 | -61.5867 | -57.0974 |  | 0.86586 | 1.0073 | 1.0171 | 0.79288 | 1.0322 | 1.0005 | -6.2788 | -121.0776 | 121.3508 | -7.2154 | -120.467 | 122.3451
Line_1 | 0.69062 | 0.21335 | 0.18681 | 0.69124 | 0.21264 | 0.1861 | 7.9745 | 2.4636 | 2.157 | 7.9818 | 2.4554 | 2.1488 | -4.3252 | 1.8123 | -2.0875 | 5.2651 | -1.8093 | 2.0661 | -2.8382 | -1.9338 | -0.73046 | 3.5115 | 1.7747 | 0.59405 | 139.1121 | -75.9999 | -73.6804 | -40.9163 | 103.979 | 106.3042 |  | 0.64872 | 1.0758 | 1.0253 | 0.79288 | 1.0322 | 1.0005 | -7.6148 | -122.8574 | 125.6052 | -7.2154 | -120.467 | 122.3451
Line_2 | 0.19061 | 0.067058 | 0.060202 | 0.19021 | 0.066741 | 0.059956 | 2.201 | 0.77432 | 0.69515 | 2.1963 | 0.77065 | 0.69231 | 1.608 | -0.24422 | -0.28095 | -1.461 | 0.29102 | 0.31431 | 1.0176 | -0.74792 | 0.60621 | -0.94774 | 0.7403 | -0.61721 | -40.2026 | -9.2212 | 5.0515 | 139.8126 | 170.9935 | -174.6419 |  | 0.86461 | 1.0161 | 0.96115 | 0.79288 | 1.0322 | 1.0005 | -7.8753 | -117.3046 | 119.9173 | -7.2154 | -120.467 | 122.3451

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41354 | 3.0446 | 2.7196 | 0.41485 | 3.0448 | 2.7192 | 4.7751 | 35.1559 | 31.4036 | 4.7903 | 35.1578 | 31.3987 | -1.9569 | 17.4087 | 3.247 | 2.2049 | -10.582 | -1.1827 | 5.8063 | 8.895 | 13.5299 | -5.9484 | -3.2936 | -8.9642 | -107.9153 | -165.4 | 24.6537 | 72.1729 | 14.6273 | -155.3758 |  | 1.2831 | 0.55608 | 0.44307 | 1.3243 | 0.31523 | 0.28797 | 0.70972 | -138.3352 | 101.1587 | 2.5113 | -148.0842 | 107.1081
Line_1 | 0.37074 | 3.8336 | 3.3351 | 0.36903 | 3.8335 | 3.336 | 4.281 | 44.2669 | 38.5102 | 4.2612 | 44.2656 | 38.5206 | 2.8328 | 7.656e-11 | 8.6849e-11 | -2.7257 | 12.7597 | 2.7432 | -5.4649 | -6.8546e-11 | -8.8295e-12 | 4.9413 | 5.6475 | 10.7482 | 63.7883 | 8.0713 | -148.6051 | -116.3705 | -171.9584 | 31.4255 |  | 1.4379 | 0 | 0 | 1.3243 | 0.31523 | 0.28797 | 1.1892 | 0 | 0 | 2.5113 | -148.0842 | 107.1081
Line_2 | 0.075561 | 0.88181 | 0.71372 | 0.074142 | 0.88101 | 0.71279 | 0.8725 | 10.1823 | 8.2413 | 0.85612 | 10.173 | 8.2306 | -0.44069 | 3.4564 | 2.0191 | 0.52079 | -2.1778 | -1.5604 | -1.0021 | 2.3196 | 2.8776 | 1.0071 | -2.3539 | -1.784 | 119.6411 | 164.6123 | 58.3728 | -60.1438 | -15.3097 | -121.7165 |  | 1.2547 | 0.40881 | 0.42654 | 1.3243 | 0.31523 | 0.28797 | 5.9037 | -161.5217 | 113.317 | 2.5113 | -148.0842 | 107.1081

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41354 | 3.0446 | 2.7196 | 0.41485 | 3.0448 | 2.7192 | 4.7751 | 35.1559 | 31.4036 | 4.7903 | 35.1578 | 31.3987 | -1.9569 | 17.4087 | 3.247 | 2.2049 | -10.582 | -1.1827 | 5.8063 | 8.895 | 13.5299 | -5.9484 | -3.2936 | -8.9642 | -107.9153 | -165.4 | 24.6537 | 72.1729 | 14.6273 | -155.3758 |  | 1.2831 | 0.55608 | 0.44307 | 1.3243 | 0.31523 | 0.28797 | 0.70972 | -138.3352 | 101.1587 | 2.5113 | -148.0842 | 107.1081
Line_1 | 0.37074 | 3.8336 | 3.3351 | 0.36903 | 3.8335 | 3.336 | 4.281 | 44.2669 | 38.5102 | 4.2612 | 44.2656 | 38.5206 | 2.8328 | 7.656e-11 | 8.6849e-11 | -2.7257 | 12.7597 | 2.7432 | -5.4649 | -6.8546e-11 | -8.8295e-12 | 4.9413 | 5.6475 | 10.7482 | 63.7883 | 8.0713 | -148.6051 | -116.3705 | -171.9584 | 31.4255 |  | 1.4379 | 0 | 0 | 1.3243 | 0.31523 | 0.28797 | 1.1892 | 0 | 0 | 2.5113 | -148.0842 | 107.1081
Line_2 | 0.075561 | 0.88181 | 0.71372 | 0.074142 | 0.88101 | 0.71279 | 0.8725 | 10.1823 | 8.2413 | 0.85612 | 10.173 | 8.2306 | -0.44069 | 3.4564 | 2.0191 | 0.52079 | -2.1778 | -1.5604 | -1.0021 | 2.3196 | 2.8776 | 1.0071 | -2.3539 | -1.784 | 119.6411 | 164.6123 | 58.3728 | -60.1438 | -15.3097 | -121.7165 |  | 1.2547 | 0.40881 | 0.42654 | 1.3243 | 0.31523 | 0.28797 | 5.9037 | -161.5217 | 113.317 | 2.5113 | -148.0842 | 107.1081

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.021326 | 0.77953 | 0.5945 | 0.02169 | 0.77973 | 0.5942 | 0.24625 | 9.0012 | 6.8647 | 0.25045 | 9.0035 | 6.8613 | -0.15306 | 8.5228 | 3.3305 | 0.15547 | -8.0088 | -3.2865 | 0.25228 | 2.2276 | 5.7105 | -0.26231 | -1.8988 | -5.4475 | -120.2353 | -138.5584 | 52.0732 | 60.9642 | 41.4816 | -127.9749 |  | 1.1983 | 0.97865 | 0.96301 | 1.2175 | 0.91418 | 0.92725 | 1.0101 | -123.9109 | 111.8211 | 1.6191 | -125.1804 | 110.9222
Line_1 | 0.08187 | 1.0378 | 0.88799 | 0.081311 | 1.0377 | 0.8885 | 0.94535 | 11.9835 | 10.2536 | 0.93889 | 11.9823 | 10.2595 | 0.56549 | -8.5054 | -5.6157 | -0.54993 | 9.5832 | 5.8279 | -1.0568 | -5.0304 | -6.5474 | 1.0021 | 5.3057 | 7.5191 | 63.2548 | 25.8918 | -121.3376 | -117.1375 | -154.1514 | 58.7011 |  | 1.2679 | 0.8246 | 0.84124 | 1.2175 | 0.91418 | 0.92725 | 1.405 | -123.5065 | 108.0426 | 1.6191 | -125.1804 | 110.9222
Line_2 | 0.059339 | 0.35593 | 0.30659 | 0.059637 | 0.35554 | 0.30622 | 0.68518 | 4.1099 | 3.5402 | 0.68863 | 4.1054 | 3.5359 | -0.39891 | 1.7882 | 2.6287 | 0.39446 | -1.5744 | -2.5414 | 0.70813 | 3.4289 | 2.2609 | -0.7398 | -3.4069 | -2.0715 | -116.9188 | 169.5539 | 71.8206 | 63.5528 | -10.3778 | -108.2617 |  | 1.1862 | 0.94095 | 0.97938 | 1.2175 | 0.91418 | 0.92725 | 2.4751 | -127.9885 | 112.5189 | 1.6191 | -125.1804 | 110.9222

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.021326 | 0.77953 | 0.5945 | 0.02169 | 0.77973 | 0.5942 | 0.24625 | 9.0012 | 6.8647 | 0.25045 | 9.0035 | 6.8613 | -0.15306 | 8.5228 | 3.3305 | 0.15547 | -8.0088 | -3.2865 | 0.25228 | 2.2276 | 5.7105 | -0.26231 | -1.8988 | -5.4475 | -120.2353 | -138.5584 | 52.0732 | 60.9642 | 41.4816 | -127.9749 |  | 1.1983 | 0.97865 | 0.96301 | 1.2175 | 0.91418 | 0.92725 | 1.0101 | -123.9109 | 111.8211 | 1.6191 | -125.1804 | 110.9222
Line_1 | 0.08187 | 1.0378 | 0.88799 | 0.081311 | 1.0377 | 0.8885 | 0.94535 | 11.9835 | 10.2536 | 0.93889 | 11.9823 | 10.2595 | 0.56549 | -8.5054 | -5.6157 | -0.54993 | 9.5832 | 5.8279 | -1.0568 | -5.0304 | -6.5474 | 1.0021 | 5.3057 | 7.5191 | 63.2548 | 25.8918 | -121.3376 | -117.1375 | -154.1514 | 58.7011 |  | 1.2679 | 0.8246 | 0.84124 | 1.2175 | 0.91418 | 0.92725 | 1.405 | -123.5065 | 108.0426 | 1.6191 | -125.1804 | 110.9222
Line_2 | 0.059339 | 0.35593 | 0.30659 | 0.059637 | 0.35554 | 0.30622 | 0.68518 | 4.1099 | 3.5402 | 0.68863 | 4.1054 | 3.5359 | -0.39891 | 1.7882 | 2.6287 | 0.39446 | -1.5744 | -2.5414 | 0.70813 | 3.4289 | 2.2609 | -0.7398 | -3.4069 | -2.0715 | -116.9188 | 169.5539 | 71.8206 | 63.5528 | -10.3778 | -108.2617 |  | 1.1862 | 0.94095 | 0.97938 | 1.2175 | 0.91418 | 0.92725 | 2.4751 | -127.9885 | 112.5189 | 1.6191 | -125.1804 | 110.9222

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46777 | 2.347 | 2.2664 | 0.46869 | 2.3472 | 2.266 | 5.4014 | 27.1005 | 26.1699 | 5.412 | 27.1027 | 26.1653 | 0.049617 | 17.9108 | 6.7942 | 0.25982 | -10.7316 | -3.1836 | 5.697 | 3.5784 | 11.069 | -5.9054 | -0.57868 | -7.4208 | -88.909 | -154.3621 | 39.1333 | 91.1164 | 25.6604 | -140.8883 |  | 1.0548 | 0.67397 | 0.49629 | 1.0922 | 0.39653 | 0.30861 | 0.592 | -143.0637 | 97.5917 | 3.6356 | -151.2531 | 105.8918
Line_1 | 0.42926 | 2.9497 | 2.6703 | 0.42775 | 2.9494 | 2.6712 | 4.9566 | 34.0606 | 30.8338 | 4.9392 | 34.0564 | 30.8443 | 1.3481 | -1.0135e-10 | -4.0132e-11 | -1.2291 | 13.3664 | 4.2906 | -5.9879 | -6.1733e-11 | -1.0085e-10 | 5.2528 | 1.9264 | 8.497 | 80.5274 | 20.5755 | -137.3443 | -99.5337 | -159.4543 | 42.6833 |  | 1.2383 | 0 | 0 | 1.0922 | 0.39653 | 0.30861 | 3.2151 | 0 | 0 | 3.6356 | -151.2531 | 105.8918
Line_2 | 0.093423 | 0.64678 | 0.43373 | 0.092647 | 0.64636 | 0.43325 | 1.0788 | 7.4684 | 5.0083 | 1.0698 | 7.4636 | 5.0028 | -0.83823 | 3.8027 | 1.3171 | 0.96926 | -2.6349 | -1.107 | -0.65637 | 1.1362 | 1.7771 | 0.65253 | -1.3478 | -1.0762 | 149.4113 | -178.4133 | 61.7983 | -30.3139 | 1.6568 | -118.302 |  | 0.98691 | 0.53141 | 0.44166 | 1.0922 | 0.39653 | 0.30861 | 7.4739 | -161.777 | 115.253 | 3.6356 | -151.2531 | 105.8918

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46777 | 2.347 | 2.2664 | 0.46869 | 2.3472 | 2.266 | 5.4014 | 27.1005 | 26.1699 | 5.412 | 27.1027 | 26.1653 | 0.049617 | 17.9108 | 6.7942 | 0.25982 | -10.7316 | -3.1836 | 5.697 | 3.5784 | 11.069 | -5.9054 | -0.57868 | -7.4208 | -88.909 | -154.3621 | 39.1333 | 91.1164 | 25.6604 | -140.8883 |  | 1.0548 | 0.67397 | 0.49629 | 1.0922 | 0.39653 | 0.30861 | 0.592 | -143.0637 | 97.5917 | 3.6356 | -151.2531 | 105.8918
Line_1 | 0.42926 | 2.9497 | 2.6703 | 0.42775 | 2.9494 | 2.6712 | 4.9566 | 34.0606 | 30.8338 | 4.9392 | 34.0564 | 30.8443 | 1.3481 | -1.0135e-10 | -4.0132e-11 | -1.2291 | 13.3664 | 4.2906 | -5.9879 | -6.1733e-11 | -1.0085e-10 | 5.2528 | 1.9264 | 8.497 | 80.5274 | 20.5755 | -137.3443 | -99.5337 | -159.4543 | 42.6833 |  | 1.2383 | 0 | 0 | 1.0922 | 0.39653 | 0.30861 | 3.2151 | 0 | 0 | 3.6356 | -151.2531 | 105.8918
Line_2 | 0.093423 | 0.64678 | 0.43373 | 0.092647 | 0.64636 | 0.43325 | 1.0788 | 7.4684 | 5.0083 | 1.0698 | 7.4636 | 5.0028 | -0.83823 | 3.8027 | 1.3171 | 0.96926 | -2.6349 | -1.107 | -0.65637 | 1.1362 | 1.7771 | 0.65253 | -1.3478 | -1.0762 | 149.4113 | -178.4133 | 61.7983 | -30.3139 | 1.6568 | -118.302 |  | 0.98691 | 0.53141 | 0.44166 | 1.0922 | 0.39653 | 0.30861 | 7.4739 | -161.777 | 115.253 | 3.6356 | -151.2531 | 105.8918

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19745 | 0.71065 | 0.66729 | 0.19784 | 0.71071 | 0.6671 | 2.28 | 8.2059 | 7.7052 | 2.2845 | 8.2066 | 7.703 | 0.7006 | 6.9068 | 3.5898 | -0.65213 | -6.1913 | -3.3221 | 2.2213 | 2.3918 | 5.5862 | -2.261 | -2.1145 | -5.2348 | -72.1812 | -144.7086 | 55.083 | 107.8344 | 35.3226 | -124.9463 |  | 1.0216 | 0.89073 | 0.86177 | 1.0301 | 0.79722 | 0.80488 | 0.31367 | -125.6081 | 112.3576 | 1.7456 | -125.8211 | 112.6537
Line_1 | 0.17994 | 0.90695 | 0.79211 | 0.17931 | 0.90684 | 0.79254 | 2.0778 | 10.4726 | 9.1465 | 2.0705 | 10.4713 | 9.1515 | -0.13694 | -6.1249 | -4.1837 | 0.14738 | 7.5643 | 4.5234 | -2.2589 | -3.4177 | -4.8795 | 2.1276 | 3.5311 | 5.8133 | 95.757 | 29.196 | -119.4951 | -84.2918 | -150.8448 | 60.5405 |  | 1.0891 | 0.66974 | 0.70272 | 1.0301 | 0.79722 | 0.80488 | 2.2878 | -121.6426 | 109.8949 | 1.7456 | -125.8211 | 112.6537
Line_2 | 0.044198 | 0.21451 | 0.14372 | 0.043893 | 0.2143 | 0.14346 | 0.51035 | 2.4769 | 1.6596 | 0.50684 | 2.4745 | 1.6565 | -0.48066 | 1.5271 | 1.2466 | 0.50475 | -1.3729 | -1.2013 | -0.13778 | 1.393 | 0.66819 | 0.1334 | -1.4166 | -0.57848 | 166.6617 | -171.8012 | 87.0446 | -13.0582 | 8.2821 | -93.0597 |  | 0.97976 | 0.83451 | 0.85226 | 1.0301 | 0.79722 | 0.80488 | 2.6565 | -129.4304 | 115.2361 | 1.7456 | -125.8211 | 112.6537

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19745 | 0.71065 | 0.66729 | 0.19784 | 0.71071 | 0.6671 | 2.28 | 8.2059 | 7.7052 | 2.2845 | 8.2066 | 7.703 | 0.7006 | 6.9068 | 3.5898 | -0.65213 | -6.1913 | -3.3221 | 2.2213 | 2.3918 | 5.5862 | -2.261 | -2.1145 | -5.2348 | -72.1812 | -144.7086 | 55.083 | 107.8344 | 35.3226 | -124.9463 |  | 1.0216 | 0.89073 | 0.86177 | 1.0301 | 0.79722 | 0.80488 | 0.31367 | -125.6081 | 112.3576 | 1.7456 | -125.8211 | 112.6537
Line_1 | 0.17994 | 0.90695 | 0.79211 | 0.17931 | 0.90684 | 0.79254 | 2.0778 | 10.4726 | 9.1465 | 2.0705 | 10.4713 | 9.1515 | -0.13694 | -6.1249 | -4.1837 | 0.14738 | 7.5643 | 4.5234 | -2.2589 | -3.4177 | -4.8795 | 2.1276 | 3.5311 | 5.8133 | 95.757 | 29.196 | -119.4951 | -84.2918 | -150.8448 | 60.5405 |  | 1.0891 | 0.66974 | 0.70272 | 1.0301 | 0.79722 | 0.80488 | 2.2878 | -121.6426 | 109.8949 | 1.7456 | -125.8211 | 112.6537
Line_2 | 0.044198 | 0.21451 | 0.14372 | 0.043893 | 0.2143 | 0.14346 | 0.51035 | 2.4769 | 1.6596 | 0.50684 | 2.4745 | 1.6565 | -0.48066 | 1.5271 | 1.2466 | 0.50475 | -1.3729 | -1.2013 | -0.13778 | 1.393 | 0.66819 | 0.1334 | -1.4166 | -0.57848 | 166.6617 | -171.8012 | 87.0446 | -13.0582 | 8.2821 | -93.0597 |  | 0.97976 | 0.83451 | 0.85226 | 1.0301 | 0.79722 | 0.80488 | 2.6565 | -129.4304 | 115.2361 | 1.7456 | -125.8211 | 112.6537