## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2921 | 0.68666 | 0.31793 | 2.2914 | 0.68716 | 0.31862 | 26.4665 | 7.9289 | 3.6711 | 26.4592 | 7.9346 | 3.6791 | 16.018 | -8.1336 | 3.9535 | -9.5276 | 8.8583 | -4.159 | 13.2025 | -1.4743 | 1.1036 | -6.983 | 0.36276 | -1.6767 | -53.404 | 57.4113 | 97.8392 | 126.6034 | -122.5486 | -82.1529 |  | 0.7843 | 1.0425 | 1.1181 | 0.44644 | 1.1173 | 1.2189 | -13.9075 | -112.3146 | 113.4356 | -17.1582 | -120.2036 | 119.8038
Line_1 | 2.9872 | 0.58347 | 0.35045 | 2.9888 | 0.58172 | 0.34854 | 34.4936 | 6.7373 | 4.0467 | 34.5112 | 6.7171 | 4.0246 | 1.2002e-10 | 7.8666 | -3.7187 | 11.8181 | -7.5053 | 3.5711 | -1.2474e-10 | -1.4974 | -4.2888 | 9.8853 | 0.029487 | 3.3632 | 122.9535 | -119.898 | -103.4314 | -57.0692 | 60.0215 | 76.5214 |  | 0 | 1.1886 | 1.4027 | 0.44644 | 1.1173 | 1.2189 | 0 | -130.6749 | 125.641 | -17.1582 | -120.2036 | 119.8038
Line_2 | 0.71829 | 0.10976 | 0.12693 | 0.71721 | 0.10919 | 0.1269 | 8.294 | 1.2674 | 1.4656 | 8.2816 | 1.2608 | 1.4653 | 3.1523 | 1.3793 | -0.5425 | -2.2905 | -1.353 | 0.58795 | 3.3945 | 0.48395 | 1.5949 | -2.9023 | -0.39225 | -1.6865 | -68.892 | -135.8867 | 10.0918 | 111.1219 | 43.6293 | -169.4162 |  | 0.55853 | 1.1533 | 1.1494 | 0.44644 | 1.1173 | 1.2189 | -21.7737 | -116.5523 | 118.8771 | -17.1582 | -120.2036 | 119.8038

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2921 | 0.68666 | 0.31793 | 2.2914 | 0.68716 | 0.31862 | 26.4665 | 7.9289 | 3.6711 | 26.4592 | 7.9346 | 3.6791 | 16.018 | -8.1336 | 3.9535 | -9.5276 | 8.8583 | -4.159 | 13.2025 | -1.4743 | 1.1036 | -6.983 | 0.36276 | -1.6767 | -53.404 | 57.4113 | 97.8392 | 126.6034 | -122.5486 | -82.1529 |  | 0.7843 | 1.0425 | 1.1181 | 0.44644 | 1.1173 | 1.2189 | -13.9075 | -112.3146 | 113.4356 | -17.1582 | -120.2036 | 119.8038
Line_1 | 2.9872 | 0.58347 | 0.35045 | 2.9888 | 0.58172 | 0.34854 | 34.4936 | 6.7373 | 4.0467 | 34.5112 | 6.7171 | 4.0246 | 1.2002e-10 | 7.8666 | -3.7187 | 11.8181 | -7.5053 | 3.5711 | -1.2474e-10 | -1.4974 | -4.2888 | 9.8853 | 0.029487 | 3.3632 | 122.9535 | -119.898 | -103.4314 | -57.0692 | 60.0215 | 76.5214 |  | 0 | 1.1886 | 1.4027 | 0.44644 | 1.1173 | 1.2189 | 0 | -130.6749 | 125.641 | -17.1582 | -120.2036 | 119.8038
Line_2 | 0.71829 | 0.10976 | 0.12693 | 0.71721 | 0.10919 | 0.1269 | 8.294 | 1.2674 | 1.4656 | 8.2816 | 1.2608 | 1.4653 | 3.1523 | 1.3793 | -0.5425 | -2.2905 | -1.353 | 0.58795 | 3.3945 | 0.48395 | 1.5949 | -2.9023 | -0.39225 | -1.6865 | -68.892 | -135.8867 | 10.0918 | 111.1219 | 43.6293 | -169.4162 |  | 0.55853 | 1.1533 | 1.1494 | 0.44644 | 1.1173 | 1.2189 | -21.7737 | -116.5523 | 118.8771 | -17.1582 | -120.2036 | 119.8038

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.62451 | 0.26959 | 0.16996 | 0.62433 | 0.26962 | 0.17004 | 7.2112 | 3.113 | 1.9625 | 7.2091 | 3.1133 | 1.9635 | 6.8778 | -3.006 | 0.95608 | -6.3003 | 3.2007 | -1.0605 | 3.0944 | -1.6546 | -2.0386 | -2.653 | 1.5949 | 2.0607 | -28.7361 | 33.3301 | -176.9078 | 151.2758 | -146.623 | 3.0231 |  | 1.0458 | 1.1022 | 1.1474 | 0.94825 | 1.1486 | 1.1803 | -4.513 | -117.8398 | 118.2178 | -5.8889 | -120.1364 | 120.2544
Line_1 | 0.89275 | 0.20487 | 0.082906 | 0.89322 | 0.20446 | 0.082425 | 10.3086 | 2.3656 | 0.95731 | 10.314 | 2.3609 | 0.95176 | -6.9824 | 2.7937 | -1.1339 | 8.1109 | -2.6721 | 1.0645 | -4.581 | 0.3185 | 0.32048 | 5.4649 | -0.46246 | -0.35903 | 140.166 | -129.8234 | -41.3806 | -39.86 | 50.0447 | 138.8928 |  | 0.8101 | 1.1886 | 1.2309 | 0.94825 | 1.1486 | 1.1803 | -6.566 | -123.3194 | 122.8374 | -5.8889 | -120.1364 | 120.2544
Line_2 | 0.3058 | 0.094043 | 0.12483 | 0.30545 | 0.094224 | 0.12485 | 3.5311 | 1.0859 | 1.4414 | 3.5271 | 1.088 | 1.4417 | 1.9377 | 0.51383 | 0.020478 | -1.8107 | -0.52862 | -0.0040088 | 2.9071 | 1.1478 | 1.6785 | -2.812 | -1.1324 | -1.7016 | -63.1118 | 175.0696 | 30.2287 | 116.889 | -5.1132 | -149.6106 |  | 0.98941 | 1.1581 | 1.1646 | 0.94825 | 1.1486 | 1.1803 | -6.7971 | -119.0469 | 119.5297 | -5.8889 | -120.1364 | 120.2544

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.62451 | 0.26959 | 0.16996 | 0.62433 | 0.26962 | 0.17004 | 7.2112 | 3.113 | 1.9625 | 7.2091 | 3.1133 | 1.9635 | 6.8778 | -3.006 | 0.95608 | -6.3003 | 3.2007 | -1.0605 | 3.0944 | -1.6546 | -2.0386 | -2.653 | 1.5949 | 2.0607 | -28.7361 | 33.3301 | -176.9078 | 151.2758 | -146.623 | 3.0231 |  | 1.0458 | 1.1022 | 1.1474 | 0.94825 | 1.1486 | 1.1803 | -4.513 | -117.8398 | 118.2178 | -5.8889 | -120.1364 | 120.2544
Line_1 | 0.89275 | 0.20487 | 0.082906 | 0.89322 | 0.20446 | 0.082425 | 10.3086 | 2.3656 | 0.95731 | 10.314 | 2.3609 | 0.95176 | -6.9824 | 2.7937 | -1.1339 | 8.1109 | -2.6721 | 1.0645 | -4.581 | 0.3185 | 0.32048 | 5.4649 | -0.46246 | -0.35903 | 140.166 | -129.8234 | -41.3806 | -39.86 | 50.0447 | 138.8928 |  | 0.8101 | 1.1886 | 1.2309 | 0.94825 | 1.1486 | 1.1803 | -6.566 | -123.3194 | 122.8374 | -5.8889 | -120.1364 | 120.2544
Line_2 | 0.3058 | 0.094043 | 0.12483 | 0.30545 | 0.094224 | 0.12485 | 3.5311 | 1.0859 | 1.4414 | 3.5271 | 1.088 | 1.4417 | 1.9377 | 0.51383 | 0.020478 | -1.8107 | -0.52862 | -0.0040088 | 2.9071 | 1.1478 | 1.6785 | -2.812 | -1.1324 | -1.7016 | -63.1118 | 175.0696 | 30.2287 | 116.889 | -5.1132 | -149.6106 |  | 0.98941 | 1.1581 | 1.1646 | 0.94825 | 1.1486 | 1.1803 | -6.7971 | -119.0469 | 119.5297 | -5.8889 | -120.1364 | 120.2544

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5525 | 0.58937 | 0.46802 | 1.552 | 0.58988 | 0.46853 | 17.9267 | 6.8055 | 5.4042 | 17.9211 | 6.8114 | 5.4102 | 11.1512 | -5.351 | 5.1637 | -6.8456 | 5.6255 | -5.0463 | 8.1548 | 3.0089 | 1.4878 | -4.4885 | -3.9209 | -2.2403 | -48.5542 | 95.1252 | 97.3796 | 131.4534 | -84.8633 | -82.6084 |  | 0.77063 | 0.90205 | 0.99436 | 0.45677 | 1.0067 | 1.0205 | -12.3766 | -114.224 | 113.4531 | -15.2948 | -119.7392 | 121.3306
Line_1 | 2.0041 | 0.56227 | 0.48568 | 2.0055 | 0.56058 | 0.48397 | 23.1416 | 6.4926 | 5.6081 | 23.1574 | 6.473 | 5.5884 | -4.2854e-11 | 6.0032 | -4.7034 | 8.6777 | -5.8899 | 4.7008 | 4.4767e-12 | -4.263 | -4.5212 | 6.0486 | 2.788 | 3.2294 | 129.8567 | -94.386 | -93.136 | -50.1726 | 85.5911 | 86.8419 |  | 0 | 1.134 | 1.1633 | 0.45677 | 1.0067 | 1.0205 | 0 | -129.7658 | 130.7326 | -15.2948 | -119.7392 | 121.3306
Line_2 | 0.45702 | 0.10062 | 0.089107 | 0.45623 | 0.10008 | 0.088906 | 5.2772 | 1.1619 | 1.0289 | 5.2681 | 1.1556 | 1.0266 | 2.5521 | -0.13282 | -0.27072 | -1.8321 | 0.26442 | 0.34554 | 1.8973 | -1.1686 | 0.91732 | -1.5601 | 1.1329 | -0.98906 | -55.7252 | -16.9312 | 11.5802 | 124.2882 | 163.3981 | -167.9266 |  | 0.6026 | 1.0123 | 0.92955 | 0.45677 | 1.0067 | 1.0205 | -19.0972 | -113.4155 | 118.023 | -15.2948 | -119.7392 | 121.3306

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5525 | 0.58937 | 0.46802 | 1.552 | 0.58988 | 0.46853 | 17.9267 | 6.8055 | 5.4042 | 17.9211 | 6.8114 | 5.4102 | 11.1512 | -5.351 | 5.1637 | -6.8456 | 5.6255 | -5.0463 | 8.1548 | 3.0089 | 1.4878 | -4.4885 | -3.9209 | -2.2403 | -48.5542 | 95.1252 | 97.3796 | 131.4534 | -84.8633 | -82.6084 |  | 0.77063 | 0.90205 | 0.99436 | 0.45677 | 1.0067 | 1.0205 | -12.3766 | -114.224 | 113.4531 | -15.2948 | -119.7392 | 121.3306
Line_1 | 2.0041 | 0.56227 | 0.48568 | 2.0055 | 0.56058 | 0.48397 | 23.1416 | 6.4926 | 5.6081 | 23.1574 | 6.473 | 5.5884 | -4.2854e-11 | 6.0032 | -4.7034 | 8.6777 | -5.8899 | 4.7008 | 4.4767e-12 | -4.263 | -4.5212 | 6.0486 | 2.788 | 3.2294 | 129.8567 | -94.386 | -93.136 | -50.1726 | 85.5911 | 86.8419 |  | 0 | 1.134 | 1.1633 | 0.45677 | 1.0067 | 1.0205 | 0 | -129.7658 | 130.7326 | -15.2948 | -119.7392 | 121.3306
Line_2 | 0.45702 | 0.10062 | 0.089107 | 0.45623 | 0.10008 | 0.088906 | 5.2772 | 1.1619 | 1.0289 | 5.2681 | 1.1556 | 1.0266 | 2.5521 | -0.13282 | -0.27072 | -1.8321 | 0.26442 | 0.34554 | 1.8973 | -1.1686 | 0.91732 | -1.5601 | 1.1329 | -0.98906 | -55.7252 | -16.9312 | 11.5802 | 124.2882 | 163.3981 | -167.9266 |  | 0.6026 | 1.0123 | 0.92955 | 0.45677 | 1.0067 | 1.0205 | -19.0972 | -113.4155 | 118.023 | -15.2948 | -119.7392 | 121.3306

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55873 | 0.21211 | 0.16844 | 0.55856 | 0.21229 | 0.16862 | 6.4517 | 2.4492 | 1.9449 | 6.4497 | 2.4514 | 1.9471 | 5.0665 | -1.6495 | 1.9321 | -4.508 | 1.6856 | -1.9183 | 3.1898 | 1.6672 | 0.2936 | -2.7138 | -1.7867 | -0.39091 | -36.9039 | 106.7754 | 109.0298 | 143.1037 | -73.213 | -70.9581 |  | 0.92798 | 0.95758 | 1.0048 | 0.81583 | 1.002 | 1.0055 | -4.7095 | -118.5311 | 117.6704 | -5.8481 | -119.8798 | 120.5599
Line_1 | 0.72127 | 0.20236 | 0.17479 | 0.72176 | 0.20175 | 0.17418 | 8.3285 | 2.3366 | 2.0183 | 8.3342 | 2.3296 | 2.0112 | -4.5976 | 1.8789 | -1.879 | 5.7233 | -1.8613 | 1.8741 | -2.8829 | -1.6034 | -0.92779 | 3.6706 | 1.4088 | 0.75975 | 141.507 | -82.7357 | -81.4857 | -38.5223 | 97.2414 | 98.4922 |  | 0.65159 | 1.0571 | 1.0383 | 0.81583 | 1.002 | 1.0055 | -6.4039 | -123.2133 | 124.7929 | -5.8481 | -119.8798 | 120.5599
Line_2 | 0.16448 | 0.036213 | 0.032069 | 0.16419 | 0.036018 | 0.031997 | 1.8992 | 0.41815 | 0.3703 | 1.896 | 0.41589 | 0.36947 | 1.3101 | -0.15803 | -0.036605 | -1.2153 | 0.17565 | 0.044219 | 1.002 | -0.3846 | 0.36009 | -0.95682 | 0.37792 | -0.36884 | -44.075 | -5.2809 | 23.2305 | 135.9385 | 175.0483 | -156.2764 |  | 0.86843 | 0.99439 | 0.97744 | 0.81583 | 1.002 | 1.0055 | -6.6643 | -117.6185 | 119.0349 | -5.8481 | -119.8798 | 120.5599

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55873 | 0.21211 | 0.16844 | 0.55856 | 0.21229 | 0.16862 | 6.4517 | 2.4492 | 1.9449 | 6.4497 | 2.4514 | 1.9471 | 5.0665 | -1.6495 | 1.9321 | -4.508 | 1.6856 | -1.9183 | 3.1898 | 1.6672 | 0.2936 | -2.7138 | -1.7867 | -0.39091 | -36.9039 | 106.7754 | 109.0298 | 143.1037 | -73.213 | -70.9581 |  | 0.92798 | 0.95758 | 1.0048 | 0.81583 | 1.002 | 1.0055 | -4.7095 | -118.5311 | 117.6704 | -5.8481 | -119.8798 | 120.5599
Line_1 | 0.72127 | 0.20236 | 0.17479 | 0.72176 | 0.20175 | 0.17418 | 8.3285 | 2.3366 | 2.0183 | 8.3342 | 2.3296 | 2.0112 | -4.5976 | 1.8789 | -1.879 | 5.7233 | -1.8613 | 1.8741 | -2.8829 | -1.6034 | -0.92779 | 3.6706 | 1.4088 | 0.75975 | 141.507 | -82.7357 | -81.4857 | -38.5223 | 97.2414 | 98.4922 |  | 0.65159 | 1.0571 | 1.0383 | 0.81583 | 1.002 | 1.0055 | -6.4039 | -123.2133 | 124.7929 | -5.8481 | -119.8798 | 120.5599
Line_2 | 0.16448 | 0.036213 | 0.032069 | 0.16419 | 0.036018 | 0.031997 | 1.8992 | 0.41815 | 0.3703 | 1.896 | 0.41589 | 0.36947 | 1.3101 | -0.15803 | -0.036605 | -1.2153 | 0.17565 | 0.044219 | 1.002 | -0.3846 | 0.36009 | -0.95682 | 0.37792 | -0.36884 | -44.075 | -5.2809 | 23.2305 | 135.9385 | 175.0483 | -156.2764 |  | 0.86843 | 0.99439 | 0.97744 | 0.81583 | 1.002 | 1.0055 | -6.6643 | -117.6185 | 119.0349 | -5.8481 | -119.8798 | 120.5599

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36262 | 3.3824 | 2.4942 | 0.36284 | 3.3823 | 2.494 | 4.1872 | 39.0569 | 28.8005 | 4.1897 | 39.0558 | 28.7988 | -3.2788 | 27.1738 | -0.32826 | 3.799 | -15.2577 | 0.086728 | 2.7835 | 9.2879 | 16.2277 | -3.1978 | -4.1946 | -9.5974 | -139.913 | -171.1898 | 33.6562 | 40.1742 | 8.8201 | -146.357 |  | 1.0272 | 0.73527 | 0.56357 | 1.1852 | 0.40516 | 0.33327 | -0.24272 | -152.3195 | 124.815 | 0.084617 | -155.808 | 124.1607
Line_1 | 0.36784 | 4.1626 | 3.1276 | 0.36658 | 4.1625 | 3.1286 | 4.2475 | 48.0653 | 36.1147 | 4.2329 | 48.0642 | 36.1257 | 3.5096 | 7.335e-11 | 7.907e-11 | -3.1187 | 18.4325 | 0.62978 | -4.7166 | -9.123e-11 | -3.4466e-11 | 3.9298 | 6.2821 | 12.0231 | 51.8172 | 5.395 | -142.8657 | -128.3507 | -174.6278 | 37.1592 |  | 1.3841 | 0 | 0 | 1.1852 | 0.40516 | 0.33327 | -1.5297 | 0 | 0 | 0.084617 | -155.808 | 124.1607
Line_2 | 0.072162 | 0.8126 | 0.65777 | 0.073016 | 0.81216 | 0.65728 | 0.83325 | 9.3831 | 7.5953 | 0.84312 | 9.378 | 7.5896 | 0.62548 | 4.0074 | 0.99073 | -0.68029 | -3.1748 | -0.71651 | 0.72103 | 2.1319 | 3.1668 | -0.73197 | -2.0874 | -2.4258 | -46.7069 | 170.8089 | 50.6859 | 132.9889 | -9.1327 | -129.3835 |  | 1.1455 | 0.48377 | 0.43687 | 1.1852 | 0.40516 | 0.33327 | 2.3522 | -161.1785 | 123.3137 | 0.084617 | -155.808 | 124.1607

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36262 | 3.3824 | 2.4942 | 0.36284 | 3.3823 | 2.494 | 4.1872 | 39.0569 | 28.8005 | 4.1897 | 39.0558 | 28.7988 | -3.2788 | 27.1738 | -0.32826 | 3.799 | -15.2577 | 0.086728 | 2.7835 | 9.2879 | 16.2277 | -3.1978 | -4.1946 | -9.5974 | -139.913 | -171.1898 | 33.6562 | 40.1742 | 8.8201 | -146.357 |  | 1.0272 | 0.73527 | 0.56357 | 1.1852 | 0.40516 | 0.33327 | -0.24272 | -152.3195 | 124.815 | 0.084617 | -155.808 | 124.1607
Line_1 | 0.36784 | 4.1626 | 3.1276 | 0.36658 | 4.1625 | 3.1286 | 4.2475 | 48.0653 | 36.1147 | 4.2329 | 48.0642 | 36.1257 | 3.5096 | 7.335e-11 | 7.907e-11 | -3.1187 | 18.4325 | 0.62978 | -4.7166 | -9.123e-11 | -3.4466e-11 | 3.9298 | 6.2821 | 12.0231 | 51.8172 | 5.395 | -142.8657 | -128.3507 | -174.6278 | 37.1592 |  | 1.3841 | 0 | 0 | 1.1852 | 0.40516 | 0.33327 | -1.5297 | 0 | 0 | 0.084617 | -155.808 | 124.1607
Line_2 | 0.072162 | 0.8126 | 0.65777 | 0.073016 | 0.81216 | 0.65728 | 0.83325 | 9.3831 | 7.5953 | 0.84312 | 9.378 | 7.5896 | 0.62548 | 4.0074 | 0.99073 | -0.68029 | -3.1748 | -0.71651 | 0.72103 | 2.1319 | 3.1668 | -0.73197 | -2.0874 | -2.4258 | -46.7069 | 170.8089 | 50.6859 | 132.9889 | -9.1327 | -129.3835 |  | 1.1455 | 0.48377 | 0.43687 | 1.1852 | 0.40516 | 0.33327 | 2.3522 | -161.1785 | 123.3137 | 0.084617 | -155.808 | 124.1607

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11191 | 0.84125 | 0.58609 | 0.11174 | 0.84126 | 0.58596 | 1.2922 | 9.7139 | 6.7676 | 1.2902 | 9.7141 | 6.7661 | -1.2768 | 9.5572 | 4.1613 | 1.3452 | -8.7212 | -4.1477 | -0.63743 | 3.492 | 5.2183 | 0.67712 | -3.345 | -4.6769 | 153.2818 | -147.7198 | 65.846 | -26.6552 | 32.2944 | -114.17 |  | 1.1044 | 1.0475 | 0.98623 | 1.1672 | 0.96156 | 0.9239 | -0.18748 | -127.6483 | 117.276 | 0.063488 | -126.7216 | 114.2618
Line_1 | 0.088878 | 1.1035 | 0.87198 | 0.088703 | 1.1034 | 0.87245 | 1.0263 | 12.7426 | 10.0687 | 1.0242 | 12.7412 | 10.0741 | 1.1175 | -9.0939 | -5.8174 | -1.0536 | 10.5394 | 5.9963 | -0.61441 | -6.0166 | -5.9483 | 0.56497 | 6.2466 | 7.1185 | 28.6248 | 22.6534 | -115.6521 | -151.7353 | -157.3763 | 64.3708 |  | 1.2426 | 0.85571 | 0.82633 | 1.1672 | 0.96156 | 0.9239 | -0.17729 | -123.8578 | 109.9853 | 0.063488 | -126.7216 | 114.2618
Line_2 | 0.094342 | 0.30858 | 0.28725 | 0.094662 | 0.3084 | 0.28706 | 1.0894 | 3.5631 | 3.3168 | 1.0931 | 3.5611 | 3.3147 | 0.27556 | 1.935 | 1.9045 | -0.29158 | -1.8182 | -1.8486 | 1.2273 | 2.9195 | 2.5644 | -1.2421 | -2.9016 | -2.4416 | -76.7755 | 175.2984 | 61.4461 | 103.2746 | -4.6499 | -118.6087 |  | 1.1547 | 0.98298 | 0.96303 | 1.1672 | 0.96156 | 0.9239 | 0.56988 | -128.237 | 114.8457 | 0.063488 | -126.7216 | 114.2618

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11191 | 0.84125 | 0.58609 | 0.11174 | 0.84126 | 0.58596 | 1.2922 | 9.7139 | 6.7676 | 1.2902 | 9.7141 | 6.7661 | -1.2768 | 9.5572 | 4.1613 | 1.3452 | -8.7212 | -4.1477 | -0.63743 | 3.492 | 5.2183 | 0.67712 | -3.345 | -4.6769 | 153.2818 | -147.7198 | 65.846 | -26.6552 | 32.2944 | -114.17 |  | 1.1044 | 1.0475 | 0.98623 | 1.1672 | 0.96156 | 0.9239 | -0.18748 | -127.6483 | 117.276 | 0.063488 | -126.7216 | 114.2618
Line_1 | 0.088878 | 1.1035 | 0.87198 | 0.088703 | 1.1034 | 0.87245 | 1.0263 | 12.7426 | 10.0687 | 1.0242 | 12.7412 | 10.0741 | 1.1175 | -9.0939 | -5.8174 | -1.0536 | 10.5394 | 5.9963 | -0.61441 | -6.0166 | -5.9483 | 0.56497 | 6.2466 | 7.1185 | 28.6248 | 22.6534 | -115.6521 | -151.7353 | -157.3763 | 64.3708 |  | 1.2426 | 0.85571 | 0.82633 | 1.1672 | 0.96156 | 0.9239 | -0.17729 | -123.8578 | 109.9853 | 0.063488 | -126.7216 | 114.2618
Line_2 | 0.094342 | 0.30858 | 0.28725 | 0.094662 | 0.3084 | 0.28706 | 1.0894 | 3.5631 | 3.3168 | 1.0931 | 3.5611 | 3.3147 | 0.27556 | 1.935 | 1.9045 | -0.29158 | -1.8182 | -1.8486 | 1.2273 | 2.9195 | 2.5644 | -1.2421 | -2.9016 | -2.4416 | -76.7755 | 175.2984 | 61.4461 | 103.2746 | -4.6499 | -118.6087 |  | 1.1547 | 0.98298 | 0.96303 | 1.1672 | 0.96156 | 0.9239 | 0.56988 | -128.237 | 114.8457 | 0.063488 | -126.7216 | 114.2618

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42987 | 2.48 | 2.1666 | 0.43024 | 2.48 | 2.1664 | 4.9637 | 28.6369 | 25.0177 | 4.968 | 28.6371 | 25.0158 | -0.74612 | 22.7137 | 4.2778 | 1.0896 | -12.9283 | -2.2201 | 4.4462 | 3.0458 | 12.5614 | -4.9935 | -0.71951 | -7.6658 | -100.2527 | -156.7111 | 42.538 | 79.7768 | 23.2988 | -137.4725 |  | 0.90826 | 0.80026 | 0.53042 | 1.0288 | 0.45215 | 0.31903 | -0.72651 | -149.0736 | 113.7318 | 2.0856 | -153.5157 | 116.3761
Line_1 | 0.42482 | 3.0604 | 2.5836 | 0.42348 | 3.06 | 2.5845 | 4.9054 | 35.3384 | 29.8334 | 4.8899 | 35.3344 | 29.8437 | 1.585 | -1.0517e-10 | -4.5096e-11 | -1.3384 | 15.867 | 2.9599 | -5.7957 | -6.0077e-11 | -9.2633e-11 | 4.8494 | 1.867 | 9.0492 | 76.7188 | 19.7991 | -135.536 | -103.3428 | -160.2265 | 44.4884 |  | 1.2249 | 0 | 0 | 1.0288 | 0.45215 | 0.31903 | 2.0143 | 0 | 0 | 2.0856 | -153.5157 | 116.3761
Line_2 | 0.024751 | 0.60452 | 0.42616 | 0.024201 | 0.60426 | 0.42587 | 0.2858 | 6.9804 | 4.9208 | 0.27945 | 6.9773 | 4.9176 | -0.22708 | 3.7904 | 0.8897 | 0.24878 | -2.9387 | -0.73983 | -0.15153 | 1.0139 | 1.9128 | 0.1441 | -1.1475 | -1.3834 | 151.1785 | -174.9013 | 54.5921 | -27.9953 | 5.1553 | -125.4871 |  | 0.95518 | 0.5621 | 0.4287 | 1.0288 | 0.45215 | 0.31903 | 4.8934 | -159.9257 | 119.6475 | 2.0856 | -153.5157 | 116.3761

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42987 | 2.48 | 2.1666 | 0.43024 | 2.48 | 2.1664 | 4.9637 | 28.6369 | 25.0177 | 4.968 | 28.6371 | 25.0158 | -0.74612 | 22.7137 | 4.2778 | 1.0896 | -12.9283 | -2.2201 | 4.4462 | 3.0458 | 12.5614 | -4.9935 | -0.71951 | -7.6658 | -100.2527 | -156.7111 | 42.538 | 79.7768 | 23.2988 | -137.4725 |  | 0.90826 | 0.80026 | 0.53042 | 1.0288 | 0.45215 | 0.31903 | -0.72651 | -149.0736 | 113.7318 | 2.0856 | -153.5157 | 116.3761
Line_1 | 0.42482 | 3.0604 | 2.5836 | 0.42348 | 3.06 | 2.5845 | 4.9054 | 35.3384 | 29.8334 | 4.8899 | 35.3344 | 29.8437 | 1.585 | -1.0517e-10 | -4.5096e-11 | -1.3384 | 15.867 | 2.9599 | -5.7957 | -6.0077e-11 | -9.2633e-11 | 4.8494 | 1.867 | 9.0492 | 76.7188 | 19.7991 | -135.536 | -103.3428 | -160.2265 | 44.4884 |  | 1.2249 | 0 | 0 | 1.0288 | 0.45215 | 0.31903 | 2.0143 | 0 | 0 | 2.0856 | -153.5157 | 116.3761
Line_2 | 0.024751 | 0.60452 | 0.42616 | 0.024201 | 0.60426 | 0.42587 | 0.2858 | 6.9804 | 4.9208 | 0.27945 | 6.9773 | 4.9176 | -0.22708 | 3.7904 | 0.8897 | 0.24878 | -2.9387 | -0.73983 | -0.15153 | 1.0139 | 1.9128 | 0.1441 | -1.1475 | -1.3834 | 151.1785 | -174.9013 | 54.5921 | -27.9953 | 5.1553 | -125.4871 |  | 0.95518 | 0.5621 | 0.4287 | 1.0288 | 0.45215 | 0.31903 | 4.8934 | -159.9257 | 119.6475 | 2.0856 | -153.5157 | 116.3761

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17495 | 0.75687 | 0.64092 | 0.1751 | 0.75688 | 0.64083 | 2.0201 | 8.7396 | 7.4007 | 2.0219 | 8.7397 | 7.3997 | 0.16063 | 7.724 | 3.5501 | -0.11416 | -6.7033 | -3.4134 | 1.9405 | 2.7851 | 5.3784 | -2.0331 | -2.6047 | -4.8406 | -86.0804 | -147.7699 | 59.8045 | 93.9445 | 32.2433 | -120.209 |  | 0.96388 | 0.93949 | 0.87078 | 1.0071 | 0.82286 | 0.80045 | -0.81258 | -127.9414 | 116.3774 | 0.73078 | -126.5221 | 114.6015
Line_1 | 0.17316 | 0.93845 | 0.77401 | 0.17261 | 0.93831 | 0.77443 | 1.9995 | 10.8362 | 8.9375 | 1.9931 | 10.8347 | 8.9424 | 0.091554 | -6.3739 | -4.1599 | -0.061512 | 8.0619 | 4.4177 | -2.1659 | -3.7263 | -4.5971 | 2.0064 | 3.8066 | 5.632 | 89.0258 | 28.2366 | -117.3165 | -91.0253 | -151.7972 | 62.7118 |  | 1.0842 | 0.68134 | 0.69369 | 1.0071 | 0.82286 | 0.80045 | 1.4463 | -121.452 | 110.5418 | 0.73078 | -126.5221 | 114.6015
Line_2 | 0.01547 | 0.19103 | 0.13851 | 0.01528 | 0.19091 | 0.13834 | 0.17863 | 2.2058 | 1.5993 | 0.17643 | 2.2045 | 1.5975 | -0.17124 | 1.4583 | 1.0337 | 0.17567 | -1.3587 | -1.0044 | -0.030426 | 1.1834 | 0.85716 | 0.026725 | -1.2019 | -0.7914 | 171.4017 | -168.0896 | 76.4498 | -7.9196 | 11.9814 | -103.6357 |  | 0.97363 | 0.85141 | 0.83964 | 1.0071 | 0.82286 | 0.80045 | 1.4769 | -129.0288 | 116.1152 | 0.73078 | -126.5221 | 114.6015

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17495 | 0.75687 | 0.64092 | 0.1751 | 0.75688 | 0.64083 | 2.0201 | 8.7396 | 7.4007 | 2.0219 | 8.7397 | 7.3997 | 0.16063 | 7.724 | 3.5501 | -0.11416 | -6.7033 | -3.4134 | 1.9405 | 2.7851 | 5.3784 | -2.0331 | -2.6047 | -4.8406 | -86.0804 | -147.7699 | 59.8045 | 93.9445 | 32.2433 | -120.209 |  | 0.96388 | 0.93949 | 0.87078 | 1.0071 | 0.82286 | 0.80045 | -0.81258 | -127.9414 | 116.3774 | 0.73078 | -126.5221 | 114.6015
Line_1 | 0.17316 | 0.93845 | 0.77401 | 0.17261 | 0.93831 | 0.77443 | 1.9995 | 10.8362 | 8.9375 | 1.9931 | 10.8347 | 8.9424 | 0.091554 | -6.3739 | -4.1599 | -0.061512 | 8.0619 | 4.4177 | -2.1659 | -3.7263 | -4.5971 | 2.0064 | 3.8066 | 5.632 | 89.0258 | 28.2366 | -117.3165 | -91.0253 | -151.7972 | 62.7118 |  | 1.0842 | 0.68134 | 0.69369 | 1.0071 | 0.82286 | 0.80045 | 1.4463 | -121.452 | 110.5418 | 0.73078 | -126.5221 | 114.6015
Line_2 | 0.01547 | 0.19103 | 0.13851 | 0.01528 | 0.19091 | 0.13834 | 0.17863 | 2.2058 | 1.5993 | 0.17643 | 2.2045 | 1.5975 | -0.17124 | 1.4583 | 1.0337 | 0.17567 | -1.3587 | -1.0044 | -0.030426 | 1.1834 | 0.85716 | 0.026725 | -1.2019 | -0.7914 | 171.4017 | -168.0896 | 76.4498 | -7.9196 | 11.9814 | -103.6357 |  | 0.97363 | 0.85141 | 0.83964 | 1.0071 | 0.82286 | 0.80045 | 1.4769 | -129.0288 | 116.1152 | 0.73078 | -126.5221 | 114.6015