## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -2.0843e-14 | 27.4008 | -8.7391 | 1.5632e-14 | -22.7354 | 13.4045 | -1.0421e-14 | 4.6417 | 16.5321 | 1.5632e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 7.2625e-13 | -152.1736 | 136.0734 | 7.5338e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 5.2106e-15 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | 5.2106e-15 | 5.9452 | -5.9452 | -5.2106e-15 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 7.5756e-13 | 180 | -180 | 7.5338e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.4051e-10 | 6.6441e-10 | -1.0421e-14 | -3.4051e-10 | -6.644e-10 | -6.8646e-29 | -1.8234e-09 | 1.2624e-09 | -1.3703e-28 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 7.5483e-13 | -163.4303 | 158.2346 | 7.5338e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -2.0843e-14 | 27.4008 | -8.7391 | 1.5632e-14 | -22.7354 | 13.4045 | -1.0421e-14 | 4.6417 | 16.5321 | 1.5632e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 7.2625e-13 | -152.1736 | 136.0734 | 7.5338e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 5.2106e-15 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | 5.2106e-15 | 5.9452 | -5.9452 | -5.2106e-15 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 7.5756e-13 | 180 | -180 | 7.5338e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.4051e-10 | 6.6441e-10 | -1.0421e-14 | -3.4051e-10 | -6.644e-10 | -6.8646e-29 | -1.8234e-09 | 1.2624e-09 | -1.3703e-28 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 7.5483e-13 | -163.4303 | 158.2346 | 7.5338e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -1.0421e-14 | 17.2205 | 0.20321 | 7.816e-15 | -15.9408 | 1.0765 | -1.5632e-14 | 3.8735 | 14.2393 | 7.816e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 3.5615e-13 | -135.9762 | 120.5292 | 3.6857e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 2.6053e-15 | -14.6611 | 2.3562 | -5.2106e-15 | 15.9408 | -1.0765 | 5.2106e-15 | -0.96958 | -11.3353 | -5.2106e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 3.6977e-13 | -144.8696 | 133.0893 | 3.6857e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6811e-29 | 4.6819e-10 | 1.0007e-09 | -2.6053e-15 | -4.6818e-10 | -1.0007e-09 | -2.6053e-15 | -1.2288e-09 | 3.0653e-10 | 5.2106e-15 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 3.697e-13 | -140.0155 | 126.1589 | 3.6857e-13 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -1.0421e-14 | 17.2205 | 0.20321 | 7.816e-15 | -15.9408 | 1.0765 | -1.5632e-14 | 3.8735 | 14.2393 | 7.816e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 3.5615e-13 | -135.9762 | 120.5292 | 3.6857e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 2.6053e-15 | -14.6611 | 2.3562 | -5.2106e-15 | 15.9408 | -1.0765 | 5.2106e-15 | -0.96958 | -11.3353 | -5.2106e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 3.6977e-13 | -144.8696 | 133.0893 | 3.6857e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6811e-29 | 4.6819e-10 | 1.0007e-09 | -2.6053e-15 | -4.6818e-10 | -1.0007e-09 | -2.6053e-15 | -1.2288e-09 | 3.0653e-10 | 5.2106e-15 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 3.697e-13 | -140.0155 | 126.1589 | 3.6857e-13 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.4211e-14 | 23.4155 | -0.45749 | 9.4739e-15 | -17.676 | 6.197 | -2.3685e-15 | -0.22679 | 13.7937 | 8.2355e-29 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 4.4241e-13 | -150.1294 | 122.3252 | 4.9806e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 2.3685e-15 | -11.9365 | 11.9365 | -7.1054e-15 | 17.676 | -6.197 | -4.737e-15 | 7.0103 | -7.0103 | 2.3685e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 5.1747e-13 | -180 | 180 | 4.9806e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.4221e-10 | 6.7019e-10 | -1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 4.737e-15 | -1.5722e-09 | 8.3093e-10 | -7.1054e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.8327e-13 | -161.1438 | 151.2099 | 4.9806e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.4211e-14 | 23.4155 | -0.45749 | 9.4739e-15 | -17.676 | 6.197 | -2.3685e-15 | -0.22679 | 13.7937 | 8.2355e-29 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 4.4241e-13 | -150.1294 | 122.3252 | 4.9806e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 2.3685e-15 | -11.9365 | 11.9365 | -7.1054e-15 | 17.676 | -6.197 | -4.737e-15 | 7.0103 | -7.0103 | 2.3685e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 5.1747e-13 | -180 | 180 | 4.9806e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.4221e-10 | 6.7019e-10 | -1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 4.737e-15 | -1.5722e-09 | 8.3093e-10 | -7.1054e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.8327e-13 | -161.1438 | 151.2099 | 4.9806e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -9.4739e-15 | 13.7181 | 1.6719 | 8.8818e-15 | -12.0096 | 0.036546 | -2.3685e-15 | 1.7406 | 10.8539 | 2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.3717e-13 | -135.6599 | 118.3519 | 2.6601e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 1.1842e-15 | -10.3011 | 1.745 | -1.1842e-15 | 12.0096 | -0.036546 | -2.3685e-15 | 0.27863 | -8.8347 | 2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.7417e-13 | -144.4405 | 138.2821 | 2.6601e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 4.2826e-10 | 8.1277e-10 | -1.1842e-15 | -4.2826e-10 | -8.1276e-10 | 5.3325e-30 | -9.7051e-10 | 3.0453e-10 | -2.3685e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.58e-13 | -139.408 | 127.3216 | 2.6601e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -9.4739e-15 | 13.7181 | 1.6719 | 8.8818e-15 | -12.0096 | 0.036546 | -2.3685e-15 | 1.7406 | 10.8539 | 2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.3717e-13 | -135.6599 | 118.3519 | 2.6601e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 1.1842e-15 | -10.3011 | 1.745 | -1.1842e-15 | 12.0096 | -0.036546 | -2.3685e-15 | 0.27863 | -8.8347 | 2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.7417e-13 | -144.4405 | 138.2821 | 2.6601e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 4.2826e-10 | 8.1277e-10 | -1.1842e-15 | -4.2826e-10 | -8.1276e-10 | 5.3325e-30 | -9.7051e-10 | 3.0453e-10 | -2.3685e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.58e-13 | -139.408 | 127.3216 | 2.6601e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3717 | 0.010594 | 0.010594 | 1.3684 | 0.0072884 | 0.0072884 | 15.839 | 0.12232 | 0.12232 | 15.8009 | 0.084159 | 0.084159 | 5.9491 | 0.11981 | -0.11078 | -2.9489 | -0.077296 | 0.082231 | 3.3151 | -0.14899 | -0.11513 | -1.6496 | 0.10433 | 0.088158 | -69.3719 | -81.6469 | -81.6469 | 110.6442 | 95.7872 | 95.7872 | 0.42998 | 1.5629 | 1.3061 | 0.21384 | 1.5428 | 1.4325 | -40.2434 | -132.8419 | 144.4566 | -40.1333 | -137.678 | 142.7796
Line_1 | 1.3614 | 0 | 0 | 1.3649 | 0.0037627 | 0.0037627 | 15.7195 | 0 | 0 | 15.761 | 0.043448 | 0.043448 | 4.9311e-11 | -2.9146e-09 | -3.0471e-09 | 2.9424 | 0.042094 | -0.040537 | -2.2641e-11 | -2.3697e-09 | 2.2932e-09 | 1.6438 | -0.052166 | -0.047226 | 110.7229 | 0 | 0 | -69.3241 | -86.5788 | -86.5788 | 0 | 1.5342 | 1.5576 | 0.21384 | 1.5428 | 1.4325 | 0 | -142.5156 | 141.4081 | -40.1333 | -137.678 | 142.7796
Line_2 | 0 | 0 | 0 | 0.0035323 | 0.0035323 | 0.0035323 | 0 | 0 | 0 | 0.040787 | 0.040787 | 0.040787 | 4.9142e-10 | -2.7986e-09 | -2.2004e-09 | 0.0065266 | 0.035202 | -0.041694 | -5.5381e-10 | -1.8917e-09 | 2.2371e-09 | 0.0057862 | -0.05216 | -0.040932 | 0 | 0 | 0 | -81.6923 | -81.6923 | -81.6923 | 0.21327 | 1.5427 | 1.433 | 0.21384 | 1.5428 | 1.4325 | -40.0777 | -137.7 | 142.7702 | -40.1333 | -137.678 | 142.7796

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3717 | 0.010594 | 0.010594 | 1.3684 | 0.0072884 | 0.0072884 | 15.839 | 0.12232 | 0.12232 | 15.8009 | 0.084159 | 0.084159 | 5.9491 | 0.11981 | -0.11078 | -2.9489 | -0.077296 | 0.082231 | 3.3151 | -0.14899 | -0.11513 | -1.6496 | 0.10433 | 0.088158 | -69.3719 | -81.6469 | -81.6469 | 110.6442 | 95.7872 | 95.7872 | 0.42998 | 1.5629 | 1.3061 | 0.21384 | 1.5428 | 1.4325 | -40.2434 | -132.8419 | 144.4566 | -40.1333 | -137.678 | 142.7796
Line_1 | 1.3614 | 0 | 0 | 1.3649 | 0.0037627 | 0.0037627 | 15.7195 | 0 | 0 | 15.761 | 0.043448 | 0.043448 | 4.9311e-11 | -2.9146e-09 | -3.0471e-09 | 2.9424 | 0.042094 | -0.040537 | -2.2641e-11 | -2.3697e-09 | 2.2932e-09 | 1.6438 | -0.052166 | -0.047226 | 110.7229 | 0 | 0 | -69.3241 | -86.5788 | -86.5788 | 0 | 1.5342 | 1.5576 | 0.21384 | 1.5428 | 1.4325 | 0 | -142.5156 | 141.4081 | -40.1333 | -137.678 | 142.7796
Line_2 | 0 | 0 | 0 | 0.0035323 | 0.0035323 | 0.0035323 | 0 | 0 | 0 | 0.040787 | 0.040787 | 0.040787 | 4.9142e-10 | -2.7986e-09 | -2.2004e-09 | 0.0065266 | 0.035202 | -0.041694 | -5.5381e-10 | -1.8917e-09 | 2.2371e-09 | 0.0057862 | -0.05216 | -0.040932 | 0 | 0 | 0 | -81.6923 | -81.6923 | -81.6923 | 0.21327 | 1.5427 | 1.433 | 0.21384 | 1.5428 | 1.4325 | -40.0777 | -137.7 | 142.7702 | -40.1333 | -137.678 | 142.7796

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.79782 | 0.0061615 | 0.0061615 | 0.79589 | 0.0042391 | 0.0042391 | 9.2124 | 0.071147 | 0.071147 | 9.1902 | 0.048949 | 0.048949 | 5.1658 | 0.05639 | -0.071936 | -4.1442 | -0.037992 | 0.051552 | 4.2852 | -0.081036 | -0.037364 | -3.7133 | 0.05586 | 0.029796 | -58.9303 | -71.2053 | -71.2053 | 121.0858 | 106.2288 | 106.2288 | 0.72857 | 1.3876 | 1.1393 | 0.60547 | 1.3801 | 1.2164 | -19.2535 | -126.3728 | 136.2422 | -17.053 | -129.5503 | 136.2562
Line_1 | 0.7918 | 0 | 0 | 0.79389 | 0.0021885 | 0.0021885 | 9.1429 | 0 | 0 | 9.167 | 0.02527 | 0.02527 | -3.1347 | -1.5348e-09 | -1.1191e-09 | 4.1358 | 0.020788 | -0.025956 | -3.1347 | -1.2205e-09 | 1.4605e-09 | 3.7016 | -0.028004 | -0.016468 | 121.1645 | 0 | 0 | -58.8825 | -76.1372 | -76.1372 | 0.48487 | 1.3771 | 1.2921 | 0.60547 | 1.3801 | 1.2164 | -13.8355 | -132.6942 | 136.2749 | -17.053 | -129.5503 | 136.2562
Line_2 | 0 | 0 | 0 | 0.0020545 | 0.0020545 | 0.0020545 | 0 | 0 | 0 | 0.023723 | 0.023723 | 0.023723 | 9.9092e-10 | -1.4946e-09 | -7.1724e-10 | 0.0084026 | 0.017205 | -0.025595 | -7.1506e-10 | -9.2489e-10 | 1.3737e-09 | 0.01165 | -0.027856 | -0.013328 | 0 | 0 | 0 | -71.2507 | -71.2507 | -71.2507 | 0.60518 | 1.3801 | 1.2168 | 0.60547 | 1.3801 | 1.2164 | -17.035 | -129.5648 | 136.2545 | -17.053 | -129.5503 | 136.2562

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.79782 | 0.0061615 | 0.0061615 | 0.79589 | 0.0042391 | 0.0042391 | 9.2124 | 0.071147 | 0.071147 | 9.1902 | 0.048949 | 0.048949 | 5.1658 | 0.05639 | -0.071936 | -4.1442 | -0.037992 | 0.051552 | 4.2852 | -0.081036 | -0.037364 | -3.7133 | 0.05586 | 0.029796 | -58.9303 | -71.2053 | -71.2053 | 121.0858 | 106.2288 | 106.2288 | 0.72857 | 1.3876 | 1.1393 | 0.60547 | 1.3801 | 1.2164 | -19.2535 | -126.3728 | 136.2422 | -17.053 | -129.5503 | 136.2562
Line_1 | 0.7918 | 0 | 0 | 0.79389 | 0.0021885 | 0.0021885 | 9.1429 | 0 | 0 | 9.167 | 0.02527 | 0.02527 | -3.1347 | -1.5348e-09 | -1.1191e-09 | 4.1358 | 0.020788 | -0.025956 | -3.1347 | -1.2205e-09 | 1.4605e-09 | 3.7016 | -0.028004 | -0.016468 | 121.1645 | 0 | 0 | -58.8825 | -76.1372 | -76.1372 | 0.48487 | 1.3771 | 1.2921 | 0.60547 | 1.3801 | 1.2164 | -13.8355 | -132.6942 | 136.2749 | -17.053 | -129.5503 | 136.2562
Line_2 | 0 | 0 | 0 | 0.0020545 | 0.0020545 | 0.0020545 | 0 | 0 | 0 | 0.023723 | 0.023723 | 0.023723 | 9.9092e-10 | -1.4946e-09 | -7.1724e-10 | 0.0084026 | 0.017205 | -0.025595 | -7.1506e-10 | -9.2489e-10 | 1.3737e-09 | 0.01165 | -0.027856 | -0.013328 | 0 | 0 | 0 | -71.2507 | -71.2507 | -71.2507 | 0.60518 | 1.3801 | 1.2168 | 0.60547 | 1.3801 | 1.2164 | -17.035 | -129.5648 | 136.2545 | -17.053 | -129.5503 | 136.2562

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0769 | 0.0088199 | 0.0088199 | 1.0743 | 0.0062114 | 0.0062114 | 12.4355 | 0.10184 | 0.10184 | 12.4055 | 0.071723 | 0.071723 | 7.0409 | 0.091418 | -0.080635 | -3.49 | -0.058516 | 0.064366 | 2.0346 | -0.10954 | -0.070632 | -1.0173 | 0.080031 | 0.061799 | -54.7278 | -77.2582 | -77.2582 | 125.3029 | 98.4396 | 98.4396 | 0.58936 | 1.4009 | 1.0526 | 0.29304 | 1.3823 | 1.2441 | -38.61 | -127.4103 | 143.9582 | -38.4461 | -135.3877 | 142.2737
Line_1 | 1.0688 | 0 | 0 | 1.0716 | 0.0032856 | 0.0032856 | 12.3415 | 0 | 0 | 12.3741 | 0.037938 | 0.037938 | -1.2253e-11 | -2.4139e-09 | -2.6287e-09 | 3.4822 | 0.03367 | -0.031823 | -5.6061e-12 | -2.0163e-09 | 1.8922e-09 | 1.0111 | -0.040205 | -0.034858 | 125.4533 | 0 | 0 | -54.6366 | -85.3326 | -85.3326 | 0 | 1.3917 | 1.4332 | 0.29304 | 1.3823 | 1.2441 | 0 | -143.2745 | 141.1057 | -38.4461 | -135.3877 | 142.2737
Line_2 | 0 | 0 | 0 | 0.0029409 | 0.0029409 | 0.0029409 | 0 | 0 | 0 | 0.033958 | 0.033958 | 0.033958 | 5.2702e-10 | -2.118e-09 | -1.458e-09 | 0.0077444 | 0.024845 | -0.032544 | -6.6499e-10 | -1.3476e-09 | 1.7287e-09 | 0.0062488 | -0.039826 | -0.026941 | 0 | 0 | 0 | -77.3454 | -77.3454 | -77.3454 | 0.29221 | 1.382 | 1.2449 | 0.29304 | 1.3823 | 1.2441 | -38.3633 | -135.4235 | 142.2538 | -38.4461 | -135.3877 | 142.2737

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0769 | 0.0088199 | 0.0088199 | 1.0743 | 0.0062114 | 0.0062114 | 12.4355 | 0.10184 | 0.10184 | 12.4055 | 0.071723 | 0.071723 | 7.0409 | 0.091418 | -0.080635 | -3.49 | -0.058516 | 0.064366 | 2.0346 | -0.10954 | -0.070632 | -1.0173 | 0.080031 | 0.061799 | -54.7278 | -77.2582 | -77.2582 | 125.3029 | 98.4396 | 98.4396 | 0.58936 | 1.4009 | 1.0526 | 0.29304 | 1.3823 | 1.2441 | -38.61 | -127.4103 | 143.9582 | -38.4461 | -135.3877 | 142.2737
Line_1 | 1.0688 | 0 | 0 | 1.0716 | 0.0032856 | 0.0032856 | 12.3415 | 0 | 0 | 12.3741 | 0.037938 | 0.037938 | -1.2253e-11 | -2.4139e-09 | -2.6287e-09 | 3.4822 | 0.03367 | -0.031823 | -5.6061e-12 | -2.0163e-09 | 1.8922e-09 | 1.0111 | -0.040205 | -0.034858 | 125.4533 | 0 | 0 | -54.6366 | -85.3326 | -85.3326 | 0 | 1.3917 | 1.4332 | 0.29304 | 1.3823 | 1.2441 | 0 | -143.2745 | 141.1057 | -38.4461 | -135.3877 | 142.2737
Line_2 | 0 | 0 | 0 | 0.0029409 | 0.0029409 | 0.0029409 | 0 | 0 | 0 | 0.033958 | 0.033958 | 0.033958 | 5.2702e-10 | -2.118e-09 | -1.458e-09 | 0.0077444 | 0.024845 | -0.032544 | -6.6499e-10 | -1.3476e-09 | 1.7287e-09 | 0.0062488 | -0.039826 | -0.026941 | 0 | 0 | 0 | -77.3454 | -77.3454 | -77.3454 | 0.29221 | 1.382 | 1.2449 | 0.29304 | 1.3823 | 1.2441 | -38.3633 | -135.4235 | 142.2538 | -38.4461 | -135.3877 | 142.2737

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.65308 | 0.0053486 | 0.0053486 | 0.65151 | 0.0037667 | 0.0037667 | 7.5412 | 0.06176 | 0.06176 | 7.5229 | 0.043494 | 0.043494 | 4.699 | 0.048613 | -0.053944 | -3.3892 | -0.033073 | 0.040556 | 2.8714 | -0.059674 | -0.029264 | -2.491 | 0.042257 | 0.02632 | -50.9535 | -73.4839 | -73.4839 | 129.0772 | 102.2139 | 102.2139 | 0.73024 | 1.2463 | 0.9937 | 0.55912 | 1.2338 | 1.1116 | -19.5261 | -124.3162 | 134.9951 | -14.6078 | -129.7371 | 135.1965
Line_1 | 0.64815 | 0 | 0 | 0.64986 | 0.0019924 | 0.0019924 | 7.4842 | 0 | 0 | 7.5039 | 0.023007 | 0.023007 | -2.1005 | -1.2105e-09 | -1.1845e-09 | 3.3833 | 0.018927 | -0.02049 | -2.1005 | -1.1793e-09 | 1.1943e-09 | 2.4811 | -0.021153 | -0.015303 | 129.2277 | 0 | 0 | -50.8622 | -81.5582 | -81.5582 | 0.39691 | 1.2331 | 1.2273 | 0.55912 | 1.2338 | 1.1116 | -5.7723 | -135.1193 | 135.3902 | -14.6078 | -129.7371 | 135.1965
Line_2 | 0 | 0 | 0 | 0.0017834 | 0.0017834 | 0.0017834 | 0 | 0 | 0 | 0.020593 | 0.020593 | 0.020593 | 8.3817e-10 | -1.1218e-09 | -5.9963e-10 | 0.0059364 | 0.014146 | -0.020066 | -5.1522e-10 | -7.6684e-10 | 1.0683e-09 | 0.0098655 | -0.021104 | -0.011016 | 0 | 0 | 0 | -73.571 | -73.571 | -73.571 | 0.55874 | 1.2335 | 1.1121 | 0.55912 | 1.2338 | 1.1116 | -14.5656 | -129.7612 | 135.1881 | -14.6078 | -129.7371 | 135.1965

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.65308 | 0.0053486 | 0.0053486 | 0.65151 | 0.0037667 | 0.0037667 | 7.5412 | 0.06176 | 0.06176 | 7.5229 | 0.043494 | 0.043494 | 4.699 | 0.048613 | -0.053944 | -3.3892 | -0.033073 | 0.040556 | 2.8714 | -0.059674 | -0.029264 | -2.491 | 0.042257 | 0.02632 | -50.9535 | -73.4839 | -73.4839 | 129.0772 | 102.2139 | 102.2139 | 0.73024 | 1.2463 | 0.9937 | 0.55912 | 1.2338 | 1.1116 | -19.5261 | -124.3162 | 134.9951 | -14.6078 | -129.7371 | 135.1965
Line_1 | 0.64815 | 0 | 0 | 0.64986 | 0.0019924 | 0.0019924 | 7.4842 | 0 | 0 | 7.5039 | 0.023007 | 0.023007 | -2.1005 | -1.2105e-09 | -1.1845e-09 | 3.3833 | 0.018927 | -0.02049 | -2.1005 | -1.1793e-09 | 1.1943e-09 | 2.4811 | -0.021153 | -0.015303 | 129.2277 | 0 | 0 | -50.8622 | -81.5582 | -81.5582 | 0.39691 | 1.2331 | 1.2273 | 0.55912 | 1.2338 | 1.1116 | -5.7723 | -135.1193 | 135.3902 | -14.6078 | -129.7371 | 135.1965
Line_2 | 0 | 0 | 0 | 0.0017834 | 0.0017834 | 0.0017834 | 0 | 0 | 0 | 0.020593 | 0.020593 | 0.020593 | 8.3817e-10 | -1.1218e-09 | -5.9963e-10 | 0.0059364 | 0.014146 | -0.020066 | -5.1522e-10 | -7.6684e-10 | 1.0683e-09 | 0.0098655 | -0.021104 | -0.011016 | 0 | 0 | 0 | -73.571 | -73.571 | -73.571 | 0.55874 | 1.2335 | 1.1121 | 0.55912 | 1.2338 | 1.1116 | -14.5656 | -129.7612 | 135.1881 | -14.6078 | -129.7371 | 135.1965

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065927 | 3.0478 | 3.0041 | 0.0045358 | 3.0476 | 3.0037 | 0.076126 | 35.1927 | 34.6888 | 0.052374 | 35.1908 | 34.6839 | -0.0075191 | 12.2117 | 8.3917 | 0.0055722 | -6.0982 | -4.1917 | -0.10808 | 5.8368 | 16.2033 | 0.076691 | -2.939 | -8.0771 | 98.968 | -169.8891 | 26.4311 | -83.5978 | 10.1497 | -153.6076 | 1.4232 | 0.3846 | 0.52603 | 1.4681 | 0.19237 | 0.26237 | 4.9884 | -144.3431 | 89.0513 | 2.2465 | -144.1185 | 88.9647
Line_1 | 0 | 3.0479 | 3.0022 | 0.0023416 | 3.0477 | 3.0031 | 0 | 35.1943 | 34.666 | 0.027039 | 35.1913 | 34.6763 | -2.3089e-09 | 7.3155e-11 | 1.0267e-10 | -0.0012397 | 6.1004 | 4.1852 | -2.9648e-11 | -7.7726e-11 | -6.2834e-12 | -0.039678 | 2.9347 | 8.0783 | 0 | 10.2348 | -153.6889 | 94.0361 | -169.809 | 26.3524 | 1.5155 | 0 | 0 | 1.4681 | 0.19237 | 0.26237 | -0.27776 | 0 | 0 | 2.2465 | -144.1185 | 88.9647
Line_2 | 0 | 0 | 0 | 0.0021983 | 0.0021983 | 0.0021983 | 0 | 0 | 0 | 0.025383 | 0.025383 | 0.025383 | -1.9875e-09 | 5.7315e-10 | 6.5341e-10 | -0.0043324 | -0.0022137 | 0.0065595 | 2.3079e-10 | -3.1571e-10 | -5.456e-10 | -0.037014 | 0.0043522 | -0.0011516 | 0 | 0 | 0 | 98.9226 | 98.9226 | 98.9226 | 1.4683 | 0.1924 | 0.26205 | 1.4681 | 0.19237 | 0.26237 | 2.2335 | -144.0062 | 88.9213 | 2.2465 | -144.1185 | 88.9647

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065927 | 3.0478 | 3.0041 | 0.0045358 | 3.0476 | 3.0037 | 0.076126 | 35.1927 | 34.6888 | 0.052374 | 35.1908 | 34.6839 | -0.0075191 | 12.2117 | 8.3917 | 0.0055722 | -6.0982 | -4.1917 | -0.10808 | 5.8368 | 16.2033 | 0.076691 | -2.939 | -8.0771 | 98.968 | -169.8891 | 26.4311 | -83.5978 | 10.1497 | -153.6076 | 1.4232 | 0.3846 | 0.52603 | 1.4681 | 0.19237 | 0.26237 | 4.9884 | -144.3431 | 89.0513 | 2.2465 | -144.1185 | 88.9647
Line_1 | 0 | 3.0479 | 3.0022 | 0.0023416 | 3.0477 | 3.0031 | 0 | 35.1943 | 34.666 | 0.027039 | 35.1913 | 34.6763 | -2.3089e-09 | 7.3155e-11 | 1.0267e-10 | -0.0012397 | 6.1004 | 4.1852 | -2.9648e-11 | -7.7726e-11 | -6.2834e-12 | -0.039678 | 2.9347 | 8.0783 | 0 | 10.2348 | -153.6889 | 94.0361 | -169.809 | 26.3524 | 1.5155 | 0 | 0 | 1.4681 | 0.19237 | 0.26237 | -0.27776 | 0 | 0 | 2.2465 | -144.1185 | 88.9647
Line_2 | 0 | 0 | 0 | 0.0021983 | 0.0021983 | 0.0021983 | 0 | 0 | 0 | 0.025383 | 0.025383 | 0.025383 | -1.9875e-09 | 5.7315e-10 | 6.5341e-10 | -0.0043324 | -0.0022137 | 0.0065595 | 2.3079e-10 | -3.1571e-10 | -5.456e-10 | -0.037014 | 0.0043522 | -0.0011516 | 0 | 0 | 0 | 98.9226 | 98.9226 | 98.9226 | 1.4683 | 0.1924 | 0.26205 | 1.4681 | 0.19237 | 0.26237 | 2.2335 | -144.0062 | 88.9213 | 2.2465 | -144.1185 | 88.9647

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0045642 | 1.0543 | 1.1264 | 0.0031401 | 1.0542 | 1.1257 | 0.052702 | 12.1735 | 13.0069 | 0.036259 | 12.1728 | 12.9989 | -0.013811 | 7.2582 | 7.8491 | 0.009195 | -6.4017 | -7.0854 | -0.067743 | 5.6465 | 9.2595 | 0.048028 | -5.6116 | -7.7805 | 106.4981 | -160.3555 | 51.1146 | -76.0677 | 19.7224 | -128.9492 | 1.3118 | 0.7554 | 0.93324 | 1.3486 | 0.69934 | 0.80955 | 4.9751 | -122.4747 | 100.8274 | 3.0942 | -119.0403 | 98.7278
Line_1 | 0 | 1.0545 | 1.1238 | 0.0016211 | 1.0543 | 1.1249 | 0 | 12.1766 | 12.9771 | 0.018719 | 12.1739 | 12.989 | -1.4563e-09 | -5.5601 | -6.3152 | -0.0037193 | 6.4103 | 7.0713 | 1.317e-10 | -5.5601 | -6.3152 | -0.02497 | 5.6028 | 7.7824 | 0 | 19.8922 | -129.0769 | 101.5662 | -160.195 | 50.987 | 1.3862 | 0.64576 | 0.68821 | 1.3486 | 0.69934 | 0.80955 | 1.3497 | -115.1078 | 95.9231 | 3.0942 | -119.0403 | 98.7278
Line_2 | 0 | 0 | 0 | 0.0015219 | 0.0015219 | 0.0015219 | 0 | 0 | 0 | 0.017573 | 0.017573 | 0.017573 | -1.2383e-09 | 1.0269e-09 | 6.4001e-10 | -0.0054757 | -0.0086149 | 0.014097 | 2.9278e-10 | 4.8223e-11 | -1.1847e-09 | -0.023058 | 0.0087645 | -0.0019122 | 0 | 0 | 0 | 106.4527 | 106.4527 | 106.4527 | 1.3488 | 0.69945 | 0.80932 | 1.3486 | 0.69934 | 0.80955 | 3.0851 | -119.0205 | 98.7187 | 3.0942 | -119.0403 | 98.7278

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0045642 | 1.0543 | 1.1264 | 0.0031401 | 1.0542 | 1.1257 | 0.052702 | 12.1735 | 13.0069 | 0.036259 | 12.1728 | 12.9989 | -0.013811 | 7.2582 | 7.8491 | 0.009195 | -6.4017 | -7.0854 | -0.067743 | 5.6465 | 9.2595 | 0.048028 | -5.6116 | -7.7805 | 106.4981 | -160.3555 | 51.1146 | -76.0677 | 19.7224 | -128.9492 | 1.3118 | 0.7554 | 0.93324 | 1.3486 | 0.69934 | 0.80955 | 4.9751 | -122.4747 | 100.8274 | 3.0942 | -119.0403 | 98.7278
Line_1 | 0 | 1.0545 | 1.1238 | 0.0016211 | 1.0543 | 1.1249 | 0 | 12.1766 | 12.9771 | 0.018719 | 12.1739 | 12.989 | -1.4563e-09 | -5.5601 | -6.3152 | -0.0037193 | 6.4103 | 7.0713 | 1.317e-10 | -5.5601 | -6.3152 | -0.02497 | 5.6028 | 7.7824 | 0 | 19.8922 | -129.0769 | 101.5662 | -160.195 | 50.987 | 1.3862 | 0.64576 | 0.68821 | 1.3486 | 0.69934 | 0.80955 | 1.3497 | -115.1078 | 95.9231 | 3.0942 | -119.0403 | 98.7278
Line_2 | 0 | 0 | 0 | 0.0015219 | 0.0015219 | 0.0015219 | 0 | 0 | 0 | 0.017573 | 0.017573 | 0.017573 | -1.2383e-09 | 1.0269e-09 | 6.4001e-10 | -0.0054757 | -0.0086149 | 0.014097 | 2.9278e-10 | 4.8223e-11 | -1.1847e-09 | -0.023058 | 0.0087645 | -0.0019122 | 0 | 0 | 0 | 106.4527 | 106.4527 | 106.4527 | 1.3488 | 0.69945 | 0.80932 | 1.3486 | 0.69934 | 0.80955 | 3.0851 | -119.0205 | 98.7187 | 3.0942 | -119.0403 | 98.7278

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054586 | 2.4548 | 2.3868 | 0.0038442 | 2.4548 | 2.3864 | 0.06303 | 28.3456 | 27.5604 | 0.044389 | 28.3452 | 27.5557 | -0.0088189 | 14.5425 | 10.6884 | 0.0065373 | -7.2698 | -5.3319 | -0.076654 | 0.86468 | 13.231 | 0.057337 | -0.45977 | -6.5873 | 103.9416 | -157.3948 | 38.4702 | -80.3606 | 22.6437 | -141.5681 | 1.2242 | 0.51395 | 0.61715 | 1.3001 | 0.25699 | 0.30755 | 7.3786 | -153.9921 | 89.538 | 3.1349 | -153.7375 | 89.4446
Line_1 | 0 | 2.4556 | 2.3845 | 0.0020334 | 2.455 | 2.3856 | 0 | 28.3552 | 27.5343 | 0.02348 | 28.3484 | 27.5469 | -1.9314e-09 | -1.4226e-10 | -3.2609e-11 | -0.0014551 | 7.2709 | 5.3256 | -4.7523e-11 | -9.9923e-11 | -1.6658e-10 | -0.030491 | 0.4545 | 6.5889 | 0 | 22.7311 | -141.6491 | 95.8672 | -157.3143 | 38.3921 | 1.3813 | 0 | 0 | 1.3001 | 0.25699 | 0.30755 | -0.53754 | 0 | 0 | 3.1349 | -153.7375 | 89.4446
Line_2 | 0 | 0 | 0 | 0.0018201 | 0.0018201 | 0.0018201 | 0 | 0 | 0 | 0.021017 | 0.021017 | 0.021017 | -1.4388e-09 | 5.4261e-10 | 6.2334e-10 | -0.0050821 | -0.0011605 | 0.0062603 | 2.5881e-10 | -5.2161e-10 | -5.7312e-10 | -0.026846 | 0.0052748 | -0.0016085 | 0 | 0 | 0 | 103.8544 | 103.8544 | 103.8544 | 1.3003 | 0.25699 | 0.30704 | 1.3001 | 0.25699 | 0.30755 | 3.1117 | -153.6102 | 89.3977 | 3.1349 | -153.7375 | 89.4446

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054586 | 2.4548 | 2.3868 | 0.0038442 | 2.4548 | 2.3864 | 0.06303 | 28.3456 | 27.5604 | 0.044389 | 28.3452 | 27.5557 | -0.0088189 | 14.5425 | 10.6884 | 0.0065373 | -7.2698 | -5.3319 | -0.076654 | 0.86468 | 13.231 | 0.057337 | -0.45977 | -6.5873 | 103.9416 | -157.3948 | 38.4702 | -80.3606 | 22.6437 | -141.5681 | 1.2242 | 0.51395 | 0.61715 | 1.3001 | 0.25699 | 0.30755 | 7.3786 | -153.9921 | 89.538 | 3.1349 | -153.7375 | 89.4446
Line_1 | 0 | 2.4556 | 2.3845 | 0.0020334 | 2.455 | 2.3856 | 0 | 28.3552 | 27.5343 | 0.02348 | 28.3484 | 27.5469 | -1.9314e-09 | -1.4226e-10 | -3.2609e-11 | -0.0014551 | 7.2709 | 5.3256 | -4.7523e-11 | -9.9923e-11 | -1.6658e-10 | -0.030491 | 0.4545 | 6.5889 | 0 | 22.7311 | -141.6491 | 95.8672 | -157.3143 | 38.3921 | 1.3813 | 0 | 0 | 1.3001 | 0.25699 | 0.30755 | -0.53754 | 0 | 0 | 3.1349 | -153.7375 | 89.4446
Line_2 | 0 | 0 | 0 | 0.0018201 | 0.0018201 | 0.0018201 | 0 | 0 | 0 | 0.021017 | 0.021017 | 0.021017 | -1.4388e-09 | 5.4261e-10 | 6.2334e-10 | -0.0050821 | -0.0011605 | 0.0062603 | 2.5881e-10 | -5.2161e-10 | -5.7312e-10 | -0.026846 | 0.0052748 | -0.0016085 | 0 | 0 | 0 | 103.8544 | 103.8544 | 103.8544 | 1.3003 | 0.25699 | 0.30704 | 1.3001 | 0.25699 | 0.30755 | 3.1117 | -153.6102 | 89.3977 | 3.1349 | -153.7375 | 89.4446

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038934 | 0.92408 | 0.93139 | 0.0027419 | 0.92404 | 0.93083 | 0.044957 | 10.6703 | 10.7547 | 0.031661 | 10.6699 | 10.7483 | -0.0094128 | 6.6457 | 6.3136 | 0.0061504 | -5.4544 | -5.3136 | -0.051015 | 3.6256 | 7.1412 | 0.03787 | -3.9593 | -5.7213 | 106.3453 | -155.417 | 54.501 | -77.9568 | 24.656 | -125.5629 | 1.1539 | 0.70948 | 0.88631 | 1.2118 | 0.63168 | 0.72645 | 5.8913 | -126.8023 | 103.0208 | 2.8184 | -119.3679 | 101.553
Line_1 | 0 | 0.92464 | 0.92898 | 0.0014503 | 0.92423 | 0.93003 | 0 | 10.6768 | 10.727 | 0.016747 | 10.6721 | 10.7391 | -1.269e-09 | -4.2748 | -4.3151 | -0.0019284 | 5.461 | 5.3027 | 7.9541e-12 | -4.2748 | -4.3151 | -0.020202 | 3.9526 | 5.7222 | 0 | 24.8218 | -125.6878 | 98.271 | -155.2644 | 54.3742 | 1.2721 | 0.56622 | 0.56888 | 1.2118 | 0.63168 | 0.72645 | 0.097734 | -110.1782 | 99.3122 | 2.8184 | -119.3679 | 101.553
Line_2 | 0 | 0 | 0 | 0.0012982 | 0.0012982 | 0.0012982 | 0 | 0 | 0 | 0.01499 | 0.01499 | 0.01499 | -9.4728e-10 | 8.5272e-10 | 5.9235e-10 | -0.004222 | -0.006622 | 0.010853 | 2.1716e-10 | 2.6817e-11 | -8.428e-10 | -0.017668 | 0.0067684 | -0.00089327 | 0 | 0 | 0 | 106.2582 | 106.2582 | 106.2582 | 1.212 | 0.6319 | 0.72606 | 1.2118 | 0.63168 | 0.72645 | 2.801 | -119.3368 | 101.5439 | 2.8184 | -119.3679 | 101.553

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038934 | 0.92408 | 0.93139 | 0.0027419 | 0.92404 | 0.93083 | 0.044957 | 10.6703 | 10.7547 | 0.031661 | 10.6699 | 10.7483 | -0.0094128 | 6.6457 | 6.3136 | 0.0061504 | -5.4544 | -5.3136 | -0.051015 | 3.6256 | 7.1412 | 0.03787 | -3.9593 | -5.7213 | 106.3453 | -155.417 | 54.501 | -77.9568 | 24.656 | -125.5629 | 1.1539 | 0.70948 | 0.88631 | 1.2118 | 0.63168 | 0.72645 | 5.8913 | -126.8023 | 103.0208 | 2.8184 | -119.3679 | 101.553
Line_1 | 0 | 0.92464 | 0.92898 | 0.0014503 | 0.92423 | 0.93003 | 0 | 10.6768 | 10.727 | 0.016747 | 10.6721 | 10.7391 | -1.269e-09 | -4.2748 | -4.3151 | -0.0019284 | 5.461 | 5.3027 | 7.9541e-12 | -4.2748 | -4.3151 | -0.020202 | 3.9526 | 5.7222 | 0 | 24.8218 | -125.6878 | 98.271 | -155.2644 | 54.3742 | 1.2721 | 0.56622 | 0.56888 | 1.2118 | 0.63168 | 0.72645 | 0.097734 | -110.1782 | 99.3122 | 2.8184 | -119.3679 | 101.553
Line_2 | 0 | 0 | 0 | 0.0012982 | 0.0012982 | 0.0012982 | 0 | 0 | 0 | 0.01499 | 0.01499 | 0.01499 | -9.4728e-10 | 8.5272e-10 | 5.9235e-10 | -0.004222 | -0.006622 | 0.010853 | 2.1716e-10 | 2.6817e-11 | -8.428e-10 | -0.017668 | 0.0067684 | -0.00089327 | 0 | 0 | 0 | 106.2582 | 106.2582 | 106.2582 | 1.212 | 0.6319 | 0.72606 | 1.2118 | 0.63168 | 0.72645 | 2.801 | -119.3368 | 101.5439 | 2.8184 | -119.3679 | 101.553