## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.2106e-15 | 27.4008 | -8.7391 | 7.8146e-29 | -22.7354 | 13.4045 | -1.5632e-14 | 4.6417 | 16.5321 | 1.0421e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | -4.3728e-13 | -152.1736 | 136.0734 | -4.2964e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 1.0421e-14 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | -7.8594e-29 | 5.9452 | -5.9452 | -5.2106e-15 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | -4.3211e-13 | 180 | -180 | -4.2964e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4052e-10 | 6.6439e-10 | -1.0421e-14 | -3.405e-10 | -6.6439e-10 | 0 | -1.8234e-09 | 1.2624e-09 | -5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | -4.303e-13 | -163.4303 | 158.2346 | -4.2964e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.2106e-15 | 27.4008 | -8.7391 | 7.8146e-29 | -22.7354 | 13.4045 | -1.5632e-14 | 4.6417 | 16.5321 | 1.0421e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | -4.3728e-13 | -152.1736 | 136.0734 | -4.2964e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 1.0421e-14 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | -7.8594e-29 | 5.9452 | -5.9452 | -5.2106e-15 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | -4.3211e-13 | 180 | -180 | -4.2964e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4052e-10 | 6.6439e-10 | -1.0421e-14 | -3.405e-10 | -6.6439e-10 | 0 | -1.8234e-09 | 1.2624e-09 | -5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | -4.303e-13 | -163.4303 | 158.2346 | -4.2964e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -1.3027e-14 | 17.2205 | 0.20321 | 1.0421e-14 | -15.9408 | 1.0765 | -5.2106e-15 | 3.8735 | 14.2393 | 2.6053e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | -1.1355e-13 | -135.9762 | 120.5292 | -1.101e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 5.2106e-15 | -14.6611 | 2.3562 | -5.2106e-15 | 15.9408 | -1.0765 | -7.816e-15 | -0.96958 | -11.3353 | 5.2106e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | -1.0956e-13 | -144.8696 | 133.0893 | -1.101e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.6818e-10 | 1.0007e-09 | 5.0065e-30 | -4.6817e-10 | -1.0006e-09 | -2.6053e-15 | -1.2288e-09 | 3.0654e-10 | 2.6053e-15 | 1.2288e-09 | -3.0653e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | -1.1044e-13 | -140.0155 | 126.1589 | -1.101e-13 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -1.3027e-14 | 17.2205 | 0.20321 | 1.0421e-14 | -15.9408 | 1.0765 | -5.2106e-15 | 3.8735 | 14.2393 | 2.6053e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | -1.1355e-13 | -135.9762 | 120.5292 | -1.101e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 5.2106e-15 | -14.6611 | 2.3562 | -5.2106e-15 | 15.9408 | -1.0765 | -7.816e-15 | -0.96958 | -11.3353 | 5.2106e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | -1.0956e-13 | -144.8696 | 133.0893 | -1.101e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.6818e-10 | 1.0007e-09 | 5.0065e-30 | -4.6817e-10 | -1.0006e-09 | -2.6053e-15 | -1.2288e-09 | 3.0654e-10 | 2.6053e-15 | 1.2288e-09 | -3.0653e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | -1.1044e-13 | -140.0155 | 126.1589 | -1.101e-13 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -2.0132e-14 | 23.4155 | -0.45749 | 1.5395e-14 | -17.676 | 6.197 | -4.737e-15 | -0.22679 | 13.7937 | 2.3685e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 2.332e-12 | -150.1294 | 122.3252 | 2.3452e-12 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.9296e-28 | -11.9365 | 11.9365 | -2.3685e-15 | 17.676 | -6.197 | 4.737e-15 | 7.0103 | -7.0103 | -4.737e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 2.3339e-12 | -180 | 180 | 2.3452e-12 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.4221e-10 | 6.7019e-10 | 3.8778e-28 | -2.4221e-10 | -6.7018e-10 | 9.4739e-15 | -1.5722e-09 | 8.3093e-10 | -9.4739e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 2.3281e-12 | -161.1438 | 151.2099 | 2.3452e-12 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -2.0132e-14 | 23.4155 | -0.45749 | 1.5395e-14 | -17.676 | 6.197 | -4.737e-15 | -0.22679 | 13.7937 | 2.3685e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 2.332e-12 | -150.1294 | 122.3252 | 2.3452e-12 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.9296e-28 | -11.9365 | 11.9365 | -2.3685e-15 | 17.676 | -6.197 | 4.737e-15 | 7.0103 | -7.0103 | -4.737e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 2.3339e-12 | -180 | 180 | 2.3452e-12 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.4221e-10 | 6.7019e-10 | 3.8778e-28 | -2.4221e-10 | -6.7018e-10 | 9.4739e-15 | -1.5722e-09 | 8.3093e-10 | -9.4739e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 2.3281e-12 | -161.1438 | 151.2099 | 2.3452e-12 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -7.6975e-15 | 13.7181 | 1.6719 | 7.1054e-15 | -12.0096 | 0.036546 | -2.3685e-15 | 1.7406 | 10.8539 | 2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 7.2569e-13 | -135.6599 | 118.3519 | 7.3138e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 2.9606e-15 | -10.3011 | 1.745 | -4.1448e-15 | 12.0096 | -0.036546 | 3.7516e-29 | 0.27863 | -8.8347 | -4.737e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 7.2605e-13 | -144.4405 | 138.2821 | 7.3138e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | 4.2826e-10 | 8.1277e-10 | -5.9212e-16 | -4.2826e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -4.737e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 7.219e-13 | -139.408 | 127.3216 | 7.3138e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -7.6975e-15 | 13.7181 | 1.6719 | 7.1054e-15 | -12.0096 | 0.036546 | -2.3685e-15 | 1.7406 | 10.8539 | 2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 7.2569e-13 | -135.6599 | 118.3519 | 7.3138e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 2.9606e-15 | -10.3011 | 1.745 | -4.1448e-15 | 12.0096 | -0.036546 | 3.7516e-29 | 0.27863 | -8.8347 | -4.737e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 7.2605e-13 | -144.4405 | 138.2821 | 7.3138e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | 4.2826e-10 | 8.1277e-10 | -5.9212e-16 | -4.2826e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -4.737e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 7.219e-13 | -139.408 | 127.3216 | 7.3138e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.033011 | 0.016506 | 0.016506 | 0.038515 | 0.011002 | 0.011002 | 0.38118 | 0.19059 | 0.19059 | 0.44473 | 0.12704 | 0.12704 | 0.0031479 | 0.18197 | -0.18115 | -0.0026195 | -0.12123 | 0.12081 | 0.0020855 | -0.3162 | -0.31859 | -0.001528 | 0.21088 | 0.21238 | 89.6226 | -90.3774 | -90.3774 | -90.3839 | 89.6453 | 89.6453 | 0.0099062 | 1.9142 | 1.9229 | 0.006819 | 1.9147 | 1.9233 | 123.1474 | -150.4578 | 150.0005 | 119.8716 | -150.4616 | 150.0113
Line_1 | 0.049517 | 0 | 0 | 0.044018 | 0.0054984 | 0.0054984 | 0.57177 | 0 | 0 | 0.50828 | 0.06349 | 0.06349 | 6.0064e-14 | -6.7889e-09 | -6.8239e-09 | 0.0029937 | 0.060459 | -0.060505 | 6.9336e-14 | -3.9044e-09 | 3.8843e-09 | 0.0017466 | -0.10546 | -0.10607 | -90.3774 | 0 | 0 | 89.6112 | -90.2865 | -90.2865 | 0 | 1.9157 | 1.9207 | 0.006819 | 1.9147 | 1.9233 | 0 | -150.3533 | 150.0929 | 119.8716 | -150.4616 | 150.0113
Line_2 | 0 | 0 | 0 | 0.0055036 | 0.0055036 | 0.0055036 | 0 | 0 | 0 | 0.06355 | 0.06355 | 0.06355 | -1.5304e-11 | -6.7857e-09 | -6.8526e-09 | -0.00037417 | 0.060767 | -0.060309 | 2.7412e-11 | -3.9179e-09 | 3.8794e-09 | -0.0002186 | -0.10542 | -0.10631 | 0 | 0 | 0 | -90.4228 | -90.4228 | -90.4228 | 0.0077574 | 1.9145 | 1.924 | 0.006819 | 1.9147 | 1.9233 | 118.822 | -150.4897 | 149.9937 | 119.8716 | -150.4616 | 150.0113

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.033011 | 0.016506 | 0.016506 | 0.038515 | 0.011002 | 0.011002 | 0.38118 | 0.19059 | 0.19059 | 0.44473 | 0.12704 | 0.12704 | 0.0031479 | 0.18197 | -0.18115 | -0.0026195 | -0.12123 | 0.12081 | 0.0020855 | -0.3162 | -0.31859 | -0.001528 | 0.21088 | 0.21238 | 89.6226 | -90.3774 | -90.3774 | -90.3839 | 89.6453 | 89.6453 | 0.0099062 | 1.9142 | 1.9229 | 0.006819 | 1.9147 | 1.9233 | 123.1474 | -150.4578 | 150.0005 | 119.8716 | -150.4616 | 150.0113
Line_1 | 0.049517 | 0 | 0 | 0.044018 | 0.0054984 | 0.0054984 | 0.57177 | 0 | 0 | 0.50828 | 0.06349 | 0.06349 | 6.0064e-14 | -6.7889e-09 | -6.8239e-09 | 0.0029937 | 0.060459 | -0.060505 | 6.9336e-14 | -3.9044e-09 | 3.8843e-09 | 0.0017466 | -0.10546 | -0.10607 | -90.3774 | 0 | 0 | 89.6112 | -90.2865 | -90.2865 | 0 | 1.9157 | 1.9207 | 0.006819 | 1.9147 | 1.9233 | 0 | -150.3533 | 150.0929 | 119.8716 | -150.4616 | 150.0113
Line_2 | 0 | 0 | 0 | 0.0055036 | 0.0055036 | 0.0055036 | 0 | 0 | 0 | 0.06355 | 0.06355 | 0.06355 | -1.5304e-11 | -6.7857e-09 | -6.8526e-09 | -0.00037417 | 0.060767 | -0.060309 | 2.7412e-11 | -3.9179e-09 | 3.8794e-09 | -0.0002186 | -0.10542 | -0.10631 | 0 | 0 | 0 | -90.4228 | -90.4228 | -90.4228 | 0.0077574 | 1.9145 | 1.924 | 0.006819 | 1.9147 | 1.9233 | 118.822 | -150.4897 | 149.9937 | 119.8716 | -150.4616 | 150.0113

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.033656 | 0.016828 | 0.016828 | 0.039268 | 0.011217 | 0.011217 | 0.38863 | 0.19432 | 0.19432 | 0.45342 | 0.12952 | 0.12952 | 0.011768 | 0.18759 | -0.1825 | -0.012634 | -0.12498 | 0.12171 | 0.010663 | -0.32288 | -0.33272 | -0.011501 | 0.21533 | 0.2218 | 88.4764 | -91.5236 | -91.5236 | -91.5301 | 88.4991 | 88.4991 | 0.040863 | 1.9217 | 1.9529 | 0.03768 | 1.9222 | 1.9533 | 130.6579 | -151.3667 | 149.732 | 130.7837 | -151.3707 | 149.7427
Line_1 | 0.050485 | 0 | 0 | 0.044879 | 0.0056059 | 0.0056059 | 0.58295 | 0 | 0 | 0.51821 | 0.064731 | 0.064731 | -0.012743 | -6.9323e-09 | -7.1269e-09 | 0.014438 | 0.06233 | -0.06096 | -0.012743 | -4.0255e-09 | 3.9132e-09 | 0.013146 | -0.10769 | -0.11077 | -91.5236 | 0 | 0 | 88.465 | -91.4327 | -91.4327 | 0.030915 | 1.9233 | 1.9507 | 0.03768 | 1.9222 | 1.9533 | 133.4764 | -151.2607 | 149.8258 | 130.7837 | -151.3707 | 149.7427
Line_2 | 0 | 0 | 0 | 0.0056112 | 0.0056112 | 0.0056112 | 0 | 0 | 0 | 0.064792 | 0.064792 | 0.064792 | -1.0607e-10 | -6.929e-09 | -7.1561e-09 | -0.0018042 | 0.062645 | -0.060754 | 1.1873e-10 | -4.0389e-09 | 3.9078e-09 | -0.0016447 | -0.10764 | -0.11102 | 0 | 0 | 0 | -91.569 | -91.569 | -91.569 | 0.038586 | 1.9221 | 1.954 | 0.03768 | 1.9222 | 1.9533 | 130.2769 | -151.3991 | 149.7246 | 130.7837 | -151.3707 | 149.7427

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.033656 | 0.016828 | 0.016828 | 0.039268 | 0.011217 | 0.011217 | 0.38863 | 0.19432 | 0.19432 | 0.45342 | 0.12952 | 0.12952 | 0.011768 | 0.18759 | -0.1825 | -0.012634 | -0.12498 | 0.12171 | 0.010663 | -0.32288 | -0.33272 | -0.011501 | 0.21533 | 0.2218 | 88.4764 | -91.5236 | -91.5236 | -91.5301 | 88.4991 | 88.4991 | 0.040863 | 1.9217 | 1.9529 | 0.03768 | 1.9222 | 1.9533 | 130.6579 | -151.3667 | 149.732 | 130.7837 | -151.3707 | 149.7427
Line_1 | 0.050485 | 0 | 0 | 0.044879 | 0.0056059 | 0.0056059 | 0.58295 | 0 | 0 | 0.51821 | 0.064731 | 0.064731 | -0.012743 | -6.9323e-09 | -7.1269e-09 | 0.014438 | 0.06233 | -0.06096 | -0.012743 | -4.0255e-09 | 3.9132e-09 | 0.013146 | -0.10769 | -0.11077 | -91.5236 | 0 | 0 | 88.465 | -91.4327 | -91.4327 | 0.030915 | 1.9233 | 1.9507 | 0.03768 | 1.9222 | 1.9533 | 133.4764 | -151.2607 | 149.8258 | 130.7837 | -151.3707 | 149.7427
Line_2 | 0 | 0 | 0 | 0.0056112 | 0.0056112 | 0.0056112 | 0 | 0 | 0 | 0.064792 | 0.064792 | 0.064792 | -1.0607e-10 | -6.929e-09 | -7.1561e-09 | -0.0018042 | 0.062645 | -0.060754 | 1.1873e-10 | -4.0389e-09 | 3.9078e-09 | -0.0016447 | -0.10764 | -0.11102 | 0 | 0 | 0 | -91.569 | -91.569 | -91.569 | 0.038586 | 1.9221 | 1.954 | 0.03768 | 1.9222 | 1.9533 | 130.2769 | -151.3991 | 149.7246 | 130.7837 | -151.3707 | 149.7427

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.030017 | 0.015008 | 0.015008 | 0.035021 | 0.010004 | 0.010004 | 0.3466 | 0.1733 | 0.1733 | 0.40439 | 0.11552 | 0.11552 | 0.0049972 | 0.15072 | -0.14942 | -0.0041584 | -0.10036 | 0.099706 | 0.0017208 | -0.26056 | -0.26429 | -0.0012609 | 0.17381 | 0.17614 | 89.2889 | -90.7111 | -90.7111 | -90.7236 | 89.3325 | 89.3325 | 0.015248 | 1.7369 | 1.7519 | 0.010746 | 1.7375 | 1.7522 | 108.2899 | -150.664 | 149.8061 | 106.1448 | -150.6646 | 149.8202
Line_1 | 0.045025 | 0 | 0 | 0.040026 | 0.0049997 | 0.0049997 | 0.51991 | 0 | 0 | 0.46217 | 0.057731 | 0.057731 | -8.0105e-14 | -5.6019e-09 | -5.6553e-09 | 0.0047524 | 0.049959 | -0.050031 | -1.5766e-13 | -3.2351e-09 | 3.2042e-09 | 0.0014419 | -0.086979 | -0.087916 | -90.7111 | 0 | 0 | 89.2671 | -90.5366 | -90.5366 | 0 | 1.74 | 1.7483 | 0.010746 | 1.7375 | 1.7522 | 0 | -150.469 | 149.9894 | 106.1448 | -150.6646 | 149.8202
Line_2 | 0 | 0 | 0 | 0.0050044 | 0.0050044 | 0.0050044 | 0 | 0 | 0 | 0.057785 | 0.057785 | 0.057785 | -1.2597e-11 | -5.5869e-09 | -5.6908e-09 | -0.00059399 | 0.050402 | -0.049675 | 4.3501e-11 | -3.2529e-09 | 3.1929e-09 | -0.00018095 | -0.086831 | -0.088226 | 0 | 0 | 0 | -90.7982 | -90.7982 | -90.7982 | 0.01231 | 1.737 | 1.7532 | 0.010746 | 1.7375 | 1.7522 | 105.4722 | -150.7137 | 149.7815 | 106.1448 | -150.6646 | 149.8202

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.030017 | 0.015008 | 0.015008 | 0.035021 | 0.010004 | 0.010004 | 0.3466 | 0.1733 | 0.1733 | 0.40439 | 0.11552 | 0.11552 | 0.0049972 | 0.15072 | -0.14942 | -0.0041584 | -0.10036 | 0.099706 | 0.0017208 | -0.26056 | -0.26429 | -0.0012609 | 0.17381 | 0.17614 | 89.2889 | -90.7111 | -90.7111 | -90.7236 | 89.3325 | 89.3325 | 0.015248 | 1.7369 | 1.7519 | 0.010746 | 1.7375 | 1.7522 | 108.2899 | -150.664 | 149.8061 | 106.1448 | -150.6646 | 149.8202
Line_1 | 0.045025 | 0 | 0 | 0.040026 | 0.0049997 | 0.0049997 | 0.51991 | 0 | 0 | 0.46217 | 0.057731 | 0.057731 | -8.0105e-14 | -5.6019e-09 | -5.6553e-09 | 0.0047524 | 0.049959 | -0.050031 | -1.5766e-13 | -3.2351e-09 | 3.2042e-09 | 0.0014419 | -0.086979 | -0.087916 | -90.7111 | 0 | 0 | 89.2671 | -90.5366 | -90.5366 | 0 | 1.74 | 1.7483 | 0.010746 | 1.7375 | 1.7522 | 0 | -150.469 | 149.9894 | 106.1448 | -150.6646 | 149.8202
Line_2 | 0 | 0 | 0 | 0.0050044 | 0.0050044 | 0.0050044 | 0 | 0 | 0 | 0.057785 | 0.057785 | 0.057785 | -1.2597e-11 | -5.5869e-09 | -5.6908e-09 | -0.00059399 | 0.050402 | -0.049675 | 4.3501e-11 | -3.2529e-09 | 3.1929e-09 | -0.00018095 | -0.086831 | -0.088226 | 0 | 0 | 0 | -90.7982 | -90.7982 | -90.7982 | 0.01231 | 1.737 | 1.7532 | 0.010746 | 1.7375 | 1.7522 | 105.4722 | -150.7137 | 149.7815 | 106.1448 | -150.6646 | 149.8202

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0306 | 0.0153 | 0.0153 | 0.035701 | 0.010198 | 0.010198 | 0.35334 | 0.17667 | 0.17667 | 0.41224 | 0.11776 | 0.11776 | 0.012216 | 0.15535 | -0.15049 | -0.012513 | -0.10344 | 0.10042 | 0.0088109 | -0.26599 | -0.27594 | -0.0095056 | 0.17743 | 0.18391 | 88.136 | -91.864 | -91.864 | -91.8765 | 88.1796 | 88.1796 | 0.042627 | 1.7436 | 1.7791 | 0.038119 | 1.7441 | 1.7794 | 123.9377 | -151.5771 | 149.5297 | 125.3455 | -151.5778 | 149.5437
Line_1 | 0.0459 | 0 | 0 | 0.040803 | 0.0050968 | 0.0050968 | 0.53001 | 0 | 0 | 0.47115 | 0.058853 | 0.058853 | -0.010534 | -5.7186e-09 | -5.9051e-09 | 0.0143 | 0.051495 | -0.050397 | -0.010534 | -3.3348e-09 | 3.2271e-09 | 0.010866 | -0.088792 | -0.091797 | -91.864 | 0 | 0 | 88.1142 | -91.6895 | -91.6895 | 0.028108 | 1.7467 | 1.7755 | 0.038119 | 1.7441 | 1.7794 | 133.136 | -151.3795 | 149.7155 | 125.3455 | -151.5778 | 149.5437
Line_2 | 0 | 0 | 0 | 0.0051016 | 0.0051016 | 0.0051016 | 0 | 0 | 0 | 0.058908 | 0.058908 | 0.058908 | -8.7587e-11 | -5.7032e-09 | -5.9413e-09 | -0.0017863 | 0.051949 | -0.050024 | 1.1979e-10 | -3.3524e-09 | 3.215e-09 | -0.0013606 | -0.088639 | -0.092113 | 0 | 0 | 0 | -91.9511 | -91.9511 | -91.9511 | 0.039568 | 1.7436 | 1.7804 | 0.038119 | 1.7441 | 1.7794 | 124.3427 | -151.6276 | 149.5044 | 125.3455 | -151.5778 | 149.5437

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0306 | 0.0153 | 0.0153 | 0.035701 | 0.010198 | 0.010198 | 0.35334 | 0.17667 | 0.17667 | 0.41224 | 0.11776 | 0.11776 | 0.012216 | 0.15535 | -0.15049 | -0.012513 | -0.10344 | 0.10042 | 0.0088109 | -0.26599 | -0.27594 | -0.0095056 | 0.17743 | 0.18391 | 88.136 | -91.864 | -91.864 | -91.8765 | 88.1796 | 88.1796 | 0.042627 | 1.7436 | 1.7791 | 0.038119 | 1.7441 | 1.7794 | 123.9377 | -151.5771 | 149.5297 | 125.3455 | -151.5778 | 149.5437
Line_1 | 0.0459 | 0 | 0 | 0.040803 | 0.0050968 | 0.0050968 | 0.53001 | 0 | 0 | 0.47115 | 0.058853 | 0.058853 | -0.010534 | -5.7186e-09 | -5.9051e-09 | 0.0143 | 0.051495 | -0.050397 | -0.010534 | -3.3348e-09 | 3.2271e-09 | 0.010866 | -0.088792 | -0.091797 | -91.864 | 0 | 0 | 88.1142 | -91.6895 | -91.6895 | 0.028108 | 1.7467 | 1.7755 | 0.038119 | 1.7441 | 1.7794 | 133.136 | -151.3795 | 149.7155 | 125.3455 | -151.5778 | 149.5437
Line_2 | 0 | 0 | 0 | 0.0051016 | 0.0051016 | 0.0051016 | 0 | 0 | 0 | 0.058908 | 0.058908 | 0.058908 | -8.7587e-11 | -5.7032e-09 | -5.9413e-09 | -0.0017863 | 0.051949 | -0.050024 | 1.1979e-10 | -3.3524e-09 | 3.215e-09 | -0.0013606 | -0.088639 | -0.092113 | 0 | 0 | 0 | -91.9511 | -91.9511 | -91.9511 | 0.039568 | 1.7436 | 1.7804 | 0.038119 | 1.7441 | 1.7794 | 124.3427 | -151.6276 | 149.5044 | 125.3455 | -151.5778 | 149.5437

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081972 | 2.9966 | 2.994 | 0.0054639 | 2.9975 | 2.9932 | 0.094653 | 34.602 | 34.572 | 0.063092 | 34.6121 | 34.5621 | 0.00038042 | 9.3336 | 9.3283 | -0.00021654 | -4.671 | -4.6602 | -0.15655 | 10.6937 | 10.4803 | 0.10436 | -5.3769 | -5.2102 | 89.7525 | -161.7139 | 18.1373 | -90.2248 | 18.3356 | -161.9123 | 1.6539 | 0.41021 | 0.40583 | 1.6542 | 0.20578 | 0.20225 | -0.10828 | -112.829 | 66.4656 | -0.10593 | -112.6461 | 66.2772
Line_1 | 0 | 2.9992 | 2.9914 | 0.0027307 | 2.9984 | 2.9923 | 0 | 34.6322 | 34.5423 | 0.031531 | 34.6221 | 34.5521 | -3.3574e-09 | 5.4199e-11 | 6.2408e-11 | 4.6167e-05 | 4.677 | 4.6543 | -4.9594e-12 | -3.7719e-11 | 2.969e-11 | -0.052157 | 5.3744 | 5.2127 | 0 | 18.4345 | -162.0117 | 89.8434 | -161.6149 | 18.038 | 1.6537 | 0 | 0 | 1.6542 | 0.20578 | 0.20225 | -0.042899 | 0 | 0 | -0.10593 | -112.6461 | 66.2772
Line_2 | 0 | 0 | 0 | 0.0027333 | 0.0027333 | 0.0027333 | 0 | 0 | 0 | 0.031561 | 0.031561 | 0.031561 | -3.3625e-09 | 6.6856e-10 | 3.3129e-10 | 0.00017037 | -0.0060066 | 0.0058569 | -1.4083e-11 | 1.0772e-10 | -6.5733e-10 | -0.052206 | 0.00247 | -0.0025381 | 0 | 0 | 0 | 89.7071 | 89.7071 | 89.7071 | 1.6543 | 0.20612 | 0.20192 | 1.6542 | 0.20578 | 0.20225 | -0.1211 | -112.5552 | 66.1826 | -0.10593 | -112.6461 | 66.2772

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081972 | 2.9966 | 2.994 | 0.0054639 | 2.9975 | 2.9932 | 0.094653 | 34.602 | 34.572 | 0.063092 | 34.6121 | 34.5621 | 0.00038042 | 9.3336 | 9.3283 | -0.00021654 | -4.671 | -4.6602 | -0.15655 | 10.6937 | 10.4803 | 0.10436 | -5.3769 | -5.2102 | 89.7525 | -161.7139 | 18.1373 | -90.2248 | 18.3356 | -161.9123 | 1.6539 | 0.41021 | 0.40583 | 1.6542 | 0.20578 | 0.20225 | -0.10828 | -112.829 | 66.4656 | -0.10593 | -112.6461 | 66.2772
Line_1 | 0 | 2.9992 | 2.9914 | 0.0027307 | 2.9984 | 2.9923 | 0 | 34.6322 | 34.5423 | 0.031531 | 34.6221 | 34.5521 | -3.3574e-09 | 5.4199e-11 | 6.2408e-11 | 4.6167e-05 | 4.677 | 4.6543 | -4.9594e-12 | -3.7719e-11 | 2.969e-11 | -0.052157 | 5.3744 | 5.2127 | 0 | 18.4345 | -162.0117 | 89.8434 | -161.6149 | 18.038 | 1.6537 | 0 | 0 | 1.6542 | 0.20578 | 0.20225 | -0.042899 | 0 | 0 | -0.10593 | -112.6461 | 66.2772
Line_2 | 0 | 0 | 0 | 0.0027333 | 0.0027333 | 0.0027333 | 0 | 0 | 0 | 0.031561 | 0.031561 | 0.031561 | -3.3625e-09 | 6.6856e-10 | 3.3129e-10 | 0.00017037 | -0.0060066 | 0.0058569 | -1.4083e-11 | 1.0772e-10 | -6.5733e-10 | -0.052206 | 0.00247 | -0.0025381 | 0 | 0 | 0 | 89.7071 | 89.7071 | 89.7071 | 1.6543 | 0.20612 | 0.20192 | 1.6542 | 0.20578 | 0.20225 | -0.1211 | -112.5552 | 66.1826 | -0.10593 | -112.6461 | 66.2772

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082766 | 1.052 | 1.0471 | 0.0055168 | 1.0537 | 1.0454 | 0.095569 | 12.1476 | 12.0905 | 0.063703 | 12.1668 | 12.0715 | 0.0014153 | 6.6851 | 6.6221 | -0.00090593 | -6.1309 | -6.0312 | -0.15857 | 6.934 | 6.6815 | 0.10571 | -6.2725 | -6.0435 | 89.1901 | -143.9055 | 35.7323 | -90.7872 | 36.2144 | -144.3891 | 1.6592 | 0.79289 | 0.77806 | 1.6595 | 0.7209 | 0.70729 | -0.29854 | -97.8586 | 80.9882 | -0.29624 | -98.1313 | 80.6695
Line_1 | 0 | 1.057 | 1.0422 | 0.0027571 | 1.0553 | 1.0438 | 0 | 12.2052 | 12.0338 | 0.031836 | 12.186 | 12.0526 | -3.4008e-09 | -5.5863 | -5.4305 | 0.0003899 | 6.1537 | 6.0089 | -2.718e-11 | -5.5863 | -5.4305 | -0.052831 | 6.2696 | 6.0468 | 0 | 36.4532 | -144.6332 | 89.2809 | -143.666 | 35.4891 | 1.659 | 0.64728 | 0.63819 | 1.6595 | 0.7209 | 0.70729 | -0.2327 | -98.5468 | 80.3668 | -0.29624 | -98.1313 | 80.6695
Line_2 | 0 | 0 | 0 | 0.0027597 | 0.0027597 | 0.0027597 | 0 | 0 | 0 | 0.031867 | 0.031867 | 0.031867 | -3.4058e-09 | 7.9185e-10 | 3.7254e-10 | 0.00051602 | -0.022788 | 0.022293 | -3.6388e-11 | 1.0845e-09 | -1.8077e-09 | -0.052879 | 0.0029094 | -0.0033218 | 0 | 0 | 0 | 89.1447 | 89.1447 | 89.1447 | 1.6597 | 0.72132 | 0.70688 | 1.6595 | 0.7209 | 0.70729 | -0.31154 | -98.113 | 80.6502 | -0.29624 | -98.1313 | 80.6695

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082766 | 1.052 | 1.0471 | 0.0055168 | 1.0537 | 1.0454 | 0.095569 | 12.1476 | 12.0905 | 0.063703 | 12.1668 | 12.0715 | 0.0014153 | 6.6851 | 6.6221 | -0.00090593 | -6.1309 | -6.0312 | -0.15857 | 6.934 | 6.6815 | 0.10571 | -6.2725 | -6.0435 | 89.1901 | -143.9055 | 35.7323 | -90.7872 | 36.2144 | -144.3891 | 1.6592 | 0.79289 | 0.77806 | 1.6595 | 0.7209 | 0.70729 | -0.29854 | -97.8586 | 80.9882 | -0.29624 | -98.1313 | 80.6695
Line_1 | 0 | 1.057 | 1.0422 | 0.0027571 | 1.0553 | 1.0438 | 0 | 12.2052 | 12.0338 | 0.031836 | 12.186 | 12.0526 | -3.4008e-09 | -5.5863 | -5.4305 | 0.0003899 | 6.1537 | 6.0089 | -2.718e-11 | -5.5863 | -5.4305 | -0.052831 | 6.2696 | 6.0468 | 0 | 36.4532 | -144.6332 | 89.2809 | -143.666 | 35.4891 | 1.659 | 0.64728 | 0.63819 | 1.6595 | 0.7209 | 0.70729 | -0.2327 | -98.5468 | 80.3668 | -0.29624 | -98.1313 | 80.6695
Line_2 | 0 | 0 | 0 | 0.0027597 | 0.0027597 | 0.0027597 | 0 | 0 | 0 | 0.031867 | 0.031867 | 0.031867 | -3.4058e-09 | 7.9185e-10 | 3.7254e-10 | 0.00051602 | -0.022788 | 0.022293 | -3.6388e-11 | 1.0845e-09 | -1.8077e-09 | -0.052879 | 0.0029094 | -0.0033218 | 0 | 0 | 0 | 89.1447 | 89.1447 | 89.1447 | 1.6597 | 0.72132 | 0.70688 | 1.6595 | 0.7209 | 0.70729 | -0.31154 | -98.113 | 80.6502 | -0.29624 | -98.1313 | 80.6695

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074523 | 2.3996 | 2.3957 | 0.0049674 | 2.4008 | 2.3945 | 0.086051 | 27.7077 | 27.6635 | 0.057359 | 27.7225 | 27.6488 | 0.00060368 | 11.5403 | 11.4181 | -0.00034361 | -5.7906 | -5.6889 | -0.12939 | 6.9166 | 6.6505 | 0.086258 | -3.4958 | -3.2878 | 89.5282 | -149.4981 | 30.3491 | -90.4283 | 30.5527 | -149.7019 | 1.5036 | 0.48558 | 0.47766 | 1.5039 | 0.24399 | 0.23765 | -0.20453 | -118.5621 | 60.5676 | -0.20002 | -118.3281 | 60.323
Line_1 | 0 | 2.4034 | 2.3919 | 0.0024825 | 2.4021 | 2.3932 | 0 | 27.7521 | 27.6195 | 0.028666 | 27.7374 | 27.6341 | -2.7755e-09 | -1.3258e-10 | 9.5642e-12 | 7.326e-05 | 5.7968 | 5.683 | -7.6174e-12 | -9.6643e-11 | -1.5519e-10 | -0.043109 | 3.4925 | 3.2911 | 0 | 30.6542 | -149.8042 | 89.7026 | -149.3965 | 30.247 | 1.5035 | 0 | 0 | 1.5039 | 0.24399 | 0.23765 | -0.079013 | 0 | 0 | -0.20002 | -118.3281 | 60.323
Line_2 | 0 | 0 | 0 | 0.0024849 | 0.0024849 | 0.0024849 | 0 | 0 | 0 | 0.028693 | 0.028693 | 0.028693 | -2.7794e-09 | 6.7704e-10 | 2.3118e-10 | 0.00027035 | -0.0061945 | 0.005957 | -2.2056e-11 | 2.7985e-11 | -7.5124e-10 | -0.043149 | 0.0032617 | -0.0033181 | 0 | 0 | 0 | 89.441 | 89.441 | 89.441 | 1.504 | 0.24459 | 0.23706 | 1.5039 | 0.24399 | 0.23765 | -0.22914 | -118.2121 | 60.1999 | -0.20002 | -118.3281 | 60.323

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074523 | 2.3996 | 2.3957 | 0.0049674 | 2.4008 | 2.3945 | 0.086051 | 27.7077 | 27.6635 | 0.057359 | 27.7225 | 27.6488 | 0.00060368 | 11.5403 | 11.4181 | -0.00034361 | -5.7906 | -5.6889 | -0.12939 | 6.9166 | 6.6505 | 0.086258 | -3.4958 | -3.2878 | 89.5282 | -149.4981 | 30.3491 | -90.4283 | 30.5527 | -149.7019 | 1.5036 | 0.48558 | 0.47766 | 1.5039 | 0.24399 | 0.23765 | -0.20453 | -118.5621 | 60.5676 | -0.20002 | -118.3281 | 60.323
Line_1 | 0 | 2.4034 | 2.3919 | 0.0024825 | 2.4021 | 2.3932 | 0 | 27.7521 | 27.6195 | 0.028666 | 27.7374 | 27.6341 | -2.7755e-09 | -1.3258e-10 | 9.5642e-12 | 7.326e-05 | 5.7968 | 5.683 | -7.6174e-12 | -9.6643e-11 | -1.5519e-10 | -0.043109 | 3.4925 | 3.2911 | 0 | 30.6542 | -149.8042 | 89.7026 | -149.3965 | 30.247 | 1.5035 | 0 | 0 | 1.5039 | 0.24399 | 0.23765 | -0.079013 | 0 | 0 | -0.20002 | -118.3281 | 60.323
Line_2 | 0 | 0 | 0 | 0.0024849 | 0.0024849 | 0.0024849 | 0 | 0 | 0 | 0.028693 | 0.028693 | 0.028693 | -2.7794e-09 | 6.7704e-10 | 2.3118e-10 | 0.00027035 | -0.0061945 | 0.005957 | -2.2056e-11 | 2.7985e-11 | -7.5124e-10 | -0.043149 | 0.0032617 | -0.0033181 | 0 | 0 | 0 | 89.441 | 89.441 | 89.441 | 1.504 | 0.24459 | 0.23706 | 1.5039 | 0.24399 | 0.23765 | -0.22914 | -118.2121 | 60.1999 | -0.20002 | -118.3281 | 60.323

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0075241 | 0.89875 | 0.89385 | 0.0050153 | 0.90039 | 0.89222 | 0.086881 | 10.3778 | 10.3212 | 0.057912 | 10.3968 | 10.3024 | 0.0014646 | 5.672 | 5.5704 | -0.00091674 | -4.8802 | -4.7586 | -0.13105 | 5.0823 | 4.8475 | 0.087364 | -4.5968 | -4.3854 | 88.9635 | -140.2157 | 39.4194 | -90.9929 | 39.905 | -140.7031 | 1.5084 | 0.73386 | 0.71544 | 1.5087 | 0.64483 | 0.62812 | -0.39616 | -98.3544 | 80.4497 | -0.39168 | -96.808 | 81.9597
Line_1 | 0 | 0.90368 | 0.88898 | 0.0025065 | 0.90204 | 0.89059 | 0 | 10.4348 | 10.2651 | 0.028942 | 10.4159 | 10.2837 | -2.8111e-09 | -4.0832 | -3.9514 | 0.00035843 | 4.8988 | 4.7405 | -2.6045e-11 | -4.0832 | -3.9514 | -0.043663 | 4.5949 | 4.3876 | 0 | 40.1454 | -140.9496 | 89.138 | -139.9748 | 39.174 | 1.5083 | 0.55339 | 0.54439 | 1.5087 | 0.64483 | 0.62812 | -0.2698 | -94.8546 | 84.0504 | -0.39168 | -96.808 | 81.9597
Line_2 | 0 | 0 | 0 | 0.0025088 | 0.0025088 | 0.0025088 | 0 | 0 | 0 | 0.02897 | 0.02897 | 0.02897 | -2.815e-09 | 6.4732e-10 | 3.6796e-10 | 0.00055831 | -0.018589 | 0.018064 | -4.0653e-11 | 9.33e-10 | -1.4182e-09 | -0.043702 | 0.0018503 | -0.0021913 | 0 | 0 | 0 | 88.8764 | 88.8764 | 88.8764 | 1.5088 | 0.64559 | 0.62737 | 1.5087 | 0.64483 | 0.62812 | -0.42103 | -96.7871 | 81.9368 | -0.39168 | -96.808 | 81.9597

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0075241 | 0.89875 | 0.89385 | 0.0050153 | 0.90039 | 0.89222 | 0.086881 | 10.3778 | 10.3212 | 0.057912 | 10.3968 | 10.3024 | 0.0014646 | 5.672 | 5.5704 | -0.00091674 | -4.8802 | -4.7586 | -0.13105 | 5.0823 | 4.8475 | 0.087364 | -4.5968 | -4.3854 | 88.9635 | -140.2157 | 39.4194 | -90.9929 | 39.905 | -140.7031 | 1.5084 | 0.73386 | 0.71544 | 1.5087 | 0.64483 | 0.62812 | -0.39616 | -98.3544 | 80.4497 | -0.39168 | -96.808 | 81.9597
Line_1 | 0 | 0.90368 | 0.88898 | 0.0025065 | 0.90204 | 0.89059 | 0 | 10.4348 | 10.2651 | 0.028942 | 10.4159 | 10.2837 | -2.8111e-09 | -4.0832 | -3.9514 | 0.00035843 | 4.8988 | 4.7405 | -2.6045e-11 | -4.0832 | -3.9514 | -0.043663 | 4.5949 | 4.3876 | 0 | 40.1454 | -140.9496 | 89.138 | -139.9748 | 39.174 | 1.5083 | 0.55339 | 0.54439 | 1.5087 | 0.64483 | 0.62812 | -0.2698 | -94.8546 | 84.0504 | -0.39168 | -96.808 | 81.9597
Line_2 | 0 | 0 | 0 | 0.0025088 | 0.0025088 | 0.0025088 | 0 | 0 | 0 | 0.02897 | 0.02897 | 0.02897 | -2.815e-09 | 6.4732e-10 | 3.6796e-10 | 0.00055831 | -0.018589 | 0.018064 | -4.0653e-11 | 9.33e-10 | -1.4182e-09 | -0.043702 | 0.0018503 | -0.0021913 | 0 | 0 | 0 | 88.8764 | 88.8764 | 88.8764 | 1.5088 | 0.64559 | 0.62737 | 1.5087 | 0.64483 | 0.62812 | -0.42103 | -96.7871 | 81.9368 | -0.39168 | -96.808 | 81.9597