## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -2.6053e-14 | 27.4008 | -8.7391 | 1.0421e-14 | -22.7354 | 13.4045 | -1.5632e-14 | 4.6417 | 16.5321 | 2.0843e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 3.8298e-13 | -152.1736 | 136.0734 | 3.6928e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.2106e-15 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | -1.0421e-14 | 5.9452 | -5.9452 | 1.0421e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 3.6534e-13 | 180 | -180 | 3.6928e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.4051e-10 | 6.6441e-10 | -1.0421e-14 | -3.405e-10 | -6.6441e-10 | -1.0421e-14 | -1.8234e-09 | 1.2624e-09 | 5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 3.7102e-13 | -163.4303 | 158.2346 | 3.6928e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -2.6053e-14 | 27.4008 | -8.7391 | 1.0421e-14 | -22.7354 | 13.4045 | -1.5632e-14 | 4.6417 | 16.5321 | 2.0843e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 3.8298e-13 | -152.1736 | 136.0734 | 3.6928e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.2106e-15 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | -1.0421e-14 | 5.9452 | -5.9452 | 1.0421e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 3.6534e-13 | 180 | -180 | 3.6928e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.4051e-10 | 6.6441e-10 | -1.0421e-14 | -3.405e-10 | -6.6441e-10 | -1.0421e-14 | -1.8234e-09 | 1.2624e-09 | 5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 3.7102e-13 | -163.4303 | 158.2346 | 3.6928e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -1.5632e-14 | 17.2205 | 0.20321 | 1.0421e-14 | -15.9408 | 1.0765 | -2.6053e-15 | 3.8735 | 14.2393 | 5.2106e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 1.5669e-13 | -135.9762 | 120.5292 | 1.4584e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 2.6053e-15 | -14.6611 | 2.3562 | -5.2106e-15 | 15.9408 | -1.0765 | 5.2106e-15 | -0.96958 | -11.3353 | -2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 1.4155e-13 | -144.8696 | 133.0893 | 1.4584e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.6818e-10 | 1.0007e-09 | -5.2106e-15 | -4.6818e-10 | -1.0007e-09 | 2.6053e-15 | -1.2288e-09 | 3.0654e-10 | 2.6053e-15 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 1.4708e-13 | -140.0155 | 126.1589 | 1.4584e-13 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -1.5632e-14 | 17.2205 | 0.20321 | 1.0421e-14 | -15.9408 | 1.0765 | -2.6053e-15 | 3.8735 | 14.2393 | 5.2106e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 1.5669e-13 | -135.9762 | 120.5292 | 1.4584e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 2.6053e-15 | -14.6611 | 2.3562 | -5.2106e-15 | 15.9408 | -1.0765 | 5.2106e-15 | -0.96958 | -11.3353 | -2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 1.4155e-13 | -144.8696 | 133.0893 | 1.4584e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.6818e-10 | 1.0007e-09 | -5.2106e-15 | -4.6818e-10 | -1.0007e-09 | 2.6053e-15 | -1.2288e-09 | 3.0654e-10 | 2.6053e-15 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 1.4708e-13 | -140.0155 | 126.1589 | 1.4584e-13 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -8.2897e-15 | 23.4155 | -0.45749 | 1.0658e-14 | -17.676 | 6.197 | -2.3685e-15 | -0.22679 | 13.7937 | 7.8125e-29 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 4.1083e-13 | -150.1294 | 122.3252 | 4.1998e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 3.5527e-15 | -11.9365 | 11.9365 | 1.1842e-15 | 17.676 | -6.197 | 2.6082e-29 | 7.0103 | -7.0103 | -2.3685e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.2063e-13 | -180 | 180 | 4.1998e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 2.4221e-10 | 6.702e-10 | 3.5527e-15 | -2.4221e-10 | -6.7019e-10 | 9.4739e-15 | -1.5722e-09 | 8.3093e-10 | -1.1842e-14 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.0351e-13 | -161.1438 | 151.2099 | 4.1998e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -8.2897e-15 | 23.4155 | -0.45749 | 1.0658e-14 | -17.676 | 6.197 | -2.3685e-15 | -0.22679 | 13.7937 | 7.8125e-29 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 4.1083e-13 | -150.1294 | 122.3252 | 4.1998e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 3.5527e-15 | -11.9365 | 11.9365 | 1.1842e-15 | 17.676 | -6.197 | 2.6082e-29 | 7.0103 | -7.0103 | -2.3685e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.2063e-13 | -180 | 180 | 4.1998e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 2.4221e-10 | 6.702e-10 | 3.5527e-15 | -2.4221e-10 | -6.7019e-10 | 9.4739e-15 | -1.5722e-09 | 8.3093e-10 | -1.1842e-14 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.0351e-13 | -161.1438 | 151.2099 | 4.1998e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -2.3685e-15 | 13.7181 | 1.6719 | 1.7764e-15 | -12.0096 | 0.036546 | -4.737e-15 | 1.7406 | 10.8539 | 4.737e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.0412e-13 | -135.6599 | 118.3519 | 2.0696e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 8.5025e-30 | -10.3011 | 1.745 | 0 | 12.0096 | -0.036546 | -2.3685e-15 | 0.27863 | -8.8347 | 0 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.0568e-13 | -144.4405 | 138.2821 | 2.0696e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.1819e-30 | 4.2826e-10 | 8.1276e-10 | 8.5551e-30 | -4.2826e-10 | -8.1277e-10 | 2.3685e-15 | -9.7051e-10 | 3.0453e-10 | -2.3685e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 1.9793e-13 | -139.408 | 127.3216 | 2.0696e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -2.3685e-15 | 13.7181 | 1.6719 | 1.7764e-15 | -12.0096 | 0.036546 | -4.737e-15 | 1.7406 | 10.8539 | 4.737e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.0412e-13 | -135.6599 | 118.3519 | 2.0696e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 8.5025e-30 | -10.3011 | 1.745 | 0 | 12.0096 | -0.036546 | -2.3685e-15 | 0.27863 | -8.8347 | 0 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.0568e-13 | -144.4405 | 138.2821 | 2.0696e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.1819e-30 | 4.2826e-10 | 8.1276e-10 | 8.5551e-30 | -4.2826e-10 | -8.1277e-10 | 2.3685e-15 | -9.7051e-10 | 3.0453e-10 | -2.3685e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 1.9793e-13 | -139.408 | 127.3216 | 2.0696e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4173 | 0.011492 | 0.011492 | 1.4171 | 0.0080517 | 0.0080517 | 16.366 | 0.1327 | 0.1327 | 16.3629 | 0.092972 | 0.092972 | 6.3405 | 0.12419 | -0.11787 | -3.1638 | -0.087626 | 0.082615 | 3.5364 | -0.11332 | -0.18629 | -1.7793 | 0.092994 | 0.14194 | -23.0944 | -106.7756 | -106.7756 | 157.0444 | 73.9607 | 73.9607 | 0.44361 | 1.2669 | 1.6613 | 0.22183 | 1.3743 | 1.7664 | 6.056 | -149.1538 | 130.9014 | 6.3968 | -152.7415 | 133.759
Line_1 | 1.4161 | 0 | 0 | 1.4167 | 0.0042205 | 0.0042205 | 16.3519 | 0 | 0 | 16.3582 | 0.048734 | 0.048734 | 7.2211e-12 | -3.2386e-09 | -5.6187e-09 | 3.1677 | 0.045324 | -0.044223 | -2.3038e-11 | -3.5005e-09 | 2.1264e-09 | 1.7703 | -0.04931 | -0.073857 | 157.3678 | 0 | 0 | -22.8016 | -105.3297 | -105.3297 | 0 | 1.4872 | 1.8735 | 0.22183 | 1.3743 | 1.7664 | 0 | -155.7032 | 136.3433 | 6.3968 | -152.7415 | 133.759
Line_2 | 0 | 0 | 0 | 0.0038319 | 0.0038319 | 0.0038319 | 0 | 0 | 0 | 0.044246 | 0.044246 | 0.044246 | 7.0847e-10 | -2.2627e-09 | -4.525e-09 | -0.0038695 | 0.042302 | -0.038392 | 1.0235e-10 | -2.9994e-09 | 1.6934e-09 | 0.0090205 | -0.043684 | -0.068079 | 0 | 0 | 0 | -106.821 | -106.821 | -106.821 | 0.22185 | 1.3741 | 1.7669 | 0.22183 | 1.3743 | 1.7664 | 6.5671 | -152.767 | 133.7455 | 6.3968 | -152.7415 | 133.759

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4173 | 0.011492 | 0.011492 | 1.4171 | 0.0080517 | 0.0080517 | 16.366 | 0.1327 | 0.1327 | 16.3629 | 0.092972 | 0.092972 | 6.3405 | 0.12419 | -0.11787 | -3.1638 | -0.087626 | 0.082615 | 3.5364 | -0.11332 | -0.18629 | -1.7793 | 0.092994 | 0.14194 | -23.0944 | -106.7756 | -106.7756 | 157.0444 | 73.9607 | 73.9607 | 0.44361 | 1.2669 | 1.6613 | 0.22183 | 1.3743 | 1.7664 | 6.056 | -149.1538 | 130.9014 | 6.3968 | -152.7415 | 133.759
Line_1 | 1.4161 | 0 | 0 | 1.4167 | 0.0042205 | 0.0042205 | 16.3519 | 0 | 0 | 16.3582 | 0.048734 | 0.048734 | 7.2211e-12 | -3.2386e-09 | -5.6187e-09 | 3.1677 | 0.045324 | -0.044223 | -2.3038e-11 | -3.5005e-09 | 2.1264e-09 | 1.7703 | -0.04931 | -0.073857 | 157.3678 | 0 | 0 | -22.8016 | -105.3297 | -105.3297 | 0 | 1.4872 | 1.8735 | 0.22183 | 1.3743 | 1.7664 | 0 | -155.7032 | 136.3433 | 6.3968 | -152.7415 | 133.759
Line_2 | 0 | 0 | 0 | 0.0038319 | 0.0038319 | 0.0038319 | 0 | 0 | 0 | 0.044246 | 0.044246 | 0.044246 | 7.0847e-10 | -2.2627e-09 | -4.525e-09 | -0.0038695 | 0.042302 | -0.038392 | 1.0235e-10 | -2.9994e-09 | 1.6934e-09 | 0.0090205 | -0.043684 | -0.068079 | 0 | 0 | 0 | -106.821 | -106.821 | -106.821 | 0.22185 | 1.3741 | 1.7669 | 0.22183 | 1.3743 | 1.7664 | 6.5671 | -152.767 | 133.7455 | 6.3968 | -152.7415 | 133.759

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80766 | 0.0065486 | 0.0065486 | 0.8075 | 0.0045882 | 0.0045882 | 9.326 | 0.075617 | 0.075617 | 9.3242 | 0.05298 | 0.05298 | 5.2912 | 0.07722 | -0.051579 | -4.267 | -0.054353 | 0.036461 | 4.4333 | -0.030858 | -0.095409 | -3.8542 | 0.026369 | 0.070433 | -32.9379 | -116.6191 | -116.6191 | 147.2009 | 64.1172 | 64.1172 | 0.74018 | 1.0997 | 1.4343 | 0.61667 | 1.1403 | 1.497 | 7.02 | -138.4016 | 124.9851 | 9.2909 | -141.763 | 126.7477
Line_1 | 0.80696 | 0 | 0 | 0.80727 | 0.002405 | 0.002405 | 9.318 | 0 | 0 | 9.3216 | 0.027771 | 0.027771 | -3.2559 | -8.1342e-10 | -2.6979e-09 | 4.2762 | 0.028317 | -0.019568 | -3.2559 | -2.0077e-09 | 9.1965e-10 | 3.8416 | -0.014174 | -0.036679 | 147.5243 | 0 | 0 | -32.645 | -115.1732 | -115.1732 | 0.49416 | 1.1855 | 1.5599 | 0.61667 | 1.1403 | 1.497 | 12.5243 | -144.8279 | 128.4051 | 9.2909 | -141.763 | 126.7477
Line_2 | 0 | 0 | 0 | 0.0021836 | 0.0021836 | 0.0021836 | 0 | 0 | 0 | 0.025213 | 0.025213 | 0.025213 | 1.06e-09 | -4.9547e-10 | -2.2228e-09 | -0.0091294 | 0.026036 | -0.016893 | 4.0307e-10 | -1.7058e-09 | 7.0857e-10 | 0.012586 | -0.012195 | -0.033753 | 0 | 0 | 0 | -116.6645 | -116.6645 | -116.6645 | 0.61677 | 1.14 | 1.4973 | 0.61667 | 1.1403 | 1.497 | 9.3248 | -141.7767 | 126.7381 | 9.2909 | -141.763 | 126.7477

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80766 | 0.0065486 | 0.0065486 | 0.8075 | 0.0045882 | 0.0045882 | 9.326 | 0.075617 | 0.075617 | 9.3242 | 0.05298 | 0.05298 | 5.2912 | 0.07722 | -0.051579 | -4.267 | -0.054353 | 0.036461 | 4.4333 | -0.030858 | -0.095409 | -3.8542 | 0.026369 | 0.070433 | -32.9379 | -116.6191 | -116.6191 | 147.2009 | 64.1172 | 64.1172 | 0.74018 | 1.0997 | 1.4343 | 0.61667 | 1.1403 | 1.497 | 7.02 | -138.4016 | 124.9851 | 9.2909 | -141.763 | 126.7477
Line_1 | 0.80696 | 0 | 0 | 0.80727 | 0.002405 | 0.002405 | 9.318 | 0 | 0 | 9.3216 | 0.027771 | 0.027771 | -3.2559 | -8.1342e-10 | -2.6979e-09 | 4.2762 | 0.028317 | -0.019568 | -3.2559 | -2.0077e-09 | 9.1965e-10 | 3.8416 | -0.014174 | -0.036679 | 147.5243 | 0 | 0 | -32.645 | -115.1732 | -115.1732 | 0.49416 | 1.1855 | 1.5599 | 0.61667 | 1.1403 | 1.497 | 12.5243 | -144.8279 | 128.4051 | 9.2909 | -141.763 | 126.7477
Line_2 | 0 | 0 | 0 | 0.0021836 | 0.0021836 | 0.0021836 | 0 | 0 | 0 | 0.025213 | 0.025213 | 0.025213 | 1.06e-09 | -4.9547e-10 | -2.2228e-09 | -0.0091294 | 0.026036 | -0.016893 | 4.0307e-10 | -1.7058e-09 | 7.0857e-10 | 0.012586 | -0.012195 | -0.033753 | 0 | 0 | 0 | -116.6645 | -116.6645 | -116.6645 | 0.61677 | 1.14 | 1.4973 | 0.61667 | 1.1403 | 1.497 | 9.3248 | -141.7767 | 126.7381 | 9.2909 | -141.763 | 126.7477

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.98557 | 0.0094261 | 0.0094261 | 0.98538 | 0.0067924 | 0.0067924 | 11.3803 | 0.10884 | 0.10884 | 11.3782 | 0.078432 | 0.078432 | 5.8881 | 0.094191 | -0.089834 | -2.9393 | -0.06777 | 0.065058 | 1.6995 | -0.078415 | -0.11935 | -0.86322 | 0.070816 | 0.099305 | -17.8171 | -102.5407 | -102.5407 | 162.3357 | 77.8945 | 77.8945 | 0.53851 | 1.126 | 1.3724 | 0.26924 | 1.2497 | 1.5136 | -1.7171 | -142.3186 | 130.4907 | -1.2975 | -148.3646 | 134.6642
Line_1 | 0.98474 | 0 | 0 | 0.98511 | 0.0036497 | 0.0036497 | 11.3708 | 0 | 0 | 11.375 | 0.042143 | 0.042143 | -4.1588e-12 | -2.7923e-09 | -4.3127e-09 | 2.9412 | 0.036114 | -0.035374 | 8.7491e-13 | -2.779e-09 | 1.9012e-09 | 0.85364 | -0.038335 | -0.053082 | 162.729 | 0 | 0 | -17.4822 | -101.6556 | -101.6556 | 0 | 1.3866 | 1.6589 | 0.26924 | 1.2497 | 1.5136 | 0 | -153.1334 | 138.2135 | -1.2975 | -148.3646 | 134.6642
Line_2 | 0 | 0 | 0 | 0.003143 | 0.003143 | 0.003143 | 0 | 0 | 0 | 0.036292 | 0.036292 | 0.036292 | 7.2122e-10 | -1.6927e-09 | -3.036e-09 | -0.0019197 | 0.031656 | -0.029684 | -1.8734e-11 | -2.1787e-09 | 1.4032e-09 | 0.0095808 | -0.032481 | -0.046223 | 0 | 0 | 0 | -102.6279 | -102.6279 | -102.6279 | 0.26923 | 1.2492 | 1.5143 | 0.26924 | 1.2497 | 1.5136 | -1.0876 | -148.4027 | 134.6376 | -1.2975 | -148.3646 | 134.6642

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.98557 | 0.0094261 | 0.0094261 | 0.98538 | 0.0067924 | 0.0067924 | 11.3803 | 0.10884 | 0.10884 | 11.3782 | 0.078432 | 0.078432 | 5.8881 | 0.094191 | -0.089834 | -2.9393 | -0.06777 | 0.065058 | 1.6995 | -0.078415 | -0.11935 | -0.86322 | 0.070816 | 0.099305 | -17.8171 | -102.5407 | -102.5407 | 162.3357 | 77.8945 | 77.8945 | 0.53851 | 1.126 | 1.3724 | 0.26924 | 1.2497 | 1.5136 | -1.7171 | -142.3186 | 130.4907 | -1.2975 | -148.3646 | 134.6642
Line_1 | 0.98474 | 0 | 0 | 0.98511 | 0.0036497 | 0.0036497 | 11.3708 | 0 | 0 | 11.375 | 0.042143 | 0.042143 | -4.1588e-12 | -2.7923e-09 | -4.3127e-09 | 2.9412 | 0.036114 | -0.035374 | 8.7491e-13 | -2.779e-09 | 1.9012e-09 | 0.85364 | -0.038335 | -0.053082 | 162.729 | 0 | 0 | -17.4822 | -101.6556 | -101.6556 | 0 | 1.3866 | 1.6589 | 0.26924 | 1.2497 | 1.5136 | 0 | -153.1334 | 138.2135 | -1.2975 | -148.3646 | 134.6642
Line_2 | 0 | 0 | 0 | 0.003143 | 0.003143 | 0.003143 | 0 | 0 | 0 | 0.036292 | 0.036292 | 0.036292 | 7.2122e-10 | -1.6927e-09 | -3.036e-09 | -0.0019197 | 0.031656 | -0.029684 | -1.8734e-11 | -2.1787e-09 | 1.4032e-09 | 0.0095808 | -0.032481 | -0.046223 | 0 | 0 | 0 | -102.6279 | -102.6279 | -102.6279 | 0.26923 | 1.2492 | 1.5143 | 0.26924 | 1.2497 | 1.5136 | -1.0876 | -148.4027 | 134.6376 | -1.2975 | -148.3646 | 134.6642

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63208 | 0.0060454 | 0.0060454 | 0.63196 | 0.0043563 | 0.0043563 | 7.2987 | 0.069806 | 0.069806 | 7.2973 | 0.050302 | 0.050302 | 4.3988 | 0.065307 | -0.046064 | -3.1908 | -0.047043 | 0.033466 | 2.714 | -0.027441 | -0.074503 | -2.3643 | 0.025805 | 0.059108 | -28.184 | -112.9076 | -112.9076 | 151.9688 | 67.5276 | 67.5276 | 0.70816 | 1.0148 | 1.2548 | 0.54422 | 1.0667 | 1.3503 | 3.4899 | -135.6985 | 125.3644 | 8.5062 | -141.2188 | 128.0095
Line_1 | 0.63156 | 0 | 0 | 0.63179 | 0.0023407 | 0.0023407 | 7.2926 | 0 | 0 | 7.2953 | 0.027028 | 0.027028 | -1.9943 | -9.5751e-10 | -2.4568e-09 | 3.1975 | 0.025167 | -0.018231 | -1.9943 | -1.8214e-09 | 9.5577e-10 | 2.3535 | -0.014063 | -0.031617 | 152.3621 | 0 | 0 | -27.8491 | -112.0225 | -112.0225 | 0.38675 | 1.1293 | 1.4468 | 0.54422 | 1.0667 | 1.3503 | 17.3621 | -146.0951 | 130.3795 | 8.5062 | -141.2188 | 128.0095
Line_2 | 0 | 0 | 0 | 0.0020158 | 0.0020158 | 0.0020158 | 0 | 0 | 0 | 0.023276 | 0.023276 | 0.023276 | 8.8714e-10 | -5.2435e-10 | -1.7852e-09 | -0.0066188 | 0.021876 | -0.015236 | 2.9744e-10 | -1.4163e-09 | 6.8837e-10 | 0.0108 | -0.011742 | -0.027491 | 0 | 0 | 0 | -112.9947 | -112.9947 | -112.9947 | 0.54443 | 1.0662 | 1.3507 | 0.54422 | 1.0667 | 1.3503 | 8.5688 | -141.2406 | 127.9892 | 8.5062 | -141.2188 | 128.0095

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63208 | 0.0060454 | 0.0060454 | 0.63196 | 0.0043563 | 0.0043563 | 7.2987 | 0.069806 | 0.069806 | 7.2973 | 0.050302 | 0.050302 | 4.3988 | 0.065307 | -0.046064 | -3.1908 | -0.047043 | 0.033466 | 2.714 | -0.027441 | -0.074503 | -2.3643 | 0.025805 | 0.059108 | -28.184 | -112.9076 | -112.9076 | 151.9688 | 67.5276 | 67.5276 | 0.70816 | 1.0148 | 1.2548 | 0.54422 | 1.0667 | 1.3503 | 3.4899 | -135.6985 | 125.3644 | 8.5062 | -141.2188 | 128.0095
Line_1 | 0.63156 | 0 | 0 | 0.63179 | 0.0023407 | 0.0023407 | 7.2926 | 0 | 0 | 7.2953 | 0.027028 | 0.027028 | -1.9943 | -9.5751e-10 | -2.4568e-09 | 3.1975 | 0.025167 | -0.018231 | -1.9943 | -1.8214e-09 | 9.5577e-10 | 2.3535 | -0.014063 | -0.031617 | 152.3621 | 0 | 0 | -27.8491 | -112.0225 | -112.0225 | 0.38675 | 1.1293 | 1.4468 | 0.54422 | 1.0667 | 1.3503 | 17.3621 | -146.0951 | 130.3795 | 8.5062 | -141.2188 | 128.0095
Line_2 | 0 | 0 | 0 | 0.0020158 | 0.0020158 | 0.0020158 | 0 | 0 | 0 | 0.023276 | 0.023276 | 0.023276 | 8.8714e-10 | -5.2435e-10 | -1.7852e-09 | -0.0066188 | 0.021876 | -0.015236 | 2.9744e-10 | -1.4163e-09 | 6.8837e-10 | 0.0108 | -0.011742 | -0.027491 | 0 | 0 | 0 | -112.9947 | -112.9947 | -112.9947 | 0.54443 | 1.0662 | 1.3507 | 0.54422 | 1.0667 | 1.3503 | 8.5688 | -141.2406 | 127.9892 | 8.5062 | -141.2188 | 128.0095

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065306 | 3.3452 | 2.6605 | 0.0045756 | 3.346 | 2.6595 | 0.075409 | 38.6273 | 30.721 | 0.052834 | 38.6361 | 30.7093 | 0.0038064 | 17.4171 | 2.9536 | -0.0022222 | -8.7136 | -1.47 | -0.10821 | 11.9544 | 9.9907 | 0.079873 | -6.0029 | -4.9716 | 83.3622 | -165.4113 | 22.769 | -95.9015 | 14.6195 | -157.2671 | 1.4358 | 0.54689 | 0.33912 | 1.5124 | 0.27387 | 0.16882 | -4.623 | -130.9471 | 96.2995 | -4.3078 | -130.8171 | 96.2609
Line_1 | 0 | 3.3476 | 2.6573 | 0.0023984 | 3.3468 | 2.6584 | 0 | 38.6547 | 30.684 | 0.027694 | 38.6453 | 30.697 | -2.8604e-09 | 6.5856e-11 | 6.1681e-11 | 0.00064619 | 8.7193 | 1.4659 | -4.4379e-10 | -4.8311e-11 | 1.7457e-11 | -0.041879 | 5.999 | 4.9706 | 0 | 14.6928 | -157.3537 | 84.8081 | -165.3458 | 22.692 | 1.5885 | 0 | 0 | 1.5124 | 0.27387 | 0.16882 | -3.9719 | 0 | 0 | -4.3078 | -130.8171 | 96.2609
Line_2 | 0 | 0 | 0 | 0.0021776 | 0.0021776 | 0.0021776 | 0 | 0 | 0 | 0.025144 | 0.025144 | 0.025144 | -2.3049e-09 | 8.106e-10 | 5.1779e-10 | 0.001576 | -0.0056999 | 0.004137 | -4.5965e-10 | -2.0624e-10 | -2.7372e-10 | -0.037994 | 0.003864 | 0.00095085 | 0 | 0 | 0 | 83.3168 | 83.3169 | 83.3168 | 1.5125 | 0.27408 | 0.16845 | 1.5124 | 0.27387 | 0.16882 | -4.3213 | -130.7522 | 96.2415 | -4.3078 | -130.8171 | 96.2609

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065306 | 3.3452 | 2.6605 | 0.0045756 | 3.346 | 2.6595 | 0.075409 | 38.6273 | 30.721 | 0.052834 | 38.6361 | 30.7093 | 0.0038064 | 17.4171 | 2.9536 | -0.0022222 | -8.7136 | -1.47 | -0.10821 | 11.9544 | 9.9907 | 0.079873 | -6.0029 | -4.9716 | 83.3622 | -165.4113 | 22.769 | -95.9015 | 14.6195 | -157.2671 | 1.4358 | 0.54689 | 0.33912 | 1.5124 | 0.27387 | 0.16882 | -4.623 | -130.9471 | 96.2995 | -4.3078 | -130.8171 | 96.2609
Line_1 | 0 | 3.3476 | 2.6573 | 0.0023984 | 3.3468 | 2.6584 | 0 | 38.6547 | 30.684 | 0.027694 | 38.6453 | 30.697 | -2.8604e-09 | 6.5856e-11 | 6.1681e-11 | 0.00064619 | 8.7193 | 1.4659 | -4.4379e-10 | -4.8311e-11 | 1.7457e-11 | -0.041879 | 5.999 | 4.9706 | 0 | 14.6928 | -157.3537 | 84.8081 | -165.3458 | 22.692 | 1.5885 | 0 | 0 | 1.5124 | 0.27387 | 0.16882 | -3.9719 | 0 | 0 | -4.3078 | -130.8171 | 96.2609
Line_2 | 0 | 0 | 0 | 0.0021776 | 0.0021776 | 0.0021776 | 0 | 0 | 0 | 0.025144 | 0.025144 | 0.025144 | -2.3049e-09 | 8.106e-10 | 5.1779e-10 | 0.001576 | -0.0056999 | 0.004137 | -4.5965e-10 | -2.0624e-10 | -2.7372e-10 | -0.037994 | 0.003864 | 0.00095085 | 0 | 0 | 0 | 83.3168 | 83.3169 | 83.3168 | 1.5125 | 0.27408 | 0.16845 | 1.5124 | 0.27387 | 0.16882 | -4.3213 | -130.7522 | 96.2415 | -4.3078 | -130.8171 | 96.2609

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046691 | 1.2223 | 0.93553 | 0.0032713 | 1.2232 | 0.93422 | 0.053914 | 14.1135 | 10.8026 | 0.037774 | 14.1244 | 10.7874 | 0.013937 | 10.3337 | 4.6618 | -0.009404 | -8.9163 | -4.4997 | -0.070042 | 8.4599 | 6.3915 | 0.051257 | -7.9907 | -5.3604 | 73.4509 | -155.7764 | 51.2644 | -105.8129 | 24.2719 | -128.7656 | 1.3246 | 0.94626 | 0.73233 | 1.3796 | 0.84768 | 0.64878 | -5.2954 | -116.4704 | 105.1583 | -5.4165 | -113.8617 | 101.2234
Line_1 | 0 | 1.2253 | 0.93121 | 0.0017147 | 1.2242 | 0.93278 | 0 | 14.1488 | 10.7526 | 0.0198 | 14.1362 | 10.7708 | -1.785e-09 | -7.5071 | -4.3357 | 0.0045962 | 8.9314 | 4.4893 | -5.5311e-10 | -7.5071 | -4.3357 | -0.026927 | 7.9888 | 5.3549 | 0 | 24.3889 | -128.8441 | 74.8968 | -155.673 | 51.1983 | 1.4344 | 0.75035 | 0.57025 | 1.3796 | 0.84768 | 0.64878 | -5.4862 | -110.6111 | 96.1559 | -5.4165 | -113.8617 | 101.2234
Line_2 | 0 | 0 | 0 | 0.0015569 | 0.0015569 | 0.0015569 | 0 | 0 | 0 | 0.017977 | 0.017977 | 0.017977 | -1.4395e-09 | 7.6407e-10 | 9.3441e-10 | 0.0048078 | -0.015116 | 0.010315 | -5.2633e-10 | 3.6619e-10 | -8.4182e-10 | -0.02433 | 0.0019276 | 0.0054427 | 0 | 0 | 0 | 73.4055 | 73.4055 | 73.4055 | 1.3796 | 0.84791 | 0.64851 | 1.3796 | 0.84768 | 0.64878 | -5.4274 | -113.853 | 101.2259 | -5.4165 | -113.8617 | 101.2234

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046691 | 1.2223 | 0.93553 | 0.0032713 | 1.2232 | 0.93422 | 0.053914 | 14.1135 | 10.8026 | 0.037774 | 14.1244 | 10.7874 | 0.013937 | 10.3337 | 4.6618 | -0.009404 | -8.9163 | -4.4997 | -0.070042 | 8.4599 | 6.3915 | 0.051257 | -7.9907 | -5.3604 | 73.4509 | -155.7764 | 51.2644 | -105.8129 | 24.2719 | -128.7656 | 1.3246 | 0.94626 | 0.73233 | 1.3796 | 0.84768 | 0.64878 | -5.2954 | -116.4704 | 105.1583 | -5.4165 | -113.8617 | 101.2234
Line_1 | 0 | 1.2253 | 0.93121 | 0.0017147 | 1.2242 | 0.93278 | 0 | 14.1488 | 10.7526 | 0.0198 | 14.1362 | 10.7708 | -1.785e-09 | -7.5071 | -4.3357 | 0.0045962 | 8.9314 | 4.4893 | -5.5311e-10 | -7.5071 | -4.3357 | -0.026927 | 7.9888 | 5.3549 | 0 | 24.3889 | -128.8441 | 74.8968 | -155.673 | 51.1983 | 1.4344 | 0.75035 | 0.57025 | 1.3796 | 0.84768 | 0.64878 | -5.4862 | -110.6111 | 96.1559 | -5.4165 | -113.8617 | 101.2234
Line_2 | 0 | 0 | 0 | 0.0015569 | 0.0015569 | 0.0015569 | 0 | 0 | 0 | 0.017977 | 0.017977 | 0.017977 | -1.4395e-09 | 7.6407e-10 | 9.3441e-10 | 0.0048078 | -0.015116 | 0.010315 | -5.2633e-10 | 3.6619e-10 | -8.4182e-10 | -0.02433 | 0.0019276 | 0.0054427 | 0 | 0 | 0 | 73.4055 | 73.4055 | 73.4055 | 1.3796 | 0.84791 | 0.64851 | 1.3796 | 0.84768 | 0.64878 | -5.4274 | -113.853 | 101.2259 | -5.4165 | -113.8617 | 101.2234

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.005376 | 2.6166 | 2.1929 | 0.003874 | 2.6174 | 2.1919 | 0.062077 | 30.2144 | 25.3215 | 0.044733 | 30.2237 | 25.3101 | 0.001944 | 18.9836 | 5.5742 | -0.0010871 | -9.5073 | -2.7701 | -0.076754 | 5.2098 | 8.7363 | 0.059805 | -2.6331 | -4.3425 | 85.3068 | -153.6141 | 35.2475 | -94.258 | 26.4137 | -144.7821 | 1.2368 | 0.65153 | 0.40926 | 1.3372 | 0.32641 | 0.20351 | -3.2423 | -138.2679 | 92.7074 | -3.2166 | -138.1058 | 92.684
Line_1 | 0 | 2.6194 | 2.1895 | 0.0020815 | 2.6184 | 2.1908 | 0 | 30.2465 | 25.2817 | 0.024035 | 30.2344 | 25.2968 | -2.3111e-09 | -1.4372e-10 | -7.5174e-12 | 0.0003318 | 9.5122 | 2.7659 | -2.8554e-10 | -1.0548e-10 | -1.4877e-10 | -0.032138 | 2.6285 | 4.342 | 0 | 26.4866 | -144.8603 | 86.1919 | -153.5527 | 35.182 | 1.4371 | 0 | 0 | 1.3372 | 0.32641 | 0.20351 | -3.1062 | 0 | 0 | -3.2166 | -138.1058 | 92.684
Line_2 | 0 | 0 | 0 | 0.0017926 | 0.0017926 | 0.0017926 | 0 | 0 | 0 | 0.020699 | 0.020699 | 0.020699 | -1.6615e-09 | 7.4778e-10 | 5.1007e-10 | 0.00075532 | -0.0049149 | 0.0041767 | -2.7717e-10 | -3.707e-10 | -3.4162e-10 | -0.027667 | 0.0046357 | 0.00054723 | 0 | 0 | 0 | 85.2196 | 85.2196 | 85.2196 | 1.3373 | 0.32673 | 0.20295 | 1.3372 | 0.32641 | 0.20351 | -3.2403 | -138.025 | 92.6724 | -3.2166 | -138.1058 | 92.684

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.005376 | 2.6166 | 2.1929 | 0.003874 | 2.6174 | 2.1919 | 0.062077 | 30.2144 | 25.3215 | 0.044733 | 30.2237 | 25.3101 | 0.001944 | 18.9836 | 5.5742 | -0.0010871 | -9.5073 | -2.7701 | -0.076754 | 5.2098 | 8.7363 | 0.059805 | -2.6331 | -4.3425 | 85.3068 | -153.6141 | 35.2475 | -94.258 | 26.4137 | -144.7821 | 1.2368 | 0.65153 | 0.40926 | 1.3372 | 0.32641 | 0.20351 | -3.2423 | -138.2679 | 92.7074 | -3.2166 | -138.1058 | 92.684
Line_1 | 0 | 2.6194 | 2.1895 | 0.0020815 | 2.6184 | 2.1908 | 0 | 30.2465 | 25.2817 | 0.024035 | 30.2344 | 25.2968 | -2.3111e-09 | -1.4372e-10 | -7.5174e-12 | 0.0003318 | 9.5122 | 2.7659 | -2.8554e-10 | -1.0548e-10 | -1.4877e-10 | -0.032138 | 2.6285 | 4.342 | 0 | 26.4866 | -144.8603 | 86.1919 | -153.5527 | 35.182 | 1.4371 | 0 | 0 | 1.3372 | 0.32641 | 0.20351 | -3.1062 | 0 | 0 | -3.2166 | -138.1058 | 92.684
Line_2 | 0 | 0 | 0 | 0.0017926 | 0.0017926 | 0.0017926 | 0 | 0 | 0 | 0.020699 | 0.020699 | 0.020699 | -1.6615e-09 | 7.4778e-10 | 5.1007e-10 | 0.00075532 | -0.0049149 | 0.0041767 | -2.7717e-10 | -3.707e-10 | -3.4162e-10 | -0.027667 | 0.0046357 | 0.00054723 | 0 | 0 | 0 | 85.2196 | 85.2196 | 85.2196 | 1.3373 | 0.32673 | 0.20295 | 1.3372 | 0.32641 | 0.20351 | -3.2403 | -138.025 | 92.6724 | -3.2166 | -138.1058 | 92.684

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0041505 | 1.0252 | 0.80623 | 0.0029908 | 1.026 | 0.80516 | 0.047926 | 11.8378 | 9.3096 | 0.034535 | 11.8471 | 9.2972 | 0.0093843 | 8.7509 | 3.906 | -0.006522 | -7.0175 | -3.56 | -0.055458 | 5.3509 | 5.284 | 0.042688 | -5.3252 | -4.2477 | 76.4202 | -150.8604 | 52.9531 | -103.1446 | 29.1864 | -127.0783 | 1.1736 | 0.86649 | 0.70583 | 1.2504 | 0.74359 | 0.59612 | -3.9755 | -119.4159 | 106.481 | -4.4579 | -113.6206 | 102.9552
Line_1 | 0 | 1.028 | 0.80243 | 0.001607 | 1.0269 | 0.80389 | 0 | 11.8703 | 9.2657 | 0.018556 | 11.8579 | 9.2825 | -1.6094e-09 | -5.2839 | -3.2195 | 0.0033241 | 7.0292 | 3.5515 | -4.0803e-10 | -5.2839 | -3.2195 | -0.022963 | 5.3232 | 4.2434 | 0 | 29.3096 | -127.165 | 77.3053 | -150.757 | 52.8825 | 1.3272 | 0.62952 | 0.49139 | 1.2504 | 0.74359 | 0.59612 | -4.8096 | -105.6904 | 97.835 | -4.4579 | -113.6206 | 102.9552
Line_2 | 0 | 0 | 0 | 0.0013839 | 0.0013839 | 0.0013839 | 0 | 0 | 0 | 0.01598 | 0.01598 | 0.01598 | -1.1622e-09 | 6.8143e-10 | 7.8726e-10 | 0.0031978 | -0.011704 | 0.0085162 | -3.5796e-10 | 3.0369e-10 | -6.3985e-10 | -0.019724 | 0.0020539 | 0.0042687 | 0 | 0 | 0 | 76.333 | 76.333 | 76.333 | 1.2504 | 0.74399 | 0.5957 | 1.2504 | 0.74359 | 0.59612 | -4.4778 | -113.6082 | 102.966 | -4.4579 | -113.6206 | 102.9552

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0041505 | 1.0252 | 0.80623 | 0.0029908 | 1.026 | 0.80516 | 0.047926 | 11.8378 | 9.3096 | 0.034535 | 11.8471 | 9.2972 | 0.0093843 | 8.7509 | 3.906 | -0.006522 | -7.0175 | -3.56 | -0.055458 | 5.3509 | 5.284 | 0.042688 | -5.3252 | -4.2477 | 76.4202 | -150.8604 | 52.9531 | -103.1446 | 29.1864 | -127.0783 | 1.1736 | 0.86649 | 0.70583 | 1.2504 | 0.74359 | 0.59612 | -3.9755 | -119.4159 | 106.481 | -4.4579 | -113.6206 | 102.9552
Line_1 | 0 | 1.028 | 0.80243 | 0.001607 | 1.0269 | 0.80389 | 0 | 11.8703 | 9.2657 | 0.018556 | 11.8579 | 9.2825 | -1.6094e-09 | -5.2839 | -3.2195 | 0.0033241 | 7.0292 | 3.5515 | -4.0803e-10 | -5.2839 | -3.2195 | -0.022963 | 5.3232 | 4.2434 | 0 | 29.3096 | -127.165 | 77.3053 | -150.757 | 52.8825 | 1.3272 | 0.62952 | 0.49139 | 1.2504 | 0.74359 | 0.59612 | -4.8096 | -105.6904 | 97.835 | -4.4579 | -113.6206 | 102.9552
Line_2 | 0 | 0 | 0 | 0.0013839 | 0.0013839 | 0.0013839 | 0 | 0 | 0 | 0.01598 | 0.01598 | 0.01598 | -1.1622e-09 | 6.8143e-10 | 7.8726e-10 | 0.0031978 | -0.011704 | 0.0085162 | -3.5796e-10 | 3.0369e-10 | -6.3985e-10 | -0.019724 | 0.0020539 | 0.0042687 | 0 | 0 | 0 | 76.333 | 76.333 | 76.333 | 1.2504 | 0.74399 | 0.5957 | 1.2504 | 0.74359 | 0.59612 | -4.4778 | -113.6082 | 102.966 | -4.4579 | -113.6206 | 102.9552