## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7666 | 0.67967 | 0.79187 | 1.7694 | 0.68269 | 0.79392 | 20.3991 | 7.8482 | 9.1437 | 20.4307 | 7.883 | 9.1674 | 7.329e-11 | -3.4668 | 15.4564 | 7.5192 | 5.8118 | -12.3968 | -7.7359e-11 | 10.4042 | -0.70866 | 3.7319 | -8.9865 | 0.94653 | 117.2313 | 105.264 | 136.9269 | -62.82 | -74.8182 | -43.2474 |  | 0 | 1.3973 | 1.6922 | 0.41087 | 1.3576 | 1.3562 | 0 | -146.3073 | 134.3017 | -36.4244 | -131.9265 | 132.3864
Line_1 | 0.88687 | 0.34356 | 0.39892 | 0.88468 | 0.34134 | 0.39696 | 10.2407 | 3.9671 | 4.6063 | 10.2154 | 3.9415 | 4.5837 | 5.6589 | 3.5081 | -5.4482 | -3.7596 | -2.9059 | 6.1984 | 2.8085 | -4.1559 | 0.53156 | -1.8659 | 4.4933 | -0.47327 | -62.8418 | -74.7973 | -43.3988 | 117.18 | 105.1818 | 136.7526 |  | 0.6169 | 1.3709 | 1.1884 | 0.41087 | 1.3576 | 1.3562 | -36.4471 | -124.6288 | 131.0288 | -36.4244 | -131.9265 | 132.3864
Line_2 | 0.88687 | 0.34356 | 0.39892 | 0.88468 | 0.34134 | 0.39696 | 10.2407 | 3.9671 | 4.6063 | 10.2154 | 3.9415 | 4.5837 | 5.6589 | 3.5081 | -5.4482 | -3.7596 | -2.9059 | 6.1984 | 2.8085 | -4.1559 | 0.53156 | -1.8659 | 4.4933 | -0.47327 | -62.8418 | -74.7973 | -43.3988 | 117.18 | 105.1818 | 136.7526 |  | 0.6169 | 1.3709 | 1.1884 | 0.41087 | 1.3576 | 1.3562 | -36.4471 | -124.6288 | 131.0288 | -36.4244 | -131.9265 | 132.3864

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7666 | 0.67967 | 0.79187 | 1.7694 | 0.68269 | 0.79392 | 20.3991 | 7.8482 | 9.1437 | 20.4307 | 7.883 | 9.1674 | 7.329e-11 | -3.4668 | 15.4564 | 7.5192 | 5.8118 | -12.3968 | -7.7359e-11 | 10.4042 | -0.70866 | 3.7319 | -8.9865 | 0.94653 | 117.2313 | 105.264 | 136.9269 | -62.82 | -74.8182 | -43.2474 |  | 0 | 1.3973 | 1.6922 | 0.41087 | 1.3576 | 1.3562 | 0 | -146.3073 | 134.3017 | -36.4244 | -131.9265 | 132.3864
Line_1 | 0.88687 | 0.34356 | 0.39892 | 0.88468 | 0.34134 | 0.39696 | 10.2407 | 3.9671 | 4.6063 | 10.2154 | 3.9415 | 4.5837 | 5.6589 | 3.5081 | -5.4482 | -3.7596 | -2.9059 | 6.1984 | 2.8085 | -4.1559 | 0.53156 | -1.8659 | 4.4933 | -0.47327 | -62.8418 | -74.7973 | -43.3988 | 117.18 | 105.1818 | 136.7526 |  | 0.6169 | 1.3709 | 1.1884 | 0.41087 | 1.3576 | 1.3562 | -36.4471 | -124.6288 | 131.0288 | -36.4244 | -131.9265 | 132.3864
Line_2 | 0.88687 | 0.34356 | 0.39892 | 0.88468 | 0.34134 | 0.39696 | 10.2407 | 3.9671 | 4.6063 | 10.2154 | 3.9415 | 4.5837 | 5.6589 | 3.5081 | -5.4482 | -3.7596 | -2.9059 | 6.1984 | 2.8085 | -4.1559 | 0.53156 | -1.8659 | 4.4933 | -0.47327 | -62.8418 | -74.7973 | -43.3988 | 117.18 | 105.1818 | 136.7526 |  | 0.6169 | 1.3709 | 1.1884 | 0.41087 | 1.3576 | 1.3562 | -36.4471 | -124.6288 | 131.0288 | -36.4244 | -131.9265 | 132.3864

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72981 | 0.11851 | 0.3839 | 0.73082 | 0.11951 | 0.38426 | 8.4271 | 1.3684 | 4.4329 | 8.4387 | 1.3799 | 4.4371 | -3.9264 | -1.5333 | 4.2345 | 4.9871 | 1.5985 | -3.7488 | -5.1703 | 0.74199 | -3.8653 | 5.8839 | -0.61082 | 3.7682 | 120.9065 | 76.6365 | 170.1887 | -59.1241 | -103.1602 | -9.9632 |  | 0.77039 | 1.2448 | 1.2934 | 0.91401 | 1.2401 | 1.198 | -6.307 | -129.1861 | 127.7992 | -9.4081 | -124.0734 | 124.8892
Line_1 | 0.36617 | 0.0603 | 0.19263 | 0.36541 | 0.059753 | 0.19213 | 4.2281 | 0.69628 | 2.2243 | 4.2194 | 0.68997 | 2.2185 | 2.7647 | 0.81808 | -1.7591 | -2.4936 | -0.79924 | 1.8744 | 3.1247 | -0.27919 | 1.861 | -2.942 | 0.30541 | -1.8841 | -59.1241 | -102.6596 | -10.1338 | 120.8759 | 76.8398 | 170.0368 |  | 0.98678 | 1.2415 | 1.1513 | 0.91401 | 1.2401 | 1.198 | -10.6258 | -121.5028 | 123.2535 | -9.4081 | -124.0734 | 124.8892
Line_2 | 0.36617 | 0.0603 | 0.19263 | 0.36541 | 0.059753 | 0.19213 | 4.2281 | 0.69628 | 2.2243 | 4.2194 | 0.68997 | 2.2185 | 2.7647 | 0.81808 | -1.7591 | -2.4936 | -0.79924 | 1.8744 | 3.1247 | -0.27919 | 1.861 | -2.942 | 0.30541 | -1.8841 | -59.1241 | -102.6596 | -10.1338 | 120.8759 | 76.8398 | 170.0368 |  | 0.98678 | 1.2415 | 1.1513 | 0.91401 | 1.2401 | 1.198 | -10.6258 | -121.5028 | 123.2535 | -9.4081 | -124.0734 | 124.8892

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72981 | 0.11851 | 0.3839 | 0.73082 | 0.11951 | 0.38426 | 8.4271 | 1.3684 | 4.4329 | 8.4387 | 1.3799 | 4.4371 | -3.9264 | -1.5333 | 4.2345 | 4.9871 | 1.5985 | -3.7488 | -5.1703 | 0.74199 | -3.8653 | 5.8839 | -0.61082 | 3.7682 | 120.9065 | 76.6365 | 170.1887 | -59.1241 | -103.1602 | -9.9632 |  | 0.77039 | 1.2448 | 1.2934 | 0.91401 | 1.2401 | 1.198 | -6.307 | -129.1861 | 127.7992 | -9.4081 | -124.0734 | 124.8892
Line_1 | 0.36617 | 0.0603 | 0.19263 | 0.36541 | 0.059753 | 0.19213 | 4.2281 | 0.69628 | 2.2243 | 4.2194 | 0.68997 | 2.2185 | 2.7647 | 0.81808 | -1.7591 | -2.4936 | -0.79924 | 1.8744 | 3.1247 | -0.27919 | 1.861 | -2.942 | 0.30541 | -1.8841 | -59.1241 | -102.6596 | -10.1338 | 120.8759 | 76.8398 | 170.0368 |  | 0.98678 | 1.2415 | 1.1513 | 0.91401 | 1.2401 | 1.198 | -10.6258 | -121.5028 | 123.2535 | -9.4081 | -124.0734 | 124.8892
Line_2 | 0.36617 | 0.0603 | 0.19263 | 0.36541 | 0.059753 | 0.19213 | 4.2281 | 0.69628 | 2.2243 | 4.2194 | 0.68997 | 2.2185 | 2.7647 | 0.81808 | -1.7591 | -2.4936 | -0.79924 | 1.8744 | 3.1247 | -0.27919 | 1.861 | -2.942 | 0.30541 | -1.8841 | -59.1241 | -102.6596 | -10.1338 | 120.8759 | 76.8398 | 170.0368 |  | 0.98678 | 1.2415 | 1.1513 | 0.91401 | 1.2401 | 1.198 | -10.6258 | -121.5028 | 123.2535 | -9.4081 | -124.0734 | 124.8892

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1067 | 0.57438 | 0.50514 | 1.1084 | 0.57618 | 0.50687 | 12.7796 | 6.6324 | 5.8329 | 12.7988 | 6.6531 | 5.8528 | -2.4547e-11 | 2.556 | 9.2966 | 6.1686 | 0.34434 | -6.8214 | 6.1622e-12 | 8.2129 | -0.24642 | 1.3319 | -7.5857 | 0.69842 | 139.2035 | 135.9198 | 137.7411 | -40.9136 | -44.2955 | -42.51 |  | 0 | 1.2969 | 1.5944 | 0.49308 | 1.1413 | 1.1716 | 0 | -151.3674 | 136.2227 | -28.7293 | -131.6965 | 131.644
Line_1 | 0.55556 | 0.28948 | 0.25481 | 0.5542 | 0.28809 | 0.25343 | 6.4151 | 3.3426 | 2.9423 | 6.3994 | 3.3266 | 2.9264 | 4.6418 | 0.90489 | -2.7976 | -3.0843 | -0.17217 | 3.4107 | 1.0038 | -3.6443 | 0.46766 | -0.66597 | 3.7928 | -0.34921 | -40.9743 | -44.3959 | -42.6338 | 139.0864 | 135.7045 | 137.49 |  | 0.7403 | 1.1234 | 0.96401 | 0.49308 | 1.1413 | 1.1716 | -28.7715 | -120.4513 | 127.8759 | -28.7293 | -131.6965 | 131.644
Line_2 | 0.55556 | 0.28948 | 0.25481 | 0.5542 | 0.28809 | 0.25343 | 6.4151 | 3.3426 | 2.9423 | 6.3994 | 3.3266 | 2.9264 | 4.6418 | 0.90489 | -2.7976 | -3.0843 | -0.17217 | 3.4107 | 1.0038 | -3.6443 | 0.46766 | -0.66597 | 3.7928 | -0.34921 | -40.9743 | -44.3959 | -42.6338 | 139.0864 | 135.7045 | 137.49 |  | 0.7403 | 1.1234 | 0.96401 | 0.49308 | 1.1413 | 1.1716 | -28.7715 | -120.4513 | 127.8759 | -28.7293 | -131.6965 | 131.644

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1067 | 0.57438 | 0.50514 | 1.1084 | 0.57618 | 0.50687 | 12.7796 | 6.6324 | 5.8329 | 12.7988 | 6.6531 | 5.8528 | -2.4547e-11 | 2.556 | 9.2966 | 6.1686 | 0.34434 | -6.8214 | 6.1622e-12 | 8.2129 | -0.24642 | 1.3319 | -7.5857 | 0.69842 | 139.2035 | 135.9198 | 137.7411 | -40.9136 | -44.2955 | -42.51 |  | 0 | 1.2969 | 1.5944 | 0.49308 | 1.1413 | 1.1716 | 0 | -151.3674 | 136.2227 | -28.7293 | -131.6965 | 131.644
Line_1 | 0.55556 | 0.28948 | 0.25481 | 0.5542 | 0.28809 | 0.25343 | 6.4151 | 3.3426 | 2.9423 | 6.3994 | 3.3266 | 2.9264 | 4.6418 | 0.90489 | -2.7976 | -3.0843 | -0.17217 | 3.4107 | 1.0038 | -3.6443 | 0.46766 | -0.66597 | 3.7928 | -0.34921 | -40.9743 | -44.3959 | -42.6338 | 139.0864 | 135.7045 | 137.49 |  | 0.7403 | 1.1234 | 0.96401 | 0.49308 | 1.1413 | 1.1716 | -28.7715 | -120.4513 | 127.8759 | -28.7293 | -131.6965 | 131.644
Line_2 | 0.55556 | 0.28948 | 0.25481 | 0.5542 | 0.28809 | 0.25343 | 6.4151 | 3.3426 | 2.9423 | 6.3994 | 3.3266 | 2.9264 | 4.6418 | 0.90489 | -2.7976 | -3.0843 | -0.17217 | 3.4107 | 1.0038 | -3.6443 | 0.46766 | -0.66597 | 3.7928 | -0.34921 | -40.9743 | -44.3959 | -42.6338 | 139.0864 | 135.7045 | 137.49 |  | 0.7403 | 1.1234 | 0.96401 | 0.49308 | 1.1413 | 1.1716 | -28.7715 | -120.4513 | 127.8759 | -28.7293 | -131.6965 | 131.644

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42713 | 0.22167 | 0.19495 | 0.42777 | 0.22237 | 0.19562 | 4.932 | 2.5597 | 2.2511 | 4.9395 | 2.5677 | 2.2588 | -2.4592 | 0.13149 | 2.6616 | 3.378 | 0.30714 | -2.2997 | -1.7753 | 2.7775 | -0.57118 | 1.9814 | -2.688 | 0.63471 | 142.2578 | 138.9742 | 140.7954 | -37.8592 | -41.2412 | -39.4557 |  | 0.61496 | 1.0863 | 1.2093 | 0.79284 | 1.0537 | 1.0562 | -1.9163 | -133.7362 | 128.6835 | -7.4653 | -124.7226 | 125.1149
Line_1 | 0.21441 | 0.11172 | 0.098338 | 0.21388 | 0.11118 | 0.097808 | 2.4758 | 1.29 | 1.1355 | 2.4697 | 1.2838 | 1.1294 | 1.923 | 0.26469 | -1.0626 | -1.689 | -0.15357 | 1.1498 | 1.0445 | -1.3254 | 0.33504 | -0.99069 | 1.344 | -0.31736 | -37.9199 | -41.3416 | -39.5795 | 142.1408 | 138.7588 | 140.5443 |  | 0.88392 | 1.0477 | 0.98118 | 0.79284 | 1.0537 | 1.0562 | -9.4113 | -120.0478 | 122.9198 | -7.4653 | -124.7226 | 125.1149
Line_2 | 0.21441 | 0.11172 | 0.098338 | 0.21388 | 0.11118 | 0.097808 | 2.4758 | 1.29 | 1.1355 | 2.4697 | 1.2838 | 1.1294 | 1.923 | 0.26469 | -1.0626 | -1.689 | -0.15357 | 1.1498 | 1.0445 | -1.3254 | 0.33504 | -0.99069 | 1.344 | -0.31736 | -37.9199 | -41.3416 | -39.5795 | 142.1408 | 138.7588 | 140.5443 |  | 0.88392 | 1.0477 | 0.98118 | 0.79284 | 1.0537 | 1.0562 | -9.4113 | -120.0478 | 122.9198 | -7.4653 | -124.7226 | 125.1149

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42713 | 0.22167 | 0.19495 | 0.42777 | 0.22237 | 0.19562 | 4.932 | 2.5597 | 2.2511 | 4.9395 | 2.5677 | 2.2588 | -2.4592 | 0.13149 | 2.6616 | 3.378 | 0.30714 | -2.2997 | -1.7753 | 2.7775 | -0.57118 | 1.9814 | -2.688 | 0.63471 | 142.2578 | 138.9742 | 140.7954 | -37.8592 | -41.2412 | -39.4557 |  | 0.61496 | 1.0863 | 1.2093 | 0.79284 | 1.0537 | 1.0562 | -1.9163 | -133.7362 | 128.6835 | -7.4653 | -124.7226 | 125.1149
Line_1 | 0.21441 | 0.11172 | 0.098338 | 0.21388 | 0.11118 | 0.097808 | 2.4758 | 1.29 | 1.1355 | 2.4697 | 1.2838 | 1.1294 | 1.923 | 0.26469 | -1.0626 | -1.689 | -0.15357 | 1.1498 | 1.0445 | -1.3254 | 0.33504 | -0.99069 | 1.344 | -0.31736 | -37.9199 | -41.3416 | -39.5795 | 142.1408 | 138.7588 | 140.5443 |  | 0.88392 | 1.0477 | 0.98118 | 0.79284 | 1.0537 | 1.0562 | -9.4113 | -120.0478 | 122.9198 | -7.4653 | -124.7226 | 125.1149
Line_2 | 0.21441 | 0.11172 | 0.098338 | 0.21388 | 0.11118 | 0.097808 | 2.4758 | 1.29 | 1.1355 | 2.4697 | 1.2838 | 1.1294 | 1.923 | 0.26469 | -1.0626 | -1.689 | -0.15357 | 1.1498 | 1.0445 | -1.3254 | 0.33504 | -0.99069 | 1.344 | -0.31736 | -37.9199 | -41.3416 | -39.5795 | 142.1408 | 138.7588 | 140.5443 |  | 0.88392 | 1.0477 | 0.98118 | 0.79284 | 1.0537 | 1.0562 | -9.4113 | -120.0478 | 122.9198 | -7.4653 | -124.7226 | 125.1149

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21776 | 2.03 | 1.3332 | 0.21942 | 2.0306 | 1.3346 | 2.5145 | 23.44 | 15.394 | 2.5337 | 23.4476 | 15.411 | 2.7778 | 3.6754e-11 | 2.3078e-11 | -2.2632 | 6.4144 | 0.79302 | 2.7915 | -1.3001e-11 | -1.0495e-11 | -2.705 | 0.56136 | 4.1124 | -46.9771 | -12.661 | -128.9375 | 132.6955 | 167.2834 | 51.1255 |  | 1.5662 | 0 | 0 | 1.392 | 0.27461 | 0.27176 | -1.8353 | 0 | 0 | 2.7772 | 172.2849 | 130.2107
Line_1 | 0.11112 | 1.0162 | 0.66791 | 0.10971 | 1.0153 | 0.66732 | 1.2831 | 11.7346 | 7.7124 | 1.2668 | 11.7238 | 7.7055 | -1.0092 | 4.8187 | 0.60209 | 1.1316 | -3.2072 | -0.39651 | -1.342 | 0.42371 | 3.089 | 1.3525 | -0.28068 | -2.0562 | 132.4935 | 167.2202 | 51.2398 | -47.3045 | -12.7166 | -128.8745 |  | 1.3087 | 0.41223 | 0.40807 | 1.392 | 0.27461 | 0.27176 | 5.5501 | 172.2453 | 130.2105 | 2.7772 | 172.2849 | 130.2107
Line_2 | 0.11112 | 1.0162 | 0.66791 | 0.10971 | 1.0153 | 0.66732 | 1.2831 | 11.7346 | 7.7124 | 1.2668 | 11.7238 | 7.7055 | -1.0092 | 4.8187 | 0.60209 | 1.1316 | -3.2072 | -0.39651 | -1.342 | 0.42371 | 3.089 | 1.3525 | -0.28068 | -2.0562 | 132.4935 | 167.2202 | 51.2398 | -47.3045 | -12.7166 | -128.8745 |  | 1.3087 | 0.41223 | 0.40807 | 1.392 | 0.27461 | 0.27176 | 5.5501 | 172.2453 | 130.2105 | 2.7772 | 172.2849 | 130.2107

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21776 | 2.03 | 1.3332 | 0.21942 | 2.0306 | 1.3346 | 2.5145 | 23.44 | 15.394 | 2.5337 | 23.4476 | 15.411 | 2.7778 | 3.6754e-11 | 2.3078e-11 | -2.2632 | 6.4144 | 0.79302 | 2.7915 | -1.3001e-11 | -1.0495e-11 | -2.705 | 0.56136 | 4.1124 | -46.9771 | -12.661 | -128.9375 | 132.6955 | 167.2834 | 51.1255 |  | 1.5662 | 0 | 0 | 1.392 | 0.27461 | 0.27176 | -1.8353 | 0 | 0 | 2.7772 | 172.2849 | 130.2107
Line_1 | 0.11112 | 1.0162 | 0.66791 | 0.10971 | 1.0153 | 0.66732 | 1.2831 | 11.7346 | 7.7124 | 1.2668 | 11.7238 | 7.7055 | -1.0092 | 4.8187 | 0.60209 | 1.1316 | -3.2072 | -0.39651 | -1.342 | 0.42371 | 3.089 | 1.3525 | -0.28068 | -2.0562 | 132.4935 | 167.2202 | 51.2398 | -47.3045 | -12.7166 | -128.8745 |  | 1.3087 | 0.41223 | 0.40807 | 1.392 | 0.27461 | 0.27176 | 5.5501 | 172.2453 | 130.2105 | 2.7772 | 172.2849 | 130.2107
Line_2 | 0.11112 | 1.0162 | 0.66791 | 0.10971 | 1.0153 | 0.66732 | 1.2831 | 11.7346 | 7.7124 | 1.2668 | 11.7238 | 7.7055 | -1.0092 | 4.8187 | 0.60209 | 1.1316 | -3.2072 | -0.39651 | -1.342 | 0.42371 | 3.089 | 1.3525 | -0.28068 | -2.0562 | 132.4935 | 167.2202 | 51.2398 | -47.3045 | -12.7166 | -128.8745 |  | 1.3087 | 0.41223 | 0.40807 | 1.392 | 0.27461 | 0.27176 | 5.5501 | 172.2453 | 130.2105 | 2.7772 | 172.2849 | 130.2107

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12557 | 0.67128 | 0.57994 | 0.12534 | 0.67165 | 0.58076 | 1.4499 | 7.7512 | 6.6966 | 1.4473 | 7.7556 | 6.7061 | 1.7221 | -1.9033 | -5.1233 | -1.6478 | 2.7718 | 5.4806 | -0.86025 | -6.6999 | -2.7003 | 0.75088 | 6.7663 | 3.4557 | 26.0041 | -13.2031 | -103.8394 | -154.3975 | 166.7264 | 76.1987 |  | 1.3277 | 0.89857 | 0.86482 | 1.2512 | 0.9428 | 0.96616 | -0.53902 | -119.0618 | 103.953 | 1.1043 | -125.5499 | 108.4313
Line_1 | 0.062749 | 0.33628 | 0.29082 | 0.06267 | 0.33583 | 0.29038 | 0.72457 | 3.8831 | 3.3581 | 0.72366 | 3.8778 | 3.353 | -0.80907 | 1.6031 | 2.835 | 0.8239 | -1.3859 | -2.7403 | 0.34369 | 3.4046 | 1.9155 | -0.37544 | -3.3831 | -1.7278 | -154.9748 | 166.6506 | 76.2892 | 25.6025 | -13.2736 | -103.8013 |  | 1.2132 | 0.96911 | 1.0189 | 1.2512 | 0.9428 | 0.96616 | 2.0096 | -128.5636 | 110.335 | 1.1043 | -125.5499 | 108.4313
Line_2 | 0.062749 | 0.33628 | 0.29082 | 0.06267 | 0.33583 | 0.29038 | 0.72457 | 3.8831 | 3.3581 | 0.72366 | 3.8778 | 3.353 | -0.80907 | 1.6031 | 2.835 | 0.8239 | -1.3859 | -2.7403 | 0.34369 | 3.4046 | 1.9155 | -0.37544 | -3.3831 | -1.7278 | -154.9748 | 166.6506 | 76.2892 | 25.6025 | -13.2736 | -103.8013 |  | 1.2132 | 0.96911 | 1.0189 | 1.2512 | 0.9428 | 0.96616 | 2.0096 | -128.5636 | 110.335 | 1.1043 | -125.5499 | 108.4313

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12557 | 0.67128 | 0.57994 | 0.12534 | 0.67165 | 0.58076 | 1.4499 | 7.7512 | 6.6966 | 1.4473 | 7.7556 | 6.7061 | 1.7221 | -1.9033 | -5.1233 | -1.6478 | 2.7718 | 5.4806 | -0.86025 | -6.6999 | -2.7003 | 0.75088 | 6.7663 | 3.4557 | 26.0041 | -13.2031 | -103.8394 | -154.3975 | 166.7264 | 76.1987 |  | 1.3277 | 0.89857 | 0.86482 | 1.2512 | 0.9428 | 0.96616 | -0.53902 | -119.0618 | 103.953 | 1.1043 | -125.5499 | 108.4313
Line_1 | 0.062749 | 0.33628 | 0.29082 | 0.06267 | 0.33583 | 0.29038 | 0.72457 | 3.8831 | 3.3581 | 0.72366 | 3.8778 | 3.353 | -0.80907 | 1.6031 | 2.835 | 0.8239 | -1.3859 | -2.7403 | 0.34369 | 3.4046 | 1.9155 | -0.37544 | -3.3831 | -1.7278 | -154.9748 | 166.6506 | 76.2892 | 25.6025 | -13.2736 | -103.8013 |  | 1.2132 | 0.96911 | 1.0189 | 1.2512 | 0.9428 | 0.96616 | 2.0096 | -128.5636 | 110.335 | 1.1043 | -125.5499 | 108.4313
Line_2 | 0.062749 | 0.33628 | 0.29082 | 0.06267 | 0.33583 | 0.29038 | 0.72457 | 3.8831 | 3.3581 | 0.72366 | 3.8778 | 3.353 | -0.80907 | 1.6031 | 2.835 | 0.8239 | -1.3859 | -2.7403 | 0.34369 | 3.4046 | 1.9155 | -0.37544 | -3.3831 | -1.7278 | -154.9748 | 166.6506 | 76.2892 | 25.6025 | -13.2736 | -103.8013 |  | 1.2132 | 0.96911 | 1.0189 | 1.2512 | 0.9428 | 0.96616 | 2.0096 | -128.5636 | 110.335 | 1.1043 | -125.5499 | 108.4313

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21754 | 1.5814 | 0.85013 | 0.219 | 1.5814 | 0.85123 | 2.5119 | 18.2601 | 9.8165 | 2.5288 | 18.2609 | 9.8292 | 2.1878 | -2.371e-11 | -8.2719e-12 | -1.63 | 6.3111 | -0.062022 | 2.7884 | -2.5648e-11 | -1.7111e-11 | -2.4901 | -0.47566 | 2.5957 | -53.7151 | 3.2909 | -133.864 | 126.0583 | -176.7704 | 46.2226 |  | 1.4109 | 0 | 0 | 1.1769 | 0.34659 | 0.26416 | -1.8332 | 0 | 0 | 2.8492 | 178.9194 | 137.5914
Line_1 | 0.11039 | 0.7912 | 0.42578 | 0.1095 | 0.79072 | 0.42562 | 1.2747 | 9.136 | 4.9165 | 1.2644 | 9.1304 | 4.9146 | -0.67947 | 4.7389 | -0.041907 | 0.81501 | -3.1555 | 0.031011 | -1.1732 | -0.35665 | 1.9501 | 1.245 | 0.23783 | -1.2978 | 126.0555 | -176.825 | 46.3407 | -53.9417 | 3.2296 | -133.7774 |  | 1.0636 | 0.52017 | 0.39674 | 1.1769 | 0.34659 | 0.26416 | 5.9778 | 178.8711 | 137.5718 | 2.8492 | 178.9194 | 137.5914
Line_2 | 0.11039 | 0.7912 | 0.42578 | 0.1095 | 0.79072 | 0.42562 | 1.2747 | 9.136 | 4.9165 | 1.2644 | 9.1304 | 4.9146 | -0.67947 | 4.7389 | -0.041907 | 0.81501 | -3.1555 | 0.031011 | -1.1732 | -0.35665 | 1.9501 | 1.245 | 0.23783 | -1.2978 | 126.0555 | -176.825 | 46.3407 | -53.9417 | 3.2296 | -133.7774 |  | 1.0636 | 0.52017 | 0.39674 | 1.1769 | 0.34659 | 0.26416 | 5.9778 | 178.8711 | 137.5718 | 2.8492 | 178.9194 | 137.5914

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21754 | 1.5814 | 0.85013 | 0.219 | 1.5814 | 0.85123 | 2.5119 | 18.2601 | 9.8165 | 2.5288 | 18.2609 | 9.8292 | 2.1878 | -2.371e-11 | -8.2719e-12 | -1.63 | 6.3111 | -0.062022 | 2.7884 | -2.5648e-11 | -1.7111e-11 | -2.4901 | -0.47566 | 2.5957 | -53.7151 | 3.2909 | -133.864 | 126.0583 | -176.7704 | 46.2226 |  | 1.4109 | 0 | 0 | 1.1769 | 0.34659 | 0.26416 | -1.8332 | 0 | 0 | 2.8492 | 178.9194 | 137.5914
Line_1 | 0.11039 | 0.7912 | 0.42578 | 0.1095 | 0.79072 | 0.42562 | 1.2747 | 9.136 | 4.9165 | 1.2644 | 9.1304 | 4.9146 | -0.67947 | 4.7389 | -0.041907 | 0.81501 | -3.1555 | 0.031011 | -1.1732 | -0.35665 | 1.9501 | 1.245 | 0.23783 | -1.2978 | 126.0555 | -176.825 | 46.3407 | -53.9417 | 3.2296 | -133.7774 |  | 1.0636 | 0.52017 | 0.39674 | 1.1769 | 0.34659 | 0.26416 | 5.9778 | 178.8711 | 137.5718 | 2.8492 | 178.9194 | 137.5914
Line_2 | 0.11039 | 0.7912 | 0.42578 | 0.1095 | 0.79072 | 0.42562 | 1.2747 | 9.136 | 4.9165 | 1.2644 | 9.1304 | 4.9146 | -0.67947 | 4.7389 | -0.041907 | 0.81501 | -3.1555 | 0.031011 | -1.1732 | -0.35665 | 1.9501 | 1.245 | 0.23783 | -1.2978 | 126.0555 | -176.825 | 46.3407 | -53.9417 | 3.2296 | -133.7774 |  | 1.0636 | 0.52017 | 0.39674 | 1.1769 | 0.34659 | 0.26416 | 5.9778 | 178.8711 | 137.5718 | 2.8492 | 178.9194 | 137.5914

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15524 | 0.38953 | 0.3337 | 0.1559 | 0.38944 | 0.33456 | 1.7926 | 4.4979 | 3.8533 | 1.8002 | 4.4968 | 3.8631 | 1.5268 | -1.9993 | -2.7283 | -1.3022 | 2.5808 | 3.1228 | 1.5225 | -2.9302 | -0.092984 | -1.4456 | 2.713 | 0.52879 | -46.9754 | 8.6226 | -80.0555 | 132.8191 | -171.5033 | 99.9254 |  | 1.2028 | 0.78865 | 0.70844 | 1.0808 | 0.83268 | 0.81987 | -2.056 | -115.6838 | 101.8965 | 0.80666 | -125.0722 | 109.5363
Line_1 | 0.078396 | 0.19491 | 0.1677 | 0.07795 | 0.19472 | 0.16728 | 0.90524 | 2.2506 | 1.9364 | 0.90009 | 2.2484 | 1.9316 | -0.59719 | 1.4363 | 1.6633 | 0.65111 | -1.2904 | -1.5614 | -0.7053 | 1.305 | 0.37243 | 0.72281 | -1.3565 | -0.2644 | 132.7609 | -171.625 | 99.9854 | -47.1809 | 8.4967 | -80.0746 |  | 1.0209 | 0.86229 | 0.88025 | 1.0808 | 0.83268 | 0.81987 | 2.5057 | -129.3665 | 112.606 | 0.80666 | -125.0722 | 109.5363
Line_2 | 0.078396 | 0.19491 | 0.1677 | 0.07795 | 0.19472 | 0.16728 | 0.90524 | 2.2506 | 1.9364 | 0.90009 | 2.2484 | 1.9316 | -0.59719 | 1.4363 | 1.6633 | 0.65111 | -1.2904 | -1.5614 | -0.7053 | 1.305 | 0.37243 | 0.72281 | -1.3565 | -0.2644 | 132.7609 | -171.625 | 99.9854 | -47.1809 | 8.4967 | -80.0746 |  | 1.0209 | 0.86229 | 0.88025 | 1.0808 | 0.83268 | 0.81987 | 2.5057 | -129.3665 | 112.606 | 0.80666 | -125.0722 | 109.5363

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15524 | 0.38953 | 0.3337 | 0.1559 | 0.38944 | 0.33456 | 1.7926 | 4.4979 | 3.8533 | 1.8002 | 4.4968 | 3.8631 | 1.5268 | -1.9993 | -2.7283 | -1.3022 | 2.5808 | 3.1228 | 1.5225 | -2.9302 | -0.092984 | -1.4456 | 2.713 | 0.52879 | -46.9754 | 8.6226 | -80.0555 | 132.8191 | -171.5033 | 99.9254 |  | 1.2028 | 0.78865 | 0.70844 | 1.0808 | 0.83268 | 0.81987 | -2.056 | -115.6838 | 101.8965 | 0.80666 | -125.0722 | 109.5363
Line_1 | 0.078396 | 0.19491 | 0.1677 | 0.07795 | 0.19472 | 0.16728 | 0.90524 | 2.2506 | 1.9364 | 0.90009 | 2.2484 | 1.9316 | -0.59719 | 1.4363 | 1.6633 | 0.65111 | -1.2904 | -1.5614 | -0.7053 | 1.305 | 0.37243 | 0.72281 | -1.3565 | -0.2644 | 132.7609 | -171.625 | 99.9854 | -47.1809 | 8.4967 | -80.0746 |  | 1.0209 | 0.86229 | 0.88025 | 1.0808 | 0.83268 | 0.81987 | 2.5057 | -129.3665 | 112.606 | 0.80666 | -125.0722 | 109.5363
Line_2 | 0.078396 | 0.19491 | 0.1677 | 0.07795 | 0.19472 | 0.16728 | 0.90524 | 2.2506 | 1.9364 | 0.90009 | 2.2484 | 1.9316 | -0.59719 | 1.4363 | 1.6633 | 0.65111 | -1.2904 | -1.5614 | -0.7053 | 1.305 | 0.37243 | 0.72281 | -1.3565 | -0.2644 | 132.7609 | -171.625 | 99.9854 | -47.1809 | 8.4967 | -80.0746 |  | 1.0209 | 0.86229 | 0.88025 | 1.0808 | 0.83268 | 0.81987 | 2.5057 | -129.3665 | 112.606 | 0.80666 | -125.0722 | 109.5363