## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -3.908e-14 | 3.1264e-14 | 1.5632e-14 | 4.4291e-14 | -2.6053e-14 | 4.1685e-14 | 5.7634e-09 | -5.7634e-09 | -4.1685e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.2463e-13 | 180 | -180 | 7.4873e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.3448e-14 | 1.9011e-19 | -1.0421e-14 | -1.8237e-14 | 5.2105e-15 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.7343e-13 | -180 | 180 | 7.4873e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.3448e-14 | 1.9011e-19 | -1.0421e-14 | -1.8237e-14 | 5.2105e-15 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.7343e-13 | -180 | 180 | 7.4873e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -3.908e-14 | 3.1264e-14 | 1.5632e-14 | 4.4291e-14 | -2.6053e-14 | 4.1685e-14 | 5.7634e-09 | -5.7634e-09 | -4.1685e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.2463e-13 | 180 | -180 | 7.4873e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.3448e-14 | 1.9011e-19 | -1.0421e-14 | -1.8237e-14 | 5.2105e-15 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.7343e-13 | -180 | 180 | 7.4873e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.3448e-14 | 1.9011e-19 | -1.0421e-14 | -1.8237e-14 | 5.2105e-15 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.7343e-13 | -180 | 180 | 7.4873e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -3.908e-14 | 3.1264e-14 | 1.5632e-14 | 4.4291e-14 | -2.6053e-14 | 4.1685e-14 | 5.7634e-09 | -5.7634e-09 | -4.1685e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.2463e-13 | 180 | -180 | 7.4873e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.3448e-14 | 1.9011e-19 | -1.0421e-14 | -1.8237e-14 | 5.2105e-15 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.7343e-13 | -180 | 180 | 7.4873e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.3448e-14 | 1.9011e-19 | -1.0421e-14 | -1.8237e-14 | 5.2105e-15 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.7343e-13 | -180 | 180 | 7.4873e-13 | -180 | 180

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -3.908e-14 | 3.1264e-14 | 1.5632e-14 | 4.4291e-14 | -2.6053e-14 | 4.1685e-14 | 5.7634e-09 | -5.7634e-09 | -4.1685e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.2463e-13 | 180 | -180 | 7.4873e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.3448e-14 | 1.9011e-19 | -1.0421e-14 | -1.8237e-14 | 5.2105e-15 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.7343e-13 | -180 | 180 | 7.4873e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.3448e-14 | 1.9011e-19 | -1.0421e-14 | -1.8237e-14 | 5.2105e-15 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.7343e-13 | -180 | 180 | 7.4873e-13 | -180 | 180

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -1.4211e-14 | -4.737e-15 | 4.737e-15 | 2.0133e-14 | 9.4746e-15 | -2.3685e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.6915e-13 | -180 | 180 | 7.7289e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.7373e-15 | 3.0472e-19 | 1.917e-28 | -3.5529e-15 | 4.7367e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4422e-13 | -180 | 180 | 7.7289e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.7373e-15 | 3.0472e-19 | 1.917e-28 | -3.5529e-15 | 4.7367e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4422e-13 | -180 | 180 | 7.7289e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -1.4211e-14 | -4.737e-15 | 4.737e-15 | 2.0133e-14 | 9.4746e-15 | -2.3685e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.6915e-13 | -180 | 180 | 7.7289e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.7373e-15 | 3.0472e-19 | 1.917e-28 | -3.5529e-15 | 4.7367e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4422e-13 | -180 | 180 | 7.7289e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.7373e-15 | 3.0472e-19 | 1.917e-28 | -3.5529e-15 | 4.7367e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4422e-13 | -180 | 180 | 7.7289e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -1.4211e-14 | -4.737e-15 | 4.737e-15 | 2.0133e-14 | 9.4746e-15 | -2.3685e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.6915e-13 | -180 | 180 | 7.7289e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.7373e-15 | 3.0472e-19 | 1.917e-28 | -3.5529e-15 | 4.7367e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4422e-13 | -180 | 180 | 7.7289e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.7373e-15 | 3.0472e-19 | 1.917e-28 | -3.5529e-15 | 4.7367e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4422e-13 | -180 | 180 | 7.7289e-13 | -180 | 180

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -1.4211e-14 | -4.737e-15 | 4.737e-15 | 2.0133e-14 | 9.4746e-15 | -2.3685e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.6915e-13 | -180 | 180 | 7.7289e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.7373e-15 | 3.0472e-19 | 1.917e-28 | -3.5529e-15 | 4.7367e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4422e-13 | -180 | 180 | 7.7289e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.7373e-15 | 3.0472e-19 | 1.917e-28 | -3.5529e-15 | 4.7367e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4422e-13 | -180 | 180 | 7.7289e-13 | -180 | 180

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1577 | 1.1577 | 1.1577 | 1.1597 | 1.1597 | 1.1597 | 13.3682 | 13.3682 | 13.3682 | 13.391 | 13.391 | 13.391 | 7.3947e-11 | 0.35454 | 22.0076 | 4.9651 | 4.6357 | -17.0756 | -8.5921e-11 | 16.1755 | 2.7645 | 1.9776 | -14.2261 | -0.82668 | 121.7723 | 121.7723 | 121.7723 | -58.3187 | -58.3187 | -58.3187 |  | 0 | 1.2103 | 1.6592 | 0.39911 | 1.1173 | 1.2767 | 0 | -149.4833 | 128.9322 | -36.6015 | -130.27 | 124.453
Line_1 | 0.58128 | 0.58128 | 0.58128 | 0.57985 | 0.57985 | 0.57985 | 6.712 | 6.712 | 6.712 | 6.6955 | 6.6955 | 6.6955 | 3.735 | 3.5764 | -7.3114 | -2.4826 | -2.3179 | 8.5378 | 1.4894 | -6.6326 | 0.075005 | -0.98879 | 7.113 | 0.41334 | -58.3641 | -58.3641 | -58.3641 | 121.6813 | 121.6813 | 121.6813 |  | 0.59908 | 1.1227 | 1.0894 | 0.39911 | 1.1173 | 1.2767 | -36.6243 | -120.0301 | 121.0481 | -36.6015 | -130.27 | 124.453
Line_2 | 0.58128 | 0.58128 | 0.58128 | 0.57985 | 0.57985 | 0.57985 | 6.712 | 6.712 | 6.712 | 6.6955 | 6.6955 | 6.6955 | 3.735 | 3.5764 | -7.3114 | -2.4826 | -2.3179 | 8.5378 | 1.4894 | -6.6326 | 0.075005 | -0.98879 | 7.113 | 0.41334 | -58.3641 | -58.3641 | -58.3641 | 121.6813 | 121.6813 | 121.6813 |  | 0.59908 | 1.1227 | 1.0894 | 0.39911 | 1.1173 | 1.2767 | -36.6243 | -120.0301 | 121.0481 | -36.6015 | -130.27 | 124.453

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1577 | 1.1577 | 1.1577 | 1.1597 | 1.1597 | 1.1597 | 13.3682 | 13.3682 | 13.3682 | 13.391 | 13.391 | 13.391 | 7.3947e-11 | 0.35454 | 22.0076 | 4.9651 | 4.6357 | -17.0756 | -8.5921e-11 | 16.1755 | 2.7645 | 1.9776 | -14.2261 | -0.82668 | 121.7723 | 121.7723 | 121.7723 | -58.3187 | -58.3187 | -58.3187 |  | 0 | 1.2103 | 1.6592 | 0.39911 | 1.1173 | 1.2767 | 0 | -149.4833 | 128.9322 | -36.6015 | -130.27 | 124.453
Line_1 | 0.58128 | 0.58128 | 0.58128 | 0.57985 | 0.57985 | 0.57985 | 6.712 | 6.712 | 6.712 | 6.6955 | 6.6955 | 6.6955 | 3.735 | 3.5764 | -7.3114 | -2.4826 | -2.3179 | 8.5378 | 1.4894 | -6.6326 | 0.075005 | -0.98879 | 7.113 | 0.41334 | -58.3641 | -58.3641 | -58.3641 | 121.6813 | 121.6813 | 121.6813 |  | 0.59908 | 1.1227 | 1.0894 | 0.39911 | 1.1173 | 1.2767 | -36.6243 | -120.0301 | 121.0481 | -36.6015 | -130.27 | 124.453
Line_2 | 0.58128 | 0.58128 | 0.58128 | 0.57985 | 0.57985 | 0.57985 | 6.712 | 6.712 | 6.712 | 6.6955 | 6.6955 | 6.6955 | 3.735 | 3.5764 | -7.3114 | -2.4826 | -2.3179 | 8.5378 | 1.4894 | -6.6326 | 0.075005 | -0.98879 | 7.113 | 0.41334 | -58.3641 | -58.3641 | -58.3641 | 121.6813 | 121.6813 | 121.6813 |  | 0.59908 | 1.1227 | 1.0894 | 0.39911 | 1.1173 | 1.2767 | -36.6243 | -120.0301 | 121.0481 | -36.6015 | -130.27 | 124.453

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39703 | 0.39703 | 0.39703 | 0.3977 | 0.3977 | 0.3977 | 4.5845 | 4.5845 | 4.5845 | 4.5923 | 4.5923 | 4.5923 | -2.3644 | -0.82375 | 5.8181 | 2.9487 | 1.4173 | -5.245 | -2.3644 | 5.1323 | -0.54032 | 2.6048 | -4.9071 | 0.76456 | 130.4993 | 130.4993 | 130.4993 | -49.5917 | -49.5917 | -49.5917 |  | 0.72938 | 1.1338 | 1.2746 | 0.85674 | 1.1122 | 1.1542 | -4.5007 | -130.3822 | 125.1936 | -8.1346 | -123.4821 | 122.1147
Line_1 | 0.19934 | 0.19934 | 0.19934 | 0.19885 | 0.19885 | 0.19885 | 2.3018 | 2.3018 | 2.3018 | 2.2961 | 2.2961 | 2.2961 | 1.6236 | 0.859 | -2.4826 | -1.4743 | -0.70863 | 2.6225 | 1.3651 | -2.4007 | 0.43949 | -1.3024 | 2.4536 | -0.38228 | -49.6372 | -49.6372 | -49.6372 | 130.4083 | 130.4083 | 130.4083 |  | 0.92156 | 1.1077 | 1.0953 | 0.85674 | 1.1122 | 1.1542 | -9.5796 | -119.9493 | 120.3239 | -8.1346 | -123.4821 | 122.1147
Line_2 | 0.19934 | 0.19934 | 0.19934 | 0.19885 | 0.19885 | 0.19885 | 2.3018 | 2.3018 | 2.3018 | 2.2961 | 2.2961 | 2.2961 | 1.6236 | 0.859 | -2.4826 | -1.4743 | -0.70863 | 2.6225 | 1.3651 | -2.4007 | 0.43949 | -1.3024 | 2.4536 | -0.38228 | -49.6372 | -49.6372 | -49.6372 | 130.4083 | 130.4083 | 130.4083 |  | 0.92156 | 1.1077 | 1.0953 | 0.85674 | 1.1122 | 1.1542 | -9.5796 | -119.9493 | 120.3239 | -8.1346 | -123.4821 | 122.1147

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39703 | 0.39703 | 0.39703 | 0.3977 | 0.3977 | 0.3977 | 4.5845 | 4.5845 | 4.5845 | 4.5923 | 4.5923 | 4.5923 | -2.3644 | -0.82375 | 5.8181 | 2.9487 | 1.4173 | -5.245 | -2.3644 | 5.1323 | -0.54032 | 2.6048 | -4.9071 | 0.76456 | 130.4993 | 130.4993 | 130.4993 | -49.5917 | -49.5917 | -49.5917 |  | 0.72938 | 1.1338 | 1.2746 | 0.85674 | 1.1122 | 1.1542 | -4.5007 | -130.3822 | 125.1936 | -8.1346 | -123.4821 | 122.1147
Line_1 | 0.19934 | 0.19934 | 0.19934 | 0.19885 | 0.19885 | 0.19885 | 2.3018 | 2.3018 | 2.3018 | 2.2961 | 2.2961 | 2.2961 | 1.6236 | 0.859 | -2.4826 | -1.4743 | -0.70863 | 2.6225 | 1.3651 | -2.4007 | 0.43949 | -1.3024 | 2.4536 | -0.38228 | -49.6372 | -49.6372 | -49.6372 | 130.4083 | 130.4083 | 130.4083 |  | 0.92156 | 1.1077 | 1.0953 | 0.85674 | 1.1122 | 1.1542 | -9.5796 | -119.9493 | 120.3239 | -8.1346 | -123.4821 | 122.1147
Line_2 | 0.19934 | 0.19934 | 0.19934 | 0.19885 | 0.19885 | 0.19885 | 2.3018 | 2.3018 | 2.3018 | 2.2961 | 2.2961 | 2.2961 | 1.6236 | 0.859 | -2.4826 | -1.4743 | -0.70863 | 2.6225 | 1.3651 | -2.4007 | 0.43949 | -1.3024 | 2.4536 | -0.38228 | -49.6372 | -49.6372 | -49.6372 | 130.4083 | 130.4083 | 130.4083 |  | 0.92156 | 1.1077 | 1.0953 | 0.85674 | 1.1122 | 1.1542 | -9.5796 | -119.9493 | 120.3239 | -8.1346 | -123.4821 | 122.1147

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.79755 | 0.79755 | 0.79755 | 0.7989 | 0.7989 | 0.7989 | 9.2093 | 9.2093 | 9.2093 | 9.225 | 9.225 | 9.225 | -2.3975e-11 | 4.9441 | 15.4319 | 4.5241 | -0.39634 | -10.9387 | 2.5305e-12 | 10.4808 | -1.5375 | 0.94103 | -9.5726 | 2.434 | 138.8902 | 138.8902 | 138.8902 | -41.2845 | -41.2845 | -41.2845 |  | 0 | 1.2583 | 1.684 | 0.50092 | 1.0386 | 1.2148 | 0 | -156.3645 | 133.2005 | -29.5344 | -133.6554 | 126.1708
Line_1 | 0.40044 | 0.40044 | 0.40044 | 0.39945 | 0.39945 | 0.39945 | 4.6238 | 4.6238 | 4.6238 | 4.6125 | 4.6125 | 4.6125 | 3.4033 | 0.94501 | -4.3483 | -2.2621 | 0.19817 | 5.4693 | 0.71059 | -4.5629 | 1.4471 | -0.47051 | 4.7863 | -1.217 | -41.3717 | -41.3717 | -41.3717 | 138.7155 | 138.7155 | 138.7155 |  | 0.7519 | 1.0078 | 0.99112 | 0.50092 | 1.0386 | 1.2148 | -29.5781 | -119.6709 | 120.2208 | -29.5344 | -133.6554 | 126.1708
Line_2 | 0.40044 | 0.40044 | 0.40044 | 0.39945 | 0.39945 | 0.39945 | 4.6238 | 4.6238 | 4.6238 | 4.6125 | 4.6125 | 4.6125 | 3.4033 | 0.94501 | -4.3483 | -2.2621 | 0.19817 | 5.4693 | 0.71059 | -4.5629 | 1.4471 | -0.47051 | 4.7863 | -1.217 | -41.3717 | -41.3717 | -41.3717 | 138.7155 | 138.7155 | 138.7155 |  | 0.7519 | 1.0078 | 0.99112 | 0.50092 | 1.0386 | 1.2148 | -29.5781 | -119.6709 | 120.2208 | -29.5344 | -133.6554 | 126.1708

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.79755 | 0.79755 | 0.79755 | 0.7989 | 0.7989 | 0.7989 | 9.2093 | 9.2093 | 9.2093 | 9.225 | 9.225 | 9.225 | -2.3975e-11 | 4.9441 | 15.4319 | 4.5241 | -0.39634 | -10.9387 | 2.5305e-12 | 10.4808 | -1.5375 | 0.94103 | -9.5726 | 2.434 | 138.8902 | 138.8902 | 138.8902 | -41.2845 | -41.2845 | -41.2845 |  | 0 | 1.2583 | 1.684 | 0.50092 | 1.0386 | 1.2148 | 0 | -156.3645 | 133.2005 | -29.5344 | -133.6554 | 126.1708
Line_1 | 0.40044 | 0.40044 | 0.40044 | 0.39945 | 0.39945 | 0.39945 | 4.6238 | 4.6238 | 4.6238 | 4.6125 | 4.6125 | 4.6125 | 3.4033 | 0.94501 | -4.3483 | -2.2621 | 0.19817 | 5.4693 | 0.71059 | -4.5629 | 1.4471 | -0.47051 | 4.7863 | -1.217 | -41.3717 | -41.3717 | -41.3717 | 138.7155 | 138.7155 | 138.7155 |  | 0.7519 | 1.0078 | 0.99112 | 0.50092 | 1.0386 | 1.2148 | -29.5781 | -119.6709 | 120.2208 | -29.5344 | -133.6554 | 126.1708
Line_2 | 0.40044 | 0.40044 | 0.40044 | 0.39945 | 0.39945 | 0.39945 | 4.6238 | 4.6238 | 4.6238 | 4.6125 | 4.6125 | 4.6125 | 3.4033 | 0.94501 | -4.3483 | -2.2621 | 0.19817 | 5.4693 | 0.71059 | -4.5629 | 1.4471 | -0.47051 | 4.7863 | -1.217 | -41.3717 | -41.3717 | -41.3717 | 138.7155 | 138.7155 | 138.7155 |  | 0.7519 | 1.0078 | 0.99112 | 0.50092 | 1.0386 | 1.2148 | -29.5781 | -119.6709 | 120.2208 | -29.5344 | -133.6554 | 126.1708

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3237 | 0.3237 | 0.3237 | 0.32425 | 0.32425 | 0.32425 | 3.7378 | 3.7378 | 3.7378 | 3.7442 | 3.7442 | 3.7442 | -1.5718 | 0.23916 | 4.6892 | 2.3149 | 0.51755 | -3.9544 | -1.5718 | 3.8736 | -0.82858 | 1.7342 | -3.7259 | 0.97069 | 136.5779 | 136.5779 | 136.5779 | -43.5968 | -43.5968 | -43.5968 |  | 0.59468 | 1.0383 | 1.274 | 0.77253 | 1.0047 | 1.0875 | 1.5779 | -136.955 | 126.5572 | -6.7575 | -125.6886 | 122.6116
Line_1 | 0.16253 | 0.16253 | 0.16253 | 0.16213 | 0.16213 | 0.16213 | 1.8767 | 1.8767 | 1.8767 | 1.8721 | 1.8721 | 1.8721 | 1.3462 | 0.44945 | -1.7956 | -1.1575 | -0.25877 | 1.9772 | 0.90981 | -1.8283 | 0.52231 | -0.86712 | 1.8629 | -0.48534 | -43.684 | -43.684 | -43.684 | 136.4032 | 136.4032 | 136.4032 |  | 0.86577 | 1.0032 | 0.99646 | 0.77253 | 1.0047 | 1.0875 | -9.6312 | -119.8732 | 120.0974 | -6.7575 | -125.6886 | 122.6116
Line_2 | 0.16253 | 0.16253 | 0.16253 | 0.16213 | 0.16213 | 0.16213 | 1.8767 | 1.8767 | 1.8767 | 1.8721 | 1.8721 | 1.8721 | 1.3462 | 0.44945 | -1.7956 | -1.1575 | -0.25877 | 1.9772 | 0.90981 | -1.8283 | 0.52231 | -0.86712 | 1.8629 | -0.48534 | -43.684 | -43.684 | -43.684 | 136.4032 | 136.4032 | 136.4032 |  | 0.86577 | 1.0032 | 0.99646 | 0.77253 | 1.0047 | 1.0875 | -9.6312 | -119.8732 | 120.0974 | -6.7575 | -125.6886 | 122.6116

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3237 | 0.3237 | 0.3237 | 0.32425 | 0.32425 | 0.32425 | 3.7378 | 3.7378 | 3.7378 | 3.7442 | 3.7442 | 3.7442 | -1.5718 | 0.23916 | 4.6892 | 2.3149 | 0.51755 | -3.9544 | -1.5718 | 3.8736 | -0.82858 | 1.7342 | -3.7259 | 0.97069 | 136.5779 | 136.5779 | 136.5779 | -43.5968 | -43.5968 | -43.5968 |  | 0.59468 | 1.0383 | 1.274 | 0.77253 | 1.0047 | 1.0875 | 1.5779 | -136.955 | 126.5572 | -6.7575 | -125.6886 | 122.6116
Line_1 | 0.16253 | 0.16253 | 0.16253 | 0.16213 | 0.16213 | 0.16213 | 1.8767 | 1.8767 | 1.8767 | 1.8721 | 1.8721 | 1.8721 | 1.3462 | 0.44945 | -1.7956 | -1.1575 | -0.25877 | 1.9772 | 0.90981 | -1.8283 | 0.52231 | -0.86712 | 1.8629 | -0.48534 | -43.684 | -43.684 | -43.684 | 136.4032 | 136.4032 | 136.4032 |  | 0.86577 | 1.0032 | 0.99646 | 0.77253 | 1.0047 | 1.0875 | -9.6312 | -119.8732 | 120.0974 | -6.7575 | -125.6886 | 122.6116
Line_2 | 0.16253 | 0.16253 | 0.16253 | 0.16213 | 0.16213 | 0.16213 | 1.8767 | 1.8767 | 1.8767 | 1.8721 | 1.8721 | 1.8721 | 1.3462 | 0.44945 | -1.7956 | -1.1575 | -0.25877 | 1.9772 | 0.90981 | -1.8283 | 0.52231 | -0.86712 | 1.8629 | -0.48534 | -43.684 | -43.684 | -43.684 | 136.4032 | 136.4032 | 136.4032 |  | 0.86577 | 1.0032 | 0.99646 | 0.77253 | 1.0047 | 1.0875 | -9.6312 | -119.8732 | 120.0974 | -6.7575 | -125.6886 | 122.6116

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.78218 | 0.78218 | 0.78218 | 0.78351 | 0.78351 | 0.78351 | 9.0318 | 9.0318 | 9.0318 | 9.0473 | 9.0473 | 9.0473 | 10.2076 | 2.5715e-11 | -1.125e-11 | -7.9448 | 2.2664 | 2.2664 | 8.6455 | 2.1804e-12 | -2.3245e-11 | -7.7738 | 0.9027 | 0.9027 | -46.244 | -46.244 | -46.244 | 133.665 | 133.665 | 133.665 |  | 1.4811 | 0 | 0 | 1.2286 | 0.26965 | 0.26965 | -5.9804 | 0 | 0 | -1.9584 | 155.3822 | 155.3822
Line_1 | 0.39272 | 0.39272 | 0.39272 | 0.39176 | 0.39176 | 0.39176 | 4.5348 | 4.5348 | 4.5348 | 4.5236 | 4.5236 | 4.5236 | -3.4098 | 1.7049 | 1.7049 | 3.9724 | -1.1332 | -1.1332 | -3.6731 | 0.67984 | 0.67984 | 3.8869 | -0.45135 | -0.45135 | 133.6196 | 133.6196 | 133.6196 | -46.335 | -46.335 | -46.335 |  | 1.1052 | 0.40475 | 0.40475 | 1.2286 | 0.26965 | 0.26965 | 0.74868 | 155.3594 | 155.3594 | -1.9584 | 155.3822 | 155.3822
Line_2 | 0.39272 | 0.39272 | 0.39272 | 0.39176 | 0.39176 | 0.39176 | 4.5348 | 4.5348 | 4.5348 | 4.5236 | 4.5236 | 4.5236 | -3.4098 | 1.7049 | 1.7049 | 3.9724 | -1.1332 | -1.1332 | -3.6731 | 0.67984 | 0.67984 | 3.8869 | -0.45135 | -0.45135 | 133.6196 | 133.6196 | 133.6196 | -46.335 | -46.335 | -46.335 |  | 1.1052 | 0.40475 | 0.40475 | 1.2286 | 0.26965 | 0.26965 | 0.74868 | 155.3594 | 155.3594 | -1.9584 | 155.3822 | 155.3822

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.78218 | 0.78218 | 0.78218 | 0.78351 | 0.78351 | 0.78351 | 9.0318 | 9.0318 | 9.0318 | 9.0473 | 9.0473 | 9.0473 | 10.2076 | 2.5715e-11 | -1.125e-11 | -7.9448 | 2.2664 | 2.2664 | 8.6455 | 2.1804e-12 | -2.3245e-11 | -7.7738 | 0.9027 | 0.9027 | -46.244 | -46.244 | -46.244 | 133.665 | 133.665 | 133.665 |  | 1.4811 | 0 | 0 | 1.2286 | 0.26965 | 0.26965 | -5.9804 | 0 | 0 | -1.9584 | 155.3822 | 155.3822
Line_1 | 0.39272 | 0.39272 | 0.39272 | 0.39176 | 0.39176 | 0.39176 | 4.5348 | 4.5348 | 4.5348 | 4.5236 | 4.5236 | 4.5236 | -3.4098 | 1.7049 | 1.7049 | 3.9724 | -1.1332 | -1.1332 | -3.6731 | 0.67984 | 0.67984 | 3.8869 | -0.45135 | -0.45135 | 133.6196 | 133.6196 | 133.6196 | -46.335 | -46.335 | -46.335 |  | 1.1052 | 0.40475 | 0.40475 | 1.2286 | 0.26965 | 0.26965 | 0.74868 | 155.3594 | 155.3594 | -1.9584 | 155.3822 | 155.3822
Line_2 | 0.39272 | 0.39272 | 0.39272 | 0.39176 | 0.39176 | 0.39176 | 4.5348 | 4.5348 | 4.5348 | 4.5236 | 4.5236 | 4.5236 | -3.4098 | 1.7049 | 1.7049 | 3.9724 | -1.1332 | -1.1332 | -3.6731 | 0.67984 | 0.67984 | 3.8869 | -0.45135 | -0.45135 | 133.6196 | 133.6196 | 133.6196 | -46.335 | -46.335 | -46.335 |  | 1.1052 | 0.40475 | 0.40475 | 1.2286 | 0.26965 | 0.26965 | 0.74868 | 155.3594 | 155.3594 | -1.9584 | 155.3822 | 155.3822

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.78218 | 0.78218 | 0.78218 | 0.78351 | 0.78351 | 0.78351 | 9.0318 | 9.0318 | 9.0318 | 9.0473 | 9.0473 | 9.0473 | 10.2076 | 2.5715e-11 | -1.125e-11 | -7.9448 | 2.2664 | 2.2664 | 8.6455 | 2.1804e-12 | -2.3245e-11 | -7.7738 | 0.9027 | 0.9027 | -46.244 | -46.244 | -46.244 | 133.665 | 133.665 | 133.665 |  | 1.4811 | 0 | 0 | 1.2286 | 0.26965 | 0.26965 | -5.9804 | 0 | 0 | -1.9584 | 155.3822 | 155.3822
Line_1 | 0.39272 | 0.39272 | 0.39272 | 0.39176 | 0.39176 | 0.39176 | 4.5348 | 4.5348 | 4.5348 | 4.5236 | 4.5236 | 4.5236 | -3.4098 | 1.7049 | 1.7049 | 3.9724 | -1.1332 | -1.1332 | -3.6731 | 0.67984 | 0.67984 | 3.8869 | -0.45135 | -0.45135 | 133.6196 | 133.6196 | 133.6196 | -46.335 | -46.335 | -46.335 |  | 1.1052 | 0.40475 | 0.40475 | 1.2286 | 0.26965 | 0.26965 | 0.74868 | 155.3594 | 155.3594 | -1.9584 | 155.3822 | 155.3822
Line_2 | 0.39272 | 0.39272 | 0.39272 | 0.39176 | 0.39176 | 0.39176 | 4.5348 | 4.5348 | 4.5348 | 4.5236 | 4.5236 | 4.5236 | -3.4098 | 1.7049 | 1.7049 | 3.9724 | -1.1332 | -1.1332 | -3.6731 | 0.67984 | 0.67984 | 3.8869 | -0.45135 | -0.45135 | 133.6196 | 133.6196 | 133.6196 | -46.335 | -46.335 | -46.335 |  | 1.1052 | 0.40475 | 0.40475 | 1.2286 | 0.26965 | 0.26965 | 0.74868 | 155.3594 | 155.3594 | -1.9584 | 155.3822 | 155.3822

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.78218 | 0.78218 | 0.78218 | 0.78351 | 0.78351 | 0.78351 | 9.0318 | 9.0318 | 9.0318 | 9.0473 | 9.0473 | 9.0473 | 10.2076 | 2.5715e-11 | -1.125e-11 | -7.9448 | 2.2664 | 2.2664 | 8.6455 | 2.1804e-12 | -2.3245e-11 | -7.7738 | 0.9027 | 0.9027 | -46.244 | -46.244 | -46.244 | 133.665 | 133.665 | 133.665 |  | 1.4811 | 0 | 0 | 1.2286 | 0.26965 | 0.26965 | -5.9804 | 0 | 0 | -1.9584 | 155.3822 | 155.3822
Line_1 | 0.39272 | 0.39272 | 0.39272 | 0.39176 | 0.39176 | 0.39176 | 4.5348 | 4.5348 | 4.5348 | 4.5236 | 4.5236 | 4.5236 | -3.4098 | 1.7049 | 1.7049 | 3.9724 | -1.1332 | -1.1332 | -3.6731 | 0.67984 | 0.67984 | 3.8869 | -0.45135 | -0.45135 | 133.6196 | 133.6196 | 133.6196 | -46.335 | -46.335 | -46.335 |  | 1.1052 | 0.40475 | 0.40475 | 1.2286 | 0.26965 | 0.26965 | 0.74868 | 155.3594 | 155.3594 | -1.9584 | 155.3822 | 155.3822
Line_2 | 0.39272 | 0.39272 | 0.39272 | 0.39176 | 0.39176 | 0.39176 | 4.5348 | 4.5348 | 4.5348 | 4.5236 | 4.5236 | 4.5236 | -3.4098 | 1.7049 | 1.7049 | 3.9724 | -1.1332 | -1.1332 | -3.6731 | 0.67984 | 0.67984 | 3.8869 | -0.45135 | -0.45135 | 133.6196 | 133.6196 | 133.6196 | -46.335 | -46.335 | -46.335 |  | 1.1052 | 0.40475 | 0.40475 | 1.2286 | 0.26965 | 0.26965 | 0.74868 | 155.3594 | 155.3594 | -1.9584 | 155.3822 | 155.3822

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4714 | 0.4714 | 0.4714 | 0.47221 | 0.47221 | 0.47221 | 5.4433 | 5.4433 | 5.4433 | 5.4526 | 5.4526 | 5.4526 | 7.1185 | -2.0035e-12 | -5.1483e-12 | -5.5405 | 1.5805 | 1.5805 | 3.1244 | -6.9968e-12 | 5.2733e-12 | -2.8227 | 0.32876 | 0.32876 | -28.771 | -28.771 | -28.771 | 151.0543 | 151.0543 | 151.0543 |  | 1.4282 | 0 | 0 | 1.1404 | 0.29608 | 0.29608 | -5.0738 | 0 | 0 | -1.9485 | 162.8044 | 162.8044
Line_1 | 0.23668 | 0.23668 | 0.23668 | 0.2361 | 0.2361 | 0.2361 | 2.733 | 2.733 | 2.733 | 2.7263 | 2.7263 | 2.7263 | -2.3779 | 1.189 | 1.189 | 2.7703 | -0.79027 | -0.79027 | -1.3368 | 0.24825 | 0.24825 | 1.4113 | -0.16438 | -0.16438 | 150.9671 | 150.9671 | 150.9671 | -28.9457 | -28.9457 | -28.9457 |  | 0.99814 | 0.44442 | 0.44442 | 1.1404 | 0.29608 | 0.29608 | 0.31025 | 162.7607 | 162.7607 | -1.9485 | 162.8044 | 162.8044
Line_2 | 0.23668 | 0.23668 | 0.23668 | 0.2361 | 0.2361 | 0.2361 | 2.733 | 2.733 | 2.733 | 2.7263 | 2.7263 | 2.7263 | -2.3779 | 1.189 | 1.189 | 2.7703 | -0.79027 | -0.79027 | -1.3368 | 0.24825 | 0.24825 | 1.4113 | -0.16438 | -0.16438 | 150.9671 | 150.9671 | 150.9671 | -28.9457 | -28.9457 | -28.9457 |  | 0.99814 | 0.44442 | 0.44442 | 1.1404 | 0.29608 | 0.29608 | 0.31025 | 162.7607 | 162.7607 | -1.9485 | 162.8044 | 162.8044

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4714 | 0.4714 | 0.4714 | 0.47221 | 0.47221 | 0.47221 | 5.4433 | 5.4433 | 5.4433 | 5.4526 | 5.4526 | 5.4526 | 7.1185 | -2.0035e-12 | -5.1483e-12 | -5.5405 | 1.5805 | 1.5805 | 3.1244 | -6.9968e-12 | 5.2733e-12 | -2.8227 | 0.32876 | 0.32876 | -28.771 | -28.771 | -28.771 | 151.0543 | 151.0543 | 151.0543 |  | 1.4282 | 0 | 0 | 1.1404 | 0.29608 | 0.29608 | -5.0738 | 0 | 0 | -1.9485 | 162.8044 | 162.8044
Line_1 | 0.23668 | 0.23668 | 0.23668 | 0.2361 | 0.2361 | 0.2361 | 2.733 | 2.733 | 2.733 | 2.7263 | 2.7263 | 2.7263 | -2.3779 | 1.189 | 1.189 | 2.7703 | -0.79027 | -0.79027 | -1.3368 | 0.24825 | 0.24825 | 1.4113 | -0.16438 | -0.16438 | 150.9671 | 150.9671 | 150.9671 | -28.9457 | -28.9457 | -28.9457 |  | 0.99814 | 0.44442 | 0.44442 | 1.1404 | 0.29608 | 0.29608 | 0.31025 | 162.7607 | 162.7607 | -1.9485 | 162.8044 | 162.8044
Line_2 | 0.23668 | 0.23668 | 0.23668 | 0.2361 | 0.2361 | 0.2361 | 2.733 | 2.733 | 2.733 | 2.7263 | 2.7263 | 2.7263 | -2.3779 | 1.189 | 1.189 | 2.7703 | -0.79027 | -0.79027 | -1.3368 | 0.24825 | 0.24825 | 1.4113 | -0.16438 | -0.16438 | 150.9671 | 150.9671 | 150.9671 | -28.9457 | -28.9457 | -28.9457 |  | 0.99814 | 0.44442 | 0.44442 | 1.1404 | 0.29608 | 0.29608 | 0.31025 | 162.7607 | 162.7607 | -1.9485 | 162.8044 | 162.8044

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4714 | 0.4714 | 0.4714 | 0.47221 | 0.47221 | 0.47221 | 5.4433 | 5.4433 | 5.4433 | 5.4526 | 5.4526 | 5.4526 | 7.1185 | -2.0035e-12 | -5.1483e-12 | -5.5405 | 1.5805 | 1.5805 | 3.1244 | -6.9968e-12 | 5.2733e-12 | -2.8227 | 0.32876 | 0.32876 | -28.771 | -28.771 | -28.771 | 151.0543 | 151.0543 | 151.0543 |  | 1.4282 | 0 | 0 | 1.1404 | 0.29608 | 0.29608 | -5.0738 | 0 | 0 | -1.9485 | 162.8044 | 162.8044
Line_1 | 0.23668 | 0.23668 | 0.23668 | 0.2361 | 0.2361 | 0.2361 | 2.733 | 2.733 | 2.733 | 2.7263 | 2.7263 | 2.7263 | -2.3779 | 1.189 | 1.189 | 2.7703 | -0.79027 | -0.79027 | -1.3368 | 0.24825 | 0.24825 | 1.4113 | -0.16438 | -0.16438 | 150.9671 | 150.9671 | 150.9671 | -28.9457 | -28.9457 | -28.9457 |  | 0.99814 | 0.44442 | 0.44442 | 1.1404 | 0.29608 | 0.29608 | 0.31025 | 162.7607 | 162.7607 | -1.9485 | 162.8044 | 162.8044
Line_2 | 0.23668 | 0.23668 | 0.23668 | 0.2361 | 0.2361 | 0.2361 | 2.733 | 2.733 | 2.733 | 2.7263 | 2.7263 | 2.7263 | -2.3779 | 1.189 | 1.189 | 2.7703 | -0.79027 | -0.79027 | -1.3368 | 0.24825 | 0.24825 | 1.4113 | -0.16438 | -0.16438 | 150.9671 | 150.9671 | 150.9671 | -28.9457 | -28.9457 | -28.9457 |  | 0.99814 | 0.44442 | 0.44442 | 1.1404 | 0.29608 | 0.29608 | 0.31025 | 162.7607 | 162.7607 | -1.9485 | 162.8044 | 162.8044

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4714 | 0.4714 | 0.4714 | 0.47221 | 0.47221 | 0.47221 | 5.4433 | 5.4433 | 5.4433 | 5.4526 | 5.4526 | 5.4526 | 7.1185 | -2.0035e-12 | -5.1483e-12 | -5.5405 | 1.5805 | 1.5805 | 3.1244 | -6.9968e-12 | 5.2733e-12 | -2.8227 | 0.32876 | 0.32876 | -28.771 | -28.771 | -28.771 | 151.0543 | 151.0543 | 151.0543 |  | 1.4282 | 0 | 0 | 1.1404 | 0.29608 | 0.29608 | -5.0738 | 0 | 0 | -1.9485 | 162.8044 | 162.8044
Line_1 | 0.23668 | 0.23668 | 0.23668 | 0.2361 | 0.2361 | 0.2361 | 2.733 | 2.733 | 2.733 | 2.7263 | 2.7263 | 2.7263 | -2.3779 | 1.189 | 1.189 | 2.7703 | -0.79027 | -0.79027 | -1.3368 | 0.24825 | 0.24825 | 1.4113 | -0.16438 | -0.16438 | 150.9671 | 150.9671 | 150.9671 | -28.9457 | -28.9457 | -28.9457 |  | 0.99814 | 0.44442 | 0.44442 | 1.1404 | 0.29608 | 0.29608 | 0.31025 | 162.7607 | 162.7607 | -1.9485 | 162.8044 | 162.8044
Line_2 | 0.23668 | 0.23668 | 0.23668 | 0.2361 | 0.2361 | 0.2361 | 2.733 | 2.733 | 2.733 | 2.7263 | 2.7263 | 2.7263 | -2.3779 | 1.189 | 1.189 | 2.7703 | -0.79027 | -0.79027 | -1.3368 | 0.24825 | 0.24825 | 1.4113 | -0.16438 | -0.16438 | 150.9671 | 150.9671 | 150.9671 | -28.9457 | -28.9457 | -28.9457 |  | 0.99814 | 0.44442 | 0.44442 | 1.1404 | 0.29608 | 0.29608 | 0.31025 | 162.7607 | 162.7607 | -1.9485 | 162.8044 | 162.8044