## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.029 | 0.88362 | 0.80624 | 2.0261 | 0.88661 | 0.80862 | 23.4288 | 10.2031 | 9.3096 | 23.3955 | 10.2377 | 9.3372 | 3.0791 | -9.3318 | 13.1536 | 1.0916e-10 | 9.3744 | -13.2026 | 2.4504 | 10.0919 | 1.6976 | -7.9642e-11 | -9.7578 | -1.2206 | -74.8485 | 92.911 | 126.3273 | 105.1752 | -87.1025 | -53.8018 |  | 0.16796 | 1.3472 | 1.4246 | 0 | 1.3217 | 1.42 | -36.3342 | -134.3299 | 133.6811 | 0 | -133.2504 | 131.4803
Line_1 | 1.1405 | 0.44602 | 0.40665 | 1.1378 | 0.4433 | 0.40431 | 13.1688 | 5.1502 | 4.6956 | 13.1379 | 5.1188 | 4.6686 | 3.0157 | 5.6529 | -5.6814 | 6.1298e-11 | -4.6872 | 6.6013 | 1.4802 | -4.3264 | -0.59816 | -4.4723e-11 | 4.8789 | 0.61031 | -74.8481 | -87.0856 | -53.9961 | 105.1744 | 92.8975 | 126.1982 |  | 0.2551 | 1.3822 | 1.2166 | 0 | 1.3217 | 1.42 | -48.704 | -124.5139 | 132.0141 | 0 | -133.2504 | 131.4803
Line_2 | 1.1405 | 0.44602 | 0.40665 | 1.1378 | 0.4433 | 0.40431 | 13.1688 | 5.1502 | 4.6956 | 13.1379 | 5.1188 | 4.6686 | 3.0157 | 5.6529 | -5.6814 | 6.1298e-11 | -4.6872 | 6.6013 | 1.4802 | -4.3264 | -0.59816 | -4.4723e-11 | 4.8789 | 0.61031 | -74.8481 | -87.0856 | -53.9961 | 105.1744 | 92.8975 | 126.1982 |  | 0.2551 | 1.3822 | 1.2166 | 0 | 1.3217 | 1.42 | -48.704 | -124.5139 | 132.0141 | 0 | -133.2504 | 131.4803

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.029 | 0.88362 | 0.80624 | 2.0261 | 0.88661 | 0.80862 | 23.4288 | 10.2031 | 9.3096 | 23.3955 | 10.2377 | 9.3372 | 3.0791 | -9.3318 | 13.1536 | 1.0916e-10 | 9.3744 | -13.2026 | 2.4504 | 10.0919 | 1.6976 | -7.9642e-11 | -9.7578 | -1.2206 | -74.8485 | 92.911 | 126.3273 | 105.1752 | -87.1025 | -53.8018 |  | 0.16796 | 1.3472 | 1.4246 | 0 | 1.3217 | 1.42 | -36.3342 | -134.3299 | 133.6811 | 0 | -133.2504 | 131.4803
Line_1 | 1.1405 | 0.44602 | 0.40665 | 1.1378 | 0.4433 | 0.40431 | 13.1688 | 5.1502 | 4.6956 | 13.1379 | 5.1188 | 4.6686 | 3.0157 | 5.6529 | -5.6814 | 6.1298e-11 | -4.6872 | 6.6013 | 1.4802 | -4.3264 | -0.59816 | -4.4723e-11 | 4.8789 | 0.61031 | -74.8481 | -87.0856 | -53.9961 | 105.1744 | 92.8975 | 126.1982 |  | 0.2551 | 1.3822 | 1.2166 | 0 | 1.3217 | 1.42 | -48.704 | -124.5139 | 132.0141 | 0 | -133.2504 | 131.4803
Line_2 | 1.1405 | 0.44602 | 0.40665 | 1.1378 | 0.4433 | 0.40431 | 13.1688 | 5.1502 | 4.6956 | 13.1379 | 5.1188 | 4.6686 | 3.0157 | 5.6529 | -5.6814 | 6.1298e-11 | -4.6872 | 6.6013 | 1.4802 | -4.3264 | -0.59816 | -4.4723e-11 | 4.8789 | 0.61031 | -74.8481 | -87.0856 | -53.9961 | 105.1744 | 92.8975 | 126.1982 |  | 0.2551 | 1.3822 | 1.2166 | 0 | 1.3217 | 1.42 | -48.704 | -124.5139 | 132.0141 | 0 | -133.2504 | 131.4803

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50264 | 0.18193 | 0.36082 | 0.5018 | 0.18272 | 0.36125 | 5.804 | 2.1008 | 4.1664 | 5.7942 | 2.1099 | 4.1713 | 4.1846 | -2.4378 | 3.3887 | -3.9765 | 2.4464 | -3.3702 | 2.8511 | 0.88591 | -3.6075 | -2.7061 | -0.89773 | 3.7185 | -43.302 | 76.4922 | 173.1417 | 136.7469 | -103.3453 | -6.9924 |  | 0.87242 | 1.2347 | 1.1879 | 0.83013 | 1.2351 | 1.2031 | -9.034 | -123.4789 | 126.3504 | -9.0173 | -123.4967 | 125.1948
Line_1 | 0.43471 | 0.09202 | 0.1811 | 0.43385 | 0.091362 | 0.18062 | 5.0196 | 1.0626 | 2.0911 | 5.0097 | 1.055 | 2.0857 | 2.979 | 1.2591 | -1.5737 | -2.6058 | -1.2232 | 1.6851 | 3.4746 | -0.39767 | 1.8159 | -3.2411 | 0.44887 | -1.8593 | -60.2243 | -103.004 | -7.2182 | 119.7821 | 76.6547 | 173.0076 |  | 0.9118 | 1.2426 | 1.1491 | 0.83013 | 1.2351 | 1.2031 | -10.8327 | -120.5324 | 123.6954 | -9.0173 | -123.4967 | 125.1948
Line_2 | 0.43471 | 0.09202 | 0.1811 | 0.43385 | 0.091362 | 0.18062 | 5.0196 | 1.0626 | 2.0911 | 5.0097 | 1.055 | 2.0857 | 2.979 | 1.2591 | -1.5737 | -2.6058 | -1.2232 | 1.6851 | 3.4746 | -0.39767 | 1.8159 | -3.2411 | 0.44887 | -1.8593 | -60.2243 | -103.004 | -7.2182 | 119.7821 | 76.6547 | 173.0076 |  | 0.9118 | 1.2426 | 1.1491 | 0.83013 | 1.2351 | 1.2031 | -10.8327 | -120.5324 | 123.6954 | -9.0173 | -123.4967 | 125.1948

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50264 | 0.18193 | 0.36082 | 0.5018 | 0.18272 | 0.36125 | 5.804 | 2.1008 | 4.1664 | 5.7942 | 2.1099 | 4.1713 | 4.1846 | -2.4378 | 3.3887 | -3.9765 | 2.4464 | -3.3702 | 2.8511 | 0.88591 | -3.6075 | -2.7061 | -0.89773 | 3.7185 | -43.302 | 76.4922 | 173.1417 | 136.7469 | -103.3453 | -6.9924 |  | 0.87242 | 1.2347 | 1.1879 | 0.83013 | 1.2351 | 1.2031 | -9.034 | -123.4789 | 126.3504 | -9.0173 | -123.4967 | 125.1948
Line_1 | 0.43471 | 0.09202 | 0.1811 | 0.43385 | 0.091362 | 0.18062 | 5.0196 | 1.0626 | 2.0911 | 5.0097 | 1.055 | 2.0857 | 2.979 | 1.2591 | -1.5737 | -2.6058 | -1.2232 | 1.6851 | 3.4746 | -0.39767 | 1.8159 | -3.2411 | 0.44887 | -1.8593 | -60.2243 | -103.004 | -7.2182 | 119.7821 | 76.6547 | 173.0076 |  | 0.9118 | 1.2426 | 1.1491 | 0.83013 | 1.2351 | 1.2031 | -10.8327 | -120.5324 | 123.6954 | -9.0173 | -123.4967 | 125.1948
Line_2 | 0.43471 | 0.09202 | 0.1811 | 0.43385 | 0.091362 | 0.18062 | 5.0196 | 1.0626 | 2.0911 | 5.0097 | 1.055 | 2.0857 | 2.979 | 1.2591 | -1.5737 | -2.6058 | -1.2232 | 1.6851 | 3.4746 | -0.39767 | 1.8159 | -3.2411 | 0.44887 | -1.8593 | -60.2243 | -103.004 | -7.2182 | 119.7821 | 76.6547 | 173.0076 |  | 0.9118 | 1.2426 | 1.1491 | 0.83013 | 1.2351 | 1.2031 | -10.8327 | -120.5324 | 123.6954 | -9.0173 | -123.4967 | 125.1948

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7815 | 0.78273 | 0.67443 | 1.7792 | 0.7849 | 0.67646 | 20.5707 | 9.0381 | 7.7877 | 20.5445 | 9.0632 | 7.8111 | 4.4548 | -2.1195 | 9.9609 | -5.1887e-11 | 2.2059 | -9.9886 | 1.445 | 10.3295 | 1.1492 | -1.5163e-12 | -9.7626 | -0.66809 | -62.8538 | 121.2936 | 126.6285 | 117.1896 | -58.8165 | -53.5158 |  | 0.22767 | 1.1667 | 1.2875 | 0 | 1.1043 | 1.2816 | -44.8825 | -137.111 | 133.2098 | 0 | -136.084 | 130.3107
Line_1 | 0.86974 | 0.39442 | 0.34011 | 0.86769 | 0.39245 | 0.33823 | 10.0428 | 4.5544 | 3.9273 | 10.0193 | 4.5316 | 3.9055 | 3.5476 | 2.5593 | -3.7908 | -2.5283e-11 | -1.103 | 4.9943 | 1.0229 | -4.6644 | -0.25812 | -1.2766e-12 | 4.8813 | 0.33404 | -64.0726 | -58.9432 | -53.6927 | 115.9728 | 121.1835 | 126.4842 |  | 0.36764 | 1.1682 | 0.9675 | 0 | 1.1043 | 1.2816 | -47.989 | -120.1899 | 130.2026 | 0 | -136.084 | 130.3107
Line_2 | 0.86974 | 0.39442 | 0.34011 | 0.86769 | 0.39245 | 0.33823 | 10.0428 | 4.5544 | 3.9273 | 10.0193 | 4.5316 | 3.9055 | 3.5476 | 2.5593 | -3.7908 | -2.5283e-11 | -1.103 | 4.9943 | 1.0229 | -4.6644 | -0.25812 | -1.2766e-12 | 4.8813 | 0.33404 | -64.0726 | -58.9432 | -53.6927 | 115.9728 | 121.1835 | 126.4842 |  | 0.36764 | 1.1682 | 0.9675 | 0 | 1.1043 | 1.2816 | -47.989 | -120.1899 | 130.2026 | 0 | -136.084 | 130.3107

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7815 | 0.78273 | 0.67443 | 1.7792 | 0.7849 | 0.67646 | 20.5707 | 9.0381 | 7.7877 | 20.5445 | 9.0632 | 7.8111 | 4.4548 | -2.1195 | 9.9609 | -5.1887e-11 | 2.2059 | -9.9886 | 1.445 | 10.3295 | 1.1492 | -1.5163e-12 | -9.7626 | -0.66809 | -62.8538 | 121.2936 | 126.6285 | 117.1896 | -58.8165 | -53.5158 |  | 0.22767 | 1.1667 | 1.2875 | 0 | 1.1043 | 1.2816 | -44.8825 | -137.111 | 133.2098 | 0 | -136.084 | 130.3107
Line_1 | 0.86974 | 0.39442 | 0.34011 | 0.86769 | 0.39245 | 0.33823 | 10.0428 | 4.5544 | 3.9273 | 10.0193 | 4.5316 | 3.9055 | 3.5476 | 2.5593 | -3.7908 | -2.5283e-11 | -1.103 | 4.9943 | 1.0229 | -4.6644 | -0.25812 | -1.2766e-12 | 4.8813 | 0.33404 | -64.0726 | -58.9432 | -53.6927 | 115.9728 | 121.1835 | 126.4842 |  | 0.36764 | 1.1682 | 0.9675 | 0 | 1.1043 | 1.2816 | -47.989 | -120.1899 | 130.2026 | 0 | -136.084 | 130.3107
Line_2 | 0.86974 | 0.39442 | 0.34011 | 0.86769 | 0.39245 | 0.33823 | 10.0428 | 4.5544 | 3.9273 | 10.0193 | 4.5316 | 3.9055 | 3.5476 | 2.5593 | -3.7908 | -2.5283e-11 | -1.103 | 4.9943 | 1.0229 | -4.6644 | -0.25812 | -1.2766e-12 | 4.8813 | 0.33404 | -64.0726 | -58.9432 | -53.6927 | 115.9728 | 121.1835 | 126.4842 |  | 0.36764 | 1.1682 | 0.9675 | 0 | 1.1043 | 1.2816 | -47.989 | -120.1899 | 130.2026 | 0 | -136.084 | 130.3107

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57154 | 0.25112 | 0.21637 | 0.57081 | 0.25181 | 0.21702 | 6.5996 | 2.8997 | 2.4985 | 6.5912 | 2.9077 | 2.506 | 3.7118 | -0.57596 | 2.5882 | -3.2515 | 0.58965 | -2.5976 | 3.3393 | 3.033 | -0.61185 | -3.184 | -2.9795 | 0.65961 | -50.2582 | 133.8892 | 139.2241 | 129.7852 | -46.2209 | -40.9202 |  | 0.75654 | 1.0647 | 1.0645 | 0.69045 | 1.0446 | 1.0695 | -8.2822 | -125.3585 | 125.9237 | -5.8156 | -125.0265 | 124.8318
Line_1 | 0.27903 | 0.12654 | 0.10912 | 0.27838 | 0.12591 | 0.10851 | 3.222 | 1.4612 | 1.26 | 3.2144 | 1.4539 | 1.253 | 1.9199 | 0.44783 | -1.1804 | -1.5524 | -0.29482 | 1.2988 | 1.6964 | -1.472 | 0.33721 | -1.5861 | 1.4897 | -0.3298 | -51.477 | -46.3476 | -41.0971 | 128.5684 | 133.7791 | 139.0798 |  | 0.79516 | 1.053 | 0.97434 | 0.69045 | 1.0446 | 1.0695 | -10.0144 | -119.4257 | 122.9599 | -5.8156 | -125.0265 | 124.8318
Line_2 | 0.27903 | 0.12654 | 0.10912 | 0.27838 | 0.12591 | 0.10851 | 3.222 | 1.4612 | 1.26 | 3.2144 | 1.4539 | 1.253 | 1.9199 | 0.44783 | -1.1804 | -1.5524 | -0.29482 | 1.2988 | 1.6964 | -1.472 | 0.33721 | -1.5861 | 1.4897 | -0.3298 | -51.477 | -46.3476 | -41.0971 | 128.5684 | 133.7791 | 139.0798 |  | 0.79516 | 1.053 | 0.97434 | 0.69045 | 1.0446 | 1.0695 | -10.0144 | -119.4257 | 122.9599 | -5.8156 | -125.0265 | 124.8318

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57154 | 0.25112 | 0.21637 | 0.57081 | 0.25181 | 0.21702 | 6.5996 | 2.8997 | 2.4985 | 6.5912 | 2.9077 | 2.506 | 3.7118 | -0.57596 | 2.5882 | -3.2515 | 0.58965 | -2.5976 | 3.3393 | 3.033 | -0.61185 | -3.184 | -2.9795 | 0.65961 | -50.2582 | 133.8892 | 139.2241 | 129.7852 | -46.2209 | -40.9202 |  | 0.75654 | 1.0647 | 1.0645 | 0.69045 | 1.0446 | 1.0695 | -8.2822 | -125.3585 | 125.9237 | -5.8156 | -125.0265 | 124.8318
Line_1 | 0.27903 | 0.12654 | 0.10912 | 0.27838 | 0.12591 | 0.10851 | 3.222 | 1.4612 | 1.26 | 3.2144 | 1.4539 | 1.253 | 1.9199 | 0.44783 | -1.1804 | -1.5524 | -0.29482 | 1.2988 | 1.6964 | -1.472 | 0.33721 | -1.5861 | 1.4897 | -0.3298 | -51.477 | -46.3476 | -41.0971 | 128.5684 | 133.7791 | 139.0798 |  | 0.79516 | 1.053 | 0.97434 | 0.69045 | 1.0446 | 1.0695 | -10.0144 | -119.4257 | 122.9599 | -5.8156 | -125.0265 | 124.8318
Line_2 | 0.27903 | 0.12654 | 0.10912 | 0.27838 | 0.12591 | 0.10851 | 3.222 | 1.4612 | 1.26 | 3.2144 | 1.4539 | 1.253 | 1.9199 | 0.44783 | -1.1804 | -1.5524 | -0.29482 | 1.2988 | 1.6964 | -1.472 | 0.33721 | -1.5861 | 1.4897 | -0.3298 | -51.477 | -46.3476 | -41.0971 | 128.5684 | 133.7791 | 139.0798 |  | 0.79516 | 1.053 | 0.97434 | 0.69045 | 1.0446 | 1.0695 | -10.0144 | -119.4257 | 122.9599 | -5.8156 | -125.0265 | 124.8318

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40586 | 3.6865 | 3.7682 | 0.40821 | 3.6867 | 3.7676 | 4.6865 | 42.5683 | 43.5118 | 4.7136 | 42.57 | 43.5048 | 0.62184 | 7.3895 | 7.3217 | -0.68073 | 9.3732e-11 | 1.2506e-10 | 6.8321 | 6.7187 | 9.7451 | -6.8097 | -8.2878e-11 | 1.4e-11 | -83.4479 | -173.51 | 17.8257 | 96.531 | 6.5265 | -162.209 |  | 1.4639 | 0.23462 | 0.28013 | 1.4519 | 0 | 0 | 1.3515 | -131.2322 | 70.9073 | 0.82241 | 0 | 0
Line_1 | 0.20623 | 1.1253 | 0.92849 | 0.20411 | 1.1241 | 0.92693 | 2.3814 | 12.9933 | 10.7212 | 2.3568 | 12.9797 | 10.7032 | -0.021459 | 2.3011 | 0.99716 | 0.34036 | 3.7448e-11 | 2.6156e-11 | -3.2441 | -0.19732 | 1.9726 | 3.4048 | -7.2793e-12 | -1.6563e-11 | 96.563 | 155.9531 | 56.611 | -83.469 | -23.9564 | -123.4789 |  | 1.3623 | 0.17775 | 0.20616 | 1.4519 | 0 | 0 | 6.1841 | 151.052 | 119.7937 | 0.82241 | 0 | 0
Line_2 | 0.20623 | 1.1253 | 0.92849 | 0.20411 | 1.1241 | 0.92693 | 2.3814 | 12.9933 | 10.7212 | 2.3568 | 12.9797 | 10.7032 | -0.021459 | 2.3011 | 0.99716 | 0.34036 | 3.7448e-11 | 2.6156e-11 | -3.2441 | -0.19732 | 1.9726 | 3.4048 | -7.2793e-12 | -1.6563e-11 | 96.563 | 155.9531 | 56.611 | -83.469 | -23.9564 | -123.4789 |  | 1.3623 | 0.17775 | 0.20616 | 1.4519 | 0 | 0 | 6.1841 | 151.052 | 119.7937 | 0.82241 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40586 | 3.6865 | 3.7682 | 0.40821 | 3.6867 | 3.7676 | 4.6865 | 42.5683 | 43.5118 | 4.7136 | 42.57 | 43.5048 | 0.62184 | 7.3895 | 7.3217 | -0.68073 | 9.3732e-11 | 1.2506e-10 | 6.8321 | 6.7187 | 9.7451 | -6.8097 | -8.2878e-11 | 1.4e-11 | -83.4479 | -173.51 | 17.8257 | 96.531 | 6.5265 | -162.209 |  | 1.4639 | 0.23462 | 0.28013 | 1.4519 | 0 | 0 | 1.3515 | -131.2322 | 70.9073 | 0.82241 | 0 | 0
Line_1 | 0.20623 | 1.1253 | 0.92849 | 0.20411 | 1.1241 | 0.92693 | 2.3814 | 12.9933 | 10.7212 | 2.3568 | 12.9797 | 10.7032 | -0.021459 | 2.3011 | 0.99716 | 0.34036 | 3.7448e-11 | 2.6156e-11 | -3.2441 | -0.19732 | 1.9726 | 3.4048 | -7.2793e-12 | -1.6563e-11 | 96.563 | 155.9531 | 56.611 | -83.469 | -23.9564 | -123.4789 |  | 1.3623 | 0.17775 | 0.20616 | 1.4519 | 0 | 0 | 6.1841 | 151.052 | 119.7937 | 0.82241 | 0 | 0
Line_2 | 0.20623 | 1.1253 | 0.92849 | 0.20411 | 1.1241 | 0.92693 | 2.3814 | 12.9933 | 10.7212 | 2.3568 | 12.9797 | 10.7032 | -0.021459 | 2.3011 | 0.99716 | 0.34036 | 3.7448e-11 | 2.6156e-11 | -3.2441 | -0.19732 | 1.9726 | 3.4048 | -7.2793e-12 | -1.6563e-11 | 96.563 | 155.9531 | 56.611 | -83.469 | -23.9564 | -123.4789 |  | 1.3623 | 0.17775 | 0.20616 | 1.4519 | 0 | 0 | 6.1841 | 151.052 | 119.7937 | 0.82241 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.074091 | 0.78325 | 0.76768 | 0.074197 | 0.78353 | 0.76724 | 0.85553 | 9.0442 | 8.8645 | 0.85676 | 9.0475 | 8.8594 | 1.0567 | 7.7705 | 4.5132 | -1.0618 | -7.4598 | -4.1749 | -0.19499 | 2.6661 | 7.128 | 0.19526 | -2.4018 | -6.6806 | 12.5309 | -141.5161 | 49.7566 | -168.1332 | 38.5437 | -130.2991 |  | 1.256 | 0.90833 | 0.95174 | 1.26 | 0.8662 | 0.88921 | 2.0756 | -122.5786 | 107.4157 | 1.4465 | -123.6098 | 107.6987
Line_1 | 0.037298 | 0.40127 | 0.36326 | 0.037099 | 0.40075 | 0.36265 | 0.43067 | 4.6335 | 4.1946 | 0.42838 | 4.6275 | 4.1876 | -0.51953 | 1.5815 | 3.3523 | 0.53088 | -1.2721 | -3.1838 | 0.070843 | 3.8082 | 2.2128 | -0.097628 | -3.8011 | -1.931 | -169.3008 | 164.8096 | 76.541 | 11.8668 | -15.1061 | -103.5376 |  | 1.2175 | 0.88995 | 0.95762 | 1.26 | 0.8662 | 0.88921 | 2.9342 | -127.7424 | 109.9691 | 1.4465 | -123.6098 | 107.6987
Line_2 | 0.037298 | 0.40127 | 0.36326 | 0.037099 | 0.40075 | 0.36265 | 0.43067 | 4.6335 | 4.1946 | 0.42838 | 4.6275 | 4.1876 | -0.51953 | 1.5815 | 3.3523 | 0.53088 | -1.2721 | -3.1838 | 0.070843 | 3.8082 | 2.2128 | -0.097628 | -3.8011 | -1.931 | -169.3008 | 164.8096 | 76.541 | 11.8668 | -15.1061 | -103.5376 |  | 1.2175 | 0.88995 | 0.95762 | 1.26 | 0.8662 | 0.88921 | 2.9342 | -127.7424 | 109.9691 | 1.4465 | -123.6098 | 107.6987

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.074091 | 0.78325 | 0.76768 | 0.074197 | 0.78353 | 0.76724 | 0.85553 | 9.0442 | 8.8645 | 0.85676 | 9.0475 | 8.8594 | 1.0567 | 7.7705 | 4.5132 | -1.0618 | -7.4598 | -4.1749 | -0.19499 | 2.6661 | 7.128 | 0.19526 | -2.4018 | -6.6806 | 12.5309 | -141.5161 | 49.7566 | -168.1332 | 38.5437 | -130.2991 |  | 1.256 | 0.90833 | 0.95174 | 1.26 | 0.8662 | 0.88921 | 2.0756 | -122.5786 | 107.4157 | 1.4465 | -123.6098 | 107.6987
Line_1 | 0.037298 | 0.40127 | 0.36326 | 0.037099 | 0.40075 | 0.36265 | 0.43067 | 4.6335 | 4.1946 | 0.42838 | 4.6275 | 4.1876 | -0.51953 | 1.5815 | 3.3523 | 0.53088 | -1.2721 | -3.1838 | 0.070843 | 3.8082 | 2.2128 | -0.097628 | -3.8011 | -1.931 | -169.3008 | 164.8096 | 76.541 | 11.8668 | -15.1061 | -103.5376 |  | 1.2175 | 0.88995 | 0.95762 | 1.26 | 0.8662 | 0.88921 | 2.9342 | -127.7424 | 109.9691 | 1.4465 | -123.6098 | 107.6987
Line_2 | 0.037298 | 0.40127 | 0.36326 | 0.037099 | 0.40075 | 0.36265 | 0.43067 | 4.6335 | 4.1946 | 0.42838 | 4.6275 | 4.1876 | -0.51953 | 1.5815 | 3.3523 | 0.53088 | -1.2721 | -3.1838 | 0.070843 | 3.8082 | 2.2128 | -0.097628 | -3.8011 | -1.931 | -169.3008 | 164.8096 | 76.541 | 11.8668 | -15.1061 | -103.5376 |  | 1.2175 | 0.88995 | 0.95762 | 1.26 | 0.8662 | 0.88921 | 2.9342 | -127.7424 | 109.9691 | 1.4465 | -123.6098 | 107.6987

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46077 | 3.1351 | 3.1469 | 0.46265 | 3.1355 | 3.1461 | 5.3206 | 36.2016 | 36.3373 | 5.3423 | 36.2058 | 36.3277 | 3.0707 | 9.8794 | 10.2575 | -3.1273 | -1.0757e-10 | -1.5705e-11 | 6.1704 | 3.9512 | 7.6616 | -6.0215 | -8.2704e-11 | -1.3667e-10 | -63.0453 | -166.4608 | 27.0907 | 116.853 | 13.5761 | -152.9435 |  | 1.2954 | 0.29391 | 0.35234 | 1.2701 | 0 | 0 | 0.49719 | -144.6621 | 63.8477 | -0.59195 | 0 | 0
Line_1 | 0.23296 | 0.9646 | 0.62169 | 0.23133 | 0.96379 | 0.62048 | 2.6899 | 11.1383 | 7.1787 | 2.6711 | 11.1289 | 7.1647 | -0.95149 | 3.0404 | 0.83045 | 1.5636 | -1.6904e-11 | -1.7494e-11 | -2.8229 | -0.69673 | 1.7442 | 3.0108 | -3.8129e-11 | -2.074e-11 | 116.7626 | 164.9533 | 60.7557 | -63.147 | -14.96 | -119.3503 |  | 1.1074 | 0.28005 | 0.26911 | 1.2701 | 0 | 0 | 8.1357 | 152.0465 | 125.2961 | -0.59195 | 0 | 0
Line_2 | 0.23296 | 0.9646 | 0.62169 | 0.23133 | 0.96379 | 0.62048 | 2.6899 | 11.1383 | 7.1787 | 2.6711 | 11.1289 | 7.1647 | -0.95149 | 3.0404 | 0.83045 | 1.5636 | -1.6904e-11 | -1.7494e-11 | -2.8229 | -0.69673 | 1.7442 | 3.0108 | -3.8129e-11 | -2.074e-11 | 116.7626 | 164.9533 | 60.7557 | -63.147 | -14.96 | -119.3503 |  | 1.1074 | 0.28005 | 0.26911 | 1.2701 | 0 | 0 | 8.1357 | 152.0465 | 125.2961 | -0.59195 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46077 | 3.1351 | 3.1469 | 0.46265 | 3.1355 | 3.1461 | 5.3206 | 36.2016 | 36.3373 | 5.3423 | 36.2058 | 36.3277 | 3.0707 | 9.8794 | 10.2575 | -3.1273 | -1.0757e-10 | -1.5705e-11 | 6.1704 | 3.9512 | 7.6616 | -6.0215 | -8.2704e-11 | -1.3667e-10 | -63.0453 | -166.4608 | 27.0907 | 116.853 | 13.5761 | -152.9435 |  | 1.2954 | 0.29391 | 0.35234 | 1.2701 | 0 | 0 | 0.49719 | -144.6621 | 63.8477 | -0.59195 | 0 | 0
Line_1 | 0.23296 | 0.9646 | 0.62169 | 0.23133 | 0.96379 | 0.62048 | 2.6899 | 11.1383 | 7.1787 | 2.6711 | 11.1289 | 7.1647 | -0.95149 | 3.0404 | 0.83045 | 1.5636 | -1.6904e-11 | -1.7494e-11 | -2.8229 | -0.69673 | 1.7442 | 3.0108 | -3.8129e-11 | -2.074e-11 | 116.7626 | 164.9533 | 60.7557 | -63.147 | -14.96 | -119.3503 |  | 1.1074 | 0.28005 | 0.26911 | 1.2701 | 0 | 0 | 8.1357 | 152.0465 | 125.2961 | -0.59195 | 0 | 0
Line_2 | 0.23296 | 0.9646 | 0.62169 | 0.23133 | 0.96379 | 0.62048 | 2.6899 | 11.1383 | 7.1787 | 2.6711 | 11.1289 | 7.1647 | -0.95149 | 3.0404 | 0.83045 | 1.5636 | -1.6904e-11 | -1.7494e-11 | -2.8229 | -0.69673 | 1.7442 | 3.0108 | -3.8129e-11 | -2.074e-11 | 116.7626 | 164.9533 | 60.7557 | -63.147 | -14.96 | -119.3503 |  | 1.1074 | 0.28005 | 0.26911 | 1.2701 | 0 | 0 | 8.1357 | 152.0465 | 125.2961 | -0.59195 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19242 | 0.75955 | 0.81593 | 0.1931 | 0.7598 | 0.81543 | 2.2219 | 8.7705 | 9.4216 | 2.2297 | 8.7735 | 9.4158 | 1.4808 | 6.2602 | 4.3607 | -1.4866 | -5.7093 | -3.6044 | 1.965 | 3.3878 | 6.3962 | -1.9416 | -3.2098 | -5.8434 | -52.3108 | -150.52 | 50.7304 | 127.5843 | 29.5348 | -129.3107 |  | 1.1074 | 0.81159 | 0.82165 | 1.0967 | 0.74654 | 0.72916 | 0.68825 | -122.0989 | 106.4459 | 0.14483 | -121.1204 | 109.0214
Line_1 | 0.097152 | 0.26474 | 0.22034 | 0.096551 | 0.26442 | 0.21975 | 1.1218 | 3.0569 | 2.5442 | 1.1149 | 3.0533 | 2.5375 | -0.64687 | 1.147 | 1.9253 | 0.74331 | -0.86085 | -1.7423 | -0.95039 | 2.0318 | 0.81667 | 0.97082 | -2.1106 | -0.62281 | 127.4797 | 170.9511 | 89.4116 | -52.4157 | -8.9315 | -90.6488 |  | 1.0248 | 0.76325 | 0.822 | 1.0967 | 0.74654 | 0.72916 | 3.239 | -128.4935 | 112.3969 | 0.14483 | -121.1204 | 109.0214
Line_2 | 0.097152 | 0.26474 | 0.22034 | 0.096551 | 0.26442 | 0.21975 | 1.1218 | 3.0569 | 2.5442 | 1.1149 | 3.0533 | 2.5375 | -0.64687 | 1.147 | 1.9253 | 0.74331 | -0.86085 | -1.7423 | -0.95039 | 2.0318 | 0.81667 | 0.97082 | -2.1106 | -0.62281 | 127.4797 | 170.9511 | 89.4116 | -52.4157 | -8.9315 | -90.6488 |  | 1.0248 | 0.76325 | 0.822 | 1.0967 | 0.74654 | 0.72916 | 3.239 | -128.4935 | 112.3969 | 0.14483 | -121.1204 | 109.0214

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19242 | 0.75955 | 0.81593 | 0.1931 | 0.7598 | 0.81543 | 2.2219 | 8.7705 | 9.4216 | 2.2297 | 8.7735 | 9.4158 | 1.4808 | 6.2602 | 4.3607 | -1.4866 | -5.7093 | -3.6044 | 1.965 | 3.3878 | 6.3962 | -1.9416 | -3.2098 | -5.8434 | -52.3108 | -150.52 | 50.7304 | 127.5843 | 29.5348 | -129.3107 |  | 1.1074 | 0.81159 | 0.82165 | 1.0967 | 0.74654 | 0.72916 | 0.68825 | -122.0989 | 106.4459 | 0.14483 | -121.1204 | 109.0214
Line_1 | 0.097152 | 0.26474 | 0.22034 | 0.096551 | 0.26442 | 0.21975 | 1.1218 | 3.0569 | 2.5442 | 1.1149 | 3.0533 | 2.5375 | -0.64687 | 1.147 | 1.9253 | 0.74331 | -0.86085 | -1.7423 | -0.95039 | 2.0318 | 0.81667 | 0.97082 | -2.1106 | -0.62281 | 127.4797 | 170.9511 | 89.4116 | -52.4157 | -8.9315 | -90.6488 |  | 1.0248 | 0.76325 | 0.822 | 1.0967 | 0.74654 | 0.72916 | 3.239 | -128.4935 | 112.3969 | 0.14483 | -121.1204 | 109.0214
Line_2 | 0.097152 | 0.26474 | 0.22034 | 0.096551 | 0.26442 | 0.21975 | 1.1218 | 3.0569 | 2.5442 | 1.1149 | 3.0533 | 2.5375 | -0.64687 | 1.147 | 1.9253 | 0.74331 | -0.86085 | -1.7423 | -0.95039 | 2.0318 | 0.81667 | 0.97082 | -2.1106 | -0.62281 | 127.4797 | 170.9511 | 89.4116 | -52.4157 | -8.9315 | -90.6488 |  | 1.0248 | 0.76325 | 0.822 | 1.0967 | 0.74654 | 0.72916 | 3.239 | -128.4935 | 112.3969 | 0.14483 | -121.1204 | 109.0214