## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -2.0843e-14 | 30.1766 | -15.8685 | 5.2106e-15 | -23.0225 | 23.0225 | -2.6053e-14 | 3.131 | 13.1032 | 1.5632e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 4.9124e-13 | -161.8563 | 152.6723 | 4.6833e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.0421e-14 | 5.2107e-15 | -2.6053e-14 | 1.5632e-14 | -1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -2.1296e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.6587e-13 | -180 | 180 | 4.6833e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.0421e-14 | -5.2106e-15 | -1.0421e-14 | 1.5632e-14 | 1.1238e-21 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -8.5183e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.6883e-13 | -180 | 180 | 4.6833e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -2.0843e-14 | 30.1766 | -15.8685 | 5.2106e-15 | -23.0225 | 23.0225 | -2.6053e-14 | 3.131 | 13.1032 | 1.5632e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 4.9124e-13 | -161.8563 | 152.6723 | 4.6833e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.0421e-14 | 5.2107e-15 | -2.6053e-14 | 1.5632e-14 | -1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -2.1296e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.6587e-13 | -180 | 180 | 4.6833e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.0421e-14 | -5.2106e-15 | -1.0421e-14 | 1.5632e-14 | 1.1238e-21 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -8.5183e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.6883e-13 | -180 | 180 | 4.6833e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.6053e-15 | 19.0761 | -0.30087 | -2.6053e-15 | -17.4596 | 1.9173 | -7.816e-15 | 3.9919 | 15.2185 | 5.2106e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 7.7622e-14 | -138.0936 | 121.2196 | 6.5911e-14 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.734e-10 | 1.0337e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | 7.816e-15 | -1.3544e-09 | 3.8387e-10 | -1.0421e-14 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 6.2848e-14 | -142.8673 | 128.239 | 6.5911e-14 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7338e-10 | 1.0337e-09 | 5.9941e-30 | -4.7338e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 6.6692e-14 | -142.8673 | 128.239 | 6.5911e-14 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.6053e-15 | 19.0761 | -0.30087 | -2.6053e-15 | -17.4596 | 1.9173 | -7.816e-15 | 3.9919 | 15.2185 | 5.2106e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 7.7622e-14 | -138.0936 | 121.2196 | 6.5911e-14 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.734e-10 | 1.0337e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | 7.816e-15 | -1.3544e-09 | 3.8387e-10 | -1.0421e-14 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 6.2848e-14 | -142.8673 | 128.239 | 6.5911e-14 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7338e-10 | 1.0337e-09 | 5.9941e-30 | -4.7338e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 6.6692e-14 | -142.8673 | 128.239 | 6.5911e-14 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.3685e-14 | 26.5997 | -7.1734 | 2.3685e-14 | -16.8865 | 16.8865 | 9.4739e-15 | -0.51586 | 11.9957 | -9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 4.4645e-13 | -160.7833 | 141.207 | 5.1454e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 3.5528e-15 | -4.7369e-15 | 2.3685e-15 | -3.5527e-15 | 4.7369e-15 | -4.1938e-29 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.0726e-13 | -180 | 180 | 5.1454e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -1.1841e-15 | 4.737e-15 | 7.1054e-15 | 5.9212e-15 | -4.737e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.9616e-13 | -180 | 180 | 5.1454e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.3685e-14 | 26.5997 | -7.1734 | 2.3685e-14 | -16.8865 | 16.8865 | 9.4739e-15 | -0.51586 | 11.9957 | -9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 4.4645e-13 | -160.7833 | 141.207 | 5.1454e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 3.5528e-15 | -4.7369e-15 | 2.3685e-15 | -3.5527e-15 | 4.7369e-15 | -4.1938e-29 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.0726e-13 | -180 | 180 | 5.1454e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -1.1841e-15 | 4.737e-15 | 7.1054e-15 | 5.9212e-15 | -4.737e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.9616e-13 | -180 | 180 | 5.1454e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -3.5527e-15 | 15.3932 | 0.73601 | 2.9606e-15 | -13.0917 | 1.5655 | 2.3685e-15 | 2.3135 | 11.9328 | 1.568e-29 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.7351e-13 | -138.1765 | 119.7467 | 3.0346e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 4.798e-10 | 8.2616e-10 | -2.3685e-15 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.9856e-13 | -142.5584 | 131.6989 | 3.0346e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.798e-10 | 8.2616e-10 | 5.9212e-16 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 3.1361e-30 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.9434e-13 | -142.5584 | 131.6989 | 3.0346e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -3.5527e-15 | 15.3932 | 0.73601 | 2.9606e-15 | -13.0917 | 1.5655 | 2.3685e-15 | 2.3135 | 11.9328 | 1.568e-29 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.7351e-13 | -138.1765 | 119.7467 | 3.0346e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 4.798e-10 | 8.2616e-10 | -2.3685e-15 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.9856e-13 | -142.5584 | 131.6989 | 3.0346e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.798e-10 | 8.2616e-10 | 5.9212e-16 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 3.1361e-30 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.9434e-13 | -142.5584 | 131.6989 | 3.0346e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4933 | 0.015034 | 0.015034 | 0.48853 | 0.010083 | 0.010083 | 5.6962 | 0.17359 | 0.17359 | 5.6411 | 0.11642 | 0.11642 | 0.39564 | 0.17077 | -0.15997 | 5.7334e-12 | -0.11098 | 0.11084 | 0.21404 | -0.26073 | -0.26053 | -4.1957e-12 | 0.17704 | 0.17864 | -73.4342 | -89.9658 | -89.9658 | 106.7221 | 89.5866 | 89.5866 | 0.07897 | 1.7954 | 1.7611 | 0 | 1.7947 | 1.8057 | -45.0206 | -146.7416 | 148.4838 | 0 | -148.3314 | 147.7688
Line_1 | 0 | 0 | 0 | 0.0050413 | 0.0050413 | 0.0050413 | 0 | 0 | 0 | 0.058212 | 0.058212 | 0.058212 | -1.2724e-12 | -5.4385e-09 | -5.5168e-09 | -6.9295e-14 | 0.055488 | -0.055418 | 3.2636e-12 | -3.4379e-09 | 3.3927e-09 | 2.3943e-14 | -0.088518 | -0.089318 | 0 | 0 | 0 | -90.4134 | -90.4134 | -90.4134 | 0.00086823 | 1.7945 | 1.8064 | 0 | 1.7947 | 1.8057 | 111.2583 | -148.3586 | 147.7524 | 0 | -148.3314 | 147.7688
Line_2 | 0 | 0 | 0 | 0.0050413 | 0.0050413 | 0.0050413 | 0 | 0 | 0 | 0.058212 | 0.058212 | 0.058212 | -1.2724e-12 | -5.4385e-09 | -5.5168e-09 | -6.9295e-14 | 0.055488 | -0.055418 | 3.2636e-12 | -3.4379e-09 | 3.3927e-09 | 2.3943e-14 | -0.088518 | -0.089318 | 0 | 0 | 0 | -90.4134 | -90.4134 | -90.4134 | 0.00086823 | 1.7945 | 1.8064 | 0 | 1.7947 | 1.8057 | 111.2583 | -148.3586 | 147.7524 | 0 | -148.3314 | 147.7688

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4933 | 0.015034 | 0.015034 | 0.48853 | 0.010083 | 0.010083 | 5.6962 | 0.17359 | 0.17359 | 5.6411 | 0.11642 | 0.11642 | 0.39564 | 0.17077 | -0.15997 | 5.7334e-12 | -0.11098 | 0.11084 | 0.21404 | -0.26073 | -0.26053 | -4.1957e-12 | 0.17704 | 0.17864 | -73.4342 | -89.9658 | -89.9658 | 106.7221 | 89.5866 | 89.5866 | 0.07897 | 1.7954 | 1.7611 | 0 | 1.7947 | 1.8057 | -45.0206 | -146.7416 | 148.4838 | 0 | -148.3314 | 147.7688
Line_1 | 0 | 0 | 0 | 0.0050413 | 0.0050413 | 0.0050413 | 0 | 0 | 0 | 0.058212 | 0.058212 | 0.058212 | -1.2724e-12 | -5.4385e-09 | -5.5168e-09 | -6.9295e-14 | 0.055488 | -0.055418 | 3.2636e-12 | -3.4379e-09 | 3.3927e-09 | 2.3943e-14 | -0.088518 | -0.089318 | 0 | 0 | 0 | -90.4134 | -90.4134 | -90.4134 | 0.00086823 | 1.7945 | 1.8064 | 0 | 1.7947 | 1.8057 | 111.2583 | -148.3586 | 147.7524 | 0 | -148.3314 | 147.7688
Line_2 | 0 | 0 | 0 | 0.0050413 | 0.0050413 | 0.0050413 | 0 | 0 | 0 | 0.058212 | 0.058212 | 0.058212 | -1.2724e-12 | -5.4385e-09 | -5.5168e-09 | -6.9295e-14 | 0.055488 | -0.055418 | 3.2636e-12 | -3.4379e-09 | 3.3927e-09 | 2.3943e-14 | -0.088518 | -0.089318 | 0 | 0 | 0 | -90.4134 | -90.4134 | -90.4134 | 0.00086823 | 1.7945 | 1.8064 | 0 | 1.7947 | 1.8057 | 111.2583 | -148.3586 | 147.7524 | 0 | -148.3314 | 147.7688

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39723 | 0.012106 | 0.012106 | 0.39339 | 0.008119 | 0.008119 | 4.5868 | 0.13979 | 0.13979 | 4.5425 | 0.09375 | 0.09375 | 1.0156 | 0.12825 | -0.13672 | -0.75381 | -0.083852 | 0.093986 | 0.91153 | -0.19704 | -0.17011 | -0.76322 | 0.13347 | 0.11679 | -67.6644 | -84.196 | -84.196 | 112.4919 | 95.3564 | 95.3564 | 0.29752 | 1.6819 | 1.5612 | 0.23615 | 1.6813 | 1.5991 | -25.7555 | -141.1376 | 147.0152 | -22.1527 | -142.5041 | 146.5318
Line_1 | 0 | 0 | 0 | 0.0040595 | 0.0040595 | 0.0040595 | 0 | 0 | 0 | 0.046875 | 0.046875 | 0.046875 | 6.7733e-10 | -4.0999e-09 | -3.6097e-09 | 0.005113 | 0.041926 | -0.046993 | -3.5664e-10 | -2.5978e-09 | 2.8809e-09 | 0.0098181 | -0.066733 | -0.058396 | 0 | 0 | 0 | -84.6436 | -84.6436 | -84.6436 | 0.23562 | 1.6812 | 1.5997 | 0.23615 | 1.6813 | 1.5991 | -22.0415 | -142.5276 | 146.5195 | -22.1527 | -142.5041 | 146.5318
Line_2 | 0 | 0 | 0 | 0.0040595 | 0.0040595 | 0.0040595 | 0 | 0 | 0 | 0.046875 | 0.046875 | 0.046875 | 6.7732e-10 | -4.0999e-09 | -3.6097e-09 | 0.005113 | 0.041926 | -0.046993 | -3.5665e-10 | -2.5979e-09 | 2.8809e-09 | 0.0098181 | -0.066733 | -0.058396 | 0 | 0 | 0 | -84.6436 | -84.6436 | -84.6436 | 0.23562 | 1.6812 | 1.5997 | 0.23615 | 1.6813 | 1.5991 | -22.0415 | -142.5276 | 146.5195 | -22.1527 | -142.5041 | 146.5318

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39723 | 0.012106 | 0.012106 | 0.39339 | 0.008119 | 0.008119 | 4.5868 | 0.13979 | 0.13979 | 4.5425 | 0.09375 | 0.09375 | 1.0156 | 0.12825 | -0.13672 | -0.75381 | -0.083852 | 0.093986 | 0.91153 | -0.19704 | -0.17011 | -0.76322 | 0.13347 | 0.11679 | -67.6644 | -84.196 | -84.196 | 112.4919 | 95.3564 | 95.3564 | 0.29752 | 1.6819 | 1.5612 | 0.23615 | 1.6813 | 1.5991 | -25.7555 | -141.1376 | 147.0152 | -22.1527 | -142.5041 | 146.5318
Line_1 | 0 | 0 | 0 | 0.0040595 | 0.0040595 | 0.0040595 | 0 | 0 | 0 | 0.046875 | 0.046875 | 0.046875 | 6.7733e-10 | -4.0999e-09 | -3.6097e-09 | 0.005113 | 0.041926 | -0.046993 | -3.5664e-10 | -2.5978e-09 | 2.8809e-09 | 0.0098181 | -0.066733 | -0.058396 | 0 | 0 | 0 | -84.6436 | -84.6436 | -84.6436 | 0.23562 | 1.6812 | 1.5997 | 0.23615 | 1.6813 | 1.5991 | -22.0415 | -142.5276 | 146.5195 | -22.1527 | -142.5041 | 146.5318
Line_2 | 0 | 0 | 0 | 0.0040595 | 0.0040595 | 0.0040595 | 0 | 0 | 0 | 0.046875 | 0.046875 | 0.046875 | 6.7732e-10 | -4.0999e-09 | -3.6097e-09 | 0.005113 | 0.041926 | -0.046993 | -3.5665e-10 | -2.5979e-09 | 2.8809e-09 | 0.0098181 | -0.066733 | -0.058396 | 0 | 0 | 0 | -84.6436 | -84.6436 | -84.6436 | 0.23562 | 1.6812 | 1.5997 | 0.23615 | 1.6813 | 1.5991 | -22.0415 | -142.5276 | 146.5195 | -22.1527 | -142.5041 | 146.5318

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43952 | 0.013559 | 0.013559 | 0.43528 | 0.0091192 | 0.0091192 | 5.0752 | 0.15656 | 0.15656 | 5.0262 | 0.1053 | 0.1053 | 0.60256 | 0.14403 | -0.12711 | -3.4531e-12 | -0.091303 | 0.091081 | 0.1664 | -0.21249 | -0.20856 | -1.0827e-12 | 0.1454 | 0.14555 | -70.2132 | -89.1696 | -89.1696 | 109.9592 | 89.9521 | 89.9521 | 0.12317 | 1.6396 | 1.5601 | 0 | 1.6305 | 1.6306 | -54.7751 | -145.0392 | 149.4693 | 0 | -147.921 | 147.9148
Line_1 | 0 | 0 | 0 | 0.0045596 | 0.0045596 | 0.0045596 | 0 | 0 | 0 | 0.05265 | 0.05265 | 0.05265 | -1.0637e-12 | -4.463e-09 | -4.4726e-09 | 3.0109e-14 | 0.045651 | -0.045541 | 5.1384e-12 | -2.8029e-09 | 2.7974e-09 | 2.3032e-14 | -0.072698 | -0.072775 | 0 | 0 | 0 | -90.0479 | -90.0479 | -90.0479 | 0.0014307 | 1.63 | 1.6316 | 0 | 1.6305 | 1.6306 | 101.6149 | -147.9681 | 147.8784 | 0 | -147.921 | 147.9148
Line_2 | 0 | 0 | 0 | 0.0045596 | 0.0045596 | 0.0045596 | 0 | 0 | 0 | 0.05265 | 0.05265 | 0.05265 | -1.0637e-12 | -4.463e-09 | -4.4726e-09 | 3.0109e-14 | 0.045651 | -0.045541 | 5.1383e-12 | -2.8029e-09 | 2.7974e-09 | 2.3032e-14 | -0.072698 | -0.072775 | 0 | 0 | 0 | -90.0479 | -90.0479 | -90.0479 | 0.0014307 | 1.63 | 1.6316 | 0 | 1.6305 | 1.6306 | 101.6149 | -147.9681 | 147.8784 | 0 | -147.921 | 147.9148

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43952 | 0.013559 | 0.013559 | 0.43528 | 0.0091192 | 0.0091192 | 5.0752 | 0.15656 | 0.15656 | 5.0262 | 0.1053 | 0.1053 | 0.60256 | 0.14403 | -0.12711 | -3.4531e-12 | -0.091303 | 0.091081 | 0.1664 | -0.21249 | -0.20856 | -1.0827e-12 | 0.1454 | 0.14555 | -70.2132 | -89.1696 | -89.1696 | 109.9592 | 89.9521 | 89.9521 | 0.12317 | 1.6396 | 1.5601 | 0 | 1.6305 | 1.6306 | -54.7751 | -145.0392 | 149.4693 | 0 | -147.921 | 147.9148
Line_1 | 0 | 0 | 0 | 0.0045596 | 0.0045596 | 0.0045596 | 0 | 0 | 0 | 0.05265 | 0.05265 | 0.05265 | -1.0637e-12 | -4.463e-09 | -4.4726e-09 | 3.0109e-14 | 0.045651 | -0.045541 | 5.1384e-12 | -2.8029e-09 | 2.7974e-09 | 2.3032e-14 | -0.072698 | -0.072775 | 0 | 0 | 0 | -90.0479 | -90.0479 | -90.0479 | 0.0014307 | 1.63 | 1.6316 | 0 | 1.6305 | 1.6306 | 101.6149 | -147.9681 | 147.8784 | 0 | -147.921 | 147.9148
Line_2 | 0 | 0 | 0 | 0.0045596 | 0.0045596 | 0.0045596 | 0 | 0 | 0 | 0.05265 | 0.05265 | 0.05265 | -1.0637e-12 | -4.463e-09 | -4.4726e-09 | 3.0109e-14 | 0.045651 | -0.045541 | 5.1383e-12 | -2.8029e-09 | 2.7974e-09 | 2.3032e-14 | -0.072698 | -0.072775 | 0 | 0 | 0 | -90.0479 | -90.0479 | -90.0479 | 0.0014307 | 1.63 | 1.6316 | 0 | 1.6305 | 1.6306 | 101.6149 | -147.9681 | 147.8784 | 0 | -147.921 | 147.9148

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35379 | 0.010914 | 0.010914 | 0.35037 | 0.0073404 | 0.0073404 | 4.0852 | 0.12602 | 0.12602 | 4.0458 | 0.084759 | 0.084759 | 0.99171 | 0.10835 | -0.10878 | -0.59732 | -0.069491 | 0.076762 | 0.72166 | -0.15951 | -0.13723 | -0.60612 | 0.10873 | 0.095991 | -65.1858 | -84.1421 | -84.1421 | 114.9867 | 94.9796 | 94.9796 | 0.30023 | 1.5301 | 1.3896 | 0.21034 | 1.5225 | 1.4501 | -29.1427 | -139.9543 | 147.4545 | -19.5944 | -142.4379 | 146.3308
Line_1 | 0 | 0 | 0 | 0.0036702 | 0.0036702 | 0.0036702 | 0 | 0 | 0 | 0.04238 | 0.04238 | 0.04238 | 5.6419e-10 | -3.3375e-09 | -2.9501e-09 | 0.0037071 | 0.034746 | -0.038381 | -2.546e-10 | -2.1338e-09 | 2.3574e-09 | 0.0081068 | -0.054367 | -0.047995 | 0 | 0 | 0 | -85.0204 | -85.0204 | -85.0204 | 0.20966 | 1.5221 | 1.451 | 0.21034 | 1.5225 | 1.4501 | -19.3405 | -142.4784 | 146.3018 | -19.5944 | -142.4379 | 146.3308
Line_2 | 0 | 0 | 0 | 0.0036702 | 0.0036702 | 0.0036702 | 0 | 0 | 0 | 0.04238 | 0.04238 | 0.04238 | 5.6419e-10 | -3.3375e-09 | -2.9501e-09 | 0.0037071 | 0.034746 | -0.038381 | -2.546e-10 | -2.1337e-09 | 2.3574e-09 | 0.0081068 | -0.054367 | -0.047995 | 0 | 0 | 0 | -85.0204 | -85.0204 | -85.0204 | 0.20966 | 1.5221 | 1.451 | 0.21034 | 1.5225 | 1.4501 | -19.3405 | -142.4784 | 146.3018 | -19.5944 | -142.4379 | 146.3308

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35379 | 0.010914 | 0.010914 | 0.35037 | 0.0073404 | 0.0073404 | 4.0852 | 0.12602 | 0.12602 | 4.0458 | 0.084759 | 0.084759 | 0.99171 | 0.10835 | -0.10878 | -0.59732 | -0.069491 | 0.076762 | 0.72166 | -0.15951 | -0.13723 | -0.60612 | 0.10873 | 0.095991 | -65.1858 | -84.1421 | -84.1421 | 114.9867 | 94.9796 | 94.9796 | 0.30023 | 1.5301 | 1.3896 | 0.21034 | 1.5225 | 1.4501 | -29.1427 | -139.9543 | 147.4545 | -19.5944 | -142.4379 | 146.3308
Line_1 | 0 | 0 | 0 | 0.0036702 | 0.0036702 | 0.0036702 | 0 | 0 | 0 | 0.04238 | 0.04238 | 0.04238 | 5.6419e-10 | -3.3375e-09 | -2.9501e-09 | 0.0037071 | 0.034746 | -0.038381 | -2.546e-10 | -2.1338e-09 | 2.3574e-09 | 0.0081068 | -0.054367 | -0.047995 | 0 | 0 | 0 | -85.0204 | -85.0204 | -85.0204 | 0.20966 | 1.5221 | 1.451 | 0.21034 | 1.5225 | 1.4501 | -19.3405 | -142.4784 | 146.3018 | -19.5944 | -142.4379 | 146.3308
Line_2 | 0 | 0 | 0 | 0.0036702 | 0.0036702 | 0.0036702 | 0 | 0 | 0 | 0.04238 | 0.04238 | 0.04238 | 5.6419e-10 | -3.3375e-09 | -2.9501e-09 | 0.0037071 | 0.034746 | -0.038381 | -2.546e-10 | -2.1337e-09 | 2.3574e-09 | 0.0081068 | -0.054367 | -0.047995 | 0 | 0 | 0 | -85.0204 | -85.0204 | -85.0204 | 0.20966 | 1.5221 | 1.451 | 0.21034 | 1.5225 | 1.4501 | -19.3405 | -142.4784 | 146.3018 | -19.5944 | -142.4379 | 146.3308

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0079602 | 3.7213 | 3.7019 | 0.0053387 | 3.7217 | 3.7013 | 0.091917 | 42.9698 | 42.7453 | 0.061646 | 42.9746 | 42.7385 | 0.00096321 | 7.6059 | 6.7985 | -3.9514e-05 | 7.3346e-11 | 7.6169e-11 | -0.14741 | 7.1357 | 9.1409 | 0.099716 | -4.3019e-11 | 3.4901e-11 | 90.3215 | -169.8445 | 14.2956 | -90.1261 | 10.1954 | -165.7439 | 1.6038 | 0.24271 | 0.26651 | 1.6176 | 0 | 0 | 0.69585 | -126.6715 | 67.6556 | -0.10343 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026693 | 0.0026693 | 0.0026693 | 0 | 0 | 0 | 0.030823 | 0.030823 | 0.030823 | -3.0711e-09 | 1.1523e-12 | -1.8348e-12 | 1.9755e-05 | -2.093e-14 | -3.8026e-14 | -1.3462e-11 | 1.452e-12 | 2.7262e-13 | -0.049858 | -5.7283e-14 | 4.6959e-14 | 0 | 0 | 0 | 89.8739 | 89.8739 | 89.8739 | 1.6177 | 0.00045972 | 0.00045972 | 1.6176 | 0 | 0 | -0.11856 | -68.4544 | -68.4544 | -0.10343 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026693 | 0.0026693 | 0.0026693 | 0 | 0 | 0 | 0.030823 | 0.030823 | 0.030823 | -3.0711e-09 | 1.1523e-12 | -1.8348e-12 | 1.9755e-05 | -2.093e-14 | -3.8026e-14 | -1.3462e-11 | 1.452e-12 | 2.7264e-13 | -0.049858 | -5.7283e-14 | 4.6959e-14 | 0 | 0 | 0 | 89.8739 | 89.8739 | 89.8739 | 1.6177 | 0.00045972 | 0.00045972 | 1.6176 | 0 | 0 | -0.11856 | -68.4544 | -68.4544 | -0.10343 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0079602 | 3.7213 | 3.7019 | 0.0053387 | 3.7217 | 3.7013 | 0.091917 | 42.9698 | 42.7453 | 0.061646 | 42.9746 | 42.7385 | 0.00096321 | 7.6059 | 6.7985 | -3.9514e-05 | 7.3346e-11 | 7.6169e-11 | -0.14741 | 7.1357 | 9.1409 | 0.099716 | -4.3019e-11 | 3.4901e-11 | 90.3215 | -169.8445 | 14.2956 | -90.1261 | 10.1954 | -165.7439 | 1.6038 | 0.24271 | 0.26651 | 1.6176 | 0 | 0 | 0.69585 | -126.6715 | 67.6556 | -0.10343 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026693 | 0.0026693 | 0.0026693 | 0 | 0 | 0 | 0.030823 | 0.030823 | 0.030823 | -3.0711e-09 | 1.1523e-12 | -1.8348e-12 | 1.9755e-05 | -2.093e-14 | -3.8026e-14 | -1.3462e-11 | 1.452e-12 | 2.7262e-13 | -0.049858 | -5.7283e-14 | 4.6959e-14 | 0 | 0 | 0 | 89.8739 | 89.8739 | 89.8739 | 1.6177 | 0.00045972 | 0.00045972 | 1.6176 | 0 | 0 | -0.11856 | -68.4544 | -68.4544 | -0.10343 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026693 | 0.0026693 | 0.0026693 | 0 | 0 | 0 | 0.030823 | 0.030823 | 0.030823 | -3.0711e-09 | 1.1523e-12 | -1.8348e-12 | 1.9755e-05 | -2.093e-14 | -3.8026e-14 | -1.3462e-11 | 1.452e-12 | 2.7264e-13 | -0.049858 | -5.7283e-14 | 4.6959e-14 | 0 | 0 | 0 | 89.8739 | 89.8739 | 89.8739 | 1.6177 | 0.00045972 | 0.00045972 | 1.6176 | 0 | 0 | -0.11856 | -68.4544 | -68.4544 | -0.10343 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0070634 | 1.1078 | 1.1723 | 0.0047372 | 1.1088 | 1.1709 | 0.081561 | 12.7914 | 13.5362 | 0.054701 | 12.8028 | 13.5202 | -0.0045101 | 6.783 | 7.6271 | 0.0034502 | -6.1348 | -6.8598 | -0.12599 | 6.6198 | 7.9326 | 0.085198 | -6.1819 | -6.816 | 93.6523 | -150.4773 | 41.0896 | -86.7953 | 29.6317 | -139.0019 | 1.5457 | 0.74096 | 0.81296 | 1.5588 | 0.68027 | 0.71524 | 1.6022 | -106.1749 | 87.2144 | 0.88575 | -105.1495 | 85.8145
Line_1 | 0 | 0 | 0 | 0.0023686 | 0.0023686 | 0.0023686 | 0 | 0 | 0 | 0.02735 | 0.02735 | 0.02735 | -2.6244e-09 | 9.5469e-10 | 5.1085e-10 | -0.0017251 | -0.017659 | 0.0194 | 9.5691e-11 | 7.0455e-10 | -1.6208e-09 | -0.042599 | 0.0058587 | -0.0025162 | 0 | 0 | 0 | 93.2047 | 93.2047 | 93.2047 | 1.559 | 0.68058 | 0.71489 | 1.5588 | 0.68027 | 0.71524 | 0.87205 | -105.1274 | 85.7986 | 0.88575 | -105.1495 | 85.8145
Line_2 | 0 | 0 | 0 | 0.0023686 | 0.0023686 | 0.0023686 | 0 | 0 | 0 | 0.02735 | 0.02735 | 0.02735 | -2.6244e-09 | 9.5469e-10 | 5.1085e-10 | -0.0017251 | -0.017659 | 0.0194 | 9.5706e-11 | 7.0456e-10 | -1.6208e-09 | -0.042599 | 0.0058587 | -0.0025162 | 0 | 0 | 0 | 93.2047 | 93.2047 | 93.2047 | 1.559 | 0.68058 | 0.71489 | 1.5588 | 0.68027 | 0.71524 | 0.87205 | -105.1274 | 85.7986 | 0.88575 | -105.1495 | 85.8145

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0070634 | 1.1078 | 1.1723 | 0.0047372 | 1.1088 | 1.1709 | 0.081561 | 12.7914 | 13.5362 | 0.054701 | 12.8028 | 13.5202 | -0.0045101 | 6.783 | 7.6271 | 0.0034502 | -6.1348 | -6.8598 | -0.12599 | 6.6198 | 7.9326 | 0.085198 | -6.1819 | -6.816 | 93.6523 | -150.4773 | 41.0896 | -86.7953 | 29.6317 | -139.0019 | 1.5457 | 0.74096 | 0.81296 | 1.5588 | 0.68027 | 0.71524 | 1.6022 | -106.1749 | 87.2144 | 0.88575 | -105.1495 | 85.8145
Line_1 | 0 | 0 | 0 | 0.0023686 | 0.0023686 | 0.0023686 | 0 | 0 | 0 | 0.02735 | 0.02735 | 0.02735 | -2.6244e-09 | 9.5469e-10 | 5.1085e-10 | -0.0017251 | -0.017659 | 0.0194 | 9.5691e-11 | 7.0455e-10 | -1.6208e-09 | -0.042599 | 0.0058587 | -0.0025162 | 0 | 0 | 0 | 93.2047 | 93.2047 | 93.2047 | 1.559 | 0.68058 | 0.71489 | 1.5588 | 0.68027 | 0.71524 | 0.87205 | -105.1274 | 85.7986 | 0.88575 | -105.1495 | 85.8145
Line_2 | 0 | 0 | 0 | 0.0023686 | 0.0023686 | 0.0023686 | 0 | 0 | 0 | 0.02735 | 0.02735 | 0.02735 | -2.6244e-09 | 9.5469e-10 | 5.1085e-10 | -0.0017251 | -0.017659 | 0.0194 | 9.5706e-11 | 7.0456e-10 | -1.6208e-09 | -0.042599 | 0.0058587 | -0.0025162 | 0 | 0 | 0 | 93.2047 | 93.2047 | 93.2047 | 1.559 | 0.68058 | 0.71489 | 1.5588 | 0.68027 | 0.71524 | 0.87205 | -105.1274 | 85.7986 | 0.88575 | -105.1495 | 85.8145

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072062 | 3.1191 | 3.1237 | 0.0048467 | 3.1197 | 3.1229 | 0.08321 | 36.0163 | 36.0694 | 0.055965 | 36.0236 | 36.0601 | 0.0014996 | 9.9559 | 9.6181 | -6.2522e-05 | -1.3522e-10 | 3.3146e-11 | -0.12056 | 4.2012 | 7.3121 | 0.082186 | -1.3386e-10 | -1.902e-10 | 90.8336 | -161.8807 | 22.5328 | -90.0447 | 18.1611 | -157.5079 | 1.449 | 0.30003 | 0.33497 | 1.4685 | 0 | 0 | 1.5462 | -139.002 | 59.7765 | -0.0011502 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024234 | 0.0024234 | 0.0024234 | 0 | 0 | 0 | 0.027983 | 0.027983 | 0.027983 | -2.5238e-09 | 2.0822e-12 | -2.6479e-12 | 3.126e-05 | -1.3159e-13 | 1.2647e-13 | -2.8436e-12 | 1.8517e-12 | 8.7922e-13 | -0.041093 | 6.7289e-14 | 8.0327e-14 | 0 | 0 | 0 | 89.9553 | 89.9553 | 89.9553 | 1.4687 | 0.00076038 | 0.00076038 | 1.4685 | 0 | 0 | -0.030206 | -78.382 | -78.382 | -0.0011502 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024234 | 0.0024234 | 0.0024234 | 0 | 0 | 0 | 0.027983 | 0.027983 | 0.027983 | -2.5238e-09 | 2.0822e-12 | -2.6479e-12 | 3.126e-05 | -1.3159e-13 | 1.2647e-13 | -2.8506e-12 | 1.8517e-12 | 8.7922e-13 | -0.041093 | 6.7289e-14 | 8.0327e-14 | 0 | 0 | 0 | 89.9553 | 89.9553 | 89.9553 | 1.4687 | 0.00076038 | 0.00076038 | 1.4685 | 0 | 0 | -0.030206 | -78.382 | -78.382 | -0.0011502 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072062 | 3.1191 | 3.1237 | 0.0048467 | 3.1197 | 3.1229 | 0.08321 | 36.0163 | 36.0694 | 0.055965 | 36.0236 | 36.0601 | 0.0014996 | 9.9559 | 9.6181 | -6.2522e-05 | -1.3522e-10 | 3.3146e-11 | -0.12056 | 4.2012 | 7.3121 | 0.082186 | -1.3386e-10 | -1.902e-10 | 90.8336 | -161.8807 | 22.5328 | -90.0447 | 18.1611 | -157.5079 | 1.449 | 0.30003 | 0.33497 | 1.4685 | 0 | 0 | 1.5462 | -139.002 | 59.7765 | -0.0011502 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024234 | 0.0024234 | 0.0024234 | 0 | 0 | 0 | 0.027983 | 0.027983 | 0.027983 | -2.5238e-09 | 2.0822e-12 | -2.6479e-12 | 3.126e-05 | -1.3159e-13 | 1.2647e-13 | -2.8436e-12 | 1.8517e-12 | 8.7922e-13 | -0.041093 | 6.7289e-14 | 8.0327e-14 | 0 | 0 | 0 | 89.9553 | 89.9553 | 89.9553 | 1.4687 | 0.00076038 | 0.00076038 | 1.4685 | 0 | 0 | -0.030206 | -78.382 | -78.382 | -0.0011502 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024234 | 0.0024234 | 0.0024234 | 0 | 0 | 0 | 0.027983 | 0.027983 | 0.027983 | -2.5238e-09 | 2.0822e-12 | -2.6479e-12 | 3.126e-05 | -1.3159e-13 | 1.2647e-13 | -2.8506e-12 | 1.8517e-12 | 8.7922e-13 | -0.041093 | 6.7289e-14 | 8.0327e-14 | 0 | 0 | 0 | 89.9553 | 89.9553 | 89.9553 | 1.4687 | 0.00076038 | 0.00076038 | 1.4685 | 0 | 0 | -0.030206 | -78.382 | -78.382 | -0.0011502 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063899 | 0.97021 | 1.0258 | 0.0042977 | 0.97112 | 1.0245 | 0.073784 | 11.2031 | 11.8448 | 0.049626 | 11.2136 | 11.83 | -0.002726 | 5.6238 | 6.4193 | 0.0024924 | -4.707 | -5.2508 | -0.103 | 4.8742 | 6.2784 | 0.070179 | -4.7437 | -5.2171 | 93.7743 | -148.7208 | 43.1212 | -87.104 | 31.3905 | -136.9716 | 1.3964 | 0.66429 | 0.75807 | 1.4151 | 0.59595 | 0.62569 | 2.2583 | -107.805 | 87.4855 | 0.86195 | -103.3871 | 87.8441
Line_1 | 0 | 0 | 0 | 0.0021489 | 0.0021489 | 0.0021489 | 0 | 0 | 0 | 0.024813 | 0.024813 | 0.024813 | -2.1552e-09 | 7.9085e-10 | 5.0739e-10 | -0.0012462 | -0.014194 | 0.015465 | 7.5658e-11 | 6.2649e-10 | -1.2204e-09 | -0.035089 | 0.0041461 | -0.0013671 | 0 | 0 | 0 | 92.896 | 92.896 | 92.896 | 1.4152 | 0.59654 | 0.62504 | 1.4151 | 0.59595 | 0.62569 | 0.83543 | -103.3568 | 87.8263 | 0.86195 | -103.3871 | 87.8441
Line_2 | 0 | 0 | 0 | 0.0021489 | 0.0021489 | 0.0021489 | 0 | 0 | 0 | 0.024813 | 0.024813 | 0.024813 | -2.1552e-09 | 7.9086e-10 | 5.0739e-10 | -0.0012462 | -0.014194 | 0.015465 | 7.5651e-11 | 6.2648e-10 | -1.2204e-09 | -0.035089 | 0.0041461 | -0.0013671 | 0 | 0 | 0 | 92.896 | 92.896 | 92.896 | 1.4152 | 0.59654 | 0.62504 | 1.4151 | 0.59595 | 0.62569 | 0.83543 | -103.3568 | 87.8263 | 0.86195 | -103.3871 | 87.8441

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063899 | 0.97021 | 1.0258 | 0.0042977 | 0.97112 | 1.0245 | 0.073784 | 11.2031 | 11.8448 | 0.049626 | 11.2136 | 11.83 | -0.002726 | 5.6238 | 6.4193 | 0.0024924 | -4.707 | -5.2508 | -0.103 | 4.8742 | 6.2784 | 0.070179 | -4.7437 | -5.2171 | 93.7743 | -148.7208 | 43.1212 | -87.104 | 31.3905 | -136.9716 | 1.3964 | 0.66429 | 0.75807 | 1.4151 | 0.59595 | 0.62569 | 2.2583 | -107.805 | 87.4855 | 0.86195 | -103.3871 | 87.8441
Line_1 | 0 | 0 | 0 | 0.0021489 | 0.0021489 | 0.0021489 | 0 | 0 | 0 | 0.024813 | 0.024813 | 0.024813 | -2.1552e-09 | 7.9085e-10 | 5.0739e-10 | -0.0012462 | -0.014194 | 0.015465 | 7.5658e-11 | 6.2649e-10 | -1.2204e-09 | -0.035089 | 0.0041461 | -0.0013671 | 0 | 0 | 0 | 92.896 | 92.896 | 92.896 | 1.4152 | 0.59654 | 0.62504 | 1.4151 | 0.59595 | 0.62569 | 0.83543 | -103.3568 | 87.8263 | 0.86195 | -103.3871 | 87.8441
Line_2 | 0 | 0 | 0 | 0.0021489 | 0.0021489 | 0.0021489 | 0 | 0 | 0 | 0.024813 | 0.024813 | 0.024813 | -2.1552e-09 | 7.9086e-10 | 5.0739e-10 | -0.0012462 | -0.014194 | 0.015465 | 7.5651e-11 | 6.2648e-10 | -1.2204e-09 | -0.035089 | 0.0041461 | -0.0013671 | 0 | 0 | 0 | 92.896 | 92.896 | 92.896 | 1.4152 | 0.59654 | 0.62504 | 1.4151 | 0.59595 | 0.62569 | 0.83543 | -103.3568 | 87.8263 | 0.86195 | -103.3871 | 87.8441