## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -4.1685e-14 | 30.1766 | -15.8685 | 2.6053e-14 | -23.0225 | 23.0225 | -5.2106e-15 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 1.3721e-12 | -161.8563 | 152.6723 | 1.3486e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.8237e-14 | 1.0421e-14 | -3.1264e-14 | 2.3448e-14 | -2.0843e-14 | 3.6613e-28 | -1.9211e-09 | 1.9211e-09 | -7.3589e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.342e-12 | -180 | 180 | 1.3486e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -7.8159e-15 | 1.0421e-14 | -5.2106e-15 | 1.3027e-14 | -1.0421e-14 | -2.4544e-28 | -1.9211e-09 | 1.9211e-09 | -1.2265e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.3494e-12 | -180 | 180 | 1.3486e-12 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -4.1685e-14 | 30.1766 | -15.8685 | 2.6053e-14 | -23.0225 | 23.0225 | -5.2106e-15 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 1.3721e-12 | -161.8563 | 152.6723 | 1.3486e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.8237e-14 | 1.0421e-14 | -3.1264e-14 | 2.3448e-14 | -2.0843e-14 | 3.6613e-28 | -1.9211e-09 | 1.9211e-09 | -7.3589e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.342e-12 | -180 | 180 | 1.3486e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -7.8159e-15 | 1.0421e-14 | -5.2106e-15 | 1.3027e-14 | -1.0421e-14 | -2.4544e-28 | -1.9211e-09 | 1.9211e-09 | -1.2265e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.3494e-12 | -180 | 180 | 1.3486e-12 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.5632e-14 | 19.0761 | -0.30087 | 1.0421e-14 | -17.4596 | 1.9173 | -1.5632e-14 | 3.9919 | 15.2185 | 1.0421e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 5.0034e-13 | -138.0936 | 121.2196 | 4.8528e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7339e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8389e-10 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.8235e-13 | -142.8673 | 128.239 | 4.8528e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 4.7339e-10 | 1.0337e-09 | 5.2106e-15 | -4.7339e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8389e-10 | 4.4133e-29 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.8615e-13 | -142.8673 | 128.239 | 4.8528e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.5632e-14 | 19.0761 | -0.30087 | 1.0421e-14 | -17.4596 | 1.9173 | -1.5632e-14 | 3.9919 | 15.2185 | 1.0421e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 5.0034e-13 | -138.0936 | 121.2196 | 4.8528e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7339e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8389e-10 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.8235e-13 | -142.8673 | 128.239 | 4.8528e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 4.7339e-10 | 1.0337e-09 | 5.2106e-15 | -4.7339e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8389e-10 | 4.4133e-29 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.8615e-13 | -142.8673 | 128.239 | 4.8528e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.1316e-14 | 26.5997 | -7.1734 | 1.6579e-14 | -16.8865 | 16.8865 | -4.737e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 7.684e-13 | -160.7833 | 141.207 | 7.9543e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 3.5528e-15 | 2.3686e-15 | 2.6305e-28 | 4.7369e-15 | -2.3685e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7658e-13 | -180 | 180 | 7.9543e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2844e-28 | -1.1841e-15 | 7.1055e-15 | -2.3685e-15 | 4.7369e-15 | -7.1054e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7675e-13 | -180 | 180 | 7.9543e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.1316e-14 | 26.5997 | -7.1734 | 1.6579e-14 | -16.8865 | 16.8865 | -4.737e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 7.684e-13 | -160.7833 | 141.207 | 7.9543e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 3.5528e-15 | 2.3686e-15 | 2.6305e-28 | 4.7369e-15 | -2.3685e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7658e-13 | -180 | 180 | 7.9543e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2844e-28 | -1.1841e-15 | 7.1055e-15 | -2.3685e-15 | 4.7369e-15 | -7.1054e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7675e-13 | -180 | 180 | 7.9543e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -7.1054e-15 | 15.3932 | 0.73601 | 7.6975e-15 | -13.0917 | 1.5655 | -4.737e-15 | 2.3135 | 11.9328 | 7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 3.7878e-13 | -138.1765 | 119.7467 | 3.8719e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | 4.798e-10 | 8.2616e-10 | 1.7764e-15 | -4.7981e-10 | -8.2615e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.7546e-13 | -142.5584 | 131.6989 | 3.8719e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 4.798e-10 | 8.2616e-10 | 4.1448e-15 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5325e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.779e-13 | -142.5584 | 131.6989 | 3.8719e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -7.1054e-15 | 15.3932 | 0.73601 | 7.6975e-15 | -13.0917 | 1.5655 | -4.737e-15 | 2.3135 | 11.9328 | 7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 3.7878e-13 | -138.1765 | 119.7467 | 3.8719e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | 4.798e-10 | 8.2616e-10 | 1.7764e-15 | -4.7981e-10 | -8.2615e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.7546e-13 | -142.5584 | 131.6989 | 3.8719e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 4.798e-10 | 8.2616e-10 | 4.1448e-15 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5325e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.779e-13 | -142.5584 | 131.6989 | 3.8719e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51126 | 0.015025 | 0.015025 | 0.50629 | 0.010059 | 0.010059 | 5.9035 | 0.17349 | 0.17349 | 5.8461 | 0.11615 | 0.11615 | 0.42437 | 0.17135 | -0.15912 | 7.4809e-12 | -0.11071 | 0.11057 | 0.23274 | -0.26493 | -0.2581 | -2.7855e-12 | 0.17827 | 0.17575 | -85.9536 | -88.8164 | -88.8164 | 94.0639 | 90.6514 | 90.6514 | 0.081986 | 1.8186 | 1.7477 | 0 | 1.8067 | 1.7876 | -57.2111 | -145.9217 | 149.5297 | 0 | -147.5059 | 148.4753
Line_1 | 0 | 0 | 0 | 0.0050296 | 0.0050296 | 0.0050296 | 0 | 0 | 0 | 0.058077 | 0.058077 | 0.058077 | -1.3298e-12 | -5.5049e-09 | -5.3853e-09 | -7.5832e-14 | 0.055357 | -0.055287 | 3.2318e-12 | -3.3681e-09 | 3.4372e-09 | 2.3199e-14 | -0.089133 | -0.087875 | 0 | 0 | 0 | -89.3486 | -89.3486 | -89.3486 | 0.00086621 | 1.8065 | 1.7883 | 0 | 1.8067 | 1.7876 | 112.3231 | -147.5329 | 148.4589 | 0 | -147.5059 | 148.4753
Line_2 | 0 | 0 | 0 | 0.0050296 | 0.0050296 | 0.0050296 | 0 | 0 | 0 | 0.058077 | 0.058077 | 0.058077 | -1.3298e-12 | -5.505e-09 | -5.3853e-09 | -7.5832e-14 | 0.055357 | -0.055287 | 3.2319e-12 | -3.368e-09 | 3.4372e-09 | 2.3199e-14 | -0.089133 | -0.087875 | 0 | 0 | 0 | -89.3486 | -89.3486 | -89.3486 | 0.00086621 | 1.8065 | 1.7883 | 0 | 1.8067 | 1.7876 | 112.3231 | -147.5329 | 148.4589 | 0 | -147.5059 | 148.4753

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51126 | 0.015025 | 0.015025 | 0.50629 | 0.010059 | 0.010059 | 5.9035 | 0.17349 | 0.17349 | 5.8461 | 0.11615 | 0.11615 | 0.42437 | 0.17135 | -0.15912 | 7.4809e-12 | -0.11071 | 0.11057 | 0.23274 | -0.26493 | -0.2581 | -2.7855e-12 | 0.17827 | 0.17575 | -85.9536 | -88.8164 | -88.8164 | 94.0639 | 90.6514 | 90.6514 | 0.081986 | 1.8186 | 1.7477 | 0 | 1.8067 | 1.7876 | -57.2111 | -145.9217 | 149.5297 | 0 | -147.5059 | 148.4753
Line_1 | 0 | 0 | 0 | 0.0050296 | 0.0050296 | 0.0050296 | 0 | 0 | 0 | 0.058077 | 0.058077 | 0.058077 | -1.3298e-12 | -5.5049e-09 | -5.3853e-09 | -7.5832e-14 | 0.055357 | -0.055287 | 3.2318e-12 | -3.3681e-09 | 3.4372e-09 | 2.3199e-14 | -0.089133 | -0.087875 | 0 | 0 | 0 | -89.3486 | -89.3486 | -89.3486 | 0.00086621 | 1.8065 | 1.7883 | 0 | 1.8067 | 1.7876 | 112.3231 | -147.5329 | 148.4589 | 0 | -147.5059 | 148.4753
Line_2 | 0 | 0 | 0 | 0.0050296 | 0.0050296 | 0.0050296 | 0 | 0 | 0 | 0.058077 | 0.058077 | 0.058077 | -1.3298e-12 | -5.505e-09 | -5.3853e-09 | -7.5832e-14 | 0.055357 | -0.055287 | 3.2319e-12 | -3.368e-09 | 3.4372e-09 | 2.3199e-14 | -0.089133 | -0.087875 | 0 | 0 | 0 | -89.3486 | -89.3486 | -89.3486 | 0.00086621 | 1.8065 | 1.7883 | 0 | 1.8067 | 1.7876 | 112.3231 | -147.5329 | 148.4589 | 0 | -147.5059 | 148.4753

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41825 | 0.012292 | 0.012292 | 0.41419 | 0.0082293 | 0.0082293 | 4.8296 | 0.14193 | 0.14193 | 4.7827 | 0.095024 | 0.095024 | 1.1317 | 0.12556 | -0.141 | -0.83975 | -0.081587 | 0.097152 | 1.0061 | -0.21088 | -0.16537 | -0.84178 | 0.14171 | 0.11291 | -77.4496 | -80.3124 | -80.3124 | 102.5679 | 99.1554 | 99.1554 | 0.31354 | 1.7292 | 1.5312 | 0.24861 | 1.7208 | 1.5675 | -35.8141 | -139.5427 | 149.2356 | -32.3629 | -140.915 | 148.4449
Line_1 | 0 | 0 | 0 | 0.0041147 | 0.0041147 | 0.0041147 | 0 | 0 | 0 | 0.047512 | 0.047512 | 0.047512 | 6.2004e-10 | -4.3749e-09 | -3.4547e-09 | 0.0078297 | 0.040793 | -0.048576 | -5.3428e-10 | -2.4802e-09 | 3.0115e-09 | 0.0088441 | -0.070857 | -0.056454 | 0 | 0 | 0 | -80.8446 | -80.8446 | -80.8446 | 0.24798 | 1.7207 | 1.5681 | 0.24861 | 1.7208 | 1.5675 | -32.2891 | -140.9384 | 148.4329 | -32.3629 | -140.915 | 148.4449
Line_2 | 0 | 0 | 0 | 0.0041147 | 0.0041147 | 0.0041147 | 0 | 0 | 0 | 0.047512 | 0.047512 | 0.047512 | 6.2004e-10 | -4.3748e-09 | -3.4547e-09 | 0.0078297 | 0.040793 | -0.048576 | -5.3428e-10 | -2.4802e-09 | 3.0115e-09 | 0.0088441 | -0.070857 | -0.056454 | 0 | 0 | 0 | -80.8446 | -80.8446 | -80.8446 | 0.24798 | 1.7207 | 1.5681 | 0.24861 | 1.7208 | 1.5675 | -32.2891 | -140.9384 | 148.4329 | -32.3629 | -140.915 | 148.4449

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41825 | 0.012292 | 0.012292 | 0.41419 | 0.0082293 | 0.0082293 | 4.8296 | 0.14193 | 0.14193 | 4.7827 | 0.095024 | 0.095024 | 1.1317 | 0.12556 | -0.141 | -0.83975 | -0.081587 | 0.097152 | 1.0061 | -0.21088 | -0.16537 | -0.84178 | 0.14171 | 0.11291 | -77.4496 | -80.3124 | -80.3124 | 102.5679 | 99.1554 | 99.1554 | 0.31354 | 1.7292 | 1.5312 | 0.24861 | 1.7208 | 1.5675 | -35.8141 | -139.5427 | 149.2356 | -32.3629 | -140.915 | 148.4449
Line_1 | 0 | 0 | 0 | 0.0041147 | 0.0041147 | 0.0041147 | 0 | 0 | 0 | 0.047512 | 0.047512 | 0.047512 | 6.2004e-10 | -4.3749e-09 | -3.4547e-09 | 0.0078297 | 0.040793 | -0.048576 | -5.3428e-10 | -2.4802e-09 | 3.0115e-09 | 0.0088441 | -0.070857 | -0.056454 | 0 | 0 | 0 | -80.8446 | -80.8446 | -80.8446 | 0.24798 | 1.7207 | 1.5681 | 0.24861 | 1.7208 | 1.5675 | -32.2891 | -140.9384 | 148.4329 | -32.3629 | -140.915 | 148.4449
Line_2 | 0 | 0 | 0 | 0.0041147 | 0.0041147 | 0.0041147 | 0 | 0 | 0 | 0.047512 | 0.047512 | 0.047512 | 6.2004e-10 | -4.3748e-09 | -3.4547e-09 | 0.0078297 | 0.040793 | -0.048576 | -5.3428e-10 | -2.4802e-09 | 3.0115e-09 | 0.0088441 | -0.070857 | -0.056454 | 0 | 0 | 0 | -80.8446 | -80.8446 | -80.8446 | 0.24798 | 1.7207 | 1.5681 | 0.24861 | 1.7208 | 1.5675 | -32.2891 | -140.9384 | 148.4329 | -32.3629 | -140.915 | 148.4449

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46065 | 0.01358 | 0.01358 | 0.45617 | 0.0091032 | 0.0091032 | 5.3191 | 0.1568 | 0.1568 | 5.2674 | 0.10511 | 0.10511 | 0.66145 | 0.14525 | -0.12617 | -3.6322e-12 | -0.091126 | 0.090906 | 0.1872 | -0.21799 | -0.20806 | -2.0137e-12 | 0.14668 | 0.14325 | -82.4201 | -87.9056 | -87.9056 | 97.6136 | 91.08 | 91.08 | 0.12924 | 1.6705 | 1.5518 | 0 | 1.6428 | 1.614 | -66.6177 | -144.2299 | 150.8618 | 0 | -147.069 | 148.6806
Line_1 | 0 | 0 | 0 | 0.0045516 | 0.0045516 | 0.0045516 | 0 | 0 | 0 | 0.052557 | 0.052557 | 0.052557 | -1.1625e-12 | -4.5296e-09 | -4.3667e-09 | 3.372e-14 | 0.045563 | -0.045453 | 5.1076e-12 | -2.7446e-09 | 2.8387e-09 | 2.4086e-14 | -0.07334 | -0.071624 | 0 | 0 | 0 | -88.92 | -88.92 | -88.92 | 0.0014282 | 1.6423 | 1.615 | 0 | 1.6428 | 1.614 | 102.7428 | -147.1157 | 148.6442 | 0 | -147.069 | 148.6806
Line_2 | 0 | 0 | 0 | 0.0045516 | 0.0045516 | 0.0045516 | 0 | 0 | 0 | 0.052557 | 0.052557 | 0.052557 | -1.1625e-12 | -4.5296e-09 | -4.3667e-09 | 3.372e-14 | 0.045563 | -0.045453 | 5.1076e-12 | -2.7447e-09 | 2.8387e-09 | 2.4086e-14 | -0.07334 | -0.071624 | 0 | 0 | 0 | -88.92 | -88.92 | -88.92 | 0.0014282 | 1.6423 | 1.615 | 0 | 1.6428 | 1.614 | 102.7428 | -147.1157 | 148.6442 | 0 | -147.069 | 148.6806

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46065 | 0.01358 | 0.01358 | 0.45617 | 0.0091032 | 0.0091032 | 5.3191 | 0.1568 | 0.1568 | 5.2674 | 0.10511 | 0.10511 | 0.66145 | 0.14525 | -0.12617 | -3.6322e-12 | -0.091126 | 0.090906 | 0.1872 | -0.21799 | -0.20806 | -2.0137e-12 | 0.14668 | 0.14325 | -82.4201 | -87.9056 | -87.9056 | 97.6136 | 91.08 | 91.08 | 0.12924 | 1.6705 | 1.5518 | 0 | 1.6428 | 1.614 | -66.6177 | -144.2299 | 150.8618 | 0 | -147.069 | 148.6806
Line_1 | 0 | 0 | 0 | 0.0045516 | 0.0045516 | 0.0045516 | 0 | 0 | 0 | 0.052557 | 0.052557 | 0.052557 | -1.1625e-12 | -4.5296e-09 | -4.3667e-09 | 3.372e-14 | 0.045563 | -0.045453 | 5.1076e-12 | -2.7446e-09 | 2.8387e-09 | 2.4086e-14 | -0.07334 | -0.071624 | 0 | 0 | 0 | -88.92 | -88.92 | -88.92 | 0.0014282 | 1.6423 | 1.615 | 0 | 1.6428 | 1.614 | 102.7428 | -147.1157 | 148.6442 | 0 | -147.069 | 148.6806
Line_2 | 0 | 0 | 0 | 0.0045516 | 0.0045516 | 0.0045516 | 0 | 0 | 0 | 0.052557 | 0.052557 | 0.052557 | -1.1625e-12 | -4.5296e-09 | -4.3667e-09 | 3.372e-14 | 0.045563 | -0.045453 | 5.1076e-12 | -2.7447e-09 | 2.8387e-09 | 2.4086e-14 | -0.07334 | -0.071624 | 0 | 0 | 0 | -88.92 | -88.92 | -88.92 | 0.0014282 | 1.6423 | 1.615 | 0 | 1.6428 | 1.614 | 102.7428 | -147.1157 | 148.6442 | 0 | -147.069 | 148.6806

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37476 | 0.011048 | 0.011048 | 0.37112 | 0.007406 | 0.007406 | 4.3274 | 0.12757 | 0.12757 | 4.2854 | 0.085517 | 0.085517 | 1.1174 | 0.10616 | -0.11155 | -0.67344 | -0.067347 | 0.079017 | 0.80751 | -0.17087 | -0.13309 | -0.67657 | 0.11479 | 0.092051 | -74.6703 | -80.1558 | -80.1558 | 105.3633 | 98.8298 | 98.8298 | 0.31859 | 1.5769 | 1.3613 | 0.22276 | 1.5563 | 1.4186 | -38.817 | -138.3045 | 149.8775 | -29.5039 | -140.7695 | 148.1869
Line_1 | 0 | 0 | 0 | 0.003703 | 0.003703 | 0.003703 | 0 | 0 | 0 | 0.042759 | 0.042759 | 0.042759 | 5.2888e-10 | -3.5434e-09 | -2.7996e-09 | 0.0059077 | 0.033674 | -0.039508 | -3.9826e-10 | -2.0268e-09 | 2.4562e-09 | 0.0074714 | -0.057394 | -0.046026 | 0 | 0 | 0 | -81.1702 | -81.1702 | -81.1702 | 0.22187 | 1.5559 | 1.4195 | 0.22276 | 1.5563 | 1.4186 | -29.3111 | -140.81 | 148.1583 | -29.5039 | -140.7695 | 148.1869
Line_2 | 0 | 0 | 0 | 0.003703 | 0.003703 | 0.003703 | 0 | 0 | 0 | 0.042759 | 0.042759 | 0.042759 | 5.2888e-10 | -3.5434e-09 | -2.7995e-09 | 0.0059077 | 0.033674 | -0.039508 | -3.9826e-10 | -2.0268e-09 | 2.4562e-09 | 0.0074714 | -0.057394 | -0.046026 | 0 | 0 | 0 | -81.1702 | -81.1702 | -81.1702 | 0.22187 | 1.5559 | 1.4195 | 0.22276 | 1.5563 | 1.4186 | -29.3111 | -140.81 | 148.1583 | -29.5039 | -140.7695 | 148.1869

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37476 | 0.011048 | 0.011048 | 0.37112 | 0.007406 | 0.007406 | 4.3274 | 0.12757 | 0.12757 | 4.2854 | 0.085517 | 0.085517 | 1.1174 | 0.10616 | -0.11155 | -0.67344 | -0.067347 | 0.079017 | 0.80751 | -0.17087 | -0.13309 | -0.67657 | 0.11479 | 0.092051 | -74.6703 | -80.1558 | -80.1558 | 105.3633 | 98.8298 | 98.8298 | 0.31859 | 1.5769 | 1.3613 | 0.22276 | 1.5563 | 1.4186 | -38.817 | -138.3045 | 149.8775 | -29.5039 | -140.7695 | 148.1869
Line_1 | 0 | 0 | 0 | 0.003703 | 0.003703 | 0.003703 | 0 | 0 | 0 | 0.042759 | 0.042759 | 0.042759 | 5.2888e-10 | -3.5434e-09 | -2.7996e-09 | 0.0059077 | 0.033674 | -0.039508 | -3.9826e-10 | -2.0268e-09 | 2.4562e-09 | 0.0074714 | -0.057394 | -0.046026 | 0 | 0 | 0 | -81.1702 | -81.1702 | -81.1702 | 0.22187 | 1.5559 | 1.4195 | 0.22276 | 1.5563 | 1.4186 | -29.3111 | -140.81 | 148.1583 | -29.5039 | -140.7695 | 148.1869
Line_2 | 0 | 0 | 0 | 0.003703 | 0.003703 | 0.003703 | 0 | 0 | 0 | 0.042759 | 0.042759 | 0.042759 | 5.2888e-10 | -3.5434e-09 | -2.7995e-09 | 0.0059077 | 0.033674 | -0.039508 | -3.9826e-10 | -2.0268e-09 | 2.4562e-09 | 0.0074714 | -0.057394 | -0.046026 | 0 | 0 | 0 | -81.1702 | -81.1702 | -81.1702 | 0.22187 | 1.5559 | 1.4195 | 0.22276 | 1.5563 | 1.4186 | -29.3111 | -140.81 | 148.1583 | -29.5039 | -140.7695 | 148.1869

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0079691 | 3.6905 | 3.7329 | 0.0053354 | 3.6909 | 3.7324 | 0.09202 | 42.6142 | 43.1042 | 0.061608 | 42.6186 | 43.0976 | 0.0010597 | 7.2555 | 7.1564 | -3.9466e-05 | 7.465e-11 | 7.7188e-11 | -0.14795 | 6.9043 | 9.3758 | 0.099595 | -4.5371e-11 | 3.5517e-11 | 90.6882 | -169.9219 | 14.3379 | -89.8439 | 10.1186 | -165.7016 | 1.6078 | 0.23503 | 0.27364 | 1.6166 | 0 | 0 | 1.0986 | -126.3428 | 66.9839 | 0.17878 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026677 | 0.0026677 | 0.0026677 | 0 | 0 | 0 | 0.030804 | 0.030804 | 0.030804 | -3.0634e-09 | 1.1445e-12 | -1.835e-12 | 1.9731e-05 | -2.2964e-14 | -3.8096e-14 | 1.8637e-11 | 1.4568e-12 | 2.6342e-13 | -0.049797 | -5.8815e-14 | 4.7296e-14 | 0 | 0 | 0 | 90.1561 | 90.1561 | 90.1561 | 1.6168 | 0.00045944 | 0.00045944 | 1.6166 | 0 | 0 | 0.16364 | -68.1722 | -68.1722 | 0.17878 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026677 | 0.0026677 | 0.0026677 | 0 | 0 | 0 | 0.030804 | 0.030804 | 0.030804 | -3.0634e-09 | 1.1445e-12 | -1.835e-12 | 1.9731e-05 | -2.2964e-14 | -3.8096e-14 | 1.8622e-11 | 1.4568e-12 | 2.6342e-13 | -0.049797 | -5.8815e-14 | 4.7296e-14 | 0 | 0 | 0 | 90.1561 | 90.1561 | 90.1561 | 1.6168 | 0.00045944 | 0.00045944 | 1.6166 | 0 | 0 | 0.16364 | -68.1722 | -68.1722 | 0.17878 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0079691 | 3.6905 | 3.7329 | 0.0053354 | 3.6909 | 3.7324 | 0.09202 | 42.6142 | 43.1042 | 0.061608 | 42.6186 | 43.0976 | 0.0010597 | 7.2555 | 7.1564 | -3.9466e-05 | 7.465e-11 | 7.7188e-11 | -0.14795 | 6.9043 | 9.3758 | 0.099595 | -4.5371e-11 | 3.5517e-11 | 90.6882 | -169.9219 | 14.3379 | -89.8439 | 10.1186 | -165.7016 | 1.6078 | 0.23503 | 0.27364 | 1.6166 | 0 | 0 | 1.0986 | -126.3428 | 66.9839 | 0.17878 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026677 | 0.0026677 | 0.0026677 | 0 | 0 | 0 | 0.030804 | 0.030804 | 0.030804 | -3.0634e-09 | 1.1445e-12 | -1.835e-12 | 1.9731e-05 | -2.2964e-14 | -3.8096e-14 | 1.8637e-11 | 1.4568e-12 | 2.6342e-13 | -0.049797 | -5.8815e-14 | 4.7296e-14 | 0 | 0 | 0 | 90.1561 | 90.1561 | 90.1561 | 1.6168 | 0.00045944 | 0.00045944 | 1.6166 | 0 | 0 | 0.16364 | -68.1722 | -68.1722 | 0.17878 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026677 | 0.0026677 | 0.0026677 | 0 | 0 | 0 | 0.030804 | 0.030804 | 0.030804 | -3.0634e-09 | 1.1445e-12 | -1.835e-12 | 1.9731e-05 | -2.2964e-14 | -3.8096e-14 | 1.8622e-11 | 1.4568e-12 | 2.6342e-13 | -0.049797 | -5.8815e-14 | 4.7296e-14 | 0 | 0 | 0 | 90.1561 | 90.1561 | 90.1561 | 1.6168 | 0.00045944 | 0.00045944 | 1.6166 | 0 | 0 | 0.16364 | -68.1722 | -68.1722 | 0.17878 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071524 | 1.0831 | 1.1963 | 0.0047886 | 1.084 | 1.195 | 0.082589 | 12.5064 | 13.8141 | 0.055294 | 12.517 | 13.7988 | -0.0071487 | 6.4253 | 8.0083 | 0.0052705 | -5.8625 | -7.1469 | -0.12805 | 6.3087 | 8.2593 | 0.086215 | -5.9097 | -7.1003 | 95.6739 | -150.4435 | 40.8226 | -84.8583 | 29.6717 | -139.2713 | 1.5528 | 0.72 | 0.83279 | 1.5621 | 0.66504 | 0.73009 | 2.4784 | -105.9681 | 86.7063 | 1.6435 | -105.0985 | 85.5416
Line_1 | 0 | 0 | 0 | 0.0023943 | 0.0023943 | 0.0023943 | 0 | 0 | 0 | 0.027647 | 0.027647 | 0.027647 | -2.6508e-09 | 9.6986e-10 | 4.7379e-10 | -0.0026352 | -0.017251 | 0.019902 | 1.7921e-10 | 6.9117e-10 | -1.666e-09 | -0.043108 | 0.0063609 | -0.0033662 | 0 | 0 | 0 | 95.1417 | 95.1417 | 95.1417 | 1.5623 | 0.66535 | 0.72974 | 1.5621 | 0.66504 | 0.73009 | 1.6298 | -105.0748 | 85.5248 | 1.6435 | -105.0985 | 85.5416
Line_2 | 0 | 0 | 0 | 0.0023943 | 0.0023943 | 0.0023943 | 0 | 0 | 0 | 0.027647 | 0.027647 | 0.027647 | -2.6508e-09 | 9.6985e-10 | 4.7378e-10 | -0.0026352 | -0.017251 | 0.019902 | 1.7921e-10 | 6.9118e-10 | -1.666e-09 | -0.043108 | 0.0063609 | -0.0033662 | 0 | 0 | 0 | 95.1417 | 95.1417 | 95.1417 | 1.5623 | 0.66535 | 0.72974 | 1.5621 | 0.66504 | 0.73009 | 1.6298 | -105.0748 | 85.5248 | 1.6435 | -105.0985 | 85.5416

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071524 | 1.0831 | 1.1963 | 0.0047886 | 1.084 | 1.195 | 0.082589 | 12.5064 | 13.8141 | 0.055294 | 12.517 | 13.7988 | -0.0071487 | 6.4253 | 8.0083 | 0.0052705 | -5.8625 | -7.1469 | -0.12805 | 6.3087 | 8.2593 | 0.086215 | -5.9097 | -7.1003 | 95.6739 | -150.4435 | 40.8226 | -84.8583 | 29.6717 | -139.2713 | 1.5528 | 0.72 | 0.83279 | 1.5621 | 0.66504 | 0.73009 | 2.4784 | -105.9681 | 86.7063 | 1.6435 | -105.0985 | 85.5416
Line_1 | 0 | 0 | 0 | 0.0023943 | 0.0023943 | 0.0023943 | 0 | 0 | 0 | 0.027647 | 0.027647 | 0.027647 | -2.6508e-09 | 9.6986e-10 | 4.7379e-10 | -0.0026352 | -0.017251 | 0.019902 | 1.7921e-10 | 6.9117e-10 | -1.666e-09 | -0.043108 | 0.0063609 | -0.0033662 | 0 | 0 | 0 | 95.1417 | 95.1417 | 95.1417 | 1.5623 | 0.66535 | 0.72974 | 1.5621 | 0.66504 | 0.73009 | 1.6298 | -105.0748 | 85.5248 | 1.6435 | -105.0985 | 85.5416
Line_2 | 0 | 0 | 0 | 0.0023943 | 0.0023943 | 0.0023943 | 0 | 0 | 0 | 0.027647 | 0.027647 | 0.027647 | -2.6508e-09 | 9.6985e-10 | 4.7378e-10 | -0.0026352 | -0.017251 | 0.019902 | 1.7921e-10 | 6.9118e-10 | -1.666e-09 | -0.043108 | 0.0063609 | -0.0033662 | 0 | 0 | 0 | 95.1417 | 95.1417 | 95.1417 | 1.5623 | 0.66535 | 0.72974 | 1.5621 | 0.66504 | 0.73009 | 1.6298 | -105.0748 | 85.5248 | 1.6435 | -105.0985 | 85.5416

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.007227 | 3.0916 | 3.1514 | 0.0048446 | 3.0922 | 3.1506 | 0.08345 | 35.6984 | 36.3894 | 0.055941 | 35.7054 | 36.3804 | 0.0016639 | 9.445 | 10.144 | -6.2468e-05 | -1.3454e-10 | 3.3024e-11 | -0.12157 | 4.021 | 7.4961 | 0.082115 | -1.3362e-10 | -1.9276e-10 | 91.2698 | -161.9445 | 22.5566 | -89.7446 | 18.0983 | -157.4843 | 1.457 | 0.28756 | 0.34662 | 1.4679 | 0 | 0 | 2.0539 | -138.8837 | 59.0197 | 0.29896 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024223 | 0.0024223 | 0.0024223 | 0 | 0 | 0 | 0.027971 | 0.027971 | 0.027971 | -2.5194e-09 | 2.0716e-12 | -2.6514e-12 | 3.1233e-05 | -1.3193e-13 | 1.2754e-13 | 2.535e-11 | 1.8618e-12 | 8.6497e-13 | -0.041058 | 6.825e-14 | 7.9639e-14 | 0 | 0 | 0 | 90.2554 | 90.2554 | 90.2554 | 1.468 | 0.00076005 | 0.00076005 | 1.4679 | 0 | 0 | 0.2699 | -78.0818 | -78.0818 | 0.29896 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024223 | 0.0024223 | 0.0024223 | 0 | 0 | 0 | 0.027971 | 0.027971 | 0.027971 | -2.5194e-09 | 2.0716e-12 | -2.6513e-12 | 3.1233e-05 | -1.3193e-13 | 1.2754e-13 | 2.5336e-11 | 1.8618e-12 | 8.6499e-13 | -0.041058 | 6.825e-14 | 7.9639e-14 | 0 | 0 | 0 | 90.2554 | 90.2554 | 90.2554 | 1.468 | 0.00076005 | 0.00076005 | 1.4679 | 0 | 0 | 0.2699 | -78.0818 | -78.0818 | 0.29896 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.007227 | 3.0916 | 3.1514 | 0.0048446 | 3.0922 | 3.1506 | 0.08345 | 35.6984 | 36.3894 | 0.055941 | 35.7054 | 36.3804 | 0.0016639 | 9.445 | 10.144 | -6.2468e-05 | -1.3454e-10 | 3.3024e-11 | -0.12157 | 4.021 | 7.4961 | 0.082115 | -1.3362e-10 | -1.9276e-10 | 91.2698 | -161.9445 | 22.5566 | -89.7446 | 18.0983 | -157.4843 | 1.457 | 0.28756 | 0.34662 | 1.4679 | 0 | 0 | 2.0539 | -138.8837 | 59.0197 | 0.29896 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024223 | 0.0024223 | 0.0024223 | 0 | 0 | 0 | 0.027971 | 0.027971 | 0.027971 | -2.5194e-09 | 2.0716e-12 | -2.6514e-12 | 3.1233e-05 | -1.3193e-13 | 1.2754e-13 | 2.535e-11 | 1.8618e-12 | 8.6497e-13 | -0.041058 | 6.825e-14 | 7.9639e-14 | 0 | 0 | 0 | 90.2554 | 90.2554 | 90.2554 | 1.468 | 0.00076005 | 0.00076005 | 1.4679 | 0 | 0 | 0.2699 | -78.0818 | -78.0818 | 0.29896 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024223 | 0.0024223 | 0.0024223 | 0 | 0 | 0 | 0.027971 | 0.027971 | 0.027971 | -2.5194e-09 | 2.0716e-12 | -2.6513e-12 | 3.1233e-05 | -1.3193e-13 | 1.2754e-13 | 2.5336e-11 | 1.8618e-12 | 8.6499e-13 | -0.041058 | 6.825e-14 | 7.9639e-14 | 0 | 0 | 0 | 90.2554 | 90.2554 | 90.2554 | 1.468 | 0.00076005 | 0.00076005 | 1.4679 | 0 | 0 | 0.2699 | -78.0818 | -78.0818 | 0.29896 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0064623 | 0.94836 | 1.0473 | 0.0043321 | 0.94921 | 1.0461 | 0.074621 | 10.9508 | 12.0935 | 0.050022 | 10.9605 | 12.0794 | -0.0048344 | 5.2878 | 6.7836 | 0.0039928 | -4.4958 | -5.4756 | -0.10473 | 4.6335 | 6.5339 | 0.070771 | -4.5326 | -5.4399 | 95.8791 | -148.7642 | 42.9144 | -85.1353 | 31.354 | -137.1813 | 1.4049 | 0.64202 | 0.77881 | 1.417 | 0.58246 | 0.63898 | 3.2362 | -107.5371 | 86.8402 | 1.6356 | -103.4124 | 87.6311
Line_1 | 0 | 0 | 0 | 0.002166 | 0.002166 | 0.002166 | 0 | 0 | 0 | 0.025011 | 0.025011 | 0.025011 | -2.1701e-09 | 8.0205e-10 | 4.8238e-10 | -0.0019964 | -0.013833 | 0.015854 | 1.4592e-10 | 6.115e-10 | -1.2537e-09 | -0.035385 | 0.0045687 | -0.0020123 | 0 | 0 | 0 | 94.8647 | 94.8647 | 94.8647 | 1.4172 | 0.58305 | 0.63833 | 1.417 | 0.58246 | 0.63898 | 1.6091 | -103.3791 | 87.6114 | 1.6356 | -103.4124 | 87.6311
Line_2 | 0 | 0 | 0 | 0.002166 | 0.002166 | 0.002166 | 0 | 0 | 0 | 0.025011 | 0.025011 | 0.025011 | -2.1701e-09 | 8.0206e-10 | 4.8239e-10 | -0.0019964 | -0.013833 | 0.015854 | 1.4592e-10 | 6.115e-10 | -1.2537e-09 | -0.035385 | 0.0045687 | -0.0020123 | 0 | 0 | 0 | 94.8647 | 94.8647 | 94.8647 | 1.4172 | 0.58305 | 0.63833 | 1.417 | 0.58246 | 0.63898 | 1.6091 | -103.3791 | 87.6114 | 1.6356 | -103.4124 | 87.6311

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0064623 | 0.94836 | 1.0473 | 0.0043321 | 0.94921 | 1.0461 | 0.074621 | 10.9508 | 12.0935 | 0.050022 | 10.9605 | 12.0794 | -0.0048344 | 5.2878 | 6.7836 | 0.0039928 | -4.4958 | -5.4756 | -0.10473 | 4.6335 | 6.5339 | 0.070771 | -4.5326 | -5.4399 | 95.8791 | -148.7642 | 42.9144 | -85.1353 | 31.354 | -137.1813 | 1.4049 | 0.64202 | 0.77881 | 1.417 | 0.58246 | 0.63898 | 3.2362 | -107.5371 | 86.8402 | 1.6356 | -103.4124 | 87.6311
Line_1 | 0 | 0 | 0 | 0.002166 | 0.002166 | 0.002166 | 0 | 0 | 0 | 0.025011 | 0.025011 | 0.025011 | -2.1701e-09 | 8.0205e-10 | 4.8238e-10 | -0.0019964 | -0.013833 | 0.015854 | 1.4592e-10 | 6.115e-10 | -1.2537e-09 | -0.035385 | 0.0045687 | -0.0020123 | 0 | 0 | 0 | 94.8647 | 94.8647 | 94.8647 | 1.4172 | 0.58305 | 0.63833 | 1.417 | 0.58246 | 0.63898 | 1.6091 | -103.3791 | 87.6114 | 1.6356 | -103.4124 | 87.6311
Line_2 | 0 | 0 | 0 | 0.002166 | 0.002166 | 0.002166 | 0 | 0 | 0 | 0.025011 | 0.025011 | 0.025011 | -2.1701e-09 | 8.0206e-10 | 4.8239e-10 | -0.0019964 | -0.013833 | 0.015854 | 1.4592e-10 | 6.115e-10 | -1.2537e-09 | -0.035385 | 0.0045687 | -0.0020123 | 0 | 0 | 0 | 94.8647 | 94.8647 | 94.8647 | 1.4172 | 0.58305 | 0.63833 | 1.417 | 0.58246 | 0.63898 | 1.6091 | -103.3791 | 87.6114 | 1.6356 | -103.4124 | 87.6311