## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | 1.0421e-14 | 30.1766 | -15.8685 | -5.2106e-15 | -23.0225 | 23.0225 | -5.2106e-15 | 3.131 | 13.1032 | -5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | -8.7752e-12 | -161.8563 | 152.6723 | -8.7985e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4011e-27 | -1.0421e-14 | 1.5632e-14 | -5.2106e-15 | 2.3448e-14 | -2.0843e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -8.8006e-12 | -180 | 180 | -8.7985e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -2.0843e-14 | 5.2107e-15 | 1.5632e-14 | 2.3448e-14 | -1.0421e-14 | 2.4015e-27 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -8.8024e-12 | -180 | 180 | -8.7985e-12 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | 1.0421e-14 | 30.1766 | -15.8685 | -5.2106e-15 | -23.0225 | 23.0225 | -5.2106e-15 | 3.131 | 13.1032 | -5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | -8.7752e-12 | -161.8563 | 152.6723 | -8.7985e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4011e-27 | -1.0421e-14 | 1.5632e-14 | -5.2106e-15 | 2.3448e-14 | -2.0843e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -8.8006e-12 | -180 | 180 | -8.7985e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -2.0843e-14 | 5.2107e-15 | 1.5632e-14 | 2.3448e-14 | -1.0421e-14 | 2.4015e-27 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -8.8024e-12 | -180 | 180 | -8.7985e-12 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | 5.2106e-15 | 19.0761 | -0.30087 | -5.2106e-15 | -17.4596 | 1.9173 | -7.816e-15 | 3.9919 | 15.2185 | 2.6053e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | -2.7943e-12 | -138.0936 | 121.2196 | -2.8051e-12 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7338e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | -2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -2.8045e-12 | -142.8673 | 128.239 | -2.8051e-12 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -1.2755e-28 | -4.7338e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8386e-10 | -2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -2.8062e-12 | -142.8673 | 128.239 | -2.8051e-12 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | 5.2106e-15 | 19.0761 | -0.30087 | -5.2106e-15 | -17.4596 | 1.9173 | -7.816e-15 | 3.9919 | 15.2185 | 2.6053e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | -2.7943e-12 | -138.0936 | 121.2196 | -2.8051e-12 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7338e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | -2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -2.8045e-12 | -142.8673 | 128.239 | -2.8051e-12 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -1.2755e-28 | -4.7338e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8386e-10 | -2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -2.8062e-12 | -142.8673 | 128.239 | -2.8051e-12 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -4.737e-15 | 26.5997 | -7.1734 | 1.1842e-14 | -16.8865 | 16.8865 | -1.8948e-14 | -0.51586 | 11.9957 | 1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | -5.1868e-12 | -160.7833 | 141.207 | -5.1417e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.5012e-28 | -2.3684e-15 | -2.3684e-15 | 4.737e-15 | -2.3685e-15 | 2.3685e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -5.1413e-12 | -180 | 180 | -5.1417e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -2.3684e-15 | 2.3686e-15 | 7.1054e-15 | 2.3685e-15 | -2.3685e-15 | -2.1335e-28 | -1.5877e-09 | 1.5877e-09 | -6.3764e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -5.1613e-12 | -180 | 180 | -5.1417e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -4.737e-15 | 26.5997 | -7.1734 | 1.1842e-14 | -16.8865 | 16.8865 | -1.8948e-14 | -0.51586 | 11.9957 | 1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | -5.1868e-12 | -160.7833 | 141.207 | -5.1417e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.5012e-28 | -2.3684e-15 | -2.3684e-15 | 4.737e-15 | -2.3685e-15 | 2.3685e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -5.1413e-12 | -180 | 180 | -5.1417e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -2.3684e-15 | 2.3686e-15 | 7.1054e-15 | 2.3685e-15 | -2.3685e-15 | -2.1335e-28 | -1.5877e-09 | 1.5877e-09 | -6.3764e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -5.1613e-12 | -180 | 180 | -5.1417e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.1842e-15 | 15.3932 | 0.73601 | 3.5527e-15 | -13.0917 | 1.5655 | -9.4739e-15 | 2.3135 | 11.9328 | 7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | -3.8833e-12 | -138.1765 | 119.7467 | -3.8635e-12 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 4.7979e-10 | 8.2616e-10 | 5.3291e-15 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -3.8634e-12 | -142.5584 | 131.6989 | -3.8635e-12 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.798e-10 | 8.2616e-10 | 4.737e-15 | -4.798e-10 | -8.2616e-10 | 1.6017e-28 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -3.8747e-12 | -142.5584 | 131.6989 | -3.8635e-12 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.1842e-15 | 15.3932 | 0.73601 | 3.5527e-15 | -13.0917 | 1.5655 | -9.4739e-15 | 2.3135 | 11.9328 | 7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | -3.8833e-12 | -138.1765 | 119.7467 | -3.8635e-12 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 4.7979e-10 | 8.2616e-10 | 5.3291e-15 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -3.8634e-12 | -142.5584 | 131.6989 | -3.8635e-12 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.798e-10 | 8.2616e-10 | 4.737e-15 | -4.798e-10 | -8.2616e-10 | 1.6017e-28 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -3.8747e-12 | -142.5584 | 131.6989 | -3.8635e-12 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016746 | 0.016418 | 0.016418 | 0.022217 | 0.010946 | 0.010946 | 0.19336 | 0.18958 | 0.18958 | 0.25654 | 0.1264 | 0.1264 | 2.9931e-05 | 0.18089 | -0.1803 | 8.6303e-14 | -0.12049 | 0.12033 | 0.00015354 | -0.31399 | -0.31443 | -1.8248e-14 | 0.20943 | 0.20979 | 89.8799 | -90.0706 | -90.0706 | -90.1006 | 89.9145 | 89.9145 |  | 0.000809 | 1.9115 | 1.9119 | 0 | 1.9116 | 1.9134 | 168.8491 | -150.1236 | 150.0988 | 0 | -150.1719 | 150.0775
Line_1 | 0 | 0 | 0 | 0.0054732 | 0.0054732 | 0.0054732 | 0 | 0 | 0 | 0.063199 | 0.063199 | 0.063199 | -1.4019e-12 | -6.7333e-09 | -6.7521e-09 | 2.126e-14 | 0.060246 | -0.060163 | 3.5351e-12 | -3.8779e-09 | 3.8671e-09 | -4.5009e-15 | -0.10471 | -0.10489 | 0 | 0 | 0 | -90.0855 | -90.0855 | -90.0855 |  | 0.0009426 | 1.9114 | 1.9141 | 0 | 1.9116 | 1.9134 | 111.5862 | -150.1998 | 150.0599 | 0 | -150.1719 | 150.0775
Line_2 | 0 | 0 | 0 | 0.0054732 | 0.0054732 | 0.0054732 | 0 | 0 | 0 | 0.063199 | 0.063199 | 0.063199 | -1.4019e-12 | -6.7333e-09 | -6.7521e-09 | 2.126e-14 | 0.060246 | -0.060163 | 3.5352e-12 | -3.878e-09 | 3.8672e-09 | -4.5009e-15 | -0.10471 | -0.10489 | 0 | 0 | 0 | -90.0855 | -90.0855 | -90.0855 |  | 0.0009426 | 1.9114 | 1.9141 | 0 | 1.9116 | 1.9134 | 111.5862 | -150.1998 | 150.0599 | 0 | -150.1719 | 150.0775

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016746 | 0.016418 | 0.016418 | 0.022217 | 0.010946 | 0.010946 | 0.19336 | 0.18958 | 0.18958 | 0.25654 | 0.1264 | 0.1264 | 2.9931e-05 | 0.18089 | -0.1803 | 8.6303e-14 | -0.12049 | 0.12033 | 0.00015354 | -0.31399 | -0.31443 | -1.8248e-14 | 0.20943 | 0.20979 | 89.8799 | -90.0706 | -90.0706 | -90.1006 | 89.9145 | 89.9145 |  | 0.000809 | 1.9115 | 1.9119 | 0 | 1.9116 | 1.9134 | 168.8491 | -150.1236 | 150.0988 | 0 | -150.1719 | 150.0775
Line_1 | 0 | 0 | 0 | 0.0054732 | 0.0054732 | 0.0054732 | 0 | 0 | 0 | 0.063199 | 0.063199 | 0.063199 | -1.4019e-12 | -6.7333e-09 | -6.7521e-09 | 2.126e-14 | 0.060246 | -0.060163 | 3.5351e-12 | -3.8779e-09 | 3.8671e-09 | -4.5009e-15 | -0.10471 | -0.10489 | 0 | 0 | 0 | -90.0855 | -90.0855 | -90.0855 |  | 0.0009426 | 1.9114 | 1.9141 | 0 | 1.9116 | 1.9134 | 111.5862 | -150.1998 | 150.0599 | 0 | -150.1719 | 150.0775
Line_2 | 0 | 0 | 0 | 0.0054732 | 0.0054732 | 0.0054732 | 0 | 0 | 0 | 0.063199 | 0.063199 | 0.063199 | -1.4019e-12 | -6.7333e-09 | -6.7521e-09 | 2.126e-14 | 0.060246 | -0.060163 | 3.5352e-12 | -3.878e-09 | 3.8672e-09 | -4.5009e-15 | -0.10471 | -0.10489 | 0 | 0 | 0 | -90.0855 | -90.0855 | -90.0855 |  | 0.0009426 | 1.9114 | 1.9141 | 0 | 1.9116 | 1.9134 | 111.5862 | -150.1998 | 150.0599 | 0 | -150.1719 | 150.0775

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016965 | 0.016633 | 0.016633 | 0.022508 | 0.01109 | 0.01109 | 0.1959 | 0.19206 | 0.19206 | 0.25991 | 0.12806 | 0.12806 | 0.0028795 | 0.18465 | -0.18124 | -0.0037809 | -0.12299 | 0.12096 | 0.0030088 | -0.31846 | -0.32376 | -0.0037816 | 0.21241 | 0.21601 | 89.1208 | -90.8297 | -90.8297 | -90.8597 | 89.1554 | 89.1554 |  | 0.02126 | 1.9167 | 1.9318 | 0.020575 | 1.9168 | 1.9333 | 135.3788 | -150.7238 | 149.9297 | 134.1453 | -150.7726 | 149.9079
Line_1 | 0 | 0 | 0 | 0.005545 | 0.005545 | 0.005545 | 0 | 0 | 0 | 0.064028 | 0.064028 | 0.064028 | -6.0855e-11 | -6.8293e-09 | -6.9523e-09 | -0.00093167 | 0.061496 | -0.060479 | 6.3148e-11 | -3.9583e-09 | 3.8874e-09 | -0.00093134 | -0.10621 | -0.108 | 0 | 0 | 0 | -90.8445 | -90.8445 | -90.8445 |  | 0.021455 | 1.9166 | 1.934 | 0.020575 | 1.9168 | 1.9333 | 133.1358 | -150.8008 | 149.89 | 134.1453 | -150.7726 | 149.9079
Line_2 | 0 | 0 | 0 | 0.005545 | 0.005545 | 0.005545 | 0 | 0 | 0 | 0.064028 | 0.064028 | 0.064028 | -6.0855e-11 | -6.8293e-09 | -6.9523e-09 | -0.00093167 | 0.061496 | -0.060479 | 6.3148e-11 | -3.9583e-09 | 3.8874e-09 | -0.00093134 | -0.10621 | -0.108 | 0 | 0 | 0 | -90.8445 | -90.8445 | -90.8445 |  | 0.021455 | 1.9166 | 1.934 | 0.020575 | 1.9168 | 1.9333 | 133.1358 | -150.8008 | 149.89 | 134.1453 | -150.7726 | 149.9079

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016965 | 0.016633 | 0.016633 | 0.022508 | 0.01109 | 0.01109 | 0.1959 | 0.19206 | 0.19206 | 0.25991 | 0.12806 | 0.12806 | 0.0028795 | 0.18465 | -0.18124 | -0.0037809 | -0.12299 | 0.12096 | 0.0030088 | -0.31846 | -0.32376 | -0.0037816 | 0.21241 | 0.21601 | 89.1208 | -90.8297 | -90.8297 | -90.8597 | 89.1554 | 89.1554 |  | 0.02126 | 1.9167 | 1.9318 | 0.020575 | 1.9168 | 1.9333 | 135.3788 | -150.7238 | 149.9297 | 134.1453 | -150.7726 | 149.9079
Line_1 | 0 | 0 | 0 | 0.005545 | 0.005545 | 0.005545 | 0 | 0 | 0 | 0.064028 | 0.064028 | 0.064028 | -6.0855e-11 | -6.8293e-09 | -6.9523e-09 | -0.00093167 | 0.061496 | -0.060479 | 6.3148e-11 | -3.9583e-09 | 3.8874e-09 | -0.00093134 | -0.10621 | -0.108 | 0 | 0 | 0 | -90.8445 | -90.8445 | -90.8445 |  | 0.021455 | 1.9166 | 1.934 | 0.020575 | 1.9168 | 1.9333 | 133.1358 | -150.8008 | 149.89 | 134.1453 | -150.7726 | 149.9079
Line_2 | 0 | 0 | 0 | 0.005545 | 0.005545 | 0.005545 | 0 | 0 | 0 | 0.064028 | 0.064028 | 0.064028 | -6.0855e-11 | -6.8293e-09 | -6.9523e-09 | -0.00093167 | 0.061496 | -0.060479 | 6.3148e-11 | -3.9583e-09 | 3.8874e-09 | -0.00093134 | -0.10621 | -0.108 | 0 | 0 | 0 | -90.8445 | -90.8445 | -90.8445 |  | 0.021455 | 1.9166 | 1.934 | 0.020575 | 1.9168 | 1.9333 | 133.1358 | -150.8008 | 149.89 | 134.1453 | -150.7726 | 149.9079

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015226 | 0.014928 | 0.014928 | 0.020201 | 0.0099531 | 0.0099531 | 0.17582 | 0.17237 | 0.17237 | 0.23326 | 0.11493 | 0.11493 | 4.7516e-05 | 0.14975 | -0.14881 | -5.9133e-14 | -0.099662 | 0.099398 | 0.00012649 | -0.25944 | -0.2601 | -4.4371e-14 | 0.17302 | 0.17356 | 89.7785 | -90.1265 | -90.1265 | -90.1841 | 89.845 | 89.845 |  | 0.00076851 | 1.7378 | 1.7384 | 0 | 1.7374 | 1.7403 | 159.1896 | -150.1328 | 150.0989 | 0 | -150.2131 | 150.0455
Line_1 | 0 | 0 | 0 | 0.0049765 | 0.0049765 | 0.0049765 | 0 | 0 | 0 | 0.057464 | 0.057464 | 0.057464 | -1.1512e-12 | -5.5609e-09 | -5.5892e-09 | -1.4573e-14 | 0.049831 | -0.049699 | 5.6103e-12 | -3.2095e-09 | 3.1931e-09 | -1.0923e-14 | -0.086512 | -0.086781 | 0 | 0 | 0 | -90.155 | -90.155 | -90.155 |  | 0.0015615 | 1.7369 | 1.7413 | 0 | 1.7374 | 1.7403 | 101.5078 | -150.262 | 150.007 | 0 | -150.2131 | 150.0455
Line_2 | 0 | 0 | 0 | 0.0049765 | 0.0049765 | 0.0049765 | 0 | 0 | 0 | 0.057464 | 0.057464 | 0.057464 | -1.1512e-12 | -5.5608e-09 | -5.5892e-09 | -1.4573e-14 | 0.049831 | -0.049699 | 5.6103e-12 | -3.2094e-09 | 3.1931e-09 | -1.0923e-14 | -0.086512 | -0.086781 | 0 | 0 | 0 | -90.155 | -90.155 | -90.155 |  | 0.0015615 | 1.7369 | 1.7413 | 0 | 1.7374 | 1.7403 | 101.5078 | -150.262 | 150.007 | 0 | -150.2131 | 150.0455

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015226 | 0.014928 | 0.014928 | 0.020201 | 0.0099531 | 0.0099531 | 0.17582 | 0.17237 | 0.17237 | 0.23326 | 0.11493 | 0.11493 | 4.7516e-05 | 0.14975 | -0.14881 | -5.9133e-14 | -0.099662 | 0.099398 | 0.00012649 | -0.25944 | -0.2601 | -4.4371e-14 | 0.17302 | 0.17356 | 89.7785 | -90.1265 | -90.1265 | -90.1841 | 89.845 | 89.845 |  | 0.00076851 | 1.7378 | 1.7384 | 0 | 1.7374 | 1.7403 | 159.1896 | -150.1328 | 150.0989 | 0 | -150.2131 | 150.0455
Line_1 | 0 | 0 | 0 | 0.0049765 | 0.0049765 | 0.0049765 | 0 | 0 | 0 | 0.057464 | 0.057464 | 0.057464 | -1.1512e-12 | -5.5609e-09 | -5.5892e-09 | -1.4573e-14 | 0.049831 | -0.049699 | 5.6103e-12 | -3.2095e-09 | 3.1931e-09 | -1.0923e-14 | -0.086512 | -0.086781 | 0 | 0 | 0 | -90.155 | -90.155 | -90.155 |  | 0.0015615 | 1.7369 | 1.7413 | 0 | 1.7374 | 1.7403 | 101.5078 | -150.262 | 150.007 | 0 | -150.2131 | 150.0455
Line_2 | 0 | 0 | 0 | 0.0049765 | 0.0049765 | 0.0049765 | 0 | 0 | 0 | 0.057464 | 0.057464 | 0.057464 | -1.1512e-12 | -5.5608e-09 | -5.5892e-09 | -1.4573e-14 | 0.049831 | -0.049699 | 5.6103e-12 | -3.2094e-09 | 3.1931e-09 | -1.0923e-14 | -0.086512 | -0.086781 | 0 | 0 | 0 | -90.155 | -90.155 | -90.155 |  | 0.0015615 | 1.7369 | 1.7413 | 0 | 1.7374 | 1.7403 | 101.5078 | -150.262 | 150.007 | 0 | -150.2131 | 150.0455

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015426 | 0.015124 | 0.015124 | 0.020466 | 0.010083 | 0.010083 | 0.17812 | 0.17463 | 0.17463 | 0.23632 | 0.11643 | 0.11643 | 0.002403 | 0.15286 | -0.14958 | -0.0031255 | -0.10173 | 0.099916 | 0.002488 | -0.26313 | -0.26781 | -0.0031266 | 0.17548 | 0.1787 | 89.0183 | -90.8868 | -90.8868 | -90.9443 | 89.0847 | 89.0847 |  | 0.019419 | 1.7426 | 1.7565 | 0.018708 | 1.7421 | 1.7584 | 135.013 | -150.7334 | 149.9288 | 134.0653 | -150.8145 | 149.8746
Line_1 | 0 | 0 | 0 | 0.0050417 | 0.0050417 | 0.0050417 | 0 | 0 | 0 | 0.058217 | 0.058217 | 0.058217 | -5.0261e-11 | -5.6399e-09 | -5.7547e-09 | -0.00077036 | 0.050864 | -0.049958 | 5.4986e-11 | -3.2759e-09 | 3.2097e-09 | -0.00076984 | -0.087741 | -0.089352 | 0 | 0 | 0 | -90.9153 | -90.9153 | -90.9153 |  | 0.020048 | 1.7416 | 1.7595 | 0.018708 | 1.7421 | 1.7584 | 131.5812 | -150.8638 | 149.8357 | 134.0653 | -150.8145 | 149.8746
Line_2 | 0 | 0 | 0 | 0.0050417 | 0.0050417 | 0.0050417 | 0 | 0 | 0 | 0.058217 | 0.058217 | 0.058217 | -5.0261e-11 | -5.6399e-09 | -5.7546e-09 | -0.00077036 | 0.050864 | -0.049958 | 5.4986e-11 | -3.2759e-09 | 3.2096e-09 | -0.00076984 | -0.087741 | -0.089352 | 0 | 0 | 0 | -90.9153 | -90.9153 | -90.9153 |  | 0.020048 | 1.7416 | 1.7595 | 0.018708 | 1.7421 | 1.7584 | 131.5812 | -150.8638 | 149.8357 | 134.0653 | -150.8145 | 149.8746

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015426 | 0.015124 | 0.015124 | 0.020466 | 0.010083 | 0.010083 | 0.17812 | 0.17463 | 0.17463 | 0.23632 | 0.11643 | 0.11643 | 0.002403 | 0.15286 | -0.14958 | -0.0031255 | -0.10173 | 0.099916 | 0.002488 | -0.26313 | -0.26781 | -0.0031266 | 0.17548 | 0.1787 | 89.0183 | -90.8868 | -90.8868 | -90.9443 | 89.0847 | 89.0847 |  | 0.019419 | 1.7426 | 1.7565 | 0.018708 | 1.7421 | 1.7584 | 135.013 | -150.7334 | 149.9288 | 134.0653 | -150.8145 | 149.8746
Line_1 | 0 | 0 | 0 | 0.0050417 | 0.0050417 | 0.0050417 | 0 | 0 | 0 | 0.058217 | 0.058217 | 0.058217 | -5.0261e-11 | -5.6399e-09 | -5.7547e-09 | -0.00077036 | 0.050864 | -0.049958 | 5.4986e-11 | -3.2759e-09 | 3.2097e-09 | -0.00076984 | -0.087741 | -0.089352 | 0 | 0 | 0 | -90.9153 | -90.9153 | -90.9153 |  | 0.020048 | 1.7416 | 1.7595 | 0.018708 | 1.7421 | 1.7584 | 131.5812 | -150.8638 | 149.8357 | 134.0653 | -150.8145 | 149.8746
Line_2 | 0 | 0 | 0 | 0.0050417 | 0.0050417 | 0.0050417 | 0 | 0 | 0 | 0.058217 | 0.058217 | 0.058217 | -5.0261e-11 | -5.6399e-09 | -5.7546e-09 | -0.00077036 | 0.050864 | -0.049958 | 5.4986e-11 | -3.2759e-09 | 3.2096e-09 | -0.00076984 | -0.087741 | -0.089352 | 0 | 0 | 0 | -90.9153 | -90.9153 | -90.9153 |  | 0.020048 | 1.7416 | 1.7595 | 0.018708 | 1.7421 | 1.7584 | 131.5812 | -150.8638 | 149.8357 | 134.0653 | -150.8145 | 149.8746

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.008178 | 3.7092 | 3.7091 | 0.0054525 | 3.7098 | 3.7086 | 0.094431 | 42.8299 | 42.8294 | 0.062961 | 42.8365 | 42.8227 | 8.4417e-05 | 7.1527 | 7.1554 | -4.1218e-05 | 6.4345e-11 | 5.8662e-11 | -0.15596 | 8.1044 | 8.1298 | 0.10402 | -2.989e-11 | 3.3629e-11 | 89.9765 | -167.7786 | 12.2189 | -90.0383 | 12.2625 | -167.8222 |  | 1.6516 | 0.25238 | 0.25287 | 1.6521 | 0 | 0 | 0.0075018 | -119.2092 | 60.8664 | -0.015633 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0027263 | 0.0027263 | 0.0027263 | 0 | 0 | 0 | 0.03148 | 0.03148 | 0.03148 | -3.3456e-09 | 1.1746e-12 | -1.8744e-12 | 2.0607e-05 | -1.1388e-14 | -3.3287e-14 | -3.5725e-12 | 1.4848e-12 | 2.7556e-13 | -0.052008 | -5.0881e-14 | 3.6917e-14 | 0 | 0 | 0 | 89.9617 | 89.9617 | 89.9617 |  | 1.6522 | 0.00046952 | 0.00046952 | 1.6521 | 0 | 0 | -0.030767 | -68.3666 | -68.3666 | -0.015633 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0027263 | 0.0027263 | 0.0027263 | 0 | 0 | 0 | 0.03148 | 0.03148 | 0.03148 | -3.3457e-09 | 1.1746e-12 | -1.8744e-12 | 2.0607e-05 | -1.1388e-14 | -3.3287e-14 | -3.5882e-12 | 1.4848e-12 | 2.7556e-13 | -0.052008 | -5.0881e-14 | 3.6917e-14 | 0 | 0 | 0 | 89.9617 | 89.9617 | 89.9617 |  | 1.6522 | 0.00046952 | 0.00046952 | 1.6521 | 0 | 0 | -0.030767 | -68.3666 | -68.3666 | -0.015633 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.008178 | 3.7092 | 3.7091 | 0.0054525 | 3.7098 | 3.7086 | 0.094431 | 42.8299 | 42.8294 | 0.062961 | 42.8365 | 42.8227 | 8.4417e-05 | 7.1527 | 7.1554 | -4.1218e-05 | 6.4345e-11 | 5.8662e-11 | -0.15596 | 8.1044 | 8.1298 | 0.10402 | -2.989e-11 | 3.3629e-11 | 89.9765 | -167.7786 | 12.2189 | -90.0383 | 12.2625 | -167.8222 |  | 1.6516 | 0.25238 | 0.25287 | 1.6521 | 0 | 0 | 0.0075018 | -119.2092 | 60.8664 | -0.015633 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0027263 | 0.0027263 | 0.0027263 | 0 | 0 | 0 | 0.03148 | 0.03148 | 0.03148 | -3.3456e-09 | 1.1746e-12 | -1.8744e-12 | 2.0607e-05 | -1.1388e-14 | -3.3287e-14 | -3.5725e-12 | 1.4848e-12 | 2.7556e-13 | -0.052008 | -5.0881e-14 | 3.6917e-14 | 0 | 0 | 0 | 89.9617 | 89.9617 | 89.9617 |  | 1.6522 | 0.00046952 | 0.00046952 | 1.6521 | 0 | 0 | -0.030767 | -68.3666 | -68.3666 | -0.015633 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0027263 | 0.0027263 | 0.0027263 | 0 | 0 | 0 | 0.03148 | 0.03148 | 0.03148 | -3.3457e-09 | 1.1746e-12 | -1.8744e-12 | 2.0607e-05 | -1.1388e-14 | -3.3287e-14 | -3.5882e-12 | 1.4848e-12 | 2.7556e-13 | -0.052008 | -5.0881e-14 | 3.6917e-14 | 0 | 0 | 0 | 89.9617 | 89.9617 | 89.9617 |  | 1.6522 | 0.00046952 | 0.00046952 | 1.6521 | 0 | 0 | -0.030767 | -68.3666 | -68.3666 | -0.015633 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082313 | 1.1343 | 1.1342 | 0.0054881 | 1.1359 | 1.1326 | 0.095047 | 13.0975 | 13.0963 | 0.063371 | 13.116 | 13.0778 | 0.00077012 | 7.0894 | 7.1131 | -0.00049809 | -6.4442 | -6.4206 | -0.15732 | 7.2537 | 7.1289 | 0.10492 | -6.4947 | -6.3702 | 89.6012 | -144.5264 | 35.4671 | -90.4137 | 35.5858 | -144.6454 |  | 1.6552 | 0.77441 | 0.76897 | 1.6557 | 0.69756 | 0.69159 | -0.11836 | -98.8702 | 80.5308 | -0.14167 | -99.1909 | 80.1287
Line_1 | 0 | 0 | 0 | 0.002744 | 0.002744 | 0.002744 | 0 | 0 | 0 | 0.031685 | 0.031685 | 0.031685 | -3.3747e-09 | 8.4492e-10 | 3.8725e-10 | 0.00024904 | -0.021844 | 0.021616 | -1.8298e-11 | 1.001e-09 | -1.7879e-09 | -0.05246 | 0.0033727 | -0.0036008 | 0 | 0 | 0 | 89.5863 | 89.5863 | 89.5863 |  | 1.6558 | 0.69797 | 0.69119 | 1.6557 | 0.69756 | 0.69159 | -0.15689 | -99.1713 | 80.1084 | -0.14167 | -99.1909 | 80.1287
Line_2 | 0 | 0 | 0 | 0.002744 | 0.002744 | 0.002744 | 0 | 0 | 0 | 0.031685 | 0.031685 | 0.031685 | -3.3747e-09 | 8.4492e-10 | 3.8723e-10 | 0.00024904 | -0.021844 | 0.021616 | -1.8298e-11 | 1.001e-09 | -1.7879e-09 | -0.05246 | 0.0033727 | -0.0036008 | 0 | 0 | 0 | 89.5863 | 89.5863 | 89.5863 |  | 1.6558 | 0.69797 | 0.69119 | 1.6557 | 0.69756 | 0.69159 | -0.15689 | -99.1713 | 80.1084 | -0.14167 | -99.1909 | 80.1287

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082313 | 1.1343 | 1.1342 | 0.0054881 | 1.1359 | 1.1326 | 0.095047 | 13.0975 | 13.0963 | 0.063371 | 13.116 | 13.0778 | 0.00077012 | 7.0894 | 7.1131 | -0.00049809 | -6.4442 | -6.4206 | -0.15732 | 7.2537 | 7.1289 | 0.10492 | -6.4947 | -6.3702 | 89.6012 | -144.5264 | 35.4671 | -90.4137 | 35.5858 | -144.6454 |  | 1.6552 | 0.77441 | 0.76897 | 1.6557 | 0.69756 | 0.69159 | -0.11836 | -98.8702 | 80.5308 | -0.14167 | -99.1909 | 80.1287
Line_1 | 0 | 0 | 0 | 0.002744 | 0.002744 | 0.002744 | 0 | 0 | 0 | 0.031685 | 0.031685 | 0.031685 | -3.3747e-09 | 8.4492e-10 | 3.8725e-10 | 0.00024904 | -0.021844 | 0.021616 | -1.8298e-11 | 1.001e-09 | -1.7879e-09 | -0.05246 | 0.0033727 | -0.0036008 | 0 | 0 | 0 | 89.5863 | 89.5863 | 89.5863 |  | 1.6558 | 0.69797 | 0.69119 | 1.6557 | 0.69756 | 0.69159 | -0.15689 | -99.1713 | 80.1084 | -0.14167 | -99.1909 | 80.1287
Line_2 | 0 | 0 | 0 | 0.002744 | 0.002744 | 0.002744 | 0 | 0 | 0 | 0.031685 | 0.031685 | 0.031685 | -3.3747e-09 | 8.4492e-10 | 3.8723e-10 | 0.00024904 | -0.021844 | 0.021616 | -1.8298e-11 | 1.001e-09 | -1.7879e-09 | -0.05246 | 0.0033727 | -0.0036008 | 0 | 0 | 0 | 89.5863 | 89.5863 | 89.5863 |  | 1.6558 | 0.69797 | 0.69119 | 1.6557 | 0.69756 | 0.69159 | -0.15689 | -99.1713 | 80.1084 | -0.14167 | -99.1909 | 80.1287

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074349 | 3.1191 | 3.1191 | 0.0049571 | 3.12 | 3.1182 | 0.08585 | 36.0165 | 36.0157 | 0.057239 | 36.0264 | 36.0058 | 0.00013396 | 9.7078 | 9.7185 | -6.5402e-05 | -1.3457e-10 | 4.5701e-11 | -0.12891 | 5.7221 | 5.7578 | 0.085971 | -1.3813e-10 | -1.7573e-10 | 89.9571 | -159.6711 | 20.3264 | -90.0713 | 20.3716 | -159.7163 |  | 1.5015 | 0.31288 | 0.31364 | 1.502 | 0 | 0 | 0.016671 | -129.1545 | 50.9712 | -0.027748 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024785 | 0.0024785 | 0.0024785 | 0 | 0 | 0 | 0.02862 | 0.02862 | 0.02862 | -2.7655e-09 | 2.1304e-12 | -2.7078e-12 | 3.27e-05 | -1.4016e-13 | 1.1832e-13 | -5.4481e-12 | 1.8929e-12 | 9.005e-13 | -0.042986 | 6.1849e-14 | 8.2643e-14 | 0 | 0 | 0 | 89.9287 | 89.9287 | 89.9287 |  | 1.5021 | 0.0007777 | 0.00077769 | 1.502 | 0 | 0 | -0.056804 | -78.4086 | -78.4086 | -0.027748 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024785 | 0.0024785 | 0.0024785 | 0 | 0 | 0 | 0.02862 | 0.02862 | 0.02862 | -2.7655e-09 | 2.1304e-12 | -2.7078e-12 | 3.27e-05 | -1.4016e-13 | 1.1832e-13 | -5.4624e-12 | 1.8929e-12 | 9.005e-13 | -0.042986 | 6.1849e-14 | 8.2643e-14 | 0 | 0 | 0 | 89.9287 | 89.9287 | 89.9287 |  | 1.5021 | 0.0007777 | 0.00077769 | 1.502 | 0 | 0 | -0.056804 | -78.4086 | -78.4086 | -0.027748 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074349 | 3.1191 | 3.1191 | 0.0049571 | 3.12 | 3.1182 | 0.08585 | 36.0165 | 36.0157 | 0.057239 | 36.0264 | 36.0058 | 0.00013396 | 9.7078 | 9.7185 | -6.5402e-05 | -1.3457e-10 | 4.5701e-11 | -0.12891 | 5.7221 | 5.7578 | 0.085971 | -1.3813e-10 | -1.7573e-10 | 89.9571 | -159.6711 | 20.3264 | -90.0713 | 20.3716 | -159.7163 |  | 1.5015 | 0.31288 | 0.31364 | 1.502 | 0 | 0 | 0.016671 | -129.1545 | 50.9712 | -0.027748 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024785 | 0.0024785 | 0.0024785 | 0 | 0 | 0 | 0.02862 | 0.02862 | 0.02862 | -2.7655e-09 | 2.1304e-12 | -2.7078e-12 | 3.27e-05 | -1.4016e-13 | 1.1832e-13 | -5.4481e-12 | 1.8929e-12 | 9.005e-13 | -0.042986 | 6.1849e-14 | 8.2643e-14 | 0 | 0 | 0 | 89.9287 | 89.9287 | 89.9287 |  | 1.5021 | 0.0007777 | 0.00077769 | 1.502 | 0 | 0 | -0.056804 | -78.4086 | -78.4086 | -0.027748 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024785 | 0.0024785 | 0.0024785 | 0 | 0 | 0 | 0.02862 | 0.02862 | 0.02862 | -2.7655e-09 | 2.1304e-12 | -2.7078e-12 | 3.27e-05 | -1.4016e-13 | 1.1832e-13 | -5.4624e-12 | 1.8929e-12 | 9.005e-13 | -0.042986 | 6.1849e-14 | 8.2643e-14 | 0 | 0 | 0 | 89.9287 | 89.9287 | 89.9287 |  | 1.5021 | 0.0007777 | 0.00077769 | 1.502 | 0 | 0 | -0.056804 | -78.4086 | -78.4086 | -0.027748 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074833 | 0.99273 | 0.99263 | 0.0049894 | 0.99426 | 0.9911 | 0.08641 | 11.4631 | 11.4619 | 0.057612 | 11.4807 | 11.4443 | 0.00070177 | 5.9015 | 5.9203 | -0.00044348 | -4.9384 | -4.9159 | -0.13003 | 5.5562 | 5.4607 | 0.086718 | -4.9776 | -4.8768 | 89.5815 | -142.6312 | 37.3625 | -90.447 | 37.4825 | -142.7516 |  | 1.5048 | 0.70709 | 0.70269 | 1.5052 | 0.61074 | 0.60506 | -0.10926 | -99.3574 | 80.05 | -0.15394 | -97.2914 | 82.0195
Line_1 | 0 | 0 | 0 | 0.0024947 | 0.0024947 | 0.0024947 | 0 | 0 | 0 | 0.028806 | 0.028806 | 0.028806 | -2.7895e-09 | 6.9694e-10 | 4.0691e-10 | 0.00022174 | -0.017468 | 0.017279 | -1.7639e-11 | 8.6639e-10 | -1.3644e-09 | -0.043359 | 0.0020966 | -0.0022851 | 0 | 0 | 0 | 89.553 | 89.553 | 89.553 |  | 1.5054 | 0.61148 | 0.60432 | 1.5052 | 0.61074 | 0.60506 | -0.18315 | -97.2681 | 81.9951 | -0.15394 | -97.2914 | 82.0195
Line_2 | 0 | 0 | 0 | 0.0024947 | 0.0024947 | 0.0024947 | 0 | 0 | 0 | 0.028806 | 0.028806 | 0.028806 | -2.7895e-09 | 6.9694e-10 | 4.0691e-10 | 0.00022174 | -0.017468 | 0.017279 | -1.7653e-11 | 8.6639e-10 | -1.3644e-09 | -0.043359 | 0.0020966 | -0.0022851 | 0 | 0 | 0 | 89.553 | 89.553 | 89.553 |  | 1.5054 | 0.61148 | 0.60432 | 1.5052 | 0.61074 | 0.60506 | -0.18315 | -97.2681 | 81.9951 | -0.15394 | -97.2914 | 82.0195

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074833 | 0.99273 | 0.99263 | 0.0049894 | 0.99426 | 0.9911 | 0.08641 | 11.4631 | 11.4619 | 0.057612 | 11.4807 | 11.4443 | 0.00070177 | 5.9015 | 5.9203 | -0.00044348 | -4.9384 | -4.9159 | -0.13003 | 5.5562 | 5.4607 | 0.086718 | -4.9776 | -4.8768 | 89.5815 | -142.6312 | 37.3625 | -90.447 | 37.4825 | -142.7516 |  | 1.5048 | 0.70709 | 0.70269 | 1.5052 | 0.61074 | 0.60506 | -0.10926 | -99.3574 | 80.05 | -0.15394 | -97.2914 | 82.0195
Line_1 | 0 | 0 | 0 | 0.0024947 | 0.0024947 | 0.0024947 | 0 | 0 | 0 | 0.028806 | 0.028806 | 0.028806 | -2.7895e-09 | 6.9694e-10 | 4.0691e-10 | 0.00022174 | -0.017468 | 0.017279 | -1.7639e-11 | 8.6639e-10 | -1.3644e-09 | -0.043359 | 0.0020966 | -0.0022851 | 0 | 0 | 0 | 89.553 | 89.553 | 89.553 |  | 1.5054 | 0.61148 | 0.60432 | 1.5052 | 0.61074 | 0.60506 | -0.18315 | -97.2681 | 81.9951 | -0.15394 | -97.2914 | 82.0195
Line_2 | 0 | 0 | 0 | 0.0024947 | 0.0024947 | 0.0024947 | 0 | 0 | 0 | 0.028806 | 0.028806 | 0.028806 | -2.7895e-09 | 6.9694e-10 | 4.0691e-10 | 0.00022174 | -0.017468 | 0.017279 | -1.7653e-11 | 8.6639e-10 | -1.3644e-09 | -0.043359 | 0.0020966 | -0.0022851 | 0 | 0 | 0 | 89.553 | 89.553 | 89.553 |  | 1.5054 | 0.61148 | 0.60432 | 1.5052 | 0.61074 | 0.60506 | -0.18315 | -97.2681 | 81.9951 | -0.15394 | -97.2914 | 82.0195