## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 5.2797e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 5.2796e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 5.2797e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 5.2796e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 5.2797e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 5.2796e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 5.2797e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 5.2796e-10 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.7997e-10 | 0 | 0 | 0 | 1.7303e-20 | 0 | 6.3209e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -1.0421e-14 | 30.1766 | -15.8685 | 5.6895e-28 | -23.0225 | 23.0225 | 3.1264e-14 | 3.131 | 13.1032 | -3.6475e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.7854e-13 | -161.8563 | 152.6723 | 8.9373e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1609e-28 | 2.0843e-14 | 4.6485e-20 | -2.0843e-14 | 1.3138e-21 | 1.0998e-21 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1506e-13 | -180 | 180 | 8.9373e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1609e-28 | 2.0843e-14 | 4.6485e-20 | -2.0843e-14 | 1.3138e-21 | 1.0998e-21 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1506e-13 | -180 | 180 | 8.9373e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -1.0421e-14 | 30.1766 | -15.8685 | 5.6895e-28 | -23.0225 | 23.0225 | 3.1264e-14 | 3.131 | 13.1032 | -3.6475e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.7854e-13 | -161.8563 | 152.6723 | 8.9373e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1609e-28 | 2.0843e-14 | 4.6485e-20 | -2.0843e-14 | 1.3138e-21 | 1.0998e-21 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1506e-13 | -180 | 180 | 8.9373e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1609e-28 | 2.0843e-14 | 4.6485e-20 | -2.0843e-14 | 1.3138e-21 | 1.0998e-21 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1506e-13 | -180 | 180 | 8.9373e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -1.0421e-14 | 30.1766 | -15.8685 | 5.6895e-28 | -23.0225 | 23.0225 | 3.1264e-14 | 3.131 | 13.1032 | -3.6475e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.7854e-13 | -161.8563 | 152.6723 | 8.9373e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1609e-28 | 2.0843e-14 | 4.6485e-20 | -2.0843e-14 | 1.3138e-21 | 1.0998e-21 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1506e-13 | -180 | 180 | 8.9373e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1609e-28 | 2.0843e-14 | 4.6485e-20 | -2.0843e-14 | 1.3138e-21 | 1.0998e-21 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1506e-13 | -180 | 180 | 8.9373e-13 | 180 | -180

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -1.0421e-14 | 30.1766 | -15.8685 | 5.6895e-28 | -23.0225 | 23.0225 | 3.1264e-14 | 3.131 | 13.1032 | -3.6475e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.7854e-13 | -161.8563 | 152.6723 | 8.9373e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1609e-28 | 2.0843e-14 | 4.6485e-20 | -2.0843e-14 | 1.3138e-21 | 1.0998e-21 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1506e-13 | -180 | 180 | 8.9373e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1609e-28 | 2.0843e-14 | 4.6485e-20 | -2.0843e-14 | 1.3138e-21 | 1.0998e-21 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1506e-13 | -180 | 180 | 8.9373e-13 | 180 | -180

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.1842e-14 | 26.5997 | -7.1734 | 1.1842e-14 | -16.8865 | 16.8865 | -1.8948e-14 | -0.51586 | 11.9957 | 1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.6049e-13 | -160.7833 | 141.207 | 9.6161e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.7773e-29 | 2.3686e-15 | 8.9957e-20 | 0 | -2.3685e-15 | -1.4455e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.407e-13 | -180 | 180 | 9.6161e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.7773e-29 | 2.3686e-15 | 8.9957e-20 | 0 | -2.3685e-15 | -1.4455e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.407e-13 | -180 | 180 | 9.6161e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.1842e-14 | 26.5997 | -7.1734 | 1.1842e-14 | -16.8865 | 16.8865 | -1.8948e-14 | -0.51586 | 11.9957 | 1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.6049e-13 | -160.7833 | 141.207 | 9.6161e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.7773e-29 | 2.3686e-15 | 8.9957e-20 | 0 | -2.3685e-15 | -1.4455e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.407e-13 | -180 | 180 | 9.6161e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.7773e-29 | 2.3686e-15 | 8.9957e-20 | 0 | -2.3685e-15 | -1.4455e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.407e-13 | -180 | 180 | 9.6161e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.1842e-14 | 26.5997 | -7.1734 | 1.1842e-14 | -16.8865 | 16.8865 | -1.8948e-14 | -0.51586 | 11.9957 | 1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.6049e-13 | -160.7833 | 141.207 | 9.6161e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.7773e-29 | 2.3686e-15 | 8.9957e-20 | 0 | -2.3685e-15 | -1.4455e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.407e-13 | -180 | 180 | 9.6161e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.7773e-29 | 2.3686e-15 | 8.9957e-20 | 0 | -2.3685e-15 | -1.4455e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.407e-13 | -180 | 180 | 9.6161e-13 | -180 | 180

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.1842e-14 | 26.5997 | -7.1734 | 1.1842e-14 | -16.8865 | 16.8865 | -1.8948e-14 | -0.51586 | 11.9957 | 1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.6049e-13 | -160.7833 | 141.207 | 9.6161e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.7773e-29 | 2.3686e-15 | 8.9957e-20 | 0 | -2.3685e-15 | -1.4455e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.407e-13 | -180 | 180 | 9.6161e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.7773e-29 | 2.3686e-15 | 8.9957e-20 | 0 | -2.3685e-15 | -1.4455e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.407e-13 | -180 | 180 | 9.6161e-13 | -180 | 180

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6568 | 1.3284 | 1.3284 | 2.655 | 1.3302 | 1.3302 | 30.6781 | 15.3391 | 15.3391 | 30.6568 | 15.3604 | 15.3604 | 3.6593 | -7.9754 | 19.6569 | 2.6729e-10 | 8.9216 | -18.7567 | 4.1662 | 14.3842 | 4.8687 | -1.9669e-10 | -13.3553 | -3.8486 | -70.9982 | 109.0018 | 109.0018 | 109.0247 | -71.0438 | -71.0438 |  | 0.18075 | 1.0722 | 1.3202 | 0 | 1.0456 | 1.2465 | -22.2925 | -131.9917 | 122.913 | 0 | -127.3001 | 120.5515
Line_1 | 0.66676 | 0.66676 | 0.66676 | 0.66512 | 0.66512 | 0.66512 | 7.6991 | 7.6991 | 7.6991 | 7.6802 | 7.6802 | 7.6802 | 1.6409 | 6.118 | -7.759 | 6.7021e-11 | -4.4608 | 9.3783 | 0.65282 | -6.0378 | -1.2837 | -4.9196e-11 | 6.6777 | 1.9243 | -71.0892 | -71.0892 | -71.0892 | 108.9562 | 108.9562 | 108.9562 |  | 0.22938 | 1.1164 | 1.0215 | 0 | 1.0456 | 1.2465 | -49.3948 | -115.7107 | 118.3048 | 0 | -127.3001 | 120.5515
Line_2 | 0.66676 | 0.66676 | 0.66676 | 0.66512 | 0.66512 | 0.66512 | 7.6991 | 7.6991 | 7.6991 | 7.6802 | 7.6802 | 7.6802 | 1.6409 | 6.118 | -7.759 | 6.7021e-11 | -4.4608 | 9.3783 | 0.65282 | -6.0378 | -1.2837 | -4.9196e-11 | 6.6777 | 1.9243 | -71.0892 | -71.0892 | -71.0892 | 108.9562 | 108.9562 | 108.9562 |  | 0.22938 | 1.1164 | 1.0215 | 0 | 1.0456 | 1.2465 | -49.3948 | -115.7107 | 118.3048 | 0 | -127.3001 | 120.5515

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6568 | 1.3284 | 1.3284 | 2.655 | 1.3302 | 1.3302 | 30.6781 | 15.3391 | 15.3391 | 30.6568 | 15.3604 | 15.3604 | 3.6593 | -7.9754 | 19.6569 | 2.6729e-10 | 8.9216 | -18.7567 | 4.1662 | 14.3842 | 4.8687 | -1.9669e-10 | -13.3553 | -3.8486 | -70.9982 | 109.0018 | 109.0018 | 109.0247 | -71.0438 | -71.0438 |  | 0.18075 | 1.0722 | 1.3202 | 0 | 1.0456 | 1.2465 | -22.2925 | -131.9917 | 122.913 | 0 | -127.3001 | 120.5515
Line_1 | 0.66676 | 0.66676 | 0.66676 | 0.66512 | 0.66512 | 0.66512 | 7.6991 | 7.6991 | 7.6991 | 7.6802 | 7.6802 | 7.6802 | 1.6409 | 6.118 | -7.759 | 6.7021e-11 | -4.4608 | 9.3783 | 0.65282 | -6.0378 | -1.2837 | -4.9196e-11 | 6.6777 | 1.9243 | -71.0892 | -71.0892 | -71.0892 | 108.9562 | 108.9562 | 108.9562 |  | 0.22938 | 1.1164 | 1.0215 | 0 | 1.0456 | 1.2465 | -49.3948 | -115.7107 | 118.3048 | 0 | -127.3001 | 120.5515
Line_2 | 0.66676 | 0.66676 | 0.66676 | 0.66512 | 0.66512 | 0.66512 | 7.6991 | 7.6991 | 7.6991 | 7.6802 | 7.6802 | 7.6802 | 1.6409 | 6.118 | -7.759 | 6.7021e-11 | -4.4608 | 9.3783 | 0.65282 | -6.0378 | -1.2837 | -4.9196e-11 | 6.6777 | 1.9243 | -71.0892 | -71.0892 | -71.0892 | 108.9562 | 108.9562 | 108.9562 |  | 0.22938 | 1.1164 | 1.0215 | 0 | 1.0456 | 1.2465 | -49.3948 | -115.7107 | 118.3048 | 0 | -127.3001 | 120.5515

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.84395 | 0.42198 | 0.42198 | 0.84337 | 0.42256 | 0.42256 | 9.7451 | 4.8726 | 4.8726 | 9.7383 | 4.8793 | 4.8793 | 5.7112 | -1.7824 | 5.6321 | -5.3403 | 1.8822 | -5.5471 | 5.7623 | 5.1001 | -0.48636 | -5.3361 | -5.0005 | 0.58775 | -53.004 | 126.996 | 126.996 | 127.0188 | -53.0496 | -53.0496 |  | 0.83252 | 1.1088 | 1.1602 | 0.77522 | 1.095 | 1.1432 | -7.7486 | -123.7401 | 122.0604 | -8.004 | -122.4237 | 120.9022
Line_1 | 0.2118 | 0.2118 | 0.2118 | 0.21128 | 0.21128 | 0.21128 | 2.4457 | 2.4457 | 2.4457 | 2.4397 | 2.4397 | 2.4397 | 1.5041 | 1.111 | -2.615 | -1.3363 | -0.94108 | 2.7736 | 1.4086 | -2.4398 | 0.35827 | -1.3384 | 2.5003 | -0.29387 | -53.0951 | -53.0951 | -53.0951 | 126.9504 | 126.9504 | 126.9504 |  | 0.84259 | 1.0962 | 1.0792 | 0.77522 | 1.095 | 1.1432 | -9.9719 | -118.6129 | 119.1039 | -8.004 | -122.4237 | 120.9022
Line_2 | 0.2118 | 0.2118 | 0.2118 | 0.21128 | 0.21128 | 0.21128 | 2.4457 | 2.4457 | 2.4457 | 2.4397 | 2.4397 | 2.4397 | 1.5041 | 1.111 | -2.615 | -1.3363 | -0.94108 | 2.7736 | 1.4086 | -2.4398 | 0.35827 | -1.3384 | 2.5003 | -0.29387 | -53.0951 | -53.0951 | -53.0951 | 126.9504 | 126.9504 | 126.9504 |  | 0.84259 | 1.0962 | 1.0792 | 0.77522 | 1.095 | 1.1432 | -9.9719 | -118.6129 | 119.1039 | -8.004 | -122.4237 | 120.9022

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.84395 | 0.42198 | 0.42198 | 0.84337 | 0.42256 | 0.42256 | 9.7451 | 4.8726 | 4.8726 | 9.7383 | 4.8793 | 4.8793 | 5.7112 | -1.7824 | 5.6321 | -5.3403 | 1.8822 | -5.5471 | 5.7623 | 5.1001 | -0.48636 | -5.3361 | -5.0005 | 0.58775 | -53.004 | 126.996 | 126.996 | 127.0188 | -53.0496 | -53.0496 |  | 0.83252 | 1.1088 | 1.1602 | 0.77522 | 1.095 | 1.1432 | -7.7486 | -123.7401 | 122.0604 | -8.004 | -122.4237 | 120.9022
Line_1 | 0.2118 | 0.2118 | 0.2118 | 0.21128 | 0.21128 | 0.21128 | 2.4457 | 2.4457 | 2.4457 | 2.4397 | 2.4397 | 2.4397 | 1.5041 | 1.111 | -2.615 | -1.3363 | -0.94108 | 2.7736 | 1.4086 | -2.4398 | 0.35827 | -1.3384 | 2.5003 | -0.29387 | -53.0951 | -53.0951 | -53.0951 | 126.9504 | 126.9504 | 126.9504 |  | 0.84259 | 1.0962 | 1.0792 | 0.77522 | 1.095 | 1.1432 | -9.9719 | -118.6129 | 119.1039 | -8.004 | -122.4237 | 120.9022
Line_2 | 0.2118 | 0.2118 | 0.2118 | 0.21128 | 0.21128 | 0.21128 | 2.4457 | 2.4457 | 2.4457 | 2.4397 | 2.4397 | 2.4397 | 1.5041 | 1.111 | -2.615 | -1.3363 | -0.94108 | 2.7736 | 1.4086 | -2.4398 | 0.35827 | -1.3384 | 2.5003 | -0.29387 | -53.0951 | -53.0951 | -53.0951 | 126.9504 | 126.9504 | 126.9504 |  | 0.84259 | 1.0962 | 1.0792 | 0.77522 | 1.095 | 1.1432 | -9.9719 | -118.6129 | 119.1039 | -8.004 | -122.4237 | 120.9022

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.116 | 1.058 | 1.058 | 2.1146 | 1.0595 | 1.0595 | 24.4338 | 12.2169 | 12.2169 | 24.4168 | 12.2338 | 12.2338 | 4.4569 | -1.8522 | 16.0794 | -1.0664e-10 | 2.9976 | -14.976 | 2.6516 | 11.706 | 0.47144 | -1.9661e-11 | -11.0612 | 0.16142 | -57.932 | 122.068 | 122.068 | 122.1119 | -58.0195 | -58.0195 |  | 0.21225 | 0.9701 | 1.3167 | 0 | 0.93676 | 1.2242 | -27.1812 | -138.9407 | 123.7474 | 0 | -132.8564 | 121.3629
Line_1 | 0.53105 | 0.53105 | 0.53105 | 0.52974 | 0.52974 | 0.52974 | 6.132 | 6.132 | 6.132 | 6.1169 | 6.1169 | 6.1169 | 1.9985 | 3.5095 | -5.508 | -2.6703e-11 | -1.4988 | 7.488 | 0.41411 | -5.1278 | 0.48359 | -4.9867e-12 | 5.5306 | -0.080712 | -58.1068 | -58.1068 | -58.1068 | 121.9805 | 121.9805 | 121.9805 |  | 0.33284 | 1.0133 | 0.9017 | 0 | 0.93676 | 1.2242 | -46.4004 | -113.7191 | 116.8757 | 0 | -132.8564 | 121.3629
Line_2 | 0.53105 | 0.53105 | 0.53105 | 0.52974 | 0.52974 | 0.52974 | 6.132 | 6.132 | 6.132 | 6.1169 | 6.1169 | 6.1169 | 1.9985 | 3.5095 | -5.508 | -2.6703e-11 | -1.4988 | 7.488 | 0.41411 | -5.1278 | 0.48359 | -4.9867e-12 | 5.5306 | -0.080712 | -58.1068 | -58.1068 | -58.1068 | 121.9805 | 121.9805 | 121.9805 |  | 0.33284 | 1.0133 | 0.9017 | 0 | 0.93676 | 1.2242 | -46.4004 | -113.7191 | 116.8757 | 0 | -132.8564 | 121.3629

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.116 | 1.058 | 1.058 | 2.1146 | 1.0595 | 1.0595 | 24.4338 | 12.2169 | 12.2169 | 24.4168 | 12.2338 | 12.2338 | 4.4569 | -1.8522 | 16.0794 | -1.0664e-10 | 2.9976 | -14.976 | 2.6516 | 11.706 | 0.47144 | -1.9661e-11 | -11.0612 | 0.16142 | -57.932 | 122.068 | 122.068 | 122.1119 | -58.0195 | -58.0195 |  | 0.21225 | 0.9701 | 1.3167 | 0 | 0.93676 | 1.2242 | -27.1812 | -138.9407 | 123.7474 | 0 | -132.8564 | 121.3629
Line_1 | 0.53105 | 0.53105 | 0.53105 | 0.52974 | 0.52974 | 0.52974 | 6.132 | 6.132 | 6.132 | 6.1169 | 6.1169 | 6.1169 | 1.9985 | 3.5095 | -5.508 | -2.6703e-11 | -1.4988 | 7.488 | 0.41411 | -5.1278 | 0.48359 | -4.9867e-12 | 5.5306 | -0.080712 | -58.1068 | -58.1068 | -58.1068 | 121.9805 | 121.9805 | 121.9805 |  | 0.33284 | 1.0133 | 0.9017 | 0 | 0.93676 | 1.2242 | -46.4004 | -113.7191 | 116.8757 | 0 | -132.8564 | 121.3629
Line_2 | 0.53105 | 0.53105 | 0.53105 | 0.52974 | 0.52974 | 0.52974 | 6.132 | 6.132 | 6.132 | 6.1169 | 6.1169 | 6.1169 | 1.9985 | 3.5095 | -5.508 | -2.6703e-11 | -1.4988 | 7.488 | 0.41411 | -5.1278 | 0.48359 | -4.9867e-12 | 5.5306 | -0.080712 | -58.1068 | -58.1068 | -58.1068 | 121.9805 | 121.9805 | 121.9805 |  | 0.33284 | 1.0133 | 0.9017 | 0 | 0.93676 | 1.2242 | -46.4004 | -113.7191 | 116.8757 | 0 | -132.8564 | 121.3629

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72296 | 0.36148 | 0.36148 | 0.72246 | 0.36198 | 0.36198 | 8.348 | 4.174 | 4.174 | 8.3422 | 4.1798 | 4.1798 | 4.4403 | -0.93362 | 4.5544 | -3.9203 | 1.0724 | -4.4304 | 4.2295 | 4.0439 | -0.66238 | -3.9143 | -3.9712 | 0.73315 | -49.3852 | 130.6148 | 130.6148 | 130.6587 | -49.4727 | -49.4727 |  | 0.73458 | 0.99431 | 1.1026 | 0.66408 | 0.98413 | 1.0744 | -5.7775 | -126.3849 | 122.3398 | -4.3852 | -124.3606 | 121.1309
Line_1 | 0.18144 | 0.18144 | 0.18144 | 0.18099 | 0.18099 | 0.18099 | 2.095 | 2.095 | 2.095 | 2.0899 | 2.0899 | 2.0899 | 1.2141 | 0.77385 | -1.9879 | -0.97986 | -0.53621 | 2.2152 | 1.0351 | -1.9413 | 0.41244 | -0.98286 | 1.9856 | -0.36658 | -49.56 | -49.56 | -49.56 | 130.5273 | 130.5273 | 130.5273 |  | 0.76153 | 0.99754 | 0.96907 | 0.66408 | 0.98413 | 1.0744 | -9.109 | -117.8269 | 118.719 | -4.3852 | -124.3606 | 121.1309
Line_2 | 0.18144 | 0.18144 | 0.18144 | 0.18099 | 0.18099 | 0.18099 | 2.095 | 2.095 | 2.095 | 2.0899 | 2.0899 | 2.0899 | 1.2141 | 0.77385 | -1.9879 | -0.97986 | -0.53621 | 2.2152 | 1.0351 | -1.9413 | 0.41244 | -0.98286 | 1.9856 | -0.36658 | -49.56 | -49.56 | -49.56 | 130.5273 | 130.5273 | 130.5273 |  | 0.76153 | 0.99754 | 0.96907 | 0.66408 | 0.98413 | 1.0744 | -9.109 | -117.8269 | 118.719 | -4.3852 | -124.3606 | 121.1309

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72296 | 0.36148 | 0.36148 | 0.72246 | 0.36198 | 0.36198 | 8.348 | 4.174 | 4.174 | 8.3422 | 4.1798 | 4.1798 | 4.4403 | -0.93362 | 4.5544 | -3.9203 | 1.0724 | -4.4304 | 4.2295 | 4.0439 | -0.66238 | -3.9143 | -3.9712 | 0.73315 | -49.3852 | 130.6148 | 130.6148 | 130.6587 | -49.4727 | -49.4727 |  | 0.73458 | 0.99431 | 1.1026 | 0.66408 | 0.98413 | 1.0744 | -5.7775 | -126.3849 | 122.3398 | -4.3852 | -124.3606 | 121.1309
Line_1 | 0.18144 | 0.18144 | 0.18144 | 0.18099 | 0.18099 | 0.18099 | 2.095 | 2.095 | 2.095 | 2.0899 | 2.0899 | 2.0899 | 1.2141 | 0.77385 | -1.9879 | -0.97986 | -0.53621 | 2.2152 | 1.0351 | -1.9413 | 0.41244 | -0.98286 | 1.9856 | -0.36658 | -49.56 | -49.56 | -49.56 | 130.5273 | 130.5273 | 130.5273 |  | 0.76153 | 0.99754 | 0.96907 | 0.66408 | 0.98413 | 1.0744 | -9.109 | -117.8269 | 118.719 | -4.3852 | -124.3606 | 121.1309
Line_2 | 0.18144 | 0.18144 | 0.18144 | 0.18099 | 0.18099 | 0.18099 | 2.095 | 2.095 | 2.095 | 2.0899 | 2.0899 | 2.0899 | 1.2141 | 0.77385 | -1.9879 | -0.97986 | -0.53621 | 2.2152 | 1.0351 | -1.9413 | 0.41244 | -0.98286 | 1.9856 | -0.36658 | -49.56 | -49.56 | -49.56 | 130.5273 | 130.5273 | 130.5273 |  | 0.76153 | 0.99754 | 0.96907 | 0.66408 | 0.98413 | 1.0744 | -9.109 | -117.8269 | 118.719 | -4.3852 | -124.3606 | 121.1309

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2281 | 3.8897 | 3.6249 | 1.2299 | 3.89 | 3.6241 | 14.1815 | 44.9141 | 41.8573 | 14.2012 | 44.9174 | 41.8471 | 9.1957 | 7.8639 | 6.8317 | -8.4066 | 2.0834e-10 | 2.6188e-10 | 15.5674 | 8.9413 | 7.7386 | -14.7052 | -1.9099e-10 | -5.6384e-12 | -65.1677 | -176.6423 | 21.7357 | 114.7867 | 3.3863 | -158.2921 |  | 1.2749 | 0.26512 | 0.24662 | 1.1928 | 0 | 0 | -5.7383 | -127.9741 | 70.2975 | -4.9689 | 0 | 0
Line_1 | 0.61644 | 0.61644 | 0.61644 | 0.61493 | 0.61493 | 0.61493 | 7.1181 | 7.1181 | 7.1181 | 7.1006 | 7.1006 | 7.1006 | -2.8052 | 1.4026 | 1.4026 | 4.2033 | 4.0128e-11 | -3.3419e-12 | -6.8161 | 0.55801 | 0.55801 | 7.3526 | 1.9648e-11 | -4.432e-11 | 114.7412 | 114.7412 | 114.7412 | -65.2133 | -65.2133 | -65.2133 |  | 1.0355 | 0.21207 | 0.21207 | 1.1928 | 0 | 0 | 2.3712 | 136.4356 | 136.4356 | -4.9689 | 0 | 0
Line_2 | 0.61644 | 0.61644 | 0.61644 | 0.61493 | 0.61493 | 0.61493 | 7.1181 | 7.1181 | 7.1181 | 7.1006 | 7.1006 | 7.1006 | -2.8052 | 1.4026 | 1.4026 | 4.2033 | 4.0128e-11 | -3.3419e-12 | -6.8161 | 0.55801 | 0.55801 | 7.3526 | 1.9648e-11 | -4.432e-11 | 114.7412 | 114.7412 | 114.7412 | -65.2133 | -65.2133 | -65.2133 |  | 1.0355 | 0.21207 | 0.21207 | 1.1928 | 0 | 0 | 2.3712 | 136.4356 | 136.4356 | -4.9689 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2281 | 3.8897 | 3.6249 | 1.2299 | 3.89 | 3.6241 | 14.1815 | 44.9141 | 41.8573 | 14.2012 | 44.9174 | 41.8471 | 9.1957 | 7.8639 | 6.8317 | -8.4066 | 2.0834e-10 | 2.6188e-10 | 15.5674 | 8.9413 | 7.7386 | -14.7052 | -1.9099e-10 | -5.6384e-12 | -65.1677 | -176.6423 | 21.7357 | 114.7867 | 3.3863 | -158.2921 |  | 1.2749 | 0.26512 | 0.24662 | 1.1928 | 0 | 0 | -5.7383 | -127.9741 | 70.2975 | -4.9689 | 0 | 0
Line_1 | 0.61644 | 0.61644 | 0.61644 | 0.61493 | 0.61493 | 0.61493 | 7.1181 | 7.1181 | 7.1181 | 7.1006 | 7.1006 | 7.1006 | -2.8052 | 1.4026 | 1.4026 | 4.2033 | 4.0128e-11 | -3.3419e-12 | -6.8161 | 0.55801 | 0.55801 | 7.3526 | 1.9648e-11 | -4.432e-11 | 114.7412 | 114.7412 | 114.7412 | -65.2133 | -65.2133 | -65.2133 |  | 1.0355 | 0.21207 | 0.21207 | 1.1928 | 0 | 0 | 2.3712 | 136.4356 | 136.4356 | -4.9689 | 0 | 0
Line_2 | 0.61644 | 0.61644 | 0.61644 | 0.61493 | 0.61493 | 0.61493 | 7.1181 | 7.1181 | 7.1181 | 7.1006 | 7.1006 | 7.1006 | -2.8052 | 1.4026 | 1.4026 | 4.2033 | 4.0128e-11 | -3.3419e-12 | -6.8161 | 0.55801 | 0.55801 | 7.3526 | 1.9648e-11 | -4.432e-11 | 114.7412 | 114.7412 | 114.7412 | -65.2133 | -65.2133 | -65.2133 |  | 1.0355 | 0.21207 | 0.21207 | 1.1928 | 0 | 0 | 2.3712 | 136.4356 | 136.4356 | -4.9689 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2281 | 3.8897 | 3.6249 | 1.2299 | 3.89 | 3.6241 | 14.1815 | 44.9141 | 41.8573 | 14.2012 | 44.9174 | 41.8471 | 9.1957 | 7.8639 | 6.8317 | -8.4066 | 2.0834e-10 | 2.6188e-10 | 15.5674 | 8.9413 | 7.7386 | -14.7052 | -1.9099e-10 | -5.6384e-12 | -65.1677 | -176.6423 | 21.7357 | 114.7867 | 3.3863 | -158.2921 |  | 1.2749 | 0.26512 | 0.24662 | 1.1928 | 0 | 0 | -5.7383 | -127.9741 | 70.2975 | -4.9689 | 0 | 0
Line_1 | 0.61644 | 0.61644 | 0.61644 | 0.61493 | 0.61493 | 0.61493 | 7.1181 | 7.1181 | 7.1181 | 7.1006 | 7.1006 | 7.1006 | -2.8052 | 1.4026 | 1.4026 | 4.2033 | 4.0128e-11 | -3.3419e-12 | -6.8161 | 0.55801 | 0.55801 | 7.3526 | 1.9648e-11 | -4.432e-11 | 114.7412 | 114.7412 | 114.7412 | -65.2133 | -65.2133 | -65.2133 |  | 1.0355 | 0.21207 | 0.21207 | 1.1928 | 0 | 0 | 2.3712 | 136.4356 | 136.4356 | -4.9689 | 0 | 0
Line_2 | 0.61644 | 0.61644 | 0.61644 | 0.61493 | 0.61493 | 0.61493 | 7.1181 | 7.1181 | 7.1181 | 7.1006 | 7.1006 | 7.1006 | -2.8052 | 1.4026 | 1.4026 | 4.2033 | 4.0128e-11 | -3.3419e-12 | -6.8161 | 0.55801 | 0.55801 | 7.3526 | 1.9648e-11 | -4.432e-11 | 114.7412 | 114.7412 | 114.7412 | -65.2133 | -65.2133 | -65.2133 |  | 1.0355 | 0.21207 | 0.21207 | 1.1928 | 0 | 0 | 2.3712 | 136.4356 | 136.4356 | -4.9689 | 0 | 0

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2281 | 3.8897 | 3.6249 | 1.2299 | 3.89 | 3.6241 | 14.1815 | 44.9141 | 41.8573 | 14.2012 | 44.9174 | 41.8471 | 9.1957 | 7.8639 | 6.8317 | -8.4066 | 2.0834e-10 | 2.6188e-10 | 15.5674 | 8.9413 | 7.7386 | -14.7052 | -1.9099e-10 | -5.6384e-12 | -65.1677 | -176.6423 | 21.7357 | 114.7867 | 3.3863 | -158.2921 |  | 1.2749 | 0.26512 | 0.24662 | 1.1928 | 0 | 0 | -5.7383 | -127.9741 | 70.2975 | -4.9689 | 0 | 0
Line_1 | 0.61644 | 0.61644 | 0.61644 | 0.61493 | 0.61493 | 0.61493 | 7.1181 | 7.1181 | 7.1181 | 7.1006 | 7.1006 | 7.1006 | -2.8052 | 1.4026 | 1.4026 | 4.2033 | 4.0128e-11 | -3.3419e-12 | -6.8161 | 0.55801 | 0.55801 | 7.3526 | 1.9648e-11 | -4.432e-11 | 114.7412 | 114.7412 | 114.7412 | -65.2133 | -65.2133 | -65.2133 |  | 1.0355 | 0.21207 | 0.21207 | 1.1928 | 0 | 0 | 2.3712 | 136.4356 | 136.4356 | -4.9689 | 0 | 0
Line_2 | 0.61644 | 0.61644 | 0.61644 | 0.61493 | 0.61493 | 0.61493 | 7.1181 | 7.1181 | 7.1181 | 7.1006 | 7.1006 | 7.1006 | -2.8052 | 1.4026 | 1.4026 | 4.2033 | 4.0128e-11 | -3.3419e-12 | -6.8161 | 0.55801 | 0.55801 | 7.3526 | 1.9648e-11 | -4.432e-11 | 114.7412 | 114.7412 | 114.7412 | -65.2133 | -65.2133 | -65.2133 |  | 1.0355 | 0.21207 | 0.21207 | 1.1928 | 0 | 0 | 2.3712 | 136.4356 | 136.4356 | -4.9689 | 0 | 0

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91905 | 3.3096 | 2.9877 | 0.92032 | 3.3102 | 2.9866 | 10.6123 | 38.2155 | 34.4993 | 10.627 | 38.2229 | 34.4866 | 9.8869 | 10.9388 | 8.904 | -9.0384 | -1.895e-10 | -2.604e-11 | 8.694 | 6.4849 | 5.2478 | -8.2246 | -1.5461e-10 | -2.2036e-10 | -48.9707 | -167.1351 | 28.5997 | 130.9418 | 12.8958 | -151.4299 |  | 1.2406 | 0.33276 | 0.29958 | 1.1499 | 0 | 0 | -7.6439 | -136.4742 | 59.1141 | -6.7574 | 0 | 0
Line_1 | 0.4613 | 0.4613 | 0.4613 | 0.46016 | 0.46016 | 0.46016 | 5.3266 | 5.3266 | 5.3266 | 5.3135 | 5.3135 | 5.3135 | -3.016 | 1.508 | 1.508 | 4.5192 | 6.5826e-12 | -3.2304e-11 | -3.8168 | 0.31247 | 0.31247 | 4.1123 | -3.3355e-11 | 1.1193e-11 | 130.8545 | 130.8545 | 130.8545 | -49.0582 | -49.0582 | -49.0582 |  | 0.91328 | 0.28913 | 0.28913 | 1.1499 | 0 | 0 | 2.5389 | 142.5609 | 142.5609 | -6.7574 | 0 | 0
Line_2 | 0.4613 | 0.4613 | 0.4613 | 0.46016 | 0.46016 | 0.46016 | 5.3266 | 5.3266 | 5.3266 | 5.3135 | 5.3135 | 5.3135 | -3.016 | 1.508 | 1.508 | 4.5192 | 6.5826e-12 | -3.2304e-11 | -3.8168 | 0.31247 | 0.31247 | 4.1123 | -3.3355e-11 | 1.1193e-11 | 130.8545 | 130.8545 | 130.8545 | -49.0582 | -49.0582 | -49.0582 |  | 0.91328 | 0.28913 | 0.28913 | 1.1499 | 0 | 0 | 2.5389 | 142.5609 | 142.5609 | -6.7574 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91905 | 3.3096 | 2.9877 | 0.92032 | 3.3102 | 2.9866 | 10.6123 | 38.2155 | 34.4993 | 10.627 | 38.2229 | 34.4866 | 9.8869 | 10.9388 | 8.904 | -9.0384 | -1.895e-10 | -2.604e-11 | 8.694 | 6.4849 | 5.2478 | -8.2246 | -1.5461e-10 | -2.2036e-10 | -48.9707 | -167.1351 | 28.5997 | 130.9418 | 12.8958 | -151.4299 |  | 1.2406 | 0.33276 | 0.29958 | 1.1499 | 0 | 0 | -7.6439 | -136.4742 | 59.1141 | -6.7574 | 0 | 0
Line_1 | 0.4613 | 0.4613 | 0.4613 | 0.46016 | 0.46016 | 0.46016 | 5.3266 | 5.3266 | 5.3266 | 5.3135 | 5.3135 | 5.3135 | -3.016 | 1.508 | 1.508 | 4.5192 | 6.5826e-12 | -3.2304e-11 | -3.8168 | 0.31247 | 0.31247 | 4.1123 | -3.3355e-11 | 1.1193e-11 | 130.8545 | 130.8545 | 130.8545 | -49.0582 | -49.0582 | -49.0582 |  | 0.91328 | 0.28913 | 0.28913 | 1.1499 | 0 | 0 | 2.5389 | 142.5609 | 142.5609 | -6.7574 | 0 | 0
Line_2 | 0.4613 | 0.4613 | 0.4613 | 0.46016 | 0.46016 | 0.46016 | 5.3266 | 5.3266 | 5.3266 | 5.3135 | 5.3135 | 5.3135 | -3.016 | 1.508 | 1.508 | 4.5192 | 6.5826e-12 | -3.2304e-11 | -3.8168 | 0.31247 | 0.31247 | 4.1123 | -3.3355e-11 | 1.1193e-11 | 130.8545 | 130.8545 | 130.8545 | -49.0582 | -49.0582 | -49.0582 |  | 0.91328 | 0.28913 | 0.28913 | 1.1499 | 0 | 0 | 2.5389 | 142.5609 | 142.5609 | -6.7574 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91905 | 3.3096 | 2.9877 | 0.92032 | 3.3102 | 2.9866 | 10.6123 | 38.2155 | 34.4993 | 10.627 | 38.2229 | 34.4866 | 9.8869 | 10.9388 | 8.904 | -9.0384 | -1.895e-10 | -2.604e-11 | 8.694 | 6.4849 | 5.2478 | -8.2246 | -1.5461e-10 | -2.2036e-10 | -48.9707 | -167.1351 | 28.5997 | 130.9418 | 12.8958 | -151.4299 |  | 1.2406 | 0.33276 | 0.29958 | 1.1499 | 0 | 0 | -7.6439 | -136.4742 | 59.1141 | -6.7574 | 0 | 0
Line_1 | 0.4613 | 0.4613 | 0.4613 | 0.46016 | 0.46016 | 0.46016 | 5.3266 | 5.3266 | 5.3266 | 5.3135 | 5.3135 | 5.3135 | -3.016 | 1.508 | 1.508 | 4.5192 | 6.5826e-12 | -3.2304e-11 | -3.8168 | 0.31247 | 0.31247 | 4.1123 | -3.3355e-11 | 1.1193e-11 | 130.8545 | 130.8545 | 130.8545 | -49.0582 | -49.0582 | -49.0582 |  | 0.91328 | 0.28913 | 0.28913 | 1.1499 | 0 | 0 | 2.5389 | 142.5609 | 142.5609 | -6.7574 | 0 | 0
Line_2 | 0.4613 | 0.4613 | 0.4613 | 0.46016 | 0.46016 | 0.46016 | 5.3266 | 5.3266 | 5.3266 | 5.3135 | 5.3135 | 5.3135 | -3.016 | 1.508 | 1.508 | 4.5192 | 6.5826e-12 | -3.2304e-11 | -3.8168 | 0.31247 | 0.31247 | 4.1123 | -3.3355e-11 | 1.1193e-11 | 130.8545 | 130.8545 | 130.8545 | -49.0582 | -49.0582 | -49.0582 |  | 0.91328 | 0.28913 | 0.28913 | 1.1499 | 0 | 0 | 2.5389 | 142.5609 | 142.5609 | -6.7574 | 0 | 0

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91905 | 3.3096 | 2.9877 | 0.92032 | 3.3102 | 2.9866 | 10.6123 | 38.2155 | 34.4993 | 10.627 | 38.2229 | 34.4866 | 9.8869 | 10.9388 | 8.904 | -9.0384 | -1.895e-10 | -2.604e-11 | 8.694 | 6.4849 | 5.2478 | -8.2246 | -1.5461e-10 | -2.2036e-10 | -48.9707 | -167.1351 | 28.5997 | 130.9418 | 12.8958 | -151.4299 |  | 1.2406 | 0.33276 | 0.29958 | 1.1499 | 0 | 0 | -7.6439 | -136.4742 | 59.1141 | -6.7574 | 0 | 0
Line_1 | 0.4613 | 0.4613 | 0.4613 | 0.46016 | 0.46016 | 0.46016 | 5.3266 | 5.3266 | 5.3266 | 5.3135 | 5.3135 | 5.3135 | -3.016 | 1.508 | 1.508 | 4.5192 | 6.5826e-12 | -3.2304e-11 | -3.8168 | 0.31247 | 0.31247 | 4.1123 | -3.3355e-11 | 1.1193e-11 | 130.8545 | 130.8545 | 130.8545 | -49.0582 | -49.0582 | -49.0582 |  | 0.91328 | 0.28913 | 0.28913 | 1.1499 | 0 | 0 | 2.5389 | 142.5609 | 142.5609 | -6.7574 | 0 | 0
Line_2 | 0.4613 | 0.4613 | 0.4613 | 0.46016 | 0.46016 | 0.46016 | 5.3266 | 5.3266 | 5.3266 | 5.3135 | 5.3135 | 5.3135 | -3.016 | 1.508 | 1.508 | 4.5192 | 6.5826e-12 | -3.2304e-11 | -3.8168 | 0.31247 | 0.31247 | 4.1123 | -3.3355e-11 | 1.1193e-11 | 130.8545 | 130.8545 | 130.8545 | -49.0582 | -49.0582 | -49.0582 |  | 0.91328 | 0.28913 | 0.28913 | 1.1499 | 0 | 0 | 2.5389 | 142.5609 | 142.5609 | -6.7574 | 0 | 0