## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6199 | 0.79542 | 0.68652 | 1.6177 | 0.79747 | 0.68855 | 18.7048 | 9.1847 | 7.9273 | 18.6799 | 9.2083 | 7.9507 | 6.1579 | -10.2072 | 9.6745 | -4.4392 | 10.4284 | -9.6228 | 5.7348 | 6.9422 | 0.93925 | -3.9895 | -6.7419 | -0.70344 | -71.5665 | 88.5221 | 127.0337 | 108.4355 | -91.429 | -53.0279 |  | 0.44987 | 1.344 | 1.2261 | 0.31951 | 1.3486 | 1.2135 | -28.6039 | -125.6987 | 132.5789 | -29.6184 | -124.3113 | 131.1531
Line_1 | 2.492 | 0.5962 | 0.43578 | 2.4945 | 0.59385 | 0.43326 | 28.7756 | 6.8844 | 5.0319 | 28.8039 | 6.8571 | 5.0029 | 9.6257e-11 | 8.3563 | -5.8154 | 7.0863 | -8.6169 | 5.2811 | -8.8444e-11 | -4.1215 | -3.3896 | 5.8723 | 3.3557 | 2.9949 | 110.7469 | -102.9478 | -78.4268 | -69.2662 | 76.9664 | 101.5957 |  | 0 | 1.3534 | 1.3377 | 0.31951 | 1.3486 | 1.2135 | 0 | -129.2012 | 131.8101 | -29.6184 | -124.3113 | 131.1531
Line_2 | 0.88241 | 0.24857 | 0.35174 | 0.88046 | 0.24662 | 0.35034 | 10.1892 | 2.8702 | 4.0615 | 10.1667 | 2.8477 | 4.0454 | 4.2824 | 2.2116 | -3.7872 | -2.6471 | -1.8116 | 4.3417 | 2.9408 | -3.2238 | 2.1898 | -1.8827 | 3.3862 | -2.2915 | -65.0417 | -62.4819 | -21.2458 | 114.9595 | 117.5426 | 158.9774 |  | 0.50985 | 1.3621 | 1.0771 | 0.31951 | 1.3486 | 1.2135 | -30.5634 | -118.0318 | 128.7175 | -29.6184 | -124.3113 | 131.1531

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6199 | 0.79542 | 0.68652 | 1.6177 | 0.79747 | 0.68855 | 18.7048 | 9.1847 | 7.9273 | 18.6799 | 9.2083 | 7.9507 | 6.1579 | -10.2072 | 9.6745 | -4.4392 | 10.4284 | -9.6228 | 5.7348 | 6.9422 | 0.93925 | -3.9895 | -6.7419 | -0.70344 | -71.5665 | 88.5221 | 127.0337 | 108.4355 | -91.429 | -53.0279 |  | 0.44987 | 1.344 | 1.2261 | 0.31951 | 1.3486 | 1.2135 | -28.6039 | -125.6987 | 132.5789 | -29.6184 | -124.3113 | 131.1531
Line_1 | 2.492 | 0.5962 | 0.43578 | 2.4945 | 0.59385 | 0.43326 | 28.7756 | 6.8844 | 5.0319 | 28.8039 | 6.8571 | 5.0029 | 9.6257e-11 | 8.3563 | -5.8154 | 7.0863 | -8.6169 | 5.2811 | -8.8444e-11 | -4.1215 | -3.3896 | 5.8723 | 3.3557 | 2.9949 | 110.7469 | -102.9478 | -78.4268 | -69.2662 | 76.9664 | 101.5957 |  | 0 | 1.3534 | 1.3377 | 0.31951 | 1.3486 | 1.2135 | 0 | -129.2012 | 131.8101 | -29.6184 | -124.3113 | 131.1531
Line_2 | 0.88241 | 0.24857 | 0.35174 | 0.88046 | 0.24662 | 0.35034 | 10.1892 | 2.8702 | 4.0615 | 10.1667 | 2.8477 | 4.0454 | 4.2824 | 2.2116 | -3.7872 | -2.6471 | -1.8116 | 4.3417 | 2.9408 | -3.2238 | 2.1898 | -1.8827 | 3.3862 | -2.2915 | -65.0417 | -62.4819 | -21.2458 | 114.9595 | 117.5426 | 158.9774 |  | 0.50985 | 1.3621 | 1.0771 | 0.31951 | 1.3486 | 1.2135 | -30.5634 | -118.0318 | 128.7175 | -29.6184 | -124.3113 | 131.1531

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43442 | 0.20326 | 0.33665 | 0.43369 | 0.20369 | 0.33716 | 5.0162 | 2.347 | 3.8873 | 5.0078 | 2.352 | 3.8932 | 4.057 | -2.8096 | 2.9138 | -3.9177 | 2.8338 | -2.8923 | 2.4005 | 0.62593 | -3.3275 | -2.273 | -0.62869 | 3.4032 | -39.9063 | 71.8826 | 173.8422 | 140.1168 | -107.9452 | -6.2512 |  | 0.93975 | 1.2265 | 1.1378 | 0.90446 | 1.2341 | 1.1472 | -9.2942 | -120.6768 | 125.0498 | -9.7619 | -120.454 | 124.1092
Line_1 | 0.79612 | 0.18605 | 0.16069 | 0.79696 | 0.18542 | 0.15997 | 9.1928 | 2.1483 | 1.8555 | 9.2025 | 2.141 | 1.8472 | -5.8869 | 2.5873 | -1.9697 | 6.6621 | -2.5688 | 1.8732 | -4.3863 | -0.72387 | 0.99005 | 4.9895 | 0.61872 | -0.99068 | 133.4245 | -106.7233 | -28.1949 | -46.5929 | 73.0881 | 151.9825 |  | 0.7986 | 1.2506 | 1.1881 | 0.90446 | 1.2341 | 1.1472 | -9.886 | -122.354 | 125.119 | -9.7619 | -120.454 | 124.1092
Line_2 | 0.37041 | 0.018821 | 0.19808 | 0.36973 | 0.018605 | 0.19771 | 4.2771 | 0.21733 | 2.2872 | 4.2693 | 0.21483 | 2.2829 | 2.9842 | 0.26648 | -0.91601 | -2.7443 | -0.26493 | 1.0191 | 2.9156 | -0.0090714 | 2.3833 | -2.7165 | 0.0099726 | -2.4125 | -54.4542 | -116.3265 | 11.0437 | 125.5301 | 61.7017 | -168.7913 |  | 0.97545 | 1.2269 | 1.1163 | 0.90446 | 1.2341 | 1.1472 | -10.1199 | -118.2761 | 122.0677 | -9.7619 | -120.454 | 124.1092

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43442 | 0.20326 | 0.33665 | 0.43369 | 0.20369 | 0.33716 | 5.0162 | 2.347 | 3.8873 | 5.0078 | 2.352 | 3.8932 | 4.057 | -2.8096 | 2.9138 | -3.9177 | 2.8338 | -2.8923 | 2.4005 | 0.62593 | -3.3275 | -2.273 | -0.62869 | 3.4032 | -39.9063 | 71.8826 | 173.8422 | 140.1168 | -107.9452 | -6.2512 |  | 0.93975 | 1.2265 | 1.1378 | 0.90446 | 1.2341 | 1.1472 | -9.2942 | -120.6768 | 125.0498 | -9.7619 | -120.454 | 124.1092
Line_1 | 0.79612 | 0.18605 | 0.16069 | 0.79696 | 0.18542 | 0.15997 | 9.1928 | 2.1483 | 1.8555 | 9.2025 | 2.141 | 1.8472 | -5.8869 | 2.5873 | -1.9697 | 6.6621 | -2.5688 | 1.8732 | -4.3863 | -0.72387 | 0.99005 | 4.9895 | 0.61872 | -0.99068 | 133.4245 | -106.7233 | -28.1949 | -46.5929 | 73.0881 | 151.9825 |  | 0.7986 | 1.2506 | 1.1881 | 0.90446 | 1.2341 | 1.1472 | -9.886 | -122.354 | 125.119 | -9.7619 | -120.454 | 124.1092
Line_2 | 0.37041 | 0.018821 | 0.19808 | 0.36973 | 0.018605 | 0.19771 | 4.2771 | 0.21733 | 2.2872 | 4.2693 | 0.21483 | 2.2829 | 2.9842 | 0.26648 | -0.91601 | -2.7443 | -0.26493 | 1.0191 | 2.9156 | -0.0090714 | 2.3833 | -2.7165 | 0.0099726 | -2.4125 | -54.4542 | -116.3265 | 11.0437 | 125.5301 | 61.7017 | -168.7913 |  | 0.97545 | 1.2269 | 1.1163 | 0.90446 | 1.2341 | 1.1472 | -10.1199 | -118.2761 | 122.0677 | -9.7619 | -120.454 | 124.1092

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3829 | 0.66544 | 0.56521 | 1.3814 | 0.66696 | 0.56673 | 15.9688 | 7.6839 | 6.5265 | 15.9512 | 7.7014 | 6.5441 | 7.2605 | -4.8437 | 6.549 | -4.9331 | 5.1056 | -6.4178 | 4.8679 | 7.2938 | 1.1448 | -3.5681 | -7.1461 | -1.0234 | -62.0623 | 113.1561 | 119.7357 | 117.9403 | -66.8384 | -60.2755 |  | 0.5474 | 1.1395 | 1.0187 | 0.38168 | 1.1404 | 0.99309 | -28.2219 | -123.2565 | 129.6511 | -26.1821 | -121.2942 | 128.7845
Line_1 | 1.9105 | 0.56618 | 0.49526 | 1.9124 | 0.56421 | 0.49327 | 22.0609 | 6.5377 | 5.7187 | 22.0826 | 6.5149 | 5.6958 | -4.3502e-11 | 5.824 | -5.1595 | 7.123 | -6.0743 | 4.8148 | 6.0364e-12 | -5.1997 | -3.7597 | 4.5058 | 4.2777 | 2.9686 | 121.5215 | -86.1117 | -82.8532 | -58.4986 | 93.8601 | 97.1277 |  | 0 | 1.1942 | 1.1163 | 0.38168 | 1.1404 | 0.99309 | 0 | -127.8704 | 133.2271 | -26.1821 | -121.2942 | 128.7845
Line_2 | 0.54176 | 0.23088 | 0.22059 | 0.54052 | 0.22992 | 0.21981 | 6.2557 | 2.6659 | 2.5471 | 6.2413 | 2.6548 | 2.5382 | 3.3997 | -0.47797 | -1.1789 | -2.1899 | 0.96876 | 1.603 | 1.5841 | -2.9224 | 1.8232 | -0.93778 | 2.8684 | -1.9453 | -49.3714 | -12.8297 | -0.95892 | 130.6354 | 167.3677 | 179.2947 |  | 0.59956 | 1.1108 | 0.85238 | 0.38168 | 1.1404 | 0.99309 | -24.3884 | -112.1184 | 121.9271 | -26.1821 | -121.2942 | 128.7845

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3829 | 0.66544 | 0.56521 | 1.3814 | 0.66696 | 0.56673 | 15.9688 | 7.6839 | 6.5265 | 15.9512 | 7.7014 | 6.5441 | 7.2605 | -4.8437 | 6.549 | -4.9331 | 5.1056 | -6.4178 | 4.8679 | 7.2938 | 1.1448 | -3.5681 | -7.1461 | -1.0234 | -62.0623 | 113.1561 | 119.7357 | 117.9403 | -66.8384 | -60.2755 |  | 0.5474 | 1.1395 | 1.0187 | 0.38168 | 1.1404 | 0.99309 | -28.2219 | -123.2565 | 129.6511 | -26.1821 | -121.2942 | 128.7845
Line_1 | 1.9105 | 0.56618 | 0.49526 | 1.9124 | 0.56421 | 0.49327 | 22.0609 | 6.5377 | 5.7187 | 22.0826 | 6.5149 | 5.6958 | -4.3502e-11 | 5.824 | -5.1595 | 7.123 | -6.0743 | 4.8148 | 6.0364e-12 | -5.1997 | -3.7597 | 4.5058 | 4.2777 | 2.9686 | 121.5215 | -86.1117 | -82.8532 | -58.4986 | 93.8601 | 97.1277 |  | 0 | 1.1942 | 1.1163 | 0.38168 | 1.1404 | 0.99309 | 0 | -127.8704 | 133.2271 | -26.1821 | -121.2942 | 128.7845
Line_2 | 0.54176 | 0.23088 | 0.22059 | 0.54052 | 0.22992 | 0.21981 | 6.2557 | 2.6659 | 2.5471 | 6.2413 | 2.6548 | 2.5382 | 3.3997 | -0.47797 | -1.1789 | -2.1899 | 0.96876 | 1.603 | 1.5841 | -2.9224 | 1.8232 | -0.93778 | 2.8684 | -1.9453 | -49.3714 | -12.8297 | -0.95892 | 130.6354 | 167.3677 | 179.2947 |  | 0.59956 | 1.1108 | 0.85238 | 0.38168 | 1.1404 | 0.99309 | -24.3884 | -112.1184 | 121.9271 | -26.1821 | -121.2942 | 128.7845

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50321 | 0.24214 | 0.20566 | 0.50266 | 0.24269 | 0.20622 | 5.8106 | 2.7959 | 2.3748 | 5.8042 | 2.8023 | 2.3812 | 3.933 | -1.0691 | 2.2991 | -3.6217 | 1.1046 | -2.2857 | 3.0267 | 2.7477 | -0.45867 | -2.8519 | -2.7323 | 0.47611 | -47.0074 | 128.211 | 134.7905 | 132.9952 | -51.7835 | -45.2207 |  | 0.8541 | 1.0545 | 0.9872 | 0.79421 | 1.0517 | 0.9805 | -9.4264 | -120.529 | 123.5082 | -8.7864 | -119.7717 | 123.013
Line_1 | 0.69519 | 0.20602 | 0.18021 | 0.69587 | 0.2053 | 0.17949 | 8.0273 | 2.3789 | 2.0809 | 8.0352 | 2.3706 | 2.0725 | -4.3031 | 1.615 | -2.047 | 5.2493 | -1.6459 | 1.9959 | -3.028 | -1.9996 | -0.48607 | 3.629 | 1.8726 | 0.38184 | 136.5764 | -71.0568 | -67.7983 | -43.4437 | 108.915 | 112.1826 |  | 0.65547 | 1.0805 | 1.0111 | 0.79421 | 1.0517 | 0.9805 | -8.2905 | -122.1305 | 125.5593 | -8.7864 | -119.7717 | 123.013
Line_2 | 0.19713 | 0.084009 | 0.080266 | 0.19668 | 0.08366 | 0.079984 | 2.2763 | 0.97005 | 0.92683 | 2.271 | 0.96602 | 0.92357 | 1.7909 | -0.47636 | -0.23657 | -1.6277 | 0.54128 | 0.28979 | 0.86441 | -0.87032 | 0.84355 | -0.77717 | 0.85973 | -0.85794 | -34.3165 | 2.2252 | 14.096 | 145.6903 | -177.5774 | -165.6505 |  | 0.8736 | 1.0228 | 0.94526 | 0.79421 | 1.0517 | 0.9805 | -8.551 | -116.4685 | 119.762 | -8.7864 | -119.7717 | 123.013

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50321 | 0.24214 | 0.20566 | 0.50266 | 0.24269 | 0.20622 | 5.8106 | 2.7959 | 2.3748 | 5.8042 | 2.8023 | 2.3812 | 3.933 | -1.0691 | 2.2991 | -3.6217 | 1.1046 | -2.2857 | 3.0267 | 2.7477 | -0.45867 | -2.8519 | -2.7323 | 0.47611 | -47.0074 | 128.211 | 134.7905 | 132.9952 | -51.7835 | -45.2207 |  | 0.8541 | 1.0545 | 0.9872 | 0.79421 | 1.0517 | 0.9805 | -9.4264 | -120.529 | 123.5082 | -8.7864 | -119.7717 | 123.013
Line_1 | 0.69519 | 0.20602 | 0.18021 | 0.69587 | 0.2053 | 0.17949 | 8.0273 | 2.3789 | 2.0809 | 8.0352 | 2.3706 | 2.0725 | -4.3031 | 1.615 | -2.047 | 5.2493 | -1.6459 | 1.9959 | -3.028 | -1.9996 | -0.48607 | 3.629 | 1.8726 | 0.38184 | 136.5764 | -71.0568 | -67.7983 | -43.4437 | 108.915 | 112.1826 |  | 0.65547 | 1.0805 | 1.0111 | 0.79421 | 1.0517 | 0.9805 | -8.2905 | -122.1305 | 125.5593 | -8.7864 | -119.7717 | 123.013
Line_2 | 0.19713 | 0.084009 | 0.080266 | 0.19668 | 0.08366 | 0.079984 | 2.2763 | 0.97005 | 0.92683 | 2.271 | 0.96602 | 0.92357 | 1.7909 | -0.47636 | -0.23657 | -1.6277 | 0.54128 | 0.28979 | 0.86441 | -0.87032 | 0.84355 | -0.77717 | 0.85973 | -0.85794 | -34.3165 | 2.2252 | 14.096 | 145.6903 | -177.5774 | -165.6505 |  | 0.8736 | 1.0228 | 0.94526 | 0.79421 | 1.0517 | 0.9805 | -8.551 | -116.4685 | 119.762 | -8.7864 | -119.7717 | 123.013

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37997 | 2.8294 | 2.9365 | 0.3816 | 2.8293 | 2.9363 | 4.3875 | 32.671 | 33.9074 | 4.4064 | 32.6696 | 33.9051 | -0.92657 | 13.1051 | 6.9025 | 0.949 | -8.6233 | -2.6495 | 5.8452 | 6.4186 | 16.1189 | -5.847 | -2.1588 | -10.4932 | -93.9624 | -166.0246 | 24.5217 | 86.1365 | 14.011 | -155.5125 |  | 1.3489 | 0.44665 | 0.51713 | 1.3443 | 0.2721 | 0.3192 | 5.045 | -139.9299 | 91.34 | 5.3555 | -151.9344 | 100.3165
Line_1 | 0.3455 | 3.6738 | 3.5136 | 0.34374 | 3.6739 | 3.5144 | 3.9895 | 42.4213 | 40.5717 | 3.9691 | 42.422 | 40.5809 | 2.3971 | 8.8167e-11 | 1.0667e-10 | -2.4782 | 10.7661 | 4.6699 | -5.169 | -7.313e-11 | -9.0832e-12 | 4.7253 | 4.1633 | 12.0824 | 67.857 | 6.9561 | -148.5827 | -112.3193 | -173.076 | 31.4482 |  | 1.4282 | 0 | 0 | 1.3443 | 0.2721 | 0.3192 | 2.7365 | 0 | 0 | 5.3555 | -151.9344 | 100.3165
Line_2 | 0.12351 | 0.93493 | 0.69835 | 0.12217 | 0.93389 | 0.6974 | 1.4261 | 10.7956 | 8.0639 | 1.4107 | 10.7837 | 8.0529 | -1.3752 | 3.6818 | 2.4376 | 1.5292 | -2.1428 | -2.0204 | -1.1544 | 2.0646 | 2.7413 | 1.1217 | -2.0045 | -1.5892 | 148.6842 | 164.9011 | 62.2332 | -30.9057 | -15.0245 | -117.8718 |  | 1.259 | 0.39101 | 0.45491 | 1.3443 | 0.2721 | 0.3192 | 8.6954 | -165.8162 | 110.5889 | 5.3555 | -151.9344 | 100.3165

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37997 | 2.8294 | 2.9365 | 0.3816 | 2.8293 | 2.9363 | 4.3875 | 32.671 | 33.9074 | 4.4064 | 32.6696 | 33.9051 | -0.92657 | 13.1051 | 6.9025 | 0.949 | -8.6233 | -2.6495 | 5.8452 | 6.4186 | 16.1189 | -5.847 | -2.1588 | -10.4932 | -93.9624 | -166.0246 | 24.5217 | 86.1365 | 14.011 | -155.5125 |  | 1.3489 | 0.44665 | 0.51713 | 1.3443 | 0.2721 | 0.3192 | 5.045 | -139.9299 | 91.34 | 5.3555 | -151.9344 | 100.3165
Line_1 | 0.3455 | 3.6738 | 3.5136 | 0.34374 | 3.6739 | 3.5144 | 3.9895 | 42.4213 | 40.5717 | 3.9691 | 42.422 | 40.5809 | 2.3971 | 8.8167e-11 | 1.0667e-10 | -2.4782 | 10.7661 | 4.6699 | -5.169 | -7.313e-11 | -9.0832e-12 | 4.7253 | 4.1633 | 12.0824 | 67.857 | 6.9561 | -148.5827 | -112.3193 | -173.076 | 31.4482 |  | 1.4282 | 0 | 0 | 1.3443 | 0.2721 | 0.3192 | 2.7365 | 0 | 0 | 5.3555 | -151.9344 | 100.3165
Line_2 | 0.12351 | 0.93493 | 0.69835 | 0.12217 | 0.93389 | 0.6974 | 1.4261 | 10.7956 | 8.0639 | 1.4107 | 10.7837 | 8.0529 | -1.3752 | 3.6818 | 2.4376 | 1.5292 | -2.1428 | -2.0204 | -1.1544 | 2.0646 | 2.7413 | 1.1217 | -2.0045 | -1.5892 | 148.6842 | 164.9011 | 62.2332 | -30.9057 | -15.0245 | -117.8718 |  | 1.259 | 0.39101 | 0.45491 | 1.3443 | 0.2721 | 0.3192 | 8.6954 | -165.8162 | 110.5889 | 5.3555 | -151.9344 | 100.3165

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.042706 | 0.70522 | 0.66579 | 0.043012 | 0.7053 | 0.66561 | 0.49312 | 8.1432 | 7.6879 | 0.49666 | 8.1441 | 7.6858 | 0.59325 | 7.3869 | 3.8801 | -0.60032 | -7.1082 | -3.6562 | -0.066015 | 1.7207 | 6.6621 | 0.060732 | -1.4717 | -6.3517 | 9.6943 | -137.9573 | 50.2915 | -171.1412 | 42.0989 | -129.7664 |  | 1.2105 | 0.93141 | 1.0028 | 1.2149 | 0.89131 | 0.95356 | 3.3446 | -124.8447 | 110.0741 | 3.0821 | -126.2039 | 110.3075
Line_1 | 0.062386 | 0.99395 | 0.93307 | 0.061749 | 0.99397 | 0.9335 | 0.72038 | 11.4771 | 10.7742 | 0.71301 | 11.4773 | 10.7791 | 0.22475 | -8.0555 | -5.9317 | -0.23282 | 8.9614 | 6.2918 | -0.87797 | -4.7548 | -7.0886 | 0.83436 | 4.9337 | 8.1278 | 77.9573 | 25.0081 | -121.991 | -102.5095 | -155.0388 | 58.0514 |  | 1.2581 | 0.81502 | 0.85789 | 1.2149 | 0.89131 | 0.95356 | 2.3161 | -124.4405 | 108.0866 | 3.0821 | -126.2039 | 110.3075
Line_2 | 0.087091 | 0.38204 | 0.28899 | 0.087169 | 0.38155 | 0.28864 | 1.0056 | 4.4114 | 3.337 | 1.0065 | 4.4057 | 3.333 | -0.82034 | 2.1136 | 2.7034 | 0.83314 | -1.8533 | -2.6356 | 0.85191 | 3.513 | 1.9655 | -0.89509 | -3.462 | -1.7761 | -130.2766 | 171.8971 | 76.4362 | 50.1349 | -8.0432 | -103.6681 |  | 1.176 | 0.92936 | 1.0016 | 1.2149 | 0.89131 | 0.95356 | 3.642 | -129.1359 | 112.4555 | 3.0821 | -126.2039 | 110.3075

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.042706 | 0.70522 | 0.66579 | 0.043012 | 0.7053 | 0.66561 | 0.49312 | 8.1432 | 7.6879 | 0.49666 | 8.1441 | 7.6858 | 0.59325 | 7.3869 | 3.8801 | -0.60032 | -7.1082 | -3.6562 | -0.066015 | 1.7207 | 6.6621 | 0.060732 | -1.4717 | -6.3517 | 9.6943 | -137.9573 | 50.2915 | -171.1412 | 42.0989 | -129.7664 |  | 1.2105 | 0.93141 | 1.0028 | 1.2149 | 0.89131 | 0.95356 | 3.3446 | -124.8447 | 110.0741 | 3.0821 | -126.2039 | 110.3075
Line_1 | 0.062386 | 0.99395 | 0.93307 | 0.061749 | 0.99397 | 0.9335 | 0.72038 | 11.4771 | 10.7742 | 0.71301 | 11.4773 | 10.7791 | 0.22475 | -8.0555 | -5.9317 | -0.23282 | 8.9614 | 6.2918 | -0.87797 | -4.7548 | -7.0886 | 0.83436 | 4.9337 | 8.1278 | 77.9573 | 25.0081 | -121.991 | -102.5095 | -155.0388 | 58.0514 |  | 1.2581 | 0.81502 | 0.85789 | 1.2149 | 0.89131 | 0.95356 | 2.3161 | -124.4405 | 108.0866 | 3.0821 | -126.2039 | 110.3075
Line_2 | 0.087091 | 0.38204 | 0.28899 | 0.087169 | 0.38155 | 0.28864 | 1.0056 | 4.4114 | 3.337 | 1.0065 | 4.4057 | 3.333 | -0.82034 | 2.1136 | 2.7034 | 0.83314 | -1.8533 | -2.6356 | 0.85191 | 3.513 | 1.9655 | -0.89509 | -3.462 | -1.7761 | -130.2766 | 171.8971 | 76.4362 | 50.1349 | -8.0432 | -103.6681 |  | 1.176 | 0.92936 | 1.0016 | 1.2149 | 0.89131 | 0.95356 | 3.642 | -129.1359 | 112.4555 | 3.0821 | -126.2039 | 110.3075

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45268 | 2.2294 | 2.3841 | 0.45388 | 2.2294 | 2.3838 | 5.2271 | 25.7426 | 27.5296 | 5.241 | 25.7428 | 27.5261 | 0.46205 | 14.4734 | 9.9716 | -0.35449 | -9.2722 | -4.4051 | 5.8413 | 2.4678 | 12.1413 | -5.8119 | -0.067784 | -8.1699 | -80.5143 | -154.7701 | 38.853 | 99.5273 | 25.262 | -141.1761 |  | 1.121 | 0.57035 | 0.57071 | 1.111 | 0.36019 | 0.3372 | 4.963 | -145.094 | 89.4567 | 6.037 | -154.3192 | 100.491
Line_1 | 0.41789 | 2.8734 | 2.7561 | 0.41633 | 2.8731 | 2.7569 | 4.8253 | 33.1789 | 31.8242 | 4.8074 | 33.176 | 31.8341 | 1.1643 | -1.0143e-10 | -4.2356e-11 | -1.2251 | 11.8877 | 5.7323 | -5.8307 | -6.5005e-11 | -1.0877e-10 | 5.1986 | 1.2173 | 9.0758 | 82.8466 | 19.8663 | -137.2615 | -97.2239 | -160.166 | 42.7675 |  | 1.2322 | 0 | 0 | 1.111 | 0.36019 | 0.3372 | 4.1391 | 0 | 0 | 6.037 | -154.3192 | 100.491
Line_2 | 0.1329 | 0.68749 | 0.41319 | 0.13209 | 0.68691 | 0.41269 | 1.5345 | 7.9384 | 4.7711 | 1.5252 | 7.9317 | 4.7653 | -1.3641 | 4.0577 | 1.4918 | 1.5796 | -2.6155 | -1.3272 | -0.64079 | 0.98563 | 1.6464 | 0.61335 | -1.1495 | -0.90589 | 164.5459 | -178.1148 | 66.2982 | -15.1835 | 1.9549 | -113.8252 |  | 0.98211 | 0.526 | 0.46566 | 1.111 | 0.36019 | 0.3372 | 9.7081 | -164.4618 | 114.1178 | 6.037 | -154.3192 | 100.491

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45268 | 2.2294 | 2.3841 | 0.45388 | 2.2294 | 2.3838 | 5.2271 | 25.7426 | 27.5296 | 5.241 | 25.7428 | 27.5261 | 0.46205 | 14.4734 | 9.9716 | -0.35449 | -9.2722 | -4.4051 | 5.8413 | 2.4678 | 12.1413 | -5.8119 | -0.067784 | -8.1699 | -80.5143 | -154.7701 | 38.853 | 99.5273 | 25.262 | -141.1761 |  | 1.121 | 0.57035 | 0.57071 | 1.111 | 0.36019 | 0.3372 | 4.963 | -145.094 | 89.4567 | 6.037 | -154.3192 | 100.491
Line_1 | 0.41789 | 2.8734 | 2.7561 | 0.41633 | 2.8731 | 2.7569 | 4.8253 | 33.1789 | 31.8242 | 4.8074 | 33.176 | 31.8341 | 1.1643 | -1.0143e-10 | -4.2356e-11 | -1.2251 | 11.8877 | 5.7323 | -5.8307 | -6.5005e-11 | -1.0877e-10 | 5.1986 | 1.2173 | 9.0758 | 82.8466 | 19.8663 | -137.2615 | -97.2239 | -160.166 | 42.7675 |  | 1.2322 | 0 | 0 | 1.111 | 0.36019 | 0.3372 | 4.1391 | 0 | 0 | 6.037 | -154.3192 | 100.491
Line_2 | 0.1329 | 0.68749 | 0.41319 | 0.13209 | 0.68691 | 0.41269 | 1.5345 | 7.9384 | 4.7711 | 1.5252 | 7.9317 | 4.7653 | -1.3641 | 4.0577 | 1.4918 | 1.5796 | -2.6155 | -1.3272 | -0.64079 | 0.98563 | 1.6464 | 0.61335 | -1.1495 | -0.90589 | 164.5459 | -178.1148 | 66.2982 | -15.1835 | 1.9549 | -113.8252 |  | 0.98211 | 0.526 | 0.46566 | 1.111 | 0.36019 | 0.3372 | 9.7081 | -164.4618 | 114.1178 | 6.037 | -154.3192 | 100.491

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18988 | 0.66688 | 0.71038 | 0.19039 | 0.66684 | 0.71024 | 2.1926 | 7.7005 | 8.2028 | 2.1984 | 7.7 | 8.2012 | 0.99404 | 6.1644 | 4.111 | -0.97858 | -5.6868 | -3.6145 | 2.0489 | 2.128 | 6.0686 | -2.0444 | -1.9248 | -5.6959 | -61.5178 | -145.2806 | 54.4023 | 118.5101 | 34.7634 | -125.6377 |  | 1.0387 | 0.84688 | 0.89359 | 1.031 | 0.7797 | 0.82256 | 2.6017 | -126.2352 | 110.2877 | 2.9315 | -126.5371 | 111.9642
Line_1 | 0.17277 | 0.88356 | 0.81739 | 0.17212 | 0.88352 | 0.81778 | 1.995 | 10.2024 | 9.4384 | 1.9875 | 10.202 | 9.4429 | -0.28394 | -5.9295 | -4.3399 | 0.26379 | 7.2102 | 4.8202 | -2.1409 | -3.3113 | -5.123 | 2.032 | 3.3597 | 6.0908 | 100.3856 | 28.5228 | -119.717 | -79.6718 | -151.5209 | 60.3217 |  | 1.0825 | 0.66567 | 0.71137 | 1.031 | 0.7797 | 0.82256 | 2.8309 | -122.2963 | 110.0139 | 2.9315 | -126.5371 | 111.9642
Line_2 | 0.060369 | 0.23272 | 0.13386 | 0.060051 | 0.23244 | 0.13357 | 0.69708 | 2.6872 | 1.5457 | 0.69341 | 2.684 | 1.5424 | -0.67689 | 1.7182 | 1.2459 | 0.71479 | -1.5234 | -1.2057 | -0.02058 | 1.4225 | 0.48705 | 0.012409 | -1.4349 | -0.39487 | -178.3245 | -169.9015 | 93.962 | 1.937 | 10.1769 | -86.17 |  | 0.97148 | 0.83011 | 0.86544 | 1.031 | 0.7797 | 0.82256 | 3.417 | -130.2793 | 115.3142 | 2.9315 | -126.5371 | 111.9642

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18988 | 0.66688 | 0.71038 | 0.19039 | 0.66684 | 0.71024 | 2.1926 | 7.7005 | 8.2028 | 2.1984 | 7.7 | 8.2012 | 0.99404 | 6.1644 | 4.111 | -0.97858 | -5.6868 | -3.6145 | 2.0489 | 2.128 | 6.0686 | -2.0444 | -1.9248 | -5.6959 | -61.5178 | -145.2806 | 54.4023 | 118.5101 | 34.7634 | -125.6377 |  | 1.0387 | 0.84688 | 0.89359 | 1.031 | 0.7797 | 0.82256 | 2.6017 | -126.2352 | 110.2877 | 2.9315 | -126.5371 | 111.9642
Line_1 | 0.17277 | 0.88356 | 0.81739 | 0.17212 | 0.88352 | 0.81778 | 1.995 | 10.2024 | 9.4384 | 1.9875 | 10.202 | 9.4429 | -0.28394 | -5.9295 | -4.3399 | 0.26379 | 7.2102 | 4.8202 | -2.1409 | -3.3113 | -5.123 | 2.032 | 3.3597 | 6.0908 | 100.3856 | 28.5228 | -119.717 | -79.6718 | -151.5209 | 60.3217 |  | 1.0825 | 0.66567 | 0.71137 | 1.031 | 0.7797 | 0.82256 | 2.8309 | -122.2963 | 110.0139 | 2.9315 | -126.5371 | 111.9642
Line_2 | 0.060369 | 0.23272 | 0.13386 | 0.060051 | 0.23244 | 0.13357 | 0.69708 | 2.6872 | 1.5457 | 0.69341 | 2.684 | 1.5424 | -0.67689 | 1.7182 | 1.2459 | 0.71479 | -1.5234 | -1.2057 | -0.02058 | 1.4225 | 0.48705 | 0.012409 | -1.4349 | -0.39487 | -178.3245 | -169.9015 | 93.962 | 1.937 | 10.1769 | -86.17 |  | 0.97148 | 0.83011 | 0.86544 | 1.031 | 0.7797 | 0.82256 | 3.417 | -130.2793 | 115.3142 | 2.9315 | -126.5371 | 111.9642