## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5124 | 0.84195 | 0.74086 | 1.51 | 0.8442 | 0.74302 | 17.4633 | 9.722 | 8.5547 | 17.4366 | 9.748 | 8.5796 | 5.0355 | -10.4666 | 10.7627 | -3.836 | 10.8565 | -10.5086 | 4.926 | 8.1399 | 1.4461 | -3.5706 | -7.7506 | -1.137 | -73.0346 | 90.1517 | 126.1792 | 106.9689 | -89.8088 | -53.8864 |  | 0.40338 | 1.3638 | 1.2694 | 0.30055 | 1.3684 | 1.232 | -28.6641 | -127.7206 | 133.8319 | -30.0835 | -125.3326 | 132.2888
Line_1 | 2.4039 | 0.61198 | 0.45851 | 2.4064 | 0.60951 | 0.4559 | 27.7576 | 7.0665 | 5.2944 | 27.7872 | 7.038 | 5.2643 | 9.2239e-11 | 8.5642 | -6.1462 | 6.3878 | -8.8141 | 5.6332 | -8.2135e-11 | -4.5626 | -3.5638 | 5.3799 | 3.8814 | 3.2138 | 109.8247 | -101.4842 | -77.4438 | -70.1884 | 78.4347 | 102.5838 |  | 0 | 1.3732 | 1.3419 | 0.30055 | 1.3684 | 1.232 | 0 | -129.5307 | 132.6633 | -30.0835 | -125.3326 | 132.2888
Line_2 | 0.90343 | 0.27895 | 0.37406 | 0.90137 | 0.27689 | 0.37252 | 10.4319 | 3.221 | 4.3192 | 10.4081 | 3.1972 | 4.3015 | 4.3137 | 2.5182 | -4.242 | -2.5518 | -2.0424 | 4.8754 | 2.925 | -3.6729 | 1.9893 | -1.8094 | 3.8692 | -2.0768 | -65.4249 | -63.1854 | -24.8498 | 114.5777 | 116.8396 | 155.3614 |  | 0.49961 | 1.3826 | 1.0848 | 0.30055 | 1.3684 | 1.232 | -31.2844 | -118.7499 | 130.026 | -30.0835 | -125.3326 | 132.2888

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5124 | 0.84195 | 0.74086 | 1.51 | 0.8442 | 0.74302 | 17.4633 | 9.722 | 8.5547 | 17.4366 | 9.748 | 8.5796 | 5.0355 | -10.4666 | 10.7627 | -3.836 | 10.8565 | -10.5086 | 4.926 | 8.1399 | 1.4461 | -3.5706 | -7.7506 | -1.137 | -73.0346 | 90.1517 | 126.1792 | 106.9689 | -89.8088 | -53.8864 |  | 0.40338 | 1.3638 | 1.2694 | 0.30055 | 1.3684 | 1.232 | -28.6641 | -127.7206 | 133.8319 | -30.0835 | -125.3326 | 132.2888
Line_1 | 2.4039 | 0.61198 | 0.45851 | 2.4064 | 0.60951 | 0.4559 | 27.7576 | 7.0665 | 5.2944 | 27.7872 | 7.038 | 5.2643 | 9.2239e-11 | 8.5642 | -6.1462 | 6.3878 | -8.8141 | 5.6332 | -8.2135e-11 | -4.5626 | -3.5638 | 5.3799 | 3.8814 | 3.2138 | 109.8247 | -101.4842 | -77.4438 | -70.1884 | 78.4347 | 102.5838 |  | 0 | 1.3732 | 1.3419 | 0.30055 | 1.3684 | 1.232 | 0 | -129.5307 | 132.6633 | -30.0835 | -125.3326 | 132.2888
Line_2 | 0.90343 | 0.27895 | 0.37406 | 0.90137 | 0.27689 | 0.37252 | 10.4319 | 3.221 | 4.3192 | 10.4081 | 3.1972 | 4.3015 | 4.3137 | 2.5182 | -4.242 | -2.5518 | -2.0424 | 4.8754 | 2.925 | -3.6729 | 1.9893 | -1.8094 | 3.8692 | -2.0768 | -65.4249 | -63.1854 | -24.8498 | 114.5777 | 116.8396 | 155.3614 |  | 0.49961 | 1.3826 | 1.0848 | 0.30055 | 1.3684 | 1.232 | -31.2844 | -118.7499 | 130.026 | -30.0835 | -125.3326 | 132.2888

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40479 | 0.21379 | 0.35622 | 0.404 | 0.21434 | 0.35679 | 4.6741 | 2.4686 | 4.1133 | 4.665 | 2.475 | 4.1198 | 3.6964 | -2.892 | 3.2921 | -3.6049 | 2.9205 | -3.2372 | 2.2122 | 0.99378 | -3.3749 | -2.1096 | -0.9777 | 3.45 | -40.4725 | 77.6142 | 171.6137 | 139.5572 | -102.2254 | -8.4823 |  | 0.92163 | 1.2388 | 1.1462 | 0.89534 | 1.2444 | 1.1484 | -9.5734 | -121.35 | 125.9023 | -10.1064 | -120.7342 | 124.6955
Line_1 | 0.77843 | 0.191 | 0.17182 | 0.77932 | 0.1903 | 0.17105 | 8.9885 | 2.2054 | 1.984 | 8.9988 | 2.1974 | 1.9751 | -5.7134 | 2.6307 | -2.1255 | 6.4318 | -2.6167 | 2.0314 | -4.2836 | -0.89222 | 1.0093 | 4.8526 | 0.79349 | -1.0089 | 132.878 | -103.6807 | -29.0622 | -47.1397 | 76.135 | 151.1071 |  | 0.79445 | 1.2596 | 1.186 | 0.89534 | 1.2444 | 1.1484 | -10.2613 | -122.4157 | 125.5384 | -10.1064 | -120.7342 | 124.6955
Line_2 | 0.38172 | 0.025264 | 0.20575 | 0.381 | 0.024726 | 0.20533 | 4.4077 | 0.29172 | 2.3758 | 4.3994 | 0.28551 | 2.371 | 3.0906 | 0.31235 | -1.0891 | -2.8269 | -0.30379 | 1.2059 | 2.9568 | -0.18039 | 2.4114 | -2.743 | 0.1842 | -2.4411 | -54.2282 | -88.3762 | 8.2406 | 125.7571 | 90.496 | -171.5933 |  | 0.97039 | 1.2364 | 1.1137 | 0.89534 | 1.2444 | 1.1484 | -10.4957 | -118.3843 | 122.5475 | -10.1064 | -120.7342 | 124.6955

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40479 | 0.21379 | 0.35622 | 0.404 | 0.21434 | 0.35679 | 4.6741 | 2.4686 | 4.1133 | 4.665 | 2.475 | 4.1198 | 3.6964 | -2.892 | 3.2921 | -3.6049 | 2.9205 | -3.2372 | 2.2122 | 0.99378 | -3.3749 | -2.1096 | -0.9777 | 3.45 | -40.4725 | 77.6142 | 171.6137 | 139.5572 | -102.2254 | -8.4823 |  | 0.92163 | 1.2388 | 1.1462 | 0.89534 | 1.2444 | 1.1484 | -9.5734 | -121.35 | 125.9023 | -10.1064 | -120.7342 | 124.6955
Line_1 | 0.77843 | 0.191 | 0.17182 | 0.77932 | 0.1903 | 0.17105 | 8.9885 | 2.2054 | 1.984 | 8.9988 | 2.1974 | 1.9751 | -5.7134 | 2.6307 | -2.1255 | 6.4318 | -2.6167 | 2.0314 | -4.2836 | -0.89222 | 1.0093 | 4.8526 | 0.79349 | -1.0089 | 132.878 | -103.6807 | -29.0622 | -47.1397 | 76.135 | 151.1071 |  | 0.79445 | 1.2596 | 1.186 | 0.89534 | 1.2444 | 1.1484 | -10.2613 | -122.4157 | 125.5384 | -10.1064 | -120.7342 | 124.6955
Line_2 | 0.38172 | 0.025264 | 0.20575 | 0.381 | 0.024726 | 0.20533 | 4.4077 | 0.29172 | 2.3758 | 4.3994 | 0.28551 | 2.371 | 3.0906 | 0.31235 | -1.0891 | -2.8269 | -0.30379 | 1.2059 | 2.9568 | -0.18039 | 2.4114 | -2.743 | 0.1842 | -2.4411 | -54.2282 | -88.3762 | 8.2406 | 125.7571 | 90.496 | -171.5933 |  | 0.97039 | 1.2364 | 1.1137 | 0.89534 | 1.2444 | 1.1484 | -10.4957 | -118.3843 | 122.5475 | -10.1064 | -120.7342 | 124.6955

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3153 | 0.70492 | 0.60751 | 1.3137 | 0.70658 | 0.60915 | 15.1883 | 8.1397 | 7.0149 | 15.1692 | 8.1589 | 7.0339 | 6.1168 | -4.7248 | 7.3461 | -4.379 | 5.2313 | -6.9985 | 4.3094 | 8.1017 | 1.4235 | -3.2841 | -7.8263 | -1.2118 | -63.2909 | 113.8301 | 120.0965 | 116.7164 | -66.1768 | -59.9284 |  | 0.49264 | 1.1522 | 1.0667 | 0.36084 | 1.1538 | 1.0098 | -28.1259 | -125.9196 | 131.0634 | -26.415 | -122.4169 | 129.8953
Line_1 | 1.86 | 0.57904 | 0.50992 | 1.862 | 0.57698 | 0.50785 | 21.4778 | 6.6862 | 5.888 | 21.5004 | 6.6624 | 5.8641 | -4.2109e-11 | 5.9204 | -5.3391 | 6.5134 | -6.1259 | 5.0326 | 5.239e-12 | -5.4876 | -3.8483 | 4.215 | 4.6438 | 3.1202 | 120.698 | -85.228 | -81.889 | -59.3229 | 94.7476 | 98.0968 |  | 0 | 1.2073 | 1.1178 | 0.36084 | 1.1538 | 1.0098 | 0 | -128.0549 | 133.8939 | -26.415 | -122.4169 | 129.8953
Line_2 | 0.56018 | 0.24918 | 0.23586 | 0.55885 | 0.24813 | 0.23498 | 6.4684 | 2.8773 | 2.7235 | 6.4531 | 2.8652 | 2.7133 | 3.4705 | -0.32666 | -1.4725 | -2.1344 | 0.89456 | 1.9658 | 1.6125 | -3.2254 | 1.7935 | -0.93088 | 3.1825 | -1.9083 | -49.989 | -16.9033 | -6.1962 | 130.0215 | 163.2832 | 174.045 |  | 0.59162 | 1.1267 | 0.85204 | 0.36084 | 1.1538 | 1.0098 | -25.0685 | -112.6863 | 123.1898 | -26.415 | -122.4169 | 129.8953

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3153 | 0.70492 | 0.60751 | 1.3137 | 0.70658 | 0.60915 | 15.1883 | 8.1397 | 7.0149 | 15.1692 | 8.1589 | 7.0339 | 6.1168 | -4.7248 | 7.3461 | -4.379 | 5.2313 | -6.9985 | 4.3094 | 8.1017 | 1.4235 | -3.2841 | -7.8263 | -1.2118 | -63.2909 | 113.8301 | 120.0965 | 116.7164 | -66.1768 | -59.9284 |  | 0.49264 | 1.1522 | 1.0667 | 0.36084 | 1.1538 | 1.0098 | -28.1259 | -125.9196 | 131.0634 | -26.415 | -122.4169 | 129.8953
Line_1 | 1.86 | 0.57904 | 0.50992 | 1.862 | 0.57698 | 0.50785 | 21.4778 | 6.6862 | 5.888 | 21.5004 | 6.6624 | 5.8641 | -4.2109e-11 | 5.9204 | -5.3391 | 6.5134 | -6.1259 | 5.0326 | 5.239e-12 | -5.4876 | -3.8483 | 4.215 | 4.6438 | 3.1202 | 120.698 | -85.228 | -81.889 | -59.3229 | 94.7476 | 98.0968 |  | 0 | 1.2073 | 1.1178 | 0.36084 | 1.1538 | 1.0098 | 0 | -128.0549 | 133.8939 | -26.415 | -122.4169 | 129.8953
Line_2 | 0.56018 | 0.24918 | 0.23586 | 0.55885 | 0.24813 | 0.23498 | 6.4684 | 2.8773 | 2.7235 | 6.4531 | 2.8652 | 2.7133 | 3.4705 | -0.32666 | -1.4725 | -2.1344 | 0.89456 | 1.9658 | 1.6125 | -3.2254 | 1.7935 | -0.93088 | 3.1825 | -1.9083 | -49.989 | -16.9033 | -6.1962 | 130.0215 | 163.2832 | 174.045 |  | 0.59162 | 1.1267 | 0.85204 | 0.36084 | 1.1538 | 1.0098 | -25.0685 | -112.6863 | 123.1898 | -26.415 | -122.4169 | 129.8953

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48332 | 0.25902 | 0.22323 | 0.48271 | 0.25963 | 0.22383 | 5.5809 | 2.9909 | 2.5776 | 5.5739 | 2.9979 | 2.5846 | 3.648 | -1.0489 | 2.5284 | -3.4101 | 1.1185 | -2.4859 | 2.8888 | 3.0036 | -0.49582 | -2.7472 | -2.9709 | 0.5256 | -47.8693 | 129.2516 | 135.5181 | 132.138 | -50.7552 | -44.5068 |  | 0.83379 | 1.0637 | 0.99958 | 0.78563 | 1.0589 | 0.98307 | -9.4934 | -121.4986 | 124.4229 | -9.0071 | -120.1248 | 123.5547
Line_1 | 0.68346 | 0.21277 | 0.18737 | 0.68418 | 0.21201 | 0.18661 | 7.8919 | 2.4568 | 2.1635 | 7.9002 | 2.4481 | 2.1547 | -4.208 | 1.6307 | -2.133 | 5.0908 | -1.656 | 2.0859 | -2.9768 | -2.1134 | -0.4669 | 3.5506 | 1.9943 | 0.36916 | 136.1196 | -69.8064 | -66.4674 | -43.9013 | 110.1692 | 113.5184 |  | 0.65313 | 1.0865 | 1.0092 | 0.78563 | 1.0589 | 0.98307 | -8.6039 | -122.1536 | 125.8798 | -9.0071 | -120.1248 | 123.5547
Line_2 | 0.20583 | 0.091561 | 0.086665 | 0.20535 | 0.091175 | 0.086341 | 2.3768 | 1.0573 | 1.0007 | 2.3712 | 1.0528 | 0.99698 | 1.8643 | -0.46085 | -0.3366 | -1.6807 | 0.53755 | 0.40002 | 0.89733 | -0.98608 | 0.88107 | -0.80344 | 0.97661 | -0.89476 | -34.5674 | -1.4817 | 9.2253 | 145.443 | 178.7048 | -170.5334 |  | 0.87049 | 1.0295 | 0.94249 | 0.78563 | 1.0589 | 0.98307 | -8.8644 | -116.5312 | 120.1342 | -9.0071 | -120.1248 | 123.5547

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48332 | 0.25902 | 0.22323 | 0.48271 | 0.25963 | 0.22383 | 5.5809 | 2.9909 | 2.5776 | 5.5739 | 2.9979 | 2.5846 | 3.648 | -1.0489 | 2.5284 | -3.4101 | 1.1185 | -2.4859 | 2.8888 | 3.0036 | -0.49582 | -2.7472 | -2.9709 | 0.5256 | -47.8693 | 129.2516 | 135.5181 | 132.138 | -50.7552 | -44.5068 |  | 0.83379 | 1.0637 | 0.99958 | 0.78563 | 1.0589 | 0.98307 | -9.4934 | -121.4986 | 124.4229 | -9.0071 | -120.1248 | 123.5547
Line_1 | 0.68346 | 0.21277 | 0.18737 | 0.68418 | 0.21201 | 0.18661 | 7.8919 | 2.4568 | 2.1635 | 7.9002 | 2.4481 | 2.1547 | -4.208 | 1.6307 | -2.133 | 5.0908 | -1.656 | 2.0859 | -2.9768 | -2.1134 | -0.4669 | 3.5506 | 1.9943 | 0.36916 | 136.1196 | -69.8064 | -66.4674 | -43.9013 | 110.1692 | 113.5184 |  | 0.65313 | 1.0865 | 1.0092 | 0.78563 | 1.0589 | 0.98307 | -8.6039 | -122.1536 | 125.8798 | -9.0071 | -120.1248 | 123.5547
Line_2 | 0.20583 | 0.091561 | 0.086665 | 0.20535 | 0.091175 | 0.086341 | 2.3768 | 1.0573 | 1.0007 | 2.3712 | 1.0528 | 0.99698 | 1.8643 | -0.46085 | -0.3366 | -1.6807 | 0.53755 | 0.40002 | 0.89733 | -0.98608 | 0.88107 | -0.80344 | 0.97661 | -0.89476 | -34.5674 | -1.4817 | 9.2253 | 145.443 | 178.7048 | -170.5334 |  | 0.87049 | 1.0295 | 0.94249 | 0.78563 | 1.0589 | 0.98307 | -8.8644 | -116.5312 | 120.1342 | -9.0071 | -120.1248 | 123.5547

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41142 | 2.8027 | 2.952 | 0.41321 | 2.8027 | 2.9517 | 4.7507 | 32.3632 | 34.0865 | 4.7714 | 32.3632 | 34.0835 | -0.72517 | 12.2653 | 7.3296 | 0.80713 | -8.1814 | -2.7914 | 6.5456 | 6.8799 | 15.3678 | -6.4752 | -2.2465 | -10.2203 | -91.9128 | -164.6292 | 23.1262 | 88.1641 | 15.4091 | -156.9098 |  | 1.3862 | 0.43454 | 0.4995 | 1.3676 | 0.26216 | 0.31084 | 4.409 | -135.34 | 87.6274 | 5.2693 | -149.237 | 97.8141
Line_1 | 0.35244 | 3.6373 | 3.5283 | 0.35059 | 3.6373 | 3.5291 | 4.0696 | 41.9996 | 40.7411 | 4.0482 | 41.9999 | 40.7502 | 2.3361 | 8.5214e-11 | 1.0506e-10 | -2.4225 | 10.1273 | 4.8845 | -5.3757 | -7.1339e-11 | -6.4162e-12 | 4.9783 | 4.3208 | 11.6872 | 69.4877 | 7.691 | -149.5359 | -110.6792 | -172.3422 | 30.4959 |  | 1.4403 | 0 | 0 | 1.3676 | 0.26216 | 0.31084 | 2.9755 | 0 | 0 | 5.2693 | -149.237 | 97.8141
Line_2 | 0.14093 | 0.94064 | 0.71317 | 0.13946 | 0.93957 | 0.71213 | 1.6273 | 10.8616 | 8.2349 | 1.6104 | 10.8492 | 8.2229 | -1.4282 | 3.5421 | 2.5641 | 1.6154 | -1.9459 | -2.0932 | -1.5153 | 2.1115 | 2.682 | 1.497 | -2.0743 | -1.467 | 142.1272 | 163.8562 | 62.8942 | -37.5513 | -16.0663 | -117.2104 |  | 1.2796 | 0.37965 | 0.45058 | 1.3676 | 0.26216 | 0.31084 | 8.8215 | -165.3439 | 109.1816 | 5.2693 | -149.237 | 97.8141

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41142 | 2.8027 | 2.952 | 0.41321 | 2.8027 | 2.9517 | 4.7507 | 32.3632 | 34.0865 | 4.7714 | 32.3632 | 34.0835 | -0.72517 | 12.2653 | 7.3296 | 0.80713 | -8.1814 | -2.7914 | 6.5456 | 6.8799 | 15.3678 | -6.4752 | -2.2465 | -10.2203 | -91.9128 | -164.6292 | 23.1262 | 88.1641 | 15.4091 | -156.9098 |  | 1.3862 | 0.43454 | 0.4995 | 1.3676 | 0.26216 | 0.31084 | 4.409 | -135.34 | 87.6274 | 5.2693 | -149.237 | 97.8141
Line_1 | 0.35244 | 3.6373 | 3.5283 | 0.35059 | 3.6373 | 3.5291 | 4.0696 | 41.9996 | 40.7411 | 4.0482 | 41.9999 | 40.7502 | 2.3361 | 8.5214e-11 | 1.0506e-10 | -2.4225 | 10.1273 | 4.8845 | -5.3757 | -7.1339e-11 | -6.4162e-12 | 4.9783 | 4.3208 | 11.6872 | 69.4877 | 7.691 | -149.5359 | -110.6792 | -172.3422 | 30.4959 |  | 1.4403 | 0 | 0 | 1.3676 | 0.26216 | 0.31084 | 2.9755 | 0 | 0 | 5.2693 | -149.237 | 97.8141
Line_2 | 0.14093 | 0.94064 | 0.71317 | 0.13946 | 0.93957 | 0.71213 | 1.6273 | 10.8616 | 8.2349 | 1.6104 | 10.8492 | 8.2229 | -1.4282 | 3.5421 | 2.5641 | 1.6154 | -1.9459 | -2.0932 | -1.5153 | 2.1115 | 2.682 | 1.497 | -2.0743 | -1.467 | 142.1272 | 163.8562 | 62.8942 | -37.5513 | -16.0663 | -117.2104 |  | 1.2796 | 0.37965 | 0.45058 | 1.3676 | 0.26216 | 0.31084 | 8.8215 | -165.3439 | 109.1816 | 5.2693 | -149.237 | 97.8141

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.056521 | 0.70062 | 0.66766 | 0.057018 | 0.70077 | 0.66747 | 0.65265 | 8.0901 | 7.7095 | 0.65839 | 8.0917 | 7.7073 | 0.78665 | 7.2936 | 3.7248 | -0.79035 | -7.0411 | -3.4848 | 0.15296 | 1.5378 | 6.7282 | -0.16031 | -1.2416 | -6.4665 | -7.6232 | -135.8915 | 48.1073 | 171.8012 | 44.1692 | -131.9555 |  | 1.2279 | 0.92137 | 0.99753 | 1.2249 | 0.88359 | 0.95309 | 3.3804 | -123.9856 | 109.138 | 3.2673 | -125.8301 | 109.7244
Line_1 | 0.067898 | 0.98421 | 0.93458 | 0.067174 | 0.98422 | 0.93502 | 0.78402 | 11.3647 | 10.7917 | 0.77566 | 11.3648 | 10.7967 | 0.13955 | -7.9737 | -5.8784 | -0.15178 | 8.8272 | 6.2437 | -0.98088 | -4.5912 | -7.1798 | 0.93789 | 4.7873 | 8.1796 | 84.4584 | 25.7474 | -122.9651 | -95.9249 | -154.3022 | 57.0799 |  | 1.2637 | 0.80962 | 0.85986 | 1.2249 | 0.88359 | 0.95309 | 2.5557 | -124.3194 | 107.7265 | 3.2673 | -125.8301 | 109.7244
Line_2 | 0.086361 | 0.38964 | 0.29548 | 0.086369 | 0.38912 | 0.29508 | 0.99721 | 4.4992 | 3.4119 | 0.9973 | 4.4931 | 3.4073 | -0.92406 | 2.0659 | 2.8374 | 0.94213 | -1.7861 | -2.7589 | 0.73327 | 3.5971 | 1.9167 | -0.77758 | -3.5456 | -1.7131 | -137.6451 | 170.8442 | 77.993 | 42.8016 | -9.0935 | -102.1127 |  | 1.1829 | 0.92198 | 1.0036 | 1.2249 | 0.88359 | 0.95309 | 3.9219 | -129.0253 | 112.0321 | 3.2673 | -125.8301 | 109.7244

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.056521 | 0.70062 | 0.66766 | 0.057018 | 0.70077 | 0.66747 | 0.65265 | 8.0901 | 7.7095 | 0.65839 | 8.0917 | 7.7073 | 0.78665 | 7.2936 | 3.7248 | -0.79035 | -7.0411 | -3.4848 | 0.15296 | 1.5378 | 6.7282 | -0.16031 | -1.2416 | -6.4665 | -7.6232 | -135.8915 | 48.1073 | 171.8012 | 44.1692 | -131.9555 |  | 1.2279 | 0.92137 | 0.99753 | 1.2249 | 0.88359 | 0.95309 | 3.3804 | -123.9856 | 109.138 | 3.2673 | -125.8301 | 109.7244
Line_1 | 0.067898 | 0.98421 | 0.93458 | 0.067174 | 0.98422 | 0.93502 | 0.78402 | 11.3647 | 10.7917 | 0.77566 | 11.3648 | 10.7967 | 0.13955 | -7.9737 | -5.8784 | -0.15178 | 8.8272 | 6.2437 | -0.98088 | -4.5912 | -7.1798 | 0.93789 | 4.7873 | 8.1796 | 84.4584 | 25.7474 | -122.9651 | -95.9249 | -154.3022 | 57.0799 |  | 1.2637 | 0.80962 | 0.85986 | 1.2249 | 0.88359 | 0.95309 | 2.5557 | -124.3194 | 107.7265 | 3.2673 | -125.8301 | 109.7244
Line_2 | 0.086361 | 0.38964 | 0.29548 | 0.086369 | 0.38912 | 0.29508 | 0.99721 | 4.4992 | 3.4119 | 0.9973 | 4.4931 | 3.4073 | -0.92406 | 2.0659 | 2.8374 | 0.94213 | -1.7861 | -2.7589 | 0.73327 | 3.5971 | 1.9167 | -0.77758 | -3.5456 | -1.7131 | -137.6451 | 170.8442 | 77.993 | 42.8016 | -9.0935 | -102.1127 |  | 1.1829 | 0.92198 | 1.0036 | 1.2249 | 0.88359 | 0.95309 | 3.9219 | -129.0253 | 112.0321 | 3.2673 | -125.8301 | 109.7244

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.47987 | 2.2132 | 2.39 | 0.48121 | 2.2134 | 2.3895 | 5.5411 | 25.5558 | 27.5969 | 5.5565 | 25.5577 | 27.5921 | 0.75714 | 13.8004 | 10.1985 | -0.53304 | -8.9112 | -4.4887 | 6.3822 | 3.0935 | 11.2401 | -6.2638 | -0.20538 | -7.8636 | -79.3395 | -153.5617 | 37.6757 | 100.6861 | 26.4731 | -142.3551 |  | 1.1599 | 0.55341 | 0.54996 | 1.1314 | 0.34876 | 0.32816 | 3.895 | -140.9272 | 85.4574 | 5.822 | -152.2066 | 97.9261
Line_1 | 0.42411 | 2.8522 | 2.765 | 0.4225 | 2.8519 | 2.7659 | 4.8972 | 32.9345 | 31.9278 | 4.8786 | 32.9311 | 31.938 | 1.1249 | -1.0074e-10 | -4.0618e-11 | -1.1698 | 11.3896 | 5.8792 | -5.9669 | -6.3621e-11 | -1.0946e-10 | 5.3941 | 1.4785 | 8.6764 | 83.6518 | 20.4305 | -137.9818 | -96.4142 | -159.6028 | 42.048 |  | 1.2399 | 0 | 0 | 1.1314 | 0.34876 | 0.32816 | 4.3283 | 0 | 0 | 5.822 | -152.2066 | 97.9261
Line_2 | 0.14726 | 0.69247 | 0.42564 | 0.14636 | 0.69187 | 0.42505 | 1.7004 | 7.9959 | 4.9149 | 1.6901 | 7.989 | 4.908 | -1.4469 | 3.9809 | 1.6113 | 1.7029 | -2.4784 | -1.3905 | -0.88515 | 1.0663 | 1.6154 | 0.86969 | -1.2731 | -0.81281 | 158.5314 | -179.4696 | 67.7389 | -21.2323 | 0.60453 | -112.3827 |  | 0.99752 | 0.51542 | 0.46422 | 1.1314 | 0.34876 | 0.32816 | 9.9883 | -164.4741 | 112.8112 | 5.822 | -152.2066 | 97.9261

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.47987 | 2.2132 | 2.39 | 0.48121 | 2.2134 | 2.3895 | 5.5411 | 25.5558 | 27.5969 | 5.5565 | 25.5577 | 27.5921 | 0.75714 | 13.8004 | 10.1985 | -0.53304 | -8.9112 | -4.4887 | 6.3822 | 3.0935 | 11.2401 | -6.2638 | -0.20538 | -7.8636 | -79.3395 | -153.5617 | 37.6757 | 100.6861 | 26.4731 | -142.3551 |  | 1.1599 | 0.55341 | 0.54996 | 1.1314 | 0.34876 | 0.32816 | 3.895 | -140.9272 | 85.4574 | 5.822 | -152.2066 | 97.9261
Line_1 | 0.42411 | 2.8522 | 2.765 | 0.4225 | 2.8519 | 2.7659 | 4.8972 | 32.9345 | 31.9278 | 4.8786 | 32.9311 | 31.938 | 1.1249 | -1.0074e-10 | -4.0618e-11 | -1.1698 | 11.3896 | 5.8792 | -5.9669 | -6.3621e-11 | -1.0946e-10 | 5.3941 | 1.4785 | 8.6764 | 83.6518 | 20.4305 | -137.9818 | -96.4142 | -159.6028 | 42.048 |  | 1.2399 | 0 | 0 | 1.1314 | 0.34876 | 0.32816 | 4.3283 | 0 | 0 | 5.822 | -152.2066 | 97.9261
Line_2 | 0.14726 | 0.69247 | 0.42564 | 0.14636 | 0.69187 | 0.42505 | 1.7004 | 7.9959 | 4.9149 | 1.6901 | 7.989 | 4.908 | -1.4469 | 3.9809 | 1.6113 | 1.7029 | -2.4784 | -1.3905 | -0.88515 | 1.0663 | 1.6154 | 0.86969 | -1.2731 | -0.81281 | 158.5314 | -179.4696 | 67.7389 | -21.2323 | 0.60453 | -112.3827 |  | 0.99752 | 0.51542 | 0.46422 | 1.1314 | 0.34876 | 0.32816 | 9.9883 | -164.4741 | 112.8112 | 5.822 | -152.2066 | 97.9261

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20438 | 0.65969 | 0.71186 | 0.20494 | 0.6597 | 0.71168 | 2.36 | 7.6174 | 8.2199 | 2.3665 | 7.6176 | 8.2178 | 1.155 | 6.0499 | 4.0335 | -1.1172 | -5.6171 | -3.5221 | 2.2112 | 2.0493 | 6.0484 | -2.1924 | -1.7886 | -5.7497 | -59.9828 | -143.8 | 52.9246 | 120.0292 | 36.2491 | -127.1186 |  | 1.0571 | 0.83855 | 0.88444 | 1.0398 | 0.77387 | 0.8205 | 2.4364 | -125.0875 | 109.226 | 3.0277 | -126.088 | 111.3906
Line_1 | 0.17804 | 0.87685 | 0.81883 | 0.17736 | 0.8768 | 0.81923 | 2.0559 | 10.125 | 9.4551 | 2.0479 | 10.1244 | 9.4597 | -0.33789 | -5.8802 | -4.3143 | 0.3203 | 7.1074 | 4.799 | -2.2071 | -3.2202 | -5.1785 | 2.1052 | 3.2972 | 6.1003 | 101.7314 | 29.0705 | -120.4586 | -78.3211 | -150.9754 | 59.582 |  | 1.0861 | 0.66215 | 0.71286 | 1.0398 | 0.77387 | 0.8205 | 3.0274 | -122.223 | 109.7436 | 3.0277 | -126.088 | 111.3906
Line_2 | 0.067123 | 0.2376 | 0.14009 | 0.066766 | 0.23731 | 0.13976 | 0.77508 | 2.7436 | 1.6176 | 0.77095 | 2.7402 | 1.6138 | -0.75054 | 1.7004 | 1.328 | 0.79685 | -1.4903 | -1.2768 | -0.094103 | 1.4925 | 0.45226 | 0.08723 | -1.5086 | -0.35061 | 176.545 | -171.5211 | 96.1619 | -3.2195 | 8.5616 | -83.964 |  | 0.97593 | 0.82464 | 0.8673 | 1.0398 | 0.77387 | 0.8205 | 3.6915 | -130.2467 | 114.968 | 3.0277 | -126.088 | 111.3906

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20438 | 0.65969 | 0.71186 | 0.20494 | 0.6597 | 0.71168 | 2.36 | 7.6174 | 8.2199 | 2.3665 | 7.6176 | 8.2178 | 1.155 | 6.0499 | 4.0335 | -1.1172 | -5.6171 | -3.5221 | 2.2112 | 2.0493 | 6.0484 | -2.1924 | -1.7886 | -5.7497 | -59.9828 | -143.8 | 52.9246 | 120.0292 | 36.2491 | -127.1186 |  | 1.0571 | 0.83855 | 0.88444 | 1.0398 | 0.77387 | 0.8205 | 2.4364 | -125.0875 | 109.226 | 3.0277 | -126.088 | 111.3906
Line_1 | 0.17804 | 0.87685 | 0.81883 | 0.17736 | 0.8768 | 0.81923 | 2.0559 | 10.125 | 9.4551 | 2.0479 | 10.1244 | 9.4597 | -0.33789 | -5.8802 | -4.3143 | 0.3203 | 7.1074 | 4.799 | -2.2071 | -3.2202 | -5.1785 | 2.1052 | 3.2972 | 6.1003 | 101.7314 | 29.0705 | -120.4586 | -78.3211 | -150.9754 | 59.582 |  | 1.0861 | 0.66215 | 0.71286 | 1.0398 | 0.77387 | 0.8205 | 3.0274 | -122.223 | 109.7436 | 3.0277 | -126.088 | 111.3906
Line_2 | 0.067123 | 0.2376 | 0.14009 | 0.066766 | 0.23731 | 0.13976 | 0.77508 | 2.7436 | 1.6176 | 0.77095 | 2.7402 | 1.6138 | -0.75054 | 1.7004 | 1.328 | 0.79685 | -1.4903 | -1.2768 | -0.094103 | 1.4925 | 0.45226 | 0.08723 | -1.5086 | -0.35061 | 176.545 | -171.5211 | 96.1619 | -3.2195 | 8.5616 | -83.964 |  | 0.97593 | 0.82464 | 0.8673 | 1.0398 | 0.77387 | 0.8205 | 3.6915 | -130.2467 | 114.968 | 3.0277 | -126.088 | 111.3906