## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.664 | 0.77472 | 0.67246 | 1.6618 | 0.77672 | 0.67446 | 19.214 | 8.9456 | 7.7649 | 19.1894 | 8.9688 | 7.788 | 6.6324 | -10.0524 | 9.3355 | -4.6684 | 10.183 | -9.3484 | 5.9807 | 6.7008 | 0.68066 | -4.1685 | -6.5281 | -0.41682 | -72.0989 | 88.839 | 128.516 | 107.8999 | -91.1072 | -51.5449 |  | 0.4648 | 1.3505 | 1.2055 | 0.32615 | 1.3487 | 1.2015 | -30.0569 | -124.8479 | 132.686 | -30.3374 | -123.7704 | 131.008
Line_1 | 2.5299 | 0.58728 | 0.42662 | 2.5323 | 0.58496 | 0.42414 | 29.2127 | 6.7814 | 4.9262 | 29.2408 | 6.7546 | 4.8975 | 9.9246e-11 | 8.2348 | -5.7043 | 7.3943 | -8.5248 | 5.1485 | -9.0376e-11 | -3.9881 | -3.2358 | 6.023 | 3.2114 | 2.8499 | 110.5098 | -103.0396 | -77.98 | -69.5021 | 76.8718 | 102.042 |  | 0 | 1.3492 | 1.3313 | 0.32615 | 1.3487 | 1.2015 | 0 | -128.8804 | 131.5839 | -30.3374 | -123.7704 | 131.008
Line_2 | 0.87736 | 0.24003 | 0.35119 | 0.87544 | 0.23811 | 0.34984 | 10.1309 | 2.7717 | 4.0552 | 10.1087 | 2.7494 | 4.0396 | 4.3265 | 2.0413 | -3.6556 | -2.7259 | -1.6582 | 4.1999 | 2.9106 | -3.1693 | 2.326 | -1.8545 | 3.3167 | -2.433 | -64.5656 | -60.3657 | -19.1322 | 115.434 | 119.667 | 161.092 |  | 0.5147 | 1.3601 | 1.0685 | 0.32615 | 1.3487 | 1.2015 | -30.6358 | -117.5814 | 128.3994 | -30.3374 | -123.7704 | 131.008

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.664 | 0.77472 | 0.67246 | 1.6618 | 0.77672 | 0.67446 | 19.214 | 8.9456 | 7.7649 | 19.1894 | 8.9688 | 7.788 | 6.6324 | -10.0524 | 9.3355 | -4.6684 | 10.183 | -9.3484 | 5.9807 | 6.7008 | 0.68066 | -4.1685 | -6.5281 | -0.41682 | -72.0989 | 88.839 | 128.516 | 107.8999 | -91.1072 | -51.5449 |  | 0.4648 | 1.3505 | 1.2055 | 0.32615 | 1.3487 | 1.2015 | -30.0569 | -124.8479 | 132.686 | -30.3374 | -123.7704 | 131.008
Line_1 | 2.5299 | 0.58728 | 0.42662 | 2.5323 | 0.58496 | 0.42414 | 29.2127 | 6.7814 | 4.9262 | 29.2408 | 6.7546 | 4.8975 | 9.9246e-11 | 8.2348 | -5.7043 | 7.3943 | -8.5248 | 5.1485 | -9.0376e-11 | -3.9881 | -3.2358 | 6.023 | 3.2114 | 2.8499 | 110.5098 | -103.0396 | -77.98 | -69.5021 | 76.8718 | 102.042 |  | 0 | 1.3492 | 1.3313 | 0.32615 | 1.3487 | 1.2015 | 0 | -128.8804 | 131.5839 | -30.3374 | -123.7704 | 131.008
Line_2 | 0.87736 | 0.24003 | 0.35119 | 0.87544 | 0.23811 | 0.34984 | 10.1309 | 2.7717 | 4.0552 | 10.1087 | 2.7494 | 4.0396 | 4.3265 | 2.0413 | -3.6556 | -2.7259 | -1.6582 | 4.1999 | 2.9106 | -3.1693 | 2.326 | -1.8545 | 3.3167 | -2.433 | -64.5656 | -60.3657 | -19.1322 | 115.434 | 119.667 | 161.092 |  | 0.5147 | 1.3601 | 1.0685 | 0.32615 | 1.3487 | 1.2015 | -30.6358 | -117.5814 | 128.3994 | -30.3374 | -123.7704 | 131.008

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4446 | 0.19501 | 0.33433 | 0.44387 | 0.1954 | 0.33483 | 5.1338 | 2.2517 | 3.8605 | 5.1254 | 2.2562 | 3.8663 | 4.1552 | -2.711 | 2.7761 | -3.9965 | 2.729 | -2.7607 | 2.5188 | 0.52574 | -3.3698 | -2.391 | -0.53451 | 3.4551 | -40.7109 | 70.6519 | 175.4075 | 139.3066 | -109.1651 | -4.6843 |  | 0.94647 | 1.2264 | 1.1309 | 0.90863 | 1.2325 | 1.1439 | -9.4872 | -120.3234 | 124.8894 | -9.8026 | -120.247 | 123.9422
Line_1 | 0.80346 | 0.18206 | 0.15797 | 0.80429 | 0.18146 | 0.15726 | 9.2775 | 2.1023 | 1.8241 | 9.2871 | 2.0953 | 1.8159 | -5.9453 | 2.5358 | -1.9084 | 6.7442 | -2.5191 | 1.8106 | -4.4614 | -0.67456 | 1.0211 | 5.0719 | 0.56859 | -1.0181 | 133.2687 | -107.3344 | -26.8883 | -46.7474 | 72.4721 | 153.2917 |  | 0.80119 | 1.2482 | 1.1866 | 0.90863 | 1.2325 | 1.1439 | -9.8465 | -122.231 | 124.9636 | -9.8026 | -120.247 | 123.9422
Line_2 | 0.36655 | 0.015015 | 0.19839 | 0.36589 | 0.014941 | 0.19803 | 4.2326 | 0.17338 | 2.2908 | 4.225 | 0.17252 | 2.2867 | 2.9795 | 0.20981 | -0.84853 | -2.7477 | -0.20989 | 0.95017 | 2.8774 | 0.032501 | 2.4087 | -2.681 | -0.034075 | -2.4369 | -54.0808 | -126.9355 | 12.4795 | 125.902 | 50.5318 | -167.3588 |  | 0.97862 | 1.2246 | 1.1148 | 0.90863 | 1.2325 | 1.1439 | -10.0801 | -118.13 | 121.8855 | -9.8026 | -120.247 | 123.9422

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4446 | 0.19501 | 0.33433 | 0.44387 | 0.1954 | 0.33483 | 5.1338 | 2.2517 | 3.8605 | 5.1254 | 2.2562 | 3.8663 | 4.1552 | -2.711 | 2.7761 | -3.9965 | 2.729 | -2.7607 | 2.5188 | 0.52574 | -3.3698 | -2.391 | -0.53451 | 3.4551 | -40.7109 | 70.6519 | 175.4075 | 139.3066 | -109.1651 | -4.6843 |  | 0.94647 | 1.2264 | 1.1309 | 0.90863 | 1.2325 | 1.1439 | -9.4872 | -120.3234 | 124.8894 | -9.8026 | -120.247 | 123.9422
Line_1 | 0.80346 | 0.18206 | 0.15797 | 0.80429 | 0.18146 | 0.15726 | 9.2775 | 2.1023 | 1.8241 | 9.2871 | 2.0953 | 1.8159 | -5.9453 | 2.5358 | -1.9084 | 6.7442 | -2.5191 | 1.8106 | -4.4614 | -0.67456 | 1.0211 | 5.0719 | 0.56859 | -1.0181 | 133.2687 | -107.3344 | -26.8883 | -46.7474 | 72.4721 | 153.2917 |  | 0.80119 | 1.2482 | 1.1866 | 0.90863 | 1.2325 | 1.1439 | -9.8465 | -122.231 | 124.9636 | -9.8026 | -120.247 | 123.9422
Line_2 | 0.36655 | 0.015015 | 0.19839 | 0.36589 | 0.014941 | 0.19803 | 4.2326 | 0.17338 | 2.2908 | 4.225 | 0.17252 | 2.2867 | 2.9795 | 0.20981 | -0.84853 | -2.7477 | -0.20989 | 0.95017 | 2.8774 | 0.032501 | 2.4087 | -2.681 | -0.034075 | -2.4369 | -54.0808 | -126.9355 | 12.4795 | 125.902 | 50.5318 | -167.3588 |  | 0.97862 | 1.2246 | 1.1148 | 0.90863 | 1.2325 | 1.1439 | -10.0801 | -118.13 | 121.8855 | -9.8026 | -120.247 | 123.9422

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4118 | 0.65052 | 0.55036 | 1.4103 | 0.65202 | 0.55187 | 16.3021 | 7.5115 | 6.355 | 16.2847 | 7.5289 | 6.3724 | 7.7491 | -4.8301 | 6.2545 | -5.1565 | 4.9928 | -6.2041 | 4.9958 | 7.1413 | 1.0103 | -3.6784 | -6.9912 | -0.87645 | -62.2958 | 113.6871 | 120.5842 | 117.7035 | -66.302 | -59.4217 |  | 0.56556 | 1.1478 | 0.99694 | 0.38896 | 1.1411 | 0.98325 | -29.486 | -122.2399 | 129.7597 | -26.7944 | -120.769 | 128.6193
Line_1 | 1.9333 | 0.55994 | 0.4885 | 1.9352 | 0.55799 | 0.48653 | 22.3243 | 6.4656 | 5.6407 | 22.3458 | 6.4431 | 5.618 | -4.4336e-11 | 5.7622 | -5.0901 | 7.389 | -6.0507 | 4.7125 | 6.1455e-12 | -5.1058 | -3.6747 | 4.5768 | 4.1764 | 2.8819 | 121.4502 | -86.1239 | -82.8066 | -58.5688 | 93.8458 | 97.1721 |  | 0 | 1.1907 | 1.113 | 0.38896 | 1.1411 | 0.98325 | 0 | -127.6676 | 133.0202 | -26.7944 | -120.769 | 128.6193
Line_2 | 0.53703 | 0.22915 | 0.22088 | 0.5358 | 0.22822 | 0.22013 | 6.2011 | 2.646 | 2.5505 | 6.1869 | 2.6352 | 2.5419 | 3.4101 | -0.57805 | -1.0745 | -2.2324 | 1.0578 | 1.4916 | 1.5458 | -2.8743 | 1.8782 | -0.89839 | 2.8148 | -2.0054 | -48.7201 | -10.3725 | 1.7246 | 131.2846 | 169.8275 | -178.0217 |  | 0.60378 | 1.108 | 0.8484 | 0.38896 | 1.1411 | 0.98325 | -24.3358 | -111.7435 | 121.4973 | -26.7944 | -120.769 | 128.6193

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4118 | 0.65052 | 0.55036 | 1.4103 | 0.65202 | 0.55187 | 16.3021 | 7.5115 | 6.355 | 16.2847 | 7.5289 | 6.3724 | 7.7491 | -4.8301 | 6.2545 | -5.1565 | 4.9928 | -6.2041 | 4.9958 | 7.1413 | 1.0103 | -3.6784 | -6.9912 | -0.87645 | -62.2958 | 113.6871 | 120.5842 | 117.7035 | -66.302 | -59.4217 |  | 0.56556 | 1.1478 | 0.99694 | 0.38896 | 1.1411 | 0.98325 | -29.486 | -122.2399 | 129.7597 | -26.7944 | -120.769 | 128.6193
Line_1 | 1.9333 | 0.55994 | 0.4885 | 1.9352 | 0.55799 | 0.48653 | 22.3243 | 6.4656 | 5.6407 | 22.3458 | 6.4431 | 5.618 | -4.4336e-11 | 5.7622 | -5.0901 | 7.389 | -6.0507 | 4.7125 | 6.1455e-12 | -5.1058 | -3.6747 | 4.5768 | 4.1764 | 2.8819 | 121.4502 | -86.1239 | -82.8066 | -58.5688 | 93.8458 | 97.1721 |  | 0 | 1.1907 | 1.113 | 0.38896 | 1.1411 | 0.98325 | 0 | -127.6676 | 133.0202 | -26.7944 | -120.769 | 128.6193
Line_2 | 0.53703 | 0.22915 | 0.22088 | 0.5358 | 0.22822 | 0.22013 | 6.2011 | 2.646 | 2.5505 | 6.1869 | 2.6352 | 2.5419 | 3.4101 | -0.57805 | -1.0745 | -2.2324 | 1.0578 | 1.4916 | 1.5458 | -2.8743 | 1.8782 | -0.89839 | 2.8148 | -2.0054 | -48.7201 | -10.3725 | 1.7246 | 131.2846 | 169.8275 | -178.0217 |  | 0.60378 | 1.108 | 0.8484 | 0.38896 | 1.1411 | 0.98325 | -24.3358 | -111.7435 | 121.4973 | -26.7944 | -120.769 | 128.6193

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51133 | 0.23561 | 0.19933 | 0.51079 | 0.23615 | 0.19988 | 5.9044 | 2.7206 | 2.3017 | 5.8981 | 2.7268 | 2.308 | 4.0312 | -1.0363 | 2.2033 | -3.6878 | 1.0583 | -2.2005 | 3.0968 | 2.6783 | -0.4796 | -2.9215 | -2.6627 | 0.49869 | -47.2372 | 128.7457 | 135.6428 | 132.7621 | -51.2434 | -44.3631 |  | 0.86095 | 1.0556 | 0.97967 | 0.79768 | 1.0508 | 0.97762 | -9.705 | -120.1014 | 123.3625 | -8.8522 | -119.5688 | 122.8681
Line_1 | 0.70023 | 0.2028 | 0.17693 | 0.7009 | 0.2021 | 0.17621 | 8.0855 | 2.3418 | 2.043 | 8.0933 | 2.3336 | 2.0347 | -4.3379 | 1.59 | -2.0099 | 5.3104 | -1.6257 | 1.955 | -3.0666 | -1.9626 | -0.47065 | 3.6713 | 1.8357 | 0.36719 | 136.5088 | -71.0653 | -67.748 | -43.5102 | 108.9044 | 112.2307 |  | 0.65703 | 1.0786 | 1.0104 | 0.79768 | 1.0508 | 0.97762 | -8.2341 | -122.0519 | 125.4311 | -8.8522 | -119.5688 | 122.8681
Line_2 | 0.1945 | 0.082996 | 0.079999 | 0.19406 | 0.082658 | 0.079729 | 2.2459 | 0.95836 | 0.92375 | 2.2408 | 0.95445 | 0.92063 | 1.78 | -0.50462 | -0.19366 | -1.6225 | 0.5674 | 0.24553 | 0.83636 | -0.83815 | 0.85101 | -0.74988 | 0.82697 | -0.86588 | -33.6615 | 4.6861 | 16.7832 | 146.3432 | -175.1139 | -162.9631 |  | 0.87568 | 1.0208 | 0.94481 | 0.79768 | 1.0508 | 0.97762 | -8.4946 | -116.3643 | 119.6034 | -8.8522 | -119.5688 | 122.8681

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51133 | 0.23561 | 0.19933 | 0.51079 | 0.23615 | 0.19988 | 5.9044 | 2.7206 | 2.3017 | 5.8981 | 2.7268 | 2.308 | 4.0312 | -1.0363 | 2.2033 | -3.6878 | 1.0583 | -2.2005 | 3.0968 | 2.6783 | -0.4796 | -2.9215 | -2.6627 | 0.49869 | -47.2372 | 128.7457 | 135.6428 | 132.7621 | -51.2434 | -44.3631 |  | 0.86095 | 1.0556 | 0.97967 | 0.79768 | 1.0508 | 0.97762 | -9.705 | -120.1014 | 123.3625 | -8.8522 | -119.5688 | 122.8681
Line_1 | 0.70023 | 0.2028 | 0.17693 | 0.7009 | 0.2021 | 0.17621 | 8.0855 | 2.3418 | 2.043 | 8.0933 | 2.3336 | 2.0347 | -4.3379 | 1.59 | -2.0099 | 5.3104 | -1.6257 | 1.955 | -3.0666 | -1.9626 | -0.47065 | 3.6713 | 1.8357 | 0.36719 | 136.5088 | -71.0653 | -67.748 | -43.5102 | 108.9044 | 112.2307 |  | 0.65703 | 1.0786 | 1.0104 | 0.79768 | 1.0508 | 0.97762 | -8.2341 | -122.0519 | 125.4311 | -8.8522 | -119.5688 | 122.8681
Line_2 | 0.1945 | 0.082996 | 0.079999 | 0.19406 | 0.082658 | 0.079729 | 2.2459 | 0.95836 | 0.92375 | 2.2408 | 0.95445 | 0.92063 | 1.78 | -0.50462 | -0.19366 | -1.6225 | 0.5674 | 0.24553 | 0.83636 | -0.83815 | 0.85101 | -0.74988 | 0.82697 | -0.86588 | -33.6615 | 4.6861 | 16.7832 | 146.3432 | -175.1139 | -162.9631 |  | 0.87568 | 1.0208 | 0.94481 | 0.79768 | 1.0508 | 0.97762 | -8.4946 | -116.3643 | 119.6034 | -8.8522 | -119.5688 | 122.8681

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3661 | 2.8207 | 2.9505 | 0.36771 | 2.8205 | 2.9503 | 4.2274 | 32.5709 | 34.0695 | 4.2459 | 32.5686 | 34.0676 | -0.89757 | 13.0781 | 7.1062 | 0.88587 | -8.632 | -2.7428 | 5.597 | 6.037 | 16.6581 | -5.6087 | -2.0327 | -10.7451 | -93.4405 | -166.6169 | 25.0461 | 86.6673 | 13.4184 | -154.9878 |  | 1.3409 | 0.44224 | 0.53158 | 1.3373 | 0.27229 | 0.32552 | 5.6703 | -141.8383 | 91.9435 | 5.6428 | -153.331 | 100.6929
Line_1 | 0.34071 | 3.6737 | 3.5243 | 0.33897 | 3.6738 | 3.5251 | 3.9342 | 42.4199 | 40.6954 | 3.9141 | 42.421 | 40.7045 | 2.3811 | 8.946e-11 | 1.0817e-10 | -2.4748 | 10.8453 | 4.7749 | -5.0656 | -7.3913e-11 | -1.0406e-11 | 4.6125 | 3.9749 | 12.3598 | 67.6085 | 6.5724 | -148.2149 | -112.5729 | -173.4595 | 31.8158 |  | 1.4227 | 0 | 0 | 1.3373 | 0.27229 | 0.32552 | 2.7845 | 0 | 0 | 5.6428 | -153.331 | 100.6929
Line_2 | 0.12272 | 0.93761 | 0.69146 | 0.12145 | 0.93657 | 0.69053 | 1.417 | 10.8266 | 7.9842 | 1.4024 | 10.8145 | 7.9736 | -1.4387 | 3.7554 | 2.4267 | 1.5889 | -2.2133 | -2.0322 | -1.0371 | 2.0204 | 2.7486 | 0.9962 | -1.9423 | -1.6147 | 153.1119 | 165.3275 | 62.3303 | -26.4433 | -14.5996 | -117.7764 |  | 1.2516 | 0.39388 | 0.45923 | 1.3373 | 0.27229 | 0.32552 | 8.8978 | -166.3917 | 110.8902 | 5.6428 | -153.331 | 100.6929

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3661 | 2.8207 | 2.9505 | 0.36771 | 2.8205 | 2.9503 | 4.2274 | 32.5709 | 34.0695 | 4.2459 | 32.5686 | 34.0676 | -0.89757 | 13.0781 | 7.1062 | 0.88587 | -8.632 | -2.7428 | 5.597 | 6.037 | 16.6581 | -5.6087 | -2.0327 | -10.7451 | -93.4405 | -166.6169 | 25.0461 | 86.6673 | 13.4184 | -154.9878 |  | 1.3409 | 0.44224 | 0.53158 | 1.3373 | 0.27229 | 0.32552 | 5.6703 | -141.8383 | 91.9435 | 5.6428 | -153.331 | 100.6929
Line_1 | 0.34071 | 3.6737 | 3.5243 | 0.33897 | 3.6738 | 3.5251 | 3.9342 | 42.4199 | 40.6954 | 3.9141 | 42.421 | 40.7045 | 2.3811 | 8.946e-11 | 1.0817e-10 | -2.4748 | 10.8453 | 4.7749 | -5.0656 | -7.3913e-11 | -1.0406e-11 | 4.6125 | 3.9749 | 12.3598 | 67.6085 | 6.5724 | -148.2149 | -112.5729 | -173.4595 | 31.8158 |  | 1.4227 | 0 | 0 | 1.3373 | 0.27229 | 0.32552 | 2.7845 | 0 | 0 | 5.6428 | -153.331 | 100.6929
Line_2 | 0.12272 | 0.93761 | 0.69146 | 0.12145 | 0.93657 | 0.69053 | 1.417 | 10.8266 | 7.9842 | 1.4024 | 10.8145 | 7.9736 | -1.4387 | 3.7554 | 2.4267 | 1.5889 | -2.2133 | -2.0322 | -1.0371 | 2.0204 | 2.7486 | 0.9962 | -1.9423 | -1.6147 | 153.1119 | 165.3275 | 62.3303 | -26.4433 | -14.5996 | -117.7764 |  | 1.2516 | 0.39388 | 0.45923 | 1.3373 | 0.27229 | 0.32552 | 8.8978 | -166.3917 | 110.8902 | 5.6428 | -153.331 | 100.6929

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.04419 | 0.70049 | 0.67183 | 0.044397 | 0.70053 | 0.67167 | 0.51026 | 8.0885 | 7.7576 | 0.51265 | 8.089 | 7.7557 | 0.58888 | 7.3252 | 3.9964 | -0.59592 | -7.0545 | -3.7594 | -0.1766 | 1.7503 | 6.7272 | 0.17367 | -1.5259 | -6.3923 | 20.2354 | -138.7056 | 50.9978 | -160.6093 | 41.3504 | -129.059 |  | 1.2049 | 0.93112 | 1.0087 | 1.2108 | 0.89227 | 0.95617 | 3.5422 | -125.2673 | 110.2846 | 3.1429 | -126.4446 | 110.4807
Line_1 | 0.058875 | 0.99383 | 0.93666 | 0.058263 | 0.99386 | 0.93708 | 0.67983 | 11.4757 | 10.8157 | 0.67277 | 11.4761 | 10.8205 | 0.22705 | -8.047 | -5.9821 | -0.23512 | 8.959 | 6.3548 | -0.8224 | -4.795 | -7.1036 | 0.7799 | 4.9588 | 8.1647 | 76.8719 | 24.637 | -121.6668 | -103.6341 | -155.4091 | 58.375 |  | 1.255 | 0.81627 | 0.85865 | 1.2108 | 0.89227 | 0.95617 | 2.3055 | -124.5736 | 108.2317 | 3.1429 | -126.4446 | 110.4807
Line_2 | 0.090389 | 0.38152 | 0.28498 | 0.090472 | 0.38103 | 0.28465 | 1.0437 | 4.4054 | 3.2907 | 1.0447 | 4.3998 | 3.2869 | -0.81813 | 2.1619 | 2.6576 | 0.83104 | -1.9045 | -2.5954 | 0.90998 | 3.4865 | 1.9565 | -0.95357 | -3.4329 | -1.7724 | -128.3188 | 172.5179 | 76.2566 | 52.0706 | -7.4243 | -103.8492 |  | 1.1724 | 0.93122 | 1.0029 | 1.2108 | 0.89227 | 0.95617 | 3.6391 | -129.2847 | 112.6159 | 3.1429 | -126.4446 | 110.4807

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.04419 | 0.70049 | 0.67183 | 0.044397 | 0.70053 | 0.67167 | 0.51026 | 8.0885 | 7.7576 | 0.51265 | 8.089 | 7.7557 | 0.58888 | 7.3252 | 3.9964 | -0.59592 | -7.0545 | -3.7594 | -0.1766 | 1.7503 | 6.7272 | 0.17367 | -1.5259 | -6.3923 | 20.2354 | -138.7056 | 50.9978 | -160.6093 | 41.3504 | -129.059 |  | 1.2049 | 0.93112 | 1.0087 | 1.2108 | 0.89227 | 0.95617 | 3.5422 | -125.2673 | 110.2846 | 3.1429 | -126.4446 | 110.4807
Line_1 | 0.058875 | 0.99383 | 0.93666 | 0.058263 | 0.99386 | 0.93708 | 0.67983 | 11.4757 | 10.8157 | 0.67277 | 11.4761 | 10.8205 | 0.22705 | -8.047 | -5.9821 | -0.23512 | 8.959 | 6.3548 | -0.8224 | -4.795 | -7.1036 | 0.7799 | 4.9588 | 8.1647 | 76.8719 | 24.637 | -121.6668 | -103.6341 | -155.4091 | 58.375 |  | 1.255 | 0.81627 | 0.85865 | 1.2108 | 0.89227 | 0.95617 | 2.3055 | -124.5736 | 108.2317 | 3.1429 | -126.4446 | 110.4807
Line_2 | 0.090389 | 0.38152 | 0.28498 | 0.090472 | 0.38103 | 0.28465 | 1.0437 | 4.4054 | 3.2907 | 1.0447 | 4.3998 | 3.2869 | -0.81813 | 2.1619 | 2.6576 | 0.83104 | -1.9045 | -2.5954 | 0.90998 | 3.4865 | 1.9565 | -0.95357 | -3.4329 | -1.7724 | -128.3188 | 172.5179 | 76.2566 | 52.0706 | -7.4243 | -103.8492 |  | 1.1724 | 0.93122 | 1.0029 | 1.2108 | 0.89227 | 0.95617 | 3.6391 | -129.2847 | 112.6159 | 3.1429 | -126.4446 | 110.4807

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44133 | 2.2247 | 2.3934 | 0.44251 | 2.2246 | 2.3931 | 5.096 | 25.6881 | 27.6365 | 5.1096 | 25.6874 | 27.6336 | 0.4011 | 14.4308 | 10.2144 | -0.34887 | -9.2816 | -4.4995 | 5.657 | 2.1286 | 12.5965 | -5.6357 | 0.029489 | -8.3633 | -80.159 | -155.2728 | 39.279 | 99.8901 | 24.7592 | -140.7501 |  | 1.1129 | 0.56785 | 0.58681 | 1.1051 | 0.36133 | 0.34367 | 5.7852 | -146.882 | 90.2407 | 6.3478 | -155.4229 | 100.9692
Line_1 | 0.41446 | 2.8743 | 2.7609 | 0.41293 | 2.8741 | 2.7618 | 4.7858 | 33.1899 | 31.8802 | 4.768 | 33.1873 | 31.89 | 1.1618 | -1.0147e-10 | -4.3285e-11 | -1.2445 | 11.9454 | 5.8211 | -5.7644 | -6.5478e-11 | -1.0888e-10 | 5.12 | 1.0508 | 9.2859 | 82.7593 | 19.5819 | -136.9768 | -97.3138 | -160.4502 | 43.052 |  | 1.2287 | 0 | 0 | 1.1051 | 0.36133 | 0.34367 | 4.1547 | 0 | 0 | 6.3478 | -155.4229 | 100.9692
Line_2 | 0.13202 | 0.68957 | 0.40663 | 0.13125 | 0.68897 | 0.40616 | 1.5245 | 7.9624 | 4.6954 | 1.5155 | 7.9556 | 4.69 | -1.3823 | 4.1114 | 1.4626 | 1.5934 | -2.6639 | -1.3216 | -0.54966 | 0.93799 | 1.6436 | 0.51577 | -1.0803 | -0.92263 | 168.1291 | -177.5658 | 66.1766 | -11.5889 | 2.5023 | -113.9497 |  | 0.97581 | 0.52961 | 0.46857 | 1.1051 | 0.36133 | 0.34367 | 9.8136 | -164.7141 | 114.5128 | 6.3478 | -155.4229 | 100.9692

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44133 | 2.2247 | 2.3934 | 0.44251 | 2.2246 | 2.3931 | 5.096 | 25.6881 | 27.6365 | 5.1096 | 25.6874 | 27.6336 | 0.4011 | 14.4308 | 10.2144 | -0.34887 | -9.2816 | -4.4995 | 5.657 | 2.1286 | 12.5965 | -5.6357 | 0.029489 | -8.3633 | -80.159 | -155.2728 | 39.279 | 99.8901 | 24.7592 | -140.7501 |  | 1.1129 | 0.56785 | 0.58681 | 1.1051 | 0.36133 | 0.34367 | 5.7852 | -146.882 | 90.2407 | 6.3478 | -155.4229 | 100.9692
Line_1 | 0.41446 | 2.8743 | 2.7609 | 0.41293 | 2.8741 | 2.7618 | 4.7858 | 33.1899 | 31.8802 | 4.768 | 33.1873 | 31.89 | 1.1618 | -1.0147e-10 | -4.3285e-11 | -1.2445 | 11.9454 | 5.8211 | -5.7644 | -6.5478e-11 | -1.0888e-10 | 5.12 | 1.0508 | 9.2859 | 82.7593 | 19.5819 | -136.9768 | -97.3138 | -160.4502 | 43.052 |  | 1.2287 | 0 | 0 | 1.1051 | 0.36133 | 0.34367 | 4.1547 | 0 | 0 | 6.3478 | -155.4229 | 100.9692
Line_2 | 0.13202 | 0.68957 | 0.40663 | 0.13125 | 0.68897 | 0.40616 | 1.5245 | 7.9624 | 4.6954 | 1.5155 | 7.9556 | 4.69 | -1.3823 | 4.1114 | 1.4626 | 1.5934 | -2.6639 | -1.3216 | -0.54966 | 0.93799 | 1.6436 | 0.51577 | -1.0803 | -0.92263 | 168.1291 | -177.5658 | 66.1766 | -11.5889 | 2.5023 | -113.9497 |  | 0.97581 | 0.52961 | 0.46857 | 1.1051 | 0.36133 | 0.34367 | 9.8136 | -164.7141 | 114.5128 | 6.3478 | -155.4229 | 100.9692

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18393 | 0.66559 | 0.71406 | 0.18442 | 0.66552 | 0.71395 | 2.1238 | 7.6855 | 8.2453 | 2.1295 | 7.6847 | 8.244 | 0.96308 | 6.1415 | 4.1948 | -0.95742 | -5.6669 | -3.6796 | 1.9719 | 2.1348 | 6.1242 | -1.968 | -1.9604 | -5.7206 | -61.0849 | -145.905 | 54.9093 | 118.9503 | 34.1384 | -125.1304 |  | 1.0333 | 0.846 | 0.90028 | 1.0277 | 0.7803 | 0.82507 | 2.8836 | -126.7371 | 110.5 | 3.0079 | -126.7789 | 112.1198
Line_1 | 0.17013 | 0.88393 | 0.8193 | 0.16949 | 0.88391 | 0.81967 | 1.9645 | 10.2068 | 9.4604 | 1.9571 | 10.2065 | 9.4648 | -0.27722 | -5.93 | -4.365 | 0.25358 | 7.2169 | 4.8578 | -2.1045 | -3.3367 | -5.1254 | 1.9952 | 3.3679 | 6.1143 | 100.3112 | 28.2471 | -119.4517 | -79.749 | -151.796 | 60.5865 |  | 1.0806 | 0.66664 | 0.71162 | 1.0277 | 0.7803 | 0.82507 | 2.8072 | -122.3873 | 110.1296 | 3.0079 | -126.7789 | 112.1198
Line_2 | 0.05966 | 0.23265 | 0.13065 | 0.059355 | 0.23237 | 0.13038 | 0.68889 | 2.6864 | 1.5087 | 0.68537 | 2.6832 | 1.5055 | -0.66728 | 1.7434 | 1.2141 | 0.70384 | -1.55 | -1.1781 | 0.018285 | 1.3978 | 0.48255 | -0.027222 | -1.4075 | -0.39366 | -175.0464 | -169.0959 | 93.78 | 5.2228 | 10.9803 | -86.3569 |  | 0.96898 | 0.83181 | 0.866 | 1.0277 | 0.7803 | 0.82507 | 3.384 | -130.3734 | 115.4552 | 3.0079 | -126.7789 | 112.1198

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18393 | 0.66559 | 0.71406 | 0.18442 | 0.66552 | 0.71395 | 2.1238 | 7.6855 | 8.2453 | 2.1295 | 7.6847 | 8.244 | 0.96308 | 6.1415 | 4.1948 | -0.95742 | -5.6669 | -3.6796 | 1.9719 | 2.1348 | 6.1242 | -1.968 | -1.9604 | -5.7206 | -61.0849 | -145.905 | 54.9093 | 118.9503 | 34.1384 | -125.1304 |  | 1.0333 | 0.846 | 0.90028 | 1.0277 | 0.7803 | 0.82507 | 2.8836 | -126.7371 | 110.5 | 3.0079 | -126.7789 | 112.1198
Line_1 | 0.17013 | 0.88393 | 0.8193 | 0.16949 | 0.88391 | 0.81967 | 1.9645 | 10.2068 | 9.4604 | 1.9571 | 10.2065 | 9.4648 | -0.27722 | -5.93 | -4.365 | 0.25358 | 7.2169 | 4.8578 | -2.1045 | -3.3367 | -5.1254 | 1.9952 | 3.3679 | 6.1143 | 100.3112 | 28.2471 | -119.4517 | -79.749 | -151.796 | 60.5865 |  | 1.0806 | 0.66664 | 0.71162 | 1.0277 | 0.7803 | 0.82507 | 2.8072 | -122.3873 | 110.1296 | 3.0079 | -126.7789 | 112.1198
Line_2 | 0.05966 | 0.23265 | 0.13065 | 0.059355 | 0.23237 | 0.13038 | 0.68889 | 2.6864 | 1.5087 | 0.68537 | 2.6832 | 1.5055 | -0.66728 | 1.7434 | 1.2141 | 0.70384 | -1.55 | -1.1781 | 0.018285 | 1.3978 | 0.48255 | -0.027222 | -1.4075 | -0.39366 | -175.0464 | -169.0959 | 93.78 | 5.2228 | 10.9803 | -86.3569 |  | 0.96898 | 0.83181 | 0.866 | 1.0277 | 0.7803 | 0.82507 | 3.384 | -130.3734 | 115.4552 | 3.0079 | -126.7789 | 112.1198