## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -2.0843e-14 | 27.4008 | -8.7391 | 1.0421e-14 | -22.7354 | 13.4045 | -1.5632e-14 | 4.6417 | 16.5321 | 1.5632e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 3.7551e-13 | -152.1736 | 136.0734 | 3.5822e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -2.0843e-14 | -18.0699 | 18.0699 | 1.5632e-14 | 22.7354 | -13.4045 | 2.6053e-14 | 5.9452 | -5.9452 | -2.6053e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 3.5619e-13 | 180 | -180 | 3.5822e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.4052e-10 | 6.6441e-10 | -5.2106e-15 | -3.4051e-10 | -6.6442e-10 | -6.5288e-29 | -1.8234e-09 | 1.2624e-09 | -3.2577e-29 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 3.5895e-13 | -163.4303 | 158.2346 | 3.5822e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -2.0843e-14 | 27.4008 | -8.7391 | 1.0421e-14 | -22.7354 | 13.4045 | -1.5632e-14 | 4.6417 | 16.5321 | 1.5632e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 3.7551e-13 | -152.1736 | 136.0734 | 3.5822e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -2.0843e-14 | -18.0699 | 18.0699 | 1.5632e-14 | 22.7354 | -13.4045 | 2.6053e-14 | 5.9452 | -5.9452 | -2.6053e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 3.5619e-13 | 180 | -180 | 3.5822e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.4052e-10 | 6.6441e-10 | -5.2106e-15 | -3.4051e-10 | -6.6442e-10 | -6.5288e-29 | -1.8234e-09 | 1.2624e-09 | -3.2577e-29 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 3.5895e-13 | -163.4303 | 158.2346 | 3.5822e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | 17.2205 | 0.20321 | -2.6053e-15 | -15.9408 | 1.0765 | -1.3027e-14 | 3.8735 | 14.2393 | 7.816e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 9.3938e-14 | -135.9762 | 120.5292 | 8.2283e-14 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | -14.6611 | 2.3562 | -2.6053e-15 | 15.9408 | -1.0765 | 7.816e-15 | -0.96958 | -11.3353 | -1.0421e-14 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 8.0114e-14 | -144.8696 | 133.0893 | 8.2283e-14 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.6819e-10 | 1.0007e-09 | 0 | -4.6818e-10 | -1.0007e-09 | -2.6053e-15 | -1.2288e-09 | 3.0655e-10 | 0 | 1.2288e-09 | -3.0655e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 8.2995e-14 | -140.0155 | 126.1589 | 8.2283e-14 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | 17.2205 | 0.20321 | -2.6053e-15 | -15.9408 | 1.0765 | -1.3027e-14 | 3.8735 | 14.2393 | 7.816e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 9.3938e-14 | -135.9762 | 120.5292 | 8.2283e-14 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | -14.6611 | 2.3562 | -2.6053e-15 | 15.9408 | -1.0765 | 7.816e-15 | -0.96958 | -11.3353 | -1.0421e-14 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 8.0114e-14 | -144.8696 | 133.0893 | 8.2283e-14 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.6819e-10 | 1.0007e-09 | 0 | -4.6818e-10 | -1.0007e-09 | -2.6053e-15 | -1.2288e-09 | 3.0655e-10 | 0 | 1.2288e-09 | -3.0655e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 8.2995e-14 | -140.0155 | 126.1589 | 8.2283e-14 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -7.1054e-15 | 23.4155 | -0.45749 | 4.737e-15 | -17.676 | 6.197 | 7.1054e-15 | -0.22679 | 13.7937 | -7.1054e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 3.9282e-13 | -150.1294 | 122.3252 | 4.4229e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | 1.1842e-15 | 17.676 | -6.197 | -4.737e-15 | 7.0103 | -7.0103 | 9.1417e-30 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.3608e-13 | -180 | 180 | 4.4229e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.4222e-10 | 6.7019e-10 | -1.1842e-15 | -2.4222e-10 | -6.7019e-10 | 4.737e-15 | -1.5722e-09 | 8.3093e-10 | -4.737e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.2792e-13 | -161.1438 | 151.2099 | 4.4229e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -7.1054e-15 | 23.4155 | -0.45749 | 4.737e-15 | -17.676 | 6.197 | 7.1054e-15 | -0.22679 | 13.7937 | -7.1054e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 3.9282e-13 | -150.1294 | 122.3252 | 4.4229e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | 1.1842e-15 | 17.676 | -6.197 | -4.737e-15 | 7.0103 | -7.0103 | 9.1417e-30 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.3608e-13 | -180 | 180 | 4.4229e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.4222e-10 | 6.7019e-10 | -1.1842e-15 | -2.4222e-10 | -6.7019e-10 | 4.737e-15 | -1.5722e-09 | 8.3093e-10 | -4.737e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.2792e-13 | -161.1438 | 151.2099 | 4.4229e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -7.1054e-15 | 13.7181 | 1.6719 | 5.9212e-15 | -12.0096 | 0.036546 | 2.3685e-15 | 1.7406 | 10.8539 | -4.737e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.5193e-13 | -135.6599 | 118.3519 | 2.7729e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.1842e-15 | -10.3011 | 1.745 | 0 | 12.0096 | -0.036546 | -5.6186e-30 | 0.27863 | -8.8347 | 0 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.7184e-13 | -144.4405 | 138.2821 | 2.7729e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.2827e-10 | 8.1277e-10 | -1.7764e-15 | -4.2827e-10 | -8.1277e-10 | -2.3685e-15 | -9.7052e-10 | 3.0453e-10 | 2.3685e-15 | 9.7052e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.6947e-13 | -139.408 | 127.3216 | 2.7729e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -7.1054e-15 | 13.7181 | 1.6719 | 5.9212e-15 | -12.0096 | 0.036546 | 2.3685e-15 | 1.7406 | 10.8539 | -4.737e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.5193e-13 | -135.6599 | 118.3519 | 2.7729e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.1842e-15 | -10.3011 | 1.745 | 0 | 12.0096 | -0.036546 | -5.6186e-30 | 0.27863 | -8.8347 | 0 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.7184e-13 | -144.4405 | 138.2821 | 2.7729e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.2827e-10 | 8.1277e-10 | -1.7764e-15 | -4.2827e-10 | -8.1277e-10 | -2.3685e-15 | -9.7052e-10 | 3.0453e-10 | 2.3685e-15 | 9.7052e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.6947e-13 | -139.408 | 127.3216 | 2.7729e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46942 | 0.01439 | 0.01439 | 0.46488 | 0.0096789 | 0.0096789 | 5.4204 | 0.16616 | 0.16616 | 5.368 | 0.11176 | 0.11176 | 0.69882 | 0.16063 | -0.15571 | -0.33771 | -0.10543 | 0.10742 | 0.38595 | -0.24793 | -0.23556 | -0.18946 | 0.16839 | 0.16245 | -70.7992 | -87.7622 | -87.7622 | 109.3575 | 91.5982 | 91.5982 | 0.14728 | 1.7778 | 1.6994 | 0.072136 | 1.7777 | 1.7426 | -41.8882 | -144.8233 | 148.7721 | -41.3499 | -146.3516 | 148.1235
Line_1 | 0.45567 | 0 | 0 | 0.4603 | 0.0048811 | 0.0048811 | 5.2617 | 0 | 0 | 5.3151 | 0.056362 | 0.056362 | 4.7987e-12 | -5.2579e-09 | -5.2846e-09 | 0.33496 | 0.054032 | -0.053336 | -3.9078e-12 | -3.3439e-09 | 3.3285e-09 | 0.18656 | -0.084375 | -0.082475 | 109.7287 | 0 | 0 | -70.4662 | -88.9859 | -88.9859 | 0 | 1.7792 | 1.7833 | 0.072136 | 1.7777 | 1.7426 | 0 | -147.7738 | 147.5653 | -41.3499 | -146.3516 | 148.1235
Line_2 | 0 | 0 | 0 | 0.0047983 | 0.0047983 | 0.0047983 | 0 | 0 | 0 | 0.055406 | 0.055406 | 0.055406 | 1.9838e-10 | -5.1622e-09 | -4.9414e-09 | 0.0027533 | 0.051397 | -0.054087 | -1.8917e-10 | -3.1852e-09 | 3.3128e-09 | 0.0028971 | -0.084018 | -0.07998 | 0 | 0 | 0 | -87.8076 | -87.8076 | -87.8076 | 0.071387 | 1.7775 | 1.7433 | 0.072136 | 1.7777 | 1.7426 | -41.0719 | -146.3779 | 148.1082 | -41.3499 | -146.3516 | 148.1235

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46942 | 0.01439 | 0.01439 | 0.46488 | 0.0096789 | 0.0096789 | 5.4204 | 0.16616 | 0.16616 | 5.368 | 0.11176 | 0.11176 | 0.69882 | 0.16063 | -0.15571 | -0.33771 | -0.10543 | 0.10742 | 0.38595 | -0.24793 | -0.23556 | -0.18946 | 0.16839 | 0.16245 | -70.7992 | -87.7622 | -87.7622 | 109.3575 | 91.5982 | 91.5982 | 0.14728 | 1.7778 | 1.6994 | 0.072136 | 1.7777 | 1.7426 | -41.8882 | -144.8233 | 148.7721 | -41.3499 | -146.3516 | 148.1235
Line_1 | 0.45567 | 0 | 0 | 0.4603 | 0.0048811 | 0.0048811 | 5.2617 | 0 | 0 | 5.3151 | 0.056362 | 0.056362 | 4.7987e-12 | -5.2579e-09 | -5.2846e-09 | 0.33496 | 0.054032 | -0.053336 | -3.9078e-12 | -3.3439e-09 | 3.3285e-09 | 0.18656 | -0.084375 | -0.082475 | 109.7287 | 0 | 0 | -70.4662 | -88.9859 | -88.9859 | 0 | 1.7792 | 1.7833 | 0.072136 | 1.7777 | 1.7426 | 0 | -147.7738 | 147.5653 | -41.3499 | -146.3516 | 148.1235
Line_2 | 0 | 0 | 0 | 0.0047983 | 0.0047983 | 0.0047983 | 0 | 0 | 0 | 0.055406 | 0.055406 | 0.055406 | 1.9838e-10 | -5.1622e-09 | -4.9414e-09 | 0.0027533 | 0.051397 | -0.054087 | -1.8917e-10 | -3.1852e-09 | 3.3128e-09 | 0.0028971 | -0.084018 | -0.07998 | 0 | 0 | 0 | -87.8076 | -87.8076 | -87.8076 | 0.071387 | 1.7775 | 1.7433 | 0.072136 | 1.7777 | 1.7426 | -41.0719 | -146.3779 | 148.1082 | -41.3499 | -146.3516 | 148.1235

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38036 | 0.01166 | 0.01166 | 0.37668 | 0.0078425 | 0.0078425 | 4.392 | 0.13464 | 0.13464 | 4.3495 | 0.090557 | 0.090557 | 1.1545 | 0.12181 | -0.13264 | -0.91259 | -0.080409 | 0.090971 | 0.962 | -0.18845 | -0.15598 | -0.82426 | 0.1277 | 0.10778 | -65.7651 | -82.7281 | -82.7281 | 114.3916 | 96.6323 | 96.6323 | 0.34216 | 1.6666 | 1.5208 | 0.28273 | 1.6664 | 1.5574 | -25.9614 | -139.85 | 146.8941 | -23.5196 | -141.171 | 146.4651
Line_1 | 0.36922 | 0 | 0 | 0.37297 | 0.003955 | 0.003955 | 4.2634 | 0 | 0 | 4.3066 | 0.045669 | 0.045669 | -0.68161 | -3.9778e-09 | -3.525e-09 | 0.9061 | 0.041205 | -0.045321 | -0.68161 | -2.5631e-09 | 2.8245e-09 | 0.81335 | -0.063985 | -0.054817 | 114.7628 | 0 | 0 | -65.4321 | -83.9519 | -83.9519 | 0.2261 | 1.6676 | 1.5918 | 0.28273 | 1.6664 | 1.5574 | -20.2372 | -142.4005 | 146.0998 | -23.5196 | -141.171 | 146.4651
Line_2 | 0 | 0 | 0 | 0.0038879 | 0.0038879 | 0.0038879 | 0 | 0 | 0 | 0.044893 | 0.044893 | 0.044893 | 7.523e-10 | -3.9148e-09 | -3.2746e-09 | 0.0064889 | 0.039204 | -0.04565 | -4.527e-10 | -2.4297e-09 | 2.7994e-09 | 0.010909 | -0.063718 | -0.052959 | 0 | 0 | 0 | -82.7735 | -82.7735 | -82.7735 | 0.2822 | 1.6663 | 1.558 | 0.28273 | 1.6664 | 1.5574 | -23.4367 | -141.1937 | 146.4537 | -23.5196 | -141.171 | 146.4651

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38036 | 0.01166 | 0.01166 | 0.37668 | 0.0078425 | 0.0078425 | 4.392 | 0.13464 | 0.13464 | 4.3495 | 0.090557 | 0.090557 | 1.1545 | 0.12181 | -0.13264 | -0.91259 | -0.080409 | 0.090971 | 0.962 | -0.18845 | -0.15598 | -0.82426 | 0.1277 | 0.10778 | -65.7651 | -82.7281 | -82.7281 | 114.3916 | 96.6323 | 96.6323 | 0.34216 | 1.6666 | 1.5208 | 0.28273 | 1.6664 | 1.5574 | -25.9614 | -139.85 | 146.8941 | -23.5196 | -141.171 | 146.4651
Line_1 | 0.36922 | 0 | 0 | 0.37297 | 0.003955 | 0.003955 | 4.2634 | 0 | 0 | 4.3066 | 0.045669 | 0.045669 | -0.68161 | -3.9778e-09 | -3.525e-09 | 0.9061 | 0.041205 | -0.045321 | -0.68161 | -2.5631e-09 | 2.8245e-09 | 0.81335 | -0.063985 | -0.054817 | 114.7628 | 0 | 0 | -65.4321 | -83.9519 | -83.9519 | 0.2261 | 1.6676 | 1.5918 | 0.28273 | 1.6664 | 1.5574 | -20.2372 | -142.4005 | 146.0998 | -23.5196 | -141.171 | 146.4651
Line_2 | 0 | 0 | 0 | 0.0038879 | 0.0038879 | 0.0038879 | 0 | 0 | 0 | 0.044893 | 0.044893 | 0.044893 | 7.523e-10 | -3.9148e-09 | -3.2746e-09 | 0.0064889 | 0.039204 | -0.04565 | -4.527e-10 | -2.4297e-09 | 2.7994e-09 | 0.010909 | -0.063718 | -0.052959 | 0 | 0 | 0 | -82.7735 | -82.7735 | -82.7735 | 0.2822 | 1.6663 | 1.558 | 0.28273 | 1.6664 | 1.5574 | -23.4367 | -141.1937 | 146.4537 | -23.5196 | -141.171 | 146.4651

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40912 | 0.012731 | 0.012731 | 0.40517 | 0.0086014 | 0.0086014 | 4.7241 | 0.14701 | 0.14701 | 4.6785 | 0.09932 | 0.09932 | 1.0195 | 0.13025 | -0.12337 | -0.49294 | -0.084181 | 0.087458 | 0.29126 | -0.20004 | -0.17738 | -0.1445 | 0.13683 | 0.12526 | -65.0904 | -84.8942 | -84.8942 | 115.0827 | 93.8585 | 93.8585 | 0.22444 | 1.6237 | 1.4697 | 0.10979 | 1.6175 | 1.5381 | -49.1466 | -141.8262 | 150.286 | -48.5789 | -144.5415 | 148.9349
Line_1 | 0.39717 | 0 | 0 | 0.40119 | 0.004358 | 0.004358 | 4.5861 | 0 | 0 | 4.6325 | 0.050322 | 0.050322 | -2.9182e-12 | -4.3041e-09 | -4.2264e-09 | 0.4886 | 0.04401 | -0.043051 | -5.8947e-13 | -2.6991e-09 | 2.744e-09 | 0.14131 | -0.068474 | -0.064325 | 115.5319 | 0 | 0 | -64.7093 | -87.2715 | -87.2715 | 0 | 1.6165 | 1.6033 | 0.10979 | 1.6175 | 1.5381 | 0 | -147.09 | 147.8243 | -48.5789 | -144.5415 | 148.9349
Line_2 | 0 | 0 | 0 | 0.0042451 | 0.0042451 | 0.0042451 | 0 | 0 | 0 | 0.049019 | 0.049019 | 0.049019 | 2.2171e-10 | -4.1967e-09 | -3.7454e-09 | 0.0043318 | 0.040171 | -0.044406 | -2.972e-10 | -2.467e-09 | 2.7275e-09 | 0.003194 | -0.06836 | -0.060933 | 0 | 0 | 0 | -84.9813 | -84.9813 | -84.9813 | 0.10859 | 1.6171 | 1.5391 | 0.10979 | 1.6175 | 1.5381 | -48.2848 | -144.5862 | 148.9016 | -48.5789 | -144.5415 | 148.9349

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40912 | 0.012731 | 0.012731 | 0.40517 | 0.0086014 | 0.0086014 | 4.7241 | 0.14701 | 0.14701 | 4.6785 | 0.09932 | 0.09932 | 1.0195 | 0.13025 | -0.12337 | -0.49294 | -0.084181 | 0.087458 | 0.29126 | -0.20004 | -0.17738 | -0.1445 | 0.13683 | 0.12526 | -65.0904 | -84.8942 | -84.8942 | 115.0827 | 93.8585 | 93.8585 | 0.22444 | 1.6237 | 1.4697 | 0.10979 | 1.6175 | 1.5381 | -49.1466 | -141.8262 | 150.286 | -48.5789 | -144.5415 | 148.9349
Line_1 | 0.39717 | 0 | 0 | 0.40119 | 0.004358 | 0.004358 | 4.5861 | 0 | 0 | 4.6325 | 0.050322 | 0.050322 | -2.9182e-12 | -4.3041e-09 | -4.2264e-09 | 0.4886 | 0.04401 | -0.043051 | -5.8947e-13 | -2.6991e-09 | 2.744e-09 | 0.14131 | -0.068474 | -0.064325 | 115.5319 | 0 | 0 | -64.7093 | -87.2715 | -87.2715 | 0 | 1.6165 | 1.6033 | 0.10979 | 1.6175 | 1.5381 | 0 | -147.09 | 147.8243 | -48.5789 | -144.5415 | 148.9349
Line_2 | 0 | 0 | 0 | 0.0042451 | 0.0042451 | 0.0042451 | 0 | 0 | 0 | 0.049019 | 0.049019 | 0.049019 | 2.2171e-10 | -4.1967e-09 | -3.7454e-09 | 0.0043318 | 0.040171 | -0.044406 | -2.972e-10 | -2.467e-09 | 2.7275e-09 | 0.003194 | -0.06836 | -0.060933 | 0 | 0 | 0 | -84.9813 | -84.9813 | -84.9813 | 0.10859 | 1.6171 | 1.5391 | 0.10979 | 1.6175 | 1.5381 | -48.2848 | -144.5862 | 148.9016 | -48.5789 | -144.5415 | 148.9349

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33209 | 0.010334 | 0.010334 | 0.32888 | 0.0069818 | 0.0069818 | 3.8346 | 0.11933 | 0.11933 | 3.7976 | 0.080619 | 0.080619 | 1.2012 | 0.099468 | -0.10474 | -0.85073 | -0.064969 | 0.07343 | 0.73297 | -0.15099 | -0.1191 | -0.62947 | 0.10292 | 0.084377 | -61.3178 | -81.1216 | -81.1216 | 118.8552 | 97.6311 | 97.6311 | 0.36696 | 1.5153 | 1.3291 | 0.27867 | 1.5097 | 1.3875 | -29.9255 | -137.7465 | 147.5488 | -24.6462 | -140.1064 | 146.5992
Line_1 | 0.32238 | 0 | 0 | 0.32565 | 0.0035374 | 0.0035374 | 3.7225 | 0 | 0 | 3.7602 | 0.040846 | 0.040846 | -0.51965 | -3.2232e-09 | -2.8696e-09 | 0.84462 | 0.033939 | -0.036354 | -0.51965 | -2.1001e-09 | 2.3043e-09 | 0.62022 | -0.051486 | -0.043476 | 119.3044 | 0 | 0 | -60.9368 | -83.499 | -83.499 | 0.19742 | 1.508 | 1.4426 | 0.27867 | 1.5097 | 1.3875 | -15.6956 | -142.3225 | 145.8255 | -24.6462 | -140.1064 | 146.5992
Line_2 | 0 | 0 | 0 | 0.0034458 | 0.0034458 | 0.0034458 | 0 | 0 | 0 | 0.039788 | 0.039788 | 0.039788 | 6.4414e-10 | -3.1574e-09 | -2.5145e-09 | 0.0061098 | 0.03103 | -0.037076 | -4.2239e-10 | -1.906e-09 | 2.2772e-09 | 0.0092528 | -0.051434 | -0.040901 | 0 | 0 | 0 | -81.2088 | -81.2088 | -81.2088 | 0.27791 | 1.5093 | 1.3883 | 0.27867 | 1.5097 | 1.3875 | -24.4889 | -140.1451 | 146.5729 | -24.6462 | -140.1064 | 146.5992

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33209 | 0.010334 | 0.010334 | 0.32888 | 0.0069818 | 0.0069818 | 3.8346 | 0.11933 | 0.11933 | 3.7976 | 0.080619 | 0.080619 | 1.2012 | 0.099468 | -0.10474 | -0.85073 | -0.064969 | 0.07343 | 0.73297 | -0.15099 | -0.1191 | -0.62947 | 0.10292 | 0.084377 | -61.3178 | -81.1216 | -81.1216 | 118.8552 | 97.6311 | 97.6311 | 0.36696 | 1.5153 | 1.3291 | 0.27867 | 1.5097 | 1.3875 | -29.9255 | -137.7465 | 147.5488 | -24.6462 | -140.1064 | 146.5992
Line_1 | 0.32238 | 0 | 0 | 0.32565 | 0.0035374 | 0.0035374 | 3.7225 | 0 | 0 | 3.7602 | 0.040846 | 0.040846 | -0.51965 | -3.2232e-09 | -2.8696e-09 | 0.84462 | 0.033939 | -0.036354 | -0.51965 | -2.1001e-09 | 2.3043e-09 | 0.62022 | -0.051486 | -0.043476 | 119.3044 | 0 | 0 | -60.9368 | -83.499 | -83.499 | 0.19742 | 1.508 | 1.4426 | 0.27867 | 1.5097 | 1.3875 | -15.6956 | -142.3225 | 145.8255 | -24.6462 | -140.1064 | 146.5992
Line_2 | 0 | 0 | 0 | 0.0034458 | 0.0034458 | 0.0034458 | 0 | 0 | 0 | 0.039788 | 0.039788 | 0.039788 | 6.4414e-10 | -3.1574e-09 | -2.5145e-09 | 0.0061098 | 0.03103 | -0.037076 | -4.2239e-10 | -1.906e-09 | 2.2772e-09 | 0.0092528 | -0.051434 | -0.040901 | 0 | 0 | 0 | -81.2088 | -81.2088 | -81.2088 | 0.27791 | 1.5093 | 1.3883 | 0.27867 | 1.5097 | 1.3875 | -24.4889 | -140.1451 | 146.5729 | -24.6462 | -140.1064 | 146.5992

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0077023 | 2.9995 | 2.9968 | 0.0051806 | 3 | 2.996 | 0.088939 | 34.6348 | 34.6036 | 0.05982 | 34.6409 | 34.5951 | -0.0022762 | 9.8864 | 8.9482 | 0.0017525 | -4.9434 | -4.4699 | -0.14085 | 9.0398 | 12.2118 | 0.095562 | -4.547 | -6.0774 | 92.3448 | -164.2591 | 20.6848 | -88.2948 | 15.788 | -159.3613 | 1.5838 | 0.38679 | 0.43751 | 1.5978 | 0.19389 | 0.21807 | 1.4189 | -121.8203 | 74.4526 | 0.65453 | -121.604 | 74.3046
Line_1 | 0 | 3.0013 | 2.9943 | 0.0026126 | 3.0006 | 2.9952 | 0 | 34.6555 | 34.5757 | 0.030168 | 34.6478 | 34.5858 | -3.0203e-09 | 6.4164e-11 | 7.3183e-11 | -0.00039244 | 4.9482 | 4.4637 | -4.4271e-12 | -4.552e-11 | 2.575e-11 | -0.048199 | 4.5438 | 6.0794 | 0 | 15.884 | -159.4551 | 91.121 | -164.1643 | 20.592 | 1.6112 | 0 | 0 | 1.5978 | 0.19389 | 0.21807 | -0.039086 | 0 | 0 | 0.65453 | -121.604 | 74.3046
Line_2 | 0 | 0 | 0 | 0.0025682 | 0.0025682 | 0.0025682 | 0 | 0 | 0 | 0.029656 | 0.029656 | 0.029656 | -2.9178e-09 | 6.4457e-10 | 4.3875e-10 | -0.0013601 | -0.0047723 | 0.0061507 | 7.1947e-11 | -2.045e-11 | -6.2925e-10 | -0.047363 | 0.0032073 | -0.0019979 | 0 | 0 | 0 | 92.2994 | 92.2994 | 92.2994 | 1.5979 | 0.19414 | 0.21773 | 1.5978 | 0.19389 | 0.21807 | 0.63997 | -121.4964 | 74.2304 | 0.65453 | -121.604 | 74.3046

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0077023 | 2.9995 | 2.9968 | 0.0051806 | 3 | 2.996 | 0.088939 | 34.6348 | 34.6036 | 0.05982 | 34.6409 | 34.5951 | -0.0022762 | 9.8864 | 8.9482 | 0.0017525 | -4.9434 | -4.4699 | -0.14085 | 9.0398 | 12.2118 | 0.095562 | -4.547 | -6.0774 | 92.3448 | -164.2591 | 20.6848 | -88.2948 | 15.788 | -159.3613 | 1.5838 | 0.38679 | 0.43751 | 1.5978 | 0.19389 | 0.21807 | 1.4189 | -121.8203 | 74.4526 | 0.65453 | -121.604 | 74.3046
Line_1 | 0 | 3.0013 | 2.9943 | 0.0026126 | 3.0006 | 2.9952 | 0 | 34.6555 | 34.5757 | 0.030168 | 34.6478 | 34.5858 | -3.0203e-09 | 6.4164e-11 | 7.3183e-11 | -0.00039244 | 4.9482 | 4.4637 | -4.4271e-12 | -4.552e-11 | 2.575e-11 | -0.048199 | 4.5438 | 6.0794 | 0 | 15.884 | -159.4551 | 91.121 | -164.1643 | 20.592 | 1.6112 | 0 | 0 | 1.5978 | 0.19389 | 0.21807 | -0.039086 | 0 | 0 | 0.65453 | -121.604 | 74.3046
Line_2 | 0 | 0 | 0 | 0.0025682 | 0.0025682 | 0.0025682 | 0 | 0 | 0 | 0.029656 | 0.029656 | 0.029656 | -2.9178e-09 | 6.4457e-10 | 4.3875e-10 | -0.0013601 | -0.0047723 | 0.0061507 | 7.1947e-11 | -2.045e-11 | -6.2925e-10 | -0.047363 | 0.0032073 | -0.0019979 | 0 | 0 | 0 | 92.2994 | 92.2994 | 92.2994 | 1.5979 | 0.19414 | 0.21773 | 1.5978 | 0.19389 | 0.21807 | 0.63997 | -121.4964 | 74.2304 | 0.65453 | -121.604 | 74.3046

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068503 | 1.0275 | 1.0834 | 0.0046075 | 1.0283 | 1.0821 | 0.0791 | 11.8642 | 12.5103 | 0.053203 | 11.8743 | 12.4954 | -0.0066537 | 6.4257 | 7.14 | 0.0045803 | -5.8602 | -6.4866 | -0.12073 | 6.0685 | 7.7348 | 0.081894 | -5.6992 | -6.7694 | 95.2881 | -150.317 | 41.8217 | -85.3515 | 29.798 | -138.2753 | 1.5286 | 0.74496 | 0.84142 | 1.5417 | 0.68842 | 0.75032 | 2.1336 | -106.9543 | 89.1115 | 1.4473 | -105.9998 | 87.9465
Line_1 | 0 | 1.0303 | 1.0794 | 0.0023236 | 1.0293 | 1.0808 | 0 | 11.8971 | 12.4634 | 0.026831 | 11.8853 | 12.4797 | -2.5897e-09 | -5.3077 | -5.8251 | -0.0018887 | 5.8771 | 6.467 | 9.0227e-11 | -5.3077 | -5.8251 | -0.041321 | 5.6927 | 6.7719 | 0 | 30.0299 | -138.4704 | 94.0644 | -150.0864 | 41.6273 | 1.5543 | 0.63094 | 0.66097 | 1.5417 | 0.68842 | 0.75032 | 0.82469 | -104.9701 | 86.5296 | 1.4473 | -105.9998 | 87.9465
Line_2 | 0 | 0 | 0 | 0.0022842 | 0.0022842 | 0.0022842 | 0 | 0 | 0 | 0.026375 | 0.026375 | 0.026375 | -2.4999e-09 | 9.5584e-10 | 5.0098e-10 | -0.0026916 | -0.016924 | 0.01963 | 1.5564e-10 | 6.7307e-10 | -1.606e-09 | -0.040573 | 0.0065787 | -0.0025133 | 0 | 0 | 0 | 95.2427 | 95.2427 | 95.2427 | 1.5418 | 0.68871 | 0.74998 | 1.5417 | 0.68842 | 0.75032 | 1.4341 | -105.9775 | 87.9319 | 1.4473 | -105.9998 | 87.9465

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068503 | 1.0275 | 1.0834 | 0.0046075 | 1.0283 | 1.0821 | 0.0791 | 11.8642 | 12.5103 | 0.053203 | 11.8743 | 12.4954 | -0.0066537 | 6.4257 | 7.14 | 0.0045803 | -5.8602 | -6.4866 | -0.12073 | 6.0685 | 7.7348 | 0.081894 | -5.6992 | -6.7694 | 95.2881 | -150.317 | 41.8217 | -85.3515 | 29.798 | -138.2753 | 1.5286 | 0.74496 | 0.84142 | 1.5417 | 0.68842 | 0.75032 | 2.1336 | -106.9543 | 89.1115 | 1.4473 | -105.9998 | 87.9465
Line_1 | 0 | 1.0303 | 1.0794 | 0.0023236 | 1.0293 | 1.0808 | 0 | 11.8971 | 12.4634 | 0.026831 | 11.8853 | 12.4797 | -2.5897e-09 | -5.3077 | -5.8251 | -0.0018887 | 5.8771 | 6.467 | 9.0227e-11 | -5.3077 | -5.8251 | -0.041321 | 5.6927 | 6.7719 | 0 | 30.0299 | -138.4704 | 94.0644 | -150.0864 | 41.6273 | 1.5543 | 0.63094 | 0.66097 | 1.5417 | 0.68842 | 0.75032 | 0.82469 | -104.9701 | 86.5296 | 1.4473 | -105.9998 | 87.9465
Line_2 | 0 | 0 | 0 | 0.0022842 | 0.0022842 | 0.0022842 | 0 | 0 | 0 | 0.026375 | 0.026375 | 0.026375 | -2.4999e-09 | 9.5584e-10 | 5.0098e-10 | -0.0026916 | -0.016924 | 0.01963 | 1.5564e-10 | 6.7307e-10 | -1.606e-09 | -0.040573 | 0.0065787 | -0.0025133 | 0 | 0 | 0 | 95.2427 | 95.2427 | 95.2427 | 1.5418 | 0.68871 | 0.74998 | 1.5417 | 0.68842 | 0.75032 | 1.4341 | -105.9775 | 87.9319 | 1.4473 | -105.9998 | 87.9465

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068555 | 2.3875 | 2.4131 | 0.0046316 | 2.3883 | 2.4121 | 0.07916 | 27.5685 | 27.8637 | 0.053481 | 27.5775 | 27.8526 | -0.0036321 | 11.5565 | 11.6571 | 0.0027533 | -5.7899 | -5.811 | -0.11238 | 4.5598 | 9.0675 | 0.077013 | -2.3144 | -4.4985 | 94.7282 | -152.279 | 33.1015 | -86.519 | 27.7711 | -146.9462 | 1.4204 | 0.45064 | 0.53002 | 1.4409 | 0.2261 | 0.26384 | 2.8771 | -130.7465 | 70.9793 | 1.4334 | -130.4413 | 70.7989
Line_1 | 0 | 2.3902 | 2.4098 | 0.0023467 | 2.3892 | 2.411 | 0 | 27.5996 | 27.8262 | 0.027097 | 27.5879 | 27.84 | -2.4734e-09 | -1.3321e-10 | -1.3126e-12 | -0.00062519 | 5.7941 | 5.8046 | 1.3006e-11 | -9.3883e-11 | -1.6631e-10 | -0.039039 | 2.3101 | 4.5013 | 0 | 27.8723 | -147.042 | 92.3509 | -152.1785 | 33.006 | 1.4615 | 0 | 0 | 1.4409 | 0.2261 | 0.26384 | 0.13911 | 0 | 0 | 1.4334 | -130.4413 | 70.7989
Line_2 | 0 | 0 | 0 | 0.0022859 | 0.0022859 | 0.0022859 | 0 | 0 | 0 | 0.026395 | 0.026395 | 0.026395 | -2.3324e-09 | 6.2903e-10 | 3.7544e-10 | -0.0021281 | -0.0042139 | 0.0063699 | 1.2963e-10 | -1.4835e-10 | -7.3173e-10 | -0.037974 | 0.0042261 | -0.0028151 | 0 | 0 | 0 | 94.6411 | 94.6411 | 94.6411 | 1.4411 | 0.2265 | 0.26326 | 1.4409 | 0.2261 | 0.26384 | 1.4059 | -130.2896 | 70.7082 | 1.4334 | -130.4413 | 70.7989

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068555 | 2.3875 | 2.4131 | 0.0046316 | 2.3883 | 2.4121 | 0.07916 | 27.5685 | 27.8637 | 0.053481 | 27.5775 | 27.8526 | -0.0036321 | 11.5565 | 11.6571 | 0.0027533 | -5.7899 | -5.811 | -0.11238 | 4.5598 | 9.0675 | 0.077013 | -2.3144 | -4.4985 | 94.7282 | -152.279 | 33.1015 | -86.519 | 27.7711 | -146.9462 | 1.4204 | 0.45064 | 0.53002 | 1.4409 | 0.2261 | 0.26384 | 2.8771 | -130.7465 | 70.9793 | 1.4334 | -130.4413 | 70.7989
Line_1 | 0 | 2.3902 | 2.4098 | 0.0023467 | 2.3892 | 2.411 | 0 | 27.5996 | 27.8262 | 0.027097 | 27.5879 | 27.84 | -2.4734e-09 | -1.3321e-10 | -1.3126e-12 | -0.00062519 | 5.7941 | 5.8046 | 1.3006e-11 | -9.3883e-11 | -1.6631e-10 | -0.039039 | 2.3101 | 4.5013 | 0 | 27.8723 | -147.042 | 92.3509 | -152.1785 | 33.006 | 1.4615 | 0 | 0 | 1.4409 | 0.2261 | 0.26384 | 0.13911 | 0 | 0 | 1.4334 | -130.4413 | 70.7989
Line_2 | 0 | 0 | 0 | 0.0022859 | 0.0022859 | 0.0022859 | 0 | 0 | 0 | 0.026395 | 0.026395 | 0.026395 | -2.3324e-09 | 6.2903e-10 | 3.7544e-10 | -0.0021281 | -0.0042139 | 0.0063699 | 1.2963e-10 | -1.4835e-10 | -7.3173e-10 | -0.037974 | 0.0042261 | -0.0028151 | 0 | 0 | 0 | 94.6411 | 94.6411 | 94.6411 | 1.4411 | 0.2265 | 0.26326 | 1.4409 | 0.2261 | 0.26384 | 1.4059 | -130.2896 | 70.7082 | 1.4334 | -130.4413 | 70.7989

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0060988 | 0.87843 | 0.92487 | 0.0041204 | 0.87922 | 0.9237 | 0.070423 | 10.1432 | 10.6795 | 0.047578 | 10.1524 | 10.666 | -0.0062867 | 5.4042 | 6.1336 | 0.0043741 | -4.6408 | -5.1859 | -0.096403 | 4.0934 | 5.9816 | 0.066041 | -4.0003 | -5.0999 | 96.9951 | -146.8113 | 45.6927 | -84.2522 | 33.307 | -134.4066 | 1.3718 | 0.66837 | 0.80223 | 1.3911 | 0.60349 | 0.68192 | 3.2639 | -109.6691 | 89.974 | 1.9585 | -105.932 | 90.1145
Line_1 | 0 | 0.88114 | 0.92107 | 0.0020876 | 0.88013 | 0.92243 | 0 | 10.1745 | 10.6356 | 0.024106 | 10.1629 | 10.6514 | -2.1221e-09 | -3.882 | -4.2418 | -0.0015558 | 4.6538 | 5.17 | 7.111e-11 | -3.882 | -4.2418 | -0.033498 | 3.9948 | 5.1018 | 0 | 33.5446 | -134.6034 | 94.6177 | -146.5744 | 45.4948 | 1.4103 | 0.53958 | 0.56404 | 1.3911 | 0.60349 | 0.68192 | 0.78798 | -101.4554 | 90.3966 | 1.9585 | -105.932 | 90.1145
Line_2 | 0 | 0 | 0 | 0.0020336 | 0.0020336 | 0.0020336 | 0 | 0 | 0 | 0.023482 | 0.023482 | 0.023482 | -1.9989e-09 | 8.1024e-10 | 4.6355e-10 | -0.0028183 | -0.01306 | 0.0159 | 1.721e-10 | 5.3963e-10 | -1.2454e-09 | -0.032544 | 0.0055007 | -0.0018942 | 0 | 0 | 0 | 96.9079 | 96.9079 | 96.9079 | 1.3913 | 0.60402 | 0.68132 | 1.3911 | 0.60349 | 0.68192 | 1.9333 | -105.8977 | 90.0975 | 1.9585 | -105.932 | 90.1145

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0060988 | 0.87843 | 0.92487 | 0.0041204 | 0.87922 | 0.9237 | 0.070423 | 10.1432 | 10.6795 | 0.047578 | 10.1524 | 10.666 | -0.0062867 | 5.4042 | 6.1336 | 0.0043741 | -4.6408 | -5.1859 | -0.096403 | 4.0934 | 5.9816 | 0.066041 | -4.0003 | -5.0999 | 96.9951 | -146.8113 | 45.6927 | -84.2522 | 33.307 | -134.4066 | 1.3718 | 0.66837 | 0.80223 | 1.3911 | 0.60349 | 0.68192 | 3.2639 | -109.6691 | 89.974 | 1.9585 | -105.932 | 90.1145
Line_1 | 0 | 0.88114 | 0.92107 | 0.0020876 | 0.88013 | 0.92243 | 0 | 10.1745 | 10.6356 | 0.024106 | 10.1629 | 10.6514 | -2.1221e-09 | -3.882 | -4.2418 | -0.0015558 | 4.6538 | 5.17 | 7.111e-11 | -3.882 | -4.2418 | -0.033498 | 3.9948 | 5.1018 | 0 | 33.5446 | -134.6034 | 94.6177 | -146.5744 | 45.4948 | 1.4103 | 0.53958 | 0.56404 | 1.3911 | 0.60349 | 0.68192 | 0.78798 | -101.4554 | 90.3966 | 1.9585 | -105.932 | 90.1145
Line_2 | 0 | 0 | 0 | 0.0020336 | 0.0020336 | 0.0020336 | 0 | 0 | 0 | 0.023482 | 0.023482 | 0.023482 | -1.9989e-09 | 8.1024e-10 | 4.6355e-10 | -0.0028183 | -0.01306 | 0.0159 | 1.721e-10 | 5.3963e-10 | -1.2454e-09 | -0.032544 | 0.0055007 | -0.0018942 | 0 | 0 | 0 | 96.9079 | 96.9079 | 96.9079 | 1.3913 | 0.60402 | 0.68132 | 1.3911 | 0.60349 | 0.68192 | 1.9333 | -105.8977 | 90.0975 | 1.9585 | -105.932 | 90.1145