## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.2106e-15 | 27.4008 | -8.7391 | -2.1821e-28 | -22.7354 | 13.4045 | -2.6053e-14 | 4.6417 | 16.5321 | 2.0843e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 6.2187e-13 | -152.1736 | 136.0734 | 5.9986e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.2106e-15 | -18.0699 | 18.0699 | 5.4553e-29 | 22.7354 | -13.4045 | 5.2106e-15 | 5.9452 | -5.9452 | -5.2106e-15 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 5.9472e-13 | 180 | -180 | 5.9986e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.4052e-10 | 6.644e-10 | 5.2106e-15 | -3.4052e-10 | -6.6441e-10 | -1.093e-28 | -1.8234e-09 | 1.2624e-09 | -5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 6.0092e-13 | -163.4303 | 158.2346 | 5.9986e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.2106e-15 | 27.4008 | -8.7391 | -2.1821e-28 | -22.7354 | 13.4045 | -2.6053e-14 | 4.6417 | 16.5321 | 2.0843e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 6.2187e-13 | -152.1736 | 136.0734 | 5.9986e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.2106e-15 | -18.0699 | 18.0699 | 5.4553e-29 | 22.7354 | -13.4045 | 5.2106e-15 | 5.9452 | -5.9452 | -5.2106e-15 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 5.9472e-13 | 180 | -180 | 5.9986e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.4052e-10 | 6.644e-10 | 5.2106e-15 | -3.4052e-10 | -6.6441e-10 | -1.093e-28 | -1.8234e-09 | 1.2624e-09 | -5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 6.0092e-13 | -163.4303 | 158.2346 | 5.9986e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | 17.2205 | 0.20321 | -9.745e-29 | -15.9408 | 1.0765 | -1.5632e-14 | 3.8735 | 14.2393 | 1.5632e-14 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 3.6473e-13 | -135.9762 | 120.5292 | 3.5718e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -5.2106e-15 | -14.6611 | 2.3562 | 1.6242e-29 | 15.9408 | -1.0765 | 2.6053e-15 | -0.96958 | -11.3353 | -2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 3.5633e-13 | -144.8696 | 133.0893 | 3.5718e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.682e-10 | 1.0007e-09 | -1.0421e-14 | -4.6819e-10 | -1.0007e-09 | -5.2106e-15 | -1.2288e-09 | 3.0654e-10 | 5.2106e-15 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 3.5817e-13 | -140.0155 | 126.1589 | 3.5718e-13 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | 17.2205 | 0.20321 | -9.745e-29 | -15.9408 | 1.0765 | -1.5632e-14 | 3.8735 | 14.2393 | 1.5632e-14 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 3.6473e-13 | -135.9762 | 120.5292 | 3.5718e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -5.2106e-15 | -14.6611 | 2.3562 | 1.6242e-29 | 15.9408 | -1.0765 | 2.6053e-15 | -0.96958 | -11.3353 | -2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 3.5633e-13 | -144.8696 | 133.0893 | 3.5718e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.682e-10 | 1.0007e-09 | -1.0421e-14 | -4.6819e-10 | -1.0007e-09 | -5.2106e-15 | -1.2288e-09 | 3.0654e-10 | 5.2106e-15 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 3.5817e-13 | -140.0155 | 126.1589 | 3.5718e-13 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.6579e-14 | 23.4155 | -0.45749 | 1.6579e-14 | -17.676 | 6.197 | 4.737e-15 | -0.22679 | 13.7937 | -7.1054e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 5.0251e-13 | -150.1294 | 122.3252 | 5.425e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | 1.1842e-15 | 17.676 | -6.197 | -1.122e-29 | 7.0103 | -7.0103 | 1.1213e-29 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 5.4287e-13 | -180 | 180 | 5.425e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.4222e-10 | 6.7019e-10 | 1.1842e-15 | -2.4222e-10 | -6.7019e-10 | 2.3685e-15 | -1.5722e-09 | 8.3093e-10 | -2.3685e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 5.2785e-13 | -161.1438 | 151.2099 | 5.425e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.6579e-14 | 23.4155 | -0.45749 | 1.6579e-14 | -17.676 | 6.197 | 4.737e-15 | -0.22679 | 13.7937 | -7.1054e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 5.0251e-13 | -150.1294 | 122.3252 | 5.425e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | 1.1842e-15 | 17.676 | -6.197 | -1.122e-29 | 7.0103 | -7.0103 | 1.1213e-29 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 5.4287e-13 | -180 | 180 | 5.425e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.4222e-10 | 6.7019e-10 | 1.1842e-15 | -2.4222e-10 | -6.7019e-10 | 2.3685e-15 | -1.5722e-09 | 8.3093e-10 | -2.3685e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 5.2785e-13 | -161.1438 | 151.2099 | 5.425e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.0066e-14 | 13.7181 | 1.6719 | 9.4739e-15 | -12.0096 | 0.036546 | -5.2906e-29 | 1.7406 | 10.8539 | -2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 3.0114e-13 | -135.6599 | 118.3519 | 3.2569e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 2.3685e-15 | -10.3011 | 1.745 | -1.1842e-15 | 12.0096 | -0.036546 | -4.737e-15 | 0.27863 | -8.8347 | 4.737e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 3.2755e-13 | -144.4405 | 138.2821 | 3.2569e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 4.2826e-10 | 8.1276e-10 | -1.1842e-15 | -4.2826e-10 | -8.1276e-10 | -2.3685e-15 | -9.7052e-10 | 3.0452e-10 | -6.7317e-30 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 3.1778e-13 | -139.408 | 127.3216 | 3.2569e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.0066e-14 | 13.7181 | 1.6719 | 9.4739e-15 | -12.0096 | 0.036546 | -5.2906e-29 | 1.7406 | 10.8539 | -2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 3.0114e-13 | -135.6599 | 118.3519 | 3.2569e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 2.3685e-15 | -10.3011 | 1.745 | -1.1842e-15 | 12.0096 | -0.036546 | -4.737e-15 | 0.27863 | -8.8347 | 4.737e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 3.2755e-13 | -144.4405 | 138.2821 | 3.2569e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 4.2826e-10 | 8.1276e-10 | -1.1842e-15 | -4.2826e-10 | -8.1276e-10 | -2.3685e-15 | -9.7052e-10 | 3.0452e-10 | -6.7317e-30 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 3.1778e-13 | -139.408 | 127.3216 | 3.2569e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58095 | 0.013864 | 0.013864 | 0.57671 | 0.0093579 | 0.0093579 | 6.7083 | 0.16009 | 0.16009 | 6.6593 | 0.10806 | 0.10806 | 1.0691 | 0.15526 | -0.14955 | -0.52082 | -0.10185 | 0.10397 | 0.59189 | -0.22995 | -0.2187 | -0.29236 | 0.15757 | 0.15271 | -66.4712 | -87.8865 | -87.8865 | 113.6808 | 91.3525 | 91.3525 | 0.18216 | 1.7331 | 1.655 | 0.089689 | 1.7363 | 1.7097 | -37.5005 | -143.8602 | 147.748 | -37.0117 | -145.7695 | 147.1055
Line_1 | 0.56807 | 0 | 0 | 0.57242 | 0.0047357 | 0.0047357 | 6.5595 | 0 | 0 | 6.6097 | 0.054684 | 0.054684 | 6.9999e-12 | -4.8983e-09 | -5.0264e-09 | 0.5178 | 0.052512 | -0.051667 | -6.2227e-12 | -3.2514e-09 | 3.1775e-09 | 0.28864 | -0.079107 | -0.077918 | 114.0394 | 0 | 0 | -66.1488 | -89.3461 | -89.3461 | 0 | 1.742 | 1.762 | 0.089689 | 1.7363 | 1.7097 | 0 | -147.566 | 146.559 | -37.0117 | -145.7695 | 147.1055
Line_2 | 0 | 0 | 0 | 0.0046229 | 0.0046229 | 0.0046229 | 0 | 0 | 0 | 0.053381 | 0.053381 | 0.053381 | 2.5852e-10 | -4.7479e-09 | -4.5846e-09 | 0.0030181 | 0.049339 | -0.052298 | -2.1482e-10 | -3.0472e-09 | 3.1416e-09 | 0.0037165 | -0.078464 | -0.074794 | 0 | 0 | 0 | -87.9319 | -87.9319 | -87.9319 | 0.088995 | 1.7362 | 1.7104 | 0.089689 | 1.7363 | 1.7097 | -36.7613 | -145.7953 | 147.0909 | -37.0117 | -145.7695 | 147.1055

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58095 | 0.013864 | 0.013864 | 0.57671 | 0.0093579 | 0.0093579 | 6.7083 | 0.16009 | 0.16009 | 6.6593 | 0.10806 | 0.10806 | 1.0691 | 0.15526 | -0.14955 | -0.52082 | -0.10185 | 0.10397 | 0.59189 | -0.22995 | -0.2187 | -0.29236 | 0.15757 | 0.15271 | -66.4712 | -87.8865 | -87.8865 | 113.6808 | 91.3525 | 91.3525 | 0.18216 | 1.7331 | 1.655 | 0.089689 | 1.7363 | 1.7097 | -37.5005 | -143.8602 | 147.748 | -37.0117 | -145.7695 | 147.1055
Line_1 | 0.56807 | 0 | 0 | 0.57242 | 0.0047357 | 0.0047357 | 6.5595 | 0 | 0 | 6.6097 | 0.054684 | 0.054684 | 6.9999e-12 | -4.8983e-09 | -5.0264e-09 | 0.5178 | 0.052512 | -0.051667 | -6.2227e-12 | -3.2514e-09 | 3.1775e-09 | 0.28864 | -0.079107 | -0.077918 | 114.0394 | 0 | 0 | -66.1488 | -89.3461 | -89.3461 | 0 | 1.742 | 1.762 | 0.089689 | 1.7363 | 1.7097 | 0 | -147.566 | 146.559 | -37.0117 | -145.7695 | 147.1055
Line_2 | 0 | 0 | 0 | 0.0046229 | 0.0046229 | 0.0046229 | 0 | 0 | 0 | 0.053381 | 0.053381 | 0.053381 | 2.5852e-10 | -4.7479e-09 | -4.5846e-09 | 0.0030181 | 0.049339 | -0.052298 | -2.1482e-10 | -3.0472e-09 | 3.1416e-09 | 0.0037165 | -0.078464 | -0.074794 | 0 | 0 | 0 | -87.9319 | -87.9319 | -87.9319 | 0.088995 | 1.7362 | 1.7104 | 0.089689 | 1.7363 | 1.7097 | -36.7613 | -145.7953 | 147.0909 | -37.0117 | -145.7695 | 147.1055

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4468 | 0.010663 | 0.010663 | 0.44354 | 0.007197 | 0.007197 | 5.1592 | 0.12312 | 0.12312 | 5.1216 | 0.083104 | 0.083104 | 1.5996 | 0.11162 | -0.12116 | -1.2709 | -0.073837 | 0.083529 | 1.3348 | -0.16234 | -0.13333 | -1.1479 | 0.1108 | 0.093301 | -61.4799 | -82.8951 | -82.8951 | 118.6722 | 96.3439 | 96.3439 | 0.40382 | 1.6001 | 1.4632 | 0.33437 | 1.6022 | 1.5069 | -21.6374 | -138.3842 | 144.8429 | -19.2391 | -139.976 | 144.5071
Line_1 | 0.43689 | 0 | 0 | 0.44024 | 0.0036422 | 0.0036422 | 5.0448 | 0 | 0 | 5.0834 | 0.042056 | 0.042056 | -0.95437 | -3.4279e-09 | -3.0958e-09 | 1.2648 | 0.038047 | -0.041692 | -0.95437 | -2.3712e-09 | 2.563e-09 | 1.1356 | -0.055611 | -0.047728 | 119.0307 | 0 | 0 | -61.1574 | -84.3547 | -84.3547 | 0.26754 | 1.6058 | 1.5484 | 0.33437 | 1.6022 | 1.5069 | -15.9693 | -141.4765 | 144.2292 | -19.2391 | -139.976 | 144.5071
Line_2 | 0 | 0 | 0 | 0.0035554 | 0.0035554 | 0.0035554 | 0 | 0 | 0 | 0.041054 | 0.041054 | 0.041054 | 8.633e-10 | -3.3386e-09 | -2.7993e-09 | 0.0060819 | 0.03579 | -0.041836 | -4.4222e-10 | -2.2097e-09 | 2.5211e-09 | 0.012307 | -0.055186 | -0.045573 | 0 | 0 | 0 | -82.9405 | -82.9405 | -82.9405 | 0.33392 | 1.602 | 1.5074 | 0.33437 | 1.6022 | 1.5069 | -19.1687 | -139.9975 | 144.497 | -19.2391 | -139.976 | 144.5071

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4468 | 0.010663 | 0.010663 | 0.44354 | 0.007197 | 0.007197 | 5.1592 | 0.12312 | 0.12312 | 5.1216 | 0.083104 | 0.083104 | 1.5996 | 0.11162 | -0.12116 | -1.2709 | -0.073837 | 0.083529 | 1.3348 | -0.16234 | -0.13333 | -1.1479 | 0.1108 | 0.093301 | -61.4799 | -82.8951 | -82.8951 | 118.6722 | 96.3439 | 96.3439 | 0.40382 | 1.6001 | 1.4632 | 0.33437 | 1.6022 | 1.5069 | -21.6374 | -138.3842 | 144.8429 | -19.2391 | -139.976 | 144.5071
Line_1 | 0.43689 | 0 | 0 | 0.44024 | 0.0036422 | 0.0036422 | 5.0448 | 0 | 0 | 5.0834 | 0.042056 | 0.042056 | -0.95437 | -3.4279e-09 | -3.0958e-09 | 1.2648 | 0.038047 | -0.041692 | -0.95437 | -2.3712e-09 | 2.563e-09 | 1.1356 | -0.055611 | -0.047728 | 119.0307 | 0 | 0 | -61.1574 | -84.3547 | -84.3547 | 0.26754 | 1.6058 | 1.5484 | 0.33437 | 1.6022 | 1.5069 | -15.9693 | -141.4765 | 144.2292 | -19.2391 | -139.976 | 144.5071
Line_2 | 0 | 0 | 0 | 0.0035554 | 0.0035554 | 0.0035554 | 0 | 0 | 0 | 0.041054 | 0.041054 | 0.041054 | 8.633e-10 | -3.3386e-09 | -2.7993e-09 | 0.0060819 | 0.03579 | -0.041836 | -4.4222e-10 | -2.2097e-09 | 2.5211e-09 | 0.012307 | -0.055186 | -0.045573 | 0 | 0 | 0 | -82.9405 | -82.9405 | -82.9405 | 0.33392 | 1.602 | 1.5074 | 0.33437 | 1.6022 | 1.5069 | -19.1687 | -139.9975 | 144.497 | -19.2391 | -139.976 | 144.5071

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49667 | 0.012139 | 0.012139 | 0.49305 | 0.0082498 | 0.0082498 | 5.7351 | 0.14017 | 0.14017 | 5.6933 | 0.095261 | 0.095261 | 1.5007 | 0.12466 | -0.11708 | -0.73145 | -0.080563 | 0.08406 | 0.42984 | -0.18253 | -0.15994 | -0.21452 | 0.12668 | 0.11558 | -59.7954 | -84.6622 | -84.6622 | 120.3723 | 93.8588 | 93.8588 | 0.2722 | 1.5769 | 1.4141 | 0.13389 | 1.576 | 1.5002 | -43.8126 | -140.3317 | 149.1339 | -43.2822 | -143.6872 | 147.8309
Line_1 | 0.48568 | 0 | 0 | 0.48939 | 0.0042045 | 0.0042045 | 5.6082 | 0 | 0 | 5.651 | 0.048549 | 0.048549 | -4.0647e-12 | -4.0011e-09 | -4.0085e-09 | 0.72676 | 0.042557 | -0.041451 | -5.8037e-13 | -2.6205e-09 | 2.6162e-09 | 0.21038 | -0.063586 | -0.05989 | 120.8068 | 0 | 0 | -59.4265 | -87.481 | -87.481 | 0 | 1.5819 | 1.5832 | 0.13389 | 1.576 | 1.5002 | 0 | -146.8582 | 146.7874 | -43.2822 | -143.6872 | 147.8309
Line_2 | 0 | 0 | 0 | 0.0040477 | 0.0040477 | 0.0040477 | 0 | 0 | 0 | 0.046739 | 0.046739 | 0.046739 | 2.9138e-10 | -3.8136e-09 | -3.3941e-09 | 0.0046892 | 0.038006 | -0.042608 | -3.3211e-10 | -2.3249e-09 | 2.5671e-09 | 0.0041439 | -0.063098 | -0.05569 | 0 | 0 | 0 | -84.7494 | -84.7494 | -84.7494 | 0.13279 | 1.5756 | 1.5012 | 0.13389 | 1.576 | 1.5002 | -43.0099 | -143.7308 | 147.7992 | -43.2822 | -143.6872 | 147.8309

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49667 | 0.012139 | 0.012139 | 0.49305 | 0.0082498 | 0.0082498 | 5.7351 | 0.14017 | 0.14017 | 5.6933 | 0.095261 | 0.095261 | 1.5007 | 0.12466 | -0.11708 | -0.73145 | -0.080563 | 0.08406 | 0.42984 | -0.18253 | -0.15994 | -0.21452 | 0.12668 | 0.11558 | -59.7954 | -84.6622 | -84.6622 | 120.3723 | 93.8588 | 93.8588 | 0.2722 | 1.5769 | 1.4141 | 0.13389 | 1.576 | 1.5002 | -43.8126 | -140.3317 | 149.1339 | -43.2822 | -143.6872 | 147.8309
Line_1 | 0.48568 | 0 | 0 | 0.48939 | 0.0042045 | 0.0042045 | 5.6082 | 0 | 0 | 5.651 | 0.048549 | 0.048549 | -4.0647e-12 | -4.0011e-09 | -4.0085e-09 | 0.72676 | 0.042557 | -0.041451 | -5.8037e-13 | -2.6205e-09 | 2.6162e-09 | 0.21038 | -0.063586 | -0.05989 | 120.8068 | 0 | 0 | -59.4265 | -87.481 | -87.481 | 0 | 1.5819 | 1.5832 | 0.13389 | 1.576 | 1.5002 | 0 | -146.8582 | 146.7874 | -43.2822 | -143.6872 | 147.8309
Line_2 | 0 | 0 | 0 | 0.0040477 | 0.0040477 | 0.0040477 | 0 | 0 | 0 | 0.046739 | 0.046739 | 0.046739 | 2.9138e-10 | -3.8136e-09 | -3.3941e-09 | 0.0046892 | 0.038006 | -0.042608 | -3.3211e-10 | -2.3249e-09 | 2.5671e-09 | 0.0041439 | -0.063098 | -0.05569 | 0 | 0 | 0 | -84.7494 | -84.7494 | -84.7494 | 0.13279 | 1.5756 | 1.5012 | 0.13389 | 1.576 | 1.5002 | -43.0099 | -143.7308 | 147.7992 | -43.2822 | -143.6872 | 147.8309

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3849 | 0.0094074 | 0.0094074 | 0.38209 | 0.0063932 | 0.0063932 | 4.4444 | 0.10863 | 0.10863 | 4.412 | 0.073823 | 0.073823 | 1.6179 | 0.091112 | -0.094932 | -1.1529 | -0.059756 | 0.067128 | 0.99005 | -0.12867 | -0.1006 | -0.85332 | 0.088735 | 0.072934 | -56.5557 | -81.4225 | -81.4225 | 123.612 | 97.0986 | 97.0986 | 0.42679 | 1.4514 | 1.2734 | 0.32509 | 1.4491 | 1.3427 | -25.0925 | -136.119 | 145.2391 | -19.8799 | -138.9442 | 144.472
Line_1 | 0.37638 | 0 | 0 | 0.37925 | 0.0032583 | 0.0032583 | 4.3461 | 0 | 0 | 4.3792 | 0.037623 | 0.037623 | -0.70832 | -2.7787e-09 | -2.5551e-09 | 1.1473 | 0.031503 | -0.033333 | -0.70832 | -1.9615e-09 | 2.0906e-09 | 0.84296 | -0.044499 | -0.03796 | 124.0465 | 0 | 0 | -56.1868 | -84.2413 | -84.2413 | 0.23049 | 1.4517 | 1.409 | 0.32509 | 1.4491 | 1.3427 | -10.9535 | -141.6236 | 143.8689 | -19.8799 | -138.9442 | 144.472
Line_2 | 0 | 0 | 0 | 0.0031368 | 0.0031368 | 0.0031368 | 0 | 0 | 0 | 0.036221 | 0.036221 | 0.036221 | 7.3371e-10 | -2.6729e-09 | -2.1341e-09 | 0.0055951 | 0.028253 | -0.033796 | -4.0195e-10 | -1.7278e-09 | 2.0389e-09 | 0.010361 | -0.044236 | -0.034974 | 0 | 0 | 0 | -81.5097 | -81.5097 | -81.5097 | 0.32446 | 1.4488 | 1.3435 | 0.32509 | 1.4491 | 1.3427 | -19.7468 | -138.9806 | 144.4484 | -19.8799 | -138.9442 | 144.472

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3849 | 0.0094074 | 0.0094074 | 0.38209 | 0.0063932 | 0.0063932 | 4.4444 | 0.10863 | 0.10863 | 4.412 | 0.073823 | 0.073823 | 1.6179 | 0.091112 | -0.094932 | -1.1529 | -0.059756 | 0.067128 | 0.99005 | -0.12867 | -0.1006 | -0.85332 | 0.088735 | 0.072934 | -56.5557 | -81.4225 | -81.4225 | 123.612 | 97.0986 | 97.0986 | 0.42679 | 1.4514 | 1.2734 | 0.32509 | 1.4491 | 1.3427 | -25.0925 | -136.119 | 145.2391 | -19.8799 | -138.9442 | 144.472
Line_1 | 0.37638 | 0 | 0 | 0.37925 | 0.0032583 | 0.0032583 | 4.3461 | 0 | 0 | 4.3792 | 0.037623 | 0.037623 | -0.70832 | -2.7787e-09 | -2.5551e-09 | 1.1473 | 0.031503 | -0.033333 | -0.70832 | -1.9615e-09 | 2.0906e-09 | 0.84296 | -0.044499 | -0.03796 | 124.0465 | 0 | 0 | -56.1868 | -84.2413 | -84.2413 | 0.23049 | 1.4517 | 1.409 | 0.32509 | 1.4491 | 1.3427 | -10.9535 | -141.6236 | 143.8689 | -19.8799 | -138.9442 | 144.472
Line_2 | 0 | 0 | 0 | 0.0031368 | 0.0031368 | 0.0031368 | 0 | 0 | 0 | 0.036221 | 0.036221 | 0.036221 | 7.3371e-10 | -2.6729e-09 | -2.1341e-09 | 0.0055951 | 0.028253 | -0.033796 | -4.0195e-10 | -1.7278e-09 | 2.0389e-09 | 0.010361 | -0.044236 | -0.034974 | 0 | 0 | 0 | -81.5097 | -81.5097 | -81.5097 | 0.32446 | 1.4488 | 1.3435 | 0.32509 | 1.4491 | 1.3427 | -19.7468 | -138.9806 | 144.4484 | -19.8799 | -138.9442 | 144.472

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0075486 | 3.0147 | 2.9846 | 0.005095 | 3.0152 | 2.9839 | 0.087164 | 34.8107 | 34.4631 | 0.058832 | 34.816 | 34.4548 | -0.0025981 | 10.3062 | 8.6269 | 0.0020124 | -5.1526 | -4.3091 | -0.13619 | 8.8045 | 12.4915 | 0.093058 | -4.4286 | -6.2178 | 92.6337 | -164.849 | 21.3034 | -88.1273 | 15.1968 | -158.7417 | 1.5628 | 0.38939 | 0.4405 | 1.5821 | 0.19515 | 0.21956 | 1.5409 | -124.342 | 76.6736 | 0.63387 | -124.1247 | 76.5355
Line_1 | 0 | 3.0163 | 2.9822 | 0.0025784 | 3.0157 | 2.9831 | 0 | 34.8297 | 34.4353 | 0.029773 | 34.8224 | 34.4455 | -2.9421e-09 | 6.6631e-11 | 7.4867e-11 | -0.00044419 | 5.1572 | 4.3029 | -2.1938e-11 | -4.6976e-11 | 2.4447e-11 | -0.047102 | 4.4252 | 6.2196 | 0 | 15.291 | -158.834 | 91.1742 | -164.7565 | 21.2125 | 1.6011 | 0 | 0 | 1.5821 | 0.19515 | 0.21956 | -0.19459 | 0 | 0 | 0.63387 | -124.1247 | 76.5355
Line_2 | 0 | 0 | 0 | 0.002517 | 0.002517 | 0.002517 | 0 | 0 | 0 | 0.029064 | 0.029064 | 0.029064 | -2.7985e-09 | 6.4611e-10 | 4.648e-10 | -0.0015683 | -0.0045467 | 0.0061325 | 6.8998e-11 | -5.52e-11 | -6.0901e-10 | -0.045956 | 0.0033906 | -0.0017646 | 0 | 0 | 0 | 92.5884 | 92.5884 | 92.5884 | 1.5823 | 0.19538 | 0.21922 | 1.5821 | 0.19515 | 0.21956 | 0.61949 | -124.0165 | 76.4662 | 0.63387 | -124.1247 | 76.5355

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0075486 | 3.0147 | 2.9846 | 0.005095 | 3.0152 | 2.9839 | 0.087164 | 34.8107 | 34.4631 | 0.058832 | 34.816 | 34.4548 | -0.0025981 | 10.3062 | 8.6269 | 0.0020124 | -5.1526 | -4.3091 | -0.13619 | 8.8045 | 12.4915 | 0.093058 | -4.4286 | -6.2178 | 92.6337 | -164.849 | 21.3034 | -88.1273 | 15.1968 | -158.7417 | 1.5628 | 0.38939 | 0.4405 | 1.5821 | 0.19515 | 0.21956 | 1.5409 | -124.342 | 76.6736 | 0.63387 | -124.1247 | 76.5355
Line_1 | 0 | 3.0163 | 2.9822 | 0.0025784 | 3.0157 | 2.9831 | 0 | 34.8297 | 34.4353 | 0.029773 | 34.8224 | 34.4455 | -2.9421e-09 | 6.6631e-11 | 7.4867e-11 | -0.00044419 | 5.1572 | 4.3029 | -2.1938e-11 | -4.6976e-11 | 2.4447e-11 | -0.047102 | 4.4252 | 6.2196 | 0 | 15.291 | -158.834 | 91.1742 | -164.7565 | 21.2125 | 1.6011 | 0 | 0 | 1.5821 | 0.19515 | 0.21956 | -0.19459 | 0 | 0 | 0.63387 | -124.1247 | 76.5355
Line_2 | 0 | 0 | 0 | 0.002517 | 0.002517 | 0.002517 | 0 | 0 | 0 | 0.029064 | 0.029064 | 0.029064 | -2.7985e-09 | 6.4611e-10 | 4.648e-10 | -0.0015683 | -0.0045467 | 0.0061325 | 6.8998e-11 | -5.52e-11 | -6.0901e-10 | -0.045956 | 0.0033906 | -0.0017646 | 0 | 0 | 0 | 92.5884 | 92.5884 | 92.5884 | 1.5823 | 0.19538 | 0.21922 | 1.5821 | 0.19515 | 0.21956 | 0.61949 | -124.0165 | 76.4662 | 0.63387 | -124.1247 | 76.5355

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0064912 | 1.036 | 1.081 | 0.0043813 | 1.0367 | 1.0797 | 0.074954 | 11.9624 | 12.4818 | 0.050591 | 11.9712 | 12.4674 | -0.0067057 | 6.6124 | 7.0763 | 0.0046165 | -5.9958 | -6.4418 | -0.11194 | 6.0736 | 7.8196 | 0.076436 | -5.7437 | -6.7998 | 95.5978 | -151.6945 | 43.2038 | -85.1632 | 28.4144 | -136.8868 | 1.4961 | 0.75056 | 0.84492 | 1.5136 | 0.69358 | 0.75129 | 2.1696 | -109.1266 | 91.0606 | 1.3804 | -107.8159 | 89.6621
Line_1 | 0 | 1.0385 | 1.077 | 0.0022172 | 1.0376 | 1.0784 | 0 | 11.9915 | 12.4362 | 0.025602 | 11.9809 | 12.4522 | -2.4177e-09 | -5.3924 | -5.7997 | -0.0018645 | 6.0117 | 6.4231 | 7.1e-11 | -5.3924 | -5.7997 | -0.038707 | 5.7368 | 6.8017 | 0 | 28.6359 | -137.0698 | 94.1382 | -151.4755 | 43.0221 | 1.5307 | 0.63595 | 0.65953 | 1.5136 | 0.69358 | 0.75129 | 0.65927 | -106.3641 | 87.9302 | 1.3804 | -107.8159 | 89.6621
Line_2 | 0 | 0 | 0 | 0.0021644 | 0.0021644 | 0.0021644 | 0 | 0 | 0 | 0.024993 | 0.024993 | 0.024993 | -2.2984e-09 | 9.7004e-10 | 5.4597e-10 | -0.002752 | -0.015912 | 0.018677 | 1.4574e-10 | 5.9165e-10 | -1.5305e-09 | -0.037729 | 0.0068755 | -0.0019269 | 0 | 0 | 0 | 95.5524 | 95.5524 | 95.5524 | 1.5138 | 0.69384 | 0.75096 | 1.5136 | 0.69358 | 0.75129 | 1.3677 | -107.7941 | 89.6489 | 1.3804 | -107.8159 | 89.6621

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0064912 | 1.036 | 1.081 | 0.0043813 | 1.0367 | 1.0797 | 0.074954 | 11.9624 | 12.4818 | 0.050591 | 11.9712 | 12.4674 | -0.0067057 | 6.6124 | 7.0763 | 0.0046165 | -5.9958 | -6.4418 | -0.11194 | 6.0736 | 7.8196 | 0.076436 | -5.7437 | -6.7998 | 95.5978 | -151.6945 | 43.2038 | -85.1632 | 28.4144 | -136.8868 | 1.4961 | 0.75056 | 0.84492 | 1.5136 | 0.69358 | 0.75129 | 2.1696 | -109.1266 | 91.0606 | 1.3804 | -107.8159 | 89.6621
Line_1 | 0 | 1.0385 | 1.077 | 0.0022172 | 1.0376 | 1.0784 | 0 | 11.9915 | 12.4362 | 0.025602 | 11.9809 | 12.4522 | -2.4177e-09 | -5.3924 | -5.7997 | -0.0018645 | 6.0117 | 6.4231 | 7.1e-11 | -5.3924 | -5.7997 | -0.038707 | 5.7368 | 6.8017 | 0 | 28.6359 | -137.0698 | 94.1382 | -151.4755 | 43.0221 | 1.5307 | 0.63595 | 0.65953 | 1.5136 | 0.69358 | 0.75129 | 0.65927 | -106.3641 | 87.9302 | 1.3804 | -107.8159 | 89.6621
Line_2 | 0 | 0 | 0 | 0.0021644 | 0.0021644 | 0.0021644 | 0 | 0 | 0 | 0.024993 | 0.024993 | 0.024993 | -2.2984e-09 | 9.7004e-10 | 5.4597e-10 | -0.002752 | -0.015912 | 0.018677 | 1.4574e-10 | 5.9165e-10 | -1.5305e-09 | -0.037729 | 0.0068755 | -0.0019269 | 0 | 0 | 0 | 95.5524 | 95.5524 | 95.5524 | 1.5138 | 0.69384 | 0.75096 | 1.5136 | 0.69358 | 0.75129 | 1.3677 | -107.7941 | 89.6489 | 1.3804 | -107.8159 | 89.6621

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066533 | 2.3998 | 2.4035 | 0.0045215 | 2.4005 | 2.4026 | 0.076825 | 27.7109 | 27.7534 | 0.05221 | 27.7188 | 27.7429 | -0.0040991 | 12.0131 | 11.3314 | 0.0031092 | -6.0168 | -5.6486 | -0.10696 | 4.1502 | 9.5081 | 0.0742 | -2.1086 | -4.7198 | 95.3744 | -152.8977 | 33.7438 | -86.1045 | 27.1506 | -146.3023 | 1.3933 | 0.45866 | 0.53298 | 1.4224 | 0.23001 | 0.26533 | 3.1798 | -133.839 | 73.7437 | 1.496 | -133.5362 | 73.5788
Line_1 | 0 | 2.4023 | 2.4004 | 0.0023044 | 2.4013 | 2.4016 | 0 | 27.7394 | 27.717 | 0.026608 | 27.7283 | 27.7308 | -2.4059e-09 | -1.3391e-10 | -3.6997e-12 | -0.00069991 | 6.0207 | 5.6423 | -1.2829e-12 | -9.5764e-11 | -1.6578e-10 | -0.037842 | 2.1042 | 4.7223 | 0 | 27.2497 | -146.396 | 92.5556 | -152.8003 | 33.6511 | 1.4519 | 0 | 0 | 1.4224 | 0.23001 | 0.26533 | -0.013836 | 0 | 0 | 1.496 | -133.5362 | 73.5788
Line_2 | 0 | 0 | 0 | 0.0022184 | 0.0022184 | 0.0022184 | 0 | 0 | 0 | 0.025616 | 0.025616 | 0.025616 | -2.2062e-09 | 6.2712e-10 | 4.1116e-10 | -0.0024093 | -0.0038792 | 0.0063147 | 1.3373e-10 | -1.9553e-10 | -7.0419e-10 | -0.036358 | 0.0044348 | -0.002514 | 0 | 0 | 0 | 95.2873 | 95.2873 | 95.2873 | 1.4226 | 0.23035 | 0.26475 | 1.4224 | 0.23001 | 0.26533 | 1.469 | -133.3856 | 73.496 | 1.496 | -133.5362 | 73.5788

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066533 | 2.3998 | 2.4035 | 0.0045215 | 2.4005 | 2.4026 | 0.076825 | 27.7109 | 27.7534 | 0.05221 | 27.7188 | 27.7429 | -0.0040991 | 12.0131 | 11.3314 | 0.0031092 | -6.0168 | -5.6486 | -0.10696 | 4.1502 | 9.5081 | 0.0742 | -2.1086 | -4.7198 | 95.3744 | -152.8977 | 33.7438 | -86.1045 | 27.1506 | -146.3023 | 1.3933 | 0.45866 | 0.53298 | 1.4224 | 0.23001 | 0.26533 | 3.1798 | -133.839 | 73.7437 | 1.496 | -133.5362 | 73.5788
Line_1 | 0 | 2.4023 | 2.4004 | 0.0023044 | 2.4013 | 2.4016 | 0 | 27.7394 | 27.717 | 0.026608 | 27.7283 | 27.7308 | -2.4059e-09 | -1.3391e-10 | -3.6997e-12 | -0.00069991 | 6.0207 | 5.6423 | -1.2829e-12 | -9.5764e-11 | -1.6578e-10 | -0.037842 | 2.1042 | 4.7223 | 0 | 27.2497 | -146.396 | 92.5556 | -152.8003 | 33.6511 | 1.4519 | 0 | 0 | 1.4224 | 0.23001 | 0.26533 | -0.013836 | 0 | 0 | 1.496 | -133.5362 | 73.5788
Line_2 | 0 | 0 | 0 | 0.0022184 | 0.0022184 | 0.0022184 | 0 | 0 | 0 | 0.025616 | 0.025616 | 0.025616 | -2.2062e-09 | 6.2712e-10 | 4.1116e-10 | -0.0024093 | -0.0038792 | 0.0063147 | 1.3373e-10 | -1.9553e-10 | -7.0419e-10 | -0.036358 | 0.0044348 | -0.002514 | 0 | 0 | 0 | 95.2873 | 95.2873 | 95.2873 | 1.4226 | 0.23035 | 0.26475 | 1.4224 | 0.23001 | 0.26533 | 1.469 | -133.3856 | 73.496 | 1.496 | -133.5362 | 73.5788

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0057418 | 0.88765 | 0.92064 | 0.0039021 | 0.88833 | 0.91954 | 0.0663 | 10.2497 | 10.6307 | 0.045057 | 10.2575 | 10.618 | -0.006171 | 5.6223 | 6.0422 | 0.0042799 | -4.7888 | -5.1214 | -0.088453 | 4.0516 | 6.0865 | 0.061289 | -4.0183 | -5.1344 | 97.3461 | -148.0963 | 47.0235 | -84.1328 | 32.0144 | -133.0688 | 1.3374 | 0.67612 | 0.80675 | 1.3636 | 0.60944 | 0.68299 | 3.3553 | -112.3186 | 92.2328 | 1.8727 | -107.9855 | 92.0042
Line_1 | 0 | 0.89005 | 0.91699 | 0.0019887 | 0.88913 | 0.91832 | 0 | 10.2775 | 10.5884 | 0.022963 | 10.2668 | 10.6039 | -1.987e-09 | -3.961 | -4.2043 | -0.0014502 | 4.801 | 5.1063 | 4.8095e-11 | -3.961 | -4.2043 | -0.031278 | 4.0126 | 5.1358 | 0 | 32.2399 | -133.2526 | 94.5273 | -147.8736 | 46.8393 | 1.3899 | 0.54504 | 0.56154 | 1.3636 | 0.60944 | 0.68299 | 0.54072 | -102.7601 | 91.7474 | 1.8727 | -107.9855 | 92.0042
Line_2 | 0 | 0 | 0 | 0.0019145 | 0.0019145 | 0.0019145 | 0 | 0 | 0 | 0.022107 | 0.022107 | 0.022107 | -1.8214e-09 | 8.231e-10 | 5.0155e-10 | -0.0028296 | -0.012186 | 0.015035 | 1.6129e-10 | 4.6681e-10 | -1.1751e-09 | -0.030011 | 0.005746 | -0.0013828 | 0 | 0 | 0 | 97.259 | 97.259 | 97.259 | 1.3637 | 0.60992 | 0.68241 | 1.3636 | 0.60944 | 0.68299 | 1.8485 | -107.9516 | 91.9895 | 1.8727 | -107.9855 | 92.0042

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0057418 | 0.88765 | 0.92064 | 0.0039021 | 0.88833 | 0.91954 | 0.0663 | 10.2497 | 10.6307 | 0.045057 | 10.2575 | 10.618 | -0.006171 | 5.6223 | 6.0422 | 0.0042799 | -4.7888 | -5.1214 | -0.088453 | 4.0516 | 6.0865 | 0.061289 | -4.0183 | -5.1344 | 97.3461 | -148.0963 | 47.0235 | -84.1328 | 32.0144 | -133.0688 | 1.3374 | 0.67612 | 0.80675 | 1.3636 | 0.60944 | 0.68299 | 3.3553 | -112.3186 | 92.2328 | 1.8727 | -107.9855 | 92.0042
Line_1 | 0 | 0.89005 | 0.91699 | 0.0019887 | 0.88913 | 0.91832 | 0 | 10.2775 | 10.5884 | 0.022963 | 10.2668 | 10.6039 | -1.987e-09 | -3.961 | -4.2043 | -0.0014502 | 4.801 | 5.1063 | 4.8095e-11 | -3.961 | -4.2043 | -0.031278 | 4.0126 | 5.1358 | 0 | 32.2399 | -133.2526 | 94.5273 | -147.8736 | 46.8393 | 1.3899 | 0.54504 | 0.56154 | 1.3636 | 0.60944 | 0.68299 | 0.54072 | -102.7601 | 91.7474 | 1.8727 | -107.9855 | 92.0042
Line_2 | 0 | 0 | 0 | 0.0019145 | 0.0019145 | 0.0019145 | 0 | 0 | 0 | 0.022107 | 0.022107 | 0.022107 | -1.8214e-09 | 8.231e-10 | 5.0155e-10 | -0.0028296 | -0.012186 | 0.015035 | 1.6129e-10 | 4.6681e-10 | -1.1751e-09 | -0.030011 | 0.005746 | -0.0013828 | 0 | 0 | 0 | 97.259 | 97.259 | 97.259 | 1.3637 | 0.60992 | 0.68241 | 1.3636 | 0.60944 | 0.68299 | 1.8485 | -107.9516 | 91.9895 | 1.8727 | -107.9855 | 92.0042