## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.0843e-14 | -2.6053e-14 | 1.0421e-14 | -1.8237e-14 | 2.0843e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.1106e-13 | -180 | 180 | 2.133e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.6053e-14 | -5.2106e-15 | 2.3448e-14 | -2.0843e-14 | 0 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.1211e-13 | -180 | 180 | 2.133e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.5632e-14 | -1.0421e-14 | 2.3448e-14 | -2.0843e-14 | 0 | -1.9211e-09 | 1.9212e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.2273e-13 | -180 | 180 | 2.133e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.929e-29 | 1.0421e-14 | -5.5641e-25 | -5.2106e-15 | 7.816e-15 | -5.2106e-15 | -5.2106e-15 | 2.6053e-15 | -5.2106e-15 | -1.0421e-14 | 7.816e-15 | 1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.1211e-13 | -180 | 180 | 2.2273e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.0843e-14 | -2.6053e-14 | 1.0421e-14 | -1.8237e-14 | 2.0843e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.1106e-13 | -180 | 180 | 2.133e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.6053e-14 | -5.2106e-15 | 2.3448e-14 | -2.0843e-14 | 0 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.1211e-13 | -180 | 180 | 2.133e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.5632e-14 | -1.0421e-14 | 2.3448e-14 | -2.0843e-14 | 0 | -1.9211e-09 | 1.9212e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.2273e-13 | -180 | 180 | 2.133e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.929e-29 | 1.0421e-14 | -5.5641e-25 | -5.2106e-15 | 7.816e-15 | -5.2106e-15 | -5.2106e-15 | 2.6053e-15 | -5.2106e-15 | -1.0421e-14 | 7.816e-15 | 1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.1211e-13 | -180 | 180 | 2.2273e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.317e-27 | -7.3075e-10 | -2.0393e-09 | 5.2619e-28 | 7.3076e-10 | 2.0393e-09 | -2.6053e-14 | 5.8225e-09 | -3.5561e-09 | 1.0421e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.8964e-12 | -164.9034 | 158.1097 | -2.893e-12 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6328e-28 | 2.4357e-10 | 6.7978e-10 | -1.0421e-14 | -2.4357e-10 | -6.7978e-10 | -5.2106e-15 | -1.9408e-09 | 1.1853e-09 | -5.2106e-15 | 1.9408e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.895e-12 | -164.9034 | 158.1097 | -2.893e-12 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 2.4357e-10 | 6.7978e-10 | -1.5632e-14 | -2.4357e-10 | -6.7978e-10 | 5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -1.0421e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.8856e-12 | -164.9034 | 158.1097 | -2.893e-12 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.9586e-15 | -8.5982e-16 | 2.6243e-28 | 1.4356e-15 | -3.3263e-15 | -1.0421e-14 | -2.2766e-15 | -1.424e-14 | 5.2106e-15 | 7.0762e-15 | 1.5922e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.895e-12 | -164.9034 | 158.1097 | -2.8856e-12 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.317e-27 | -7.3075e-10 | -2.0393e-09 | 5.2619e-28 | 7.3076e-10 | 2.0393e-09 | -2.6053e-14 | 5.8225e-09 | -3.5561e-09 | 1.0421e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.8964e-12 | -164.9034 | 158.1097 | -2.893e-12 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6328e-28 | 2.4357e-10 | 6.7978e-10 | -1.0421e-14 | -2.4357e-10 | -6.7978e-10 | -5.2106e-15 | -1.9408e-09 | 1.1853e-09 | -5.2106e-15 | 1.9408e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.895e-12 | -164.9034 | 158.1097 | -2.893e-12 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 2.4357e-10 | 6.7978e-10 | -1.5632e-14 | -2.4357e-10 | -6.7978e-10 | 5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -1.0421e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.8856e-12 | -164.9034 | 158.1097 | -2.893e-12 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.9586e-15 | -8.5982e-16 | 2.6243e-28 | 1.4356e-15 | -3.3263e-15 | -1.0421e-14 | -2.2766e-15 | -1.424e-14 | 5.2106e-15 | 7.0762e-15 | 1.5922e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -2.895e-12 | -164.9034 | 158.1097 | -2.8856e-12 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 1.0658e-14 | 2.3684e-15 | -7.1054e-15 | -2.3677e-15 | 7.8247e-19 | -2.3685e-14 | 4.7631e-09 | -4.7631e-09 | 2.3685e-14 | -4.7631e-09 | 4.7632e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.4182e-13 | -180 | 180 | 9.6552e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.1846e-15 | -2.3681e-15 | 7.1054e-15 | 2.3682e-15 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.1974e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3495e-13 | -180 | 180 | 9.6552e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.1846e-15 | -7.1051e-15 | 4.737e-15 | 7.1052e-15 | 9.4736e-15 | -7.737e-29 | -1.5877e-09 | 1.5877e-09 | 7.9825e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3583e-13 | -180 | 180 | 9.6552e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 5.9212e-15 | 2.0069e-24 | 2.3685e-15 | -3.5527e-15 | 0 | -3.8649e-29 | 4.737e-15 | 9.4739e-15 | -4.737e-15 | -2.3685e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3495e-13 | -180 | 180 | 9.3583e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 1.0658e-14 | 2.3684e-15 | -7.1054e-15 | -2.3677e-15 | 7.8247e-19 | -2.3685e-14 | 4.7631e-09 | -4.7631e-09 | 2.3685e-14 | -4.7631e-09 | 4.7632e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.4182e-13 | -180 | 180 | 9.6552e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.1846e-15 | -2.3681e-15 | 7.1054e-15 | 2.3682e-15 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.1974e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3495e-13 | -180 | 180 | 9.6552e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.1846e-15 | -7.1051e-15 | 4.737e-15 | 7.1052e-15 | 9.4736e-15 | -7.737e-29 | -1.5877e-09 | 1.5877e-09 | 7.9825e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3583e-13 | -180 | 180 | 9.6552e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 5.9212e-15 | 2.0069e-24 | 2.3685e-15 | -3.5527e-15 | 0 | -3.8649e-29 | 4.737e-15 | 9.4739e-15 | -4.737e-15 | -2.3685e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3495e-13 | -180 | 180 | 9.3583e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -5.5597e-10 | -1.5515e-09 | -7.1054e-15 | 5.5596e-10 | 1.5515e-09 | -1.1842e-14 | 4.8332e-09 | -3.1089e-09 | 7.1054e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -5.6407e-13 | -166.2936 | 160.6236 | -5.4541e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 1.8531e-10 | 5.1715e-10 | 1.4211e-14 | -1.8532e-10 | -5.1715e-10 | 9.4819e-29 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -5.7344e-13 | -166.2936 | 160.6236 | -5.4541e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 1.8531e-10 | 5.1715e-10 | 1.1842e-14 | -1.8531e-10 | -5.1715e-10 | -2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -1.1273e-28 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -5.7239e-13 | -166.2936 | 160.6236 | -5.4541e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0808e-15 | 1.3644e-15 | 2.3685e-15 | -3.411e-16 | -4.0933e-15 | 0 | -2.4561e-15 | 3.8796e-15 | -2.3685e-15 | 1.3986e-15 | -1.1639e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -5.7344e-13 | -166.2936 | 160.6236 | -5.7239e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -5.5597e-10 | -1.5515e-09 | -7.1054e-15 | 5.5596e-10 | 1.5515e-09 | -1.1842e-14 | 4.8332e-09 | -3.1089e-09 | 7.1054e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -5.6407e-13 | -166.2936 | 160.6236 | -5.4541e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 1.8531e-10 | 5.1715e-10 | 1.4211e-14 | -1.8532e-10 | -5.1715e-10 | 9.4819e-29 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -5.7344e-13 | -166.2936 | 160.6236 | -5.4541e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 1.8531e-10 | 5.1715e-10 | 1.1842e-14 | -1.8531e-10 | -5.1715e-10 | -2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -1.1273e-28 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -5.7239e-13 | -166.2936 | 160.6236 | -5.4541e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0808e-15 | 1.3644e-15 | 2.3685e-15 | -3.411e-16 | -4.0933e-15 | 0 | -2.4561e-15 | 3.8796e-15 | -2.3685e-15 | 1.3986e-15 | -1.1639e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | -5.7344e-13 | -166.2936 | 160.6236 | -5.7239e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3946e-10 | -7.3946e-10 | 2.9578e-09 | 7.3946e-10 | 7.3946e-10 | 1.65e-14 | -3.8422e-09 | 3.8422e-09 | -1.1289e-14 | 3.8422e-09 | -3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 1.6617e-08 | -100.8934 | 100.8934 | 2.2194e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8592e-10 | 2.4649e-10 | 2.4648e-10 | -9.8592e-10 | -2.4648e-10 | -2.4648e-10 | 2.6057e-15 | 1.2807e-09 | -1.2808e-09 | 2.6049e-15 | -1.2807e-09 | 1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4054e-08 | -100.8934 | 100.8934 | 2.2194e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8592e-10 | 2.4649e-10 | 2.4649e-10 | -9.8592e-10 | -2.4648e-10 | -2.465e-10 | 1.6501e-14 | 1.2807e-09 | -1.2808e-09 | -4.3426e-15 | -1.2807e-09 | 1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4054e-08 | -100.8934 | 100.8934 | 2.2194e-08 | -100.8934 | 100.8934
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 5.8152e-15 | -1.6313e-14 | 2.1711e-15 | 4.3422e-16 | 8.1567e-15 | 1.7369e-15 | 5.9004e-15 | -1.2499e-14 | 5.2106e-15 | 2.2563e-15 | 6.2494e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4054e-08 | -100.8934 | 100.8934 | 2.4054e-08 | -100.8934 | 100.8934

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3946e-10 | -7.3946e-10 | 2.9578e-09 | 7.3946e-10 | 7.3946e-10 | 1.65e-14 | -3.8422e-09 | 3.8422e-09 | -1.1289e-14 | 3.8422e-09 | -3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 1.6617e-08 | -100.8934 | 100.8934 | 2.2194e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8592e-10 | 2.4649e-10 | 2.4648e-10 | -9.8592e-10 | -2.4648e-10 | -2.4648e-10 | 2.6057e-15 | 1.2807e-09 | -1.2808e-09 | 2.6049e-15 | -1.2807e-09 | 1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4054e-08 | -100.8934 | 100.8934 | 2.2194e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8592e-10 | 2.4649e-10 | 2.4649e-10 | -9.8592e-10 | -2.4648e-10 | -2.465e-10 | 1.6501e-14 | 1.2807e-09 | -1.2808e-09 | -4.3426e-15 | -1.2807e-09 | 1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4054e-08 | -100.8934 | 100.8934 | 2.2194e-08 | -100.8934 | 100.8934
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 5.8152e-15 | -1.6313e-14 | 2.1711e-15 | 4.3422e-16 | 8.1567e-15 | 1.7369e-15 | 5.9004e-15 | -1.2499e-14 | 5.2106e-15 | 2.2563e-15 | 6.2494e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4054e-08 | -100.8934 | 100.8934 | 2.4054e-08 | -100.8934 | 100.8934

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.139e-09 | -1.3989e-09 | -1.7057e-10 | 3.139e-09 | 1.3989e-09 | 1.7056e-10 | 1.4184e-09 | -2.2217e-09 | 2.9309e-09 | -1.4184e-09 | 2.2217e-09 | -2.9309e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0463e-09 | 4.6631e-10 | 5.6847e-11 | -1.0463e-09 | -4.663e-10 | -5.6848e-11 | -4.7279e-10 | 7.4057e-10 | -9.7699e-10 | 4.7281e-10 | -7.4056e-10 | 9.7698e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0463e-09 | 4.6631e-10 | 5.6859e-11 | -1.0463e-09 | -4.6631e-10 | -5.6859e-11 | -4.7279e-10 | 7.4057e-10 | -9.7699e-10 | 4.728e-10 | -7.4057e-10 | 9.7698e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0687e-15 | 2.1611e-15 | -7.1853e-15 | 5.2676e-15 | 7.8149e-15 | 4.7902e-15 | 4.7123e-15 | 6.3524e-15 | -2.1611e-15 | 7.9501e-15 | 5.6102e-15 | 1.4407e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.139e-09 | -1.3989e-09 | -1.7057e-10 | 3.139e-09 | 1.3989e-09 | 1.7056e-10 | 1.4184e-09 | -2.2217e-09 | 2.9309e-09 | -1.4184e-09 | 2.2217e-09 | -2.9309e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0463e-09 | 4.6631e-10 | 5.6847e-11 | -1.0463e-09 | -4.663e-10 | -5.6848e-11 | -4.7279e-10 | 7.4057e-10 | -9.7699e-10 | 4.7281e-10 | -7.4056e-10 | 9.7698e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0463e-09 | 4.6631e-10 | 5.6859e-11 | -1.0463e-09 | -4.6631e-10 | -5.6859e-11 | -4.7279e-10 | 7.4057e-10 | -9.7699e-10 | 4.728e-10 | -7.4057e-10 | 9.7698e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0687e-15 | 2.1611e-15 | -7.1853e-15 | 5.2676e-15 | 7.8149e-15 | 4.7902e-15 | 4.7123e-15 | 6.3524e-15 | -2.1611e-15 | 7.9501e-15 | 5.6102e-15 | 1.4407e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.1111e-10 | -6.1114e-10 | 2.4444e-09 | 6.1112e-10 | 6.1113e-10 | -7.8985e-16 | -3.1754e-09 | 3.1754e-09 | 3.1586e-15 | 3.1754e-09 | -3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 8.3017e-09 | -100.8934 | 100.8934 | 1.388e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.0371e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.0371e-10 | -7.8927e-16 | 1.0585e-09 | -1.0585e-09 | 3.1578e-15 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5739e-08 | -100.8934 | 100.8934 | 1.388e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.0372e-10 | 2.0371e-10 | -8.1481e-10 | -2.0371e-10 | -2.0372e-10 | 7.8972e-16 | 1.0585e-09 | -1.0585e-09 | -1.9738e-19 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5739e-08 | -100.8934 | 100.8934 | 1.388e-08 | -100.8934 | 100.8934
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9475e-16 | 4.7597e-16 | -6.1535e-15 | -3.9475e-16 | 1.12e-14 | -3.3128e-15 | 3.9475e-15 | 1.9053e-14 | -1.1842e-15 | -1.579e-15 | -1.9173e-14 | -4.8918e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5739e-08 | -100.8934 | 100.8934 | 1.5739e-08 | -100.8934 | 100.8934

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.1111e-10 | -6.1114e-10 | 2.4444e-09 | 6.1112e-10 | 6.1113e-10 | -7.8985e-16 | -3.1754e-09 | 3.1754e-09 | 3.1586e-15 | 3.1754e-09 | -3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 8.3017e-09 | -100.8934 | 100.8934 | 1.388e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.0371e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.0371e-10 | -7.8927e-16 | 1.0585e-09 | -1.0585e-09 | 3.1578e-15 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5739e-08 | -100.8934 | 100.8934 | 1.388e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.0372e-10 | 2.0371e-10 | -8.1481e-10 | -2.0371e-10 | -2.0372e-10 | 7.8972e-16 | 1.0585e-09 | -1.0585e-09 | -1.9738e-19 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5739e-08 | -100.8934 | 100.8934 | 1.388e-08 | -100.8934 | 100.8934
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9475e-16 | 4.7597e-16 | -6.1535e-15 | -3.9475e-16 | 1.12e-14 | -3.3128e-15 | 3.9475e-15 | 1.9053e-14 | -1.1842e-15 | -1.579e-15 | -1.9173e-14 | -4.8918e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5739e-08 | -100.8934 | 100.8934 | 1.5739e-08 | -100.8934 | 100.8934

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6247e-09 | -1.1402e-09 | -1.7219e-10 | 2.6247e-09 | 1.1402e-09 | 1.7219e-10 | 1.1178e-09 | -1.9471e-09 | 2.506e-09 | -1.1178e-09 | 1.9471e-09 | -2.506e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8007e-10 | 5.739e-11 | -8.7492e-10 | -3.8007e-10 | -5.7395e-11 | -3.7259e-10 | 6.4902e-10 | -8.3532e-10 | 3.726e-10 | -6.4903e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8007e-10 | 5.7387e-11 | -8.7492e-10 | -3.8007e-10 | -5.7394e-11 | -3.7259e-10 | 6.4903e-10 | -8.3531e-10 | 3.726e-10 | -6.4902e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5456e-15 | 2.8962e-15 | 1.892e-15 | -3.5144e-15 | -2.7652e-16 | -7.1452e-15 | 4.8793e-15 | -9.46e-16 | -6.5145e-15 | -1.2903e-15 | -7.3885e-15 | 2.7949e-16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6247e-09 | -1.1402e-09 | -1.7219e-10 | 2.6247e-09 | 1.1402e-09 | 1.7219e-10 | 1.1178e-09 | -1.9471e-09 | 2.506e-09 | -1.1178e-09 | 1.9471e-09 | -2.506e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8007e-10 | 5.739e-11 | -8.7492e-10 | -3.8007e-10 | -5.7395e-11 | -3.7259e-10 | 6.4902e-10 | -8.3532e-10 | 3.726e-10 | -6.4903e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8007e-10 | 5.7387e-11 | -8.7492e-10 | -3.8007e-10 | -5.7394e-11 | -3.7259e-10 | 6.4903e-10 | -8.3531e-10 | 3.726e-10 | -6.4902e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5456e-15 | 2.8962e-15 | 1.892e-15 | -3.5144e-15 | -2.7652e-16 | -7.1452e-15 | 4.8793e-15 | -9.46e-16 | -6.5145e-15 | -1.2903e-15 | -7.3885e-15 | 2.7949e-16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3942e-10 | -7.3945e-10 | 2.9577e-09 | 7.3943e-10 | 7.3944e-10 | -7.6365e-20 | 3.8423e-09 | -3.8423e-09 | 6.9477e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 1.4793e-09 | -180 | -180 | 2.8737e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8591e-10 | 2.4648e-10 | 2.4649e-10 | -9.8592e-10 | -2.4645e-10 | -2.465e-10 | 1.3895e-14 | -1.2807e-09 | 1.2808e-09 | -6.9476e-15 | 1.2807e-09 | -1.2807e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3385e-09 | -180 | 180 | 2.8737e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8592e-10 | 2.4647e-10 | 2.4649e-10 | -9.8592e-10 | -2.4645e-10 | -2.465e-10 | 1.3895e-14 | -1.2807e-09 | 1.2808e-09 | -6.9476e-15 | 1.2807e-09 | -1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3386e-09 | -180 | 180 | 2.8737e-09 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.9475e-15 | 1.7369e-14 | -3.4738e-15 | -6.9475e-15 | 1.7369e-15 | 3.4738e-15 | 3.4738e-15 | -3.4738e-15 | 6.9475e-15 | -4.0482e-25 | 3.4738e-15 | -6.9475e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3385e-09 | -180 | 180 | 3.3386e-09 | -180 | 180

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3942e-10 | -7.3945e-10 | 2.9577e-09 | 7.3943e-10 | 7.3944e-10 | -7.6365e-20 | 3.8423e-09 | -3.8423e-09 | 6.9477e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 1.4793e-09 | -180 | -180 | 2.8737e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8591e-10 | 2.4648e-10 | 2.4649e-10 | -9.8592e-10 | -2.4645e-10 | -2.465e-10 | 1.3895e-14 | -1.2807e-09 | 1.2808e-09 | -6.9476e-15 | 1.2807e-09 | -1.2807e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3385e-09 | -180 | 180 | 2.8737e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8592e-10 | 2.4647e-10 | 2.4649e-10 | -9.8592e-10 | -2.4645e-10 | -2.465e-10 | 1.3895e-14 | -1.2807e-09 | 1.2808e-09 | -6.9476e-15 | 1.2807e-09 | -1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3386e-09 | -180 | 180 | 2.8737e-09 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.9475e-15 | 1.7369e-14 | -3.4738e-15 | -6.9475e-15 | 1.7369e-15 | 3.4738e-15 | 3.4738e-15 | -3.4738e-15 | 6.9475e-15 | -4.0482e-25 | 3.4738e-15 | -6.9475e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3385e-09 | -180 | 180 | 3.3386e-09 | -180 | 180

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2722e-09 | -1.9041e-09 | -3.1325e-09 | 2.2722e-09 | 1.9041e-09 | 3.1325e-09 | 7.0919e-10 | 4.3493e-09 | -8.0334e-10 | -7.0919e-10 | -4.3493e-09 | 8.0335e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5739e-10 | 6.347e-10 | 1.0442e-09 | -7.5739e-10 | -6.347e-10 | -1.0442e-09 | -2.364e-10 | -1.4498e-09 | 2.6777e-10 | 2.364e-10 | 1.4498e-09 | -2.6777e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.574e-10 | 6.3469e-10 | 1.0442e-09 | -7.5739e-10 | -6.3469e-10 | -1.0442e-09 | -2.364e-10 | -1.4498e-09 | 2.6778e-10 | 2.3639e-10 | 1.4498e-09 | -2.6778e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.046e-15 | 6.8366e-15 | -3.899e-15 | 0 | -6.7882e-15 | 6.4782e-16 | 2.7764e-16 | -4.8418e-17 | -8.458e-15 | 0 | 6.8851e-15 | 5.8546e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2722e-09 | -1.9041e-09 | -3.1325e-09 | 2.2722e-09 | 1.9041e-09 | 3.1325e-09 | 7.0919e-10 | 4.3493e-09 | -8.0334e-10 | -7.0919e-10 | -4.3493e-09 | 8.0335e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5739e-10 | 6.347e-10 | 1.0442e-09 | -7.5739e-10 | -6.347e-10 | -1.0442e-09 | -2.364e-10 | -1.4498e-09 | 2.6777e-10 | 2.364e-10 | 1.4498e-09 | -2.6777e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.574e-10 | 6.3469e-10 | 1.0442e-09 | -7.5739e-10 | -6.3469e-10 | -1.0442e-09 | -2.364e-10 | -1.4498e-09 | 2.6778e-10 | 2.3639e-10 | 1.4498e-09 | -2.6778e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.046e-15 | 6.8366e-15 | -3.899e-15 | 0 | -6.7882e-15 | 6.4782e-16 | 2.7764e-16 | -4.8418e-17 | -8.458e-15 | 0 | 6.8851e-15 | 5.8546e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.1111e-10 | -6.1111e-10 | 2.4444e-09 | 6.1111e-10 | 6.1111e-10 | -6.3159e-15 | 3.1754e-09 | -3.1754e-09 | 6.316e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | -3.7443e-11 | -180 | 180 | 1.357e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.037e-10 | 2.037e-10 | -8.1481e-10 | -2.0371e-10 | -2.037e-10 | 2.5909e-20 | -1.0585e-09 | 1.0585e-09 | 6.3159e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8218e-09 | -180 | 180 | 1.357e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.037e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.037e-10 | -3.1579e-15 | -1.0585e-09 | 1.0585e-09 | 6.3159e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8218e-09 | -180 | 180 | 1.357e-09 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0083e-25 | 3.158e-15 | -1.579e-15 | 3.158e-15 | -3.9475e-15 | 0 | 6.3159e-15 | 6.3159e-15 | 4.5263e-25 | -3.158e-15 | -1.579e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8218e-09 | -180 | 180 | 1.8218e-09 | -180 | 180

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.1111e-10 | -6.1111e-10 | 2.4444e-09 | 6.1111e-10 | 6.1111e-10 | -6.3159e-15 | 3.1754e-09 | -3.1754e-09 | 6.316e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | -3.7443e-11 | -180 | 180 | 1.357e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.037e-10 | 2.037e-10 | -8.1481e-10 | -2.0371e-10 | -2.037e-10 | 2.5909e-20 | -1.0585e-09 | 1.0585e-09 | 6.3159e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8218e-09 | -180 | 180 | 1.357e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.037e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.037e-10 | -3.1579e-15 | -1.0585e-09 | 1.0585e-09 | 6.3159e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8218e-09 | -180 | 180 | 1.357e-09 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0083e-25 | 3.158e-15 | -1.579e-15 | 3.158e-15 | -3.9475e-15 | 0 | 6.3159e-15 | 6.3159e-15 | 4.5263e-25 | -3.158e-15 | -1.579e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8218e-09 | -180 | 180 | 1.8218e-09 | -180 | 180

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9417e-09 | -1.5384e-09 | -2.5064e-09 | 1.9417e-09 | 1.5384e-09 | 2.5064e-09 | 5.5888e-10 | 3.6237e-09 | -8.2929e-10 | -5.5888e-10 | -3.6237e-09 | 8.2929e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1279e-10 | 8.3546e-10 | -6.4722e-10 | -5.1279e-10 | -8.3546e-10 | -1.863e-10 | -1.2079e-09 | 2.7643e-10 | 1.863e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1279e-10 | 8.3546e-10 | -6.4722e-10 | -5.1278e-10 | -8.3546e-10 | -1.863e-10 | -1.2079e-09 | 2.7642e-10 | 1.863e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.4169e-15 | 6.2151e-15 | 3.6005e-15 | 1.5742e-15 | -4.1558e-15 | -9.0805e-16 | 2.1158e-15 | 5.7569e-15 | 6.7778e-15 | -3.7502e-15 | 1.0583e-15 | -4.3986e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9417e-09 | -1.5384e-09 | -2.5064e-09 | 1.9417e-09 | 1.5384e-09 | 2.5064e-09 | 5.5888e-10 | 3.6237e-09 | -8.2929e-10 | -5.5888e-10 | -3.6237e-09 | 8.2929e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1279e-10 | 8.3546e-10 | -6.4722e-10 | -5.1279e-10 | -8.3546e-10 | -1.863e-10 | -1.2079e-09 | 2.7643e-10 | 1.863e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1279e-10 | 8.3546e-10 | -6.4722e-10 | -5.1278e-10 | -8.3546e-10 | -1.863e-10 | -1.2079e-09 | 2.7642e-10 | 1.863e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.4169e-15 | 6.2151e-15 | 3.6005e-15 | 1.5742e-15 | -4.1558e-15 | -9.0805e-16 | 2.1158e-15 | 5.7569e-15 | 6.7778e-15 | -3.7502e-15 | 1.0583e-15 | -4.3986e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657