## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.8824e-15 | 1.15e-14 | -3.8433e-15 | -5.3723e-15 | 6.9994e-15 | -1.0789e-15 | 1.1127e-14 | -7.4978e-15 | 6.0011e-15 | -1.1382e-14 | -1.8323e-15 | -4.9222e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.8824e-15 | 1.15e-14 | -3.8433e-15 | -5.3723e-15 | 6.9994e-15 | -1.0789e-15 | 1.1127e-14 | -7.4978e-15 | 6.0011e-15 | -1.1382e-14 | -1.8323e-15 | -4.9222e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8744e-16 | 5.606e-15 | 1.4368e-14 | -6.8744e-16 | -2.1264e-15 | -4.4327e-15 | 2.766e-15 | -8.5219e-15 | 6.818e-15 | -2.766e-15 | 4.9134e-15 | -1.8553e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8744e-16 | 5.606e-15 | 1.4368e-14 | -6.8744e-16 | -2.1264e-15 | -4.4327e-15 | 2.766e-15 | -8.5219e-15 | 6.818e-15 | -2.766e-15 | 4.9134e-15 | -1.8553e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0292e-15 | -2.8907e-15 | 8.4844e-16 | -9.8655e-15 | 7.3394e-15 | 4.763e-15 | -4.6435e-15 | 5.5797e-15 | -4.252e-15 | 4.4506e-15 | -4.5239e-15 | 2.7189e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0292e-15 | -2.8907e-15 | 8.4844e-16 | -9.8655e-15 | 7.3394e-15 | 4.763e-15 | -4.6435e-15 | 5.5797e-15 | -4.252e-15 | 4.4506e-15 | -4.5239e-15 | 2.7189e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3529e-15 | -6.5763e-15 | 0 | 9.2866e-16 | 9.2644e-15 | 5.0898e-16 | 1.1623e-15 | -1.8826e-15 | 0 | -2.3546e-15 | -6.702e-17 | -9.3303e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3529e-15 | -6.5763e-15 | 0 | 9.2866e-16 | 9.2644e-15 | 5.0898e-16 | 1.1623e-15 | -1.8826e-15 | 0 | -2.3546e-15 | -6.702e-17 | -9.3303e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8352 | 0.71433 | 0.66827 | 1.8377 | 0.71743 | 0.67063 | 21.191 | 8.2484 | 7.7165 | 21.2195 | 8.2841 | 7.7438 | 8.6164e-11 | -5.4517 | 13.5707 | 8.0075 | 7.6633 | -11.0782 | -8.7746e-11 | 8.7278 | 2.2933 | 3.0627 | -6.8887 | -1.8136 | 116.0429 | 86.3882 | 119.3163 | -64.0172 | -93.6479 | -60.86 |  | 0 | 1.2476 | 1.7836 | 0.40403 | 1.2439 | 1.4496 | 0 | -151.6216 | 128.9079 | -43.0861 | -135.6009 | 128.4372
Line_1 | 0.92094 | 0.36086 | 0.33738 | 0.91883 | 0.35871 | 0.33531 | 10.634 | 4.1668 | 3.8957 | 10.6098 | 4.1421 | 3.8719 | 6.0245 | 4.4017 | -4.9318 | -4.0037 | -3.8317 | 5.5391 | 2.306 | -2.9985 | -0.79037 | -1.5314 | 3.4443 | 0.90678 | -64.0566 | -93.5703 | -60.9871 | 115.9828 | 86.3521 | 119.14 |  | 0.60662 | 1.2782 | 1.2821 | 0.40403 | 1.2439 | 1.4496 | -43.1114 | -127.8337 | 128.1177 | -43.0861 | -135.6009 | 128.4372
Line_2 | 0.92094 | 0.36086 | 0.33738 | 0.91883 | 0.35871 | 0.33531 | 10.634 | 4.1668 | 3.8957 | 10.6098 | 4.1421 | 3.8719 | 6.0245 | 4.4017 | -4.9318 | -4.0037 | -3.8317 | 5.5391 | 2.306 | -2.9985 | -0.79037 | -1.5314 | 3.4443 | 0.90678 | -64.0566 | -93.5703 | -60.9871 | 115.9828 | 86.3521 | 119.14 |  | 0.60662 | 1.2782 | 1.2821 | 0.40403 | 1.2439 | 1.4496 | -43.1114 | -127.8337 | 128.1177 | -43.0861 | -135.6009 | 128.4372
Line_3 | 0.00099522 | 0.00099522 | 0.00099522 | 0.00099522 | 0.00099522 | 0.00099522 | 0.011492 | 0.011492 | 0.011492 | 0.011492 | 0.011492 | 0.011492 | 0.0062252 | 0.0077892 | -0.014014 | 0.0062252 | 0.0077892 | -0.014014 | 0.0031373 | -0.012454 | -0.004547 | 0.0031373 | -0.012454 | -0.004547 | -69.858 | -69.858 | -69.858 | -69.858 | -69.858 | -69.858 |  | 0.60662 | 1.2782 | 1.2821 | 0.60662 | 1.2782 | 1.2821 | -43.1114 | -127.8337 | 128.1177 | -43.1114 | -127.8337 | 128.1177

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8352 | 0.71433 | 0.66827 | 1.8377 | 0.71743 | 0.67063 | 21.191 | 8.2484 | 7.7165 | 21.2195 | 8.2841 | 7.7438 | 8.6164e-11 | -5.4517 | 13.5707 | 8.0075 | 7.6633 | -11.0782 | -8.7746e-11 | 8.7278 | 2.2933 | 3.0627 | -6.8887 | -1.8136 | 116.0429 | 86.3882 | 119.3163 | -64.0172 | -93.6479 | -60.86 |  | 0 | 1.2476 | 1.7836 | 0.40403 | 1.2439 | 1.4496 | 0 | -151.6216 | 128.9079 | -43.0861 | -135.6009 | 128.4372
Line_1 | 0.92094 | 0.36086 | 0.33738 | 0.91883 | 0.35871 | 0.33531 | 10.634 | 4.1668 | 3.8957 | 10.6098 | 4.1421 | 3.8719 | 6.0245 | 4.4017 | -4.9318 | -4.0037 | -3.8317 | 5.5391 | 2.306 | -2.9985 | -0.79037 | -1.5314 | 3.4443 | 0.90678 | -64.0566 | -93.5703 | -60.9871 | 115.9828 | 86.3521 | 119.14 |  | 0.60662 | 1.2782 | 1.2821 | 0.40403 | 1.2439 | 1.4496 | -43.1114 | -127.8337 | 128.1177 | -43.0861 | -135.6009 | 128.4372
Line_2 | 0.92094 | 0.36086 | 0.33738 | 0.91883 | 0.35871 | 0.33531 | 10.634 | 4.1668 | 3.8957 | 10.6098 | 4.1421 | 3.8719 | 6.0245 | 4.4017 | -4.9318 | -4.0037 | -3.8317 | 5.5391 | 2.306 | -2.9985 | -0.79037 | -1.5314 | 3.4443 | 0.90678 | -64.0566 | -93.5703 | -60.9871 | 115.9828 | 86.3521 | 119.14 |  | 0.60662 | 1.2782 | 1.2821 | 0.40403 | 1.2439 | 1.4496 | -43.1114 | -127.8337 | 128.1177 | -43.0861 | -135.6009 | 128.4372
Line_3 | 0.00099522 | 0.00099522 | 0.00099522 | 0.00099522 | 0.00099522 | 0.00099522 | 0.011492 | 0.011492 | 0.011492 | 0.011492 | 0.011492 | 0.011492 | 0.0062252 | 0.0077892 | -0.014014 | 0.0062252 | 0.0077892 | -0.014014 | 0.0031373 | -0.012454 | -0.004547 | 0.0031373 | -0.012454 | -0.004547 | -69.858 | -69.858 | -69.858 | -69.858 | -69.858 | -69.858 |  | 0.60662 | 1.2782 | 1.2821 | 0.60662 | 1.2782 | 1.2821 | -43.1114 | -127.8337 | 128.1177 | -43.1114 | -127.8337 | 128.1177

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68971 | 0.18974 | 0.26927 | 0.6905 | 0.19041 | 0.26942 | 7.9641 | 2.1909 | 3.1093 | 7.9732 | 2.1987 | 3.111 | -2.8603 | -2.4998 | 3.1538 | 3.7736 | 2.5291 | -2.8987 | -5.8249 | -0.42232 | -2.642 | 6.3188 | 0.62916 | 2.5277 | 113.9819 | 40.8251 | 164.1523 | -66.0567 | -138.9888 | -16.0398 |  | 0.81481 | 1.1572 | 1.3232 | 0.92307 | 1.1853 | 1.2363 | -2.1713 | -129.5859 | 124.1986 | -6.9024 | -125.0189 | 122.8706
Line_1 | 0.34588 | 0.095496 | 0.13504 | 0.34525 | 0.095207 | 0.13471 | 3.9939 | 1.1027 | 1.5593 | 3.9866 | 1.0994 | 1.5555 | 2.1189 | 1.2754 | -1.3911 | -1.8868 | -1.2645 | 1.4493 | 3.2874 | 0.3616 | 1.2347 | -3.1594 | -0.31458 | -1.2639 | -66.0742 | -138.6442 | -16.2744 | 113.9433 | 41.0112 | 163.9602 |  | 0.97927 | 1.2022 | 1.1929 | 0.92307 | 1.1853 | 1.2363 | -8.8778 | -122.8149 | 122.135 | -6.9024 | -125.0189 | 122.8706
Line_2 | 0.34588 | 0.095496 | 0.13504 | 0.34525 | 0.095207 | 0.13471 | 3.9939 | 1.1027 | 1.5593 | 3.9866 | 1.0994 | 1.5555 | 2.1189 | 1.2754 | -1.3911 | -1.8868 | -1.2645 | 1.4493 | 3.2874 | 0.3616 | 1.2347 | -3.1594 | -0.31458 | -1.2639 | -66.0742 | -138.6442 | -16.2744 | 113.9433 | 41.0112 | 163.9602 |  | 0.97927 | 1.2022 | 1.1929 | 0.92307 | 1.1853 | 1.2363 | -8.8778 | -122.8149 | 122.135 | -6.9024 | -125.0189 | 122.8706
Line_3 | 0.00029089 | 0.00029089 | 0.00029089 | 0.00029089 | 0.00029089 | 0.00029089 | 0.0033589 | 0.0033589 | 0.0033589 | 0.0033589 | 0.0033589 | 0.0033589 | 0.0018534 | 0.0021259 | -0.0039793 | 0.0018534 | 0.0021259 | -0.0039793 | 0.0027174 | -0.0034332 | -0.00046863 | 0.0027174 | -0.0034332 | -0.00046863 | -64.5815 | -64.5815 | -64.5815 | -64.5815 | -64.5815 | -64.5815 |  | 0.97927 | 1.2022 | 1.1929 | 0.97927 | 1.2022 | 1.1929 | -8.8778 | -122.8149 | 122.135 | -8.8778 | -122.8149 | 122.135

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68971 | 0.18974 | 0.26927 | 0.6905 | 0.19041 | 0.26942 | 7.9641 | 2.1909 | 3.1093 | 7.9732 | 2.1987 | 3.111 | -2.8603 | -2.4998 | 3.1538 | 3.7736 | 2.5291 | -2.8987 | -5.8249 | -0.42232 | -2.642 | 6.3188 | 0.62916 | 2.5277 | 113.9819 | 40.8251 | 164.1523 | -66.0567 | -138.9888 | -16.0398 |  | 0.81481 | 1.1572 | 1.3232 | 0.92307 | 1.1853 | 1.2363 | -2.1713 | -129.5859 | 124.1986 | -6.9024 | -125.0189 | 122.8706
Line_1 | 0.34588 | 0.095496 | 0.13504 | 0.34525 | 0.095207 | 0.13471 | 3.9939 | 1.1027 | 1.5593 | 3.9866 | 1.0994 | 1.5555 | 2.1189 | 1.2754 | -1.3911 | -1.8868 | -1.2645 | 1.4493 | 3.2874 | 0.3616 | 1.2347 | -3.1594 | -0.31458 | -1.2639 | -66.0742 | -138.6442 | -16.2744 | 113.9433 | 41.0112 | 163.9602 |  | 0.97927 | 1.2022 | 1.1929 | 0.92307 | 1.1853 | 1.2363 | -8.8778 | -122.8149 | 122.135 | -6.9024 | -125.0189 | 122.8706
Line_2 | 0.34588 | 0.095496 | 0.13504 | 0.34525 | 0.095207 | 0.13471 | 3.9939 | 1.1027 | 1.5593 | 3.9866 | 1.0994 | 1.5555 | 2.1189 | 1.2754 | -1.3911 | -1.8868 | -1.2645 | 1.4493 | 3.2874 | 0.3616 | 1.2347 | -3.1594 | -0.31458 | -1.2639 | -66.0742 | -138.6442 | -16.2744 | 113.9433 | 41.0112 | 163.9602 |  | 0.97927 | 1.2022 | 1.1929 | 0.92307 | 1.1853 | 1.2363 | -8.8778 | -122.8149 | 122.135 | -6.9024 | -125.0189 | 122.8706
Line_3 | 0.00029089 | 0.00029089 | 0.00029089 | 0.00029089 | 0.00029089 | 0.00029089 | 0.0033589 | 0.0033589 | 0.0033589 | 0.0033589 | 0.0033589 | 0.0033589 | 0.0018534 | 0.0021259 | -0.0039793 | 0.0018534 | 0.0021259 | -0.0039793 | 0.0027174 | -0.0034332 | -0.00046863 | 0.0027174 | -0.0034332 | -0.00046863 | -64.5815 | -64.5815 | -64.5815 | -64.5815 | -64.5815 | -64.5815 |  | 0.97927 | 1.2022 | 1.1929 | 0.97927 | 1.2022 | 1.1929 | -8.8778 | -122.8149 | 122.135 | -8.8778 | -122.8149 | 122.135

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2316 | 0.52296 | 0.42553 | 1.2328 | 0.52504 | 0.42773 | 14.2212 | 6.0386 | 4.9136 | 14.2356 | 6.0626 | 4.9391 | -3.3143e-11 | 0.42006 | 7.8248 | 6.9139 | 2.0361 | -5.966 | 7.3387e-12 | 6.8085 | 2.5447 | 0.67608 | -5.882 | -1.7068 | 138.0104 | 115.598 | 111.4059 | -42.1031 | -64.5967 | -68.8121 |  | 0 | 1.1296 | 1.6746 | 0.48799 | 1.0267 | 1.2564 | 0 | -157.9324 | 129.4212 | -36.5181 | -135.5033 | 127.1528
Line_1 | 0.61763 | 0.26394 | 0.21531 | 0.61642 | 0.26252 | 0.21387 | 7.1318 | 3.0477 | 2.4861 | 7.1178 | 3.0313 | 2.4695 | 5.1999 | 1.6407 | -2.5249 | -3.4569 | -1.018 | 2.983 | 0.51109 | -2.7159 | -0.63948 | -0.33804 | 2.941 | 0.85338 | -42.1756 | -64.6525 | -68.8525 | 137.8969 | 115.4033 | 111.1879 |  | 0.73263 | 1.0411 | 1.0477 | 0.48799 | 1.0267 | 1.2564 | -36.5621 | -123.5162 | 125.3598 | -36.5181 | -135.5033 | 127.1528
Line_2 | 0.61763 | 0.26394 | 0.21531 | 0.61642 | 0.26252 | 0.21387 | 7.1318 | 3.0477 | 2.4861 | 7.1178 | 3.0313 | 2.4695 | 5.1999 | 1.6407 | -2.5249 | -3.4569 | -1.018 | 2.983 | 0.51109 | -2.7159 | -0.63948 | -0.33804 | 2.941 | 0.85338 | -42.1756 | -64.6525 | -68.8525 | 137.8969 | 115.4033 | 111.1879 |  | 0.73263 | 1.0411 | 1.0477 | 0.48799 | 1.0267 | 1.2564 | -36.5621 | -123.5162 | 125.3598 | -36.5181 | -135.5033 | 127.1528
Line_3 | 0.00061392 | 0.00061392 | 0.00061392 | 0.00061392 | 0.00061392 | 0.00061392 | 0.0070889 | 0.0070889 | 0.0070889 | 0.0070889 | 0.0070889 | 0.0070889 | 0.0049866 | 0.0024365 | -0.007423 | 0.0049866 | 0.0024365 | -0.007423 | 0.0014517 | -0.0069664 | 0.00023936 | 0.0014517 | -0.0069664 | 0.00023936 | -52.7933 | -52.7933 | -52.7933 | -52.7933 | -52.7933 | -52.7933 |  | 0.73263 | 1.0411 | 1.0477 | 0.73263 | 1.0411 | 1.0477 | -36.5621 | -123.5162 | 125.3598 | -36.5621 | -123.5162 | 125.3598

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2316 | 0.52296 | 0.42553 | 1.2328 | 0.52504 | 0.42773 | 14.2212 | 6.0386 | 4.9136 | 14.2356 | 6.0626 | 4.9391 | -3.3143e-11 | 0.42006 | 7.8248 | 6.9139 | 2.0361 | -5.966 | 7.3387e-12 | 6.8085 | 2.5447 | 0.67608 | -5.882 | -1.7068 | 138.0104 | 115.598 | 111.4059 | -42.1031 | -64.5967 | -68.8121 |  | 0 | 1.1296 | 1.6746 | 0.48799 | 1.0267 | 1.2564 | 0 | -157.9324 | 129.4212 | -36.5181 | -135.5033 | 127.1528
Line_1 | 0.61763 | 0.26394 | 0.21531 | 0.61642 | 0.26252 | 0.21387 | 7.1318 | 3.0477 | 2.4861 | 7.1178 | 3.0313 | 2.4695 | 5.1999 | 1.6407 | -2.5249 | -3.4569 | -1.018 | 2.983 | 0.51109 | -2.7159 | -0.63948 | -0.33804 | 2.941 | 0.85338 | -42.1756 | -64.6525 | -68.8525 | 137.8969 | 115.4033 | 111.1879 |  | 0.73263 | 1.0411 | 1.0477 | 0.48799 | 1.0267 | 1.2564 | -36.5621 | -123.5162 | 125.3598 | -36.5181 | -135.5033 | 127.1528
Line_2 | 0.61763 | 0.26394 | 0.21531 | 0.61642 | 0.26252 | 0.21387 | 7.1318 | 3.0477 | 2.4861 | 7.1178 | 3.0313 | 2.4695 | 5.1999 | 1.6407 | -2.5249 | -3.4569 | -1.018 | 2.983 | 0.51109 | -2.7159 | -0.63948 | -0.33804 | 2.941 | 0.85338 | -42.1756 | -64.6525 | -68.8525 | 137.8969 | 115.4033 | 111.1879 |  | 0.73263 | 1.0411 | 1.0477 | 0.48799 | 1.0267 | 1.2564 | -36.5621 | -123.5162 | 125.3598 | -36.5181 | -135.5033 | 127.1528
Line_3 | 0.00061392 | 0.00061392 | 0.00061392 | 0.00061392 | 0.00061392 | 0.00061392 | 0.0070889 | 0.0070889 | 0.0070889 | 0.0070889 | 0.0070889 | 0.0070889 | 0.0049866 | 0.0024365 | -0.007423 | 0.0049866 | 0.0024365 | -0.007423 | 0.0014517 | -0.0069664 | 0.00023936 | 0.0014517 | -0.0069664 | 0.00023936 | -52.7933 | -52.7933 | -52.7933 | -52.7933 | -52.7933 | -52.7933 |  | 0.73263 | 1.0411 | 1.0477 | 0.73263 | 1.0411 | 1.0477 | -36.5621 | -123.5162 | 125.3598 | -36.5621 | -123.5162 | 125.3598

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37252 | 0.15818 | 0.12871 | 0.3729 | 0.15881 | 0.12938 | 4.3015 | 1.8265 | 1.4862 | 4.3059 | 1.8338 | 1.4939 | -2.0405 | -0.77523 | 1.7238 | 2.6707 | 1.0065 | -1.558 | -2.2049 | 1.6054 | 0.48082 | 2.2731 | -1.5217 | -0.4093 | 134.3608 | 111.9484 | 107.7563 | -45.7527 | -68.2463 | -72.4617 |  | 0.69841 | 0.97604 | 1.2041 | 0.81448 | 0.99493 | 1.0783 | 1.5797 | -132.2757 | 123.3417 | -5.3509 | -124.7641 | 122.2575
Line_1 | 0.18682 | 0.079836 | 0.065124 | 0.18645 | 0.079405 | 0.064689 | 2.1572 | 0.92186 | 0.75199 | 2.1529 | 0.91689 | 0.74697 | 1.4954 | 0.56293 | -0.74042 | -1.3353 | -0.50327 | 0.77901 | 1.1558 | -0.74253 | -0.18629 | -1.1365 | 0.76086 | 0.20465 | -45.8252 | -68.3021 | -72.5021 | 134.2473 | 111.7537 | 107.5383 |  | 0.87616 | 1.0108 | 1.0153 | 0.81448 | 0.99493 | 1.0783 | -8.1239 | -121.1353 | 121.6205 | -5.3509 | -124.7641 | 122.2575
Line_2 | 0.18682 | 0.079836 | 0.065124 | 0.18645 | 0.079405 | 0.064689 | 2.1572 | 0.92186 | 0.75199 | 2.1529 | 0.91689 | 0.74697 | 1.4954 | 0.56293 | -0.74042 | -1.3353 | -0.50327 | 0.77901 | 1.1558 | -0.74253 | -0.18629 | -1.1365 | 0.76086 | 0.20465 | -45.8252 | -68.3021 | -72.5021 | 134.2473 | 111.7537 | 107.5383 |  | 0.87616 | 1.0108 | 1.0153 | 0.81448 | 0.99493 | 1.0783 | -8.1239 | -121.1353 | 121.6205 | -5.3509 | -124.7641 | 122.2575
Line_3 | 0.00018569 | 0.00018569 | 0.00018569 | 0.00018569 | 0.00018569 | 0.00018569 | 0.0021442 | 0.0021442 | 0.0021442 | 0.0021442 | 0.0021442 | 0.0021442 | 0.0012493 | 0.00092648 | -0.0021758 | 0.0012493 | 0.00092648 | -0.0021758 | 0.0014031 | -0.0019593 | 7.3571e-05 | 0.0014031 | -0.0019593 | 7.3571e-05 | -56.4429 | -56.4429 | -56.4429 | -56.4429 | -56.4429 | -56.4429 |  | 0.87616 | 1.0108 | 1.0153 | 0.87616 | 1.0108 | 1.0153 | -8.1239 | -121.1353 | 121.6205 | -8.1239 | -121.1353 | 121.6205

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37252 | 0.15818 | 0.12871 | 0.3729 | 0.15881 | 0.12938 | 4.3015 | 1.8265 | 1.4862 | 4.3059 | 1.8338 | 1.4939 | -2.0405 | -0.77523 | 1.7238 | 2.6707 | 1.0065 | -1.558 | -2.2049 | 1.6054 | 0.48082 | 2.2731 | -1.5217 | -0.4093 | 134.3608 | 111.9484 | 107.7563 | -45.7527 | -68.2463 | -72.4617 |  | 0.69841 | 0.97604 | 1.2041 | 0.81448 | 0.99493 | 1.0783 | 1.5797 | -132.2757 | 123.3417 | -5.3509 | -124.7641 | 122.2575
Line_1 | 0.18682 | 0.079836 | 0.065124 | 0.18645 | 0.079405 | 0.064689 | 2.1572 | 0.92186 | 0.75199 | 2.1529 | 0.91689 | 0.74697 | 1.4954 | 0.56293 | -0.74042 | -1.3353 | -0.50327 | 0.77901 | 1.1558 | -0.74253 | -0.18629 | -1.1365 | 0.76086 | 0.20465 | -45.8252 | -68.3021 | -72.5021 | 134.2473 | 111.7537 | 107.5383 |  | 0.87616 | 1.0108 | 1.0153 | 0.81448 | 0.99493 | 1.0783 | -8.1239 | -121.1353 | 121.6205 | -5.3509 | -124.7641 | 122.2575
Line_2 | 0.18682 | 0.079836 | 0.065124 | 0.18645 | 0.079405 | 0.064689 | 2.1572 | 0.92186 | 0.75199 | 2.1529 | 0.91689 | 0.74697 | 1.4954 | 0.56293 | -0.74042 | -1.3353 | -0.50327 | 0.77901 | 1.1558 | -0.74253 | -0.18629 | -1.1365 | 0.76086 | 0.20465 | -45.8252 | -68.3021 | -72.5021 | 134.2473 | 111.7537 | 107.5383 |  | 0.87616 | 1.0108 | 1.0153 | 0.81448 | 0.99493 | 1.0783 | -8.1239 | -121.1353 | 121.6205 | -5.3509 | -124.7641 | 122.2575
Line_3 | 0.00018569 | 0.00018569 | 0.00018569 | 0.00018569 | 0.00018569 | 0.00018569 | 0.0021442 | 0.0021442 | 0.0021442 | 0.0021442 | 0.0021442 | 0.0021442 | 0.0012493 | 0.00092648 | -0.0021758 | 0.0012493 | 0.00092648 | -0.0021758 | 0.0014031 | -0.0019593 | 7.3571e-05 | 0.0014031 | -0.0019593 | 7.3571e-05 | -56.4429 | -56.4429 | -56.4429 | -56.4429 | -56.4429 | -56.4429 |  | 0.87616 | 1.0108 | 1.0153 | 0.87616 | 1.0108 | 1.0153 | -8.1239 | -121.1353 | 121.6205 | -8.1239 | -121.1353 | 121.6205

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20918 | 2.0302 | 1.3376 | 0.21123 | 2.0308 | 1.3392 | 2.4155 | 23.4426 | 15.4455 | 2.4391 | 23.4493 | 15.4637 | 1.2978 | 3.4001e-11 | 2.1422e-11 | -0.88355 | 6.3447 | 1.0113 | 3.5753 | -1.0919e-11 | -9.51e-12 | -3.3032 | 0.35889 | 4.1463 | -74.9 | -13.0946 | -128.0326 | 104.9805 | 166.8487 | 52.0261 |  | 1.5747 | 0 | 0 | 1.4019 | 0.271 | 0.27599 | -4.8509 | 0 | 0 | 0.0053273 | 170.0862 | 128.3192
Line_1 | 0.10706 | 1.0163 | 0.67029 | 0.10562 | 1.0154 | 0.6696 | 1.2363 | 11.7349 | 7.7398 | 1.2195 | 11.7246 | 7.7319 | -0.3445 | 4.7662 | 0.76614 | 0.44177 | -3.1724 | -0.50565 | -1.5948 | 0.27168 | 3.1147 | 1.6516 | -0.17945 | -2.0732 | 105.1047 | 166.7828 | 52.1369 | -75.0195 | -13.1513 | -127.9739 |  | 1.3197 | 0.40682 | 0.41442 | 1.4019 | 0.271 | 0.27599 | 2.9151 | 170.0452 | 128.3178 | 0.0053273 | 170.0862 | 128.3192
Line_2 | 0.10706 | 1.0163 | 0.67029 | 0.10562 | 1.0154 | 0.6696 | 1.2363 | 11.7349 | 7.7398 | 1.2195 | 11.7246 | 7.7319 | -0.3445 | 4.7662 | 0.76614 | 0.44177 | -3.1724 | -0.50565 | -1.5948 | 0.27168 | 3.1147 | 1.6516 | -0.17945 | -2.0732 | 105.1047 | 166.7828 | 52.1369 | -75.0195 | -13.1513 | -127.9739 |  | 1.3197 | 0.40682 | 0.41442 | 1.4019 | 0.271 | 0.27599 | 2.9151 | 170.0452 | 128.3178 | 0.0053273 | 170.0862 | 128.3192
Line_3 | 0.00066517 | 0.00066517 | 0.00066517 | 0.00066517 | 0.00066517 | 0.00066517 | 0.0076807 | 0.0076807 | 0.0076807 | 0.0076807 | 0.0076807 | 0.0076807 | -0.0053858 | 0.0022081 | 0.0031777 | -0.0053858 | 0.0022081 | 0.0031777 | -0.0085874 | 0.0022108 | 0.00018366 | -0.0085874 | 0.0022108 | 0.00018366 | 125.0101 | 125.0101 | 125.0101 | 125.0101 | 125.0101 | 125.0101 |  | 1.3197 | 0.40682 | 0.41442 | 1.3197 | 0.40682 | 0.41442 | 2.9151 | 170.0452 | 128.3178 | 2.9151 | 170.0452 | 128.3178

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20918 | 2.0302 | 1.3376 | 0.21123 | 2.0308 | 1.3392 | 2.4155 | 23.4426 | 15.4455 | 2.4391 | 23.4493 | 15.4637 | 1.2978 | 3.4001e-11 | 2.1422e-11 | -0.88355 | 6.3447 | 1.0113 | 3.5753 | -1.0919e-11 | -9.51e-12 | -3.3032 | 0.35889 | 4.1463 | -74.9 | -13.0946 | -128.0326 | 104.9805 | 166.8487 | 52.0261 |  | 1.5747 | 0 | 0 | 1.4019 | 0.271 | 0.27599 | -4.8509 | 0 | 0 | 0.0053273 | 170.0862 | 128.3192
Line_1 | 0.10706 | 1.0163 | 0.67029 | 0.10562 | 1.0154 | 0.6696 | 1.2363 | 11.7349 | 7.7398 | 1.2195 | 11.7246 | 7.7319 | -0.3445 | 4.7662 | 0.76614 | 0.44177 | -3.1724 | -0.50565 | -1.5948 | 0.27168 | 3.1147 | 1.6516 | -0.17945 | -2.0732 | 105.1047 | 166.7828 | 52.1369 | -75.0195 | -13.1513 | -127.9739 |  | 1.3197 | 0.40682 | 0.41442 | 1.4019 | 0.271 | 0.27599 | 2.9151 | 170.0452 | 128.3178 | 0.0053273 | 170.0862 | 128.3192
Line_2 | 0.10706 | 1.0163 | 0.67029 | 0.10562 | 1.0154 | 0.6696 | 1.2363 | 11.7349 | 7.7398 | 1.2195 | 11.7246 | 7.7319 | -0.3445 | 4.7662 | 0.76614 | 0.44177 | -3.1724 | -0.50565 | -1.5948 | 0.27168 | 3.1147 | 1.6516 | -0.17945 | -2.0732 | 105.1047 | 166.7828 | 52.1369 | -75.0195 | -13.1513 | -127.9739 |  | 1.3197 | 0.40682 | 0.41442 | 1.4019 | 0.271 | 0.27599 | 2.9151 | 170.0452 | 128.3178 | 0.0053273 | 170.0862 | 128.3192
Line_3 | 0.00066517 | 0.00066517 | 0.00066517 | 0.00066517 | 0.00066517 | 0.00066517 | 0.0076807 | 0.0076807 | 0.0076807 | 0.0076807 | 0.0076807 | 0.0076807 | -0.0053858 | 0.0022081 | 0.0031777 | -0.0053858 | 0.0022081 | 0.0031777 | -0.0085874 | 0.0022108 | 0.00018366 | -0.0085874 | 0.0022108 | 0.00018366 | 125.0101 | 125.0101 | 125.0101 | 125.0101 | 125.0101 | 125.0101 |  | 1.3197 | 0.40682 | 0.41442 | 1.3197 | 0.40682 | 0.41442 | 2.9151 | 170.0452 | 128.3178 | 2.9151 | 170.0452 | 128.3178

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.050342 | 0.60445 | 0.60702 | 0.049656 | 0.60464 | 0.60777 | 0.5813 | 6.9796 | 7.0092 | 0.57338 | 6.9818 | 7.018 | 0.36591 | -1.6107 | -4.6728 | -0.37376 | 2.2576 | 5.0919 | -0.6607 | -6.4391 | -3.4848 | 0.60761 | 6.4035 | 4.1907 | 57.9707 | -15.4121 | -109.9548 | -122.4897 | 164.5146 | 70.0684 |  | 1.2993 | 0.95098 | 0.83165 | 1.2442 | 0.9725 | 0.93968 | -3.0509 | -119.4561 | 106.7595 | -0.89259 | -124.9062 | 109.523
Line_1 | 0.024486 | 0.30264 | 0.30432 | 0.024828 | 0.30232 | 0.30389 | 0.28274 | 3.4946 | 3.514 | 0.28669 | 3.4909 | 3.509 | -0.19135 | 1.2894 | 2.6557 | 0.18688 | -1.1288 | -2.546 | 0.28606 | 3.1967 | 2.2718 | -0.30381 | -3.2017 | -2.0953 | -123.5144 | 164.4278 | 70.1347 | 57.5103 | -15.4854 | -109.9316 |  | 1.2172 | 0.98638 | 0.99454 | 1.2442 | 0.9725 | 0.93968 | 0.26548 | -127.539 | 110.6802 | -0.89259 | -124.9062 | 109.523
Line_2 | 0.024486 | 0.30264 | 0.30432 | 0.024828 | 0.30232 | 0.30389 | 0.28274 | 3.4946 | 3.514 | 0.28669 | 3.4909 | 3.509 | -0.19135 | 1.2894 | 2.6557 | 0.18688 | -1.1288 | -2.546 | 0.28606 | 3.1967 | 2.2718 | -0.30381 | -3.2017 | -2.0953 | -123.5144 | 164.4278 | 70.1347 | 57.5103 | -15.4854 | -109.9316 |  | 1.2172 | 0.98638 | 0.99454 | 1.2442 | 0.9725 | 0.93968 | 0.26548 | -127.539 | 110.6802 | -0.89259 | -124.9062 | 109.523
Line_3 | 0.00025282 | 0.00025282 | 0.00025282 | 0.00025282 | 0.00025282 | 0.00025282 | 0.0029193 | 0.0029193 | 0.0029193 | 0.0029193 | 0.0029193 | 0.0029193 | -0.0017709 | -0.0010928 | 0.0028638 | -0.0017709 | -0.0010928 | 0.0028638 | -0.0030807 | 0.0026642 | -0.00047808 | -0.0030807 | 0.0026642 | -0.00047808 | 120.1577 | 120.1577 | 120.1577 | 120.1577 | 120.1577 | 120.1577 |  | 1.2172 | 0.98638 | 0.99454 | 1.2172 | 0.98638 | 0.99454 | 0.26548 | -127.539 | 110.6802 | 0.26548 | -127.539 | 110.6802

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.050342 | 0.60445 | 0.60702 | 0.049656 | 0.60464 | 0.60777 | 0.5813 | 6.9796 | 7.0092 | 0.57338 | 6.9818 | 7.018 | 0.36591 | -1.6107 | -4.6728 | -0.37376 | 2.2576 | 5.0919 | -0.6607 | -6.4391 | -3.4848 | 0.60761 | 6.4035 | 4.1907 | 57.9707 | -15.4121 | -109.9548 | -122.4897 | 164.5146 | 70.0684 |  | 1.2993 | 0.95098 | 0.83165 | 1.2442 | 0.9725 | 0.93968 | -3.0509 | -119.4561 | 106.7595 | -0.89259 | -124.9062 | 109.523
Line_1 | 0.024486 | 0.30264 | 0.30432 | 0.024828 | 0.30232 | 0.30389 | 0.28274 | 3.4946 | 3.514 | 0.28669 | 3.4909 | 3.509 | -0.19135 | 1.2894 | 2.6557 | 0.18688 | -1.1288 | -2.546 | 0.28606 | 3.1967 | 2.2718 | -0.30381 | -3.2017 | -2.0953 | -123.5144 | 164.4278 | 70.1347 | 57.5103 | -15.4854 | -109.9316 |  | 1.2172 | 0.98638 | 0.99454 | 1.2442 | 0.9725 | 0.93968 | 0.26548 | -127.539 | 110.6802 | -0.89259 | -124.9062 | 109.523
Line_2 | 0.024486 | 0.30264 | 0.30432 | 0.024828 | 0.30232 | 0.30389 | 0.28274 | 3.4946 | 3.514 | 0.28669 | 3.4909 | 3.509 | -0.19135 | 1.2894 | 2.6557 | 0.18688 | -1.1288 | -2.546 | 0.28606 | 3.1967 | 2.2718 | -0.30381 | -3.2017 | -2.0953 | -123.5144 | 164.4278 | 70.1347 | 57.5103 | -15.4854 | -109.9316 |  | 1.2172 | 0.98638 | 0.99454 | 1.2442 | 0.9725 | 0.93968 | 0.26548 | -127.539 | 110.6802 | -0.89259 | -124.9062 | 109.523
Line_3 | 0.00025282 | 0.00025282 | 0.00025282 | 0.00025282 | 0.00025282 | 0.00025282 | 0.0029193 | 0.0029193 | 0.0029193 | 0.0029193 | 0.0029193 | 0.0029193 | -0.0017709 | -0.0010928 | 0.0028638 | -0.0017709 | -0.0010928 | 0.0028638 | -0.0030807 | 0.0026642 | -0.00047808 | -0.0030807 | 0.0026642 | -0.00047808 | 120.1577 | 120.1577 | 120.1577 | 120.1577 | 120.1577 | 120.1577 |  | 1.2172 | 0.98638 | 0.99454 | 1.2172 | 0.98638 | 0.99454 | 0.26548 | -127.539 | 110.6802 | 0.26548 | -127.539 | 110.6802

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22473 | 1.5933 | 0.83776 | 0.2264 | 1.5932 | 0.83898 | 2.5949 | 18.3974 | 9.6737 | 2.6143 | 18.3972 | 9.6877 | 1.1273 | -2.3069e-11 | -8.3338e-12 | -0.68524 | 6.2901 | 0.1226 | 3.4997 | -2.5951e-11 | -1.6398e-11 | -3.0242 | -0.66365 | 2.6221 | -77.2042 | 2.8638 | -131.927 | 102.7175 | -177.1974 | 48.1541 |  | 1.4169 | 0 | 0 | 1.1861 | 0.3438 | 0.27096 | -5.0584 | 0 | 0 | -0.049364 | 176.7798 | 135.477
Line_1 | 0.11405 | 0.79707 | 0.41973 | 0.1132 | 0.79662 | 0.41949 | 1.3169 | 9.2037 | 4.8467 | 1.3071 | 9.1986 | 4.8439 | -0.23599 | 4.7229 | 0.096885 | 0.34262 | -3.1451 | -0.061302 | -1.3959 | -0.49775 | 1.97 | 1.5121 | 0.33183 | -1.3111 | 102.8701 | -177.2535 | 48.272 | -77.2825 | 2.8026 | -131.8459 |  | 1.075 | 0.51599 | 0.40695 | 1.1861 | 0.3438 | 0.27096 | 3.2739 | 176.7303 | 135.4565 | -0.049364 | 176.7798 | 135.477
Line_2 | 0.11405 | 0.79707 | 0.41973 | 0.1132 | 0.79662 | 0.41949 | 1.3169 | 9.2037 | 4.8467 | 1.3071 | 9.1986 | 4.8439 | -0.23599 | 4.7229 | 0.096885 | 0.34262 | -3.1451 | -0.061302 | -1.3959 | -0.49775 | 1.97 | 1.5121 | 0.33183 | -1.3111 | 102.8701 | -177.2535 | 48.272 | -77.2825 | 2.8026 | -131.8459 |  | 1.075 | 0.51599 | 0.40695 | 1.1861 | 0.3438 | 0.27096 | 3.2739 | 176.7303 | 135.4565 | -0.049364 | 176.7798 | 135.477
Line_3 | 0.00038114 | 0.00038114 | 0.00038114 | 0.00038114 | 0.00038114 | 0.00038114 | 0.004401 | 0.004401 | 0.004401 | 0.004401 | 0.004401 | 0.004401 | -0.0036902 | 0.0019217 | 0.0017685 | -0.0036902 | 0.0019217 | 0.0017685 | -0.0029606 | 0.0012099 | -0.00028258 | -0.0029606 | 0.0012099 | -0.00028258 | 144.5346 | 144.5346 | 144.5346 | 144.5346 | 144.5346 | 144.5346 |  | 1.075 | 0.51599 | 0.40695 | 1.075 | 0.51599 | 0.40695 | 3.2739 | 176.7303 | 135.4565 | 3.2739 | 176.7303 | 135.4565

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22473 | 1.5933 | 0.83776 | 0.2264 | 1.5932 | 0.83898 | 2.5949 | 18.3974 | 9.6737 | 2.6143 | 18.3972 | 9.6877 | 1.1273 | -2.3069e-11 | -8.3338e-12 | -0.68524 | 6.2901 | 0.1226 | 3.4997 | -2.5951e-11 | -1.6398e-11 | -3.0242 | -0.66365 | 2.6221 | -77.2042 | 2.8638 | -131.927 | 102.7175 | -177.1974 | 48.1541 |  | 1.4169 | 0 | 0 | 1.1861 | 0.3438 | 0.27096 | -5.0584 | 0 | 0 | -0.049364 | 176.7798 | 135.477
Line_1 | 0.11405 | 0.79707 | 0.41973 | 0.1132 | 0.79662 | 0.41949 | 1.3169 | 9.2037 | 4.8467 | 1.3071 | 9.1986 | 4.8439 | -0.23599 | 4.7229 | 0.096885 | 0.34262 | -3.1451 | -0.061302 | -1.3959 | -0.49775 | 1.97 | 1.5121 | 0.33183 | -1.3111 | 102.8701 | -177.2535 | 48.272 | -77.2825 | 2.8026 | -131.8459 |  | 1.075 | 0.51599 | 0.40695 | 1.1861 | 0.3438 | 0.27096 | 3.2739 | 176.7303 | 135.4565 | -0.049364 | 176.7798 | 135.477
Line_2 | 0.11405 | 0.79707 | 0.41973 | 0.1132 | 0.79662 | 0.41949 | 1.3169 | 9.2037 | 4.8467 | 1.3071 | 9.1986 | 4.8439 | -0.23599 | 4.7229 | 0.096885 | 0.34262 | -3.1451 | -0.061302 | -1.3959 | -0.49775 | 1.97 | 1.5121 | 0.33183 | -1.3111 | 102.8701 | -177.2535 | 48.272 | -77.2825 | 2.8026 | -131.8459 |  | 1.075 | 0.51599 | 0.40695 | 1.1861 | 0.3438 | 0.27096 | 3.2739 | 176.7303 | 135.4565 | -0.049364 | 176.7798 | 135.477
Line_3 | 0.00038114 | 0.00038114 | 0.00038114 | 0.00038114 | 0.00038114 | 0.00038114 | 0.004401 | 0.004401 | 0.004401 | 0.004401 | 0.004401 | 0.004401 | -0.0036902 | 0.0019217 | 0.0017685 | -0.0036902 | 0.0019217 | 0.0017685 | -0.0029606 | 0.0012099 | -0.00028258 | -0.0029606 | 0.0012099 | -0.00028258 | 144.5346 | 144.5346 | 144.5346 | 144.5346 | 144.5346 | 144.5346 |  | 1.075 | 0.51599 | 0.40695 | 1.075 | 0.51599 | 0.40695 | 3.2739 | 176.7303 | 135.4565 | 3.2739 | 176.7303 | 135.4565

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12779 | 0.33256 | 0.33892 | 0.12843 | 0.33232 | 0.33961 | 1.4755 | 3.8401 | 3.9135 | 1.483 | 3.8373 | 3.9215 | 0.52092 | -1.9121 | -2.5755 | -0.38634 | 2.2619 | 2.9501 | 1.6169 | -2.6193 | -0.73724 | -1.5305 | 2.4022 | 1.0957 | -76.9714 | 8.4507 | -89.2705 | 102.8983 | -171.6642 | 90.7045 |  | 1.1513 | 0.84451 | 0.68454 | 1.0644 | 0.85984 | 0.8025 | -4.8287 | -117.6793 | 106.7033 | -1.2688 | -124.9403 | 111.0809
Line_1 | 0.064587 | 0.16623 | 0.17016 | 0.064216 | 0.16616 | 0.16981 | 0.74579 | 1.9195 | 1.9648 | 0.7415 | 1.9187 | 1.9608 | -0.16099 | 1.218 | 1.5716 | 0.19317 | -1.1309 | -1.475 | -0.74548 | 1.1491 | 0.63721 | 0.76524 | -1.2011 | -0.54787 | 102.9325 | -171.7907 | 90.7436 | -77.1017 | 8.3358 | -89.2955 |  | 1.0226 | 0.87239 | 0.86309 | 1.0644 | 0.85984 | 0.8025 | 0.74596 | -128.4588 | 112.8141 | -1.2688 | -124.9403 | 111.0809
Line_2 | 0.064587 | 0.16623 | 0.17016 | 0.064216 | 0.16616 | 0.16981 | 0.74579 | 1.9195 | 1.9648 | 0.7415 | 1.9187 | 1.9608 | -0.16099 | 1.218 | 1.5716 | 0.19317 | -1.1309 | -1.475 | -0.74548 | 1.1491 | 0.63721 | 0.76524 | -1.2011 | -0.54787 | 102.9325 | -171.7907 | 90.7436 | -77.1017 | 8.3358 | -89.2955 |  | 1.0226 | 0.87239 | 0.86309 | 1.0644 | 0.85984 | 0.8025 | 0.74596 | -128.4588 | 112.8141 | -1.2688 | -124.9403 | 111.0809
Line_3 | 0.00015852 | 0.00015852 | 0.00015852 | 0.00015852 | 0.00015852 | 0.00015852 | 0.0018305 | 0.0018305 | 0.0018305 | 0.0018305 | 0.0018305 | 0.0018305 | -0.0012064 | -0.00029558 | 0.001502 | -0.0012064 | -0.00029558 | 0.001502 | -0.0014313 | 0.0015693 | -0.00048979 | -0.0014313 | 0.0015693 | -0.00048979 | 130.8745 | 130.8745 | 130.8745 | 130.8745 | 130.8745 | 130.8745 |  | 1.0226 | 0.87239 | 0.86309 | 1.0226 | 0.87239 | 0.86309 | 0.74596 | -128.4588 | 112.8141 | 0.74596 | -128.4588 | 112.8141

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12779 | 0.33256 | 0.33892 | 0.12843 | 0.33232 | 0.33961 | 1.4755 | 3.8401 | 3.9135 | 1.483 | 3.8373 | 3.9215 | 0.52092 | -1.9121 | -2.5755 | -0.38634 | 2.2619 | 2.9501 | 1.6169 | -2.6193 | -0.73724 | -1.5305 | 2.4022 | 1.0957 | -76.9714 | 8.4507 | -89.2705 | 102.8983 | -171.6642 | 90.7045 |  | 1.1513 | 0.84451 | 0.68454 | 1.0644 | 0.85984 | 0.8025 | -4.8287 | -117.6793 | 106.7033 | -1.2688 | -124.9403 | 111.0809
Line_1 | 0.064587 | 0.16623 | 0.17016 | 0.064216 | 0.16616 | 0.16981 | 0.74579 | 1.9195 | 1.9648 | 0.7415 | 1.9187 | 1.9608 | -0.16099 | 1.218 | 1.5716 | 0.19317 | -1.1309 | -1.475 | -0.74548 | 1.1491 | 0.63721 | 0.76524 | -1.2011 | -0.54787 | 102.9325 | -171.7907 | 90.7436 | -77.1017 | 8.3358 | -89.2955 |  | 1.0226 | 0.87239 | 0.86309 | 1.0644 | 0.85984 | 0.8025 | 0.74596 | -128.4588 | 112.8141 | -1.2688 | -124.9403 | 111.0809
Line_2 | 0.064587 | 0.16623 | 0.17016 | 0.064216 | 0.16616 | 0.16981 | 0.74579 | 1.9195 | 1.9648 | 0.7415 | 1.9187 | 1.9608 | -0.16099 | 1.218 | 1.5716 | 0.19317 | -1.1309 | -1.475 | -0.74548 | 1.1491 | 0.63721 | 0.76524 | -1.2011 | -0.54787 | 102.9325 | -171.7907 | 90.7436 | -77.1017 | 8.3358 | -89.2955 |  | 1.0226 | 0.87239 | 0.86309 | 1.0644 | 0.85984 | 0.8025 | 0.74596 | -128.4588 | 112.8141 | -1.2688 | -124.9403 | 111.0809
Line_3 | 0.00015852 | 0.00015852 | 0.00015852 | 0.00015852 | 0.00015852 | 0.00015852 | 0.0018305 | 0.0018305 | 0.0018305 | 0.0018305 | 0.0018305 | 0.0018305 | -0.0012064 | -0.00029558 | 0.001502 | -0.0012064 | -0.00029558 | 0.001502 | -0.0014313 | 0.0015693 | -0.00048979 | -0.0014313 | 0.0015693 | -0.00048979 | 130.8745 | 130.8745 | 130.8745 | 130.8745 | 130.8745 | 130.8745 |  | 1.0226 | 0.87239 | 0.86309 | 1.0226 | 0.87239 | 0.86309 | 0.74596 | -128.4588 | 112.8141 | 0.74596 | -128.4588 | 112.8141