## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6273e-15 | 1.0833e-14 | 3.8433e-15 | -1.6882e-14 | 8.1647e-15 | 2.1578e-15 | 1.2754e-16 | -4.3315e-15 | -6.0011e-15 | -3.8261e-16 | 8.3334e-15 | 9.8444e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6273e-15 | 1.0833e-14 | 3.8433e-15 | -1.6882e-14 | 8.1647e-15 | 2.1578e-15 | 1.2754e-16 | -4.3315e-15 | -6.0011e-15 | -3.8261e-16 | 8.3334e-15 | 9.8444e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0661e-15 | 3.9307e-15 | 3.472e-15 | -6.8362e-16 | 5.8639e-15 | 2.0308e-15 | -5.5329e-15 | -3.1736e-15 | 1.9215e-15 | -5.531e-15 | 5.6543e-15 | 4.5255e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0661e-15 | 3.9307e-15 | 3.472e-15 | -6.8362e-16 | 5.8639e-15 | 2.0308e-15 | -5.5329e-15 | -3.1736e-15 | 1.9215e-15 | -5.531e-15 | 5.6543e-15 | 4.5255e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8572e-16 | -7.5149e-17 | -1.7361e-16 | -2.0324e-15 | 3.7449e-15 | 2.8925e-15 | 9.6726e-15 | -6.2836e-15 | -7.993e-15 | -9.7691e-15 | 4.0217e-15 | 3.2299e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8572e-16 | -7.5149e-17 | -1.7361e-16 | -2.0324e-15 | 3.7449e-15 | 2.8925e-15 | 9.6726e-15 | -6.2836e-15 | -7.993e-15 | -9.7691e-15 | 4.0217e-15 | 3.2299e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7939e-15 | -8.4421e-15 | -4.5462e-15 | -3.1101e-15 | 3.477e-15 | 1.9677e-15 | 1.2324e-15 | 7.0098e-15 | -5.87e-15 | -5.2576e-17 | 3.6089e-16 | 3.4948e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7939e-15 | -8.4421e-15 | -4.5462e-15 | -3.1101e-15 | 3.477e-15 | 1.9677e-15 | 1.2324e-15 | 7.0098e-15 | -5.87e-15 | -5.2576e-17 | 3.6089e-16 | 3.4948e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7734 | 0.75323 | 0.86663 | 1.7763 | 0.75638 | 0.8689 | 20.4774 | 8.6975 | 10.007 | 20.5105 | 8.7339 | 10.0332 | 6.2471e-11 | -3.4091 | 17.4171 | 7.8818 | 6.1741 | -13.8756 | -6.7814e-11 | 12.0998 | 0.31169 | 3.7789 | -10.4679 | 0.12074 | 118.0038 | 106.2911 | 134.5258 | -62.0509 | -73.7907 | -45.6353 |  | 0 | 1.4453 | 1.7408 | 0.42617 | 1.3915 | 1.383 | 0 | -147.974 | 135.5511 | -36.4358 | -133.258 | 133.8662
Line_1 | 0.89044 | 0.38053 | 0.43656 | 0.88813 | 0.37819 | 0.43445 | 10.2819 | 4.3939 | 5.0409 | 10.2553 | 4.367 | 5.0166 | 5.9325 | 3.7954 | -6.0676 | -3.9409 | -3.0871 | 6.9378 | 2.8445 | -4.8445 | 0.16691 | -1.8894 | 5.234 | -0.06037 | -62.0755 | -73.7763 | -45.769 | 117.9491 | 106.2093 | 134.3647 |  | 0.63988 | 1.4006 | 1.2041 | 0.42617 | 1.3915 | 1.383 | -36.4587 | -125.6995 | 132.6553 | -36.4358 | -133.258 | 133.8662
Line_2 | 0.89044 | 0.38053 | 0.43656 | 0.88813 | 0.37819 | 0.43445 | 10.2819 | 4.3939 | 5.0409 | 10.2553 | 4.367 | 5.0166 | 5.9325 | 3.7954 | -6.0676 | -3.9409 | -3.0871 | 6.9378 | 2.8445 | -4.8445 | 0.16691 | -1.8894 | 5.234 | -0.06037 | -62.0755 | -73.7763 | -45.769 | 117.9491 | 106.2093 | 134.3647 |  | 0.63988 | 1.4006 | 1.2041 | 0.42617 | 1.3915 | 1.383 | -36.4587 | -125.6995 | 132.6553 | -36.4358 | -133.258 | 133.8662
Line_3 | 0.0010599 | 0.0010599 | 0.0010599 | 0.0010599 | 0.0010599 | 0.0010599 | 0.012239 | 0.012239 | 0.012239 | 0.012239 | 0.012239 | 0.012239 | 0.0071504 | 0.0071982 | -0.014349 | 0.0071504 | 0.0071982 | -0.014349 | 0.0031941 | -0.015557 | -0.0033614 | 0.0031941 | -0.015557 | -0.0033614 | -60.5293 | -60.5293 | -60.5293 | -60.5293 | -60.5293 | -60.5293 |  | 0.63988 | 1.4006 | 1.2041 | 0.63988 | 1.4006 | 1.2041 | -36.4587 | -125.6995 | 132.6553 | -36.4587 | -125.6995 | 132.6553

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7734 | 0.75323 | 0.86663 | 1.7763 | 0.75638 | 0.8689 | 20.4774 | 8.6975 | 10.007 | 20.5105 | 8.7339 | 10.0332 | 6.2471e-11 | -3.4091 | 17.4171 | 7.8818 | 6.1741 | -13.8756 | -6.7814e-11 | 12.0998 | 0.31169 | 3.7789 | -10.4679 | 0.12074 | 118.0038 | 106.2911 | 134.5258 | -62.0509 | -73.7907 | -45.6353 |  | 0 | 1.4453 | 1.7408 | 0.42617 | 1.3915 | 1.383 | 0 | -147.974 | 135.5511 | -36.4358 | -133.258 | 133.8662
Line_1 | 0.89044 | 0.38053 | 0.43656 | 0.88813 | 0.37819 | 0.43445 | 10.2819 | 4.3939 | 5.0409 | 10.2553 | 4.367 | 5.0166 | 5.9325 | 3.7954 | -6.0676 | -3.9409 | -3.0871 | 6.9378 | 2.8445 | -4.8445 | 0.16691 | -1.8894 | 5.234 | -0.06037 | -62.0755 | -73.7763 | -45.769 | 117.9491 | 106.2093 | 134.3647 |  | 0.63988 | 1.4006 | 1.2041 | 0.42617 | 1.3915 | 1.383 | -36.4587 | -125.6995 | 132.6553 | -36.4358 | -133.258 | 133.8662
Line_2 | 0.89044 | 0.38053 | 0.43656 | 0.88813 | 0.37819 | 0.43445 | 10.2819 | 4.3939 | 5.0409 | 10.2553 | 4.367 | 5.0166 | 5.9325 | 3.7954 | -6.0676 | -3.9409 | -3.0871 | 6.9378 | 2.8445 | -4.8445 | 0.16691 | -1.8894 | 5.234 | -0.06037 | -62.0755 | -73.7763 | -45.769 | 117.9491 | 106.2093 | 134.3647 |  | 0.63988 | 1.4006 | 1.2041 | 0.42617 | 1.3915 | 1.383 | -36.4587 | -125.6995 | 132.6553 | -36.4358 | -133.258 | 133.8662
Line_3 | 0.0010599 | 0.0010599 | 0.0010599 | 0.0010599 | 0.0010599 | 0.0010599 | 0.012239 | 0.012239 | 0.012239 | 0.012239 | 0.012239 | 0.012239 | 0.0071504 | 0.0071982 | -0.014349 | 0.0071504 | 0.0071982 | -0.014349 | 0.0031941 | -0.015557 | -0.0033614 | 0.0031941 | -0.015557 | -0.0033614 | -60.5293 | -60.5293 | -60.5293 | -60.5293 | -60.5293 | -60.5293 |  | 0.63988 | 1.4006 | 1.2041 | 0.63988 | 1.4006 | 1.2041 | -36.4587 | -125.6995 | 132.6553 | -36.4587 | -125.6995 | 132.6553

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.767 | 0.15966 | 0.40996 | 0.76811 | 0.16084 | 0.41044 | 8.8566 | 1.8436 | 4.7338 | 8.8694 | 1.8572 | 4.7393 | -3.8527 | -1.8594 | 5.0868 | 5.0895 | 1.9951 | -4.4994 | -5.332 | 1.3875 | -3.6512 | 6.1177 | -1.2022 | 3.5616 | 120.2921 | 86.0364 | 164.3408 | -59.7429 | -93.8791 | -15.8141 |  | 0.74276 | 1.2584 | 1.3227 | 0.89724 | 1.2542 | 1.2108 | -5.5584 | -130.6957 | 128.6705 | -9.5012 | -124.952 | 125.8215
Line_1 | 0.3849 | 0.081137 | 0.20581 | 0.38406 | 0.080421 | 0.20522 | 4.4445 | 0.93689 | 2.3765 | 4.4347 | 0.92862 | 2.3697 | 2.8605 | 1.0347 | -2.1097 | -2.5448 | -0.99754 | 2.2497 | 3.2603 | -0.56205 | 1.7594 | -3.0589 | 0.60111 | -1.7808 | -59.7467 | -93.559 | -15.9826 | 120.2571 | 86.1209 | 164.1859 |  | 0.97589 | 1.2569 | 1.1559 | 0.89724 | 1.2542 | 1.2108 | -11.0098 | -122.0693 | 124.1907 | -9.5012 | -124.952 | 125.8215
Line_2 | 0.3849 | 0.081137 | 0.20581 | 0.38406 | 0.080421 | 0.20522 | 4.4445 | 0.93689 | 2.3765 | 4.4347 | 0.92862 | 2.3697 | 2.8605 | 1.0347 | -2.1097 | -2.5448 | -0.99754 | 2.2497 | 3.2603 | -0.56205 | 1.7594 | -3.0589 | 0.60111 | -1.7808 | -59.7467 | -93.559 | -15.9826 | 120.2571 | 86.1209 | 164.1859 |  | 0.97589 | 1.2569 | 1.1559 | 0.89724 | 1.2542 | 1.2108 | -11.0098 | -122.0693 | 124.1907 | -9.5012 | -124.952 | 125.8215
Line_3 | 0.00038346 | 0.00038346 | 0.00038346 | 0.00038346 | 0.00038346 | 0.00038346 | 0.0044278 | 0.0044278 | 0.0044278 | 0.0044278 | 0.0044278 | 0.0044278 | 0.0033319 | 0.0017649 | -0.0050968 | 0.0033319 | 0.0017649 | -0.0050968 | 0.0027514 | -0.0052779 | 0.0004684 | 0.0027514 | -0.0052779 | 0.0004684 | -50.5585 | -50.5585 | -50.5585 | -50.5585 | -50.5585 | -50.5585 |  | 0.97589 | 1.2569 | 1.1559 | 0.97589 | 1.2569 | 1.1559 | -11.0098 | -122.0693 | 124.1907 | -11.0098 | -122.0693 | 124.1907

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.767 | 0.15966 | 0.40996 | 0.76811 | 0.16084 | 0.41044 | 8.8566 | 1.8436 | 4.7338 | 8.8694 | 1.8572 | 4.7393 | -3.8527 | -1.8594 | 5.0868 | 5.0895 | 1.9951 | -4.4994 | -5.332 | 1.3875 | -3.6512 | 6.1177 | -1.2022 | 3.5616 | 120.2921 | 86.0364 | 164.3408 | -59.7429 | -93.8791 | -15.8141 |  | 0.74276 | 1.2584 | 1.3227 | 0.89724 | 1.2542 | 1.2108 | -5.5584 | -130.6957 | 128.6705 | -9.5012 | -124.952 | 125.8215
Line_1 | 0.3849 | 0.081137 | 0.20581 | 0.38406 | 0.080421 | 0.20522 | 4.4445 | 0.93689 | 2.3765 | 4.4347 | 0.92862 | 2.3697 | 2.8605 | 1.0347 | -2.1097 | -2.5448 | -0.99754 | 2.2497 | 3.2603 | -0.56205 | 1.7594 | -3.0589 | 0.60111 | -1.7808 | -59.7467 | -93.559 | -15.9826 | 120.2571 | 86.1209 | 164.1859 |  | 0.97589 | 1.2569 | 1.1559 | 0.89724 | 1.2542 | 1.2108 | -11.0098 | -122.0693 | 124.1907 | -9.5012 | -124.952 | 125.8215
Line_2 | 0.3849 | 0.081137 | 0.20581 | 0.38406 | 0.080421 | 0.20522 | 4.4445 | 0.93689 | 2.3765 | 4.4347 | 0.92862 | 2.3697 | 2.8605 | 1.0347 | -2.1097 | -2.5448 | -0.99754 | 2.2497 | 3.2603 | -0.56205 | 1.7594 | -3.0589 | 0.60111 | -1.7808 | -59.7467 | -93.559 | -15.9826 | 120.2571 | 86.1209 | 164.1859 |  | 0.97589 | 1.2569 | 1.1559 | 0.89724 | 1.2542 | 1.2108 | -11.0098 | -122.0693 | 124.1907 | -9.5012 | -124.952 | 125.8215
Line_3 | 0.00038346 | 0.00038346 | 0.00038346 | 0.00038346 | 0.00038346 | 0.00038346 | 0.0044278 | 0.0044278 | 0.0044278 | 0.0044278 | 0.0044278 | 0.0044278 | 0.0033319 | 0.0017649 | -0.0050968 | 0.0033319 | 0.0017649 | -0.0050968 | 0.0027514 | -0.0052779 | 0.0004684 | 0.0027514 | -0.0052779 | 0.0004684 | -50.5585 | -50.5585 | -50.5585 | -50.5585 | -50.5585 | -50.5585 |  | 0.97589 | 1.2569 | 1.1559 | 0.97589 | 1.2569 | 1.1559 | -11.0098 | -122.0693 | 124.1907 | -11.0098 | -122.0693 | 124.1907

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1063 | 0.6394 | 0.57587 | 1.108 | 0.64135 | 0.57781 | 12.7744 | 7.3831 | 6.6496 | 12.7937 | 7.4057 | 6.6719 | -1.917e-11 | 3.0888 | 10.9895 | 6.4853 | 0.3388 | -7.9909 | 5.5486e-12 | 9.4965 | 0.46039 | 1.1663 | -8.679 | 0.22543 | 141.3814 | 134.6532 | 135.1021 | -38.7462 | -45.5482 | -45.123 |  | 0 | 1.3526 | 1.6541 | 0.51504 | 1.1728 | 1.1982 | 0 | -153.3642 | 137.501 | -28.5516 | -133.3127 | 133.2611
Line_1 | 0.5554 | 0.32216 | 0.29039 | 0.55398 | 0.32068 | 0.2889 | 6.4132 | 3.72 | 3.3531 | 6.3968 | 3.7028 | 3.336 | 4.8806 | 1.0347 | -3.2513 | -3.2426 | -0.1694 | 3.9954 | 0.88005 | -4.144 | 0.28994 | -0.58313 | 4.3395 | -0.11272 | -38.8163 | -45.6383 | -45.2251 | 141.2538 | 134.4518 | 134.877 |  | 0.77329 | 1.1482 | 0.97349 | 0.51504 | 1.1728 | 1.1982 | -28.5946 | -121.6184 | 129.679 | -28.5516 | -133.3127 | 133.2611
Line_2 | 0.5554 | 0.32216 | 0.29039 | 0.55398 | 0.32068 | 0.2889 | 6.4132 | 3.72 | 3.3531 | 6.3968 | 3.7028 | 3.336 | 4.8806 | 1.0347 | -3.2513 | -3.2426 | -0.1694 | 3.9954 | 0.88005 | -4.144 | 0.28994 | -0.58313 | 4.3395 | -0.11272 | -38.8163 | -45.6383 | -45.2251 | 141.2538 | 134.4518 | 134.877 |  | 0.77329 | 1.1482 | 0.97349 | 0.51504 | 1.1728 | 1.1982 | -28.5946 | -121.6184 | 129.679 | -28.5516 | -133.3127 | 133.2611
Line_3 | 0.00066759 | 0.00066759 | 0.00066759 | 0.00066759 | 0.00066759 | 0.00066759 | 0.0077086 | 0.0077086 | 0.0077086 | 0.0077086 | 0.0077086 | 0.0077086 | 0.0057915 | 0.0016392 | -0.0074307 | 0.0057915 | 0.0016392 | -0.0074307 | 0.0014115 | -0.0086976 | 0.0010482 | 0.0014115 | -0.0086976 | 0.0010482 | -42.2916 | -42.2916 | -42.2916 | -42.2916 | -42.2916 | -42.2916 |  | 0.77329 | 1.1482 | 0.97349 | 0.77329 | 1.1482 | 0.97349 | -28.5946 | -121.6184 | 129.679 | -28.5946 | -121.6184 | 129.679

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1063 | 0.6394 | 0.57587 | 1.108 | 0.64135 | 0.57781 | 12.7744 | 7.3831 | 6.6496 | 12.7937 | 7.4057 | 6.6719 | -1.917e-11 | 3.0888 | 10.9895 | 6.4853 | 0.3388 | -7.9909 | 5.5486e-12 | 9.4965 | 0.46039 | 1.1663 | -8.679 | 0.22543 | 141.3814 | 134.6532 | 135.1021 | -38.7462 | -45.5482 | -45.123 |  | 0 | 1.3526 | 1.6541 | 0.51504 | 1.1728 | 1.1982 | 0 | -153.3642 | 137.501 | -28.5516 | -133.3127 | 133.2611
Line_1 | 0.5554 | 0.32216 | 0.29039 | 0.55398 | 0.32068 | 0.2889 | 6.4132 | 3.72 | 3.3531 | 6.3968 | 3.7028 | 3.336 | 4.8806 | 1.0347 | -3.2513 | -3.2426 | -0.1694 | 3.9954 | 0.88005 | -4.144 | 0.28994 | -0.58313 | 4.3395 | -0.11272 | -38.8163 | -45.6383 | -45.2251 | 141.2538 | 134.4518 | 134.877 |  | 0.77329 | 1.1482 | 0.97349 | 0.51504 | 1.1728 | 1.1982 | -28.5946 | -121.6184 | 129.679 | -28.5516 | -133.3127 | 133.2611
Line_2 | 0.5554 | 0.32216 | 0.29039 | 0.55398 | 0.32068 | 0.2889 | 6.4132 | 3.72 | 3.3531 | 6.3968 | 3.7028 | 3.336 | 4.8806 | 1.0347 | -3.2513 | -3.2426 | -0.1694 | 3.9954 | 0.88005 | -4.144 | 0.28994 | -0.58313 | 4.3395 | -0.11272 | -38.8163 | -45.6383 | -45.2251 | 141.2538 | 134.4518 | 134.877 |  | 0.77329 | 1.1482 | 0.97349 | 0.51504 | 1.1728 | 1.1982 | -28.5946 | -121.6184 | 129.679 | -28.5516 | -133.3127 | 133.2611
Line_3 | 0.00066759 | 0.00066759 | 0.00066759 | 0.00066759 | 0.00066759 | 0.00066759 | 0.0077086 | 0.0077086 | 0.0077086 | 0.0077086 | 0.0077086 | 0.0077086 | 0.0057915 | 0.0016392 | -0.0074307 | 0.0057915 | 0.0016392 | -0.0074307 | 0.0014115 | -0.0086976 | 0.0010482 | 0.0014115 | -0.0086976 | 0.0010482 | -42.2916 | -42.2916 | -42.2916 | -42.2916 | -42.2916 | -42.2916 |  | 0.77329 | 1.1482 | 0.97349 | 0.77329 | 1.1482 | 0.97349 | -28.5946 | -121.6184 | 129.679 | -28.5946 | -121.6184 | 129.679

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45667 | 0.26394 | 0.23772 | 0.45736 | 0.26475 | 0.23852 | 5.2732 | 3.0477 | 2.7449 | 5.2812 | 3.057 | 2.7541 | -2.3264 | -0.028596 | 3.4476 | 3.4304 | 0.62036 | -2.9433 | -2.0457 | 3.3205 | -0.26765 | 2.2527 | -3.1844 | 0.37946 | 139.7906 | 133.0624 | 133.5113 | -40.337 | -47.139 | -46.7138 |  | 0.58747 | 1.0895 | 1.2598 | 0.77709 | 1.0613 | 1.0775 | 1.1177 | -136.4442 | 129.0722 | -7.0444 | -126.1154 | 125.9398
Line_1 | 0.22927 | 0.13299 | 0.11987 | 0.22868 | 0.13237 | 0.11926 | 2.6474 | 1.5356 | 1.3842 | 2.6406 | 1.5285 | 1.3771 | 1.996 | 0.46028 | -1.3492 | -1.7152 | -0.31018 | 1.4716 | 1.181 | -1.5624 | 0.21939 | -1.1264 | 1.5922 | -0.18973 | -40.4071 | -47.2291 | -46.8159 | 139.663 | 132.861 | 133.2862 |  | 0.87606 | 1.0607 | 0.98756 | 0.77709 | 1.0613 | 1.0775 | -9.7951 | -120.8143 | 123.9483 | -7.0444 | -126.1154 | 125.9398
Line_2 | 0.22927 | 0.13299 | 0.11987 | 0.22868 | 0.13237 | 0.11926 | 2.6474 | 1.5356 | 1.3842 | 2.6406 | 1.5285 | 1.3771 | 1.996 | 0.46028 | -1.3492 | -1.7152 | -0.31018 | 1.4716 | 1.181 | -1.5624 | 0.21939 | -1.1264 | 1.5922 | -0.18973 | -40.4071 | -47.2291 | -46.8159 | 139.663 | 132.861 | 133.2862 |  | 0.87606 | 1.0607 | 0.98756 | 0.77709 | 1.0613 | 1.0775 | -9.7951 | -120.8143 | 123.9483 | -7.0444 | -126.1154 | 125.9398
Line_3 | 0.00027558 | 0.00027558 | 0.00027558 | 0.00027558 | 0.00027558 | 0.00027558 | 0.0031821 | 0.0031821 | 0.0031821 | 0.0031821 | 0.0031821 | 0.0031821 | 0.0023087 | 0.00076317 | -0.0030719 | 0.0023087 | 0.00076317 | -0.0030719 | 0.0015624 | -0.0032878 | 0.00066244 | 0.0015624 | -0.0032878 | 0.00066244 | -43.8824 | -43.8824 | -43.8824 | -43.8824 | -43.8824 | -43.8824 |  | 0.87606 | 1.0607 | 0.98756 | 0.87606 | 1.0607 | 0.98756 | -9.7951 | -120.8143 | 123.9483 | -9.7951 | -120.8143 | 123.9483

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45667 | 0.26394 | 0.23772 | 0.45736 | 0.26475 | 0.23852 | 5.2732 | 3.0477 | 2.7449 | 5.2812 | 3.057 | 2.7541 | -2.3264 | -0.028596 | 3.4476 | 3.4304 | 0.62036 | -2.9433 | -2.0457 | 3.3205 | -0.26765 | 2.2527 | -3.1844 | 0.37946 | 139.7906 | 133.0624 | 133.5113 | -40.337 | -47.139 | -46.7138 |  | 0.58747 | 1.0895 | 1.2598 | 0.77709 | 1.0613 | 1.0775 | 1.1177 | -136.4442 | 129.0722 | -7.0444 | -126.1154 | 125.9398
Line_1 | 0.22927 | 0.13299 | 0.11987 | 0.22868 | 0.13237 | 0.11926 | 2.6474 | 1.5356 | 1.3842 | 2.6406 | 1.5285 | 1.3771 | 1.996 | 0.46028 | -1.3492 | -1.7152 | -0.31018 | 1.4716 | 1.181 | -1.5624 | 0.21939 | -1.1264 | 1.5922 | -0.18973 | -40.4071 | -47.2291 | -46.8159 | 139.663 | 132.861 | 133.2862 |  | 0.87606 | 1.0607 | 0.98756 | 0.77709 | 1.0613 | 1.0775 | -9.7951 | -120.8143 | 123.9483 | -7.0444 | -126.1154 | 125.9398
Line_2 | 0.22927 | 0.13299 | 0.11987 | 0.22868 | 0.13237 | 0.11926 | 2.6474 | 1.5356 | 1.3842 | 2.6406 | 1.5285 | 1.3771 | 1.996 | 0.46028 | -1.3492 | -1.7152 | -0.31018 | 1.4716 | 1.181 | -1.5624 | 0.21939 | -1.1264 | 1.5922 | -0.18973 | -40.4071 | -47.2291 | -46.8159 | 139.663 | 132.861 | 133.2862 |  | 0.87606 | 1.0607 | 0.98756 | 0.77709 | 1.0613 | 1.0775 | -9.7951 | -120.8143 | 123.9483 | -7.0444 | -126.1154 | 125.9398
Line_3 | 0.00027558 | 0.00027558 | 0.00027558 | 0.00027558 | 0.00027558 | 0.00027558 | 0.0031821 | 0.0031821 | 0.0031821 | 0.0031821 | 0.0031821 | 0.0031821 | 0.0023087 | 0.00076317 | -0.0030719 | 0.0023087 | 0.00076317 | -0.0030719 | 0.0015624 | -0.0032878 | 0.00066244 | 0.0015624 | -0.0032878 | 0.00066244 | -43.8824 | -43.8824 | -43.8824 | -43.8824 | -43.8824 | -43.8824 |  | 0.87606 | 1.0607 | 0.98756 | 0.87606 | 1.0607 | 0.98756 | -9.7951 | -120.8143 | 123.9483 | -9.7951 | -120.8143 | 123.9483

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24847 | 2.034 | 1.3266 | 0.25021 | 2.0347 | 1.3281 | 2.8691 | 23.4867 | 15.3185 | 2.8891 | 23.4946 | 15.3358 | 3.1132 | 3.1149e-11 | 1.9524e-11 | -2.5169 | 6.5013 | 0.77585 | 3.3409 | -8.8183e-12 | -7.4777e-12 | -3.214 | 0.54634 | 4.134 | -48.6945 | -12.6407 | -128.9387 | 131.0264 | 167.3029 | 51.1259 |  | 1.5916 | 0 | 0 | 1.413 | 0.27769 | 0.27427 | -1.6746 | 0 | 0 | 2.9621 | 172.1065 | 130.4966
Line_1 | 0.12654 | 1.0183 | 0.66466 | 0.1251 | 1.0173 | 0.66406 | 1.4612 | 11.7583 | 7.6748 | 1.4446 | 11.7473 | 7.6679 | -1.1158 | 4.8841 | 0.58939 | 1.2584 | -3.2507 | -0.38793 | -1.5868 | 0.41254 | 3.1054 | 1.607 | -0.27317 | -2.067 | 130.8665 | 167.2389 | 51.2428 | -48.9736 | -12.6971 | -128.8741 |  | 1.3276 | 0.41686 | 0.41184 | 1.413 | 0.27769 | 0.27427 | 5.7544 | 172.0669 | 130.4962 | 2.9621 | 172.1065 | 130.4966
Line_2 | 0.12654 | 1.0183 | 0.66466 | 0.1251 | 1.0173 | 0.66406 | 1.4612 | 11.7583 | 7.6748 | 1.4446 | 11.7473 | 7.6679 | -1.1158 | 4.8841 | 0.58939 | 1.2584 | -3.2507 | -0.38793 | -1.5868 | 0.41254 | 3.1054 | 1.607 | -0.27317 | -2.067 | 130.8665 | 167.2389 | 51.2428 | -48.9736 | -12.6971 | -128.8741 |  | 1.3276 | 0.41686 | 0.41184 | 1.413 | 0.27769 | 0.27427 | 5.7544 | 172.0669 | 130.4962 | 2.9621 | 172.1065 | 130.4966
Line_3 | 0.00067232 | 0.00067232 | 0.00067232 | 0.00067232 | 0.00067232 | 0.00067232 | 0.0077633 | 0.0077633 | 0.0077633 | 0.0077633 | 0.0077633 | 0.0077633 | -0.0055273 | 0.0023326 | 0.0031947 | -0.0055273 | 0.0023326 | 0.0031947 | -0.0086988 | 0.0022432 | 0.00012886 | -0.0086988 | 0.0022432 | 0.00012886 | 128.1865 | 128.1865 | 128.1865 | 128.1865 | 128.1865 | 128.1865 |  | 1.3276 | 0.41686 | 0.41184 | 1.3276 | 0.41686 | 0.41184 | 5.7544 | 172.0669 | 130.4962 | 5.7544 | 172.0669 | 130.4962

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24847 | 2.034 | 1.3266 | 0.25021 | 2.0347 | 1.3281 | 2.8691 | 23.4867 | 15.3185 | 2.8891 | 23.4946 | 15.3358 | 3.1132 | 3.1149e-11 | 1.9524e-11 | -2.5169 | 6.5013 | 0.77585 | 3.3409 | -8.8183e-12 | -7.4777e-12 | -3.214 | 0.54634 | 4.134 | -48.6945 | -12.6407 | -128.9387 | 131.0264 | 167.3029 | 51.1259 |  | 1.5916 | 0 | 0 | 1.413 | 0.27769 | 0.27427 | -1.6746 | 0 | 0 | 2.9621 | 172.1065 | 130.4966
Line_1 | 0.12654 | 1.0183 | 0.66466 | 0.1251 | 1.0173 | 0.66406 | 1.4612 | 11.7583 | 7.6748 | 1.4446 | 11.7473 | 7.6679 | -1.1158 | 4.8841 | 0.58939 | 1.2584 | -3.2507 | -0.38793 | -1.5868 | 0.41254 | 3.1054 | 1.607 | -0.27317 | -2.067 | 130.8665 | 167.2389 | 51.2428 | -48.9736 | -12.6971 | -128.8741 |  | 1.3276 | 0.41686 | 0.41184 | 1.413 | 0.27769 | 0.27427 | 5.7544 | 172.0669 | 130.4962 | 2.9621 | 172.1065 | 130.4966
Line_2 | 0.12654 | 1.0183 | 0.66466 | 0.1251 | 1.0173 | 0.66406 | 1.4612 | 11.7583 | 7.6748 | 1.4446 | 11.7473 | 7.6679 | -1.1158 | 4.8841 | 0.58939 | 1.2584 | -3.2507 | -0.38793 | -1.5868 | 0.41254 | 3.1054 | 1.607 | -0.27317 | -2.067 | 130.8665 | 167.2389 | 51.2428 | -48.9736 | -12.6971 | -128.8741 |  | 1.3276 | 0.41686 | 0.41184 | 1.413 | 0.27769 | 0.27427 | 5.7544 | 172.0669 | 130.4962 | 2.9621 | 172.1065 | 130.4966
Line_3 | 0.00067232 | 0.00067232 | 0.00067232 | 0.00067232 | 0.00067232 | 0.00067232 | 0.0077633 | 0.0077633 | 0.0077633 | 0.0077633 | 0.0077633 | 0.0077633 | -0.0055273 | 0.0023326 | 0.0031947 | -0.0055273 | 0.0023326 | 0.0031947 | -0.0086988 | 0.0022432 | 0.00012886 | -0.0086988 | 0.0022432 | 0.00012886 | 128.1865 | 128.1865 | 128.1865 | 128.1865 | 128.1865 | 128.1865 |  | 1.3276 | 0.41686 | 0.41184 | 1.3276 | 0.41686 | 0.41184 | 5.7544 | 172.0669 | 130.4962 | 5.7544 | 172.0669 | 130.4962

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12726 | 0.68604 | 0.60193 | 0.12723 | 0.68645 | 0.60285 | 1.4694 | 7.9217 | 6.9505 | 1.4691 | 7.9265 | 6.9611 | 1.944 | -1.5578 | -5.3582 | -1.8379 | 2.5068 | 5.7882 | -0.40618 | -6.9289 | -2.5367 | 0.30486 | 6.9834 | 3.3668 | 11.0133 | -15.109 | -102.4808 | -169.4317 | 164.8159 | 77.5541 |  | 1.3515 | 0.8965 | 0.85293 | 1.2681 | 0.93607 | 0.96193 | -0.78848 | -117.78 | 102.8537 | 1.1501 | -124.9303 | 107.7391
Line_1 | 0.063855 | 0.34372 | 0.30193 | 0.063616 | 0.34323 | 0.30143 | 0.73734 | 3.969 | 3.4864 | 0.73457 | 3.9632 | 3.4806 | -0.89631 | 1.4906 | 3.0076 | 0.91894 | -1.2534 | -2.8941 | 0.12212 | 3.5105 | 1.8898 | -0.15243 | -3.4917 | -1.6834 | -170.0169 | 164.7351 | 77.6437 | 10.5683 | -15.1841 | -102.4459 |  | 1.2268 | 0.96093 | 1.0188 | 1.2681 | 0.93607 | 0.96193 | 2.2247 | -128.2707 | 109.787 | 1.1501 | -124.9303 | 107.7391
Line_2 | 0.063855 | 0.34372 | 0.30193 | 0.063616 | 0.34323 | 0.30143 | 0.73734 | 3.969 | 3.4864 | 0.73457 | 3.9632 | 3.4806 | -0.89631 | 1.4906 | 3.0076 | 0.91894 | -1.2534 | -2.8941 | 0.12212 | 3.5105 | 1.8898 | -0.15243 | -3.4917 | -1.6834 | -170.0169 | 164.7351 | 77.6437 | 10.5683 | -15.1841 | -102.4459 |  | 1.2268 | 0.96093 | 1.0188 | 1.2681 | 0.93607 | 0.96193 | 2.2247 | -128.2707 | 109.787 | 1.1501 | -124.9303 | 107.7391
Line_3 | 0.0003143 | 0.0003143 | 0.0003143 | 0.0003143 | 0.0003143 | 0.0003143 | 0.0036292 | 0.0036292 | 0.0036292 | 0.0036292 | 0.0036292 | 0.0036292 | -0.0028117 | -0.00062622 | 0.0034379 | -0.0028117 | -0.00062622 | 0.0034379 | -0.0034524 | 0.0034307 | -0.001361 | -0.0034524 | 0.0034307 | -0.001361 | 131.3849 | 131.3849 | 131.3849 | 131.3849 | 131.3849 | 131.3849 |  | 1.2268 | 0.96093 | 1.0188 | 1.2268 | 0.96093 | 1.0188 | 2.2247 | -128.2707 | 109.787 | 2.2247 | -128.2707 | 109.787

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12726 | 0.68604 | 0.60193 | 0.12723 | 0.68645 | 0.60285 | 1.4694 | 7.9217 | 6.9505 | 1.4691 | 7.9265 | 6.9611 | 1.944 | -1.5578 | -5.3582 | -1.8379 | 2.5068 | 5.7882 | -0.40618 | -6.9289 | -2.5367 | 0.30486 | 6.9834 | 3.3668 | 11.0133 | -15.109 | -102.4808 | -169.4317 | 164.8159 | 77.5541 |  | 1.3515 | 0.8965 | 0.85293 | 1.2681 | 0.93607 | 0.96193 | -0.78848 | -117.78 | 102.8537 | 1.1501 | -124.9303 | 107.7391
Line_1 | 0.063855 | 0.34372 | 0.30193 | 0.063616 | 0.34323 | 0.30143 | 0.73734 | 3.969 | 3.4864 | 0.73457 | 3.9632 | 3.4806 | -0.89631 | 1.4906 | 3.0076 | 0.91894 | -1.2534 | -2.8941 | 0.12212 | 3.5105 | 1.8898 | -0.15243 | -3.4917 | -1.6834 | -170.0169 | 164.7351 | 77.6437 | 10.5683 | -15.1841 | -102.4459 |  | 1.2268 | 0.96093 | 1.0188 | 1.2681 | 0.93607 | 0.96193 | 2.2247 | -128.2707 | 109.787 | 1.1501 | -124.9303 | 107.7391
Line_2 | 0.063855 | 0.34372 | 0.30193 | 0.063616 | 0.34323 | 0.30143 | 0.73734 | 3.969 | 3.4864 | 0.73457 | 3.9632 | 3.4806 | -0.89631 | 1.4906 | 3.0076 | 0.91894 | -1.2534 | -2.8941 | 0.12212 | 3.5105 | 1.8898 | -0.15243 | -3.4917 | -1.6834 | -170.0169 | 164.7351 | 77.6437 | 10.5683 | -15.1841 | -102.4459 |  | 1.2268 | 0.96093 | 1.0188 | 1.2681 | 0.93607 | 0.96193 | 2.2247 | -128.2707 | 109.787 | 1.1501 | -124.9303 | 107.7391
Line_3 | 0.0003143 | 0.0003143 | 0.0003143 | 0.0003143 | 0.0003143 | 0.0003143 | 0.0036292 | 0.0036292 | 0.0036292 | 0.0036292 | 0.0036292 | 0.0036292 | -0.0028117 | -0.00062622 | 0.0034379 | -0.0028117 | -0.00062622 | 0.0034379 | -0.0034524 | 0.0034307 | -0.001361 | -0.0034524 | 0.0034307 | -0.001361 | 131.3849 | 131.3849 | 131.3849 | 131.3849 | 131.3849 | 131.3849 |  | 1.2268 | 0.96093 | 1.0188 | 1.2268 | 0.96093 | 1.0188 | 2.2247 | -128.2707 | 109.787 | 2.2247 | -128.2707 | 109.787

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24543 | 1.5844 | 0.84202 | 0.24692 | 1.5845 | 0.84313 | 2.834 | 18.2952 | 9.7228 | 2.8512 | 18.296 | 9.7356 | 2.49 | -2.1288e-11 | -6.8237e-12 | -1.846 | 6.3924 | -0.098792 | 3.2169 | -2.5383e-11 | -1.6432e-11 | -2.865 | -0.50893 | 2.5973 | -53.9484 | 3.4352 | -134.2039 | 125.8494 | -176.6271 | 45.8857 |  | 1.4354 | 0 | 0 | 1.1954 | 0.35049 | 0.26697 | -1.689 | 0 | 0 | 3.0547 | 178.8208 | 138.064
Line_1 | 0.12437 | 0.79273 | 0.42172 | 0.12346 | 0.79224 | 0.42156 | 1.4361 | 9.1537 | 4.8697 | 1.4256 | 9.148 | 4.8678 | -0.76592 | 4.8 | -0.069389 | 0.92299 | -3.1962 | 0.049396 | -1.3473 | -0.38157 | 1.9514 | 1.4325 | 0.25447 | -1.2986 | 125.8495 | -176.6826 | 46.0074 | -54.1506 | 3.3729 | -134.1143 |  | 1.0792 | 0.52604 | 0.40098 | 1.1954 | 0.35049 | 0.26697 | 6.2323 | 178.7724 | 138.0439 | 3.0547 | 178.8208 | 138.064
Line_2 | 0.12437 | 0.79273 | 0.42172 | 0.12346 | 0.79224 | 0.42156 | 1.4361 | 9.1537 | 4.8697 | 1.4256 | 9.148 | 4.8678 | -0.76592 | 4.8 | -0.069389 | 0.92299 | -3.1962 | 0.049396 | -1.3473 | -0.38157 | 1.9514 | 1.4325 | 0.25447 | -1.2986 | 125.8495 | -176.6826 | 46.0074 | -54.1506 | 3.3729 | -134.1143 |  | 1.0792 | 0.52604 | 0.40098 | 1.1954 | 0.35049 | 0.26697 | 6.2323 | 178.7724 | 138.0439 | 3.0547 | 178.8208 | 138.064
Line_3 | 0.00038612 | 0.00038612 | 0.00038612 | 0.00038612 | 0.00038612 | 0.00038612 | 0.0044586 | 0.0044586 | 0.0044586 | 0.0044586 | 0.0044586 | 0.0044586 | -0.0037745 | 0.0020131 | 0.0017614 | -0.0037745 | 0.0020131 | 0.0017614 | -0.002984 | 0.0012033 | -0.00030615 | -0.002984 | 0.0012033 | -0.00030615 | 147.904 | 147.904 | 147.904 | 147.904 | 147.904 | 147.904 |  | 1.0792 | 0.52604 | 0.40098 | 1.0792 | 0.52604 | 0.40098 | 6.2323 | 178.7724 | 138.0439 | 6.2323 | 178.7724 | 138.0439

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24543 | 1.5844 | 0.84202 | 0.24692 | 1.5845 | 0.84313 | 2.834 | 18.2952 | 9.7228 | 2.8512 | 18.296 | 9.7356 | 2.49 | -2.1288e-11 | -6.8237e-12 | -1.846 | 6.3924 | -0.098792 | 3.2169 | -2.5383e-11 | -1.6432e-11 | -2.865 | -0.50893 | 2.5973 | -53.9484 | 3.4352 | -134.2039 | 125.8494 | -176.6271 | 45.8857 |  | 1.4354 | 0 | 0 | 1.1954 | 0.35049 | 0.26697 | -1.689 | 0 | 0 | 3.0547 | 178.8208 | 138.064
Line_1 | 0.12437 | 0.79273 | 0.42172 | 0.12346 | 0.79224 | 0.42156 | 1.4361 | 9.1537 | 4.8697 | 1.4256 | 9.148 | 4.8678 | -0.76592 | 4.8 | -0.069389 | 0.92299 | -3.1962 | 0.049396 | -1.3473 | -0.38157 | 1.9514 | 1.4325 | 0.25447 | -1.2986 | 125.8495 | -176.6826 | 46.0074 | -54.1506 | 3.3729 | -134.1143 |  | 1.0792 | 0.52604 | 0.40098 | 1.1954 | 0.35049 | 0.26697 | 6.2323 | 178.7724 | 138.0439 | 3.0547 | 178.8208 | 138.064
Line_2 | 0.12437 | 0.79273 | 0.42172 | 0.12346 | 0.79224 | 0.42156 | 1.4361 | 9.1537 | 4.8697 | 1.4256 | 9.148 | 4.8678 | -0.76592 | 4.8 | -0.069389 | 0.92299 | -3.1962 | 0.049396 | -1.3473 | -0.38157 | 1.9514 | 1.4325 | 0.25447 | -1.2986 | 125.8495 | -176.6826 | 46.0074 | -54.1506 | 3.3729 | -134.1143 |  | 1.0792 | 0.52604 | 0.40098 | 1.1954 | 0.35049 | 0.26697 | 6.2323 | 178.7724 | 138.0439 | 3.0547 | 178.8208 | 138.064
Line_3 | 0.00038612 | 0.00038612 | 0.00038612 | 0.00038612 | 0.00038612 | 0.00038612 | 0.0044586 | 0.0044586 | 0.0044586 | 0.0044586 | 0.0044586 | 0.0044586 | -0.0037745 | 0.0020131 | 0.0017614 | -0.0037745 | 0.0020131 | 0.0017614 | -0.002984 | 0.0012033 | -0.00030615 | -0.002984 | 0.0012033 | -0.00030615 | 147.904 | 147.904 | 147.904 | 147.904 | 147.904 | 147.904 |  | 1.0792 | 0.52604 | 0.40098 | 1.0792 | 0.52604 | 0.40098 | 6.2323 | 178.7724 | 138.0439 | 6.2323 | 178.7724 | 138.0439

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18512 | 0.39566 | 0.3553 | 0.18584 | 0.39556 | 0.35622 | 2.1375 | 4.5687 | 4.1026 | 2.1459 | 4.5675 | 4.1133 | 1.7626 | -1.7759 | -2.8233 | -1.4658 | 2.4118 | 3.31 | 1.9507 | -3.1719 | 0.009582 | -1.8444 | 2.9214 | 0.47374 | -50.7006 | 5.3454 | -79.2213 | 129.1118 | -174.7909 | 100.7484 |  | 1.23 | 0.79568 | 0.68816 | 1.0979 | 0.8294 | 0.81291 | -2.8 | -113.8994 | 100.5843 | 0.63607 | -124.3327 | 108.8933
Line_1 | 0.093413 | 0.19798 | 0.17859 | 0.092921 | 0.19778 | 0.17811 | 1.0786 | 2.2861 | 2.0621 | 1.073 | 2.2838 | 2.0567 | -0.66096 | 1.3653 | 1.7805 | 0.73291 | -1.2059 | -1.655 | -0.89763 | 1.4012 | 0.35685 | 0.92219 | -1.4607 | -0.23687 | 129.0604 | -174.9226 | 100.7997 | -50.8882 | 5.2091 | -79.2516 |  | 1.0335 | 0.85575 | 0.88059 | 1.0979 | 0.8294 | 0.81291 | 2.6947 | -129.1794 | 112.1328 | 0.63607 | -124.3327 | 108.8933
Line_2 | 0.093413 | 0.19798 | 0.17859 | 0.092921 | 0.19778 | 0.17811 | 1.0786 | 2.2861 | 2.0621 | 1.073 | 2.2838 | 2.0567 | -0.66096 | 1.3653 | 1.7805 | 0.73291 | -1.2059 | -1.655 | -0.89763 | 1.4012 | 0.35685 | 0.92219 | -1.4607 | -0.23687 | 129.0604 | -174.9226 | 100.7997 | -50.8882 | 5.2091 | -79.2516 |  | 1.0335 | 0.85575 | 0.88059 | 1.0979 | 0.8294 | 0.81291 | 2.6947 | -129.1794 | 112.1328 | 0.63607 | -124.3327 | 108.8933
Line_3 | 0.00021186 | 0.00021186 | 0.00021186 | 0.00021186 | 0.00021186 | 0.00021186 | 0.0024464 | 0.0024464 | 0.0024464 | 0.0024464 | 0.0024464 | 0.0024464 | -0.001902 | 2.4254e-05 | 0.0018777 | -0.001902 | 2.4254e-05 | 0.0018777 | -0.0016657 | 0.0020934 | -0.001056 | -0.0016657 | 0.0020934 | -0.001056 | 141.4844 | 141.4844 | 141.4844 | 141.4844 | 141.4844 | 141.4844 |  | 1.0335 | 0.85575 | 0.88059 | 1.0335 | 0.85575 | 0.88059 | 2.6947 | -129.1794 | 112.1328 | 2.6947 | -129.1794 | 112.1328

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18512 | 0.39566 | 0.3553 | 0.18584 | 0.39556 | 0.35622 | 2.1375 | 4.5687 | 4.1026 | 2.1459 | 4.5675 | 4.1133 | 1.7626 | -1.7759 | -2.8233 | -1.4658 | 2.4118 | 3.31 | 1.9507 | -3.1719 | 0.009582 | -1.8444 | 2.9214 | 0.47374 | -50.7006 | 5.3454 | -79.2213 | 129.1118 | -174.7909 | 100.7484 |  | 1.23 | 0.79568 | 0.68816 | 1.0979 | 0.8294 | 0.81291 | -2.8 | -113.8994 | 100.5843 | 0.63607 | -124.3327 | 108.8933
Line_1 | 0.093413 | 0.19798 | 0.17859 | 0.092921 | 0.19778 | 0.17811 | 1.0786 | 2.2861 | 2.0621 | 1.073 | 2.2838 | 2.0567 | -0.66096 | 1.3653 | 1.7805 | 0.73291 | -1.2059 | -1.655 | -0.89763 | 1.4012 | 0.35685 | 0.92219 | -1.4607 | -0.23687 | 129.0604 | -174.9226 | 100.7997 | -50.8882 | 5.2091 | -79.2516 |  | 1.0335 | 0.85575 | 0.88059 | 1.0979 | 0.8294 | 0.81291 | 2.6947 | -129.1794 | 112.1328 | 0.63607 | -124.3327 | 108.8933
Line_2 | 0.093413 | 0.19798 | 0.17859 | 0.092921 | 0.19778 | 0.17811 | 1.0786 | 2.2861 | 2.0621 | 1.073 | 2.2838 | 2.0567 | -0.66096 | 1.3653 | 1.7805 | 0.73291 | -1.2059 | -1.655 | -0.89763 | 1.4012 | 0.35685 | 0.92219 | -1.4607 | -0.23687 | 129.0604 | -174.9226 | 100.7997 | -50.8882 | 5.2091 | -79.2516 |  | 1.0335 | 0.85575 | 0.88059 | 1.0979 | 0.8294 | 0.81291 | 2.6947 | -129.1794 | 112.1328 | 0.63607 | -124.3327 | 108.8933
Line_3 | 0.00021186 | 0.00021186 | 0.00021186 | 0.00021186 | 0.00021186 | 0.00021186 | 0.0024464 | 0.0024464 | 0.0024464 | 0.0024464 | 0.0024464 | 0.0024464 | -0.001902 | 2.4254e-05 | 0.0018777 | -0.001902 | 2.4254e-05 | 0.0018777 | -0.0016657 | 0.0020934 | -0.001056 | -0.0016657 | 0.0020934 | -0.001056 | 141.4844 | 141.4844 | 141.4844 | 141.4844 | 141.4844 | 141.4844 |  | 1.0335 | 0.85575 | 0.88059 | 1.0335 | 0.85575 | 0.88059 | 2.6947 | -129.1794 | 112.1328 | 2.6947 | -129.1794 | 112.1328