## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2764e-14 | 1.0833e-14 | -1.6856e-15 | 1.1637e-14 | 1.1331e-14 | 1.6856e-15 | 1.0745e-14 | -4.3315e-15 | 1.5845e-14 | -1.6627e-14 | 9.0004e-15 | -1.5845e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2764e-14 | 1.0833e-14 | -1.6856e-15 | 1.1637e-14 | 1.1331e-14 | 1.6856e-15 | 1.0745e-14 | -4.3315e-15 | 1.5845e-14 | -1.6627e-14 | 9.0004e-15 | -1.5845e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0738e-15 | -4.7038e-15 | 2.0308e-15 | -6.9507e-16 | 7.5392e-15 | 1.4411e-15 | -2.8619e-18 | 9.3918e-15 | 4.5255e-15 | 2.7641e-15 | 3.06e-16 | -2.604e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0738e-15 | -4.7038e-15 | 2.0308e-15 | -6.9507e-16 | 7.5392e-15 | 1.4411e-15 | -2.8619e-18 | 9.3918e-15 | 4.5255e-15 | 2.7641e-15 | 3.06e-16 | -2.604e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6726e-15 | 0 | 8.4844e-16 | -9.4798e-15 | 7.7903e-16 | 2.8925e-15 | 3.8572e-16 | 0 | -4.252e-15 | -5.222e-15 | 3.3178e-15 | 3.2299e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6726e-15 | 0 | 8.4844e-16 | -9.4798e-15 | 7.7903e-16 | 2.8925e-15 | 3.8572e-16 | 0 | -4.252e-15 | -5.222e-15 | 3.3178e-15 | 3.2299e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4977e-15 | -8.2477e-15 | 2.0359e-16 | -2.2215e-15 | -1.8994e-15 | 2.0359e-16 | 1.2274e-15 | 7.2014e-15 | -3.7321e-16 | -3.7554e-17 | 4.2602e-15 | -3.7321e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4977e-15 | -8.2477e-15 | 2.0359e-16 | -2.2215e-15 | -1.8994e-15 | 2.0359e-16 | 1.2274e-15 | 7.2014e-15 | -3.7321e-16 | -3.7554e-17 | 4.2602e-15 | -3.7321e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6561 | 0.55277 | 0.78248 | 1.6566 | 0.5523 | 0.78204 | 19.1232 | 6.3829 | 9.0353 | 19.1289 | 6.3774 | 9.0302 | 2.7001e-10 | 5.1873 | -8.1658 | 2.0751 | -5.2848 | 8.3527 | -1.7665e-10 | -3.9441 | -4.1637 | 2.2481 | 3.9732 | 4.1169 | 103.702 | -61.839 | -105.0385 | -76.299 | 118.1768 | 74.946 |  | 0 | 1.0209 | 1.0145 | 0.15993 | 1.0367 | 1.0312 | 0 | -99.0861 | 101.9783 | -29.0079 | -98.7594 | 101.1842
Line_1 | 0.82864 | 0.2758 | 0.39078 | 0.82831 | 0.27615 | 0.39102 | 9.5683 | 3.1847 | 4.5123 | 9.5645 | 3.1887 | 4.5151 | 1.558 | -2.6653 | 4.2204 | -1.0375 | 2.6424 | -4.1763 | 1.687 | 1.9916 | 2.0479 | -1.124 | -1.9866 | -2.0585 | -76.2917 | 118.1728 | 74.9092 | 103.701 | -61.8232 | -105.054 |  | 0.24 | 1.0447 | 1.0396 | 0.15993 | 1.0367 | 1.0312 | -29.0148 | -98.5954 | 100.7937 | -29.0079 | -98.7594 | 101.1842
Line_2 | 0.82864 | 0.2758 | 0.39078 | 0.82831 | 0.27615 | 0.39102 | 9.5683 | 3.1847 | 4.5123 | 9.5645 | 3.1887 | 4.5151 | 1.558 | -2.6653 | 4.2204 | -1.0375 | 2.6424 | -4.1763 | 1.687 | 1.9916 | 2.0479 | -1.124 | -1.9866 | -2.0585 | -76.2917 | 118.1728 | 74.9092 | 103.701 | -61.8232 | -105.054 |  | 0.24 | 1.0447 | 1.0396 | 0.15993 | 1.0367 | 1.0312 | -29.0148 | -98.5954 | 100.7937 | -29.0079 | -98.7594 | 101.1842
Line_3 | 0.00015718 | 0.00015718 | 0.00015718 | 0.00015718 | 0.00015718 | 0.00015718 | 0.001815 | 0.001815 | 0.001815 | 0.001815 | 0.001815 | 0.001815 | 0.00041259 | 0.0011963 | -0.0016089 | 0.00041259 | 0.0011963 | -0.0016089 | 0.00013965 | -0.0014711 | 0.00098565 | 0.00013965 | -0.0014711 | 0.00098565 | -47.7139 | -47.7139 | -47.7139 | -47.7139 | -47.7139 | -47.7139 |  | 0.24 | 1.0447 | 1.0396 | 0.24 | 1.0447 | 1.0396 | -29.0148 | -98.5954 | 100.7937 | -29.0148 | -98.5954 | 100.7937

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6561 | 0.55277 | 0.78248 | 1.6566 | 0.5523 | 0.78204 | 19.1232 | 6.3829 | 9.0353 | 19.1289 | 6.3774 | 9.0302 | 2.7001e-10 | 5.1873 | -8.1658 | 2.0751 | -5.2848 | 8.3527 | -1.7665e-10 | -3.9441 | -4.1637 | 2.2481 | 3.9732 | 4.1169 | 103.702 | -61.839 | -105.0385 | -76.299 | 118.1768 | 74.946 |  | 0 | 1.0209 | 1.0145 | 0.15993 | 1.0367 | 1.0312 | 0 | -99.0861 | 101.9783 | -29.0079 | -98.7594 | 101.1842
Line_1 | 0.82864 | 0.2758 | 0.39078 | 0.82831 | 0.27615 | 0.39102 | 9.5683 | 3.1847 | 4.5123 | 9.5645 | 3.1887 | 4.5151 | 1.558 | -2.6653 | 4.2204 | -1.0375 | 2.6424 | -4.1763 | 1.687 | 1.9916 | 2.0479 | -1.124 | -1.9866 | -2.0585 | -76.2917 | 118.1728 | 74.9092 | 103.701 | -61.8232 | -105.054 |  | 0.24 | 1.0447 | 1.0396 | 0.15993 | 1.0367 | 1.0312 | -29.0148 | -98.5954 | 100.7937 | -29.0079 | -98.7594 | 101.1842
Line_2 | 0.82864 | 0.2758 | 0.39078 | 0.82831 | 0.27615 | 0.39102 | 9.5683 | 3.1847 | 4.5123 | 9.5645 | 3.1887 | 4.5151 | 1.558 | -2.6653 | 4.2204 | -1.0375 | 2.6424 | -4.1763 | 1.687 | 1.9916 | 2.0479 | -1.124 | -1.9866 | -2.0585 | -76.2917 | 118.1728 | 74.9092 | 103.701 | -61.8232 | -105.054 |  | 0.24 | 1.0447 | 1.0396 | 0.15993 | 1.0367 | 1.0312 | -29.0148 | -98.5954 | 100.7937 | -29.0079 | -98.7594 | 101.1842
Line_3 | 0.00015718 | 0.00015718 | 0.00015718 | 0.00015718 | 0.00015718 | 0.00015718 | 0.001815 | 0.001815 | 0.001815 | 0.001815 | 0.001815 | 0.001815 | 0.00041259 | 0.0011963 | -0.0016089 | 0.00041259 | 0.0011963 | -0.0016089 | 0.00013965 | -0.0014711 | 0.00098565 | 0.00013965 | -0.0014711 | 0.00098565 | -47.7139 | -47.7139 | -47.7139 | -47.7139 | -47.7139 | -47.7139 |  | 0.24 | 1.0447 | 1.0396 | 0.24 | 1.0447 | 1.0396 | -29.0148 | -98.5954 | 100.7937 | -29.0148 | -98.5954 | 100.7937

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44258 | 0.30306 | 0.26154 | 0.44266 | 0.30298 | 0.26153 | 5.1105 | 3.4995 | 3.02 | 5.1114 | 3.4985 | 3.0198 | -2.7318 | 0.231 | -1.7232 | 2.8511 | -0.2062 | 1.7718 | -4.281 | -3.7963 | -3.0307 | 4.4346 | 3.8339 | 3.0518 | 116.1972 | -31.7728 | -123.4348 | -63.7994 | 148.231 | 56.5472 |  | 0.99371 | 1.0868 | 1.1544 | 1.0314 | 1.0974 | 1.1685 | -6.3456 | -118.2907 | 116.9441 | -6.5374 | -118.6904 | 116.4093
Line_1 | 0.22138 | 0.15143 | 0.13077 | 0.22133 | 0.15149 | 0.13076 | 2.5562 | 1.7486 | 1.51 | 2.5557 | 1.7493 | 1.5099 | 1.4559 | -0.097063 | 0.89768 | -1.4256 | 0.1031 | -0.88588 | 2.2558 | 1.9258 | 1.5315 | -2.2173 | -1.9169 | -1.5259 | -63.7897 | 148.2281 | 56.5218 | 116.2006 | -31.769 | -123.4528 |  | 1.0503 | 1.1027 | 1.1756 | 1.0314 | 1.0974 | 1.1685 | -6.6281 | -118.8866 | 116.146 | -6.5374 | -118.6904 | 116.4093
Line_2 | 0.22138 | 0.15143 | 0.13077 | 0.22133 | 0.15149 | 0.13076 | 2.5562 | 1.7486 | 1.51 | 2.5557 | 1.7493 | 1.5099 | 1.4559 | -0.097063 | 0.89768 | -1.4256 | 0.1031 | -0.88588 | 2.2558 | 1.9258 | 1.5315 | -2.2173 | -1.9169 | -1.5259 | -63.7897 | 148.2281 | 56.5218 | 116.2006 | -31.769 | -123.4528 |  | 1.0503 | 1.1027 | 1.1756 | 1.0314 | 1.0974 | 1.1685 | -6.6281 | -118.8866 | 116.146 | -6.5374 | -118.6904 | 116.4093
Line_3 | 2.6659e-05 | 2.6659e-05 | 2.6659e-05 | 2.6659e-05 | 2.6659e-05 | 2.6659e-05 | 0.00030783 | 0.00030783 | 0.00030783 | 0.00030783 | 0.00030783 | 0.00030783 | 0.00032107 | -9.0679e-05 | -0.00023039 | 0.00032107 | -9.0679e-05 | -0.00023039 | 3.8087e-05 | -0.00032713 | 0.00027909 | 3.8087e-05 | -0.00032713 | 0.00027909 | -13.3933 | -13.3933 | -13.3933 | -13.3933 | -13.3933 | -13.3933 |  | 1.0503 | 1.1027 | 1.1756 | 1.0503 | 1.1027 | 1.1756 | -6.6281 | -118.8866 | 116.146 | -6.6281 | -118.8866 | 116.146

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44258 | 0.30306 | 0.26154 | 0.44266 | 0.30298 | 0.26153 | 5.1105 | 3.4995 | 3.02 | 5.1114 | 3.4985 | 3.0198 | -2.7318 | 0.231 | -1.7232 | 2.8511 | -0.2062 | 1.7718 | -4.281 | -3.7963 | -3.0307 | 4.4346 | 3.8339 | 3.0518 | 116.1972 | -31.7728 | -123.4348 | -63.7994 | 148.231 | 56.5472 |  | 0.99371 | 1.0868 | 1.1544 | 1.0314 | 1.0974 | 1.1685 | -6.3456 | -118.2907 | 116.9441 | -6.5374 | -118.6904 | 116.4093
Line_1 | 0.22138 | 0.15143 | 0.13077 | 0.22133 | 0.15149 | 0.13076 | 2.5562 | 1.7486 | 1.51 | 2.5557 | 1.7493 | 1.5099 | 1.4559 | -0.097063 | 0.89768 | -1.4256 | 0.1031 | -0.88588 | 2.2558 | 1.9258 | 1.5315 | -2.2173 | -1.9169 | -1.5259 | -63.7897 | 148.2281 | 56.5218 | 116.2006 | -31.769 | -123.4528 |  | 1.0503 | 1.1027 | 1.1756 | 1.0314 | 1.0974 | 1.1685 | -6.6281 | -118.8866 | 116.146 | -6.5374 | -118.6904 | 116.4093
Line_2 | 0.22138 | 0.15143 | 0.13077 | 0.22133 | 0.15149 | 0.13076 | 2.5562 | 1.7486 | 1.51 | 2.5557 | 1.7493 | 1.5099 | 1.4559 | -0.097063 | 0.89768 | -1.4256 | 0.1031 | -0.88588 | 2.2558 | 1.9258 | 1.5315 | -2.2173 | -1.9169 | -1.5259 | -63.7897 | 148.2281 | 56.5218 | 116.2006 | -31.769 | -123.4528 |  | 1.0503 | 1.1027 | 1.1756 | 1.0314 | 1.0974 | 1.1685 | -6.6281 | -118.8866 | 116.146 | -6.5374 | -118.6904 | 116.4093
Line_3 | 2.6659e-05 | 2.6659e-05 | 2.6659e-05 | 2.6659e-05 | 2.6659e-05 | 2.6659e-05 | 0.00030783 | 0.00030783 | 0.00030783 | 0.00030783 | 0.00030783 | 0.00030783 | 0.00032107 | -9.0679e-05 | -0.00023039 | 0.00032107 | -9.0679e-05 | -0.00023039 | 3.8087e-05 | -0.00032713 | 0.00027909 | 3.8087e-05 | -0.00032713 | 0.00027909 | -13.3933 | -13.3933 | -13.3933 | -13.3933 | -13.3933 | -13.3933 |  | 1.0503 | 1.1027 | 1.1756 | 1.0503 | 1.1027 | 1.1756 | -6.6281 | -118.8866 | 116.146 | -6.6281 | -118.8866 | 116.146

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2511 | 0.41504 | 0.63315 | 1.2515 | 0.41465 | 0.63275 | 14.4468 | 4.7925 | 7.311 | 14.4513 | 4.7879 | 7.3064 | -1.0956e-10 | 3.9876 | -6.3895 | 2.0609 | -3.9435 | 6.6131 | -2.9567e-11 | -1.5059 | -0.60486 | 1.5415 | 1.3786 | 0.47908 | 110.3542 | -78.4634 | -83.0532 | -69.6488 | 101.5372 | 96.9443 |  | 0 | 0.8894 | 0.87786 | 0.17809 | 0.87251 | 0.90748 | 0 | -99.1524 | 102.3546 | -32.8528 | -97.7316 | 101.0878
Line_1 | 0.62596 | 0.20714 | 0.3162 | 0.62576 | 0.20732 | 0.31638 | 7.2279 | 2.3919 | 3.6512 | 7.2257 | 2.394 | 3.6532 | 1.5471 | -1.9606 | 3.3612 | -1.0304 | 1.9718 | -3.3065 | 1.1566 | 0.65613 | 0.20902 | -0.77075 | -0.6893 | -0.23954 | -69.642 | 101.5087 | 96.923 | 110.3512 | -78.4628 | -83.0557 |  | 0.26725 | 0.86436 | 0.92234 | 0.17809 | 0.87251 | 0.90748 | -32.8615 | -96.9948 | 100.4815 | -32.8528 | -97.7316 | 101.0878
Line_2 | 0.62596 | 0.20714 | 0.3162 | 0.62576 | 0.20732 | 0.31638 | 7.2279 | 2.3919 | 3.6512 | 7.2257 | 2.394 | 3.6532 | 1.5471 | -1.9606 | 3.3612 | -1.0304 | 1.9718 | -3.3065 | 1.1566 | 0.65613 | 0.20902 | -0.77075 | -0.6893 | -0.23954 | -69.642 | 101.5087 | 96.923 | 110.3512 | -78.4628 | -83.0557 |  | 0.26725 | 0.86436 | 0.92234 | 0.17809 | 0.87251 | 0.90748 | -32.8615 | -96.9948 | 100.4815 | -32.8528 | -97.7316 | 101.0878
Line_3 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 0.0010248 | 0.0010248 | 0.0010248 | 0.0010248 | 0.0010248 | 0.0010248 | 0.00027237 | 0.00030066 | -0.00057303 | 0.00027237 | 0.00030066 | -0.00057303 | -2.8748e-05 | -0.00083323 | 0.00075172 | -2.8748e-05 | -0.00083323 | 0.00075172 | -26.8364 | -26.8364 | -26.8364 | -26.8364 | -26.8364 | -26.8364 |  | 0.26725 | 0.86436 | 0.92234 | 0.26725 | 0.86436 | 0.92234 | -32.8615 | -96.9948 | 100.4815 | -32.8615 | -96.9948 | 100.4815

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2511 | 0.41504 | 0.63315 | 1.2515 | 0.41465 | 0.63275 | 14.4468 | 4.7925 | 7.311 | 14.4513 | 4.7879 | 7.3064 | -1.0956e-10 | 3.9876 | -6.3895 | 2.0609 | -3.9435 | 6.6131 | -2.9567e-11 | -1.5059 | -0.60486 | 1.5415 | 1.3786 | 0.47908 | 110.3542 | -78.4634 | -83.0532 | -69.6488 | 101.5372 | 96.9443 |  | 0 | 0.8894 | 0.87786 | 0.17809 | 0.87251 | 0.90748 | 0 | -99.1524 | 102.3546 | -32.8528 | -97.7316 | 101.0878
Line_1 | 0.62596 | 0.20714 | 0.3162 | 0.62576 | 0.20732 | 0.31638 | 7.2279 | 2.3919 | 3.6512 | 7.2257 | 2.394 | 3.6532 | 1.5471 | -1.9606 | 3.3612 | -1.0304 | 1.9718 | -3.3065 | 1.1566 | 0.65613 | 0.20902 | -0.77075 | -0.6893 | -0.23954 | -69.642 | 101.5087 | 96.923 | 110.3512 | -78.4628 | -83.0557 |  | 0.26725 | 0.86436 | 0.92234 | 0.17809 | 0.87251 | 0.90748 | -32.8615 | -96.9948 | 100.4815 | -32.8528 | -97.7316 | 101.0878
Line_2 | 0.62596 | 0.20714 | 0.3162 | 0.62576 | 0.20732 | 0.31638 | 7.2279 | 2.3919 | 3.6512 | 7.2257 | 2.394 | 3.6532 | 1.5471 | -1.9606 | 3.3612 | -1.0304 | 1.9718 | -3.3065 | 1.1566 | 0.65613 | 0.20902 | -0.77075 | -0.6893 | -0.23954 | -69.642 | 101.5087 | 96.923 | 110.3512 | -78.4628 | -83.0557 |  | 0.26725 | 0.86436 | 0.92234 | 0.17809 | 0.87251 | 0.90748 | -32.8615 | -96.9948 | 100.4815 | -32.8528 | -97.7316 | 101.0878
Line_3 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 0.0010248 | 0.0010248 | 0.0010248 | 0.0010248 | 0.0010248 | 0.0010248 | 0.00027237 | 0.00030066 | -0.00057303 | 0.00027237 | 0.00030066 | -0.00057303 | -2.8748e-05 | -0.00083323 | 0.00075172 | -2.8748e-05 | -0.00083323 | 0.00075172 | -26.8364 | -26.8364 | -26.8364 | -26.8364 | -26.8364 | -26.8364 |  | 0.26725 | 0.86436 | 0.92234 | 0.26725 | 0.86436 | 0.92234 | -32.8615 | -96.9948 | 100.4815 | -32.8615 | -96.9948 | 100.4815

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21705 | 0.072002 | 0.10984 | 0.21712 | 0.071934 | 0.10977 | 2.5062 | 0.83141 | 1.2683 | 2.507 | 0.83062 | 1.2675 | -1.8649 | 0.23089 | -1.2383 | 1.9274 | -0.22945 | 1.2444 | -1.0812 | -0.75177 | 0.29144 | 1.128 | 0.74727 | -0.29499 | 143.5563 | -45.2613 | -49.8511 | -36.4467 | 134.7393 | 130.1464 |  | 0.8601 | 0.9459 | 1.003 | 0.89079 | 0.94111 | 1.009 | -6.3412 | -118.1881 | 116.9051 | -6.1097 | -118.1914 | 116.8104
Line_1 | 0.10859 | 0.035935 | 0.054856 | 0.10856 | 0.035967 | 0.054886 | 1.2539 | 0.41495 | 0.63342 | 1.2535 | 0.41531 | 0.63376 | 0.97963 | -0.11452 | 0.62362 | -0.96372 | 0.11473 | -0.6222 | 0.57566 | 0.3723 | -0.14813 | -0.56399 | -0.37363 | 0.14749 | -36.4399 | 134.7108 | 130.1251 | 143.5533 | -45.2607 | -49.8536 |  | 0.90617 | 0.93871 | 1.0119 | 0.89079 | 0.94111 | 1.009 | -6.0001 | -118.1918 | 116.7626 | -6.1097 | -118.1914 | 116.8104
Line_2 | 0.10859 | 0.035935 | 0.054856 | 0.10856 | 0.035967 | 0.054886 | 1.2539 | 0.41495 | 0.63342 | 1.2535 | 0.41531 | 0.63376 | 0.97963 | -0.11452 | 0.62362 | -0.96372 | 0.11473 | -0.6222 | 0.57566 | 0.3723 | -0.14813 | -0.56399 | -0.37363 | 0.14749 | -36.4399 | 134.7108 | 130.1251 | 143.5533 | -45.2607 | -49.8536 |  | 0.90617 | 0.93871 | 1.0119 | 0.89079 | 0.94111 | 1.009 | -6.0001 | -118.1918 | 116.7626 | -6.1097 | -118.1914 | 116.8104
Line_3 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00015737 | -9.4665e-05 | -6.2701e-05 | 0.00015737 | -9.4665e-05 | -6.2701e-05 | -3.4501e-05 | -0.00013744 | 0.00016863 | -3.4501e-05 | -0.00013744 | 0.00016863 | 6.3657 | 6.3657 | 6.3657 | 6.3657 | 6.3657 | 6.3657 |  | 0.90617 | 0.93871 | 1.0119 | 0.90617 | 0.93871 | 1.0119 | -6.0001 | -118.1918 | 116.7626 | -6.0001 | -118.1918 | 116.7626

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21705 | 0.072002 | 0.10984 | 0.21712 | 0.071934 | 0.10977 | 2.5062 | 0.83141 | 1.2683 | 2.507 | 0.83062 | 1.2675 | -1.8649 | 0.23089 | -1.2383 | 1.9274 | -0.22945 | 1.2444 | -1.0812 | -0.75177 | 0.29144 | 1.128 | 0.74727 | -0.29499 | 143.5563 | -45.2613 | -49.8511 | -36.4467 | 134.7393 | 130.1464 |  | 0.8601 | 0.9459 | 1.003 | 0.89079 | 0.94111 | 1.009 | -6.3412 | -118.1881 | 116.9051 | -6.1097 | -118.1914 | 116.8104
Line_1 | 0.10859 | 0.035935 | 0.054856 | 0.10856 | 0.035967 | 0.054886 | 1.2539 | 0.41495 | 0.63342 | 1.2535 | 0.41531 | 0.63376 | 0.97963 | -0.11452 | 0.62362 | -0.96372 | 0.11473 | -0.6222 | 0.57566 | 0.3723 | -0.14813 | -0.56399 | -0.37363 | 0.14749 | -36.4399 | 134.7108 | 130.1251 | 143.5533 | -45.2607 | -49.8536 |  | 0.90617 | 0.93871 | 1.0119 | 0.89079 | 0.94111 | 1.009 | -6.0001 | -118.1918 | 116.7626 | -6.1097 | -118.1914 | 116.8104
Line_2 | 0.10859 | 0.035935 | 0.054856 | 0.10856 | 0.035967 | 0.054886 | 1.2539 | 0.41495 | 0.63342 | 1.2535 | 0.41531 | 0.63376 | 0.97963 | -0.11452 | 0.62362 | -0.96372 | 0.11473 | -0.6222 | 0.57566 | 0.3723 | -0.14813 | -0.56399 | -0.37363 | 0.14749 | -36.4399 | 134.7108 | 130.1251 | 143.5533 | -45.2607 | -49.8536 |  | 0.90617 | 0.93871 | 1.0119 | 0.89079 | 0.94111 | 1.009 | -6.0001 | -118.1918 | 116.7626 | -6.1097 | -118.1914 | 116.8104
Line_3 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00015737 | -9.4665e-05 | -6.2701e-05 | 0.00015737 | -9.4665e-05 | -6.2701e-05 | -3.4501e-05 | -0.00013744 | 0.00016863 | -3.4501e-05 | -0.00013744 | 0.00016863 | 6.3657 | 6.3657 | 6.3657 | 6.3657 | 6.3657 | 6.3657 |  | 0.90617 | 0.93871 | 1.0119 | 0.90617 | 0.93871 | 1.0119 | -6.0001 | -118.1918 | 116.7626 | -6.0001 | -118.1918 | 116.7626

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.051 | 1.8439 | 1.5899 | 1.0502 | 1.8442 | 1.5904 | 12.1356 | 21.2917 | 18.359 | 12.1269 | 21.2951 | 18.3642 | -1.0481 | 2.3271e-10 | 1.9879e-10 | 1.0235 | 3.2143 | 1.0702 | -6.7834 | -1.648e-10 | -1.4371e-10 | 6.7967 | 1.5119 | 2.787 | 102.2128 | -12.2398 | -131.8922 | -77.7865 | 167.7388 | 48.1295 |  | 0.5656 | 0 | 0 | 0.56679 | 0.1668 | 0.16257 | 3.4293 | 0 | 0 | 3.6499 | -167.0703 | 117.1228
Line_1 | 0.52461 | 0.92248 | 0.79534 | 0.52511 | 0.92211 | 0.79519 | 6.0577 | 10.6518 | 9.1837 | 6.0634 | 10.6476 | 9.1821 | 0.50332 | 2.4126 | 0.80421 | -0.51174 | -1.6071 | -0.5351 | 3.3994 | 1.1345 | 2.0915 | -3.3984 | -0.75595 | -1.3935 | -77.8064 | 167.7155 | 48.166 | 102.2135 | -12.2612 | -131.8705 |  | 0.56728 | 0.25029 | 0.244 | 0.56679 | 0.1668 | 0.16257 | 3.7715 | -167.0999 | 117.134 | 3.6499 | -167.0703 | 117.1228
Line_2 | 0.52461 | 0.92248 | 0.79534 | 0.52511 | 0.92211 | 0.79519 | 6.0577 | 10.6518 | 9.1837 | 6.0634 | 10.6476 | 9.1821 | 0.50332 | 2.4126 | 0.80421 | -0.51174 | -1.6071 | -0.5351 | 3.3994 | 1.1345 | 2.0915 | -3.3984 | -0.75595 | -1.3935 | -77.8064 | 167.7155 | 48.166 | 102.2135 | -12.2612 | -131.8705 |  | 0.56728 | 0.25029 | 0.244 | 0.56679 | 0.1668 | 0.16257 | 3.7715 | -167.0999 | 117.134 | 3.6499 | -167.0703 | 117.1228
Line_3 | 0.00023892 | 0.00023892 | 0.00023892 | 0.00023892 | 0.00023892 | 0.00023892 | 0.0027588 | 0.0027588 | 0.0027588 | 0.0027588 | 0.0027588 | 0.0027588 | -0.00099586 | 0.00034931 | 0.00064655 | -0.00099586 | 0.00034931 | 0.00064655 | -0.0012073 | 0.00059562 | -0.00018731 | -0.0012073 | 0.00059562 | -0.00018731 | 133.2903 | 133.2903 | 133.2903 | 133.2903 | 133.2903 | 133.2903 |  | 0.56728 | 0.25029 | 0.244 | 0.56728 | 0.25029 | 0.244 | 3.7715 | -167.0999 | 117.134 | 3.7715 | -167.0999 | 117.134

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.051 | 1.8439 | 1.5899 | 1.0502 | 1.8442 | 1.5904 | 12.1356 | 21.2917 | 18.359 | 12.1269 | 21.2951 | 18.3642 | -1.0481 | 2.3271e-10 | 1.9879e-10 | 1.0235 | 3.2143 | 1.0702 | -6.7834 | -1.648e-10 | -1.4371e-10 | 6.7967 | 1.5119 | 2.787 | 102.2128 | -12.2398 | -131.8922 | -77.7865 | 167.7388 | 48.1295 |  | 0.5656 | 0 | 0 | 0.56679 | 0.1668 | 0.16257 | 3.4293 | 0 | 0 | 3.6499 | -167.0703 | 117.1228
Line_1 | 0.52461 | 0.92248 | 0.79534 | 0.52511 | 0.92211 | 0.79519 | 6.0577 | 10.6518 | 9.1837 | 6.0634 | 10.6476 | 9.1821 | 0.50332 | 2.4126 | 0.80421 | -0.51174 | -1.6071 | -0.5351 | 3.3994 | 1.1345 | 2.0915 | -3.3984 | -0.75595 | -1.3935 | -77.8064 | 167.7155 | 48.166 | 102.2135 | -12.2612 | -131.8705 |  | 0.56728 | 0.25029 | 0.244 | 0.56679 | 0.1668 | 0.16257 | 3.7715 | -167.0999 | 117.134 | 3.6499 | -167.0703 | 117.1228
Line_2 | 0.52461 | 0.92248 | 0.79534 | 0.52511 | 0.92211 | 0.79519 | 6.0577 | 10.6518 | 9.1837 | 6.0634 | 10.6476 | 9.1821 | 0.50332 | 2.4126 | 0.80421 | -0.51174 | -1.6071 | -0.5351 | 3.3994 | 1.1345 | 2.0915 | -3.3984 | -0.75595 | -1.3935 | -77.8064 | 167.7155 | 48.166 | 102.2135 | -12.2612 | -131.8705 |  | 0.56728 | 0.25029 | 0.244 | 0.56679 | 0.1668 | 0.16257 | 3.7715 | -167.0999 | 117.134 | 3.6499 | -167.0703 | 117.1228
Line_3 | 0.00023892 | 0.00023892 | 0.00023892 | 0.00023892 | 0.00023892 | 0.00023892 | 0.0027588 | 0.0027588 | 0.0027588 | 0.0027588 | 0.0027588 | 0.0027588 | -0.00099586 | 0.00034931 | 0.00064655 | -0.00099586 | 0.00034931 | 0.00064655 | -0.0012073 | 0.00059562 | -0.00018731 | -0.0012073 | 0.00059562 | -0.00018731 | 133.2903 | 133.2903 | 133.2903 | 133.2903 | 133.2903 | 133.2903 |  | 0.56728 | 0.25029 | 0.244 | 0.56728 | 0.25029 | 0.244 | 3.7715 | -167.0999 | 117.134 | 3.7715 | -167.0999 | 117.134

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.31393 | 0.49003 | 0.47356 | 0.31385 | 0.49009 | 0.47357 | 3.625 | 5.6584 | 5.4682 | 3.6241 | 5.659 | 5.4683 | -1.3759 | -4.0203 | -2.181 | 1.4188 | 4.1926 | 2.2668 | -3.7052 | -3.9827 | -4.6641 | 3.7331 | 4.1241 | 4.8292 | 108.6211 | 6.0399 | -129.4026 | -71.3864 | -173.9679 | 50.608 |  | 1.0903 | 1.0001 | 0.94159 | 1.102 | 1.0392 | 0.97557 | -1.7506 | -129.2292 | 115.536 | -2.196 | -129.4398 | 115.4632
Line_1 | 0.15689 | 0.2451 | 0.23677 | 0.15693 | 0.24504 | 0.23678 | 1.8116 | 2.8301 | 2.7339 | 1.812 | 2.8295 | 2.7341 | 0.71957 | 2.1397 | 1.1551 | -0.70939 | -2.0963 | -1.1334 | 1.8734 | 2.0978 | 2.4555 | -1.8665 | -2.062 | -2.4146 | -71.4035 | -173.9747 | 50.6222 | 108.6136 | 6.0321 | -129.392 |  | 1.1078 | 1.0588 | 0.99257 | 1.102 | 1.0392 | 0.97557 | -2.4151 | -129.5401 | 115.4295 | -2.196 | -129.4398 | 115.4632
Line_2 | 0.15689 | 0.2451 | 0.23677 | 0.15693 | 0.24504 | 0.23678 | 1.8116 | 2.8301 | 2.7339 | 1.812 | 2.8295 | 2.7341 | 0.71957 | 2.1397 | 1.1551 | -0.70939 | -2.0963 | -1.1334 | 1.8734 | 2.0978 | 2.4555 | -1.8665 | -2.062 | -2.4146 | -71.4035 | -173.9747 | 50.6222 | 108.6136 | 6.0321 | -129.392 |  | 1.1078 | 1.0588 | 0.99257 | 1.102 | 1.0392 | 0.97557 | -2.4151 | -129.5401 | 115.4295 | -2.196 | -129.4398 | 115.4632
Line_3 | 2.7931e-05 | 2.7931e-05 | 2.7931e-05 | 2.7931e-05 | 2.7931e-05 | 2.7931e-05 | 0.00032252 | 0.00032252 | 0.00032252 | 0.00032252 | 0.00032252 | 0.00032252 | -0.00035312 | 0.00016224 | 0.00019087 | -0.00035312 | 0.00016224 | 0.00019087 | -5.4398e-05 | 0.00030047 | -0.00025699 | -5.4398e-05 | 0.00030047 | -0.00025699 | 168.8273 | 168.8273 | 168.8273 | 168.8273 | 168.8273 | 168.8273 |  | 1.1078 | 1.0588 | 0.99257 | 1.1078 | 1.0588 | 0.99257 | -2.4151 | -129.5401 | 115.4295 | -2.4151 | -129.5401 | 115.4295

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.31393 | 0.49003 | 0.47356 | 0.31385 | 0.49009 | 0.47357 | 3.625 | 5.6584 | 5.4682 | 3.6241 | 5.659 | 5.4683 | -1.3759 | -4.0203 | -2.181 | 1.4188 | 4.1926 | 2.2668 | -3.7052 | -3.9827 | -4.6641 | 3.7331 | 4.1241 | 4.8292 | 108.6211 | 6.0399 | -129.4026 | -71.3864 | -173.9679 | 50.608 |  | 1.0903 | 1.0001 | 0.94159 | 1.102 | 1.0392 | 0.97557 | -1.7506 | -129.2292 | 115.536 | -2.196 | -129.4398 | 115.4632
Line_1 | 0.15689 | 0.2451 | 0.23677 | 0.15693 | 0.24504 | 0.23678 | 1.8116 | 2.8301 | 2.7339 | 1.812 | 2.8295 | 2.7341 | 0.71957 | 2.1397 | 1.1551 | -0.70939 | -2.0963 | -1.1334 | 1.8734 | 2.0978 | 2.4555 | -1.8665 | -2.062 | -2.4146 | -71.4035 | -173.9747 | 50.6222 | 108.6136 | 6.0321 | -129.392 |  | 1.1078 | 1.0588 | 0.99257 | 1.102 | 1.0392 | 0.97557 | -2.4151 | -129.5401 | 115.4295 | -2.196 | -129.4398 | 115.4632
Line_2 | 0.15689 | 0.2451 | 0.23677 | 0.15693 | 0.24504 | 0.23678 | 1.8116 | 2.8301 | 2.7339 | 1.812 | 2.8295 | 2.7341 | 0.71957 | 2.1397 | 1.1551 | -0.70939 | -2.0963 | -1.1334 | 1.8734 | 2.0978 | 2.4555 | -1.8665 | -2.062 | -2.4146 | -71.4035 | -173.9747 | 50.6222 | 108.6136 | 6.0321 | -129.392 |  | 1.1078 | 1.0588 | 0.99257 | 1.102 | 1.0392 | 0.97557 | -2.4151 | -129.5401 | 115.4295 | -2.196 | -129.4398 | 115.4632
Line_3 | 2.7931e-05 | 2.7931e-05 | 2.7931e-05 | 2.7931e-05 | 2.7931e-05 | 2.7931e-05 | 0.00032252 | 0.00032252 | 0.00032252 | 0.00032252 | 0.00032252 | 0.00032252 | -0.00035312 | 0.00016224 | 0.00019087 | -0.00035312 | 0.00016224 | 0.00019087 | -5.4398e-05 | 0.00030047 | -0.00025699 | -5.4398e-05 | 0.00030047 | -0.00025699 | 168.8273 | 168.8273 | 168.8273 | 168.8273 | 168.8273 | 168.8273 |  | 1.1078 | 1.0588 | 0.99257 | 1.1078 | 1.0588 | 0.99257 | -2.4151 | -129.5401 | 115.4295 | -2.4151 | -129.5401 | 115.4295

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82587 | 1.4371 | 1.1967 | 0.82528 | 1.4373 | 1.197 | 9.5363 | 16.5946 | 13.8178 | 9.5295 | 16.5962 | 13.8222 | -1.2355 | -1.108e-10 | -8.8283e-11 | 1.4391 | 3.3815 | 1.0273 | -4.5787 | -4.1978e-11 | -4.5664e-11 | 4.3494 | 0.84134 | 1.9145 | 109.5106 | -1.6561 | -128.3406 | -70.4839 | 178.3208 | 51.6814 |  | 0.49731 | 0 | 0 | 0.48075 | 0.20996 | 0.15719 | 4.4101 | 0 | 0 | 1.2078 | -167.7075 | 113.4655
Line_1 | 0.41235 | 0.71886 | 0.59857 | 0.41264 | 0.71864 | 0.59852 | 4.7614 | 8.3006 | 6.9117 | 4.7648 | 8.2981 | 6.9111 | 0.76858 | 2.5377 | 0.77154 | -0.71956 | -1.6908 | -0.51363 | 2.1166 | 0.63083 | 1.4369 | -2.1747 | -0.42067 | -0.95727 | -70.5006 | 178.3026 | 51.7111 | 109.5161 | -1.6792 | -128.3186 |  | 0.47294 | 0.31503 | 0.23596 | 0.48075 | 0.20996 | 0.15719 | -0.45739 | -167.7377 | 113.4776 | 1.2078 | -167.7075 | 113.4655
Line_2 | 0.41235 | 0.71886 | 0.59857 | 0.41264 | 0.71864 | 0.59852 | 4.7614 | 8.3006 | 6.9117 | 4.7648 | 8.2981 | 6.9111 | 0.76858 | 2.5377 | 0.77154 | -0.71956 | -1.6908 | -0.51363 | 2.1166 | 0.63083 | 1.4369 | -2.1747 | -0.42067 | -0.95727 | -70.5006 | 178.3026 | 51.7111 | 109.5161 | -1.6792 | -128.3186 |  | 0.47294 | 0.31503 | 0.23596 | 0.48075 | 0.20996 | 0.15719 | -0.45739 | -167.7377 | 113.4776 | 1.2078 | -167.7075 | 113.4655
Line_3 | 0.00013377 | 0.00013377 | 0.00013377 | 0.00013377 | 0.00013377 | 0.00013377 | 0.0015447 | 0.0015447 | 0.0015447 | 0.0015447 | 0.0015447 | 0.0015447 | -0.00065916 | 0.0003821 | 0.00027705 | -0.00065916 | 0.0003821 | 0.00027705 | -0.00031496 | 0.00030133 | -0.00023684 | -0.00031496 | 0.00030133 | -0.00023684 | 154.0031 | 154.0031 | 154.0031 | 154.0031 | 154.0031 | 154.0031 |  | 0.47294 | 0.31503 | 0.23596 | 0.47294 | 0.31503 | 0.23596 | -0.45739 | -167.7377 | 113.4776 | -0.45739 | -167.7377 | 113.4776

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82587 | 1.4371 | 1.1967 | 0.82528 | 1.4373 | 1.197 | 9.5363 | 16.5946 | 13.8178 | 9.5295 | 16.5962 | 13.8222 | -1.2355 | -1.108e-10 | -8.8283e-11 | 1.4391 | 3.3815 | 1.0273 | -4.5787 | -4.1978e-11 | -4.5664e-11 | 4.3494 | 0.84134 | 1.9145 | 109.5106 | -1.6561 | -128.3406 | -70.4839 | 178.3208 | 51.6814 |  | 0.49731 | 0 | 0 | 0.48075 | 0.20996 | 0.15719 | 4.4101 | 0 | 0 | 1.2078 | -167.7075 | 113.4655
Line_1 | 0.41235 | 0.71886 | 0.59857 | 0.41264 | 0.71864 | 0.59852 | 4.7614 | 8.3006 | 6.9117 | 4.7648 | 8.2981 | 6.9111 | 0.76858 | 2.5377 | 0.77154 | -0.71956 | -1.6908 | -0.51363 | 2.1166 | 0.63083 | 1.4369 | -2.1747 | -0.42067 | -0.95727 | -70.5006 | 178.3026 | 51.7111 | 109.5161 | -1.6792 | -128.3186 |  | 0.47294 | 0.31503 | 0.23596 | 0.48075 | 0.20996 | 0.15719 | -0.45739 | -167.7377 | 113.4776 | 1.2078 | -167.7075 | 113.4655
Line_2 | 0.41235 | 0.71886 | 0.59857 | 0.41264 | 0.71864 | 0.59852 | 4.7614 | 8.3006 | 6.9117 | 4.7648 | 8.2981 | 6.9111 | 0.76858 | 2.5377 | 0.77154 | -0.71956 | -1.6908 | -0.51363 | 2.1166 | 0.63083 | 1.4369 | -2.1747 | -0.42067 | -0.95727 | -70.5006 | 178.3026 | 51.7111 | 109.5161 | -1.6792 | -128.3186 |  | 0.47294 | 0.31503 | 0.23596 | 0.48075 | 0.20996 | 0.15719 | -0.45739 | -167.7377 | 113.4776 | 1.2078 | -167.7075 | 113.4655
Line_3 | 0.00013377 | 0.00013377 | 0.00013377 | 0.00013377 | 0.00013377 | 0.00013377 | 0.0015447 | 0.0015447 | 0.0015447 | 0.0015447 | 0.0015447 | 0.0015447 | -0.00065916 | 0.0003821 | 0.00027705 | -0.00065916 | 0.0003821 | 0.00027705 | -0.00031496 | 0.00030133 | -0.00023684 | -0.00031496 | 0.00030133 | -0.00023684 | 154.0031 | 154.0031 | 154.0031 | 154.0031 | 154.0031 | 154.0031 |  | 0.47294 | 0.31503 | 0.23596 | 0.47294 | 0.31503 | 0.23596 | -0.45739 | -167.7377 | 113.4776 | -0.45739 | -167.7377 | 113.4776

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1075 | 0.2943 | 0.23632 | 0.10743 | 0.29432 | 0.23635 | 1.2412 | 3.3983 | 2.7288 | 1.2404 | 3.3985 | 2.7291 | -1.0416 | -2.8485 | -1.511 | 1.044 | 2.9669 | 1.5505 | -0.54346 | -0.71228 | -1.6311 | 0.54082 | 0.75262 | 1.6852 | 150.7596 | 36.6971 | -111.5453 | -29.2308 | -143.3167 | 68.4709 |  | 0.94654 | 0.86402 | 0.81482 | 0.94786 | 0.90065 | 0.83909 | -1.688 | -129.2639 | 115.643 | -1.8455 | -129.0825 | 115.8535
Line_1 | 0.053676 | 0.14718 | 0.11817 | 0.053713 | 0.14716 | 0.11817 | 0.6198 | 1.6995 | 1.3645 | 0.62022 | 1.6992 | 1.3646 | 0.52232 | 1.5132 | 0.78521 | -0.522 | -1.4834 | -0.77527 | 0.2698 | 0.38655 | 0.8559 | -0.27041 | -0.37631 | -0.84258 | -29.2418 | -143.3281 | 68.4891 | 150.7692 | 36.6833 | -111.5291 |  | 0.94851 | 0.91897 | 0.85125 | 0.94786 | 0.90065 | 0.83909 | -1.9238 | -128.9985 | 115.9554 | -1.8455 | -129.0825 | 115.8535
Line_2 | 0.053676 | 0.14718 | 0.11817 | 0.053713 | 0.14716 | 0.11817 | 0.6198 | 1.6995 | 1.3645 | 0.62022 | 1.6992 | 1.3646 | 0.52232 | 1.5132 | 0.78521 | -0.522 | -1.4834 | -0.77527 | 0.2698 | 0.38655 | 0.8559 | -0.27041 | -0.37631 | -0.84258 | -29.2418 | -143.3281 | 68.4891 | 150.7692 | 36.6833 | -111.5291 |  | 0.94851 | 0.91897 | 0.85125 | 0.94786 | 0.90065 | 0.83909 | -1.9238 | -128.9985 | 115.9554 | -1.8455 | -129.0825 | 115.8535
Line_3 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 0.00018641 | 0.00018641 | 0.00018641 | 0.00018641 | 0.00018641 | 0.00018641 | -0.00017388 | 0.00012637 | 4.7506e-05 | -0.00017388 | 0.00012637 | 4.7506e-05 | 3.2098e-05 | 0.00011566 | -0.00015141 | 3.2098e-05 | 0.00011566 | -0.00015141 | -171.4647 | -171.4647 | -171.4647 | -171.4647 | -171.4647 | -171.4647 |  | 0.94851 | 0.91897 | 0.85125 | 0.94851 | 0.91897 | 0.85125 | -1.9238 | -128.9985 | 115.9554 | -1.9238 | -128.9985 | 115.9554

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1075 | 0.2943 | 0.23632 | 0.10743 | 0.29432 | 0.23635 | 1.2412 | 3.3983 | 2.7288 | 1.2404 | 3.3985 | 2.7291 | -1.0416 | -2.8485 | -1.511 | 1.044 | 2.9669 | 1.5505 | -0.54346 | -0.71228 | -1.6311 | 0.54082 | 0.75262 | 1.6852 | 150.7596 | 36.6971 | -111.5453 | -29.2308 | -143.3167 | 68.4709 |  | 0.94654 | 0.86402 | 0.81482 | 0.94786 | 0.90065 | 0.83909 | -1.688 | -129.2639 | 115.643 | -1.8455 | -129.0825 | 115.8535
Line_1 | 0.053676 | 0.14718 | 0.11817 | 0.053713 | 0.14716 | 0.11817 | 0.6198 | 1.6995 | 1.3645 | 0.62022 | 1.6992 | 1.3646 | 0.52232 | 1.5132 | 0.78521 | -0.522 | -1.4834 | -0.77527 | 0.2698 | 0.38655 | 0.8559 | -0.27041 | -0.37631 | -0.84258 | -29.2418 | -143.3281 | 68.4891 | 150.7692 | 36.6833 | -111.5291 |  | 0.94851 | 0.91897 | 0.85125 | 0.94786 | 0.90065 | 0.83909 | -1.9238 | -128.9985 | 115.9554 | -1.8455 | -129.0825 | 115.8535
Line_2 | 0.053676 | 0.14718 | 0.11817 | 0.053713 | 0.14716 | 0.11817 | 0.6198 | 1.6995 | 1.3645 | 0.62022 | 1.6992 | 1.3646 | 0.52232 | 1.5132 | 0.78521 | -0.522 | -1.4834 | -0.77527 | 0.2698 | 0.38655 | 0.8559 | -0.27041 | -0.37631 | -0.84258 | -29.2418 | -143.3281 | 68.4891 | 150.7692 | 36.6833 | -111.5291 |  | 0.94851 | 0.91897 | 0.85125 | 0.94786 | 0.90065 | 0.83909 | -1.9238 | -128.9985 | 115.9554 | -1.8455 | -129.0825 | 115.8535
Line_3 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 0.00018641 | 0.00018641 | 0.00018641 | 0.00018641 | 0.00018641 | 0.00018641 | -0.00017388 | 0.00012637 | 4.7506e-05 | -0.00017388 | 0.00012637 | 4.7506e-05 | 3.2098e-05 | 0.00011566 | -0.00015141 | 3.2098e-05 | 0.00011566 | -0.00015141 | -171.4647 | -171.4647 | -171.4647 | -171.4647 | -171.4647 | -171.4647 |  | 0.94851 | 0.91897 | 0.85125 | 0.94851 | 0.91897 | 0.85125 | -1.9238 | -128.9985 | 115.9554 | -1.9238 | -128.9985 | 115.9554