## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 8.5976e-14 | 1.5632e-14 | 1.5632e-14 | -7.8159e-14 | -2.0842e-14 | -6.9193e-28 | 5.7634e-09 | -5.7634e-09 | 5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.0869e-12 | 180 | -180 | 1.1355e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -1.8237e-14 | 1.5632e-14 | 5.2106e-15 | 2.6053e-14 | -2.0843e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1357e-12 | -180 | 180 | 1.1355e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.8658e-14 | 1.5632e-14 | -2.0843e-14 | 4.6896e-14 | -2.0843e-14 | -1.039e-28 | -1.9211e-09 | 1.9211e-09 | -4.1306e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1425e-12 | -180 | 180 | 1.1355e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 1.8237e-14 | -5.2106e-15 | 1.0421e-14 | -1.3027e-14 | -1.0314e-24 | 1.0421e-14 | 1.8022e-24 | 5.157e-25 | -1.0421e-14 | 5.2106e-15 | -1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1357e-12 | -180 | 180 | 1.1425e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 8.5976e-14 | 1.5632e-14 | 1.5632e-14 | -7.8159e-14 | -2.0842e-14 | -6.9193e-28 | 5.7634e-09 | -5.7634e-09 | 5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.0869e-12 | 180 | -180 | 1.1355e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -1.8237e-14 | 1.5632e-14 | 5.2106e-15 | 2.6053e-14 | -2.0843e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1357e-12 | -180 | 180 | 1.1355e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.8658e-14 | 1.5632e-14 | -2.0843e-14 | 4.6896e-14 | -2.0843e-14 | -1.039e-28 | -1.9211e-09 | 1.9211e-09 | -4.1306e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1425e-12 | -180 | 180 | 1.1355e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 1.8237e-14 | -5.2106e-15 | 1.0421e-14 | -1.3027e-14 | -1.0314e-24 | 1.0421e-14 | 1.8022e-24 | 5.157e-25 | -1.0421e-14 | 5.2106e-15 | -1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1357e-12 | -180 | 180 | 1.1425e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1186e-15 | -9.5544e-10 | -3.075e-09 | 1.3027e-15 | 9.5544e-10 | 3.075e-09 | 7.816e-15 | 4.0277e-09 | -3.5666e-10 | -2.6053e-15 | -4.0277e-09 | 3.5667e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.8244e-13 | -140.8543 | 122.4159 | 4.1623e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.185e-10 | 1.025e-09 | -1.3027e-15 | -3.185e-10 | -1.025e-09 | 7.816e-15 | -1.3426e-09 | 1.1888e-10 | -7.816e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.165e-13 | -140.8543 | 122.4159 | 4.1623e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 3.1851e-10 | 1.025e-09 | -7.816e-15 | -3.185e-10 | -1.025e-09 | 1.9147e-29 | -1.3426e-09 | 1.1888e-10 | -5.678e-29 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.2109e-13 | -140.8543 | 122.4159 | 4.1623e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1186e-15 | 9.6663e-15 | 5.5923e-15 | 3.908e-15 | 2.037e-15 | -8.2557e-15 | 7.816e-15 | 2.1572e-15 | 3.5512e-15 | -7.816e-15 | 4.5137e-15 | 6.4307e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.165e-13 | -140.8543 | 122.4159 | 4.2109e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1186e-15 | -9.5544e-10 | -3.075e-09 | 1.3027e-15 | 9.5544e-10 | 3.075e-09 | 7.816e-15 | 4.0277e-09 | -3.5666e-10 | -2.6053e-15 | -4.0277e-09 | 3.5667e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.8244e-13 | -140.8543 | 122.4159 | 4.1623e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.185e-10 | 1.025e-09 | -1.3027e-15 | -3.185e-10 | -1.025e-09 | 7.816e-15 | -1.3426e-09 | 1.1888e-10 | -7.816e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.165e-13 | -140.8543 | 122.4159 | 4.1623e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 3.1851e-10 | 1.025e-09 | -7.816e-15 | -3.185e-10 | -1.025e-09 | 1.9147e-29 | -1.3426e-09 | 1.1888e-10 | -5.678e-29 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.2109e-13 | -140.8543 | 122.4159 | 4.1623e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1186e-15 | 9.6663e-15 | 5.5923e-15 | 3.908e-15 | 2.037e-15 | -8.2557e-15 | 7.816e-15 | 2.1572e-15 | 3.5512e-15 | -7.816e-15 | 4.5137e-15 | 6.4307e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.165e-13 | -140.8543 | 122.4159 | 4.2109e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | 2.6053e-14 | 7.1054e-15 | -1.6579e-14 | -2.1316e-14 | -4.7363e-15 | -4.2633e-14 | 4.7632e-09 | -4.7631e-09 | 3.7896e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4424e-13 | -180 | 180 | 6.3921e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.1842e-14 | -2.3682e-15 | 1.6579e-14 | 1.1842e-14 | 4.7367e-15 | 2.3685e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.8095e-13 | -180 | 180 | 6.3921e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -7.1051e-15 | -7.1051e-15 | 1.4211e-14 | 7.1052e-15 | 9.4737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.9484e-13 | -180 | 180 | 6.3921e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -7.1054e-15 | -4.737e-15 | 2.3685e-15 | 7.1054e-15 | 4.737e-15 | 1.8948e-14 | 9.4739e-15 | 9.4739e-15 | -9.4739e-15 | -7.1054e-15 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.8095e-13 | -180 | 180 | 5.9484e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | 2.6053e-14 | 7.1054e-15 | -1.6579e-14 | -2.1316e-14 | -4.7363e-15 | -4.2633e-14 | 4.7632e-09 | -4.7631e-09 | 3.7896e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4424e-13 | -180 | 180 | 6.3921e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.1842e-14 | -2.3682e-15 | 1.6579e-14 | 1.1842e-14 | 4.7367e-15 | 2.3685e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.8095e-13 | -180 | 180 | 6.3921e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -7.1051e-15 | -7.1051e-15 | 1.4211e-14 | 7.1052e-15 | 9.4737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.9484e-13 | -180 | 180 | 6.3921e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -7.1054e-15 | -4.737e-15 | 2.3685e-15 | 7.1054e-15 | 4.737e-15 | 1.8948e-14 | 9.4739e-15 | 9.4739e-15 | -9.4739e-15 | -7.1054e-15 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.8095e-13 | -180 | 180 | 5.9484e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | -8.0026e-10 | -2.5674e-09 | -3.5527e-15 | 8.0025e-10 | 2.5674e-09 | -1.4211e-14 | 3.4015e-09 | -3.4065e-10 | 1.6579e-14 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.3871e-13 | -141.4824 | 122.8363 | 3.0433e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8488e-15 | 2.6675e-10 | 8.558e-10 | 3.8488e-15 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8642e-13 | -141.4824 | 122.8363 | 3.0433e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.4015e-15 | 2.6675e-10 | 8.558e-10 | 8.2897e-15 | -2.6675e-10 | -8.558e-10 | 9.4739e-15 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8869e-13 | -141.4824 | 122.8363 | 3.0433e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8488e-15 | 3.5925e-15 | -2.0094e-16 | -5.3291e-15 | 0 | 1.0047e-15 | -4.737e-15 | 3.0341e-16 | 3.1136e-16 | 4.737e-15 | 0 | -1.5568e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8642e-13 | -141.4824 | 122.8363 | 2.8869e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | -8.0026e-10 | -2.5674e-09 | -3.5527e-15 | 8.0025e-10 | 2.5674e-09 | -1.4211e-14 | 3.4015e-09 | -3.4065e-10 | 1.6579e-14 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.3871e-13 | -141.4824 | 122.8363 | 3.0433e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8488e-15 | 2.6675e-10 | 8.558e-10 | 3.8488e-15 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8642e-13 | -141.4824 | 122.8363 | 3.0433e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.4015e-15 | 2.6675e-10 | 8.558e-10 | 8.2897e-15 | -2.6675e-10 | -8.558e-10 | 9.4739e-15 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8869e-13 | -141.4824 | 122.8363 | 3.0433e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8488e-15 | 3.5925e-15 | -2.0094e-16 | -5.3291e-15 | 0 | 1.0047e-15 | -4.737e-15 | 3.0341e-16 | 3.1136e-16 | 4.737e-15 | 0 | -1.5568e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8642e-13 | -141.4824 | 122.8363 | 2.8869e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016913 | 0.016913 | 0.016913 | 0.012689 | 0.012689 | 0.012689 | 0.19529 | 0.19529 | 0.19529 | 0.14652 | 0.14652 | 0.14652 | -9.8508e-13 | 0.18745 | -0.18463 | 0.00069405 | -0.14013 | 0.13904 | 3.1072e-13 | -0.25056 | -0.24877 | 0.00027624 | 0.18814 | 0.18706 | -89.7243 | -89.7243 | -89.7243 | 90.2209 | 90.2209 | 90.2209 | 0 | 1.6023 | 1.5863 | 0.0050981 | 1.601 | 1.5907 | 0 | -142.9234 | 143.695 | 111.9239 | -143.0995 | 143.5983
Line_1 | 0.0021153 | 0.0021153 | 0.0021153 | 0.0063447 | 0.0063447 | 0.0063447 | 0.024426 | 0.024426 | 0.024426 | 0.073262 | 0.073262 | 0.073262 | 0.00014874 | -0.023343 | 0.023194 | -0.00034703 | 0.070064 | -0.069518 | 5.9266e-05 | 0.031363 | 0.031208 | -0.00013812 | -0.094068 | -0.09353 | 90.1906 | 90.1906 | 90.1906 | -89.7791 | -89.7791 | -89.7791 | 0.0065551 | 1.6006 | 1.5919 | 0.0050981 | 1.601 | 1.5907 | 111.9152 | -143.1499 | 143.5707 | 111.9239 | -143.0995 | 143.5983
Line_2 | 0.0021153 | 0.0021153 | 0.0021153 | 0.0063447 | 0.0063447 | 0.0063447 | 0.024426 | 0.024426 | 0.024426 | 0.073262 | 0.073262 | 0.073262 | 0.00014874 | -0.023343 | 0.023194 | -0.00034703 | 0.070064 | -0.069518 | 5.9266e-05 | 0.031363 | 0.031208 | -0.00013812 | -0.094068 | -0.09353 | 90.1906 | 90.1906 | 90.1906 | -89.7791 | -89.7791 | -89.7791 | 0.0065551 | 1.6006 | 1.5919 | 0.0050981 | 1.601 | 1.5907 | 111.9152 | -143.1499 | 143.5707 | 111.9239 | -143.0995 | 143.5983
Line_3 | 0.0021153 | 0.0021153 | 0.0021153 | 0.0021153 | 0.0021153 | 0.0021153 | 0.024426 | 0.024426 | 0.024426 | 0.024426 | 0.024426 | 0.024426 | -0.00014874 | 0.023343 | -0.023194 | -0.00014874 | 0.023343 | -0.023194 | -5.9266e-05 | -0.031363 | -0.031208 | -5.9266e-05 | -0.031363 | -0.031208 | -89.8094 | -89.8094 | -89.8094 | -89.8094 | -89.8094 | -89.8094 | 0.0065551 | 1.6006 | 1.5919 | 0.0065551 | 1.6006 | 1.5919 | 111.9152 | -143.1499 | 143.5707 | 111.9152 | -143.1499 | 143.5707

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016913 | 0.016913 | 0.016913 | 0.012689 | 0.012689 | 0.012689 | 0.19529 | 0.19529 | 0.19529 | 0.14652 | 0.14652 | 0.14652 | -9.8508e-13 | 0.18745 | -0.18463 | 0.00069405 | -0.14013 | 0.13904 | 3.1072e-13 | -0.25056 | -0.24877 | 0.00027624 | 0.18814 | 0.18706 | -89.7243 | -89.7243 | -89.7243 | 90.2209 | 90.2209 | 90.2209 | 0 | 1.6023 | 1.5863 | 0.0050981 | 1.601 | 1.5907 | 0 | -142.9234 | 143.695 | 111.9239 | -143.0995 | 143.5983
Line_1 | 0.0021153 | 0.0021153 | 0.0021153 | 0.0063447 | 0.0063447 | 0.0063447 | 0.024426 | 0.024426 | 0.024426 | 0.073262 | 0.073262 | 0.073262 | 0.00014874 | -0.023343 | 0.023194 | -0.00034703 | 0.070064 | -0.069518 | 5.9266e-05 | 0.031363 | 0.031208 | -0.00013812 | -0.094068 | -0.09353 | 90.1906 | 90.1906 | 90.1906 | -89.7791 | -89.7791 | -89.7791 | 0.0065551 | 1.6006 | 1.5919 | 0.0050981 | 1.601 | 1.5907 | 111.9152 | -143.1499 | 143.5707 | 111.9239 | -143.0995 | 143.5983
Line_2 | 0.0021153 | 0.0021153 | 0.0021153 | 0.0063447 | 0.0063447 | 0.0063447 | 0.024426 | 0.024426 | 0.024426 | 0.073262 | 0.073262 | 0.073262 | 0.00014874 | -0.023343 | 0.023194 | -0.00034703 | 0.070064 | -0.069518 | 5.9266e-05 | 0.031363 | 0.031208 | -0.00013812 | -0.094068 | -0.09353 | 90.1906 | 90.1906 | 90.1906 | -89.7791 | -89.7791 | -89.7791 | 0.0065551 | 1.6006 | 1.5919 | 0.0050981 | 1.601 | 1.5907 | 111.9152 | -143.1499 | 143.5707 | 111.9239 | -143.0995 | 143.5983
Line_3 | 0.0021153 | 0.0021153 | 0.0021153 | 0.0021153 | 0.0021153 | 0.0021153 | 0.024426 | 0.024426 | 0.024426 | 0.024426 | 0.024426 | 0.024426 | -0.00014874 | 0.023343 | -0.023194 | -0.00014874 | 0.023343 | -0.023194 | -5.9266e-05 | -0.031363 | -0.031208 | -5.9266e-05 | -0.031363 | -0.031208 | -89.8094 | -89.8094 | -89.8094 | -89.8094 | -89.8094 | -89.8094 | 0.0065551 | 1.6006 | 1.5919 | 0.0065551 | 1.6006 | 1.5919 | 111.9152 | -143.1499 | 143.5707 | 111.9152 | -143.1499 | 143.5707

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0089786 | 0.0089786 | 0.0089786 | 0.0067365 | 0.0067365 | 0.0067365 | 0.10368 | 0.10368 | 0.10368 | 0.077787 | 0.077787 | 0.077787 | 0.044024 | 0.06939 | -0.11262 | -0.032803 | -0.051961 | 0.084652 | 0.044539 | -0.13101 | -0.054256 | -0.033371 | 0.098325 | 0.040866 | -67.1338 | -67.1338 | -67.1338 | 112.8114 | 112.8114 | 112.8114 | 0.60404 | 1.43 | 1.2057 | 0.60156 | 1.4297 | 1.2084 | -21.8007 | -129.2261 | 138.5897 | -21.6971 | -129.334 | 138.5806
Line_1 | 0.001123 | 0.001123 | 0.001123 | 0.0033683 | 0.0033683 | 0.0033683 | 0.012967 | 0.012967 | 0.012967 | 0.038893 | 0.038893 | 0.038893 | -0.005456 | -0.0086613 | 0.014117 | 0.016401 | 0.02598 | -0.042326 | -0.0055621 | 0.01639 | 0.0068236 | 0.016685 | -0.049162 | -0.020433 | 112.7811 | 112.7811 | 112.7811 | -67.1886 | -67.1886 | -67.1886 | 0.60085 | 1.4296 | 1.2092 | 0.60156 | 1.4297 | 1.2084 | -21.6673 | -129.3648 | 138.578 | -21.6971 | -129.334 | 138.5806
Line_2 | 0.001123 | 0.001123 | 0.001123 | 0.0033683 | 0.0033683 | 0.0033683 | 0.012967 | 0.012967 | 0.012967 | 0.038893 | 0.038893 | 0.038893 | -0.005456 | -0.0086613 | 0.014117 | 0.016401 | 0.02598 | -0.042326 | -0.0055621 | 0.01639 | 0.0068236 | 0.016685 | -0.049162 | -0.020433 | 112.7811 | 112.7811 | 112.7811 | -67.1886 | -67.1886 | -67.1886 | 0.60085 | 1.4296 | 1.2092 | 0.60156 | 1.4297 | 1.2084 | -21.6673 | -129.3648 | 138.578 | -21.6971 | -129.334 | 138.5806
Line_3 | 0.001123 | 0.001123 | 0.001123 | 0.001123 | 0.001123 | 0.001123 | 0.012967 | 0.012967 | 0.012967 | 0.012967 | 0.012967 | 0.012967 | 0.005456 | 0.0086613 | -0.014117 | 0.005456 | 0.0086613 | -0.014117 | 0.0055621 | -0.01639 | -0.0068236 | 0.0055621 | -0.01639 | -0.0068236 | -67.2189 | -67.2189 | -67.2189 | -67.2189 | -67.2189 | -67.2189 | 0.60085 | 1.4296 | 1.2092 | 0.60085 | 1.4296 | 1.2092 | -21.6673 | -129.3648 | 138.578 | -21.6673 | -129.3648 | 138.578

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0089786 | 0.0089786 | 0.0089786 | 0.0067365 | 0.0067365 | 0.0067365 | 0.10368 | 0.10368 | 0.10368 | 0.077787 | 0.077787 | 0.077787 | 0.044024 | 0.06939 | -0.11262 | -0.032803 | -0.051961 | 0.084652 | 0.044539 | -0.13101 | -0.054256 | -0.033371 | 0.098325 | 0.040866 | -67.1338 | -67.1338 | -67.1338 | 112.8114 | 112.8114 | 112.8114 | 0.60404 | 1.43 | 1.2057 | 0.60156 | 1.4297 | 1.2084 | -21.8007 | -129.2261 | 138.5897 | -21.6971 | -129.334 | 138.5806
Line_1 | 0.001123 | 0.001123 | 0.001123 | 0.0033683 | 0.0033683 | 0.0033683 | 0.012967 | 0.012967 | 0.012967 | 0.038893 | 0.038893 | 0.038893 | -0.005456 | -0.0086613 | 0.014117 | 0.016401 | 0.02598 | -0.042326 | -0.0055621 | 0.01639 | 0.0068236 | 0.016685 | -0.049162 | -0.020433 | 112.7811 | 112.7811 | 112.7811 | -67.1886 | -67.1886 | -67.1886 | 0.60085 | 1.4296 | 1.2092 | 0.60156 | 1.4297 | 1.2084 | -21.6673 | -129.3648 | 138.578 | -21.6971 | -129.334 | 138.5806
Line_2 | 0.001123 | 0.001123 | 0.001123 | 0.0033683 | 0.0033683 | 0.0033683 | 0.012967 | 0.012967 | 0.012967 | 0.038893 | 0.038893 | 0.038893 | -0.005456 | -0.0086613 | 0.014117 | 0.016401 | 0.02598 | -0.042326 | -0.0055621 | 0.01639 | 0.0068236 | 0.016685 | -0.049162 | -0.020433 | 112.7811 | 112.7811 | 112.7811 | -67.1886 | -67.1886 | -67.1886 | 0.60085 | 1.4296 | 1.2092 | 0.60156 | 1.4297 | 1.2084 | -21.6673 | -129.3648 | 138.578 | -21.6971 | -129.334 | 138.5806
Line_3 | 0.001123 | 0.001123 | 0.001123 | 0.001123 | 0.001123 | 0.001123 | 0.012967 | 0.012967 | 0.012967 | 0.012967 | 0.012967 | 0.012967 | 0.005456 | 0.0086613 | -0.014117 | 0.005456 | 0.0086613 | -0.014117 | 0.0055621 | -0.01639 | -0.0068236 | 0.0055621 | -0.01639 | -0.0068236 | -67.2189 | -67.2189 | -67.2189 | -67.2189 | -67.2189 | -67.2189 | 0.60085 | 1.4296 | 1.2092 | 0.60085 | 1.4296 | 1.2092 | -21.6673 | -129.3648 | 138.578 | -21.6673 | -129.3648 | 138.578

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015217 | 0.015217 | 0.015217 | 0.011417 | 0.011417 | 0.011417 | 0.17571 | 0.17571 | 0.17571 | 0.13183 | 0.13183 | 0.13183 | 3.6321e-13 | 0.15437 | -0.14997 | 0.0010787 | -0.11502 | 0.11332 | 3.2226e-13 | -0.20214 | -0.20208 | 0.00022385 | 0.15167 | 0.15205 | -89.9891 | -89.9891 | -89.9891 | 89.9056 | 89.9056 | 89.9056 | 0 | 1.4475 | 1.4322 | 0.0083569 | 1.4439 | 1.4385 | 0 | -142.6219 | 143.4305 | 101.6286 | -142.9205 | 143.2086
Line_1 | 0.0019032 | 0.0019032 | 0.0019032 | 0.0057085 | 0.0057085 | 0.0057085 | 0.021977 | 0.021977 | 0.021977 | 0.065916 | 0.065916 | 0.065916 | 0.00023118 | -0.019148 | 0.018917 | -0.00053937 | 0.057509 | -0.056661 | 4.8147e-05 | 0.025275 | 0.025377 | -0.00011192 | -0.075837 | -0.076025 | 89.8475 | 89.8475 | 89.8475 | -90.0944 | -90.0944 | -90.0944 | 0.010745 | 1.4429 | 1.4402 | 0.0083569 | 1.4439 | 1.4385 | 101.6119 | -143.0061 | 143.1455 | 101.6286 | -142.9205 | 143.2086
Line_2 | 0.0019032 | 0.0019032 | 0.0019032 | 0.0057085 | 0.0057085 | 0.0057085 | 0.021977 | 0.021977 | 0.021977 | 0.065916 | 0.065916 | 0.065916 | 0.00023118 | -0.019148 | 0.018917 | -0.00053937 | 0.057509 | -0.056661 | 4.8147e-05 | 0.025275 | 0.025377 | -0.00011192 | -0.075837 | -0.076025 | 89.8475 | 89.8475 | 89.8475 | -90.0944 | -90.0944 | -90.0944 | 0.010745 | 1.4429 | 1.4402 | 0.0083569 | 1.4439 | 1.4385 | 101.6119 | -143.0061 | 143.1455 | 101.6286 | -142.9205 | 143.2086
Line_3 | 0.0019032 | 0.0019032 | 0.0019032 | 0.0019032 | 0.0019032 | 0.0019032 | 0.021977 | 0.021977 | 0.021977 | 0.021977 | 0.021977 | 0.021977 | -0.00023118 | 0.019148 | -0.018917 | -0.00023118 | 0.019148 | -0.018917 | -4.8147e-05 | -0.025275 | -0.025377 | -4.8147e-05 | -0.025275 | -0.025377 | -90.1525 | -90.1525 | -90.1525 | -90.1525 | -90.1525 | -90.1525 | 0.010745 | 1.4429 | 1.4402 | 0.010745 | 1.4429 | 1.4402 | 101.6119 | -143.0061 | 143.1455 | 101.6119 | -143.0061 | 143.1455

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015217 | 0.015217 | 0.015217 | 0.011417 | 0.011417 | 0.011417 | 0.17571 | 0.17571 | 0.17571 | 0.13183 | 0.13183 | 0.13183 | 3.6321e-13 | 0.15437 | -0.14997 | 0.0010787 | -0.11502 | 0.11332 | 3.2226e-13 | -0.20214 | -0.20208 | 0.00022385 | 0.15167 | 0.15205 | -89.9891 | -89.9891 | -89.9891 | 89.9056 | 89.9056 | 89.9056 | 0 | 1.4475 | 1.4322 | 0.0083569 | 1.4439 | 1.4385 | 0 | -142.6219 | 143.4305 | 101.6286 | -142.9205 | 143.2086
Line_1 | 0.0019032 | 0.0019032 | 0.0019032 | 0.0057085 | 0.0057085 | 0.0057085 | 0.021977 | 0.021977 | 0.021977 | 0.065916 | 0.065916 | 0.065916 | 0.00023118 | -0.019148 | 0.018917 | -0.00053937 | 0.057509 | -0.056661 | 4.8147e-05 | 0.025275 | 0.025377 | -0.00011192 | -0.075837 | -0.076025 | 89.8475 | 89.8475 | 89.8475 | -90.0944 | -90.0944 | -90.0944 | 0.010745 | 1.4429 | 1.4402 | 0.0083569 | 1.4439 | 1.4385 | 101.6119 | -143.0061 | 143.1455 | 101.6286 | -142.9205 | 143.2086
Line_2 | 0.0019032 | 0.0019032 | 0.0019032 | 0.0057085 | 0.0057085 | 0.0057085 | 0.021977 | 0.021977 | 0.021977 | 0.065916 | 0.065916 | 0.065916 | 0.00023118 | -0.019148 | 0.018917 | -0.00053937 | 0.057509 | -0.056661 | 4.8147e-05 | 0.025275 | 0.025377 | -0.00011192 | -0.075837 | -0.076025 | 89.8475 | 89.8475 | 89.8475 | -90.0944 | -90.0944 | -90.0944 | 0.010745 | 1.4429 | 1.4402 | 0.0083569 | 1.4439 | 1.4385 | 101.6119 | -143.0061 | 143.1455 | 101.6286 | -142.9205 | 143.2086
Line_3 | 0.0019032 | 0.0019032 | 0.0019032 | 0.0019032 | 0.0019032 | 0.0019032 | 0.021977 | 0.021977 | 0.021977 | 0.021977 | 0.021977 | 0.021977 | -0.00023118 | 0.019148 | -0.018917 | -0.00023118 | 0.019148 | -0.018917 | -4.8147e-05 | -0.025275 | -0.025377 | -4.8147e-05 | -0.025275 | -0.025377 | -90.1525 | -90.1525 | -90.1525 | -90.1525 | -90.1525 | -90.1525 | 0.010745 | 1.4429 | 1.4402 | 0.010745 | 1.4429 | 1.4402 | 101.6119 | -143.0061 | 143.1455 | 101.6119 | -143.0061 | 143.1455

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081228 | 0.0081228 | 0.0081228 | 0.0060944 | 0.0060944 | 0.0060944 | 0.093794 | 0.093794 | 0.093794 | 0.070372 | 0.070372 | 0.070372 | 0.035809 | 0.057793 | -0.092351 | -0.026509 | -0.043201 | 0.069535 | 0.036618 | -0.10692 | -0.04488 | -0.027459 | 0.080204 | 0.033863 | -67.5493 | -67.5493 | -67.5493 | 112.3454 | 112.3454 | 112.3454 | 0.54606 | 1.2958 | 1.0947 | 0.54237 | 1.2945 | 1.099 | -21.9097 | -129.1569 | 138.369 | -21.6461 | -129.346 | 138.3116
Line_1 | 0.0010159 | 0.0010159 | 0.0010159 | 0.0030472 | 0.0030472 | 0.0030472 | 0.011731 | 0.011731 | 0.011731 | 0.035186 | 0.035186 | 0.035186 | -0.0043998 | -0.0072006 | 0.0116 | 0.013255 | 0.021601 | -0.034767 | -0.004579 | 0.013366 | 0.0056599 | 0.01373 | -0.040102 | -0.016932 | 112.2873 | 112.2873 | 112.2873 | -67.6546 | -67.6546 | -67.6546 | 0.54131 | 1.2942 | 1.1003 | 0.54237 | 1.2945 | 1.099 | -21.5699 | -129.4001 | 138.2951 | -21.6461 | -129.346 | 138.3116
Line_2 | 0.0010159 | 0.0010159 | 0.0010159 | 0.0030472 | 0.0030472 | 0.0030472 | 0.011731 | 0.011731 | 0.011731 | 0.035186 | 0.035186 | 0.035186 | -0.0043998 | -0.0072006 | 0.0116 | 0.013255 | 0.021601 | -0.034767 | -0.004579 | 0.013366 | 0.0056599 | 0.01373 | -0.040102 | -0.016932 | 112.2873 | 112.2873 | 112.2873 | -67.6546 | -67.6546 | -67.6546 | 0.54131 | 1.2942 | 1.1003 | 0.54237 | 1.2945 | 1.099 | -21.5699 | -129.4001 | 138.2951 | -21.6461 | -129.346 | 138.3116
Line_3 | 0.0010159 | 0.0010159 | 0.0010159 | 0.0010159 | 0.0010159 | 0.0010159 | 0.011731 | 0.011731 | 0.011731 | 0.011731 | 0.011731 | 0.011731 | 0.0043998 | 0.0072006 | -0.0116 | 0.0043998 | 0.0072006 | -0.0116 | 0.004579 | -0.013366 | -0.0056599 | 0.004579 | -0.013366 | -0.0056599 | -67.7127 | -67.7127 | -67.7127 | -67.7127 | -67.7127 | -67.7127 | 0.54131 | 1.2942 | 1.1003 | 0.54131 | 1.2942 | 1.1003 | -21.5699 | -129.4001 | 138.2951 | -21.5699 | -129.4001 | 138.2951

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081228 | 0.0081228 | 0.0081228 | 0.0060944 | 0.0060944 | 0.0060944 | 0.093794 | 0.093794 | 0.093794 | 0.070372 | 0.070372 | 0.070372 | 0.035809 | 0.057793 | -0.092351 | -0.026509 | -0.043201 | 0.069535 | 0.036618 | -0.10692 | -0.04488 | -0.027459 | 0.080204 | 0.033863 | -67.5493 | -67.5493 | -67.5493 | 112.3454 | 112.3454 | 112.3454 | 0.54606 | 1.2958 | 1.0947 | 0.54237 | 1.2945 | 1.099 | -21.9097 | -129.1569 | 138.369 | -21.6461 | -129.346 | 138.3116
Line_1 | 0.0010159 | 0.0010159 | 0.0010159 | 0.0030472 | 0.0030472 | 0.0030472 | 0.011731 | 0.011731 | 0.011731 | 0.035186 | 0.035186 | 0.035186 | -0.0043998 | -0.0072006 | 0.0116 | 0.013255 | 0.021601 | -0.034767 | -0.004579 | 0.013366 | 0.0056599 | 0.01373 | -0.040102 | -0.016932 | 112.2873 | 112.2873 | 112.2873 | -67.6546 | -67.6546 | -67.6546 | 0.54131 | 1.2942 | 1.1003 | 0.54237 | 1.2945 | 1.099 | -21.5699 | -129.4001 | 138.2951 | -21.6461 | -129.346 | 138.3116
Line_2 | 0.0010159 | 0.0010159 | 0.0010159 | 0.0030472 | 0.0030472 | 0.0030472 | 0.011731 | 0.011731 | 0.011731 | 0.035186 | 0.035186 | 0.035186 | -0.0043998 | -0.0072006 | 0.0116 | 0.013255 | 0.021601 | -0.034767 | -0.004579 | 0.013366 | 0.0056599 | 0.01373 | -0.040102 | -0.016932 | 112.2873 | 112.2873 | 112.2873 | -67.6546 | -67.6546 | -67.6546 | 0.54131 | 1.2942 | 1.1003 | 0.54237 | 1.2945 | 1.099 | -21.5699 | -129.4001 | 138.2951 | -21.6461 | -129.346 | 138.3116
Line_3 | 0.0010159 | 0.0010159 | 0.0010159 | 0.0010159 | 0.0010159 | 0.0010159 | 0.011731 | 0.011731 | 0.011731 | 0.011731 | 0.011731 | 0.011731 | 0.0043998 | 0.0072006 | -0.0116 | 0.0043998 | 0.0072006 | -0.0116 | 0.004579 | -0.013366 | -0.0056599 | 0.004579 | -0.013366 | -0.0056599 | -67.7127 | -67.7127 | -67.7127 | -67.7127 | -67.7127 | -67.7127 | 0.54131 | 1.2942 | 1.1003 | 0.54131 | 1.2942 | 1.1003 | -21.5699 | -129.4001 | 138.2951 | -21.5699 | -129.4001 | 138.2951

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010175 | 0.010175 | 0.010175 | 0.007634 | 0.007634 | 0.007634 | 0.11749 | 0.11749 | 0.11749 | 0.08815 | 0.08815 | 0.08815 | 0.0010228 | -1.5527e-13 | -8.0806e-14 | -0.00064602 | 0.0002512 | 0.0002512 | -0.18073 | -1.9083e-13 | 2.2804e-13 | 0.13569 | 9.998e-05 | 9.998e-05 | 89.8562 | 89.8562 | 89.8562 | -90.1986 | -90.1986 | -90.1986 | 1.5383 | 0 | 0 | 1.5394 | 0.0030671 | 0.0030671 | 0.18047 | 0 | 0 | 0.07413 | -68.4956 | -68.4956
Line_1 | 0.0012726 | 0.0012726 | 0.0012726 | 0.003817 | 0.003817 | 0.003817 | 0.014695 | 0.014695 | 0.014695 | 0.044075 | 0.044075 | 0.044075 | -0.00010767 | 5.3835e-05 | 5.3835e-05 | 0.00032301 | -0.0001256 | -0.0001256 | 0.022625 | 2.145e-05 | 2.145e-05 | -0.067847 | -4.999e-05 | -4.999e-05 | -90.2289 | -90.2289 | -90.2289 | 89.8014 | 89.8014 | 89.8014 | 1.5397 | 0.0039436 | 0.0039436 | 1.5394 | 0.0030671 | 0.0030671 | 0.043759 | -68.5043 | -68.5043 | 0.07413 | -68.4956 | -68.4956
Line_2 | 0.0012726 | 0.0012726 | 0.0012726 | 0.003817 | 0.003817 | 0.003817 | 0.014695 | 0.014695 | 0.014695 | 0.044075 | 0.044075 | 0.044075 | -0.00010767 | 5.3835e-05 | 5.3835e-05 | 0.00032301 | -0.0001256 | -0.0001256 | 0.022625 | 2.145e-05 | 2.145e-05 | -0.067847 | -4.999e-05 | -4.999e-05 | -90.2289 | -90.2289 | -90.2289 | 89.8014 | 89.8014 | 89.8014 | 1.5397 | 0.0039436 | 0.0039436 | 1.5394 | 0.0030671 | 0.0030671 | 0.043759 | -68.5043 | -68.5043 | 0.07413 | -68.4956 | -68.4956
Line_3 | 0.0012726 | 0.0012726 | 0.0012726 | 0.0012726 | 0.0012726 | 0.0012726 | 0.014695 | 0.014695 | 0.014695 | 0.014695 | 0.014695 | 0.014695 | 0.00010767 | -5.3835e-05 | -5.3835e-05 | 0.00010767 | -5.3835e-05 | -5.3835e-05 | -0.022625 | -2.145e-05 | -2.145e-05 | -0.022625 | -2.145e-05 | -2.145e-05 | 89.7711 | 89.7711 | 89.7711 | 89.7711 | 89.7711 | 89.7711 | 1.5397 | 0.0039436 | 0.0039436 | 1.5397 | 0.0039436 | 0.0039436 | 0.043759 | -68.5043 | -68.5043 | 0.043759 | -68.5043 | -68.5043

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010175 | 0.010175 | 0.010175 | 0.007634 | 0.007634 | 0.007634 | 0.11749 | 0.11749 | 0.11749 | 0.08815 | 0.08815 | 0.08815 | 0.0010228 | -1.5527e-13 | -8.0806e-14 | -0.00064602 | 0.0002512 | 0.0002512 | -0.18073 | -1.9083e-13 | 2.2804e-13 | 0.13569 | 9.998e-05 | 9.998e-05 | 89.8562 | 89.8562 | 89.8562 | -90.1986 | -90.1986 | -90.1986 | 1.5383 | 0 | 0 | 1.5394 | 0.0030671 | 0.0030671 | 0.18047 | 0 | 0 | 0.07413 | -68.4956 | -68.4956
Line_1 | 0.0012726 | 0.0012726 | 0.0012726 | 0.003817 | 0.003817 | 0.003817 | 0.014695 | 0.014695 | 0.014695 | 0.044075 | 0.044075 | 0.044075 | -0.00010767 | 5.3835e-05 | 5.3835e-05 | 0.00032301 | -0.0001256 | -0.0001256 | 0.022625 | 2.145e-05 | 2.145e-05 | -0.067847 | -4.999e-05 | -4.999e-05 | -90.2289 | -90.2289 | -90.2289 | 89.8014 | 89.8014 | 89.8014 | 1.5397 | 0.0039436 | 0.0039436 | 1.5394 | 0.0030671 | 0.0030671 | 0.043759 | -68.5043 | -68.5043 | 0.07413 | -68.4956 | -68.4956
Line_2 | 0.0012726 | 0.0012726 | 0.0012726 | 0.003817 | 0.003817 | 0.003817 | 0.014695 | 0.014695 | 0.014695 | 0.044075 | 0.044075 | 0.044075 | -0.00010767 | 5.3835e-05 | 5.3835e-05 | 0.00032301 | -0.0001256 | -0.0001256 | 0.022625 | 2.145e-05 | 2.145e-05 | -0.067847 | -4.999e-05 | -4.999e-05 | -90.2289 | -90.2289 | -90.2289 | 89.8014 | 89.8014 | 89.8014 | 1.5397 | 0.0039436 | 0.0039436 | 1.5394 | 0.0030671 | 0.0030671 | 0.043759 | -68.5043 | -68.5043 | 0.07413 | -68.4956 | -68.4956
Line_3 | 0.0012726 | 0.0012726 | 0.0012726 | 0.0012726 | 0.0012726 | 0.0012726 | 0.014695 | 0.014695 | 0.014695 | 0.014695 | 0.014695 | 0.014695 | 0.00010767 | -5.3835e-05 | -5.3835e-05 | 0.00010767 | -5.3835e-05 | -5.3835e-05 | -0.022625 | -2.145e-05 | -2.145e-05 | -0.022625 | -2.145e-05 | -2.145e-05 | 89.7711 | 89.7711 | 89.7711 | 89.7711 | 89.7711 | 89.7711 | 1.5397 | 0.0039436 | 0.0039436 | 1.5397 | 0.0039436 | 0.0039436 | 0.043759 | -68.5043 | -68.5043 | 0.043759 | -68.5043 | -68.5043

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006753 | 0.006753 | 0.006753 | 0.0050667 | 0.0050667 | 0.0050667 | 0.077977 | 0.077977 | 0.077977 | 0.058505 | 0.058505 | 0.058505 | -0.024453 | -0.040116 | 0.06502 | 0.018382 | 0.030237 | -0.048683 | -0.1048 | 0.039185 | -0.013991 | 0.078694 | -0.029327 | 0.010494 | 106.7785 | 106.7785 | 106.7785 | -73.2764 | -73.2764 | -73.2764 | 1.3801 | 0.71917 | 0.85292 | 1.3813 | 0.72 | 0.85123 | 3.645 | -117.5491 | 94.6351 | 3.5756 | -117.4011 | 94.5589
Line_1 | 0.00084462 | 0.00084462 | 0.00084462 | 0.0025333 | 0.0025333 | 0.0025333 | 0.0097529 | 0.0097529 | 0.0097529 | 0.029252 | 0.029253 | 0.029252 | 0.0030627 | 0.0050485 | -0.0081112 | -0.0091911 | -0.015119 | 0.024341 | 0.013122 | -0.0048842 | 0.0017472 | -0.039347 | 0.014664 | -0.0052471 | -73.3066 | -73.3066 | -73.3066 | 106.7236 | 106.7236 | 106.7236 | 1.3816 | 0.72024 | 0.85075 | 1.3813 | 0.72 | 0.85123 | 3.5558 | -117.3589 | 94.5371 | 3.5756 | -117.4011 | 94.5589
Line_2 | 0.00084462 | 0.00084462 | 0.00084462 | 0.0025333 | 0.0025333 | 0.0025333 | 0.0097529 | 0.0097529 | 0.0097529 | 0.029252 | 0.029253 | 0.029252 | 0.0030627 | 0.0050485 | -0.0081112 | -0.0091911 | -0.015119 | 0.024341 | 0.013122 | -0.0048842 | 0.0017472 | -0.039347 | 0.014664 | -0.0052471 | -73.3066 | -73.3066 | -73.3066 | 106.7236 | 106.7236 | 106.7236 | 1.3816 | 0.72024 | 0.85075 | 1.3813 | 0.72 | 0.85123 | 3.5558 | -117.3589 | 94.5371 | 3.5756 | -117.4011 | 94.5589
Line_3 | 0.00084462 | 0.00084462 | 0.00084462 | 0.00084462 | 0.00084462 | 0.00084462 | 0.0097529 | 0.0097529 | 0.0097529 | 0.0097529 | 0.0097529 | 0.0097529 | -0.0030627 | -0.0050485 | 0.0081112 | -0.0030627 | -0.0050485 | 0.0081112 | -0.013122 | 0.0048842 | -0.0017472 | -0.013122 | 0.0048842 | -0.0017472 | 106.6934 | 106.6934 | 106.6934 | 106.6934 | 106.6934 | 106.6934 | 1.3816 | 0.72024 | 0.85075 | 1.3816 | 0.72024 | 0.85075 | 3.5558 | -117.3589 | 94.5371 | 3.5558 | -117.3589 | 94.5371

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006753 | 0.006753 | 0.006753 | 0.0050667 | 0.0050667 | 0.0050667 | 0.077977 | 0.077977 | 0.077977 | 0.058505 | 0.058505 | 0.058505 | -0.024453 | -0.040116 | 0.06502 | 0.018382 | 0.030237 | -0.048683 | -0.1048 | 0.039185 | -0.013991 | 0.078694 | -0.029327 | 0.010494 | 106.7785 | 106.7785 | 106.7785 | -73.2764 | -73.2764 | -73.2764 | 1.3801 | 0.71917 | 0.85292 | 1.3813 | 0.72 | 0.85123 | 3.645 | -117.5491 | 94.6351 | 3.5756 | -117.4011 | 94.5589
Line_1 | 0.00084462 | 0.00084462 | 0.00084462 | 0.0025333 | 0.0025333 | 0.0025333 | 0.0097529 | 0.0097529 | 0.0097529 | 0.029252 | 0.029253 | 0.029252 | 0.0030627 | 0.0050485 | -0.0081112 | -0.0091911 | -0.015119 | 0.024341 | 0.013122 | -0.0048842 | 0.0017472 | -0.039347 | 0.014664 | -0.0052471 | -73.3066 | -73.3066 | -73.3066 | 106.7236 | 106.7236 | 106.7236 | 1.3816 | 0.72024 | 0.85075 | 1.3813 | 0.72 | 0.85123 | 3.5558 | -117.3589 | 94.5371 | 3.5756 | -117.4011 | 94.5589
Line_2 | 0.00084462 | 0.00084462 | 0.00084462 | 0.0025333 | 0.0025333 | 0.0025333 | 0.0097529 | 0.0097529 | 0.0097529 | 0.029252 | 0.029253 | 0.029252 | 0.0030627 | 0.0050485 | -0.0081112 | -0.0091911 | -0.015119 | 0.024341 | 0.013122 | -0.0048842 | 0.0017472 | -0.039347 | 0.014664 | -0.0052471 | -73.3066 | -73.3066 | -73.3066 | 106.7236 | 106.7236 | 106.7236 | 1.3816 | 0.72024 | 0.85075 | 1.3813 | 0.72 | 0.85123 | 3.5558 | -117.3589 | 94.5371 | 3.5756 | -117.4011 | 94.5589
Line_3 | 0.00084462 | 0.00084462 | 0.00084462 | 0.00084462 | 0.00084462 | 0.00084462 | 0.0097529 | 0.0097529 | 0.0097529 | 0.0097529 | 0.0097529 | 0.0097529 | -0.0030627 | -0.0050485 | 0.0081112 | -0.0030627 | -0.0050485 | 0.0081112 | -0.013122 | 0.0048842 | -0.0017472 | -0.013122 | 0.0048842 | -0.0017472 | 106.6934 | 106.6934 | 106.6934 | 106.6934 | 106.6934 | 106.6934 | 1.3816 | 0.72024 | 0.85075 | 1.3816 | 0.72024 | 0.85075 | 3.5558 | -117.3589 | 94.5371 | 3.5558 | -117.3589 | 94.5371

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0092206 | 0.0092206 | 0.0092206 | 0.0069181 | 0.0069181 | 0.0069181 | 0.10647 | 0.10647 | 0.10647 | 0.079883 | 0.079883 | 0.079883 | 0.0016127 | -1.1339e-13 | 1.675e-13 | -0.0010186 | 0.00039608 | 0.00039608 | -0.14842 | 1.2142e-13 | 3.6007e-14 | 0.11144 | 8.219e-05 | 8.219e-05 | 89.5694 | 89.5694 | 89.5694 | -90.536 | -90.536 | -90.536 | 1.3941 | 0 | 0 | 1.3951 | 0.0050639 | 0.0050639 | 0.19192 | 0 | 0 | -0.012237 | -78.813 | -78.813
Line_1 | 0.0011533 | 0.0011533 | 0.0011533 | 0.0034591 | 0.0034591 | 0.0034591 | 0.013317 | 0.013317 | 0.013317 | 0.039942 | 0.039942 | 0.039942 | -0.00016977 | 8.4885e-05 | 8.4885e-05 | 0.00050931 | -0.00019804 | -0.00019804 | 0.01858 | 1.7678e-05 | 1.7678e-05 | -0.055718 | -4.1095e-05 | -4.1095e-05 | -90.594 | -90.5941 | -90.5941 | 89.464 | 89.464 | 89.464 | 1.3953 | 0.0065111 | 0.0065111 | 1.3951 | 0.0050639 | 0.0050639 | -0.070547 | -78.8296 | -78.8296 | -0.012237 | -78.813 | -78.813
Line_2 | 0.0011533 | 0.0011533 | 0.0011533 | 0.0034591 | 0.0034591 | 0.0034591 | 0.013317 | 0.013317 | 0.013317 | 0.039942 | 0.039942 | 0.039942 | -0.00016977 | 8.4885e-05 | 8.4885e-05 | 0.00050931 | -0.00019804 | -0.00019804 | 0.01858 | 1.7678e-05 | 1.7678e-05 | -0.055718 | -4.1095e-05 | -4.1095e-05 | -90.594 | -90.5941 | -90.5941 | 89.464 | 89.464 | 89.464 | 1.3953 | 0.0065111 | 0.0065111 | 1.3951 | 0.0050639 | 0.0050639 | -0.070547 | -78.8296 | -78.8296 | -0.012237 | -78.813 | -78.813
Line_3 | 0.0011533 | 0.0011533 | 0.0011533 | 0.0011533 | 0.0011533 | 0.0011533 | 0.013317 | 0.013317 | 0.013317 | 0.013317 | 0.013317 | 0.013317 | 0.00016977 | -8.4885e-05 | -8.4885e-05 | 0.00016977 | -8.4885e-05 | -8.4885e-05 | -0.01858 | -1.7678e-05 | -1.7678e-05 | -0.01858 | -1.7678e-05 | -1.7678e-05 | 89.406 | 89.406 | 89.406 | 89.406 | 89.406 | 89.406 | 1.3953 | 0.0065111 | 0.0065111 | 1.3953 | 0.0065111 | 0.0065111 | -0.070547 | -78.8296 | -78.8296 | -0.070547 | -78.8296 | -78.8296

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0092206 | 0.0092206 | 0.0092206 | 0.0069181 | 0.0069181 | 0.0069181 | 0.10647 | 0.10647 | 0.10647 | 0.079883 | 0.079883 | 0.079883 | 0.0016127 | -1.1339e-13 | 1.675e-13 | -0.0010186 | 0.00039608 | 0.00039608 | -0.14842 | 1.2142e-13 | 3.6007e-14 | 0.11144 | 8.219e-05 | 8.219e-05 | 89.5694 | 89.5694 | 89.5694 | -90.536 | -90.536 | -90.536 | 1.3941 | 0 | 0 | 1.3951 | 0.0050639 | 0.0050639 | 0.19192 | 0 | 0 | -0.012237 | -78.813 | -78.813
Line_1 | 0.0011533 | 0.0011533 | 0.0011533 | 0.0034591 | 0.0034591 | 0.0034591 | 0.013317 | 0.013317 | 0.013317 | 0.039942 | 0.039942 | 0.039942 | -0.00016977 | 8.4885e-05 | 8.4885e-05 | 0.00050931 | -0.00019804 | -0.00019804 | 0.01858 | 1.7678e-05 | 1.7678e-05 | -0.055718 | -4.1095e-05 | -4.1095e-05 | -90.594 | -90.5941 | -90.5941 | 89.464 | 89.464 | 89.464 | 1.3953 | 0.0065111 | 0.0065111 | 1.3951 | 0.0050639 | 0.0050639 | -0.070547 | -78.8296 | -78.8296 | -0.012237 | -78.813 | -78.813
Line_2 | 0.0011533 | 0.0011533 | 0.0011533 | 0.0034591 | 0.0034591 | 0.0034591 | 0.013317 | 0.013317 | 0.013317 | 0.039942 | 0.039942 | 0.039942 | -0.00016977 | 8.4885e-05 | 8.4885e-05 | 0.00050931 | -0.00019804 | -0.00019804 | 0.01858 | 1.7678e-05 | 1.7678e-05 | -0.055718 | -4.1095e-05 | -4.1095e-05 | -90.594 | -90.5941 | -90.5941 | 89.464 | 89.464 | 89.464 | 1.3953 | 0.0065111 | 0.0065111 | 1.3951 | 0.0050639 | 0.0050639 | -0.070547 | -78.8296 | -78.8296 | -0.012237 | -78.813 | -78.813
Line_3 | 0.0011533 | 0.0011533 | 0.0011533 | 0.0011533 | 0.0011533 | 0.0011533 | 0.013317 | 0.013317 | 0.013317 | 0.013317 | 0.013317 | 0.013317 | 0.00016977 | -8.4885e-05 | -8.4885e-05 | 0.00016977 | -8.4885e-05 | -8.4885e-05 | -0.01858 | -1.7678e-05 | -1.7678e-05 | -0.01858 | -1.7678e-05 | -1.7678e-05 | 89.406 | 89.406 | 89.406 | 89.406 | 89.406 | 89.406 | 1.3953 | 0.0065111 | 0.0065111 | 1.3953 | 0.0065111 | 0.0065111 | -0.070547 | -78.8296 | -78.8296 | -0.070547 | -78.8296 | -78.8296

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006128 | 0.006128 | 0.006128 | 0.0045978 | 0.0045978 | 0.0045978 | 0.07076 | 0.07076 | 0.07076 | 0.05309 | 0.05309 | 0.05309 | -0.019669 | -0.032722 | 0.053103 | 0.014813 | 0.02477 | -0.039683 | -0.086397 | 0.03214 | -0.011299 | 0.064885 | -0.024033 | 0.0084407 | 106.4413 | 106.4413 | 106.4413 | -73.664 | -73.664 | -73.664 | 1.2522 | 0.64819 | 0.76726 | 1.2536 | 0.65008 | 0.76418 | 3.6162 | -118.045 | 94.4291 | 3.4762 | -117.7988 | 94.3279
Line_1 | 0.00076645 | 0.00076645 | 0.00076645 | 0.0022989 | 0.0022989 | 0.0022989 | 0.0088502 | 0.0088502 | 0.0088502 | 0.026545 | 0.026545 | 0.026545 | 0.0024667 | 0.0041416 | -0.0066083 | -0.0074064 | -0.012385 | 0.019841 | 0.010821 | -0.0040004 | 0.0014021 | -0.032443 | 0.012016 | -0.0042203 | -73.7221 | -73.7221 | -73.7221 | 106.336 | 106.336 | 106.336 | 1.254 | 0.65062 | 0.7633 | 1.2536 | 0.65008 | 0.76418 | 3.4362 | -117.7287 | 94.299 | 3.4762 | -117.7988 | 94.3279
Line_2 | 0.00076645 | 0.00076645 | 0.00076645 | 0.0022989 | 0.0022989 | 0.0022989 | 0.0088502 | 0.0088502 | 0.0088502 | 0.026545 | 0.026545 | 0.026545 | 0.0024667 | 0.0041416 | -0.0066083 | -0.0074064 | -0.012385 | 0.019841 | 0.010821 | -0.0040004 | 0.0014021 | -0.032443 | 0.012016 | -0.0042203 | -73.7221 | -73.7221 | -73.7221 | 106.336 | 106.336 | 106.336 | 1.254 | 0.65062 | 0.7633 | 1.2536 | 0.65008 | 0.76418 | 3.4362 | -117.7287 | 94.299 | 3.4762 | -117.7988 | 94.3279
Line_3 | 0.00076645 | 0.00076645 | 0.00076645 | 0.00076645 | 0.00076645 | 0.00076645 | 0.0088502 | 0.0088502 | 0.0088502 | 0.0088502 | 0.0088502 | 0.0088502 | -0.0024667 | -0.0041416 | 0.0066083 | -0.0024667 | -0.0041416 | 0.0066083 | -0.010821 | 0.0040004 | -0.0014021 | -0.010821 | 0.0040004 | -0.0014021 | 106.2779 | 106.2779 | 106.2779 | 106.2779 | 106.2779 | 106.2779 | 1.254 | 0.65062 | 0.7633 | 1.254 | 0.65062 | 0.7633 | 3.4362 | -117.7287 | 94.299 | 3.4362 | -117.7287 | 94.299

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006128 | 0.006128 | 0.006128 | 0.0045978 | 0.0045978 | 0.0045978 | 0.07076 | 0.07076 | 0.07076 | 0.05309 | 0.05309 | 0.05309 | -0.019669 | -0.032722 | 0.053103 | 0.014813 | 0.02477 | -0.039683 | -0.086397 | 0.03214 | -0.011299 | 0.064885 | -0.024033 | 0.0084407 | 106.4413 | 106.4413 | 106.4413 | -73.664 | -73.664 | -73.664 | 1.2522 | 0.64819 | 0.76726 | 1.2536 | 0.65008 | 0.76418 | 3.6162 | -118.045 | 94.4291 | 3.4762 | -117.7988 | 94.3279
Line_1 | 0.00076645 | 0.00076645 | 0.00076645 | 0.0022989 | 0.0022989 | 0.0022989 | 0.0088502 | 0.0088502 | 0.0088502 | 0.026545 | 0.026545 | 0.026545 | 0.0024667 | 0.0041416 | -0.0066083 | -0.0074064 | -0.012385 | 0.019841 | 0.010821 | -0.0040004 | 0.0014021 | -0.032443 | 0.012016 | -0.0042203 | -73.7221 | -73.7221 | -73.7221 | 106.336 | 106.336 | 106.336 | 1.254 | 0.65062 | 0.7633 | 1.2536 | 0.65008 | 0.76418 | 3.4362 | -117.7287 | 94.299 | 3.4762 | -117.7988 | 94.3279
Line_2 | 0.00076645 | 0.00076645 | 0.00076645 | 0.0022989 | 0.0022989 | 0.0022989 | 0.0088502 | 0.0088502 | 0.0088502 | 0.026545 | 0.026545 | 0.026545 | 0.0024667 | 0.0041416 | -0.0066083 | -0.0074064 | -0.012385 | 0.019841 | 0.010821 | -0.0040004 | 0.0014021 | -0.032443 | 0.012016 | -0.0042203 | -73.7221 | -73.7221 | -73.7221 | 106.336 | 106.336 | 106.336 | 1.254 | 0.65062 | 0.7633 | 1.2536 | 0.65008 | 0.76418 | 3.4362 | -117.7287 | 94.299 | 3.4762 | -117.7988 | 94.3279
Line_3 | 0.00076645 | 0.00076645 | 0.00076645 | 0.00076645 | 0.00076645 | 0.00076645 | 0.0088502 | 0.0088502 | 0.0088502 | 0.0088502 | 0.0088502 | 0.0088502 | -0.0024667 | -0.0041416 | 0.0066083 | -0.0024667 | -0.0041416 | 0.0066083 | -0.010821 | 0.0040004 | -0.0014021 | -0.010821 | 0.0040004 | -0.0014021 | 106.2779 | 106.2779 | 106.2779 | 106.2779 | 106.2779 | 106.2779 | 1.254 | 0.65062 | 0.7633 | 1.254 | 0.65062 | 0.7633 | 3.4362 | -117.7287 | 94.299 | 3.4362 | -117.7287 | 94.299