## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.8489e-15 | 5.6002e-15 | -2.3539e-16 | 5.6534e-15 | 1.2528e-15 | -6.0995e-15 | 5.4579e-15 | 3.5831e-15 | -5.3934e-15 | 1.955e-16 | -1.1827e-14 | -1.5945e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.8489e-15 | 5.6002e-15 | -2.3539e-16 | 5.6534e-15 | 1.2528e-15 | -6.0995e-15 | 5.4579e-15 | 3.5831e-15 | -5.3934e-15 | 1.955e-16 | -1.1827e-14 | -1.5945e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.388e-15 | -9.5819e-15 | 0 | -4.0866e-15 | 1.1323e-14 | 3.0591e-15 | 1.9334e-17 | 7.1353e-15 | 0 | -5.61e-15 | -5.567e-15 | 2.0706e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.388e-15 | -9.5819e-15 | 0 | -4.0866e-15 | 1.1323e-14 | 3.0591e-15 | 1.9334e-17 | 7.1353e-15 | 0 | -5.61e-15 | -5.567e-15 | 2.0706e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0136e-14 | -1.328e-15 | 2.0423e-16 | -9.9353e-15 | 5.0089e-15 | 4.4219e-15 | -9.3318e-15 | -1.5163e-16 | 4.4219e-15 | 4.4648e-15 | 3.2626e-15 | -2.0423e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0136e-14 | -1.328e-15 | 2.0423e-16 | -9.9353e-15 | 5.0089e-15 | 4.4219e-15 | -9.3318e-15 | -1.5163e-16 | 4.4219e-15 | 4.4648e-15 | 3.2626e-15 | -2.0423e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2374e-15 | -1.8225e-15 | 3.5297e-15 | 6.8825e-16 | 2.5515e-15 | -3.0677e-15 | 2.3589e-15 | -1.6663e-15 | 5.948e-15 | -4.7526e-15 | 2.3329e-15 | -6.5914e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2374e-15 | -1.8225e-15 | 3.5297e-15 | 6.8825e-16 | 2.5515e-15 | -3.0677e-15 | 2.3589e-15 | -1.6663e-15 | 5.948e-15 | -4.7526e-15 | 2.3329e-15 | -6.5914e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2452 | 0.92846 | 0.72241 | 2.2432 | 0.93118 | 0.7247 | 25.9248 | 10.7209 | 8.3417 | 25.9022 | 10.7523 | 8.3681 | 4.1144 | -9.9176 | 11.8499 | 8.9621e-11 | 10.5812 | -11.9358 | 5.3247 | 7.2078 | 3.1733 | -1.1887e-10 | -7.8579 | -3.7358 | -58.0859 | 80.329 | 110.9101 | 121.9625 | -99.6781 | -69.2075 |  | 0.25956 | 1.1436 | 1.4706 | 0 | 1.2258 | 1.4946 | -5.7789 | -135.6796 | 125.9018 | 0 | -136.2768 | 128.1722
Line_1 | 1.1462 | 0.46826 | 0.36485 | 1.1436 | 0.46559 | 0.36235 | 13.235 | 5.407 | 4.2129 | 13.2049 | 5.3762 | 4.184 | 3.0765 | 6.2529 | -5.1598 | 6.2434e-11 | -5.2906 | 5.9679 | 1.2555 | -3.2606 | -1.7607 | -4.3148e-11 | 3.9289 | 1.8679 | -76.4106 | -99.6309 | -69.3681 | 103.6246 | 80.3219 | 110.7925 |  | 0.25106 | 1.3042 | 1.2941 | 0 | 1.2258 | 1.4946 | -54.2101 | -127.1711 | 129.4738 | 0 | -136.2768 | 128.1722
Line_2 | 1.1462 | 0.46826 | 0.36485 | 1.1436 | 0.46559 | 0.36235 | 13.235 | 5.407 | 4.2129 | 13.2049 | 5.3762 | 4.184 | 3.0765 | 6.2529 | -5.1598 | 6.2434e-11 | -5.2906 | 5.9679 | 1.2555 | -3.2606 | -1.7607 | -4.3148e-11 | 3.9289 | 1.8679 | -76.4106 | -99.6309 | -69.3681 | 103.6246 | 80.3219 | 110.7925 |  | 0.25106 | 1.3042 | 1.2941 | 0 | 1.2258 | 1.4946 | -54.2101 | -127.1711 | 129.4738 | 0 | -136.2768 | 128.1722
Line_3 | 0.0012243 | 0.0012243 | 0.0012243 | 0.0012243 | 0.0012243 | 0.0012243 | 0.014137 | 0.014137 | 0.014137 | 0.014137 | 0.014137 | 0.014137 | 0.0031811 | 0.012661 | -0.015842 | 0.0031811 | 0.012661 | -0.015842 | 0.0015741 | -0.013404 | -0.0091506 | 0.0015741 | -0.013404 | -0.0091506 | -80.5379 | -80.5379 | -80.5379 | -80.5379 | -80.5379 | -80.5379 |  | 0.25106 | 1.3042 | 1.2941 | 0.25106 | 1.3042 | 1.2941 | -54.2101 | -127.1711 | 129.4738 | -54.2101 | -127.1711 | 129.4738

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2452 | 0.92846 | 0.72241 | 2.2432 | 0.93118 | 0.7247 | 25.9248 | 10.7209 | 8.3417 | 25.9022 | 10.7523 | 8.3681 | 4.1144 | -9.9176 | 11.8499 | 8.9621e-11 | 10.5812 | -11.9358 | 5.3247 | 7.2078 | 3.1733 | -1.1887e-10 | -7.8579 | -3.7358 | -58.0859 | 80.329 | 110.9101 | 121.9625 | -99.6781 | -69.2075 |  | 0.25956 | 1.1436 | 1.4706 | 0 | 1.2258 | 1.4946 | -5.7789 | -135.6796 | 125.9018 | 0 | -136.2768 | 128.1722
Line_1 | 1.1462 | 0.46826 | 0.36485 | 1.1436 | 0.46559 | 0.36235 | 13.235 | 5.407 | 4.2129 | 13.2049 | 5.3762 | 4.184 | 3.0765 | 6.2529 | -5.1598 | 6.2434e-11 | -5.2906 | 5.9679 | 1.2555 | -3.2606 | -1.7607 | -4.3148e-11 | 3.9289 | 1.8679 | -76.4106 | -99.6309 | -69.3681 | 103.6246 | 80.3219 | 110.7925 |  | 0.25106 | 1.3042 | 1.2941 | 0 | 1.2258 | 1.4946 | -54.2101 | -127.1711 | 129.4738 | 0 | -136.2768 | 128.1722
Line_2 | 1.1462 | 0.46826 | 0.36485 | 1.1436 | 0.46559 | 0.36235 | 13.235 | 5.407 | 4.2129 | 13.2049 | 5.3762 | 4.184 | 3.0765 | 6.2529 | -5.1598 | 6.2434e-11 | -5.2906 | 5.9679 | 1.2555 | -3.2606 | -1.7607 | -4.3148e-11 | 3.9289 | 1.8679 | -76.4106 | -99.6309 | -69.3681 | 103.6246 | 80.3219 | 110.7925 |  | 0.25106 | 1.3042 | 1.2941 | 0 | 1.2258 | 1.4946 | -54.2101 | -127.1711 | 129.4738 | 0 | -136.2768 | 128.1722
Line_3 | 0.0012243 | 0.0012243 | 0.0012243 | 0.0012243 | 0.0012243 | 0.0012243 | 0.014137 | 0.014137 | 0.014137 | 0.014137 | 0.014137 | 0.014137 | 0.0031811 | 0.012661 | -0.015842 | 0.0031811 | 0.012661 | -0.015842 | 0.0015741 | -0.013404 | -0.0091506 | 0.0015741 | -0.013404 | -0.0091506 | -80.5379 | -80.5379 | -80.5379 | -80.5379 | -80.5379 | -80.5379 |  | 0.25106 | 1.3042 | 1.2941 | 0.25106 | 1.3042 | 1.2941 | -54.2101 | -127.1711 | 129.4738 | -54.2101 | -127.1711 | 129.4738

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56313 | 0.24432 | 0.28107 | 0.56267 | 0.245 | 0.28134 | 6.5025 | 2.8212 | 3.2456 | 6.4971 | 2.829 | 3.2487 | 5.2396 | -3.2786 | 3.0117 | -4.9257 | 3.3855 | -3.0716 | 2.5259 | 0.15872 | -2.6214 | -2.1796 | -0.19342 | 2.6082 | -30.5334 | 58.4243 | 164.5586 | 149.5362 | -121.4645 | -15.6003 |  | 0.89453 | 1.1635 | 1.2302 | 0.82904 | 1.1987 | 1.2404 | -4.796 | -124.3472 | 123.5218 | -6.5946 | -124.7344 | 124.0633
Line_1 | 0.42753 | 0.12307 | 0.14108 | 0.42672 | 0.1225 | 0.14067 | 4.9366 | 1.4211 | 1.6291 | 4.9274 | 1.4145 | 1.6243 | 2.482 | 1.7328 | -1.4606 | -2.1192 | -1.6927 | 1.5358 | 3.6834 | -0.020926 | 1.2617 | -3.4923 | 0.09671 | -1.3041 | -65.3637 | -121.1921 | -15.8884 | 114.6561 | 58.5355 | 164.3997 |  | 0.89972 | 1.2194 | 1.1848 | 0.82904 | 1.1987 | 1.2404 | -9.3368 | -121.884 | 123.2895 | -6.5946 | -124.7344 | 124.0633
Line_2 | 0.42753 | 0.12307 | 0.14108 | 0.42672 | 0.1225 | 0.14067 | 4.9366 | 1.4211 | 1.6291 | 4.9274 | 1.4145 | 1.6243 | 2.482 | 1.7328 | -1.4606 | -2.1192 | -1.6927 | 1.5358 | 3.6834 | -0.020926 | 1.2617 | -3.4923 | 0.09671 | -1.3041 | -65.3637 | -121.1921 | -15.8884 | 114.6561 | 58.5355 | 164.3997 |  | 0.89972 | 1.2194 | 1.1848 | 0.82904 | 1.1987 | 1.2404 | -9.3368 | -121.884 | 123.2895 | -6.5946 | -124.7344 | 124.0633
Line_3 | 0.0003706 | 0.0003706 | 0.0003706 | 0.0003706 | 0.0003706 | 0.0003706 | 0.0042793 | 0.0042793 | 0.0042793 | 0.0042793 | 0.0042793 | 0.0042793 | 0.0021808 | 0.0028384 | -0.0050193 | 0.0021808 | 0.0028384 | -0.0050193 | 0.003173 | -0.0043788 | -0.00071665 | 0.003173 | -0.0043788 | -0.00071665 | -64.8363 | -64.8363 | -64.8363 | -64.8363 | -64.8363 | -64.8363 |  | 0.89972 | 1.2194 | 1.1848 | 0.89972 | 1.2194 | 1.1848 | -9.3368 | -121.884 | 123.2895 | -9.3368 | -121.884 | 123.2895

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56313 | 0.24432 | 0.28107 | 0.56267 | 0.245 | 0.28134 | 6.5025 | 2.8212 | 3.2456 | 6.4971 | 2.829 | 3.2487 | 5.2396 | -3.2786 | 3.0117 | -4.9257 | 3.3855 | -3.0716 | 2.5259 | 0.15872 | -2.6214 | -2.1796 | -0.19342 | 2.6082 | -30.5334 | 58.4243 | 164.5586 | 149.5362 | -121.4645 | -15.6003 |  | 0.89453 | 1.1635 | 1.2302 | 0.82904 | 1.1987 | 1.2404 | -4.796 | -124.3472 | 123.5218 | -6.5946 | -124.7344 | 124.0633
Line_1 | 0.42753 | 0.12307 | 0.14108 | 0.42672 | 0.1225 | 0.14067 | 4.9366 | 1.4211 | 1.6291 | 4.9274 | 1.4145 | 1.6243 | 2.482 | 1.7328 | -1.4606 | -2.1192 | -1.6927 | 1.5358 | 3.6834 | -0.020926 | 1.2617 | -3.4923 | 0.09671 | -1.3041 | -65.3637 | -121.1921 | -15.8884 | 114.6561 | 58.5355 | 164.3997 |  | 0.89972 | 1.2194 | 1.1848 | 0.82904 | 1.1987 | 1.2404 | -9.3368 | -121.884 | 123.2895 | -6.5946 | -124.7344 | 124.0633
Line_2 | 0.42753 | 0.12307 | 0.14108 | 0.42672 | 0.1225 | 0.14067 | 4.9366 | 1.4211 | 1.6291 | 4.9274 | 1.4145 | 1.6243 | 2.482 | 1.7328 | -1.4606 | -2.1192 | -1.6927 | 1.5358 | 3.6834 | -0.020926 | 1.2617 | -3.4923 | 0.09671 | -1.3041 | -65.3637 | -121.1921 | -15.8884 | 114.6561 | 58.5355 | 164.3997 |  | 0.89972 | 1.2194 | 1.1848 | 0.82904 | 1.1987 | 1.2404 | -9.3368 | -121.884 | 123.2895 | -6.5946 | -124.7344 | 124.0633
Line_3 | 0.0003706 | 0.0003706 | 0.0003706 | 0.0003706 | 0.0003706 | 0.0003706 | 0.0042793 | 0.0042793 | 0.0042793 | 0.0042793 | 0.0042793 | 0.0042793 | 0.0021808 | 0.0028384 | -0.0050193 | 0.0021808 | 0.0028384 | -0.0050193 | 0.003173 | -0.0043788 | -0.00071665 | 0.003173 | -0.0043788 | -0.00071665 | -64.8363 | -64.8363 | -64.8363 | -64.8363 | -64.8363 | -64.8363 |  | 0.89972 | 1.2194 | 1.1848 | 0.89972 | 1.2194 | 1.1848 | -9.3368 | -121.884 | 123.2895 | -9.3368 | -121.884 | 123.2895

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0139 | 0.74984 | 0.61745 | 2.0126 | 0.75167 | 0.61921 | 23.2543 | 8.6584 | 7.1297 | 23.2395 | 8.6795 | 7.15 | 6.7217 | -3.3279 | 8.9896 | -5.7635e-11 | 3.254 | -9.213 | 4.6087 | 7.464 | 1.6704 | 1.1172e-11 | -8.2598 | -2.3631 | -50.0509 | 110.1753 | 112.8208 | 130.0011 | -69.9227 | -67.3059 |  | 0.35047 | 0.94385 | 1.2825 | 0 | 1.0228 | 1.3302 | -15.6144 | -135.7945 | 123.3471 | 0 | -138.4204 | 127.0799
Line_1 | 0.8854 | 0.37784 | 0.31158 | 0.88346 | 0.37583 | 0.30961 | 10.2238 | 4.3629 | 3.5978 | 10.2013 | 4.3398 | 3.575 | 3.6184 | 2.9808 | -3.5426 | -2.5693e-11 | -1.627 | 4.6065 | 0.79678 | -3.8264 | -0.99142 | -1.9978e-12 | 4.1299 | 1.1815 | -65.4706 | -70.0279 | -67.4501 | 114.5843 | 110.0773 | 112.6941 |  | 0.3624 | 1.1117 | 1.0225 | 0 | 1.0228 | 1.3302 | -53.0523 | -122.1086 | 128.1844 | 0 | -138.4204 | 127.0799
Line_2 | 0.8854 | 0.37784 | 0.31158 | 0.88346 | 0.37583 | 0.30961 | 10.2238 | 4.3629 | 3.5978 | 10.2013 | 4.3398 | 3.575 | 3.6184 | 2.9808 | -3.5426 | -2.5693e-11 | -1.627 | 4.6065 | 0.79678 | -3.8264 | -0.99142 | -1.9978e-12 | 4.1299 | 1.1815 | -65.4706 | -70.0279 | -67.4501 | 114.5843 | 110.0773 | 112.6941 |  | 0.3624 | 1.1117 | 1.0225 | 0 | 1.0228 | 1.3302 | -53.0523 | -122.1086 | 128.1844 | 0 | -138.4204 | 127.0799
Line_3 | 0.00090116 | 0.00090116 | 0.00090116 | 0.00090116 | 0.00090116 | 0.00090116 | 0.010406 | 0.010406 | 0.010406 | 0.010406 | 0.010406 | 0.010406 | 0.0036606 | 0.00661 | -0.010271 | 0.0036606 | 0.00661 | -0.010271 | 0.00090611 | -0.009494 | -0.0027789 | 0.00090611 | -0.009494 | -0.0027789 | -66.9554 | -66.9554 | -66.9554 | -66.9554 | -66.9554 | -66.9554 |  | 0.3624 | 1.1117 | 1.0225 | 0.3624 | 1.1117 | 1.0225 | -53.0523 | -122.1086 | 128.1844 | -53.0523 | -122.1086 | 128.1844

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0139 | 0.74984 | 0.61745 | 2.0126 | 0.75167 | 0.61921 | 23.2543 | 8.6584 | 7.1297 | 23.2395 | 8.6795 | 7.15 | 6.7217 | -3.3279 | 8.9896 | -5.7635e-11 | 3.254 | -9.213 | 4.6087 | 7.464 | 1.6704 | 1.1172e-11 | -8.2598 | -2.3631 | -50.0509 | 110.1753 | 112.8208 | 130.0011 | -69.9227 | -67.3059 |  | 0.35047 | 0.94385 | 1.2825 | 0 | 1.0228 | 1.3302 | -15.6144 | -135.7945 | 123.3471 | 0 | -138.4204 | 127.0799
Line_1 | 0.8854 | 0.37784 | 0.31158 | 0.88346 | 0.37583 | 0.30961 | 10.2238 | 4.3629 | 3.5978 | 10.2013 | 4.3398 | 3.575 | 3.6184 | 2.9808 | -3.5426 | -2.5693e-11 | -1.627 | 4.6065 | 0.79678 | -3.8264 | -0.99142 | -1.9978e-12 | 4.1299 | 1.1815 | -65.4706 | -70.0279 | -67.4501 | 114.5843 | 110.0773 | 112.6941 |  | 0.3624 | 1.1117 | 1.0225 | 0 | 1.0228 | 1.3302 | -53.0523 | -122.1086 | 128.1844 | 0 | -138.4204 | 127.0799
Line_2 | 0.8854 | 0.37784 | 0.31158 | 0.88346 | 0.37583 | 0.30961 | 10.2238 | 4.3629 | 3.5978 | 10.2013 | 4.3398 | 3.575 | 3.6184 | 2.9808 | -3.5426 | -2.5693e-11 | -1.627 | 4.6065 | 0.79678 | -3.8264 | -0.99142 | -1.9978e-12 | 4.1299 | 1.1815 | -65.4706 | -70.0279 | -67.4501 | 114.5843 | 110.0773 | 112.6941 |  | 0.3624 | 1.1117 | 1.0225 | 0 | 1.0228 | 1.3302 | -53.0523 | -122.1086 | 128.1844 | 0 | -138.4204 | 127.0799
Line_3 | 0.00090116 | 0.00090116 | 0.00090116 | 0.00090116 | 0.00090116 | 0.00090116 | 0.010406 | 0.010406 | 0.010406 | 0.010406 | 0.010406 | 0.010406 | 0.0036606 | 0.00661 | -0.010271 | 0.0036606 | 0.00661 | -0.010271 | 0.00090611 | -0.009494 | -0.0027789 | 0.00090611 | -0.009494 | -0.0027789 | -66.9554 | -66.9554 | -66.9554 | -66.9554 | -66.9554 | -66.9554 |  | 0.3624 | 1.1117 | 1.0225 | 0.3624 | 1.1117 | 1.0225 | -53.0523 | -122.1086 | 128.1844 | -53.0523 | -122.1086 | 128.1844

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61439 | 0.22876 | 0.18837 | 0.614 | 0.22932 | 0.18891 | 7.0943 | 2.6415 | 2.1751 | 7.0898 | 2.6479 | 2.1813 | 4.5455 | -1.1667 | 2.3528 | -3.9202 | 1.1647 | -2.3782 | 3.4748 | 2.3324 | 0.022182 | -3.0403 | -2.4089 | -0.089629 | -41.5451 | 118.6811 | 121.3266 | 138.5069 | -61.4169 | -58.8001 |  | 0.80649 | 0.98728 | 1.0818 | 0.69974 | 1.0105 | 1.0911 | -4.1494 | -124.7442 | 121.8667 | -3.6974 | -125.6138 | 123.3582
Line_1 | 0.27012 | 0.11527 | 0.095055 | 0.26952 | 0.11466 | 0.094453 | 3.119 | 1.331 | 1.0976 | 3.1122 | 1.324 | 1.0907 | 1.6421 | 0.71216 | -1.0951 | -1.3041 | -0.58235 | 1.1891 | 1.8233 | -1.1798 | -0.028632 | -1.744 | 1.2045 | 0.044815 | -56.9648 | -61.5221 | -58.9443 | 123.0901 | 118.5831 | 121.1999 |  | 0.7867 | 1.0354 | 0.99807 | 0.69974 | 1.0105 | 1.0911 | -8.9715 | -120.4058 | 122.5534 | -3.6974 | -125.6138 | 123.3582
Line_2 | 0.27012 | 0.11527 | 0.095055 | 0.26952 | 0.11466 | 0.094453 | 3.119 | 1.331 | 1.0976 | 3.1122 | 1.324 | 1.0907 | 1.6421 | 0.71216 | -1.0951 | -1.3041 | -0.58235 | 1.1891 | 1.8233 | -1.1798 | -0.028632 | -1.744 | 1.2045 | 0.044815 | -56.9648 | -61.5221 | -58.9443 | 123.0901 | 118.5831 | 121.1999 |  | 0.7867 | 1.0354 | 0.99807 | 0.69974 | 1.0105 | 1.0911 | -8.9715 | -120.4058 | 122.5534 | -3.6974 | -125.6138 | 123.3582
Line_3 | 0.00027492 | 0.00027492 | 0.00027492 | 0.00027492 | 0.00027492 | 0.00027492 | 0.0031745 | 0.0031745 | 0.0031745 | 0.0031745 | 0.0031745 | 0.0031745 | 0.0016227 | 0.0015453 | -0.0031679 | 0.0016227 | 0.0015453 | -0.0031679 | 0.0018984 | -0.0029009 | -5.5462e-05 | 0.0018984 | -0.0029009 | -5.5462e-05 | -58.4496 | -58.4496 | -58.4496 | -58.4496 | -58.4496 | -58.4496 |  | 0.7867 | 1.0354 | 0.99807 | 0.7867 | 1.0354 | 0.99807 | -8.9715 | -120.4058 | 122.5534 | -8.9715 | -120.4058 | 122.5534

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61439 | 0.22876 | 0.18837 | 0.614 | 0.22932 | 0.18891 | 7.0943 | 2.6415 | 2.1751 | 7.0898 | 2.6479 | 2.1813 | 4.5455 | -1.1667 | 2.3528 | -3.9202 | 1.1647 | -2.3782 | 3.4748 | 2.3324 | 0.022182 | -3.0403 | -2.4089 | -0.089629 | -41.5451 | 118.6811 | 121.3266 | 138.5069 | -61.4169 | -58.8001 |  | 0.80649 | 0.98728 | 1.0818 | 0.69974 | 1.0105 | 1.0911 | -4.1494 | -124.7442 | 121.8667 | -3.6974 | -125.6138 | 123.3582
Line_1 | 0.27012 | 0.11527 | 0.095055 | 0.26952 | 0.11466 | 0.094453 | 3.119 | 1.331 | 1.0976 | 3.1122 | 1.324 | 1.0907 | 1.6421 | 0.71216 | -1.0951 | -1.3041 | -0.58235 | 1.1891 | 1.8233 | -1.1798 | -0.028632 | -1.744 | 1.2045 | 0.044815 | -56.9648 | -61.5221 | -58.9443 | 123.0901 | 118.5831 | 121.1999 |  | 0.7867 | 1.0354 | 0.99807 | 0.69974 | 1.0105 | 1.0911 | -8.9715 | -120.4058 | 122.5534 | -3.6974 | -125.6138 | 123.3582
Line_2 | 0.27012 | 0.11527 | 0.095055 | 0.26952 | 0.11466 | 0.094453 | 3.119 | 1.331 | 1.0976 | 3.1122 | 1.324 | 1.0907 | 1.6421 | 0.71216 | -1.0951 | -1.3041 | -0.58235 | 1.1891 | 1.8233 | -1.1798 | -0.028632 | -1.744 | 1.2045 | 0.044815 | -56.9648 | -61.5221 | -58.9443 | 123.0901 | 118.5831 | 121.1999 |  | 0.7867 | 1.0354 | 0.99807 | 0.69974 | 1.0105 | 1.0911 | -8.9715 | -120.4058 | 122.5534 | -3.6974 | -125.6138 | 123.3582
Line_3 | 0.00027492 | 0.00027492 | 0.00027492 | 0.00027492 | 0.00027492 | 0.00027492 | 0.0031745 | 0.0031745 | 0.0031745 | 0.0031745 | 0.0031745 | 0.0031745 | 0.0016227 | 0.0015453 | -0.0031679 | 0.0016227 | 0.0015453 | -0.0031679 | 0.0018984 | -0.0029009 | -5.5462e-05 | 0.0018984 | -0.0029009 | -5.5462e-05 | -58.4496 | -58.4496 | -58.4496 | -58.4496 | -58.4496 | -58.4496 |  | 0.7867 | 1.0354 | 0.99807 | 0.7867 | 1.0354 | 0.99807 | -8.9715 | -120.4058 | 122.5534 | -8.9715 | -120.4058 | 122.5534

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43624 | 4.0685 | 3.3846 | 0.43839 | 4.0689 | 3.3838 | 5.0373 | 46.9791 | 39.0819 | 5.0621 | 46.9839 | 39.0726 | -0.57295 | 12.5967 | 2.6934 | 0.7906 | 9.8398e-11 | 1.0686e-10 | 6.9816 | 9.811 | 7.3624 | -7.3168 | -8.6532e-11 | 1.285e-11 | -98.1307 | -172.83 | 18.2943 | 81.8907 | 7.1998 | -161.7396 |  | 1.3906 | 0.33987 | 0.20059 | 1.4538 | 0 | 0 | -3.4391 | -134.9165 | 88.2005 | -1.9423 | 0 | 0
Line_1 | 0.22126 | 1.1157 | 0.93579 | 0.2192 | 1.1146 | 0.93416 | 2.5549 | 12.8832 | 10.8055 | 2.5311 | 12.8703 | 10.7867 | 0.69544 | 2.2363 | 1.0794 | -0.3953 | 3.5379e-11 | 2.5364e-11 | -3.4194 | -0.26742 | 1.9634 | 3.6584 | -6.0587e-12 | -1.5479e-11 | 82.0335 | 155.4948 | 56.5971 | -98.1093 | -24.4114 | -123.4875 |  | 1.3658 | 0.17482 | 0.20735 | 1.4538 | 0 | 0 | 3.5295 | 148.6759 | 117.7964 | -1.9423 | 0 | 0
Line_2 | 0.22126 | 1.1157 | 0.93579 | 0.2192 | 1.1146 | 0.93416 | 2.5549 | 12.8832 | 10.8055 | 2.5311 | 12.8703 | 10.7867 | 0.69544 | 2.2363 | 1.0794 | -0.3953 | 3.5379e-11 | 2.5364e-11 | -3.4194 | -0.26742 | 1.9634 | 3.6584 | -6.0587e-12 | -1.5479e-11 | 82.0335 | 155.4948 | 56.5971 | -98.1093 | -24.4114 | -123.4875 |  | 1.3658 | 0.17482 | 0.20735 | 1.4538 | 0 | 0 | 3.5295 | 148.6759 | 117.7964 | -1.9423 | 0 | 0
Line_3 | 0.00096788 | 0.00096788 | 0.00096788 | 0.00096788 | 0.00096788 | 0.00096788 | 0.011176 | 0.011176 | 0.011176 | 0.011176 | 0.011176 | 0.011176 | -0.0037591 | 0.0014771 | 0.0022821 | -0.0037591 | 0.0014771 | 0.0022821 | -0.014794 | 0.001279 | 0.00040279 | -0.014794 | 0.001279 | 0.00040279 | 107.7867 | 107.7867 | 107.7867 | 107.7867 | 107.7867 | 107.7867 |  | 1.3658 | 0.17482 | 0.20735 | 1.3658 | 0.17482 | 0.20735 | 3.5295 | 148.6759 | 117.7964 | 3.5295 | 148.6759 | 117.7964

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43624 | 4.0685 | 3.3846 | 0.43839 | 4.0689 | 3.3838 | 5.0373 | 46.9791 | 39.0819 | 5.0621 | 46.9839 | 39.0726 | -0.57295 | 12.5967 | 2.6934 | 0.7906 | 9.8398e-11 | 1.0686e-10 | 6.9816 | 9.811 | 7.3624 | -7.3168 | -8.6532e-11 | 1.285e-11 | -98.1307 | -172.83 | 18.2943 | 81.8907 | 7.1998 | -161.7396 |  | 1.3906 | 0.33987 | 0.20059 | 1.4538 | 0 | 0 | -3.4391 | -134.9165 | 88.2005 | -1.9423 | 0 | 0
Line_1 | 0.22126 | 1.1157 | 0.93579 | 0.2192 | 1.1146 | 0.93416 | 2.5549 | 12.8832 | 10.8055 | 2.5311 | 12.8703 | 10.7867 | 0.69544 | 2.2363 | 1.0794 | -0.3953 | 3.5379e-11 | 2.5364e-11 | -3.4194 | -0.26742 | 1.9634 | 3.6584 | -6.0587e-12 | -1.5479e-11 | 82.0335 | 155.4948 | 56.5971 | -98.1093 | -24.4114 | -123.4875 |  | 1.3658 | 0.17482 | 0.20735 | 1.4538 | 0 | 0 | 3.5295 | 148.6759 | 117.7964 | -1.9423 | 0 | 0
Line_2 | 0.22126 | 1.1157 | 0.93579 | 0.2192 | 1.1146 | 0.93416 | 2.5549 | 12.8832 | 10.8055 | 2.5311 | 12.8703 | 10.7867 | 0.69544 | 2.2363 | 1.0794 | -0.3953 | 3.5379e-11 | 2.5364e-11 | -3.4194 | -0.26742 | 1.9634 | 3.6584 | -6.0587e-12 | -1.5479e-11 | 82.0335 | 155.4948 | 56.5971 | -98.1093 | -24.4114 | -123.4875 |  | 1.3658 | 0.17482 | 0.20735 | 1.4538 | 0 | 0 | 3.5295 | 148.6759 | 117.7964 | -1.9423 | 0 | 0
Line_3 | 0.00096788 | 0.00096788 | 0.00096788 | 0.00096788 | 0.00096788 | 0.00096788 | 0.011176 | 0.011176 | 0.011176 | 0.011176 | 0.011176 | 0.011176 | -0.0037591 | 0.0014771 | 0.0022821 | -0.0037591 | 0.0014771 | 0.0022821 | -0.014794 | 0.001279 | 0.00040279 | -0.014794 | 0.001279 | 0.00040279 | 107.7867 | 107.7867 | 107.7867 | 107.7867 | 107.7867 | 107.7867 |  | 1.3658 | 0.17482 | 0.20735 | 1.3658 | 0.17482 | 0.20735 | 3.5295 | 148.6759 | 117.7964 | 3.5295 | 148.6759 | 117.7964

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0087208 | 0.89089 | 0.66959 | 0.0094751 | 0.89129 | 0.66902 | 0.1007 | 10.2871 | 7.7317 | 0.10941 | 10.2917 | 7.7252 | 0.018835 | 9.3043 | 3.8765 | -0.019371 | -8.6106 | -3.8202 | 0.12274 | 3.5542 | 5.8596 | -0.13661 | -3.1869 | -5.4555 | -81.9475 | -143.0787 | 53.5195 | 97.817 | 36.9626 | -126.5234 |  | 1.2332 | 0.96821 | 0.9087 | 1.2611 | 0.89212 | 0.86212 | -0.67182 | -122.1721 | 110.0323 | -0.2536 | -122.7271 | 108.4751
Line_1 | 0.0054795 | 0.37365 | 0.37959 | 0.0047376 | 0.37324 | 0.37896 | 0.063272 | 4.3146 | 4.3831 | 0.054705 | 4.3098 | 4.3759 | -0.0099702 | 1.2587 | 3.2399 | 0.0096853 | -1.0006 | -3.0449 | -0.076985 | 3.69 | 2.5061 | 0.068304 | -3.7124 | -2.2272 | 98.8965 | 162.261 | 72.3531 | -82.183 | -17.6432 | -107.7092 |  | 1.2269 | 0.90363 | 0.9345 | 1.2611 | 0.89212 | 0.86212 | 1.5173 | -126.5742 | 110.0758 | -0.2536 | -122.7271 | 108.4751
Line_2 | 0.0054795 | 0.37365 | 0.37959 | 0.0047376 | 0.37324 | 0.37896 | 0.063272 | 4.3146 | 4.3831 | 0.054705 | 4.3098 | 4.3759 | -0.0099702 | 1.2587 | 3.2399 | 0.0096853 | -1.0006 | -3.0449 | -0.076985 | 3.69 | 2.5061 | 0.068304 | -3.7124 | -2.2272 | 98.8965 | 162.261 | 72.3531 | -82.183 | -17.6432 | -107.7092 |  | 1.2269 | 0.90363 | 0.9345 | 1.2611 | 0.89212 | 0.86212 | 1.5173 | -126.5742 | 110.0758 | -0.2536 | -122.7271 | 108.4751
Line_3 | 0.00033907 | 0.00033907 | 0.00033907 | 0.00033907 | 0.00033907 | 0.00033907 | 0.0039152 | 0.0039152 | 0.0039152 | 0.0039152 | 0.0039152 | 0.0039152 | -0.0020422 | -0.0015924 | 0.0036345 | -0.0020422 | -0.0015924 | 0.0036345 | -0.0043478 | 0.0031593 | -0.00042057 | -0.0043478 | 0.0031593 | -0.00042057 | 116.6765 | 116.6765 | 116.6765 | 116.6765 | 116.6765 | 116.6765 |  | 1.2269 | 0.90363 | 0.9345 | 1.2269 | 0.90363 | 0.9345 | 1.5173 | -126.5742 | 110.0758 | 1.5173 | -126.5742 | 110.0758

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0087208 | 0.89089 | 0.66959 | 0.0094751 | 0.89129 | 0.66902 | 0.1007 | 10.2871 | 7.7317 | 0.10941 | 10.2917 | 7.7252 | 0.018835 | 9.3043 | 3.8765 | -0.019371 | -8.6106 | -3.8202 | 0.12274 | 3.5542 | 5.8596 | -0.13661 | -3.1869 | -5.4555 | -81.9475 | -143.0787 | 53.5195 | 97.817 | 36.9626 | -126.5234 |  | 1.2332 | 0.96821 | 0.9087 | 1.2611 | 0.89212 | 0.86212 | -0.67182 | -122.1721 | 110.0323 | -0.2536 | -122.7271 | 108.4751
Line_1 | 0.0054795 | 0.37365 | 0.37959 | 0.0047376 | 0.37324 | 0.37896 | 0.063272 | 4.3146 | 4.3831 | 0.054705 | 4.3098 | 4.3759 | -0.0099702 | 1.2587 | 3.2399 | 0.0096853 | -1.0006 | -3.0449 | -0.076985 | 3.69 | 2.5061 | 0.068304 | -3.7124 | -2.2272 | 98.8965 | 162.261 | 72.3531 | -82.183 | -17.6432 | -107.7092 |  | 1.2269 | 0.90363 | 0.9345 | 1.2611 | 0.89212 | 0.86212 | 1.5173 | -126.5742 | 110.0758 | -0.2536 | -122.7271 | 108.4751
Line_2 | 0.0054795 | 0.37365 | 0.37959 | 0.0047376 | 0.37324 | 0.37896 | 0.063272 | 4.3146 | 4.3831 | 0.054705 | 4.3098 | 4.3759 | -0.0099702 | 1.2587 | 3.2399 | 0.0096853 | -1.0006 | -3.0449 | -0.076985 | 3.69 | 2.5061 | 0.068304 | -3.7124 | -2.2272 | 98.8965 | 162.261 | 72.3531 | -82.183 | -17.6432 | -107.7092 |  | 1.2269 | 0.90363 | 0.9345 | 1.2611 | 0.89212 | 0.86212 | 1.5173 | -126.5742 | 110.0758 | -0.2536 | -122.7271 | 108.4751
Line_3 | 0.00033907 | 0.00033907 | 0.00033907 | 0.00033907 | 0.00033907 | 0.00033907 | 0.0039152 | 0.0039152 | 0.0039152 | 0.0039152 | 0.0039152 | 0.0039152 | -0.0020422 | -0.0015924 | 0.0036345 | -0.0020422 | -0.0015924 | 0.0036345 | -0.0043478 | 0.0031593 | -0.00042057 | -0.0043478 | 0.0031593 | -0.00042057 | 116.6765 | 116.6765 | 116.6765 | 116.6765 | 116.6765 | 116.6765 |  | 1.2269 | 0.90363 | 0.9345 | 1.2269 | 0.90363 | 0.9345 | 1.5173 | -126.5742 | 110.0758 | 1.5173 | -126.5742 | 110.0758

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45604 | 3.4148 | 2.871 | 0.45769 | 3.4154 | 2.8701 | 5.2659 | 39.4311 | 33.1514 | 5.2849 | 39.4374 | 33.1406 | 2.2392 | 16.1428 | 4.7843 | -2.2004 | -1.1642e-10 | -1.5324e-11 | 5.8357 | 5.7948 | 6.6742 | -6.3332 | -8.9608e-11 | -1.2345e-10 | -73.7901 | -166.1426 | 28.0304 | 106.1328 | 13.8853 | -151.9991 |  | 1.187 | 0.43497 | 0.24771 | 1.2686 | 0 | 0 | -4.7823 | -146.3959 | 82.3962 | -3.0266 | 0 | 0
Line_1 | 0.23051 | 0.96103 | 0.62837 | 0.22884 | 0.96026 | 0.6271 | 2.6617 | 11.097 | 7.2558 | 2.6424 | 11.0882 | 7.2411 | -0.52721 | 2.9769 | 0.92049 | 1.1002 | -1.6203e-11 | -1.7544e-11 | -2.9041 | -0.76601 | 1.7372 | 3.1666 | -3.7996e-11 | -2.0762e-11 | 106.1007 | 164.4762 | 61.2216 | -73.8672 | -15.4352 | -118.8774 |  | 1.1089 | 0.277 | 0.27096 | 1.2686 | 0 | 0 | 5.8113 | 150.046 | 123.3045 | -3.0266 | 0 | 0
Line_2 | 0.23051 | 0.96103 | 0.62837 | 0.22884 | 0.96026 | 0.6271 | 2.6617 | 11.097 | 7.2558 | 2.6424 | 11.0882 | 7.2411 | -0.52721 | 2.9769 | 0.92049 | 1.1002 | -1.6203e-11 | -1.7544e-11 | -2.9041 | -0.76601 | 1.7372 | 3.1666 | -3.7996e-11 | -2.0762e-11 | 106.1007 | 164.4762 | 61.2216 | -73.8672 | -15.4352 | -118.8774 |  | 1.1089 | 0.277 | 0.27096 | 1.2686 | 0 | 0 | 5.8113 | 150.046 | 123.3045 | -3.0266 | 0 | 0
Line_3 | 0.00070871 | 0.00070871 | 0.00070871 | 0.00070871 | 0.00070871 | 0.00070871 | 0.0081835 | 0.0081835 | 0.0081835 | 0.0081835 | 0.0081835 | 0.0081835 | -0.0042493 | 0.0020319 | 0.0022173 | -0.0042493 | 0.0020319 | 0.0022173 | -0.0080185 | 0.0010049 | -1.6549e-05 | -0.0080185 | 0.0010049 | -1.6549e-05 | 123.7322 | 123.7322 | 123.7322 | 123.7322 | 123.7322 | 123.7322 |  | 1.1089 | 0.277 | 0.27096 | 1.1089 | 0.277 | 0.27096 | 5.8113 | 150.046 | 123.3045 | 5.8113 | 150.046 | 123.3045

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45604 | 3.4148 | 2.871 | 0.45769 | 3.4154 | 2.8701 | 5.2659 | 39.4311 | 33.1514 | 5.2849 | 39.4374 | 33.1406 | 2.2392 | 16.1428 | 4.7843 | -2.2004 | -1.1642e-10 | -1.5324e-11 | 5.8357 | 5.7948 | 6.6742 | -6.3332 | -8.9608e-11 | -1.2345e-10 | -73.7901 | -166.1426 | 28.0304 | 106.1328 | 13.8853 | -151.9991 |  | 1.187 | 0.43497 | 0.24771 | 1.2686 | 0 | 0 | -4.7823 | -146.3959 | 82.3962 | -3.0266 | 0 | 0
Line_1 | 0.23051 | 0.96103 | 0.62837 | 0.22884 | 0.96026 | 0.6271 | 2.6617 | 11.097 | 7.2558 | 2.6424 | 11.0882 | 7.2411 | -0.52721 | 2.9769 | 0.92049 | 1.1002 | -1.6203e-11 | -1.7544e-11 | -2.9041 | -0.76601 | 1.7372 | 3.1666 | -3.7996e-11 | -2.0762e-11 | 106.1007 | 164.4762 | 61.2216 | -73.8672 | -15.4352 | -118.8774 |  | 1.1089 | 0.277 | 0.27096 | 1.2686 | 0 | 0 | 5.8113 | 150.046 | 123.3045 | -3.0266 | 0 | 0
Line_2 | 0.23051 | 0.96103 | 0.62837 | 0.22884 | 0.96026 | 0.6271 | 2.6617 | 11.097 | 7.2558 | 2.6424 | 11.0882 | 7.2411 | -0.52721 | 2.9769 | 0.92049 | 1.1002 | -1.6203e-11 | -1.7544e-11 | -2.9041 | -0.76601 | 1.7372 | 3.1666 | -3.7996e-11 | -2.0762e-11 | 106.1007 | 164.4762 | 61.2216 | -73.8672 | -15.4352 | -118.8774 |  | 1.1089 | 0.277 | 0.27096 | 1.2686 | 0 | 0 | 5.8113 | 150.046 | 123.3045 | -3.0266 | 0 | 0
Line_3 | 0.00070871 | 0.00070871 | 0.00070871 | 0.00070871 | 0.00070871 | 0.00070871 | 0.0081835 | 0.0081835 | 0.0081835 | 0.0081835 | 0.0081835 | 0.0081835 | -0.0042493 | 0.0020319 | 0.0022173 | -0.0042493 | 0.0020319 | 0.0022173 | -0.0080185 | 0.0010049 | -1.6549e-05 | -0.0080185 | 0.0010049 | -1.6549e-05 | 123.7322 | 123.7322 | 123.7322 | 123.7322 | 123.7322 | 123.7322 |  | 1.1089 | 0.277 | 0.27096 | 1.1089 | 0.277 | 0.27096 | 5.8113 | 150.046 | 123.3045 | 5.8113 | 150.046 | 123.3045

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1817 | 0.8408 | 0.74645 | 0.18227 | 0.84113 | 0.74592 | 2.0981 | 9.7087 | 8.6192 | 2.1046 | 9.7126 | 8.6132 | 0.87033 | 7.4915 | 3.7359 | -0.86673 | -6.4321 | -3.3923 | 2.0527 | 4.0228 | 5.7245 | -2.1233 | -3.79 | -5.1081 | -69.0588 | -151.3708 | 53.8156 | 110.8601 | 28.665 | -126.2102 |  | 1.0627 | 0.87584 | 0.79307 | 1.0897 | 0.76867 | 0.71192 | -2.0351 | -123.1361 | 110.6862 | -1.3456 | -120.8268 | 110.2011
Line_1 | 0.091719 | 0.2445 | 0.22853 | 0.091134 | 0.24426 | 0.22796 | 1.0591 | 2.8233 | 2.6388 | 1.0523 | 2.8205 | 2.6323 | -0.35021 | 0.95718 | 1.8756 | 0.43336 | -0.72291 | -1.6827 | -1.0331 | 1.9542 | 1.0105 | 1.0616 | -2.044 | -0.82483 | 110.8062 | 168.5241 | 84.1345 | -69.1399 | -11.349 | -95.9123 |  | 1.03 | 0.77074 | 0.80738 | 1.0897 | 0.76867 | 0.71192 | 2.08 | -127.5719 | 112.4484 | -1.3456 | -120.8268 | 110.2011
Line_2 | 0.091719 | 0.2445 | 0.22853 | 0.091134 | 0.24426 | 0.22796 | 1.0591 | 2.8233 | 2.6388 | 1.0523 | 2.8205 | 2.6323 | -0.35021 | 0.95718 | 1.8756 | 0.43336 | -0.72291 | -1.6827 | -1.0331 | 1.9542 | 1.0105 | 1.0616 | -2.044 | -0.82483 | 110.8062 | 168.5241 | 84.1345 | -69.1399 | -11.349 | -95.9123 |  | 1.03 | 0.77074 | 0.80738 | 1.0897 | 0.76867 | 0.71192 | 2.08 | -127.5719 | 112.4484 | -1.3456 | -120.8268 | 110.2011
Line_3 | 0.00025137 | 0.00025137 | 0.00025137 | 0.00025137 | 0.00025137 | 0.00025137 | 0.0029026 | 0.0029026 | 0.0029026 | 0.0029026 | 0.0029026 | 0.0029026 | -0.0016039 | -0.00068767 | 0.0022916 | -0.0016039 | -0.00068767 | 0.0022916 | -0.0025229 | 0.0021288 | -0.00049034 | -0.0025229 | 0.0021288 | -0.00049034 | 124.5261 | 124.5261 | 124.5261 | 124.5261 | 124.5261 | 124.5261 |  | 1.03 | 0.77074 | 0.80738 | 1.03 | 0.77074 | 0.80738 | 2.08 | -127.5719 | 112.4484 | 2.08 | -127.5719 | 112.4484

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1817 | 0.8408 | 0.74645 | 0.18227 | 0.84113 | 0.74592 | 2.0981 | 9.7087 | 8.6192 | 2.1046 | 9.7126 | 8.6132 | 0.87033 | 7.4915 | 3.7359 | -0.86673 | -6.4321 | -3.3923 | 2.0527 | 4.0228 | 5.7245 | -2.1233 | -3.79 | -5.1081 | -69.0588 | -151.3708 | 53.8156 | 110.8601 | 28.665 | -126.2102 |  | 1.0627 | 0.87584 | 0.79307 | 1.0897 | 0.76867 | 0.71192 | -2.0351 | -123.1361 | 110.6862 | -1.3456 | -120.8268 | 110.2011
Line_1 | 0.091719 | 0.2445 | 0.22853 | 0.091134 | 0.24426 | 0.22796 | 1.0591 | 2.8233 | 2.6388 | 1.0523 | 2.8205 | 2.6323 | -0.35021 | 0.95718 | 1.8756 | 0.43336 | -0.72291 | -1.6827 | -1.0331 | 1.9542 | 1.0105 | 1.0616 | -2.044 | -0.82483 | 110.8062 | 168.5241 | 84.1345 | -69.1399 | -11.349 | -95.9123 |  | 1.03 | 0.77074 | 0.80738 | 1.0897 | 0.76867 | 0.71192 | 2.08 | -127.5719 | 112.4484 | -1.3456 | -120.8268 | 110.2011
Line_2 | 0.091719 | 0.2445 | 0.22853 | 0.091134 | 0.24426 | 0.22796 | 1.0591 | 2.8233 | 2.6388 | 1.0523 | 2.8205 | 2.6323 | -0.35021 | 0.95718 | 1.8756 | 0.43336 | -0.72291 | -1.6827 | -1.0331 | 1.9542 | 1.0105 | 1.0616 | -2.044 | -0.82483 | 110.8062 | 168.5241 | 84.1345 | -69.1399 | -11.349 | -95.9123 |  | 1.03 | 0.77074 | 0.80738 | 1.0897 | 0.76867 | 0.71192 | 2.08 | -127.5719 | 112.4484 | -1.3456 | -120.8268 | 110.2011
Line_3 | 0.00025137 | 0.00025137 | 0.00025137 | 0.00025137 | 0.00025137 | 0.00025137 | 0.0029026 | 0.0029026 | 0.0029026 | 0.0029026 | 0.0029026 | 0.0029026 | -0.0016039 | -0.00068767 | 0.0022916 | -0.0016039 | -0.00068767 | 0.0022916 | -0.0025229 | 0.0021288 | -0.00049034 | -0.0025229 | 0.0021288 | -0.00049034 | 124.5261 | 124.5261 | 124.5261 | 124.5261 | 124.5261 | 124.5261 |  | 1.03 | 0.77074 | 0.80738 | 1.03 | 0.77074 | 0.80738 | 2.08 | -127.5719 | 112.4484 | 2.08 | -127.5719 | 112.4484