## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.7317e-14 | 30.1766 | -15.8685 | 4.1685e-14 | -23.0225 | 23.0225 | 5.2106e-15 | 3.131 | 13.1032 | -5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 6.8479e-13 | -161.8563 | 152.6723 | 7.2946e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.0843e-14 | 1.5632e-14 | -5.2106e-15 | 2.6053e-14 | -1.5632e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4101e-13 | -180 | 180 | 7.2946e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -3.1264e-14 | 1.5632e-14 | -1.0421e-14 | 3.6475e-14 | -2.6053e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4281e-13 | -180 | 180 | 7.2946e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.0421e-14 | -1.0421e-14 | -5.2106e-15 | -7.816e-15 | -1.2605e-25 | -5.2106e-15 | 5.2106e-15 | 5.2106e-15 | -5.2106e-15 | -1.8827e-25 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4101e-13 | -180 | 180 | 7.4281e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.7317e-14 | 30.1766 | -15.8685 | 4.1685e-14 | -23.0225 | 23.0225 | 5.2106e-15 | 3.131 | 13.1032 | -5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 6.8479e-13 | -161.8563 | 152.6723 | 7.2946e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.0843e-14 | 1.5632e-14 | -5.2106e-15 | 2.6053e-14 | -1.5632e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4101e-13 | -180 | 180 | 7.2946e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -3.1264e-14 | 1.5632e-14 | -1.0421e-14 | 3.6475e-14 | -2.6053e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4281e-13 | -180 | 180 | 7.2946e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.0421e-14 | -1.0421e-14 | -5.2106e-15 | -7.816e-15 | -1.2605e-25 | -5.2106e-15 | 5.2106e-15 | 5.2106e-15 | -5.2106e-15 | -1.8827e-25 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4101e-13 | -180 | 180 | 7.4281e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.8659e-14 | 19.0761 | -0.30087 | 2.8659e-14 | -17.4596 | 1.9173 | 1.5632e-14 | 3.9919 | 15.2185 | -1.5632e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.7044e-13 | -138.0936 | 121.2196 | 2.918e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.734e-10 | 1.0338e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 5.2106e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.9714e-13 | -142.8673 | 128.239 | 2.918e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 4.7339e-10 | 1.0338e-09 | -1.0421e-14 | -4.7339e-10 | -1.0338e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 5.2106e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.9966e-13 | -142.8673 | 128.239 | 2.918e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3511e-29 | 1.1469e-14 | 6.8893e-15 | -2.6053e-15 | -2.471e-15 | -5.8417e-15 | 2.6053e-15 | -1.5848e-15 | 1.4234e-15 | 2.6053e-15 | 3.2634e-15 | 7.4131e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.9714e-13 | -142.8673 | 128.239 | 2.9966e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.8659e-14 | 19.0761 | -0.30087 | 2.8659e-14 | -17.4596 | 1.9173 | 1.5632e-14 | 3.9919 | 15.2185 | -1.5632e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.7044e-13 | -138.0936 | 121.2196 | 2.918e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.734e-10 | 1.0338e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 5.2106e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.9714e-13 | -142.8673 | 128.239 | 2.918e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 4.7339e-10 | 1.0338e-09 | -1.0421e-14 | -4.7339e-10 | -1.0338e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 5.2106e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.9966e-13 | -142.8673 | 128.239 | 2.918e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3511e-29 | 1.1469e-14 | 6.8893e-15 | -2.6053e-15 | -2.471e-15 | -5.8417e-15 | 2.6053e-15 | -1.5848e-15 | 1.4234e-15 | 2.6053e-15 | 3.2634e-15 | 7.4131e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.9714e-13 | -142.8673 | 128.239 | 2.9966e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.3685e-15 | 26.5997 | -7.1734 | -1.4465e-28 | -16.8865 | 16.8865 | -9.4739e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 8.7466e-13 | -160.7833 | 141.207 | 8.7481e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -9.4738e-15 | 8.9955e-20 | 9.4739e-15 | 1.3027e-14 | 4.7369e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.4117e-13 | -180 | 180 | 8.7481e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -1.4211e-14 | -4.7369e-15 | 1.1842e-14 | 1.7764e-14 | 4.7369e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.4188e-13 | -180 | 180 | 8.7481e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 5.9212e-15 | 2.3685e-15 | -2.3685e-15 | -5.9212e-15 | 2.3685e-15 | 4.737e-15 | -1.4211e-14 | -9.4739e-15 | 4.737e-15 | -3.3482e-25 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.4117e-13 | -180 | 180 | 8.4188e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.3685e-15 | 26.5997 | -7.1734 | -1.4465e-28 | -16.8865 | 16.8865 | -9.4739e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 8.7466e-13 | -160.7833 | 141.207 | 8.7481e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -9.4738e-15 | 8.9955e-20 | 9.4739e-15 | 1.3027e-14 | 4.7369e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.4117e-13 | -180 | 180 | 8.7481e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -1.4211e-14 | -4.7369e-15 | 1.1842e-14 | 1.7764e-14 | 4.7369e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.4188e-13 | -180 | 180 | 8.7481e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 5.9212e-15 | 2.3685e-15 | -2.3685e-15 | -5.9212e-15 | 2.3685e-15 | 4.737e-15 | -1.4211e-14 | -9.4739e-15 | 4.737e-15 | -3.3482e-25 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.4117e-13 | -180 | 180 | 8.4188e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 5.9212e-16 | 15.3932 | 0.73601 | -5.9212e-16 | -13.0917 | 1.5655 | -9.4739e-15 | 2.3135 | 11.9328 | 7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.143e-13 | -138.1765 | 119.7467 | 4.2239e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.7981e-10 | 8.2616e-10 | 3.5527e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5326e-10 | 2.6191e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.0954e-13 | -142.5584 | 131.6989 | 4.2239e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.7981e-10 | 8.2616e-10 | 6.5133e-15 | -4.798e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5326e-10 | -7.1054e-15 | 1.0532e-09 | -4.5327e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.0916e-13 | -142.5584 | 131.6989 | 4.2239e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -7.0398e-16 | -1.9111e-15 | -3.5527e-15 | 3.9383e-15 | 2.3517e-16 | -4.737e-15 | -5.3905e-16 | -6.5373e-15 | 7.1054e-15 | -3.6849e-15 | 4.0772e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.0954e-13 | -142.5584 | 131.6989 | 4.0916e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 5.9212e-16 | 15.3932 | 0.73601 | -5.9212e-16 | -13.0917 | 1.5655 | -9.4739e-15 | 2.3135 | 11.9328 | 7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.143e-13 | -138.1765 | 119.7467 | 4.2239e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.7981e-10 | 8.2616e-10 | 3.5527e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5326e-10 | 2.6191e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.0954e-13 | -142.5584 | 131.6989 | 4.2239e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.7981e-10 | 8.2616e-10 | 6.5133e-15 | -4.798e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5326e-10 | -7.1054e-15 | 1.0532e-09 | -4.5327e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.0916e-13 | -142.5584 | 131.6989 | 4.2239e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -7.0398e-16 | -1.9111e-15 | -3.5527e-15 | 3.9383e-15 | 2.3517e-16 | -4.737e-15 | -5.3905e-16 | -6.5373e-15 | 7.1054e-15 | -3.6849e-15 | 4.0772e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.0954e-13 | -142.5584 | 131.6989 | 4.0916e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.246 | 0.017976 | 0.017976 | 1.2432 | 0.013736 | 0.013736 | 14.3879 | 0.20757 | 0.20757 | 14.3548 | 0.15861 | 0.15861 | 2.4828 | 0.20621 | -0.18684 | 1.8336e-11 | -0.15028 | 0.14981 | 1.3484 | -0.24355 | -0.28729 | -3.1912e-11 | 0.20219 | 0.23777 | -47.6994 | -96.3502 | -96.3502 | 132.4443 | 83.2372 | 83.2372 | 0.19637 | 1.5374 | 1.651 | 0 | 1.5883 | 1.7719 | -19.1927 | -146.0966 | 140.6122 | 0 | -150.1411 | 141.0237
Line_1 | 0.0022898 | 0.0022898 | 0.0022898 | 0.006868 | 0.006868 | 0.006868 | 0.026441 | 0.026441 | 0.026441 | 0.079305 | 0.079305 | 0.079305 | 3.8748e-05 | -0.025031 | 0.024992 | -1.9966e-13 | 0.075139 | -0.074906 | 1.5415e-05 | 0.033707 | 0.039666 | 3.8494e-14 | -0.10109 | -0.11889 | 83.2069 | 83.2069 | 83.2069 | -96.7628 | -96.7628 | -96.7628 | 0.0015772 | 1.5879 | 1.7731 | 0 | 1.5883 | 1.7719 | 104.9013 | -150.1961 | 140.9937 | 0 | -150.1411 | 141.0237
Line_2 | 0.0022898 | 0.0022898 | 0.0022898 | 0.006868 | 0.006868 | 0.006868 | 0.026441 | 0.026441 | 0.026441 | 0.079305 | 0.079305 | 0.079305 | 3.8748e-05 | -0.025031 | 0.024992 | -1.9966e-13 | 0.075139 | -0.074906 | 1.5415e-05 | 0.033707 | 0.039666 | 3.8494e-14 | -0.10109 | -0.11889 | 83.2069 | 83.2069 | 83.2069 | -96.7628 | -96.7628 | -96.7628 | 0.0015772 | 1.5879 | 1.7731 | 0 | 1.5883 | 1.7719 | 104.9013 | -150.1961 | 140.9937 | 0 | -150.1411 | 141.0237
Line_3 | 0.0022898 | 0.0022898 | 0.0022898 | 0.0022898 | 0.0022898 | 0.0022898 | 0.026441 | 0.026441 | 0.026441 | 0.026441 | 0.026441 | 0.026441 | -3.8748e-05 | 0.025031 | -0.024992 | -3.8748e-05 | 0.025031 | -0.024992 | -1.5415e-05 | -0.033707 | -0.039666 | -1.5415e-05 | -0.033707 | -0.039666 | -96.7931 | -96.7931 | -96.7931 | -96.7931 | -96.7931 | -96.7931 | 0.0015772 | 1.5879 | 1.7731 | 0.0015772 | 1.5879 | 1.7731 | 104.9013 | -150.1961 | 140.9937 | 104.9013 | -150.1961 | 140.9937

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.246 | 0.017976 | 0.017976 | 1.2432 | 0.013736 | 0.013736 | 14.3879 | 0.20757 | 0.20757 | 14.3548 | 0.15861 | 0.15861 | 2.4828 | 0.20621 | -0.18684 | 1.8336e-11 | -0.15028 | 0.14981 | 1.3484 | -0.24355 | -0.28729 | -3.1912e-11 | 0.20219 | 0.23777 | -47.6994 | -96.3502 | -96.3502 | 132.4443 | 83.2372 | 83.2372 | 0.19637 | 1.5374 | 1.651 | 0 | 1.5883 | 1.7719 | -19.1927 | -146.0966 | 140.6122 | 0 | -150.1411 | 141.0237
Line_1 | 0.0022898 | 0.0022898 | 0.0022898 | 0.006868 | 0.006868 | 0.006868 | 0.026441 | 0.026441 | 0.026441 | 0.079305 | 0.079305 | 0.079305 | 3.8748e-05 | -0.025031 | 0.024992 | -1.9966e-13 | 0.075139 | -0.074906 | 1.5415e-05 | 0.033707 | 0.039666 | 3.8494e-14 | -0.10109 | -0.11889 | 83.2069 | 83.2069 | 83.2069 | -96.7628 | -96.7628 | -96.7628 | 0.0015772 | 1.5879 | 1.7731 | 0 | 1.5883 | 1.7719 | 104.9013 | -150.1961 | 140.9937 | 0 | -150.1411 | 141.0237
Line_2 | 0.0022898 | 0.0022898 | 0.0022898 | 0.006868 | 0.006868 | 0.006868 | 0.026441 | 0.026441 | 0.026441 | 0.079305 | 0.079305 | 0.079305 | 3.8748e-05 | -0.025031 | 0.024992 | -1.9966e-13 | 0.075139 | -0.074906 | 1.5415e-05 | 0.033707 | 0.039666 | 3.8494e-14 | -0.10109 | -0.11889 | 83.2069 | 83.2069 | 83.2069 | -96.7628 | -96.7628 | -96.7628 | 0.0015772 | 1.5879 | 1.7731 | 0 | 1.5883 | 1.7719 | 104.9013 | -150.1961 | 140.9937 | 0 | -150.1411 | 141.0237
Line_3 | 0.0022898 | 0.0022898 | 0.0022898 | 0.0022898 | 0.0022898 | 0.0022898 | 0.026441 | 0.026441 | 0.026441 | 0.026441 | 0.026441 | 0.026441 | -3.8748e-05 | 0.025031 | -0.024992 | -3.8748e-05 | 0.025031 | -0.024992 | -1.5415e-05 | -0.033707 | -0.039666 | -1.5415e-05 | -0.033707 | -0.039666 | -96.7931 | -96.7931 | -96.7931 | -96.7931 | -96.7931 | -96.7931 | 0.0015772 | 1.5879 | 1.7731 | 0.0015772 | 1.5879 | 1.7731 | 104.9013 | -150.1961 | 140.9937 | 104.9013 | -150.1961 | 140.9937

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73868 | 0.010657 | 0.010657 | 0.73698 | 0.0081431 | 0.0081431 | 8.5296 | 0.12305 | 0.12305 | 8.5099 | 0.094028 | 0.094028 | 3.5453 | 0.12214 | -0.11122 | -2.6734 | -0.090901 | 0.087292 | 3.2057 | -0.10952 | -0.13202 | -2.7188 | 0.08907 | 0.10754 | -46.8552 | -95.506 | -95.506 | 133.2885 | 84.0814 | 84.0814 | 0.56037 | 1.3332 | 1.4029 | 0.44806 | 1.3535 | 1.4731 | -4.7348 | -137.3884 | 134.3808 | -1.2287 | -140.3357 | 135.0151
Line_1 | 0.0013575 | 0.0013575 | 0.0013575 | 0.0040715 | 0.0040715 | 0.0040715 | 0.015675 | 0.015675 | 0.015675 | 0.047014 | 0.047014 | 0.047014 | 0.00059156 | -0.015148 | 0.014556 | -0.0017224 | 0.04545 | -0.043646 | -0.006994 | 0.014845 | 0.017941 | 0.020995 | -0.044535 | -0.053771 | 84.0511 | 84.0511 | 84.0511 | -95.9186 | -95.9186 | -95.9186 | 0.44779 | 1.3531 | 1.4739 | 0.44806 | 1.3535 | 1.4731 | -1.1143 | -140.3719 | 134.9973 | -1.2287 | -140.3357 | 135.0151
Line_2 | 0.0013575 | 0.0013575 | 0.0013575 | 0.0040715 | 0.0040715 | 0.0040715 | 0.015675 | 0.015675 | 0.015675 | 0.047014 | 0.047014 | 0.047014 | 0.00059156 | -0.015148 | 0.014556 | -0.0017224 | 0.04545 | -0.043646 | -0.006994 | 0.014845 | 0.017941 | 0.020995 | -0.044535 | -0.053771 | 84.0511 | 84.0511 | 84.0511 | -95.9186 | -95.9186 | -95.9186 | 0.44779 | 1.3531 | 1.4739 | 0.44806 | 1.3535 | 1.4731 | -1.1143 | -140.3719 | 134.9973 | -1.2287 | -140.3357 | 135.0151
Line_3 | 0.0013575 | 0.0013575 | 0.0013575 | 0.0013575 | 0.0013575 | 0.0013575 | 0.015675 | 0.015675 | 0.015675 | 0.015675 | 0.015675 | 0.015675 | -0.00059156 | 0.015147 | -0.014556 | -0.00059156 | 0.015147 | -0.014556 | 0.006994 | -0.014845 | -0.017941 | 0.006994 | -0.014845 | -0.017941 | -95.9489 | -95.9489 | -95.9489 | -95.9489 | -95.9489 | -95.9489 | 0.44779 | 1.3531 | 1.4739 | 0.44779 | 1.3531 | 1.4739 | -1.1143 | -140.3719 | 134.9973 | -1.1143 | -140.3719 | 134.9973

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73868 | 0.010657 | 0.010657 | 0.73698 | 0.0081431 | 0.0081431 | 8.5296 | 0.12305 | 0.12305 | 8.5099 | 0.094028 | 0.094028 | 3.5453 | 0.12214 | -0.11122 | -2.6734 | -0.090901 | 0.087292 | 3.2057 | -0.10952 | -0.13202 | -2.7188 | 0.08907 | 0.10754 | -46.8552 | -95.506 | -95.506 | 133.2885 | 84.0814 | 84.0814 | 0.56037 | 1.3332 | 1.4029 | 0.44806 | 1.3535 | 1.4731 | -4.7348 | -137.3884 | 134.3808 | -1.2287 | -140.3357 | 135.0151
Line_1 | 0.0013575 | 0.0013575 | 0.0013575 | 0.0040715 | 0.0040715 | 0.0040715 | 0.015675 | 0.015675 | 0.015675 | 0.047014 | 0.047014 | 0.047014 | 0.00059156 | -0.015148 | 0.014556 | -0.0017224 | 0.04545 | -0.043646 | -0.006994 | 0.014845 | 0.017941 | 0.020995 | -0.044535 | -0.053771 | 84.0511 | 84.0511 | 84.0511 | -95.9186 | -95.9186 | -95.9186 | 0.44779 | 1.3531 | 1.4739 | 0.44806 | 1.3535 | 1.4731 | -1.1143 | -140.3719 | 134.9973 | -1.2287 | -140.3357 | 135.0151
Line_2 | 0.0013575 | 0.0013575 | 0.0013575 | 0.0040715 | 0.0040715 | 0.0040715 | 0.015675 | 0.015675 | 0.015675 | 0.047014 | 0.047014 | 0.047014 | 0.00059156 | -0.015148 | 0.014556 | -0.0017224 | 0.04545 | -0.043646 | -0.006994 | 0.014845 | 0.017941 | 0.020995 | -0.044535 | -0.053771 | 84.0511 | 84.0511 | 84.0511 | -95.9186 | -95.9186 | -95.9186 | 0.44779 | 1.3531 | 1.4739 | 0.44806 | 1.3535 | 1.4731 | -1.1143 | -140.3719 | 134.9973 | -1.2287 | -140.3357 | 135.0151
Line_3 | 0.0013575 | 0.0013575 | 0.0013575 | 0.0013575 | 0.0013575 | 0.0013575 | 0.015675 | 0.015675 | 0.015675 | 0.015675 | 0.015675 | 0.015675 | -0.00059156 | 0.015147 | -0.014556 | -0.00059156 | 0.015147 | -0.014556 | 0.006994 | -0.014845 | -0.017941 | 0.006994 | -0.014845 | -0.017941 | -95.9489 | -95.9489 | -95.9489 | -95.9489 | -95.9489 | -95.9489 | 0.44779 | 1.3531 | 1.4739 | 0.44779 | 1.3531 | 1.4739 | -1.1143 | -140.3719 | 134.9973 | -1.1143 | -140.3719 | 134.9973

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0246 | 0.016135 | 0.016135 | 1.0222 | 0.012466 | 0.012466 | 11.8308 | 0.18631 | 0.18631 | 11.8037 | 0.14394 | 0.14394 | 3.2193 | 0.17505 | -0.14625 | -1.3388e-11 | -0.1243 | 0.12356 | 0.88601 | -0.18946 | -0.21945 | 1.4727e-12 | 0.16774 | 0.19461 | -42.2133 | -95.3321 | -95.3321 | 137.945 | 83.8128 | 83.8128 | 0.28223 | 1.3845 | 1.4155 | 0 | 1.4504 | 1.6015 | -26.8257 | -142.5969 | 140.9868 | 0 | -149.6479 | 141.4002
Line_1 | 0.002078 | 0.002078 | 0.002078 | 0.0062328 | 0.0062328 | 0.0062328 | 0.023995 | 0.023995 | 0.023995 | 0.07197 | 0.07197 | 0.07197 | 6.1271e-05 | -0.020688 | 0.020626 | 5.5107e-14 | 0.062149 | -0.061781 | 1.2696e-05 | 0.027954 | 0.032475 | 6.0892e-14 | -0.083869 | -0.097304 | 83.7547 | 83.7547 | 83.7547 | -96.1872 | -96.1872 | -96.1872 | 0.0026077 | 1.4493 | 1.6033 | 0 | 1.4504 | 1.6015 | 95.4611 | -149.7414 | 141.3332 | 0 | -149.6479 | 141.4002
Line_2 | 0.002078 | 0.002078 | 0.002078 | 0.0062328 | 0.0062328 | 0.0062328 | 0.023995 | 0.023995 | 0.023995 | 0.07197 | 0.07197 | 0.07197 | 6.1271e-05 | -0.020688 | 0.020626 | 5.5107e-14 | 0.062149 | -0.061781 | 1.2696e-05 | 0.027954 | 0.032475 | 6.0892e-14 | -0.083869 | -0.097304 | 83.7547 | 83.7547 | 83.7547 | -96.1872 | -96.1872 | -96.1872 | 0.0026077 | 1.4493 | 1.6033 | 0 | 1.4504 | 1.6015 | 95.4611 | -149.7414 | 141.3332 | 0 | -149.6479 | 141.4002
Line_3 | 0.002078 | 0.002078 | 0.002078 | 0.002078 | 0.002078 | 0.002078 | 0.023995 | 0.023995 | 0.023995 | 0.023995 | 0.023995 | 0.023995 | -6.1271e-05 | 0.020688 | -0.020626 | -6.1271e-05 | 0.020688 | -0.020626 | -1.2696e-05 | -0.027954 | -0.032475 | -1.2696e-05 | -0.027954 | -0.032475 | -96.2453 | -96.2453 | -96.2453 | -96.2453 | -96.2453 | -96.2453 | 0.0026077 | 1.4493 | 1.6033 | 0.0026077 | 1.4493 | 1.6033 | 95.4611 | -149.7414 | 141.3332 | 95.4611 | -149.7414 | 141.3332

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0246 | 0.016135 | 0.016135 | 1.0222 | 0.012466 | 0.012466 | 11.8308 | 0.18631 | 0.18631 | 11.8037 | 0.14394 | 0.14394 | 3.2193 | 0.17505 | -0.14625 | -1.3388e-11 | -0.1243 | 0.12356 | 0.88601 | -0.18946 | -0.21945 | 1.4727e-12 | 0.16774 | 0.19461 | -42.2133 | -95.3321 | -95.3321 | 137.945 | 83.8128 | 83.8128 | 0.28223 | 1.3845 | 1.4155 | 0 | 1.4504 | 1.6015 | -26.8257 | -142.5969 | 140.9868 | 0 | -149.6479 | 141.4002
Line_1 | 0.002078 | 0.002078 | 0.002078 | 0.0062328 | 0.0062328 | 0.0062328 | 0.023995 | 0.023995 | 0.023995 | 0.07197 | 0.07197 | 0.07197 | 6.1271e-05 | -0.020688 | 0.020626 | 5.5107e-14 | 0.062149 | -0.061781 | 1.2696e-05 | 0.027954 | 0.032475 | 6.0892e-14 | -0.083869 | -0.097304 | 83.7547 | 83.7547 | 83.7547 | -96.1872 | -96.1872 | -96.1872 | 0.0026077 | 1.4493 | 1.6033 | 0 | 1.4504 | 1.6015 | 95.4611 | -149.7414 | 141.3332 | 0 | -149.6479 | 141.4002
Line_2 | 0.002078 | 0.002078 | 0.002078 | 0.0062328 | 0.0062328 | 0.0062328 | 0.023995 | 0.023995 | 0.023995 | 0.07197 | 0.07197 | 0.07197 | 6.1271e-05 | -0.020688 | 0.020626 | 5.5107e-14 | 0.062149 | -0.061781 | 1.2696e-05 | 0.027954 | 0.032475 | 6.0892e-14 | -0.083869 | -0.097304 | 83.7547 | 83.7547 | 83.7547 | -96.1872 | -96.1872 | -96.1872 | 0.0026077 | 1.4493 | 1.6033 | 0 | 1.4504 | 1.6015 | 95.4611 | -149.7414 | 141.3332 | 0 | -149.6479 | 141.4002
Line_3 | 0.002078 | 0.002078 | 0.002078 | 0.002078 | 0.002078 | 0.002078 | 0.023995 | 0.023995 | 0.023995 | 0.023995 | 0.023995 | 0.023995 | -6.1271e-05 | 0.020688 | -0.020626 | -6.1271e-05 | 0.020688 | -0.020626 | -1.2696e-05 | -0.027954 | -0.032475 | -1.2696e-05 | -0.027954 | -0.032475 | -96.2453 | -96.2453 | -96.2453 | -96.2453 | -96.2453 | -96.2453 | 0.0026077 | 1.4493 | 1.6033 | 0.0026077 | 1.4493 | 1.6033 | 95.4611 | -149.7414 | 141.3332 | 95.4611 | -149.7414 | 141.3332

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63213 | 0.0099548 | 0.0099548 | 0.63068 | 0.007691 | 0.007691 | 7.2992 | 0.11495 | 0.11495 | 7.2825 | 0.088807 | 0.088807 | 3.1794 | 0.10774 | -0.090001 | -1.955 | -0.079255 | 0.073236 | 2.3415 | -0.088027 | -0.11118 | -1.9943 | 0.075664 | 0.095833 | -43.5606 | -96.6793 | -96.6793 | 136.5977 | 82.4655 | 82.4655 | 0.54095 | 1.2104 | 1.2444 | 0.38347 | 1.2338 | 1.3581 | -7.19 | -135.9286 | 134.3311 | 2.168 | -141.2065 | 135.0784
Line_1 | 0.0012821 | 0.0012821 | 0.0012821 | 0.0038455 | 0.0038455 | 0.0038455 | 0.014804 | 0.014804 | 0.014804 | 0.044404 | 0.044404 | 0.044404 | 0.00098576 | -0.013201 | 0.012216 | -0.0028697 | 0.039628 | -0.036618 | -0.0055901 | 0.012605 | 0.015993 | 0.016784 | -0.037832 | -0.047917 | 82.4074 | 82.4074 | 82.4074 | -97.5345 | -97.5345 | -97.5345 | 0.38342 | 1.2329 | 1.3594 | 0.38347 | 1.2338 | 1.3581 | 2.4082 | -141.268 | 135.0339 | 2.168 | -141.2065 | 135.0784
Line_2 | 0.0012821 | 0.0012821 | 0.0012821 | 0.0038455 | 0.0038455 | 0.0038455 | 0.014804 | 0.014804 | 0.014804 | 0.044404 | 0.044404 | 0.044404 | 0.00098576 | -0.013201 | 0.012216 | -0.0028697 | 0.039628 | -0.036618 | -0.0055901 | 0.012605 | 0.015993 | 0.016784 | -0.037832 | -0.047917 | 82.4074 | 82.4074 | 82.4074 | -97.5345 | -97.5345 | -97.5345 | 0.38342 | 1.2329 | 1.3594 | 0.38347 | 1.2338 | 1.3581 | 2.4082 | -141.268 | 135.0339 | 2.168 | -141.2065 | 135.0784
Line_3 | 0.0012821 | 0.0012821 | 0.0012821 | 0.0012821 | 0.0012821 | 0.0012821 | 0.014804 | 0.014804 | 0.014804 | 0.014804 | 0.014804 | 0.014804 | -0.00098576 | 0.013201 | -0.012216 | -0.00098576 | 0.013201 | -0.012216 | 0.0055901 | -0.012605 | -0.015993 | 0.0055901 | -0.012605 | -0.015993 | -97.5926 | -97.5926 | -97.5926 | -97.5926 | -97.5926 | -97.5926 | 0.38342 | 1.2329 | 1.3594 | 0.38342 | 1.2329 | 1.3594 | 2.4082 | -141.268 | 135.0339 | 2.4082 | -141.268 | 135.0339

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63213 | 0.0099548 | 0.0099548 | 0.63068 | 0.007691 | 0.007691 | 7.2992 | 0.11495 | 0.11495 | 7.2825 | 0.088807 | 0.088807 | 3.1794 | 0.10774 | -0.090001 | -1.955 | -0.079255 | 0.073236 | 2.3415 | -0.088027 | -0.11118 | -1.9943 | 0.075664 | 0.095833 | -43.5606 | -96.6793 | -96.6793 | 136.5977 | 82.4655 | 82.4655 | 0.54095 | 1.2104 | 1.2444 | 0.38347 | 1.2338 | 1.3581 | -7.19 | -135.9286 | 134.3311 | 2.168 | -141.2065 | 135.0784
Line_1 | 0.0012821 | 0.0012821 | 0.0012821 | 0.0038455 | 0.0038455 | 0.0038455 | 0.014804 | 0.014804 | 0.014804 | 0.044404 | 0.044404 | 0.044404 | 0.00098576 | -0.013201 | 0.012216 | -0.0028697 | 0.039628 | -0.036618 | -0.0055901 | 0.012605 | 0.015993 | 0.016784 | -0.037832 | -0.047917 | 82.4074 | 82.4074 | 82.4074 | -97.5345 | -97.5345 | -97.5345 | 0.38342 | 1.2329 | 1.3594 | 0.38347 | 1.2338 | 1.3581 | 2.4082 | -141.268 | 135.0339 | 2.168 | -141.2065 | 135.0784
Line_2 | 0.0012821 | 0.0012821 | 0.0012821 | 0.0038455 | 0.0038455 | 0.0038455 | 0.014804 | 0.014804 | 0.014804 | 0.044404 | 0.044404 | 0.044404 | 0.00098576 | -0.013201 | 0.012216 | -0.0028697 | 0.039628 | -0.036618 | -0.0055901 | 0.012605 | 0.015993 | 0.016784 | -0.037832 | -0.047917 | 82.4074 | 82.4074 | 82.4074 | -97.5345 | -97.5345 | -97.5345 | 0.38342 | 1.2329 | 1.3594 | 0.38347 | 1.2338 | 1.3581 | 2.4082 | -141.268 | 135.0339 | 2.168 | -141.2065 | 135.0784
Line_3 | 0.0012821 | 0.0012821 | 0.0012821 | 0.0012821 | 0.0012821 | 0.0012821 | 0.014804 | 0.014804 | 0.014804 | 0.014804 | 0.014804 | 0.014804 | -0.00098576 | 0.013201 | -0.012216 | -0.00098576 | 0.013201 | -0.012216 | 0.0055901 | -0.012605 | -0.015993 | 0.0055901 | -0.012605 | -0.015993 | -97.5926 | -97.5926 | -97.5926 | -97.5926 | -97.5926 | -97.5926 | 0.38342 | 1.2329 | 1.3594 | 0.38342 | 1.2329 | 1.3594 | 2.4082 | -141.268 | 135.0339 | 2.4082 | -141.268 | 135.0339

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010223 | 3.9217 | 3.5202 | 0.0078117 | 3.9221 | 3.5195 | 0.11804 | 45.2841 | 40.6476 | 0.090201 | 45.288 | 40.6394 | 0.00256 | 10.4928 | 4.4939 | -0.00015039 | 8.653e-11 | 8.5564e-11 | -0.17895 | 7.2394 | 9.2928 | 0.14229 | -5.345e-11 | 2.899e-11 | 88.4503 | -172.1029 | 17.0374 | -91.9623 | 7.932 | -163.0001 | 1.5161 | 0.28151 | 0.25395 | 1.5775 | 0 | 0 | -0.73007 | -137.4995 | 81.2295 | -1.9018 | 0 | 0
Line_1 | 0.0013022 | 0.0013022 | 0.0013022 | 0.0039058 | 0.0039058 | 0.0039058 | 0.015037 | 0.015037 | 0.015037 | 0.045101 | 0.045101 | 0.045101 | -2.5066e-05 | 1.2532e-05 | 1.2532e-05 | 7.5193e-05 | -3.763e-14 | -6.1282e-14 | 0.023725 | 4.9855e-06 | 4.9855e-06 | -0.071146 | -9.4036e-14 | 7.935e-14 | -91.9926 | -91.9926 | -91.9926 | 88.0377 | 88.0377 | 88.0377 | 1.5778 | 0.00089694 | 0.00089694 | 1.5775 | 0 | 0 | -1.9321 | -70.2982 | -70.2982 | -1.9018 | 0 | 0
Line_2 | 0.0013022 | 0.0013022 | 0.0013022 | 0.0039058 | 0.0039058 | 0.0039058 | 0.015037 | 0.015037 | 0.015037 | 0.045101 | 0.045101 | 0.045101 | -2.5066e-05 | 1.2532e-05 | 1.2532e-05 | 7.5193e-05 | -3.763e-14 | -6.1282e-14 | 0.023725 | 4.9855e-06 | 4.9855e-06 | -0.071146 | -9.4036e-14 | 7.935e-14 | -91.9926 | -91.9926 | -91.9926 | 88.0377 | 88.0377 | 88.0377 | 1.5778 | 0.00089694 | 0.00089694 | 1.5775 | 0 | 0 | -1.9321 | -70.2982 | -70.2982 | -1.9018 | 0 | 0
Line_3 | 0.0013022 | 0.0013022 | 0.0013022 | 0.0013022 | 0.0013022 | 0.0013022 | 0.015037 | 0.015037 | 0.015037 | 0.015037 | 0.015037 | 0.015037 | 2.5063e-05 | -1.2532e-05 | -1.2532e-05 | 2.5063e-05 | -1.2532e-05 | -1.2532e-05 | -0.023725 | -4.9855e-06 | -4.9855e-06 | -0.023725 | -4.9855e-06 | -4.9855e-06 | 88.0074 | 88.0074 | 88.0074 | 88.0074 | 88.0074 | 88.0074 | 1.5778 | 0.00089694 | 0.00089694 | 1.5778 | 0.00089694 | 0.00089694 | -1.9321 | -70.2982 | -70.2982 | -1.9321 | -70.2982 | -70.2982

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010223 | 3.9217 | 3.5202 | 0.0078117 | 3.9221 | 3.5195 | 0.11804 | 45.2841 | 40.6476 | 0.090201 | 45.288 | 40.6394 | 0.00256 | 10.4928 | 4.4939 | -0.00015039 | 8.653e-11 | 8.5564e-11 | -0.17895 | 7.2394 | 9.2928 | 0.14229 | -5.345e-11 | 2.899e-11 | 88.4503 | -172.1029 | 17.0374 | -91.9623 | 7.932 | -163.0001 | 1.5161 | 0.28151 | 0.25395 | 1.5775 | 0 | 0 | -0.73007 | -137.4995 | 81.2295 | -1.9018 | 0 | 0
Line_1 | 0.0013022 | 0.0013022 | 0.0013022 | 0.0039058 | 0.0039058 | 0.0039058 | 0.015037 | 0.015037 | 0.015037 | 0.045101 | 0.045101 | 0.045101 | -2.5066e-05 | 1.2532e-05 | 1.2532e-05 | 7.5193e-05 | -3.763e-14 | -6.1282e-14 | 0.023725 | 4.9855e-06 | 4.9855e-06 | -0.071146 | -9.4036e-14 | 7.935e-14 | -91.9926 | -91.9926 | -91.9926 | 88.0377 | 88.0377 | 88.0377 | 1.5778 | 0.00089694 | 0.00089694 | 1.5775 | 0 | 0 | -1.9321 | -70.2982 | -70.2982 | -1.9018 | 0 | 0
Line_2 | 0.0013022 | 0.0013022 | 0.0013022 | 0.0039058 | 0.0039058 | 0.0039058 | 0.015037 | 0.015037 | 0.015037 | 0.045101 | 0.045101 | 0.045101 | -2.5066e-05 | 1.2532e-05 | 1.2532e-05 | 7.5193e-05 | -3.763e-14 | -6.1282e-14 | 0.023725 | 4.9855e-06 | 4.9855e-06 | -0.071146 | -9.4036e-14 | 7.935e-14 | -91.9926 | -91.9926 | -91.9926 | 88.0377 | 88.0377 | 88.0377 | 1.5778 | 0.00089694 | 0.00089694 | 1.5775 | 0 | 0 | -1.9321 | -70.2982 | -70.2982 | -1.9018 | 0 | 0
Line_3 | 0.0013022 | 0.0013022 | 0.0013022 | 0.0013022 | 0.0013022 | 0.0013022 | 0.015037 | 0.015037 | 0.015037 | 0.015037 | 0.015037 | 0.015037 | 2.5063e-05 | -1.2532e-05 | -1.2532e-05 | 2.5063e-05 | -1.2532e-05 | -1.2532e-05 | -0.023725 | -4.9855e-06 | -4.9855e-06 | -0.023725 | -4.9855e-06 | -4.9855e-06 | 88.0074 | 88.0074 | 88.0074 | 88.0074 | 88.0074 | 88.0074 | 1.5778 | 0.00089694 | 0.00089694 | 1.5778 | 0.00089694 | 0.00089694 | -1.9321 | -70.2982 | -70.2982 | -1.9321 | -70.2982 | -70.2982

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073523 | 1.2068 | 1.1175 | 0.0056181 | 1.2076 | 1.1162 | 0.084897 | 13.9355 | 12.9037 | 0.064873 | 13.9438 | 12.8885 | 0.0032815 | 8.4358 | 6.7528 | -0.0017175 | -7.2756 | -6.2244 | -0.11873 | 7.6567 | 7.5433 | 0.093587 | -7.3365 | -6.1852 | 87.684 | -156.6383 | 48.5637 | -92.7286 | 23.4367 | -131.4941 | 1.3991 | 0.81751 | 0.7846 | 1.4429 | 0.741 | 0.68084 | -0.73279 | -114.41 | 96.7285 | -1.6773 | -111.3246 | 93.3246
Line_1 | 0.00093655 | 0.00093655 | 0.00093655 | 0.0028091 | 0.0028091 | 0.0028091 | 0.010814 | 0.010814 | 0.010814 | 0.032436 | 0.032436 | 0.032436 | -0.00028807 | 0.007603 | -0.0073149 | 0.00085874 | -0.022781 | 0.021961 | 0.015604 | -0.0025489 | -0.00077772 | -0.046794 | 0.0076647 | 0.0023288 | -92.7589 | -92.7589 | -92.7589 | 87.2714 | 87.2714 | 87.2714 | 1.4431 | 0.7415 | 0.68022 | 1.4429 | 0.741 | 0.68084 | -1.7012 | -111.2923 | 93.31 | -1.6773 | -111.3246 | 93.3246
Line_2 | 0.00093655 | 0.00093655 | 0.00093655 | 0.0028091 | 0.0028091 | 0.0028091 | 0.010814 | 0.010814 | 0.010814 | 0.032436 | 0.032436 | 0.032436 | -0.00028807 | 0.007603 | -0.0073149 | 0.00085874 | -0.022781 | 0.021961 | 0.015604 | -0.0025489 | -0.00077772 | -0.046794 | 0.0076647 | 0.0023288 | -92.7589 | -92.7589 | -92.7589 | 87.2714 | 87.2714 | 87.2714 | 1.4431 | 0.7415 | 0.68022 | 1.4429 | 0.741 | 0.68084 | -1.7012 | -111.2923 | 93.31 | -1.6773 | -111.3246 | 93.3246
Line_3 | 0.00093655 | 0.00093655 | 0.00093655 | 0.00093655 | 0.00093655 | 0.00093655 | 0.010814 | 0.010814 | 0.010814 | 0.010814 | 0.010814 | 0.010814 | 0.00028806 | -0.007603 | 0.0073149 | 0.00028806 | -0.007603 | 0.0073149 | -0.015604 | 0.0025489 | 0.00077772 | -0.015604 | 0.0025489 | 0.00077772 | 87.2411 | 87.2411 | 87.2411 | 87.2411 | 87.2411 | 87.2411 | 1.4431 | 0.7415 | 0.68022 | 1.4431 | 0.7415 | 0.68022 | -1.7012 | -111.2923 | 93.31 | -1.7012 | -111.2923 | 93.31

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073523 | 1.2068 | 1.1175 | 0.0056181 | 1.2076 | 1.1162 | 0.084897 | 13.9355 | 12.9037 | 0.064873 | 13.9438 | 12.8885 | 0.0032815 | 8.4358 | 6.7528 | -0.0017175 | -7.2756 | -6.2244 | -0.11873 | 7.6567 | 7.5433 | 0.093587 | -7.3365 | -6.1852 | 87.684 | -156.6383 | 48.5637 | -92.7286 | 23.4367 | -131.4941 | 1.3991 | 0.81751 | 0.7846 | 1.4429 | 0.741 | 0.68084 | -0.73279 | -114.41 | 96.7285 | -1.6773 | -111.3246 | 93.3246
Line_1 | 0.00093655 | 0.00093655 | 0.00093655 | 0.0028091 | 0.0028091 | 0.0028091 | 0.010814 | 0.010814 | 0.010814 | 0.032436 | 0.032436 | 0.032436 | -0.00028807 | 0.007603 | -0.0073149 | 0.00085874 | -0.022781 | 0.021961 | 0.015604 | -0.0025489 | -0.00077772 | -0.046794 | 0.0076647 | 0.0023288 | -92.7589 | -92.7589 | -92.7589 | 87.2714 | 87.2714 | 87.2714 | 1.4431 | 0.7415 | 0.68022 | 1.4429 | 0.741 | 0.68084 | -1.7012 | -111.2923 | 93.31 | -1.6773 | -111.3246 | 93.3246
Line_2 | 0.00093655 | 0.00093655 | 0.00093655 | 0.0028091 | 0.0028091 | 0.0028091 | 0.010814 | 0.010814 | 0.010814 | 0.032436 | 0.032436 | 0.032436 | -0.00028807 | 0.007603 | -0.0073149 | 0.00085874 | -0.022781 | 0.021961 | 0.015604 | -0.0025489 | -0.00077772 | -0.046794 | 0.0076647 | 0.0023288 | -92.7589 | -92.7589 | -92.7589 | 87.2714 | 87.2714 | 87.2714 | 1.4431 | 0.7415 | 0.68022 | 1.4429 | 0.741 | 0.68084 | -1.7012 | -111.2923 | 93.31 | -1.6773 | -111.3246 | 93.3246
Line_3 | 0.00093655 | 0.00093655 | 0.00093655 | 0.00093655 | 0.00093655 | 0.00093655 | 0.010814 | 0.010814 | 0.010814 | 0.010814 | 0.010814 | 0.010814 | 0.00028806 | -0.007603 | 0.0073149 | 0.00028806 | -0.007603 | 0.0073149 | -0.015604 | 0.0025489 | 0.00077772 | -0.015604 | 0.0025489 | 0.00077772 | 87.2411 | 87.2411 | 87.2411 | 87.2411 | 87.2411 | 87.2411 | 1.4431 | 0.7415 | 0.68022 | 1.4431 | 0.7415 | 0.68022 | -1.7012 | -111.2923 | 93.31 | -1.7012 | -111.2923 | 93.31

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.009185 | 3.2808 | 2.9778 | 0.0070962 | 3.2813 | 2.9769 | 0.10606 | 37.8836 | 34.3841 | 0.08194 | 37.8894 | 34.3746 | 0.0036859 | 13.4769 | 6.8316 | -0.00023827 | -1.4234e-10 | 1.977e-11 | -0.14224 | 3.4444 | 8.2338 | 0.11742 | -1.4583e-10 | -1.8448e-10 | 89.0139 | -164.0796 | 25.1845 | -91.8413 | 15.9559 | -154.8525 | 1.3416 | 0.36718 | 0.31116 | 1.433 | 0 | 0 | 0.49822 | -149.7429 | 75.502 | -1.725 | 0 | 0
Line_1 | 0.001183 | 0.001183 | 0.001183 | 0.0035481 | 0.0035481 | 0.0035481 | 0.01366 | 0.01366 | 0.01366 | 0.04097 | 0.04097 | 0.04097 | -3.9713e-05 | 1.9855e-05 | 1.9855e-05 | 0.00011913 | -1.9718e-13 | 1.8524e-13 | 0.019578 | 4.1142e-06 | 4.1142e-06 | -0.058711 | 9.8349e-14 | 1.2078e-13 | -91.8994 | -91.8994 | -91.8994 | 88.1587 | 88.1587 | 88.1587 | 1.4333 | 0.0014845 | 0.0014845 | 1.433 | 0 | 0 | -1.7831 | -80.193 | -80.193 | -1.725 | 0 | 0
Line_2 | 0.001183 | 0.001183 | 0.001183 | 0.0035481 | 0.0035481 | 0.0035481 | 0.01366 | 0.01366 | 0.01366 | 0.04097 | 0.04097 | 0.04097 | -3.9713e-05 | 1.9855e-05 | 1.9855e-05 | 0.00011913 | -1.9718e-13 | 1.8524e-13 | 0.019578 | 4.1142e-06 | 4.1142e-06 | -0.058711 | 9.8349e-14 | 1.2078e-13 | -91.8994 | -91.8994 | -91.8994 | 88.1587 | 88.1587 | 88.1587 | 1.4333 | 0.0014845 | 0.0014845 | 1.433 | 0 | 0 | -1.7831 | -80.193 | -80.193 | -1.725 | 0 | 0
Line_3 | 0.001183 | 0.001183 | 0.001183 | 0.001183 | 0.001183 | 0.001183 | 0.01366 | 0.01366 | 0.01366 | 0.01366 | 0.01366 | 0.01366 | 3.9711e-05 | -1.9855e-05 | -1.9855e-05 | 3.9711e-05 | -1.9855e-05 | -1.9855e-05 | -0.019578 | -4.1142e-06 | -4.1142e-06 | -0.019578 | -4.1142e-06 | -4.1142e-06 | 88.1006 | 88.1006 | 88.1006 | 88.1006 | 88.1006 | 88.1006 | 1.4333 | 0.0014845 | 0.0014845 | 1.4333 | 0.0014845 | 0.0014845 | -1.7831 | -80.193 | -80.193 | -1.7831 | -80.193 | -80.193

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.009185 | 3.2808 | 2.9778 | 0.0070962 | 3.2813 | 2.9769 | 0.10606 | 37.8836 | 34.3841 | 0.08194 | 37.8894 | 34.3746 | 0.0036859 | 13.4769 | 6.8316 | -0.00023827 | -1.4234e-10 | 1.977e-11 | -0.14224 | 3.4444 | 8.2338 | 0.11742 | -1.4583e-10 | -1.8448e-10 | 89.0139 | -164.0796 | 25.1845 | -91.8413 | 15.9559 | -154.8525 | 1.3416 | 0.36718 | 0.31116 | 1.433 | 0 | 0 | 0.49822 | -149.7429 | 75.502 | -1.725 | 0 | 0
Line_1 | 0.001183 | 0.001183 | 0.001183 | 0.0035481 | 0.0035481 | 0.0035481 | 0.01366 | 0.01366 | 0.01366 | 0.04097 | 0.04097 | 0.04097 | -3.9713e-05 | 1.9855e-05 | 1.9855e-05 | 0.00011913 | -1.9718e-13 | 1.8524e-13 | 0.019578 | 4.1142e-06 | 4.1142e-06 | -0.058711 | 9.8349e-14 | 1.2078e-13 | -91.8994 | -91.8994 | -91.8994 | 88.1587 | 88.1587 | 88.1587 | 1.4333 | 0.0014845 | 0.0014845 | 1.433 | 0 | 0 | -1.7831 | -80.193 | -80.193 | -1.725 | 0 | 0
Line_2 | 0.001183 | 0.001183 | 0.001183 | 0.0035481 | 0.0035481 | 0.0035481 | 0.01366 | 0.01366 | 0.01366 | 0.04097 | 0.04097 | 0.04097 | -3.9713e-05 | 1.9855e-05 | 1.9855e-05 | 0.00011913 | -1.9718e-13 | 1.8524e-13 | 0.019578 | 4.1142e-06 | 4.1142e-06 | -0.058711 | 9.8349e-14 | 1.2078e-13 | -91.8994 | -91.8994 | -91.8994 | 88.1587 | 88.1587 | 88.1587 | 1.4333 | 0.0014845 | 0.0014845 | 1.433 | 0 | 0 | -1.7831 | -80.193 | -80.193 | -1.725 | 0 | 0
Line_3 | 0.001183 | 0.001183 | 0.001183 | 0.001183 | 0.001183 | 0.001183 | 0.01366 | 0.01366 | 0.01366 | 0.01366 | 0.01366 | 0.01366 | 3.9711e-05 | -1.9855e-05 | -1.9855e-05 | 3.9711e-05 | -1.9855e-05 | -1.9855e-05 | -0.019578 | -4.1142e-06 | -4.1142e-06 | -0.019578 | -4.1142e-06 | -4.1142e-06 | 88.1006 | 88.1006 | 88.1006 | 88.1006 | 88.1006 | 88.1006 | 1.4333 | 0.0014845 | 0.0014845 | 1.4333 | 0.0014845 | 0.0014845 | -1.7831 | -80.193 | -80.193 | -1.7831 | -80.193 | -80.193

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067968 | 1.0596 | 0.97106 | 0.0052512 | 1.0603 | 0.96987 | 0.078483 | 12.2355 | 11.2128 | 0.060635 | 12.2433 | 11.1991 | 0.0051788 | 7.2162 | 5.5426 | -0.002806 | -5.6108 | -4.6977 | -0.098195 | 5.5112 | 6.0917 | 0.079948 | -5.6592 | -4.6676 | 86.9616 | -154.236 | 50.0423 | -93.8935 | 25.8392 | -130.0162 | 1.2529 | 0.7421 | 0.7345 | 1.3193 | 0.6509 | 0.59133 | -0.019396 | -116.8661 | 97.7444 | -1.8833 | -108.915 | 94.8001
Line_1 | 0.00087538 | 0.00087538 | 0.00087538 | 0.0026256 | 0.0026256 | 0.0026256 | 0.010108 | 0.010108 | 0.010108 | 0.030318 | 0.030318 | 0.030318 | -0.00047041 | 0.0063671 | -0.0058966 | 0.001403 | -0.019059 | 0.017722 | 0.013329 | -0.0016965 | -0.00090718 | -0.039974 | 0.0051146 | 0.0027098 | -93.9516 | -93.9516 | -93.9516 | 86.1065 | 86.1065 | 86.1065 | 1.3195 | 0.65188 | 0.59023 | 1.3193 | 0.6509 | 0.59133 | -1.9304 | -108.8716 | 94.7946 | -1.8833 | -108.915 | 94.8001
Line_2 | 0.00087538 | 0.00087538 | 0.00087538 | 0.0026256 | 0.0026256 | 0.0026256 | 0.010108 | 0.010108 | 0.010108 | 0.030318 | 0.030318 | 0.030318 | -0.00047041 | 0.0063671 | -0.0058966 | 0.001403 | -0.019059 | 0.017722 | 0.013329 | -0.0016965 | -0.00090718 | -0.039974 | 0.0051146 | 0.0027098 | -93.9516 | -93.9516 | -93.9516 | 86.1065 | 86.1065 | 86.1065 | 1.3195 | 0.65188 | 0.59023 | 1.3193 | 0.6509 | 0.59133 | -1.9304 | -108.8716 | 94.7946 | -1.8833 | -108.915 | 94.8001
Line_3 | 0.00087538 | 0.00087538 | 0.00087538 | 0.00087538 | 0.00087538 | 0.00087538 | 0.010108 | 0.010108 | 0.010108 | 0.010108 | 0.010108 | 0.010108 | 0.00047041 | -0.0063671 | 0.0058966 | 0.00047041 | -0.0063671 | 0.0058966 | -0.013329 | 0.0016965 | 0.00090718 | -0.013329 | 0.0016965 | 0.00090718 | 86.0484 | 86.0484 | 86.0484 | 86.0484 | 86.0484 | 86.0484 | 1.3195 | 0.65188 | 0.59023 | 1.3195 | 0.65188 | 0.59023 | -1.9304 | -108.8716 | 94.7946 | -1.9304 | -108.8716 | 94.7946

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067968 | 1.0596 | 0.97106 | 0.0052512 | 1.0603 | 0.96987 | 0.078483 | 12.2355 | 11.2128 | 0.060635 | 12.2433 | 11.1991 | 0.0051788 | 7.2162 | 5.5426 | -0.002806 | -5.6108 | -4.6977 | -0.098195 | 5.5112 | 6.0917 | 0.079948 | -5.6592 | -4.6676 | 86.9616 | -154.236 | 50.0423 | -93.8935 | 25.8392 | -130.0162 | 1.2529 | 0.7421 | 0.7345 | 1.3193 | 0.6509 | 0.59133 | -0.019396 | -116.8661 | 97.7444 | -1.8833 | -108.915 | 94.8001
Line_1 | 0.00087538 | 0.00087538 | 0.00087538 | 0.0026256 | 0.0026256 | 0.0026256 | 0.010108 | 0.010108 | 0.010108 | 0.030318 | 0.030318 | 0.030318 | -0.00047041 | 0.0063671 | -0.0058966 | 0.001403 | -0.019059 | 0.017722 | 0.013329 | -0.0016965 | -0.00090718 | -0.039974 | 0.0051146 | 0.0027098 | -93.9516 | -93.9516 | -93.9516 | 86.1065 | 86.1065 | 86.1065 | 1.3195 | 0.65188 | 0.59023 | 1.3193 | 0.6509 | 0.59133 | -1.9304 | -108.8716 | 94.7946 | -1.8833 | -108.915 | 94.8001
Line_2 | 0.00087538 | 0.00087538 | 0.00087538 | 0.0026256 | 0.0026256 | 0.0026256 | 0.010108 | 0.010108 | 0.010108 | 0.030318 | 0.030318 | 0.030318 | -0.00047041 | 0.0063671 | -0.0058966 | 0.001403 | -0.019059 | 0.017722 | 0.013329 | -0.0016965 | -0.00090718 | -0.039974 | 0.0051146 | 0.0027098 | -93.9516 | -93.9516 | -93.9516 | 86.1065 | 86.1065 | 86.1065 | 1.3195 | 0.65188 | 0.59023 | 1.3193 | 0.6509 | 0.59133 | -1.9304 | -108.8716 | 94.7946 | -1.8833 | -108.915 | 94.8001
Line_3 | 0.00087538 | 0.00087538 | 0.00087538 | 0.00087538 | 0.00087538 | 0.00087538 | 0.010108 | 0.010108 | 0.010108 | 0.010108 | 0.010108 | 0.010108 | 0.00047041 | -0.0063671 | 0.0058966 | 0.00047041 | -0.0063671 | 0.0058966 | -0.013329 | 0.0016965 | 0.00090718 | -0.013329 | 0.0016965 | 0.00090718 | 86.0484 | 86.0484 | 86.0484 | 86.0484 | 86.0484 | 86.0484 | 1.3195 | 0.65188 | 0.59023 | 1.3195 | 0.65188 | 0.59023 | -1.9304 | -108.8716 | 94.7946 | -1.9304 | -108.8716 | 94.7946