## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | 4.1685e-14 | 30.1766 | -15.8685 | -5.7317e-14 | -23.0225 | 23.0225 | -4.1685e-14 | 3.131 | 13.1032 | 3.1264e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.706e-13 | -161.8563 | 152.6723 | 8.5631e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.5632e-14 | 2.0843e-14 | -5.2106e-15 | 3.1264e-14 | -2.0843e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.4282e-13 | -180 | 180 | 8.5631e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.5632e-14 | 4.649e-20 | -1.0421e-14 | 2.0843e-14 | 1.0924e-21 | 1.5632e-14 | -1.9212e-09 | 1.9211e-09 | -2.0843e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.4629e-13 | -180 | 180 | 8.5631e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.6053e-15 | 1.0421e-14 | -7.6964e-29 | 1.5632e-14 | -1.0421e-14 | -1.0421e-14 | 1.0421e-14 | -5.2106e-15 | 5.2106e-15 | -1.5632e-14 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.4282e-13 | -180 | 180 | 8.4629e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | 4.1685e-14 | 30.1766 | -15.8685 | -5.7317e-14 | -23.0225 | 23.0225 | -4.1685e-14 | 3.131 | 13.1032 | 3.1264e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.706e-13 | -161.8563 | 152.6723 | 8.5631e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.5632e-14 | 2.0843e-14 | -5.2106e-15 | 3.1264e-14 | -2.0843e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.4282e-13 | -180 | 180 | 8.5631e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.5632e-14 | 4.649e-20 | -1.0421e-14 | 2.0843e-14 | 1.0924e-21 | 1.5632e-14 | -1.9212e-09 | 1.9211e-09 | -2.0843e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.4629e-13 | -180 | 180 | 8.5631e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.6053e-15 | 1.0421e-14 | -7.6964e-29 | 1.5632e-14 | -1.0421e-14 | -1.0421e-14 | 1.0421e-14 | -5.2106e-15 | 5.2106e-15 | -1.5632e-14 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.4282e-13 | -180 | 180 | 8.4629e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | 2.0843e-14 | 19.0761 | -0.30087 | -2.3448e-14 | -17.4596 | 1.9173 | -2.3448e-14 | 3.9919 | 15.2185 | 2.8659e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 4.0065e-13 | -138.0936 | 121.2196 | 3.9173e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8237e-14 | 4.7339e-10 | 1.0337e-09 | 1.3027e-14 | -4.7338e-10 | -1.0337e-09 | 1.0421e-14 | -1.3544e-09 | 3.8387e-10 | -7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8301e-13 | -142.8673 | 128.239 | 3.9173e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 4.7339e-10 | 1.0338e-09 | 7.816e-15 | -4.7338e-10 | -1.0338e-09 | 1.5632e-14 | -1.3544e-09 | 3.8387e-10 | -1.3027e-14 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8394e-13 | -142.8673 | 128.239 | 3.9173e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | -4.4313e-16 | -6.8893e-15 | -3.4917e-29 | 1.2308e-14 | 4.9421e-15 | -5.2106e-15 | 7.3662e-15 | -1.4234e-15 | 5.2106e-15 | -6.0837e-15 | 3.8945e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8301e-13 | -142.8673 | 128.239 | 3.8394e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | 2.0843e-14 | 19.0761 | -0.30087 | -2.3448e-14 | -17.4596 | 1.9173 | -2.3448e-14 | 3.9919 | 15.2185 | 2.8659e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 4.0065e-13 | -138.0936 | 121.2196 | 3.9173e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8237e-14 | 4.7339e-10 | 1.0337e-09 | 1.3027e-14 | -4.7338e-10 | -1.0337e-09 | 1.0421e-14 | -1.3544e-09 | 3.8387e-10 | -7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8301e-13 | -142.8673 | 128.239 | 3.9173e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 4.7339e-10 | 1.0338e-09 | 7.816e-15 | -4.7338e-10 | -1.0338e-09 | 1.5632e-14 | -1.3544e-09 | 3.8387e-10 | -1.3027e-14 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8394e-13 | -142.8673 | 128.239 | 3.9173e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | -4.4313e-16 | -6.8893e-15 | -3.4917e-29 | 1.2308e-14 | 4.9421e-15 | -5.2106e-15 | 7.3662e-15 | -1.4234e-15 | 5.2106e-15 | -6.0837e-15 | 3.8945e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8301e-13 | -142.8673 | 128.239 | 3.8394e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.2981e-28 | 26.5997 | -7.1734 | 2.334e-28 | -16.8865 | 16.8865 | 1.4211e-14 | -0.51586 | 11.9957 | -1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.2654e-13 | -160.7833 | 141.207 | 9.4102e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -5.9211e-15 | 9.474e-15 | 1.8948e-14 | 5.9212e-15 | -7.1054e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2801e-13 | -180 | 180 | 9.4102e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -5.9211e-15 | 4.737e-15 | 2.3685e-14 | 5.9212e-15 | 2.3685e-15 | -3.8201e-28 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2412e-13 | -180 | 180 | 9.4102e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | -1.3393e-25 | 2.3685e-15 | -4.737e-15 | -2.6785e-25 | -2.3685e-15 | -9.4739e-15 | 2.3685e-15 | 9.4739e-15 | 4.737e-15 | 4.737e-15 | 1.3419e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2801e-13 | -180 | 180 | 9.2412e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.2981e-28 | 26.5997 | -7.1734 | 2.334e-28 | -16.8865 | 16.8865 | 1.4211e-14 | -0.51586 | 11.9957 | -1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.2654e-13 | -160.7833 | 141.207 | 9.4102e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -5.9211e-15 | 9.474e-15 | 1.8948e-14 | 5.9212e-15 | -7.1054e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2801e-13 | -180 | 180 | 9.4102e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -5.9211e-15 | 4.737e-15 | 2.3685e-14 | 5.9212e-15 | 2.3685e-15 | -3.8201e-28 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2412e-13 | -180 | 180 | 9.4102e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | -1.3393e-25 | 2.3685e-15 | -4.737e-15 | -2.6785e-25 | -2.3685e-15 | -9.4739e-15 | 2.3685e-15 | 9.4739e-15 | 4.737e-15 | 4.737e-15 | 1.3419e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2801e-13 | -180 | 180 | 9.2412e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 2.9606e-15 | 15.3932 | 0.73601 | -2.9606e-15 | -13.0917 | 1.5655 | 4.737e-15 | 2.3135 | 11.9328 | -2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.5497e-13 | -138.1765 | 119.7467 | 4.6109e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.798e-10 | 8.2616e-10 | 7.1054e-15 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.5371e-13 | -142.5584 | 131.6989 | 4.6109e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.2897e-15 | 4.798e-10 | 8.2616e-10 | 7.1054e-15 | -4.798e-10 | -8.2615e-10 | -4.737e-15 | -1.0532e-09 | 4.5325e-10 | 2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.5195e-13 | -142.5584 | 131.6989 | 4.6109e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.8602e-15 | 2.6364e-15 | -1.1842e-15 | -3.2785e-15 | -1.6759e-15 | 1.8755e-29 | -2.2769e-15 | 1.382e-15 | -2.3685e-15 | 8.657e-15 | -2.4601e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.5371e-13 | -142.5584 | 131.6989 | 4.5195e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 2.9606e-15 | 15.3932 | 0.73601 | -2.9606e-15 | -13.0917 | 1.5655 | 4.737e-15 | 2.3135 | 11.9328 | -2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.5497e-13 | -138.1765 | 119.7467 | 4.6109e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.798e-10 | 8.2616e-10 | 7.1054e-15 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.5371e-13 | -142.5584 | 131.6989 | 4.6109e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.2897e-15 | 4.798e-10 | 8.2616e-10 | 7.1054e-15 | -4.798e-10 | -8.2615e-10 | -4.737e-15 | -1.0532e-09 | 4.5325e-10 | 2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.5195e-13 | -142.5584 | 131.6989 | 4.6109e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.8602e-15 | 2.6364e-15 | -1.1842e-15 | -3.2785e-15 | -1.6759e-15 | 1.8755e-29 | -2.2769e-15 | 1.382e-15 | -2.3685e-15 | 8.657e-15 | -2.4601e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.5371e-13 | -142.5584 | 131.6989 | 4.5195e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.9562 | 1.4781 | 1.4781 | 2.9558 | 1.4786 | 1.4786 | 34.1355 | 17.0678 | 17.0678 | 34.1303 | 17.073 | 17.073 | 4.536 | 3.0866 | 27.7246 | 1.7358e-10 | -1.9227 | -26.6078 | 5.1702 | 14.233 | -6.9901 | -2.806e-10 | -12.9586 | 8.225 | -49.2585 | 130.7415 | 130.7415 | 130.795 | -49.3654 | -49.3654 |  | 0.20149 | 0.8533 | 1.6752 | 0 | 0.76732 | 1.6312 | -0.51955 | -151.4945 | 116.5907 | 0 | -147.8051 | 113.4573
Line_1 | 0.73951 | 0.73951 | 0.73951 | 0.73928 | 0.73928 | 0.73928 | 8.5391 | 8.5391 | 8.5391 | 8.5365 | 8.5365 | 8.5365 | 2.0199 | 1.0772 | -11.3002 | 4.3611e-11 | 0.96137 | 13.3039 | 0.80608 | -5.678 | 4.8807 | -7.0061e-11 | 6.4793 | -4.1125 | -49.5336 | -49.5336 | -49.5336 | 130.6346 | 130.6346 | 130.6346 |  | 0.25468 | 0.6768 | 1.4415 | 0 | 0.76732 | 1.6312 | -27.7778 | -128.7913 | 107.1061 | 0 | -147.8051 | 113.4573
Line_2 | 0.73951 | 0.73951 | 0.73951 | 0.73928 | 0.73928 | 0.73928 | 8.5391 | 8.5391 | 8.5391 | 8.5365 | 8.5365 | 8.5365 | 2.0199 | 1.0772 | -11.3002 | 4.3611e-11 | 0.96137 | 13.3039 | 0.80608 | -5.678 | 4.8807 | -7.0061e-11 | 6.4793 | -4.1125 | -49.5336 | -49.5336 | -49.5336 | 130.6346 | 130.6346 | 130.6346 |  | 0.25468 | 0.6768 | 1.4415 | 0 | 0.76732 | 1.6312 | -27.7778 | -128.7913 | 107.1061 | 0 | -147.8051 | 113.4573
Line_3 | 0.00079252 | 0.00079252 | 0.00079252 | 0.00079252 | 0.00079252 | 0.00079252 | 0.0091512 | 0.0091512 | 0.0091512 | 0.0091512 | 0.0091512 | 0.0091512 | -0.00086617 | 0.0060838 | -0.0052176 | -0.00086617 | 0.0060838 | -0.0052176 | 0.0021637 | 0.0011609 | -0.012116 | 0.0021637 | 0.0011609 | -0.012116 | -139.595 | -139.595 | -139.595 | -139.595 | -139.595 | -139.595 |  | 0.25468 | 0.6768 | 1.4415 | 0.25468 | 0.6768 | 1.4415 | -27.7778 | -128.7913 | 107.1061 | -27.7778 | -128.7913 | 107.1061

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.9562 | 1.4781 | 1.4781 | 2.9558 | 1.4786 | 1.4786 | 34.1355 | 17.0678 | 17.0678 | 34.1303 | 17.073 | 17.073 | 4.536 | 3.0866 | 27.7246 | 1.7358e-10 | -1.9227 | -26.6078 | 5.1702 | 14.233 | -6.9901 | -2.806e-10 | -12.9586 | 8.225 | -49.2585 | 130.7415 | 130.7415 | 130.795 | -49.3654 | -49.3654 |  | 0.20149 | 0.8533 | 1.6752 | 0 | 0.76732 | 1.6312 | -0.51955 | -151.4945 | 116.5907 | 0 | -147.8051 | 113.4573
Line_1 | 0.73951 | 0.73951 | 0.73951 | 0.73928 | 0.73928 | 0.73928 | 8.5391 | 8.5391 | 8.5391 | 8.5365 | 8.5365 | 8.5365 | 2.0199 | 1.0772 | -11.3002 | 4.3611e-11 | 0.96137 | 13.3039 | 0.80608 | -5.678 | 4.8807 | -7.0061e-11 | 6.4793 | -4.1125 | -49.5336 | -49.5336 | -49.5336 | 130.6346 | 130.6346 | 130.6346 |  | 0.25468 | 0.6768 | 1.4415 | 0 | 0.76732 | 1.6312 | -27.7778 | -128.7913 | 107.1061 | 0 | -147.8051 | 113.4573
Line_2 | 0.73951 | 0.73951 | 0.73951 | 0.73928 | 0.73928 | 0.73928 | 8.5391 | 8.5391 | 8.5391 | 8.5365 | 8.5365 | 8.5365 | 2.0199 | 1.0772 | -11.3002 | 4.3611e-11 | 0.96137 | 13.3039 | 0.80608 | -5.678 | 4.8807 | -7.0061e-11 | 6.4793 | -4.1125 | -49.5336 | -49.5336 | -49.5336 | 130.6346 | 130.6346 | 130.6346 |  | 0.25468 | 0.6768 | 1.4415 | 0 | 0.76732 | 1.6312 | -27.7778 | -128.7913 | 107.1061 | 0 | -147.8051 | 113.4573
Line_3 | 0.00079252 | 0.00079252 | 0.00079252 | 0.00079252 | 0.00079252 | 0.00079252 | 0.0091512 | 0.0091512 | 0.0091512 | 0.0091512 | 0.0091512 | 0.0091512 | -0.00086617 | 0.0060838 | -0.0052176 | -0.00086617 | 0.0060838 | -0.0052176 | 0.0021637 | 0.0011609 | -0.012116 | 0.0021637 | 0.0011609 | -0.012116 | -139.595 | -139.595 | -139.595 | -139.595 | -139.595 | -139.595 |  | 0.25468 | 0.6768 | 1.4415 | 0.25468 | 0.6768 | 1.4415 | -27.7778 | -128.7913 | 107.1061 | -27.7778 | -128.7913 | 107.1061

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.85276 | 0.42638 | 0.42638 | 0.85263 | 0.42651 | 0.42651 | 9.8469 | 4.9234 | 4.9234 | 9.8454 | 4.9249 | 4.9249 | 5.8315 | -0.74131 | 6.0322 | -5.4583 | 0.84542 | -5.9423 | 5.8843 | 4.9095 | -1.5798 | -5.4481 | -4.8028 | 1.6759 | -46.2274 | 133.7726 | 133.7726 | 133.8261 | -46.3343 | -46.3343 |  | 0.84132 | 1.0085 | 1.2665 | 0.78331 | 0.99018 | 1.2536 | -0.96926 | -127.6409 | 119.0966 | -1.2274 | -126.3509 | 117.9154
Line_1 | 0.21332 | 0.21332 | 0.21332 | 0.21326 | 0.21326 | 0.21326 | 2.4632 | 2.4632 | 2.4632 | 2.4625 | 2.4625 | 2.4625 | 1.5259 | 0.59797 | -2.8064 | -1.3614 | -0.42271 | 2.9711 | 1.438 | -2.3338 | 0.89657 | -1.3665 | 2.4014 | -0.83796 | -46.5025 | -46.5025 | -46.5025 | 133.6657 | 133.6657 | 133.6657 |  | 0.85118 | 0.97806 | 1.1961 | 0.78331 | 0.99018 | 1.2536 | -3.2012 | -122.1313 | 115.7804 | -1.2274 | -126.3509 | 117.9154
Line_2 | 0.21332 | 0.21332 | 0.21332 | 0.21326 | 0.21326 | 0.21326 | 2.4632 | 2.4632 | 2.4632 | 2.4625 | 2.4625 | 2.4625 | 1.5259 | 0.59797 | -2.8064 | -1.3614 | -0.42271 | 2.9711 | 1.438 | -2.3338 | 0.89657 | -1.3665 | 2.4014 | -0.83796 | -46.5025 | -46.5025 | -46.5025 | 133.6657 | 133.6657 | 133.6657 |  | 0.85118 | 0.97806 | 1.1961 | 0.78331 | 0.99018 | 1.2536 | -3.2012 | -122.1313 | 115.7804 | -1.2274 | -126.3509 | 117.9154
Line_3 | 0.00022861 | 0.00022861 | 0.00022861 | 0.00022861 | 0.00022861 | 0.00022861 | 0.0026398 | 0.0026398 | 0.0026398 | 0.0026398 | 0.0026398 | 0.0026398 | -0.0015428 | 0.0025004 | -0.0009576 | -0.0015428 | 0.0025004 | -0.0009576 | 0.0016336 | 0.00064351 | -0.0030086 | 0.0016336 | 0.00064351 | -0.0030086 | -136.5639 | -136.5639 | -136.5639 | -136.5639 | -136.5639 | -136.5639 |  | 0.85118 | 0.97806 | 1.1961 | 0.85118 | 0.97806 | 1.1961 | -3.2012 | -122.1313 | 115.7804 | -3.2012 | -122.1313 | 115.7804

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.85276 | 0.42638 | 0.42638 | 0.85263 | 0.42651 | 0.42651 | 9.8469 | 4.9234 | 4.9234 | 9.8454 | 4.9249 | 4.9249 | 5.8315 | -0.74131 | 6.0322 | -5.4583 | 0.84542 | -5.9423 | 5.8843 | 4.9095 | -1.5798 | -5.4481 | -4.8028 | 1.6759 | -46.2274 | 133.7726 | 133.7726 | 133.8261 | -46.3343 | -46.3343 |  | 0.84132 | 1.0085 | 1.2665 | 0.78331 | 0.99018 | 1.2536 | -0.96926 | -127.6409 | 119.0966 | -1.2274 | -126.3509 | 117.9154
Line_1 | 0.21332 | 0.21332 | 0.21332 | 0.21326 | 0.21326 | 0.21326 | 2.4632 | 2.4632 | 2.4632 | 2.4625 | 2.4625 | 2.4625 | 1.5259 | 0.59797 | -2.8064 | -1.3614 | -0.42271 | 2.9711 | 1.438 | -2.3338 | 0.89657 | -1.3665 | 2.4014 | -0.83796 | -46.5025 | -46.5025 | -46.5025 | 133.6657 | 133.6657 | 133.6657 |  | 0.85118 | 0.97806 | 1.1961 | 0.78331 | 0.99018 | 1.2536 | -3.2012 | -122.1313 | 115.7804 | -1.2274 | -126.3509 | 117.9154
Line_2 | 0.21332 | 0.21332 | 0.21332 | 0.21326 | 0.21326 | 0.21326 | 2.4632 | 2.4632 | 2.4632 | 2.4625 | 2.4625 | 2.4625 | 1.5259 | 0.59797 | -2.8064 | -1.3614 | -0.42271 | 2.9711 | 1.438 | -2.3338 | 0.89657 | -1.3665 | 2.4014 | -0.83796 | -46.5025 | -46.5025 | -46.5025 | 133.6657 | 133.6657 | 133.6657 |  | 0.85118 | 0.97806 | 1.1961 | 0.78331 | 0.99018 | 1.2536 | -3.2012 | -122.1313 | 115.7804 | -1.2274 | -126.3509 | 117.9154
Line_3 | 0.00022861 | 0.00022861 | 0.00022861 | 0.00022861 | 0.00022861 | 0.00022861 | 0.0026398 | 0.0026398 | 0.0026398 | 0.0026398 | 0.0026398 | 0.0026398 | -0.0015428 | 0.0025004 | -0.0009576 | -0.0015428 | 0.0025004 | -0.0009576 | 0.0016336 | 0.00064351 | -0.0030086 | 0.0016336 | 0.00064351 | -0.0030086 | -136.5639 | -136.5639 | -136.5639 | -136.5639 | -136.5639 | -136.5639 |  | 0.85118 | 0.97806 | 1.1961 | 0.85118 | 0.97806 | 1.1961 | -3.2012 | -122.1313 | 115.7804 | -3.2012 | -122.1313 | 115.7804

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1664 | 1.0832 | 1.0832 | 2.1661 | 1.0835 | 1.0835 | 25.0155 | 12.5077 | 12.5077 | 25.0118 | 12.5115 | 12.5115 | 4.6789 | 5.0112 | 18.6507 | -8.3753e-11 | -3.8124 | -17.4996 | 2.7902 | 10.3271 | -6.5043 | 1.2076e-11 | -9.6582 | 7.1428 | -39.0199 | 140.9801 | 140.9801 | 141.0544 | -39.1686 | -39.1686 |  | 0.21777 | 0.91773 | 1.5792 | 0 | 0.82991 | 1.5107 | -8.2109 | -154.9048 | 121.7542 | 0 | -150.7093 | 118.6276
Line_1 | 0.54193 | 0.54193 | 0.54193 | 0.54176 | 0.54176 | 0.54176 | 6.2577 | 6.2577 | 6.2577 | 6.2558 | 6.2558 | 6.2558 | 2.0831 | 0.19403 | -6.6824 | -2.0959e-11 | 1.9062 | 8.7498 | 0.43396 | -4.4036 | 3.9743 | 2.9388e-12 | 4.8291 | -3.5714 | -39.3786 | -39.3786 | -39.3786 | 140.8314 | 140.8314 | 140.8314 |  | 0.34003 | 0.70439 | 1.2425 | 0 | 0.82991 | 1.5107 | -27.6109 | -126.8557 | 109.8796 | 0 | -150.7093 | 118.6276
Line_2 | 0.54193 | 0.54193 | 0.54193 | 0.54176 | 0.54176 | 0.54176 | 6.2577 | 6.2577 | 6.2577 | 6.2558 | 6.2558 | 6.2558 | 2.0831 | 0.19403 | -6.6824 | -2.0959e-11 | 1.9062 | 8.7498 | 0.43396 | -4.4036 | 3.9743 | 2.9388e-12 | 4.8291 | -3.5714 | -39.3786 | -39.3786 | -39.3786 | 140.8314 | 140.8314 | 140.8314 |  | 0.34003 | 0.70439 | 1.2425 | 0 | 0.82991 | 1.5107 | -27.6109 | -126.8557 | 109.8796 | 0 | -150.7093 | 118.6276
Line_3 | 0.00058077 | 0.00058077 | 0.00058077 | 0.00058077 | 0.00058077 | 0.00058077 | 0.0067062 | 0.0067062 | 0.0067062 | 0.0067062 | 0.0067062 | 0.0067062 | -0.00046745 | 0.004719 | -0.0042515 | -0.00046745 | 0.004719 | -0.0042515 | 0.0022319 | 0.00021299 | -0.007166 | 0.0022319 | 0.00021299 | -0.007166 | -129.44 | -129.44 | -129.44 | -129.44 | -129.44 | -129.44 |  | 0.34003 | 0.70439 | 1.2425 | 0.34003 | 0.70439 | 1.2425 | -27.6109 | -126.8557 | 109.8796 | -27.6109 | -126.8557 | 109.8796

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1664 | 1.0832 | 1.0832 | 2.1661 | 1.0835 | 1.0835 | 25.0155 | 12.5077 | 12.5077 | 25.0118 | 12.5115 | 12.5115 | 4.6789 | 5.0112 | 18.6507 | -8.3753e-11 | -3.8124 | -17.4996 | 2.7902 | 10.3271 | -6.5043 | 1.2076e-11 | -9.6582 | 7.1428 | -39.0199 | 140.9801 | 140.9801 | 141.0544 | -39.1686 | -39.1686 |  | 0.21777 | 0.91773 | 1.5792 | 0 | 0.82991 | 1.5107 | -8.2109 | -154.9048 | 121.7542 | 0 | -150.7093 | 118.6276
Line_1 | 0.54193 | 0.54193 | 0.54193 | 0.54176 | 0.54176 | 0.54176 | 6.2577 | 6.2577 | 6.2577 | 6.2558 | 6.2558 | 6.2558 | 2.0831 | 0.19403 | -6.6824 | -2.0959e-11 | 1.9062 | 8.7498 | 0.43396 | -4.4036 | 3.9743 | 2.9388e-12 | 4.8291 | -3.5714 | -39.3786 | -39.3786 | -39.3786 | 140.8314 | 140.8314 | 140.8314 |  | 0.34003 | 0.70439 | 1.2425 | 0 | 0.82991 | 1.5107 | -27.6109 | -126.8557 | 109.8796 | 0 | -150.7093 | 118.6276
Line_2 | 0.54193 | 0.54193 | 0.54193 | 0.54176 | 0.54176 | 0.54176 | 6.2577 | 6.2577 | 6.2577 | 6.2558 | 6.2558 | 6.2558 | 2.0831 | 0.19403 | -6.6824 | -2.0959e-11 | 1.9062 | 8.7498 | 0.43396 | -4.4036 | 3.9743 | 2.9388e-12 | 4.8291 | -3.5714 | -39.3786 | -39.3786 | -39.3786 | 140.8314 | 140.8314 | 140.8314 |  | 0.34003 | 0.70439 | 1.2425 | 0 | 0.82991 | 1.5107 | -27.6109 | -126.8557 | 109.8796 | 0 | -150.7093 | 118.6276
Line_3 | 0.00058077 | 0.00058077 | 0.00058077 | 0.00058077 | 0.00058077 | 0.00058077 | 0.0067062 | 0.0067062 | 0.0067062 | 0.0067062 | 0.0067062 | 0.0067062 | -0.00046745 | 0.004719 | -0.0042515 | -0.00046745 | 0.004719 | -0.0042515 | 0.0022319 | 0.00021299 | -0.007166 | 0.0022319 | 0.00021299 | -0.007166 | -129.44 | -129.44 | -129.44 | -129.44 | -129.44 | -129.44 |  | 0.34003 | 0.70439 | 1.2425 | 0.34003 | 0.70439 | 1.2425 | -27.6109 | -126.8557 | 109.8796 | -27.6109 | -126.8557 | 109.8796

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72544 | 0.36272 | 0.36272 | 0.72533 | 0.36283 | 0.36283 | 8.3766 | 4.1883 | 4.1883 | 8.3754 | 4.1896 | 4.1896 | 4.4716 | -0.16044 | 4.7871 | -3.9515 | 0.30207 | -4.6607 | 4.2598 | 3.8538 | -1.4517 | -3.9412 | -3.7777 | 1.5165 | -43.0008 | 136.9992 | 136.9992 | 137.0736 | -43.1495 | -43.1495 |  | 0.73727 | 0.92092 | 1.1944 | 0.66636 | 0.90457 | 1.1699 | 0.6098 | -130.6169 | 120.1296 | 1.9992 | -128.5777 | 118.827
Line_1 | 0.18147 | 0.18147 | 0.18147 | 0.18141 | 0.18141 | 0.18141 | 2.0954 | 2.0954 | 2.0954 | 2.0948 | 2.0948 | 2.0948 | 1.2147 | 0.39158 | -2.1003 | -0.98447 | -0.15104 | 2.3304 | 1.0422 | -1.8402 | 0.79858 | -0.98959 | 1.8889 | -0.75824 | -43.3594 | -43.3594 | -43.3594 | 136.8505 | 136.8505 | 136.8505 |  | 0.76381 | 0.89786 | 1.0723 | 0.66636 | 0.90457 | 1.1699 | -2.7316 | -121.3465 | 115.8223 | 1.9992 | -128.5777 | 118.827
Line_2 | 0.18147 | 0.18147 | 0.18147 | 0.18141 | 0.18141 | 0.18141 | 2.0954 | 2.0954 | 2.0954 | 2.0948 | 2.0948 | 2.0948 | 1.2147 | 0.39158 | -2.1003 | -0.98447 | -0.15104 | 2.3304 | 1.0422 | -1.8402 | 0.79858 | -0.98959 | 1.8889 | -0.75824 | -43.3594 | -43.3594 | -43.3594 | 136.8505 | 136.8505 | 136.8505 |  | 0.76381 | 0.89786 | 1.0723 | 0.66636 | 0.90457 | 1.1699 | -2.7316 | -121.3465 | 115.8223 | 1.9992 | -128.5777 | 118.827
Line_3 | 0.00019448 | 0.00019448 | 0.00019448 | 0.00019448 | 0.00019448 | 0.00019448 | 0.0022456 | 0.0022456 | 0.0022456 | 0.0022456 | 0.0022456 | 0.0022456 | -0.0011182 | 0.0019717 | -0.00085341 | -0.0011182 | 0.0019717 | -0.00085341 | 0.0013006 | 0.00042176 | -0.0022517 | 0.0013006 | 0.00042176 | -0.0022517 | -133.4208 | -133.4208 | -133.4208 | -133.4208 | -133.4208 | -133.4208 |  | 0.76381 | 0.89786 | 1.0723 | 0.76381 | 0.89786 | 1.0723 | -2.7316 | -121.3465 | 115.8223 | -2.7316 | -121.3465 | 115.8223

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72544 | 0.36272 | 0.36272 | 0.72533 | 0.36283 | 0.36283 | 8.3766 | 4.1883 | 4.1883 | 8.3754 | 4.1896 | 4.1896 | 4.4716 | -0.16044 | 4.7871 | -3.9515 | 0.30207 | -4.6607 | 4.2598 | 3.8538 | -1.4517 | -3.9412 | -3.7777 | 1.5165 | -43.0008 | 136.9992 | 136.9992 | 137.0736 | -43.1495 | -43.1495 |  | 0.73727 | 0.92092 | 1.1944 | 0.66636 | 0.90457 | 1.1699 | 0.6098 | -130.6169 | 120.1296 | 1.9992 | -128.5777 | 118.827
Line_1 | 0.18147 | 0.18147 | 0.18147 | 0.18141 | 0.18141 | 0.18141 | 2.0954 | 2.0954 | 2.0954 | 2.0948 | 2.0948 | 2.0948 | 1.2147 | 0.39158 | -2.1003 | -0.98447 | -0.15104 | 2.3304 | 1.0422 | -1.8402 | 0.79858 | -0.98959 | 1.8889 | -0.75824 | -43.3594 | -43.3594 | -43.3594 | 136.8505 | 136.8505 | 136.8505 |  | 0.76381 | 0.89786 | 1.0723 | 0.66636 | 0.90457 | 1.1699 | -2.7316 | -121.3465 | 115.8223 | 1.9992 | -128.5777 | 118.827
Line_2 | 0.18147 | 0.18147 | 0.18147 | 0.18141 | 0.18141 | 0.18141 | 2.0954 | 2.0954 | 2.0954 | 2.0948 | 2.0948 | 2.0948 | 1.2147 | 0.39158 | -2.1003 | -0.98447 | -0.15104 | 2.3304 | 1.0422 | -1.8402 | 0.79858 | -0.98959 | 1.8889 | -0.75824 | -43.3594 | -43.3594 | -43.3594 | 136.8505 | 136.8505 | 136.8505 |  | 0.76381 | 0.89786 | 1.0723 | 0.66636 | 0.90457 | 1.1699 | -2.7316 | -121.3465 | 115.8223 | 1.9992 | -128.5777 | 118.827
Line_3 | 0.00019448 | 0.00019448 | 0.00019448 | 0.00019448 | 0.00019448 | 0.00019448 | 0.0022456 | 0.0022456 | 0.0022456 | 0.0022456 | 0.0022456 | 0.0022456 | -0.0011182 | 0.0019717 | -0.00085341 | -0.0011182 | 0.0019717 | -0.00085341 | 0.0013006 | 0.00042176 | -0.0022517 | 0.0013006 | 0.00042176 | -0.0022517 | -133.4208 | -133.4208 | -133.4208 | -133.4208 | -133.4208 | -133.4208 |  | 0.76381 | 0.89786 | 1.0723 | 0.76381 | 0.89786 | 1.0723 | -2.7316 | -121.3465 | 115.8223 | -2.7316 | -121.3465 | 115.8223

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2347 | 4.2181 | 3.2382 | 1.2351 | 4.219 | 3.2368 | 14.257 | 48.7062 | 37.3911 | 14.2614 | 48.7166 | 37.3759 | 20.7031 | 9.2523 | 5.4493 | -19.9074 | 1.3663e-10 | 1.3702e-10 | 4.1593 | 10.517 | 6.1719 | -3.3029 | -1.1813e-10 | 1.7476e-11 | -24.8682 | -172.8434 | 18.822 | 155.0249 | 7.1859 | -161.2121 |  | 1.4811 | 0.28759 | 0.22019 | 1.415 | 0 | 0 | -13.5086 | -124.1831 | 67.3803 | -15.5547 | 0 | 0
Line_1 | 0.61773 | 0.61773 | 0.61773 | 0.61754 | 0.61754 | 0.61754 | 7.1329 | 7.1329 | 7.1329 | 7.1307 | 7.1307 | 7.1307 | -8.5425 | 1.4094 | 1.4094 | 9.9537 | 2.6134e-11 | -1.6573e-11 | -1.1188 | 0.56244 | 0.56244 | 1.6515 | -3.992e-12 | -2.0489e-11 | 154.8567 | 154.8567 | 154.8567 | -24.9751 | -24.9751 | -24.9751 |  | 1.2078 | 0.21274 | 0.21274 | 1.415 | 0 | 0 | -17.6822 | 176.6125 | 176.6125 | -15.5547 | 0 | 0
Line_2 | 0.61773 | 0.61773 | 0.61773 | 0.61754 | 0.61754 | 0.61754 | 7.1329 | 7.1329 | 7.1329 | 7.1307 | 7.1307 | 7.1307 | -8.5425 | 1.4094 | 1.4094 | 9.9537 | 2.6134e-11 | -1.6573e-11 | -1.1188 | 0.56244 | 0.56244 | 1.6515 | -3.992e-12 | -2.0489e-11 | 154.8567 | 154.8567 | 154.8567 | -24.9751 | -24.9751 | -24.9751 |  | 1.2078 | 0.21274 | 0.21274 | 1.415 | 0 | 0 | -17.6822 | 176.6125 | 176.6125 | -15.5547 | 0 | 0
Line_3 | 0.000662 | 0.000662 | 0.000662 | 0.000662 | 0.000662 | 0.000662 | 0.0076442 | 0.0076442 | 0.0076442 | 0.0076442 | 0.0076442 | 0.0076442 | 0.0012088 | -0.00060438 | -0.00060438 | 0.0012088 | -0.00060438 | -0.00060438 | -0.0091535 | 0.0015097 | 0.0015097 | -0.0091535 | 0.0015097 | 0.0015097 | 64.7953 | 64.7953 | 64.7953 | 64.7953 | 64.7953 | 64.7953 |  | 1.2078 | 0.21274 | 0.21274 | 1.2078 | 0.21274 | 0.21274 | -17.6822 | 176.6125 | 176.6125 | -17.6822 | 176.6125 | 176.6125

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2347 | 4.2181 | 3.2382 | 1.2351 | 4.219 | 3.2368 | 14.257 | 48.7062 | 37.3911 | 14.2614 | 48.7166 | 37.3759 | 20.7031 | 9.2523 | 5.4493 | -19.9074 | 1.3663e-10 | 1.3702e-10 | 4.1593 | 10.517 | 6.1719 | -3.3029 | -1.1813e-10 | 1.7476e-11 | -24.8682 | -172.8434 | 18.822 | 155.0249 | 7.1859 | -161.2121 |  | 1.4811 | 0.28759 | 0.22019 | 1.415 | 0 | 0 | -13.5086 | -124.1831 | 67.3803 | -15.5547 | 0 | 0
Line_1 | 0.61773 | 0.61773 | 0.61773 | 0.61754 | 0.61754 | 0.61754 | 7.1329 | 7.1329 | 7.1329 | 7.1307 | 7.1307 | 7.1307 | -8.5425 | 1.4094 | 1.4094 | 9.9537 | 2.6134e-11 | -1.6573e-11 | -1.1188 | 0.56244 | 0.56244 | 1.6515 | -3.992e-12 | -2.0489e-11 | 154.8567 | 154.8567 | 154.8567 | -24.9751 | -24.9751 | -24.9751 |  | 1.2078 | 0.21274 | 0.21274 | 1.415 | 0 | 0 | -17.6822 | 176.6125 | 176.6125 | -15.5547 | 0 | 0
Line_2 | 0.61773 | 0.61773 | 0.61773 | 0.61754 | 0.61754 | 0.61754 | 7.1329 | 7.1329 | 7.1329 | 7.1307 | 7.1307 | 7.1307 | -8.5425 | 1.4094 | 1.4094 | 9.9537 | 2.6134e-11 | -1.6573e-11 | -1.1188 | 0.56244 | 0.56244 | 1.6515 | -3.992e-12 | -2.0489e-11 | 154.8567 | 154.8567 | 154.8567 | -24.9751 | -24.9751 | -24.9751 |  | 1.2078 | 0.21274 | 0.21274 | 1.415 | 0 | 0 | -17.6822 | 176.6125 | 176.6125 | -15.5547 | 0 | 0
Line_3 | 0.000662 | 0.000662 | 0.000662 | 0.000662 | 0.000662 | 0.000662 | 0.0076442 | 0.0076442 | 0.0076442 | 0.0076442 | 0.0076442 | 0.0076442 | 0.0012088 | -0.00060438 | -0.00060438 | 0.0012088 | -0.00060438 | -0.00060438 | -0.0091535 | 0.0015097 | 0.0015097 | -0.0091535 | 0.0015097 | 0.0015097 | 64.7953 | 64.7953 | 64.7953 | 64.7953 | 64.7953 | 64.7953 |  | 1.2078 | 0.21274 | 0.21274 | 1.2078 | 0.21274 | 0.21274 | -17.6822 | 176.6125 | 176.6125 | -17.6822 | 176.6125 | 176.6125

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40875 | 1.2069 | 1.0954 | 0.40888 | 1.2075 | 1.0946 | 4.7199 | 13.9359 | 12.6485 | 4.7213 | 13.9433 | 12.6398 | 4.7752 | 11.3283 | 4.1704 | -4.6841 | -10.5776 | -3.544 | 2.962 | 6.9758 | 8.7097 | -2.8736 | -6.1142 | -7.998 | -38.4574 | -153.8946 | 45.7985 | 141.4357 | 26.1263 | -134.212 |  | 1.1906 | 0.95464 | 0.76347 | 1.1639 | 0.87624 | 0.6921 | -6.6462 | -122.2703 | 110.2122 | -7.0357 | -123.8442 | 111.8895
Line_1 | 0.2045 | 0.2045 | 0.2045 | 0.20444 | 0.20444 | 0.20444 | 2.3614 | 2.3614 | 2.3614 | 2.3607 | 2.3607 | 2.3607 | -2.1841 | -0.021853 | 1.5786 | 2.342 | 0.17021 | -1.4213 | -1.3825 | 2.1232 | -0.7401 | 1.4368 | -2.0615 | 0.80567 | 141.2675 | 141.2675 | 141.2675 | -38.5643 | -38.5643 | -38.5643 |  | 1.0946 | 0.8992 | 0.73833 | 1.1639 | 0.87624 | 0.6921 | -6.3993 | -128.1428 | 116.1488 | -7.0357 | -123.8442 | 111.8895
Line_2 | 0.2045 | 0.2045 | 0.2045 | 0.20444 | 0.20444 | 0.20444 | 2.3614 | 2.3614 | 2.3614 | 2.3607 | 2.3607 | 2.3607 | -2.1841 | -0.021853 | 1.5786 | 2.342 | 0.17021 | -1.4213 | -1.3825 | 2.1232 | -0.7401 | 1.4368 | -2.0615 | 0.80567 | 141.2675 | 141.2675 | 141.2675 | -38.5643 | -38.5643 | -38.5643 |  | 1.0946 | 0.8992 | 0.73833 | 1.1639 | 0.87624 | 0.6921 | -6.3993 | -128.1428 | 116.1488 | -7.0357 | -123.8442 | 111.8895
Line_3 | 0.00021916 | 0.00021916 | 0.00021916 | 0.00021916 | 0.00021916 | 0.00021916 | 0.0025306 | 0.0025306 | 0.0025306 | 0.0025306 | 0.0025306 | 0.0025306 | 0.0014841 | -0.0022754 | 0.00079133 | 0.0014841 | -0.0022754 | 0.00079133 | -0.002339 | -2.5858e-05 | 0.0016926 | -0.002339 | -2.5858e-05 | 0.0016926 | 51.2061 | 51.2061 | 51.2061 | 51.2061 | 51.2061 | 51.2061 |  | 1.0946 | 0.8992 | 0.73833 | 1.0946 | 0.8992 | 0.73833 | -6.3993 | -128.1428 | 116.1488 | -6.3993 | -128.1428 | 116.1488

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40875 | 1.2069 | 1.0954 | 0.40888 | 1.2075 | 1.0946 | 4.7199 | 13.9359 | 12.6485 | 4.7213 | 13.9433 | 12.6398 | 4.7752 | 11.3283 | 4.1704 | -4.6841 | -10.5776 | -3.544 | 2.962 | 6.9758 | 8.7097 | -2.8736 | -6.1142 | -7.998 | -38.4574 | -153.8946 | 45.7985 | 141.4357 | 26.1263 | -134.212 |  | 1.1906 | 0.95464 | 0.76347 | 1.1639 | 0.87624 | 0.6921 | -6.6462 | -122.2703 | 110.2122 | -7.0357 | -123.8442 | 111.8895
Line_1 | 0.2045 | 0.2045 | 0.2045 | 0.20444 | 0.20444 | 0.20444 | 2.3614 | 2.3614 | 2.3614 | 2.3607 | 2.3607 | 2.3607 | -2.1841 | -0.021853 | 1.5786 | 2.342 | 0.17021 | -1.4213 | -1.3825 | 2.1232 | -0.7401 | 1.4368 | -2.0615 | 0.80567 | 141.2675 | 141.2675 | 141.2675 | -38.5643 | -38.5643 | -38.5643 |  | 1.0946 | 0.8992 | 0.73833 | 1.1639 | 0.87624 | 0.6921 | -6.3993 | -128.1428 | 116.1488 | -7.0357 | -123.8442 | 111.8895
Line_2 | 0.2045 | 0.2045 | 0.2045 | 0.20444 | 0.20444 | 0.20444 | 2.3614 | 2.3614 | 2.3614 | 2.3607 | 2.3607 | 2.3607 | -2.1841 | -0.021853 | 1.5786 | 2.342 | 0.17021 | -1.4213 | -1.3825 | 2.1232 | -0.7401 | 1.4368 | -2.0615 | 0.80567 | 141.2675 | 141.2675 | 141.2675 | -38.5643 | -38.5643 | -38.5643 |  | 1.0946 | 0.8992 | 0.73833 | 1.1639 | 0.87624 | 0.6921 | -6.3993 | -128.1428 | 116.1488 | -7.0357 | -123.8442 | 111.8895
Line_3 | 0.00021916 | 0.00021916 | 0.00021916 | 0.00021916 | 0.00021916 | 0.00021916 | 0.0025306 | 0.0025306 | 0.0025306 | 0.0025306 | 0.0025306 | 0.0025306 | 0.0014841 | -0.0022754 | 0.00079133 | 0.0014841 | -0.0022754 | 0.00079133 | -0.002339 | -2.5858e-05 | 0.0016926 | -0.002339 | -2.5858e-05 | 0.0016926 | 51.2061 | 51.2061 | 51.2061 | 51.2061 | 51.2061 | 51.2061 |  | 1.0946 | 0.8992 | 0.73833 | 1.0946 | 0.8992 | 0.73833 | -6.3993 | -128.1428 | 116.1488 | -6.3993 | -128.1428 | 116.1488

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82852 | 3.4519 | 2.808 | 0.82877 | 3.4529 | 2.8067 | 9.5669 | 39.8594 | 32.424 | 9.5698 | 39.8711 | 32.4087 | 13.1557 | 11.9043 | 7.8626 | -12.4683 | -1.6525e-10 | 9.0087e-12 | 1.8376 | 7.0563 | 4.6322 | -1.4716 | -1.5208e-10 | -1.8278e-10 | -18.4198 | -163.98 | 25.6257 | 161.4315 | 16.0518 | -154.4094 |  | 1.3885 | 0.34718 | 0.28145 | 1.3119 | 0 | 0 | -10.468 | -133.3225 | 56.13 | -11.8372 | 0 | 0
Line_1 | 0.41451 | 0.41451 | 0.41451 | 0.41438 | 0.41438 | 0.41438 | 4.7864 | 4.7864 | 4.7864 | 4.7849 | 4.7849 | 4.7849 | -5.0146 | 1.2187 | 1.2187 | 6.2342 | -5.9507e-12 | -1.9754e-11 | -0.505 | 0.25388 | 0.25388 | 0.7358 | -2.6286e-11 | 1.8434e-11 | 161.2215 | 161.2215 | 161.2215 | -18.5685 | -18.5685 | -18.5685 |  | 1.053 | 0.26008 | 0.26008 | 1.3119 | 0 | 0 | -13.0279 | 172.9893 | 172.9893 | -11.8372 | 0 | 0
Line_2 | 0.41451 | 0.41451 | 0.41451 | 0.41438 | 0.41438 | 0.41438 | 4.7864 | 4.7864 | 4.7864 | 4.7849 | 4.7849 | 4.7849 | -5.0146 | 1.2187 | 1.2187 | 6.2342 | -5.9507e-12 | -1.9754e-11 | -0.505 | 0.25388 | 0.25388 | 0.7358 | -2.6286e-11 | 1.8434e-11 | 161.2215 | 161.2215 | 161.2215 | -18.5685 | -18.5685 | -18.5685 |  | 1.053 | 0.26008 | 0.26008 | 1.3119 | 0 | 0 | -13.0279 | 172.9893 | 172.9893 | -11.8372 | 0 | 0
Line_3 | 0.00044422 | 0.00044422 | 0.00044422 | 0.00044422 | 0.00044422 | 0.00044422 | 0.0051294 | 0.0051294 | 0.0051294 | 0.0051294 | 0.0051294 | 0.0051294 | 0.00054695 | -0.00027348 | -0.00027348 | 0.00054695 | -0.00027348 | -0.00027348 | -0.0053735 | 0.0013057 | 0.0013057 | -0.0053735 | 0.0013057 | 0.0013057 | 71.1601 | 71.1601 | 71.1601 | 71.1601 | 71.1601 | 71.1601 |  | 1.053 | 0.26008 | 0.26008 | 1.053 | 0.26008 | 0.26008 | -13.0279 | 172.9893 | 172.9893 | -13.0279 | 172.9893 | 172.9893

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82852 | 3.4519 | 2.808 | 0.82877 | 3.4529 | 2.8067 | 9.5669 | 39.8594 | 32.424 | 9.5698 | 39.8711 | 32.4087 | 13.1557 | 11.9043 | 7.8626 | -12.4683 | -1.6525e-10 | 9.0087e-12 | 1.8376 | 7.0563 | 4.6322 | -1.4716 | -1.5208e-10 | -1.8278e-10 | -18.4198 | -163.98 | 25.6257 | 161.4315 | 16.0518 | -154.4094 |  | 1.3885 | 0.34718 | 0.28145 | 1.3119 | 0 | 0 | -10.468 | -133.3225 | 56.13 | -11.8372 | 0 | 0
Line_1 | 0.41451 | 0.41451 | 0.41451 | 0.41438 | 0.41438 | 0.41438 | 4.7864 | 4.7864 | 4.7864 | 4.7849 | 4.7849 | 4.7849 | -5.0146 | 1.2187 | 1.2187 | 6.2342 | -5.9507e-12 | -1.9754e-11 | -0.505 | 0.25388 | 0.25388 | 0.7358 | -2.6286e-11 | 1.8434e-11 | 161.2215 | 161.2215 | 161.2215 | -18.5685 | -18.5685 | -18.5685 |  | 1.053 | 0.26008 | 0.26008 | 1.3119 | 0 | 0 | -13.0279 | 172.9893 | 172.9893 | -11.8372 | 0 | 0
Line_2 | 0.41451 | 0.41451 | 0.41451 | 0.41438 | 0.41438 | 0.41438 | 4.7864 | 4.7864 | 4.7864 | 4.7849 | 4.7849 | 4.7849 | -5.0146 | 1.2187 | 1.2187 | 6.2342 | -5.9507e-12 | -1.9754e-11 | -0.505 | 0.25388 | 0.25388 | 0.7358 | -2.6286e-11 | 1.8434e-11 | 161.2215 | 161.2215 | 161.2215 | -18.5685 | -18.5685 | -18.5685 |  | 1.053 | 0.26008 | 0.26008 | 1.3119 | 0 | 0 | -13.0279 | 172.9893 | 172.9893 | -11.8372 | 0 | 0
Line_3 | 0.00044422 | 0.00044422 | 0.00044422 | 0.00044422 | 0.00044422 | 0.00044422 | 0.0051294 | 0.0051294 | 0.0051294 | 0.0051294 | 0.0051294 | 0.0051294 | 0.00054695 | -0.00027348 | -0.00027348 | 0.00054695 | -0.00027348 | -0.00027348 | -0.0053735 | 0.0013057 | 0.0013057 | -0.0053735 | 0.0013057 | 0.0013057 | 71.1601 | 71.1601 | 71.1601 | 71.1601 | 71.1601 | 71.1601 |  | 1.053 | 0.26008 | 0.26008 | 1.053 | 0.26008 | 0.26008 | -13.0279 | 172.9893 | 172.9893 | -13.0279 | 172.9893 | 172.9893

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33714 | 1.0573 | 0.95379 | 0.33724 | 1.0581 | 0.95294 | 3.893 | 12.209 | 11.0134 | 3.8942 | 12.2175 | 11.0036 | 3.8834 | 9.1033 | 3.6274 | -3.7656 | -7.9925 | -2.718 | 2.0093 | 5.4661 | 6.4379 | -1.9536 | -4.8038 | -5.8979 | -34.5092 | -151.3494 | 47.0354 | 145.3421 | 28.6769 | -132.9783 |  | 1.1231 | 0.86971 | 0.67095 | 1.0894 | 0.76326 | 0.59017 | -7.1521 | -120.3667 | 107.6367 | -7.2379 | -120.3158 | 112.2795
Line_1 | 0.16867 | 0.16867 | 0.16867 | 0.16862 | 0.16862 | 0.16862 | 1.9477 | 1.9477 | 1.9477 | 1.9471 | 1.9471 | 1.9471 | -1.678 | 0.083814 | 1.1674 | 1.8828 | 0.11252 | -0.96304 | -0.94195 | 1.5239 | -0.58152 | 0.97679 | -1.4819 | 0.6269 | 145.1321 | 145.1321 | 145.1321 | -34.6579 | -34.6579 | -34.6579 |  | 0.988 | 0.78362 | 0.66964 | 1.0894 | 0.76326 | 0.59017 | -5.5602 | -128.0159 | 118.6531 | -7.2379 | -120.3158 | 112.2795
Line_2 | 0.16867 | 0.16867 | 0.16867 | 0.16862 | 0.16862 | 0.16862 | 1.9477 | 1.9477 | 1.9477 | 1.9471 | 1.9471 | 1.9471 | -1.678 | 0.083814 | 1.1674 | 1.8828 | 0.11252 | -0.96304 | -0.94195 | 1.5239 | -0.58152 | 0.97679 | -1.4819 | 0.6269 | 145.1321 | 145.1321 | 145.1321 | -34.6579 | -34.6579 | -34.6579 |  | 0.988 | 0.78362 | 0.66964 | 1.0894 | 0.76326 | 0.59017 | -5.5602 | -128.0159 | 118.6531 | -7.2379 | -120.3158 | 112.2795
Line_3 | 0.00018076 | 0.00018076 | 0.00018076 | 0.00018076 | 0.00018076 | 0.00018076 | 0.0020873 | 0.0020873 | 0.0020873 | 0.0020873 | 0.0020873 | 0.0020873 | 0.0010114 | -0.0016333 | 0.00062186 | 0.0010114 | -0.0016333 | 0.00062186 | -0.0017972 | 8.8071e-05 | 0.0012518 | -0.0017972 | 8.8071e-05 | 0.0012518 | 55.0707 | 55.0707 | 55.0707 | 55.0707 | 55.0707 | 55.0707 |  | 0.988 | 0.78362 | 0.66964 | 0.988 | 0.78362 | 0.66964 | -5.5602 | -128.0159 | 118.6531 | -5.5602 | -128.0159 | 118.6531

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33714 | 1.0573 | 0.95379 | 0.33724 | 1.0581 | 0.95294 | 3.893 | 12.209 | 11.0134 | 3.8942 | 12.2175 | 11.0036 | 3.8834 | 9.1033 | 3.6274 | -3.7656 | -7.9925 | -2.718 | 2.0093 | 5.4661 | 6.4379 | -1.9536 | -4.8038 | -5.8979 | -34.5092 | -151.3494 | 47.0354 | 145.3421 | 28.6769 | -132.9783 |  | 1.1231 | 0.86971 | 0.67095 | 1.0894 | 0.76326 | 0.59017 | -7.1521 | -120.3667 | 107.6367 | -7.2379 | -120.3158 | 112.2795
Line_1 | 0.16867 | 0.16867 | 0.16867 | 0.16862 | 0.16862 | 0.16862 | 1.9477 | 1.9477 | 1.9477 | 1.9471 | 1.9471 | 1.9471 | -1.678 | 0.083814 | 1.1674 | 1.8828 | 0.11252 | -0.96304 | -0.94195 | 1.5239 | -0.58152 | 0.97679 | -1.4819 | 0.6269 | 145.1321 | 145.1321 | 145.1321 | -34.6579 | -34.6579 | -34.6579 |  | 0.988 | 0.78362 | 0.66964 | 1.0894 | 0.76326 | 0.59017 | -5.5602 | -128.0159 | 118.6531 | -7.2379 | -120.3158 | 112.2795
Line_2 | 0.16867 | 0.16867 | 0.16867 | 0.16862 | 0.16862 | 0.16862 | 1.9477 | 1.9477 | 1.9477 | 1.9471 | 1.9471 | 1.9471 | -1.678 | 0.083814 | 1.1674 | 1.8828 | 0.11252 | -0.96304 | -0.94195 | 1.5239 | -0.58152 | 0.97679 | -1.4819 | 0.6269 | 145.1321 | 145.1321 | 145.1321 | -34.6579 | -34.6579 | -34.6579 |  | 0.988 | 0.78362 | 0.66964 | 1.0894 | 0.76326 | 0.59017 | -5.5602 | -128.0159 | 118.6531 | -7.2379 | -120.3158 | 112.2795
Line_3 | 0.00018076 | 0.00018076 | 0.00018076 | 0.00018076 | 0.00018076 | 0.00018076 | 0.0020873 | 0.0020873 | 0.0020873 | 0.0020873 | 0.0020873 | 0.0020873 | 0.0010114 | -0.0016333 | 0.00062186 | 0.0010114 | -0.0016333 | 0.00062186 | -0.0017972 | 8.8071e-05 | 0.0012518 | -0.0017972 | 8.8071e-05 | 0.0012518 | 55.0707 | 55.0707 | 55.0707 | 55.0707 | 55.0707 | 55.0707 |  | 0.988 | 0.78362 | 0.66964 | 0.988 | 0.78362 | 0.66964 | -5.5602 | -128.0159 | 118.6531 | -5.5602 | -128.0159 | 118.6531