## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9914 | 0.90845 | 0.69158 | 1.9893 | 0.91046 | 0.69364 | 22.9947 | 10.4899 | 7.9856 | 22.9704 | 10.513 | 8.0094 | 6.5432 | -12.035 | 9.5619 | -3.6315 | 12.3959 | -9.6679 | 6.369 | 5.842 | 2.3949 | -2.9254 | -6.0048 | -2.4809 | -69.9085 | 80.7573 | 115.3799 | 110.1014 | -99.197 | -64.6646 |  | 0.3971 | 1.2753 | 1.2344 | 0.20301 | 1.3102 | 1.2462 | -25.6816 | -125.1357 | 129.4412 | -31.0445 | -125.0435 | 129.7278
Line_1 | 1.6923 | 0.4835 | 0.3565 | 1.6947 | 0.48111 | 0.3541 | 19.5407 | 5.583 | 4.1165 | 19.5687 | 5.5553 | 4.0888 | 8.0634e-11 | 6.5783 | -5.1068 | 3.0311 | -6.6813 | 4.8138 | -6.8921e-11 | -3.2105 | -1.7897 | 2.568 | 2.887 | 1.6702 | 108.7043 | -101.5909 | -69.5165 | -71.3161 | 78.3258 | 110.5934 |  | 0 | 1.3111 | 1.3145 | 0.20301 | 1.3102 | 1.2462 | 0 | -127.6051 | 129.7966 | -31.0445 | -125.0435 | 129.7278
Line_2 | 0.29589 | 0.43246 | 0.34417 | 0.29808 | 0.4303 | 0.34201 | 3.4167 | 4.9936 | 3.9742 | 3.442 | 4.9687 | 3.9491 | -0.69676 | 6.0423 | -4.6537 | 0.6004 | -5.7146 | 4.8541 | -0.26323 | -2.9584 | -0.80631 | 0.35747 | 3.1178 | 0.81075 | 118.3072 | -96.3301 | -59.8712 | -61.8134 | 83.573 | 120.2455 |  | 0.218 | 1.3473 | 1.1884 | 0.20301 | 1.3102 | 1.2462 | -40.9966 | -122.4173 | 129.9584 | -31.0445 | -125.0435 | 129.7278
Line_3 | 1.4003 | 0.066585 | 0.060598 | 1.4027 | 0.065211 | 0.059387 | 16.1689 | 0.76886 | 0.69972 | 16.197 | 0.75299 | 0.68574 | 6.8687e-11 | 0.9928 | 0.027517 | 2.9835 | -0.97042 | -0.055826 | -5.4644e-11 | 0.17472 | -0.9194 | 1.8884 | -0.29575 | 0.81305 | 106.6867 | -137.5864 | -141.9177 | -73.3291 | 40.6334 | 36.0305 |  | 0 | 1.3111 | 1.3145 | 0.218 | 1.3473 | 1.1884 | 0 | -127.6051 | 129.7966 | -40.9966 | -122.4173 | 129.9584

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9914 | 0.90845 | 0.69158 | 1.9893 | 0.91046 | 0.69364 | 22.9947 | 10.4899 | 7.9856 | 22.9704 | 10.513 | 8.0094 | 6.5432 | -12.035 | 9.5619 | -3.6315 | 12.3959 | -9.6679 | 6.369 | 5.842 | 2.3949 | -2.9254 | -6.0048 | -2.4809 | -69.9085 | 80.7573 | 115.3799 | 110.1014 | -99.197 | -64.6646 |  | 0.3971 | 1.2753 | 1.2344 | 0.20301 | 1.3102 | 1.2462 | -25.6816 | -125.1357 | 129.4412 | -31.0445 | -125.0435 | 129.7278
Line_1 | 1.6923 | 0.4835 | 0.3565 | 1.6947 | 0.48111 | 0.3541 | 19.5407 | 5.583 | 4.1165 | 19.5687 | 5.5553 | 4.0888 | 8.0634e-11 | 6.5783 | -5.1068 | 3.0311 | -6.6813 | 4.8138 | -6.8921e-11 | -3.2105 | -1.7897 | 2.568 | 2.887 | 1.6702 | 108.7043 | -101.5909 | -69.5165 | -71.3161 | 78.3258 | 110.5934 |  | 0 | 1.3111 | 1.3145 | 0.20301 | 1.3102 | 1.2462 | 0 | -127.6051 | 129.7966 | -31.0445 | -125.0435 | 129.7278
Line_2 | 0.29589 | 0.43246 | 0.34417 | 0.29808 | 0.4303 | 0.34201 | 3.4167 | 4.9936 | 3.9742 | 3.442 | 4.9687 | 3.9491 | -0.69676 | 6.0423 | -4.6537 | 0.6004 | -5.7146 | 4.8541 | -0.26323 | -2.9584 | -0.80631 | 0.35747 | 3.1178 | 0.81075 | 118.3072 | -96.3301 | -59.8712 | -61.8134 | 83.573 | 120.2455 |  | 0.218 | 1.3473 | 1.1884 | 0.20301 | 1.3102 | 1.2462 | -40.9966 | -122.4173 | 129.9584 | -31.0445 | -125.0435 | 129.7278
Line_3 | 1.4003 | 0.066585 | 0.060598 | 1.4027 | 0.065211 | 0.059387 | 16.1689 | 0.76886 | 0.69972 | 16.197 | 0.75299 | 0.68574 | 6.8687e-11 | 0.9928 | 0.027517 | 2.9835 | -0.97042 | -0.055826 | -5.4644e-11 | 0.17472 | -0.9194 | 1.8884 | -0.29575 | 0.81305 | 106.6867 | -137.5864 | -141.9177 | -73.3291 | 40.6334 | 36.0305 |  | 0 | 1.3111 | 1.3145 | 0.218 | 1.3473 | 1.1884 | 0 | -127.6051 | 129.7966 | -40.9966 | -122.4173 | 129.9584

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49734 | 0.23108 | 0.30329 | 0.49671 | 0.23144 | 0.30374 | 5.7427 | 2.6683 | 3.5021 | 5.7355 | 2.6725 | 3.5072 | 4.783 | -3.1807 | 2.7193 | -4.5669 | 3.2374 | -2.7454 | 2.5847 | 0.31577 | -2.9617 | -2.3622 | -0.33709 | 3.0008 | -36.5625 | 65.1151 | 171.1956 | 143.4653 | -114.7451 | -8.8998 |  | 0.94671 | 1.1979 | 1.1481 | 0.89646 | 1.2179 | 1.1597 | -8.1761 | -120.5545 | 123.7524 | -9.1842 | -120.6897 | 123.5553
Line_1 | 0.46394 | 0.12753 | 0.14829 | 0.46468 | 0.12704 | 0.1478 | 5.3571 | 1.4726 | 1.7123 | 5.3657 | 1.4669 | 1.7066 | -3.7035 | 1.7953 | -1.4609 | 3.9603 | -1.7775 | 1.4134 | -2.5351 | -0.22172 | 1.4037 | 2.7301 | 0.1801 | -1.3854 | 136.268 | -114.6281 | -12.2581 | -43.7651 | 65.0961 | 167.9805 |  | 0.83777 | 1.2284 | 1.1832 | 0.89646 | 1.2179 | 1.1597 | -9.3401 | -121.6683 | 123.8868 | -9.1842 | -120.6897 | 123.5553
Line_2 | 0.068388 | 0.10478 | 0.15682 | 0.068533 | 0.1044 | 0.15636 | 0.78968 | 1.2099 | 1.8108 | 0.79135 | 1.2056 | 1.8055 | -0.60145 | 1.4785 | -1.3123 | 0.6066 | -1.4599 | 1.332 | 0.38674 | -0.14518 | 1.6111 | -0.36783 | 0.15699 | -1.6155 | -157.3637 | -114.2171 | -6.1523 | 22.0477 | 65.4482 | 174.0489 |  | 0.9055 | 1.2279 | 1.1475 | 0.89646 | 1.2179 | 1.1597 | -10.1052 | -119.8251 | 123.0103 | -9.1842 | -120.6897 | 123.5553
Line_3 | 0.44064 | 0.022927 | 0.01845 | 0.44141 | 0.02249 | 0.018136 | 5.0881 | 0.26474 | 0.21304 | 5.097 | 0.25969 | 0.20942 | -3.1398 | 0.32345 | -0.087437 | 3.4401 | -0.31857 | 0.078013 | -2.8831 | -0.033702 | -0.23642 | 3.0768 | 0.013808 | 0.22729 | 128.1009 | -115.7199 | -125.8168 | -51.9145 | 62.6568 | 51.954 |  | 0.83777 | 1.2284 | 1.1832 | 0.9055 | 1.2279 | 1.1475 | -9.3401 | -121.6683 | 123.8868 | -10.1052 | -119.8251 | 123.0103

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49734 | 0.23108 | 0.30329 | 0.49671 | 0.23144 | 0.30374 | 5.7427 | 2.6683 | 3.5021 | 5.7355 | 2.6725 | 3.5072 | 4.783 | -3.1807 | 2.7193 | -4.5669 | 3.2374 | -2.7454 | 2.5847 | 0.31577 | -2.9617 | -2.3622 | -0.33709 | 3.0008 | -36.5625 | 65.1151 | 171.1956 | 143.4653 | -114.7451 | -8.8998 |  | 0.94671 | 1.1979 | 1.1481 | 0.89646 | 1.2179 | 1.1597 | -8.1761 | -120.5545 | 123.7524 | -9.1842 | -120.6897 | 123.5553
Line_1 | 0.46394 | 0.12753 | 0.14829 | 0.46468 | 0.12704 | 0.1478 | 5.3571 | 1.4726 | 1.7123 | 5.3657 | 1.4669 | 1.7066 | -3.7035 | 1.7953 | -1.4609 | 3.9603 | -1.7775 | 1.4134 | -2.5351 | -0.22172 | 1.4037 | 2.7301 | 0.1801 | -1.3854 | 136.268 | -114.6281 | -12.2581 | -43.7651 | 65.0961 | 167.9805 |  | 0.83777 | 1.2284 | 1.1832 | 0.89646 | 1.2179 | 1.1597 | -9.3401 | -121.6683 | 123.8868 | -9.1842 | -120.6897 | 123.5553
Line_2 | 0.068388 | 0.10478 | 0.15682 | 0.068533 | 0.1044 | 0.15636 | 0.78968 | 1.2099 | 1.8108 | 0.79135 | 1.2056 | 1.8055 | -0.60145 | 1.4785 | -1.3123 | 0.6066 | -1.4599 | 1.332 | 0.38674 | -0.14518 | 1.6111 | -0.36783 | 0.15699 | -1.6155 | -157.3637 | -114.2171 | -6.1523 | 22.0477 | 65.4482 | 174.0489 |  | 0.9055 | 1.2279 | 1.1475 | 0.89646 | 1.2179 | 1.1597 | -10.1052 | -119.8251 | 123.0103 | -9.1842 | -120.6897 | 123.5553
Line_3 | 0.44064 | 0.022927 | 0.01845 | 0.44141 | 0.02249 | 0.018136 | 5.0881 | 0.26474 | 0.21304 | 5.097 | 0.25969 | 0.20942 | -3.1398 | 0.32345 | -0.087437 | 3.4401 | -0.31857 | 0.078013 | -2.8831 | -0.033702 | -0.23642 | 3.0768 | 0.013808 | 0.22729 | 128.1009 | -115.7199 | -125.8168 | -51.9145 | 62.6568 | 51.954 |  | 0.83777 | 1.2284 | 1.1832 | 0.9055 | 1.2279 | 1.1475 | -9.3401 | -121.6683 | 123.8868 | -10.1052 | -119.8251 | 123.0103

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.721 | 0.77788 | 0.64707 | 1.7195 | 0.77938 | 0.64858 | 19.8722 | 8.9822 | 7.4717 | 19.855 | 8.9995 | 7.4891 | 8.7541 | -6.5648 | 7.3395 | -4.8045 | 6.8697 | -7.2457 | 5.3255 | 7.1482 | 1.9398 | -2.4397 | -7.4121 | -2.1733 | -60.4899 | 105.656 | 111.3503 | 119.5173 | -74.3332 | -68.6499 |  | 0.51563 | 1.0805 | 1.016 | 0.27139 | 1.123 | 1.0101 | -29.1763 | -121.78 | 126.1549 | -33.5611 | -121.5079 | 128.046
Line_1 | 1.4236 | 0.41963 | 0.34944 | 1.4254 | 0.41767 | 0.34748 | 16.4382 | 4.8455 | 4.035 | 16.4596 | 4.8229 | 4.0124 | -3.9862e-11 | 3.8247 | -4.0038 | 3.9342 | -4.0767 | 3.7062 | 2.6953e-12 | -3.9125 | -1.9105 | 2.1155 | 3.5653 | 1.6399 | 118.1971 | -80.3388 | -75.8507 | -61.8286 | 99.6635 | 104.1773 |  | 0 | 1.1292 | 1.0995 | 0.27139 | 1.123 | 1.0101 | 0 | -125.9887 | 129.6583 | -33.5611 | -121.5079 | 128.046
Line_2 | 0.29471 | 0.36828 | 0.30856 | 0.29635 | 0.36661 | 0.30689 | 3.403 | 4.2526 | 3.563 | 3.4219 | 4.2333 | 3.5437 | -1.0093 | 3.2324 | -3.2189 | 0.87022 | -2.793 | 3.5395 | -0.22898 | -3.7673 | -0.49684 | 0.32424 | 3.8467 | 0.53331 | 126.0698 | -67.4818 | -60.5504 | -53.9959 | 112.5099 | 119.4774 |  | 0.30413 | 1.1673 | 0.91415 | 0.27139 | 1.123 | 1.0101 | -41.1477 | -116.8523 | 128.2239 | -33.5611 | -121.5079 | 128.046
Line_3 | 1.1315 | 0.10213 | 0.096735 | 1.1334 | 0.10114 | 0.095734 | 13.066 | 1.1793 | 1.117 | 13.0875 | 1.1679 | 1.1054 | -3.1741e-11 | 1.3205 | -0.15898 | 3.6714 | -1.3003 | 0.13905 | 1.0095e-12 | 0.17203 | -1.2178 | 1.5373 | -0.40939 | 1.0009 | 116.1505 | -133.4114 | -132.904 | -63.8683 | 45.6721 | 46.1331 |  | 0 | 1.1292 | 1.0995 | 0.30413 | 1.1673 | 0.91415 | 0 | -125.9887 | 129.6583 | -41.1477 | -116.8523 | 128.2239

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.721 | 0.77788 | 0.64707 | 1.7195 | 0.77938 | 0.64858 | 19.8722 | 8.9822 | 7.4717 | 19.855 | 8.9995 | 7.4891 | 8.7541 | -6.5648 | 7.3395 | -4.8045 | 6.8697 | -7.2457 | 5.3255 | 7.1482 | 1.9398 | -2.4397 | -7.4121 | -2.1733 | -60.4899 | 105.656 | 111.3503 | 119.5173 | -74.3332 | -68.6499 |  | 0.51563 | 1.0805 | 1.016 | 0.27139 | 1.123 | 1.0101 | -29.1763 | -121.78 | 126.1549 | -33.5611 | -121.5079 | 128.046
Line_1 | 1.4236 | 0.41963 | 0.34944 | 1.4254 | 0.41767 | 0.34748 | 16.4382 | 4.8455 | 4.035 | 16.4596 | 4.8229 | 4.0124 | -3.9862e-11 | 3.8247 | -4.0038 | 3.9342 | -4.0767 | 3.7062 | 2.6953e-12 | -3.9125 | -1.9105 | 2.1155 | 3.5653 | 1.6399 | 118.1971 | -80.3388 | -75.8507 | -61.8286 | 99.6635 | 104.1773 |  | 0 | 1.1292 | 1.0995 | 0.27139 | 1.123 | 1.0101 | 0 | -125.9887 | 129.6583 | -33.5611 | -121.5079 | 128.046
Line_2 | 0.29471 | 0.36828 | 0.30856 | 0.29635 | 0.36661 | 0.30689 | 3.403 | 4.2526 | 3.563 | 3.4219 | 4.2333 | 3.5437 | -1.0093 | 3.2324 | -3.2189 | 0.87022 | -2.793 | 3.5395 | -0.22898 | -3.7673 | -0.49684 | 0.32424 | 3.8467 | 0.53331 | 126.0698 | -67.4818 | -60.5504 | -53.9959 | 112.5099 | 119.4774 |  | 0.30413 | 1.1673 | 0.91415 | 0.27139 | 1.123 | 1.0101 | -41.1477 | -116.8523 | 128.2239 | -33.5611 | -121.5079 | 128.046
Line_3 | 1.1315 | 0.10213 | 0.096735 | 1.1334 | 0.10114 | 0.095734 | 13.066 | 1.1793 | 1.117 | 13.0875 | 1.1679 | 1.1054 | -3.1741e-11 | 1.3205 | -0.15898 | 3.6714 | -1.3003 | 0.13905 | 1.0095e-12 | 0.17203 | -1.2178 | 1.5373 | -0.40939 | 1.0009 | 116.1505 | -133.4114 | -132.904 | -63.8683 | 45.6721 | 46.1331 |  | 0 | 1.1292 | 1.0995 | 0.30413 | 1.1673 | 0.91415 | 0 | -125.9887 | 129.6583 | -41.1477 | -116.8523 | 128.2239

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55107 | 0.24908 | 0.2072 | 0.5506 | 0.24956 | 0.20768 | 6.3633 | 2.8762 | 2.3925 | 6.3577 | 2.8817 | 2.3981 | 4.5016 | -1.3556 | 2.363 | -4.0939 | 1.3879 | -2.3571 | 3.1615 | 2.6264 | -0.25901 | -2.8629 | -2.6573 | 0.23613 | -43.6053 | 122.5406 | 128.235 | 136.4019 | -57.4486 | -51.7653 |  | 0.86447 | 1.0276 | 0.99358 | 0.78574 | 1.0403 | 0.98784 | -8.5252 | -120.1586 | 121.9798 | -8.6328 | -119.8709 | 122.5141
Line_1 | 0.45584 | 0.13437 | 0.11189 | 0.45644 | 0.13374 | 0.11127 | 5.2636 | 1.5516 | 1.292 | 5.2705 | 1.5443 | 1.2848 | -2.9309 | 0.86502 | -1.3044 | 3.3371 | -0.88861 | 1.2688 | -2.2312 | -1.3786 | -0.059577 | 2.4523 | 1.3384 | 0.032163 | 135.0818 | -63.4542 | -58.9661 | -44.9439 | 116.5481 | 121.062 |  | 0.6998 | 1.0489 | 1.0106 | 0.78574 | 1.0403 | 0.98784 | -7.6371 | -121.347 | 123.6491 | -8.6328 | -119.8709 | 122.5141
Line_2 | 0.094368 | 0.11793 | 0.098804 | 0.094892 | 0.11739 | 0.09827 | 1.0897 | 1.3617 | 1.1409 | 1.0957 | 1.3555 | 1.1347 | -0.76778 | 0.54514 | -1.0596 | 0.75678 | -0.49925 | 1.0884 | -0.39792 | -1.3149 | 0.27343 | 0.41053 | 1.3188 | -0.26829 | 142.9545 | -50.5972 | -43.6658 | -37.1113 | 129.3945 | 136.3621 |  | 0.79361 | 1.0453 | 0.95916 | 0.78574 | 1.0403 | 0.98784 | -9.6493 | -118.0794 | 121.8645 | -8.6328 | -119.8709 | 122.5141
Line_3 | 0.36233 | 0.032703 | 0.030975 | 0.36293 | 0.032387 | 0.030655 | 4.1838 | 0.37762 | 0.35767 | 4.1907 | 0.37397 | 0.35397 | -2.2648 | 0.3947 | -0.18254 | 2.6444 | -0.3909 | 0.17564 | -1.8555 | -0.033284 | -0.31199 | 2.017 | 0.0043405 | 0.29055 | 133.0352 | -116.5268 | -116.0194 | -46.9837 | 62.5567 | 63.0177 |  | 0.6998 | 1.0489 | 1.0106 | 0.79361 | 1.0453 | 0.95916 | -7.6371 | -121.347 | 123.6491 | -9.6493 | -118.0794 | 121.8645

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55107 | 0.24908 | 0.2072 | 0.5506 | 0.24956 | 0.20768 | 6.3633 | 2.8762 | 2.3925 | 6.3577 | 2.8817 | 2.3981 | 4.5016 | -1.3556 | 2.363 | -4.0939 | 1.3879 | -2.3571 | 3.1615 | 2.6264 | -0.25901 | -2.8629 | -2.6573 | 0.23613 | -43.6053 | 122.5406 | 128.235 | 136.4019 | -57.4486 | -51.7653 |  | 0.86447 | 1.0276 | 0.99358 | 0.78574 | 1.0403 | 0.98784 | -8.5252 | -120.1586 | 121.9798 | -8.6328 | -119.8709 | 122.5141
Line_1 | 0.45584 | 0.13437 | 0.11189 | 0.45644 | 0.13374 | 0.11127 | 5.2636 | 1.5516 | 1.292 | 5.2705 | 1.5443 | 1.2848 | -2.9309 | 0.86502 | -1.3044 | 3.3371 | -0.88861 | 1.2688 | -2.2312 | -1.3786 | -0.059577 | 2.4523 | 1.3384 | 0.032163 | 135.0818 | -63.4542 | -58.9661 | -44.9439 | 116.5481 | 121.062 |  | 0.6998 | 1.0489 | 1.0106 | 0.78574 | 1.0403 | 0.98784 | -7.6371 | -121.347 | 123.6491 | -8.6328 | -119.8709 | 122.5141
Line_2 | 0.094368 | 0.11793 | 0.098804 | 0.094892 | 0.11739 | 0.09827 | 1.0897 | 1.3617 | 1.1409 | 1.0957 | 1.3555 | 1.1347 | -0.76778 | 0.54514 | -1.0596 | 0.75678 | -0.49925 | 1.0884 | -0.39792 | -1.3149 | 0.27343 | 0.41053 | 1.3188 | -0.26829 | 142.9545 | -50.5972 | -43.6658 | -37.1113 | 129.3945 | 136.3621 |  | 0.79361 | 1.0453 | 0.95916 | 0.78574 | 1.0403 | 0.98784 | -9.6493 | -118.0794 | 121.8645 | -8.6328 | -119.8709 | 122.5141
Line_3 | 0.36233 | 0.032703 | 0.030975 | 0.36293 | 0.032387 | 0.030655 | 4.1838 | 0.37762 | 0.35767 | 4.1907 | 0.37397 | 0.35397 | -2.2648 | 0.3947 | -0.18254 | 2.6444 | -0.3909 | 0.17564 | -1.8555 | -0.033284 | -0.31199 | 2.017 | 0.0043405 | 0.29055 | 133.0352 | -116.5268 | -116.0194 | -46.9837 | 62.5567 | 63.0177 |  | 0.6998 | 1.0489 | 1.0106 | 0.79361 | 1.0453 | 0.95916 | -7.6371 | -121.347 | 123.6491 | -9.6493 | -118.0794 | 121.8645

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48911 | 3.2289 | 3.1311 | 0.49072 | 3.2288 | 3.1307 | 5.6478 | 37.2843 | 36.155 | 5.6663 | 37.2833 | 36.1506 | -2.3888 | 13.4814 | 6.0097 | 2.5054 | -6.3358 | -2.3198 | 7.0354 | 7.4504 | 14.1232 | -7.2117 | -2.1206 | -7.138 | -105.1219 | -170.3143 | 24.5094 | 74.9755 | 9.7177 | -155.523 |  | 1.3155 | 0.41313 | 0.42452 | 1.3473 | 0.1792 | 0.20762 | 3.6326 | -141.3874 | 91.4588 | 4.133 | -151.7773 | 96.4731
Line_1 | 0.26936 | 2.4502 | 2.3594 | 0.26744 | 2.4503 | 2.3602 | 3.1103 | 28.2926 | 27.2436 | 3.0881 | 28.2932 | 27.253 | 1.5696 | 6.6195e-11 | 8.227e-11 | -1.6208 | 4.657 | 2.1402 | -4.0449 | -5.7012e-11 | -7.3093e-12 | 3.8321 | 2.0048 | 5.2378 | 71.3977 | 4.9806 | -151.3488 | -108.7936 | -175.069 | 28.6989 |  | 1.395 | 0 | 0 | 1.3473 | 0.1792 | 0.20762 | 2.6064 | 0 | 0 | 4.133 | -151.7773 | 96.4731
Line_2 | 0.22631 | 0.81359 | 0.79623 | 0.22455 | 0.81324 | 0.79616 | 2.6132 | 9.3945 | 9.194 | 2.5928 | 9.3904 | 9.1932 | 0.99452 | -1.2782 | 0.17447 | -0.88454 | 1.6788 | 0.17956 | -3.3371 | 0.62586 | -1.8706 | 3.3796 | 0.11572 | 1.9002 | 79.6686 | 24.4134 | -168.2677 | -100.534 | -155.7206 | 11.8714 |  | 1.3325 | 0.15149 | 0.20434 | 1.3473 | 0.1792 | 0.20762 | 6.2635 | 178.325 | 107.061 | 4.133 | -151.7773 | 96.4731
Line_3 | 0.056185 | 1.7043 | 1.614 | 0.055251 | 1.7047 | 1.615 | 0.64877 | 19.679 | 18.6368 | 0.63799 | 19.6846 | 18.6481 | 0.74956 | 5.1738e-11 | 5.4986e-11 | -0.74715 | 2.9792 | 1.2956 | -0.50715 | -3.1867e-11 | -1.2996e-11 | 0.40561 | 0.1311 | 3.5835 | 36.6888 | -4.1262 | -143.1282 | -145.2401 | 175.8053 | 36.9376 |  | 1.395 | 0 | 0 | 1.3325 | 0.15149 | 0.20434 | 2.6064 | 0 | 0 | 6.2635 | 178.325 | 107.061

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48911 | 3.2289 | 3.1311 | 0.49072 | 3.2288 | 3.1307 | 5.6478 | 37.2843 | 36.155 | 5.6663 | 37.2833 | 36.1506 | -2.3888 | 13.4814 | 6.0097 | 2.5054 | -6.3358 | -2.3198 | 7.0354 | 7.4504 | 14.1232 | -7.2117 | -2.1206 | -7.138 | -105.1219 | -170.3143 | 24.5094 | 74.9755 | 9.7177 | -155.523 |  | 1.3155 | 0.41313 | 0.42452 | 1.3473 | 0.1792 | 0.20762 | 3.6326 | -141.3874 | 91.4588 | 4.133 | -151.7773 | 96.4731
Line_1 | 0.26936 | 2.4502 | 2.3594 | 0.26744 | 2.4503 | 2.3602 | 3.1103 | 28.2926 | 27.2436 | 3.0881 | 28.2932 | 27.253 | 1.5696 | 6.6195e-11 | 8.227e-11 | -1.6208 | 4.657 | 2.1402 | -4.0449 | -5.7012e-11 | -7.3093e-12 | 3.8321 | 2.0048 | 5.2378 | 71.3977 | 4.9806 | -151.3488 | -108.7936 | -175.069 | 28.6989 |  | 1.395 | 0 | 0 | 1.3473 | 0.1792 | 0.20762 | 2.6064 | 0 | 0 | 4.133 | -151.7773 | 96.4731
Line_2 | 0.22631 | 0.81359 | 0.79623 | 0.22455 | 0.81324 | 0.79616 | 2.6132 | 9.3945 | 9.194 | 2.5928 | 9.3904 | 9.1932 | 0.99452 | -1.2782 | 0.17447 | -0.88454 | 1.6788 | 0.17956 | -3.3371 | 0.62586 | -1.8706 | 3.3796 | 0.11572 | 1.9002 | 79.6686 | 24.4134 | -168.2677 | -100.534 | -155.7206 | 11.8714 |  | 1.3325 | 0.15149 | 0.20434 | 1.3473 | 0.1792 | 0.20762 | 6.2635 | 178.325 | 107.061 | 4.133 | -151.7773 | 96.4731
Line_3 | 0.056185 | 1.7043 | 1.614 | 0.055251 | 1.7047 | 1.615 | 0.64877 | 19.679 | 18.6368 | 0.63799 | 19.6846 | 18.6481 | 0.74956 | 5.1738e-11 | 5.4986e-11 | -0.74715 | 2.9792 | 1.2956 | -0.50715 | -3.1867e-11 | -1.2996e-11 | 0.40561 | 0.1311 | 3.5835 | 36.6888 | -4.1262 | -143.1282 | -145.2401 | 175.8053 | 36.9376 |  | 1.395 | 0 | 0 | 1.3325 | 0.15149 | 0.20434 | 2.6064 | 0 | 0 | 6.2635 | 178.325 | 107.061

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014245 | 0.76174 | 0.65931 | 0.014832 | 0.76183 | 0.65908 | 0.16449 | 8.7958 | 7.6131 | 0.17126 | 8.7968 | 7.6104 | 0.1553 | 8.0243 | 4.0164 | -0.16184 | -7.5963 | -3.872 | 0.1204 | 2.2929 | 6.3518 | -0.1299 | -2.0369 | -5.9918 | -35.3443 | -141.0034 | 53.2432 | 143.6932 | 39.044 | -126.8081 |  | 1.1947 | 0.9488 | 0.98713 | 1.2117 | 0.89404 | 0.9374 | 2.4409 | -125.0561 | 110.9371 | 2.4459 | -125.9459 | 110.3209
Line_1 | 0.013248 | 0.59774 | 0.55381 | 0.012581 | 0.5977 | 0.5542 | 0.15297 | 6.9021 | 6.3948 | 0.14527 | 6.9016 | 6.3994 | 0.0072034 | -5.273 | -3.5141 | -0.012658 | 5.5759 | 3.6474 | -0.18893 | -2.5668 | -4.413 | 0.17557 | 2.6422 | 4.7626 | 89.7955 | 28.771 | -122.2981 | -91.6778 | -151.3004 | 57.7672 |  | 1.2359 | 0.84969 | 0.88215 | 1.2117 | 0.89404 | 0.9374 | 1.979 | -125.2734 | 109.1715 | 2.4459 | -125.9459 | 110.3209
Line_2 | 0.013095 | 0.20472 | 0.11547 | 0.012891 | 0.2043 | 0.11544 | 0.15121 | 2.3639 | 1.3334 | 0.14886 | 2.3591 | 1.333 | -0.17858 | -1.9825 | -0.2093 | 0.17449 | 2.0204 | 0.2246 | 0.035731 | 0.66158 | -1.2405 | -0.045673 | -0.60535 | 1.2292 | -165.7445 | 70.884 | -149.6612 | 17.1136 | -109.2666 | 30.6756 |  | 1.2044 | 0.88414 | 0.94348 | 1.2117 | 0.89404 | 0.9374 | 2.9409 | -127.57 | 110.7618 | 2.4459 | -125.9459 | 110.3209
Line_3 | 0.020918 | 0.46639 | 0.4542 | 0.020622 | 0.4666 | 0.45464 | 0.24155 | 5.3854 | 5.2447 | 0.23812 | 5.3878 | 5.2497 | 0.18709 | -3.3449 | -3.283 | -0.19051 | 3.6048 | 3.421 | -0.23264 | -3.1226 | -3.26 | 0.21438 | 3.114 | 3.5817 | 53.1729 | 11.695 | -115.6275 | -128.6853 | -168.3916 | 64.4476 |  | 1.2359 | 0.84969 | 0.88215 | 1.2044 | 0.88414 | 0.94348 | 1.979 | -125.2734 | 109.1715 | 2.9409 | -127.57 | 110.7618

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014245 | 0.76174 | 0.65931 | 0.014832 | 0.76183 | 0.65908 | 0.16449 | 8.7958 | 7.6131 | 0.17126 | 8.7968 | 7.6104 | 0.1553 | 8.0243 | 4.0164 | -0.16184 | -7.5963 | -3.872 | 0.1204 | 2.2929 | 6.3518 | -0.1299 | -2.0369 | -5.9918 | -35.3443 | -141.0034 | 53.2432 | 143.6932 | 39.044 | -126.8081 |  | 1.1947 | 0.9488 | 0.98713 | 1.2117 | 0.89404 | 0.9374 | 2.4409 | -125.0561 | 110.9371 | 2.4459 | -125.9459 | 110.3209
Line_1 | 0.013248 | 0.59774 | 0.55381 | 0.012581 | 0.5977 | 0.5542 | 0.15297 | 6.9021 | 6.3948 | 0.14527 | 6.9016 | 6.3994 | 0.0072034 | -5.273 | -3.5141 | -0.012658 | 5.5759 | 3.6474 | -0.18893 | -2.5668 | -4.413 | 0.17557 | 2.6422 | 4.7626 | 89.7955 | 28.771 | -122.2981 | -91.6778 | -151.3004 | 57.7672 |  | 1.2359 | 0.84969 | 0.88215 | 1.2117 | 0.89404 | 0.9374 | 1.979 | -125.2734 | 109.1715 | 2.4459 | -125.9459 | 110.3209
Line_2 | 0.013095 | 0.20472 | 0.11547 | 0.012891 | 0.2043 | 0.11544 | 0.15121 | 2.3639 | 1.3334 | 0.14886 | 2.3591 | 1.333 | -0.17858 | -1.9825 | -0.2093 | 0.17449 | 2.0204 | 0.2246 | 0.035731 | 0.66158 | -1.2405 | -0.045673 | -0.60535 | 1.2292 | -165.7445 | 70.884 | -149.6612 | 17.1136 | -109.2666 | 30.6756 |  | 1.2044 | 0.88414 | 0.94348 | 1.2117 | 0.89404 | 0.9374 | 2.9409 | -127.57 | 110.7618 | 2.4459 | -125.9459 | 110.3209
Line_3 | 0.020918 | 0.46639 | 0.4542 | 0.020622 | 0.4666 | 0.45464 | 0.24155 | 5.3854 | 5.2447 | 0.23812 | 5.3878 | 5.2497 | 0.18709 | -3.3449 | -3.283 | -0.19051 | 3.6048 | 3.421 | -0.23264 | -3.1226 | -3.26 | 0.21438 | 3.114 | 3.5817 | 53.1729 | 11.695 | -115.6275 | -128.6853 | -168.3916 | 64.4476 |  | 1.2359 | 0.84969 | 0.88215 | 1.2044 | 0.88414 | 0.94348 | 1.979 | -125.2734 | 109.1715 | 2.9409 | -127.57 | 110.7618

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56742 | 2.6022 | 2.5844 | 0.56867 | 2.6022 | 2.5841 | 6.552 | 30.0479 | 29.8423 | 6.5665 | 30.0473 | 29.8383 | 0.047591 | 15.7791 | 9.1879 | 0.15561 | -7.3144 | -3.826 | 7.0828 | 2.7857 | 11.7745 | -7.3255 | 0.2054 | -6.3691 | -85.5685 | -160.2115 | 37.3878 | 94.4712 | 19.8173 | -142.6401 |  | 1.081 | 0.53325 | 0.50047 | 1.1158 | 0.24352 | 0.24901 | 4.0465 | -150.1995 | 89.4222 | 5.6881 | -161.7912 | 96.3661
Line_1 | 0.31446 | 1.9795 | 1.9251 | 0.31279 | 1.9793 | 1.9259 | 3.6311 | 22.8571 | 22.2288 | 3.6118 | 22.8555 | 22.2387 | 0.3845 | -6.9638e-11 | -3.106e-11 | -0.51375 | 5.5544 | 3.0896 | -4.2982 | -4.8249e-11 | -7.732e-11 | 3.9973 | 0.35728 | 4.5956 | 88.4266 | 14.5776 | -139.7646 | -91.6355 | -165.4717 | 40.2792 |  | 1.1884 | 0 | 0 | 1.1158 | 0.24352 | 0.24901 | 3.5384 | 0 | 0 | 5.6881 | -161.7912 | 96.3661
Line_2 | 0.26121 | 0.65737 | 0.66778 | 0.2598 | 0.6571 | 0.66788 | 3.0162 | 7.5907 | 7.7109 | 2.9999 | 7.5875 | 7.712 | -0.12191 | -1.2538 | -0.3045 | 0.35814 | 1.76 | 0.73639 | -3.2597 | 1.2692 | -1.9723 | 3.3282 | -0.56268 | 1.7735 | 101.903 | 36.0628 | -151.2098 | -78.17 | -144.0616 | 28.9147 |  | 1.0815 | 0.23503 | 0.25881 | 1.1158 | 0.24352 | 0.24901 | 9.7613 | 170.7122 | 110.0134 | 5.6881 | -161.7912 | 96.3661
Line_3 | 0.085929 | 1.3885 | 1.2773 | 0.085162 | 1.3888 | 1.2781 | 0.99223 | 16.0329 | 14.7487 | 0.98336 | 16.0365 | 14.7585 | 0.90123 | -4.2259e-11 | -2.5791e-11 | -0.89239 | 3.6596 | 1.6869 | -0.76047 | -4.178e-11 | -4.8902e-11 | 0.57851 | -0.9017 | 3.4269 | 43.6966 | 4.6207 | -133.8422 | -137.2847 | -175.4463 | 46.2216 |  | 1.1884 | 0 | 0 | 1.0815 | 0.23503 | 0.25881 | 3.5384 | 0 | 0 | 9.7613 | 170.7122 | 110.0134

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56742 | 2.6022 | 2.5844 | 0.56867 | 2.6022 | 2.5841 | 6.552 | 30.0479 | 29.8423 | 6.5665 | 30.0473 | 29.8383 | 0.047591 | 15.7791 | 9.1879 | 0.15561 | -7.3144 | -3.826 | 7.0828 | 2.7857 | 11.7745 | -7.3255 | 0.2054 | -6.3691 | -85.5685 | -160.2115 | 37.3878 | 94.4712 | 19.8173 | -142.6401 |  | 1.081 | 0.53325 | 0.50047 | 1.1158 | 0.24352 | 0.24901 | 4.0465 | -150.1995 | 89.4222 | 5.6881 | -161.7912 | 96.3661
Line_1 | 0.31446 | 1.9795 | 1.9251 | 0.31279 | 1.9793 | 1.9259 | 3.6311 | 22.8571 | 22.2288 | 3.6118 | 22.8555 | 22.2387 | 0.3845 | -6.9638e-11 | -3.106e-11 | -0.51375 | 5.5544 | 3.0896 | -4.2982 | -4.8249e-11 | -7.732e-11 | 3.9973 | 0.35728 | 4.5956 | 88.4266 | 14.5776 | -139.7646 | -91.6355 | -165.4717 | 40.2792 |  | 1.1884 | 0 | 0 | 1.1158 | 0.24352 | 0.24901 | 3.5384 | 0 | 0 | 5.6881 | -161.7912 | 96.3661
Line_2 | 0.26121 | 0.65737 | 0.66778 | 0.2598 | 0.6571 | 0.66788 | 3.0162 | 7.5907 | 7.7109 | 2.9999 | 7.5875 | 7.712 | -0.12191 | -1.2538 | -0.3045 | 0.35814 | 1.76 | 0.73639 | -3.2597 | 1.2692 | -1.9723 | 3.3282 | -0.56268 | 1.7735 | 101.903 | 36.0628 | -151.2098 | -78.17 | -144.0616 | 28.9147 |  | 1.0815 | 0.23503 | 0.25881 | 1.1158 | 0.24352 | 0.24901 | 9.7613 | 170.7122 | 110.0134 | 5.6881 | -161.7912 | 96.3661
Line_3 | 0.085929 | 1.3885 | 1.2773 | 0.085162 | 1.3888 | 1.2781 | 0.99223 | 16.0329 | 14.7487 | 0.98336 | 16.0365 | 14.7585 | 0.90123 | -4.2259e-11 | -2.5791e-11 | -0.89239 | 3.6596 | 1.6869 | -0.76047 | -4.178e-11 | -4.8902e-11 | 0.57851 | -0.9017 | 3.4269 | 43.6966 | 4.6207 | -133.8422 | -137.2847 | -175.4463 | 46.2216 |  | 1.1884 | 0 | 0 | 1.0815 | 0.23503 | 0.25881 | 3.5384 | 0 | 0 | 9.7613 | 170.7122 | 110.0134

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20232 | 0.72461 | 0.71026 | 0.20277 | 0.72457 | 0.71012 | 2.3362 | 8.3671 | 8.2014 | 2.3414 | 8.3666 | 8.1997 | 0.8727 | 6.7633 | 4.102 | -0.85218 | -6.0697 | -3.7129 | 2.2175 | 2.4959 | 5.967 | -2.249 | -2.2738 | -5.5225 | -66.7976 | -147.1243 | 55.8727 | 113.2343 | 32.912 | -124.1625 |  | 1.02 | 0.86161 | 0.88289 | 1.0272 | 0.7747 | 0.81156 | 1.7202 | -126.8685 | 111.3662 | 2.4823 | -126.5514 | 111.9235
Line_1 | 0.1115 | 0.55578 | 0.53386 | 0.11091 | 0.55577 | 0.53419 | 1.2875 | 6.4176 | 6.1644 | 1.2807 | 6.4174 | 6.1683 | -0.35 | -3.9656 | -2.8269 | 0.3292 | 4.4438 | 3.074 | -1.3133 | -2.2262 | -3.5449 | 1.2737 | 2.2291 | 3.951 | 107.0186 | 26.871 | -120.2457 | -73.0261 | -153.1908 | 59.8073 |  | 1.0556 | 0.70863 | 0.73552 | 1.0272 | 0.7747 | 0.81156 | 2.0957 | -123.8205 | 111.1834 | 2.4823 | -126.5514 | 111.9235
Line_2 | 0.09381 | 0.18192 | 0.18099 | 0.093307 | 0.18182 | 0.18102 | 1.0832 | 2.1007 | 2.0899 | 1.0774 | 2.0995 | 2.0903 | -0.49563 | -1.5862 | -0.60307 | 0.52298 | 1.6259 | 0.63892 | -0.97047 | 0.022733 | -1.5975 | 0.97536 | 0.044668 | 1.5715 | 120.7353 | 52.0326 | -136.1122 | -59.3179 | -128.1251 | 44.0492 |  | 1.006 | 0.75518 | 0.81704 | 1.0272 | 0.7747 | 0.81156 | 3.6812 | -128.7885 | 113.2058 | 2.4823 | -126.5514 | 111.9235
Line_3 | 0.030217 | 0.39856 | 0.36306 | 0.029939 | 0.39872 | 0.36341 | 0.34891 | 4.6022 | 4.1922 | 0.34571 | 4.604 | 4.1962 | 0.19585 | -2.4812 | -2.2316 | -0.19789 | 2.8278 | 2.3995 | -0.31192 | -2.1165 | -2.1278 | 0.28599 | 2.0228 | 2.4489 | 59.9718 | 15.7155 | -112.4519 | -121.0007 | -164.365 | 67.6216 |  | 1.0556 | 0.70863 | 0.73552 | 1.006 | 0.75518 | 0.81704 | 2.0957 | -123.8205 | 111.1834 | 3.6812 | -128.7885 | 113.2058

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20232 | 0.72461 | 0.71026 | 0.20277 | 0.72457 | 0.71012 | 2.3362 | 8.3671 | 8.2014 | 2.3414 | 8.3666 | 8.1997 | 0.8727 | 6.7633 | 4.102 | -0.85218 | -6.0697 | -3.7129 | 2.2175 | 2.4959 | 5.967 | -2.249 | -2.2738 | -5.5225 | -66.7976 | -147.1243 | 55.8727 | 113.2343 | 32.912 | -124.1625 |  | 1.02 | 0.86161 | 0.88289 | 1.0272 | 0.7747 | 0.81156 | 1.7202 | -126.8685 | 111.3662 | 2.4823 | -126.5514 | 111.9235
Line_1 | 0.1115 | 0.55578 | 0.53386 | 0.11091 | 0.55577 | 0.53419 | 1.2875 | 6.4176 | 6.1644 | 1.2807 | 6.4174 | 6.1683 | -0.35 | -3.9656 | -2.8269 | 0.3292 | 4.4438 | 3.074 | -1.3133 | -2.2262 | -3.5449 | 1.2737 | 2.2291 | 3.951 | 107.0186 | 26.871 | -120.2457 | -73.0261 | -153.1908 | 59.8073 |  | 1.0556 | 0.70863 | 0.73552 | 1.0272 | 0.7747 | 0.81156 | 2.0957 | -123.8205 | 111.1834 | 2.4823 | -126.5514 | 111.9235
Line_2 | 0.09381 | 0.18192 | 0.18099 | 0.093307 | 0.18182 | 0.18102 | 1.0832 | 2.1007 | 2.0899 | 1.0774 | 2.0995 | 2.0903 | -0.49563 | -1.5862 | -0.60307 | 0.52298 | 1.6259 | 0.63892 | -0.97047 | 0.022733 | -1.5975 | 0.97536 | 0.044668 | 1.5715 | 120.7353 | 52.0326 | -136.1122 | -59.3179 | -128.1251 | 44.0492 |  | 1.006 | 0.75518 | 0.81704 | 1.0272 | 0.7747 | 0.81156 | 3.6812 | -128.7885 | 113.2058 | 2.4823 | -126.5514 | 111.9235
Line_3 | 0.030217 | 0.39856 | 0.36306 | 0.029939 | 0.39872 | 0.36341 | 0.34891 | 4.6022 | 4.1922 | 0.34571 | 4.604 | 4.1962 | 0.19585 | -2.4812 | -2.2316 | -0.19789 | 2.8278 | 2.3995 | -0.31192 | -2.1165 | -2.1278 | 0.28599 | 2.0228 | 2.4489 | 59.9718 | 15.7155 | -112.4519 | -121.0007 | -164.365 | 67.6216 |  | 1.0556 | 0.70863 | 0.73552 | 1.006 | 0.75518 | 0.81704 | 2.0957 | -123.8205 | 111.1834 | 3.6812 | -128.7885 | 113.2058