## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -4.6896e-14 | 28.4108 | -10.6145 | 4.1685e-14 | -23.0719 | 15.9534 | 1.0421e-14 | 4.32 | 15.8719 | -1.5632e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 5.6808e-13 | -154.8648 | 140.2623 | 6.0586e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | 1.0421e-14 | -13.0085 | 13.0085 | -2.0843e-14 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | -5.2106e-15 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 6.1624e-13 | 180 | -180 | 6.0586e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 2.6053e-14 | -7.0974 | 5.911 | -4.1685e-14 | 7.6906 | -5.3178 | -1.0421e-14 | 1.2523 | -2.5984 | 5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 6.1847e-13 | -173.5168 | 172.7598 | 6.0586e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -2.0843e-14 | -6.5042 | 6.5042 | 1.0421e-14 | 7.0974 | -5.911 | 5.2106e-15 | 1.9253 | -1.9253 | -1.0421e-14 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 6.1624e-13 | 180 | -180 | 6.1847e-13 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -4.6896e-14 | 28.4108 | -10.6145 | 4.1685e-14 | -23.0719 | 15.9534 | 1.0421e-14 | 4.32 | 15.8719 | -1.5632e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 5.6808e-13 | -154.8648 | 140.2623 | 6.0586e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | 1.0421e-14 | -13.0085 | 13.0085 | -2.0843e-14 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | -5.2106e-15 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 6.1624e-13 | 180 | -180 | 6.0586e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 2.6053e-14 | -7.0974 | 5.911 | -4.1685e-14 | 7.6906 | -5.3178 | -1.0421e-14 | 1.2523 | -2.5984 | 5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 6.1847e-13 | -173.5168 | 172.7598 | 6.0586e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -2.0843e-14 | -6.5042 | 6.5042 | 1.0421e-14 | 7.0974 | -5.911 | 5.2106e-15 | 1.9253 | -1.9253 | -1.0421e-14 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 6.1624e-13 | 180 | -180 | 6.1847e-13 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -3.6475e-14 | 17.8002 | 0.06044 | 3.1264e-14 | -16.4209 | 1.3189 | 2.0843e-14 | 3.9189 | 14.5607 | -2.0843e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 2.4989e-13 | -136.625 | 120.7211 | 2.6967e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 5.2106e-15 | -10.3342 | 1.4923 | -1.0421e-14 | 10.9473 | -0.87927 | -2.6053e-15 | -0.87368 | -7.9682 | -5.2106e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 2.7551e-13 | -144.2087 | 131.5665 | 2.6967e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.3204 | 0.59289 | -1.0421e-14 | 5.4736 | -0.43963 | -2.6053e-15 | -0.61073 | -4.158 | -5.2106e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 2.7761e-13 | -142.4927 | 129.0741 | 2.6967e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.5055e-29 | -5.1671 | 0.74615 | -5.2106e-15 | 5.3204 | -0.59289 | -5.2106e-15 | -0.43684 | -3.9841 | -5.2106e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 2.7551e-13 | -144.2087 | 131.5665 | 2.7761e-13 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -3.6475e-14 | 17.8002 | 0.06044 | 3.1264e-14 | -16.4209 | 1.3189 | 2.0843e-14 | 3.9189 | 14.5607 | -2.0843e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 2.4989e-13 | -136.625 | 120.7211 | 2.6967e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 5.2106e-15 | -10.3342 | 1.4923 | -1.0421e-14 | 10.9473 | -0.87927 | -2.6053e-15 | -0.87368 | -7.9682 | -5.2106e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 2.7551e-13 | -144.2087 | 131.5665 | 2.6967e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.3204 | 0.59289 | -1.0421e-14 | 5.4736 | -0.43963 | -2.6053e-15 | -0.61073 | -4.158 | -5.2106e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 2.7761e-13 | -142.4927 | 129.0741 | 2.6967e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.5055e-29 | -5.1671 | 0.74615 | -5.2106e-15 | 5.3204 | -0.59289 | -5.2106e-15 | -0.43684 | -3.9841 | -5.2106e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 2.7551e-13 | -144.2087 | 131.5665 | 2.7761e-13 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 8.2897e-15 | 24.6317 | -2.0295 | -9.4739e-15 | -17.851 | 8.8102 | -2.6053e-14 | -0.29866 | 13.6553 | 2.6053e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 7.2154e-13 | -153.068 | 126.0805 | 7.2251e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | 5.721e-29 | -8.8871 | 8.8871 | 0 | 11.9007 | -5.8735 | -4.737e-15 | 4.6513 | -4.6513 | 0 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 6.9198e-13 | -180 | 180 | 7.2251e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -9.4739e-15 | -5.1969 | 3.6901 | 9.4739e-15 | 5.9503 | -2.9367 | 4.737e-15 | 1.8804 | -2.7709 | -9.4739e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 6.929e-13 | -172.2653 | 170.7242 | 7.2251e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 7.1054e-15 | -4.4435 | 4.4435 | -9.4739e-15 | 5.1969 | -3.6901 | -1.4211e-14 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 6.9198e-13 | -180 | 180 | 6.929e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 8.2897e-15 | 24.6317 | -2.0295 | -9.4739e-15 | -17.851 | 8.8102 | -2.6053e-14 | -0.29866 | 13.6553 | 2.6053e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 7.2154e-13 | -153.068 | 126.0805 | 7.2251e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | 5.721e-29 | -8.8871 | 8.8871 | 0 | 11.9007 | -5.8735 | -4.737e-15 | 4.6513 | -4.6513 | 0 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 6.9198e-13 | -180 | 180 | 7.2251e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -9.4739e-15 | -5.1969 | 3.6901 | 9.4739e-15 | 5.9503 | -2.9367 | 4.737e-15 | 1.8804 | -2.7709 | -9.4739e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 6.929e-13 | -172.2653 | 170.7242 | 7.2251e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 7.1054e-15 | -4.4435 | 4.4435 | -9.4739e-15 | 5.1969 | -3.6901 | -1.4211e-14 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 6.9198e-13 | -180 | 180 | 6.929e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 5.9212e-16 | 14.2512 | 1.4266 | -5.9212e-16 | -12.3717 | 0.45296 | -9.4739e-15 | 1.9064 | 11.2087 | 9.4739e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 3.5221e-13 | -136.4258 | 118.7019 | 3.5219e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -2.3685e-15 | -7.4125 | 1.1373 | 2.3685e-15 | 8.2478 | -0.30197 | -1.3862e-29 | -0.036791 | -6.2383 | -2.3685e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 3.3534e-13 | -143.7605 | 136.2873 | 3.5219e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-15 | -3.9151 | 0.35982 | 4.737e-15 | 4.1239 | -0.15099 | 4.737e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 3.3621e-13 | -141.9705 | 132.2872 | 3.5219e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 3.5527e-15 | -3.7062 | 0.56866 | -2.3685e-15 | 3.9151 | -0.35982 | -4.737e-15 | -0.018396 | -3.1192 | 2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 3.3534e-13 | -143.7605 | 136.2873 | 3.3621e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 5.9212e-16 | 14.2512 | 1.4266 | -5.9212e-16 | -12.3717 | 0.45296 | -9.4739e-15 | 1.9064 | 11.2087 | 9.4739e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 3.5221e-13 | -136.4258 | 118.7019 | 3.5219e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -2.3685e-15 | -7.4125 | 1.1373 | 2.3685e-15 | 8.2478 | -0.30197 | -1.3862e-29 | -0.036791 | -6.2383 | -2.3685e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 3.3534e-13 | -143.7605 | 136.2873 | 3.5219e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-15 | -3.9151 | 0.35982 | 4.737e-15 | 4.1239 | -0.15099 | 4.737e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 3.3621e-13 | -141.9705 | 132.2872 | 3.5219e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 3.5527e-15 | -3.7062 | 0.56866 | -2.3685e-15 | 3.9151 | -0.35982 | -4.737e-15 | -0.018396 | -3.1192 | 2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 3.3534e-13 | -143.7605 | 136.2873 | 3.3621e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1198 | 0.016759 | 0.016759 | 1.1172 | 0.012949 | 0.012949 | 12.9305 | 0.19352 | 0.19352 | 12.9007 | 0.14952 | 0.14952 | 3.3218 | 0.19224 | -0.17497 | -1.3144 | -0.14319 | 0.14025 | 1.8245 | -0.21689 | -0.24996 | -0.73169 | 0.18073 | 0.20925 | -45.7332 | -95.1466 | -95.1466 | 134.4107 | 84.253 | 84.253 | 0.2931 | 1.4977 | 1.5767 | 0.11661 | 1.5421 | 1.6848 | -16.9554 | -143.5939 | 139.8617 | -16.4857 | -147.3564 | 140.421
Line_1 | 0.7407 | 0.002192 | 0.002192 | 0.74345 | 0.0065079 | 0.0065079 | 8.5529 | 0.025311 | 0.025311 | 8.5847 | 0.075146 | 0.075146 | 8.802e-12 | -0.023657 | 0.024298 | 0.87571 | 0.072114 | -0.070316 | -1.6858e-11 | 0.032109 | 0.037195 | 0.48498 | -0.090711 | -0.10528 | 134.7926 | 83.9454 | 83.9454 | -45.4641 | -95.8406 | -95.8406 | 0 | 1.5757 | 1.7553 | 0.11661 | 1.5421 | 1.6848 | 0 | -149.6726 | 140.7906 | -16.4857 | -147.3564 | 140.421
Line_2 | 0.37106 | 0.0022255 | 0.0022255 | 0.37378 | 0.0064411 | 0.0064411 | 4.2846 | 0.025697 | 0.025697 | 4.3161 | 0.074376 | 0.074376 | -0.21599 | -0.024528 | 0.024134 | 0.43868 | 0.07108 | -0.069936 | -0.1221 | 0.031656 | 0.037048 | 0.2467 | -0.090015 | -0.10397 | 134.6564 | 83.6765 | 83.6765 | -45.8384 | -95.6525 | -95.6525 | 0.057909 | 1.5584 | 1.7206 | 0.11661 | 1.5421 | 1.6848 | -15.8647 | -148.5533 | 140.5955 | -16.4857 | -147.3564 | 140.421
Line_3 | 0.36828 | 0.002192 | 0.002192 | 0.37106 | 0.0022255 | 0.0022255 | 4.2526 | 0.025311 | 0.025311 | 4.2846 | 0.025697 | 0.025697 | 4.3183e-12 | 0.023657 | -0.024298 | 0.21599 | 0.024528 | -0.024134 | -8.4119e-12 | -0.032109 | -0.037195 | 0.1221 | -0.031656 | -0.037048 | 135.1893 | -96.0546 | -96.0546 | -45.3436 | -96.3235 | -96.3235 | 0 | 1.5757 | 1.7553 | 0.057909 | 1.5584 | 1.7206 | 0 | -149.6726 | 140.7906 | -15.8647 | -148.5533 | 140.5955

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1198 | 0.016759 | 0.016759 | 1.1172 | 0.012949 | 0.012949 | 12.9305 | 0.19352 | 0.19352 | 12.9007 | 0.14952 | 0.14952 | 3.3218 | 0.19224 | -0.17497 | -1.3144 | -0.14319 | 0.14025 | 1.8245 | -0.21689 | -0.24996 | -0.73169 | 0.18073 | 0.20925 | -45.7332 | -95.1466 | -95.1466 | 134.4107 | 84.253 | 84.253 | 0.2931 | 1.4977 | 1.5767 | 0.11661 | 1.5421 | 1.6848 | -16.9554 | -143.5939 | 139.8617 | -16.4857 | -147.3564 | 140.421
Line_1 | 0.7407 | 0.002192 | 0.002192 | 0.74345 | 0.0065079 | 0.0065079 | 8.5529 | 0.025311 | 0.025311 | 8.5847 | 0.075146 | 0.075146 | 8.802e-12 | -0.023657 | 0.024298 | 0.87571 | 0.072114 | -0.070316 | -1.6858e-11 | 0.032109 | 0.037195 | 0.48498 | -0.090711 | -0.10528 | 134.7926 | 83.9454 | 83.9454 | -45.4641 | -95.8406 | -95.8406 | 0 | 1.5757 | 1.7553 | 0.11661 | 1.5421 | 1.6848 | 0 | -149.6726 | 140.7906 | -16.4857 | -147.3564 | 140.421
Line_2 | 0.37106 | 0.0022255 | 0.0022255 | 0.37378 | 0.0064411 | 0.0064411 | 4.2846 | 0.025697 | 0.025697 | 4.3161 | 0.074376 | 0.074376 | -0.21599 | -0.024528 | 0.024134 | 0.43868 | 0.07108 | -0.069936 | -0.1221 | 0.031656 | 0.037048 | 0.2467 | -0.090015 | -0.10397 | 134.6564 | 83.6765 | 83.6765 | -45.8384 | -95.6525 | -95.6525 | 0.057909 | 1.5584 | 1.7206 | 0.11661 | 1.5421 | 1.6848 | -15.8647 | -148.5533 | 140.5955 | -16.4857 | -147.3564 | 140.421
Line_3 | 0.36828 | 0.002192 | 0.002192 | 0.37106 | 0.0022255 | 0.0022255 | 4.2526 | 0.025311 | 0.025311 | 4.2846 | 0.025697 | 0.025697 | 4.3183e-12 | 0.023657 | -0.024298 | 0.21599 | 0.024528 | -0.024134 | -8.4119e-12 | -0.032109 | -0.037195 | 0.1221 | -0.031656 | -0.037048 | 135.1893 | -96.0546 | -96.0546 | -45.3436 | -96.3235 | -96.3235 | 0 | 1.5757 | 1.7553 | 0.057909 | 1.5584 | 1.7206 | 0 | -149.6726 | 140.7906 | -15.8647 | -148.5533 | 140.5955

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69236 | 0.010362 | 0.010362 | 0.69077 | 0.0080062 | 0.0080062 | 7.9947 | 0.11965 | 0.11965 | 7.9763 | 0.092448 | 0.092448 | 3.6161 | 0.11905 | -0.10801 | -2.8493 | -0.09011 | 0.08515 | 3.0982 | -0.10409 | -0.12442 | -2.669 | 0.085079 | 0.10263 | -45.7043 | -95.1177 | -95.1177 | 134.4395 | 84.2818 | 84.2818 | 0.59562 | 1.3217 | 1.377 | 0.48947 | 1.3405 | 1.4425 | -5.1151 | -136.2818 | 133.9224 | -2.4317 | -139.0733 | 134.5998
Line_1 | 0.45797 | 0.0013553 | 0.0013553 | 0.45967 | 0.0040237 | 0.0040237 | 5.2881 | 0.01565 | 0.01565 | 5.3078 | 0.046462 | 0.046462 | -1.5665 | -0.015046 | 0.014606 | 1.8999 | 0.045357 | -0.04271 | -1.5737 | 0.014949 | 0.018079 | 1.7719 | -0.042685 | -0.051649 | 134.8215 | 83.9743 | 83.9743 | -45.4352 | -95.8117 | -95.8117 | 0.41988 | 1.3553 | 1.4852 | 0.48947 | 1.3405 | 1.4425 | -0.046769 | -140.8421 | 135.0399 | -2.4317 | -139.0733 | 134.5998
Line_2 | 0.22942 | 0.001376 | 0.001376 | 0.23111 | 0.0039825 | 0.0039825 | 2.6491 | 0.015888 | 0.015888 | 2.6686 | 0.045986 | 0.045986 | -0.86541 | -0.015483 | 0.014606 | 0.94939 | 0.044753 | -0.04244 | -0.83688 | 0.014788 | 0.018107 | 0.8971 | -0.042394 | -0.05098 | 134.6852 | 83.7054 | 83.7054 | -45.8095 | -95.6237 | -95.6237 | 0.45444 | 1.3476 | 1.4642 | 0.48947 | 1.3405 | 1.4425 | -1.2752 | -139.9804 | 134.8144 | -2.4317 | -139.0733 | 134.5998
Line_3 | 0.22771 | 0.0013553 | 0.0013553 | 0.22942 | 0.001376 | 0.001376 | 2.6293 | 0.01565 | 0.01565 | 2.6491 | 0.015888 | 0.015888 | -0.78425 | 0.015046 | -0.014606 | 0.86541 | 0.015483 | -0.014606 | -0.77703 | -0.014949 | -0.018079 | 0.83688 | -0.014788 | -0.018107 | 135.2182 | -96.0257 | -96.0257 | -45.3148 | -96.2946 | -96.2946 | 0.41988 | 1.3553 | 1.4852 | 0.45444 | 1.3476 | 1.4642 | -0.046769 | -140.8421 | 135.0399 | -1.2752 | -139.9804 | 134.8144

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69236 | 0.010362 | 0.010362 | 0.69077 | 0.0080062 | 0.0080062 | 7.9947 | 0.11965 | 0.11965 | 7.9763 | 0.092448 | 0.092448 | 3.6161 | 0.11905 | -0.10801 | -2.8493 | -0.09011 | 0.08515 | 3.0982 | -0.10409 | -0.12442 | -2.669 | 0.085079 | 0.10263 | -45.7043 | -95.1177 | -95.1177 | 134.4395 | 84.2818 | 84.2818 | 0.59562 | 1.3217 | 1.377 | 0.48947 | 1.3405 | 1.4425 | -5.1151 | -136.2818 | 133.9224 | -2.4317 | -139.0733 | 134.5998
Line_1 | 0.45797 | 0.0013553 | 0.0013553 | 0.45967 | 0.0040237 | 0.0040237 | 5.2881 | 0.01565 | 0.01565 | 5.3078 | 0.046462 | 0.046462 | -1.5665 | -0.015046 | 0.014606 | 1.8999 | 0.045357 | -0.04271 | -1.5737 | 0.014949 | 0.018079 | 1.7719 | -0.042685 | -0.051649 | 134.8215 | 83.9743 | 83.9743 | -45.4352 | -95.8117 | -95.8117 | 0.41988 | 1.3553 | 1.4852 | 0.48947 | 1.3405 | 1.4425 | -0.046769 | -140.8421 | 135.0399 | -2.4317 | -139.0733 | 134.5998
Line_2 | 0.22942 | 0.001376 | 0.001376 | 0.23111 | 0.0039825 | 0.0039825 | 2.6491 | 0.015888 | 0.015888 | 2.6686 | 0.045986 | 0.045986 | -0.86541 | -0.015483 | 0.014606 | 0.94939 | 0.044753 | -0.04244 | -0.83688 | 0.014788 | 0.018107 | 0.8971 | -0.042394 | -0.05098 | 134.6852 | 83.7054 | 83.7054 | -45.8095 | -95.6237 | -95.6237 | 0.45444 | 1.3476 | 1.4642 | 0.48947 | 1.3405 | 1.4425 | -1.2752 | -139.9804 | 134.8144 | -2.4317 | -139.0733 | 134.5998
Line_3 | 0.22771 | 0.0013553 | 0.0013553 | 0.22942 | 0.001376 | 0.001376 | 2.6293 | 0.01565 | 0.01565 | 2.6491 | 0.015888 | 0.015888 | -0.78425 | 0.015046 | -0.014606 | 0.86541 | 0.015483 | -0.014606 | -0.77703 | -0.014949 | -0.018079 | 0.83688 | -0.014788 | -0.018107 | 135.2182 | -96.0257 | -96.0257 | -45.3148 | -96.2946 | -96.2946 | 0.41988 | 1.3553 | 1.4852 | 0.45444 | 1.3476 | 1.4642 | -0.046769 | -140.8421 | 135.0399 | -1.2752 | -139.9804 | 134.8144

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87531 | 0.014613 | 0.014613 | 0.87331 | 0.011483 | 0.011483 | 10.1073 | 0.16873 | 0.16873 | 10.0841 | 0.13259 | 0.13259 | 3.8955 | 0.15674 | -0.13516 | -1.5424 | -0.11606 | 0.11303 | 1.0934 | -0.1634 | -0.17783 | -0.44454 | 0.14455 | 0.16066 | -38.1389 | -92.8298 | -92.8298 | 142.0198 | 85.9788 | 85.9788 | 0.40031 | 1.3419 | 1.3238 | 0.15918 | 1.3981 | 1.4815 | -22.4601 | -139.0221 | 139.935 | -21.9028 | -145.2605 | 140.85
Line_1 | 0.57903 | 0.0019607 | 0.0019607 | 0.58115 | 0.0057879 | 0.0057879 | 6.6861 | 0.02264 | 0.02264 | 6.7106 | 0.066832 | 0.066832 | -5.8777e-12 | -0.019051 | 0.020036 | 1.0272 | 0.058731 | -0.056715 | 1.1565e-12 | 0.026603 | 0.029759 | 0.2931 | -0.072674 | -0.081159 | 142.486 | 85.3836 | 85.3836 | -37.8285 | -94.2036 | -94.2036 | 0 | 1.4453 | 1.5846 | 0.15918 | 1.3981 | 1.4815 | 0 | -149.009 | 141.4325 | -21.9028 | -145.2605 | 140.85
Line_2 | 0.29006 | 0.0020073 | 0.0020073 | 0.29217 | 0.0056952 | 0.0056952 | 3.3493 | 0.023178 | 0.023178 | 3.3737 | 0.065762 | 0.065762 | -0.25366 | -0.020232 | 0.019753 | 0.51522 | 0.05733 | -0.056318 | -0.075337 | 0.025972 | 0.029561 | 0.15144 | -0.07188 | -0.079499 | 142.3138 | 84.8715 | 84.8715 | -38.282 | -93.8358 | -93.8358 | 0.079005 | 1.4204 | 1.5339 | 0.15918 | 1.3981 | 1.4815 | -21.1449 | -147.2097 | 141.1201 | -21.9028 | -145.2605 | 140.85
Line_3 | 0.28793 | 0.0019607 | 0.0019607 | 0.29006 | 0.0020073 | 0.0020073 | 3.3247 | 0.02264 | 0.02264 | 3.3493 | 0.023178 | 0.023178 | -2.9177e-12 | 0.019051 | -0.020036 | 0.25366 | 0.020232 | -0.019753 | 6.0015e-13 | -0.026603 | -0.029759 | 0.075337 | -0.025972 | -0.029561 | 142.9774 | -94.6164 | -94.6164 | -37.6862 | -95.1285 | -95.1285 | 0 | 1.4453 | 1.5846 | 0.079005 | 1.4204 | 1.5339 | 0 | -149.009 | 141.4325 | -21.1449 | -147.2097 | 141.1201

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87531 | 0.014613 | 0.014613 | 0.87331 | 0.011483 | 0.011483 | 10.1073 | 0.16873 | 0.16873 | 10.0841 | 0.13259 | 0.13259 | 3.8955 | 0.15674 | -0.13516 | -1.5424 | -0.11606 | 0.11303 | 1.0934 | -0.1634 | -0.17783 | -0.44454 | 0.14455 | 0.16066 | -38.1389 | -92.8298 | -92.8298 | 142.0198 | 85.9788 | 85.9788 | 0.40031 | 1.3419 | 1.3238 | 0.15918 | 1.3981 | 1.4815 | -22.4601 | -139.0221 | 139.935 | -21.9028 | -145.2605 | 140.85
Line_1 | 0.57903 | 0.0019607 | 0.0019607 | 0.58115 | 0.0057879 | 0.0057879 | 6.6861 | 0.02264 | 0.02264 | 6.7106 | 0.066832 | 0.066832 | -5.8777e-12 | -0.019051 | 0.020036 | 1.0272 | 0.058731 | -0.056715 | 1.1565e-12 | 0.026603 | 0.029759 | 0.2931 | -0.072674 | -0.081159 | 142.486 | 85.3836 | 85.3836 | -37.8285 | -94.2036 | -94.2036 | 0 | 1.4453 | 1.5846 | 0.15918 | 1.3981 | 1.4815 | 0 | -149.009 | 141.4325 | -21.9028 | -145.2605 | 140.85
Line_2 | 0.29006 | 0.0020073 | 0.0020073 | 0.29217 | 0.0056952 | 0.0056952 | 3.3493 | 0.023178 | 0.023178 | 3.3737 | 0.065762 | 0.065762 | -0.25366 | -0.020232 | 0.019753 | 0.51522 | 0.05733 | -0.056318 | -0.075337 | 0.025972 | 0.029561 | 0.15144 | -0.07188 | -0.079499 | 142.3138 | 84.8715 | 84.8715 | -38.282 | -93.8358 | -93.8358 | 0.079005 | 1.4204 | 1.5339 | 0.15918 | 1.3981 | 1.4815 | -21.1449 | -147.2097 | 141.1201 | -21.9028 | -145.2605 | 140.85
Line_3 | 0.28793 | 0.0019607 | 0.0019607 | 0.29006 | 0.0020073 | 0.0020073 | 3.3247 | 0.02264 | 0.02264 | 3.3493 | 0.023178 | 0.023178 | -2.9177e-12 | 0.019051 | -0.020036 | 0.25366 | 0.020232 | -0.019753 | 6.0015e-13 | -0.026603 | -0.029759 | 0.075337 | -0.025972 | -0.029561 | 142.9774 | -94.6164 | -94.6164 | -37.6862 | -95.1285 | -95.1285 | 0 | 1.4453 | 1.5846 | 0.079005 | 1.4204 | 1.5339 | 0 | -149.009 | 141.4325 | -21.1449 | -147.2097 | 141.1201

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57292 | 0.0095645 | 0.0095645 | 0.57161 | 0.007516 | 0.007516 | 6.6155 | 0.11044 | 0.11044 | 6.6004 | 0.086787 | 0.086787 | 3.2719 | 0.10332 | -0.087094 | -2.2647 | -0.078349 | 0.070952 | 2.1161 | -0.082829 | -0.1011 | -1.83 | 0.071413 | 0.088878 | -40.79 | -95.4809 | -95.4809 | 139.3687 | 83.3277 | 83.3277 | 0.589 | 1.199 | 1.2083 | 0.44113 | 1.2215 | 1.3104 | -7.8964 | -134.1986 | 133.7754 | -1.6915 | -139.0203 | 134.7271
Line_1 | 0.37899 | 0.0012833 | 0.0012833 | 0.38038 | 0.0037883 | 0.0037883 | 4.3762 | 0.014819 | 0.014819 | 4.3923 | 0.043744 | 0.043744 | -1.0722 | -0.013066 | 0.012394 | 1.5103 | 0.039606 | -0.03562 | -1.0784 | 0.012965 | 0.016212 | 1.2138 | -0.035869 | -0.044912 | 139.835 | 82.7326 | 82.7326 | -40.4796 | -96.8547 | -96.8547 | 0.34749 | 1.2422 | 1.3771 | 0.44113 | 1.2215 | 1.3104 | 4.9982 | -142.0456 | 135.3349 | -1.6915 | -139.0203 | 134.7271
Line_2 | 0.18985 | 0.0013138 | 0.0013138 | 0.19123 | 0.0037277 | 0.0037277 | 2.1922 | 0.015171 | 0.015171 | 2.2082 | 0.043044 | 0.043044 | -0.64417 | -0.013703 | 0.012332 | 0.75441 | 0.038744 | -0.035332 | -0.57408 | 0.012688 | 0.016244 | 0.6162 | -0.035544 | -0.043967 | 139.6627 | 82.2204 | 82.2204 | -40.9331 | -96.4869 | -96.4869 | 0.3936 | 1.231 | 1.3443 | 0.44113 | 1.2215 | 1.3104 | 1.3699 | -140.5758 | 135.017 | -1.6915 | -139.0203 | 134.7271
Line_3 | 0.18846 | 0.0012833 | 0.0012833 | 0.18985 | 0.0013138 | 0.0013138 | 2.1761 | 0.014819 | 0.014819 | 2.1922 | 0.015171 | 0.015171 | -0.53776 | 0.013066 | -0.012394 | 0.64417 | 0.013703 | -0.012332 | -0.53163 | -0.012965 | -0.016212 | 0.57408 | -0.012688 | -0.016244 | 140.3264 | -97.2674 | -97.2674 | -40.3373 | -97.7796 | -97.7796 | 0.34749 | 1.2422 | 1.3771 | 0.3936 | 1.231 | 1.3443 | 4.9982 | -142.0456 | 135.3349 | 1.3699 | -140.5758 | 135.017

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57292 | 0.0095645 | 0.0095645 | 0.57161 | 0.007516 | 0.007516 | 6.6155 | 0.11044 | 0.11044 | 6.6004 | 0.086787 | 0.086787 | 3.2719 | 0.10332 | -0.087094 | -2.2647 | -0.078349 | 0.070952 | 2.1161 | -0.082829 | -0.1011 | -1.83 | 0.071413 | 0.088878 | -40.79 | -95.4809 | -95.4809 | 139.3687 | 83.3277 | 83.3277 | 0.589 | 1.199 | 1.2083 | 0.44113 | 1.2215 | 1.3104 | -7.8964 | -134.1986 | 133.7754 | -1.6915 | -139.0203 | 134.7271
Line_1 | 0.37899 | 0.0012833 | 0.0012833 | 0.38038 | 0.0037883 | 0.0037883 | 4.3762 | 0.014819 | 0.014819 | 4.3923 | 0.043744 | 0.043744 | -1.0722 | -0.013066 | 0.012394 | 1.5103 | 0.039606 | -0.03562 | -1.0784 | 0.012965 | 0.016212 | 1.2138 | -0.035869 | -0.044912 | 139.835 | 82.7326 | 82.7326 | -40.4796 | -96.8547 | -96.8547 | 0.34749 | 1.2422 | 1.3771 | 0.44113 | 1.2215 | 1.3104 | 4.9982 | -142.0456 | 135.3349 | -1.6915 | -139.0203 | 134.7271
Line_2 | 0.18985 | 0.0013138 | 0.0013138 | 0.19123 | 0.0037277 | 0.0037277 | 2.1922 | 0.015171 | 0.015171 | 2.2082 | 0.043044 | 0.043044 | -0.64417 | -0.013703 | 0.012332 | 0.75441 | 0.038744 | -0.035332 | -0.57408 | 0.012688 | 0.016244 | 0.6162 | -0.035544 | -0.043967 | 139.6627 | 82.2204 | 82.2204 | -40.9331 | -96.4869 | -96.4869 | 0.3936 | 1.231 | 1.3443 | 0.44113 | 1.2215 | 1.3104 | 1.3699 | -140.5758 | 135.017 | -1.6915 | -139.0203 | 134.7271
Line_3 | 0.18846 | 0.0012833 | 0.0012833 | 0.18985 | 0.0013138 | 0.0013138 | 2.1761 | 0.014819 | 0.014819 | 2.1922 | 0.015171 | 0.015171 | -0.53776 | 0.013066 | -0.012394 | 0.64417 | 0.013703 | -0.012332 | -0.53163 | -0.012965 | -0.016212 | 0.57408 | -0.012688 | -0.016244 | 140.3264 | -97.2674 | -97.2674 | -40.3373 | -97.7796 | -97.7796 | 0.34749 | 1.2422 | 1.3771 | 0.3936 | 1.231 | 1.3443 | 4.9982 | -142.0456 | 135.3349 | 1.3699 | -140.5758 | 135.017

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096191 | 3.3866 | 3.0456 | 0.0074322 | 3.387 | 3.0448 | 0.11107 | 39.1054 | 35.1674 | 0.08582 | 39.1099 | 35.1587 | 0.00065454 | 13.101 | 5.6191 | 0.00050108 | -5.239 | -2.2438 | -0.16415 | 8.8056 | 11.7986 | 0.13167 | -3.5447 | -4.6966 | 89.5521 | -168.1804 | 21.6832 | -91.0484 | 11.8561 | -158.3555 | 1.4779 | 0.40366 | 0.3716 | 1.5342 | 0.16174 | 0.14805 | -0.21943 | -134.2741 | 86.2171 | -1.2664 | -134.0616 | 86.1089
Line_1 | 0.0012581 | 2.2588 | 2.0285 | 0.0037353 | 2.2583 | 2.0294 | 0.014528 | 26.0828 | 23.4228 | 0.043131 | 26.0763 | 23.4338 | 0.00021116 | 5.219e-11 | 5.3765e-11 | -0.00014379 | 3.4943 | 1.4938 | 0.022831 | -3.5397e-11 | 1.5339e-11 | -0.066173 | 2.3616 | 3.1312 | -91.3559 | 11.9475 | -158.4519 | 88.8581 | -168.1137 | 21.6127 | 1.5716 | 0 | 0 | 1.5342 | 0.16174 | 0.14805 | -1.8858 | 0 | 0 | -1.2664 | -134.0616 | 86.1089
Line_2 | 0.0012773 | 1.1293 | 1.0145 | 0.003697 | 1.1287 | 1.0154 | 0.014749 | 13.0396 | 11.7144 | 0.042689 | 13.0336 | 11.7249 | -1.2164e-05 | -0.87314 | -0.37285 | -0.00035729 | 1.7447 | 0.75001 | 0.022907 | -0.59551 | -0.77784 | -0.065493 | 1.1831 | 1.5654 | -91.6248 | 11.9156 | -158.4183 | 89.0462 | -168.2043 | 21.7082 | 1.5531 | 0.081052 | 0.073635 | 1.5342 | 0.16174 | 0.14805 | -1.5944 | -133.7889 | 85.9711 | -1.2664 | -134.0616 | 86.1089
Line_3 | 0.0012581 | 1.1299 | 1.0135 | 0.0012773 | 1.1293 | 1.0145 | 0.014528 | 13.0464 | 11.7029 | 0.014749 | 13.0396 | 11.7144 | -0.00021116 | 2.6076e-11 | 2.685e-11 | 1.2161e-05 | 0.87314 | 0.37285 | -0.022831 | -1.7748e-11 | 7.7099e-12 | -0.022907 | 0.59551 | 0.77784 | 88.6441 | 12.0407 | -158.5501 | 88.3752 | -168.0844 | 21.5817 | 1.5716 | 0 | 0 | 1.5531 | 0.081052 | 0.073635 | -1.8858 | 0 | 0 | -1.5944 | -133.7889 | 85.9711

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096191 | 3.3866 | 3.0456 | 0.0074322 | 3.387 | 3.0448 | 0.11107 | 39.1054 | 35.1674 | 0.08582 | 39.1099 | 35.1587 | 0.00065454 | 13.101 | 5.6191 | 0.00050108 | -5.239 | -2.2438 | -0.16415 | 8.8056 | 11.7986 | 0.13167 | -3.5447 | -4.6966 | 89.5521 | -168.1804 | 21.6832 | -91.0484 | 11.8561 | -158.3555 | 1.4779 | 0.40366 | 0.3716 | 1.5342 | 0.16174 | 0.14805 | -0.21943 | -134.2741 | 86.2171 | -1.2664 | -134.0616 | 86.1089
Line_1 | 0.0012581 | 2.2588 | 2.0285 | 0.0037353 | 2.2583 | 2.0294 | 0.014528 | 26.0828 | 23.4228 | 0.043131 | 26.0763 | 23.4338 | 0.00021116 | 5.219e-11 | 5.3765e-11 | -0.00014379 | 3.4943 | 1.4938 | 0.022831 | -3.5397e-11 | 1.5339e-11 | -0.066173 | 2.3616 | 3.1312 | -91.3559 | 11.9475 | -158.4519 | 88.8581 | -168.1137 | 21.6127 | 1.5716 | 0 | 0 | 1.5342 | 0.16174 | 0.14805 | -1.8858 | 0 | 0 | -1.2664 | -134.0616 | 86.1089
Line_2 | 0.0012773 | 1.1293 | 1.0145 | 0.003697 | 1.1287 | 1.0154 | 0.014749 | 13.0396 | 11.7144 | 0.042689 | 13.0336 | 11.7249 | -1.2164e-05 | -0.87314 | -0.37285 | -0.00035729 | 1.7447 | 0.75001 | 0.022907 | -0.59551 | -0.77784 | -0.065493 | 1.1831 | 1.5654 | -91.6248 | 11.9156 | -158.4183 | 89.0462 | -168.2043 | 21.7082 | 1.5531 | 0.081052 | 0.073635 | 1.5342 | 0.16174 | 0.14805 | -1.5944 | -133.7889 | 85.9711 | -1.2664 | -134.0616 | 86.1089
Line_3 | 0.0012581 | 1.1299 | 1.0135 | 0.0012773 | 1.1293 | 1.0145 | 0.014528 | 13.0464 | 11.7029 | 0.014749 | 13.0396 | 11.7144 | -0.00021116 | 2.6076e-11 | 2.685e-11 | 1.2161e-05 | 0.87314 | 0.37285 | -0.022831 | -1.7748e-11 | 7.7099e-12 | -0.022907 | 0.59551 | 0.77784 | 88.6441 | 12.0407 | -158.5501 | 88.3752 | -168.0844 | 21.5817 | 1.5716 | 0 | 0 | 1.5531 | 0.081052 | 0.073635 | -1.8858 | 0 | 0 | -1.5944 | -133.7889 | 85.9711

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071069 | 1.1478 | 1.0557 | 0.0054911 | 1.1484 | 1.0545 | 0.082063 | 13.2536 | 12.1902 | 0.063406 | 13.2611 | 12.1762 | 0.0024462 | 8.3371 | 6.3109 | -0.001531 | -7.289 | -5.8489 | -0.11314 | 7.152 | 7.5127 | 0.090042 | -6.8466 | -6.3104 | 88.343 | -156.0448 | 48.6399 | -92.2575 | 24.0291 | -131.4186 | 1.3791 | 0.82879 | 0.80488 | 1.4203 | 0.75411 | 0.70664 | -0.41847 | -115.4201 | 98.6085 | -1.2834 | -112.7634 | 95.7548
Line_1 | 0.00092954 | 0.76684 | 0.70088 | 0.0027597 | 0.76602 | 0.7023 | 0.010733 | 8.8547 | 8.0931 | 0.031866 | 8.8453 | 8.1095 | -0.0002067 | -4.4079 | -3.6836 | 0.00084331 | 4.8667 | 3.892 | 0.015537 | -4.4175 | -3.6774 | -0.045252 | 4.5616 | 4.206 | -92.565 | 24.2122 | -131.5599 | 87.649 | -155.9103 | 48.5347 | 1.4476 | 0.70477 | 0.64314 | 1.4203 | 0.75411 | 0.70664 | -1.8028 | -110.7258 | 93.3922 | -1.2834 | -112.7634 | 95.7548
Line_2 | 0.00094372 | 0.3832 | 0.35082 | 0.0027314 | 0.38242 | 0.35219 | 0.010897 | 4.4248 | 4.0509 | 0.03154 | 4.4158 | 4.0668 | -0.00034817 | -2.3187 | -1.8933 | 0.00068765 | 2.4223 | 1.9569 | 0.015623 | -2.2461 | -1.9697 | -0.04479 | 2.285 | 2.1045 | -92.8339 | 24.1486 | -131.5113 | 87.8371 | -156.0922 | 48.6745 | 1.4341 | 0.72956 | 0.67444 | 1.4203 | 0.75411 | 0.70664 | -1.5573 | -111.7627 | 94.6223 | -1.2834 | -112.7634 | 95.7548
Line_3 | 0.00092954 | 0.38405 | 0.34936 | 0.00094372 | 0.3832 | 0.35082 | 0.010733 | 4.4346 | 4.0341 | 0.010897 | 4.4248 | 4.0509 | 0.0002067 | -2.2147 | -1.8315 | 0.00034817 | 2.3187 | 1.8933 | -0.015537 | -2.2052 | -1.8376 | -0.015623 | 2.2461 | 1.9697 | 87.435 | 24.398 | -131.7038 | 87.1661 | -155.8514 | 48.4887 | 1.4476 | 0.70477 | 0.64314 | 1.4341 | 0.72956 | 0.67444 | -1.8028 | -110.7258 | 93.3922 | -1.5573 | -111.7627 | 94.6223

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071069 | 1.1478 | 1.0557 | 0.0054911 | 1.1484 | 1.0545 | 0.082063 | 13.2536 | 12.1902 | 0.063406 | 13.2611 | 12.1762 | 0.0024462 | 8.3371 | 6.3109 | -0.001531 | -7.289 | -5.8489 | -0.11314 | 7.152 | 7.5127 | 0.090042 | -6.8466 | -6.3104 | 88.343 | -156.0448 | 48.6399 | -92.2575 | 24.0291 | -131.4186 | 1.3791 | 0.82879 | 0.80488 | 1.4203 | 0.75411 | 0.70664 | -0.41847 | -115.4201 | 98.6085 | -1.2834 | -112.7634 | 95.7548
Line_1 | 0.00092954 | 0.76684 | 0.70088 | 0.0027597 | 0.76602 | 0.7023 | 0.010733 | 8.8547 | 8.0931 | 0.031866 | 8.8453 | 8.1095 | -0.0002067 | -4.4079 | -3.6836 | 0.00084331 | 4.8667 | 3.892 | 0.015537 | -4.4175 | -3.6774 | -0.045252 | 4.5616 | 4.206 | -92.565 | 24.2122 | -131.5599 | 87.649 | -155.9103 | 48.5347 | 1.4476 | 0.70477 | 0.64314 | 1.4203 | 0.75411 | 0.70664 | -1.8028 | -110.7258 | 93.3922 | -1.2834 | -112.7634 | 95.7548
Line_2 | 0.00094372 | 0.3832 | 0.35082 | 0.0027314 | 0.38242 | 0.35219 | 0.010897 | 4.4248 | 4.0509 | 0.03154 | 4.4158 | 4.0668 | -0.00034817 | -2.3187 | -1.8933 | 0.00068765 | 2.4223 | 1.9569 | 0.015623 | -2.2461 | -1.9697 | -0.04479 | 2.285 | 2.1045 | -92.8339 | 24.1486 | -131.5113 | 87.8371 | -156.0922 | 48.6745 | 1.4341 | 0.72956 | 0.67444 | 1.4203 | 0.75411 | 0.70664 | -1.5573 | -111.7627 | 94.6223 | -1.2834 | -112.7634 | 95.7548
Line_3 | 0.00092954 | 0.38405 | 0.34936 | 0.00094372 | 0.3832 | 0.35082 | 0.010733 | 4.4346 | 4.0341 | 0.010897 | 4.4248 | 4.0509 | 0.0002067 | -2.2147 | -1.8315 | 0.00034817 | 2.3187 | 1.8933 | -0.015537 | -2.2052 | -1.8376 | -0.015623 | 2.2461 | 1.9697 | 87.435 | 24.398 | -131.7038 | 87.1661 | -155.8514 | 48.4887 | 1.4476 | 0.70477 | 0.64314 | 1.4341 | 0.72956 | 0.67444 | -1.8028 | -110.7258 | 93.3922 | -1.5573 | -111.7627 | 94.6223

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0083827 | 2.7323 | 2.4993 | 0.0065873 | 2.7328 | 2.4984 | 0.096795 | 31.5495 | 28.8589 | 0.076063 | 31.5557 | 28.8494 | 0.00019014 | 15.4863 | 8.1989 | 0.001015 | -6.2023 | -3.2658 | -0.12519 | 3.7351 | 9.8726 | 0.10452 | -1.5228 | -3.9215 | 91.1787 | -157.0954 | 32.7902 | -90.0127 | 22.9406 | -147.2466 | 1.2934 | 0.50493 | 0.44469 | 1.3742 | 0.20239 | 0.1769 | 1.2657 | -143.5353 | 83.0817 | -0.56906 | -143.2645 | 82.9662
Line_1 | 0.0011248 | 1.8231 | 1.6639 | 0.0033202 | 1.8223 | 1.665 | 0.012988 | 21.0518 | 19.2126 | 0.038339 | 21.0419 | 19.2263 | 0.00032408 | -9.6941e-11 | -1.606e-12 | -0.00034389 | 4.1364 | 2.175 | 0.018547 | -7.9181e-11 | -1.1454e-10 | -0.052683 | 1.0132 | 2.6146 | -90.6078 | 23.0353 | -147.3414 | 89.8049 | -157.0282 | 32.7222 | 1.4283 | 0 | 0 | 1.3742 | 0.20239 | 0.1769 | -1.6089 | 0 | 0 | -0.56906 | -143.2645 | 82.9662
Line_2 | 0.0011515 | 0.91132 | 0.83226 | 0.0032671 | 0.91053 | 0.83338 | 0.013296 | 10.523 | 9.6102 | 0.037725 | 10.5139 | 9.6231 | 2.1117e-06 | -1.0359 | -0.54087 | -0.00067111 | 2.066 | 1.0908 | 0.018633 | -0.25992 | -0.64756 | -0.051836 | 0.50964 | 1.3069 | -91.12 | 23.0017 | -147.3079 | 90.1727 | -157.1217 | 32.8157 | 1.4013 | 0.10149 | 0.087795 | 1.3742 | 0.20239 | 0.1769 | -1.1265 | -142.9122 | 82.8223 | -0.56906 | -143.2645 | 82.9662
Line_3 | 0.0011248 | 0.91225 | 0.83101 | 0.0011515 | 0.91132 | 0.83226 | 0.012988 | 10.5337 | 9.5957 | 0.013296 | 10.523 | 9.6102 | -0.00032408 | -4.8574e-11 | -7.0498e-13 | -2.1138e-06 | 1.0359 | 0.54087 | -0.018547 | -3.9538e-11 | -5.7208e-11 | -0.018633 | 0.25992 | 0.64756 | 89.3922 | 23.1324 | -147.4387 | 88.88 | -156.9983 | 32.6921 | 1.4283 | 0 | 0 | 1.4013 | 0.10149 | 0.087795 | -1.6089 | 0 | 0 | -1.1265 | -142.9122 | 82.8223

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0083827 | 2.7323 | 2.4993 | 0.0065873 | 2.7328 | 2.4984 | 0.096795 | 31.5495 | 28.8589 | 0.076063 | 31.5557 | 28.8494 | 0.00019014 | 15.4863 | 8.1989 | 0.001015 | -6.2023 | -3.2658 | -0.12519 | 3.7351 | 9.8726 | 0.10452 | -1.5228 | -3.9215 | 91.1787 | -157.0954 | 32.7902 | -90.0127 | 22.9406 | -147.2466 | 1.2934 | 0.50493 | 0.44469 | 1.3742 | 0.20239 | 0.1769 | 1.2657 | -143.5353 | 83.0817 | -0.56906 | -143.2645 | 82.9662
Line_1 | 0.0011248 | 1.8231 | 1.6639 | 0.0033202 | 1.8223 | 1.665 | 0.012988 | 21.0518 | 19.2126 | 0.038339 | 21.0419 | 19.2263 | 0.00032408 | -9.6941e-11 | -1.606e-12 | -0.00034389 | 4.1364 | 2.175 | 0.018547 | -7.9181e-11 | -1.1454e-10 | -0.052683 | 1.0132 | 2.6146 | -90.6078 | 23.0353 | -147.3414 | 89.8049 | -157.0282 | 32.7222 | 1.4283 | 0 | 0 | 1.3742 | 0.20239 | 0.1769 | -1.6089 | 0 | 0 | -0.56906 | -143.2645 | 82.9662
Line_2 | 0.0011515 | 0.91132 | 0.83226 | 0.0032671 | 0.91053 | 0.83338 | 0.013296 | 10.523 | 9.6102 | 0.037725 | 10.5139 | 9.6231 | 2.1117e-06 | -1.0359 | -0.54087 | -0.00067111 | 2.066 | 1.0908 | 0.018633 | -0.25992 | -0.64756 | -0.051836 | 0.50964 | 1.3069 | -91.12 | 23.0017 | -147.3079 | 90.1727 | -157.1217 | 32.8157 | 1.4013 | 0.10149 | 0.087795 | 1.3742 | 0.20239 | 0.1769 | -1.1265 | -142.9122 | 82.8223 | -0.56906 | -143.2645 | 82.9662
Line_3 | 0.0011248 | 0.91225 | 0.83101 | 0.0011515 | 0.91132 | 0.83226 | 0.012988 | 10.5337 | 9.5957 | 0.013296 | 10.523 | 9.6102 | -0.00032408 | -4.8574e-11 | -7.0498e-13 | -2.1138e-06 | 1.0359 | 0.54087 | -0.018547 | -3.9538e-11 | -5.7208e-11 | -0.018633 | 0.25992 | 0.64756 | 89.3922 | 23.1324 | -147.4387 | 88.88 | -156.9983 | 32.6921 | 1.4283 | 0 | 0 | 1.4013 | 0.10149 | 0.087795 | -1.6089 | 0 | 0 | -1.1265 | -142.9122 | 82.8223

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0064495 | 0.99021 | 0.90116 | 0.0050682 | 0.9908 | 0.90012 | 0.074473 | 11.434 | 10.4057 | 0.058523 | 11.4408 | 10.3937 | 0.0032864 | 7.2346 | 5.2083 | -0.002173 | -5.8405 | -4.5008 | -0.091269 | 4.7998 | 6.0025 | 0.075301 | -4.8918 | -4.8056 | 88.4648 | -152.1367 | 51.0574 | -92.7265 | 27.9359 | -129.0014 | 1.2263 | 0.75931 | 0.76373 | 1.2872 | 0.66591 | 0.63347 | 0.52704 | -118.5743 | 100.1098 | -1.0735 | -112.1157 | 97.8747
Line_1 | 0.00086538 | 0.66181 | 0.59806 | 0.0025546 | 0.66095 | 0.59942 | 0.0099925 | 7.6419 | 6.9058 | 0.029498 | 7.632 | 6.9215 | -0.00030558 | -3.2835 | -2.6817 | 0.0012161 | 3.8996 | 2.9946 | 0.013267 | -3.2909 | -2.6772 | -0.037951 | 3.2591 | 3.2027 | -93.3217 | 28.1235 | -129.1446 | 87.0911 | -152.0023 | 50.9514 | 1.3281 | 0.60833 | 0.54871 | 1.2872 | 0.66591 | 0.63347 | -2.0022 | -106.8127 | 95.8069 | -1.0735 | -112.1157 | 97.8747
Line_2 | 0.00088595 | 0.33066 | 0.2994 | 0.0025137 | 0.32985 | 0.3007 | 0.01023 | 3.8182 | 3.4572 | 0.029025 | 3.8088 | 3.4722 | -0.00052892 | -1.7963 | -1.4178 | 0.00095693 | 1.9409 | 1.5062 | 0.013368 | -1.6392 | -1.4686 | -0.03735 | 1.6328 | 1.6029 | -93.8338 | 28.0572 | -129.095 | 87.4588 | -152.188 | 51.0928 | 1.3077 | 0.6369 | 0.59047 | 1.2872 | 0.66591 | 0.63347 | -1.568 | -109.5613 | 96.9131 | -1.0735 | -112.1157 | 97.8747
Line_3 | 0.00086538 | 0.33158 | 0.29798 | 0.00088595 | 0.33066 | 0.2994 | 0.0099925 | 3.8288 | 3.4408 | 0.01023 | 3.8182 | 3.4572 | 0.00030558 | -1.6506 | -1.3327 | 0.00052892 | 1.7963 | 1.4178 | -0.013267 | -1.6433 | -1.3373 | -0.013368 | 1.6392 | 1.4686 | 86.6783 | 28.3148 | -129.2906 | 86.1662 | -151.9428 | 50.905 | 1.3281 | 0.60833 | 0.54871 | 1.3077 | 0.6369 | 0.59047 | -2.0022 | -106.8127 | 95.8069 | -1.568 | -109.5613 | 96.9131

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0064495 | 0.99021 | 0.90116 | 0.0050682 | 0.9908 | 0.90012 | 0.074473 | 11.434 | 10.4057 | 0.058523 | 11.4408 | 10.3937 | 0.0032864 | 7.2346 | 5.2083 | -0.002173 | -5.8405 | -4.5008 | -0.091269 | 4.7998 | 6.0025 | 0.075301 | -4.8918 | -4.8056 | 88.4648 | -152.1367 | 51.0574 | -92.7265 | 27.9359 | -129.0014 | 1.2263 | 0.75931 | 0.76373 | 1.2872 | 0.66591 | 0.63347 | 0.52704 | -118.5743 | 100.1098 | -1.0735 | -112.1157 | 97.8747
Line_1 | 0.00086538 | 0.66181 | 0.59806 | 0.0025546 | 0.66095 | 0.59942 | 0.0099925 | 7.6419 | 6.9058 | 0.029498 | 7.632 | 6.9215 | -0.00030558 | -3.2835 | -2.6817 | 0.0012161 | 3.8996 | 2.9946 | 0.013267 | -3.2909 | -2.6772 | -0.037951 | 3.2591 | 3.2027 | -93.3217 | 28.1235 | -129.1446 | 87.0911 | -152.0023 | 50.9514 | 1.3281 | 0.60833 | 0.54871 | 1.2872 | 0.66591 | 0.63347 | -2.0022 | -106.8127 | 95.8069 | -1.0735 | -112.1157 | 97.8747
Line_2 | 0.00088595 | 0.33066 | 0.2994 | 0.0025137 | 0.32985 | 0.3007 | 0.01023 | 3.8182 | 3.4572 | 0.029025 | 3.8088 | 3.4722 | -0.00052892 | -1.7963 | -1.4178 | 0.00095693 | 1.9409 | 1.5062 | 0.013368 | -1.6392 | -1.4686 | -0.03735 | 1.6328 | 1.6029 | -93.8338 | 28.0572 | -129.095 | 87.4588 | -152.188 | 51.0928 | 1.3077 | 0.6369 | 0.59047 | 1.2872 | 0.66591 | 0.63347 | -1.568 | -109.5613 | 96.9131 | -1.0735 | -112.1157 | 97.8747
Line_3 | 0.00086538 | 0.33158 | 0.29798 | 0.00088595 | 0.33066 | 0.2994 | 0.0099925 | 3.8288 | 3.4408 | 0.01023 | 3.8182 | 3.4572 | 0.00030558 | -1.6506 | -1.3327 | 0.00052892 | 1.7963 | 1.4178 | -0.013267 | -1.6433 | -1.3373 | -0.013368 | 1.6392 | 1.4686 | 86.6783 | 28.3148 | -129.2906 | 86.1662 | -151.9428 | 50.905 | 1.3281 | 0.60833 | 0.54871 | 1.3077 | 0.6369 | 0.59047 | -2.0022 | -106.8127 | 95.8069 | -1.568 | -109.5613 | 96.9131