## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -1.0421e-14 | 28.4108 | -10.6145 | 1.0421e-14 | -23.0719 | 15.9534 | -1.3584e-28 | 4.32 | 15.8719 | 5.2106e-15 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 7.4686e-13 | -154.8648 | 140.2623 | 7.8941e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -1.5632e-14 | -13.0085 | 13.0085 | 1.5632e-14 | 15.3813 | -10.6356 | 5.2106e-15 | 3.8506 | -3.8506 | -1.0421e-14 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 7.8966e-13 | 180 | -180 | 7.8941e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -7.2404e-29 | -7.0974 | 5.911 | -5.2106e-15 | 7.6906 | -5.3178 | 5.2106e-15 | 1.2523 | -2.5984 | -5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 7.9615e-13 | -173.5168 | 172.7598 | 7.8941e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -1.5632e-14 | -6.5042 | 6.5042 | 1.0421e-14 | 7.0974 | -5.911 | -2.1544e-28 | 1.9253 | -1.9253 | -5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 7.8966e-13 | 180 | -180 | 7.9615e-13 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -1.0421e-14 | 28.4108 | -10.6145 | 1.0421e-14 | -23.0719 | 15.9534 | -1.3584e-28 | 4.32 | 15.8719 | 5.2106e-15 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 7.4686e-13 | -154.8648 | 140.2623 | 7.8941e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -1.5632e-14 | -13.0085 | 13.0085 | 1.5632e-14 | 15.3813 | -10.6356 | 5.2106e-15 | 3.8506 | -3.8506 | -1.0421e-14 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 7.8966e-13 | 180 | -180 | 7.8941e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -7.2404e-29 | -7.0974 | 5.911 | -5.2106e-15 | 7.6906 | -5.3178 | 5.2106e-15 | 1.2523 | -2.5984 | -5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 7.9615e-13 | -173.5168 | 172.7598 | 7.8941e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -1.5632e-14 | -6.5042 | 6.5042 | 1.0421e-14 | 7.0974 | -5.911 | -2.1544e-28 | 1.9253 | -1.9253 | -5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 7.8966e-13 | 180 | -180 | 7.9615e-13 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -1.0421e-14 | 17.8002 | 0.06044 | 5.2106e-15 | -16.4209 | 1.3189 | 2.6053e-15 | 3.9189 | 14.5607 | -2.6053e-15 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 3.3982e-13 | -136.625 | 120.7211 | 3.7031e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 0 | -10.3342 | 1.4923 | -5.2106e-15 | 10.9473 | -0.87927 | 0 | -0.87368 | -7.9682 | -3.3677e-29 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 3.7058e-13 | -144.2087 | 131.5665 | 3.7031e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -5.2106e-15 | -5.3204 | 0.59289 | -5.2106e-15 | 5.4736 | -0.43963 | -3.4107e-29 | -0.61073 | -4.158 | 2.6053e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 3.7504e-13 | -142.4927 | 129.0741 | 3.7031e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.1671 | 0.74615 | -5.2106e-15 | 5.3204 | -0.59289 | 2.6053e-15 | -0.43684 | -3.9841 | -3.4107e-29 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 3.7058e-13 | -144.2087 | 131.5665 | 3.7504e-13 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -1.0421e-14 | 17.8002 | 0.06044 | 5.2106e-15 | -16.4209 | 1.3189 | 2.6053e-15 | 3.9189 | 14.5607 | -2.6053e-15 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 3.3982e-13 | -136.625 | 120.7211 | 3.7031e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 0 | -10.3342 | 1.4923 | -5.2106e-15 | 10.9473 | -0.87927 | 0 | -0.87368 | -7.9682 | -3.3677e-29 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 3.7058e-13 | -144.2087 | 131.5665 | 3.7031e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -5.2106e-15 | -5.3204 | 0.59289 | -5.2106e-15 | 5.4736 | -0.43963 | -3.4107e-29 | -0.61073 | -4.158 | 2.6053e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 3.7504e-13 | -142.4927 | 129.0741 | 3.7031e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.1671 | 0.74615 | -5.2106e-15 | 5.3204 | -0.59289 | 2.6053e-15 | -0.43684 | -3.9841 | -3.4107e-29 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 3.7058e-13 | -144.2087 | 131.5665 | 3.7504e-13 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 1.6579e-14 | 24.6317 | -2.0295 | -1.6579e-14 | -17.851 | 8.8102 | -4.2633e-14 | -0.29866 | 13.6553 | 4.0264e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.8313e-13 | -153.068 | 126.0805 | 3.9138e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -8.2897e-15 | -8.8871 | 8.8871 | 8.2897e-15 | 11.9007 | -5.8735 | 7.1054e-15 | 4.6513 | -4.6513 | -9.4739e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 3.4142e-13 | -180 | 180 | 3.9138e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -1.3027e-14 | -5.1969 | 3.6901 | 1.0658e-14 | 5.9503 | -2.9367 | 2.3685e-15 | 1.8804 | -2.7709 | -4.737e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 3.5185e-13 | -172.2653 | 170.7242 | 3.9138e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 4.737e-15 | -4.4435 | 4.4435 | -4.737e-15 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | -4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 3.4142e-13 | -180 | 180 | 3.5185e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 1.6579e-14 | 24.6317 | -2.0295 | -1.6579e-14 | -17.851 | 8.8102 | -4.2633e-14 | -0.29866 | 13.6553 | 4.0264e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.8313e-13 | -153.068 | 126.0805 | 3.9138e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -8.2897e-15 | -8.8871 | 8.8871 | 8.2897e-15 | 11.9007 | -5.8735 | 7.1054e-15 | 4.6513 | -4.6513 | -9.4739e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 3.4142e-13 | -180 | 180 | 3.9138e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -1.3027e-14 | -5.1969 | 3.6901 | 1.0658e-14 | 5.9503 | -2.9367 | 2.3685e-15 | 1.8804 | -2.7709 | -4.737e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 3.5185e-13 | -172.2653 | 170.7242 | 3.9138e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 4.737e-15 | -4.4435 | 4.4435 | -4.737e-15 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | -4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 3.4142e-13 | -180 | 180 | 3.5185e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 3.5527e-15 | 14.2512 | 1.4266 | -5.3291e-15 | -12.3717 | 0.45296 | -1.8948e-14 | 1.9064 | 11.2087 | 1.6579e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 2.6335e-13 | -136.4258 | 118.7019 | 2.1633e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -4.1448e-15 | -7.4125 | 1.1373 | 1.7764e-15 | 8.2478 | -0.30197 | 4.737e-15 | -0.036791 | -6.2383 | -7.1054e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.9002e-13 | -143.7605 | 136.2873 | 2.1633e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-15 | -3.9151 | 0.35982 | 3.5527e-15 | 4.1239 | -0.15099 | 2.3685e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.9524e-13 | -141.9705 | 132.2872 | 2.1633e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 1.1842e-15 | -3.7062 | 0.56866 | -3.5527e-15 | 3.9151 | -0.35982 | 2.3685e-15 | -0.018396 | -3.1192 | -2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.9002e-13 | -143.7605 | 136.2873 | 1.9524e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 3.5527e-15 | 14.2512 | 1.4266 | -5.3291e-15 | -12.3717 | 0.45296 | -1.8948e-14 | 1.9064 | 11.2087 | 1.6579e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 2.6335e-13 | -136.4258 | 118.7019 | 2.1633e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -4.1448e-15 | -7.4125 | 1.1373 | 1.7764e-15 | 8.2478 | -0.30197 | 4.737e-15 | -0.036791 | -6.2383 | -7.1054e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.9002e-13 | -143.7605 | 136.2873 | 2.1633e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-15 | -3.9151 | 0.35982 | 3.5527e-15 | 4.1239 | -0.15099 | 2.3685e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.9524e-13 | -141.9705 | 132.2872 | 2.1633e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 1.1842e-15 | -3.7062 | 0.56866 | -3.5527e-15 | 3.9151 | -0.35982 | 2.3685e-15 | -0.018396 | -3.1192 | -2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.9002e-13 | -143.7605 | 136.2873 | 1.9524e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4609 | 0.014994 | 0.014994 | 1.4575 | 0.011557 | 0.011557 | 16.8692 | 0.17314 | 0.17314 | 16.8294 | 0.13345 | 0.13345 | 5.6511 | 0.18067 | -0.14818 | -2.2383 | -0.12877 | 0.12526 | 3.1345 | -0.20353 | -0.17752 | -1.2477 | 0.16146 | 0.15082 | -71.6273 | -85.4773 | -85.4773 | 108.3887 | 92.3981 | 92.3981 | 0.38307 | 1.5719 | 1.3355 | 0.15227 | 1.5476 | 1.4691 | -42.6117 | -133.8826 | 144.6713 | -42.4746 | -139.0281 | 142.6873
Line_1 | 0.96611 | 0.001955 | 0.001955 | 0.96981 | 0.0058068 | 0.0058068 | 11.1557 | 0.022574 | 0.022574 | 11.1984 | 0.067051 | 0.067051 | 3.5195e-11 | -0.020526 | 0.022472 | 1.4898 | 0.065203 | -0.062465 | -2.5268e-11 | 0.028023 | 0.027039 | 0.82949 | -0.08072 | -0.076168 | 108.4806 | 91.3104 | 91.3104 | -71.5824 | -87.958 | -87.958 | 0 | 1.5388 | 1.5575 | 0.15227 | 1.5476 | 1.4691 | 0 | -142.4678 | 141.581 | -42.4746 | -139.0281 | 142.6873
Line_2 | 0.48401 | 0.0019839 | 0.0019839 | 0.48766 | 0.0057508 | 0.0057508 | 5.5888 | 0.022908 | 0.022908 | 5.631 | 0.066404 | 0.066404 | -0.36816 | -0.022211 | 0.021435 | 0.74851 | 0.063571 | -0.0628 | -0.20647 | 0.027477 | 0.027261 | 0.41822 | -0.080743 | -0.074656 | 108.4414 | 90.2835 | 90.2835 | -71.6686 | -87.2422 | -87.2422 | 0.075526 | 1.5423 | 1.5138 | 0.15227 | 1.5476 | 1.4691 | -42.2742 | -140.7668 | 142.1062 | -42.4746 | -139.0281 | 142.6873
Line_3 | 0.48025 | 0.001955 | 0.001955 | 0.48401 | 0.0019839 | 0.0019839 | 5.5455 | 0.022574 | 0.022574 | 5.5888 | 0.022908 | 0.022908 | 1.7473e-11 | 0.020526 | -0.022472 | 0.36816 | 0.022211 | -0.021435 | -1.2592e-11 | -0.028023 | -0.027039 | 0.20647 | -0.027477 | -0.027261 | 108.5838 | -88.6896 | -88.6896 | -71.5586 | -89.7165 | -89.7165 | 0 | 1.5388 | 1.5575 | 0.075526 | 1.5423 | 1.5138 | 0 | -142.4678 | 141.581 | -42.2742 | -140.7668 | 142.1062

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4609 | 0.014994 | 0.014994 | 1.4575 | 0.011557 | 0.011557 | 16.8692 | 0.17314 | 0.17314 | 16.8294 | 0.13345 | 0.13345 | 5.6511 | 0.18067 | -0.14818 | -2.2383 | -0.12877 | 0.12526 | 3.1345 | -0.20353 | -0.17752 | -1.2477 | 0.16146 | 0.15082 | -71.6273 | -85.4773 | -85.4773 | 108.3887 | 92.3981 | 92.3981 | 0.38307 | 1.5719 | 1.3355 | 0.15227 | 1.5476 | 1.4691 | -42.6117 | -133.8826 | 144.6713 | -42.4746 | -139.0281 | 142.6873
Line_1 | 0.96611 | 0.001955 | 0.001955 | 0.96981 | 0.0058068 | 0.0058068 | 11.1557 | 0.022574 | 0.022574 | 11.1984 | 0.067051 | 0.067051 | 3.5195e-11 | -0.020526 | 0.022472 | 1.4898 | 0.065203 | -0.062465 | -2.5268e-11 | 0.028023 | 0.027039 | 0.82949 | -0.08072 | -0.076168 | 108.4806 | 91.3104 | 91.3104 | -71.5824 | -87.958 | -87.958 | 0 | 1.5388 | 1.5575 | 0.15227 | 1.5476 | 1.4691 | 0 | -142.4678 | 141.581 | -42.4746 | -139.0281 | 142.6873
Line_2 | 0.48401 | 0.0019839 | 0.0019839 | 0.48766 | 0.0057508 | 0.0057508 | 5.5888 | 0.022908 | 0.022908 | 5.631 | 0.066404 | 0.066404 | -0.36816 | -0.022211 | 0.021435 | 0.74851 | 0.063571 | -0.0628 | -0.20647 | 0.027477 | 0.027261 | 0.41822 | -0.080743 | -0.074656 | 108.4414 | 90.2835 | 90.2835 | -71.6686 | -87.2422 | -87.2422 | 0.075526 | 1.5423 | 1.5138 | 0.15227 | 1.5476 | 1.4691 | -42.2742 | -140.7668 | 142.1062 | -42.4746 | -139.0281 | 142.6873
Line_3 | 0.48025 | 0.001955 | 0.001955 | 0.48401 | 0.0019839 | 0.0019839 | 5.5455 | 0.022574 | 0.022574 | 5.5888 | 0.022908 | 0.022908 | 1.7473e-11 | 0.020526 | -0.022472 | 0.36816 | 0.022211 | -0.021435 | -1.2592e-11 | -0.028023 | -0.027039 | 0.20647 | -0.027477 | -0.027261 | 108.5838 | -88.6896 | -88.6896 | -71.5586 | -89.7165 | -89.7165 | 0 | 1.5388 | 1.5575 | 0.075526 | 1.5423 | 1.5138 | 0 | -142.4678 | 141.581 | -42.2742 | -140.7668 | 142.1062

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83112 | 0.0085304 | 0.0085304 | 0.82916 | 0.006575 | 0.006575 | 9.597 | 0.0985 | 0.0985 | 9.5744 | 0.075922 | 0.075922 | 5.2399 | 0.082532 | -0.097583 | -4.1283 | -0.061448 | 0.078791 | 4.4424 | -0.10929 | -0.056583 | -3.8227 | 0.08501 | 0.049561 | -59.8395 | -73.6895 | -73.6895 | 120.1765 | 104.186 | 104.186 | 0.71581 | 1.3904 | 1.1452 | 0.58765 | 1.3816 | 1.226 | -19.5484 | -126.6301 | 136.4175 | -17.0246 | -129.9533 | 136.3562
Line_1 | 0.54963 | 0.0011122 | 0.0011122 | 0.55173 | 0.0033035 | 0.0033035 | 6.3465 | 0.012842 | 0.012842 | 6.3709 | 0.038146 | 0.038146 | -2.2599 | -0.010092 | 0.013739 | 2.7483 | 0.031138 | -0.039432 | -2.2626 | 0.014545 | 0.0090003 | 2.5423 | -0.042519 | -0.025146 | 120.2684 | 103.0982 | 103.0982 | -59.7946 | -76.1702 | -76.1702 | 0.50389 | 1.3785 | 1.279 | 0.58765 | 1.3816 | 1.226 | -14.6973 | -132.1474 | 136.3257 | -17.0246 | -129.9533 | 136.3562
Line_2 | 0.27535 | 0.0011287 | 0.0011287 | 0.27743 | 0.0032717 | 0.0032717 | 3.1795 | 0.013033 | 0.013033 | 3.2035 | 0.037778 | 0.037778 | -1.2506 | -0.010788 | 0.013494 | 1.38 | 0.03031 | -0.03936 | -1.2011 | 0.014386 | 0.0091935 | 1.2804 | -0.042491 | -0.024414 | 120.2292 | 102.0713 | 102.0713 | -59.8808 | -75.4544 | -75.4544 | 0.54536 | 1.3797 | 1.2529 | 0.58765 | 1.3816 | 1.226 | -15.9257 | -131.0644 | 136.3375 | -17.0246 | -129.9533 | 136.3562
Line_3 | 0.27322 | 0.0011122 | 0.0011122 | 0.27535 | 0.0011287 | 0.0011287 | 3.1549 | 0.012842 | 0.012842 | 3.1795 | 0.013033 | 0.013033 | -1.1254 | 0.010092 | -0.013739 | 1.2506 | 0.010788 | -0.013494 | -1.1227 | -0.014545 | -0.0090003 | 1.2011 | -0.014386 | -0.0091935 | 120.3716 | -76.9018 | -76.9018 | -59.7708 | -77.9287 | -77.9287 | 0.50389 | 1.3785 | 1.279 | 0.54536 | 1.3797 | 1.2529 | -14.6973 | -132.1474 | 136.3257 | -15.9257 | -131.0644 | 136.3375

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83112 | 0.0085304 | 0.0085304 | 0.82916 | 0.006575 | 0.006575 | 9.597 | 0.0985 | 0.0985 | 9.5744 | 0.075922 | 0.075922 | 5.2399 | 0.082532 | -0.097583 | -4.1283 | -0.061448 | 0.078791 | 4.4424 | -0.10929 | -0.056583 | -3.8227 | 0.08501 | 0.049561 | -59.8395 | -73.6895 | -73.6895 | 120.1765 | 104.186 | 104.186 | 0.71581 | 1.3904 | 1.1452 | 0.58765 | 1.3816 | 1.226 | -19.5484 | -126.6301 | 136.4175 | -17.0246 | -129.9533 | 136.3562
Line_1 | 0.54963 | 0.0011122 | 0.0011122 | 0.55173 | 0.0033035 | 0.0033035 | 6.3465 | 0.012842 | 0.012842 | 6.3709 | 0.038146 | 0.038146 | -2.2599 | -0.010092 | 0.013739 | 2.7483 | 0.031138 | -0.039432 | -2.2626 | 0.014545 | 0.0090003 | 2.5423 | -0.042519 | -0.025146 | 120.2684 | 103.0982 | 103.0982 | -59.7946 | -76.1702 | -76.1702 | 0.50389 | 1.3785 | 1.279 | 0.58765 | 1.3816 | 1.226 | -14.6973 | -132.1474 | 136.3257 | -17.0246 | -129.9533 | 136.3562
Line_2 | 0.27535 | 0.0011287 | 0.0011287 | 0.27743 | 0.0032717 | 0.0032717 | 3.1795 | 0.013033 | 0.013033 | 3.2035 | 0.037778 | 0.037778 | -1.2506 | -0.010788 | 0.013494 | 1.38 | 0.03031 | -0.03936 | -1.2011 | 0.014386 | 0.0091935 | 1.2804 | -0.042491 | -0.024414 | 120.2292 | 102.0713 | 102.0713 | -59.8808 | -75.4544 | -75.4544 | 0.54536 | 1.3797 | 1.2529 | 0.58765 | 1.3816 | 1.226 | -15.9257 | -131.0644 | 136.3375 | -17.0246 | -129.9533 | 136.3562
Line_3 | 0.27322 | 0.0011122 | 0.0011122 | 0.27535 | 0.0011287 | 0.0011287 | 3.1549 | 0.012842 | 0.012842 | 3.1795 | 0.013033 | 0.013033 | -1.1254 | 0.010092 | -0.013739 | 1.2506 | 0.010788 | -0.013494 | -1.1227 | -0.014545 | -0.0090003 | 1.2011 | -0.014386 | -0.0091935 | 120.3716 | -76.9018 | -76.9018 | -59.7708 | -77.9287 | -77.9287 | 0.50389 | 1.3785 | 1.279 | 0.54536 | 1.3797 | 1.2529 | -14.6973 | -132.1474 | 136.3257 | -15.9257 | -131.0644 | 136.3375

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1777 | 0.012963 | 0.012963 | 1.175 | 0.010201 | 0.010201 | 13.5995 | 0.14968 | 0.14968 | 13.5674 | 0.11779 | 0.11779 | 7.0514 | 0.14909 | -0.10841 | -2.7931 | -0.10406 | 0.099652 | 2.0158 | -0.15105 | -0.12099 | -0.80784 | 0.12654 | 0.11521 | -57.9632 | -83.3413 | -83.3413 | 122.0677 | 93.1815 | 93.1815 | 0.53928 | 1.4179 | 1.0853 | 0.2143 | 1.3908 | 1.2932 | -42.0093 | -128.715 | 144.7957 | -41.8008 | -137.3861 | 142.324
Line_1 | 0.77887 | 0.0017452 | 0.0017452 | 0.78184 | 0.0051447 | 0.0051447 | 8.9936 | 0.020151 | 0.020151 | 9.0279 | 0.059406 | 0.059406 | -1.4629e-11 | -0.016238 | 0.018654 | 1.8591 | 0.053106 | -0.04968 | -2.2229e-12 | 0.022865 | 0.021977 | 0.53575 | -0.063294 | -0.058598 | 122.244 | 91.457 | 91.457 | -57.8769 | -87.3842 | -87.3842 | 0 | 1.3917 | 1.4305 | 0.2143 | 1.3908 | 1.2932 | 0 | -143.1618 | 141.1331 | -41.8008 | -137.3861 | 142.324
Line_2 | 0.3902 | 0.0017912 | 0.0017912 | 0.39313 | 0.0050571 | 0.0050571 | 4.5056 | 0.020683 | 0.020683 | 4.5395 | 0.058394 | 0.058394 | -0.45942 | -0.018393 | 0.01743 | 0.93401 | 0.050952 | -0.049972 | -0.13475 | 0.022068 | 0.022147 | 0.27209 | -0.063243 | -0.056616 | 122.1688 | 89.8748 | 89.8748 | -58.0425 | -86.2429 | -86.2429 | 0.10626 | 1.389 | 1.3626 | 0.2143 | 1.3908 | 1.2932 | -41.4843 | -140.3147 | 141.6716 | -41.8008 | -137.3861 | 142.324
Line_3 | 0.38719 | 0.0017452 | 0.0017452 | 0.3902 | 0.0017912 | 0.0017912 | 4.4708 | 0.020151 | 0.020151 | 4.5056 | 0.020683 | 0.020683 | -7.2763e-12 | 0.016238 | -0.018654 | 0.45942 | 0.018393 | -0.01743 | -1.0799e-12 | -0.022865 | -0.021977 | 0.13475 | -0.022068 | -0.022147 | 122.4423 | -88.543 | -88.543 | -57.8312 | -90.1252 | -90.1252 | 0 | 1.3917 | 1.4305 | 0.10626 | 1.389 | 1.3626 | 0 | -143.1618 | 141.1331 | -41.4843 | -140.3147 | 141.6716

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1777 | 0.012963 | 0.012963 | 1.175 | 0.010201 | 0.010201 | 13.5995 | 0.14968 | 0.14968 | 13.5674 | 0.11779 | 0.11779 | 7.0514 | 0.14909 | -0.10841 | -2.7931 | -0.10406 | 0.099652 | 2.0158 | -0.15105 | -0.12099 | -0.80784 | 0.12654 | 0.11521 | -57.9632 | -83.3413 | -83.3413 | 122.0677 | 93.1815 | 93.1815 | 0.53928 | 1.4179 | 1.0853 | 0.2143 | 1.3908 | 1.2932 | -42.0093 | -128.715 | 144.7957 | -41.8008 | -137.3861 | 142.324
Line_1 | 0.77887 | 0.0017452 | 0.0017452 | 0.78184 | 0.0051447 | 0.0051447 | 8.9936 | 0.020151 | 0.020151 | 9.0279 | 0.059406 | 0.059406 | -1.4629e-11 | -0.016238 | 0.018654 | 1.8591 | 0.053106 | -0.04968 | -2.2229e-12 | 0.022865 | 0.021977 | 0.53575 | -0.063294 | -0.058598 | 122.244 | 91.457 | 91.457 | -57.8769 | -87.3842 | -87.3842 | 0 | 1.3917 | 1.4305 | 0.2143 | 1.3908 | 1.2932 | 0 | -143.1618 | 141.1331 | -41.8008 | -137.3861 | 142.324
Line_2 | 0.3902 | 0.0017912 | 0.0017912 | 0.39313 | 0.0050571 | 0.0050571 | 4.5056 | 0.020683 | 0.020683 | 4.5395 | 0.058394 | 0.058394 | -0.45942 | -0.018393 | 0.01743 | 0.93401 | 0.050952 | -0.049972 | -0.13475 | 0.022068 | 0.022147 | 0.27209 | -0.063243 | -0.056616 | 122.1688 | 89.8748 | 89.8748 | -58.0425 | -86.2429 | -86.2429 | 0.10626 | 1.389 | 1.3626 | 0.2143 | 1.3908 | 1.2932 | -41.4843 | -140.3147 | 141.6716 | -41.8008 | -137.3861 | 142.324
Line_3 | 0.38719 | 0.0017452 | 0.0017452 | 0.3902 | 0.0017912 | 0.0017912 | 4.4708 | 0.020151 | 0.020151 | 4.5056 | 0.020683 | 0.020683 | -7.2763e-12 | 0.016238 | -0.018654 | 0.45942 | 0.018393 | -0.01743 | -1.0799e-12 | -0.022865 | -0.021977 | 0.13475 | -0.022068 | -0.022147 | 122.4423 | -88.543 | -88.543 | -57.8312 | -90.1252 | -90.1252 | 0 | 1.3917 | 1.4305 | 0.10626 | 1.389 | 1.3626 | 0 | -143.1618 | 141.1331 | -41.4843 | -140.3147 | 141.6716

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69123 | 0.0076078 | 0.0076078 | 0.6896 | 0.0059872 | 0.0059872 | 7.9816 | 0.087848 | 0.087848 | 7.9628 | 0.069134 | 0.069134 | 4.7829 | 0.075339 | -0.073525 | -3.3118 | -0.056017 | 0.062422 | 3.0709 | -0.079961 | -0.048479 | -2.6479 | 0.064383 | 0.046758 | -52.6808 | -78.059 | -78.059 | 127.35 | 98.4639 | 98.4639 | 0.71212 | 1.2506 | 1.0025 | 0.5325 | 1.2344 | 1.1281 | -19.9782 | -124.7638 | 135.3401 | -14.0062 | -130.511 | 135.2994
Line_1 | 0.45712 | 0.0010242 | 0.0010242 | 0.45887 | 0.0030194 | 0.0030194 | 5.2784 | 0.011827 | 0.011827 | 5.2985 | 0.034865 | 0.034865 | -1.5624 | -0.0091498 | 0.011193 | 2.2054 | 0.028569 | -0.031246 | -1.566 | 0.011328 | 0.0089242 | 1.7598 | -0.032189 | -0.023891 | 127.5263 | 96.7393 | 96.7393 | -52.5946 | -82.1018 | -82.1018 | 0.41908 | 1.2312 | 1.2104 | 0.5325 | 1.2344 | 1.1281 | -7.4078 | -134.3327 | 135.3037 | -14.0062 | -130.511 | 135.2994
Line_2 | 0.22901 | 0.0010512 | 0.0010512 | 0.23073 | 0.002968 | 0.002968 | 2.6444 | 0.012139 | 0.012139 | 2.6643 | 0.034272 | 0.034272 | -0.93994 | -0.010083 | 0.010857 | 1.1064 | 0.027447 | -0.031176 | -0.83197 | 0.011043 | 0.0091528 | 0.88809 | -0.032194 | -0.022868 | 127.4511 | 95.1572 | 95.1572 | -52.7601 | -80.9606 | -80.9606 | 0.47469 | 1.2319 | 1.1699 | 0.5325 | 1.2344 | 1.1281 | -11.036 | -132.4452 | 135.2886 | -14.0062 | -130.511 | 135.2994
Line_3 | 0.22724 | 0.0010242 | 0.0010242 | 0.22901 | 0.0010512 | 0.0010512 | 2.624 | 0.011827 | 0.011827 | 2.6444 | 0.012139 | 0.012139 | -0.77937 | 0.0091498 | -0.011193 | 0.93994 | 0.010083 | -0.010857 | -0.77578 | -0.011328 | -0.0089242 | 0.83197 | -0.011043 | -0.0091528 | 127.7246 | -83.2607 | -83.2607 | -52.5489 | -84.8428 | -84.8428 | 0.41908 | 1.2312 | 1.2104 | 0.47469 | 1.2319 | 1.1699 | -7.4078 | -134.3327 | 135.3037 | -11.036 | -132.4452 | 135.2886

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69123 | 0.0076078 | 0.0076078 | 0.6896 | 0.0059872 | 0.0059872 | 7.9816 | 0.087848 | 0.087848 | 7.9628 | 0.069134 | 0.069134 | 4.7829 | 0.075339 | -0.073525 | -3.3118 | -0.056017 | 0.062422 | 3.0709 | -0.079961 | -0.048479 | -2.6479 | 0.064383 | 0.046758 | -52.6808 | -78.059 | -78.059 | 127.35 | 98.4639 | 98.4639 | 0.71212 | 1.2506 | 1.0025 | 0.5325 | 1.2344 | 1.1281 | -19.9782 | -124.7638 | 135.3401 | -14.0062 | -130.511 | 135.2994
Line_1 | 0.45712 | 0.0010242 | 0.0010242 | 0.45887 | 0.0030194 | 0.0030194 | 5.2784 | 0.011827 | 0.011827 | 5.2985 | 0.034865 | 0.034865 | -1.5624 | -0.0091498 | 0.011193 | 2.2054 | 0.028569 | -0.031246 | -1.566 | 0.011328 | 0.0089242 | 1.7598 | -0.032189 | -0.023891 | 127.5263 | 96.7393 | 96.7393 | -52.5946 | -82.1018 | -82.1018 | 0.41908 | 1.2312 | 1.2104 | 0.5325 | 1.2344 | 1.1281 | -7.4078 | -134.3327 | 135.3037 | -14.0062 | -130.511 | 135.2994
Line_2 | 0.22901 | 0.0010512 | 0.0010512 | 0.23073 | 0.002968 | 0.002968 | 2.6444 | 0.012139 | 0.012139 | 2.6643 | 0.034272 | 0.034272 | -0.93994 | -0.010083 | 0.010857 | 1.1064 | 0.027447 | -0.031176 | -0.83197 | 0.011043 | 0.0091528 | 0.88809 | -0.032194 | -0.022868 | 127.4511 | 95.1572 | 95.1572 | -52.7601 | -80.9606 | -80.9606 | 0.47469 | 1.2319 | 1.1699 | 0.5325 | 1.2344 | 1.1281 | -11.036 | -132.4452 | 135.2886 | -14.0062 | -130.511 | 135.2994
Line_3 | 0.22724 | 0.0010242 | 0.0010242 | 0.22901 | 0.0010512 | 0.0010512 | 2.624 | 0.011827 | 0.011827 | 2.6444 | 0.012139 | 0.012139 | -0.77937 | 0.0091498 | -0.011193 | 0.93994 | 0.010083 | -0.010857 | -0.77578 | -0.011328 | -0.0089242 | 0.83197 | -0.011043 | -0.0091528 | 127.7246 | -83.2607 | -83.2607 | -52.5489 | -84.8428 | -84.8428 | 0.41908 | 1.2312 | 1.2104 | 0.47469 | 1.2319 | 1.1699 | -7.4078 | -134.3327 | 135.3037 | -11.036 | -132.4452 | 135.2886

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093168 | 3.2545 | 3.2191 | 0.0071812 | 3.2544 | 3.2186 | 0.10758 | 37.5798 | 37.171 | 0.082921 | 37.5782 | 37.1656 | -0.0011717 | 11.5453 | 8.0965 | 0.0027358 | -4.6117 | -3.2351 | -0.15479 | 5.5014 | 15.5113 | 0.12307 | -2.2202 | -6.182 | 95.0146 | -171.6015 | 24.6697 | -87.11 | 8.4364 | -155.3678 | 1.4389 | 0.34032 | 0.47072 | 1.4845 | 0.1362 | 0.18774 | 4.5809 | -146.1232 | 87.1061 | 1.6166 | -145.8565 | 87.0087
Line_1 | 0.0012147 | 2.1699 | 2.1445 | 0.0036081 | 2.1697 | 2.1453 | 0.014026 | 25.0559 | 24.7621 | 0.041662 | 25.0532 | 24.7723 | 0.00075127 | 6.1531e-11 | 7.3353e-11 | -0.00099019 | 3.0754 | 2.1542 | 0.021258 | -4.4992e-11 | 9.2621e-12 | -0.061841 | 1.4785 | 4.1217 | -88.1977 | 8.5303 | -155.4567 | 92.5339 | -171.5326 | 24.6028 | 1.5165 | 0 | 0 | 1.4845 | 0.1362 | 0.18774 | -0.22169 | 0 | 0 | 1.6166 | -145.8565 | 87.0087
Line_2 | 0.0012327 | 1.0849 | 1.0725 | 0.0035733 | 1.0847 | 1.0733 | 0.014234 | 12.5269 | 12.3841 | 0.041261 | 12.525 | 12.3933 | 3.8072e-05 | -0.76763 | -0.53794 | -0.0017457 | 1.5363 | 1.0809 | 0.021359 | -0.37419 | -1.0254 | -0.061228 | 0.74166 | 2.0604 | -89.2246 | 8.4977 | -155.4263 | 93.2497 | -171.6258 | 24.6912 | 1.5005 | 0.068171 | 0.093503 | 1.4845 | 0.1362 | 0.18774 | 0.67323 | -145.5149 | 86.8918 | 1.6166 | -145.8565 | 87.0087
Line_3 | 0.0012147 | 1.0852 | 1.0715 | 0.0012327 | 1.0849 | 1.0725 | 0.014026 | 12.5304 | 12.3729 | 0.014234 | 12.5269 | 12.3841 | -0.00075127 | 3.0734e-11 | 3.6645e-11 | -3.8075e-05 | 0.76763 | 0.53794 | -0.021258 | -2.2552e-11 | 4.6855e-12 | -0.021359 | 0.37419 | 1.0254 | 91.8023 | 8.6259 | -155.5465 | 90.7754 | -171.5023 | 24.5737 | 1.5165 | 0 | 0 | 1.5005 | 0.068171 | 0.093503 | -0.22169 | 0 | 0 | 0.67323 | -145.5149 | 86.8918

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093168 | 3.2545 | 3.2191 | 0.0071812 | 3.2544 | 3.2186 | 0.10758 | 37.5798 | 37.171 | 0.082921 | 37.5782 | 37.1656 | -0.0011717 | 11.5453 | 8.0965 | 0.0027358 | -4.6117 | -3.2351 | -0.15479 | 5.5014 | 15.5113 | 0.12307 | -2.2202 | -6.182 | 95.0146 | -171.6015 | 24.6697 | -87.11 | 8.4364 | -155.3678 | 1.4389 | 0.34032 | 0.47072 | 1.4845 | 0.1362 | 0.18774 | 4.5809 | -146.1232 | 87.1061 | 1.6166 | -145.8565 | 87.0087
Line_1 | 0.0012147 | 2.1699 | 2.1445 | 0.0036081 | 2.1697 | 2.1453 | 0.014026 | 25.0559 | 24.7621 | 0.041662 | 25.0532 | 24.7723 | 0.00075127 | 6.1531e-11 | 7.3353e-11 | -0.00099019 | 3.0754 | 2.1542 | 0.021258 | -4.4992e-11 | 9.2621e-12 | -0.061841 | 1.4785 | 4.1217 | -88.1977 | 8.5303 | -155.4567 | 92.5339 | -171.5326 | 24.6028 | 1.5165 | 0 | 0 | 1.4845 | 0.1362 | 0.18774 | -0.22169 | 0 | 0 | 1.6166 | -145.8565 | 87.0087
Line_2 | 0.0012327 | 1.0849 | 1.0725 | 0.0035733 | 1.0847 | 1.0733 | 0.014234 | 12.5269 | 12.3841 | 0.041261 | 12.525 | 12.3933 | 3.8072e-05 | -0.76763 | -0.53794 | -0.0017457 | 1.5363 | 1.0809 | 0.021359 | -0.37419 | -1.0254 | -0.061228 | 0.74166 | 2.0604 | -89.2246 | 8.4977 | -155.4263 | 93.2497 | -171.6258 | 24.6912 | 1.5005 | 0.068171 | 0.093503 | 1.4845 | 0.1362 | 0.18774 | 0.67323 | -145.5149 | 86.8918 | 1.6166 | -145.8565 | 87.0087
Line_3 | 0.0012147 | 1.0852 | 1.0715 | 0.0012327 | 1.0849 | 1.0725 | 0.014026 | 12.5304 | 12.3729 | 0.014234 | 12.5269 | 12.3841 | -0.00075127 | 3.0734e-11 | 3.6645e-11 | -3.8075e-05 | 0.76763 | 0.53794 | -0.021258 | -2.2552e-11 | 4.6855e-12 | -0.021359 | 0.37419 | 1.0254 | 91.8023 | 8.6259 | -155.5465 | 90.7754 | -171.5023 | 24.5737 | 1.5165 | 0 | 0 | 1.5005 | 0.068171 | 0.093503 | -0.22169 | 0 | 0 | 0.67323 | -145.5149 | 86.8918

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063544 | 1.0758 | 1.1641 | 0.0048979 | 1.0758 | 1.1633 | 0.073375 | 12.4224 | 13.4417 | 0.056556 | 12.4219 | 13.4331 | -0.014733 | 7.2521 | 8.1527 | 0.011527 | -6.3606 | -7.3157 | -0.095613 | 5.8358 | 9.3721 | 0.075837 | -5.825 | -7.7804 | 103.6154 | -160.9325 | 51.1798 | -78.5091 | 19.1458 | -128.8826 | 1.3185 | 0.74934 | 0.92413 | 1.3563 | 0.69433 | 0.79502 | 4.8555 | -122.1088 | 100.16 | 2.8485 | -118.3709 | 97.8803
Line_1 | 0.00082849 | 0.71749 | 0.77402 | 0.0024608 | 0.71727 | 0.77506 | 0.0095666 | 8.2849 | 8.9376 | 0.028415 | 8.2823 | 8.9496 | 0.002024 | -3.8572 | -4.4938 | -0.0055543 | 4.2453 | 4.8698 | 0.013065 | -3.866 | -4.4865 | -0.038138 | 3.8791 | 5.1875 | -79.5969 | 19.3389 | -129.0223 | 101.1347 | -160.7903 | 51.0709 | 1.382 | 0.65918 | 0.71049 | 1.3563 | 0.69433 | 0.79502 | 1.5975 | -115.5958 | 95.9311 | 2.8485 | -118.3709 | 97.8803
Line_2 | 0.00084077 | 0.35866 | 0.3873 | 0.0024371 | 0.3585 | 0.38828 | 0.0097084 | 4.1415 | 4.4722 | 0.028141 | 4.1396 | 4.4835 | 0.001659 | -2.0251 | -2.3405 | -0.0059722 | 2.1153 | 2.4459 | 0.013189 | -1.9373 | -2.4175 | -0.037699 | 1.9459 | 2.5928 | -80.6238 | 19.2719 | -128.9758 | 101.8505 | -160.9819 | 51.2103 | 1.3692 | 0.67669 | 0.75239 | 1.3563 | 0.69433 | 0.79502 | 2.2071 | -116.9987 | 96.951 | 2.8485 | -118.3709 | 97.8803
Line_3 | 0.00082849 | 0.35894 | 0.3862 | 0.00084077 | 0.35866 | 0.3873 | 0.0095666 | 4.1447 | 4.4595 | 0.0097084 | 4.1415 | 4.4722 | -0.002024 | -1.9363 | -2.2368 | -0.001659 | 2.0251 | 2.3405 | -0.013065 | -1.9275 | -2.2441 | -0.013189 | 1.9373 | 2.4175 | 100.4031 | 19.5348 | -129.1623 | 99.3762 | -160.7281 | 51.0242 | 1.382 | 0.65918 | 0.71049 | 1.3692 | 0.67669 | 0.75239 | 1.5975 | -115.5958 | 95.9311 | 2.2071 | -116.9987 | 96.951

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063544 | 1.0758 | 1.1641 | 0.0048979 | 1.0758 | 1.1633 | 0.073375 | 12.4224 | 13.4417 | 0.056556 | 12.4219 | 13.4331 | -0.014733 | 7.2521 | 8.1527 | 0.011527 | -6.3606 | -7.3157 | -0.095613 | 5.8358 | 9.3721 | 0.075837 | -5.825 | -7.7804 | 103.6154 | -160.9325 | 51.1798 | -78.5091 | 19.1458 | -128.8826 | 1.3185 | 0.74934 | 0.92413 | 1.3563 | 0.69433 | 0.79502 | 4.8555 | -122.1088 | 100.16 | 2.8485 | -118.3709 | 97.8803
Line_1 | 0.00082849 | 0.71749 | 0.77402 | 0.0024608 | 0.71727 | 0.77506 | 0.0095666 | 8.2849 | 8.9376 | 0.028415 | 8.2823 | 8.9496 | 0.002024 | -3.8572 | -4.4938 | -0.0055543 | 4.2453 | 4.8698 | 0.013065 | -3.866 | -4.4865 | -0.038138 | 3.8791 | 5.1875 | -79.5969 | 19.3389 | -129.0223 | 101.1347 | -160.7903 | 51.0709 | 1.382 | 0.65918 | 0.71049 | 1.3563 | 0.69433 | 0.79502 | 1.5975 | -115.5958 | 95.9311 | 2.8485 | -118.3709 | 97.8803
Line_2 | 0.00084077 | 0.35866 | 0.3873 | 0.0024371 | 0.3585 | 0.38828 | 0.0097084 | 4.1415 | 4.4722 | 0.028141 | 4.1396 | 4.4835 | 0.001659 | -2.0251 | -2.3405 | -0.0059722 | 2.1153 | 2.4459 | 0.013189 | -1.9373 | -2.4175 | -0.037699 | 1.9459 | 2.5928 | -80.6238 | 19.2719 | -128.9758 | 101.8505 | -160.9819 | 51.2103 | 1.3692 | 0.67669 | 0.75239 | 1.3563 | 0.69433 | 0.79502 | 2.2071 | -116.9987 | 96.951 | 2.8485 | -118.3709 | 97.8803
Line_3 | 0.00082849 | 0.35894 | 0.3862 | 0.00084077 | 0.35866 | 0.3873 | 0.0095666 | 4.1447 | 4.4595 | 0.0097084 | 4.1415 | 4.4722 | -0.002024 | -1.9363 | -2.2368 | -0.001659 | 2.0251 | 2.3405 | -0.013065 | -1.9275 | -2.2441 | -0.013189 | 1.9373 | 2.4175 | 100.4031 | 19.5348 | -129.1623 | 99.3762 | -160.7281 | 51.0242 | 1.382 | 0.65918 | 0.71049 | 1.3692 | 0.67669 | 0.75239 | 1.5975 | -115.5958 | 95.9311 | 2.2071 | -116.9987 | 96.951

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080308 | 2.6652 | 2.5983 | 0.00632 | 2.6652 | 2.5978 | 0.092732 | 30.7756 | 30.0023 | 0.072977 | 30.7754 | 29.9969 | -0.0014187 | 14.2555 | 10.636 | 0.0033773 | -5.7021 | -4.2422 | -0.11555 | 0.72974 | 13.1552 | 0.096595 | -0.31885 | -5.235 | 97.7818 | -160.286 | 35.7446 | -85.6954 | 19.7519 | -144.2929 | 1.2462 | 0.46381 | 0.56386 | 1.3244 | 0.18557 | 0.22463 | 7.0784 | -157.3556 | 86.7889 | 2.3022 | -157.0476 | 86.6878
Line_1 | 0.0010812 | 1.7776 | 1.7303 | 0.0031873 | 1.7771 | 1.7314 | 0.012485 | 20.5262 | 19.9794 | 0.036804 | 20.5197 | 19.9921 | 0.00092732 | -9.5416e-11 | -1.1859e-11 | -0.0012222 | 3.802 | 2.8255 | 0.017212 | -8.2347e-11 | -1.2262e-10 | -0.048729 | 0.21046 | 3.4905 | -87.4199 | 19.8495 | -144.382 | 93.7389 | -160.2159 | 35.6776 | 1.3806 | 0 | 0 | 1.3244 | 0.18557 | 0.22463 | -0.50394 | 0 | 0 | 2.3022 | -157.0476 | 86.6878
Line_2 | 0.0011097 | 0.88861 | 0.86547 | 0.003133 | 0.88817 | 0.86644 | 0.012814 | 10.2608 | 9.9936 | 0.036177 | 10.2557 | 10.0048 | 4.6869e-05 | -0.95109 | -0.70353 | -0.0021551 | 1.9001 | 1.4167 | 0.017328 | -0.058873 | -0.86654 | -0.047866 | 0.10839 | 1.7446 | -89.0021 | 19.8151 | -144.3515 | 94.8801 | -160.3124 | 35.7661 | 1.3523 | 0.092868 | 0.11169 | 1.3244 | 0.18557 | 0.22463 | 0.84292 | -156.6428 | 86.5759 | 2.3022 | -157.0476 | 86.6878
Line_3 | 0.0010812 | 0.88929 | 0.86425 | 0.0011097 | 0.88861 | 0.86547 | 0.012485 | 10.2687 | 9.9795 | 0.012814 | 10.2608 | 9.9936 | -0.00092733 | -4.7805e-11 | -5.8273e-12 | -4.6871e-05 | 0.95109 | 0.70353 | -0.017212 | -4.1113e-11 | -6.1258e-11 | -0.017328 | 0.058873 | 0.86654 | 92.5801 | 19.9493 | -144.4721 | 90.9979 | -160.1849 | 35.6485 | 1.3806 | 0 | 0 | 1.3523 | 0.092868 | 0.11169 | -0.50394 | 0 | 0 | 0.84292 | -156.6428 | 86.5759

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080308 | 2.6652 | 2.5983 | 0.00632 | 2.6652 | 2.5978 | 0.092732 | 30.7756 | 30.0023 | 0.072977 | 30.7754 | 29.9969 | -0.0014187 | 14.2555 | 10.636 | 0.0033773 | -5.7021 | -4.2422 | -0.11555 | 0.72974 | 13.1552 | 0.096595 | -0.31885 | -5.235 | 97.7818 | -160.286 | 35.7446 | -85.6954 | 19.7519 | -144.2929 | 1.2462 | 0.46381 | 0.56386 | 1.3244 | 0.18557 | 0.22463 | 7.0784 | -157.3556 | 86.7889 | 2.3022 | -157.0476 | 86.6878
Line_1 | 0.0010812 | 1.7776 | 1.7303 | 0.0031873 | 1.7771 | 1.7314 | 0.012485 | 20.5262 | 19.9794 | 0.036804 | 20.5197 | 19.9921 | 0.00092732 | -9.5416e-11 | -1.1859e-11 | -0.0012222 | 3.802 | 2.8255 | 0.017212 | -8.2347e-11 | -1.2262e-10 | -0.048729 | 0.21046 | 3.4905 | -87.4199 | 19.8495 | -144.382 | 93.7389 | -160.2159 | 35.6776 | 1.3806 | 0 | 0 | 1.3244 | 0.18557 | 0.22463 | -0.50394 | 0 | 0 | 2.3022 | -157.0476 | 86.6878
Line_2 | 0.0011097 | 0.88861 | 0.86547 | 0.003133 | 0.88817 | 0.86644 | 0.012814 | 10.2608 | 9.9936 | 0.036177 | 10.2557 | 10.0048 | 4.6869e-05 | -0.95109 | -0.70353 | -0.0021551 | 1.9001 | 1.4167 | 0.017328 | -0.058873 | -0.86654 | -0.047866 | 0.10839 | 1.7446 | -89.0021 | 19.8151 | -144.3515 | 94.8801 | -160.3124 | 35.7661 | 1.3523 | 0.092868 | 0.11169 | 1.3244 | 0.18557 | 0.22463 | 0.84292 | -156.6428 | 86.5759 | 2.3022 | -157.0476 | 86.6878
Line_3 | 0.0010812 | 0.88929 | 0.86425 | 0.0011097 | 0.88861 | 0.86547 | 0.012485 | 10.2687 | 9.9795 | 0.012814 | 10.2608 | 9.9936 | -0.00092733 | -4.7805e-11 | -5.8273e-12 | -4.6871e-05 | 0.95109 | 0.70353 | -0.017212 | -4.1113e-11 | -6.1258e-11 | -0.017328 | 0.058873 | 0.86654 | 92.5801 | 19.9493 | -144.4721 | 90.9979 | -160.1849 | 35.6485 | 1.3806 | 0 | 0 | 1.3523 | 0.092868 | 0.11169 | -0.50394 | 0 | 0 | 0.84292 | -156.6428 | 86.5759

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0055919 | 0.95056 | 0.9719 | 0.0044007 | 0.95055 | 0.97128 | 0.06457 | 10.9762 | 11.2226 | 0.050815 | 10.976 | 11.2154 | -0.0072778 | 6.6054 | 6.5826 | 0.0059183 | -5.346 | -5.454 | -0.074792 | 3.8843 | 7.2937 | 0.06189 | -4.284 | -5.7238 | 101.323 | -156.7371 | 54.1985 | -82.1542 | 23.337 | -125.8641 | 1.1638 | 0.69814 | 0.87545 | 1.2235 | 0.62415 | 0.70494 | 5.7652 | -126.2795 | 102.1319 | 2.3835 | -117.9561 | 100.5186
Line_1 | 0.00075284 | 0.63426 | 0.64596 | 0.0022194 | 0.63387 | 0.64702 | 0.0086931 | 7.3239 | 7.4589 | 0.025627 | 7.3193 | 7.4712 | 0.0011041 | -3.0148 | -3.1293 | -0.0026764 | 3.5681 | 3.6302 | 0.010942 | -3.0217 | -3.1244 | -0.03124 | 2.8529 | 3.8158 | -83.8788 | 23.5274 | -125.9992 | 97.2801 | -156.6002 | 54.0908 | 1.265 | 0.58282 | 0.59284 | 1.2235 | 0.62415 | 0.70494 | 0.35912 | -111.4077 | 98.9559 | 2.3835 | -117.9561 | 100.5186
Line_2 | 0.00077269 | 0.31699 | 0.32329 | 0.0021816 | 0.31668 | 0.32426 | 0.0089222 | 3.6603 | 3.733 | 0.02519 | 3.6567 | 3.7443 | 0.00062062 | -1.6455 | -1.6889 | -0.0032419 | 1.7779 | 1.8238 | 0.011084 | -1.4701 | -1.7338 | -0.03065 | 1.4311 | 1.908 | -85.4609 | 23.4603 | -125.955 | 98.4213 | -156.7886 | 54.226 | 1.2442 | 0.60283 | 0.64838 | 1.2235 | 0.62415 | 0.70494 | 1.3343 | -114.7636 | 99.7979 | 2.3835 | -117.9561 | 100.5186
Line_3 | 0.00075284 | 0.31747 | 0.32214 | 0.00077269 | 0.31699 | 0.32329 | 0.0086931 | 3.6658 | 3.7198 | 0.0089222 | 3.6603 | 3.733 | -0.0011041 | -1.5142 | -1.5569 | -0.00062063 | 1.6455 | 1.6889 | -0.010942 | -1.5073 | -1.5618 | -0.011084 | 1.4701 | 1.7338 | 96.1213 | 23.7219 | -126.1339 | 94.5391 | -156.5397 | 54.045 | 1.265 | 0.58282 | 0.59284 | 1.2442 | 0.60283 | 0.64838 | 0.35912 | -111.4077 | 98.9559 | 1.3343 | -114.7636 | 99.7979

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0055919 | 0.95056 | 0.9719 | 0.0044007 | 0.95055 | 0.97128 | 0.06457 | 10.9762 | 11.2226 | 0.050815 | 10.976 | 11.2154 | -0.0072778 | 6.6054 | 6.5826 | 0.0059183 | -5.346 | -5.454 | -0.074792 | 3.8843 | 7.2937 | 0.06189 | -4.284 | -5.7238 | 101.323 | -156.7371 | 54.1985 | -82.1542 | 23.337 | -125.8641 | 1.1638 | 0.69814 | 0.87545 | 1.2235 | 0.62415 | 0.70494 | 5.7652 | -126.2795 | 102.1319 | 2.3835 | -117.9561 | 100.5186
Line_1 | 0.00075284 | 0.63426 | 0.64596 | 0.0022194 | 0.63387 | 0.64702 | 0.0086931 | 7.3239 | 7.4589 | 0.025627 | 7.3193 | 7.4712 | 0.0011041 | -3.0148 | -3.1293 | -0.0026764 | 3.5681 | 3.6302 | 0.010942 | -3.0217 | -3.1244 | -0.03124 | 2.8529 | 3.8158 | -83.8788 | 23.5274 | -125.9992 | 97.2801 | -156.6002 | 54.0908 | 1.265 | 0.58282 | 0.59284 | 1.2235 | 0.62415 | 0.70494 | 0.35912 | -111.4077 | 98.9559 | 2.3835 | -117.9561 | 100.5186
Line_2 | 0.00077269 | 0.31699 | 0.32329 | 0.0021816 | 0.31668 | 0.32426 | 0.0089222 | 3.6603 | 3.733 | 0.02519 | 3.6567 | 3.7443 | 0.00062062 | -1.6455 | -1.6889 | -0.0032419 | 1.7779 | 1.8238 | 0.011084 | -1.4701 | -1.7338 | -0.03065 | 1.4311 | 1.908 | -85.4609 | 23.4603 | -125.955 | 98.4213 | -156.7886 | 54.226 | 1.2442 | 0.60283 | 0.64838 | 1.2235 | 0.62415 | 0.70494 | 1.3343 | -114.7636 | 99.7979 | 2.3835 | -117.9561 | 100.5186
Line_3 | 0.00075284 | 0.31747 | 0.32214 | 0.00077269 | 0.31699 | 0.32329 | 0.0086931 | 3.6658 | 3.7198 | 0.0089222 | 3.6603 | 3.733 | -0.0011041 | -1.5142 | -1.5569 | -0.00062063 | 1.6455 | 1.6889 | -0.010942 | -1.5073 | -1.5618 | -0.011084 | 1.4701 | 1.7338 | 96.1213 | 23.7219 | -126.1339 | 94.5391 | -156.5397 | 54.045 | 1.265 | 0.58282 | 0.59284 | 1.2442 | 0.60283 | 0.64838 | 0.35912 | -111.4077 | 98.9559 | 1.3343 | -114.7636 | 99.7979