## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -2.6053e-14 | 28.4108 | -10.6145 | 1.5632e-14 | -23.0719 | 15.9534 | -1.0421e-14 | 4.32 | 15.8719 | 5.2106e-15 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 5.5704e-13 | -154.8648 | 140.2623 | 5.6967e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | 0 | -13.0085 | 13.0085 | -1.0421e-14 | 15.3813 | -10.6356 | 0 | 3.8506 | -3.8506 | -1.0362e-28 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 5.6566e-13 | 180 | -180 | 5.6967e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -5.2908e-29 | -7.0974 | 5.911 | -1.5632e-14 | 7.6906 | -5.3178 | 5.2106e-15 | 1.2523 | -2.5984 | -1.0421e-14 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 5.8177e-13 | -173.5168 | 172.7598 | 5.6967e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -5.2106e-15 | -6.5042 | 6.5042 | -1.0421e-14 | 7.0974 | -5.911 | -1.0421e-14 | 1.9253 | -1.9253 | 5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 5.6566e-13 | 180 | -180 | 5.8177e-13 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -2.6053e-14 | 28.4108 | -10.6145 | 1.5632e-14 | -23.0719 | 15.9534 | -1.0421e-14 | 4.32 | 15.8719 | 5.2106e-15 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 5.5704e-13 | -154.8648 | 140.2623 | 5.6967e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | 0 | -13.0085 | 13.0085 | -1.0421e-14 | 15.3813 | -10.6356 | 0 | 3.8506 | -3.8506 | -1.0362e-28 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 5.6566e-13 | 180 | -180 | 5.6967e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -5.2908e-29 | -7.0974 | 5.911 | -1.5632e-14 | 7.6906 | -5.3178 | 5.2106e-15 | 1.2523 | -2.5984 | -1.0421e-14 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 5.8177e-13 | -173.5168 | 172.7598 | 5.6967e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -5.2106e-15 | -6.5042 | 6.5042 | -1.0421e-14 | 7.0974 | -5.911 | -1.0421e-14 | 1.9253 | -1.9253 | 5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 5.6566e-13 | 180 | -180 | 5.8177e-13 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.0843e-14 | 17.8002 | 0.06044 | 1.5632e-14 | -16.4209 | 1.3189 | -1.0421e-14 | 3.9189 | 14.5607 | 7.816e-15 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 2.8273e-13 | -136.625 | 120.7211 | 2.9136e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 1.3246e-29 | -10.3342 | 1.4923 | -5.2106e-15 | 10.9473 | -0.87927 | -2.6053e-15 | -0.87368 | -7.9682 | 2.6053e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 2.913e-13 | -144.2087 | 131.5665 | 2.9136e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.3204 | 0.59289 | -1.3027e-14 | 5.4736 | -0.43963 | -5.2106e-15 | -0.61073 | -4.158 | 7.816e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 2.9858e-13 | -142.4927 | 129.0741 | 2.9136e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -7.816e-15 | -5.1671 | 0.74615 | 2.6053e-15 | 5.3204 | -0.59289 | 5.2106e-15 | -0.43684 | -3.9841 | -2.6053e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 2.913e-13 | -144.2087 | 131.5665 | 2.9858e-13 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.0843e-14 | 17.8002 | 0.06044 | 1.5632e-14 | -16.4209 | 1.3189 | -1.0421e-14 | 3.9189 | 14.5607 | 7.816e-15 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 2.8273e-13 | -136.625 | 120.7211 | 2.9136e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 1.3246e-29 | -10.3342 | 1.4923 | -5.2106e-15 | 10.9473 | -0.87927 | -2.6053e-15 | -0.87368 | -7.9682 | 2.6053e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 2.913e-13 | -144.2087 | 131.5665 | 2.9136e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.3204 | 0.59289 | -1.3027e-14 | 5.4736 | -0.43963 | -5.2106e-15 | -0.61073 | -4.158 | 7.816e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 2.9858e-13 | -142.4927 | 129.0741 | 2.9136e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -7.816e-15 | -5.1671 | 0.74615 | 2.6053e-15 | 5.3204 | -0.59289 | 5.2106e-15 | -0.43684 | -3.9841 | -2.6053e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 2.913e-13 | -144.2087 | 131.5665 | 2.9858e-13 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 4.737e-15 | 24.6317 | -2.0295 | -5.9212e-15 | -17.851 | 8.8102 | 3.3377e-29 | -0.29866 | 13.6553 | -2.3685e-15 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.0372e-13 | -153.068 | 126.0805 | 4.1152e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.4211e-14 | -8.8871 | 8.8871 | 1.4211e-14 | 11.9007 | -5.8735 | -2.3685e-15 | 4.6513 | -4.6513 | -2.3685e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 3.8412e-13 | -180 | 180 | 4.1152e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -7.1054e-15 | -5.1969 | 3.6901 | 7.1054e-15 | 5.9503 | -2.9367 | -7.1054e-15 | 1.8804 | -2.7709 | 1.1842e-14 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 3.9245e-13 | -172.2653 | 170.7242 | 4.1152e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -7.1054e-15 | -4.4435 | 4.4435 | 7.1054e-15 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | -9.4739e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 3.8412e-13 | -180 | 180 | 3.9245e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 4.737e-15 | 24.6317 | -2.0295 | -5.9212e-15 | -17.851 | 8.8102 | 3.3377e-29 | -0.29866 | 13.6553 | -2.3685e-15 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.0372e-13 | -153.068 | 126.0805 | 4.1152e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.4211e-14 | -8.8871 | 8.8871 | 1.4211e-14 | 11.9007 | -5.8735 | -2.3685e-15 | 4.6513 | -4.6513 | -2.3685e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 3.8412e-13 | -180 | 180 | 4.1152e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -7.1054e-15 | -5.1969 | 3.6901 | 7.1054e-15 | 5.9503 | -2.9367 | -7.1054e-15 | 1.8804 | -2.7709 | 1.1842e-14 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 3.9245e-13 | -172.2653 | 170.7242 | 4.1152e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -7.1054e-15 | -4.4435 | 4.4435 | 7.1054e-15 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | -9.4739e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 3.8412e-13 | -180 | 180 | 3.9245e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 6.5133e-15 | 14.2512 | 1.4266 | -6.5133e-15 | -12.3717 | 0.45296 | -4.737e-15 | 1.9064 | 11.2087 | 4.737e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 1.9444e-13 | -136.4258 | 118.7019 | 1.9559e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -4.737e-15 | -7.4125 | 1.1373 | 4.737e-15 | 8.2478 | -0.30197 | 2.3685e-15 | -0.036791 | -6.2383 | 1.617e-29 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.7884e-13 | -143.7605 | 136.2873 | 1.9559e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -2.3685e-15 | -3.9151 | 0.35982 | 2.3685e-15 | 4.1239 | -0.15099 | -7.1054e-15 | -0.14181 | -3.2426 | 7.1054e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.8432e-13 | -141.9705 | 132.2872 | 1.9559e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -2.3685e-15 | -3.7062 | 0.56866 | 2.3685e-15 | 3.9151 | -0.35982 | 9.4739e-15 | -0.018396 | -3.1192 | -4.737e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.7884e-13 | -143.7605 | 136.2873 | 1.8432e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 6.5133e-15 | 14.2512 | 1.4266 | -6.5133e-15 | -12.3717 | 0.45296 | -4.737e-15 | 1.9064 | 11.2087 | 4.737e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 1.9444e-13 | -136.4258 | 118.7019 | 1.9559e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -4.737e-15 | -7.4125 | 1.1373 | 4.737e-15 | 8.2478 | -0.30197 | 2.3685e-15 | -0.036791 | -6.2383 | 1.617e-29 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.7884e-13 | -143.7605 | 136.2873 | 1.9559e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -2.3685e-15 | -3.9151 | 0.35982 | 2.3685e-15 | 4.1239 | -0.15099 | -7.1054e-15 | -0.14181 | -3.2426 | 7.1054e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.8432e-13 | -141.9705 | 132.2872 | 1.9559e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -2.3685e-15 | -3.7062 | 0.56866 | 2.3685e-15 | 3.9151 | -0.35982 | 9.4739e-15 | -0.018396 | -3.1192 | -4.737e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.7884e-13 | -143.7605 | 136.2873 | 1.8432e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5338 | 0.016926 | 0.016926 | 1.5336 | 0.013221 | 0.013221 | 17.7105 | 0.19545 | 0.19545 | 17.7085 | 0.15266 | 0.15266 | 6.2001 | 0.17868 | -0.17857 | -2.4739 | -0.14124 | 0.1387 | 3.4204 | -0.17784 | -0.2829 | -1.3803 | 0.16264 | 0.24157 | -21.5257 | -106.3885 | -106.3885 | 158.6127 | 74.2538 | 74.2538 | 0.39982 | 1.2898 | 1.7117 | 0.15998 | 1.411 | 1.8247 | 7.3585 | -151.2533 | 131.3506 | 7.7724 | -154.7745 | 134.3913
Line_1 | 1.0218 | 0.0022503 | 0.0022503 | 1.0222 | 0.0066568 | 0.0066568 | 11.7986 | 0.025985 | 0.025985 | 11.8034 | 0.076866 | 0.076866 | 9.7215e-13 | -0.024287 | 0.023437 | 1.6509 | 0.070947 | -0.070088 | -1.8429e-11 | 0.030319 | 0.043488 | 0.91658 | -0.082038 | -0.12149 | 158.9791 | 74.5743 | 74.5743 | -21.2669 | -105.6278 | -105.6278 | 0 | 1.495 | 1.9012 | 0.15998 | 1.411 | 1.8247 | 0 | -156.7295 | 136.2526 | 7.7724 | -154.7745 | 134.3913
Line_2 | 0.51102 | 0.0022968 | 0.0022968 | 0.5114 | 0.006564 | 0.006564 | 5.9008 | 0.026522 | 0.026522 | 5.9052 | 0.075794 | 0.075794 | -0.41108 | -0.024391 | 0.024398 | 0.82302 | 0.070294 | -0.068612 | -0.23227 | 0.02982 | 0.042974 | 0.46376 | -0.080603 | -0.12008 | 158.8485 | 74.911 | 74.911 | -21.6279 | -105.8663 | -105.8663 | 0.080017 | 1.4526 | 1.8633 | 0.15998 | 1.411 | 1.8247 | 8.3156 | -155.8086 | 135.3263 | 7.7724 | -154.7745 | 134.3913
Line_3 | 0.51058 | 0.0022503 | 0.0022503 | 0.51102 | 0.0022968 | 0.0022968 | 5.8956 | 0.025985 | 0.025985 | 5.9008 | 0.026522 | 0.026522 | 4.2517e-13 | 0.024287 | -0.023437 | 0.41108 | 0.024391 | -0.024398 | -9.2119e-12 | -0.030319 | -0.043488 | 0.23227 | -0.02982 | -0.042974 | 159.356 | -105.4256 | -105.4256 | -21.1515 | -105.089 | -105.089 | 0 | 1.495 | 1.9012 | 0.080017 | 1.4526 | 1.8633 | 0 | -156.7295 | 136.2526 | 8.3156 | -155.8086 | 135.3263

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5338 | 0.016926 | 0.016926 | 1.5336 | 0.013221 | 0.013221 | 17.7105 | 0.19545 | 0.19545 | 17.7085 | 0.15266 | 0.15266 | 6.2001 | 0.17868 | -0.17857 | -2.4739 | -0.14124 | 0.1387 | 3.4204 | -0.17784 | -0.2829 | -1.3803 | 0.16264 | 0.24157 | -21.5257 | -106.3885 | -106.3885 | 158.6127 | 74.2538 | 74.2538 | 0.39982 | 1.2898 | 1.7117 | 0.15998 | 1.411 | 1.8247 | 7.3585 | -151.2533 | 131.3506 | 7.7724 | -154.7745 | 134.3913
Line_1 | 1.0218 | 0.0022503 | 0.0022503 | 1.0222 | 0.0066568 | 0.0066568 | 11.7986 | 0.025985 | 0.025985 | 11.8034 | 0.076866 | 0.076866 | 9.7215e-13 | -0.024287 | 0.023437 | 1.6509 | 0.070947 | -0.070088 | -1.8429e-11 | 0.030319 | 0.043488 | 0.91658 | -0.082038 | -0.12149 | 158.9791 | 74.5743 | 74.5743 | -21.2669 | -105.6278 | -105.6278 | 0 | 1.495 | 1.9012 | 0.15998 | 1.411 | 1.8247 | 0 | -156.7295 | 136.2526 | 7.7724 | -154.7745 | 134.3913
Line_2 | 0.51102 | 0.0022968 | 0.0022968 | 0.5114 | 0.006564 | 0.006564 | 5.9008 | 0.026522 | 0.026522 | 5.9052 | 0.075794 | 0.075794 | -0.41108 | -0.024391 | 0.024398 | 0.82302 | 0.070294 | -0.068612 | -0.23227 | 0.02982 | 0.042974 | 0.46376 | -0.080603 | -0.12008 | 158.8485 | 74.911 | 74.911 | -21.6279 | -105.8663 | -105.8663 | 0.080017 | 1.4526 | 1.8633 | 0.15998 | 1.411 | 1.8247 | 8.3156 | -155.8086 | 135.3263 | 7.7724 | -154.7745 | 134.3913
Line_3 | 0.51058 | 0.0022503 | 0.0022503 | 0.51102 | 0.0022968 | 0.0022968 | 5.8956 | 0.025985 | 0.025985 | 5.9008 | 0.026522 | 0.026522 | 4.2517e-13 | 0.024287 | -0.023437 | 0.41108 | 0.024391 | -0.024398 | -9.2119e-12 | -0.030319 | -0.043488 | 0.23227 | -0.02982 | -0.042974 | 159.356 | -105.4256 | -105.4256 | -21.1515 | -105.089 | -105.089 | 0 | 1.495 | 1.9012 | 0.080017 | 1.4526 | 1.8633 | 0 | -156.7295 | 136.2526 | 8.3156 | -155.8086 | 135.3263

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.84623 | 0.0093388 | 0.0093388 | 0.84613 | 0.0072943 | 0.0072943 | 9.7714 | 0.10784 | 0.10784 | 9.7703 | 0.084227 | 0.084227 | 5.425 | 0.10929 | -0.073002 | -4.299 | -0.085959 | 0.057242 | 4.6576 | -0.043967 | -0.13874 | -4.0276 | 0.042049 | 0.11447 | -32.6081 | -117.4709 | -117.4709 | 147.5303 | 63.1714 | 63.1714 | 0.73173 | 1.0924 | 1.4538 | 0.60294 | 1.1361 | 1.5196 | 8.0391 | -139.3864 | 124.7773 | 10.663 | -142.8953 | 126.6043
Line_1 | 0.56375 | 0.0012416 | 0.0012416 | 0.56398 | 0.0036727 | 0.0036727 | 6.5096 | 0.014337 | 0.014337 | 6.5123 | 0.042409 | 0.042409 | -2.3779 | -0.014713 | 0.0097301 | 2.8711 | 0.043237 | -0.028941 | -2.3883 | 0.0080005 | 0.020192 | 2.6785 | -0.021261 | -0.057579 | 147.8966 | 63.4919 | 63.4919 | -32.3493 | -116.7102 | -116.7102 | 0.51773 | 1.1682 | 1.5634 | 0.60294 | 1.1361 | 1.5196 | 13.0223 | -145.0438 | 127.7632 | 10.663 | -142.8953 | 126.6043
Line_2 | 0.28195 | 0.0012672 | 0.0012672 | 0.28216 | 0.0036216 | 0.0036216 | 3.2556 | 0.014633 | 0.014633 | 3.2581 | 0.041818 | 0.041818 | -1.3116 | -0.014903 | 0.010118 | 1.4279 | 0.042721 | -0.028301 | -1.2679 | 0.0078671 | 0.020164 | 1.3491 | -0.020787 | -0.056895 | 147.7661 | 63.8286 | 63.8286 | -32.7103 | -116.9487 | -116.9487 | 0.56034 | 1.1517 | 1.5417 | 0.60294 | 1.1361 | 1.5196 | 11.7939 | -144.0002 | 127.1815 | 10.663 | -142.8953 | 126.6043
Line_3 | 0.2817 | 0.0012416 | 0.0012416 | 0.28195 | 0.0012672 | 0.0012672 | 3.2528 | 0.014337 | 0.014337 | 3.2556 | 0.014633 | 0.014633 | -1.196 | 0.014713 | -0.0097301 | 1.3116 | 0.014903 | -0.010118 | -1.1856 | -0.0080005 | -0.020192 | 1.2679 | -0.0078671 | -0.020164 | 148.2736 | -116.5081 | -116.5081 | -32.2339 | -116.1714 | -116.1714 | 0.51773 | 1.1682 | 1.5634 | 0.56034 | 1.1517 | 1.5417 | 13.0223 | -145.0438 | 127.7632 | 11.7939 | -144.0002 | 127.1815

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.84623 | 0.0093388 | 0.0093388 | 0.84613 | 0.0072943 | 0.0072943 | 9.7714 | 0.10784 | 0.10784 | 9.7703 | 0.084227 | 0.084227 | 5.425 | 0.10929 | -0.073002 | -4.299 | -0.085959 | 0.057242 | 4.6576 | -0.043967 | -0.13874 | -4.0276 | 0.042049 | 0.11447 | -32.6081 | -117.4709 | -117.4709 | 147.5303 | 63.1714 | 63.1714 | 0.73173 | 1.0924 | 1.4538 | 0.60294 | 1.1361 | 1.5196 | 8.0391 | -139.3864 | 124.7773 | 10.663 | -142.8953 | 126.6043
Line_1 | 0.56375 | 0.0012416 | 0.0012416 | 0.56398 | 0.0036727 | 0.0036727 | 6.5096 | 0.014337 | 0.014337 | 6.5123 | 0.042409 | 0.042409 | -2.3779 | -0.014713 | 0.0097301 | 2.8711 | 0.043237 | -0.028941 | -2.3883 | 0.0080005 | 0.020192 | 2.6785 | -0.021261 | -0.057579 | 147.8966 | 63.4919 | 63.4919 | -32.3493 | -116.7102 | -116.7102 | 0.51773 | 1.1682 | 1.5634 | 0.60294 | 1.1361 | 1.5196 | 13.0223 | -145.0438 | 127.7632 | 10.663 | -142.8953 | 126.6043
Line_2 | 0.28195 | 0.0012672 | 0.0012672 | 0.28216 | 0.0036216 | 0.0036216 | 3.2556 | 0.014633 | 0.014633 | 3.2581 | 0.041818 | 0.041818 | -1.3116 | -0.014903 | 0.010118 | 1.4279 | 0.042721 | -0.028301 | -1.2679 | 0.0078671 | 0.020164 | 1.3491 | -0.020787 | -0.056895 | 147.7661 | 63.8286 | 63.8286 | -32.7103 | -116.9487 | -116.9487 | 0.56034 | 1.1517 | 1.5417 | 0.60294 | 1.1361 | 1.5196 | 11.7939 | -144.0002 | 127.1815 | 10.663 | -142.8953 | 126.6043
Line_3 | 0.2817 | 0.0012416 | 0.0012416 | 0.28195 | 0.0012672 | 0.0012672 | 3.2528 | 0.014337 | 0.014337 | 3.2556 | 0.014633 | 0.014633 | -1.196 | 0.014713 | -0.0097301 | 1.3116 | 0.014903 | -0.010118 | -1.1856 | -0.0080005 | -0.020192 | 1.2679 | -0.0078671 | -0.020164 | 148.2736 | -116.5081 | -116.5081 | -32.2339 | -116.1714 | -116.1714 | 0.51773 | 1.1682 | 1.5634 | 0.56034 | 1.1517 | 1.5417 | 13.0223 | -145.0438 | 127.7632 | 11.7939 | -144.0002 | 127.1815

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0913 | 0.014421 | 0.014421 | 1.0912 | 0.011518 | 0.011518 | 12.6009 | 0.16652 | 0.16652 | 12.5996 | 0.133 | 0.133 | 6.0241 | 0.14161 | -0.13951 | -2.4052 | -0.11337 | 0.11154 | 1.6992 | -0.12635 | -0.19083 | -0.69491 | 0.12766 | 0.17753 | -16.8422 | -102.9181 | -102.9181 | 163.3101 | 77.4975 | 77.4975 | 0.49672 | 1.1397 | 1.4196 | 0.1987 | 1.2837 | 1.5764 | -1.0902 | -144.6589 | 130.9119 | -0.57504 | -150.8955 | 135.3579
Line_1 | 0.72705 | 0.0019822 | 0.0019822 | 0.72731 | 0.0058213 | 0.0058213 | 8.3952 | 0.022889 | 0.022889 | 8.3983 | 0.067219 | 0.067219 | -3.6484e-12 | -0.019605 | 0.019129 | 1.6044 | 0.057198 | -0.056505 | 2.1997e-12 | 0.024998 | 0.033447 | 0.4591 | -0.064605 | -0.089637 | 163.7579 | 77.6956 | 77.6956 | -16.5439 | -102.4159 | -102.4159 | 0 | 1.388 | 1.6834 | 0.1987 | 1.2837 | 1.5764 | 0 | -154.1987 | 137.9295 | -0.57504 | -150.8955 | 135.3579
Line_2 | 0.36361 | 0.0020444 | 0.0020444 | 0.36385 | 0.0056971 | 0.0056971 | 4.1986 | 0.023607 | 0.023607 | 4.2014 | 0.065784 | 0.065784 | -0.39996 | -0.020002 | 0.019983 | 0.80084 | 0.056171 | -0.055031 | -0.11868 | 0.024345 | 0.03289 | 0.2358 | -0.063055 | -0.087893 | 163.5924 | 77.9362 | 77.9362 | -16.9817 | -102.591 | -102.591 | 0.099366 | 1.3347 | 1.6303 | 0.1987 | 1.2837 | 1.5764 | 0.11966 | -152.6571 | 136.6547 | -0.57504 | -150.8955 | 135.3579
Line_3 | 0.36333 | 0.0019822 | 0.0019822 | 0.36361 | 0.0020444 | 0.0020444 | 4.1954 | 0.022889 | 0.022889 | 4.1986 | 0.023607 | 0.023607 | -1.8142e-12 | 0.019605 | -0.019129 | 0.39996 | 0.020002 | -0.019983 | 1.1141e-12 | -0.024998 | -0.033447 | 0.11868 | -0.024345 | -0.03289 | 164.2257 | -102.3044 | -102.3044 | -16.4076 | -102.0638 | -102.0638 | 0 | 1.388 | 1.6834 | 0.099366 | 1.3347 | 1.6303 | 0 | -154.1987 | 137.9295 | 0.11966 | -152.6571 | 136.6547

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0913 | 0.014421 | 0.014421 | 1.0912 | 0.011518 | 0.011518 | 12.6009 | 0.16652 | 0.16652 | 12.5996 | 0.133 | 0.133 | 6.0241 | 0.14161 | -0.13951 | -2.4052 | -0.11337 | 0.11154 | 1.6992 | -0.12635 | -0.19083 | -0.69491 | 0.12766 | 0.17753 | -16.8422 | -102.9181 | -102.9181 | 163.3101 | 77.4975 | 77.4975 | 0.49672 | 1.1397 | 1.4196 | 0.1987 | 1.2837 | 1.5764 | -1.0902 | -144.6589 | 130.9119 | -0.57504 | -150.8955 | 135.3579
Line_1 | 0.72705 | 0.0019822 | 0.0019822 | 0.72731 | 0.0058213 | 0.0058213 | 8.3952 | 0.022889 | 0.022889 | 8.3983 | 0.067219 | 0.067219 | -3.6484e-12 | -0.019605 | 0.019129 | 1.6044 | 0.057198 | -0.056505 | 2.1997e-12 | 0.024998 | 0.033447 | 0.4591 | -0.064605 | -0.089637 | 163.7579 | 77.6956 | 77.6956 | -16.5439 | -102.4159 | -102.4159 | 0 | 1.388 | 1.6834 | 0.1987 | 1.2837 | 1.5764 | 0 | -154.1987 | 137.9295 | -0.57504 | -150.8955 | 135.3579
Line_2 | 0.36361 | 0.0020444 | 0.0020444 | 0.36385 | 0.0056971 | 0.0056971 | 4.1986 | 0.023607 | 0.023607 | 4.2014 | 0.065784 | 0.065784 | -0.39996 | -0.020002 | 0.019983 | 0.80084 | 0.056171 | -0.055031 | -0.11868 | 0.024345 | 0.03289 | 0.2358 | -0.063055 | -0.087893 | 163.5924 | 77.9362 | 77.9362 | -16.9817 | -102.591 | -102.591 | 0.099366 | 1.3347 | 1.6303 | 0.1987 | 1.2837 | 1.5764 | 0.11966 | -152.6571 | 136.6547 | -0.57504 | -150.8955 | 135.3579
Line_3 | 0.36333 | 0.0019822 | 0.0019822 | 0.36361 | 0.0020444 | 0.0020444 | 4.1954 | 0.022889 | 0.022889 | 4.1986 | 0.023607 | 0.023607 | -1.8142e-12 | 0.019605 | -0.019129 | 0.39996 | 0.020002 | -0.019983 | 1.1141e-12 | -0.024998 | -0.033447 | 0.11868 | -0.024345 | -0.03289 | 164.2257 | -102.3044 | -102.3044 | -16.4076 | -102.0638 | -102.0638 | 0 | 1.388 | 1.6834 | 0.099366 | 1.3347 | 1.6303 | 0 | -154.1987 | 137.9295 | 0.11966 | -152.6571 | 136.6547

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67486 | 0.0089182 | 0.0089182 | 0.67479 | 0.0071231 | 0.0071231 | 7.7926 | 0.10298 | 0.10298 | 7.7918 | 0.082251 | 0.082251 | 4.5489 | 0.095776 | -0.066614 | -3.1708 | -0.076648 | 0.053479 | 2.9549 | -0.039602 | -0.11338 | -2.5647 | 0.042099 | 0.10009 | -28.3585 | -114.4344 | -114.4344 | 151.7939 | 65.9812 | 65.9812 | 0.6961 | 1.0064 | 1.277 | 0.52339 | 1.0632 | 1.3797 | 4.6491 | -136.899 | 125.1309 | 10.761 | -142.7967 | 127.8644
Line_1 | 0.44962 | 0.0012259 | 0.0012259 | 0.44978 | 0.0036 | 0.0036 | 5.1917 | 0.014155 | 0.014155 | 5.1936 | 0.041569 | 0.041569 | -1.5118 | -0.013231 | 0.0091975 | 2.1179 | 0.038705 | -0.027104 | -1.52 | 0.0084232 | 0.018325 | 1.7041 | -0.021335 | -0.050542 | 152.2416 | 66.1793 | 66.1793 | -28.0601 | -113.9322 | -113.9322 | 0.41292 | 1.1081 | 1.4485 | 0.52339 | 1.0632 | 1.3797 | 17.3975 | -146.3026 | 129.5269 | 10.761 | -142.7967 | 127.8644
Line_2 | 0.22486 | 0.0012643 | 0.0012643 | 0.22501 | 0.0035232 | 0.0035232 | 2.5965 | 0.014599 | 0.014599 | 2.5982 | 0.040682 | 0.040682 | -0.90681 | -0.013567 | 0.0096071 | 1.0529 | 0.037943 | -0.026375 | -0.80775 | 0.0081624 | 0.018278 | 0.86057 | -0.020764 | -0.049544 | 152.0762 | 66.4199 | 66.4199 | -28.498 | -114.1073 | -114.1073 | 0.46771 | 1.0846 | 1.4144 | 0.52339 | 1.0632 | 1.3797 | 13.7693 | -144.6123 | 128.6924 | 10.761 | -142.7967 | 127.8644
Line_3 | 0.22469 | 0.0012259 | 0.0012259 | 0.22486 | 0.0012643 | 0.0012643 | 2.5945 | 0.014155 | 0.014155 | 2.5965 | 0.014599 | 0.014599 | -0.76166 | 0.013231 | -0.0091975 | 0.90681 | 0.013567 | -0.0096071 | -0.75341 | -0.0084232 | -0.018325 | 0.80775 | -0.0081624 | -0.018278 | 152.7094 | -113.8207 | -113.8207 | -27.9238 | -113.5801 | -113.5801 | 0.41292 | 1.1081 | 1.4485 | 0.46771 | 1.0846 | 1.4144 | 17.3975 | -146.3026 | 129.5269 | 13.7693 | -144.6123 | 128.6924

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67486 | 0.0089182 | 0.0089182 | 0.67479 | 0.0071231 | 0.0071231 | 7.7926 | 0.10298 | 0.10298 | 7.7918 | 0.082251 | 0.082251 | 4.5489 | 0.095776 | -0.066614 | -3.1708 | -0.076648 | 0.053479 | 2.9549 | -0.039602 | -0.11338 | -2.5647 | 0.042099 | 0.10009 | -28.3585 | -114.4344 | -114.4344 | 151.7939 | 65.9812 | 65.9812 | 0.6961 | 1.0064 | 1.277 | 0.52339 | 1.0632 | 1.3797 | 4.6491 | -136.899 | 125.1309 | 10.761 | -142.7967 | 127.8644
Line_1 | 0.44962 | 0.0012259 | 0.0012259 | 0.44978 | 0.0036 | 0.0036 | 5.1917 | 0.014155 | 0.014155 | 5.1936 | 0.041569 | 0.041569 | -1.5118 | -0.013231 | 0.0091975 | 2.1179 | 0.038705 | -0.027104 | -1.52 | 0.0084232 | 0.018325 | 1.7041 | -0.021335 | -0.050542 | 152.2416 | 66.1793 | 66.1793 | -28.0601 | -113.9322 | -113.9322 | 0.41292 | 1.1081 | 1.4485 | 0.52339 | 1.0632 | 1.3797 | 17.3975 | -146.3026 | 129.5269 | 10.761 | -142.7967 | 127.8644
Line_2 | 0.22486 | 0.0012643 | 0.0012643 | 0.22501 | 0.0035232 | 0.0035232 | 2.5965 | 0.014599 | 0.014599 | 2.5982 | 0.040682 | 0.040682 | -0.90681 | -0.013567 | 0.0096071 | 1.0529 | 0.037943 | -0.026375 | -0.80775 | 0.0081624 | 0.018278 | 0.86057 | -0.020764 | -0.049544 | 152.0762 | 66.4199 | 66.4199 | -28.498 | -114.1073 | -114.1073 | 0.46771 | 1.0846 | 1.4144 | 0.52339 | 1.0632 | 1.3797 | 13.7693 | -144.6123 | 128.6924 | 10.761 | -142.7967 | 127.8644
Line_3 | 0.22469 | 0.0012259 | 0.0012259 | 0.22486 | 0.0012643 | 0.0012643 | 2.5945 | 0.014155 | 0.014155 | 2.5965 | 0.014599 | 0.014599 | -0.76166 | 0.013231 | -0.0091975 | 0.90681 | 0.013567 | -0.0096071 | -0.75341 | -0.0084232 | -0.018325 | 0.80775 | -0.0081624 | -0.018278 | 152.7094 | -113.8207 | -113.8207 | -27.9238 | -113.5801 | -113.5801 | 0.41292 | 1.1081 | 1.4485 | 0.46771 | 1.0846 | 1.4144 | 17.3975 | -146.3026 | 129.5269 | 13.7693 | -144.6123 | 128.6924

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095133 | 3.591 | 2.8305 | 0.0074306 | 3.5917 | 2.8295 | 0.10985 | 41.4649 | 32.6834 | 0.085801 | 41.4736 | 32.6719 | 0.0024995 | 16.7687 | 2.6623 | -0.0015733 | -6.7103 | -1.0604 | -0.16042 | 11.7717 | 9.1509 | 0.13232 | -4.733 | -3.6386 | 84.2701 | -166.7429 | 20.5913 | -95.0876 | 13.2881 | -159.4458 | 1.4606 | 0.49411 | 0.2916 | 1.5423 | 0.19799 | 0.116 | -4.8373 | -131.6738 | 94.3699 | -4.4064 | -131.5152 | 94.3063
Line_1 | 0.0012648 | 2.3957 | 1.8847 | 0.0037414 | 2.3949 | 1.8858 | 0.014604 | 27.6626 | 21.7628 | 0.043202 | 27.6536 | 21.7751 | -0.00026853 | 4.8199e-11 | 4.1274e-11 | 0.00065449 | 4.4757 | 0.70534 | 0.023315 | -2.9884e-11 | 1.5948e-11 | -0.066628 | 3.1537 | 2.4255 | -94.7671 | 13.3718 | -159.5468 | 85.0307 | -166.6844 | 20.5211 | 1.5965 | 0 | 0 | 1.5423 | 0.19799 | 0.116 | -4.1072 | 0 | 0 | -4.4064 | -131.5152 | 94.3063
Line_2 | 0.0012909 | 1.1976 | 0.94263 | 0.0036892 | 1.1969 | 0.94369 | 0.014906 | 13.829 | 10.8845 | 0.042599 | 13.82 | 10.8968 | -6.6014e-05 | -1.1191 | -0.17564 | 0.00091878 | 2.2345 | 0.35507 | 0.023396 | -0.79393 | -0.60166 | -0.065696 | 1.5793 | 1.2131 | -94.4305 | 13.3417 | -159.5104 | 84.7923 | -166.7669 | 20.6204 | 1.5696 | 0.099223 | 0.057584 | 1.5423 | 0.19799 | 0.116 | -4.2688 | -131.3061 | 94.2161 | -4.4064 | -131.5152 | 94.3063
Line_3 | 0.0012648 | 1.1984 | 0.94155 | 0.0012909 | 1.1976 | 0.94263 | 0.014604 | 13.8381 | 10.8721 | 0.014906 | 13.829 | 10.8845 | 0.00026852 | 2.4089e-11 | 2.0605e-11 | 6.6012e-05 | 1.1191 | 0.17564 | -0.023315 | -1.4985e-11 | 8.005e-12 | -0.023396 | 0.79393 | 0.60166 | 85.2329 | 13.458 | -159.6512 | 85.5695 | -166.6583 | 20.4896 | 1.5965 | 0 | 0 | 1.5696 | 0.099223 | 0.057584 | -4.1072 | 0 | 0 | -4.2688 | -131.3061 | 94.2161

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095133 | 3.591 | 2.8305 | 0.0074306 | 3.5917 | 2.8295 | 0.10985 | 41.4649 | 32.6834 | 0.085801 | 41.4736 | 32.6719 | 0.0024995 | 16.7687 | 2.6623 | -0.0015733 | -6.7103 | -1.0604 | -0.16042 | 11.7717 | 9.1509 | 0.13232 | -4.733 | -3.6386 | 84.2701 | -166.7429 | 20.5913 | -95.0876 | 13.2881 | -159.4458 | 1.4606 | 0.49411 | 0.2916 | 1.5423 | 0.19799 | 0.116 | -4.8373 | -131.6738 | 94.3699 | -4.4064 | -131.5152 | 94.3063
Line_1 | 0.0012648 | 2.3957 | 1.8847 | 0.0037414 | 2.3949 | 1.8858 | 0.014604 | 27.6626 | 21.7628 | 0.043202 | 27.6536 | 21.7751 | -0.00026853 | 4.8199e-11 | 4.1274e-11 | 0.00065449 | 4.4757 | 0.70534 | 0.023315 | -2.9884e-11 | 1.5948e-11 | -0.066628 | 3.1537 | 2.4255 | -94.7671 | 13.3718 | -159.5468 | 85.0307 | -166.6844 | 20.5211 | 1.5965 | 0 | 0 | 1.5423 | 0.19799 | 0.116 | -4.1072 | 0 | 0 | -4.4064 | -131.5152 | 94.3063
Line_2 | 0.0012909 | 1.1976 | 0.94263 | 0.0036892 | 1.1969 | 0.94369 | 0.014906 | 13.829 | 10.8845 | 0.042599 | 13.82 | 10.8968 | -6.6014e-05 | -1.1191 | -0.17564 | 0.00091878 | 2.2345 | 0.35507 | 0.023396 | -0.79393 | -0.60166 | -0.065696 | 1.5793 | 1.2131 | -94.4305 | 13.3417 | -159.5104 | 84.7923 | -166.7669 | 20.6204 | 1.5696 | 0.099223 | 0.057584 | 1.5423 | 0.19799 | 0.116 | -4.2688 | -131.3061 | 94.2161 | -4.4064 | -131.5152 | 94.3063
Line_3 | 0.0012648 | 1.1984 | 0.94155 | 0.0012909 | 1.1976 | 0.94263 | 0.014604 | 13.8381 | 10.8721 | 0.014906 | 13.829 | 10.8845 | 0.00026852 | 2.4089e-11 | 2.0605e-11 | 6.6012e-05 | 1.1191 | 0.17564 | -0.023315 | -1.4985e-11 | 8.005e-12 | -0.023396 | 0.79393 | 0.60166 | 85.2329 | 13.458 | -159.6512 | 85.5695 | -166.6583 | 20.4896 | 1.5965 | 0 | 0 | 1.5696 | 0.099223 | 0.057584 | -4.1072 | 0 | 0 | -4.2688 | -131.3061 | 94.2161

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066974 | 1.2624 | 0.95278 | 0.0052312 | 1.2634 | 0.9514 | 0.077335 | 14.5772 | 11.0018 | 0.060405 | 14.5888 | 10.9858 | 0.019885 | 10.5473 | 4.7562 | -0.015151 | -9.0139 | -4.6021 | -0.10135 | 8.8727 | 6.2935 | 0.082802 | -8.3713 | -5.2073 | 73.1736 | -156.0481 | 51.5238 | -106.1841 | 24.0005 | -128.5055 | 1.3355 | 0.94551 | 0.71703 | 1.3936 | 0.84322 | 0.63259 | -5.7258 | -115.9764 | 104.4443 | -5.8147 | -113.1162 | 100.0248
Line_1 | 0.00089042 | 0.84397 | 0.63186 | 0.002634 | 0.84284 | 0.63347 | 0.010282 | 9.7453 | 7.2961 | 0.030414 | 9.7323 | 7.3147 | -0.0025629 | -5.3414 | -2.9921 | 0.0075427 | 6.0175 | 3.0625 | 0.0145 | -5.35 | -2.9888 | -0.041707 | 5.5799 | 3.4687 | -105.8636 | 24.135 | -128.5945 | 73.9343 | -155.9554 | 51.4656 | 1.4321 | 0.77576 | 0.57965 | 1.3936 | 0.84322 | 0.63259 | -5.8399 | -110.8187 | 96.3742 | -5.8147 | -113.1162 | 100.0248
Line_2 | 0.00090882 | 0.42169 | 0.31636 | 0.0025972 | 0.42059 | 0.31792 | 0.010494 | 4.8692 | 3.653 | 0.02999 | 4.8565 | 3.6711 | -0.002495 | -2.8401 | -1.513 | 0.0076087 | 2.9964 | 1.5396 | 0.014616 | -2.7339 | -1.6135 | -0.041095 | 2.7914 | 1.7385 | -105.5269 | 24.0863 | -128.5612 | 73.6958 | -156.0878 | 51.552 | 1.4129 | 0.80959 | 0.60551 | 1.3936 | 0.84322 | 0.63259 | -5.8394 | -112.0055 | 98.2806 | -5.8147 | -113.1162 | 100.0248
Line_3 | 0.00089042 | 0.42284 | 0.3147 | 0.00090882 | 0.42169 | 0.31636 | 0.010282 | 4.8826 | 3.6338 | 0.010494 | 4.8692 | 3.653 | 0.0025629 | -2.6826 | -1.4878 | 0.002495 | 2.8401 | 1.513 | -0.0145 | -2.674 | -1.491 | -0.014616 | 2.7339 | 1.6135 | 74.1365 | 24.2736 | -128.6885 | 74.4731 | -155.9137 | 51.4388 | 1.4321 | 0.77576 | 0.57965 | 1.4129 | 0.80959 | 0.60551 | -5.8399 | -110.8187 | 96.3742 | -5.8394 | -112.0055 | 98.2806

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066974 | 1.2624 | 0.95278 | 0.0052312 | 1.2634 | 0.9514 | 0.077335 | 14.5772 | 11.0018 | 0.060405 | 14.5888 | 10.9858 | 0.019885 | 10.5473 | 4.7562 | -0.015151 | -9.0139 | -4.6021 | -0.10135 | 8.8727 | 6.2935 | 0.082802 | -8.3713 | -5.2073 | 73.1736 | -156.0481 | 51.5238 | -106.1841 | 24.0005 | -128.5055 | 1.3355 | 0.94551 | 0.71703 | 1.3936 | 0.84322 | 0.63259 | -5.7258 | -115.9764 | 104.4443 | -5.8147 | -113.1162 | 100.0248
Line_1 | 0.00089042 | 0.84397 | 0.63186 | 0.002634 | 0.84284 | 0.63347 | 0.010282 | 9.7453 | 7.2961 | 0.030414 | 9.7323 | 7.3147 | -0.0025629 | -5.3414 | -2.9921 | 0.0075427 | 6.0175 | 3.0625 | 0.0145 | -5.35 | -2.9888 | -0.041707 | 5.5799 | 3.4687 | -105.8636 | 24.135 | -128.5945 | 73.9343 | -155.9554 | 51.4656 | 1.4321 | 0.77576 | 0.57965 | 1.3936 | 0.84322 | 0.63259 | -5.8399 | -110.8187 | 96.3742 | -5.8147 | -113.1162 | 100.0248
Line_2 | 0.00090882 | 0.42169 | 0.31636 | 0.0025972 | 0.42059 | 0.31792 | 0.010494 | 4.8692 | 3.653 | 0.02999 | 4.8565 | 3.6711 | -0.002495 | -2.8401 | -1.513 | 0.0076087 | 2.9964 | 1.5396 | 0.014616 | -2.7339 | -1.6135 | -0.041095 | 2.7914 | 1.7385 | -105.5269 | 24.0863 | -128.5612 | 73.6958 | -156.0878 | 51.552 | 1.4129 | 0.80959 | 0.60551 | 1.3936 | 0.84322 | 0.63259 | -5.8394 | -112.0055 | 98.2806 | -5.8147 | -113.1162 | 100.0248
Line_3 | 0.00089042 | 0.42284 | 0.3147 | 0.00090882 | 0.42169 | 0.31636 | 0.010282 | 4.8826 | 3.6338 | 0.010494 | 4.8692 | 3.653 | 0.0025629 | -2.6826 | -1.4878 | 0.002495 | 2.8401 | 1.513 | -0.0145 | -2.674 | -1.491 | -0.014616 | 2.7339 | 1.6135 | 74.1365 | 24.2736 | -128.6885 | 74.4731 | -155.9137 | 51.4388 | 1.4321 | 0.77576 | 0.57965 | 1.4129 | 0.80959 | 0.60551 | -5.8399 | -110.8187 | 96.3742 | -5.8394 | -112.0055 | 98.2806

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081517 | 2.8595 | 2.3658 | 0.0065109 | 2.8603 | 2.3647 | 0.094127 | 33.0188 | 27.3175 | 0.075181 | 33.0283 | 27.3058 | 0.0016161 | 19.0874 | 5.1225 | -0.00092276 | -7.6479 | -2.0347 | -0.11859 | 5.5066 | 8.2234 | 0.10301 | -2.2314 | -3.2641 | 85.5956 | -156.0737 | 32.1007 | -93.9888 | 23.9548 | -147.9306 | 1.26 | 0.60165 | 0.35466 | 1.3702 | 0.24121 | 0.14086 | -3.6236 | -139.981 | 90.181 | -3.4756 | -139.7796 | 90.1311
Line_1 | 0.0011205 | 1.9084 | 1.5746 | 0.0032905 | 1.9074 | 1.5759 | 0.012938 | 22.0364 | 18.1819 | 0.037996 | 22.0246 | 18.1967 | -0.00015221 | -1.0021e-10 | 1.8279e-12 | 0.00038766 | 5.1006 | 1.3548 | 0.018674 | -8.1822e-11 | -1.066e-10 | -0.052062 | 1.4855 | 2.1759 | -93.7907 | 24.0402 | -148.0252 | 86.0978 | -156.0174 | 32.0387 | 1.4434 | 0 | 0 | 1.3702 | 0.24121 | 0.14086 | -3.3237 | 0 | 0 | -3.4756 | -139.7796 | 90.1311
Line_2 | 0.0011556 | 0.95393 | 0.78765 | 0.0032203 | 0.95295 | 0.78887 | 0.013344 | 11.015 | 9.0949 | 0.037185 | 11.0037 | 9.1091 | -4.1037e-05 | -1.2778 | -0.33575 | 0.0005351 | 2.5472 | 0.67995 | 0.018774 | -0.3781 | -0.5383 | -0.05095 | 0.74589 | 1.0882 | -93.5501 | 24.0084 | -147.9898 | 85.9227 | -156.1008 | 32.1309 | 1.4069 | 0.12097 | 0.069756 | 1.3702 | 0.24121 | 0.14086 | -3.4249 | -139.5077 | 90.0578 | -3.4756 | -139.7796 | 90.1311
Line_3 | 0.0011205 | 0.95499 | 0.78632 | 0.0011556 | 0.95393 | 0.78765 | 0.012938 | 11.0273 | 9.0796 | 0.013344 | 11.015 | 9.0949 | 0.00015221 | -5.0208e-11 | 1.0052e-12 | 4.1035e-05 | 1.2778 | 0.33575 | -0.018674 | -4.0867e-11 | -5.3234e-11 | -0.018774 | 0.3781 | 0.5383 | 86.2093 | 24.1293 | -148.1246 | 86.4499 | -155.9916 | 32.0102 | 1.4434 | 0 | 0 | 1.4069 | 0.12097 | 0.069756 | -3.3237 | 0 | 0 | -3.4249 | -139.5077 | 90.0578

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081517 | 2.8595 | 2.3658 | 0.0065109 | 2.8603 | 2.3647 | 0.094127 | 33.0188 | 27.3175 | 0.075181 | 33.0283 | 27.3058 | 0.0016161 | 19.0874 | 5.1225 | -0.00092276 | -7.6479 | -2.0347 | -0.11859 | 5.5066 | 8.2234 | 0.10301 | -2.2314 | -3.2641 | 85.5956 | -156.0737 | 32.1007 | -93.9888 | 23.9548 | -147.9306 | 1.26 | 0.60165 | 0.35466 | 1.3702 | 0.24121 | 0.14086 | -3.6236 | -139.981 | 90.181 | -3.4756 | -139.7796 | 90.1311
Line_1 | 0.0011205 | 1.9084 | 1.5746 | 0.0032905 | 1.9074 | 1.5759 | 0.012938 | 22.0364 | 18.1819 | 0.037996 | 22.0246 | 18.1967 | -0.00015221 | -1.0021e-10 | 1.8279e-12 | 0.00038766 | 5.1006 | 1.3548 | 0.018674 | -8.1822e-11 | -1.066e-10 | -0.052062 | 1.4855 | 2.1759 | -93.7907 | 24.0402 | -148.0252 | 86.0978 | -156.0174 | 32.0387 | 1.4434 | 0 | 0 | 1.3702 | 0.24121 | 0.14086 | -3.3237 | 0 | 0 | -3.4756 | -139.7796 | 90.1311
Line_2 | 0.0011556 | 0.95393 | 0.78765 | 0.0032203 | 0.95295 | 0.78887 | 0.013344 | 11.015 | 9.0949 | 0.037185 | 11.0037 | 9.1091 | -4.1037e-05 | -1.2778 | -0.33575 | 0.0005351 | 2.5472 | 0.67995 | 0.018774 | -0.3781 | -0.5383 | -0.05095 | 0.74589 | 1.0882 | -93.5501 | 24.0084 | -147.9898 | 85.9227 | -156.1008 | 32.1309 | 1.4069 | 0.12097 | 0.069756 | 1.3702 | 0.24121 | 0.14086 | -3.4249 | -139.5077 | 90.0578 | -3.4756 | -139.7796 | 90.1311
Line_3 | 0.0011205 | 0.95499 | 0.78632 | 0.0011556 | 0.95393 | 0.78765 | 0.012938 | 11.0273 | 9.0796 | 0.013344 | 11.015 | 9.0949 | 0.00015221 | -5.0208e-11 | 1.0052e-12 | 4.1035e-05 | 1.2778 | 0.33575 | -0.018674 | -4.0867e-11 | -5.3234e-11 | -0.018774 | 0.3781 | 0.5383 | 86.2093 | 24.1293 | -148.1246 | 86.4499 | -155.9916 | 32.0102 | 1.4434 | 0 | 0 | 1.4069 | 0.12097 | 0.069756 | -3.3237 | 0 | 0 | -3.4249 | -139.5077 | 90.0578

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061764 | 1.069 | 0.82662 | 0.0049332 | 1.0698 | 0.82546 | 0.071319 | 12.3432 | 9.5449 | 0.056963 | 12.3532 | 9.5315 | 0.01453 | 8.9399 | 3.9535 | -0.011306 | -7.0182 | -3.6098 | -0.083278 | 5.8048 | 5.2405 | 0.071353 | -5.7848 | -4.1181 | 75.5866 | -151.788 | 52.7922 | -103.9978 | 28.2597 | -127.239 | 1.1853 | 0.86357 | 0.68775 | 1.2682 | 0.73624 | 0.57454 | -4.5161 | -118.7922 | 105.7606 | -4.994 | -112.2429 | 101.5244
Line_1 | 0.00084897 | 0.71486 | 0.54806 | 0.0024932 | 0.71375 | 0.54957 | 0.0098031 | 8.2545 | 6.3285 | 0.028789 | 8.2417 | 6.3459 | -0.0019346 | -3.8324 | -2.251 | 0.0056594 | 4.6855 | 2.4018 | 0.012829 | -3.8391 | -2.2482 | -0.03607 | 3.8556 | 2.7431 | -103.7997 | 28.4042 | -127.3394 | 76.0888 | -151.6933 | 52.7286 | 1.3235 | 0.65716 | 0.50271 | 1.2682 | 0.73624 | 0.57454 | -5.2243 | -106.5454 | 97.6251 | -4.994 | -112.2429 | 101.5244
Line_2 | 0.00087559 | 0.35713 | 0.27444 | 0.00244 | 0.35607 | 0.27588 | 0.01011 | 4.1238 | 3.169 | 0.028175 | 4.1115 | 3.1856 | -0.0019196 | -2.1304 | -1.162 | 0.0056466 | 2.3327 | 1.208 | 0.012961 | -1.9254 | -1.2468 | -0.035283 | 1.9292 | 1.375 | -103.5591 | 28.3502 | -127.301 | 75.9137 | -151.8347 | 52.8255 | 1.2959 | 0.69634 | 0.53781 | 1.2682 | 0.73624 | 0.57454 | -5.1344 | -109.5434 | 99.7163 | -4.994 | -112.2429 | 101.5244
Line_3 | 0.00084897 | 0.35829 | 0.27286 | 0.00087559 | 0.35713 | 0.27444 | 0.0098031 | 4.1371 | 3.1508 | 0.01011 | 4.1238 | 3.169 | 0.0019346 | -1.9258 | -1.1186 | 0.0019196 | 2.1304 | 1.162 | -0.012829 | -1.9191 | -1.1214 | -0.012961 | 1.9254 | 1.2468 | 76.2003 | 28.5551 | -127.4462 | 76.4409 | -151.6498 | 52.699 | 1.3235 | 0.65716 | 0.50271 | 1.2959 | 0.69634 | 0.53781 | -5.2243 | -106.5454 | 97.6251 | -5.1344 | -109.5434 | 99.7163

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061764 | 1.069 | 0.82662 | 0.0049332 | 1.0698 | 0.82546 | 0.071319 | 12.3432 | 9.5449 | 0.056963 | 12.3532 | 9.5315 | 0.01453 | 8.9399 | 3.9535 | -0.011306 | -7.0182 | -3.6098 | -0.083278 | 5.8048 | 5.2405 | 0.071353 | -5.7848 | -4.1181 | 75.5866 | -151.788 | 52.7922 | -103.9978 | 28.2597 | -127.239 | 1.1853 | 0.86357 | 0.68775 | 1.2682 | 0.73624 | 0.57454 | -4.5161 | -118.7922 | 105.7606 | -4.994 | -112.2429 | 101.5244
Line_1 | 0.00084897 | 0.71486 | 0.54806 | 0.0024932 | 0.71375 | 0.54957 | 0.0098031 | 8.2545 | 6.3285 | 0.028789 | 8.2417 | 6.3459 | -0.0019346 | -3.8324 | -2.251 | 0.0056594 | 4.6855 | 2.4018 | 0.012829 | -3.8391 | -2.2482 | -0.03607 | 3.8556 | 2.7431 | -103.7997 | 28.4042 | -127.3394 | 76.0888 | -151.6933 | 52.7286 | 1.3235 | 0.65716 | 0.50271 | 1.2682 | 0.73624 | 0.57454 | -5.2243 | -106.5454 | 97.6251 | -4.994 | -112.2429 | 101.5244
Line_2 | 0.00087559 | 0.35713 | 0.27444 | 0.00244 | 0.35607 | 0.27588 | 0.01011 | 4.1238 | 3.169 | 0.028175 | 4.1115 | 3.1856 | -0.0019196 | -2.1304 | -1.162 | 0.0056466 | 2.3327 | 1.208 | 0.012961 | -1.9254 | -1.2468 | -0.035283 | 1.9292 | 1.375 | -103.5591 | 28.3502 | -127.301 | 75.9137 | -151.8347 | 52.8255 | 1.2959 | 0.69634 | 0.53781 | 1.2682 | 0.73624 | 0.57454 | -5.1344 | -109.5434 | 99.7163 | -4.994 | -112.2429 | 101.5244
Line_3 | 0.00084897 | 0.35829 | 0.27286 | 0.00087559 | 0.35713 | 0.27444 | 0.0098031 | 4.1371 | 3.1508 | 0.01011 | 4.1238 | 3.169 | 0.0019346 | -1.9258 | -1.1186 | 0.0019196 | 2.1304 | 1.162 | -0.012829 | -1.9191 | -1.1214 | -0.012961 | 1.9254 | 1.2468 | 76.2003 | 28.5551 | -127.4462 | 76.4409 | -151.6498 | 52.699 | 1.3235 | 0.65716 | 0.50271 | 1.2959 | 0.69634 | 0.53781 | -5.2243 | -106.5454 | 97.6251 | -5.1344 | -109.5434 | 99.7163