## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36114 | 0.36114 | -2.0835 | -2.0835

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36114 | 0.36114 | -2.0835 | -2.0835

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65121 | 0.65121 | -12.5924 | -12.5924

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65121 | 0.65121 | -12.5924 | -12.5924

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2469e-14 | 7.876e-16 | -2.5369e-15 | 1.6903e-14 | 2.9862e-15 | 2.5369e-15 | -4.1279e-16 | 5.945e-15 | 7.987e-15 | -2.499e-15 | 1.4657e-15 | -7.987e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.186 | 0.70225 | 0.62548 | 1.186 | 0.70225 | 0.62548 | 1.0525 | -153.8566 | 152.6214 | 1.0525 | -153.8566 | 152.6214

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2469e-14 | 7.876e-16 | -2.5369e-15 | 1.6903e-14 | 2.9862e-15 | 2.5369e-15 | -4.1279e-16 | 5.945e-15 | 7.987e-15 | -2.499e-15 | 1.4657e-15 | -7.987e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.186 | 0.70225 | 0.62548 | 1.186 | 0.70225 | 0.62548 | 1.0525 | -153.8566 | 152.6214 | 1.0525 | -153.8566 | 152.6214

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1166e-14 | -2.5772e-15 | -4.1433e-16 | 5.6648e-15 | 6.0641e-15 | -8.5764e-15 | -1.6378e-16 | 7.7317e-15 | 8.5764e-15 | -5.501e-15 | 1.516e-15 | -4.1433e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1787 | 0.83456 | 0.64087 | 1.1787 | 0.83456 | 0.64087 | 0.84037 | -147.529 | 137.7659 | 0.84037 | -147.529 | 137.7659

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1166e-14 | -2.5772e-15 | -4.1433e-16 | 5.6648e-15 | 6.0641e-15 | -8.5764e-15 | -1.6378e-16 | 7.7317e-15 | 8.5764e-15 | -5.501e-15 | 1.516e-15 | -4.1433e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1787 | 0.83456 | 0.64087 | 1.1787 | 0.83456 | 0.64087 | 0.84037 | -147.529 | 137.7659 | 0.84037 | -147.529 | 137.7659

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2066e-15 | -5.2879e-15 | 3.3039e-15 | 1.2066e-15 | 1.4437e-15 | -3.3039e-15 | -3.8697e-17 | 4.1688e-15 | 3.6393e-15 | 3.8697e-17 | 4.0065e-15 | -3.6393e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2066e-15 | -5.2879e-15 | 3.3039e-15 | 1.2066e-15 | 1.4437e-15 | -3.3039e-15 | -3.8697e-17 | 4.1688e-15 | 3.6393e-15 | 3.8697e-17 | 4.0065e-15 | -3.6393e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.2372e-16 | -6.3333e-15 | 6.8467e-15 | -1.0612e-15 | 5.8419e-15 | -1.6721e-15 | 9.6231e-15 | 1.0374e-14 | 3.8193e-15 | -4.8287e-15 | -4.5706e-15 | -1.8305e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.2372e-16 | -6.3333e-15 | 6.8467e-15 | -1.0612e-15 | 5.8419e-15 | -1.6721e-15 | 9.6231e-15 | 1.0374e-14 | 3.8193e-15 | -4.8287e-15 | -4.5706e-15 | -1.8305e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1923 | 0.3413 | 0.45038 | 1.1927 | 0.34109 | 0.44982 | 13.767 | 3.941 | 5.2005 | 13.7727 | 3.9385 | 5.1941 | 0.1246 | 1.2666 | -4.0748 | 1.308 | -1.3967 | 4.0119 | -5.7264 | -3.8157 | -4.2053 | 6.8124 | 3.9575 | 4.0951 | 100.2465 | -40.0227 | -114.5277 | -79.7662 | 140.0644 | 65.4642 |  | 0.41605 | 1.0202 | 1.126 | 0.50367 | 1.0655 | 1.1037 | 11.493 | -111.66 | 111.3755 | -0.63532 | -110.4963 | 111.0524
Line_1 | 0.59676 | 0.17028 | 0.22456 | 0.59637 | 0.17054 | 0.22491 | 6.8908 | 1.9662 | 2.593 | 6.8863 | 1.9693 | 2.597 | 1.0137 | -0.72817 | 1.9867 | -0.65402 | 0.69835 | -2.0059 | 3.6797 | 2.0125 | 2.0194 | -3.4062 | -1.9787 | -2.0475 | -79.7709 | 140.1609 | 65.4177 | 100.2338 | -39.9356 | -114.5358 |  | 0.55389 | 1.0885 | 1.0925 | 0.50367 | 1.0655 | 1.1037 | -5.1725 | -109.9474 | 110.8865 | -0.63532 | -110.4963 | 111.0524
Line_2 | 0.59676 | 0.17028 | 0.22456 | 0.59637 | 0.17054 | 0.22491 | 6.8908 | 1.9662 | 2.593 | 6.8863 | 1.9693 | 2.597 | 1.0137 | -0.72817 | 1.9867 | -0.65402 | 0.69835 | -2.0059 | 3.6797 | 2.0125 | 2.0194 | -3.4062 | -1.9787 | -2.0475 | -79.7709 | 140.1609 | 65.4177 | 100.2338 | -39.9356 | -114.5358 |  | 0.55389 | 1.0885 | 1.0925 | 0.50367 | 1.0655 | 1.1037 | -5.1725 | -109.9474 | 110.8865 | -0.63532 | -110.4963 | 111.0524
Line_3 | 0.00017792 | 0.00017792 | 0.00017792 | 0.00017792 | 0.00017792 | 0.00017792 | 0.0020544 | 0.0020544 | 0.0020544 | 0.0020544 | 0.0020544 | 0.0020544 | 0.00037495 | 0.0018536 | -0.0022286 | 0.00037495 | 0.0018536 | -0.0022286 | 0.0010744 | -0.0012509 | -0.00026654 | 0.0010744 | -0.0012509 | -0.00026654 | -75.9339 | -75.9339 | -75.9339 | -75.9339 | -75.9339 | -75.9339 |  | 0.55389 | 1.0885 | 1.0925 | 0.55389 | 1.0885 | 1.0925 | -5.1725 | -109.9474 | 110.8865 | -5.1725 | -109.9474 | 110.8865

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1923 | 0.3413 | 0.45038 | 1.1927 | 0.34109 | 0.44982 | 13.767 | 3.941 | 5.2005 | 13.7727 | 3.9385 | 5.1941 | 0.1246 | 1.2666 | -4.0748 | 1.308 | -1.3967 | 4.0119 | -5.7264 | -3.8157 | -4.2053 | 6.8124 | 3.9575 | 4.0951 | 100.2465 | -40.0227 | -114.5277 | -79.7662 | 140.0644 | 65.4642 |  | 0.41605 | 1.0202 | 1.126 | 0.50367 | 1.0655 | 1.1037 | 11.493 | -111.66 | 111.3755 | -0.63532 | -110.4963 | 111.0524
Line_1 | 0.59676 | 0.17028 | 0.22456 | 0.59637 | 0.17054 | 0.22491 | 6.8908 | 1.9662 | 2.593 | 6.8863 | 1.9693 | 2.597 | 1.0137 | -0.72817 | 1.9867 | -0.65402 | 0.69835 | -2.0059 | 3.6797 | 2.0125 | 2.0194 | -3.4062 | -1.9787 | -2.0475 | -79.7709 | 140.1609 | 65.4177 | 100.2338 | -39.9356 | -114.5358 |  | 0.55389 | 1.0885 | 1.0925 | 0.50367 | 1.0655 | 1.1037 | -5.1725 | -109.9474 | 110.8865 | -0.63532 | -110.4963 | 111.0524
Line_2 | 0.59676 | 0.17028 | 0.22456 | 0.59637 | 0.17054 | 0.22491 | 6.8908 | 1.9662 | 2.593 | 6.8863 | 1.9693 | 2.597 | 1.0137 | -0.72817 | 1.9867 | -0.65402 | 0.69835 | -2.0059 | 3.6797 | 2.0125 | 2.0194 | -3.4062 | -1.9787 | -2.0475 | -79.7709 | 140.1609 | 65.4177 | 100.2338 | -39.9356 | -114.5358 |  | 0.55389 | 1.0885 | 1.0925 | 0.50367 | 1.0655 | 1.1037 | -5.1725 | -109.9474 | 110.8865 | -0.63532 | -110.4963 | 111.0524
Line_3 | 0.00017792 | 0.00017792 | 0.00017792 | 0.00017792 | 0.00017792 | 0.00017792 | 0.0020544 | 0.0020544 | 0.0020544 | 0.0020544 | 0.0020544 | 0.0020544 | 0.00037495 | 0.0018536 | -0.0022286 | 0.00037495 | 0.0018536 | -0.0022286 | 0.0010744 | -0.0012509 | -0.00026654 | 0.0010744 | -0.0012509 | -0.00026654 | -75.9339 | -75.9339 | -75.9339 | -75.9339 | -75.9339 | -75.9339 |  | 0.55389 | 1.0885 | 1.0925 | 0.55389 | 1.0885 | 1.0925 | -5.1725 | -109.9474 | 110.8865 | -5.1725 | -109.9474 | 110.8865

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87987 | 0.31781 | 0.34983 | 0.88022 | 0.31763 | 0.34947 | 10.1599 | 3.6698 | 4.0394 | 10.1639 | 3.6677 | 4.0353 | -2.8321 | 0.4692 | -3.0648 | 3.5743 | -0.54206 | 3.0693 | -5.9486 | -3.7722 | -3.5371 | 6.5559 | 3.8621 | 3.4704 | 109.8362 | -32.8606 | -114.864 | -70.1739 | 147.1998 | 65.1141 |  | 0.64847 | 1.0358 | 1.1586 | 0.73465 | 1.0633 | 1.1481 | -5.6228 | -115.7703 | 114.2278 | -8.7736 | -114.8108 | 113.624
Line_1 | 0.44038 | 0.15861 | 0.17454 | 0.44011 | 0.15881 | 0.17473 | 5.085 | 1.8315 | 2.0154 | 5.0819 | 1.8338 | 2.0177 | 1.9742 | -0.28792 | 1.5333 | -1.7872 | 0.27103 | -1.5346 | 3.4313 | 1.9518 | 1.7186 | -3.2779 | -1.9311 | -1.7352 | -70.1758 | 147.2623 | 65.0557 | 109.8261 | -32.8002 | -114.8859 |  | 0.77849 | 1.0772 | 1.1428 | 0.73465 | 1.0633 | 1.1481 | -10.0898 | -114.3462 | 113.3175 | -8.7736 | -114.8108 | 113.624
Line_2 | 0.44038 | 0.15861 | 0.17454 | 0.44011 | 0.15881 | 0.17473 | 5.085 | 1.8315 | 2.0154 | 5.0819 | 1.8338 | 2.0177 | 1.9742 | -0.28792 | 1.5333 | -1.7872 | 0.27103 | -1.5346 | 3.4313 | 1.9518 | 1.7186 | -3.2779 | -1.9311 | -1.7352 | -70.1758 | 147.2623 | 65.0557 | 109.8261 | -32.8002 | -114.8859 |  | 0.77849 | 1.0772 | 1.1428 | 0.73465 | 1.0633 | 1.1481 | -10.0898 | -114.3462 | 113.3175 | -8.7736 | -114.8108 | 113.624
Line_3 | 0.00012117 | 0.00012117 | 0.00012117 | 0.00012117 | 0.00012117 | 0.00012117 | 0.0013991 | 0.0013991 | 0.0013991 | 0.0013991 | 0.0013991 | 0.0013991 | 0.00066804 | 0.00092611 | -0.0015942 | 0.00066804 | 0.00092611 | -0.0015942 | 0.00086028 | -0.0011891 | 0.00012333 | 0.00086028 | -0.0011891 | 0.00012333 | -62.2588 | -62.2588 | -62.2588 | -62.2588 | -62.2588 | -62.2588 |  | 0.77849 | 1.0772 | 1.1428 | 0.77849 | 1.0772 | 1.1428 | -10.0898 | -114.3462 | 113.3175 | -10.0898 | -114.3462 | 113.3175

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87987 | 0.31781 | 0.34983 | 0.88022 | 0.31763 | 0.34947 | 10.1599 | 3.6698 | 4.0394 | 10.1639 | 3.6677 | 4.0353 | -2.8321 | 0.4692 | -3.0648 | 3.5743 | -0.54206 | 3.0693 | -5.9486 | -3.7722 | -3.5371 | 6.5559 | 3.8621 | 3.4704 | 109.8362 | -32.8606 | -114.864 | -70.1739 | 147.1998 | 65.1141 |  | 0.64847 | 1.0358 | 1.1586 | 0.73465 | 1.0633 | 1.1481 | -5.6228 | -115.7703 | 114.2278 | -8.7736 | -114.8108 | 113.624
Line_1 | 0.44038 | 0.15861 | 0.17454 | 0.44011 | 0.15881 | 0.17473 | 5.085 | 1.8315 | 2.0154 | 5.0819 | 1.8338 | 2.0177 | 1.9742 | -0.28792 | 1.5333 | -1.7872 | 0.27103 | -1.5346 | 3.4313 | 1.9518 | 1.7186 | -3.2779 | -1.9311 | -1.7352 | -70.1758 | 147.2623 | 65.0557 | 109.8261 | -32.8002 | -114.8859 |  | 0.77849 | 1.0772 | 1.1428 | 0.73465 | 1.0633 | 1.1481 | -10.0898 | -114.3462 | 113.3175 | -8.7736 | -114.8108 | 113.624
Line_2 | 0.44038 | 0.15861 | 0.17454 | 0.44011 | 0.15881 | 0.17473 | 5.085 | 1.8315 | 2.0154 | 5.0819 | 1.8338 | 2.0177 | 1.9742 | -0.28792 | 1.5333 | -1.7872 | 0.27103 | -1.5346 | 3.4313 | 1.9518 | 1.7186 | -3.2779 | -1.9311 | -1.7352 | -70.1758 | 147.2623 | 65.0557 | 109.8261 | -32.8002 | -114.8859 |  | 0.77849 | 1.0772 | 1.1428 | 0.73465 | 1.0633 | 1.1481 | -10.0898 | -114.3462 | 113.3175 | -8.7736 | -114.8108 | 113.624
Line_3 | 0.00012117 | 0.00012117 | 0.00012117 | 0.00012117 | 0.00012117 | 0.00012117 | 0.0013991 | 0.0013991 | 0.0013991 | 0.0013991 | 0.0013991 | 0.0013991 | 0.00066804 | 0.00092611 | -0.0015942 | 0.00066804 | 0.00092611 | -0.0015942 | 0.00086028 | -0.0011891 | 0.00012333 | 0.00086028 | -0.0011891 | 0.00012333 | -62.2588 | -62.2588 | -62.2588 | -62.2588 | -62.2588 | -62.2588 |  | 0.77849 | 1.0772 | 1.1428 | 0.77849 | 1.0772 | 1.1428 | -10.0898 | -114.3462 | 113.3175 | -10.0898 | -114.3462 | 113.3175

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87979 | 0.14111 | 0.27514 | 0.88024 | 0.14062 | 0.27461 | 10.1589 | 1.6294 | 3.1771 | 10.1642 | 1.6237 | 3.1709 | 0.26635 | 1.1575 | -3.0793 | 1.3304 | -1.2581 | 2.9183 | -3.3894 | -0.79859 | -1.0451 | 4.1114 | 0.75434 | 0.94484 | 106.7025 | -79.7118 | -86.7301 | -73.3247 | 100.4373 | 93.333 |  | 0.33466 | 0.86306 | 1.0235 | 0.42515 | 0.90343 | 0.96737 | 21.1958 | -114.3137 | 112.016 | -1.2562 | -110.5089 | 111.273
Line_1 | 0.44044 | 0.069986 | 0.13698 | 0.44012 | 0.070309 | 0.1373 | 5.0857 | 0.80813 | 1.5817 | 5.0821 | 0.81186 | 1.5855 | 1.0662 | -0.65268 | 1.4164 | -0.66521 | 0.62905 | -1.4592 | 2.2373 | 0.36474 | 0.44771 | -2.0557 | -0.37717 | -0.47242 | -73.334 | 100.4672 | 93.3315 | 106.6753 | -79.5627 | -86.667 |  | 0.48731 | 0.9252 | 0.93918 | 0.42515 | 0.90343 | 0.96737 | -8.8142 | -108.731 | 110.8722 | -1.2562 | -110.5089 | 111.273
Line_2 | 0.44044 | 0.069986 | 0.13698 | 0.44012 | 0.070309 | 0.1373 | 5.0857 | 0.80813 | 1.5817 | 5.0821 | 0.81186 | 1.5855 | 1.0662 | -0.65268 | 1.4164 | -0.66521 | 0.62905 | -1.4592 | 2.2373 | 0.36474 | 0.44771 | -2.0557 | -0.37717 | -0.47242 | -73.334 | 100.4672 | 93.3315 | 106.6753 | -79.5627 | -86.667 |  | 0.48731 | 0.9252 | 0.93918 | 0.42515 | 0.90343 | 0.96737 | -8.8142 | -108.731 | 110.8722 | -1.2562 | -110.5089 | 111.273
Line_3 | 0.00013786 | 0.00013786 | 0.00013786 | 0.00013786 | 0.00013786 | 0.00013786 | 0.0015918 | 0.0015918 | 0.0015918 | 0.0015918 | 0.0015918 | 0.0015918 | 0.00044313 | 0.0010458 | -0.001489 | 0.00044313 | 0.0010458 | -0.001489 | 0.00063669 | -0.0010369 | 0.00013423 | 0.00063669 | -0.0010369 | 0.00013423 | -63.9764 | -63.9764 | -63.9764 | -63.9764 | -63.9764 | -63.9764 |  | 0.48731 | 0.9252 | 0.93918 | 0.48731 | 0.9252 | 0.93918 | -8.8142 | -108.731 | 110.8722 | -8.8142 | -108.731 | 110.8722

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87979 | 0.14111 | 0.27514 | 0.88024 | 0.14062 | 0.27461 | 10.1589 | 1.6294 | 3.1771 | 10.1642 | 1.6237 | 3.1709 | 0.26635 | 1.1575 | -3.0793 | 1.3304 | -1.2581 | 2.9183 | -3.3894 | -0.79859 | -1.0451 | 4.1114 | 0.75434 | 0.94484 | 106.7025 | -79.7118 | -86.7301 | -73.3247 | 100.4373 | 93.333 |  | 0.33466 | 0.86306 | 1.0235 | 0.42515 | 0.90343 | 0.96737 | 21.1958 | -114.3137 | 112.016 | -1.2562 | -110.5089 | 111.273
Line_1 | 0.44044 | 0.069986 | 0.13698 | 0.44012 | 0.070309 | 0.1373 | 5.0857 | 0.80813 | 1.5817 | 5.0821 | 0.81186 | 1.5855 | 1.0662 | -0.65268 | 1.4164 | -0.66521 | 0.62905 | -1.4592 | 2.2373 | 0.36474 | 0.44771 | -2.0557 | -0.37717 | -0.47242 | -73.334 | 100.4672 | 93.3315 | 106.6753 | -79.5627 | -86.667 |  | 0.48731 | 0.9252 | 0.93918 | 0.42515 | 0.90343 | 0.96737 | -8.8142 | -108.731 | 110.8722 | -1.2562 | -110.5089 | 111.273
Line_2 | 0.44044 | 0.069986 | 0.13698 | 0.44012 | 0.070309 | 0.1373 | 5.0857 | 0.80813 | 1.5817 | 5.0821 | 0.81186 | 1.5855 | 1.0662 | -0.65268 | 1.4164 | -0.66521 | 0.62905 | -1.4592 | 2.2373 | 0.36474 | 0.44771 | -2.0557 | -0.37717 | -0.47242 | -73.334 | 100.4672 | 93.3315 | 106.6753 | -79.5627 | -86.667 |  | 0.48731 | 0.9252 | 0.93918 | 0.42515 | 0.90343 | 0.96737 | -8.8142 | -108.731 | 110.8722 | -1.2562 | -110.5089 | 111.273
Line_3 | 0.00013786 | 0.00013786 | 0.00013786 | 0.00013786 | 0.00013786 | 0.00013786 | 0.0015918 | 0.0015918 | 0.0015918 | 0.0015918 | 0.0015918 | 0.0015918 | 0.00044313 | 0.0010458 | -0.001489 | 0.00044313 | 0.0010458 | -0.001489 | 0.00063669 | -0.0010369 | 0.00013423 | 0.00063669 | -0.0010369 | 0.00013423 | -63.9764 | -63.9764 | -63.9764 | -63.9764 | -63.9764 | -63.9764 |  | 0.48731 | 0.9252 | 0.93918 | 0.48731 | 0.9252 | 0.93918 | -8.8142 | -108.731 | 110.8722 | -8.8142 | -108.731 | 110.8722

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.62303 | 0.09993 | 0.19485 | 0.62335 | 0.09958 | 0.19447 | 7.1942 | 1.1539 | 2.2499 | 7.1979 | 1.1499 | 2.2455 | -1.9122 | 0.65502 | -2.3021 | 2.7134 | -0.70418 | 2.2197 | -3.0999 | -0.79106 | -0.36052 | 3.4636 | 0.76769 | 0.30975 | 119.2022 | -67.2122 | -74.2305 | -60.8251 | 112.937 | 105.8327 |  | 0.50627 | 0.89007 | 1.0357 | 0.61128 | 0.90597 | 0.99808 | -2.4667 | -117.5865 | 114.6701 | -8.8996 | -114.534 | 113.7767
Line_1 | 0.3119 | 0.049562 | 0.097004 | 0.31168 | 0.04979 | 0.097233 | 3.6015 | 0.57229 | 1.1201 | 3.5989 | 0.57493 | 1.1228 | 1.5584 | -0.36367 | 1.0875 | -1.3567 | 0.35209 | -1.1098 | 1.8236 | 0.37674 | 0.14269 | -1.7318 | -0.38385 | -0.15487 | -60.8344 | 112.9668 | 105.8311 | 119.1749 | -67.063 | -74.1673 |  | 0.66604 | 0.91497 | 0.97924 | 0.61128 | 0.90597 | 0.99808 | -11.3509 | -113.0446 | 113.3057 | -8.8996 | -114.534 | 113.7767
Line_2 | 0.3119 | 0.049562 | 0.097004 | 0.31168 | 0.04979 | 0.097233 | 3.6015 | 0.57229 | 1.1201 | 3.5989 | 0.57493 | 1.1228 | 1.5584 | -0.36367 | 1.0875 | -1.3567 | 0.35209 | -1.1098 | 1.8236 | 0.37674 | 0.14269 | -1.7318 | -0.38385 | -0.15487 | -60.8344 | 112.9668 | 105.8311 | 119.1749 | -67.063 | -74.1673 |  | 0.66604 | 0.91497 | 0.97924 | 0.61128 | 0.90597 | 0.99808 | -11.3509 | -113.0446 | 113.3057 | -8.8996 | -114.534 | 113.7767
Line_3 | 9.7624e-05 | 9.7624e-05 | 9.7624e-05 | 9.7624e-05 | 9.7624e-05 | 9.7624e-05 | 0.0011273 | 0.0011273 | 0.0011273 | 0.0011273 | 0.0011273 | 0.0011273 | 0.00057408 | 0.00049108 | -0.0010652 | 0.00057408 | 0.00049108 | -0.0010652 | 0.00048387 | -0.00090701 | 0.00028975 | 0.00048387 | -0.00090701 | 0.00028975 | -51.4768 | -51.4768 | -51.4768 | -51.4768 | -51.4768 | -51.4768 |  | 0.66604 | 0.91497 | 0.97924 | 0.66604 | 0.91497 | 0.97924 | -11.3509 | -113.0446 | 113.3057 | -11.3509 | -113.0446 | 113.3057

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.62303 | 0.09993 | 0.19485 | 0.62335 | 0.09958 | 0.19447 | 7.1942 | 1.1539 | 2.2499 | 7.1979 | 1.1499 | 2.2455 | -1.9122 | 0.65502 | -2.3021 | 2.7134 | -0.70418 | 2.2197 | -3.0999 | -0.79106 | -0.36052 | 3.4636 | 0.76769 | 0.30975 | 119.2022 | -67.2122 | -74.2305 | -60.8251 | 112.937 | 105.8327 |  | 0.50627 | 0.89007 | 1.0357 | 0.61128 | 0.90597 | 0.99808 | -2.4667 | -117.5865 | 114.6701 | -8.8996 | -114.534 | 113.7767
Line_1 | 0.3119 | 0.049562 | 0.097004 | 0.31168 | 0.04979 | 0.097233 | 3.6015 | 0.57229 | 1.1201 | 3.5989 | 0.57493 | 1.1228 | 1.5584 | -0.36367 | 1.0875 | -1.3567 | 0.35209 | -1.1098 | 1.8236 | 0.37674 | 0.14269 | -1.7318 | -0.38385 | -0.15487 | -60.8344 | 112.9668 | 105.8311 | 119.1749 | -67.063 | -74.1673 |  | 0.66604 | 0.91497 | 0.97924 | 0.61128 | 0.90597 | 0.99808 | -11.3509 | -113.0446 | 113.3057 | -8.8996 | -114.534 | 113.7767
Line_2 | 0.3119 | 0.049562 | 0.097004 | 0.31168 | 0.04979 | 0.097233 | 3.6015 | 0.57229 | 1.1201 | 3.5989 | 0.57493 | 1.1228 | 1.5584 | -0.36367 | 1.0875 | -1.3567 | 0.35209 | -1.1098 | 1.8236 | 0.37674 | 0.14269 | -1.7318 | -0.38385 | -0.15487 | -60.8344 | 112.9668 | 105.8311 | 119.1749 | -67.063 | -74.1673 |  | 0.66604 | 0.91497 | 0.97924 | 0.61128 | 0.90597 | 0.99808 | -11.3509 | -113.0446 | 113.3057 | -8.8996 | -114.534 | 113.7767
Line_3 | 9.7624e-05 | 9.7624e-05 | 9.7624e-05 | 9.7624e-05 | 9.7624e-05 | 9.7624e-05 | 0.0011273 | 0.0011273 | 0.0011273 | 0.0011273 | 0.0011273 | 0.0011273 | 0.00057408 | 0.00049108 | -0.0010652 | 0.00057408 | 0.00049108 | -0.0010652 | 0.00048387 | -0.00090701 | 0.00028975 | 0.00048387 | -0.00090701 | 0.00028975 | -51.4768 | -51.4768 | -51.4768 | -51.4768 | -51.4768 | -51.4768 |  | 0.66604 | 0.91497 | 0.97924 | 0.66604 | 0.91497 | 0.97924 | -11.3509 | -113.0446 | 113.3057 | -11.3509 | -113.0446 | 113.3057

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49461 | 1.3787 | 1.2772 | 0.49417 | 1.3786 | 1.2776 | 5.7112 | 15.9195 | 14.7473 | 5.7062 | 15.9187 | 14.7525 | -2.1433 | -3.3311 | 2.9573 | 1.9713 | 4.8692 | -2.0268 | -5.14 | -5.0661 | -4.2449 | 5.2327 | 5.544 | 5.9924 | 111.2313 | -10.7199 | -144.216 | -68.7279 | 169.2571 | 35.7989 |  | 0.97509 | 0.38086 | 0.35081 | 0.97993 | 0.46353 | 0.4288 | -1.4042 | -134.0458 | 160.6478 | 0.62956 | -142.0351 | 144.4861
Line_1 | 0.24671 | 0.68939 | 0.63901 | 0.24709 | 0.6893 | 0.6388 | 2.8488 | 7.9604 | 7.3787 | 2.8531 | 7.9593 | 7.3763 | 0.94174 | 2.8189 | -0.779 | -0.98564 | -2.4346 | 1.0134 | 2.6366 | 2.8924 | 3.4348 | -2.6164 | -2.772 | -2.9962 | -68.6999 | 169.2255 | 35.8285 | 111.2721 | -10.7429 | -144.2011 |  | 0.98279 | 0.50736 | 0.47733 | 0.97993 | 0.46353 | 0.4288 | 1.6447 | -145.0374 | 138.6068 | 0.62956 | -142.0351 | 144.4861
Line_2 | 0.24671 | 0.68939 | 0.63901 | 0.24709 | 0.6893 | 0.6388 | 2.8488 | 7.9604 | 7.3787 | 2.8531 | 7.9593 | 7.3763 | 0.94174 | 2.8189 | -0.779 | -0.98564 | -2.4346 | 1.0134 | 2.6366 | 2.8924 | 3.4348 | -2.6164 | -2.772 | -2.9962 | -68.6999 | 169.2255 | 35.8285 | 111.2721 | -10.7429 | -144.2011 |  | 0.98279 | 0.50736 | 0.47733 | 0.97993 | 0.46353 | 0.4288 | 1.6447 | -145.0374 | 138.6068 | 0.62956 | -142.0351 | 144.4861
Line_3 | 0.0001775 | 0.0001775 | 0.0001775 | 0.0001775 | 0.0001775 | 0.0001775 | 0.0020496 | 0.0020496 | 0.0020496 | 0.0020496 | 0.0020496 | 0.0020496 | -0.00044078 | -0.00036719 | 0.00080796 | -0.00044078 | -0.00036719 | 0.00080796 | -0.0019655 | 0.00097288 | 0.00055161 | -0.0019655 | 0.00097288 | 0.00055161 | 104.2848 | 104.2848 | 104.2848 | 104.2848 | 104.2848 | 104.2848 |  | 0.98279 | 0.50736 | 0.47733 | 0.98279 | 0.50736 | 0.47733 | 1.6447 | -145.0374 | 138.6068 | 1.6447 | -145.0374 | 138.6068

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49461 | 1.3787 | 1.2772 | 0.49417 | 1.3786 | 1.2776 | 5.7112 | 15.9195 | 14.7473 | 5.7062 | 15.9187 | 14.7525 | -2.1433 | -3.3311 | 2.9573 | 1.9713 | 4.8692 | -2.0268 | -5.14 | -5.0661 | -4.2449 | 5.2327 | 5.544 | 5.9924 | 111.2313 | -10.7199 | -144.216 | -68.7279 | 169.2571 | 35.7989 |  | 0.97509 | 0.38086 | 0.35081 | 0.97993 | 0.46353 | 0.4288 | -1.4042 | -134.0458 | 160.6478 | 0.62956 | -142.0351 | 144.4861
Line_1 | 0.24671 | 0.68939 | 0.63901 | 0.24709 | 0.6893 | 0.6388 | 2.8488 | 7.9604 | 7.3787 | 2.8531 | 7.9593 | 7.3763 | 0.94174 | 2.8189 | -0.779 | -0.98564 | -2.4346 | 1.0134 | 2.6366 | 2.8924 | 3.4348 | -2.6164 | -2.772 | -2.9962 | -68.6999 | 169.2255 | 35.8285 | 111.2721 | -10.7429 | -144.2011 |  | 0.98279 | 0.50736 | 0.47733 | 0.97993 | 0.46353 | 0.4288 | 1.6447 | -145.0374 | 138.6068 | 0.62956 | -142.0351 | 144.4861
Line_2 | 0.24671 | 0.68939 | 0.63901 | 0.24709 | 0.6893 | 0.6388 | 2.8488 | 7.9604 | 7.3787 | 2.8531 | 7.9593 | 7.3763 | 0.94174 | 2.8189 | -0.779 | -0.98564 | -2.4346 | 1.0134 | 2.6366 | 2.8924 | 3.4348 | -2.6164 | -2.772 | -2.9962 | -68.6999 | 169.2255 | 35.8285 | 111.2721 | -10.7429 | -144.2011 |  | 0.98279 | 0.50736 | 0.47733 | 0.97993 | 0.46353 | 0.4288 | 1.6447 | -145.0374 | 138.6068 | 0.62956 | -142.0351 | 144.4861
Line_3 | 0.0001775 | 0.0001775 | 0.0001775 | 0.0001775 | 0.0001775 | 0.0001775 | 0.0020496 | 0.0020496 | 0.0020496 | 0.0020496 | 0.0020496 | 0.0020496 | -0.00044078 | -0.00036719 | 0.00080796 | -0.00044078 | -0.00036719 | 0.00080796 | -0.0019655 | 0.00097288 | 0.00055161 | -0.0019655 | 0.00097288 | 0.00055161 | 104.2848 | 104.2848 | 104.2848 | 104.2848 | 104.2848 | 104.2848 |  | 0.98279 | 0.50736 | 0.47733 | 0.98279 | 0.50736 | 0.47733 | 1.6447 | -145.0374 | 138.6068 | 1.6447 | -145.0374 | 138.6068

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3963 | 0.99509 | 0.94131 | 0.39597 | 0.99507 | 0.9416 | 4.5761 | 11.4904 | 10.8693 | 4.5723 | 11.4901 | 10.8727 | -2.1165 | -5.4515 | -1.4798 | 2.0415 | 6.2575 | 1.9604 | -4.2552 | -5.5179 | -5.5556 | 4.2883 | 5.8074 | 6.4744 | 114.0854 | -1.2429 | -134.018 | -65.8885 | 178.7352 | 45.9969 |  | 1.0385 | 0.67506 | 0.52895 | 1.0387 | 0.743 | 0.62218 | -2.3594 | -135.896 | 121.0672 | -1.3456 | -138.4013 | 119.1505
Line_1 | 0.19772 | 0.49762 | 0.47093 | 0.19798 | 0.49754 | 0.4708 | 2.2831 | 5.746 | 5.4378 | 2.2861 | 5.7451 | 5.4363 | 1.0008 | 3.3301 | 1.1021 | -1.0207 | -3.1288 | -0.98022 | 2.1505 | 2.9774 | 3.4674 | -2.1441 | -2.9037 | -3.2372 | -65.8789 | 178.706 | 46.0252 | 114.1115 | -1.2648 | -134.0031 |  | 1.0389 | 0.77742 | 0.66907 | 1.0387 | 0.743 | 0.62218 | -0.83519 | -139.4944 | 118.3931 | -1.3456 | -138.4013 | 119.1505
Line_2 | 0.19772 | 0.49762 | 0.47093 | 0.19798 | 0.49754 | 0.4708 | 2.2831 | 5.746 | 5.4378 | 2.2861 | 5.7451 | 5.4363 | 1.0008 | 3.3301 | 1.1021 | -1.0207 | -3.1288 | -0.98022 | 2.1505 | 2.9774 | 3.4674 | -2.1441 | -2.9037 | -3.2372 | -65.8789 | 178.706 | 46.0252 | 114.1115 | -1.2648 | -134.0031 |  | 1.0389 | 0.77742 | 0.66907 | 1.0387 | 0.743 | 0.62218 | -0.83519 | -139.4944 | 118.3931 | -1.3456 | -138.4013 | 119.1505
Line_3 | 0.0001209 | 0.0001209 | 0.0001209 | 0.0001209 | 0.0001209 | 0.0001209 | 0.0013961 | 0.0013961 | 0.0013961 | 0.0013961 | 0.0013961 | 0.0013961 | -0.0006965 | -0.00023753 | 0.00093403 | -0.0006965 | -0.00023753 | 0.00093403 | -0.0012722 | 0.001059 | 8.6298e-06 | -0.0012722 | 0.001059 | 8.6298e-06 | 117.8638 | 117.8638 | 117.8638 | 117.8638 | 117.8638 | 117.8638 |  | 1.0389 | 0.77742 | 0.66907 | 1.0389 | 0.77742 | 0.66907 | -0.83519 | -139.4944 | 118.3931 | -0.83519 | -139.4944 | 118.3931

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3963 | 0.99509 | 0.94131 | 0.39597 | 0.99507 | 0.9416 | 4.5761 | 11.4904 | 10.8693 | 4.5723 | 11.4901 | 10.8727 | -2.1165 | -5.4515 | -1.4798 | 2.0415 | 6.2575 | 1.9604 | -4.2552 | -5.5179 | -5.5556 | 4.2883 | 5.8074 | 6.4744 | 114.0854 | -1.2429 | -134.018 | -65.8885 | 178.7352 | 45.9969 |  | 1.0385 | 0.67506 | 0.52895 | 1.0387 | 0.743 | 0.62218 | -2.3594 | -135.896 | 121.0672 | -1.3456 | -138.4013 | 119.1505
Line_1 | 0.19772 | 0.49762 | 0.47093 | 0.19798 | 0.49754 | 0.4708 | 2.2831 | 5.746 | 5.4378 | 2.2861 | 5.7451 | 5.4363 | 1.0008 | 3.3301 | 1.1021 | -1.0207 | -3.1288 | -0.98022 | 2.1505 | 2.9774 | 3.4674 | -2.1441 | -2.9037 | -3.2372 | -65.8789 | 178.706 | 46.0252 | 114.1115 | -1.2648 | -134.0031 |  | 1.0389 | 0.77742 | 0.66907 | 1.0387 | 0.743 | 0.62218 | -0.83519 | -139.4944 | 118.3931 | -1.3456 | -138.4013 | 119.1505
Line_2 | 0.19772 | 0.49762 | 0.47093 | 0.19798 | 0.49754 | 0.4708 | 2.2831 | 5.746 | 5.4378 | 2.2861 | 5.7451 | 5.4363 | 1.0008 | 3.3301 | 1.1021 | -1.0207 | -3.1288 | -0.98022 | 2.1505 | 2.9774 | 3.4674 | -2.1441 | -2.9037 | -3.2372 | -65.8789 | 178.706 | 46.0252 | 114.1115 | -1.2648 | -134.0031 |  | 1.0389 | 0.77742 | 0.66907 | 1.0387 | 0.743 | 0.62218 | -0.83519 | -139.4944 | 118.3931 | -1.3456 | -138.4013 | 119.1505
Line_3 | 0.0001209 | 0.0001209 | 0.0001209 | 0.0001209 | 0.0001209 | 0.0001209 | 0.0013961 | 0.0013961 | 0.0013961 | 0.0013961 | 0.0013961 | 0.0013961 | -0.0006965 | -0.00023753 | 0.00093403 | -0.0006965 | -0.00023753 | 0.00093403 | -0.0012722 | 0.001059 | 8.6298e-06 | -0.0012722 | 0.001059 | 8.6298e-06 | 117.8638 | 117.8638 | 117.8638 | 117.8638 | 117.8638 | 117.8638 |  | 1.0389 | 0.77742 | 0.66907 | 1.0389 | 0.77742 | 0.66907 | -0.83519 | -139.4944 | 118.3931 | -0.83519 | -139.4944 | 118.3931

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25534 | 1.0932 | 0.94841 | 0.25502 | 1.093 | 0.94896 | 2.9484 | 12.6236 | 10.9513 | 2.9448 | 12.6208 | 10.9577 | -1.5487 | -2.1695 | 1.9644 | 1.3664 | 4.0054 | -0.99894 | -2.0641 | -3.4453 | -2.1681 | 2.0908 | 3.2968 | 3.628 | 123.165 | -2.4209 | -141.2458 | -56.7169 | 177.5496 | 38.77 |  | 0.87522 | 0.32253 | 0.26715 | 0.84817 | 0.41104 | 0.34341 | -3.7163 | -124.6196 | 170.9314 | 0.11819 | -142.9925 | 144.1647
Line_1 | 0.12723 | 0.54653 | 0.47466 | 0.12751 | 0.54649 | 0.47448 | 1.4691 | 6.3108 | 5.4809 | 1.4724 | 6.3104 | 5.4788 | 0.63665 | 2.4615 | -0.25622 | -0.68318 | -2.0027 | 0.49947 | 1.0505 | 1.6116 | 2.1803 | -1.0454 | -1.6484 | -1.814 | -56.6463 | 177.516 | 38.8022 | 123.2831 | -2.4504 | -141.23 |  | 0.83614 | 0.46621 | 0.40053 | 0.84817 | 0.41104 | 0.34341 | 2.137 | -149.271 | 135.5046 | 0.11819 | -142.9925 | 144.1647
Line_2 | 0.12723 | 0.54653 | 0.47466 | 0.12751 | 0.54649 | 0.47448 | 1.4691 | 6.3108 | 5.4809 | 1.4724 | 6.3104 | 5.4788 | 0.63665 | 2.4615 | -0.25622 | -0.68318 | -2.0027 | 0.49947 | 1.0505 | 1.6116 | 2.1803 | -1.0454 | -1.6484 | -1.814 | -56.6463 | 177.516 | 38.8022 | 123.2831 | -2.4504 | -141.23 |  | 0.83614 | 0.46621 | 0.40053 | 0.84817 | 0.41104 | 0.34341 | 2.137 | -149.271 | 135.5046 | 0.11819 | -142.9925 | 144.1647
Line_3 | 0.00013721 | 0.00013721 | 0.00013721 | 0.00013721 | 0.00013721 | 0.00013721 | 0.0015843 | 0.0015843 | 0.0015843 | 0.0015843 | 0.0015843 | 0.0015843 | -0.00054212 | -5.7127e-05 | 0.00059924 | -0.00054212 | -5.7127e-05 | 0.00059924 | -0.0012087 | 0.00073642 | 0.00020881 | -0.0012087 | 0.00073642 | 0.00020881 | 116.2933 | 116.2933 | 116.2933 | 116.2933 | 116.2933 | 116.2933 |  | 0.83614 | 0.46621 | 0.40053 | 0.83614 | 0.46621 | 0.40053 | 2.137 | -149.271 | 135.5046 | 2.137 | -149.271 | 135.5046

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25534 | 1.0932 | 0.94841 | 0.25502 | 1.093 | 0.94896 | 2.9484 | 12.6236 | 10.9513 | 2.9448 | 12.6208 | 10.9577 | -1.5487 | -2.1695 | 1.9644 | 1.3664 | 4.0054 | -0.99894 | -2.0641 | -3.4453 | -2.1681 | 2.0908 | 3.2968 | 3.628 | 123.165 | -2.4209 | -141.2458 | -56.7169 | 177.5496 | 38.77 |  | 0.87522 | 0.32253 | 0.26715 | 0.84817 | 0.41104 | 0.34341 | -3.7163 | -124.6196 | 170.9314 | 0.11819 | -142.9925 | 144.1647
Line_1 | 0.12723 | 0.54653 | 0.47466 | 0.12751 | 0.54649 | 0.47448 | 1.4691 | 6.3108 | 5.4809 | 1.4724 | 6.3104 | 5.4788 | 0.63665 | 2.4615 | -0.25622 | -0.68318 | -2.0027 | 0.49947 | 1.0505 | 1.6116 | 2.1803 | -1.0454 | -1.6484 | -1.814 | -56.6463 | 177.516 | 38.8022 | 123.2831 | -2.4504 | -141.23 |  | 0.83614 | 0.46621 | 0.40053 | 0.84817 | 0.41104 | 0.34341 | 2.137 | -149.271 | 135.5046 | 0.11819 | -142.9925 | 144.1647
Line_2 | 0.12723 | 0.54653 | 0.47466 | 0.12751 | 0.54649 | 0.47448 | 1.4691 | 6.3108 | 5.4809 | 1.4724 | 6.3104 | 5.4788 | 0.63665 | 2.4615 | -0.25622 | -0.68318 | -2.0027 | 0.49947 | 1.0505 | 1.6116 | 2.1803 | -1.0454 | -1.6484 | -1.814 | -56.6463 | 177.516 | 38.8022 | 123.2831 | -2.4504 | -141.23 |  | 0.83614 | 0.46621 | 0.40053 | 0.84817 | 0.41104 | 0.34341 | 2.137 | -149.271 | 135.5046 | 0.11819 | -142.9925 | 144.1647
Line_3 | 0.00013721 | 0.00013721 | 0.00013721 | 0.00013721 | 0.00013721 | 0.00013721 | 0.0015843 | 0.0015843 | 0.0015843 | 0.0015843 | 0.0015843 | 0.0015843 | -0.00054212 | -5.7127e-05 | 0.00059924 | -0.00054212 | -5.7127e-05 | 0.00059924 | -0.0012087 | 0.00073642 | 0.00020881 | -0.0012087 | 0.00073642 | 0.00020881 | 116.2933 | 116.2933 | 116.2933 | 116.2933 | 116.2933 | 116.2933 |  | 0.83614 | 0.46621 | 0.40053 | 0.83614 | 0.46621 | 0.40053 | 2.137 | -149.271 | 135.5046 | 2.137 | -149.271 | 135.5046

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18064 | 0.77232 | 0.67106 | 0.18042 | 0.77215 | 0.67145 | 2.0859 | 8.918 | 7.7487 | 2.0833 | 8.916 | 7.7532 | -1.4561 | -3.9022 | -0.99639 | 1.3643 | 4.8176 | 1.4829 | -1.2588 | -2.9662 | -2.8865 | 1.2705 | 2.8915 | 3.6185 | 135.5184 | 10.0363 | -128.6901 | -44.3633 | -169.9932 | 51.3256 |  | 0.92279 | 0.54963 | 0.39409 | 0.89483 | 0.63019 | 0.50438 | -3.638 | -132.7239 | 122.2658 | -1.4024 | -139.0211 | 119.0414
Line_1 | 0.09001 | 0.3861 | 0.33586 | 0.09021 | 0.38607 | 0.33573 | 1.0393 | 4.4583 | 3.8781 | 1.0417 | 4.458 | 3.8766 | 0.65818 | 2.6376 | 0.8645 | -0.68214 | -2.4088 | -0.74145 | 0.63712 | 1.4278 | 1.9926 | -0.63523 | -1.4458 | -1.8093 | -44.2926 | -170.027 | 51.3578 | 135.6367 | 10.0068 | -128.6744 |  | 0.88136 | 0.67274 | 0.56008 | 0.89483 | 0.63019 | 0.50438 | -0.22387 | -141.5995 | 117.9039 | -1.4024 | -139.0211 | 119.0414
Line_2 | 0.09001 | 0.3861 | 0.33586 | 0.09021 | 0.38607 | 0.33573 | 1.0393 | 4.4583 | 3.8781 | 1.0417 | 4.458 | 3.8766 | 0.65818 | 2.6376 | 0.8645 | -0.68214 | -2.4088 | -0.74145 | 0.63712 | 1.4278 | 1.9926 | -0.63523 | -1.4458 | -1.8093 | -44.2926 | -170.027 | 51.3578 | 135.6367 | 10.0068 | -128.6744 |  | 0.88136 | 0.67274 | 0.56008 | 0.89483 | 0.63019 | 0.50438 | -0.22387 | -141.5995 | 117.9039 | -1.4024 | -139.0211 | 119.0414
Line_3 | 9.7236e-05 | 9.7236e-05 | 9.7236e-05 | 9.7236e-05 | 9.7236e-05 | 9.7236e-05 | 0.0011228 | 0.0011228 | 0.0011228 | 0.0011228 | 0.0011228 | 0.0011228 | -0.00062131 | 3.5262e-06 | 0.00061778 | -0.00062131 | 3.5262e-06 | 0.00061778 | -0.00077022 | 0.00075533 | -0.00011745 | -0.00077022 | 0.00075533 | -0.00011745 | 128.668 | 128.668 | 128.668 | 128.668 | 128.668 | 128.668 |  | 0.88136 | 0.67274 | 0.56008 | 0.88136 | 0.67274 | 0.56008 | -0.22387 | -141.5995 | 117.9039 | -0.22387 | -141.5995 | 117.9039

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18064 | 0.77232 | 0.67106 | 0.18042 | 0.77215 | 0.67145 | 2.0859 | 8.918 | 7.7487 | 2.0833 | 8.916 | 7.7532 | -1.4561 | -3.9022 | -0.99639 | 1.3643 | 4.8176 | 1.4829 | -1.2588 | -2.9662 | -2.8865 | 1.2705 | 2.8915 | 3.6185 | 135.5184 | 10.0363 | -128.6901 | -44.3633 | -169.9932 | 51.3256 |  | 0.92279 | 0.54963 | 0.39409 | 0.89483 | 0.63019 | 0.50438 | -3.638 | -132.7239 | 122.2658 | -1.4024 | -139.0211 | 119.0414
Line_1 | 0.09001 | 0.3861 | 0.33586 | 0.09021 | 0.38607 | 0.33573 | 1.0393 | 4.4583 | 3.8781 | 1.0417 | 4.458 | 3.8766 | 0.65818 | 2.6376 | 0.8645 | -0.68214 | -2.4088 | -0.74145 | 0.63712 | 1.4278 | 1.9926 | -0.63523 | -1.4458 | -1.8093 | -44.2926 | -170.027 | 51.3578 | 135.6367 | 10.0068 | -128.6744 |  | 0.88136 | 0.67274 | 0.56008 | 0.89483 | 0.63019 | 0.50438 | -0.22387 | -141.5995 | 117.9039 | -1.4024 | -139.0211 | 119.0414
Line_2 | 0.09001 | 0.3861 | 0.33586 | 0.09021 | 0.38607 | 0.33573 | 1.0393 | 4.4583 | 3.8781 | 1.0417 | 4.458 | 3.8766 | 0.65818 | 2.6376 | 0.8645 | -0.68214 | -2.4088 | -0.74145 | 0.63712 | 1.4278 | 1.9926 | -0.63523 | -1.4458 | -1.8093 | -44.2926 | -170.027 | 51.3578 | 135.6367 | 10.0068 | -128.6744 |  | 0.88136 | 0.67274 | 0.56008 | 0.89483 | 0.63019 | 0.50438 | -0.22387 | -141.5995 | 117.9039 | -1.4024 | -139.0211 | 119.0414
Line_3 | 9.7236e-05 | 9.7236e-05 | 9.7236e-05 | 9.7236e-05 | 9.7236e-05 | 9.7236e-05 | 0.0011228 | 0.0011228 | 0.0011228 | 0.0011228 | 0.0011228 | 0.0011228 | -0.00062131 | 3.5262e-06 | 0.00061778 | -0.00062131 | 3.5262e-06 | 0.00061778 | -0.00077022 | 0.00075533 | -0.00011745 | -0.00077022 | 0.00075533 | -0.00011745 | 128.668 | 128.668 | 128.668 | 128.668 | 128.668 | 128.668 |  | 0.88136 | 0.67274 | 0.56008 | 0.88136 | 0.67274 | 0.56008 | -0.22387 | -141.5995 | 117.9039 | -0.22387 | -141.5995 | 117.9039