## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36114 | 0.36114 | -2.0835 | -2.0835

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36114 | 0.36114 | -2.0835 | -2.0835

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65121 | 0.65121 | -12.5924 | -12.5924

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65121 | 0.65121 | -12.5924 | -12.5924

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1131e-14 | -6.7052e-15 | 5.262e-15 | 5.6172e-15 | -6.76e-15 | 0 | -5.8236e-15 | -1.4384e-15 | -2.7251e-15 | 1.032e-16 | -8.8765e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.186 | 0.70225 | 0.62548 | 1.186 | 0.70225 | 0.62548 | 1.0525 | -153.8566 | 152.6214 | 1.0525 | -153.8566 | 152.6214

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1131e-14 | -6.7052e-15 | 5.262e-15 | 5.6172e-15 | -6.76e-15 | 0 | -5.8236e-15 | -1.4384e-15 | -2.7251e-15 | 1.032e-16 | -8.8765e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.186 | 0.70225 | 0.62548 | 1.186 | 0.70225 | 0.62548 | 1.0525 | -153.8566 | 152.6214 | 1.0525 | -153.8566 | 152.6214

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.4563e-15 | -2.8804e-15 | 4.081e-15 | 1.1248e-14 | 5.4577e-15 | 4.1433e-16 | 5.4601e-15 | -6.5189e-15 | 4.4954e-15 | -5.4191e-15 | -1.2128e-15 | -8.5764e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1787 | 0.83456 | 0.64087 | 1.1787 | 0.83456 | 0.64087 | 0.84037 | -147.529 | 137.7659 | 0.84037 | -147.529 | 137.7659

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.4563e-15 | -2.8804e-15 | 4.081e-15 | 1.1248e-14 | 5.4577e-15 | 4.1433e-16 | 5.4601e-15 | -6.5189e-15 | 4.4954e-15 | -5.4191e-15 | -1.2128e-15 | -8.5764e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1787 | 0.83456 | 0.64087 | 1.1787 | 0.83456 | 0.64087 | 0.84037 | -147.529 | 137.7659 | 0.84037 | -147.529 | 137.7659

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4906e-15 | 4.6472e-15 | 1.5193e-16 | -3.6972e-15 | -3.3658e-15 | -1.5193e-16 | -2.3358e-15 | -2.8062e-15 | 5.3292e-15 | 2.2971e-15 | 8.1135e-17 | -5.3292e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4906e-15 | 4.6472e-15 | 1.5193e-16 | -3.6972e-15 | -3.3658e-15 | -1.5193e-16 | -2.3358e-15 | -2.8062e-15 | 5.3292e-15 | 2.2971e-15 | 8.1135e-17 | -5.3292e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9318e-15 | 1.8954e-15 | 7.5684e-16 | -1.1986e-15 | -9.0475e-16 | 1.8305e-15 | -4.6569e-15 | 5.2258e-15 | 2.6665e-15 | -3.4358e-17 | 1.4819e-15 | -1.6721e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9318e-15 | 1.8954e-15 | 7.5684e-16 | -1.1986e-15 | -9.0475e-16 | 1.8305e-15 | -4.6569e-15 | 5.2258e-15 | 2.6665e-15 | -3.4358e-17 | 1.4819e-15 | -1.6721e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4403 | 0.042275 | 0.47561 | 1.4417 | 0.041152 | 0.47507 | 16.6314 | 0.48815 | 5.4919 | 16.6471 | 0.47518 | 5.4857 | -0.41529 | 0.17533 | 0.46335 | 3.3245 | -0.22153 | -0.056067 | -3.0244 | -0.53671 | -6.5045 | 5.5031 | 0.5149 | 5.9668 | 108.4177 | -49.1617 | -151.9696 | -71.595 | 131.971 | 27.8756 |  | 0.18356 | 1.1566 | 1.1874 | 0.38621 | 1.1796 | 1.0878 | 10.5993 | -121.0709 | 122.105 | -12.7319 | -114.7494 | 118.4139
Line_1 | 0.72181 | 0.019637 | 0.23751 | 0.72084 | 0.020576 | 0.23754 | 8.3347 | 0.22675 | 2.7425 | 8.3235 | 0.23759 | 2.7428 | 2.3957 | -0.11709 | 0.066463 | -1.6623 | 0.11077 | 0.028034 | 3.3754 | 0.24472 | 2.8504 | -2.7515 | -0.25745 | -2.9834 | -71.5844 | 132.7431 | 27.6399 | 108.405 | -48.029 | -152.1244 |  | 0.49661 | 1.1965 | 1.0396 | 0.38621 | 1.1796 | 1.0878 | -16.9496 | -111.6864 | 116.3041 | -12.7319 | -114.7494 | 118.4139
Line_2 | 0.72181 | 0.019637 | 0.23751 | 0.72084 | 0.020576 | 0.23754 | 8.3347 | 0.22675 | 2.7425 | 8.3235 | 0.23759 | 2.7428 | 2.3957 | -0.11709 | 0.066463 | -1.6623 | 0.11077 | 0.028034 | 3.3754 | 0.24472 | 2.8504 | -2.7515 | -0.25745 | -2.9834 | -71.5844 | 132.7431 | 27.6399 | 108.405 | -48.029 | -152.1244 |  | 0.49661 | 1.1965 | 1.0396 | 0.38621 | 1.1796 | 1.0878 | -16.9496 | -111.6864 | 116.3041 | -12.7319 | -114.7494 | 118.4139
Line_3 | 0.00044299 | 0.00044299 | 0.00044299 | 0.00044299 | 0.00044299 | 0.00044299 | 0.0051152 | 0.0051152 | 0.0051152 | 0.0051152 | 0.0051152 | 0.0051152 | 0.0020588 | 0.0031633 | -0.0052221 | 0.0020588 | 0.0031633 | -0.0052221 | 0.0014881 | -0.0052392 | 0.0010044 | 0.0014881 | -0.0052392 | 0.0010044 | -52.8092 | -52.8092 | -52.8092 | -52.8092 | -52.8092 | -52.8092 |  | 0.49661 | 1.1965 | 1.0396 | 0.49661 | 1.1965 | 1.0396 | -16.9496 | -111.6864 | 116.3041 | -16.9496 | -111.6864 | 116.3041

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4403 | 0.042275 | 0.47561 | 1.4417 | 0.041152 | 0.47507 | 16.6314 | 0.48815 | 5.4919 | 16.6471 | 0.47518 | 5.4857 | -0.41529 | 0.17533 | 0.46335 | 3.3245 | -0.22153 | -0.056067 | -3.0244 | -0.53671 | -6.5045 | 5.5031 | 0.5149 | 5.9668 | 108.4177 | -49.1617 | -151.9696 | -71.595 | 131.971 | 27.8756 |  | 0.18356 | 1.1566 | 1.1874 | 0.38621 | 1.1796 | 1.0878 | 10.5993 | -121.0709 | 122.105 | -12.7319 | -114.7494 | 118.4139
Line_1 | 0.72181 | 0.019637 | 0.23751 | 0.72084 | 0.020576 | 0.23754 | 8.3347 | 0.22675 | 2.7425 | 8.3235 | 0.23759 | 2.7428 | 2.3957 | -0.11709 | 0.066463 | -1.6623 | 0.11077 | 0.028034 | 3.3754 | 0.24472 | 2.8504 | -2.7515 | -0.25745 | -2.9834 | -71.5844 | 132.7431 | 27.6399 | 108.405 | -48.029 | -152.1244 |  | 0.49661 | 1.1965 | 1.0396 | 0.38621 | 1.1796 | 1.0878 | -16.9496 | -111.6864 | 116.3041 | -12.7319 | -114.7494 | 118.4139
Line_2 | 0.72181 | 0.019637 | 0.23751 | 0.72084 | 0.020576 | 0.23754 | 8.3347 | 0.22675 | 2.7425 | 8.3235 | 0.23759 | 2.7428 | 2.3957 | -0.11709 | 0.066463 | -1.6623 | 0.11077 | 0.028034 | 3.3754 | 0.24472 | 2.8504 | -2.7515 | -0.25745 | -2.9834 | -71.5844 | 132.7431 | 27.6399 | 108.405 | -48.029 | -152.1244 |  | 0.49661 | 1.1965 | 1.0396 | 0.38621 | 1.1796 | 1.0878 | -16.9496 | -111.6864 | 116.3041 | -12.7319 | -114.7494 | 118.4139
Line_3 | 0.00044299 | 0.00044299 | 0.00044299 | 0.00044299 | 0.00044299 | 0.00044299 | 0.0051152 | 0.0051152 | 0.0051152 | 0.0051152 | 0.0051152 | 0.0051152 | 0.0020588 | 0.0031633 | -0.0052221 | 0.0020588 | 0.0031633 | -0.0052221 | 0.0014881 | -0.0052392 | 0.0010044 | 0.0014881 | -0.0052392 | 0.0010044 | -52.8092 | -52.8092 | -52.8092 | -52.8092 | -52.8092 | -52.8092 |  | 0.49661 | 1.1965 | 1.0396 | 0.49661 | 1.1965 | 1.0396 | -16.9496 | -111.6864 | 116.3041 | -16.9496 | -111.6864 | 116.3041

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0367 | 0.11917 | 0.40357 | 1.0376 | 0.11831 | 0.4033 | 11.9705 | 1.376 | 4.66 | 11.9813 | 1.3661 | 4.6569 | -4.2321 | 0.42576 | -0.30304 | 5.6442 | -0.52439 | 0.59507 | -4.5936 | -1.535 | -5.4325 | 5.9036 | 1.4869 | 5.1672 | 118.078 | -46.1017 | -145.0536 | -61.9305 | 134.0931 | 34.8174 |  | 0.52178 | 1.1576 | 1.1676 | 0.6817 | 1.1541 | 1.1169 | -14.5767 | -120.5991 | 121.7535 | -15.6438 | -116.4807 | 118.248
Line_1 | 0.51945 | 0.058494 | 0.20171 | 0.5188 | 0.059155 | 0.20165 | 5.9981 | 0.67543 | 2.3292 | 5.9906 | 0.68307 | 2.3285 | 3.1803 | -0.28521 | 0.36564 | -2.8221 | 0.2622 | -0.29753 | 3.2819 | 0.72587 | 2.5195 | -2.9518 | -0.74347 | -2.5836 | -61.9155 | 134.1411 | 34.6297 | 118.0695 | -45.9069 | -145.1826 |  | 0.7619 | 1.1547 | 1.0931 | 0.6817 | 1.1541 | 1.1169 | -16.0144 | -114.4082 | 116.3724 | -15.6438 | -116.4807 | 118.248
Line_2 | 0.51945 | 0.058494 | 0.20171 | 0.5188 | 0.059155 | 0.20165 | 5.9981 | 0.67543 | 2.3292 | 5.9906 | 0.68307 | 2.3285 | 3.1803 | -0.28521 | 0.36564 | -2.8221 | 0.2622 | -0.29753 | 3.2819 | 0.72587 | 2.5195 | -2.9518 | -0.74347 | -2.5836 | -61.9155 | 134.1411 | 34.6297 | 118.0695 | -45.9069 | -145.1826 |  | 0.7619 | 1.1547 | 1.0931 | 0.6817 | 1.1541 | 1.1169 | -16.0144 | -114.4082 | 116.3724 | -15.6438 | -116.4807 | 118.248
Line_3 | 0.00030061 | 0.00030061 | 0.00030061 | 0.00030061 | 0.00030061 | 0.00030061 | 0.0034712 | 0.0034712 | 0.0034712 | 0.0034712 | 0.0034712 | 0.0034712 | 0.0024309 | 0.0010239 | -0.0034548 | 0.0024309 | 0.0010239 | -0.0034548 | 0.0010416 | -0.003875 | 0.0015685 | 0.0010416 | -0.003875 | 0.0015685 | -39.2092 | -39.2092 | -39.2092 | -39.2092 | -39.2092 | -39.2092 |  | 0.7619 | 1.1547 | 1.0931 | 0.7619 | 1.1547 | 1.0931 | -16.0144 | -114.4082 | 116.3724 | -16.0144 | -114.4082 | 116.3724

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0367 | 0.11917 | 0.40357 | 1.0376 | 0.11831 | 0.4033 | 11.9705 | 1.376 | 4.66 | 11.9813 | 1.3661 | 4.6569 | -4.2321 | 0.42576 | -0.30304 | 5.6442 | -0.52439 | 0.59507 | -4.5936 | -1.535 | -5.4325 | 5.9036 | 1.4869 | 5.1672 | 118.078 | -46.1017 | -145.0536 | -61.9305 | 134.0931 | 34.8174 |  | 0.52178 | 1.1576 | 1.1676 | 0.6817 | 1.1541 | 1.1169 | -14.5767 | -120.5991 | 121.7535 | -15.6438 | -116.4807 | 118.248
Line_1 | 0.51945 | 0.058494 | 0.20171 | 0.5188 | 0.059155 | 0.20165 | 5.9981 | 0.67543 | 2.3292 | 5.9906 | 0.68307 | 2.3285 | 3.1803 | -0.28521 | 0.36564 | -2.8221 | 0.2622 | -0.29753 | 3.2819 | 0.72587 | 2.5195 | -2.9518 | -0.74347 | -2.5836 | -61.9155 | 134.1411 | 34.6297 | 118.0695 | -45.9069 | -145.1826 |  | 0.7619 | 1.1547 | 1.0931 | 0.6817 | 1.1541 | 1.1169 | -16.0144 | -114.4082 | 116.3724 | -15.6438 | -116.4807 | 118.248
Line_2 | 0.51945 | 0.058494 | 0.20171 | 0.5188 | 0.059155 | 0.20165 | 5.9981 | 0.67543 | 2.3292 | 5.9906 | 0.68307 | 2.3285 | 3.1803 | -0.28521 | 0.36564 | -2.8221 | 0.2622 | -0.29753 | 3.2819 | 0.72587 | 2.5195 | -2.9518 | -0.74347 | -2.5836 | -61.9155 | 134.1411 | 34.6297 | 118.0695 | -45.9069 | -145.1826 |  | 0.7619 | 1.1547 | 1.0931 | 0.6817 | 1.1541 | 1.1169 | -16.0144 | -114.4082 | 116.3724 | -15.6438 | -116.4807 | 118.248
Line_3 | 0.00030061 | 0.00030061 | 0.00030061 | 0.00030061 | 0.00030061 | 0.00030061 | 0.0034712 | 0.0034712 | 0.0034712 | 0.0034712 | 0.0034712 | 0.0034712 | 0.0024309 | 0.0010239 | -0.0034548 | 0.0024309 | 0.0010239 | -0.0034548 | 0.0010416 | -0.003875 | 0.0015685 | 0.0010416 | -0.003875 | 0.0015685 | -39.2092 | -39.2092 | -39.2092 | -39.2092 | -39.2092 | -39.2092 |  | 0.7619 | 1.1547 | 1.0931 | 0.7619 | 1.1547 | 1.0931 | -16.0144 | -114.4082 | 116.3724 | -16.0144 | -114.4082 | 116.3724

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97214 | 0.19614 | 0.30236 | 0.97323 | 0.19552 | 0.30144 | 11.2253 | 2.2648 | 3.4914 | 11.2379 | 2.2577 | 3.4807 | -0.2746 | 2.1414 | -1.4515 | 2.6599 | -1.9129 | 1.6163 | -1.463 | 0.85185 | -3.3279 | 3.1523 | -1.1585 | 2.8148 | 117.1792 | -143.6443 | -123.3989 | -62.8473 | 36.0624 | 56.4632 |  | 0.13261 | 1.0176 | 1.0399 | 0.36702 | 0.99055 | 0.93252 | 16.5488 | -121.9516 | 123.0355 | -13.0054 | -112.7386 | 116.5975
Line_1 | 0.48723 | 0.097751 | 0.15049 | 0.48661 | 0.097762 | 0.15072 | 5.626 | 1.1287 | 1.7377 | 5.6189 | 1.1289 | 1.7404 | 1.9312 | -0.89788 | 0.846 | -1.33 | 0.95646 | -0.80816 | 2.0004 | -0.65988 | 1.2815 | -1.5761 | 0.57923 | -1.4074 | -62.8375 | 35.6988 | 56.2436 | 117.1527 | -143.9376 | -123.5368 |  | 0.49422 | 0.9872 | 0.88367 | 0.36702 | 0.99055 | 0.93252 | -16.8298 | -107.988 | 112.8124 | -13.0054 | -112.7386 | 116.5975
Line_2 | 0.48723 | 0.097751 | 0.15049 | 0.48661 | 0.097762 | 0.15072 | 5.626 | 1.1287 | 1.7377 | 5.6189 | 1.1289 | 1.7404 | 1.9312 | -0.89788 | 0.846 | -1.33 | 0.95646 | -0.80816 | 2.0004 | -0.65988 | 1.2815 | -1.5761 | 0.57923 | -1.4074 | -62.8375 | 35.6988 | 56.2436 | 117.1527 | -143.9376 | -123.5368 |  | 0.49422 | 0.9872 | 0.88367 | 0.36702 | 0.99055 | 0.93252 | -16.8298 | -107.988 | 112.8124 | -13.0054 | -112.7386 | 116.5975
Line_3 | 0.00026345 | 0.00026345 | 0.00026345 | 0.00026345 | 0.00026345 | 0.00026345 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0014432 | 0.00078333 | -0.0022265 | 0.0014432 | 0.00078333 | -0.0022265 | 0.00042141 | -0.0028992 | 0.0015063 | 0.00042141 | -0.0028992 | 0.0015063 | -33.1078 | -33.1078 | -33.1078 | -33.1078 | -33.1078 | -33.1078 |  | 0.49422 | 0.9872 | 0.88367 | 0.49422 | 0.9872 | 0.88367 | -16.8298 | -107.988 | 112.8124 | -16.8298 | -107.988 | 112.8124

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97214 | 0.19614 | 0.30236 | 0.97323 | 0.19552 | 0.30144 | 11.2253 | 2.2648 | 3.4914 | 11.2379 | 2.2577 | 3.4807 | -0.2746 | 2.1414 | -1.4515 | 2.6599 | -1.9129 | 1.6163 | -1.463 | 0.85185 | -3.3279 | 3.1523 | -1.1585 | 2.8148 | 117.1792 | -143.6443 | -123.3989 | -62.8473 | 36.0624 | 56.4632 |  | 0.13261 | 1.0176 | 1.0399 | 0.36702 | 0.99055 | 0.93252 | 16.5488 | -121.9516 | 123.0355 | -13.0054 | -112.7386 | 116.5975
Line_1 | 0.48723 | 0.097751 | 0.15049 | 0.48661 | 0.097762 | 0.15072 | 5.626 | 1.1287 | 1.7377 | 5.6189 | 1.1289 | 1.7404 | 1.9312 | -0.89788 | 0.846 | -1.33 | 0.95646 | -0.80816 | 2.0004 | -0.65988 | 1.2815 | -1.5761 | 0.57923 | -1.4074 | -62.8375 | 35.6988 | 56.2436 | 117.1527 | -143.9376 | -123.5368 |  | 0.49422 | 0.9872 | 0.88367 | 0.36702 | 0.99055 | 0.93252 | -16.8298 | -107.988 | 112.8124 | -13.0054 | -112.7386 | 116.5975
Line_2 | 0.48723 | 0.097751 | 0.15049 | 0.48661 | 0.097762 | 0.15072 | 5.626 | 1.1287 | 1.7377 | 5.6189 | 1.1289 | 1.7404 | 1.9312 | -0.89788 | 0.846 | -1.33 | 0.95646 | -0.80816 | 2.0004 | -0.65988 | 1.2815 | -1.5761 | 0.57923 | -1.4074 | -62.8375 | 35.6988 | 56.2436 | 117.1527 | -143.9376 | -123.5368 |  | 0.49422 | 0.9872 | 0.88367 | 0.36702 | 0.99055 | 0.93252 | -16.8298 | -107.988 | 112.8124 | -13.0054 | -112.7386 | 116.5975
Line_3 | 0.00026345 | 0.00026345 | 0.00026345 | 0.00026345 | 0.00026345 | 0.00026345 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0014432 | 0.00078333 | -0.0022265 | 0.0014432 | 0.00078333 | -0.0022265 | 0.00042141 | -0.0028992 | 0.0015063 | 0.00042141 | -0.0028992 | 0.0015063 | -33.1078 | -33.1078 | -33.1078 | -33.1078 | -33.1078 | -33.1078 |  | 0.49422 | 0.9872 | 0.88367 | 0.49422 | 0.9872 | 0.88367 | -16.8298 | -107.988 | 112.8124 | -16.8298 | -107.988 | 112.8124

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68725 | 0.13866 | 0.21376 | 0.68802 | 0.13823 | 0.2131 | 7.9357 | 1.6011 | 2.4682 | 7.9446 | 1.5961 | 2.4607 | -2.6286 | 1.6036 | -1.4968 | 3.823 | -1.4885 | 1.5759 | -1.8588 | 0.28456 | -2.0217 | 2.7054 | -0.44097 | 1.766 | 129.5582 | -131.2654 | -111.02 | -50.4683 | 48.4413 | 68.8422 |  | 0.40569 | 1.0172 | 1.0191 | 0.58951 | 0.97263 | 0.96189 | -15.1767 | -121.203 | 122.4661 | -15.1825 | -115.0564 | 117.0983
Line_1 | 0.34445 | 0.069105 | 0.10639 | 0.34401 | 0.069113 | 0.10655 | 3.9773 | 0.79795 | 1.2285 | 3.9723 | 0.79804 | 1.2303 | 2.2137 | -0.71535 | 0.80559 | -1.9115 | 0.74423 | -0.78794 | 1.5652 | -0.26249 | 0.8213 | -1.3527 | 0.22048 | -0.88301 | -50.4586 | 48.0777 | 68.6225 | 129.5317 | -131.5587 | -111.1578 |  | 0.68165 | 0.95493 | 0.93647 | 0.58951 | 0.97263 | 0.96189 | -15.1952 | -111.7726 | 114.1759 | -15.1825 | -115.0564 | 117.0983
Line_2 | 0.34445 | 0.069105 | 0.10639 | 0.34401 | 0.069113 | 0.10655 | 3.9773 | 0.79795 | 1.2285 | 3.9723 | 0.79804 | 1.2303 | 2.2137 | -0.71535 | 0.80559 | -1.9115 | 0.74423 | -0.78794 | 1.5652 | -0.26249 | 0.8213 | -1.3527 | 0.22048 | -0.88301 | -50.4586 | 48.0777 | 68.6225 | 129.5317 | -131.5587 | -111.1578 |  | 0.68165 | 0.95493 | 0.93647 | 0.58951 | 0.97263 | 0.96189 | -15.1952 | -111.7726 | 114.1759 | -15.1825 | -115.0564 | 117.0983
Line_3 | 0.00018625 | 0.00018625 | 0.00018625 | 0.00018625 | 0.00018625 | 0.00018625 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0014591 | -3.7408e-05 | -0.0014217 | 0.0014591 | -3.7408e-05 | -0.0014217 | 0.00014136 | -0.0020533 | 0.0014264 | 0.00014136 | -0.0020533 | 0.0014264 | -20.7289 | -20.7289 | -20.7289 | -20.7289 | -20.7289 | -20.7289 |  | 0.68165 | 0.95493 | 0.93647 | 0.68165 | 0.95493 | 0.93647 | -15.1952 | -111.7726 | 114.1759 | -15.1952 | -111.7726 | 114.1759

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68725 | 0.13866 | 0.21376 | 0.68802 | 0.13823 | 0.2131 | 7.9357 | 1.6011 | 2.4682 | 7.9446 | 1.5961 | 2.4607 | -2.6286 | 1.6036 | -1.4968 | 3.823 | -1.4885 | 1.5759 | -1.8588 | 0.28456 | -2.0217 | 2.7054 | -0.44097 | 1.766 | 129.5582 | -131.2654 | -111.02 | -50.4683 | 48.4413 | 68.8422 |  | 0.40569 | 1.0172 | 1.0191 | 0.58951 | 0.97263 | 0.96189 | -15.1767 | -121.203 | 122.4661 | -15.1825 | -115.0564 | 117.0983
Line_1 | 0.34445 | 0.069105 | 0.10639 | 0.34401 | 0.069113 | 0.10655 | 3.9773 | 0.79795 | 1.2285 | 3.9723 | 0.79804 | 1.2303 | 2.2137 | -0.71535 | 0.80559 | -1.9115 | 0.74423 | -0.78794 | 1.5652 | -0.26249 | 0.8213 | -1.3527 | 0.22048 | -0.88301 | -50.4586 | 48.0777 | 68.6225 | 129.5317 | -131.5587 | -111.1578 |  | 0.68165 | 0.95493 | 0.93647 | 0.58951 | 0.97263 | 0.96189 | -15.1952 | -111.7726 | 114.1759 | -15.1825 | -115.0564 | 117.0983
Line_2 | 0.34445 | 0.069105 | 0.10639 | 0.34401 | 0.069113 | 0.10655 | 3.9773 | 0.79795 | 1.2285 | 3.9723 | 0.79804 | 1.2303 | 2.2137 | -0.71535 | 0.80559 | -1.9115 | 0.74423 | -0.78794 | 1.5652 | -0.26249 | 0.8213 | -1.3527 | 0.22048 | -0.88301 | -50.4586 | 48.0777 | 68.6225 | 129.5317 | -131.5587 | -111.1578 |  | 0.68165 | 0.95493 | 0.93647 | 0.58951 | 0.97263 | 0.96189 | -15.1952 | -111.7726 | 114.1759 | -15.1825 | -115.0564 | 117.0983
Line_3 | 0.00018625 | 0.00018625 | 0.00018625 | 0.00018625 | 0.00018625 | 0.00018625 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0014591 | -3.7408e-05 | -0.0014217 | 0.0014591 | -3.7408e-05 | -0.0014217 | 0.00014136 | -0.0020533 | 0.0014264 | 0.00014136 | -0.0020533 | 0.0014264 | -20.7289 | -20.7289 | -20.7289 | -20.7289 | -20.7289 | -20.7289 |  | 0.68165 | 0.95493 | 0.93647 | 0.68165 | 0.95493 | 0.93647 | -15.1952 | -111.7726 | 114.1759 | -15.1952 | -111.7726 | 114.1759

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28262 | 1.6598 | 1.2268 | 0.28129 | 1.6603 | 1.2278 | 3.2635 | 19.1661 | 14.1659 | 3.248 | 19.172 | 14.1772 | 0.83214 | 0.4534 | -0.84946 | -0.97721 | 3.3693 | 1.5211 | -3.8105 | -4.3209 | -2.6479 | 3.445 | 5.0307 | 5.4303 | 78.6264 | -15.5902 | -130.1475 | -101.4576 | 164.3648 | 49.8995 |  | 1.1951 | 0.22668 | 0.19631 | 1.1025 | 0.31581 | 0.39777 | 0.94537 | -99.6 | 122.0664 | 4.379 | -139.4473 | 124.2511
Line_1 | 0.13987 | 0.83084 | 0.61428 | 0.14064 | 0.83017 | 0.61389 | 1.6151 | 9.5937 | 7.093 | 1.624 | 9.586 | 7.0886 | -0.52897 | 2.6432 | 0.9337 | 0.4886 | -1.6846 | -0.76055 | 1.6243 | 2.6954 | 3.4131 | -1.7225 | -2.5153 | -2.7151 | -101.7072 | 164.3149 | 49.9838 | 78.5424 | -15.6352 | -130.1005 |  | 1.0577 | 0.39351 | 0.49887 | 1.1025 | 0.31581 | 0.39777 | 6.3308 | -150.1245 | 124.684 | 4.379 | -139.4473 | 124.2511
Line_2 | 0.13987 | 0.83084 | 0.61428 | 0.14064 | 0.83017 | 0.61389 | 1.6151 | 9.5937 | 7.093 | 1.624 | 9.586 | 7.0886 | -0.52897 | 2.6432 | 0.9337 | 0.4886 | -1.6846 | -0.76055 | 1.6243 | 2.6954 | 3.4131 | -1.7225 | -2.5153 | -2.7151 | -101.7072 | 164.3149 | 49.9838 | 78.5424 | -15.6352 | -130.1005 |  | 1.0577 | 0.39351 | 0.49887 | 1.1025 | 0.31581 | 0.39777 | 6.3308 | -150.1245 | 124.684 | 4.379 | -139.4473 | 124.2511
Line_3 | 0.00044506 | 0.00044506 | 0.00044506 | 0.00044506 | 0.00044506 | 0.00044506 | 0.0051392 | 0.0051392 | 0.0051392 | 0.0051392 | 0.0051392 | 0.0051392 | -0.0028396 | 0.00027968 | 0.0025599 | -0.0028396 | 0.00027968 | 0.0025599 | -0.0046349 | 0.0020029 | -0.00014047 | -0.0046349 | 0.0020029 | -0.00014047 | 127.8249 | 127.8249 | 127.8249 | 127.8249 | 127.8249 | 127.8249 |  | 1.0577 | 0.39351 | 0.49887 | 1.0577 | 0.39351 | 0.49887 | 6.3308 | -150.1245 | 124.684 | 6.3308 | -150.1245 | 124.684

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28262 | 1.6598 | 1.2268 | 0.28129 | 1.6603 | 1.2278 | 3.2635 | 19.1661 | 14.1659 | 3.248 | 19.172 | 14.1772 | 0.83214 | 0.4534 | -0.84946 | -0.97721 | 3.3693 | 1.5211 | -3.8105 | -4.3209 | -2.6479 | 3.445 | 5.0307 | 5.4303 | 78.6264 | -15.5902 | -130.1475 | -101.4576 | 164.3648 | 49.8995 |  | 1.1951 | 0.22668 | 0.19631 | 1.1025 | 0.31581 | 0.39777 | 0.94537 | -99.6 | 122.0664 | 4.379 | -139.4473 | 124.2511
Line_1 | 0.13987 | 0.83084 | 0.61428 | 0.14064 | 0.83017 | 0.61389 | 1.6151 | 9.5937 | 7.093 | 1.624 | 9.586 | 7.0886 | -0.52897 | 2.6432 | 0.9337 | 0.4886 | -1.6846 | -0.76055 | 1.6243 | 2.6954 | 3.4131 | -1.7225 | -2.5153 | -2.7151 | -101.7072 | 164.3149 | 49.9838 | 78.5424 | -15.6352 | -130.1005 |  | 1.0577 | 0.39351 | 0.49887 | 1.1025 | 0.31581 | 0.39777 | 6.3308 | -150.1245 | 124.684 | 4.379 | -139.4473 | 124.2511
Line_2 | 0.13987 | 0.83084 | 0.61428 | 0.14064 | 0.83017 | 0.61389 | 1.6151 | 9.5937 | 7.093 | 1.624 | 9.586 | 7.0886 | -0.52897 | 2.6432 | 0.9337 | 0.4886 | -1.6846 | -0.76055 | 1.6243 | 2.6954 | 3.4131 | -1.7225 | -2.5153 | -2.7151 | -101.7072 | 164.3149 | 49.9838 | 78.5424 | -15.6352 | -130.1005 |  | 1.0577 | 0.39351 | 0.49887 | 1.1025 | 0.31581 | 0.39777 | 6.3308 | -150.1245 | 124.684 | 4.379 | -139.4473 | 124.2511
Line_3 | 0.00044506 | 0.00044506 | 0.00044506 | 0.00044506 | 0.00044506 | 0.00044506 | 0.0051392 | 0.0051392 | 0.0051392 | 0.0051392 | 0.0051392 | 0.0051392 | -0.0028396 | 0.00027968 | 0.0025599 | -0.0028396 | 0.00027968 | 0.0025599 | -0.0046349 | 0.0020029 | -0.00014047 | -0.0046349 | 0.0020029 | -0.00014047 | 127.8249 | 127.8249 | 127.8249 | 127.8249 | 127.8249 | 127.8249 |  | 1.0577 | 0.39351 | 0.49887 | 1.0577 | 0.39351 | 0.49887 | 6.3308 | -150.1245 | 124.684 | 6.3308 | -150.1245 | 124.684

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27781 | 1.1887 | 0.8928 | 0.27695 | 1.1891 | 0.89341 | 3.2079 | 13.7264 | 10.3092 | 3.1979 | 13.7309 | 10.3162 | 0.37112 | -4.2171 | -3.8753 | -0.427 | 6.1301 | 4.1648 | -3.7558 | -5.9162 | -3.9655 | 3.5146 | 6.3721 | 5.3593 | 85.3919 | -5.1573 | -121.3417 | -94.6871 | 174.8012 | 58.7051 |  | 1.1765 | 0.5293 | 0.53784 | 1.1071 | 0.64395 | 0.65792 | 1.0353 | -130.6384 | 104.3176 | 2.2399 | -139.0899 | 110.8538
Line_1 | 0.13801 | 0.59504 | 0.44691 | 0.13847 | 0.59457 | 0.4467 | 1.5935 | 6.8709 | 5.1605 | 1.599 | 6.8655 | 5.1581 | -0.23163 | 3.5454 | 2.1587 | 0.2135 | -3.065 | -2.0824 | 1.6933 | 3.3035 | 3.0276 | -1.7573 | -3.186 | -2.6796 | -94.8821 | 174.7564 | 58.7859 | 85.3129 | -5.1988 | -121.2949 |  | 1.0725 | 0.70527 | 0.72053 | 1.1071 | 0.64395 | 0.65792 | 2.9071 | -142.2666 | 113.2969 | 2.2399 | -139.0899 | 110.8538
Line_2 | 0.13801 | 0.59504 | 0.44691 | 0.13847 | 0.59457 | 0.4467 | 1.5935 | 6.8709 | 5.1605 | 1.599 | 6.8655 | 5.1581 | -0.23163 | 3.5454 | 2.1587 | 0.2135 | -3.065 | -2.0824 | 1.6933 | 3.3035 | 3.0276 | -1.7573 | -3.186 | -2.6796 | -94.8821 | 174.7564 | 58.7859 | 85.3129 | -5.1988 | -121.2949 |  | 1.0725 | 0.70527 | 0.72053 | 1.1071 | 0.64395 | 0.65792 | 2.9071 | -142.2666 | 113.2969 | 2.2399 | -139.0899 | 110.8538
Line_3 | 0.00030101 | 0.00030101 | 0.00030101 | 0.00030101 | 0.00030101 | 0.00030101 | 0.0034757 | 0.0034757 | 0.0034757 | 0.0034757 | 0.0034757 | 0.0034757 | -0.0027852 | 0.00057303 | 0.0022122 | -0.0027852 | 0.00057303 | 0.0022122 | -0.0024776 | 0.0023834 | -0.001174 | -0.0024776 | 0.0023834 | -0.001174 | 141.2519 | 141.2519 | 141.2519 | 141.2519 | 141.2519 | 141.2519 |  | 1.0725 | 0.70527 | 0.72053 | 1.0725 | 0.70527 | 0.72053 | 2.9071 | -142.2666 | 113.2969 | 2.9071 | -142.2666 | 113.2969

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27781 | 1.1887 | 0.8928 | 0.27695 | 1.1891 | 0.89341 | 3.2079 | 13.7264 | 10.3092 | 3.1979 | 13.7309 | 10.3162 | 0.37112 | -4.2171 | -3.8753 | -0.427 | 6.1301 | 4.1648 | -3.7558 | -5.9162 | -3.9655 | 3.5146 | 6.3721 | 5.3593 | 85.3919 | -5.1573 | -121.3417 | -94.6871 | 174.8012 | 58.7051 |  | 1.1765 | 0.5293 | 0.53784 | 1.1071 | 0.64395 | 0.65792 | 1.0353 | -130.6384 | 104.3176 | 2.2399 | -139.0899 | 110.8538
Line_1 | 0.13801 | 0.59504 | 0.44691 | 0.13847 | 0.59457 | 0.4467 | 1.5935 | 6.8709 | 5.1605 | 1.599 | 6.8655 | 5.1581 | -0.23163 | 3.5454 | 2.1587 | 0.2135 | -3.065 | -2.0824 | 1.6933 | 3.3035 | 3.0276 | -1.7573 | -3.186 | -2.6796 | -94.8821 | 174.7564 | 58.7859 | 85.3129 | -5.1988 | -121.2949 |  | 1.0725 | 0.70527 | 0.72053 | 1.1071 | 0.64395 | 0.65792 | 2.9071 | -142.2666 | 113.2969 | 2.2399 | -139.0899 | 110.8538
Line_2 | 0.13801 | 0.59504 | 0.44691 | 0.13847 | 0.59457 | 0.4467 | 1.5935 | 6.8709 | 5.1605 | 1.599 | 6.8655 | 5.1581 | -0.23163 | 3.5454 | 2.1587 | 0.2135 | -3.065 | -2.0824 | 1.6933 | 3.3035 | 3.0276 | -1.7573 | -3.186 | -2.6796 | -94.8821 | 174.7564 | 58.7859 | 85.3129 | -5.1988 | -121.2949 |  | 1.0725 | 0.70527 | 0.72053 | 1.1071 | 0.64395 | 0.65792 | 2.9071 | -142.2666 | 113.2969 | 2.2399 | -139.0899 | 110.8538
Line_3 | 0.00030101 | 0.00030101 | 0.00030101 | 0.00030101 | 0.00030101 | 0.00030101 | 0.0034757 | 0.0034757 | 0.0034757 | 0.0034757 | 0.0034757 | 0.0034757 | -0.0027852 | 0.00057303 | 0.0022122 | -0.0027852 | 0.00057303 | 0.0022122 | -0.0024776 | 0.0023834 | -0.001174 | -0.0024776 | 0.0023834 | -0.001174 | 141.2519 | 141.2519 | 141.2519 | 141.2519 | 141.2519 | 141.2519 |  | 1.0725 | 0.70527 | 0.72053 | 1.0725 | 0.70527 | 0.72053 | 2.9071 | -142.2666 | 113.2969 | 2.9071 | -142.2666 | 113.2969

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19812 | 1.2826 | 0.82374 | 0.197 | 1.2828 | 0.82454 | 2.2877 | 14.8104 | 9.5118 | 2.2748 | 14.8124 | 9.521 | 0.54793 | 0.14471 | -0.38442 | -0.58691 | 3.7393 | 0.59356 | -2.3521 | -2.6805 | -1.3682 | 1.9995 | 2.7872 | 3.242 | 78.0351 | -2.9301 | -131.874 | -102.0666 | 177.018 | 48.1858 |  | 1.0557 | 0.18125 | 0.14941 | 0.91609 | 0.31486 | 0.34617 | 1.1485 | -89.84 | 122.4318 | 4.2917 | -146.2824 | 127.8106
Line_1 | 0.098085 | 0.64178 | 0.41241 | 0.0985 | 0.6414 | 0.41227 | 1.1326 | 7.4107 | 4.762 | 1.1374 | 7.4062 | 4.7605 | -0.3062 | 2.8435 | 0.35226 | 0.29346 | -1.8697 | -0.29678 | 0.90962 | 1.421 | 2.091 | -0.99977 | -1.3936 | -1.621 | -102.3336 | 176.9748 | 48.2697 | 77.9334 | -2.982 | -131.8142 |  | 0.84742 | 0.42895 | 0.44529 | 0.91609 | 0.31486 | 0.34617 | 6.2707 | -156.4722 | 128.7074 | 4.2917 | -146.2824 | 127.8106
Line_2 | 0.098085 | 0.64178 | 0.41241 | 0.0985 | 0.6414 | 0.41227 | 1.1326 | 7.4107 | 4.762 | 1.1374 | 7.4062 | 4.7605 | -0.3062 | 2.8435 | 0.35226 | 0.29346 | -1.8697 | -0.29678 | 0.90962 | 1.421 | 2.091 | -0.99977 | -1.3936 | -1.621 | -102.3336 | 176.9748 | 48.2697 | 77.9334 | -2.982 | -131.8142 |  | 0.84742 | 0.42895 | 0.44529 | 0.91609 | 0.31486 | 0.34617 | 6.2707 | -156.4722 | 128.7074 | 4.2917 | -146.2824 | 127.8106
Line_3 | 0.00026265 | 0.00026265 | 0.00026265 | 0.00026265 | 0.00026265 | 0.00026265 | 0.0030329 | 0.0030329 | 0.0030329 | 0.0030329 | 0.0030329 | 0.0030329 | -0.0020066 | 0.00072881 | 0.0012778 | -0.0020066 | 0.00072881 | 0.0012778 | -0.001606 | 0.0010776 | -0.00043726 | -0.001606 | 0.0010776 | -0.00043726 | 147.5986 | 147.5986 | 147.5986 | 147.5986 | 147.5986 | 147.5986 |  | 0.84742 | 0.42895 | 0.44529 | 0.84742 | 0.42895 | 0.44529 | 6.2707 | -156.4722 | 128.7074 | 6.2707 | -156.4722 | 128.7074

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19812 | 1.2826 | 0.82374 | 0.197 | 1.2828 | 0.82454 | 2.2877 | 14.8104 | 9.5118 | 2.2748 | 14.8124 | 9.521 | 0.54793 | 0.14471 | -0.38442 | -0.58691 | 3.7393 | 0.59356 | -2.3521 | -2.6805 | -1.3682 | 1.9995 | 2.7872 | 3.242 | 78.0351 | -2.9301 | -131.874 | -102.0666 | 177.018 | 48.1858 |  | 1.0557 | 0.18125 | 0.14941 | 0.91609 | 0.31486 | 0.34617 | 1.1485 | -89.84 | 122.4318 | 4.2917 | -146.2824 | 127.8106
Line_1 | 0.098085 | 0.64178 | 0.41241 | 0.0985 | 0.6414 | 0.41227 | 1.1326 | 7.4107 | 4.762 | 1.1374 | 7.4062 | 4.7605 | -0.3062 | 2.8435 | 0.35226 | 0.29346 | -1.8697 | -0.29678 | 0.90962 | 1.421 | 2.091 | -0.99977 | -1.3936 | -1.621 | -102.3336 | 176.9748 | 48.2697 | 77.9334 | -2.982 | -131.8142 |  | 0.84742 | 0.42895 | 0.44529 | 0.91609 | 0.31486 | 0.34617 | 6.2707 | -156.4722 | 128.7074 | 4.2917 | -146.2824 | 127.8106
Line_2 | 0.098085 | 0.64178 | 0.41241 | 0.0985 | 0.6414 | 0.41227 | 1.1326 | 7.4107 | 4.762 | 1.1374 | 7.4062 | 4.7605 | -0.3062 | 2.8435 | 0.35226 | 0.29346 | -1.8697 | -0.29678 | 0.90962 | 1.421 | 2.091 | -0.99977 | -1.3936 | -1.621 | -102.3336 | 176.9748 | 48.2697 | 77.9334 | -2.982 | -131.8142 |  | 0.84742 | 0.42895 | 0.44529 | 0.91609 | 0.31486 | 0.34617 | 6.2707 | -156.4722 | 128.7074 | 4.2917 | -146.2824 | 127.8106
Line_3 | 0.00026265 | 0.00026265 | 0.00026265 | 0.00026265 | 0.00026265 | 0.00026265 | 0.0030329 | 0.0030329 | 0.0030329 | 0.0030329 | 0.0030329 | 0.0030329 | -0.0020066 | 0.00072881 | 0.0012778 | -0.0020066 | 0.00072881 | 0.0012778 | -0.001606 | 0.0010776 | -0.00043726 | -0.001606 | 0.0010776 | -0.00043726 | 147.5986 | 147.5986 | 147.5986 | 147.5986 | 147.5986 | 147.5986 |  | 0.84742 | 0.42895 | 0.44529 | 0.84742 | 0.42895 | 0.44529 | 6.2707 | -156.4722 | 128.7074 | 6.2707 | -156.4722 | 128.7074

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13937 | 0.90492 | 0.5843 | 0.13858 | 0.90503 | 0.58487 | 1.6093 | 10.4491 | 6.7469 | 1.6002 | 10.4504 | 6.7535 | 0.032262 | -3.2231 | -2.1345 | -0.053909 | 5.1544 | 2.2481 | -1.6658 | -2.8422 | -1.9531 | 1.4882 | 2.8924 | 2.8932 | 90.1548 | 9.4959 | -119.4103 | -89.9474 | -170.556 | 60.649 |  | 1.0353 | 0.41126 | 0.42881 | 0.9306 | 0.56557 | 0.54254 | 1.2643 | -129.0967 | 103.0487 | 2.1272 | -141.2572 | 112.8009
Line_1 | 0.068997 | 0.45279 | 0.29253 | 0.069291 | 0.45252 | 0.29243 | 0.79671 | 5.2283 | 3.3779 | 0.8001 | 5.2252 | 3.3767 | -0.034956 | 3.0621 | 1.1545 | 0.026955 | -2.5772 | -1.1241 | 0.69878 | 1.46 | 1.6815 | -0.74409 | -1.4462 | -1.4466 | -90.2155 | -170.5994 | 60.7324 | 90.0526 | 9.444 | -119.351 |  | 0.87817 | 0.64884 | 0.60384 | 0.9306 | 0.56557 | 0.54254 | 2.6483 | -145.1078 | 116.2581 | 2.1272 | -141.2572 | 112.8009
Line_2 | 0.068997 | 0.45279 | 0.29253 | 0.069291 | 0.45252 | 0.29243 | 0.79671 | 5.2283 | 3.3779 | 0.8001 | 5.2252 | 3.3767 | -0.034956 | 3.0621 | 1.1545 | 0.026955 | -2.5772 | -1.1241 | 0.69878 | 1.46 | 1.6815 | -0.74409 | -1.4462 | -1.4466 | -90.2155 | -170.5994 | 60.7324 | 90.0526 | 9.444 | -119.351 |  | 0.87817 | 0.64884 | 0.60384 | 0.9306 | 0.56557 | 0.54254 | 2.6483 | -145.1078 | 116.2581 | 2.1272 | -141.2572 | 112.8009
Line_3 | 0.00018551 | 0.00018551 | 0.00018551 | 0.00018551 | 0.00018551 | 0.00018551 | 0.0021421 | 0.0021421 | 0.0021421 | 0.0021421 | 0.0021421 | 0.0021421 | -0.0017327 | 0.00079402 | 0.00093864 | -0.0017327 | 0.00079402 | 0.00093864 | -0.00073245 | 0.0011407 | -0.00088995 | -0.00073245 | 0.0011407 | -0.00088995 | 159.733 | 159.733 | 159.733 | 159.733 | 159.733 | 159.733 |  | 0.87817 | 0.64884 | 0.60384 | 0.87817 | 0.64884 | 0.60384 | 2.6483 | -145.1078 | 116.2581 | 2.6483 | -145.1078 | 116.2581

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13937 | 0.90492 | 0.5843 | 0.13858 | 0.90503 | 0.58487 | 1.6093 | 10.4491 | 6.7469 | 1.6002 | 10.4504 | 6.7535 | 0.032262 | -3.2231 | -2.1345 | -0.053909 | 5.1544 | 2.2481 | -1.6658 | -2.8422 | -1.9531 | 1.4882 | 2.8924 | 2.8932 | 90.1548 | 9.4959 | -119.4103 | -89.9474 | -170.556 | 60.649 |  | 1.0353 | 0.41126 | 0.42881 | 0.9306 | 0.56557 | 0.54254 | 1.2643 | -129.0967 | 103.0487 | 2.1272 | -141.2572 | 112.8009
Line_1 | 0.068997 | 0.45279 | 0.29253 | 0.069291 | 0.45252 | 0.29243 | 0.79671 | 5.2283 | 3.3779 | 0.8001 | 5.2252 | 3.3767 | -0.034956 | 3.0621 | 1.1545 | 0.026955 | -2.5772 | -1.1241 | 0.69878 | 1.46 | 1.6815 | -0.74409 | -1.4462 | -1.4466 | -90.2155 | -170.5994 | 60.7324 | 90.0526 | 9.444 | -119.351 |  | 0.87817 | 0.64884 | 0.60384 | 0.9306 | 0.56557 | 0.54254 | 2.6483 | -145.1078 | 116.2581 | 2.1272 | -141.2572 | 112.8009
Line_2 | 0.068997 | 0.45279 | 0.29253 | 0.069291 | 0.45252 | 0.29243 | 0.79671 | 5.2283 | 3.3779 | 0.8001 | 5.2252 | 3.3767 | -0.034956 | 3.0621 | 1.1545 | 0.026955 | -2.5772 | -1.1241 | 0.69878 | 1.46 | 1.6815 | -0.74409 | -1.4462 | -1.4466 | -90.2155 | -170.5994 | 60.7324 | 90.0526 | 9.444 | -119.351 |  | 0.87817 | 0.64884 | 0.60384 | 0.9306 | 0.56557 | 0.54254 | 2.6483 | -145.1078 | 116.2581 | 2.1272 | -141.2572 | 112.8009
Line_3 | 0.00018551 | 0.00018551 | 0.00018551 | 0.00018551 | 0.00018551 | 0.00018551 | 0.0021421 | 0.0021421 | 0.0021421 | 0.0021421 | 0.0021421 | 0.0021421 | -0.0017327 | 0.00079402 | 0.00093864 | -0.0017327 | 0.00079402 | 0.00093864 | -0.00073245 | 0.0011407 | -0.00088995 | -0.00073245 | 0.0011407 | -0.00088995 | 159.733 | 159.733 | 159.733 | 159.733 | 159.733 | 159.733 |  | 0.87817 | 0.64884 | 0.60384 | 0.87817 | 0.64884 | 0.60384 | 2.6483 | -145.1078 | 116.2581 | 2.6483 | -145.1078 | 116.2581