## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-14 | 1.8237e-14 | 2.6053e-14 | 4.1685e-14 | -1.5631e-14 | -1.5631e-14 | 5.2106e-15 | 5.7634e-09 | -5.7634e-09 | -1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.4239e-13 | -180 | 180 | 9.8928e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -2.6051e-15 | 1.5632e-14 | -2.6053e-14 | 1.5632e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.8754e-13 | -180 | 180 | 9.8928e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -2.6051e-15 | 5.2109e-15 | -1.5632e-14 | 5.2105e-15 | -1.5632e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.9254e-13 | -180 | 180 | 9.8928e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 1.0421e-14 | 5.2106e-15 | -2.0843e-14 | 7.816e-15 | -1.0421e-14 | 1.7962e-28 | -2.6053e-15 | 1.0421e-14 | -5.2106e-15 | 1.3027e-14 | 1.1131e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.8754e-13 | -180 | 180 | 9.9254e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-14 | 1.8237e-14 | 2.6053e-14 | 4.1685e-14 | -1.5631e-14 | -1.5631e-14 | 5.2106e-15 | 5.7634e-09 | -5.7634e-09 | -1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.4239e-13 | -180 | 180 | 9.8928e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -2.6051e-15 | 1.5632e-14 | -2.6053e-14 | 1.5632e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.8754e-13 | -180 | 180 | 9.8928e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -2.6051e-15 | 5.2109e-15 | -1.5632e-14 | 5.2105e-15 | -1.5632e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.9254e-13 | -180 | 180 | 9.8928e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 1.0421e-14 | 5.2106e-15 | -2.0843e-14 | 7.816e-15 | -1.0421e-14 | 1.7962e-28 | -2.6053e-15 | 1.0421e-14 | -5.2106e-15 | 1.3027e-14 | 1.1131e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.8754e-13 | -180 | 180 | 9.9254e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1685e-14 | -7.3075e-10 | -2.0393e-09 | 3.6475e-14 | 7.3078e-10 | 2.0393e-09 | 5.2106e-15 | 5.8225e-09 | -3.5561e-09 | -1.0421e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.3234e-13 | -164.9034 | 158.1097 | 8.7453e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.4357e-10 | 6.7978e-10 | -1.5632e-14 | -2.4357e-10 | -6.7978e-10 | -5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -2.386e-28 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.7349e-13 | -164.9034 | 158.1097 | 8.7453e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.4357e-10 | 6.7978e-10 | 7.9533e-29 | -2.4357e-10 | -6.7978e-10 | 5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -5.2106e-15 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.7783e-13 | -164.9034 | 158.1097 | 8.7453e-13 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 6.2352e-15 | 8.3722e-15 | -2.6053e-14 | -8.4099e-16 | -1.424e-14 | -5.2106e-15 | 1.682e-15 | -3.364e-15 | 1.0421e-14 | 3.1176e-15 | 8.5982e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.7349e-13 | -164.9034 | 158.1097 | 8.7783e-13 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1685e-14 | -7.3075e-10 | -2.0393e-09 | 3.6475e-14 | 7.3078e-10 | 2.0393e-09 | 5.2106e-15 | 5.8225e-09 | -3.5561e-09 | -1.0421e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.3234e-13 | -164.9034 | 158.1097 | 8.7453e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.4357e-10 | 6.7978e-10 | -1.5632e-14 | -2.4357e-10 | -6.7978e-10 | -5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -2.386e-28 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.7349e-13 | -164.9034 | 158.1097 | 8.7453e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.4357e-10 | 6.7978e-10 | 7.9533e-29 | -2.4357e-10 | -6.7978e-10 | 5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -5.2106e-15 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.7783e-13 | -164.9034 | 158.1097 | 8.7453e-13 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 6.2352e-15 | 8.3722e-15 | -2.6053e-14 | -8.4099e-16 | -1.424e-14 | -5.2106e-15 | 1.682e-15 | -3.364e-15 | 1.0421e-14 | 3.1176e-15 | 8.5982e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.7349e-13 | -164.9034 | 158.1097 | 8.7783e-13 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.0132e-14 | 1.4211e-14 | -2.3685e-15 | -2.0131e-14 | -1.421e-14 | -2.8422e-14 | 4.7631e-09 | -4.7631e-09 | 3.3159e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.4988e-13 | -180 | 180 | 8.0913e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -8.2893e-15 | -4.7366e-15 | 4.737e-15 | 8.2894e-15 | 4.7367e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.8193e-13 | -180 | 180 | 8.0913e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5542e-29 | -1.3026e-14 | 3.3631e-19 | 0 | 1.3026e-14 | -2.6081e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.9277e-13 | -180 | 180 | 8.0913e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 3.5527e-15 | -7.1054e-15 | 4.737e-15 | -1.1842e-15 | 9.4739e-15 | 4.737e-15 | 7.521e-25 | 9.4739e-15 | -4.737e-15 | 2.3685e-15 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.8193e-13 | -180 | 180 | 7.9277e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.0132e-14 | 1.4211e-14 | -2.3685e-15 | -2.0131e-14 | -1.421e-14 | -2.8422e-14 | 4.7631e-09 | -4.7631e-09 | 3.3159e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.4988e-13 | -180 | 180 | 8.0913e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -8.2893e-15 | -4.7366e-15 | 4.737e-15 | 8.2894e-15 | 4.7367e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.8193e-13 | -180 | 180 | 8.0913e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5542e-29 | -1.3026e-14 | 3.3631e-19 | 0 | 1.3026e-14 | -2.6081e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.9277e-13 | -180 | 180 | 8.0913e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 3.5527e-15 | -7.1054e-15 | 4.737e-15 | -1.1842e-15 | 9.4739e-15 | 4.737e-15 | 7.521e-25 | 9.4739e-15 | -4.737e-15 | 2.3685e-15 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.8193e-13 | -180 | 180 | 7.9277e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -5.5594e-10 | -1.5515e-09 | 7.1054e-15 | 5.5594e-10 | 1.5515e-09 | -2.8422e-14 | 4.8332e-09 | -3.1089e-09 | 2.6053e-14 | -4.8332e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.7813e-13 | -166.2936 | 160.6236 | 6.4196e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.8532e-10 | 5.1715e-10 | 7.9611e-29 | -1.8532e-10 | -5.1715e-10 | 4.737e-15 | -1.6111e-09 | 1.0363e-09 | -7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.1702e-13 | -166.2936 | 160.6236 | 6.4196e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.8532e-10 | 5.1715e-10 | 4.737e-15 | -1.8532e-10 | -5.1715e-10 | 4.737e-15 | -1.6111e-09 | 1.0363e-09 | -7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.2766e-13 | -166.2936 | 160.6236 | 6.4196e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 5.2191e-15 | -5.7536e-16 | -4.737e-15 | -3.1383e-15 | -2.7288e-15 | 2.5506e-29 | -3.1724e-15 | 4.5618e-15 | -5.1892e-29 | 7.1638e-16 | -7.7591e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.1702e-13 | -166.2936 | 160.6236 | 6.2766e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -5.5594e-10 | -1.5515e-09 | 7.1054e-15 | 5.5594e-10 | 1.5515e-09 | -2.8422e-14 | 4.8332e-09 | -3.1089e-09 | 2.6053e-14 | -4.8332e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.7813e-13 | -166.2936 | 160.6236 | 6.4196e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.8532e-10 | 5.1715e-10 | 7.9611e-29 | -1.8532e-10 | -5.1715e-10 | 4.737e-15 | -1.6111e-09 | 1.0363e-09 | -7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.1702e-13 | -166.2936 | 160.6236 | 6.4196e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.8532e-10 | 5.1715e-10 | 4.737e-15 | -1.8532e-10 | -5.1715e-10 | 4.737e-15 | -1.6111e-09 | 1.0363e-09 | -7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.2766e-13 | -166.2936 | 160.6236 | 6.4196e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 5.2191e-15 | -5.7536e-16 | -4.737e-15 | -3.1383e-15 | -2.7288e-15 | 2.5506e-29 | -3.1724e-15 | 4.5618e-15 | -5.1892e-29 | 7.1638e-16 | -7.7591e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.1702e-13 | -166.2936 | 160.6236 | 6.2766e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073689 | 0.0073689 | 0.0073689 | 0.0055288 | 0.0055288 | 0.0055288 | 0.085089 | 0.085089 | 0.085089 | 0.063841 | 0.063841 | 0.063841 | -1.5689e-06 | 0.081326 | -0.080788 | 0.00013252 | -0.060919 | 0.060712 | -0.00056987 | -0.046684 | -0.047538 | 0.00048 | 0.03502 | 0.035777 | -90.3018 | -90.3018 | -90.3018 | 89.6433 | 89.6433 | 89.6433 | 0.0066973 | 1.1021 | 1.1016 | 0.0078 | 1.1007 | 1.1038 | 179.5404 | -120.1592 | 120.172 | 164.2091 | -120.2497 | 120.1543
Line_1 | 0.00092166 | 0.00092166 | 0.00092166 | 0.0027644 | 0.0027644 | 0.0027644 | 0.010642 | 0.010642 | 0.010642 | 0.03192 | 0.03192 | 0.03192 | 2.8327e-05 | -0.010152 | 0.010124 | -6.6262e-05 | 0.03046 | -0.030356 | 8.2527e-05 | 0.0058351 | 0.005972 | -0.00024 | -0.01751 | -0.017889 | 89.613 | 89.6131 | 89.6131 | -90.3567 | -90.3567 | -90.3567 | 0.0081986 | 1.1003 | 1.1045 | 0.0078 | 1.1007 | 1.1038 | 160.6684 | -120.2756 | 120.1492 | 164.2091 | -120.2497 | 120.1543
Line_2 | 0.00092166 | 0.00092166 | 0.00092166 | 0.0027644 | 0.0027644 | 0.0027644 | 0.010642 | 0.010642 | 0.010642 | 0.03192 | 0.03192 | 0.03192 | 2.8327e-05 | -0.010152 | 0.010124 | -6.6262e-05 | 0.03046 | -0.030356 | 8.2527e-05 | 0.0058351 | 0.005972 | -0.00024 | -0.01751 | -0.017889 | 89.613 | 89.6131 | 89.6131 | -90.3567 | -90.3567 | -90.3567 | 0.0081986 | 1.1003 | 1.1045 | 0.0078 | 1.1007 | 1.1038 | 160.6684 | -120.2756 | 120.1492 | 164.2091 | -120.2497 | 120.1543
Line_3 | 0.00092166 | 0.00092166 | 0.00092166 | 0.00092166 | 0.00092166 | 0.00092166 | 0.010642 | 0.010642 | 0.010642 | 0.010642 | 0.010642 | 0.010642 | -2.8327e-05 | 0.010152 | -0.010124 | -2.8327e-05 | 0.010152 | -0.010124 | -8.2527e-05 | -0.0058351 | -0.005972 | -8.2527e-05 | -0.0058351 | -0.005972 | -90.3869 | -90.3869 | -90.3869 | -90.3869 | -90.3869 | -90.3869 | 0.0081986 | 1.1003 | 1.1045 | 0.0081986 | 1.1003 | 1.1045 | 160.6684 | -120.2756 | 120.1492 | 160.6684 | -120.2756 | 120.1492

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073689 | 0.0073689 | 0.0073689 | 0.0055288 | 0.0055288 | 0.0055288 | 0.085089 | 0.085089 | 0.085089 | 0.063841 | 0.063841 | 0.063841 | -1.5689e-06 | 0.081326 | -0.080788 | 0.00013252 | -0.060919 | 0.060712 | -0.00056987 | -0.046684 | -0.047538 | 0.00048 | 0.03502 | 0.035777 | -90.3018 | -90.3018 | -90.3018 | 89.6433 | 89.6433 | 89.6433 | 0.0066973 | 1.1021 | 1.1016 | 0.0078 | 1.1007 | 1.1038 | 179.5404 | -120.1592 | 120.172 | 164.2091 | -120.2497 | 120.1543
Line_1 | 0.00092166 | 0.00092166 | 0.00092166 | 0.0027644 | 0.0027644 | 0.0027644 | 0.010642 | 0.010642 | 0.010642 | 0.03192 | 0.03192 | 0.03192 | 2.8327e-05 | -0.010152 | 0.010124 | -6.6262e-05 | 0.03046 | -0.030356 | 8.2527e-05 | 0.0058351 | 0.005972 | -0.00024 | -0.01751 | -0.017889 | 89.613 | 89.6131 | 89.6131 | -90.3567 | -90.3567 | -90.3567 | 0.0081986 | 1.1003 | 1.1045 | 0.0078 | 1.1007 | 1.1038 | 160.6684 | -120.2756 | 120.1492 | 164.2091 | -120.2497 | 120.1543
Line_2 | 0.00092166 | 0.00092166 | 0.00092166 | 0.0027644 | 0.0027644 | 0.0027644 | 0.010642 | 0.010642 | 0.010642 | 0.03192 | 0.03192 | 0.03192 | 2.8327e-05 | -0.010152 | 0.010124 | -6.6262e-05 | 0.03046 | -0.030356 | 8.2527e-05 | 0.0058351 | 0.005972 | -0.00024 | -0.01751 | -0.017889 | 89.613 | 89.6131 | 89.6131 | -90.3567 | -90.3567 | -90.3567 | 0.0081986 | 1.1003 | 1.1045 | 0.0078 | 1.1007 | 1.1038 | 160.6684 | -120.2756 | 120.1492 | 164.2091 | -120.2497 | 120.1543
Line_3 | 0.00092166 | 0.00092166 | 0.00092166 | 0.00092166 | 0.00092166 | 0.00092166 | 0.010642 | 0.010642 | 0.010642 | 0.010642 | 0.010642 | 0.010642 | -2.8327e-05 | 0.010152 | -0.010124 | -2.8327e-05 | 0.010152 | -0.010124 | -8.2527e-05 | -0.0058351 | -0.005972 | -8.2527e-05 | -0.0058351 | -0.005972 | -90.3869 | -90.3869 | -90.3869 | -90.3869 | -90.3869 | -90.3869 | 0.0081986 | 1.1003 | 1.1045 | 0.0081986 | 1.1003 | 1.1045 | 160.6684 | -120.2756 | 120.1492 | 160.6684 | -120.2756 | 120.1492

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050751 | 0.0050751 | 0.0050751 | 0.0038078 | 0.0038078 | 0.0038078 | 0.058602 | 0.058602 | 0.058602 | 0.043969 | 0.043969 | 0.043969 | 0.014884 | 0.04705 | -0.06168 | -0.011092 | -0.03527 | 0.046327 | 0.018109 | -0.044224 | -0.018848 | -0.013573 | 0.033172 | 0.01421 | -76.8629 | -76.8629 | -76.8629 | 103.0822 | 103.0822 | 103.0822 | 0.4 | 1.1019 | 1.1006 | 0.39866 | 1.1012 | 1.1021 | -26.2804 | -120.0896 | 120.1289 | -26.1741 | -120.1616 | 120.1353
Line_1 | 0.00063477 | 0.00063477 | 0.00063477 | 0.0019039 | 0.0019039 | 0.0019039 | 0.0073296 | 0.0073296 | 0.0073296 | 0.021984 | 0.021984 | 0.021984 | -0.0018449 | -0.0058796 | 0.0077245 | 0.005546 | 0.017635 | -0.023163 | -0.0022624 | 0.0055279 | 0.0023742 | 0.0067864 | -0.016586 | -0.0071052 | 103.0519 | 103.052 | 103.052 | -76.9178 | -76.9178 | -76.9178 | 0.39828 | 1.101 | 1.1025 | 0.39866 | 1.1012 | 1.1021 | -26.1435 | -120.1822 | 120.1371 | -26.1741 | -120.1616 | 120.1353
Line_2 | 0.00063477 | 0.00063477 | 0.00063477 | 0.0019039 | 0.0019039 | 0.0019039 | 0.0073296 | 0.0073296 | 0.0073296 | 0.021984 | 0.021984 | 0.021984 | -0.0018449 | -0.0058796 | 0.0077245 | 0.005546 | 0.017635 | -0.023163 | -0.0022624 | 0.0055279 | 0.0023742 | 0.0067864 | -0.016586 | -0.0071052 | 103.0519 | 103.052 | 103.052 | -76.9178 | -76.9178 | -76.9178 | 0.39828 | 1.101 | 1.1025 | 0.39866 | 1.1012 | 1.1021 | -26.1435 | -120.1822 | 120.1371 | -26.1741 | -120.1616 | 120.1353
Line_3 | 0.00063477 | 0.00063477 | 0.00063477 | 0.00063477 | 0.00063477 | 0.00063477 | 0.0073296 | 0.0073296 | 0.0073296 | 0.0073296 | 0.0073296 | 0.0073296 | 0.0018449 | 0.0058796 | -0.0077245 | 0.0018449 | 0.0058796 | -0.0077245 | 0.0022624 | -0.0055279 | -0.0023742 | 0.0022624 | -0.0055279 | -0.0023742 | -76.948 | -76.948 | -76.948 | -76.948 | -76.948 | -76.948 | 0.39828 | 1.101 | 1.1025 | 0.39828 | 1.101 | 1.1025 | -26.1435 | -120.1822 | 120.1371 | -26.1435 | -120.1822 | 120.1371

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050751 | 0.0050751 | 0.0050751 | 0.0038078 | 0.0038078 | 0.0038078 | 0.058602 | 0.058602 | 0.058602 | 0.043969 | 0.043969 | 0.043969 | 0.014884 | 0.04705 | -0.06168 | -0.011092 | -0.03527 | 0.046327 | 0.018109 | -0.044224 | -0.018848 | -0.013573 | 0.033172 | 0.01421 | -76.8629 | -76.8629 | -76.8629 | 103.0822 | 103.0822 | 103.0822 | 0.4 | 1.1019 | 1.1006 | 0.39866 | 1.1012 | 1.1021 | -26.2804 | -120.0896 | 120.1289 | -26.1741 | -120.1616 | 120.1353
Line_1 | 0.00063477 | 0.00063477 | 0.00063477 | 0.0019039 | 0.0019039 | 0.0019039 | 0.0073296 | 0.0073296 | 0.0073296 | 0.021984 | 0.021984 | 0.021984 | -0.0018449 | -0.0058796 | 0.0077245 | 0.005546 | 0.017635 | -0.023163 | -0.0022624 | 0.0055279 | 0.0023742 | 0.0067864 | -0.016586 | -0.0071052 | 103.0519 | 103.052 | 103.052 | -76.9178 | -76.9178 | -76.9178 | 0.39828 | 1.101 | 1.1025 | 0.39866 | 1.1012 | 1.1021 | -26.1435 | -120.1822 | 120.1371 | -26.1741 | -120.1616 | 120.1353
Line_2 | 0.00063477 | 0.00063477 | 0.00063477 | 0.0019039 | 0.0019039 | 0.0019039 | 0.0073296 | 0.0073296 | 0.0073296 | 0.021984 | 0.021984 | 0.021984 | -0.0018449 | -0.0058796 | 0.0077245 | 0.005546 | 0.017635 | -0.023163 | -0.0022624 | 0.0055279 | 0.0023742 | 0.0067864 | -0.016586 | -0.0071052 | 103.0519 | 103.052 | 103.052 | -76.9178 | -76.9178 | -76.9178 | 0.39828 | 1.101 | 1.1025 | 0.39866 | 1.1012 | 1.1021 | -26.1435 | -120.1822 | 120.1371 | -26.1741 | -120.1616 | 120.1353
Line_3 | 0.00063477 | 0.00063477 | 0.00063477 | 0.00063477 | 0.00063477 | 0.00063477 | 0.0073296 | 0.0073296 | 0.0073296 | 0.0073296 | 0.0073296 | 0.0073296 | 0.0018449 | 0.0058796 | -0.0077245 | 0.0018449 | 0.0058796 | -0.0077245 | 0.0022624 | -0.0055279 | -0.0023742 | 0.0022624 | -0.0055279 | -0.0023742 | -76.948 | -76.948 | -76.948 | -76.948 | -76.948 | -76.948 | 0.39828 | 1.101 | 1.1025 | 0.39828 | 1.101 | 1.1025 | -26.1435 | -120.1822 | 120.1371 | -26.1435 | -120.1822 | 120.1371

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066922 | 0.0066922 | 0.0066922 | 0.0050211 | 0.0050211 | 0.0050211 | 0.077275 | 0.077275 | 0.077275 | 0.057979 | 0.057979 | 0.057979 | -2.5486e-06 | 0.067345 | -0.066493 | 0.00020992 | -0.050372 | 0.050042 | -0.00046481 | -0.038154 | -0.039565 | 0.00039203 | 0.028576 | 0.02982 | -90.6042 | -90.6042 | -90.6042 | 89.2905 | 89.2905 | 89.2905 | 0.006015 | 1.0016 | 1.0013 | 0.00767 | 0.99887 | 1.0047 | 179.0816 | -120.1375 | 120.1496 | 151.1236 | -120.2762 | 120.0809
Line_1 | 0.00083702 | 0.00083702 | 0.00083702 | 0.0025105 | 0.0025105 | 0.0025105 | 0.0096651 | 0.0096651 | 0.0096651 | 0.028989 | 0.028989 | 0.028989 | 4.4868e-05 | -0.0083919 | 0.008347 | -0.00010496 | 0.025186 | -0.025021 | 6.7448e-05 | 0.0047573 | 0.0049815 | -0.00019602 | -0.014288 | -0.01491 | 89.2324 | 89.2324 | 89.2324 | -90.7095 | -90.7095 | -90.7095 | 0.0083815 | 0.99808 | 1.0057 | 0.00767 | 0.99887 | 1.0047 | 145.5998 | -120.3159 | 120.0612 | 151.1236 | -120.2762 | 120.0809
Line_2 | 0.00083702 | 0.00083702 | 0.00083702 | 0.0025105 | 0.0025105 | 0.0025105 | 0.0096651 | 0.0096651 | 0.0096651 | 0.028989 | 0.028989 | 0.028989 | 4.4868e-05 | -0.0083919 | 0.008347 | -0.00010496 | 0.025186 | -0.025021 | 6.7448e-05 | 0.0047573 | 0.0049815 | -0.00019602 | -0.014288 | -0.01491 | 89.2324 | 89.2324 | 89.2324 | -90.7095 | -90.7095 | -90.7095 | 0.0083815 | 0.99808 | 1.0057 | 0.00767 | 0.99887 | 1.0047 | 145.5998 | -120.3159 | 120.0612 | 151.1236 | -120.2762 | 120.0809
Line_3 | 0.00083702 | 0.00083702 | 0.00083702 | 0.00083702 | 0.00083702 | 0.00083702 | 0.0096651 | 0.0096651 | 0.0096651 | 0.0096651 | 0.0096651 | 0.0096651 | -4.4868e-05 | 0.0083919 | -0.008347 | -4.4868e-05 | 0.0083919 | -0.008347 | -6.7448e-05 | -0.0047573 | -0.0049815 | -6.7448e-05 | -0.0047573 | -0.0049815 | -90.7676 | -90.7676 | -90.7676 | -90.7676 | -90.7676 | -90.7676 | 0.0083815 | 0.99808 | 1.0057 | 0.0083815 | 0.99808 | 1.0057 | 145.5998 | -120.3159 | 120.0612 | 145.5998 | -120.3159 | 120.0612

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066922 | 0.0066922 | 0.0066922 | 0.0050211 | 0.0050211 | 0.0050211 | 0.077275 | 0.077275 | 0.077275 | 0.057979 | 0.057979 | 0.057979 | -2.5486e-06 | 0.067345 | -0.066493 | 0.00020992 | -0.050372 | 0.050042 | -0.00046481 | -0.038154 | -0.039565 | 0.00039203 | 0.028576 | 0.02982 | -90.6042 | -90.6042 | -90.6042 | 89.2905 | 89.2905 | 89.2905 | 0.006015 | 1.0016 | 1.0013 | 0.00767 | 0.99887 | 1.0047 | 179.0816 | -120.1375 | 120.1496 | 151.1236 | -120.2762 | 120.0809
Line_1 | 0.00083702 | 0.00083702 | 0.00083702 | 0.0025105 | 0.0025105 | 0.0025105 | 0.0096651 | 0.0096651 | 0.0096651 | 0.028989 | 0.028989 | 0.028989 | 4.4868e-05 | -0.0083919 | 0.008347 | -0.00010496 | 0.025186 | -0.025021 | 6.7448e-05 | 0.0047573 | 0.0049815 | -0.00019602 | -0.014288 | -0.01491 | 89.2324 | 89.2324 | 89.2324 | -90.7095 | -90.7095 | -90.7095 | 0.0083815 | 0.99808 | 1.0057 | 0.00767 | 0.99887 | 1.0047 | 145.5998 | -120.3159 | 120.0612 | 151.1236 | -120.2762 | 120.0809
Line_2 | 0.00083702 | 0.00083702 | 0.00083702 | 0.0025105 | 0.0025105 | 0.0025105 | 0.0096651 | 0.0096651 | 0.0096651 | 0.028989 | 0.028989 | 0.028989 | 4.4868e-05 | -0.0083919 | 0.008347 | -0.00010496 | 0.025186 | -0.025021 | 6.7448e-05 | 0.0047573 | 0.0049815 | -0.00019602 | -0.014288 | -0.01491 | 89.2324 | 89.2324 | 89.2324 | -90.7095 | -90.7095 | -90.7095 | 0.0083815 | 0.99808 | 1.0057 | 0.00767 | 0.99887 | 1.0047 | 145.5998 | -120.3159 | 120.0612 | 151.1236 | -120.2762 | 120.0809
Line_3 | 0.00083702 | 0.00083702 | 0.00083702 | 0.00083702 | 0.00083702 | 0.00083702 | 0.0096651 | 0.0096651 | 0.0096651 | 0.0096651 | 0.0096651 | 0.0096651 | -4.4868e-05 | 0.0083919 | -0.008347 | -4.4868e-05 | 0.0083919 | -0.008347 | -6.7448e-05 | -0.0047573 | -0.0049815 | -6.7448e-05 | -0.0047573 | -0.0049815 | -90.7676 | -90.7676 | -90.7676 | -90.7676 | -90.7676 | -90.7676 | 0.0083815 | 0.99808 | 1.0057 | 0.0083815 | 0.99808 | 1.0057 | 145.5998 | -120.3159 | 120.0612 | 145.5998 | -120.3159 | 120.0612

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0047978 | 0.0047978 | 0.0047978 | 0.0035997 | 0.0035997 | 0.0035997 | 0.0554 | 0.0554 | 0.0554 | 0.041565 | 0.041565 | 0.041565 | 0.011645 | 0.041378 | -0.052586 | -0.0086101 | -0.030989 | 0.039538 | 0.014297 | -0.036963 | -0.017517 | -0.01072 | 0.027698 | 0.013237 | -78.3072 | -78.3072 | -78.3072 | 101.5874 | 101.5874 | 101.5874 | 0.33284 | 1.0015 | 1.0005 | 0.3308 | 0.99994 | 1.0031 | -27.4709 | -120.0821 | 120.1159 | -27.1824 | -120.2033 | 120.0981
Line_1 | 0.00060007 | 0.00060007 | 0.00060007 | 0.0017998 | 0.0017998 | 0.0017998 | 0.006929 | 0.006929 | 0.006929 | 0.020783 | 0.020783 | 0.020783 | -0.0014284 | -0.0051654 | 0.0065938 | 0.004305 | 0.015494 | -0.019769 | -0.0017875 | 0.0046131 | 0.0022144 | 0.0053602 | -0.013849 | -0.0066186 | 101.5293 | 101.5293 | 101.5293 | -78.4126 | -78.4126 | -78.4126 | 0.33022 | 0.99949 | 1.0039 | 0.3308 | 0.99994 | 1.0031 | -27.0991 | -120.2379 | 120.0929 | -27.1824 | -120.2033 | 120.0981
Line_2 | 0.00060007 | 0.00060007 | 0.00060007 | 0.0017998 | 0.0017998 | 0.0017998 | 0.006929 | 0.006929 | 0.006929 | 0.020783 | 0.020783 | 0.020783 | -0.0014284 | -0.0051654 | 0.0065938 | 0.004305 | 0.015494 | -0.019769 | -0.0017875 | 0.0046131 | 0.0022144 | 0.0053602 | -0.013849 | -0.0066186 | 101.5293 | 101.5293 | 101.5293 | -78.4126 | -78.4126 | -78.4126 | 0.33022 | 0.99949 | 1.0039 | 0.3308 | 0.99994 | 1.0031 | -27.0991 | -120.2379 | 120.0929 | -27.1824 | -120.2033 | 120.0981
Line_3 | 0.00060007 | 0.00060007 | 0.00060007 | 0.00060007 | 0.00060007 | 0.00060007 | 0.006929 | 0.006929 | 0.006929 | 0.006929 | 0.006929 | 0.006929 | 0.0014284 | 0.0051654 | -0.0065938 | 0.0014284 | 0.0051654 | -0.0065938 | 0.0017875 | -0.0046131 | -0.0022144 | 0.0017875 | -0.0046131 | -0.0022144 | -78.4707 | -78.4707 | -78.4707 | -78.4707 | -78.4707 | -78.4707 | 0.33022 | 0.99949 | 1.0039 | 0.33022 | 0.99949 | 1.0039 | -27.0991 | -120.2379 | 120.0929 | -27.0991 | -120.2379 | 120.0929

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0047978 | 0.0047978 | 0.0047978 | 0.0035997 | 0.0035997 | 0.0035997 | 0.0554 | 0.0554 | 0.0554 | 0.041565 | 0.041565 | 0.041565 | 0.011645 | 0.041378 | -0.052586 | -0.0086101 | -0.030989 | 0.039538 | 0.014297 | -0.036963 | -0.017517 | -0.01072 | 0.027698 | 0.013237 | -78.3072 | -78.3072 | -78.3072 | 101.5874 | 101.5874 | 101.5874 | 0.33284 | 1.0015 | 1.0005 | 0.3308 | 0.99994 | 1.0031 | -27.4709 | -120.0821 | 120.1159 | -27.1824 | -120.2033 | 120.0981
Line_1 | 0.00060007 | 0.00060007 | 0.00060007 | 0.0017998 | 0.0017998 | 0.0017998 | 0.006929 | 0.006929 | 0.006929 | 0.020783 | 0.020783 | 0.020783 | -0.0014284 | -0.0051654 | 0.0065938 | 0.004305 | 0.015494 | -0.019769 | -0.0017875 | 0.0046131 | 0.0022144 | 0.0053602 | -0.013849 | -0.0066186 | 101.5293 | 101.5293 | 101.5293 | -78.4126 | -78.4126 | -78.4126 | 0.33022 | 0.99949 | 1.0039 | 0.3308 | 0.99994 | 1.0031 | -27.0991 | -120.2379 | 120.0929 | -27.1824 | -120.2033 | 120.0981
Line_2 | 0.00060007 | 0.00060007 | 0.00060007 | 0.0017998 | 0.0017998 | 0.0017998 | 0.006929 | 0.006929 | 0.006929 | 0.020783 | 0.020783 | 0.020783 | -0.0014284 | -0.0051654 | 0.0065938 | 0.004305 | 0.015494 | -0.019769 | -0.0017875 | 0.0046131 | 0.0022144 | 0.0053602 | -0.013849 | -0.0066186 | 101.5293 | 101.5293 | 101.5293 | -78.4126 | -78.4126 | -78.4126 | 0.33022 | 0.99949 | 1.0039 | 0.3308 | 0.99994 | 1.0031 | -27.0991 | -120.2379 | 120.0929 | -27.1824 | -120.2033 | 120.0981
Line_3 | 0.00060007 | 0.00060007 | 0.00060007 | 0.00060007 | 0.00060007 | 0.00060007 | 0.006929 | 0.006929 | 0.006929 | 0.006929 | 0.006929 | 0.006929 | 0.0014284 | 0.0051654 | -0.0065938 | 0.0014284 | 0.0051654 | -0.0065938 | 0.0017875 | -0.0046131 | -0.0022144 | 0.0017875 | -0.0046131 | -0.0022144 | -78.4707 | -78.4707 | -78.4707 | -78.4707 | -78.4707 | -78.4707 | 0.33022 | 0.99949 | 1.0039 | 0.33022 | 0.99949 | 1.0039 | -27.0991 | -120.2379 | 120.0929 | -27.0991 | -120.2379 | 120.0929

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073892 | 0.0073892 | 0.0073892 | 0.005544 | 0.005544 | 0.005544 | 0.085323 | 0.085323 | 0.085323 | 0.064017 | 0.064017 | 0.064017 | 0.00054259 | -1.5776e-06 | -1.5776e-06 | -0.00034225 | 0.00013325 | 0.00013325 | -0.094169 | -0.00057301 | -0.00057301 | 0.070706 | 0.00048265 | 0.00048265 | 89.6826 | 89.6826 | 89.6826 | -90.3723 | -90.3723 | -90.3723 | 1.1037 | 0.0067158 | 0.0067158 | 1.1045 | 0.0078215 | 0.0078215 | 0.012704 | -0.47518 | -0.47518 | -0.094936 | -15.8065 | -15.8065
Line_1 | 0.0009242 | 0.0009242 | 0.0009242 | 0.002772 | 0.002772 | 0.002772 | 0.010672 | 0.010672 | 0.010672 | 0.032008 | 0.032008 | 0.032008 | -5.6967e-05 | 2.8483e-05 | 2.8483e-05 | 0.00017113 | -6.6627e-05 | -6.6627e-05 | 0.011789 | 8.2982e-05 | 8.2982e-05 | -0.035353 | -0.00024133 | -0.00024133 | -90.4025 | -90.4025 | -90.4025 | 89.6277 | 89.6277 | 89.6277 | 1.1047 | 0.0082212 | 0.0082212 | 1.1045 | 0.0078215 | 0.0078215 | -0.12568 | -19.3472 | -19.3472 | -0.094936 | -15.8065 | -15.8065
Line_2 | 0.0009242 | 0.0009242 | 0.0009242 | 0.002772 | 0.002772 | 0.002772 | 0.010672 | 0.010672 | 0.010672 | 0.032008 | 0.032008 | 0.032008 | -5.6967e-05 | 2.8483e-05 | 2.8483e-05 | 0.00017113 | -6.6627e-05 | -6.6627e-05 | 0.011789 | 8.2982e-05 | 8.2982e-05 | -0.035353 | -0.00024133 | -0.00024133 | -90.4025 | -90.4025 | -90.4025 | 89.6277 | 89.6277 | 89.6277 | 1.1047 | 0.0082212 | 0.0082212 | 1.1045 | 0.0078215 | 0.0078215 | -0.12568 | -19.3472 | -19.3472 | -0.094936 | -15.8065 | -15.8065
Line_3 | 0.0009242 | 0.0009242 | 0.0009242 | 0.0009242 | 0.0009242 | 0.0009242 | 0.010672 | 0.010672 | 0.010672 | 0.010672 | 0.010672 | 0.010672 | 5.6967e-05 | -2.8483e-05 | -2.8483e-05 | 5.6967e-05 | -2.8483e-05 | -2.8483e-05 | -0.011789 | -8.2982e-05 | -8.2982e-05 | -0.011789 | -8.2982e-05 | -8.2982e-05 | 89.5975 | 89.5975 | 89.5975 | 89.5975 | 89.5975 | 89.5975 | 1.1047 | 0.0082212 | 0.0082212 | 1.1047 | 0.0082212 | 0.0082212 | -0.12568 | -19.3472 | -19.3472 | -0.12568 | -19.3472 | -19.3472

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073892 | 0.0073892 | 0.0073892 | 0.005544 | 0.005544 | 0.005544 | 0.085323 | 0.085323 | 0.085323 | 0.064017 | 0.064017 | 0.064017 | 0.00054259 | -1.5776e-06 | -1.5776e-06 | -0.00034225 | 0.00013325 | 0.00013325 | -0.094169 | -0.00057301 | -0.00057301 | 0.070706 | 0.00048265 | 0.00048265 | 89.6826 | 89.6826 | 89.6826 | -90.3723 | -90.3723 | -90.3723 | 1.1037 | 0.0067158 | 0.0067158 | 1.1045 | 0.0078215 | 0.0078215 | 0.012704 | -0.47518 | -0.47518 | -0.094936 | -15.8065 | -15.8065
Line_1 | 0.0009242 | 0.0009242 | 0.0009242 | 0.002772 | 0.002772 | 0.002772 | 0.010672 | 0.010672 | 0.010672 | 0.032008 | 0.032008 | 0.032008 | -5.6967e-05 | 2.8483e-05 | 2.8483e-05 | 0.00017113 | -6.6627e-05 | -6.6627e-05 | 0.011789 | 8.2982e-05 | 8.2982e-05 | -0.035353 | -0.00024133 | -0.00024133 | -90.4025 | -90.4025 | -90.4025 | 89.6277 | 89.6277 | 89.6277 | 1.1047 | 0.0082212 | 0.0082212 | 1.1045 | 0.0078215 | 0.0078215 | -0.12568 | -19.3472 | -19.3472 | -0.094936 | -15.8065 | -15.8065
Line_2 | 0.0009242 | 0.0009242 | 0.0009242 | 0.002772 | 0.002772 | 0.002772 | 0.010672 | 0.010672 | 0.010672 | 0.032008 | 0.032008 | 0.032008 | -5.6967e-05 | 2.8483e-05 | 2.8483e-05 | 0.00017113 | -6.6627e-05 | -6.6627e-05 | 0.011789 | 8.2982e-05 | 8.2982e-05 | -0.035353 | -0.00024133 | -0.00024133 | -90.4025 | -90.4025 | -90.4025 | 89.6277 | 89.6277 | 89.6277 | 1.1047 | 0.0082212 | 0.0082212 | 1.1045 | 0.0078215 | 0.0078215 | -0.12568 | -19.3472 | -19.3472 | -0.094936 | -15.8065 | -15.8065
Line_3 | 0.0009242 | 0.0009242 | 0.0009242 | 0.0009242 | 0.0009242 | 0.0009242 | 0.010672 | 0.010672 | 0.010672 | 0.010672 | 0.010672 | 0.010672 | 5.6967e-05 | -2.8483e-05 | -2.8483e-05 | 5.6967e-05 | -2.8483e-05 | -2.8483e-05 | -0.011789 | -8.2982e-05 | -8.2982e-05 | -0.011789 | -8.2982e-05 | -8.2982e-05 | 89.5975 | 89.5975 | 89.5975 | 89.5975 | 89.5975 | 89.5975 | 1.1047 | 0.0082212 | 0.0082212 | 1.1047 | 0.0082212 | 0.0082212 | -0.12568 | -19.3472 | -19.3472 | -0.12568 | -19.3472 | -19.3472

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050847 | 0.0050847 | 0.0050847 | 0.003815 | 0.003815 | 0.003815 | 0.058713 | 0.058713 | 0.058713 | 0.044052 | 0.044052 | 0.044052 | -0.014684 | -0.0084406 | 0.02338 | 0.011035 | 0.0064113 | -0.017482 | -0.063039 | 0.021852 | -0.003946 | 0.047333 | -0.016364 | 0.0029688 | 103.1519 | 103.1519 | 103.1519 | -76.903 | -76.903 | -76.903 | 1.1024 | 0.39899 | 0.40385 | 1.1033 | 0.39897 | 0.40254 | 0.039223 | -145.7286 | 93.5722 | -0.026168 | -145.5085 | 93.4591
Line_1 | 0.00063596 | 0.00063596 | 0.00063596 | 0.0019075 | 0.0019075 | 0.0019075 | 0.0073435 | 0.0073435 | 0.0073435 | 0.022026 | 0.022026 | 0.022026 | 0.0018384 | 0.0010732 | -0.0029116 | -0.0055174 | -0.0032057 | 0.008741 | 0.0078926 | -0.0027262 | 0.00049455 | -0.023666 | 0.0081822 | -0.0014844 | -76.9332 | -76.9333 | -76.9333 | 103.097 | 103.097 | 103.097 | 1.1036 | 0.39897 | 0.40216 | 1.1033 | 0.39897 | 0.40254 | -0.044846 | -145.4456 | 93.4267 | -0.026168 | -145.5085 | 93.4591
Line_2 | 0.00063596 | 0.00063596 | 0.00063596 | 0.0019075 | 0.0019075 | 0.0019075 | 0.0073435 | 0.0073435 | 0.0073435 | 0.022026 | 0.022026 | 0.022026 | 0.0018384 | 0.0010732 | -0.0029116 | -0.0055174 | -0.0032057 | 0.008741 | 0.0078926 | -0.0027262 | 0.00049455 | -0.023666 | 0.0081822 | -0.0014844 | -76.9332 | -76.9333 | -76.9333 | 103.097 | 103.097 | 103.097 | 1.1036 | 0.39897 | 0.40216 | 1.1033 | 0.39897 | 0.40254 | -0.044846 | -145.4456 | 93.4267 | -0.026168 | -145.5085 | 93.4591
Line_3 | 0.00063596 | 0.00063596 | 0.00063596 | 0.00063596 | 0.00063596 | 0.00063596 | 0.0073435 | 0.0073435 | 0.0073435 | 0.0073435 | 0.0073435 | 0.0073435 | -0.0018384 | -0.0010732 | 0.0029116 | -0.0018384 | -0.0010732 | 0.0029116 | -0.0078926 | 0.0027262 | -0.00049455 | -0.0078926 | 0.0027262 | -0.00049455 | 103.0668 | 103.0668 | 103.0668 | 103.0668 | 103.0668 | 103.0668 | 1.1036 | 0.39897 | 0.40216 | 1.1036 | 0.39897 | 0.40216 | -0.044846 | -145.4456 | 93.4267 | -0.044846 | -145.4456 | 93.4267

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050847 | 0.0050847 | 0.0050847 | 0.003815 | 0.003815 | 0.003815 | 0.058713 | 0.058713 | 0.058713 | 0.044052 | 0.044052 | 0.044052 | -0.014684 | -0.0084406 | 0.02338 | 0.011035 | 0.0064113 | -0.017482 | -0.063039 | 0.021852 | -0.003946 | 0.047333 | -0.016364 | 0.0029688 | 103.1519 | 103.1519 | 103.1519 | -76.903 | -76.903 | -76.903 | 1.1024 | 0.39899 | 0.40385 | 1.1033 | 0.39897 | 0.40254 | 0.039223 | -145.7286 | 93.5722 | -0.026168 | -145.5085 | 93.4591
Line_1 | 0.00063596 | 0.00063596 | 0.00063596 | 0.0019075 | 0.0019075 | 0.0019075 | 0.0073435 | 0.0073435 | 0.0073435 | 0.022026 | 0.022026 | 0.022026 | 0.0018384 | 0.0010732 | -0.0029116 | -0.0055174 | -0.0032057 | 0.008741 | 0.0078926 | -0.0027262 | 0.00049455 | -0.023666 | 0.0081822 | -0.0014844 | -76.9332 | -76.9333 | -76.9333 | 103.097 | 103.097 | 103.097 | 1.1036 | 0.39897 | 0.40216 | 1.1033 | 0.39897 | 0.40254 | -0.044846 | -145.4456 | 93.4267 | -0.026168 | -145.5085 | 93.4591
Line_2 | 0.00063596 | 0.00063596 | 0.00063596 | 0.0019075 | 0.0019075 | 0.0019075 | 0.0073435 | 0.0073435 | 0.0073435 | 0.022026 | 0.022026 | 0.022026 | 0.0018384 | 0.0010732 | -0.0029116 | -0.0055174 | -0.0032057 | 0.008741 | 0.0078926 | -0.0027262 | 0.00049455 | -0.023666 | 0.0081822 | -0.0014844 | -76.9332 | -76.9333 | -76.9333 | 103.097 | 103.097 | 103.097 | 1.1036 | 0.39897 | 0.40216 | 1.1033 | 0.39897 | 0.40254 | -0.044846 | -145.4456 | 93.4267 | -0.026168 | -145.5085 | 93.4591
Line_3 | 0.00063596 | 0.00063596 | 0.00063596 | 0.00063596 | 0.00063596 | 0.00063596 | 0.0073435 | 0.0073435 | 0.0073435 | 0.0073435 | 0.0073435 | 0.0073435 | -0.0018384 | -0.0010732 | 0.0029116 | -0.0018384 | -0.0010732 | 0.0029116 | -0.0078926 | 0.0027262 | -0.00049455 | -0.0078926 | 0.0027262 | -0.00049455 | 103.0668 | 103.0668 | 103.0668 | 103.0668 | 103.0668 | 103.0668 | 1.1036 | 0.39897 | 0.40216 | 1.1036 | 0.39897 | 0.40216 | -0.044846 | -145.4456 | 93.4267 | -0.044846 | -145.4456 | 93.4267

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067132 | 0.0067132 | 0.0067132 | 0.0050368 | 0.0050368 | 0.0050368 | 0.077517 | 0.077517 | 0.077517 | 0.05816 | 0.05816 | 0.05816 | 0.00086 | -2.5646e-06 | -2.5646e-06 | -0.0005425 | 0.00021123 | 0.00021123 | -0.077738 | -0.00046772 | -0.00046772 | 0.058368 | 0.00039449 | 0.00039449 | 89.3782 | 89.3782 | 89.3782 | -90.7271 | -90.7272 | -90.7272 | 1.0029 | 0.0060338 | 0.0060338 | 1.0036 | 0.007694 | 0.007694 | 0.011994 | -0.936 | -0.936 | -0.19463 | -28.894 | -28.894
Line_1 | 0.00083964 | 0.00083964 | 0.00083964 | 0.0025184 | 0.0025184 | 0.0025184 | 0.0096953 | 0.0096953 | 0.0096953 | 0.02908 | 0.02908 | 0.02908 | -9.0298e-05 | 4.5149e-05 | 4.5149e-05 | 0.00027125 | -0.00010562 | -0.00010562 | 0.0097319 | 6.7871e-05 | 6.7871e-05 | -0.029184 | -0.00019725 | -0.00019725 | -90.7852 | -90.7853 | -90.7853 | 89.2729 | 89.2728 | 89.2728 | 1.0038 | 0.0084077 | 0.0084077 | 1.0036 | 0.007694 | 0.007694 | -0.25364 | -34.4179 | -34.4179 | -0.19463 | -28.894 | -28.894
Line_2 | 0.00083964 | 0.00083964 | 0.00083964 | 0.0025184 | 0.0025184 | 0.0025184 | 0.0096953 | 0.0096953 | 0.0096953 | 0.02908 | 0.02908 | 0.02908 | -9.0298e-05 | 4.5149e-05 | 4.5149e-05 | 0.00027125 | -0.00010562 | -0.00010562 | 0.0097319 | 6.7871e-05 | 6.7871e-05 | -0.029184 | -0.00019725 | -0.00019725 | -90.7852 | -90.7853 | -90.7853 | 89.2729 | 89.2728 | 89.2728 | 1.0038 | 0.0084077 | 0.0084077 | 1.0036 | 0.007694 | 0.007694 | -0.25364 | -34.4179 | -34.4179 | -0.19463 | -28.894 | -28.894
Line_3 | 0.00083964 | 0.00083964 | 0.00083964 | 0.00083964 | 0.00083964 | 0.00083964 | 0.0096953 | 0.0096953 | 0.0096953 | 0.0096953 | 0.0096953 | 0.0096953 | 9.0298e-05 | -4.5149e-05 | -4.5149e-05 | 9.0298e-05 | -4.5149e-05 | -4.5149e-05 | -0.0097319 | -6.7871e-05 | -6.7871e-05 | -0.0097319 | -6.7871e-05 | -6.7871e-05 | 89.2148 | 89.2148 | 89.2148 | 89.2148 | 89.2148 | 89.2148 | 1.0038 | 0.0084077 | 0.0084077 | 1.0038 | 0.0084077 | 0.0084077 | -0.25364 | -34.4179 | -34.4179 | -0.25364 | -34.4179 | -34.4179

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067132 | 0.0067132 | 0.0067132 | 0.0050368 | 0.0050368 | 0.0050368 | 0.077517 | 0.077517 | 0.077517 | 0.05816 | 0.05816 | 0.05816 | 0.00086 | -2.5646e-06 | -2.5646e-06 | -0.0005425 | 0.00021123 | 0.00021123 | -0.077738 | -0.00046772 | -0.00046772 | 0.058368 | 0.00039449 | 0.00039449 | 89.3782 | 89.3782 | 89.3782 | -90.7271 | -90.7272 | -90.7272 | 1.0029 | 0.0060338 | 0.0060338 | 1.0036 | 0.007694 | 0.007694 | 0.011994 | -0.936 | -0.936 | -0.19463 | -28.894 | -28.894
Line_1 | 0.00083964 | 0.00083964 | 0.00083964 | 0.0025184 | 0.0025184 | 0.0025184 | 0.0096953 | 0.0096953 | 0.0096953 | 0.02908 | 0.02908 | 0.02908 | -9.0298e-05 | 4.5149e-05 | 4.5149e-05 | 0.00027125 | -0.00010562 | -0.00010562 | 0.0097319 | 6.7871e-05 | 6.7871e-05 | -0.029184 | -0.00019725 | -0.00019725 | -90.7852 | -90.7853 | -90.7853 | 89.2729 | 89.2728 | 89.2728 | 1.0038 | 0.0084077 | 0.0084077 | 1.0036 | 0.007694 | 0.007694 | -0.25364 | -34.4179 | -34.4179 | -0.19463 | -28.894 | -28.894
Line_2 | 0.00083964 | 0.00083964 | 0.00083964 | 0.0025184 | 0.0025184 | 0.0025184 | 0.0096953 | 0.0096953 | 0.0096953 | 0.02908 | 0.02908 | 0.02908 | -9.0298e-05 | 4.5149e-05 | 4.5149e-05 | 0.00027125 | -0.00010562 | -0.00010562 | 0.0097319 | 6.7871e-05 | 6.7871e-05 | -0.029184 | -0.00019725 | -0.00019725 | -90.7852 | -90.7853 | -90.7853 | 89.2729 | 89.2728 | 89.2728 | 1.0038 | 0.0084077 | 0.0084077 | 1.0036 | 0.007694 | 0.007694 | -0.25364 | -34.4179 | -34.4179 | -0.19463 | -28.894 | -28.894
Line_3 | 0.00083964 | 0.00083964 | 0.00083964 | 0.00083964 | 0.00083964 | 0.00083964 | 0.0096953 | 0.0096953 | 0.0096953 | 0.0096953 | 0.0096953 | 0.0096953 | 9.0298e-05 | -4.5149e-05 | -4.5149e-05 | 9.0298e-05 | -4.5149e-05 | -4.5149e-05 | -0.0097319 | -6.7871e-05 | -6.7871e-05 | -0.0097319 | -6.7871e-05 | -6.7871e-05 | 89.2148 | 89.2148 | 89.2148 | 89.2148 | 89.2148 | 89.2148 | 1.0038 | 0.0084077 | 0.0084077 | 1.0038 | 0.0084077 | 0.0084077 | -0.25364 | -34.4179 | -34.4179 | -0.25364 | -34.4179 | -34.4179

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048085 | 0.0048085 | 0.0048085 | 0.0036077 | 0.0036077 | 0.0036077 | 0.055524 | 0.055524 | 0.055524 | 0.041658 | 0.041658 | 0.041658 | -0.011257 | -0.0067351 | 0.018431 | 0.0084787 | 0.0051846 | -0.013725 | -0.054484 | 0.017153 | -0.0030323 | 0.040916 | -0.012838 | 0.002272 | 101.7078 | 101.7078 | 101.7078 | -78.3976 | -78.3976 | -78.3976 | 1.002 | 0.33189 | 0.33641 | 1.003 | 0.33235 | 0.33394 | 0.033814 | -146.855 | 92.3651 | -0.10474 | -146.4064 | 92.203
Line_1 | 0.00060141 | 0.00060141 | 0.00060141 | 0.0018039 | 0.0018039 | 0.0018039 | 0.0069445 | 0.0069445 | 0.0069445 | 0.020829 | 0.020829 | 0.020829 | 0.0014116 | 0.00087158 | -0.0022832 | -0.0042393 | -0.0025923 | 0.0068624 | 0.0068233 | -0.0021382 | 0.00037749 | -0.020458 | 0.006419 | -0.001136 | -78.4556 | -78.4557 | -78.4557 | 101.6024 | 101.6024 | 101.6024 | 1.0033 | 0.33249 | 0.33324 | 1.003 | 0.33235 | 0.33394 | -0.1443 | -146.2784 | 92.1564 | -0.10474 | -146.4064 | 92.203
Line_2 | 0.00060141 | 0.00060141 | 0.00060141 | 0.0018039 | 0.0018039 | 0.0018039 | 0.0069445 | 0.0069445 | 0.0069445 | 0.020829 | 0.020829 | 0.020829 | 0.0014116 | 0.00087158 | -0.0022832 | -0.0042393 | -0.0025923 | 0.0068624 | 0.0068233 | -0.0021382 | 0.00037749 | -0.020458 | 0.006419 | -0.001136 | -78.4556 | -78.4557 | -78.4557 | 101.6024 | 101.6024 | 101.6024 | 1.0033 | 0.33249 | 0.33324 | 1.003 | 0.33235 | 0.33394 | -0.1443 | -146.2784 | 92.1564 | -0.10474 | -146.4064 | 92.203
Line_3 | 0.00060141 | 0.00060141 | 0.00060141 | 0.00060141 | 0.00060141 | 0.00060141 | 0.0069445 | 0.0069445 | 0.0069445 | 0.0069445 | 0.0069445 | 0.0069445 | -0.0014116 | -0.00087158 | 0.0022832 | -0.0014116 | -0.00087158 | 0.0022832 | -0.0068233 | 0.0021382 | -0.00037749 | -0.0068233 | 0.0021382 | -0.00037749 | 101.5444 | 101.5444 | 101.5444 | 101.5444 | 101.5444 | 101.5444 | 1.0033 | 0.33249 | 0.33324 | 1.0033 | 0.33249 | 0.33324 | -0.1443 | -146.2784 | 92.1564 | -0.1443 | -146.2784 | 92.1564

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048085 | 0.0048085 | 0.0048085 | 0.0036077 | 0.0036077 | 0.0036077 | 0.055524 | 0.055524 | 0.055524 | 0.041658 | 0.041658 | 0.041658 | -0.011257 | -0.0067351 | 0.018431 | 0.0084787 | 0.0051846 | -0.013725 | -0.054484 | 0.017153 | -0.0030323 | 0.040916 | -0.012838 | 0.002272 | 101.7078 | 101.7078 | 101.7078 | -78.3976 | -78.3976 | -78.3976 | 1.002 | 0.33189 | 0.33641 | 1.003 | 0.33235 | 0.33394 | 0.033814 | -146.855 | 92.3651 | -0.10474 | -146.4064 | 92.203
Line_1 | 0.00060141 | 0.00060141 | 0.00060141 | 0.0018039 | 0.0018039 | 0.0018039 | 0.0069445 | 0.0069445 | 0.0069445 | 0.020829 | 0.020829 | 0.020829 | 0.0014116 | 0.00087158 | -0.0022832 | -0.0042393 | -0.0025923 | 0.0068624 | 0.0068233 | -0.0021382 | 0.00037749 | -0.020458 | 0.006419 | -0.001136 | -78.4556 | -78.4557 | -78.4557 | 101.6024 | 101.6024 | 101.6024 | 1.0033 | 0.33249 | 0.33324 | 1.003 | 0.33235 | 0.33394 | -0.1443 | -146.2784 | 92.1564 | -0.10474 | -146.4064 | 92.203
Line_2 | 0.00060141 | 0.00060141 | 0.00060141 | 0.0018039 | 0.0018039 | 0.0018039 | 0.0069445 | 0.0069445 | 0.0069445 | 0.020829 | 0.020829 | 0.020829 | 0.0014116 | 0.00087158 | -0.0022832 | -0.0042393 | -0.0025923 | 0.0068624 | 0.0068233 | -0.0021382 | 0.00037749 | -0.020458 | 0.006419 | -0.001136 | -78.4556 | -78.4557 | -78.4557 | 101.6024 | 101.6024 | 101.6024 | 1.0033 | 0.33249 | 0.33324 | 1.003 | 0.33235 | 0.33394 | -0.1443 | -146.2784 | 92.1564 | -0.10474 | -146.4064 | 92.203
Line_3 | 0.00060141 | 0.00060141 | 0.00060141 | 0.00060141 | 0.00060141 | 0.00060141 | 0.0069445 | 0.0069445 | 0.0069445 | 0.0069445 | 0.0069445 | 0.0069445 | -0.0014116 | -0.00087158 | 0.0022832 | -0.0014116 | -0.00087158 | 0.0022832 | -0.0068233 | 0.0021382 | -0.00037749 | -0.0068233 | 0.0021382 | -0.00037749 | 101.5444 | 101.5444 | 101.5444 | 101.5444 | 101.5444 | 101.5444 | 1.0033 | 0.33249 | 0.33324 | 1.0033 | 0.33249 | 0.33324 | -0.1443 | -146.2784 | 92.1564 | -0.1443 | -146.2784 | 92.1564