## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.337e-14 | 2.6053e-14 | -3.6475e-14 | 6.7738e-14 | -2.3447e-14 | 3.6475e-14 | 1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 1.0338e-27 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.3639e-13 | -180 | 180 | 8.7445e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2109e-15 | 1.5632e-14 | 0 | -2.6055e-15 | -5.2108e-15 | -1.5986e-28 | -1.9211e-09 | 1.9211e-09 | 0 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.7888e-13 | -180 | 180 | 8.7445e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2104e-15 | 5.2109e-15 | -1.0421e-14 | 1.8237e-14 | -5.2108e-15 | 0 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.8804e-13 | -180 | 180 | 8.7445e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.3027e-14 | 5.2106e-15 | 0 | -5.2106e-15 | 1.0421e-14 | 5.2106e-15 | -5.2106e-15 | -5.5652e-25 | 0 | -2.6053e-15 | -1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.7888e-13 | -180 | 180 | 8.8804e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.337e-14 | 2.6053e-14 | -3.6475e-14 | 6.7738e-14 | -2.3447e-14 | 3.6475e-14 | 1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 1.0338e-27 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.3639e-13 | -180 | 180 | 8.7445e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2109e-15 | 1.5632e-14 | 0 | -2.6055e-15 | -5.2108e-15 | -1.5986e-28 | -1.9211e-09 | 1.9211e-09 | 0 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.7888e-13 | -180 | 180 | 8.7445e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2104e-15 | 5.2109e-15 | -1.0421e-14 | 1.8237e-14 | -5.2108e-15 | 0 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.8804e-13 | -180 | 180 | 8.7445e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.3027e-14 | 5.2106e-15 | 0 | -5.2106e-15 | 1.0421e-14 | 5.2106e-15 | -5.2106e-15 | -5.5652e-25 | 0 | -2.6053e-15 | -1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.7888e-13 | -180 | 180 | 8.8804e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | -7.3079e-10 | -2.0393e-09 | 2.6053e-14 | 7.308e-10 | 2.0393e-09 | -5.2106e-15 | 5.8225e-09 | -3.5561e-09 | 1.0421e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.7367e-13 | -164.9034 | 158.1097 | 7.0101e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.436e-10 | 6.7977e-10 | -1.5632e-14 | -2.436e-10 | -6.7979e-10 | 0 | -1.9408e-09 | 1.1854e-09 | 5.2106e-15 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 7.0699e-13 | -164.9034 | 158.1097 | 7.0101e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 2.4358e-10 | 6.7978e-10 | -2.6053e-14 | -2.4358e-10 | -6.7978e-10 | -1.0421e-14 | -1.9408e-09 | 1.1854e-09 | 1.5632e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 7.1511e-13 | -164.9034 | 158.1097 | 7.0101e-13 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 2.7464e-14 | 0 | 1.3007e-28 | -2.0388e-14 | -1.1736e-14 | 1.0421e-14 | -2.6249e-15 | 0 | -1.0421e-14 | 1.1892e-15 | -5.0083e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 7.0699e-13 | -164.9034 | 158.1097 | 7.1511e-13 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | -7.3079e-10 | -2.0393e-09 | 2.6053e-14 | 7.308e-10 | 2.0393e-09 | -5.2106e-15 | 5.8225e-09 | -3.5561e-09 | 1.0421e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.7367e-13 | -164.9034 | 158.1097 | 7.0101e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.436e-10 | 6.7977e-10 | -1.5632e-14 | -2.436e-10 | -6.7979e-10 | 0 | -1.9408e-09 | 1.1854e-09 | 5.2106e-15 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 7.0699e-13 | -164.9034 | 158.1097 | 7.0101e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 2.4358e-10 | 6.7978e-10 | -2.6053e-14 | -2.4358e-10 | -6.7978e-10 | -1.0421e-14 | -1.9408e-09 | 1.1854e-09 | 1.5632e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 7.1511e-13 | -164.9034 | 158.1097 | 7.0101e-13 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 2.7464e-14 | 0 | 1.3007e-28 | -2.0388e-14 | -1.1736e-14 | 1.0421e-14 | -2.6249e-15 | 0 | -1.0421e-14 | 1.1892e-15 | -5.0083e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 7.0699e-13 | -164.9034 | 158.1097 | 7.1511e-13 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.5527e-14 | 2.6053e-14 | -7.1054e-15 | -3.5526e-14 | -2.3684e-14 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.722e-13 | -180 | 180 | 6.9636e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -2.1316e-14 | -2.3681e-15 | 7.1054e-15 | 2.1316e-14 | 4.7367e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9292e-13 | -180 | 180 | 6.9636e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -2.1316e-14 | -7.1051e-15 | 1.1842e-14 | 2.1316e-14 | 9.4736e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9375e-13 | -180 | 180 | 6.9636e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.3685e-15 | 0 | -7.1054e-15 | 2.0056e-24 | -2.0068e-24 | -4.737e-15 | 9.4739e-15 | 0 | -8.6034e-29 | -9.4739e-15 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9292e-13 | -180 | 180 | 6.9375e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.5527e-14 | 2.6053e-14 | -7.1054e-15 | -3.5526e-14 | -2.3684e-14 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.722e-13 | -180 | 180 | 6.9636e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -2.1316e-14 | -2.3681e-15 | 7.1054e-15 | 2.1316e-14 | 4.7367e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9292e-13 | -180 | 180 | 6.9636e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -2.1316e-14 | -7.1051e-15 | 1.1842e-14 | 2.1316e-14 | 9.4736e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9375e-13 | -180 | 180 | 6.9636e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.3685e-15 | 0 | -7.1054e-15 | 2.0056e-24 | -2.0068e-24 | -4.737e-15 | 9.4739e-15 | 0 | -8.6034e-29 | -9.4739e-15 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9292e-13 | -180 | 180 | 6.9375e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | -5.5592e-10 | -1.5514e-09 | -2.3685e-15 | 5.5592e-10 | 1.5514e-09 | -1.1842e-14 | 4.8331e-09 | -3.1089e-09 | 9.4739e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4017e-13 | -166.2936 | 160.6236 | 5.4991e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.8531e-10 | 5.1715e-10 | 7.1054e-15 | -1.8531e-10 | -5.1715e-10 | -4.4931e-29 | -1.6111e-09 | 1.0363e-09 | -4.737e-15 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4346e-13 | -166.2936 | 160.6236 | 5.4991e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.8531e-10 | 5.1715e-10 | 7.1054e-15 | -1.853e-10 | -5.1715e-10 | -4.4968e-29 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4391e-13 | -166.2936 | 160.6236 | 5.4991e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2465e-29 | 5.5943e-15 | 7.8905e-16 | 2.2484e-29 | -2.1491e-15 | 2.5151e-15 | -2.3685e-15 | 1.3644e-15 | 8.4413e-15 | -2.3685e-15 | -9.4148e-15 | -5.244e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4346e-13 | -166.2936 | 160.6236 | 5.4391e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | -5.5592e-10 | -1.5514e-09 | -2.3685e-15 | 5.5592e-10 | 1.5514e-09 | -1.1842e-14 | 4.8331e-09 | -3.1089e-09 | 9.4739e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4017e-13 | -166.2936 | 160.6236 | 5.4991e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.8531e-10 | 5.1715e-10 | 7.1054e-15 | -1.8531e-10 | -5.1715e-10 | -4.4931e-29 | -1.6111e-09 | 1.0363e-09 | -4.737e-15 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4346e-13 | -166.2936 | 160.6236 | 5.4991e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.8531e-10 | 5.1715e-10 | 7.1054e-15 | -1.853e-10 | -5.1715e-10 | -4.4968e-29 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4391e-13 | -166.2936 | 160.6236 | 5.4991e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2465e-29 | 5.5943e-15 | 7.8905e-16 | 2.2484e-29 | -2.1491e-15 | 2.5151e-15 | -2.3685e-15 | 1.3644e-15 | 8.4413e-15 | -2.3685e-15 | -9.4148e-15 | -5.244e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4346e-13 | -166.2936 | 160.6236 | 5.4391e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071753 | 0.0071753 | 0.0071753 | 0.0053835 | 0.0053835 | 0.0053835 | 0.082853 | 0.082853 | 0.082853 | 0.062163 | 0.062163 | 0.062163 | -0.00078053 | 0.079535 | -0.078246 | 0.00071071 | -0.05958 | 0.058797 | 0.00023873 | -0.042617 | -0.047497 | -0.00012884 | 0.031968 | 0.035742 | -91.7714 | -91.7714 | -91.7714 | 88.1737 | 88.1737 | 88.1737 | 0.0098515 | 1.0891 | 1.1048 | 0.011619 | 1.0877 | 1.1069 | 71.2218 | -119.9552 | 119.4873 | 77.8988 | -120.0422 | 119.4686
Line_1 | 0.00089744 | 0.00089744 | 0.00089744 | 0.0026918 | 0.0026918 | 0.0026918 | 0.010363 | 0.010363 | 0.010363 | 0.031082 | 0.031082 | 0.031082 | 0.00012444 | -0.0099289 | 0.0098044 | -0.00035536 | 0.02979 | -0.029399 | -1.9047e-05 | 0.0053262 | 0.0059658 | 6.4419e-05 | -0.015984 | -0.017871 | 88.1434 | 88.1435 | 88.1435 | -91.8263 | -91.8263 | -91.8263 | 0.012148 | 1.0873 | 1.1075 | 0.011619 | 1.0877 | 1.1069 | 79.4413 | -120.0672 | 119.4632 | 77.8988 | -120.0422 | 119.4686
Line_2 | 0.00089744 | 0.00089744 | 0.00089744 | 0.0026918 | 0.0026918 | 0.0026918 | 0.010363 | 0.010363 | 0.010363 | 0.031082 | 0.031082 | 0.031082 | 0.00012444 | -0.0099289 | 0.0098044 | -0.00035536 | 0.02979 | -0.029399 | -1.9047e-05 | 0.0053262 | 0.0059658 | 6.4419e-05 | -0.015984 | -0.017871 | 88.1434 | 88.1435 | 88.1435 | -91.8263 | -91.8263 | -91.8263 | 0.012148 | 1.0873 | 1.1075 | 0.011619 | 1.0877 | 1.1069 | 79.4413 | -120.0672 | 119.4632 | 77.8988 | -120.0422 | 119.4686
Line_3 | 0.00089744 | 0.00089744 | 0.00089744 | 0.00089744 | 0.00089744 | 0.00089744 | 0.010363 | 0.010363 | 0.010363 | 0.010363 | 0.010363 | 0.010363 | -0.00012444 | 0.0099289 | -0.0098044 | -0.00012444 | 0.0099289 | -0.0098044 | 1.9047e-05 | -0.0053262 | -0.0059658 | 1.9047e-05 | -0.0053262 | -0.0059658 | -91.8565 | -91.8565 | -91.8565 | -91.8565 | -91.8565 | -91.8565 | 0.012148 | 1.0873 | 1.1075 | 0.012148 | 1.0873 | 1.1075 | 79.4413 | -120.0672 | 119.4632 | 79.4413 | -120.0672 | 119.4632

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071753 | 0.0071753 | 0.0071753 | 0.0053835 | 0.0053835 | 0.0053835 | 0.082853 | 0.082853 | 0.082853 | 0.062163 | 0.062163 | 0.062163 | -0.00078053 | 0.079535 | -0.078246 | 0.00071071 | -0.05958 | 0.058797 | 0.00023873 | -0.042617 | -0.047497 | -0.00012884 | 0.031968 | 0.035742 | -91.7714 | -91.7714 | -91.7714 | 88.1737 | 88.1737 | 88.1737 | 0.0098515 | 1.0891 | 1.1048 | 0.011619 | 1.0877 | 1.1069 | 71.2218 | -119.9552 | 119.4873 | 77.8988 | -120.0422 | 119.4686
Line_1 | 0.00089744 | 0.00089744 | 0.00089744 | 0.0026918 | 0.0026918 | 0.0026918 | 0.010363 | 0.010363 | 0.010363 | 0.031082 | 0.031082 | 0.031082 | 0.00012444 | -0.0099289 | 0.0098044 | -0.00035536 | 0.02979 | -0.029399 | -1.9047e-05 | 0.0053262 | 0.0059658 | 6.4419e-05 | -0.015984 | -0.017871 | 88.1434 | 88.1435 | 88.1435 | -91.8263 | -91.8263 | -91.8263 | 0.012148 | 1.0873 | 1.1075 | 0.011619 | 1.0877 | 1.1069 | 79.4413 | -120.0672 | 119.4632 | 77.8988 | -120.0422 | 119.4686
Line_2 | 0.00089744 | 0.00089744 | 0.00089744 | 0.0026918 | 0.0026918 | 0.0026918 | 0.010363 | 0.010363 | 0.010363 | 0.031082 | 0.031082 | 0.031082 | 0.00012444 | -0.0099289 | 0.0098044 | -0.00035536 | 0.02979 | -0.029399 | -1.9047e-05 | 0.0053262 | 0.0059658 | 6.4419e-05 | -0.015984 | -0.017871 | 88.1434 | 88.1435 | 88.1435 | -91.8263 | -91.8263 | -91.8263 | 0.012148 | 1.0873 | 1.1075 | 0.011619 | 1.0877 | 1.1069 | 79.4413 | -120.0672 | 119.4632 | 77.8988 | -120.0422 | 119.4686
Line_3 | 0.00089744 | 0.00089744 | 0.00089744 | 0.00089744 | 0.00089744 | 0.00089744 | 0.010363 | 0.010363 | 0.010363 | 0.010363 | 0.010363 | 0.010363 | -0.00012444 | 0.0099289 | -0.0098044 | -0.00012444 | 0.0099289 | -0.0098044 | 1.9047e-05 | -0.0053262 | -0.0059658 | 1.9047e-05 | -0.0053262 | -0.0059658 | -91.8565 | -91.8565 | -91.8565 | -91.8565 | -91.8565 | -91.8565 | 0.012148 | 1.0873 | 1.1075 | 0.012148 | 1.0873 | 1.1075 | 79.4413 | -120.0672 | 119.4632 | 79.4413 | -120.0672 | 119.4632

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049417 | 0.0049417 | 0.0049417 | 0.0037077 | 0.0037077 | 0.0037077 | 0.057062 | 0.057062 | 0.057062 | 0.042813 | 0.042813 | 0.042813 | 0.01366 | 0.046527 | -0.059945 | -0.010176 | -0.034879 | 0.045021 | 0.018376 | -0.041496 | -0.01951 | -0.013773 | 0.031124 | 0.014705 | -78.3326 | -78.3326 | -78.3326 | 101.6126 | 101.6126 | 101.6126 | 0.40126 | 1.0925 | 1.1048 | 0.39999 | 1.0919 | 1.1062 | -24.9584 | -120.0618 | 119.6958 | -24.8462 | -120.1316 | 119.7006
Line_1 | 0.00061808 | 0.00061808 | 0.00061808 | 0.0018539 | 0.0018539 | 0.0018539 | 0.007137 | 0.007137 | 0.007137 | 0.021407 | 0.021407 | 0.021407 | -0.0016924 | -0.0058143 | 0.0075067 | 0.0050882 | 0.017439 | -0.022511 | -0.0022958 | 0.0051865 | 0.0024564 | 0.0068866 | -0.015562 | -0.0073524 | 101.5823 | 101.5823 | 101.5823 | -78.3874 | -78.3874 | -78.3874 | 0.39963 | 1.0917 | 1.1067 | 0.39999 | 1.0919 | 1.1062 | -24.814 | -120.1516 | 119.702 | -24.8462 | -120.1316 | 119.7006
Line_2 | 0.00061808 | 0.00061808 | 0.00061808 | 0.0018539 | 0.0018539 | 0.0018539 | 0.007137 | 0.007137 | 0.007137 | 0.021407 | 0.021407 | 0.021407 | -0.0016924 | -0.0058143 | 0.0075067 | 0.0050882 | 0.017439 | -0.022511 | -0.0022958 | 0.0051865 | 0.0024564 | 0.0068866 | -0.015562 | -0.0073524 | 101.5823 | 101.5823 | 101.5823 | -78.3874 | -78.3874 | -78.3874 | 0.39963 | 1.0917 | 1.1067 | 0.39999 | 1.0919 | 1.1062 | -24.814 | -120.1516 | 119.702 | -24.8462 | -120.1316 | 119.7006
Line_3 | 0.00061808 | 0.00061808 | 0.00061808 | 0.00061808 | 0.00061808 | 0.00061808 | 0.007137 | 0.007137 | 0.007137 | 0.007137 | 0.007137 | 0.007137 | 0.0016924 | 0.0058143 | -0.0075067 | 0.0016924 | 0.0058143 | -0.0075067 | 0.0022958 | -0.0051865 | -0.0024564 | 0.0022958 | -0.0051865 | -0.0024564 | -78.4177 | -78.4177 | -78.4177 | -78.4177 | -78.4177 | -78.4177 | 0.39963 | 1.0917 | 1.1067 | 0.39963 | 1.0917 | 1.1067 | -24.814 | -120.1516 | 119.702 | -24.814 | -120.1516 | 119.702

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049417 | 0.0049417 | 0.0049417 | 0.0037077 | 0.0037077 | 0.0037077 | 0.057062 | 0.057062 | 0.057062 | 0.042813 | 0.042813 | 0.042813 | 0.01366 | 0.046527 | -0.059945 | -0.010176 | -0.034879 | 0.045021 | 0.018376 | -0.041496 | -0.01951 | -0.013773 | 0.031124 | 0.014705 | -78.3326 | -78.3326 | -78.3326 | 101.6126 | 101.6126 | 101.6126 | 0.40126 | 1.0925 | 1.1048 | 0.39999 | 1.0919 | 1.1062 | -24.9584 | -120.0618 | 119.6958 | -24.8462 | -120.1316 | 119.7006
Line_1 | 0.00061808 | 0.00061808 | 0.00061808 | 0.0018539 | 0.0018539 | 0.0018539 | 0.007137 | 0.007137 | 0.007137 | 0.021407 | 0.021407 | 0.021407 | -0.0016924 | -0.0058143 | 0.0075067 | 0.0050882 | 0.017439 | -0.022511 | -0.0022958 | 0.0051865 | 0.0024564 | 0.0068866 | -0.015562 | -0.0073524 | 101.5823 | 101.5823 | 101.5823 | -78.3874 | -78.3874 | -78.3874 | 0.39963 | 1.0917 | 1.1067 | 0.39999 | 1.0919 | 1.1062 | -24.814 | -120.1516 | 119.702 | -24.8462 | -120.1316 | 119.7006
Line_2 | 0.00061808 | 0.00061808 | 0.00061808 | 0.0018539 | 0.0018539 | 0.0018539 | 0.007137 | 0.007137 | 0.007137 | 0.021407 | 0.021407 | 0.021407 | -0.0016924 | -0.0058143 | 0.0075067 | 0.0050882 | 0.017439 | -0.022511 | -0.0022958 | 0.0051865 | 0.0024564 | 0.0068866 | -0.015562 | -0.0073524 | 101.5823 | 101.5823 | 101.5823 | -78.3874 | -78.3874 | -78.3874 | 0.39963 | 1.0917 | 1.1067 | 0.39999 | 1.0919 | 1.1062 | -24.814 | -120.1516 | 119.702 | -24.8462 | -120.1316 | 119.7006
Line_3 | 0.00061808 | 0.00061808 | 0.00061808 | 0.00061808 | 0.00061808 | 0.00061808 | 0.007137 | 0.007137 | 0.007137 | 0.007137 | 0.007137 | 0.007137 | 0.0016924 | 0.0058143 | -0.0075067 | 0.0016924 | 0.0058143 | -0.0075067 | 0.0022958 | -0.0051865 | -0.0024564 | 0.0022958 | -0.0051865 | -0.0024564 | -78.4177 | -78.4177 | -78.4177 | -78.4177 | -78.4177 | -78.4177 | 0.39963 | 1.0917 | 1.1067 | 0.39963 | 1.0917 | 1.1067 | -24.814 | -120.1516 | 119.702 | -24.814 | -120.1516 | 119.702

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065155 | 0.0065155 | 0.0065155 | 0.0048885 | 0.0048885 | 0.0048885 | 0.075235 | 0.075235 | 0.075235 | 0.056447 | 0.056447 | 0.056447 | -0.00064493 | 0.065838 | -0.064388 | 0.00068192 | -0.049247 | 0.048452 | 0.00020193 | -0.034807 | -0.039504 | -0.00010958 | 0.026065 | 0.029769 | -92.0657 | -92.0657 | -92.0657 | 87.829 | 87.829 | 87.829 | 0.0089826 | 0.98987 | 1.0041 | 0.012236 | 0.98711 | 1.0074 | 70.5487 | -119.9298 | 119.4646 | 78.7004 | -120.0619 | 119.3953
Line_1 | 0.00081492 | 0.00081492 | 0.00081492 | 0.0024442 | 0.0024442 | 0.0024442 | 0.0094099 | 0.0094099 | 0.0094099 | 0.028224 | 0.028224 | 0.028224 | 0.00012312 | -0.0082046 | 0.0080815 | -0.00034096 | 0.024624 | -0.024226 | -1.6199e-05 | 0.0043387 | 0.0049726 | 5.4788e-05 | -0.013033 | -0.014884 | 87.7709 | 87.7709 | 87.7709 | -92.171 | -92.171 | -92.171 | 0.013197 | 0.98632 | 1.0084 | 0.012236 | 0.98711 | 1.0074 | 80.2755 | -120.0997 | 119.3755 | 78.7004 | -120.0619 | 119.3953
Line_2 | 0.00081492 | 0.00081492 | 0.00081492 | 0.0024442 | 0.0024442 | 0.0024442 | 0.0094099 | 0.0094099 | 0.0094099 | 0.028224 | 0.028224 | 0.028224 | 0.00012312 | -0.0082046 | 0.0080815 | -0.00034096 | 0.024624 | -0.024226 | -1.6199e-05 | 0.0043387 | 0.0049726 | 5.4788e-05 | -0.013033 | -0.014884 | 87.7709 | 87.7709 | 87.7709 | -92.171 | -92.171 | -92.171 | 0.013197 | 0.98632 | 1.0084 | 0.012236 | 0.98711 | 1.0074 | 80.2755 | -120.0997 | 119.3755 | 78.7004 | -120.0619 | 119.3953
Line_3 | 0.00081492 | 0.00081492 | 0.00081492 | 0.00081492 | 0.00081492 | 0.00081492 | 0.0094099 | 0.0094099 | 0.0094099 | 0.0094099 | 0.0094099 | 0.0094099 | -0.00012312 | 0.0082046 | -0.0080815 | -0.00012312 | 0.0082046 | -0.0080815 | 1.6199e-05 | -0.0043387 | -0.0049726 | 1.6199e-05 | -0.0043387 | -0.0049726 | -92.2291 | -92.2291 | -92.2291 | -92.2291 | -92.2291 | -92.2291 | 0.013197 | 0.98632 | 1.0084 | 0.013197 | 0.98632 | 1.0084 | 80.2755 | -120.0997 | 119.3755 | 80.2755 | -120.0997 | 119.3755

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065155 | 0.0065155 | 0.0065155 | 0.0048885 | 0.0048885 | 0.0048885 | 0.075235 | 0.075235 | 0.075235 | 0.056447 | 0.056447 | 0.056447 | -0.00064493 | 0.065838 | -0.064388 | 0.00068192 | -0.049247 | 0.048452 | 0.00020193 | -0.034807 | -0.039504 | -0.00010958 | 0.026065 | 0.029769 | -92.0657 | -92.0657 | -92.0657 | 87.829 | 87.829 | 87.829 | 0.0089826 | 0.98987 | 1.0041 | 0.012236 | 0.98711 | 1.0074 | 70.5487 | -119.9298 | 119.4646 | 78.7004 | -120.0619 | 119.3953
Line_1 | 0.00081492 | 0.00081492 | 0.00081492 | 0.0024442 | 0.0024442 | 0.0024442 | 0.0094099 | 0.0094099 | 0.0094099 | 0.028224 | 0.028224 | 0.028224 | 0.00012312 | -0.0082046 | 0.0080815 | -0.00034096 | 0.024624 | -0.024226 | -1.6199e-05 | 0.0043387 | 0.0049726 | 5.4788e-05 | -0.013033 | -0.014884 | 87.7709 | 87.7709 | 87.7709 | -92.171 | -92.171 | -92.171 | 0.013197 | 0.98632 | 1.0084 | 0.012236 | 0.98711 | 1.0074 | 80.2755 | -120.0997 | 119.3755 | 78.7004 | -120.0619 | 119.3953
Line_2 | 0.00081492 | 0.00081492 | 0.00081492 | 0.0024442 | 0.0024442 | 0.0024442 | 0.0094099 | 0.0094099 | 0.0094099 | 0.028224 | 0.028224 | 0.028224 | 0.00012312 | -0.0082046 | 0.0080815 | -0.00034096 | 0.024624 | -0.024226 | -1.6199e-05 | 0.0043387 | 0.0049726 | 5.4788e-05 | -0.013033 | -0.014884 | 87.7709 | 87.7709 | 87.7709 | -92.171 | -92.171 | -92.171 | 0.013197 | 0.98632 | 1.0084 | 0.012236 | 0.98711 | 1.0074 | 80.2755 | -120.0997 | 119.3755 | 78.7004 | -120.0619 | 119.3953
Line_3 | 0.00081492 | 0.00081492 | 0.00081492 | 0.00081492 | 0.00081492 | 0.00081492 | 0.0094099 | 0.0094099 | 0.0094099 | 0.0094099 | 0.0094099 | 0.0094099 | -0.00012312 | 0.0082046 | -0.0080815 | -0.00012312 | 0.0082046 | -0.0080815 | 1.6199e-05 | -0.0043387 | -0.0049726 | 1.6199e-05 | -0.0043387 | -0.0049726 | -92.2291 | -92.2291 | -92.2291 | -92.2291 | -92.2291 | -92.2291 | 0.013197 | 0.98632 | 1.0084 | 0.013197 | 0.98632 | 1.0084 | 80.2755 | -120.0997 | 119.3755 | 80.2755 | -120.0997 | 119.3755

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004671 | 0.004671 | 0.004671 | 0.0035046 | 0.0035046 | 0.0035046 | 0.053936 | 0.053936 | 0.053936 | 0.040468 | 0.040468 | 0.040468 | 0.010643 | 0.040853 | -0.051082 | -0.0078633 | -0.030598 | 0.038403 | 0.01454 | -0.034611 | -0.018018 | -0.010903 | 0.025933 | 0.01361 | -79.7687 | -79.7687 | -79.7687 | 100.1259 | 100.126 | 100.126 | 0.33408 | 0.99272 | 1.0043 | 0.33218 | 0.99114 | 1.0068 | -25.9708 | -120.0403 | 119.66 | -25.6737 | -120.1569 | 119.6402
Line_1 | 0.00058422 | 0.00058422 | 0.00058422 | 0.0017523 | 0.0017523 | 0.0017523 | 0.006746 | 0.006746 | 0.006746 | 0.020234 | 0.020234 | 0.020234 | -0.0013041 | -0.0051002 | 0.0064043 | 0.0039316 | 0.015299 | -0.019201 | -0.0018178 | 0.0043189 | 0.0022763 | 0.0054514 | -0.012966 | -0.0068049 | 100.0678 | 100.0679 | 100.0679 | -79.8741 | -79.874 | -79.874 | 0.33164 | 0.99068 | 1.0075 | 0.33218 | 0.99114 | 1.0068 | -25.588 | -120.1903 | 119.6345 | -25.6737 | -120.1569 | 119.6402
Line_2 | 0.00058422 | 0.00058422 | 0.00058422 | 0.0017523 | 0.0017523 | 0.0017523 | 0.006746 | 0.006746 | 0.006746 | 0.020234 | 0.020234 | 0.020234 | -0.0013041 | -0.0051002 | 0.0064043 | 0.0039316 | 0.015299 | -0.019201 | -0.0018178 | 0.0043189 | 0.0022763 | 0.0054514 | -0.012966 | -0.0068049 | 100.0678 | 100.0679 | 100.0679 | -79.8741 | -79.874 | -79.874 | 0.33164 | 0.99068 | 1.0075 | 0.33218 | 0.99114 | 1.0068 | -25.588 | -120.1903 | 119.6345 | -25.6737 | -120.1569 | 119.6402
Line_3 | 0.00058422 | 0.00058422 | 0.00058422 | 0.00058422 | 0.00058422 | 0.00058422 | 0.006746 | 0.006746 | 0.006746 | 0.006746 | 0.006746 | 0.006746 | 0.0013041 | 0.0051002 | -0.0064043 | 0.0013041 | 0.0051002 | -0.0064043 | 0.0018178 | -0.0043189 | -0.0022763 | 0.0018178 | -0.0043189 | -0.0022763 | -79.9321 | -79.9321 | -79.9321 | -79.9321 | -79.9321 | -79.9321 | 0.33164 | 0.99068 | 1.0075 | 0.33164 | 0.99068 | 1.0075 | -25.588 | -120.1903 | 119.6345 | -25.588 | -120.1903 | 119.6345

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004671 | 0.004671 | 0.004671 | 0.0035046 | 0.0035046 | 0.0035046 | 0.053936 | 0.053936 | 0.053936 | 0.040468 | 0.040468 | 0.040468 | 0.010643 | 0.040853 | -0.051082 | -0.0078633 | -0.030598 | 0.038403 | 0.01454 | -0.034611 | -0.018018 | -0.010903 | 0.025933 | 0.01361 | -79.7687 | -79.7687 | -79.7687 | 100.1259 | 100.126 | 100.126 | 0.33408 | 0.99272 | 1.0043 | 0.33218 | 0.99114 | 1.0068 | -25.9708 | -120.0403 | 119.66 | -25.6737 | -120.1569 | 119.6402
Line_1 | 0.00058422 | 0.00058422 | 0.00058422 | 0.0017523 | 0.0017523 | 0.0017523 | 0.006746 | 0.006746 | 0.006746 | 0.020234 | 0.020234 | 0.020234 | -0.0013041 | -0.0051002 | 0.0064043 | 0.0039316 | 0.015299 | -0.019201 | -0.0018178 | 0.0043189 | 0.0022763 | 0.0054514 | -0.012966 | -0.0068049 | 100.0678 | 100.0679 | 100.0679 | -79.8741 | -79.874 | -79.874 | 0.33164 | 0.99068 | 1.0075 | 0.33218 | 0.99114 | 1.0068 | -25.588 | -120.1903 | 119.6345 | -25.6737 | -120.1569 | 119.6402
Line_2 | 0.00058422 | 0.00058422 | 0.00058422 | 0.0017523 | 0.0017523 | 0.0017523 | 0.006746 | 0.006746 | 0.006746 | 0.020234 | 0.020234 | 0.020234 | -0.0013041 | -0.0051002 | 0.0064043 | 0.0039316 | 0.015299 | -0.019201 | -0.0018178 | 0.0043189 | 0.0022763 | 0.0054514 | -0.012966 | -0.0068049 | 100.0678 | 100.0679 | 100.0679 | -79.8741 | -79.874 | -79.874 | 0.33164 | 0.99068 | 1.0075 | 0.33218 | 0.99114 | 1.0068 | -25.588 | -120.1903 | 119.6345 | -25.6737 | -120.1569 | 119.6402
Line_3 | 0.00058422 | 0.00058422 | 0.00058422 | 0.00058422 | 0.00058422 | 0.00058422 | 0.006746 | 0.006746 | 0.006746 | 0.006746 | 0.006746 | 0.006746 | 0.0013041 | 0.0051002 | -0.0064043 | 0.0013041 | 0.0051002 | -0.0064043 | 0.0018178 | -0.0043189 | -0.0022763 | 0.0018178 | -0.0043189 | -0.0022763 | -79.9321 | -79.9321 | -79.9321 | -79.9321 | -79.9321 | -79.9321 | 0.33164 | 0.99068 | 1.0075 | 0.33164 | 0.99068 | 1.0075 | -25.588 | -120.1903 | 119.6345 | -25.588 | -120.1903 | 119.6345

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071951 | 0.0071951 | 0.0071951 | 0.0053984 | 0.0053984 | 0.0053984 | 0.083082 | 0.083082 | 0.083082 | 0.062335 | 0.062335 | 0.062335 | 0.0020812 | -0.00078485 | -0.00078485 | -0.0015011 | 0.00071464 | 0.00071464 | -0.090852 | 0.00024005 | 0.00024005 | 0.068214 | -0.00012955 | -0.00012955 | 88.2133 | 88.2133 | 88.2133 | -91.8416 | -91.8416 | -91.8416 | 1.0938 | 0.0098787 | 0.0098787 | 1.0946 | 0.011651 | 0.011651 | -0.47446 | -108.7935 | -108.7935 | -0.58092 | -102.1165 | -102.1165
Line_1 | 0.00089992 | 0.00089992 | 0.00089992 | 0.0026992 | 0.0026992 | 0.0026992 | 0.010391 | 0.010391 | 0.010391 | 0.031167 | 0.031167 | 0.031167 | -0.00025026 | 0.00012513 | 0.00012513 | 0.00075055 | -0.00035732 | -0.00035732 | 0.011374 | -1.9152e-05 | -1.9152e-05 | -0.034107 | 6.4775e-05 | 6.4775e-05 | -91.8718 | -91.8718 | -91.8718 | 88.1584 | 88.1584 | 88.1584 | 1.0948 | 0.012182 | 0.012182 | 1.0946 | 0.011651 | 0.011651 | -0.61132 | -100.574 | -100.574 | -0.58092 | -102.1165 | -102.1165
Line_2 | 0.00089992 | 0.00089992 | 0.00089992 | 0.0026992 | 0.0026992 | 0.0026992 | 0.010391 | 0.010391 | 0.010391 | 0.031167 | 0.031167 | 0.031167 | -0.00025026 | 0.00012513 | 0.00012513 | 0.00075055 | -0.00035732 | -0.00035732 | 0.011374 | -1.9152e-05 | -1.9152e-05 | -0.034107 | 6.4775e-05 | 6.4775e-05 | -91.8718 | -91.8718 | -91.8718 | 88.1584 | 88.1584 | 88.1584 | 1.0948 | 0.012182 | 0.012182 | 1.0946 | 0.011651 | 0.011651 | -0.61132 | -100.574 | -100.574 | -0.58092 | -102.1165 | -102.1165
Line_3 | 0.00089992 | 0.00089992 | 0.00089992 | 0.00089992 | 0.00089992 | 0.00089992 | 0.010391 | 0.010391 | 0.010391 | 0.010391 | 0.010391 | 0.010391 | 0.00025026 | -0.00012513 | -0.00012513 | 0.00025026 | -0.00012513 | -0.00012513 | -0.011374 | 1.9152e-05 | 1.9152e-05 | -0.011374 | 1.9152e-05 | 1.9152e-05 | 88.1282 | 88.1282 | 88.1282 | 88.1282 | 88.1282 | 88.1282 | 1.0948 | 0.012182 | 0.012182 | 1.0948 | 0.012182 | 0.012182 | -0.61132 | -100.574 | -100.574 | -0.61132 | -100.574 | -100.574

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071951 | 0.0071951 | 0.0071951 | 0.0053984 | 0.0053984 | 0.0053984 | 0.083082 | 0.083082 | 0.083082 | 0.062335 | 0.062335 | 0.062335 | 0.0020812 | -0.00078485 | -0.00078485 | -0.0015011 | 0.00071464 | 0.00071464 | -0.090852 | 0.00024005 | 0.00024005 | 0.068214 | -0.00012955 | -0.00012955 | 88.2133 | 88.2133 | 88.2133 | -91.8416 | -91.8416 | -91.8416 | 1.0938 | 0.0098787 | 0.0098787 | 1.0946 | 0.011651 | 0.011651 | -0.47446 | -108.7935 | -108.7935 | -0.58092 | -102.1165 | -102.1165
Line_1 | 0.00089992 | 0.00089992 | 0.00089992 | 0.0026992 | 0.0026992 | 0.0026992 | 0.010391 | 0.010391 | 0.010391 | 0.031167 | 0.031167 | 0.031167 | -0.00025026 | 0.00012513 | 0.00012513 | 0.00075055 | -0.00035732 | -0.00035732 | 0.011374 | -1.9152e-05 | -1.9152e-05 | -0.034107 | 6.4775e-05 | 6.4775e-05 | -91.8718 | -91.8718 | -91.8718 | 88.1584 | 88.1584 | 88.1584 | 1.0948 | 0.012182 | 0.012182 | 1.0946 | 0.011651 | 0.011651 | -0.61132 | -100.574 | -100.574 | -0.58092 | -102.1165 | -102.1165
Line_2 | 0.00089992 | 0.00089992 | 0.00089992 | 0.0026992 | 0.0026992 | 0.0026992 | 0.010391 | 0.010391 | 0.010391 | 0.031167 | 0.031167 | 0.031167 | -0.00025026 | 0.00012513 | 0.00012513 | 0.00075055 | -0.00035732 | -0.00035732 | 0.011374 | -1.9152e-05 | -1.9152e-05 | -0.034107 | 6.4775e-05 | 6.4775e-05 | -91.8718 | -91.8718 | -91.8718 | 88.1584 | 88.1584 | 88.1584 | 1.0948 | 0.012182 | 0.012182 | 1.0946 | 0.011651 | 0.011651 | -0.61132 | -100.574 | -100.574 | -0.58092 | -102.1165 | -102.1165
Line_3 | 0.00089992 | 0.00089992 | 0.00089992 | 0.00089992 | 0.00089992 | 0.00089992 | 0.010391 | 0.010391 | 0.010391 | 0.010391 | 0.010391 | 0.010391 | 0.00025026 | -0.00012513 | -0.00012513 | 0.00025026 | -0.00012513 | -0.00012513 | -0.011374 | 1.9152e-05 | 1.9152e-05 | -0.011374 | 1.9152e-05 | 1.9152e-05 | 88.1282 | 88.1282 | 88.1282 | 88.1282 | 88.1282 | 88.1282 | 1.0948 | 0.012182 | 0.012182 | 1.0948 | 0.012182 | 0.012182 | -0.61132 | -100.574 | -100.574 | -0.61132 | -100.574 | -100.574

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049511 | 0.0049511 | 0.0049511 | 0.0037147 | 0.0037147 | 0.0037147 | 0.05717 | 0.05717 | 0.05717 | 0.042894 | 0.042894 | 0.042894 | -0.013098 | -0.0091395 | 0.022479 | 0.0098424 | 0.0069321 | -0.016809 | -0.061351 | 0.021438 | -0.0028793 | 0.046064 | -0.016055 | 0.0021678 | 101.6825 | 101.6825 | 101.6825 | -78.3723 | -78.3724 | -78.3724 | 1.0973 | 0.40764 | 0.39641 | 1.0981 | 0.40768 | 0.39511 | -0.36854 | -145.2281 | 94.3834 | -0.43333 | -145.0184 | 94.2787
Line_1 | 0.00061925 | 0.00061925 | 0.00061925 | 0.0018574 | 0.0018574 | 0.0018574 | 0.0071505 | 0.0071505 | 0.0071505 | 0.021447 | 0.021447 | 0.021447 | 0.0016395 | 0.0011598 | -0.0027994 | -0.0049212 | -0.003466 | 0.0084043 | 0.0076809 | -0.0026746 | 0.00036103 | -0.023032 | 0.0080273 | -0.0010839 | -78.4026 | -78.4026 | -78.4026 | 101.6277 | 101.6276 | 101.6276 | 1.0984 | 0.4077 | 0.39473 | 1.0981 | 0.40768 | 0.39511 | -0.45183 | -144.9585 | 94.2487 | -0.43333 | -145.0184 | 94.2787
Line_2 | 0.00061925 | 0.00061925 | 0.00061925 | 0.0018574 | 0.0018574 | 0.0018574 | 0.0071505 | 0.0071505 | 0.0071505 | 0.021447 | 0.021447 | 0.021447 | 0.0016395 | 0.0011598 | -0.0027994 | -0.0049212 | -0.003466 | 0.0084043 | 0.0076809 | -0.0026746 | 0.00036103 | -0.023032 | 0.0080273 | -0.0010839 | -78.4026 | -78.4026 | -78.4026 | 101.6277 | 101.6276 | 101.6276 | 1.0984 | 0.4077 | 0.39473 | 1.0981 | 0.40768 | 0.39511 | -0.45183 | -144.9585 | 94.2487 | -0.43333 | -145.0184 | 94.2787
Line_3 | 0.00061925 | 0.00061925 | 0.00061925 | 0.00061925 | 0.00061925 | 0.00061925 | 0.0071505 | 0.0071505 | 0.0071505 | 0.0071505 | 0.0071505 | 0.0071505 | -0.0016395 | -0.0011598 | 0.0027994 | -0.0016395 | -0.0011598 | 0.0027994 | -0.0076809 | 0.0026746 | -0.00036103 | -0.0076809 | 0.0026746 | -0.00036103 | 101.5974 | 101.5974 | 101.5974 | 101.5974 | 101.5974 | 101.5974 | 1.0984 | 0.4077 | 0.39473 | 1.0984 | 0.4077 | 0.39473 | -0.45183 | -144.9585 | 94.2487 | -0.45183 | -144.9585 | 94.2487

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049511 | 0.0049511 | 0.0049511 | 0.0037147 | 0.0037147 | 0.0037147 | 0.05717 | 0.05717 | 0.05717 | 0.042894 | 0.042894 | 0.042894 | -0.013098 | -0.0091395 | 0.022479 | 0.0098424 | 0.0069321 | -0.016809 | -0.061351 | 0.021438 | -0.0028793 | 0.046064 | -0.016055 | 0.0021678 | 101.6825 | 101.6825 | 101.6825 | -78.3723 | -78.3724 | -78.3724 | 1.0973 | 0.40764 | 0.39641 | 1.0981 | 0.40768 | 0.39511 | -0.36854 | -145.2281 | 94.3834 | -0.43333 | -145.0184 | 94.2787
Line_1 | 0.00061925 | 0.00061925 | 0.00061925 | 0.0018574 | 0.0018574 | 0.0018574 | 0.0071505 | 0.0071505 | 0.0071505 | 0.021447 | 0.021447 | 0.021447 | 0.0016395 | 0.0011598 | -0.0027994 | -0.0049212 | -0.003466 | 0.0084043 | 0.0076809 | -0.0026746 | 0.00036103 | -0.023032 | 0.0080273 | -0.0010839 | -78.4026 | -78.4026 | -78.4026 | 101.6277 | 101.6276 | 101.6276 | 1.0984 | 0.4077 | 0.39473 | 1.0981 | 0.40768 | 0.39511 | -0.45183 | -144.9585 | 94.2487 | -0.43333 | -145.0184 | 94.2787
Line_2 | 0.00061925 | 0.00061925 | 0.00061925 | 0.0018574 | 0.0018574 | 0.0018574 | 0.0071505 | 0.0071505 | 0.0071505 | 0.021447 | 0.021447 | 0.021447 | 0.0016395 | 0.0011598 | -0.0027994 | -0.0049212 | -0.003466 | 0.0084043 | 0.0076809 | -0.0026746 | 0.00036103 | -0.023032 | 0.0080273 | -0.0010839 | -78.4026 | -78.4026 | -78.4026 | 101.6277 | 101.6276 | 101.6276 | 1.0984 | 0.4077 | 0.39473 | 1.0981 | 0.40768 | 0.39511 | -0.45183 | -144.9585 | 94.2487 | -0.43333 | -145.0184 | 94.2787
Line_3 | 0.00061925 | 0.00061925 | 0.00061925 | 0.00061925 | 0.00061925 | 0.00061925 | 0.0071505 | 0.0071505 | 0.0071505 | 0.0071505 | 0.0071505 | 0.0071505 | -0.0016395 | -0.0011598 | 0.0027994 | -0.0016395 | -0.0011598 | 0.0027994 | -0.0076809 | 0.0026746 | -0.00036103 | -0.0076809 | 0.0026746 | -0.00036103 | 101.5974 | 101.5974 | 101.5974 | 101.5974 | 101.5974 | 101.5974 | 1.0984 | 0.4077 | 0.39473 | 1.0984 | 0.4077 | 0.39473 | -0.45183 | -144.9585 | 94.2487 | -0.45183 | -144.9585 | 94.2487

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065359 | 0.0065359 | 0.0065359 | 0.0049038 | 0.0049038 | 0.0049038 | 0.075471 | 0.075471 | 0.075471 | 0.056624 | 0.056624 | 0.056624 | 0.0021083 | -0.00064898 | -0.00064898 | -0.0014862 | 0.00068621 | 0.00068621 | -0.07498 | 0.0002032 | 0.0002032 | 0.056295 | -0.00011026 | -0.00011026 | 87.9171 | 87.9171 | 87.9171 | -92.1882 | -92.1883 | -92.1883 | 0.99389 | 0.0090107 | 0.0090107 | 0.99452 | 0.012274 | 0.012274 | -0.47233 | -109.4686 | -109.4686 | -0.67598 | -101.3169 | -101.3169
Line_1 | 0.00081747 | 0.00081747 | 0.00081747 | 0.0024519 | 0.0024519 | 0.0024519 | 0.0094394 | 0.0094394 | 0.0094394 | 0.028312 | 0.028312 | 0.028312 | -0.00024778 | 0.00012389 | 0.00012389 | 0.0007431 | -0.0003431 | -0.0003431 | 0.0093861 | -1.6301e-05 | -1.6301e-05 | -0.028147 | 5.5132e-05 | 5.5132e-05 | -92.2463 | -92.2464 | -92.2464 | 87.8118 | 87.8117 | 87.8117 | 0.99471 | 0.013238 | 0.013238 | 0.99452 | 0.012274 | 0.012274 | -0.73414 | -99.7417 | -99.7417 | -0.67598 | -101.3169 | -101.3169
Line_2 | 0.00081747 | 0.00081747 | 0.00081747 | 0.0024519 | 0.0024519 | 0.0024519 | 0.0094394 | 0.0094394 | 0.0094394 | 0.028312 | 0.028312 | 0.028312 | -0.00024778 | 0.00012389 | 0.00012389 | 0.0007431 | -0.0003431 | -0.0003431 | 0.0093861 | -1.6301e-05 | -1.6301e-05 | -0.028147 | 5.5132e-05 | 5.5132e-05 | -92.2463 | -92.2464 | -92.2464 | 87.8118 | 87.8117 | 87.8117 | 0.99471 | 0.013238 | 0.013238 | 0.99452 | 0.012274 | 0.012274 | -0.73414 | -99.7417 | -99.7417 | -0.67598 | -101.3169 | -101.3169
Line_3 | 0.00081747 | 0.00081747 | 0.00081747 | 0.00081747 | 0.00081747 | 0.00081747 | 0.0094394 | 0.0094394 | 0.0094394 | 0.0094394 | 0.0094394 | 0.0094394 | 0.00024778 | -0.00012389 | -0.00012389 | 0.00024778 | -0.00012389 | -0.00012389 | -0.0093861 | 1.6301e-05 | 1.6301e-05 | -0.0093861 | 1.6301e-05 | 1.6301e-05 | 87.7537 | 87.7537 | 87.7537 | 87.7537 | 87.7537 | 87.7537 | 0.99471 | 0.013238 | 0.013238 | 0.99471 | 0.013238 | 0.013238 | -0.73414 | -99.7417 | -99.7417 | -0.73414 | -99.7417 | -99.7417

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065359 | 0.0065359 | 0.0065359 | 0.0049038 | 0.0049038 | 0.0049038 | 0.075471 | 0.075471 | 0.075471 | 0.056624 | 0.056624 | 0.056624 | 0.0021083 | -0.00064898 | -0.00064898 | -0.0014862 | 0.00068621 | 0.00068621 | -0.07498 | 0.0002032 | 0.0002032 | 0.056295 | -0.00011026 | -0.00011026 | 87.9171 | 87.9171 | 87.9171 | -92.1882 | -92.1883 | -92.1883 | 0.99389 | 0.0090107 | 0.0090107 | 0.99452 | 0.012274 | 0.012274 | -0.47233 | -109.4686 | -109.4686 | -0.67598 | -101.3169 | -101.3169
Line_1 | 0.00081747 | 0.00081747 | 0.00081747 | 0.0024519 | 0.0024519 | 0.0024519 | 0.0094394 | 0.0094394 | 0.0094394 | 0.028312 | 0.028312 | 0.028312 | -0.00024778 | 0.00012389 | 0.00012389 | 0.0007431 | -0.0003431 | -0.0003431 | 0.0093861 | -1.6301e-05 | -1.6301e-05 | -0.028147 | 5.5132e-05 | 5.5132e-05 | -92.2463 | -92.2464 | -92.2464 | 87.8118 | 87.8117 | 87.8117 | 0.99471 | 0.013238 | 0.013238 | 0.99452 | 0.012274 | 0.012274 | -0.73414 | -99.7417 | -99.7417 | -0.67598 | -101.3169 | -101.3169
Line_2 | 0.00081747 | 0.00081747 | 0.00081747 | 0.0024519 | 0.0024519 | 0.0024519 | 0.0094394 | 0.0094394 | 0.0094394 | 0.028312 | 0.028312 | 0.028312 | -0.00024778 | 0.00012389 | 0.00012389 | 0.0007431 | -0.0003431 | -0.0003431 | 0.0093861 | -1.6301e-05 | -1.6301e-05 | -0.028147 | 5.5132e-05 | 5.5132e-05 | -92.2463 | -92.2464 | -92.2464 | 87.8118 | 87.8117 | 87.8117 | 0.99471 | 0.013238 | 0.013238 | 0.99452 | 0.012274 | 0.012274 | -0.73414 | -99.7417 | -99.7417 | -0.67598 | -101.3169 | -101.3169
Line_3 | 0.00081747 | 0.00081747 | 0.00081747 | 0.00081747 | 0.00081747 | 0.00081747 | 0.0094394 | 0.0094394 | 0.0094394 | 0.0094394 | 0.0094394 | 0.0094394 | 0.00024778 | -0.00012389 | -0.00012389 | 0.00024778 | -0.00012389 | -0.00012389 | -0.0093861 | 1.6301e-05 | 1.6301e-05 | -0.0093861 | 1.6301e-05 | 1.6301e-05 | 87.7537 | 87.7537 | 87.7537 | 87.7537 | 87.7537 | 87.7537 | 0.99471 | 0.013238 | 0.013238 | 0.99471 | 0.013238 | 0.013238 | -0.73414 | -99.7417 | -99.7417 | -0.73414 | -99.7417 | -99.7417

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046815 | 0.0046815 | 0.0046815 | 0.0035125 | 0.0035125 | 0.0035125 | 0.054057 | 0.054057 | 0.054057 | 0.040558 | 0.040558 | 0.040558 | -0.0099416 | -0.0073186 | 0.017676 | 0.0074881 | 0.0056164 | -0.013163 | -0.052969 | 0.016865 | -0.0021557 | 0.039777 | -0.012623 | 0.0016142 | 100.2466 | 100.2466 | 100.2466 | -79.8587 | -79.8587 | -79.8587 | 0.99698 | 0.3401 | 0.32941 | 0.99796 | 0.34064 | 0.32697 | -0.38345 | -146.2954 | 93.2933 | -0.52007 | -145.8722 | 93.1498
Line_1 | 0.00058553 | 0.00058553 | 0.00058553 | 0.0017562 | 0.0017562 | 0.0017562 | 0.0067611 | 0.0067611 | 0.0067611 | 0.020279 | 0.020279 | 0.020279 | 0.0012464 | 0.00094325 | -0.0021897 | -0.0037441 | -0.0028082 | 0.0065814 | 0.0066331 | -0.0021022 | 0.00026787 | -0.019888 | 0.0063113 | -0.0008071 | -79.9168 | -79.9168 | -79.9168 | 100.1413 | 100.1413 | 100.1413 | 0.99824 | 0.34079 | 0.32628 | 0.99796 | 0.34064 | 0.32697 | -0.55909 | -145.7515 | 93.1086 | -0.52007 | -145.8722 | 93.1498
Line_2 | 0.00058553 | 0.00058553 | 0.00058553 | 0.0017562 | 0.0017562 | 0.0017562 | 0.0067611 | 0.0067611 | 0.0067611 | 0.020279 | 0.020279 | 0.020279 | 0.0012464 | 0.00094325 | -0.0021897 | -0.0037441 | -0.0028082 | 0.0065814 | 0.0066331 | -0.0021022 | 0.00026787 | -0.019888 | 0.0063113 | -0.0008071 | -79.9168 | -79.9168 | -79.9168 | 100.1413 | 100.1413 | 100.1413 | 0.99824 | 0.34079 | 0.32628 | 0.99796 | 0.34064 | 0.32697 | -0.55909 | -145.7515 | 93.1086 | -0.52007 | -145.8722 | 93.1498
Line_3 | 0.00058553 | 0.00058553 | 0.00058553 | 0.00058553 | 0.00058553 | 0.00058553 | 0.0067611 | 0.0067611 | 0.0067611 | 0.0067611 | 0.0067611 | 0.0067611 | -0.0012464 | -0.00094325 | 0.0021897 | -0.0012464 | -0.00094325 | 0.0021897 | -0.0066331 | 0.0021022 | -0.00026787 | -0.0066331 | 0.0021022 | -0.00026787 | 100.0832 | 100.0832 | 100.0832 | 100.0832 | 100.0832 | 100.0832 | 0.99824 | 0.34079 | 0.32628 | 0.99824 | 0.34079 | 0.32628 | -0.55909 | -145.7515 | 93.1086 | -0.55909 | -145.7515 | 93.1086

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046815 | 0.0046815 | 0.0046815 | 0.0035125 | 0.0035125 | 0.0035125 | 0.054057 | 0.054057 | 0.054057 | 0.040558 | 0.040558 | 0.040558 | -0.0099416 | -0.0073186 | 0.017676 | 0.0074881 | 0.0056164 | -0.013163 | -0.052969 | 0.016865 | -0.0021557 | 0.039777 | -0.012623 | 0.0016142 | 100.2466 | 100.2466 | 100.2466 | -79.8587 | -79.8587 | -79.8587 | 0.99698 | 0.3401 | 0.32941 | 0.99796 | 0.34064 | 0.32697 | -0.38345 | -146.2954 | 93.2933 | -0.52007 | -145.8722 | 93.1498
Line_1 | 0.00058553 | 0.00058553 | 0.00058553 | 0.0017562 | 0.0017562 | 0.0017562 | 0.0067611 | 0.0067611 | 0.0067611 | 0.020279 | 0.020279 | 0.020279 | 0.0012464 | 0.00094325 | -0.0021897 | -0.0037441 | -0.0028082 | 0.0065814 | 0.0066331 | -0.0021022 | 0.00026787 | -0.019888 | 0.0063113 | -0.0008071 | -79.9168 | -79.9168 | -79.9168 | 100.1413 | 100.1413 | 100.1413 | 0.99824 | 0.34079 | 0.32628 | 0.99796 | 0.34064 | 0.32697 | -0.55909 | -145.7515 | 93.1086 | -0.52007 | -145.8722 | 93.1498
Line_2 | 0.00058553 | 0.00058553 | 0.00058553 | 0.0017562 | 0.0017562 | 0.0017562 | 0.0067611 | 0.0067611 | 0.0067611 | 0.020279 | 0.020279 | 0.020279 | 0.0012464 | 0.00094325 | -0.0021897 | -0.0037441 | -0.0028082 | 0.0065814 | 0.0066331 | -0.0021022 | 0.00026787 | -0.019888 | 0.0063113 | -0.0008071 | -79.9168 | -79.9168 | -79.9168 | 100.1413 | 100.1413 | 100.1413 | 0.99824 | 0.34079 | 0.32628 | 0.99796 | 0.34064 | 0.32697 | -0.55909 | -145.7515 | 93.1086 | -0.52007 | -145.8722 | 93.1498
Line_3 | 0.00058553 | 0.00058553 | 0.00058553 | 0.00058553 | 0.00058553 | 0.00058553 | 0.0067611 | 0.0067611 | 0.0067611 | 0.0067611 | 0.0067611 | 0.0067611 | -0.0012464 | -0.00094325 | 0.0021897 | -0.0012464 | -0.00094325 | 0.0021897 | -0.0066331 | 0.0021022 | -0.00026787 | -0.0066331 | 0.0021022 | -0.00026787 | 100.0832 | 100.0832 | 100.0832 | 100.0832 | 100.0832 | 100.0832 | 0.99824 | 0.34079 | 0.32628 | 0.99824 | 0.34079 | 0.32628 | -0.55909 | -145.7515 | 93.1086 | -0.55909 | -145.7515 | 93.1086