## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1382e-14 | 6.3325e-15 | -9.8444e-15 | -5.3723e-15 | 1.0833e-14 | -4.9222e-15 | 5.3723e-15 | 1.334e-15 | 2.1578e-15 | -1.1382e-14 | -4.3315e-15 | 1.0789e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1382e-14 | 6.3325e-15 | -9.8444e-15 | -5.3723e-15 | 1.0833e-14 | -4.9222e-15 | 5.3723e-15 | 1.334e-15 | 2.1578e-15 | -1.1382e-14 | -4.3315e-15 | 1.0789e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0738e-15 | 1.0052e-14 | 1.0701e-15 | -4.8312e-15 | 3.093e-15 | -4.542e-15 | -2.8619e-18 | -7.7165e-15 | 6.2614e-15 | -5.5367e-15 | -4.9942e-16 | -8.1829e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0738e-15 | 1.0052e-14 | 1.0701e-15 | -4.8312e-15 | 3.093e-15 | -4.542e-15 | -2.8619e-18 | -7.7165e-15 | 6.2614e-15 | -5.5367e-15 | -4.9942e-16 | -8.1829e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8363e-15 | -2.1868e-15 | 0 | 0 | 7.4146e-15 | 1.8705e-15 | -1.9286e-16 | 2.6139e-15 | 0 | 0 | 1.7597e-15 | -5.1102e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8363e-15 | -2.1868e-15 | 0 | 0 | 7.4146e-15 | 1.8705e-15 | -1.9286e-16 | 2.6139e-15 | 0 | 0 | 1.7597e-15 | -5.1102e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2249e-15 | -1.7207e-16 | 2.6803e-15 | -1.501e-15 | -5.754e-15 | 8.1437e-16 | -2.3496e-15 | 2.8965e-15 | 2.1886e-15 | 1.1598e-15 | 5.0601e-15 | -1.4928e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2249e-15 | -1.7207e-16 | 2.6803e-15 | -1.501e-15 | -5.754e-15 | 8.1437e-16 | -2.3496e-15 | 2.8965e-15 | 2.1886e-15 | 1.1598e-15 | 5.0601e-15 | -1.4928e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7798 | 0.61918 | 0.68167 | 1.7824 | 0.6221 | 0.6836 | 20.5516 | 7.1497 | 7.8713 | 20.5811 | 7.1834 | 7.8936 | 9.2418e-11 | -4.1096 | 13.1788 | 7.3345 | 6.0446 | -10.7118 | -7.9055e-11 | 8.4251 | -0.70572 | 3.4881 | -7.0722 | 0.84368 | 116.1721 | 97.8131 | 134.5735 | -63.8788 | -82.2514 | -45.6201 |  | 0 | 1.3111 | 1.6767 | 0.39462 | 1.2951 | 1.3612 | 0 | -146.1844 | 131.5083 | -38.4444 | -131.731 | 129.8764
Line_1 | 0.89326 | 0.31314 | 0.34365 | 0.89119 | 0.31105 | 0.3418 | 10.3145 | 3.6158 | 3.9681 | 10.2905 | 3.5917 | 3.9468 | 5.5189 | 3.5215 | -4.7538 | -3.6673 | -3.0223 | 5.3559 | 2.6248 | -3.2129 | 0.45477 | -1.7441 | 3.5361 | -0.42184 | -63.9038 | -82.1994 | -45.79 | 116.1212 | 97.7486 | 134.3799 |  | 0.59249 | 1.3183 | 1.2035 | 0.39462 | 1.2951 | 1.3612 | -38.4677 | -124.5763 | 128.7455 | -38.4444 | -131.731 | 129.8764
Line_2 | 0.89326 | 0.31314 | 0.34365 | 0.89119 | 0.31105 | 0.3418 | 10.3145 | 3.6158 | 3.9681 | 10.2905 | 3.5917 | 3.9468 | 5.5189 | 3.5215 | -4.7538 | -3.6673 | -3.0223 | 5.3559 | 2.6248 | -3.2129 | 0.45477 | -1.7441 | 3.5361 | -0.42184 | -63.9038 | -82.1994 | -45.79 | 116.1212 | 97.7486 | 134.3799 |  | 0.59249 | 1.3183 | 1.2035 | 0.39462 | 1.2951 | 1.3612 | -38.4677 | -124.5763 | 128.7455 | -38.4444 | -131.731 | 129.8764
Line_3 | 0.0009557 | 0.0009557 | 0.0009557 | 0.0009557 | 0.0009557 | 0.0009557 | 0.011035 | 0.011035 | 0.011035 | 0.011035 | 0.011035 | 0.011035 | 0.0059204 | 0.0070544 | -0.012975 | 0.0059204 | 0.0070544 | -0.012975 | 0.002775 | -0.012724 | -0.0028353 | 0.002775 | -0.012724 | -0.0028353 | -63.5812 | -63.5812 | -63.5812 | -63.5812 | -63.5812 | -63.5812 |  | 0.59249 | 1.3183 | 1.2035 | 0.59249 | 1.3183 | 1.2035 | -38.4677 | -124.5763 | 128.7455 | -38.4677 | -124.5763 | 128.7455

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7798 | 0.61918 | 0.68167 | 1.7824 | 0.6221 | 0.6836 | 20.5516 | 7.1497 | 7.8713 | 20.5811 | 7.1834 | 7.8936 | 9.2418e-11 | -4.1096 | 13.1788 | 7.3345 | 6.0446 | -10.7118 | -7.9055e-11 | 8.4251 | -0.70572 | 3.4881 | -7.0722 | 0.84368 | 116.1721 | 97.8131 | 134.5735 | -63.8788 | -82.2514 | -45.6201 |  | 0 | 1.3111 | 1.6767 | 0.39462 | 1.2951 | 1.3612 | 0 | -146.1844 | 131.5083 | -38.4444 | -131.731 | 129.8764
Line_1 | 0.89326 | 0.31314 | 0.34365 | 0.89119 | 0.31105 | 0.3418 | 10.3145 | 3.6158 | 3.9681 | 10.2905 | 3.5917 | 3.9468 | 5.5189 | 3.5215 | -4.7538 | -3.6673 | -3.0223 | 5.3559 | 2.6248 | -3.2129 | 0.45477 | -1.7441 | 3.5361 | -0.42184 | -63.9038 | -82.1994 | -45.79 | 116.1212 | 97.7486 | 134.3799 |  | 0.59249 | 1.3183 | 1.2035 | 0.39462 | 1.2951 | 1.3612 | -38.4677 | -124.5763 | 128.7455 | -38.4444 | -131.731 | 129.8764
Line_2 | 0.89326 | 0.31314 | 0.34365 | 0.89119 | 0.31105 | 0.3418 | 10.3145 | 3.6158 | 3.9681 | 10.2905 | 3.5917 | 3.9468 | 5.5189 | 3.5215 | -4.7538 | -3.6673 | -3.0223 | 5.3559 | 2.6248 | -3.2129 | 0.45477 | -1.7441 | 3.5361 | -0.42184 | -63.9038 | -82.1994 | -45.79 | 116.1212 | 97.7486 | 134.3799 |  | 0.59249 | 1.3183 | 1.2035 | 0.39462 | 1.2951 | 1.3612 | -38.4677 | -124.5763 | 128.7455 | -38.4444 | -131.731 | 129.8764
Line_3 | 0.0009557 | 0.0009557 | 0.0009557 | 0.0009557 | 0.0009557 | 0.0009557 | 0.011035 | 0.011035 | 0.011035 | 0.011035 | 0.011035 | 0.011035 | 0.0059204 | 0.0070544 | -0.012975 | 0.0059204 | 0.0070544 | -0.012975 | 0.002775 | -0.012724 | -0.0028353 | 0.002775 | -0.012724 | -0.0028353 | -63.5812 | -63.5812 | -63.5812 | -63.5812 | -63.5812 | -63.5812 |  | 0.59249 | 1.3183 | 1.2035 | 0.59249 | 1.3183 | 1.2035 | -38.4677 | -124.5763 | 128.7455 | -38.4677 | -124.5763 | 128.7455

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69109 | 0.11819 | 0.33013 | 0.69195 | 0.11883 | 0.33034 | 7.98 | 1.3647 | 3.812 | 7.99 | 1.3721 | 3.8145 | -3.6171 | -1.6466 | 3.3246 | 4.5148 | 1.6541 | -2.9816 | -5.2825 | -0.063501 | -3.5936 | 5.8762 | 0.18495 | 3.4859 | 119.0357 | 49.4901 | 173.2232 | -60.9941 | -130.1799 | -6.9348 |  | 0.80229 | 1.2075 | 1.2843 | 0.92746 | 1.2131 | 1.2025 | -5.3651 | -128.3014 | 125.9964 | -8.5297 | -123.8 | 123.6069
Line_1 | 0.34663 | 0.059666 | 0.16554 | 0.34598 | 0.059414 | 0.16517 | 4.0026 | 0.68896 | 1.9115 | 3.995 | 0.68605 | 1.9072 | 2.4867 | 0.83139 | -1.4106 | -2.2574 | -0.82707 | 1.4908 | 3.0905 | 0.11733 | 1.7168 | -2.9381 | -0.092477 | -1.7429 | -60.9967 | -129.5961 | -7.1221 | 119.0059 | 49.8201 | 173.0652 |  | 0.99104 | 1.2187 | 1.1624 | 0.92746 | 1.2131 | 1.2025 | -9.8174 | -121.5631 | 122.286 | -8.5297 | -123.8 | 123.6069
Line_2 | 0.34663 | 0.059666 | 0.16554 | 0.34598 | 0.059414 | 0.16517 | 4.0026 | 0.68896 | 1.9115 | 3.995 | 0.68605 | 1.9072 | 2.4867 | 0.83139 | -1.4106 | -2.2574 | -0.82707 | 1.4908 | 3.0905 | 0.11733 | 1.7168 | -2.9381 | -0.092477 | -1.7429 | -60.9967 | -129.5961 | -7.1221 | 119.0059 | 49.8201 | 173.0652 |  | 0.99104 | 1.2187 | 1.1624 | 0.92746 | 1.2131 | 1.2025 | -9.8174 | -121.5631 | 122.286 | -8.5297 | -123.8 | 123.6069
Line_3 | 0.00029764 | 0.00029764 | 0.00029764 | 0.00029764 | 0.00029764 | 0.00029764 | 0.0034368 | 0.0034368 | 0.0034368 | 0.0034368 | 0.0034368 | 0.0034368 | 0.0025447 | 0.0014265 | -0.0039712 | 0.0025447 | 0.0014265 | -0.0039712 | 0.0022639 | -0.003938 | 0.00043415 | 0.0022639 | -0.003938 | 0.00043415 | -51.475 | -51.475 | -51.475 | -51.475 | -51.475 | -51.475 |  | 0.99104 | 1.2187 | 1.1624 | 0.99104 | 1.2187 | 1.1624 | -9.8174 | -121.5631 | 122.286 | -9.8174 | -121.5631 | 122.286

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69109 | 0.11819 | 0.33013 | 0.69195 | 0.11883 | 0.33034 | 7.98 | 1.3647 | 3.812 | 7.99 | 1.3721 | 3.8145 | -3.6171 | -1.6466 | 3.3246 | 4.5148 | 1.6541 | -2.9816 | -5.2825 | -0.063501 | -3.5936 | 5.8762 | 0.18495 | 3.4859 | 119.0357 | 49.4901 | 173.2232 | -60.9941 | -130.1799 | -6.9348 |  | 0.80229 | 1.2075 | 1.2843 | 0.92746 | 1.2131 | 1.2025 | -5.3651 | -128.3014 | 125.9964 | -8.5297 | -123.8 | 123.6069
Line_1 | 0.34663 | 0.059666 | 0.16554 | 0.34598 | 0.059414 | 0.16517 | 4.0026 | 0.68896 | 1.9115 | 3.995 | 0.68605 | 1.9072 | 2.4867 | 0.83139 | -1.4106 | -2.2574 | -0.82707 | 1.4908 | 3.0905 | 0.11733 | 1.7168 | -2.9381 | -0.092477 | -1.7429 | -60.9967 | -129.5961 | -7.1221 | 119.0059 | 49.8201 | 173.0652 |  | 0.99104 | 1.2187 | 1.1624 | 0.92746 | 1.2131 | 1.2025 | -9.8174 | -121.5631 | 122.286 | -8.5297 | -123.8 | 123.6069
Line_2 | 0.34663 | 0.059666 | 0.16554 | 0.34598 | 0.059414 | 0.16517 | 4.0026 | 0.68896 | 1.9115 | 3.995 | 0.68605 | 1.9072 | 2.4867 | 0.83139 | -1.4106 | -2.2574 | -0.82707 | 1.4908 | 3.0905 | 0.11733 | 1.7168 | -2.9381 | -0.092477 | -1.7429 | -60.9967 | -129.5961 | -7.1221 | 119.0059 | 49.8201 | 173.0652 |  | 0.99104 | 1.2187 | 1.1624 | 0.92746 | 1.2131 | 1.2025 | -9.8174 | -121.5631 | 122.286 | -8.5297 | -123.8 | 123.6069
Line_3 | 0.00029764 | 0.00029764 | 0.00029764 | 0.00029764 | 0.00029764 | 0.00029764 | 0.0034368 | 0.0034368 | 0.0034368 | 0.0034368 | 0.0034368 | 0.0034368 | 0.0025447 | 0.0014265 | -0.0039712 | 0.0025447 | 0.0014265 | -0.0039712 | 0.0022639 | -0.003938 | 0.00043415 | 0.0022639 | -0.003938 | 0.00043415 | -51.475 | -51.475 | -51.475 | -51.475 | -51.475 | -51.475 |  | 0.99104 | 1.2187 | 1.1624 | 0.99104 | 1.2187 | 1.1624 | -9.8174 | -121.5631 | 122.286 | -9.8174 | -121.5631 | 122.286

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1446 | 0.49709 | 0.41142 | 1.1462 | 0.49883 | 0.4131 | 13.2171 | 5.7399 | 4.7507 | 13.2347 | 5.76 | 4.77 | -2.7284e-11 | 1.4776 | 7.4456 | 6.1172 | 0.84926 | -5.5911 | 2.7464e-12 | 6.7277 | -0.012565 | 1.2769 | -6.1723 | 0.38189 | 137.0417 | 131.1014 | 133.0732 | -43.0659 | -49.1265 | -47.2101 |  | 0 | 1.2 | 1.5673 | 0.47217 | 1.0817 | 1.1749 | 0 | -151.286 | 132.9765 | -31.2756 | -131.2922 | 128.8825
Line_1 | 0.57435 | 0.25074 | 0.20785 | 0.57308 | 0.24942 | 0.20655 | 6.632 | 2.8953 | 2.4001 | 6.6174 | 2.88 | 2.385 | 4.6019 | 1.0136 | -2.3379 | -3.0586 | -0.42463 | 2.7955 | 0.96187 | -2.9546 | 0.28815 | -0.63843 | 3.0861 | -0.19094 | -43.1233 | -49.2267 | -47.3431 | 136.9341 | 130.8735 | 132.7899 |  | 0.70889 | 1.0789 | 0.98146 | 0.47217 | 1.0817 | 1.1749 | -31.3176 | -120.2917 | 125.6307 | -31.2756 | -131.2922 | 128.8825
Line_2 | 0.57435 | 0.25074 | 0.20785 | 0.57308 | 0.24942 | 0.20655 | 6.632 | 2.8953 | 2.4001 | 6.6174 | 2.88 | 2.385 | 4.6019 | 1.0136 | -2.3379 | -3.0586 | -0.42463 | 2.7955 | 0.96187 | -2.9546 | 0.28815 | -0.63843 | 3.0861 | -0.19094 | -43.1233 | -49.2267 | -47.3431 | 136.9341 | 130.8735 | 132.7899 |  | 0.70889 | 1.0789 | 0.98146 | 0.47217 | 1.0817 | 1.1749 | -31.3176 | -120.2917 | 125.6307 | -31.2756 | -131.2922 | 128.8825
Line_3 | 0.00059075 | 0.00059075 | 0.00059075 | 0.00059075 | 0.00059075 | 0.00059075 | 0.0068214 | 0.0068214 | 0.0068214 | 0.0068214 | 0.0068214 | 0.0068214 | 0.0046892 | 0.0019249 | -0.0066141 | 0.0046892 | 0.0019249 | -0.0066141 | 0.001181 | -0.0071033 | 0.0010376 | 0.001181 | -0.0071033 | 0.0010376 | -45.4536 | -45.4536 | -45.4536 | -45.4536 | -45.4536 | -45.4536 |  | 0.70889 | 1.0789 | 0.98146 | 0.70889 | 1.0789 | 0.98146 | -31.3176 | -120.2917 | 125.6307 | -31.3176 | -120.2917 | 125.6307

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1446 | 0.49709 | 0.41142 | 1.1462 | 0.49883 | 0.4131 | 13.2171 | 5.7399 | 4.7507 | 13.2347 | 5.76 | 4.77 | -2.7284e-11 | 1.4776 | 7.4456 | 6.1172 | 0.84926 | -5.5911 | 2.7464e-12 | 6.7277 | -0.012565 | 1.2769 | -6.1723 | 0.38189 | 137.0417 | 131.1014 | 133.0732 | -43.0659 | -49.1265 | -47.2101 |  | 0 | 1.2 | 1.5673 | 0.47217 | 1.0817 | 1.1749 | 0 | -151.286 | 132.9765 | -31.2756 | -131.2922 | 128.8825
Line_1 | 0.57435 | 0.25074 | 0.20785 | 0.57308 | 0.24942 | 0.20655 | 6.632 | 2.8953 | 2.4001 | 6.6174 | 2.88 | 2.385 | 4.6019 | 1.0136 | -2.3379 | -3.0586 | -0.42463 | 2.7955 | 0.96187 | -2.9546 | 0.28815 | -0.63843 | 3.0861 | -0.19094 | -43.1233 | -49.2267 | -47.3431 | 136.9341 | 130.8735 | 132.7899 |  | 0.70889 | 1.0789 | 0.98146 | 0.47217 | 1.0817 | 1.1749 | -31.3176 | -120.2917 | 125.6307 | -31.2756 | -131.2922 | 128.8825
Line_2 | 0.57435 | 0.25074 | 0.20785 | 0.57308 | 0.24942 | 0.20655 | 6.632 | 2.8953 | 2.4001 | 6.6174 | 2.88 | 2.385 | 4.6019 | 1.0136 | -2.3379 | -3.0586 | -0.42463 | 2.7955 | 0.96187 | -2.9546 | 0.28815 | -0.63843 | 3.0861 | -0.19094 | -43.1233 | -49.2267 | -47.3431 | 136.9341 | 130.8735 | 132.7899 |  | 0.70889 | 1.0789 | 0.98146 | 0.47217 | 1.0817 | 1.1749 | -31.3176 | -120.2917 | 125.6307 | -31.2756 | -131.2922 | 128.8825
Line_3 | 0.00059075 | 0.00059075 | 0.00059075 | 0.00059075 | 0.00059075 | 0.00059075 | 0.0068214 | 0.0068214 | 0.0068214 | 0.0068214 | 0.0068214 | 0.0068214 | 0.0046892 | 0.0019249 | -0.0066141 | 0.0046892 | 0.0019249 | -0.0066141 | 0.001181 | -0.0071033 | 0.0010376 | 0.001181 | -0.0071033 | 0.0010376 | -45.4536 | -45.4536 | -45.4536 | -45.4536 | -45.4536 | -45.4536 |  | 0.70889 | 1.0789 | 0.98146 | 0.70889 | 1.0789 | 0.98146 | -31.3176 | -120.2917 | 125.6307 | -31.3176 | -120.2917 | 125.6307

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38915 | 0.169 | 0.13988 | 0.38967 | 0.16959 | 0.14044 | 4.4936 | 1.9515 | 1.6151 | 4.4995 | 1.9583 | 1.6217 | -2.3789 | -0.11424 | 1.8692 | 3.0857 | 0.38921 | -1.6607 | -1.7809 | 2.0363 | -0.35293 | 1.9353 | -1.9753 | 0.39203 | 141.0969 | 135.1566 | 137.1284 | -39.0107 | -45.0713 | -43.1549 |  | 0.66131 | 1.0451 | 1.1778 | 0.80951 | 1.0281 | 1.0522 | -2.0835 | -131.6324 | 126.4363 | -6.9156 | -123.9247 | 123.5628
Line_1 | 0.19527 | 0.085246 | 0.070666 | 0.19484 | 0.084797 | 0.070222 | 2.2547 | 0.98434 | 0.81598 | 2.2498 | 0.97915 | 0.81086 | 1.723 | 0.26456 | -0.78107 | -1.5429 | -0.19461 | 0.83036 | 1.0082 | -0.97555 | 0.20717 | -0.96766 | 0.98767 | -0.19602 | -39.0681 | -45.1715 | -43.2879 | 140.9893 | 134.9287 | 136.8451 |  | 0.88537 | 1.0269 | 0.99031 | 0.80951 | 1.0281 | 1.0522 | -8.7339 | -119.9981 | 121.8574 | -6.9156 | -123.9247 | 123.5628
Line_2 | 0.19527 | 0.085246 | 0.070666 | 0.19484 | 0.084797 | 0.070222 | 2.2547 | 0.98434 | 0.81598 | 2.2498 | 0.97915 | 0.81086 | 1.723 | 0.26456 | -0.78107 | -1.5429 | -0.19461 | 0.83036 | 1.0082 | -0.97555 | 0.20717 | -0.96766 | 0.98767 | -0.19602 | -39.0681 | -45.1715 | -43.2879 | 140.9893 | 134.9287 | 136.8451 |  | 0.88537 | 1.0269 | 0.99031 | 0.80951 | 1.0281 | 1.0522 | -8.7339 | -119.9981 | 121.8574 | -6.9156 | -123.9247 | 123.5628
Line_3 | 0.00020084 | 0.00020084 | 0.00020084 | 0.00020084 | 0.00020084 | 0.00020084 | 0.0023192 | 0.0023192 | 0.0023192 | 0.0023192 | 0.0023192 | 0.0023192 | 0.0017286 | 0.00047073 | -0.0021993 | 0.0017286 | 0.00047073 | -0.0021993 | 0.0011082 | -0.0023345 | 0.00066167 | 0.0011082 | -0.0023345 | 0.00066167 | -41.3984 | -41.3984 | -41.3984 | -41.3984 | -41.3984 | -41.3984 |  | 0.88537 | 1.0269 | 0.99031 | 0.88537 | 1.0269 | 0.99031 | -8.7339 | -119.9981 | 121.8574 | -8.7339 | -119.9981 | 121.8574

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38915 | 0.169 | 0.13988 | 0.38967 | 0.16959 | 0.14044 | 4.4936 | 1.9515 | 1.6151 | 4.4995 | 1.9583 | 1.6217 | -2.3789 | -0.11424 | 1.8692 | 3.0857 | 0.38921 | -1.6607 | -1.7809 | 2.0363 | -0.35293 | 1.9353 | -1.9753 | 0.39203 | 141.0969 | 135.1566 | 137.1284 | -39.0107 | -45.0713 | -43.1549 |  | 0.66131 | 1.0451 | 1.1778 | 0.80951 | 1.0281 | 1.0522 | -2.0835 | -131.6324 | 126.4363 | -6.9156 | -123.9247 | 123.5628
Line_1 | 0.19527 | 0.085246 | 0.070666 | 0.19484 | 0.084797 | 0.070222 | 2.2547 | 0.98434 | 0.81598 | 2.2498 | 0.97915 | 0.81086 | 1.723 | 0.26456 | -0.78107 | -1.5429 | -0.19461 | 0.83036 | 1.0082 | -0.97555 | 0.20717 | -0.96766 | 0.98767 | -0.19602 | -39.0681 | -45.1715 | -43.2879 | 140.9893 | 134.9287 | 136.8451 |  | 0.88537 | 1.0269 | 0.99031 | 0.80951 | 1.0281 | 1.0522 | -8.7339 | -119.9981 | 121.8574 | -6.9156 | -123.9247 | 123.5628
Line_2 | 0.19527 | 0.085246 | 0.070666 | 0.19484 | 0.084797 | 0.070222 | 2.2547 | 0.98434 | 0.81598 | 2.2498 | 0.97915 | 0.81086 | 1.723 | 0.26456 | -0.78107 | -1.5429 | -0.19461 | 0.83036 | 1.0082 | -0.97555 | 0.20717 | -0.96766 | 0.98767 | -0.19602 | -39.0681 | -45.1715 | -43.2879 | 140.9893 | 134.9287 | 136.8451 |  | 0.88537 | 1.0269 | 0.99031 | 0.80951 | 1.0281 | 1.0522 | -8.7339 | -119.9981 | 121.8574 | -6.9156 | -123.9247 | 123.5628
Line_3 | 0.00020084 | 0.00020084 | 0.00020084 | 0.00020084 | 0.00020084 | 0.00020084 | 0.0023192 | 0.0023192 | 0.0023192 | 0.0023192 | 0.0023192 | 0.0023192 | 0.0017286 | 0.00047073 | -0.0021993 | 0.0017286 | 0.00047073 | -0.0021993 | 0.0011082 | -0.0023345 | 0.00066167 | 0.0011082 | -0.0023345 | 0.00066167 | -41.3984 | -41.3984 | -41.3984 | -41.3984 | -41.3984 | -41.3984 |  | 0.88537 | 1.0269 | 0.99031 | 0.88537 | 1.0269 | 0.99031 | -8.7339 | -119.9981 | 121.8574 | -8.7339 | -119.9981 | 121.8574

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17765 | 2.0248 | 1.3415 | 0.17942 | 2.0254 | 1.343 | 2.0514 | 23.3805 | 15.4907 | 2.0717 | 23.3877 | 15.5079 | 1.9727 | 3.8502e-11 | 2.3877e-11 | -1.5735 | 6.294 | 0.87809 | 2.4751 | -2.3353e-11 | -1.766e-11 | -2.3724 | 0.51124 | 4.0991 | -54.3778 | -12.8135 | -128.7067 | 125.2873 | 167.1313 | 51.3536 |  | 1.5429 | 0 | 0 | 1.3741 | 0.27 | 0.27032 | -2.9339 | 0 | 0 | 1.732 | 171.775 | 129.2627
Line_1 | 0.091129 | 1.0136 | 0.67213 | 0.089709 | 1.0127 | 0.67151 | 1.0523 | 11.7043 | 7.7611 | 1.0359 | 11.6939 | 7.7539 | -0.69317 | 4.7281 | 0.66582 | 0.78677 | -3.147 | -0.43904 | -1.1714 | 0.38598 | 3.079 | 1.1862 | -0.25562 | -2.0495 | 125.1414 | 167.068 | 51.4644 | -54.7127 | -12.8687 | -128.6464 |  | 1.2936 | 0.40531 | 0.4059 | 1.3741 | 0.27 | 0.27032 | 4.5274 | 171.7349 | 129.2623 | 1.732 | 171.775 | 129.2627
Line_2 | 0.091129 | 1.0136 | 0.67213 | 0.089709 | 1.0127 | 0.67151 | 1.0523 | 11.7043 | 7.7611 | 1.0359 | 11.6939 | 7.7539 | -0.69317 | 4.7281 | 0.66582 | 0.78677 | -3.147 | -0.43904 | -1.1714 | 0.38598 | 3.079 | 1.1862 | -0.25562 | -2.0495 | 125.1414 | 167.068 | 51.4644 | -54.7127 | -12.8687 | -128.6464 |  | 1.2936 | 0.40531 | 0.4059 | 1.3741 | 0.27 | 0.27032 | 4.5274 | 171.7349 | 129.2623 | 1.732 | 171.775 | 129.2627
Line_3 | 0.00065174 | 0.00065174 | 0.00065174 | 0.00065174 | 0.00065174 | 0.00065174 | 0.0075257 | 0.0075257 | 0.0075257 | 0.0075257 | 0.0075257 | 0.0075257 | -0.0052162 | 0.0021641 | 0.0030521 | -0.0052162 | 0.0021641 | 0.0030521 | -0.0082195 | 0.0021496 | 0.00012446 | -0.0082195 | 0.0021496 | 0.00012446 | 126.9271 | 126.9271 | 126.9271 | 126.9271 | 126.9271 | 126.9271 |  | 1.2936 | 0.40531 | 0.4059 | 1.2936 | 0.40531 | 0.4059 | 4.5274 | 171.7349 | 129.2623 | 4.5274 | 171.7349 | 129.2623

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17765 | 2.0248 | 1.3415 | 0.17942 | 2.0254 | 1.343 | 2.0514 | 23.3805 | 15.4907 | 2.0717 | 23.3877 | 15.5079 | 1.9727 | 3.8502e-11 | 2.3877e-11 | -1.5735 | 6.294 | 0.87809 | 2.4751 | -2.3353e-11 | -1.766e-11 | -2.3724 | 0.51124 | 4.0991 | -54.3778 | -12.8135 | -128.7067 | 125.2873 | 167.1313 | 51.3536 |  | 1.5429 | 0 | 0 | 1.3741 | 0.27 | 0.27032 | -2.9339 | 0 | 0 | 1.732 | 171.775 | 129.2627
Line_1 | 0.091129 | 1.0136 | 0.67213 | 0.089709 | 1.0127 | 0.67151 | 1.0523 | 11.7043 | 7.7611 | 1.0359 | 11.6939 | 7.7539 | -0.69317 | 4.7281 | 0.66582 | 0.78677 | -3.147 | -0.43904 | -1.1714 | 0.38598 | 3.079 | 1.1862 | -0.25562 | -2.0495 | 125.1414 | 167.068 | 51.4644 | -54.7127 | -12.8687 | -128.6464 |  | 1.2936 | 0.40531 | 0.4059 | 1.3741 | 0.27 | 0.27032 | 4.5274 | 171.7349 | 129.2623 | 1.732 | 171.775 | 129.2627
Line_2 | 0.091129 | 1.0136 | 0.67213 | 0.089709 | 1.0127 | 0.67151 | 1.0523 | 11.7043 | 7.7611 | 1.0359 | 11.6939 | 7.7539 | -0.69317 | 4.7281 | 0.66582 | 0.78677 | -3.147 | -0.43904 | -1.1714 | 0.38598 | 3.079 | 1.1862 | -0.25562 | -2.0495 | 125.1414 | 167.068 | 51.4644 | -54.7127 | -12.8687 | -128.6464 |  | 1.2936 | 0.40531 | 0.4059 | 1.3741 | 0.27 | 0.27032 | 4.5274 | 171.7349 | 129.2623 | 1.732 | 171.775 | 129.2627
Line_3 | 0.00065174 | 0.00065174 | 0.00065174 | 0.00065174 | 0.00065174 | 0.00065174 | 0.0075257 | 0.0075257 | 0.0075257 | 0.0075257 | 0.0075257 | 0.0075257 | -0.0052162 | 0.0021641 | 0.0030521 | -0.0052162 | 0.0021641 | 0.0030521 | -0.0082195 | 0.0021496 | 0.00012446 | -0.0082195 | 0.0021496 | 0.00012446 | 126.9271 | 126.9271 | 126.9271 | 126.9271 | 126.9271 | 126.9271 |  | 1.2936 | 0.40531 | 0.4059 | 1.2936 | 0.40531 | 0.4059 | 4.5274 | 171.7349 | 129.2623 | 4.5274 | 171.7349 | 129.2623

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10517 | 0.63868 | 0.573 | 0.10471 | 0.63897 | 0.57373 | 1.2144 | 7.3749 | 6.6165 | 1.209 | 7.3782 | 6.6249 | 1.1145 | -2.0527 | -4.8069 | -1.0903 | 2.7899 | 5.1325 | -1.1199 | -6.4473 | -3.0772 | 1.0234 | 6.4883 | 3.7625 | 43.9644 | -12.4285 | -107.0127 | -136.3972 | 167.5039 | 73.0224 |  | 1.3011 | 0.91746 | 0.86262 | 1.2368 | 0.95723 | 0.96061 | -1.1731 | -120.0895 | 105.6127 | 0.41629 | -125.7636 | 109.2666
Line_1 | 0.052222 | 0.31987 | 0.28725 | 0.052353 | 0.31949 | 0.28687 | 0.603 | 3.6935 | 3.3169 | 0.60452 | 3.6891 | 3.3124 | -0.54233 | 1.579 | 2.6525 | 0.54514 | -1.395 | -2.5663 | 0.4835 | 3.2587 | 2.0518 | -0.51168 | -3.2441 | -1.8813 | -137.002 | 167.4288 | 73.105 | 43.6028 | -12.4961 | -106.9776 |  | 1.2049 | 0.98038 | 1.011 | 1.2368 | 0.95723 | 0.96061 | 1.2801 | -128.4246 | 110.8283 | 0.41629 | -125.7636 | 109.2666
Line_2 | 0.052222 | 0.31987 | 0.28725 | 0.052353 | 0.31949 | 0.28687 | 0.603 | 3.6935 | 3.3169 | 0.60452 | 3.6891 | 3.3124 | -0.54233 | 1.579 | 2.6525 | 0.54514 | -1.395 | -2.5663 | 0.4835 | 3.2587 | 2.0518 | -0.51168 | -3.2441 | -1.8813 | -137.002 | 167.4288 | 73.105 | 43.6028 | -12.4961 | -106.9776 |  | 1.2049 | 0.98038 | 1.011 | 1.2368 | 0.95723 | 0.96061 | 1.2801 | -128.4246 | 110.8283 | 0.41629 | -125.7636 | 109.2666
Line_3 | 0.00025714 | 0.00025714 | 0.00025714 | 0.00025714 | 0.00025714 | 0.00025714 | 0.0029692 | 0.0029692 | 0.0029692 | 0.0029692 | 0.0029692 | 0.0029692 | -0.0022782 | -0.00054257 | 0.0028207 | -0.0022782 | -0.00054257 | 0.0028207 | -0.0027584 | 0.0028599 | -0.0010269 | -0.0027584 | 0.0028599 | -0.0010269 | 130.8331 | 130.8331 | 130.8331 | 130.8331 | 130.8331 | 130.8331 |  | 1.2049 | 0.98038 | 1.011 | 1.2049 | 0.98038 | 1.011 | 1.2801 | -128.4246 | 110.8283 | 1.2801 | -128.4246 | 110.8283

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10517 | 0.63868 | 0.573 | 0.10471 | 0.63897 | 0.57373 | 1.2144 | 7.3749 | 6.6165 | 1.209 | 7.3782 | 6.6249 | 1.1145 | -2.0527 | -4.8069 | -1.0903 | 2.7899 | 5.1325 | -1.1199 | -6.4473 | -3.0772 | 1.0234 | 6.4883 | 3.7625 | 43.9644 | -12.4285 | -107.0127 | -136.3972 | 167.5039 | 73.0224 |  | 1.3011 | 0.91746 | 0.86262 | 1.2368 | 0.95723 | 0.96061 | -1.1731 | -120.0895 | 105.6127 | 0.41629 | -125.7636 | 109.2666
Line_1 | 0.052222 | 0.31987 | 0.28725 | 0.052353 | 0.31949 | 0.28687 | 0.603 | 3.6935 | 3.3169 | 0.60452 | 3.6891 | 3.3124 | -0.54233 | 1.579 | 2.6525 | 0.54514 | -1.395 | -2.5663 | 0.4835 | 3.2587 | 2.0518 | -0.51168 | -3.2441 | -1.8813 | -137.002 | 167.4288 | 73.105 | 43.6028 | -12.4961 | -106.9776 |  | 1.2049 | 0.98038 | 1.011 | 1.2368 | 0.95723 | 0.96061 | 1.2801 | -128.4246 | 110.8283 | 0.41629 | -125.7636 | 109.2666
Line_2 | 0.052222 | 0.31987 | 0.28725 | 0.052353 | 0.31949 | 0.28687 | 0.603 | 3.6935 | 3.3169 | 0.60452 | 3.6891 | 3.3124 | -0.54233 | 1.579 | 2.6525 | 0.54514 | -1.395 | -2.5663 | 0.4835 | 3.2587 | 2.0518 | -0.51168 | -3.2441 | -1.8813 | -137.002 | 167.4288 | 73.105 | 43.6028 | -12.4961 | -106.9776 |  | 1.2049 | 0.98038 | 1.011 | 1.2368 | 0.95723 | 0.96061 | 1.2801 | -128.4246 | 110.8283 | 0.41629 | -125.7636 | 109.2666
Line_3 | 0.00025714 | 0.00025714 | 0.00025714 | 0.00025714 | 0.00025714 | 0.00025714 | 0.0029692 | 0.0029692 | 0.0029692 | 0.0029692 | 0.0029692 | 0.0029692 | -0.0022782 | -0.00054257 | 0.0028207 | -0.0022782 | -0.00054257 | 0.0028207 | -0.0027584 | 0.0028599 | -0.0010269 | -0.0027584 | 0.0028599 | -0.0010269 | 130.8331 | 130.8331 | 130.8331 | 130.8331 | 130.8331 | 130.8331 |  | 1.2049 | 0.98038 | 1.011 | 1.2049 | 0.98038 | 1.011 | 1.2801 | -128.4246 | 110.8283 | 1.2801 | -128.4246 | 110.8283

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18805 | 1.5816 | 0.85486 | 0.18958 | 1.5816 | 0.85599 | 2.1714 | 18.2623 | 9.8711 | 2.1891 | 18.2628 | 9.8841 | 1.5593 | -2.9671e-11 | -1.201e-11 | -1.1234 | 6.2182 | 0.03266 | 2.5789 | -2.4064e-11 | -1.7108e-11 | -2.2804 | -0.50132 | 2.603 | -61.8193 | 3.0103 | -132.9646 | 117.9776 | -177.0501 | 47.1174 |  | 1.3879 | 0 | 0 | 1.1613 | 0.34159 | 0.26337 | -2.9776 | 0 | 0 | 1.7505 | 178.3406 | 136.3986
Line_1 | 0.095663 | 0.79126 | 0.42819 | 0.094789 | 0.7908 | 0.428 | 1.1046 | 9.1367 | 4.9443 | 1.0945 | 9.1314 | 4.9421 | -0.45661 | 4.669 | 0.029114 | 0.56171 | -3.1091 | -0.01633 | -1.0682 | -0.37596 | 1.9555 | 1.1402 | 0.25066 | -1.3015 | 118.0381 | -177.1043 | 47.2323 | -62.0224 | 2.9499 | -132.8826 |  | 1.0516 | 0.51267 | 0.39556 | 1.1613 | 0.34159 | 0.26337 | 4.8929 | 178.2921 | 136.3793 | 1.7505 | 178.3406 | 136.3986
Line_2 | 0.095663 | 0.79126 | 0.42819 | 0.094789 | 0.7908 | 0.428 | 1.1046 | 9.1367 | 4.9443 | 1.0945 | 9.1314 | 4.9421 | -0.45661 | 4.669 | 0.029114 | 0.56171 | -3.1091 | -0.01633 | -1.0682 | -0.37596 | 1.9555 | 1.1402 | 0.25066 | -1.3015 | 118.0381 | -177.1043 | 47.2323 | -62.0224 | 2.9499 | -132.8826 |  | 1.0516 | 0.51267 | 0.39556 | 1.1613 | 0.34159 | 0.26337 | 4.8929 | 178.2921 | 136.3793 | 1.7505 | 178.3406 | 136.3986
Line_3 | 0.00037333 | 0.00037333 | 0.00037333 | 0.00037333 | 0.00037333 | 0.00037333 | 0.0043109 | 0.0043109 | 0.0043109 | 0.0043109 | 0.0043109 | 0.0043109 | -0.0035589 | 0.0018808 | 0.0016781 | -0.0035589 | 0.0018808 | 0.0016781 | -0.0028084 | 0.0011606 | -0.00030302 | -0.0028084 | 0.0011606 | -0.00030302 | 146.6154 | 146.6154 | 146.6154 | 146.6154 | 146.6154 | 146.6154 |  | 1.0516 | 0.51267 | 0.39556 | 1.0516 | 0.51267 | 0.39556 | 4.8929 | 178.2921 | 136.3793 | 4.8929 | 178.2921 | 136.3793

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18805 | 1.5816 | 0.85486 | 0.18958 | 1.5816 | 0.85599 | 2.1714 | 18.2623 | 9.8711 | 2.1891 | 18.2628 | 9.8841 | 1.5593 | -2.9671e-11 | -1.201e-11 | -1.1234 | 6.2182 | 0.03266 | 2.5789 | -2.4064e-11 | -1.7108e-11 | -2.2804 | -0.50132 | 2.603 | -61.8193 | 3.0103 | -132.9646 | 117.9776 | -177.0501 | 47.1174 |  | 1.3879 | 0 | 0 | 1.1613 | 0.34159 | 0.26337 | -2.9776 | 0 | 0 | 1.7505 | 178.3406 | 136.3986
Line_1 | 0.095663 | 0.79126 | 0.42819 | 0.094789 | 0.7908 | 0.428 | 1.1046 | 9.1367 | 4.9443 | 1.0945 | 9.1314 | 4.9421 | -0.45661 | 4.669 | 0.029114 | 0.56171 | -3.1091 | -0.01633 | -1.0682 | -0.37596 | 1.9555 | 1.1402 | 0.25066 | -1.3015 | 118.0381 | -177.1043 | 47.2323 | -62.0224 | 2.9499 | -132.8826 |  | 1.0516 | 0.51267 | 0.39556 | 1.1613 | 0.34159 | 0.26337 | 4.8929 | 178.2921 | 136.3793 | 1.7505 | 178.3406 | 136.3986
Line_2 | 0.095663 | 0.79126 | 0.42819 | 0.094789 | 0.7908 | 0.428 | 1.1046 | 9.1367 | 4.9443 | 1.0945 | 9.1314 | 4.9421 | -0.45661 | 4.669 | 0.029114 | 0.56171 | -3.1091 | -0.01633 | -1.0682 | -0.37596 | 1.9555 | 1.1402 | 0.25066 | -1.3015 | 118.0381 | -177.1043 | 47.2323 | -62.0224 | 2.9499 | -132.8826 |  | 1.0516 | 0.51267 | 0.39556 | 1.1613 | 0.34159 | 0.26337 | 4.8929 | 178.2921 | 136.3793 | 1.7505 | 178.3406 | 136.3986
Line_3 | 0.00037333 | 0.00037333 | 0.00037333 | 0.00037333 | 0.00037333 | 0.00037333 | 0.0043109 | 0.0043109 | 0.0043109 | 0.0043109 | 0.0043109 | 0.0043109 | -0.0035589 | 0.0018808 | 0.0016781 | -0.0035589 | 0.0018808 | 0.0016781 | -0.0028084 | 0.0011606 | -0.00030302 | -0.0028084 | 0.0011606 | -0.00030302 | 146.6154 | 146.6154 | 146.6154 | 146.6154 | 146.6154 | 146.6154 |  | 1.0516 | 0.51267 | 0.39556 | 1.0516 | 0.51267 | 0.39556 | 4.8929 | 178.2921 | 136.3793 | 4.8929 | 178.2921 | 136.3793

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12096 | 0.36613 | 0.32055 | 0.12157 | 0.36599 | 0.32129 | 1.3967 | 4.2277 | 3.7014 | 1.4037 | 4.2261 | 3.71 | 1.017 | -2.1157 | -2.6123 | -0.87198 | 2.5795 | 2.9387 | 1.2727 | -2.6605 | -0.38735 | -1.2121 | 2.4654 | 0.76455 | -53.8638 | 10.9068 | -84.0893 | 125.9326 | -169.208 | 95.8986 |  | 1.1664 | 0.80403 | 0.71346 | 1.0637 | 0.84432 | 0.81848 | -2.4919 | -117.5861 | 104.3452 | 0.20108 | -125.5044 | 110.4815
Line_1 | 0.061175 | 0.18313 | 0.161 | 0.060783 | 0.183 | 0.16065 | 0.70639 | 2.1146 | 1.8591 | 0.70187 | 2.1131 | 1.855 | -0.40166 | 1.4061 | 1.5538 | 0.43599 | -1.2898 | -1.4694 | -0.59241 | 1.1863 | 0.47583 | 0.60604 | -1.2327 | -0.38227 | 125.9002 | -169.3235 | 95.9577 | -54.0674 | 10.792 | -84.1014 |  | 1.0132 | 0.86997 | 0.8741 | 1.0637 | 0.84432 | 0.81848 | 1.7624 | -129.168 | 112.9838 | 0.20108 | -125.5044 | 110.4815
Line_2 | 0.061175 | 0.18313 | 0.161 | 0.060783 | 0.183 | 0.16065 | 0.70639 | 2.1146 | 1.8591 | 0.70187 | 2.1131 | 1.855 | -0.40166 | 1.4061 | 1.5538 | 0.43599 | -1.2898 | -1.4694 | -0.59241 | 1.1863 | 0.47583 | 0.60604 | -1.2327 | -0.38227 | 125.9002 | -169.3235 | 95.9577 | -54.0674 | 10.792 | -84.1014 |  | 1.0132 | 0.86997 | 0.8741 | 1.0637 | 0.84432 | 0.81848 | 1.7624 | -129.168 | 112.9838 | 0.20108 | -125.5044 | 110.4815
Line_3 | 0.00016689 | 0.00016689 | 0.00016689 | 0.00016689 | 0.00016689 | 0.00016689 | 0.0019271 | 0.0019271 | 0.0019271 | 0.0019271 | 0.0019271 | 0.0019271 | -0.0015208 | 6.1012e-05 | 0.0014598 | -0.0015208 | 6.1012e-05 | 0.0014598 | -0.0012247 | 0.0016754 | -0.00084056 | -0.0012247 | 0.0016754 | -0.00084056 | 142.9176 | 142.9176 | 142.9176 | 142.9176 | 142.9176 | 142.9176 |  | 1.0132 | 0.86997 | 0.8741 | 1.0132 | 0.86997 | 0.8741 | 1.7624 | -129.168 | 112.9838 | 1.7624 | -129.168 | 112.9838

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12096 | 0.36613 | 0.32055 | 0.12157 | 0.36599 | 0.32129 | 1.3967 | 4.2277 | 3.7014 | 1.4037 | 4.2261 | 3.71 | 1.017 | -2.1157 | -2.6123 | -0.87198 | 2.5795 | 2.9387 | 1.2727 | -2.6605 | -0.38735 | -1.2121 | 2.4654 | 0.76455 | -53.8638 | 10.9068 | -84.0893 | 125.9326 | -169.208 | 95.8986 |  | 1.1664 | 0.80403 | 0.71346 | 1.0637 | 0.84432 | 0.81848 | -2.4919 | -117.5861 | 104.3452 | 0.20108 | -125.5044 | 110.4815
Line_1 | 0.061175 | 0.18313 | 0.161 | 0.060783 | 0.183 | 0.16065 | 0.70639 | 2.1146 | 1.8591 | 0.70187 | 2.1131 | 1.855 | -0.40166 | 1.4061 | 1.5538 | 0.43599 | -1.2898 | -1.4694 | -0.59241 | 1.1863 | 0.47583 | 0.60604 | -1.2327 | -0.38227 | 125.9002 | -169.3235 | 95.9577 | -54.0674 | 10.792 | -84.1014 |  | 1.0132 | 0.86997 | 0.8741 | 1.0637 | 0.84432 | 0.81848 | 1.7624 | -129.168 | 112.9838 | 0.20108 | -125.5044 | 110.4815
Line_2 | 0.061175 | 0.18313 | 0.161 | 0.060783 | 0.183 | 0.16065 | 0.70639 | 2.1146 | 1.8591 | 0.70187 | 2.1131 | 1.855 | -0.40166 | 1.4061 | 1.5538 | 0.43599 | -1.2898 | -1.4694 | -0.59241 | 1.1863 | 0.47583 | 0.60604 | -1.2327 | -0.38227 | 125.9002 | -169.3235 | 95.9577 | -54.0674 | 10.792 | -84.1014 |  | 1.0132 | 0.86997 | 0.8741 | 1.0637 | 0.84432 | 0.81848 | 1.7624 | -129.168 | 112.9838 | 0.20108 | -125.5044 | 110.4815
Line_3 | 0.00016689 | 0.00016689 | 0.00016689 | 0.00016689 | 0.00016689 | 0.00016689 | 0.0019271 | 0.0019271 | 0.0019271 | 0.0019271 | 0.0019271 | 0.0019271 | -0.0015208 | 6.1012e-05 | 0.0014598 | -0.0015208 | 6.1012e-05 | 0.0014598 | -0.0012247 | 0.0016754 | -0.00084056 | -0.0012247 | 0.0016754 | -0.00084056 | 142.9176 | 142.9176 | 142.9176 | 142.9176 | 142.9176 | 142.9176 |  | 1.0132 | 0.86997 | 0.8741 | 1.0132 | 0.86997 | 0.8741 | 1.7624 | -129.168 | 112.9838 | 1.7624 | -129.168 | 112.9838