## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1e-14 | 8.3334e-15 | 3.2366e-15 | 0 | 9.33e-15 | -3.8433e-15 | -1.151e-14 | -8.1647e-15 | 1.4767e-14 | 0 | 1.8499e-14 | 6.0011e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1e-14 | 8.3334e-15 | 3.2366e-15 | 0 | 9.33e-15 | -3.8433e-15 | -1.151e-14 | -8.1647e-15 | 1.4767e-14 | 0 | 1.8499e-14 | 6.0011e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7536e-15 | 1.1792e-14 | 7.9047e-15 | -1.3787e-15 | -5.606e-15 | -8.385e-15 | -8.2989e-15 | -9.5208e-15 | 2.107e-15 | -2.7669e-15 | 8.5219e-15 | -1.239e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7536e-15 | 1.1792e-14 | 7.9047e-15 | -1.3787e-15 | -5.606e-15 | -8.385e-15 | -8.2989e-15 | -9.5208e-15 | 2.107e-15 | -2.7669e-15 | 8.5219e-15 | -1.239e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4182e-15 | -4.3736e-15 | 2.7189e-15 | -7.2545e-15 | 9.4511e-15 | 1.022e-15 | 9.643e-17 | 5.2278e-15 | -4.763e-15 | -2.8929e-16 | -1.3421e-14 | 3.741e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4182e-15 | -4.3736e-15 | 2.7189e-15 | -7.2545e-15 | 9.4511e-15 | 1.022e-15 | 9.643e-17 | 5.2278e-15 | -4.763e-15 | -2.8929e-16 | -1.3421e-14 | 3.741e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2983e-15 | 2.677e-15 | 4.2072e-15 | -3.5945e-15 | 2.6993e-15 | -6.684e-15 | -2.3145e-15 | -3.4937e-15 | -6.1052e-16 | 2.3095e-15 | -4.0557e-16 | -1.9513e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2983e-15 | 2.677e-15 | 4.2072e-15 | -3.5945e-15 | 2.6993e-15 | -6.684e-15 | -2.3145e-15 | -3.4937e-15 | -6.1052e-16 | 2.3095e-15 | -4.0557e-16 | -1.9513e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7338 | 0.5345 | 0.69384 | 1.7363 | 0.53721 | 0.69538 | 20.0199 | 6.1719 | 8.0118 | 20.0496 | 6.2032 | 8.0296 | 9.261e-11 | -2.8397 | 12.2493 | 6.677 | 4.5058 | -9.8716 | -7.7454e-11 | 7.8254 | -3.0494 | 3.7685 | -6.8751 | 2.9257 | 115.9234 | 108.5571 | 147.1392 | -64.1186 | -71.5425 | -33.0601 |  | 0 | 1.3488 | 1.5756 | 0.38241 | 1.3251 | 1.2823 | 0 | -141.4982 | 133.1599 | -34.6779 | -128.3028 | 130.4314
Line_1 | 0.87017 | 0.27061 | 0.34931 | 0.86817 | 0.26861 | 0.34769 | 10.0479 | 3.1248 | 4.0335 | 10.0248 | 3.1016 | 4.0148 | 5.0245 | 2.6831 | -4.3549 | -3.3385 | -2.2529 | 4.9358 | 2.8348 | -3.2155 | 1.4319 | -1.8843 | 3.4376 | -1.4628 | -64.1306 | -71.526 | -33.255 | 115.8814 | 108.4575 | 146.9399 |  | 0.57415 | 1.3402 | 1.1365 | 0.38241 | 1.3251 | 1.2823 | -34.6995 | -121.6829 | 128.544 | -34.6779 | -128.3028 | 130.4314
Line_2 | 0.87017 | 0.27061 | 0.34931 | 0.86817 | 0.26861 | 0.34769 | 10.0479 | 3.1248 | 4.0335 | 10.0248 | 3.1016 | 4.0148 | 5.0245 | 2.6831 | -4.3549 | -3.3385 | -2.2529 | 4.9358 | 2.8348 | -3.2155 | 1.4319 | -1.8843 | 3.4376 | -1.4628 | -64.1306 | -71.526 | -33.255 | 115.8814 | 108.4575 | 146.9399 |  | 0.57415 | 1.3402 | 1.1365 | 0.38241 | 1.3251 | 1.2823 | -34.6995 | -121.6829 | 128.544 | -34.6779 | -128.3028 | 130.4314
Line_3 | 0.00091057 | 0.00091057 | 0.00091057 | 0.00091057 | 0.00091057 | 0.00091057 | 0.010514 | 0.010514 | 0.010514 | 0.010514 | 0.010514 | 0.010514 | 0.0055278 | 0.0063347 | -0.011863 | 0.0055278 | 0.0063347 | -0.011863 | 0.0024262 | -0.012588 | -0.0014441 | 0.0024262 | -0.012588 | -0.0014441 | -58.3967 | -58.3967 | -58.3967 | -58.3967 | -58.3967 | -58.3967 |  | 0.57415 | 1.3402 | 1.1365 | 0.57415 | 1.3402 | 1.1365 | -34.6995 | -121.6829 | 128.544 | -34.6995 | -121.6829 | 128.544

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7338 | 0.5345 | 0.69384 | 1.7363 | 0.53721 | 0.69538 | 20.0199 | 6.1719 | 8.0118 | 20.0496 | 6.2032 | 8.0296 | 9.261e-11 | -2.8397 | 12.2493 | 6.677 | 4.5058 | -9.8716 | -7.7454e-11 | 7.8254 | -3.0494 | 3.7685 | -6.8751 | 2.9257 | 115.9234 | 108.5571 | 147.1392 | -64.1186 | -71.5425 | -33.0601 |  | 0 | 1.3488 | 1.5756 | 0.38241 | 1.3251 | 1.2823 | 0 | -141.4982 | 133.1599 | -34.6779 | -128.3028 | 130.4314
Line_1 | 0.87017 | 0.27061 | 0.34931 | 0.86817 | 0.26861 | 0.34769 | 10.0479 | 3.1248 | 4.0335 | 10.0248 | 3.1016 | 4.0148 | 5.0245 | 2.6831 | -4.3549 | -3.3385 | -2.2529 | 4.9358 | 2.8348 | -3.2155 | 1.4319 | -1.8843 | 3.4376 | -1.4628 | -64.1306 | -71.526 | -33.255 | 115.8814 | 108.4575 | 146.9399 |  | 0.57415 | 1.3402 | 1.1365 | 0.38241 | 1.3251 | 1.2823 | -34.6995 | -121.6829 | 128.544 | -34.6779 | -128.3028 | 130.4314
Line_2 | 0.87017 | 0.27061 | 0.34931 | 0.86817 | 0.26861 | 0.34769 | 10.0479 | 3.1248 | 4.0335 | 10.0248 | 3.1016 | 4.0148 | 5.0245 | 2.6831 | -4.3549 | -3.3385 | -2.2529 | 4.9358 | 2.8348 | -3.2155 | 1.4319 | -1.8843 | 3.4376 | -1.4628 | -64.1306 | -71.526 | -33.255 | 115.8814 | 108.4575 | 146.9399 |  | 0.57415 | 1.3402 | 1.1365 | 0.38241 | 1.3251 | 1.2823 | -34.6995 | -121.6829 | 128.544 | -34.6779 | -128.3028 | 130.4314
Line_3 | 0.00091057 | 0.00091057 | 0.00091057 | 0.00091057 | 0.00091057 | 0.00091057 | 0.010514 | 0.010514 | 0.010514 | 0.010514 | 0.010514 | 0.010514 | 0.0055278 | 0.0063347 | -0.011863 | 0.0055278 | 0.0063347 | -0.011863 | 0.0024262 | -0.012588 | -0.0014441 | 0.0024262 | -0.012588 | -0.0014441 | -58.3967 | -58.3967 | -58.3967 | -58.3967 | -58.3967 | -58.3967 |  | 0.57415 | 1.3402 | 1.1365 | 0.57415 | 1.3402 | 1.1365 | -34.6995 | -121.6829 | 128.544 | -34.6995 | -121.6829 | 128.544

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67113 | 0.050464 | 0.36962 | 0.67201 | 0.050851 | 0.36986 | 7.7496 | 0.58271 | 4.268 | 7.7597 | 0.58717 | 4.2708 | -4.1889 | -0.70952 | 2.9578 | 4.9931 | 0.69939 | -2.5685 | -4.7065 | -0.13172 | -4.3688 | 5.3424 | 0.16979 | 4.2799 | 123.3839 | 43.1241 | -177.2796 | -56.6361 | -135.9488 | 2.5852 |  | 0.81303 | 1.2384 | 1.2362 | 0.94237 | 1.2257 | 1.1687 | -8.2857 | -126.3592 | 126.819 | -9.7007 | -122.3028 | 123.5548
Line_1 | 0.33664 | 0.025484 | 0.18531 | 0.336 | 0.025425 | 0.18493 | 3.8871 | 0.29426 | 2.1398 | 3.8798 | 0.29359 | 2.1354 | 2.703 | 0.34839 | -1.1919 | -2.4965 | -0.3497 | 1.2843 | 2.8332 | 0.088703 | 2.1196 | -2.6712 | -0.084897 | -2.14 | -56.6246 | -134.5241 | 2.428 | 123.3639 | 44.0512 | -177.4148 |  | 1.0074 | 1.2217 | 1.1364 | 0.94237 | 1.2257 | 1.1687 | -10.2766 | -120.2395 | 121.7771 | -9.7007 | -122.3028 | 123.5548
Line_2 | 0.33664 | 0.025484 | 0.18531 | 0.336 | 0.025425 | 0.18493 | 3.8871 | 0.29426 | 2.1398 | 3.8798 | 0.29359 | 2.1354 | 2.703 | 0.34839 | -1.1919 | -2.4965 | -0.3497 | 1.2843 | 2.8332 | 0.088703 | 2.1196 | -2.6712 | -0.084897 | -2.14 | -56.6246 | -134.5241 | 2.428 | 123.3639 | 44.0512 | -177.4148 |  | 1.0074 | 1.2217 | 1.1364 | 0.94237 | 1.2257 | 1.1687 | -10.2766 | -120.2395 | 121.7771 | -9.7007 | -122.3028 | 123.5548
Line_3 | 0.00028809 | 0.00028809 | 0.00028809 | 0.00028809 | 0.00028809 | 0.00028809 | 0.0033265 | 0.0033265 | 0.0033265 | 0.0033265 | 0.0033265 | 0.0033265 | 0.0029221 | 0.00065999 | -0.0035821 | 0.0029221 | 0.00065999 | -0.0035821 | 0.0016404 | -0.0040102 | 0.0012081 | 0.0016404 | -0.0040102 | 0.0012081 | -39.5855 | -39.5855 | -39.5855 | -39.5855 | -39.5855 | -39.5855 |  | 1.0074 | 1.2217 | 1.1364 | 1.0074 | 1.2217 | 1.1364 | -10.2766 | -120.2395 | 121.7771 | -10.2766 | -120.2395 | 121.7771

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67113 | 0.050464 | 0.36962 | 0.67201 | 0.050851 | 0.36986 | 7.7496 | 0.58271 | 4.268 | 7.7597 | 0.58717 | 4.2708 | -4.1889 | -0.70952 | 2.9578 | 4.9931 | 0.69939 | -2.5685 | -4.7065 | -0.13172 | -4.3688 | 5.3424 | 0.16979 | 4.2799 | 123.3839 | 43.1241 | -177.2796 | -56.6361 | -135.9488 | 2.5852 |  | 0.81303 | 1.2384 | 1.2362 | 0.94237 | 1.2257 | 1.1687 | -8.2857 | -126.3592 | 126.819 | -9.7007 | -122.3028 | 123.5548
Line_1 | 0.33664 | 0.025484 | 0.18531 | 0.336 | 0.025425 | 0.18493 | 3.8871 | 0.29426 | 2.1398 | 3.8798 | 0.29359 | 2.1354 | 2.703 | 0.34839 | -1.1919 | -2.4965 | -0.3497 | 1.2843 | 2.8332 | 0.088703 | 2.1196 | -2.6712 | -0.084897 | -2.14 | -56.6246 | -134.5241 | 2.428 | 123.3639 | 44.0512 | -177.4148 |  | 1.0074 | 1.2217 | 1.1364 | 0.94237 | 1.2257 | 1.1687 | -10.2766 | -120.2395 | 121.7771 | -9.7007 | -122.3028 | 123.5548
Line_2 | 0.33664 | 0.025484 | 0.18531 | 0.336 | 0.025425 | 0.18493 | 3.8871 | 0.29426 | 2.1398 | 3.8798 | 0.29359 | 2.1354 | 2.703 | 0.34839 | -1.1919 | -2.4965 | -0.3497 | 1.2843 | 2.8332 | 0.088703 | 2.1196 | -2.6712 | -0.084897 | -2.14 | -56.6246 | -134.5241 | 2.428 | 123.3639 | 44.0512 | -177.4148 |  | 1.0074 | 1.2217 | 1.1364 | 0.94237 | 1.2257 | 1.1687 | -10.2766 | -120.2395 | 121.7771 | -9.7007 | -122.3028 | 123.5548
Line_3 | 0.00028809 | 0.00028809 | 0.00028809 | 0.00028809 | 0.00028809 | 0.00028809 | 0.0033265 | 0.0033265 | 0.0033265 | 0.0033265 | 0.0033265 | 0.0033265 | 0.0029221 | 0.00065999 | -0.0035821 | 0.0029221 | 0.00065999 | -0.0035821 | 0.0016404 | -0.0040102 | 0.0012081 | 0.0016404 | -0.0040102 | 0.0012081 | -39.5855 | -39.5855 | -39.5855 | -39.5855 | -39.5855 | -39.5855 |  | 1.0074 | 1.2217 | 1.1364 | 1.0074 | 1.2217 | 1.1364 | -10.2766 | -120.2395 | 121.7771 | -10.2766 | -120.2395 | 121.7771

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0802 | 0.4735 | 0.41021 | 1.0819 | 0.4749 | 0.41134 | 12.4729 | 5.4675 | 4.7366 | 12.4927 | 5.4837 | 4.7498 | -2.4914e-11 | 2.3451 | 6.6493 | 5.3788 | -0.20106 | -4.8616 | 3.6327e-12 | 6.3583 | -1.9293 | 1.7317 | -6.1035 | 1.9324 | 135.1257 | 144.6285 | 151.5154 | -44.9711 | -35.6232 | -28.7963 |  | 0 | 1.2395 | 1.4617 | 0.45232 | 1.1136 | 1.1014 | 0 | -145.6166 | 135.3351 | -27.1252 | -127.5099 | 129.5263
Line_1 | 0.54222 | 0.23864 | 0.20679 | 0.54095 | 0.23745 | 0.20567 | 6.261 | 2.7556 | 2.3878 | 6.2464 | 2.7418 | 2.3749 | 4.0473 | 0.44148 | -1.9892 | -2.6894 | 0.10053 | 2.4308 | 1.303 | -2.9958 | 0.97207 | -0.86585 | 3.0518 | -0.96622 | -45.0108 | -35.7616 | -28.9942 | 135.0289 | 144.3768 | 151.2037 |  | 0.6791 | 1.0989 | 0.92724 | 0.45232 | 1.1136 | 1.1014 | -27.1652 | -117.3783 | 124.9624 | -27.1252 | -127.5099 | 129.5263
Line_2 | 0.54222 | 0.23864 | 0.20679 | 0.54095 | 0.23745 | 0.20567 | 6.261 | 2.7556 | 2.3878 | 6.2464 | 2.7418 | 2.3749 | 4.0473 | 0.44148 | -1.9892 | -2.6894 | 0.10053 | 2.4308 | 1.303 | -2.9958 | 0.97207 | -0.86585 | 3.0518 | -0.96622 | -45.0108 | -35.7616 | -28.9942 | 135.0289 | 144.3768 | 151.2037 |  | 0.6791 | 1.0989 | 0.92724 | 0.45232 | 1.1136 | 1.1014 | -27.1652 | -117.3783 | 124.9624 | -27.1252 | -127.5099 | 129.5263
Line_3 | 0.00056176 | 0.00056176 | 0.00056176 | 0.00056176 | 0.00056176 | 0.00056176 | 0.0064867 | 0.0064867 | 0.0064867 | 0.0064867 | 0.0064867 | 0.0064867 | 0.0043045 | 0.0014884 | -0.0057929 | 0.0043045 | 0.0014884 | -0.0057929 | 0.0009358 | -0.006971 | 0.0016182 | 0.0009358 | -0.006971 | 0.0016182 | -39.4304 | -39.4304 | -39.4304 | -39.4304 | -39.4304 | -39.4304 |  | 0.6791 | 1.0989 | 0.92724 | 0.6791 | 1.0989 | 0.92724 | -27.1652 | -117.3783 | 124.9624 | -27.1652 | -117.3783 | 124.9624

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0802 | 0.4735 | 0.41021 | 1.0819 | 0.4749 | 0.41134 | 12.4729 | 5.4675 | 4.7366 | 12.4927 | 5.4837 | 4.7498 | -2.4914e-11 | 2.3451 | 6.6493 | 5.3788 | -0.20106 | -4.8616 | 3.6327e-12 | 6.3583 | -1.9293 | 1.7317 | -6.1035 | 1.9324 | 135.1257 | 144.6285 | 151.5154 | -44.9711 | -35.6232 | -28.7963 |  | 0 | 1.2395 | 1.4617 | 0.45232 | 1.1136 | 1.1014 | 0 | -145.6166 | 135.3351 | -27.1252 | -127.5099 | 129.5263
Line_1 | 0.54222 | 0.23864 | 0.20679 | 0.54095 | 0.23745 | 0.20567 | 6.261 | 2.7556 | 2.3878 | 6.2464 | 2.7418 | 2.3749 | 4.0473 | 0.44148 | -1.9892 | -2.6894 | 0.10053 | 2.4308 | 1.303 | -2.9958 | 0.97207 | -0.86585 | 3.0518 | -0.96622 | -45.0108 | -35.7616 | -28.9942 | 135.0289 | 144.3768 | 151.2037 |  | 0.6791 | 1.0989 | 0.92724 | 0.45232 | 1.1136 | 1.1014 | -27.1652 | -117.3783 | 124.9624 | -27.1252 | -127.5099 | 129.5263
Line_2 | 0.54222 | 0.23864 | 0.20679 | 0.54095 | 0.23745 | 0.20567 | 6.261 | 2.7556 | 2.3878 | 6.2464 | 2.7418 | 2.3749 | 4.0473 | 0.44148 | -1.9892 | -2.6894 | 0.10053 | 2.4308 | 1.303 | -2.9958 | 0.97207 | -0.86585 | 3.0518 | -0.96622 | -45.0108 | -35.7616 | -28.9942 | 135.0289 | 144.3768 | 151.2037 |  | 0.6791 | 1.0989 | 0.92724 | 0.45232 | 1.1136 | 1.1014 | -27.1652 | -117.3783 | 124.9624 | -27.1252 | -127.5099 | 129.5263
Line_3 | 0.00056176 | 0.00056176 | 0.00056176 | 0.00056176 | 0.00056176 | 0.00056176 | 0.0064867 | 0.0064867 | 0.0064867 | 0.0064867 | 0.0064867 | 0.0064867 | 0.0043045 | 0.0014884 | -0.0057929 | 0.0043045 | 0.0014884 | -0.0057929 | 0.0009358 | -0.006971 | 0.0016182 | 0.0009358 | -0.006971 | 0.0016182 | -39.4304 | -39.4304 | -39.4304 | -39.4304 | -39.4304 | -39.4304 |  | 0.6791 | 1.0989 | 0.92724 | 0.6791 | 1.0989 | 0.92724 | -27.1652 | -117.3783 | 124.9624 | -27.1652 | -117.3783 | 124.9624

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38514 | 0.16883 | 0.14626 | 0.38575 | 0.16932 | 0.14666 | 4.4472 | 1.9494 | 1.6888 | 4.4543 | 1.9552 | 1.6935 | -2.6485 | 0.61834 | 1.5384 | 3.3344 | -0.34126 | -1.3178 | -1.2367 | 2.049 | -1.1123 | 1.4633 | -2.0216 | 1.1113 | 148.0179 | 157.5208 | 164.4077 | -32.0789 | -22.7309 | -15.904 |  | 0.65727 | 1.0979 | 1.1241 | 0.8175 | 1.0486 | 1.0179 | -6.9518 | -129.2722 | 128.5408 | -8.3845 | -122.3123 | 123.9555
Line_1 | 0.19333 | 0.085087 | 0.073729 | 0.19288 | 0.084662 | 0.073332 | 2.2324 | 0.9825 | 0.85135 | 2.2271 | 0.9776 | 0.84676 | 1.8425 | -0.101 | -0.60617 | -1.6672 | 0.17063 | 0.65891 | 0.78961 | -1.0072 | 0.55752 | -0.73166 | 1.0108 | -0.55565 | -32.1186 | -22.8694 | -16.1019 | 147.9211 | 157.2691 | 164.096 |  | 0.89796 | 1.0303 | 0.96737 | 0.8175 | 1.0486 | 1.0179 | -8.9209 | -118.5959 | 121.292 | -8.3845 | -122.3123 | 123.9555
Line_2 | 0.19333 | 0.085087 | 0.073729 | 0.19288 | 0.084662 | 0.073332 | 2.2324 | 0.9825 | 0.85135 | 2.2271 | 0.9776 | 0.84676 | 1.8425 | -0.101 | -0.60617 | -1.6672 | 0.17063 | 0.65891 | 0.78961 | -1.0072 | 0.55752 | -0.73166 | 1.0108 | -0.55565 | -32.1186 | -22.8694 | -16.1019 | 147.9211 | 157.2691 | 164.096 |  | 0.89796 | 1.0303 | 0.96737 | 0.8175 | 1.0486 | 1.0179 | -8.9209 | -118.5959 | 121.292 | -8.3845 | -122.3123 | 123.9555
Line_3 | 0.00020029 | 0.00020029 | 0.00020029 | 0.00020029 | 0.00020029 | 0.00020029 | 0.0023128 | 0.0023128 | 0.0023128 | 0.0023128 | 0.0023128 | 0.0023128 | 0.0019794 | -8.5562e-05 | -0.0018938 | 0.0019794 | -8.5562e-05 | -0.0018938 | 0.00062856 | -0.0023813 | 0.0011912 | 0.00062856 | -0.0023813 | 0.0011912 | -26.5381 | -26.5381 | -26.5381 | -26.5381 | -26.5381 | -26.5381 |  | 0.89796 | 1.0303 | 0.96737 | 0.89796 | 1.0303 | 0.96737 | -8.9209 | -118.5959 | 121.292 | -8.9209 | -118.5959 | 121.292

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38514 | 0.16883 | 0.14626 | 0.38575 | 0.16932 | 0.14666 | 4.4472 | 1.9494 | 1.6888 | 4.4543 | 1.9552 | 1.6935 | -2.6485 | 0.61834 | 1.5384 | 3.3344 | -0.34126 | -1.3178 | -1.2367 | 2.049 | -1.1123 | 1.4633 | -2.0216 | 1.1113 | 148.0179 | 157.5208 | 164.4077 | -32.0789 | -22.7309 | -15.904 |  | 0.65727 | 1.0979 | 1.1241 | 0.8175 | 1.0486 | 1.0179 | -6.9518 | -129.2722 | 128.5408 | -8.3845 | -122.3123 | 123.9555
Line_1 | 0.19333 | 0.085087 | 0.073729 | 0.19288 | 0.084662 | 0.073332 | 2.2324 | 0.9825 | 0.85135 | 2.2271 | 0.9776 | 0.84676 | 1.8425 | -0.101 | -0.60617 | -1.6672 | 0.17063 | 0.65891 | 0.78961 | -1.0072 | 0.55752 | -0.73166 | 1.0108 | -0.55565 | -32.1186 | -22.8694 | -16.1019 | 147.9211 | 157.2691 | 164.096 |  | 0.89796 | 1.0303 | 0.96737 | 0.8175 | 1.0486 | 1.0179 | -8.9209 | -118.5959 | 121.292 | -8.3845 | -122.3123 | 123.9555
Line_2 | 0.19333 | 0.085087 | 0.073729 | 0.19288 | 0.084662 | 0.073332 | 2.2324 | 0.9825 | 0.85135 | 2.2271 | 0.9776 | 0.84676 | 1.8425 | -0.101 | -0.60617 | -1.6672 | 0.17063 | 0.65891 | 0.78961 | -1.0072 | 0.55752 | -0.73166 | 1.0108 | -0.55565 | -32.1186 | -22.8694 | -16.1019 | 147.9211 | 157.2691 | 164.096 |  | 0.89796 | 1.0303 | 0.96737 | 0.8175 | 1.0486 | 1.0179 | -8.9209 | -118.5959 | 121.292 | -8.3845 | -122.3123 | 123.9555
Line_3 | 0.00020029 | 0.00020029 | 0.00020029 | 0.00020029 | 0.00020029 | 0.00020029 | 0.0023128 | 0.0023128 | 0.0023128 | 0.0023128 | 0.0023128 | 0.0023128 | 0.0019794 | -8.5562e-05 | -0.0018938 | 0.0019794 | -8.5562e-05 | -0.0018938 | 0.00062856 | -0.0023813 | 0.0011912 | 0.00062856 | -0.0023813 | 0.0011912 | -26.5381 | -26.5381 | -26.5381 | -26.5381 | -26.5381 | -26.5381 |  | 0.89796 | 1.0303 | 0.96737 | 0.89796 | 1.0303 | 0.96737 | -8.9209 | -118.5959 | 121.292 | -8.9209 | -118.5959 | 121.292

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16746 | 2.0193 | 1.3465 | 0.16873 | 2.0199 | 1.3479 | 1.9337 | 23.3165 | 15.548 | 1.9483 | 23.3241 | 15.5642 | 2.5037 | 4.9878e-11 | 3.1262e-11 | -2.1204 | 6.2323 | 0.77022 | 1.5092 | -3.388e-11 | -2.4825e-11 | -1.5465 | 0.64254 | 4.052 | -32.3658 | -12.5787 | -129.2795 | 147.1032 | 167.3675 | 50.7817 |  | 1.5118 | 0 | 0 | 1.3471 | 0.26862 | 0.265 | -1.2837 | 0 | 0 | 3.2084 | 173.2538 | 130.019
Line_1 | 0.085594 | 1.0109 | 0.6745 | 0.084364 | 1.01 | 0.67395 | 0.98835 | 11.6726 | 7.7885 | 0.97415 | 11.6621 | 7.7821 | -0.97049 | 4.6818 | 0.58456 | 1.0602 | -3.1162 | -0.38511 | -0.79319 | 0.48446 | 3.0435 | 0.77327 | -0.32127 | -2.026 | 146.6394 | 167.3066 | 50.8918 | -32.8968 | -12.6325 | -129.2183 |  | 1.2682 | 0.40323 | 0.39791 | 1.3471 | 0.26862 | 0.265 | 5.8989 | 173.2144 | 130.0195 | 3.2084 | 173.2538 | 130.019
Line_2 | 0.085594 | 1.0109 | 0.6745 | 0.084364 | 1.01 | 0.67395 | 0.98835 | 11.6726 | 7.7885 | 0.97415 | 11.6621 | 7.7821 | -0.97049 | 4.6818 | 0.58456 | 1.0602 | -3.1162 | -0.38511 | -0.79319 | 0.48446 | 3.0435 | 0.77327 | -0.32127 | -2.026 | 146.6394 | 167.3066 | 50.8918 | -32.8968 | -12.6325 | -129.2183 |  | 1.2682 | 0.40323 | 0.39791 | 1.3471 | 0.26862 | 0.265 | 5.8989 | 173.2144 | 130.0195 | 3.2084 | 173.2538 | 130.019
Line_3 | 0.00063861 | 0.00063861 | 0.00063861 | 0.00063861 | 0.00063861 | 0.00063861 | 0.0073741 | 0.0073741 | 0.0073741 | 0.0073741 | 0.0073741 | 0.0073741 | -0.0050491 | 0.0021158 | 0.0029333 | -0.0050491 | 0.0021158 | 0.0029333 | -0.0078713 | 0.0020892 | 7.3849e-05 | -0.0078713 | 0.0020892 | 7.3849e-05 | 128.5773 | 128.5773 | 128.5773 | 128.5773 | 128.5773 | 128.5773 |  | 1.2682 | 0.40323 | 0.39791 | 1.2682 | 0.40323 | 0.39791 | 5.8989 | 173.2144 | 130.0195 | 5.8989 | 173.2144 | 130.0195

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16746 | 2.0193 | 1.3465 | 0.16873 | 2.0199 | 1.3479 | 1.9337 | 23.3165 | 15.548 | 1.9483 | 23.3241 | 15.5642 | 2.5037 | 4.9878e-11 | 3.1262e-11 | -2.1204 | 6.2323 | 0.77022 | 1.5092 | -3.388e-11 | -2.4825e-11 | -1.5465 | 0.64254 | 4.052 | -32.3658 | -12.5787 | -129.2795 | 147.1032 | 167.3675 | 50.7817 |  | 1.5118 | 0 | 0 | 1.3471 | 0.26862 | 0.265 | -1.2837 | 0 | 0 | 3.2084 | 173.2538 | 130.019
Line_1 | 0.085594 | 1.0109 | 0.6745 | 0.084364 | 1.01 | 0.67395 | 0.98835 | 11.6726 | 7.7885 | 0.97415 | 11.6621 | 7.7821 | -0.97049 | 4.6818 | 0.58456 | 1.0602 | -3.1162 | -0.38511 | -0.79319 | 0.48446 | 3.0435 | 0.77327 | -0.32127 | -2.026 | 146.6394 | 167.3066 | 50.8918 | -32.8968 | -12.6325 | -129.2183 |  | 1.2682 | 0.40323 | 0.39791 | 1.3471 | 0.26862 | 0.265 | 5.8989 | 173.2144 | 130.0195 | 3.2084 | 173.2538 | 130.019
Line_2 | 0.085594 | 1.0109 | 0.6745 | 0.084364 | 1.01 | 0.67395 | 0.98835 | 11.6726 | 7.7885 | 0.97415 | 11.6621 | 7.7821 | -0.97049 | 4.6818 | 0.58456 | 1.0602 | -3.1162 | -0.38511 | -0.79319 | 0.48446 | 3.0435 | 0.77327 | -0.32127 | -2.026 | 146.6394 | 167.3066 | 50.8918 | -32.8968 | -12.6325 | -129.2183 |  | 1.2682 | 0.40323 | 0.39791 | 1.3471 | 0.26862 | 0.265 | 5.8989 | 173.2144 | 130.0195 | 3.2084 | 173.2538 | 130.019
Line_3 | 0.00063861 | 0.00063861 | 0.00063861 | 0.00063861 | 0.00063861 | 0.00063861 | 0.0073741 | 0.0073741 | 0.0073741 | 0.0073741 | 0.0073741 | 0.0073741 | -0.0050491 | 0.0021158 | 0.0029333 | -0.0050491 | 0.0021158 | 0.0029333 | -0.0078713 | 0.0020892 | 7.3849e-05 | -0.0078713 | 0.0020892 | 7.3849e-05 | 128.5773 | 128.5773 | 128.5773 | 128.5773 | 128.5773 | 128.5773 |  | 1.2682 | 0.40323 | 0.39791 | 1.2682 | 0.40323 | 0.39791 | 5.8989 | 173.2144 | 130.0195 | 5.8989 | 173.2144 | 130.0195

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 0.65842 | 0.53424 | 0.15692 | 0.65878 | 0.53489 | 1.8164 | 7.6027 | 6.1688 | 1.812 | 7.607 | 6.1764 | 1.5983 | -2.5837 | -4.7388 | -1.5446 | 3.3602 | 4.9645 | -1.7103 | -6.2793 | -2.8303 | 1.5841 | 6.3952 | 3.4604 | 47.4022 | -9.0457 | -105.4372 | -132.851 | 170.8933 | 74.6101 |  | 1.2888 | 0.89312 | 0.89476 | 1.221 | 0.94968 | 0.97978 | 0.46475 | -121.411 | 105.4107 | 1.4269 | -126.8256 | 109.4878
Line_1 | 0.078389 | 0.32981 | 0.26777 | 0.07846 | 0.32939 | 0.26745 | 0.90516 | 3.8083 | 3.0919 | 0.90598 | 3.8035 | 3.0882 | -0.76261 | 1.8749 | 2.5431 | 0.77231 | -1.6801 | -2.4823 | 0.75711 | 3.2309 | 1.8863 | -0.79203 | -3.1976 | -1.7302 | -133.2534 | 170.8297 | 74.7075 | 47.149 | -9.1067 | -105.3899 |  | 1.1872 | 0.98087 | 1.0241 | 1.221 | 0.94968 | 0.97978 | 1.9539 | -129.2972 | 111.2726 | 1.4269 | -126.8256 | 109.4878
Line_2 | 0.078389 | 0.32981 | 0.26777 | 0.07846 | 0.32939 | 0.26745 | 0.90516 | 3.8083 | 3.0919 | 0.90598 | 3.8035 | 3.0882 | -0.76261 | 1.8749 | 2.5431 | 0.77231 | -1.6801 | -2.4823 | 0.75711 | 3.2309 | 1.8863 | -0.79203 | -3.1976 | -1.7302 | -133.2534 | 170.8297 | 74.7075 | 47.149 | -9.1067 | -105.3899 |  | 1.1872 | 0.98087 | 1.0241 | 1.221 | 0.94968 | 0.97978 | 1.9539 | -129.2972 | 111.2726 | 1.4269 | -126.8256 | 109.4878
Line_3 | 0.00025171 | 0.00025171 | 0.00025171 | 0.00025171 | 0.00025171 | 0.00025171 | 0.0029065 | 0.0029065 | 0.0029065 | 0.0029065 | 0.0029065 | 0.0029065 | -0.0025893 | -6.1909e-06 | 0.0025955 | -0.0025893 | -6.1909e-06 | 0.0025955 | -0.0022808 | 0.0028509 | -0.0014569 | -0.0022808 | 0.0028509 | -0.0014569 | 140.5784 | 140.5784 | 140.5784 | 140.5784 | 140.5784 | 140.5784 |  | 1.1872 | 0.98087 | 1.0241 | 1.1872 | 0.98087 | 1.0241 | 1.9539 | -129.2972 | 111.2726 | 1.9539 | -129.2972 | 111.2726

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 0.65842 | 0.53424 | 0.15692 | 0.65878 | 0.53489 | 1.8164 | 7.6027 | 6.1688 | 1.812 | 7.607 | 6.1764 | 1.5983 | -2.5837 | -4.7388 | -1.5446 | 3.3602 | 4.9645 | -1.7103 | -6.2793 | -2.8303 | 1.5841 | 6.3952 | 3.4604 | 47.4022 | -9.0457 | -105.4372 | -132.851 | 170.8933 | 74.6101 |  | 1.2888 | 0.89312 | 0.89476 | 1.221 | 0.94968 | 0.97978 | 0.46475 | -121.411 | 105.4107 | 1.4269 | -126.8256 | 109.4878
Line_1 | 0.078389 | 0.32981 | 0.26777 | 0.07846 | 0.32939 | 0.26745 | 0.90516 | 3.8083 | 3.0919 | 0.90598 | 3.8035 | 3.0882 | -0.76261 | 1.8749 | 2.5431 | 0.77231 | -1.6801 | -2.4823 | 0.75711 | 3.2309 | 1.8863 | -0.79203 | -3.1976 | -1.7302 | -133.2534 | 170.8297 | 74.7075 | 47.149 | -9.1067 | -105.3899 |  | 1.1872 | 0.98087 | 1.0241 | 1.221 | 0.94968 | 0.97978 | 1.9539 | -129.2972 | 111.2726 | 1.4269 | -126.8256 | 109.4878
Line_2 | 0.078389 | 0.32981 | 0.26777 | 0.07846 | 0.32939 | 0.26745 | 0.90516 | 3.8083 | 3.0919 | 0.90598 | 3.8035 | 3.0882 | -0.76261 | 1.8749 | 2.5431 | 0.77231 | -1.6801 | -2.4823 | 0.75711 | 3.2309 | 1.8863 | -0.79203 | -3.1976 | -1.7302 | -133.2534 | 170.8297 | 74.7075 | 47.149 | -9.1067 | -105.3899 |  | 1.1872 | 0.98087 | 1.0241 | 1.221 | 0.94968 | 0.97978 | 1.9539 | -129.2972 | 111.2726 | 1.4269 | -126.8256 | 109.4878
Line_3 | 0.00025171 | 0.00025171 | 0.00025171 | 0.00025171 | 0.00025171 | 0.00025171 | 0.0029065 | 0.0029065 | 0.0029065 | 0.0029065 | 0.0029065 | 0.0029065 | -0.0025893 | -6.1909e-06 | 0.0025955 | -0.0025893 | -6.1909e-06 | 0.0025955 | -0.0022808 | 0.0028509 | -0.0014569 | -0.0022808 | 0.0028509 | -0.0014569 | 140.5784 | 140.5784 | 140.5784 | 140.5784 | 140.5784 | 140.5784 |  | 1.1872 | 0.98087 | 1.0241 | 1.1872 | 0.98087 | 1.0241 | 1.9539 | -129.2972 | 111.2726 | 1.9539 | -129.2972 | 111.2726

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16518 | 1.571 | 0.87132 | 0.16645 | 1.5711 | 0.87237 | 1.9074 | 18.1406 | 10.0611 | 1.922 | 18.1416 | 10.0733 | 1.8873 | -3.6302e-11 | -1.5455e-11 | -1.4591 | 6.1397 | -0.033158 | 1.7779 | -2.5741e-11 | -1.9723e-11 | -1.6272 | -0.36008 | 2.5828 | -44.4909 | 3.1002 | -133.7277 | 135.1528 | -176.9592 | 46.3543 |  | 1.3594 | 0 | 0 | 1.1371 | 0.33901 | 0.25642 | -1.201 | 0 | 0 | 3.27 | 179.6843 | 137.0899
Line_1 | 0.084075 | 0.78603 | 0.43633 | 0.083224 | 0.78555 | 0.43618 | 0.97081 | 9.0763 | 5.0384 | 0.96098 | 9.0708 | 5.0366 | -0.62632 | 4.6101 | -0.020529 | 0.72954 | -3.0698 | 0.016579 | -0.77849 | -0.26999 | 1.9403 | 0.81358 | 0.18004 | -1.2914 | 135.0631 | -177.0117 | 46.4657 | -44.8472 | 3.0408 | -133.6457 |  | 1.0292 | 0.5088 | 0.38512 | 1.1371 | 0.33901 | 0.25642 | 6.2456 | 179.6367 | 137.0719 | 3.27 | 179.6843 | 137.0899
Line_2 | 0.084075 | 0.78603 | 0.43633 | 0.083224 | 0.78555 | 0.43618 | 0.97081 | 9.0763 | 5.0384 | 0.96098 | 9.0708 | 5.0366 | -0.62632 | 4.6101 | -0.020529 | 0.72954 | -3.0698 | 0.016579 | -0.77849 | -0.26999 | 1.9403 | 0.81358 | 0.18004 | -1.2914 | 135.0631 | -177.0117 | 46.4657 | -44.8472 | 3.0408 | -133.6457 |  | 1.0292 | 0.5088 | 0.38512 | 1.1371 | 0.33901 | 0.25642 | 6.2456 | 179.6367 | 137.0719 | 3.27 | 179.6843 | 137.0899
Line_3 | 0.00036567 | 0.00036567 | 0.00036567 | 0.00036567 | 0.00036567 | 0.00036567 | 0.0042224 | 0.0042224 | 0.0042224 | 0.0042224 | 0.0042224 | 0.0042224 | -0.0034313 | 0.0018368 | 0.0015945 | -0.0034313 | 0.0018368 | 0.0015945 | -0.0026667 | 0.0011143 | -0.0003192 | -0.0026667 | 0.0011143 | -0.0003192 | 148.392 | 148.392 | 148.392 | 148.392 | 148.392 | 148.392 |  | 1.0292 | 0.5088 | 0.38512 | 1.0292 | 0.5088 | 0.38512 | 6.2456 | 179.6367 | 137.0719 | 6.2456 | 179.6367 | 137.0719

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16518 | 1.571 | 0.87132 | 0.16645 | 1.5711 | 0.87237 | 1.9074 | 18.1406 | 10.0611 | 1.922 | 18.1416 | 10.0733 | 1.8873 | -3.6302e-11 | -1.5455e-11 | -1.4591 | 6.1397 | -0.033158 | 1.7779 | -2.5741e-11 | -1.9723e-11 | -1.6272 | -0.36008 | 2.5828 | -44.4909 | 3.1002 | -133.7277 | 135.1528 | -176.9592 | 46.3543 |  | 1.3594 | 0 | 0 | 1.1371 | 0.33901 | 0.25642 | -1.201 | 0 | 0 | 3.27 | 179.6843 | 137.0899
Line_1 | 0.084075 | 0.78603 | 0.43633 | 0.083224 | 0.78555 | 0.43618 | 0.97081 | 9.0763 | 5.0384 | 0.96098 | 9.0708 | 5.0366 | -0.62632 | 4.6101 | -0.020529 | 0.72954 | -3.0698 | 0.016579 | -0.77849 | -0.26999 | 1.9403 | 0.81358 | 0.18004 | -1.2914 | 135.0631 | -177.0117 | 46.4657 | -44.8472 | 3.0408 | -133.6457 |  | 1.0292 | 0.5088 | 0.38512 | 1.1371 | 0.33901 | 0.25642 | 6.2456 | 179.6367 | 137.0719 | 3.27 | 179.6843 | 137.0899
Line_2 | 0.084075 | 0.78603 | 0.43633 | 0.083224 | 0.78555 | 0.43618 | 0.97081 | 9.0763 | 5.0384 | 0.96098 | 9.0708 | 5.0366 | -0.62632 | 4.6101 | -0.020529 | 0.72954 | -3.0698 | 0.016579 | -0.77849 | -0.26999 | 1.9403 | 0.81358 | 0.18004 | -1.2914 | 135.0631 | -177.0117 | 46.4657 | -44.8472 | 3.0408 | -133.6457 |  | 1.0292 | 0.5088 | 0.38512 | 1.1371 | 0.33901 | 0.25642 | 6.2456 | 179.6367 | 137.0719 | 3.27 | 179.6843 | 137.0899
Line_3 | 0.00036567 | 0.00036567 | 0.00036567 | 0.00036567 | 0.00036567 | 0.00036567 | 0.0042224 | 0.0042224 | 0.0042224 | 0.0042224 | 0.0042224 | 0.0042224 | -0.0034313 | 0.0018368 | 0.0015945 | -0.0034313 | 0.0018368 | 0.0015945 | -0.0026667 | 0.0011143 | -0.0003192 | -0.0026667 | 0.0011143 | -0.0003192 | 148.392 | 148.392 | 148.392 | 148.392 | 148.392 | 148.392 |  | 1.0292 | 0.5088 | 0.38512 | 1.0292 | 0.5088 | 0.38512 | 6.2456 | 179.6367 | 137.0719 | 6.2456 | 179.6367 | 137.0719

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11227 | 0.39029 | 0.29377 | 0.11277 | 0.39026 | 0.29451 | 1.2964 | 4.5067 | 3.3921 | 1.3022 | 4.5063 | 3.4007 | 1.301 | -2.3866 | -2.5412 | -1.16 | 2.9282 | 2.7924 | 0.7585 | -2.511 | -0.16652 | -0.72935 | 2.3603 | 0.53046 | -30.4049 | 14.7891 | -80.3189 | 149.3171 | -165.32 | 99.6877 |  | 1.1617 | 0.76869 | 0.75076 | 1.0523 | 0.83461 | 0.83582 | -0.16262 | -118.7568 | 103.4302 | 1.4758 | -126.4491 | 110.4436
Line_1 | 0.056763 | 0.19531 | 0.14759 | 0.056387 | 0.19513 | 0.14725 | 0.65545 | 2.2553 | 1.7042 | 0.65111 | 2.2532 | 1.7004 | -0.547 | 1.6004 | 1.4615 | 0.58002 | -1.4641 | -1.3962 | -0.35846 | 1.1449 | 0.35507 | 0.36467 | -1.1802 | -0.26523 | 149.2022 | -165.4219 | 99.7702 | -30.6829 | 14.68 | -80.3123 |  | 0.99778 | 0.87251 | 0.88257 | 1.0523 | 0.83461 | 0.83582 | 2.44 | -129.8442 | 113.4254 | 1.4758 | -126.4491 | 110.4436
Line_2 | 0.056763 | 0.19531 | 0.14759 | 0.056387 | 0.19513 | 0.14725 | 0.65545 | 2.2553 | 1.7042 | 0.65111 | 2.2532 | 1.7004 | -0.547 | 1.6004 | 1.4615 | 0.58002 | -1.4641 | -1.3962 | -0.35846 | 1.1449 | 0.35507 | 0.36467 | -1.1802 | -0.26523 | 149.2022 | -165.4219 | 99.7702 | -30.6829 | 14.68 | -80.3123 |  | 0.99778 | 0.87251 | 0.88257 | 1.0523 | 0.83461 | 0.83582 | 2.44 | -129.8442 | 113.4254 | 1.4758 | -126.4491 | 110.4436
Line_3 | 0.00016672 | 0.00016672 | 0.00016672 | 0.00016672 | 0.00016672 | 0.00016672 | 0.0019251 | 0.0019251 | 0.0019251 | 0.0019251 | 0.0019251 | 0.0019251 | -0.001697 | 0.0004162 | 0.0012808 | -0.001697 | 0.0004162 | 0.0012808 | -0.00089992 | 0.0016273 | -0.0011164 | -0.00089992 | 0.0016273 | -0.0011164 | 154.5027 | 154.5027 | 154.5027 | 154.5027 | 154.5027 | 154.5027 |  | 0.99778 | 0.87251 | 0.88257 | 0.99778 | 0.87251 | 0.88257 | 2.44 | -129.8442 | 113.4254 | 2.44 | -129.8442 | 113.4254

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11227 | 0.39029 | 0.29377 | 0.11277 | 0.39026 | 0.29451 | 1.2964 | 4.5067 | 3.3921 | 1.3022 | 4.5063 | 3.4007 | 1.301 | -2.3866 | -2.5412 | -1.16 | 2.9282 | 2.7924 | 0.7585 | -2.511 | -0.16652 | -0.72935 | 2.3603 | 0.53046 | -30.4049 | 14.7891 | -80.3189 | 149.3171 | -165.32 | 99.6877 |  | 1.1617 | 0.76869 | 0.75076 | 1.0523 | 0.83461 | 0.83582 | -0.16262 | -118.7568 | 103.4302 | 1.4758 | -126.4491 | 110.4436
Line_1 | 0.056763 | 0.19531 | 0.14759 | 0.056387 | 0.19513 | 0.14725 | 0.65545 | 2.2553 | 1.7042 | 0.65111 | 2.2532 | 1.7004 | -0.547 | 1.6004 | 1.4615 | 0.58002 | -1.4641 | -1.3962 | -0.35846 | 1.1449 | 0.35507 | 0.36467 | -1.1802 | -0.26523 | 149.2022 | -165.4219 | 99.7702 | -30.6829 | 14.68 | -80.3123 |  | 0.99778 | 0.87251 | 0.88257 | 1.0523 | 0.83461 | 0.83582 | 2.44 | -129.8442 | 113.4254 | 1.4758 | -126.4491 | 110.4436
Line_2 | 0.056763 | 0.19531 | 0.14759 | 0.056387 | 0.19513 | 0.14725 | 0.65545 | 2.2553 | 1.7042 | 0.65111 | 2.2532 | 1.7004 | -0.547 | 1.6004 | 1.4615 | 0.58002 | -1.4641 | -1.3962 | -0.35846 | 1.1449 | 0.35507 | 0.36467 | -1.1802 | -0.26523 | 149.2022 | -165.4219 | 99.7702 | -30.6829 | 14.68 | -80.3123 |  | 0.99778 | 0.87251 | 0.88257 | 1.0523 | 0.83461 | 0.83582 | 2.44 | -129.8442 | 113.4254 | 1.4758 | -126.4491 | 110.4436
Line_3 | 0.00016672 | 0.00016672 | 0.00016672 | 0.00016672 | 0.00016672 | 0.00016672 | 0.0019251 | 0.0019251 | 0.0019251 | 0.0019251 | 0.0019251 | 0.0019251 | -0.001697 | 0.0004162 | 0.0012808 | -0.001697 | 0.0004162 | 0.0012808 | -0.00089992 | 0.0016273 | -0.0011164 | -0.00089992 | 0.0016273 | -0.0011164 | 154.5027 | 154.5027 | 154.5027 | 154.5027 | 154.5027 | 154.5027 |  | 0.99778 | 0.87251 | 0.88257 | 0.99778 | 0.87251 | 0.88257 | 2.44 | -129.8442 | 113.4254 | 2.44 | -129.8442 | 113.4254