## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6273e-15 | 1.0664e-14 | -8.7655e-15 | 5.7549e-15 | -1.6865e-16 | -9.8444e-15 | -1.2754e-16 | 1.2167e-14 | 7.08e-15 | -5.4998e-15 | 1.6498e-14 | 2.1578e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6273e-15 | 1.0664e-14 | -8.7655e-15 | 5.7549e-15 | -1.6865e-16 | -9.8444e-15 | -1.2754e-16 | 1.2167e-14 | 7.08e-15 | -5.4998e-15 | 1.6498e-14 | 2.1578e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1475e-15 | -5.2839e-15 | 4.8038e-16 | -1.3863e-15 | 3.6085e-15 | -4.9131e-15 | -5.7238e-18 | 1.8687e-15 | -8.6799e-16 | 2.7631e-15 | 3.4796e-15 | 6.8246e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1475e-15 | -5.2839e-15 | 4.8038e-16 | -1.3863e-15 | 3.6085e-15 | -4.9131e-15 | -5.7238e-18 | 1.8687e-15 | -8.6799e-16 | 2.7631e-15 | 3.4796e-15 | 6.8246e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8039e-15 | 7.5149e-17 | 0 | -2.8039e-15 | 7.0388e-16 | 0 | -9.5762e-15 | 6.2836e-15 | 0 | 9.5762e-15 | -2.9658e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8039e-15 | 7.5149e-17 | 0 | -2.8039e-15 | 7.0388e-16 | 0 | -9.5762e-15 | 6.2836e-15 | 0 | 9.5762e-15 | -2.9658e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.8042e-16 | 1.5441e-15 | 5.666e-15 | -2.0819e-16 | 1.9217e-15 | -5.157e-15 | -3.5669e-15 | -1.117e-17 | 3.8173e-15 | 3.5519e-15 | -1.172e-15 | -4.7503e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.8042e-16 | 1.5441e-15 | 5.666e-15 | -2.0819e-16 | 1.9217e-15 | -5.157e-15 | -3.5669e-15 | -1.117e-17 | 3.8173e-15 | 3.5519e-15 | -1.172e-15 | -4.7503e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8332 | 0.70787 | 0.66403 | 1.8356 | 0.71096 | 0.66637 | 21.1674 | 8.1738 | 7.6676 | 21.1959 | 8.2094 | 7.6946 | 9.9731e-11 | -5.4142 | 13.4631 | 7.9688 | 7.5965 | -10.9952 | -8.0544e-11 | 8.6353 | 2.1503 | 3.0735 | -6.8218 | -1.6909 | 116.0098 | 86.5508 | 119.844 | -64.0499 | -93.4855 | -60.334 |  | 0 | 1.2469 | 1.7781 | 0.40296 | 1.2437 | 1.4458 | 0 | -151.3622 | 128.9187 | -42.9585 | -135.4101 | 128.4087
Line_1 | 0.9199 | 0.35761 | 0.33524 | 0.91781 | 0.35548 | 0.33318 | 10.6221 | 4.1294 | 3.871 | 10.5979 | 4.1047 | 3.8473 | 5.9954 | 4.3609 | -4.8964 | -3.9844 | -3.7982 | 5.4976 | 2.314 | -2.9715 | -0.73403 | -1.5368 | 3.4109 | 0.84545 | -64.0887 | -93.4075 | -60.4637 | 115.9501 | 86.5145 | 119.666 |  | 0.60501 | 1.2779 | 1.279 | 0.40296 | 1.2437 | 1.4458 | -42.9837 | -127.6779 | 128.0622 | -42.9585 | -135.4101 | 128.4087
Line_2 | 0.9199 | 0.35761 | 0.33524 | 0.91781 | 0.35548 | 0.33318 | 10.6221 | 4.1294 | 3.871 | 10.5979 | 4.1047 | 3.8473 | 5.9954 | 4.3609 | -4.8964 | -3.9844 | -3.7982 | 5.4976 | 2.314 | -2.9715 | -0.73403 | -1.5368 | 3.4109 | 0.84545 | -64.0887 | -93.4075 | -60.4637 | 115.9501 | 86.5145 | 119.666 |  | 0.60501 | 1.2779 | 1.279 | 0.40296 | 1.2437 | 1.4458 | -42.9837 | -127.6779 | 128.0622 | -42.9585 | -135.4101 | 128.4087
Line_3 | 0.00099136 | 0.00099136 | 0.00099136 | 0.00099136 | 0.00099136 | 0.00099136 | 0.011447 | 0.011447 | 0.011447 | 0.011447 | 0.011447 | 0.011447 | 0.0061862 | 0.0077571 | -0.013943 | 0.0061862 | 0.0077571 | -0.013943 | 0.0031137 | -0.012403 | -0.0044668 | 0.0031137 | -0.012403 | -0.0044668 | -69.7011 | -69.7011 | -69.7011 | -69.7011 | -69.7011 | -69.7011 |  | 0.60501 | 1.2779 | 1.279 | 0.60501 | 1.2779 | 1.279 | -42.9837 | -127.6779 | 128.0622 | -42.9837 | -127.6779 | 128.0622

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8332 | 0.70787 | 0.66403 | 1.8356 | 0.71096 | 0.66637 | 21.1674 | 8.1738 | 7.6676 | 21.1959 | 8.2094 | 7.6946 | 9.9731e-11 | -5.4142 | 13.4631 | 7.9688 | 7.5965 | -10.9952 | -8.0544e-11 | 8.6353 | 2.1503 | 3.0735 | -6.8218 | -1.6909 | 116.0098 | 86.5508 | 119.844 | -64.0499 | -93.4855 | -60.334 |  | 0 | 1.2469 | 1.7781 | 0.40296 | 1.2437 | 1.4458 | 0 | -151.3622 | 128.9187 | -42.9585 | -135.4101 | 128.4087
Line_1 | 0.9199 | 0.35761 | 0.33524 | 0.91781 | 0.35548 | 0.33318 | 10.6221 | 4.1294 | 3.871 | 10.5979 | 4.1047 | 3.8473 | 5.9954 | 4.3609 | -4.8964 | -3.9844 | -3.7982 | 5.4976 | 2.314 | -2.9715 | -0.73403 | -1.5368 | 3.4109 | 0.84545 | -64.0887 | -93.4075 | -60.4637 | 115.9501 | 86.5145 | 119.666 |  | 0.60501 | 1.2779 | 1.279 | 0.40296 | 1.2437 | 1.4458 | -42.9837 | -127.6779 | 128.0622 | -42.9585 | -135.4101 | 128.4087
Line_2 | 0.9199 | 0.35761 | 0.33524 | 0.91781 | 0.35548 | 0.33318 | 10.6221 | 4.1294 | 3.871 | 10.5979 | 4.1047 | 3.8473 | 5.9954 | 4.3609 | -4.8964 | -3.9844 | -3.7982 | 5.4976 | 2.314 | -2.9715 | -0.73403 | -1.5368 | 3.4109 | 0.84545 | -64.0887 | -93.4075 | -60.4637 | 115.9501 | 86.5145 | 119.666 |  | 0.60501 | 1.2779 | 1.279 | 0.40296 | 1.2437 | 1.4458 | -42.9837 | -127.6779 | 128.0622 | -42.9585 | -135.4101 | 128.4087
Line_3 | 0.00099136 | 0.00099136 | 0.00099136 | 0.00099136 | 0.00099136 | 0.00099136 | 0.011447 | 0.011447 | 0.011447 | 0.011447 | 0.011447 | 0.011447 | 0.0061862 | 0.0077571 | -0.013943 | 0.0061862 | 0.0077571 | -0.013943 | 0.0031137 | -0.012403 | -0.0044668 | 0.0031137 | -0.012403 | -0.0044668 | -69.7011 | -69.7011 | -69.7011 | -69.7011 | -69.7011 | -69.7011 |  | 0.60501 | 1.2779 | 1.279 | 0.60501 | 1.2779 | 1.279 | -42.9837 | -127.6779 | 128.0622 | -42.9837 | -127.6779 | 128.0622

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68867 | 0.18687 | 0.27043 | 0.68945 | 0.18754 | 0.27058 | 7.9521 | 2.1578 | 3.1227 | 7.9611 | 2.1655 | 3.1244 | -2.8877 | -2.463 | 3.1367 | 3.7956 | 2.4895 | -2.8815 | -5.8026 | -0.42773 | -2.6797 | 6.2979 | 0.63023 | 2.5654 | 114.1589 | 40.65 | 164.7393 | -65.8793 | -139.1595 | -15.4513 |  | 0.81506 | 1.1585 | 1.3212 | 0.92364 | 1.1859 | 1.2348 | -2.2981 | -129.4979 | 124.232 | -6.9559 | -124.9531 | 122.8701
Line_1 | 0.34536 | 0.094051 | 0.13561 | 0.34473 | 0.09377 | 0.13529 | 3.9879 | 1.086 | 1.5659 | 3.9806 | 1.0828 | 1.5622 | 2.1286 | 1.2548 | -1.3825 | -1.8978 | -1.2447 | 1.4408 | 3.2773 | 0.36104 | 1.2536 | -3.149 | -0.31511 | -1.2827 | -65.8962 | -138.809 | -15.6843 | 114.1207 | 40.8405 | 164.5487 |  | 0.97995 | 1.2023 | 1.1918 | 0.92364 | 1.1859 | 1.2348 | -8.9001 | -122.7574 | 122.1161 | -6.9559 | -124.9531 | 122.8701
Line_2 | 0.34536 | 0.094051 | 0.13561 | 0.34473 | 0.09377 | 0.13529 | 3.9879 | 1.086 | 1.5659 | 3.9806 | 1.0828 | 1.5622 | 2.1286 | 1.2548 | -1.3825 | -1.8978 | -1.2447 | 1.4408 | 3.2773 | 0.36104 | 1.2536 | -3.149 | -0.31511 | -1.2827 | -65.8962 | -138.809 | -15.6843 | 114.1207 | 40.8405 | 164.5487 |  | 0.97995 | 1.2023 | 1.1918 | 0.92364 | 1.1859 | 1.2348 | -8.9001 | -122.7574 | 122.1161 | -6.9559 | -124.9531 | 122.8701
Line_3 | 0.00028976 | 0.00028976 | 0.00028976 | 0.00028976 | 0.00028976 | 0.00028976 | 0.0033458 | 0.0033458 | 0.0033458 | 0.0033458 | 0.0033458 | 0.0033458 | 0.0018706 | 0.0020933 | -0.0039639 | 0.0018706 | 0.0020933 | -0.0039639 | 0.0026928 | -0.0034352 | -0.0004327 | 0.0026928 | -0.0034352 | -0.0004327 | -64.1138 | -64.1138 | -64.1138 | -64.1138 | -64.1138 | -64.1138 |  | 0.97995 | 1.2023 | 1.1918 | 0.97995 | 1.2023 | 1.1918 | -8.9001 | -122.7574 | 122.1161 | -8.9001 | -122.7574 | 122.1161

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68867 | 0.18687 | 0.27043 | 0.68945 | 0.18754 | 0.27058 | 7.9521 | 2.1578 | 3.1227 | 7.9611 | 2.1655 | 3.1244 | -2.8877 | -2.463 | 3.1367 | 3.7956 | 2.4895 | -2.8815 | -5.8026 | -0.42773 | -2.6797 | 6.2979 | 0.63023 | 2.5654 | 114.1589 | 40.65 | 164.7393 | -65.8793 | -139.1595 | -15.4513 |  | 0.81506 | 1.1585 | 1.3212 | 0.92364 | 1.1859 | 1.2348 | -2.2981 | -129.4979 | 124.232 | -6.9559 | -124.9531 | 122.8701
Line_1 | 0.34536 | 0.094051 | 0.13561 | 0.34473 | 0.09377 | 0.13529 | 3.9879 | 1.086 | 1.5659 | 3.9806 | 1.0828 | 1.5622 | 2.1286 | 1.2548 | -1.3825 | -1.8978 | -1.2447 | 1.4408 | 3.2773 | 0.36104 | 1.2536 | -3.149 | -0.31511 | -1.2827 | -65.8962 | -138.809 | -15.6843 | 114.1207 | 40.8405 | 164.5487 |  | 0.97995 | 1.2023 | 1.1918 | 0.92364 | 1.1859 | 1.2348 | -8.9001 | -122.7574 | 122.1161 | -6.9559 | -124.9531 | 122.8701
Line_2 | 0.34536 | 0.094051 | 0.13561 | 0.34473 | 0.09377 | 0.13529 | 3.9879 | 1.086 | 1.5659 | 3.9806 | 1.0828 | 1.5622 | 2.1286 | 1.2548 | -1.3825 | -1.8978 | -1.2447 | 1.4408 | 3.2773 | 0.36104 | 1.2536 | -3.149 | -0.31511 | -1.2827 | -65.8962 | -138.809 | -15.6843 | 114.1207 | 40.8405 | 164.5487 |  | 0.97995 | 1.2023 | 1.1918 | 0.92364 | 1.1859 | 1.2348 | -8.9001 | -122.7574 | 122.1161 | -6.9559 | -124.9531 | 122.8701
Line_3 | 0.00028976 | 0.00028976 | 0.00028976 | 0.00028976 | 0.00028976 | 0.00028976 | 0.0033458 | 0.0033458 | 0.0033458 | 0.0033458 | 0.0033458 | 0.0033458 | 0.0018706 | 0.0020933 | -0.0039639 | 0.0018706 | 0.0020933 | -0.0039639 | 0.0026928 | -0.0034352 | -0.0004327 | 0.0026928 | -0.0034352 | -0.0004327 | -64.1138 | -64.1138 | -64.1138 | -64.1138 | -64.1138 | -64.1138 |  | 0.97995 | 1.2023 | 1.1918 | 0.97995 | 1.2023 | 1.1918 | -8.9001 | -122.7574 | 122.1161 | -8.9001 | -122.7574 | 122.1161

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2285 | 0.51804 | 0.42021 | 1.2298 | 0.52011 | 0.42239 | 14.1858 | 5.9819 | 4.8521 | 14.2003 | 6.0057 | 4.8774 | -3.0321e-11 | 0.42981 | 7.7238 | 6.8687 | 1.9941 | -5.8926 | 3.7066e-14 | 6.7392 | 2.4149 | 0.70654 | -5.8361 | -1.6063 | 137.8776 | 116.0769 | 112.1037 | -42.2353 | -64.1198 | -68.1184 |  | 0 | 1.1289 | 1.6678 | 0.48625 | 1.0269 | 1.2522 | 0 | -157.5724 | 129.4663 | -36.3623 | -135.2552 | 127.1294
Line_1 | 0.61611 | 0.26147 | 0.21263 | 0.61489 | 0.26006 | 0.2112 | 7.1142 | 3.0192 | 2.4552 | 7.1002 | 3.0029 | 2.4387 | 5.166 | 1.6115 | -2.4951 | -3.4343 | -0.99705 | 2.9463 | 0.53392 | -2.6988 | -0.59654 | -0.35327 | 2.918 | 0.80313 | -42.307 | -64.1772 | -68.1623 | 137.7647 | 115.8802 | 111.8816 |  | 0.73002 | 1.0411 | 1.0449 | 0.48625 | 1.0269 | 1.2522 | -36.4062 | -123.3341 | 125.284 | -36.3623 | -135.2552 | 127.1294
Line_2 | 0.61611 | 0.26147 | 0.21263 | 0.61489 | 0.26006 | 0.2112 | 7.1142 | 3.0192 | 2.4552 | 7.1002 | 3.0029 | 2.4387 | 5.166 | 1.6115 | -2.4951 | -3.4343 | -0.99705 | 2.9463 | 0.53392 | -2.6988 | -0.59654 | -0.35327 | 2.918 | 0.80313 | -42.307 | -64.1772 | -68.1623 | 137.7647 | 115.8802 | 111.8816 |  | 0.73002 | 1.0411 | 1.0449 | 0.48625 | 1.0269 | 1.2522 | -36.4062 | -123.3341 | 125.284 | -36.3623 | -135.2552 | 127.1294
Line_3 | 0.000611 | 0.000611 | 0.000611 | 0.000611 | 0.000611 | 0.000611 | 0.0070553 | 0.0070553 | 0.0070553 | 0.0070553 | 0.0070553 | 0.0070553 | 0.0049469 | 0.0024199 | -0.0073668 | 0.0049469 | 0.0024199 | -0.0073668 | 0.0014338 | -0.0069352 | 0.00027612 | 0.0014338 | -0.0069352 | 0.00027612 | -52.5694 | -52.5694 | -52.5694 | -52.5694 | -52.5694 | -52.5694 |  | 0.73002 | 1.0411 | 1.0449 | 0.73002 | 1.0411 | 1.0449 | -36.4062 | -123.3341 | 125.284 | -36.4062 | -123.3341 | 125.284

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2285 | 0.51804 | 0.42021 | 1.2298 | 0.52011 | 0.42239 | 14.1858 | 5.9819 | 4.8521 | 14.2003 | 6.0057 | 4.8774 | -3.0321e-11 | 0.42981 | 7.7238 | 6.8687 | 1.9941 | -5.8926 | 3.7066e-14 | 6.7392 | 2.4149 | 0.70654 | -5.8361 | -1.6063 | 137.8776 | 116.0769 | 112.1037 | -42.2353 | -64.1198 | -68.1184 |  | 0 | 1.1289 | 1.6678 | 0.48625 | 1.0269 | 1.2522 | 0 | -157.5724 | 129.4663 | -36.3623 | -135.2552 | 127.1294
Line_1 | 0.61611 | 0.26147 | 0.21263 | 0.61489 | 0.26006 | 0.2112 | 7.1142 | 3.0192 | 2.4552 | 7.1002 | 3.0029 | 2.4387 | 5.166 | 1.6115 | -2.4951 | -3.4343 | -0.99705 | 2.9463 | 0.53392 | -2.6988 | -0.59654 | -0.35327 | 2.918 | 0.80313 | -42.307 | -64.1772 | -68.1623 | 137.7647 | 115.8802 | 111.8816 |  | 0.73002 | 1.0411 | 1.0449 | 0.48625 | 1.0269 | 1.2522 | -36.4062 | -123.3341 | 125.284 | -36.3623 | -135.2552 | 127.1294
Line_2 | 0.61611 | 0.26147 | 0.21263 | 0.61489 | 0.26006 | 0.2112 | 7.1142 | 3.0192 | 2.4552 | 7.1002 | 3.0029 | 2.4387 | 5.166 | 1.6115 | -2.4951 | -3.4343 | -0.99705 | 2.9463 | 0.53392 | -2.6988 | -0.59654 | -0.35327 | 2.918 | 0.80313 | -42.307 | -64.1772 | -68.1623 | 137.7647 | 115.8802 | 111.8816 |  | 0.73002 | 1.0411 | 1.0449 | 0.48625 | 1.0269 | 1.2522 | -36.4062 | -123.3341 | 125.284 | -36.3623 | -135.2552 | 127.1294
Line_3 | 0.000611 | 0.000611 | 0.000611 | 0.000611 | 0.000611 | 0.000611 | 0.0070553 | 0.0070553 | 0.0070553 | 0.0070553 | 0.0070553 | 0.0070553 | 0.0049469 | 0.0024199 | -0.0073668 | 0.0049469 | 0.0024199 | -0.0073668 | 0.0014338 | -0.0069352 | 0.00027612 | 0.0014338 | -0.0069352 | 0.00027612 | -52.5694 | -52.5694 | -52.5694 | -52.5694 | -52.5694 | -52.5694 |  | 0.73002 | 1.0411 | 1.0449 | 0.73002 | 1.0411 | 1.0449 | -36.4062 | -123.3341 | 125.284 | -36.4062 | -123.3341 | 125.284

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37231 | 0.157 | 0.12735 | 0.37269 | 0.15762 | 0.12801 | 4.2991 | 1.8128 | 1.4705 | 4.3035 | 1.8201 | 1.4781 | -2.0558 | -0.74832 | 1.7109 | 2.6844 | 0.97748 | -1.547 | -2.1837 | 1.6083 | 0.44387 | 2.2549 | -1.5266 | -0.37466 | 134.666 | 112.8653 | 108.8921 | -45.4469 | -67.3313 | -71.33 |  | 0.69763 | 0.9785 | 1.202 | 0.81464 | 0.99596 | 1.0769 | 1.3946 | -132.183 | 123.4362 | -5.4167 | -124.6996 | 122.2835
Line_1 | 0.18672 | 0.07924 | 0.064438 | 0.18635 | 0.078812 | 0.064005 | 2.156 | 0.91499 | 0.74407 | 2.1518 | 0.91004 | 0.73906 | 1.5019 | 0.54784 | -0.7354 | -1.3422 | -0.48874 | 0.77352 | 1.1475 | -0.74545 | -0.16951 | -1.1275 | 0.76329 | 0.18733 | -45.5186 | -67.3887 | -71.3738 | 134.5531 | 112.6687 | 108.67 |  | 0.87667 | 1.0111 | 1.0143 | 0.81464 | 0.99596 | 1.0769 | -8.1378 | -121.0761 | 121.6062 | -5.4167 | -124.6996 | 122.2835
Line_2 | 0.18672 | 0.07924 | 0.064438 | 0.18635 | 0.078812 | 0.064005 | 2.156 | 0.91499 | 0.74407 | 2.1518 | 0.91004 | 0.73906 | 1.5019 | 0.54784 | -0.7354 | -1.3422 | -0.48874 | 0.77352 | 1.1475 | -0.74545 | -0.16951 | -1.1275 | 0.76329 | 0.18733 | -45.5186 | -67.3887 | -71.3738 | 134.5531 | 112.6687 | 108.67 |  | 0.87667 | 1.0111 | 1.0143 | 0.81464 | 0.99596 | 1.0769 | -8.1378 | -121.0761 | 121.6062 | -5.4167 | -124.6996 | 122.2835
Line_3 | 0.00018517 | 0.00018517 | 0.00018517 | 0.00018517 | 0.00018517 | 0.00018517 | 0.0021381 | 0.0021381 | 0.0021381 | 0.0021381 | 0.0021381 | 0.0021381 | 0.0012629 | 0.00090351 | -0.0021664 | 0.0012629 | 0.00090351 | -0.0021664 | 0.0013851 | -0.0019639 | 9.8861e-05 | 0.0013851 | -0.0019639 | 9.8861e-05 | -55.781 | -55.781 | -55.781 | -55.781 | -55.781 | -55.781 |  | 0.87667 | 1.0111 | 1.0143 | 0.87667 | 1.0111 | 1.0143 | -8.1378 | -121.0761 | 121.6062 | -8.1378 | -121.0761 | 121.6062

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37231 | 0.157 | 0.12735 | 0.37269 | 0.15762 | 0.12801 | 4.2991 | 1.8128 | 1.4705 | 4.3035 | 1.8201 | 1.4781 | -2.0558 | -0.74832 | 1.7109 | 2.6844 | 0.97748 | -1.547 | -2.1837 | 1.6083 | 0.44387 | 2.2549 | -1.5266 | -0.37466 | 134.666 | 112.8653 | 108.8921 | -45.4469 | -67.3313 | -71.33 |  | 0.69763 | 0.9785 | 1.202 | 0.81464 | 0.99596 | 1.0769 | 1.3946 | -132.183 | 123.4362 | -5.4167 | -124.6996 | 122.2835
Line_1 | 0.18672 | 0.07924 | 0.064438 | 0.18635 | 0.078812 | 0.064005 | 2.156 | 0.91499 | 0.74407 | 2.1518 | 0.91004 | 0.73906 | 1.5019 | 0.54784 | -0.7354 | -1.3422 | -0.48874 | 0.77352 | 1.1475 | -0.74545 | -0.16951 | -1.1275 | 0.76329 | 0.18733 | -45.5186 | -67.3887 | -71.3738 | 134.5531 | 112.6687 | 108.67 |  | 0.87667 | 1.0111 | 1.0143 | 0.81464 | 0.99596 | 1.0769 | -8.1378 | -121.0761 | 121.6062 | -5.4167 | -124.6996 | 122.2835
Line_2 | 0.18672 | 0.07924 | 0.064438 | 0.18635 | 0.078812 | 0.064005 | 2.156 | 0.91499 | 0.74407 | 2.1518 | 0.91004 | 0.73906 | 1.5019 | 0.54784 | -0.7354 | -1.3422 | -0.48874 | 0.77352 | 1.1475 | -0.74545 | -0.16951 | -1.1275 | 0.76329 | 0.18733 | -45.5186 | -67.3887 | -71.3738 | 134.5531 | 112.6687 | 108.67 |  | 0.87667 | 1.0111 | 1.0143 | 0.81464 | 0.99596 | 1.0769 | -8.1378 | -121.0761 | 121.6062 | -5.4167 | -124.6996 | 122.2835
Line_3 | 0.00018517 | 0.00018517 | 0.00018517 | 0.00018517 | 0.00018517 | 0.00018517 | 0.0021381 | 0.0021381 | 0.0021381 | 0.0021381 | 0.0021381 | 0.0021381 | 0.0012629 | 0.00090351 | -0.0021664 | 0.0012629 | 0.00090351 | -0.0021664 | 0.0013851 | -0.0019639 | 9.8861e-05 | 0.0013851 | -0.0019639 | 9.8861e-05 | -55.781 | -55.781 | -55.781 | -55.781 | -55.781 | -55.781 |  | 0.87667 | 1.0111 | 1.0143 | 0.87667 | 1.0111 | 1.0143 | -8.1378 | -121.0761 | 121.6062 | -8.1378 | -121.0761 | 121.6062

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20629 | 2.0298 | 1.3381 | 0.20833 | 2.0304 | 1.3397 | 2.382 | 23.4378 | 15.4513 | 2.4056 | 23.4445 | 15.4695 | 1.2937 | 2.7729e-11 | 1.6968e-11 | -0.88478 | 6.3378 | 1.0091 | 3.5149 | -1.6894e-11 | -1.3004e-11 | -3.2494 | 0.36342 | 4.1438 | -74.6108 | -13.0889 | -128.051 | 105.2657 | 166.8544 | 52.0076 |  | 1.5724 | 0 | 0 | 1.4 | 0.27078 | 0.2757 | -4.817 | 0 | 0 | 0.033715 | 170.1363 | 128.3216
Line_1 | 0.10561 | 1.0161 | 0.67054 | 0.10416 | 1.0152 | 0.66985 | 1.2195 | 11.7325 | 7.7427 | 1.2028 | 11.7222 | 7.7347 | -0.34646 | 4.761 | 0.76446 | 0.44239 | -3.1689 | -0.50454 | -1.5695 | 0.27507 | 3.1128 | 1.6247 | -0.18171 | -2.0719 | 105.388 | 166.7886 | 52.1183 | -74.7343 | -13.1456 | -127.9924 |  | 1.318 | 0.40648 | 0.41397 | 1.4 | 0.27078 | 0.2757 | 2.9398 | 170.0953 | 128.3202 | 0.033715 | 170.1363 | 128.3216
Line_2 | 0.10561 | 1.0161 | 0.67054 | 0.10416 | 1.0152 | 0.66985 | 1.2195 | 11.7325 | 7.7427 | 1.2028 | 11.7222 | 7.7347 | -0.34646 | 4.761 | 0.76446 | 0.44239 | -3.1689 | -0.50454 | -1.5695 | 0.27507 | 3.1128 | 1.6247 | -0.18171 | -2.0719 | 105.388 | 166.7886 | 52.1183 | -74.7343 | -13.1456 | -127.9924 |  | 1.318 | 0.40648 | 0.41397 | 1.4 | 0.27078 | 0.2757 | 2.9398 | 170.0953 | 128.3202 | 0.033715 | 170.1363 | 128.3216
Line_3 | 0.0006642 | 0.0006642 | 0.0006642 | 0.0006642 | 0.0006642 | 0.0006642 | 0.0076695 | 0.0076695 | 0.0076695 | 0.0076695 | 0.0076695 | 0.0076695 | -0.0053722 | 0.0022024 | 0.0031698 | -0.0053722 | 0.0022024 | 0.0031698 | -0.0085626 | 0.0022064 | 0.00018145 | -0.0085626 | 0.0022064 | 0.00018145 | 125.044 | 125.044 | 125.044 | 125.044 | 125.044 | 125.044 |  | 1.318 | 0.40648 | 0.41397 | 1.318 | 0.40648 | 0.41397 | 2.9398 | 170.0953 | 128.3202 | 2.9398 | 170.0953 | 128.3202

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20629 | 2.0298 | 1.3381 | 0.20833 | 2.0304 | 1.3397 | 2.382 | 23.4378 | 15.4513 | 2.4056 | 23.4445 | 15.4695 | 1.2937 | 2.7729e-11 | 1.6968e-11 | -0.88478 | 6.3378 | 1.0091 | 3.5149 | -1.6894e-11 | -1.3004e-11 | -3.2494 | 0.36342 | 4.1438 | -74.6108 | -13.0889 | -128.051 | 105.2657 | 166.8544 | 52.0076 |  | 1.5724 | 0 | 0 | 1.4 | 0.27078 | 0.2757 | -4.817 | 0 | 0 | 0.033715 | 170.1363 | 128.3216
Line_1 | 0.10561 | 1.0161 | 0.67054 | 0.10416 | 1.0152 | 0.66985 | 1.2195 | 11.7325 | 7.7427 | 1.2028 | 11.7222 | 7.7347 | -0.34646 | 4.761 | 0.76446 | 0.44239 | -3.1689 | -0.50454 | -1.5695 | 0.27507 | 3.1128 | 1.6247 | -0.18171 | -2.0719 | 105.388 | 166.7886 | 52.1183 | -74.7343 | -13.1456 | -127.9924 |  | 1.318 | 0.40648 | 0.41397 | 1.4 | 0.27078 | 0.2757 | 2.9398 | 170.0953 | 128.3202 | 0.033715 | 170.1363 | 128.3216
Line_2 | 0.10561 | 1.0161 | 0.67054 | 0.10416 | 1.0152 | 0.66985 | 1.2195 | 11.7325 | 7.7427 | 1.2028 | 11.7222 | 7.7347 | -0.34646 | 4.761 | 0.76446 | 0.44239 | -3.1689 | -0.50454 | -1.5695 | 0.27507 | 3.1128 | 1.6247 | -0.18171 | -2.0719 | 105.388 | 166.7886 | 52.1183 | -74.7343 | -13.1456 | -127.9924 |  | 1.318 | 0.40648 | 0.41397 | 1.4 | 0.27078 | 0.2757 | 2.9398 | 170.0953 | 128.3202 | 0.033715 | 170.1363 | 128.3216
Line_3 | 0.0006642 | 0.0006642 | 0.0006642 | 0.0006642 | 0.0006642 | 0.0006642 | 0.0076695 | 0.0076695 | 0.0076695 | 0.0076695 | 0.0076695 | 0.0076695 | -0.0053722 | 0.0022024 | 0.0031698 | -0.0053722 | 0.0022024 | 0.0031698 | -0.0085626 | 0.0022064 | 0.00018145 | -0.0085626 | 0.0022064 | 0.00018145 | 125.044 | 125.044 | 125.044 | 125.044 | 125.044 | 125.044 |  | 1.318 | 0.40648 | 0.41397 | 1.318 | 0.40648 | 0.41397 | 2.9398 | 170.0953 | 128.3202 | 2.9398 | 170.0953 | 128.3202

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.052601 | 0.60502 | 0.60528 | 0.051919 | 0.60521 | 0.60603 | 0.60738 | 6.9862 | 6.9891 | 0.59951 | 6.9883 | 6.9978 | 0.38233 | -1.6357 | -4.6697 | -0.39026 | 2.2829 | 5.0834 | -0.68984 | -6.4321 | -3.4773 | 0.63509 | 6.3992 | 4.1801 | 58.0188 | -15.2457 | -109.9171 | -122.4244 | 164.6814 | 70.1065 |  | 1.2985 | 0.95 | 0.83303 | 1.2434 | 0.97222 | 0.94049 | -2.9845 | -119.5139 | 106.7562 | -0.85365 | -124.9519 | 109.5369
Line_1 | 0.025621 | 0.30292 | 0.30344 | 0.025959 | 0.3026 | 0.30301 | 0.29585 | 3.4979 | 3.5039 | 0.29975 | 3.4942 | 3.4989 | -0.19964 | 1.3021 | 2.6501 | 0.19513 | -1.1414 | -2.5417 | 0.29941 | 3.1953 | 2.2657 | -0.31754 | -3.1996 | -2.09 | -123.4045 | 164.5952 | 70.1733 | 57.5756 | -15.3186 | -109.8935 |  | 1.2164 | 0.98644 | 0.99507 | 1.2434 | 0.97222 | 0.94049 | 0.28988 | -127.5761 | 110.7025 | -0.85365 | -124.9519 | 109.5369
Line_2 | 0.025621 | 0.30292 | 0.30344 | 0.025959 | 0.3026 | 0.30301 | 0.29585 | 3.4979 | 3.5039 | 0.29975 | 3.4942 | 3.4989 | -0.19964 | 1.3021 | 2.6501 | 0.19513 | -1.1414 | -2.5417 | 0.29941 | 3.1953 | 2.2657 | -0.31754 | -3.1996 | -2.09 | -123.4045 | 164.5952 | 70.1733 | 57.5756 | -15.3186 | -109.8935 |  | 1.2164 | 0.98644 | 0.99507 | 1.2434 | 0.97222 | 0.94049 | 0.28988 | -127.5761 | 110.7025 | -0.85365 | -124.9519 | 109.5369
Line_3 | 0.00025197 | 0.00025197 | 0.00025197 | 0.00025197 | 0.00025197 | 0.00025197 | 0.0029094 | 0.0029094 | 0.0029094 | 0.0029094 | 0.0029094 | 0.0029094 | -0.0017826 | -0.00107 | 0.0028526 | -0.0017826 | -0.00107 | 0.0028526 | -0.0030573 | 0.0026631 | -0.00049436 | -0.0030573 | 0.0026631 | -0.00049436 | 120.5343 | 120.5343 | 120.5343 | 120.5343 | 120.5343 | 120.5343 |  | 1.2164 | 0.98644 | 0.99507 | 1.2164 | 0.98644 | 0.99507 | 0.28988 | -127.5761 | 110.7025 | 0.28988 | -127.5761 | 110.7025

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.052601 | 0.60502 | 0.60528 | 0.051919 | 0.60521 | 0.60603 | 0.60738 | 6.9862 | 6.9891 | 0.59951 | 6.9883 | 6.9978 | 0.38233 | -1.6357 | -4.6697 | -0.39026 | 2.2829 | 5.0834 | -0.68984 | -6.4321 | -3.4773 | 0.63509 | 6.3992 | 4.1801 | 58.0188 | -15.2457 | -109.9171 | -122.4244 | 164.6814 | 70.1065 |  | 1.2985 | 0.95 | 0.83303 | 1.2434 | 0.97222 | 0.94049 | -2.9845 | -119.5139 | 106.7562 | -0.85365 | -124.9519 | 109.5369
Line_1 | 0.025621 | 0.30292 | 0.30344 | 0.025959 | 0.3026 | 0.30301 | 0.29585 | 3.4979 | 3.5039 | 0.29975 | 3.4942 | 3.4989 | -0.19964 | 1.3021 | 2.6501 | 0.19513 | -1.1414 | -2.5417 | 0.29941 | 3.1953 | 2.2657 | -0.31754 | -3.1996 | -2.09 | -123.4045 | 164.5952 | 70.1733 | 57.5756 | -15.3186 | -109.8935 |  | 1.2164 | 0.98644 | 0.99507 | 1.2434 | 0.97222 | 0.94049 | 0.28988 | -127.5761 | 110.7025 | -0.85365 | -124.9519 | 109.5369
Line_2 | 0.025621 | 0.30292 | 0.30344 | 0.025959 | 0.3026 | 0.30301 | 0.29585 | 3.4979 | 3.5039 | 0.29975 | 3.4942 | 3.4989 | -0.19964 | 1.3021 | 2.6501 | 0.19513 | -1.1414 | -2.5417 | 0.29941 | 3.1953 | 2.2657 | -0.31754 | -3.1996 | -2.09 | -123.4045 | 164.5952 | 70.1733 | 57.5756 | -15.3186 | -109.8935 |  | 1.2164 | 0.98644 | 0.99507 | 1.2434 | 0.97222 | 0.94049 | 0.28988 | -127.5761 | 110.7025 | -0.85365 | -124.9519 | 109.5369
Line_3 | 0.00025197 | 0.00025197 | 0.00025197 | 0.00025197 | 0.00025197 | 0.00025197 | 0.0029094 | 0.0029094 | 0.0029094 | 0.0029094 | 0.0029094 | 0.0029094 | -0.0017826 | -0.00107 | 0.0028526 | -0.0017826 | -0.00107 | 0.0028526 | -0.0030573 | 0.0026631 | -0.00049436 | -0.0030573 | 0.0026631 | -0.00049436 | 120.5343 | 120.5343 | 120.5343 | 120.5343 | 120.5343 | 120.5343 |  | 1.2164 | 0.98644 | 0.99507 | 1.2164 | 0.98644 | 0.99507 | 0.28988 | -127.5761 | 110.7025 | 0.28988 | -127.5761 | 110.7025

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22176 | 1.5927 | 0.83882 | 0.22343 | 1.5927 | 0.84003 | 2.5607 | 18.3911 | 9.6858 | 2.5799 | 18.3909 | 9.6999 | 1.1189 | -2.5639e-11 | -1.009e-11 | -0.68288 | 6.2824 | 0.12261 | 3.4447 | -2.2878e-11 | -1.5225e-11 | -2.9779 | -0.65689 | 2.6215 | -77.0201 | 2.858 | -131.9357 | 102.8997 | -177.2031 | 48.1452 |  | 1.4144 | 0 | 0 | 1.1842 | 0.34347 | 0.27056 | -5.0141 | 0 | 0 | -0.015981 | 176.8277 | 135.4675
Line_1 | 0.11256 | 0.79679 | 0.42026 | 0.11171 | 0.79635 | 0.42002 | 1.2997 | 9.2006 | 4.8527 | 1.29 | 9.1954 | 4.8499 | -0.23633 | 4.7171 | 0.096871 | 0.34144 | -3.1412 | -0.061303 | -1.3748 | -0.49268 | 1.9695 | 1.4889 | 0.32844 | -1.3108 | 103.053 | -177.2591 | 48.2628 | -77.1003 | 2.7969 | -131.8548 |  | 1.0733 | 0.51549 | 0.40635 | 1.1842 | 0.34347 | 0.27056 | 3.2995 | 176.7782 | 135.447 | -0.015981 | 176.8277 | 135.4675
Line_2 | 0.11256 | 0.79679 | 0.42026 | 0.11171 | 0.79635 | 0.42002 | 1.2997 | 9.2006 | 4.8527 | 1.29 | 9.1954 | 4.8499 | -0.23633 | 4.7171 | 0.096871 | 0.34144 | -3.1412 | -0.061303 | -1.3748 | -0.49268 | 1.9695 | 1.4889 | 0.32844 | -1.3108 | 103.053 | -177.2591 | 48.2628 | -77.1003 | 2.7969 | -131.8548 |  | 1.0733 | 0.51549 | 0.40635 | 1.1842 | 0.34347 | 0.27056 | 3.2995 | 176.7782 | 135.447 | -0.015981 | 176.8277 | 135.4675
Line_3 | 0.00038047 | 0.00038047 | 0.00038047 | 0.00038047 | 0.00038047 | 0.00038047 | 0.0043933 | 0.0043933 | 0.0043933 | 0.0043933 | 0.0043933 | 0.0043933 | -0.0036789 | 0.0019164 | 0.0017626 | -0.0036789 | 0.0019164 | 0.0017626 | -0.0029496 | 0.0012068 | -0.00028333 | -0.0029496 | 0.0012068 | -0.00028333 | 144.5789 | 144.5789 | 144.5789 | 144.5789 | 144.5789 | 144.5789 |  | 1.0733 | 0.51549 | 0.40635 | 1.0733 | 0.51549 | 0.40635 | 3.2995 | 176.7782 | 135.447 | 3.2995 | 176.7782 | 135.447

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22176 | 1.5927 | 0.83882 | 0.22343 | 1.5927 | 0.84003 | 2.5607 | 18.3911 | 9.6858 | 2.5799 | 18.3909 | 9.6999 | 1.1189 | -2.5639e-11 | -1.009e-11 | -0.68288 | 6.2824 | 0.12261 | 3.4447 | -2.2878e-11 | -1.5225e-11 | -2.9779 | -0.65689 | 2.6215 | -77.0201 | 2.858 | -131.9357 | 102.8997 | -177.2031 | 48.1452 |  | 1.4144 | 0 | 0 | 1.1842 | 0.34347 | 0.27056 | -5.0141 | 0 | 0 | -0.015981 | 176.8277 | 135.4675
Line_1 | 0.11256 | 0.79679 | 0.42026 | 0.11171 | 0.79635 | 0.42002 | 1.2997 | 9.2006 | 4.8527 | 1.29 | 9.1954 | 4.8499 | -0.23633 | 4.7171 | 0.096871 | 0.34144 | -3.1412 | -0.061303 | -1.3748 | -0.49268 | 1.9695 | 1.4889 | 0.32844 | -1.3108 | 103.053 | -177.2591 | 48.2628 | -77.1003 | 2.7969 | -131.8548 |  | 1.0733 | 0.51549 | 0.40635 | 1.1842 | 0.34347 | 0.27056 | 3.2995 | 176.7782 | 135.447 | -0.015981 | 176.8277 | 135.4675
Line_2 | 0.11256 | 0.79679 | 0.42026 | 0.11171 | 0.79635 | 0.42002 | 1.2997 | 9.2006 | 4.8527 | 1.29 | 9.1954 | 4.8499 | -0.23633 | 4.7171 | 0.096871 | 0.34144 | -3.1412 | -0.061303 | -1.3748 | -0.49268 | 1.9695 | 1.4889 | 0.32844 | -1.3108 | 103.053 | -177.2591 | 48.2628 | -77.1003 | 2.7969 | -131.8548 |  | 1.0733 | 0.51549 | 0.40635 | 1.1842 | 0.34347 | 0.27056 | 3.2995 | 176.7782 | 135.447 | -0.015981 | 176.8277 | 135.4675
Line_3 | 0.00038047 | 0.00038047 | 0.00038047 | 0.00038047 | 0.00038047 | 0.00038047 | 0.0043933 | 0.0043933 | 0.0043933 | 0.0043933 | 0.0043933 | 0.0043933 | -0.0036789 | 0.0019164 | 0.0017626 | -0.0036789 | 0.0019164 | 0.0017626 | -0.0029496 | 0.0012068 | -0.00028333 | -0.0029496 | 0.0012068 | -0.00028333 | 144.5789 | 144.5789 | 144.5789 | 144.5789 | 144.5789 | 144.5789 |  | 1.0733 | 0.51549 | 0.40635 | 1.0733 | 0.51549 | 0.40635 | 3.2995 | 176.7782 | 135.447 | 3.2995 | 176.7782 | 135.447

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12626 | 0.33355 | 0.33762 | 0.12691 | 0.33332 | 0.33831 | 1.458 | 3.8515 | 3.8985 | 1.4654 | 3.8488 | 3.9064 | 0.53086 | -1.9261 | -2.574 | -0.39821 | 2.278 | 2.9441 | 1.5919 | -2.6135 | -0.72823 | -1.5072 | 2.3981 | 1.0859 | -76.2814 | 8.662 | -89.1438 | 103.5863 | -171.4524 | 90.832 |  | 1.1509 | 0.84293 | 0.68619 | 1.0638 | 0.8594 | 0.80327 | -4.7241 | -117.7276 | 106.6532 | -1.2132 | -124.9812 | 111.0787
Line_1 | 0.063824 | 0.16673 | 0.16951 | 0.063453 | 0.16666 | 0.16915 | 0.73697 | 1.9252 | 1.9573 | 0.7327 | 1.9244 | 1.9532 | -0.16743 | 1.2267 | 1.5674 | 0.19911 | -1.139 | -1.472 | -0.73428 | 1.1475 | 0.63208 | 0.75361 | -1.1991 | -0.54296 | 103.6198 | -171.578 | 90.872 | -76.4137 | 8.5476 | -89.168 |  | 1.0219 | 0.8725 | 0.86346 | 1.0638 | 0.8594 | 0.80327 | 0.77478 | -128.4892 | 112.8344 | -1.2132 | -124.9812 | 111.0787
Line_2 | 0.063824 | 0.16673 | 0.16951 | 0.063453 | 0.16666 | 0.16915 | 0.73697 | 1.9252 | 1.9573 | 0.7327 | 1.9244 | 1.9532 | -0.16743 | 1.2267 | 1.5674 | 0.19911 | -1.139 | -1.472 | -0.73428 | 1.1475 | 0.63208 | 0.75361 | -1.1991 | -0.54296 | 103.6198 | -171.578 | 90.872 | -76.4137 | 8.5476 | -89.168 |  | 1.0219 | 0.8725 | 0.86346 | 1.0638 | 0.8594 | 0.80327 | 0.77478 | -128.4892 | 112.8344 | -1.2132 | -124.9812 | 111.0787
Line_3 | 0.00015806 | 0.00015806 | 0.00015806 | 0.00015806 | 0.00015806 | 0.00015806 | 0.0018251 | 0.0018251 | 0.0018251 | 0.0018251 | 0.0018251 | 0.0018251 | -0.0012142 | -0.00027972 | 0.0014939 | -0.0012142 | -0.00027972 | 0.0014939 | -0.0014157 | 0.0015676 | -0.00050158 | -0.0014157 | 0.0015676 | -0.00050158 | 131.3936 | 131.3936 | 131.3936 | 131.3936 | 131.3936 | 131.3936 |  | 1.0219 | 0.8725 | 0.86346 | 1.0219 | 0.8725 | 0.86346 | 0.77478 | -128.4892 | 112.8344 | 0.77478 | -128.4892 | 112.8344

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12626 | 0.33355 | 0.33762 | 0.12691 | 0.33332 | 0.33831 | 1.458 | 3.8515 | 3.8985 | 1.4654 | 3.8488 | 3.9064 | 0.53086 | -1.9261 | -2.574 | -0.39821 | 2.278 | 2.9441 | 1.5919 | -2.6135 | -0.72823 | -1.5072 | 2.3981 | 1.0859 | -76.2814 | 8.662 | -89.1438 | 103.5863 | -171.4524 | 90.832 |  | 1.1509 | 0.84293 | 0.68619 | 1.0638 | 0.8594 | 0.80327 | -4.7241 | -117.7276 | 106.6532 | -1.2132 | -124.9812 | 111.0787
Line_1 | 0.063824 | 0.16673 | 0.16951 | 0.063453 | 0.16666 | 0.16915 | 0.73697 | 1.9252 | 1.9573 | 0.7327 | 1.9244 | 1.9532 | -0.16743 | 1.2267 | 1.5674 | 0.19911 | -1.139 | -1.472 | -0.73428 | 1.1475 | 0.63208 | 0.75361 | -1.1991 | -0.54296 | 103.6198 | -171.578 | 90.872 | -76.4137 | 8.5476 | -89.168 |  | 1.0219 | 0.8725 | 0.86346 | 1.0638 | 0.8594 | 0.80327 | 0.77478 | -128.4892 | 112.8344 | -1.2132 | -124.9812 | 111.0787
Line_2 | 0.063824 | 0.16673 | 0.16951 | 0.063453 | 0.16666 | 0.16915 | 0.73697 | 1.9252 | 1.9573 | 0.7327 | 1.9244 | 1.9532 | -0.16743 | 1.2267 | 1.5674 | 0.19911 | -1.139 | -1.472 | -0.73428 | 1.1475 | 0.63208 | 0.75361 | -1.1991 | -0.54296 | 103.6198 | -171.578 | 90.872 | -76.4137 | 8.5476 | -89.168 |  | 1.0219 | 0.8725 | 0.86346 | 1.0638 | 0.8594 | 0.80327 | 0.77478 | -128.4892 | 112.8344 | -1.2132 | -124.9812 | 111.0787
Line_3 | 0.00015806 | 0.00015806 | 0.00015806 | 0.00015806 | 0.00015806 | 0.00015806 | 0.0018251 | 0.0018251 | 0.0018251 | 0.0018251 | 0.0018251 | 0.0018251 | -0.0012142 | -0.00027972 | 0.0014939 | -0.0012142 | -0.00027972 | 0.0014939 | -0.0014157 | 0.0015676 | -0.00050158 | -0.0014157 | 0.0015676 | -0.00050158 | 131.3936 | 131.3936 | 131.3936 | 131.3936 | 131.3936 | 131.3936 |  | 1.0219 | 0.8725 | 0.86346 | 1.0219 | 0.8725 | 0.86346 | 0.77478 | -128.4892 | 112.8344 | 0.77478 | -128.4892 | 112.8344