## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7738e-14 | 1.4426e-21 | 3.1264e-14 | 5.7317e-14 | 1.5632e-14 | -3.1263e-14 | -1.3492e-27 | 5.7634e-09 | -5.7634e-09 | -5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1412e-12 | 180 | -180 | 1.1891e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 1.8985e-19 | 1.9013e-19 | -1.5632e-14 | 1.5632e-14 | -1.4255e-19 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -3.2442e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1874e-12 | -180 | 180 | 1.1891e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.0421e-14 | 1.9014e-19 | -1.0814e-28 | 1.5632e-14 | -1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1926e-12 | -180 | 180 | 1.1891e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 1.5632e-14 | -1.5632e-14 | -3.1264e-14 | -1.8022e-24 | 1.0421e-14 | 3.2395e-28 | -2.3448e-14 | 5.2106e-15 | -6.5077e-28 | 1.8237e-14 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1874e-12 | -180 | 180 | 1.1926e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7738e-14 | 1.4426e-21 | 3.1264e-14 | 5.7317e-14 | 1.5632e-14 | -3.1263e-14 | -1.3492e-27 | 5.7634e-09 | -5.7634e-09 | -5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1412e-12 | 180 | -180 | 1.1891e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 1.8985e-19 | 1.9013e-19 | -1.5632e-14 | 1.5632e-14 | -1.4255e-19 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -3.2442e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1874e-12 | -180 | 180 | 1.1891e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.0421e-14 | 1.9014e-19 | -1.0814e-28 | 1.5632e-14 | -1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1926e-12 | -180 | 180 | 1.1891e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 1.5632e-14 | -1.5632e-14 | -3.1264e-14 | -1.8022e-24 | 1.0421e-14 | 3.2395e-28 | -2.3448e-14 | 5.2106e-15 | -6.5077e-28 | 1.8237e-14 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1874e-12 | -180 | 180 | 1.1926e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -9.5548e-10 | -3.075e-09 | 2.0843e-14 | 9.5549e-10 | 3.075e-09 | 1.0421e-14 | 4.0277e-09 | -3.5665e-10 | -1.3027e-14 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.0334e-13 | -140.8543 | 122.4159 | 4.1798e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | 3.185e-10 | 1.025e-09 | -9.1186e-15 | -3.185e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.1556e-13 | -140.8543 | 122.4159 | 4.1798e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 3.1851e-10 | 1.025e-09 | -7.816e-15 | -3.185e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1888e-10 | -5.2106e-15 | 1.3426e-09 | -1.1889e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.1819e-13 | -140.8543 | 122.4159 | 4.1798e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | -2.5763e-15 | -5.8579e-15 | -6.5133e-15 | 9.4464e-15 | 4.0823e-15 | -1.0421e-14 | -2.0971e-15 | -1.5491e-14 | 7.816e-15 | 7.6894e-15 | 1.8287e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.1556e-13 | -140.8543 | 122.4159 | 4.1819e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -9.5548e-10 | -3.075e-09 | 2.0843e-14 | 9.5549e-10 | 3.075e-09 | 1.0421e-14 | 4.0277e-09 | -3.5665e-10 | -1.3027e-14 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.0334e-13 | -140.8543 | 122.4159 | 4.1798e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | 3.185e-10 | 1.025e-09 | -9.1186e-15 | -3.185e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.1556e-13 | -140.8543 | 122.4159 | 4.1798e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 3.1851e-10 | 1.025e-09 | -7.816e-15 | -3.185e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1888e-10 | -5.2106e-15 | 1.3426e-09 | -1.1889e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.1819e-13 | -140.8543 | 122.4159 | 4.1798e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | -2.5763e-15 | -5.8579e-15 | -6.5133e-15 | 9.4464e-15 | 4.0823e-15 | -1.0421e-14 | -2.0971e-15 | -1.5491e-14 | 7.816e-15 | 7.6894e-15 | 1.8287e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.1556e-13 | -140.8543 | 122.4159 | 4.1819e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6692e-28 | 2.2501e-14 | 1.1842e-14 | -4.1892e-28 | -2.25e-14 | -7.1047e-15 | -2.3685e-14 | 4.7631e-09 | -4.7631e-09 | 2.8422e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.8762e-13 | -180 | 180 | 8.4451e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.1839e-15 | 2.3688e-15 | 4.737e-15 | 1.184e-15 | 2.3682e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.1445e-13 | -180 | 180 | 8.4451e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.0658e-14 | -2.3682e-15 | 4.737e-15 | 1.0658e-14 | 7.1052e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.2684e-13 | -180 | 180 | 8.4451e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7335e-29 | 1.0658e-14 | 4.737e-15 | -2.3685e-15 | -8.2897e-15 | 4.737e-15 | 4.737e-15 | -7.1054e-15 | -9.0916e-25 | -3.418e-29 | -4.737e-15 | -1.8948e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.1445e-13 | -180 | 180 | 8.2684e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6692e-28 | 2.2501e-14 | 1.1842e-14 | -4.1892e-28 | -2.25e-14 | -7.1047e-15 | -2.3685e-14 | 4.7631e-09 | -4.7631e-09 | 2.8422e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.8762e-13 | -180 | 180 | 8.4451e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.1839e-15 | 2.3688e-15 | 4.737e-15 | 1.184e-15 | 2.3682e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.1445e-13 | -180 | 180 | 8.4451e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.0658e-14 | -2.3682e-15 | 4.737e-15 | 1.0658e-14 | 7.1052e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.2684e-13 | -180 | 180 | 8.4451e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7335e-29 | 1.0658e-14 | 4.737e-15 | -2.3685e-15 | -8.2897e-15 | 4.737e-15 | 4.737e-15 | -7.1054e-15 | -9.0916e-25 | -3.418e-29 | -4.737e-15 | -1.8948e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.1445e-13 | -180 | 180 | 8.2684e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | -8.0026e-10 | -2.5674e-09 | -2.9606e-16 | 8.0026e-10 | 2.5674e-09 | -1.8948e-14 | 3.4014e-09 | -3.4065e-10 | 1.6579e-14 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1243e-13 | -141.4824 | 122.8363 | 2.8312e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8488e-15 | 2.6676e-10 | 8.5579e-10 | 3.8488e-15 | -2.6675e-10 | -8.5579e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6882e-13 | -141.4824 | 122.8363 | 2.8312e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.4409e-15 | 2.6675e-10 | 8.558e-10 | 3.2567e-15 | -2.6676e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7408e-13 | -141.4824 | 122.8363 | 2.8312e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1112e-29 | -3.417e-15 | -2.8057e-16 | 1.133e-29 | 2.8102e-15 | 1.4862e-15 | 2.3685e-15 | 7.5044e-15 | -5.0324e-15 | -2.3685e-15 | -3.193e-16 | 3.1643e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6882e-13 | -141.4824 | 122.8363 | 2.7408e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | -8.0026e-10 | -2.5674e-09 | -2.9606e-16 | 8.0026e-10 | 2.5674e-09 | -1.8948e-14 | 3.4014e-09 | -3.4065e-10 | 1.6579e-14 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1243e-13 | -141.4824 | 122.8363 | 2.8312e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8488e-15 | 2.6676e-10 | 8.5579e-10 | 3.8488e-15 | -2.6675e-10 | -8.5579e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6882e-13 | -141.4824 | 122.8363 | 2.8312e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.4409e-15 | 2.6675e-10 | 8.558e-10 | 3.2567e-15 | -2.6676e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7408e-13 | -141.4824 | 122.8363 | 2.8312e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1112e-29 | -3.417e-15 | -2.8057e-16 | 1.133e-29 | 2.8102e-15 | 1.4862e-15 | 2.3685e-15 | 7.5044e-15 | -5.0324e-15 | -2.3685e-15 | -3.193e-16 | 3.1643e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6882e-13 | -141.4824 | 122.8363 | 2.7408e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.017017 | 0.017017 | 0.017017 | 0.012768 | 0.012768 | 0.012768 | 0.1965 | 0.1965 | 0.1965 | 0.14743 | 0.14743 | 0.14743 | -9.7065e-13 | 0.18862 | -0.18576 | 0.00070265 | -0.141 | 0.13989 | 7.1323e-14 | -0.25351 | -0.25201 | 0.00027966 | 0.19035 | 0.1895 | -89.7717 | -89.7717 | -89.7717 | 90.1735 | 90.1735 | 90.1735 | 0 | 1.6081 | 1.5933 | 0.0051296 | 1.6067 | 1.5976 | 0 | -143.121 | 143.8348 | 111.8765 | -143.2977 | 143.7374
Line_1 | 0.0021284 | 0.0021284 | 0.0021284 | 0.0063839 | 0.0063839 | 0.0063839 | 0.024577 | 0.024577 | 0.024577 | 0.073714 | 0.073714 | 0.073714 | 0.00015058 | -0.023488 | 0.023337 | -0.00035132 | 0.070498 | -0.069946 | 6e-05 | 0.031732 | 0.031615 | -0.00013983 | -0.095173 | -0.094748 | 90.1432 | 90.1432 | 90.1432 | -89.8265 | -89.8265 | -89.8265 | 0.0065956 | 1.6064 | 1.5989 | 0.0051296 | 1.6067 | 1.5976 | 111.8679 | -143.3482 | 143.7097 | 111.8765 | -143.2977 | 143.7374
Line_2 | 0.0021284 | 0.0021284 | 0.0021284 | 0.0063839 | 0.0063839 | 0.0063839 | 0.024577 | 0.024577 | 0.024577 | 0.073714 | 0.073714 | 0.073714 | 0.00015058 | -0.023488 | 0.023337 | -0.00035132 | 0.070498 | -0.069946 | 6e-05 | 0.031732 | 0.031615 | -0.00013983 | -0.095173 | -0.094748 | 90.1432 | 90.1432 | 90.1432 | -89.8265 | -89.8265 | -89.8265 | 0.0065956 | 1.6064 | 1.5989 | 0.0051296 | 1.6067 | 1.5976 | 111.8679 | -143.3482 | 143.7097 | 111.8765 | -143.2977 | 143.7374
Line_3 | 0.0021284 | 0.0021284 | 0.0021284 | 0.0021284 | 0.0021284 | 0.0021284 | 0.024577 | 0.024577 | 0.024577 | 0.024577 | 0.024577 | 0.024577 | -0.00015058 | 0.023488 | -0.023337 | -0.00015058 | 0.023488 | -0.023337 | -6e-05 | -0.031732 | -0.031615 | -6e-05 | -0.031732 | -0.031615 | -89.8568 | -89.8568 | -89.8568 | -89.8568 | -89.8568 | -89.8568 | 0.0065956 | 1.6064 | 1.5989 | 0.0065956 | 1.6064 | 1.5989 | 111.8679 | -143.3482 | 143.7097 | 111.8679 | -143.3482 | 143.7097

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.017017 | 0.017017 | 0.017017 | 0.012768 | 0.012768 | 0.012768 | 0.1965 | 0.1965 | 0.1965 | 0.14743 | 0.14743 | 0.14743 | -9.7065e-13 | 0.18862 | -0.18576 | 0.00070265 | -0.141 | 0.13989 | 7.1323e-14 | -0.25351 | -0.25201 | 0.00027966 | 0.19035 | 0.1895 | -89.7717 | -89.7717 | -89.7717 | 90.1735 | 90.1735 | 90.1735 | 0 | 1.6081 | 1.5933 | 0.0051296 | 1.6067 | 1.5976 | 0 | -143.121 | 143.8348 | 111.8765 | -143.2977 | 143.7374
Line_1 | 0.0021284 | 0.0021284 | 0.0021284 | 0.0063839 | 0.0063839 | 0.0063839 | 0.024577 | 0.024577 | 0.024577 | 0.073714 | 0.073714 | 0.073714 | 0.00015058 | -0.023488 | 0.023337 | -0.00035132 | 0.070498 | -0.069946 | 6e-05 | 0.031732 | 0.031615 | -0.00013983 | -0.095173 | -0.094748 | 90.1432 | 90.1432 | 90.1432 | -89.8265 | -89.8265 | -89.8265 | 0.0065956 | 1.6064 | 1.5989 | 0.0051296 | 1.6067 | 1.5976 | 111.8679 | -143.3482 | 143.7097 | 111.8765 | -143.2977 | 143.7374
Line_2 | 0.0021284 | 0.0021284 | 0.0021284 | 0.0063839 | 0.0063839 | 0.0063839 | 0.024577 | 0.024577 | 0.024577 | 0.073714 | 0.073714 | 0.073714 | 0.00015058 | -0.023488 | 0.023337 | -0.00035132 | 0.070498 | -0.069946 | 6e-05 | 0.031732 | 0.031615 | -0.00013983 | -0.095173 | -0.094748 | 90.1432 | 90.1432 | 90.1432 | -89.8265 | -89.8265 | -89.8265 | 0.0065956 | 1.6064 | 1.5989 | 0.0051296 | 1.6067 | 1.5976 | 111.8679 | -143.3482 | 143.7097 | 111.8765 | -143.2977 | 143.7374
Line_3 | 0.0021284 | 0.0021284 | 0.0021284 | 0.0021284 | 0.0021284 | 0.0021284 | 0.024577 | 0.024577 | 0.024577 | 0.024577 | 0.024577 | 0.024577 | -0.00015058 | 0.023488 | -0.023337 | -0.00015058 | 0.023488 | -0.023337 | -6e-05 | -0.031732 | -0.031615 | -6e-05 | -0.031732 | -0.031615 | -89.8568 | -89.8568 | -89.8568 | -89.8568 | -89.8568 | -89.8568 | 0.0065956 | 1.6064 | 1.5989 | 0.0065956 | 1.6064 | 1.5989 | 111.8679 | -143.3482 | 143.7097 | 111.8679 | -143.3482 | 143.7097

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0091297 | 0.0091297 | 0.0091297 | 0.0068499 | 0.0068499 | 0.0068499 | 0.10542 | 0.10542 | 0.10542 | 0.079096 | 0.079096 | 0.079096 | 0.044151 | 0.071111 | -0.11444 | -0.032892 | -0.053247 | 0.086023 | 0.044913 | -0.13366 | -0.056759 | -0.033649 | 0.10031 | 0.042748 | -67.4883 | -67.4883 | -67.4883 | 112.4569 | 112.4569 | 112.4569 | 0.59742 | 1.4361 | 1.2117 | 0.5949 | 1.4358 | 1.2145 | -21.9982 | -129.4741 | 138.892 | -21.8911 | -129.5832 | 138.8813
Line_1 | 0.0011419 | 0.0011419 | 0.0011419 | 0.003425 | 0.003425 | 0.003425 | 0.013185 | 0.013185 | 0.013185 | 0.039548 | 0.039548 | 0.039548 | -0.0054705 | -0.0088756 | 0.014346 | 0.016446 | 0.026624 | -0.043012 | -0.0056084 | 0.016721 | 0.0071375 | 0.016824 | -0.050156 | -0.021374 | 112.4266 | 112.4266 | 112.4266 | -67.5431 | -67.5431 | -67.5431 | 0.59418 | 1.4358 | 1.2152 | 0.5949 | 1.4358 | 1.2145 | -21.8603 | -129.6144 | 138.8782 | -21.8911 | -129.5832 | 138.8813
Line_2 | 0.0011419 | 0.0011419 | 0.0011419 | 0.003425 | 0.003425 | 0.003425 | 0.013185 | 0.013185 | 0.013185 | 0.039548 | 0.039548 | 0.039548 | -0.0054705 | -0.0088756 | 0.014346 | 0.016446 | 0.026624 | -0.043012 | -0.0056084 | 0.016721 | 0.0071375 | 0.016824 | -0.050156 | -0.021374 | 112.4266 | 112.4266 | 112.4266 | -67.5431 | -67.5431 | -67.5431 | 0.59418 | 1.4358 | 1.2152 | 0.5949 | 1.4358 | 1.2145 | -21.8603 | -129.6144 | 138.8782 | -21.8911 | -129.5832 | 138.8813
Line_3 | 0.0011419 | 0.0011419 | 0.0011419 | 0.0011419 | 0.0011419 | 0.0011419 | 0.013185 | 0.013185 | 0.013185 | 0.013185 | 0.013185 | 0.013185 | 0.0054705 | 0.0088756 | -0.014346 | 0.0054705 | 0.0088756 | -0.014346 | 0.0056084 | -0.016721 | -0.0071375 | 0.0056084 | -0.016721 | -0.0071375 | -67.5734 | -67.5734 | -67.5734 | -67.5734 | -67.5734 | -67.5734 | 0.59418 | 1.4358 | 1.2152 | 0.59418 | 1.4358 | 1.2152 | -21.8603 | -129.6144 | 138.8782 | -21.8603 | -129.6144 | 138.8782

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0091297 | 0.0091297 | 0.0091297 | 0.0068499 | 0.0068499 | 0.0068499 | 0.10542 | 0.10542 | 0.10542 | 0.079096 | 0.079096 | 0.079096 | 0.044151 | 0.071111 | -0.11444 | -0.032892 | -0.053247 | 0.086023 | 0.044913 | -0.13366 | -0.056759 | -0.033649 | 0.10031 | 0.042748 | -67.4883 | -67.4883 | -67.4883 | 112.4569 | 112.4569 | 112.4569 | 0.59742 | 1.4361 | 1.2117 | 0.5949 | 1.4358 | 1.2145 | -21.9982 | -129.4741 | 138.892 | -21.8911 | -129.5832 | 138.8813
Line_1 | 0.0011419 | 0.0011419 | 0.0011419 | 0.003425 | 0.003425 | 0.003425 | 0.013185 | 0.013185 | 0.013185 | 0.039548 | 0.039548 | 0.039548 | -0.0054705 | -0.0088756 | 0.014346 | 0.016446 | 0.026624 | -0.043012 | -0.0056084 | 0.016721 | 0.0071375 | 0.016824 | -0.050156 | -0.021374 | 112.4266 | 112.4266 | 112.4266 | -67.5431 | -67.5431 | -67.5431 | 0.59418 | 1.4358 | 1.2152 | 0.5949 | 1.4358 | 1.2145 | -21.8603 | -129.6144 | 138.8782 | -21.8911 | -129.5832 | 138.8813
Line_2 | 0.0011419 | 0.0011419 | 0.0011419 | 0.003425 | 0.003425 | 0.003425 | 0.013185 | 0.013185 | 0.013185 | 0.039548 | 0.039548 | 0.039548 | -0.0054705 | -0.0088756 | 0.014346 | 0.016446 | 0.026624 | -0.043012 | -0.0056084 | 0.016721 | 0.0071375 | 0.016824 | -0.050156 | -0.021374 | 112.4266 | 112.4266 | 112.4266 | -67.5431 | -67.5431 | -67.5431 | 0.59418 | 1.4358 | 1.2152 | 0.5949 | 1.4358 | 1.2145 | -21.8603 | -129.6144 | 138.8782 | -21.8911 | -129.5832 | 138.8813
Line_3 | 0.0011419 | 0.0011419 | 0.0011419 | 0.0011419 | 0.0011419 | 0.0011419 | 0.013185 | 0.013185 | 0.013185 | 0.013185 | 0.013185 | 0.013185 | 0.0054705 | 0.0088756 | -0.014346 | 0.0054705 | 0.0088756 | -0.014346 | 0.0056084 | -0.016721 | -0.0071375 | 0.0056084 | -0.016721 | -0.0071375 | -67.5734 | -67.5734 | -67.5734 | -67.5734 | -67.5734 | -67.5734 | 0.59418 | 1.4358 | 1.2152 | 0.59418 | 1.4358 | 1.2152 | -21.8603 | -129.6144 | 138.8782 | -21.8603 | -129.6144 | 138.8782

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015327 | 0.015327 | 0.015327 | 0.0115 | 0.0115 | 0.0115 | 0.17698 | 0.17698 | 0.17698 | 0.13279 | 0.13279 | 0.13279 | 1.7023e-13 | 0.1555 | -0.15104 | 0.0010944 | -0.11586 | 0.11413 | 3.1746e-13 | -0.20493 | -0.20516 | 0.00022709 | 0.15376 | 0.15437 | -90.0446 | -90.0446 | -90.0446 | 89.8501 | 89.8501 | 89.8501 | 0 | 1.4535 | 1.4395 | 0.0084174 | 1.4499 | 1.4458 | 0 | -142.8534 | 143.5951 | 101.5731 | -143.1535 | 143.3718
Line_1 | 0.001917 | 0.001917 | 0.001917 | 0.0057498 | 0.0057498 | 0.0057498 | 0.022136 | 0.022136 | 0.022136 | 0.066393 | 0.066393 | 0.066393 | 0.00023454 | -0.019287 | 0.019053 | -0.00054719 | 0.057928 | -0.057067 | 4.8846e-05 | 0.025624 | 0.025763 | -0.00011355 | -0.076882 | -0.077183 | 89.792 | 89.792 | 89.792 | -90.1499 | -90.1499 | -90.1499 | 0.010823 | 1.4489 | 1.4476 | 0.0084174 | 1.4499 | 1.4458 | 101.5565 | -143.2394 | 143.3082 | 101.5731 | -143.1535 | 143.3718
Line_2 | 0.001917 | 0.001917 | 0.001917 | 0.0057498 | 0.0057498 | 0.0057498 | 0.022136 | 0.022136 | 0.022136 | 0.066393 | 0.066393 | 0.066393 | 0.00023454 | -0.019287 | 0.019053 | -0.00054719 | 0.057928 | -0.057067 | 4.8846e-05 | 0.025624 | 0.025763 | -0.00011355 | -0.076882 | -0.077183 | 89.792 | 89.792 | 89.792 | -90.1499 | -90.1499 | -90.1499 | 0.010823 | 1.4489 | 1.4476 | 0.0084174 | 1.4499 | 1.4458 | 101.5565 | -143.2394 | 143.3082 | 101.5731 | -143.1535 | 143.3718
Line_3 | 0.001917 | 0.001917 | 0.001917 | 0.001917 | 0.001917 | 0.001917 | 0.022136 | 0.022136 | 0.022136 | 0.022136 | 0.022136 | 0.022136 | -0.00023454 | 0.019287 | -0.019053 | -0.00023454 | 0.019287 | -0.019053 | -4.8846e-05 | -0.025624 | -0.025763 | -4.8846e-05 | -0.025624 | -0.025763 | -90.208 | -90.208 | -90.208 | -90.208 | -90.208 | -90.208 | 0.010823 | 1.4489 | 1.4476 | 0.010823 | 1.4489 | 1.4476 | 101.5565 | -143.2394 | 143.3082 | 101.5565 | -143.2394 | 143.3082

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015327 | 0.015327 | 0.015327 | 0.0115 | 0.0115 | 0.0115 | 0.17698 | 0.17698 | 0.17698 | 0.13279 | 0.13279 | 0.13279 | 1.7023e-13 | 0.1555 | -0.15104 | 0.0010944 | -0.11586 | 0.11413 | 3.1746e-13 | -0.20493 | -0.20516 | 0.00022709 | 0.15376 | 0.15437 | -90.0446 | -90.0446 | -90.0446 | 89.8501 | 89.8501 | 89.8501 | 0 | 1.4535 | 1.4395 | 0.0084174 | 1.4499 | 1.4458 | 0 | -142.8534 | 143.5951 | 101.5731 | -143.1535 | 143.3718
Line_1 | 0.001917 | 0.001917 | 0.001917 | 0.0057498 | 0.0057498 | 0.0057498 | 0.022136 | 0.022136 | 0.022136 | 0.066393 | 0.066393 | 0.066393 | 0.00023454 | -0.019287 | 0.019053 | -0.00054719 | 0.057928 | -0.057067 | 4.8846e-05 | 0.025624 | 0.025763 | -0.00011355 | -0.076882 | -0.077183 | 89.792 | 89.792 | 89.792 | -90.1499 | -90.1499 | -90.1499 | 0.010823 | 1.4489 | 1.4476 | 0.0084174 | 1.4499 | 1.4458 | 101.5565 | -143.2394 | 143.3082 | 101.5731 | -143.1535 | 143.3718
Line_2 | 0.001917 | 0.001917 | 0.001917 | 0.0057498 | 0.0057498 | 0.0057498 | 0.022136 | 0.022136 | 0.022136 | 0.066393 | 0.066393 | 0.066393 | 0.00023454 | -0.019287 | 0.019053 | -0.00054719 | 0.057928 | -0.057067 | 4.8846e-05 | 0.025624 | 0.025763 | -0.00011355 | -0.076882 | -0.077183 | 89.792 | 89.792 | 89.792 | -90.1499 | -90.1499 | -90.1499 | 0.010823 | 1.4489 | 1.4476 | 0.0084174 | 1.4499 | 1.4458 | 101.5565 | -143.2394 | 143.3082 | 101.5731 | -143.1535 | 143.3718
Line_3 | 0.001917 | 0.001917 | 0.001917 | 0.001917 | 0.001917 | 0.001917 | 0.022136 | 0.022136 | 0.022136 | 0.022136 | 0.022136 | 0.022136 | -0.00023454 | 0.019287 | -0.019053 | -0.00023454 | 0.019287 | -0.019053 | -4.8846e-05 | -0.025624 | -0.025763 | -4.8846e-05 | -0.025624 | -0.025763 | -90.208 | -90.208 | -90.208 | -90.208 | -90.208 | -90.208 | 0.010823 | 1.4489 | 1.4476 | 0.010823 | 1.4489 | 1.4476 | 101.5565 | -143.2394 | 143.3082 | 101.5565 | -143.2394 | 143.3082

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082781 | 0.0082781 | 0.0082781 | 0.0062109 | 0.0062109 | 0.0062109 | 0.095587 | 0.095587 | 0.095587 | 0.071717 | 0.071717 | 0.071717 | 0.035928 | 0.059411 | -0.094039 | -0.026586 | -0.044406 | 0.07081 | 0.036968 | -0.10938 | -0.047217 | -0.027719 | 0.082048 | 0.035622 | -67.9479 | -67.9479 | -67.9479 | 111.9468 | 111.9468 | 111.9468 | 0.5393 | 1.3022 | 1.1009 | 0.53555 | 1.3009 | 1.1052 | -22.1311 | -129.4384 | 138.7134 | -21.8577 | -129.63 | 138.6523
Line_1 | 0.0010354 | 0.0010354 | 0.0010354 | 0.0031055 | 0.0031055 | 0.0031055 | 0.011955 | 0.011955 | 0.011955 | 0.035859 | 0.035859 | 0.035859 | -0.004412 | -0.0074013 | 0.011813 | 0.013293 | 0.022203 | -0.035405 | -0.0046222 | 0.013673 | 0.0059534 | 0.01386 | -0.041024 | -0.017811 | 111.8887 | 111.8887 | 111.8887 | -68.0532 | -68.0532 | -68.0532 | 0.53448 | 1.3005 | 1.1065 | 0.53555 | 1.3009 | 1.1052 | -21.7787 | -129.6848 | 138.6348 | -21.8577 | -129.63 | 138.6523
Line_2 | 0.0010354 | 0.0010354 | 0.0010354 | 0.0031055 | 0.0031055 | 0.0031055 | 0.011955 | 0.011955 | 0.011955 | 0.035859 | 0.035859 | 0.035859 | -0.004412 | -0.0074013 | 0.011813 | 0.013293 | 0.022203 | -0.035405 | -0.0046222 | 0.013673 | 0.0059534 | 0.01386 | -0.041024 | -0.017811 | 111.8887 | 111.8887 | 111.8887 | -68.0532 | -68.0532 | -68.0532 | 0.53448 | 1.3005 | 1.1065 | 0.53555 | 1.3009 | 1.1052 | -21.7787 | -129.6848 | 138.6348 | -21.8577 | -129.63 | 138.6523
Line_3 | 0.0010354 | 0.0010354 | 0.0010354 | 0.0010354 | 0.0010354 | 0.0010354 | 0.011955 | 0.011955 | 0.011955 | 0.011955 | 0.011955 | 0.011955 | 0.004412 | 0.0074013 | -0.011813 | 0.004412 | 0.0074013 | -0.011813 | 0.0046222 | -0.013673 | -0.0059534 | 0.0046222 | -0.013673 | -0.0059534 | -68.1113 | -68.1113 | -68.1113 | -68.1113 | -68.1113 | -68.1113 | 0.53448 | 1.3005 | 1.1065 | 0.53448 | 1.3005 | 1.1065 | -21.7787 | -129.6848 | 138.6348 | -21.7787 | -129.6848 | 138.6348

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082781 | 0.0082781 | 0.0082781 | 0.0062109 | 0.0062109 | 0.0062109 | 0.095587 | 0.095587 | 0.095587 | 0.071717 | 0.071717 | 0.071717 | 0.035928 | 0.059411 | -0.094039 | -0.026586 | -0.044406 | 0.07081 | 0.036968 | -0.10938 | -0.047217 | -0.027719 | 0.082048 | 0.035622 | -67.9479 | -67.9479 | -67.9479 | 111.9468 | 111.9468 | 111.9468 | 0.5393 | 1.3022 | 1.1009 | 0.53555 | 1.3009 | 1.1052 | -22.1311 | -129.4384 | 138.7134 | -21.8577 | -129.63 | 138.6523
Line_1 | 0.0010354 | 0.0010354 | 0.0010354 | 0.0031055 | 0.0031055 | 0.0031055 | 0.011955 | 0.011955 | 0.011955 | 0.035859 | 0.035859 | 0.035859 | -0.004412 | -0.0074013 | 0.011813 | 0.013293 | 0.022203 | -0.035405 | -0.0046222 | 0.013673 | 0.0059534 | 0.01386 | -0.041024 | -0.017811 | 111.8887 | 111.8887 | 111.8887 | -68.0532 | -68.0532 | -68.0532 | 0.53448 | 1.3005 | 1.1065 | 0.53555 | 1.3009 | 1.1052 | -21.7787 | -129.6848 | 138.6348 | -21.8577 | -129.63 | 138.6523
Line_2 | 0.0010354 | 0.0010354 | 0.0010354 | 0.0031055 | 0.0031055 | 0.0031055 | 0.011955 | 0.011955 | 0.011955 | 0.035859 | 0.035859 | 0.035859 | -0.004412 | -0.0074013 | 0.011813 | 0.013293 | 0.022203 | -0.035405 | -0.0046222 | 0.013673 | 0.0059534 | 0.01386 | -0.041024 | -0.017811 | 111.8887 | 111.8887 | 111.8887 | -68.0532 | -68.0532 | -68.0532 | 0.53448 | 1.3005 | 1.1065 | 0.53555 | 1.3009 | 1.1052 | -21.7787 | -129.6848 | 138.6348 | -21.8577 | -129.63 | 138.6523
Line_3 | 0.0010354 | 0.0010354 | 0.0010354 | 0.0010354 | 0.0010354 | 0.0010354 | 0.011955 | 0.011955 | 0.011955 | 0.011955 | 0.011955 | 0.011955 | 0.004412 | 0.0074013 | -0.011813 | 0.004412 | 0.0074013 | -0.011813 | 0.0046222 | -0.013673 | -0.0059534 | 0.0046222 | -0.013673 | -0.0059534 | -68.1113 | -68.1113 | -68.1113 | -68.1113 | -68.1113 | -68.1113 | 0.53448 | 1.3005 | 1.1065 | 0.53448 | 1.3005 | 1.1065 | -21.7787 | -129.6848 | 138.6348 | -21.7787 | -129.6848 | 138.6348

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010194 | 0.010194 | 0.010194 | 0.0076481 | 0.0076481 | 0.0076481 | 0.11771 | 0.11771 | 0.11771 | 0.088313 | 0.088313 | 0.088313 | 0.0010266 | -2.2384e-13 | -8.2735e-15 | -0.00064841 | 0.00025213 | 0.00025213 | -0.18139 | -1.4711e-13 | 2.6462e-13 | 0.1362 | 0.00010035 | 0.00010035 | 89.8412 | 89.8412 | 89.8412 | -90.2136 | -90.2136 | -90.2136 | 1.5411 | 0 | 0 | 1.5422 | 0.0030727 | 0.0030727 | 0.16551 | 0 | 0 | 0.059168 | -68.5106 | -68.5106
Line_1 | 0.001275 | 0.001275 | 0.001275 | 0.0038241 | 0.0038241 | 0.0038241 | 0.014722 | 0.014722 | 0.014722 | 0.044157 | 0.044157 | 0.044157 | -0.00010807 | 5.4034e-05 | 5.4034e-05 | 0.00032421 | -0.00012606 | -0.00012606 | 0.022709 | 2.153e-05 | 2.153e-05 | -0.068098 | -5.0175e-05 | -5.0175e-05 | -90.2439 | -90.2439 | -90.2439 | 89.7864 | 89.7864 | 89.7864 | 1.5425 | 0.0039509 | 0.0039509 | 1.5422 | 0.0030727 | 0.0030727 | 0.028797 | -68.5192 | -68.5192 | 0.059168 | -68.5106 | -68.5106
Line_2 | 0.001275 | 0.001275 | 0.001275 | 0.0038241 | 0.0038241 | 0.0038241 | 0.014722 | 0.014722 | 0.014722 | 0.044157 | 0.044157 | 0.044157 | -0.00010807 | 5.4034e-05 | 5.4034e-05 | 0.00032421 | -0.00012606 | -0.00012606 | 0.022709 | 2.153e-05 | 2.153e-05 | -0.068098 | -5.0175e-05 | -5.0175e-05 | -90.2439 | -90.2439 | -90.2439 | 89.7864 | 89.7864 | 89.7864 | 1.5425 | 0.0039509 | 0.0039509 | 1.5422 | 0.0030727 | 0.0030727 | 0.028797 | -68.5192 | -68.5192 | 0.059168 | -68.5106 | -68.5106
Line_3 | 0.001275 | 0.001275 | 0.001275 | 0.001275 | 0.001275 | 0.001275 | 0.014722 | 0.014722 | 0.014722 | 0.014722 | 0.014722 | 0.014722 | 0.00010807 | -5.4034e-05 | -5.4034e-05 | 0.00010807 | -5.4034e-05 | -5.4034e-05 | -0.022709 | -2.153e-05 | -2.153e-05 | -0.022709 | -2.153e-05 | -2.153e-05 | 89.7561 | 89.7561 | 89.7561 | 89.7561 | 89.7561 | 89.7561 | 1.5425 | 0.0039509 | 0.0039509 | 1.5425 | 0.0039509 | 0.0039509 | 0.028797 | -68.5192 | -68.5192 | 0.028797 | -68.5192 | -68.5192

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010194 | 0.010194 | 0.010194 | 0.0076481 | 0.0076481 | 0.0076481 | 0.11771 | 0.11771 | 0.11771 | 0.088313 | 0.088313 | 0.088313 | 0.0010266 | -2.2384e-13 | -8.2735e-15 | -0.00064841 | 0.00025213 | 0.00025213 | -0.18139 | -1.4711e-13 | 2.6462e-13 | 0.1362 | 0.00010035 | 0.00010035 | 89.8412 | 89.8412 | 89.8412 | -90.2136 | -90.2136 | -90.2136 | 1.5411 | 0 | 0 | 1.5422 | 0.0030727 | 0.0030727 | 0.16551 | 0 | 0 | 0.059168 | -68.5106 | -68.5106
Line_1 | 0.001275 | 0.001275 | 0.001275 | 0.0038241 | 0.0038241 | 0.0038241 | 0.014722 | 0.014722 | 0.014722 | 0.044157 | 0.044157 | 0.044157 | -0.00010807 | 5.4034e-05 | 5.4034e-05 | 0.00032421 | -0.00012606 | -0.00012606 | 0.022709 | 2.153e-05 | 2.153e-05 | -0.068098 | -5.0175e-05 | -5.0175e-05 | -90.2439 | -90.2439 | -90.2439 | 89.7864 | 89.7864 | 89.7864 | 1.5425 | 0.0039509 | 0.0039509 | 1.5422 | 0.0030727 | 0.0030727 | 0.028797 | -68.5192 | -68.5192 | 0.059168 | -68.5106 | -68.5106
Line_2 | 0.001275 | 0.001275 | 0.001275 | 0.0038241 | 0.0038241 | 0.0038241 | 0.014722 | 0.014722 | 0.014722 | 0.044157 | 0.044157 | 0.044157 | -0.00010807 | 5.4034e-05 | 5.4034e-05 | 0.00032421 | -0.00012606 | -0.00012606 | 0.022709 | 2.153e-05 | 2.153e-05 | -0.068098 | -5.0175e-05 | -5.0175e-05 | -90.2439 | -90.2439 | -90.2439 | 89.7864 | 89.7864 | 89.7864 | 1.5425 | 0.0039509 | 0.0039509 | 1.5422 | 0.0030727 | 0.0030727 | 0.028797 | -68.5192 | -68.5192 | 0.059168 | -68.5106 | -68.5106
Line_3 | 0.001275 | 0.001275 | 0.001275 | 0.001275 | 0.001275 | 0.001275 | 0.014722 | 0.014722 | 0.014722 | 0.014722 | 0.014722 | 0.014722 | 0.00010807 | -5.4034e-05 | -5.4034e-05 | 0.00010807 | -5.4034e-05 | -5.4034e-05 | -0.022709 | -2.153e-05 | -2.153e-05 | -0.022709 | -2.153e-05 | -2.153e-05 | 89.7561 | 89.7561 | 89.7561 | 89.7561 | 89.7561 | 89.7561 | 1.5425 | 0.0039509 | 0.0039509 | 1.5425 | 0.0039509 | 0.0039509 | 0.028797 | -68.5192 | -68.5192 | 0.028797 | -68.5192 | -68.5192

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068258 | 0.0068258 | 0.0068258 | 0.0051213 | 0.0051213 | 0.0051213 | 0.078818 | 0.078818 | 0.078818 | 0.059136 | 0.059136 | 0.059136 | -0.024219 | -0.040959 | 0.065638 | 0.018208 | 0.030872 | -0.049144 | -0.10644 | 0.039101 | -0.013996 | 0.079922 | -0.029263 | 0.010499 | 106.4274 | 106.4274 | 106.4274 | -73.6275 | -73.6275 | -73.6275 | 1.385 | 0.71845 | 0.85151 | 1.3861 | 0.71931 | 0.8498 | 3.6086 | -117.2434 | 94.3905 | 3.5385 | -117.0945 | 94.3136
Line_1 | 0.00085373 | 0.00085373 | 0.00085373 | 0.0025607 | 0.0025607 | 0.0025607 | 0.009858 | 0.009858 | 0.009858 | 0.029568 | 0.029568 | 0.029568 | 0.0030336 | 0.0051544 | -0.008188 | -0.0091039 | -0.015436 | 0.024572 | 0.013327 | -0.0048733 | 0.001748 | -0.039961 | 0.014631 | -0.0052494 | -73.6577 | -73.6577 | -73.6578 | 106.3725 | 106.3725 | 106.3725 | 1.3865 | 0.71955 | 0.84931 | 1.3861 | 0.71931 | 0.8498 | 3.5184 | -117.052 | 94.2916 | 3.5385 | -117.0945 | 94.3136
Line_2 | 0.00085373 | 0.00085373 | 0.00085373 | 0.0025607 | 0.0025607 | 0.0025607 | 0.009858 | 0.009858 | 0.009858 | 0.029568 | 0.029568 | 0.029568 | 0.0030336 | 0.0051544 | -0.008188 | -0.0091039 | -0.015436 | 0.024572 | 0.013327 | -0.0048733 | 0.001748 | -0.039961 | 0.014631 | -0.0052494 | -73.6577 | -73.6577 | -73.6578 | 106.3725 | 106.3725 | 106.3725 | 1.3865 | 0.71955 | 0.84931 | 1.3861 | 0.71931 | 0.8498 | 3.5184 | -117.052 | 94.2916 | 3.5385 | -117.0945 | 94.3136
Line_3 | 0.00085373 | 0.00085373 | 0.00085373 | 0.00085373 | 0.00085373 | 0.00085373 | 0.009858 | 0.009858 | 0.009858 | 0.009858 | 0.009858 | 0.009858 | -0.0030336 | -0.0051544 | 0.008188 | -0.0030336 | -0.0051544 | 0.008188 | -0.013327 | 0.0048733 | -0.001748 | -0.013327 | 0.0048733 | -0.001748 | 106.3423 | 106.3423 | 106.3423 | 106.3423 | 106.3423 | 106.3423 | 1.3865 | 0.71955 | 0.84931 | 1.3865 | 0.71955 | 0.84931 | 3.5184 | -117.052 | 94.2916 | 3.5184 | -117.052 | 94.2916

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068258 | 0.0068258 | 0.0068258 | 0.0051213 | 0.0051213 | 0.0051213 | 0.078818 | 0.078818 | 0.078818 | 0.059136 | 0.059136 | 0.059136 | -0.024219 | -0.040959 | 0.065638 | 0.018208 | 0.030872 | -0.049144 | -0.10644 | 0.039101 | -0.013996 | 0.079922 | -0.029263 | 0.010499 | 106.4274 | 106.4274 | 106.4274 | -73.6275 | -73.6275 | -73.6275 | 1.385 | 0.71845 | 0.85151 | 1.3861 | 0.71931 | 0.8498 | 3.6086 | -117.2434 | 94.3905 | 3.5385 | -117.0945 | 94.3136
Line_1 | 0.00085373 | 0.00085373 | 0.00085373 | 0.0025607 | 0.0025607 | 0.0025607 | 0.009858 | 0.009858 | 0.009858 | 0.029568 | 0.029568 | 0.029568 | 0.0030336 | 0.0051544 | -0.008188 | -0.0091039 | -0.015436 | 0.024572 | 0.013327 | -0.0048733 | 0.001748 | -0.039961 | 0.014631 | -0.0052494 | -73.6577 | -73.6577 | -73.6578 | 106.3725 | 106.3725 | 106.3725 | 1.3865 | 0.71955 | 0.84931 | 1.3861 | 0.71931 | 0.8498 | 3.5184 | -117.052 | 94.2916 | 3.5385 | -117.0945 | 94.3136
Line_2 | 0.00085373 | 0.00085373 | 0.00085373 | 0.0025607 | 0.0025607 | 0.0025607 | 0.009858 | 0.009858 | 0.009858 | 0.029568 | 0.029568 | 0.029568 | 0.0030336 | 0.0051544 | -0.008188 | -0.0091039 | -0.015436 | 0.024572 | 0.013327 | -0.0048733 | 0.001748 | -0.039961 | 0.014631 | -0.0052494 | -73.6577 | -73.6577 | -73.6578 | 106.3725 | 106.3725 | 106.3725 | 1.3865 | 0.71955 | 0.84931 | 1.3861 | 0.71931 | 0.8498 | 3.5184 | -117.052 | 94.2916 | 3.5385 | -117.0945 | 94.3136
Line_3 | 0.00085373 | 0.00085373 | 0.00085373 | 0.00085373 | 0.00085373 | 0.00085373 | 0.009858 | 0.009858 | 0.009858 | 0.009858 | 0.009858 | 0.009858 | -0.0030336 | -0.0051544 | 0.008188 | -0.0030336 | -0.0051544 | 0.008188 | -0.013327 | 0.0048733 | -0.001748 | -0.013327 | 0.0048733 | -0.001748 | 106.3423 | 106.3423 | 106.3423 | 106.3423 | 106.3423 | 106.3423 | 1.3865 | 0.71955 | 0.84931 | 1.3865 | 0.71955 | 0.84931 | 3.5184 | -117.052 | 94.2916 | 3.5184 | -117.052 | 94.2916

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0092407 | 0.0092407 | 0.0092407 | 0.0069332 | 0.0069332 | 0.0069332 | 0.1067 | 0.1067 | 0.1067 | 0.080057 | 0.080057 | 0.080057 | 0.0016198 | -7.9251e-14 | 1.997e-13 | -0.0010231 | 0.00039781 | 0.00039781 | -0.14907 | 1.7818e-13 | -2.1645e-14 | 0.11192 | 8.2548e-05 | 8.2548e-05 | 89.5517 | 89.5517 | 89.5517 | -90.5536 | -90.5536 | -90.5536 | 1.3971 | 0 | 0 | 1.3981 | 0.0050749 | 0.0050749 | 0.17424 | 0 | 0 | -0.02992 | -78.8307 | -78.8307
Line_1 | 0.0011558 | 0.0011558 | 0.0011558 | 0.0034666 | 0.0034666 | 0.0034666 | 0.013346 | 0.013346 | 0.013346 | 0.040029 | 0.040029 | 0.040029 | -0.00017051 | 8.5255e-05 | 8.5255e-05 | 0.00051153 | -0.0001989 | -0.0001989 | 0.018661 | 1.7755e-05 | 1.7755e-05 | -0.055961 | -4.1274e-05 | -4.1274e-05 | -90.6117 | -90.6117 | -90.6117 | 89.4464 | 89.4464 | 89.4464 | 1.3984 | 0.0065253 | 0.0065253 | 1.3981 | 0.0050749 | 0.0050749 | -0.088229 | -78.8473 | -78.8473 | -0.02992 | -78.8307 | -78.8307
Line_2 | 0.0011558 | 0.0011558 | 0.0011558 | 0.0034666 | 0.0034666 | 0.0034666 | 0.013346 | 0.013346 | 0.013346 | 0.040029 | 0.040029 | 0.040029 | -0.00017051 | 8.5255e-05 | 8.5255e-05 | 0.00051153 | -0.0001989 | -0.0001989 | 0.018661 | 1.7755e-05 | 1.7755e-05 | -0.055961 | -4.1274e-05 | -4.1274e-05 | -90.6117 | -90.6117 | -90.6117 | 89.4464 | 89.4464 | 89.4464 | 1.3984 | 0.0065253 | 0.0065253 | 1.3981 | 0.0050749 | 0.0050749 | -0.088229 | -78.8473 | -78.8473 | -0.02992 | -78.8307 | -78.8307
Line_3 | 0.0011558 | 0.0011558 | 0.0011558 | 0.0011558 | 0.0011558 | 0.0011558 | 0.013346 | 0.013346 | 0.013346 | 0.013346 | 0.013346 | 0.013346 | 0.00017051 | -8.5255e-05 | -8.5255e-05 | 0.00017051 | -8.5255e-05 | -8.5255e-05 | -0.018661 | -1.7755e-05 | -1.7755e-05 | -0.018661 | -1.7755e-05 | -1.7755e-05 | 89.3883 | 89.3883 | 89.3883 | 89.3883 | 89.3883 | 89.3883 | 1.3984 | 0.0065253 | 0.0065253 | 1.3984 | 0.0065253 | 0.0065253 | -0.088229 | -78.8473 | -78.8473 | -0.088229 | -78.8473 | -78.8473

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0092407 | 0.0092407 | 0.0092407 | 0.0069332 | 0.0069332 | 0.0069332 | 0.1067 | 0.1067 | 0.1067 | 0.080057 | 0.080057 | 0.080057 | 0.0016198 | -7.9251e-14 | 1.997e-13 | -0.0010231 | 0.00039781 | 0.00039781 | -0.14907 | 1.7818e-13 | -2.1645e-14 | 0.11192 | 8.2548e-05 | 8.2548e-05 | 89.5517 | 89.5517 | 89.5517 | -90.5536 | -90.5536 | -90.5536 | 1.3971 | 0 | 0 | 1.3981 | 0.0050749 | 0.0050749 | 0.17424 | 0 | 0 | -0.02992 | -78.8307 | -78.8307
Line_1 | 0.0011558 | 0.0011558 | 0.0011558 | 0.0034666 | 0.0034666 | 0.0034666 | 0.013346 | 0.013346 | 0.013346 | 0.040029 | 0.040029 | 0.040029 | -0.00017051 | 8.5255e-05 | 8.5255e-05 | 0.00051153 | -0.0001989 | -0.0001989 | 0.018661 | 1.7755e-05 | 1.7755e-05 | -0.055961 | -4.1274e-05 | -4.1274e-05 | -90.6117 | -90.6117 | -90.6117 | 89.4464 | 89.4464 | 89.4464 | 1.3984 | 0.0065253 | 0.0065253 | 1.3981 | 0.0050749 | 0.0050749 | -0.088229 | -78.8473 | -78.8473 | -0.02992 | -78.8307 | -78.8307
Line_2 | 0.0011558 | 0.0011558 | 0.0011558 | 0.0034666 | 0.0034666 | 0.0034666 | 0.013346 | 0.013346 | 0.013346 | 0.040029 | 0.040029 | 0.040029 | -0.00017051 | 8.5255e-05 | 8.5255e-05 | 0.00051153 | -0.0001989 | -0.0001989 | 0.018661 | 1.7755e-05 | 1.7755e-05 | -0.055961 | -4.1274e-05 | -4.1274e-05 | -90.6117 | -90.6117 | -90.6117 | 89.4464 | 89.4464 | 89.4464 | 1.3984 | 0.0065253 | 0.0065253 | 1.3981 | 0.0050749 | 0.0050749 | -0.088229 | -78.8473 | -78.8473 | -0.02992 | -78.8307 | -78.8307
Line_3 | 0.0011558 | 0.0011558 | 0.0011558 | 0.0011558 | 0.0011558 | 0.0011558 | 0.013346 | 0.013346 | 0.013346 | 0.013346 | 0.013346 | 0.013346 | 0.00017051 | -8.5255e-05 | -8.5255e-05 | 0.00017051 | -8.5255e-05 | -8.5255e-05 | -0.018661 | -1.7755e-05 | -1.7755e-05 | -0.018661 | -1.7755e-05 | -1.7755e-05 | 89.3883 | 89.3883 | 89.3883 | 89.3883 | 89.3883 | 89.3883 | 1.3984 | 0.0065253 | 0.0065253 | 1.3984 | 0.0065253 | 0.0065253 | -0.088229 | -78.8473 | -78.8473 | -0.088229 | -78.8473 | -78.8473

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006203 | 0.006203 | 0.006203 | 0.004654 | 0.004654 | 0.004654 | 0.071626 | 0.071626 | 0.071626 | 0.05374 | 0.05374 | 0.05374 | -0.019444 | -0.033502 | 0.053675 | 0.014646 | 0.025359 | -0.040108 | -0.087927 | 0.032063 | -0.011306 | 0.066034 | -0.023973 | 0.008446 | 106.0453 | 106.0453 | 106.0453 | -74.0601 | -74.0601 | -74.0601 | 1.2572 | 0.64742 | 0.76582 | 1.2586 | 0.64937 | 0.7627 | 3.5759 | -117.698 | 94.1502 | 3.4343 | -117.4507 | 94.0481
Line_1 | 0.00077583 | 0.00077583 | 0.00077583 | 0.002327 | 0.002327 | 0.002327 | 0.0089585 | 0.0089585 | 0.0089585 | 0.02687 | 0.02687 | 0.02687 | 0.0024389 | 0.00424 | -0.0066789 | -0.0073231 | -0.01268 | 0.020054 | 0.011012 | -0.0039903 | 0.001403 | -0.033017 | 0.011987 | -0.004223 | -74.1181 | -74.1181 | -74.1182 | 105.9399 | 105.9399 | 105.9399 | 1.259 | 0.64993 | 0.76181 | 1.2586 | 0.64937 | 0.7627 | 3.3939 | -117.3803 | 94.0189 | 3.4343 | -117.4507 | 94.0481
Line_2 | 0.00077583 | 0.00077583 | 0.00077583 | 0.002327 | 0.002327 | 0.002327 | 0.0089585 | 0.0089585 | 0.0089585 | 0.02687 | 0.02687 | 0.02687 | 0.0024389 | 0.00424 | -0.0066789 | -0.0073231 | -0.01268 | 0.020054 | 0.011012 | -0.0039903 | 0.001403 | -0.033017 | 0.011987 | -0.004223 | -74.1181 | -74.1181 | -74.1182 | 105.9399 | 105.9399 | 105.9399 | 1.259 | 0.64993 | 0.76181 | 1.2586 | 0.64937 | 0.7627 | 3.3939 | -117.3803 | 94.0189 | 3.4343 | -117.4507 | 94.0481
Line_3 | 0.00077583 | 0.00077583 | 0.00077583 | 0.00077583 | 0.00077583 | 0.00077583 | 0.0089585 | 0.0089585 | 0.0089585 | 0.0089585 | 0.0089585 | 0.0089585 | -0.0024389 | -0.00424 | 0.0066789 | -0.0024389 | -0.00424 | 0.0066789 | -0.011012 | 0.0039903 | -0.001403 | -0.011012 | 0.0039903 | -0.001403 | 105.8819 | 105.8819 | 105.8819 | 105.8819 | 105.8819 | 105.8819 | 1.259 | 0.64993 | 0.76181 | 1.259 | 0.64993 | 0.76181 | 3.3939 | -117.3803 | 94.0189 | 3.3939 | -117.3803 | 94.0189

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006203 | 0.006203 | 0.006203 | 0.004654 | 0.004654 | 0.004654 | 0.071626 | 0.071626 | 0.071626 | 0.05374 | 0.05374 | 0.05374 | -0.019444 | -0.033502 | 0.053675 | 0.014646 | 0.025359 | -0.040108 | -0.087927 | 0.032063 | -0.011306 | 0.066034 | -0.023973 | 0.008446 | 106.0453 | 106.0453 | 106.0453 | -74.0601 | -74.0601 | -74.0601 | 1.2572 | 0.64742 | 0.76582 | 1.2586 | 0.64937 | 0.7627 | 3.5759 | -117.698 | 94.1502 | 3.4343 | -117.4507 | 94.0481
Line_1 | 0.00077583 | 0.00077583 | 0.00077583 | 0.002327 | 0.002327 | 0.002327 | 0.0089585 | 0.0089585 | 0.0089585 | 0.02687 | 0.02687 | 0.02687 | 0.0024389 | 0.00424 | -0.0066789 | -0.0073231 | -0.01268 | 0.020054 | 0.011012 | -0.0039903 | 0.001403 | -0.033017 | 0.011987 | -0.004223 | -74.1181 | -74.1181 | -74.1182 | 105.9399 | 105.9399 | 105.9399 | 1.259 | 0.64993 | 0.76181 | 1.2586 | 0.64937 | 0.7627 | 3.3939 | -117.3803 | 94.0189 | 3.4343 | -117.4507 | 94.0481
Line_2 | 0.00077583 | 0.00077583 | 0.00077583 | 0.002327 | 0.002327 | 0.002327 | 0.0089585 | 0.0089585 | 0.0089585 | 0.02687 | 0.02687 | 0.02687 | 0.0024389 | 0.00424 | -0.0066789 | -0.0073231 | -0.01268 | 0.020054 | 0.011012 | -0.0039903 | 0.001403 | -0.033017 | 0.011987 | -0.004223 | -74.1181 | -74.1181 | -74.1182 | 105.9399 | 105.9399 | 105.9399 | 1.259 | 0.64993 | 0.76181 | 1.2586 | 0.64937 | 0.7627 | 3.3939 | -117.3803 | 94.0189 | 3.4343 | -117.4507 | 94.0481
Line_3 | 0.00077583 | 0.00077583 | 0.00077583 | 0.00077583 | 0.00077583 | 0.00077583 | 0.0089585 | 0.0089585 | 0.0089585 | 0.0089585 | 0.0089585 | 0.0089585 | -0.0024389 | -0.00424 | 0.0066789 | -0.0024389 | -0.00424 | 0.0066789 | -0.011012 | 0.0039903 | -0.001403 | -0.011012 | 0.0039903 | -0.001403 | 105.8819 | 105.8819 | 105.8819 | 105.8819 | 105.8819 | 105.8819 | 1.259 | 0.64993 | 0.76181 | 1.259 | 0.64993 | 0.76181 | 3.3939 | -117.3803 | 94.0189 | 3.3939 | -117.3803 | 94.0189