## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2987e-19 | 0 | -4.9292e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2987e-19 | 0 | -4.9292e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2858e-20 | 0 | 2.6707e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2858e-20 | 0 | 2.6707e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6776e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6776e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 7.2949e-14 | -6.2528e-14 | -2.0843e-14 | -5.4711e-14 | 6.7739e-14 | -3.1264e-14 | 5.7634e-09 | -5.7634e-09 | 4.6896e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 3.1925e-12 | 180 | 180 | 3.1849e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2528e-14 | -1.0421e-14 | 3.1264e-14 | 3.6475e-14 | 2.8658e-14 | -2.6053e-14 | 3.1264e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 3.1382e-12 | -180 | 180 | 3.1849e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 1.8986e-19 | 2.0843e-14 | 5.2106e-15 | 1.8237e-14 | -2.6053e-14 | 2.0843e-14 | -1.9212e-09 | 1.9211e-09 | -5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 3.1435e-12 | -180 | 180 | 3.1849e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 5.2106e-15 | 1.0421e-14 | 2.0843e-14 | 1.0421e-14 | -1.0421e-14 | 1.5632e-14 | 7.816e-15 | -1.0329e-24 | -5.2106e-15 | -2.3448e-14 | 1.0329e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 3.1382e-12 | -180 | 180 | 3.1435e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 7.2949e-14 | -6.2528e-14 | -2.0843e-14 | -5.4711e-14 | 6.7739e-14 | -3.1264e-14 | 5.7634e-09 | -5.7634e-09 | 4.6896e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 3.1925e-12 | 180 | 180 | 3.1849e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2528e-14 | -1.0421e-14 | 3.1264e-14 | 3.6475e-14 | 2.8658e-14 | -2.6053e-14 | 3.1264e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 3.1382e-12 | -180 | 180 | 3.1849e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 1.8986e-19 | 2.0843e-14 | 5.2106e-15 | 1.8237e-14 | -2.6053e-14 | 2.0843e-14 | -1.9212e-09 | 1.9211e-09 | -5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 3.1435e-12 | -180 | 180 | 3.1849e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 5.2106e-15 | 1.0421e-14 | 2.0843e-14 | 1.0421e-14 | -1.0421e-14 | 1.5632e-14 | 7.816e-15 | -1.0329e-24 | -5.2106e-15 | -2.3448e-14 | 1.0329e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 3.1382e-12 | -180 | 180 | 3.1435e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1186e-15 | -9.5545e-10 | -3.075e-09 | 6.5133e-15 | 9.5545e-10 | 3.075e-09 | -1.5632e-14 | 4.0277e-09 | -3.5661e-10 | 2.6053e-14 | -4.0277e-09 | 3.5662e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.3699e-12 | -140.8543 | 122.4159 | -2.3747e-12 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.185e-10 | 1.025e-09 | 1.3027e-15 | -3.1849e-10 | -1.025e-09 | 1.8237e-14 | -1.3426e-09 | 1.1887e-10 | -7.816e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.3967e-12 | -140.8543 | 122.4159 | -2.3747e-12 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.1849e-10 | 1.025e-09 | -5.399e-28 | -3.1849e-10 | -1.025e-09 | 2.0843e-14 | -1.3426e-09 | 1.1888e-10 | -1.3027e-14 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.3937e-12 | -140.8543 | 122.4159 | -2.3747e-12 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 7.9488e-15 | 1.7756e-15 | -3.908e-15 | 4.5137e-15 | -3.5512e-15 | -5.4491e-29 | 7.5916e-16 | -2.7962e-15 | 7.816e-15 | -2.037e-15 | 5.5923e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.3967e-12 | -140.8543 | 122.4159 | -2.3937e-12 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1186e-15 | -9.5545e-10 | -3.075e-09 | 6.5133e-15 | 9.5545e-10 | 3.075e-09 | -1.5632e-14 | 4.0277e-09 | -3.5661e-10 | 2.6053e-14 | -4.0277e-09 | 3.5662e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.3699e-12 | -140.8543 | 122.4159 | -2.3747e-12 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.185e-10 | 1.025e-09 | 1.3027e-15 | -3.1849e-10 | -1.025e-09 | 1.8237e-14 | -1.3426e-09 | 1.1887e-10 | -7.816e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.3967e-12 | -140.8543 | 122.4159 | -2.3747e-12 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.1849e-10 | 1.025e-09 | -5.399e-28 | -3.1849e-10 | -1.025e-09 | 2.0843e-14 | -1.3426e-09 | 1.1888e-10 | -1.3027e-14 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.3937e-12 | -140.8543 | 122.4159 | -2.3747e-12 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 7.9488e-15 | 1.7756e-15 | -3.908e-15 | 4.5137e-15 | -3.5512e-15 | -5.4491e-29 | 7.5916e-16 | -2.7962e-15 | 7.816e-15 | -2.037e-15 | 5.5923e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.3967e-12 | -140.8543 | 122.4159 | -2.3937e-12 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1316e-14 | -2.3685e-15 | 4.7369e-15 | -2.8422e-14 | 2.0133e-14 | 1.1843e-14 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -2.8422e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0571e-11 | -180 | 180 | 1.0603e-11 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.7896e-14 | 1.658e-14 | 4.7373e-15 | 2.8422e-14 | -3.5529e-15 | 7.1052e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0612e-11 | -180 | 180 | 1.0603e-11 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.0264e-14 | 7.1057e-15 | 3.0531e-19 | 3.079e-14 | 5.921e-15 | 1.1842e-14 | -7.4677e-27 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0627e-11 | -180 | 180 | 1.0603e-11 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.4211e-14 | 4.737e-15 | -7.1054e-15 | -5.9212e-15 | 2.3685e-15 | -9.4739e-15 | 2.3685e-15 | 4.737e-15 | -4.737e-15 | -1.1338e-24 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0612e-11 | -180 | 180 | 1.0627e-11 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1316e-14 | -2.3685e-15 | 4.7369e-15 | -2.8422e-14 | 2.0133e-14 | 1.1843e-14 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -2.8422e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0571e-11 | -180 | 180 | 1.0603e-11 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.7896e-14 | 1.658e-14 | 4.7373e-15 | 2.8422e-14 | -3.5529e-15 | 7.1052e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0612e-11 | -180 | 180 | 1.0603e-11 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.0264e-14 | 7.1057e-15 | 3.0531e-19 | 3.079e-14 | 5.921e-15 | 1.1842e-14 | -7.4677e-27 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0627e-11 | -180 | 180 | 1.0603e-11 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.4211e-14 | 4.737e-15 | -7.1054e-15 | -5.9212e-15 | 2.3685e-15 | -9.4739e-15 | 2.3685e-15 | 4.737e-15 | -4.737e-15 | -1.1338e-24 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0612e-11 | -180 | 180 | 1.0627e-11 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4015e-15 | -8.0027e-10 | -2.5674e-09 | -9.4739e-15 | 8.0026e-10 | 2.5674e-09 | 2.3685e-15 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1766e-12 | -141.4824 | 122.8363 | 3.1874e-12 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2731e-14 | 2.6676e-10 | 8.558e-10 | 9.4739e-15 | -2.6676e-10 | -8.558e-10 | -7.1054e-15 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1883e-12 | -141.4824 | 122.8363 | 3.1874e-12 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.77e-15 | 2.6675e-10 | 8.558e-10 | 8.8818e-15 | -2.6675e-10 | -8.558e-10 | -9.4739e-15 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1968e-12 | -141.4824 | 122.8363 | 3.1874e-12 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 6.4746e-15 | 1.4066e-15 | -1.7764e-15 | 0 | -5.3836e-15 | -1.6475e-28 | -2.5147e-15 | -2.1795e-15 | -2.3685e-15 | 0 | -2.5923e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1883e-12 | -141.4824 | 122.8363 | 3.1968e-12 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4015e-15 | -8.0027e-10 | -2.5674e-09 | -9.4739e-15 | 8.0026e-10 | 2.5674e-09 | 2.3685e-15 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1766e-12 | -141.4824 | 122.8363 | 3.1874e-12 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2731e-14 | 2.6676e-10 | 8.558e-10 | 9.4739e-15 | -2.6676e-10 | -8.558e-10 | -7.1054e-15 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1883e-12 | -141.4824 | 122.8363 | 3.1874e-12 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.77e-15 | 2.6675e-10 | 8.558e-10 | 8.8818e-15 | -2.6675e-10 | -8.558e-10 | -9.4739e-15 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1968e-12 | -141.4824 | 122.8363 | 3.1874e-12 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 6.4746e-15 | 1.4066e-15 | -1.7764e-15 | 0 | -5.3836e-15 | -1.6475e-28 | -2.5147e-15 | -2.1795e-15 | -2.3685e-15 | 0 | -2.5923e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1883e-12 | -141.4824 | 122.8363 | 3.1968e-12 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010823 | 0.010823 | 0.010823 | 0.016242 | 0.016242 | 0.016242 | 0.12497 | 0.12497 | 0.12497 | 0.18754 | 0.18754 | 0.18754 | 5.9621e-15 | -0.11673 | 0.12136 | 0.00081198 | 0.17695 | -0.18036 | 4.3113e-14 | 0.20674 | 0.20402 | 0.00032383 | -0.30938 | -0.30641 | 90.6538 | 90.6538 | 90.6538 | -89.524 | -89.524 | -89.524 |  | 0 | 1.8997 | 1.8995 | 0.0046611 | 1.9004 | 1.8958 | 0 | -149.8961 | 149.908 | -67.7812 | -149.7569 | 149.9942
Line_1 | 0.013532 | 0.013532 | 0.013532 | 0.0081209 | 0.0081209 | 0.0081209 | 0.15626 | 0.15626 | 0.15626 | 0.093772 | 0.093772 | 0.093772 | 0.0012177 | 0.14824 | -0.14946 | -0.00040599 | -0.088474 | 0.09018 | 0.00048592 | -0.2574 | -0.25524 | -0.00016191 | 0.15469 | 0.15321 | -89.5845 | -89.5845 | -89.5845 | 90.476 | 90.476 | 90.476 |  | 0.0083903 | 1.9009 | 1.8929 | 0.0046611 | 1.9004 | 1.8958 | -67.8296 | -149.6456 | 150.0635 | -67.7812 | -149.7569 | 149.9942
Line_2 | 0.013532 | 0.013532 | 0.013532 | 0.0081209 | 0.0081209 | 0.0081209 | 0.15626 | 0.15626 | 0.15626 | 0.093772 | 0.093772 | 0.093772 | 0.0012177 | 0.14824 | -0.14946 | -0.00040599 | -0.088474 | 0.09018 | 0.00048592 | -0.2574 | -0.25524 | -0.00016191 | 0.15469 | 0.15321 | -89.5845 | -89.5845 | -89.5845 | 90.476 | 90.476 | 90.476 |  | 0.0083903 | 1.9009 | 1.8929 | 0.0046611 | 1.9004 | 1.8958 | -67.8296 | -149.6456 | 150.0635 | -67.7812 | -149.7569 | 149.9942
Line_3 | 0.0027039 | 0.0027039 | 0.0027039 | 0.0027039 | 0.0027039 | 0.0027039 | 0.031222 | 0.031222 | 0.031222 | 0.031222 | 0.031222 | 0.031222 | 0.00024331 | 0.029621 | -0.029864 | 0.00024331 | 0.029621 | -0.029864 | 9.7094e-05 | -0.051432 | -0.051 | 9.7094e-05 | -0.051432 | -0.051 | -89.5845 | -89.5845 | -89.5845 | -89.5845 | -89.5845 | -89.5845 |  | 0.0083903 | 1.9009 | 1.8929 | 0.0083903 | 1.9009 | 1.8929 | -67.8296 | -149.6456 | 150.0635 | -67.8296 | -149.6456 | 150.0635

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010823 | 0.010823 | 0.010823 | 0.016242 | 0.016242 | 0.016242 | 0.12497 | 0.12497 | 0.12497 | 0.18754 | 0.18754 | 0.18754 | 5.9621e-15 | -0.11673 | 0.12136 | 0.00081198 | 0.17695 | -0.18036 | 4.3113e-14 | 0.20674 | 0.20402 | 0.00032383 | -0.30938 | -0.30641 | 90.6538 | 90.6538 | 90.6538 | -89.524 | -89.524 | -89.524 |  | 0 | 1.8997 | 1.8995 | 0.0046611 | 1.9004 | 1.8958 | 0 | -149.8961 | 149.908 | -67.7812 | -149.7569 | 149.9942
Line_1 | 0.013532 | 0.013532 | 0.013532 | 0.0081209 | 0.0081209 | 0.0081209 | 0.15626 | 0.15626 | 0.15626 | 0.093772 | 0.093772 | 0.093772 | 0.0012177 | 0.14824 | -0.14946 | -0.00040599 | -0.088474 | 0.09018 | 0.00048592 | -0.2574 | -0.25524 | -0.00016191 | 0.15469 | 0.15321 | -89.5845 | -89.5845 | -89.5845 | 90.476 | 90.476 | 90.476 |  | 0.0083903 | 1.9009 | 1.8929 | 0.0046611 | 1.9004 | 1.8958 | -67.8296 | -149.6456 | 150.0635 | -67.7812 | -149.7569 | 149.9942
Line_2 | 0.013532 | 0.013532 | 0.013532 | 0.0081209 | 0.0081209 | 0.0081209 | 0.15626 | 0.15626 | 0.15626 | 0.093772 | 0.093772 | 0.093772 | 0.0012177 | 0.14824 | -0.14946 | -0.00040599 | -0.088474 | 0.09018 | 0.00048592 | -0.2574 | -0.25524 | -0.00016191 | 0.15469 | 0.15321 | -89.5845 | -89.5845 | -89.5845 | 90.476 | 90.476 | 90.476 |  | 0.0083903 | 1.9009 | 1.8929 | 0.0046611 | 1.9004 | 1.8958 | -67.8296 | -149.6456 | 150.0635 | -67.7812 | -149.7569 | 149.9942
Line_3 | 0.0027039 | 0.0027039 | 0.0027039 | 0.0027039 | 0.0027039 | 0.0027039 | 0.031222 | 0.031222 | 0.031222 | 0.031222 | 0.031222 | 0.031222 | 0.00024331 | 0.029621 | -0.029864 | 0.00024331 | 0.029621 | -0.029864 | 9.7094e-05 | -0.051432 | -0.051 | 9.7094e-05 | -0.051432 | -0.051 | -89.5845 | -89.5845 | -89.5845 | -89.5845 | -89.5845 | -89.5845 |  | 0.0083903 | 1.9009 | 1.8929 | 0.0083903 | 1.9009 | 1.8929 | -67.8296 | -149.6456 | 150.0635 | -67.8296 | -149.6456 | 150.0635

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010684 | 0.010684 | 0.010684 | 0.016033 | 0.016033 | 0.016033 | 0.12337 | 0.12337 | 0.12337 | 0.18514 | 0.18514 | 0.18514 | -0.0017122 | -0.11438 | 0.1206 | 0.0033528 | 0.17339 | -0.17927 | -0.0017122 | 0.2038 | 0.19819 | 0.002893 | -0.30499 | -0.29767 | 91.3684 | 91.3684 | 91.3684 | -88.8094 | -88.8094 | -88.8094 |  | 0.019628 | 1.8944 | 1.8806 | 0.02392 | 1.895 | 1.8769 | -43.6315 | -149.3296 | 150.0471 | -48.0193 | -149.1917 | 150.1318
Line_1 | 0.013358 | 0.013358 | 0.013358 | 0.0080167 | 0.0080167 | 0.0080167 | 0.15425 | 0.15425 | 0.15425 | 0.092568 | 0.092568 | 0.092568 | 0.0033185 | 0.14526 | -0.14857 | -0.0016764 | -0.086693 | 0.089636 | 0.0026232 | -0.25375 | -0.24795 | -0.0014465 | 0.1525 | 0.14883 | -88.8699 | -88.8699 | -88.8699 | 91.1906 | 91.1906 | 91.1906 |  | 0.027424 | 1.8955 | 1.874 | 0.02392 | 1.895 | 1.8769 | -50.5439 | -149.0815 | 150.2001 | -48.0193 | -149.1917 | 150.1318
Line_2 | 0.013358 | 0.013358 | 0.013358 | 0.0080167 | 0.0080167 | 0.0080167 | 0.15425 | 0.15425 | 0.15425 | 0.092568 | 0.092568 | 0.092568 | 0.0033185 | 0.14526 | -0.14857 | -0.0016764 | -0.086693 | 0.089636 | 0.0026232 | -0.25375 | -0.24795 | -0.0014465 | 0.1525 | 0.14883 | -88.8699 | -88.8699 | -88.8699 | 91.1906 | 91.1906 | 91.1906 |  | 0.027424 | 1.8955 | 1.874 | 0.02392 | 1.895 | 1.8769 | -50.5439 | -149.0815 | 150.2001 | -48.0193 | -149.1917 | 150.1318
Line_3 | 0.0026692 | 0.0026692 | 0.0026692 | 0.0026692 | 0.0026692 | 0.0026692 | 0.030822 | 0.030822 | 0.030822 | 0.030822 | 0.030822 | 0.030822 | 0.00066309 | 0.029024 | -0.029687 | 0.00066309 | 0.029024 | -0.029687 | 0.00052416 | -0.050703 | -0.049545 | 0.00052416 | -0.050703 | -0.049545 | -88.8699 | -88.8699 | -88.8699 | -88.8699 | -88.8699 | -88.8699 |  | 0.027424 | 1.8955 | 1.874 | 0.027424 | 1.8955 | 1.874 | -50.5439 | -149.0815 | 150.2001 | -50.5439 | -149.0815 | 150.2001

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010684 | 0.010684 | 0.010684 | 0.016033 | 0.016033 | 0.016033 | 0.12337 | 0.12337 | 0.12337 | 0.18514 | 0.18514 | 0.18514 | -0.0017122 | -0.11438 | 0.1206 | 0.0033528 | 0.17339 | -0.17927 | -0.0017122 | 0.2038 | 0.19819 | 0.002893 | -0.30499 | -0.29767 | 91.3684 | 91.3684 | 91.3684 | -88.8094 | -88.8094 | -88.8094 |  | 0.019628 | 1.8944 | 1.8806 | 0.02392 | 1.895 | 1.8769 | -43.6315 | -149.3296 | 150.0471 | -48.0193 | -149.1917 | 150.1318
Line_1 | 0.013358 | 0.013358 | 0.013358 | 0.0080167 | 0.0080167 | 0.0080167 | 0.15425 | 0.15425 | 0.15425 | 0.092568 | 0.092568 | 0.092568 | 0.0033185 | 0.14526 | -0.14857 | -0.0016764 | -0.086693 | 0.089636 | 0.0026232 | -0.25375 | -0.24795 | -0.0014465 | 0.1525 | 0.14883 | -88.8699 | -88.8699 | -88.8699 | 91.1906 | 91.1906 | 91.1906 |  | 0.027424 | 1.8955 | 1.874 | 0.02392 | 1.895 | 1.8769 | -50.5439 | -149.0815 | 150.2001 | -48.0193 | -149.1917 | 150.1318
Line_2 | 0.013358 | 0.013358 | 0.013358 | 0.0080167 | 0.0080167 | 0.0080167 | 0.15425 | 0.15425 | 0.15425 | 0.092568 | 0.092568 | 0.092568 | 0.0033185 | 0.14526 | -0.14857 | -0.0016764 | -0.086693 | 0.089636 | 0.0026232 | -0.25375 | -0.24795 | -0.0014465 | 0.1525 | 0.14883 | -88.8699 | -88.8699 | -88.8699 | 91.1906 | 91.1906 | 91.1906 |  | 0.027424 | 1.8955 | 1.874 | 0.02392 | 1.895 | 1.8769 | -50.5439 | -149.0815 | 150.2001 | -48.0193 | -149.1917 | 150.1318
Line_3 | 0.0026692 | 0.0026692 | 0.0026692 | 0.0026692 | 0.0026692 | 0.0026692 | 0.030822 | 0.030822 | 0.030822 | 0.030822 | 0.030822 | 0.030822 | 0.00066309 | 0.029024 | -0.029687 | 0.00066309 | 0.029024 | -0.029687 | 0.00052416 | -0.050703 | -0.049545 | 0.00052416 | -0.050703 | -0.049545 | -88.8699 | -88.8699 | -88.8699 | -88.8699 | -88.8699 | -88.8699 |  | 0.027424 | 1.8955 | 1.874 | 0.027424 | 1.8955 | 1.874 | -50.5439 | -149.0815 | 150.2001 | -50.5439 | -149.0815 | 150.2001

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0098365 | 0.0098365 | 0.0098365 | 0.014761 | 0.014761 | 0.014761 | 0.11358 | 0.11358 | 0.11358 | 0.17045 | 0.17045 | 0.17045 | 1.0402e-15 | -0.09467 | 0.10201 | 0.0012877 | 0.14489 | -0.1503 | -1.3948e-14 | 0.17177 | 0.16749 | 0.000269 | -0.25665 | -0.25199 | 91.246 | 91.246 | 91.246 | -89.0953 | -89.0953 | -89.0953 |  | 0 | 1.7268 | 1.7266 | 0.007718 | 1.7291 | 1.7214 | 0 | -149.8929 | 149.9021 | -77.296 | -149.6488 | 150.0906
Line_1 | 0.012299 | 0.012299 | 0.012299 | 0.0073806 | 0.0073806 | 0.0073806 | 0.14201 | 0.14201 | 0.14201 | 0.085224 | 0.085224 | 0.085224 | 0.0019311 | 0.12201 | -0.12394 | -0.00064387 | -0.072445 | 0.07515 | 0.00040422 | -0.21341 | -0.21002 | -0.0001345 | 0.12832 | 0.12599 | -89.2115 | -89.2115 | -89.2115 | 90.9047 | 90.9047 | 90.9047 |  | 0.013893 | 1.731 | 1.7172 | 0.007718 | 1.7291 | 1.7214 | -77.389 | -149.4543 | 150.2427 | -77.296 | -149.6488 | 150.0906
Line_2 | 0.012299 | 0.012299 | 0.012299 | 0.0073806 | 0.0073806 | 0.0073806 | 0.14201 | 0.14201 | 0.14201 | 0.085224 | 0.085224 | 0.085224 | 0.0019311 | 0.12201 | -0.12394 | -0.00064387 | -0.072445 | 0.07515 | 0.00040422 | -0.21341 | -0.21002 | -0.0001345 | 0.12832 | 0.12599 | -89.2115 | -89.2115 | -89.2115 | 90.9047 | 90.9047 | 90.9047 |  | 0.013893 | 1.731 | 1.7172 | 0.007718 | 1.7291 | 1.7214 | -77.389 | -149.4543 | 150.2427 | -77.296 | -149.6488 | 150.0906
Line_3 | 0.0024575 | 0.0024575 | 0.0024575 | 0.0024575 | 0.0024575 | 0.0024575 | 0.028376 | 0.028376 | 0.028376 | 0.028376 | 0.028376 | 0.028376 | 0.00038586 | 0.024379 | -0.024765 | 0.00038586 | 0.024379 | -0.024765 | 8.0769e-05 | -0.042643 | -0.041966 | 8.0769e-05 | -0.042643 | -0.041966 | -89.2115 | -89.2115 | -89.2115 | -89.2115 | -89.2115 | -89.2115 |  | 0.013893 | 1.731 | 1.7172 | 0.013893 | 1.731 | 1.7172 | -77.389 | -149.4543 | 150.2427 | -77.389 | -149.4543 | 150.2427

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0098365 | 0.0098365 | 0.0098365 | 0.014761 | 0.014761 | 0.014761 | 0.11358 | 0.11358 | 0.11358 | 0.17045 | 0.17045 | 0.17045 | 1.0402e-15 | -0.09467 | 0.10201 | 0.0012877 | 0.14489 | -0.1503 | -1.3948e-14 | 0.17177 | 0.16749 | 0.000269 | -0.25665 | -0.25199 | 91.246 | 91.246 | 91.246 | -89.0953 | -89.0953 | -89.0953 |  | 0 | 1.7268 | 1.7266 | 0.007718 | 1.7291 | 1.7214 | 0 | -149.8929 | 149.9021 | -77.296 | -149.6488 | 150.0906
Line_1 | 0.012299 | 0.012299 | 0.012299 | 0.0073806 | 0.0073806 | 0.0073806 | 0.14201 | 0.14201 | 0.14201 | 0.085224 | 0.085224 | 0.085224 | 0.0019311 | 0.12201 | -0.12394 | -0.00064387 | -0.072445 | 0.07515 | 0.00040422 | -0.21341 | -0.21002 | -0.0001345 | 0.12832 | 0.12599 | -89.2115 | -89.2115 | -89.2115 | 90.9047 | 90.9047 | 90.9047 |  | 0.013893 | 1.731 | 1.7172 | 0.007718 | 1.7291 | 1.7214 | -77.389 | -149.4543 | 150.2427 | -77.296 | -149.6488 | 150.0906
Line_2 | 0.012299 | 0.012299 | 0.012299 | 0.0073806 | 0.0073806 | 0.0073806 | 0.14201 | 0.14201 | 0.14201 | 0.085224 | 0.085224 | 0.085224 | 0.0019311 | 0.12201 | -0.12394 | -0.00064387 | -0.072445 | 0.07515 | 0.00040422 | -0.21341 | -0.21002 | -0.0001345 | 0.12832 | 0.12599 | -89.2115 | -89.2115 | -89.2115 | 90.9047 | 90.9047 | 90.9047 |  | 0.013893 | 1.731 | 1.7172 | 0.007718 | 1.7291 | 1.7214 | -77.389 | -149.4543 | 150.2427 | -77.296 | -149.6488 | 150.0906
Line_3 | 0.0024575 | 0.0024575 | 0.0024575 | 0.0024575 | 0.0024575 | 0.0024575 | 0.028376 | 0.028376 | 0.028376 | 0.028376 | 0.028376 | 0.028376 | 0.00038586 | 0.024379 | -0.024765 | 0.00038586 | 0.024379 | -0.024765 | 8.0769e-05 | -0.042643 | -0.041966 | 8.0769e-05 | -0.042643 | -0.041966 | -89.2115 | -89.2115 | -89.2115 | -89.2115 | -89.2115 | -89.2115 |  | 0.013893 | 1.731 | 1.7172 | 0.013893 | 1.731 | 1.7172 | -77.389 | -149.4543 | 150.2427 | -77.389 | -149.4543 | 150.2427

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.009709 | 0.009709 | 0.009709 | 0.01457 | 0.01457 | 0.01457 | 0.11211 | 0.11211 | 0.11211 | 0.16824 | 0.16824 | 0.16824 | -0.001414 | -0.09275 | 0.10132 | 0.0033638 | 0.14195 | -0.14933 | -0.001414 | 0.16928 | 0.16266 | 0.0023966 | -0.25293 | -0.24474 | 91.9528 | 91.9528 | 91.9528 | -88.3885 | -88.3885 | -88.3885 |  | 0.017837 | 1.7217 | 1.7093 | 0.02455 | 1.724 | 1.7041 | -43.0471 | -149.3283 | 150.0351 | -52.92 | -149.0865 | 150.2213
Line_1 | 0.012139 | 0.012139 | 0.012139 | 0.007285 | 0.007285 | 0.007285 | 0.14017 | 0.14017 | 0.14017 | 0.08412 | 0.08412 | 0.08412 | 0.0036351 | 0.11953 | -0.12317 | -0.0016819 | -0.070976 | 0.074666 | 0.0021758 | -0.21032 | -0.20399 | -0.0011983 | 0.12647 | 0.12237 | -88.5047 | -88.5047 | -88.5047 | 91.6115 | 91.6115 | 91.6115 |  | 0.030224 | 1.7259 | 1.7 | 0.02455 | 1.724 | 1.7041 | -57.6022 | -148.8938 | 150.3716 | -52.92 | -149.0865 | 150.2213
Line_2 | 0.012139 | 0.012139 | 0.012139 | 0.007285 | 0.007285 | 0.007285 | 0.14017 | 0.14017 | 0.14017 | 0.08412 | 0.08412 | 0.08412 | 0.0036351 | 0.11953 | -0.12317 | -0.0016819 | -0.070976 | 0.074666 | 0.0021758 | -0.21032 | -0.20399 | -0.0011983 | 0.12647 | 0.12237 | -88.5047 | -88.5047 | -88.5047 | 91.6115 | 91.6115 | 91.6115 |  | 0.030224 | 1.7259 | 1.7 | 0.02455 | 1.724 | 1.7041 | -57.6022 | -148.8938 | 150.3716 | -52.92 | -149.0865 | 150.2213
Line_3 | 0.0024256 | 0.0024256 | 0.0024256 | 0.0024256 | 0.0024256 | 0.0024256 | 0.028009 | 0.028009 | 0.028009 | 0.028009 | 0.028009 | 0.028009 | 0.00072635 | 0.023885 | -0.024611 | 0.00072635 | 0.023885 | -0.024611 | 0.00043475 | -0.042026 | -0.04076 | 0.00043475 | -0.042026 | -0.04076 | -88.5047 | -88.5047 | -88.5047 | -88.5047 | -88.5047 | -88.5047 |  | 0.030224 | 1.7259 | 1.7 | 0.030224 | 1.7259 | 1.7 | -57.6022 | -148.8938 | 150.3716 | -57.6022 | -148.8938 | 150.3716

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.009709 | 0.009709 | 0.009709 | 0.01457 | 0.01457 | 0.01457 | 0.11211 | 0.11211 | 0.11211 | 0.16824 | 0.16824 | 0.16824 | -0.001414 | -0.09275 | 0.10132 | 0.0033638 | 0.14195 | -0.14933 | -0.001414 | 0.16928 | 0.16266 | 0.0023966 | -0.25293 | -0.24474 | 91.9528 | 91.9528 | 91.9528 | -88.3885 | -88.3885 | -88.3885 |  | 0.017837 | 1.7217 | 1.7093 | 0.02455 | 1.724 | 1.7041 | -43.0471 | -149.3283 | 150.0351 | -52.92 | -149.0865 | 150.2213
Line_1 | 0.012139 | 0.012139 | 0.012139 | 0.007285 | 0.007285 | 0.007285 | 0.14017 | 0.14017 | 0.14017 | 0.08412 | 0.08412 | 0.08412 | 0.0036351 | 0.11953 | -0.12317 | -0.0016819 | -0.070976 | 0.074666 | 0.0021758 | -0.21032 | -0.20399 | -0.0011983 | 0.12647 | 0.12237 | -88.5047 | -88.5047 | -88.5047 | 91.6115 | 91.6115 | 91.6115 |  | 0.030224 | 1.7259 | 1.7 | 0.02455 | 1.724 | 1.7041 | -57.6022 | -148.8938 | 150.3716 | -52.92 | -149.0865 | 150.2213
Line_2 | 0.012139 | 0.012139 | 0.012139 | 0.007285 | 0.007285 | 0.007285 | 0.14017 | 0.14017 | 0.14017 | 0.08412 | 0.08412 | 0.08412 | 0.0036351 | 0.11953 | -0.12317 | -0.0016819 | -0.070976 | 0.074666 | 0.0021758 | -0.21032 | -0.20399 | -0.0011983 | 0.12647 | 0.12237 | -88.5047 | -88.5047 | -88.5047 | 91.6115 | 91.6115 | 91.6115 |  | 0.030224 | 1.7259 | 1.7 | 0.02455 | 1.724 | 1.7041 | -57.6022 | -148.8938 | 150.3716 | -52.92 | -149.0865 | 150.2213
Line_3 | 0.0024256 | 0.0024256 | 0.0024256 | 0.0024256 | 0.0024256 | 0.0024256 | 0.028009 | 0.028009 | 0.028009 | 0.028009 | 0.028009 | 0.028009 | 0.00072635 | 0.023885 | -0.024611 | 0.00072635 | 0.023885 | -0.024611 | 0.00043475 | -0.042026 | -0.04076 | 0.00043475 | -0.042026 | -0.04076 | -88.5047 | -88.5047 | -88.5047 | -88.5047 | -88.5047 | -88.5047 |  | 0.030224 | 1.7259 | 1.7 | 0.030224 | 1.7259 | 1.7 | -57.6022 | -148.8938 | 150.3716 | -57.6022 | -148.8938 | 150.3716

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054275 | 0.0054275 | 0.0054275 | 0.008145 | 0.008145 | 0.008145 | 0.062671 | 0.062671 | 0.062671 | 0.09405 | 0.09405 | 0.09405 | 0.0011644 | 1.6102e-14 | 1.8476e-14 | -0.0010621 | 0.0002042 | 0.0002042 | 0.1033 | 4.4365e-14 | -1.5218e-14 | -0.15494 | 8.1437e-05 | 8.1437e-05 | -89.3522 | -89.3522 | -89.3522 | 90.47 | 90.47 | 90.47 |  | 1.6484 | 0 | 0 | 1.6475 | 0.0023375 | 0.0023375 | 0.0020003 | 0 | 0 | 0.07726 | 112.2128 | 112.2128
Line_1 | 0.0067861 | 0.0067861 | 0.0067861 | 0.0040725 | 0.0040725 | 0.0040725 | 0.07836 | 0.07836 | 0.07836 | 0.047025 | 0.047025 | 0.047025 | -0.00061244 | 0.00030622 | 0.00030622 | 0.00053106 | -0.0001021 | -0.0001021 | -0.12904 | 0.0001222 | 0.0001222 | 0.077471 | -4.0719e-05 | -4.0719e-05 | 90.4095 | 90.4095 | 90.4095 | -89.53 | -89.53 | -89.53 |  | 1.6468 | 0.0042076 | 0.0042076 | 1.6475 | 0.0023375 | 0.0023375 | 0.13758 | 112.1644 | 112.1644 | 0.07726 | 112.2128 | 112.2128
Line_2 | 0.0067861 | 0.0067861 | 0.0067861 | 0.0040725 | 0.0040725 | 0.0040725 | 0.07836 | 0.07836 | 0.07836 | 0.047025 | 0.047025 | 0.047025 | -0.00061244 | 0.00030622 | 0.00030622 | 0.00053106 | -0.0001021 | -0.0001021 | -0.12904 | 0.0001222 | 0.0001222 | 0.077471 | -4.0719e-05 | -4.0719e-05 | 90.4095 | 90.4095 | 90.4095 | -89.53 | -89.53 | -89.53 |  | 1.6468 | 0.0042076 | 0.0042076 | 1.6475 | 0.0023375 | 0.0023375 | 0.13758 | 112.1644 | 112.1644 | 0.07726 | 112.2128 | 112.2128
Line_3 | 0.001356 | 0.001356 | 0.001356 | 0.001356 | 0.001356 | 0.001356 | 0.015657 | 0.015657 | 0.015657 | 0.015657 | 0.015657 | 0.015657 | -0.00012238 | 6.1188e-05 | 6.1188e-05 | -0.00012238 | 6.1188e-05 | 6.1188e-05 | -0.025784 | 2.4417e-05 | 2.4417e-05 | -0.025784 | 2.4417e-05 | 2.4417e-05 | 90.4095 | 90.4095 | 90.4095 | 90.4095 | 90.4095 | 90.4095 |  | 1.6468 | 0.0042076 | 0.0042076 | 1.6468 | 0.0042076 | 0.0042076 | 0.13758 | 112.1644 | 112.1644 | 0.13758 | 112.1644 | 112.1644

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054275 | 0.0054275 | 0.0054275 | 0.008145 | 0.008145 | 0.008145 | 0.062671 | 0.062671 | 0.062671 | 0.09405 | 0.09405 | 0.09405 | 0.0011644 | 1.6102e-14 | 1.8476e-14 | -0.0010621 | 0.0002042 | 0.0002042 | 0.1033 | 4.4365e-14 | -1.5218e-14 | -0.15494 | 8.1437e-05 | 8.1437e-05 | -89.3522 | -89.3522 | -89.3522 | 90.47 | 90.47 | 90.47 |  | 1.6484 | 0 | 0 | 1.6475 | 0.0023375 | 0.0023375 | 0.0020003 | 0 | 0 | 0.07726 | 112.2128 | 112.2128
Line_1 | 0.0067861 | 0.0067861 | 0.0067861 | 0.0040725 | 0.0040725 | 0.0040725 | 0.07836 | 0.07836 | 0.07836 | 0.047025 | 0.047025 | 0.047025 | -0.00061244 | 0.00030622 | 0.00030622 | 0.00053106 | -0.0001021 | -0.0001021 | -0.12904 | 0.0001222 | 0.0001222 | 0.077471 | -4.0719e-05 | -4.0719e-05 | 90.4095 | 90.4095 | 90.4095 | -89.53 | -89.53 | -89.53 |  | 1.6468 | 0.0042076 | 0.0042076 | 1.6475 | 0.0023375 | 0.0023375 | 0.13758 | 112.1644 | 112.1644 | 0.07726 | 112.2128 | 112.2128
Line_2 | 0.0067861 | 0.0067861 | 0.0067861 | 0.0040725 | 0.0040725 | 0.0040725 | 0.07836 | 0.07836 | 0.07836 | 0.047025 | 0.047025 | 0.047025 | -0.00061244 | 0.00030622 | 0.00030622 | 0.00053106 | -0.0001021 | -0.0001021 | -0.12904 | 0.0001222 | 0.0001222 | 0.077471 | -4.0719e-05 | -4.0719e-05 | 90.4095 | 90.4095 | 90.4095 | -89.53 | -89.53 | -89.53 |  | 1.6468 | 0.0042076 | 0.0042076 | 1.6475 | 0.0023375 | 0.0023375 | 0.13758 | 112.1644 | 112.1644 | 0.07726 | 112.2128 | 112.2128
Line_3 | 0.001356 | 0.001356 | 0.001356 | 0.001356 | 0.001356 | 0.001356 | 0.015657 | 0.015657 | 0.015657 | 0.015657 | 0.015657 | 0.015657 | -0.00012238 | 6.1188e-05 | 6.1188e-05 | -0.00012238 | 6.1188e-05 | 6.1188e-05 | -0.025784 | 2.4417e-05 | 2.4417e-05 | -0.025784 | 2.4417e-05 | 2.4417e-05 | 90.4095 | 90.4095 | 90.4095 | 90.4095 | 90.4095 | 90.4095 |  | 1.6468 | 0.0042076 | 0.0042076 | 1.6468 | 0.0042076 | 0.0042076 | 0.13758 | 112.1644 | 112.1644 | 0.13758 | 112.1644 | 112.1644

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053924 | 0.0053924 | 0.0053924 | 0.0080923 | 0.0080923 | 0.0080923 | 0.062266 | 0.062266 | 0.062266 | 0.093442 | 0.093442 | 0.093442 | 0.0015856 | 0.045949 | -0.046385 | -0.001701 | -0.068796 | 0.069852 | 0.1024 | -0.0092418 | 0.0088057 | -0.1536 | 0.013735 | -0.012918 | -88.9915 | -88.9915 | -88.9915 | 90.8307 | 90.8307 | 90.8307 |  | 1.6448 | 0.75272 | 0.75825 | 1.6439 | 0.75077 | 0.76021 | 0.12148 | -100.3638 | 80.2595 | 0.19628 | -100.4602 | 80.3531
Line_1 | 0.0067423 | 0.0067423 | 0.0067423 | 0.0040462 | 0.0040462 | 0.0040462 | 0.077853 | 0.077853 | 0.077853 | 0.046721 | 0.046721 | 0.046721 | -0.0011476 | -0.057196 | 0.058344 | 0.00085049 | 0.034398 | -0.034926 | -0.12793 | 0.011437 | -0.010648 | 0.076802 | -0.0068677 | 0.006459 | 90.7702 | 90.7702 | 90.7702 | -89.1693 | -89.1693 | -89.1693 |  | 1.6432 | 0.74921 | 0.76179 | 1.6439 | 0.75077 | 0.76021 | 0.25623 | -100.5374 | 80.4273 | 0.19628 | -100.4602 | 80.3531
Line_2 | 0.0067423 | 0.0067423 | 0.0067423 | 0.0040462 | 0.0040462 | 0.0040462 | 0.077853 | 0.077853 | 0.077853 | 0.046721 | 0.046721 | 0.046721 | -0.0011476 | -0.057196 | 0.058344 | 0.00085049 | 0.034398 | -0.034926 | -0.12793 | 0.011437 | -0.010648 | 0.076802 | -0.0068677 | 0.006459 | 90.7702 | 90.7702 | 90.7702 | -89.1693 | -89.1693 | -89.1693 |  | 1.6432 | 0.74921 | 0.76179 | 1.6439 | 0.75077 | 0.76021 | 0.25623 | -100.5374 | 80.4273 | 0.19628 | -100.4602 | 80.3531
Line_3 | 0.0013472 | 0.0013472 | 0.0013472 | 0.0013472 | 0.0013472 | 0.0013472 | 0.015556 | 0.015556 | 0.015556 | 0.015556 | 0.015556 | 0.015556 | -0.00022932 | -0.011429 | 0.011658 | -0.00022932 | -0.011429 | 0.011658 | -0.025562 | 0.0022853 | -0.0021276 | -0.025562 | 0.0022853 | -0.0021276 | 90.7702 | 90.7702 | 90.7702 | 90.7702 | 90.7702 | 90.7702 |  | 1.6432 | 0.74921 | 0.76179 | 1.6432 | 0.74921 | 0.76179 | 0.25623 | -100.5374 | 80.4273 | 0.25623 | -100.5374 | 80.4273

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053924 | 0.0053924 | 0.0053924 | 0.0080923 | 0.0080923 | 0.0080923 | 0.062266 | 0.062266 | 0.062266 | 0.093442 | 0.093442 | 0.093442 | 0.0015856 | 0.045949 | -0.046385 | -0.001701 | -0.068796 | 0.069852 | 0.1024 | -0.0092418 | 0.0088057 | -0.1536 | 0.013735 | -0.012918 | -88.9915 | -88.9915 | -88.9915 | 90.8307 | 90.8307 | 90.8307 |  | 1.6448 | 0.75272 | 0.75825 | 1.6439 | 0.75077 | 0.76021 | 0.12148 | -100.3638 | 80.2595 | 0.19628 | -100.4602 | 80.3531
Line_1 | 0.0067423 | 0.0067423 | 0.0067423 | 0.0040462 | 0.0040462 | 0.0040462 | 0.077853 | 0.077853 | 0.077853 | 0.046721 | 0.046721 | 0.046721 | -0.0011476 | -0.057196 | 0.058344 | 0.00085049 | 0.034398 | -0.034926 | -0.12793 | 0.011437 | -0.010648 | 0.076802 | -0.0068677 | 0.006459 | 90.7702 | 90.7702 | 90.7702 | -89.1693 | -89.1693 | -89.1693 |  | 1.6432 | 0.74921 | 0.76179 | 1.6439 | 0.75077 | 0.76021 | 0.25623 | -100.5374 | 80.4273 | 0.19628 | -100.4602 | 80.3531
Line_2 | 0.0067423 | 0.0067423 | 0.0067423 | 0.0040462 | 0.0040462 | 0.0040462 | 0.077853 | 0.077853 | 0.077853 | 0.046721 | 0.046721 | 0.046721 | -0.0011476 | -0.057196 | 0.058344 | 0.00085049 | 0.034398 | -0.034926 | -0.12793 | 0.011437 | -0.010648 | 0.076802 | -0.0068677 | 0.006459 | 90.7702 | 90.7702 | 90.7702 | -89.1693 | -89.1693 | -89.1693 |  | 1.6432 | 0.74921 | 0.76179 | 1.6439 | 0.75077 | 0.76021 | 0.25623 | -100.5374 | 80.4273 | 0.19628 | -100.4602 | 80.3531
Line_3 | 0.0013472 | 0.0013472 | 0.0013472 | 0.0013472 | 0.0013472 | 0.0013472 | 0.015556 | 0.015556 | 0.015556 | 0.015556 | 0.015556 | 0.015556 | -0.00022932 | -0.011429 | 0.011658 | -0.00022932 | -0.011429 | 0.011658 | -0.025562 | 0.0022853 | -0.0021276 | -0.025562 | 0.0022853 | -0.0021276 | 90.7702 | 90.7702 | 90.7702 | 90.7702 | 90.7702 | 90.7702 |  | 1.6432 | 0.74921 | 0.76179 | 1.6432 | 0.74921 | 0.76179 | 0.25623 | -100.5374 | 80.4273 | 0.25623 | -100.5374 | 80.4273

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049335 | 0.0049335 | 0.0049335 | 0.0074035 | 0.0074035 | 0.0074035 | 0.056967 | 0.056967 | 0.056967 | 0.085488 | 0.085488 | 0.085488 | 0.0018471 | 5.2584e-14 | -4.0206e-14 | -0.0016849 | 0.00032393 | 0.00032393 | 0.085342 | -2.1519e-14 | -3.1987e-14 | -0.12802 | 6.7669e-05 | 6.7669e-05 | -88.7586 | -88.7586 | -88.7586 | 90.9001 | 90.9001 | 90.9001 |  | 1.4985 | 0 | 0 | 1.4976 | 0.003871 | 0.003871 | 0.0015431 | 0 | 0 | 0.14602 | 102.6994 | 102.6994
Line_1 | 0.0061684 | 0.0061684 | 0.0061684 | 0.0037018 | 0.0037018 | 0.0037018 | 0.071226 | 0.071226 | 0.071226 | 0.042744 | 0.042744 | 0.042744 | -0.00097155 | 0.00048577 | 0.00048577 | 0.00084245 | -0.00016197 | -0.00016197 | -0.10662 | 0.00010168 | 0.00010168 | 0.064008 | -3.3834e-05 | -3.3834e-05 | 90.7839 | 90.7839 | 90.7839 | -89.0999 | -89.0999 | -89.0999 |  | 1.4969 | 0.0069679 | 0.0069679 | 1.4976 | 0.003871 | 0.003871 | 0.26181 | 102.6064 | 102.6064 | 0.14602 | 102.6994 | 102.6994
Line_2 | 0.0061684 | 0.0061684 | 0.0061684 | 0.0037018 | 0.0037018 | 0.0037018 | 0.071226 | 0.071226 | 0.071226 | 0.042744 | 0.042744 | 0.042744 | -0.00097155 | 0.00048577 | 0.00048577 | 0.00084245 | -0.00016197 | -0.00016197 | -0.10662 | 0.00010168 | 0.00010168 | 0.064008 | -3.3834e-05 | -3.3834e-05 | 90.7839 | 90.7839 | 90.7839 | -89.0999 | -89.0999 | -89.0999 |  | 1.4969 | 0.0069679 | 0.0069679 | 1.4976 | 0.003871 | 0.003871 | 0.26181 | 102.6064 | 102.6064 | 0.14602 | 102.6994 | 102.6994
Line_3 | 0.0012325 | 0.0012325 | 0.0012325 | 0.0012325 | 0.0012325 | 0.0012325 | 0.014232 | 0.014232 | 0.014232 | 0.014232 | 0.014232 | 0.014232 | -0.00019413 | 9.7065e-05 | 9.7065e-05 | -0.00019413 | 9.7065e-05 | 9.7065e-05 | -0.021304 | 2.0318e-05 | 2.0318e-05 | -0.021304 | 2.0318e-05 | 2.0318e-05 | 90.7839 | 90.7839 | 90.7839 | 90.7839 | 90.7839 | 90.7839 |  | 1.4969 | 0.0069679 | 0.0069679 | 1.4969 | 0.0069679 | 0.0069679 | 0.26181 | 102.6064 | 102.6064 | 0.26181 | 102.6064 | 102.6064

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049335 | 0.0049335 | 0.0049335 | 0.0074035 | 0.0074035 | 0.0074035 | 0.056967 | 0.056967 | 0.056967 | 0.085488 | 0.085488 | 0.085488 | 0.0018471 | 5.2584e-14 | -4.0206e-14 | -0.0016849 | 0.00032393 | 0.00032393 | 0.085342 | -2.1519e-14 | -3.1987e-14 | -0.12802 | 6.7669e-05 | 6.7669e-05 | -88.7586 | -88.7586 | -88.7586 | 90.9001 | 90.9001 | 90.9001 |  | 1.4985 | 0 | 0 | 1.4976 | 0.003871 | 0.003871 | 0.0015431 | 0 | 0 | 0.14602 | 102.6994 | 102.6994
Line_1 | 0.0061684 | 0.0061684 | 0.0061684 | 0.0037018 | 0.0037018 | 0.0037018 | 0.071226 | 0.071226 | 0.071226 | 0.042744 | 0.042744 | 0.042744 | -0.00097155 | 0.00048577 | 0.00048577 | 0.00084245 | -0.00016197 | -0.00016197 | -0.10662 | 0.00010168 | 0.00010168 | 0.064008 | -3.3834e-05 | -3.3834e-05 | 90.7839 | 90.7839 | 90.7839 | -89.0999 | -89.0999 | -89.0999 |  | 1.4969 | 0.0069679 | 0.0069679 | 1.4976 | 0.003871 | 0.003871 | 0.26181 | 102.6064 | 102.6064 | 0.14602 | 102.6994 | 102.6994
Line_2 | 0.0061684 | 0.0061684 | 0.0061684 | 0.0037018 | 0.0037018 | 0.0037018 | 0.071226 | 0.071226 | 0.071226 | 0.042744 | 0.042744 | 0.042744 | -0.00097155 | 0.00048577 | 0.00048577 | 0.00084245 | -0.00016197 | -0.00016197 | -0.10662 | 0.00010168 | 0.00010168 | 0.064008 | -3.3834e-05 | -3.3834e-05 | 90.7839 | 90.7839 | 90.7839 | -89.0999 | -89.0999 | -89.0999 |  | 1.4969 | 0.0069679 | 0.0069679 | 1.4976 | 0.003871 | 0.003871 | 0.26181 | 102.6064 | 102.6064 | 0.14602 | 102.6994 | 102.6994
Line_3 | 0.0012325 | 0.0012325 | 0.0012325 | 0.0012325 | 0.0012325 | 0.0012325 | 0.014232 | 0.014232 | 0.014232 | 0.014232 | 0.014232 | 0.014232 | -0.00019413 | 9.7065e-05 | 9.7065e-05 | -0.00019413 | 9.7065e-05 | 9.7065e-05 | -0.021304 | 2.0318e-05 | 2.0318e-05 | -0.021304 | 2.0318e-05 | 2.0318e-05 | 90.7839 | 90.7839 | 90.7839 | 90.7839 | 90.7839 | 90.7839 |  | 1.4969 | 0.0069679 | 0.0069679 | 1.4969 | 0.0069679 | 0.0069679 | 0.26181 | 102.6064 | 102.6064 | 0.26181 | 102.6064 | 102.6064

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049013 | 0.0049013 | 0.0049013 | 0.0073552 | 0.0073552 | 0.0073552 | 0.056596 | 0.056596 | 0.056596 | 0.084931 | 0.084931 | 0.084931 | 0.0021834 | 0.037447 | -0.037807 | -0.0022005 | -0.055948 | 0.057125 | 0.084593 | -0.00818 | 0.0078197 | -0.1269 | 0.012007 | -0.01133 | -88.4017 | -88.4017 | -88.4017 | 91.2569 | 91.2569 | 91.2569 |  | 1.4952 | 0.67726 | 0.68216 | 1.4943 | 0.67374 | 0.6857 | 0.11971 | -100.724 | 79.9126 | 0.26342 | -100.8559 | 80.0389
Line_1 | 0.0061281 | 0.0061281 | 0.0061281 | 0.0036776 | 0.0036776 | 0.0036776 | 0.070762 | 0.070762 | 0.070762 | 0.042465 | 0.042465 | 0.042465 | -0.0014058 | -0.046421 | 0.047827 | 0.0011003 | 0.027974 | -0.028562 | -0.10569 | 0.0099537 | -0.0092988 | 0.063448 | -0.0060036 | 0.0056648 | 91.1407 | 91.1407 | 91.1407 | -88.7431 | -88.7431 | -88.7431 |  | 1.4937 | 0.67093 | 0.68854 | 1.4943 | 0.67374 | 0.6857 | 0.37861 | -100.9615 | 80.1381 | 0.26342 | -100.8559 | 80.0389
Line_2 | 0.0061281 | 0.0061281 | 0.0061281 | 0.0036776 | 0.0036776 | 0.0036776 | 0.070762 | 0.070762 | 0.070762 | 0.042465 | 0.042465 | 0.042465 | -0.0014058 | -0.046421 | 0.047827 | 0.0011003 | 0.027974 | -0.028562 | -0.10569 | 0.0099537 | -0.0092988 | 0.063448 | -0.0060036 | 0.0056648 | 91.1407 | 91.1407 | 91.1407 | -88.7431 | -88.7431 | -88.7431 |  | 1.4937 | 0.67093 | 0.68854 | 1.4943 | 0.67374 | 0.6857 | 0.37861 | -100.9615 | 80.1381 | 0.26342 | -100.8559 | 80.0389
Line_3 | 0.0012245 | 0.0012245 | 0.0012245 | 0.0012245 | 0.0012245 | 0.0012245 | 0.014139 | 0.014139 | 0.014139 | 0.014139 | 0.014139 | 0.014139 | -0.00028091 | -0.0092756 | 0.0095565 | -0.00028091 | -0.0092756 | 0.0095565 | -0.021118 | 0.0019889 | -0.001858 | -0.021118 | 0.0019889 | -0.001858 | 91.1407 | 91.1407 | 91.1407 | 91.1407 | 91.1407 | 91.1407 |  | 1.4937 | 0.67093 | 0.68854 | 1.4937 | 0.67093 | 0.68854 | 0.37861 | -100.9615 | 80.1381 | 0.37861 | -100.9615 | 80.1381

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049013 | 0.0049013 | 0.0049013 | 0.0073552 | 0.0073552 | 0.0073552 | 0.056596 | 0.056596 | 0.056596 | 0.084931 | 0.084931 | 0.084931 | 0.0021834 | 0.037447 | -0.037807 | -0.0022005 | -0.055948 | 0.057125 | 0.084593 | -0.00818 | 0.0078197 | -0.1269 | 0.012007 | -0.01133 | -88.4017 | -88.4017 | -88.4017 | 91.2569 | 91.2569 | 91.2569 |  | 1.4952 | 0.67726 | 0.68216 | 1.4943 | 0.67374 | 0.6857 | 0.11971 | -100.724 | 79.9126 | 0.26342 | -100.8559 | 80.0389
Line_1 | 0.0061281 | 0.0061281 | 0.0061281 | 0.0036776 | 0.0036776 | 0.0036776 | 0.070762 | 0.070762 | 0.070762 | 0.042465 | 0.042465 | 0.042465 | -0.0014058 | -0.046421 | 0.047827 | 0.0011003 | 0.027974 | -0.028562 | -0.10569 | 0.0099537 | -0.0092988 | 0.063448 | -0.0060036 | 0.0056648 | 91.1407 | 91.1407 | 91.1407 | -88.7431 | -88.7431 | -88.7431 |  | 1.4937 | 0.67093 | 0.68854 | 1.4943 | 0.67374 | 0.6857 | 0.37861 | -100.9615 | 80.1381 | 0.26342 | -100.8559 | 80.0389
Line_2 | 0.0061281 | 0.0061281 | 0.0061281 | 0.0036776 | 0.0036776 | 0.0036776 | 0.070762 | 0.070762 | 0.070762 | 0.042465 | 0.042465 | 0.042465 | -0.0014058 | -0.046421 | 0.047827 | 0.0011003 | 0.027974 | -0.028562 | -0.10569 | 0.0099537 | -0.0092988 | 0.063448 | -0.0060036 | 0.0056648 | 91.1407 | 91.1407 | 91.1407 | -88.7431 | -88.7431 | -88.7431 |  | 1.4937 | 0.67093 | 0.68854 | 1.4943 | 0.67374 | 0.6857 | 0.37861 | -100.9615 | 80.1381 | 0.26342 | -100.8559 | 80.0389
Line_3 | 0.0012245 | 0.0012245 | 0.0012245 | 0.0012245 | 0.0012245 | 0.0012245 | 0.014139 | 0.014139 | 0.014139 | 0.014139 | 0.014139 | 0.014139 | -0.00028091 | -0.0092756 | 0.0095565 | -0.00028091 | -0.0092756 | 0.0095565 | -0.021118 | 0.0019889 | -0.001858 | -0.021118 | 0.0019889 | -0.001858 | 91.1407 | 91.1407 | 91.1407 | 91.1407 | 91.1407 | 91.1407 |  | 1.4937 | 0.67093 | 0.68854 | 1.4937 | 0.67093 | 0.68854 | 0.37861 | -100.9615 | 80.1381 | 0.37861 | -100.9615 | 80.1381