## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7156e-14 | 9.4965e-15 | 4.9226e-15 | -3.4116e-14 | -7.4794e-15 | -1.0787e-14 | -5.0669e-15 | -4.9739e-15 | -1.1022e-14 | 4.4804e-15 | 1.4157e-14 | 4.7078e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7156e-14 | 9.4965e-15 | 4.9226e-15 | -3.4116e-14 | -7.4794e-15 | -1.0787e-14 | -5.0669e-15 | -4.9739e-15 | -1.1022e-14 | 4.4804e-15 | 1.4157e-14 | 4.7078e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6986e-15 | 3.4494e-16 | 1.9772e-15 | -9.6386e-15 | 6.9628e-15 | 0 | 5.5906e-15 | 6.6179e-15 | 1.0259e-14 | -5.6873e-15 | 6.2729e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6986e-15 | 3.4494e-16 | 1.9772e-15 | -9.6386e-15 | 6.9628e-15 | 0 | 5.5906e-15 | 6.6179e-15 | 1.0259e-14 | -5.6873e-15 | 6.2729e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2693e-15 | 6.337e-15 | -2.0067e-15 | -9.9353e-15 | -6.065e-16 | 4.6262e-15 | -9.533e-15 | 3.4142e-15 | 4.524e-15 | 4.4648e-15 | 5.3122e-15 | 4.2177e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2693e-15 | 6.337e-15 | -2.0067e-15 | -9.9353e-15 | -6.065e-16 | 4.6262e-15 | -9.533e-15 | 3.4142e-15 | 4.524e-15 | 4.4648e-15 | 5.3122e-15 | 4.2177e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6195e-15 | 0 | 1.8481e-15 | -3.6195e-15 | 1.458e-15 | -1.3861e-15 | -2.3125e-15 | 0 | -2.5734e-15 | 2.3125e-15 | 1.3331e-15 | 1.9301e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6195e-15 | 0 | 1.8481e-15 | -3.6195e-15 | 1.458e-15 | -1.3861e-15 | -2.3125e-15 | 0 | -2.5734e-15 | 2.3125e-15 | 1.3331e-15 | 1.9301e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2432 | 0.85484 | 0.71572 | 2.2408 | 0.85758 | 0.71795 | 25.9024 | 9.8709 | 8.2645 | 25.8742 | 9.9025 | 8.2902 | 4.2551 | -9.5567 | 11.437 | 1.1946e-10 | 9.5921 | -11.776 | 4.0911 | 7.7715 | 1.7065 | -9.9278e-11 | -8.0224 | -1.7072 | -67.8944 | 86.2805 | 121.1499 | 112.1372 | -93.7223 | -58.9779 |  | 0.22789 | 1.2479 | 1.3992 | 0 | 1.2628 | 1.4353 | -24.0201 | -132.8371 | 129.6365 | 0 | -133.63 | 129.2711
Line_1 | 1.1357 | 0.43141 | 0.36129 | 1.1332 | 0.42879 | 0.35898 | 13.1145 | 4.9815 | 4.1718 | 13.0848 | 4.9513 | 4.1451 | 2.9508 | 5.6734 | -5.1062 | 6.6638e-11 | -4.796 | 5.888 | 1.3522 | -3.4474 | -0.82804 | -4.1589e-11 | 4.0112 | 0.85361 | -75.6502 | -93.6845 | -59.1773 | 104.3771 | 86.2777 | 121.0221 |  | 0.2475 | 1.3327 | 1.24 | 0 | 1.2628 | 1.4353 | -51.0302 | -124.9693 | 130.0339 | 0 | -133.63 | 129.2711
Line_2 | 1.1357 | 0.43141 | 0.36129 | 1.1332 | 0.42879 | 0.35898 | 13.1145 | 4.9815 | 4.1718 | 13.0848 | 4.9513 | 4.1451 | 2.9508 | 5.6734 | -5.1062 | 6.6638e-11 | -4.796 | 5.888 | 1.3522 | -3.4474 | -0.82804 | -4.1589e-11 | 4.0112 | 0.85361 | -75.6502 | -93.6845 | -59.1773 | 104.3771 | 86.2777 | 121.0221 |  | 0.2475 | 1.3327 | 1.24 | 0 | 1.2628 | 1.4353 | -51.0302 | -124.9693 | 130.0339 | 0 | -133.63 | 129.2711
Line_3 | 0.0011922 | 0.0011922 | 0.0011922 | 0.0011922 | 0.0011922 | 0.0011922 | 0.013766 | 0.013766 | 0.013766 | 0.013766 | 0.013766 | 0.013766 | 0.0030737 | 0.012186 | -0.01526 | 0.0030737 | 0.012186 | -0.01526 | 0.0014702 | -0.013714 | -0.0076501 | 0.0014702 | -0.013714 | -0.0076501 | -76.592 | -76.592 | -76.592 | -76.592 | -76.592 | -76.592 |  | 0.2475 | 1.3327 | 1.24 | 0.2475 | 1.3327 | 1.24 | -51.0302 | -124.9693 | 130.0339 | -51.0302 | -124.9693 | 130.0339

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2432 | 0.85484 | 0.71572 | 2.2408 | 0.85758 | 0.71795 | 25.9024 | 9.8709 | 8.2645 | 25.8742 | 9.9025 | 8.2902 | 4.2551 | -9.5567 | 11.437 | 1.1946e-10 | 9.5921 | -11.776 | 4.0911 | 7.7715 | 1.7065 | -9.9278e-11 | -8.0224 | -1.7072 | -67.8944 | 86.2805 | 121.1499 | 112.1372 | -93.7223 | -58.9779 |  | 0.22789 | 1.2479 | 1.3992 | 0 | 1.2628 | 1.4353 | -24.0201 | -132.8371 | 129.6365 | 0 | -133.63 | 129.2711
Line_1 | 1.1357 | 0.43141 | 0.36129 | 1.1332 | 0.42879 | 0.35898 | 13.1145 | 4.9815 | 4.1718 | 13.0848 | 4.9513 | 4.1451 | 2.9508 | 5.6734 | -5.1062 | 6.6638e-11 | -4.796 | 5.888 | 1.3522 | -3.4474 | -0.82804 | -4.1589e-11 | 4.0112 | 0.85361 | -75.6502 | -93.6845 | -59.1773 | 104.3771 | 86.2777 | 121.0221 |  | 0.2475 | 1.3327 | 1.24 | 0 | 1.2628 | 1.4353 | -51.0302 | -124.9693 | 130.0339 | 0 | -133.63 | 129.2711
Line_2 | 1.1357 | 0.43141 | 0.36129 | 1.1332 | 0.42879 | 0.35898 | 13.1145 | 4.9815 | 4.1718 | 13.0848 | 4.9513 | 4.1451 | 2.9508 | 5.6734 | -5.1062 | 6.6638e-11 | -4.796 | 5.888 | 1.3522 | -3.4474 | -0.82804 | -4.1589e-11 | 4.0112 | 0.85361 | -75.6502 | -93.6845 | -59.1773 | 104.3771 | 86.2777 | 121.0221 |  | 0.2475 | 1.3327 | 1.24 | 0 | 1.2628 | 1.4353 | -51.0302 | -124.9693 | 130.0339 | 0 | -133.63 | 129.2711
Line_3 | 0.0011922 | 0.0011922 | 0.0011922 | 0.0011922 | 0.0011922 | 0.0011922 | 0.013766 | 0.013766 | 0.013766 | 0.013766 | 0.013766 | 0.013766 | 0.0030737 | 0.012186 | -0.01526 | 0.0030737 | 0.012186 | -0.01526 | 0.0014702 | -0.013714 | -0.0076501 | 0.0014702 | -0.013714 | -0.0076501 | -76.592 | -76.592 | -76.592 | -76.592 | -76.592 | -76.592 |  | 0.2475 | 1.3327 | 1.24 | 0.2475 | 1.3327 | 1.24 | -51.0302 | -124.9693 | 130.0339 | -51.0302 | -124.9693 | 130.0339

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55121 | 0.19648 | 0.31327 | 0.55055 | 0.19711 | 0.31358 | 6.3649 | 2.2688 | 3.6174 | 6.3573 | 2.276 | 3.621 | 4.8917 | -2.7011 | 2.9027 | -4.5948 | 2.7403 | -2.9462 | 2.9193 | 0.29423 | -3.2079 | -2.6734 | -0.33171 | 3.2721 | -38.1053 | 63.0029 | 172.4548 | 141.9476 | -116.8374 | -7.6864 |  | 0.895 | 1.1976 | 1.196 | 0.8362 | 1.2128 | 1.216 | -7.2771 | -123.214 | 124.595 | -7.8598 | -123.7395 | 124.3132
Line_1 | 0.42331 | 0.099089 | 0.15718 | 0.42252 | 0.098555 | 0.15679 | 4.888 | 1.1442 | 1.815 | 4.8788 | 1.138 | 1.8105 | 2.7112 | 1.3986 | -1.3894 | -2.3642 | -1.3702 | 1.4731 | 3.5296 | -0.10917 | 1.5924 | -3.3249 | 0.16586 | -1.6361 | -62.4562 | -116.493 | -7.9409 | 117.5554 | 63.1626 | 172.3136 |  | 0.91053 | 1.226 | 1.1644 | 0.8362 | 1.2128 | 1.216 | -9.986 | -120.9564 | 123.1642 | -7.8598 | -123.7395 | 124.3132
Line_2 | 0.42331 | 0.099089 | 0.15718 | 0.42252 | 0.098555 | 0.15679 | 4.888 | 1.1442 | 1.815 | 4.8788 | 1.138 | 1.8105 | 2.7112 | 1.3986 | -1.3894 | -2.3642 | -1.3702 | 1.4731 | 3.5296 | -0.10917 | 1.5924 | -3.3249 | 0.16586 | -1.6361 | -62.4562 | -116.493 | -7.9409 | 117.5554 | 63.1626 | 172.3136 |  | 0.91053 | 1.226 | 1.1644 | 0.8362 | 1.2128 | 1.216 | -9.986 | -120.9564 | 123.1642 | -7.8598 | -123.7395 | 124.3132
Line_3 | 0.00036203 | 0.00036203 | 0.00036203 | 0.00036203 | 0.00036203 | 0.00036203 | 0.0041804 | 0.0041804 | 0.0041804 | 0.0041804 | 0.0041804 | 0.0041804 | 0.0025617 | 0.0023053 | -0.004867 | 0.0025617 | 0.0023053 | -0.004867 | 0.0028153 | -0.0045775 | -7.23e-05 | 0.0028153 | -0.0045775 | -7.23e-05 | -57.6869 | -57.6869 | -57.6869 | -57.6869 | -57.6869 | -57.6869 |  | 0.91053 | 1.226 | 1.1644 | 0.91053 | 1.226 | 1.1644 | -9.986 | -120.9564 | 123.1642 | -9.986 | -120.9564 | 123.1642

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55121 | 0.19648 | 0.31327 | 0.55055 | 0.19711 | 0.31358 | 6.3649 | 2.2688 | 3.6174 | 6.3573 | 2.276 | 3.621 | 4.8917 | -2.7011 | 2.9027 | -4.5948 | 2.7403 | -2.9462 | 2.9193 | 0.29423 | -3.2079 | -2.6734 | -0.33171 | 3.2721 | -38.1053 | 63.0029 | 172.4548 | 141.9476 | -116.8374 | -7.6864 |  | 0.895 | 1.1976 | 1.196 | 0.8362 | 1.2128 | 1.216 | -7.2771 | -123.214 | 124.595 | -7.8598 | -123.7395 | 124.3132
Line_1 | 0.42331 | 0.099089 | 0.15718 | 0.42252 | 0.098555 | 0.15679 | 4.888 | 1.1442 | 1.815 | 4.8788 | 1.138 | 1.8105 | 2.7112 | 1.3986 | -1.3894 | -2.3642 | -1.3702 | 1.4731 | 3.5296 | -0.10917 | 1.5924 | -3.3249 | 0.16586 | -1.6361 | -62.4562 | -116.493 | -7.9409 | 117.5554 | 63.1626 | 172.3136 |  | 0.91053 | 1.226 | 1.1644 | 0.8362 | 1.2128 | 1.216 | -9.986 | -120.9564 | 123.1642 | -7.8598 | -123.7395 | 124.3132
Line_2 | 0.42331 | 0.099089 | 0.15718 | 0.42252 | 0.098555 | 0.15679 | 4.888 | 1.1442 | 1.815 | 4.8788 | 1.138 | 1.8105 | 2.7112 | 1.3986 | -1.3894 | -2.3642 | -1.3702 | 1.4731 | 3.5296 | -0.10917 | 1.5924 | -3.3249 | 0.16586 | -1.6361 | -62.4562 | -116.493 | -7.9409 | 117.5554 | 63.1626 | 172.3136 |  | 0.91053 | 1.226 | 1.1644 | 0.8362 | 1.2128 | 1.216 | -9.986 | -120.9564 | 123.1642 | -7.8598 | -123.7395 | 124.3132
Line_3 | 0.00036203 | 0.00036203 | 0.00036203 | 0.00036203 | 0.00036203 | 0.00036203 | 0.0041804 | 0.0041804 | 0.0041804 | 0.0041804 | 0.0041804 | 0.0041804 | 0.0025617 | 0.0023053 | -0.004867 | 0.0025617 | 0.0023053 | -0.004867 | 0.0028153 | -0.0045775 | -7.23e-05 | 0.0028153 | -0.0045775 | -7.23e-05 | -57.6869 | -57.6869 | -57.6869 | -57.6869 | -57.6869 | -57.6869 |  | 0.91053 | 1.226 | 1.1644 | 0.91053 | 1.226 | 1.1644 | -9.986 | -120.9564 | 123.1642 | -9.986 | -120.9564 | 123.1642

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9769 | 0.73105 | 0.60809 | 1.9751 | 0.733 | 0.60993 | 22.8275 | 8.4414 | 7.0217 | 22.8068 | 8.4639 | 7.0429 | 6.4126 | -3.0236 | 8.5935 | -5.5204e-11 | 2.688 | -9.014 | 3.0791 | 8.4148 | 1.0921 | -1.5282e-13 | -8.5046 | -1.1581 | -57.3715 | 116.2626 | 121.0004 | 122.6712 | -63.8361 | -59.1329 |  | 0.31162 | 1.0592 | 1.2337 | 0 | 1.0538 | 1.2904 | -31.7226 | -133.9728 | 128.2433 | 0 | -136.2963 | 128.1882
Line_1 | 0.873 | 0.36844 | 0.30683 | 0.87105 | 0.3665 | 0.30497 | 10.0805 | 4.2543 | 3.543 | 10.058 | 4.232 | 3.5214 | 3.4896 | 2.6506 | -3.4684 | -2.412e-11 | -1.344 | 4.507 | 0.91084 | -4.0187 | -0.47506 | -3.3062e-12 | 4.2523 | 0.57905 | -65.0236 | -63.9568 | -59.307 | 115.0248 | 116.1639 | 120.8671 |  | 0.35777 | 1.1316 | 0.98809 | 0 | 1.0538 | 1.2904 | -50.3947 | -120.5486 | 128.4922 | 0 | -136.2963 | 128.1882
Line_2 | 0.873 | 0.36844 | 0.30683 | 0.87105 | 0.3665 | 0.30497 | 10.0805 | 4.2543 | 3.543 | 10.058 | 4.232 | 3.5214 | 3.4896 | 2.6506 | -3.4684 | -2.412e-11 | -1.344 | 4.507 | 0.91084 | -4.0187 | -0.47506 | -3.3062e-12 | 4.2523 | 0.57905 | -65.0236 | -63.9568 | -59.307 | 115.0248 | 116.1639 | 120.8671 |  | 0.35777 | 1.1316 | 0.98809 | 0 | 1.0538 | 1.2904 | -50.3947 | -120.5486 | 128.4922 | 0 | -136.2963 | 128.1882
Line_3 | 0.0008858 | 0.0008858 | 0.0008858 | 0.0008858 | 0.0008858 | 0.0008858 | 0.010228 | 0.010228 | 0.010228 | 0.010228 | 0.010228 | 0.010228 | 0.0035621 | 0.0063188 | -0.0098808 | 0.0035621 | 0.0063188 | -0.0098808 | 0.00083828 | -0.009697 | -0.0021236 | 0.00083828 | -0.009697 | -0.0021236 | -63.6376 | -63.6376 | -63.6376 | -63.6376 | -63.6376 | -63.6376 |  | 0.35777 | 1.1316 | 0.98809 | 0.35777 | 1.1316 | 0.98809 | -50.3947 | -120.5486 | 128.4922 | -50.3947 | -120.5486 | 128.4922

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9769 | 0.73105 | 0.60809 | 1.9751 | 0.733 | 0.60993 | 22.8275 | 8.4414 | 7.0217 | 22.8068 | 8.4639 | 7.0429 | 6.4126 | -3.0236 | 8.5935 | -5.5204e-11 | 2.688 | -9.014 | 3.0791 | 8.4148 | 1.0921 | -1.5282e-13 | -8.5046 | -1.1581 | -57.3715 | 116.2626 | 121.0004 | 122.6712 | -63.8361 | -59.1329 |  | 0.31162 | 1.0592 | 1.2337 | 0 | 1.0538 | 1.2904 | -31.7226 | -133.9728 | 128.2433 | 0 | -136.2963 | 128.1882
Line_1 | 0.873 | 0.36844 | 0.30683 | 0.87105 | 0.3665 | 0.30497 | 10.0805 | 4.2543 | 3.543 | 10.058 | 4.232 | 3.5214 | 3.4896 | 2.6506 | -3.4684 | -2.412e-11 | -1.344 | 4.507 | 0.91084 | -4.0187 | -0.47506 | -3.3062e-12 | 4.2523 | 0.57905 | -65.0236 | -63.9568 | -59.307 | 115.0248 | 116.1639 | 120.8671 |  | 0.35777 | 1.1316 | 0.98809 | 0 | 1.0538 | 1.2904 | -50.3947 | -120.5486 | 128.4922 | 0 | -136.2963 | 128.1882
Line_2 | 0.873 | 0.36844 | 0.30683 | 0.87105 | 0.3665 | 0.30497 | 10.0805 | 4.2543 | 3.543 | 10.058 | 4.232 | 3.5214 | 3.4896 | 2.6506 | -3.4684 | -2.412e-11 | -1.344 | 4.507 | 0.91084 | -4.0187 | -0.47506 | -3.3062e-12 | 4.2523 | 0.57905 | -65.0236 | -63.9568 | -59.307 | 115.0248 | 116.1639 | 120.8671 |  | 0.35777 | 1.1316 | 0.98809 | 0 | 1.0538 | 1.2904 | -50.3947 | -120.5486 | 128.4922 | 0 | -136.2963 | 128.1882
Line_3 | 0.0008858 | 0.0008858 | 0.0008858 | 0.0008858 | 0.0008858 | 0.0008858 | 0.010228 | 0.010228 | 0.010228 | 0.010228 | 0.010228 | 0.010228 | 0.0035621 | 0.0063188 | -0.0098808 | 0.0035621 | 0.0063188 | -0.0098808 | 0.00083828 | -0.009697 | -0.0021236 | 0.00083828 | -0.009697 | -0.0021236 | -63.6376 | -63.6376 | -63.6376 | -63.6376 | -63.6376 | -63.6376 |  | 0.35777 | 1.1316 | 0.98809 | 0.35777 | 1.1316 | 0.98809 | -50.3947 | -120.5486 | 128.4922 | -50.3947 | -120.5486 | 128.4922

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.6093 | 0.22532 | 0.18742 | 0.60875 | 0.22592 | 0.18799 | 7.0356 | 2.6017 | 2.1641 | 7.0292 | 2.6086 | 2.1707 | 4.3001 | -0.84474 | 2.2657 | -3.6901 | 0.81734 | -2.3111 | 3.5534 | 2.5332 | -0.33697 | -3.2552 | -2.5454 | 0.32865 | -46.3067 | 127.3274 | 132.0652 | 133.736 | -52.7713 | -48.0681 |  | 0.79287 | 1.0264 | 1.0585 | 0.70002 | 1.0248 | 1.0754 | -6.7385 | -124.2305 | 123.6061 | -4.8472 | -124.969 | 123.8384
Line_1 | 0.26906 | 0.11355 | 0.094569 | 0.26846 | 0.11296 | 0.093993 | 3.1069 | 1.3112 | 1.092 | 3.0999 | 1.3043 | 1.0853 | 1.7551 | 0.53612 | -1.062 | -1.4219 | -0.40867 | 1.1555 | 1.7307 | -1.2545 | 0.17332 | -1.6393 | 1.2727 | -0.16432 | -53.9588 | -52.892 | -48.2422 | 126.0896 | 127.2287 | 131.9319 |  | 0.79338 | 1.0404 | 0.98542 | 0.70002 | 1.0248 | 1.0754 | -9.3603 | -119.7521 | 122.4888 | -4.8472 | -124.969 | 123.8384
Line_2 | 0.26906 | 0.11355 | 0.094569 | 0.26846 | 0.11296 | 0.093993 | 3.1069 | 1.3112 | 1.092 | 3.0999 | 1.3043 | 1.0853 | 1.7551 | 0.53612 | -1.062 | -1.4219 | -0.40867 | 1.1555 | 1.7307 | -1.2545 | 0.17332 | -1.6393 | 1.2727 | -0.16432 | -53.9588 | -52.892 | -48.2422 | 126.0896 | 127.2287 | 131.9319 |  | 0.79338 | 1.0404 | 0.98542 | 0.70002 | 1.0248 | 1.0754 | -9.3603 | -119.7521 | 122.4888 | -4.8472 | -124.969 | 123.8384
Line_3 | 0.00027301 | 0.00027301 | 0.00027301 | 0.00027301 | 0.00027301 | 0.00027301 | 0.0031524 | 0.0031524 | 0.0031524 | 0.0031524 | 0.0031524 | 0.0031524 | 0.0018228 | 0.0012721 | -0.0030949 | 0.0018228 | 0.0012721 | -0.0030949 | 0.0017125 | -0.0030232 | 0.00026742 | 0.0017125 | -0.0030232 | 0.00026742 | -52.5728 | -52.5728 | -52.5728 | -52.5728 | -52.5728 | -52.5728 |  | 0.79338 | 1.0404 | 0.98542 | 0.79338 | 1.0404 | 0.98542 | -9.3603 | -119.7521 | 122.4888 | -9.3603 | -119.7521 | 122.4888

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.6093 | 0.22532 | 0.18742 | 0.60875 | 0.22592 | 0.18799 | 7.0356 | 2.6017 | 2.1641 | 7.0292 | 2.6086 | 2.1707 | 4.3001 | -0.84474 | 2.2657 | -3.6901 | 0.81734 | -2.3111 | 3.5534 | 2.5332 | -0.33697 | -3.2552 | -2.5454 | 0.32865 | -46.3067 | 127.3274 | 132.0652 | 133.736 | -52.7713 | -48.0681 |  | 0.79287 | 1.0264 | 1.0585 | 0.70002 | 1.0248 | 1.0754 | -6.7385 | -124.2305 | 123.6061 | -4.8472 | -124.969 | 123.8384
Line_1 | 0.26906 | 0.11355 | 0.094569 | 0.26846 | 0.11296 | 0.093993 | 3.1069 | 1.3112 | 1.092 | 3.0999 | 1.3043 | 1.0853 | 1.7551 | 0.53612 | -1.062 | -1.4219 | -0.40867 | 1.1555 | 1.7307 | -1.2545 | 0.17332 | -1.6393 | 1.2727 | -0.16432 | -53.9588 | -52.892 | -48.2422 | 126.0896 | 127.2287 | 131.9319 |  | 0.79338 | 1.0404 | 0.98542 | 0.70002 | 1.0248 | 1.0754 | -9.3603 | -119.7521 | 122.4888 | -4.8472 | -124.969 | 123.8384
Line_2 | 0.26906 | 0.11355 | 0.094569 | 0.26846 | 0.11296 | 0.093993 | 3.1069 | 1.3112 | 1.092 | 3.0999 | 1.3043 | 1.0853 | 1.7551 | 0.53612 | -1.062 | -1.4219 | -0.40867 | 1.1555 | 1.7307 | -1.2545 | 0.17332 | -1.6393 | 1.2727 | -0.16432 | -53.9588 | -52.892 | -48.2422 | 126.0896 | 127.2287 | 131.9319 |  | 0.79338 | 1.0404 | 0.98542 | 0.70002 | 1.0248 | 1.0754 | -9.3603 | -119.7521 | 122.4888 | -4.8472 | -124.969 | 123.8384
Line_3 | 0.00027301 | 0.00027301 | 0.00027301 | 0.00027301 | 0.00027301 | 0.00027301 | 0.0031524 | 0.0031524 | 0.0031524 | 0.0031524 | 0.0031524 | 0.0031524 | 0.0018228 | 0.0012721 | -0.0030949 | 0.0018228 | 0.0012721 | -0.0030949 | 0.0017125 | -0.0030232 | 0.00026742 | 0.0017125 | -0.0030232 | 0.00026742 | -52.5728 | -52.5728 | -52.5728 | -52.5728 | -52.5728 | -52.5728 |  | 0.79338 | 1.0404 | 0.98542 | 0.79338 | 1.0404 | 0.98542 | -9.3603 | -119.7521 | 122.4888 | -9.3603 | -119.7521 | 122.4888

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38994 | 3.8734 | 3.601 | 0.39213 | 3.8736 | 3.6003 | 4.5026 | 44.7266 | 41.581 | 4.528 | 44.7285 | 41.573 | -0.16738 | 10.1054 | 5.0044 | 0.1238 | 9.1227e-11 | 1.2021e-10 | 6.3031 | 7.3524 | 9.5236 | -6.4984 | -9.416e-11 | -1.6002e-12 | -91.5619 | -174.5543 | 19.5098 | 88.454 | 5.4781 | -160.5234 |  | 1.4004 | 0.27941 | 0.25873 | 1.4354 | 0 | 0 | -0.040717 | -138.5159 | 81.7888 | -0.45464 | 0 | 0
Line_1 | 0.19814 | 1.1183 | 0.93182 | 0.19607 | 1.1171 | 0.93025 | 2.288 | 12.9128 | 10.7597 | 2.264 | 12.8997 | 10.7416 | 0.3428 | 2.2419 | 1.0247 | -0.0619 | 3.6275e-11 | 2.4588e-11 | -3.0661 | -0.22276 | 1.9514 | 3.2492 | -1.0665e-11 | -1.8982e-11 | 88.5587 | 155.864 | 56.4681 | -91.546 | -24.0448 | -123.6186 |  | 1.3484 | 0.17447 | 0.20484 | 1.4354 | 0 | 0 | 4.9381 | 150.1896 | 118.7641 | -0.45464 | 0 | 0
Line_2 | 0.19814 | 1.1183 | 0.93182 | 0.19607 | 1.1171 | 0.93025 | 2.288 | 12.9128 | 10.7597 | 2.264 | 12.8997 | 10.7416 | 0.3428 | 2.2419 | 1.0247 | -0.0619 | 3.6275e-11 | 2.4588e-11 | -3.0661 | -0.22276 | 1.9514 | 3.2492 | -1.0665e-11 | -1.8982e-11 | 88.5587 | 155.864 | 56.4681 | -91.546 | -24.0448 | -123.6186 |  | 1.3484 | 0.17447 | 0.20484 | 1.4354 | 0 | 0 | 4.9381 | 150.1896 | 118.7641 | -0.45464 | 0 | 0
Line_3 | 0.00095565 | 0.00095565 | 0.00095565 | 0.00095565 | 0.00095565 | 0.00095565 | 0.011035 | 0.011035 | 0.011035 | 0.011035 | 0.011035 | 0.011035 | -0.0036844 | 0.0014549 | 0.0022295 | -0.0036844 | 0.0014549 | 0.0022295 | -0.014416 | 0.001261 | 0.00037268 | -0.014416 | 0.001261 | 0.00037268 | 109.2743 | 109.2743 | 109.2743 | 109.2743 | 109.2743 | 109.2743 |  | 1.3484 | 0.17447 | 0.20484 | 1.3484 | 0.17447 | 0.20484 | 4.9381 | 150.1896 | 118.7641 | 4.9381 | 150.1896 | 118.7641

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38994 | 3.8734 | 3.601 | 0.39213 | 3.8736 | 3.6003 | 4.5026 | 44.7266 | 41.581 | 4.528 | 44.7285 | 41.573 | -0.16738 | 10.1054 | 5.0044 | 0.1238 | 9.1227e-11 | 1.2021e-10 | 6.3031 | 7.3524 | 9.5236 | -6.4984 | -9.416e-11 | -1.6002e-12 | -91.5619 | -174.5543 | 19.5098 | 88.454 | 5.4781 | -160.5234 |  | 1.4004 | 0.27941 | 0.25873 | 1.4354 | 0 | 0 | -0.040717 | -138.5159 | 81.7888 | -0.45464 | 0 | 0
Line_1 | 0.19814 | 1.1183 | 0.93182 | 0.19607 | 1.1171 | 0.93025 | 2.288 | 12.9128 | 10.7597 | 2.264 | 12.8997 | 10.7416 | 0.3428 | 2.2419 | 1.0247 | -0.0619 | 3.6275e-11 | 2.4588e-11 | -3.0661 | -0.22276 | 1.9514 | 3.2492 | -1.0665e-11 | -1.8982e-11 | 88.5587 | 155.864 | 56.4681 | -91.546 | -24.0448 | -123.6186 |  | 1.3484 | 0.17447 | 0.20484 | 1.4354 | 0 | 0 | 4.9381 | 150.1896 | 118.7641 | -0.45464 | 0 | 0
Line_2 | 0.19814 | 1.1183 | 0.93182 | 0.19607 | 1.1171 | 0.93025 | 2.288 | 12.9128 | 10.7597 | 2.264 | 12.8997 | 10.7416 | 0.3428 | 2.2419 | 1.0247 | -0.0619 | 3.6275e-11 | 2.4588e-11 | -3.0661 | -0.22276 | 1.9514 | 3.2492 | -1.0665e-11 | -1.8982e-11 | 88.5587 | 155.864 | 56.4681 | -91.546 | -24.0448 | -123.6186 |  | 1.3484 | 0.17447 | 0.20484 | 1.4354 | 0 | 0 | 4.9381 | 150.1896 | 118.7641 | -0.45464 | 0 | 0
Line_3 | 0.00095565 | 0.00095565 | 0.00095565 | 0.00095565 | 0.00095565 | 0.00095565 | 0.011035 | 0.011035 | 0.011035 | 0.011035 | 0.011035 | 0.011035 | -0.0036844 | 0.0014549 | 0.0022295 | -0.0036844 | 0.0014549 | 0.0022295 | -0.014416 | 0.001261 | 0.00037268 | -0.014416 | 0.001261 | 0.00037268 | 109.2743 | 109.2743 | 109.2743 | 109.2743 | 109.2743 | 109.2743 |  | 1.3484 | 0.17447 | 0.20484 | 1.3484 | 0.17447 | 0.20484 | 4.9381 | 150.1896 | 118.7641 | 4.9381 | 150.1896 | 118.7641

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.038426 | 0.82983 | 0.73066 | 0.038238 | 0.83011 | 0.73018 | 0.44371 | 9.582 | 8.4369 | 0.44153 | 9.5853 | 8.4314 | 0.48058 | 8.4084 | 4.4149 | -0.48941 | -7.9241 | -4.1999 | -0.2611 | 3.1777 | 6.5869 | 0.25778 | -2.9238 | -6.1046 | 29.5229 | -143.8313 | 52.9931 | -151.5892 | 36.218 | -127.0542 |  | 1.2326 | 0.93809 | 0.93987 | 1.2528 | 0.88117 | 0.87883 | 1.0075 | -123.1287 | 109.1609 | 0.63469 | -123.5292 | 108.4181
Line_1 | 0.019049 | 0.38453 | 0.36522 | 0.019119 | 0.38409 | 0.36464 | 0.21996 | 4.4402 | 4.2172 | 0.22077 | 4.435 | 4.2105 | -0.24422 | 1.4873 | 3.2178 | 0.24471 | -1.2144 | -3.049 | 0.10892 | 3.7093 | 2.3659 | -0.12889 | -3.7146 | -2.0967 | -153.79 | 164.4877 | 73.9745 | 28.4108 | -15.425 | -106.0965 |  | 1.2157 | 0.90004 | 0.94707 | 1.2528 | 0.88117 | 0.87883 | 2.1732 | -127.3611 | 110.2997 | 0.63469 | -123.5292 | 108.4181
Line_2 | 0.019049 | 0.38453 | 0.36522 | 0.019119 | 0.38409 | 0.36464 | 0.21996 | 4.4402 | 4.2172 | 0.22077 | 4.435 | 4.2105 | -0.24422 | 1.4873 | 3.2178 | 0.24471 | -1.2144 | -3.049 | 0.10892 | 3.7093 | 2.3659 | -0.12889 | -3.7146 | -2.0967 | -153.79 | 164.4877 | 73.9745 | 28.4108 | -15.425 | -106.0965 |  | 1.2157 | 0.90004 | 0.94707 | 1.2528 | 0.88117 | 0.87883 | 2.1732 | -127.3611 | 110.2997 | 0.63469 | -123.5292 | 108.4181
Line_3 | 0.00033372 | 0.00033372 | 0.00033372 | 0.00033372 | 0.00033372 | 0.00033372 | 0.0038535 | 0.0038535 | 0.0038535 | 0.0038535 | 0.0038535 | 0.0038535 | -0.0023848 | -0.0011785 | 0.0035633 | -0.0023848 | -0.0011785 | 0.0035633 | -0.0040324 | 0.0032619 | -0.00078829 | -0.0040324 | 0.0032619 | -0.00078829 | 122.7738 | 122.7738 | 122.7738 | 122.7738 | 122.7738 | 122.7738 |  | 1.2157 | 0.90004 | 0.94707 | 1.2157 | 0.90004 | 0.94707 | 2.1732 | -127.3611 | 110.2997 | 2.1732 | -127.3611 | 110.2997

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.038426 | 0.82983 | 0.73066 | 0.038238 | 0.83011 | 0.73018 | 0.44371 | 9.582 | 8.4369 | 0.44153 | 9.5853 | 8.4314 | 0.48058 | 8.4084 | 4.4149 | -0.48941 | -7.9241 | -4.1999 | -0.2611 | 3.1777 | 6.5869 | 0.25778 | -2.9238 | -6.1046 | 29.5229 | -143.8313 | 52.9931 | -151.5892 | 36.218 | -127.0542 |  | 1.2326 | 0.93809 | 0.93987 | 1.2528 | 0.88117 | 0.87883 | 1.0075 | -123.1287 | 109.1609 | 0.63469 | -123.5292 | 108.4181
Line_1 | 0.019049 | 0.38453 | 0.36522 | 0.019119 | 0.38409 | 0.36464 | 0.21996 | 4.4402 | 4.2172 | 0.22077 | 4.435 | 4.2105 | -0.24422 | 1.4873 | 3.2178 | 0.24471 | -1.2144 | -3.049 | 0.10892 | 3.7093 | 2.3659 | -0.12889 | -3.7146 | -2.0967 | -153.79 | 164.4877 | 73.9745 | 28.4108 | -15.425 | -106.0965 |  | 1.2157 | 0.90004 | 0.94707 | 1.2528 | 0.88117 | 0.87883 | 2.1732 | -127.3611 | 110.2997 | 0.63469 | -123.5292 | 108.4181
Line_2 | 0.019049 | 0.38453 | 0.36522 | 0.019119 | 0.38409 | 0.36464 | 0.21996 | 4.4402 | 4.2172 | 0.22077 | 4.435 | 4.2105 | -0.24422 | 1.4873 | 3.2178 | 0.24471 | -1.2144 | -3.049 | 0.10892 | 3.7093 | 2.3659 | -0.12889 | -3.7146 | -2.0967 | -153.79 | 164.4877 | 73.9745 | 28.4108 | -15.425 | -106.0965 |  | 1.2157 | 0.90004 | 0.94707 | 1.2528 | 0.88117 | 0.87883 | 2.1732 | -127.3611 | 110.2997 | 0.63469 | -123.5292 | 108.4181
Line_3 | 0.00033372 | 0.00033372 | 0.00033372 | 0.00033372 | 0.00033372 | 0.00033372 | 0.0038535 | 0.0038535 | 0.0038535 | 0.0038535 | 0.0038535 | 0.0038535 | -0.0023848 | -0.0011785 | 0.0035633 | -0.0023848 | -0.0011785 | 0.0035633 | -0.0040324 | 0.0032619 | -0.00078829 | -0.0040324 | 0.0032619 | -0.00078829 | 122.7738 | 122.7738 | 122.7738 | 122.7738 | 122.7738 | 122.7738 |  | 1.2157 | 0.90004 | 0.94707 | 1.2157 | 0.90004 | 0.94707 | 2.1732 | -127.3611 | 110.2997 | 2.1732 | -127.3611 | 110.2997

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43653 | 3.2813 | 3.0194 | 0.43826 | 3.2816 | 3.0186 | 5.0406 | 37.8887 | 34.865 | 5.0606 | 37.8927 | 34.8554 | 2.3423 | 13.2252 | 7.5318 | -2.5224 | -1.1634e-10 | -2.586e-11 | 5.649 | 3.9414 | 8.144 | -5.8379 | -8.2773e-11 | -1.3008e-10 | -68.3522 | -167.417 | 28.7487 | 111.5665 | 12.6146 | -151.2824 |  | 1.2132 | 0.36422 | 0.31817 | 1.2567 | 0 | 0 | -0.87348 | -150.8219 | 75.9853 | -1.8017 | 0 | 0
Line_1 | 0.22077 | 0.96071 | 0.62638 | 0.21913 | 0.95993 | 0.62515 | 2.5492 | 11.0933 | 7.2328 | 2.5303 | 11.0843 | 7.2186 | -0.70319 | 2.9774 | 0.86932 | 1.2612 | -1.8831e-11 | -1.8822e-11 | -2.7087 | -0.71987 | 1.7309 | 2.919 | -3.7281e-11 | -2.0004e-11 | 111.502 | 164.7564 | 60.8319 | -68.4335 | -15.1566 | -119.2697 |  | 1.0978 | 0.27613 | 0.2678 | 1.2567 | 0 | 0 | 6.9487 | 151.1644 | 124.1648 | -1.8017 | 0 | 0
Line_2 | 0.22077 | 0.96071 | 0.62638 | 0.21913 | 0.95993 | 0.62515 | 2.5492 | 11.0933 | 7.2328 | 2.5303 | 11.0843 | 7.2186 | -0.70319 | 2.9774 | 0.86932 | 1.2612 | -1.8831e-11 | -1.8822e-11 | -2.7087 | -0.71987 | 1.7309 | 2.919 | -3.7281e-11 | -2.0004e-11 | 111.502 | 164.7564 | 60.8319 | -68.4335 | -15.1566 | -119.2697 |  | 1.0978 | 0.27613 | 0.2678 | 1.2567 | 0 | 0 | 6.9487 | 151.1644 | 124.1648 | -1.8017 | 0 | 0
Line_3 | 0.00070203 | 0.00070203 | 0.00070203 | 0.00070203 | 0.00070203 | 0.00070203 | 0.0081064 | 0.0081064 | 0.0081064 | 0.0081064 | 0.0081064 | 0.0081064 | -0.004179 | 0.0020083 | 0.0021707 | -0.004179 | 0.0020083 | 0.0021707 | -0.0078568 | 0.00098853 | -3.0017e-05 | -0.0078568 | 0.00098853 | -3.0017e-05 | 124.957 | 124.957 | 124.957 | 124.957 | 124.957 | 124.957 |  | 1.0978 | 0.27613 | 0.2678 | 1.0978 | 0.27613 | 0.2678 | 6.9487 | 151.1644 | 124.1648 | 6.9487 | 151.1644 | 124.1648

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43653 | 3.2813 | 3.0194 | 0.43826 | 3.2816 | 3.0186 | 5.0406 | 37.8887 | 34.865 | 5.0606 | 37.8927 | 34.8554 | 2.3423 | 13.2252 | 7.5318 | -2.5224 | -1.1634e-10 | -2.586e-11 | 5.649 | 3.9414 | 8.144 | -5.8379 | -8.2773e-11 | -1.3008e-10 | -68.3522 | -167.417 | 28.7487 | 111.5665 | 12.6146 | -151.2824 |  | 1.2132 | 0.36422 | 0.31817 | 1.2567 | 0 | 0 | -0.87348 | -150.8219 | 75.9853 | -1.8017 | 0 | 0
Line_1 | 0.22077 | 0.96071 | 0.62638 | 0.21913 | 0.95993 | 0.62515 | 2.5492 | 11.0933 | 7.2328 | 2.5303 | 11.0843 | 7.2186 | -0.70319 | 2.9774 | 0.86932 | 1.2612 | -1.8831e-11 | -1.8822e-11 | -2.7087 | -0.71987 | 1.7309 | 2.919 | -3.7281e-11 | -2.0004e-11 | 111.502 | 164.7564 | 60.8319 | -68.4335 | -15.1566 | -119.2697 |  | 1.0978 | 0.27613 | 0.2678 | 1.2567 | 0 | 0 | 6.9487 | 151.1644 | 124.1648 | -1.8017 | 0 | 0
Line_2 | 0.22077 | 0.96071 | 0.62638 | 0.21913 | 0.95993 | 0.62515 | 2.5492 | 11.0933 | 7.2328 | 2.5303 | 11.0843 | 7.2186 | -0.70319 | 2.9774 | 0.86932 | 1.2612 | -1.8831e-11 | -1.8822e-11 | -2.7087 | -0.71987 | 1.7309 | 2.919 | -3.7281e-11 | -2.0004e-11 | 111.502 | 164.7564 | 60.8319 | -68.4335 | -15.1566 | -119.2697 |  | 1.0978 | 0.27613 | 0.2678 | 1.2567 | 0 | 0 | 6.9487 | 151.1644 | 124.1648 | -1.8017 | 0 | 0
Line_3 | 0.00070203 | 0.00070203 | 0.00070203 | 0.00070203 | 0.00070203 | 0.00070203 | 0.0081064 | 0.0081064 | 0.0081064 | 0.0081064 | 0.0081064 | 0.0081064 | -0.004179 | 0.0020083 | 0.0021707 | -0.004179 | 0.0020083 | 0.0021707 | -0.0078568 | 0.00098853 | -3.0017e-05 | -0.0078568 | 0.00098853 | -3.0017e-05 | 124.957 | 124.957 | 124.957 | 124.957 | 124.957 | 124.957 |  | 1.0978 | 0.27613 | 0.2678 | 1.0978 | 0.27613 | 0.2678 | 6.9487 | 151.1644 | 124.1648 | 6.9487 | 151.1644 | 124.1648

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17405 | 0.79973 | 0.78785 | 0.17465 | 0.79997 | 0.78737 | 2.0097 | 9.2345 | 9.0973 | 2.0167 | 9.2372 | 9.0918 | 1.0816 | 6.8268 | 4.1894 | -1.1071 | -6.0208 | -3.6135 | 1.867 | 3.7239 | 6.1512 | -1.8928 | -3.5888 | -5.4923 | -60.1434 | -152.1375 | 53.2709 | 119.771 | 27.9062 | -126.7617 |  | 1.0736 | 0.84211 | 0.81807 | 1.0873 | 0.75881 | 0.72311 | -0.22952 | -123.5254 | 109.0132 | -0.55347 | -121.2958 | 109.8968
Line_1 | 0.0879 | 0.25199 | 0.22031 | 0.087325 | 0.25172 | 0.21976 | 1.015 | 2.9097 | 2.5439 | 1.0083 | 2.9066 | 2.5375 | -0.47333 | 1.0773 | 1.8553 | 0.55357 | -0.82819 | -1.6792 | -0.92461 | 1.9628 | 0.92283 | 0.9464 | -2.0442 | -0.73977 | 119.6889 | 170.6397 | 86.1765 | -60.229 | -9.2407 | -93.8791 |  | 1.0234 | 0.7695 | 0.81456 | 1.0873 | 0.75881 | 0.72311 | 2.5796 | -128.121 | 112.6225 | -0.55347 | -121.2958 | 109.8968
Line_2 | 0.0879 | 0.25199 | 0.22031 | 0.087325 | 0.25172 | 0.21976 | 1.015 | 2.9097 | 2.5439 | 1.0083 | 2.9066 | 2.5375 | -0.47333 | 1.0773 | 1.8553 | 0.55357 | -0.82819 | -1.6792 | -0.92461 | 1.9628 | 0.92283 | 0.9464 | -2.0442 | -0.73977 | 119.6889 | 170.6397 | 86.1765 | -60.229 | -9.2407 | -93.8791 |  | 1.0234 | 0.7695 | 0.81456 | 1.0873 | 0.75881 | 0.72311 | 2.5796 | -128.121 | 112.6225 | -0.55347 | -121.2958 | 109.8968
Line_3 | 0.00025001 | 0.00025001 | 0.00025001 | 0.00025001 | 0.00025001 | 0.00025001 | 0.0028868 | 0.0028868 | 0.0028868 | 0.0028868 | 0.0028868 | 0.0028868 | -0.0017728 | -0.00047797 | 0.0022507 | -0.0017728 | -0.00047797 | 0.0022507 | -0.0023633 | 0.0021694 | -0.00068088 | -0.0023633 | 0.0021694 | -0.00068088 | 129.4537 | 129.4537 | 129.4537 | 129.4537 | 129.4537 | 129.4537 |  | 1.0234 | 0.7695 | 0.81456 | 1.0234 | 0.7695 | 0.81456 | 2.5796 | -128.121 | 112.6225 | 2.5796 | -128.121 | 112.6225

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17405 | 0.79973 | 0.78785 | 0.17465 | 0.79997 | 0.78737 | 2.0097 | 9.2345 | 9.0973 | 2.0167 | 9.2372 | 9.0918 | 1.0816 | 6.8268 | 4.1894 | -1.1071 | -6.0208 | -3.6135 | 1.867 | 3.7239 | 6.1512 | -1.8928 | -3.5888 | -5.4923 | -60.1434 | -152.1375 | 53.2709 | 119.771 | 27.9062 | -126.7617 |  | 1.0736 | 0.84211 | 0.81807 | 1.0873 | 0.75881 | 0.72311 | -0.22952 | -123.5254 | 109.0132 | -0.55347 | -121.2958 | 109.8968
Line_1 | 0.0879 | 0.25199 | 0.22031 | 0.087325 | 0.25172 | 0.21976 | 1.015 | 2.9097 | 2.5439 | 1.0083 | 2.9066 | 2.5375 | -0.47333 | 1.0773 | 1.8553 | 0.55357 | -0.82819 | -1.6792 | -0.92461 | 1.9628 | 0.92283 | 0.9464 | -2.0442 | -0.73977 | 119.6889 | 170.6397 | 86.1765 | -60.229 | -9.2407 | -93.8791 |  | 1.0234 | 0.7695 | 0.81456 | 1.0873 | 0.75881 | 0.72311 | 2.5796 | -128.121 | 112.6225 | -0.55347 | -121.2958 | 109.8968
Line_2 | 0.0879 | 0.25199 | 0.22031 | 0.087325 | 0.25172 | 0.21976 | 1.015 | 2.9097 | 2.5439 | 1.0083 | 2.9066 | 2.5375 | -0.47333 | 1.0773 | 1.8553 | 0.55357 | -0.82819 | -1.6792 | -0.92461 | 1.9628 | 0.92283 | 0.9464 | -2.0442 | -0.73977 | 119.6889 | 170.6397 | 86.1765 | -60.229 | -9.2407 | -93.8791 |  | 1.0234 | 0.7695 | 0.81456 | 1.0873 | 0.75881 | 0.72311 | 2.5796 | -128.121 | 112.6225 | -0.55347 | -121.2958 | 109.8968
Line_3 | 0.00025001 | 0.00025001 | 0.00025001 | 0.00025001 | 0.00025001 | 0.00025001 | 0.0028868 | 0.0028868 | 0.0028868 | 0.0028868 | 0.0028868 | 0.0028868 | -0.0017728 | -0.00047797 | 0.0022507 | -0.0017728 | -0.00047797 | 0.0022507 | -0.0023633 | 0.0021694 | -0.00068088 | -0.0023633 | 0.0021694 | -0.00068088 | 129.4537 | 129.4537 | 129.4537 | 129.4537 | 129.4537 | 129.4537 |  | 1.0234 | 0.7695 | 0.81456 | 1.0234 | 0.7695 | 0.81456 | 2.5796 | -128.121 | 112.6225 | 2.5796 | -128.121 | 112.6225