## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7156e-14 | 1.1827e-14 | -1.0551e-14 | 1.1502e-14 | -3.1319e-16 | -5.8641e-15 | 5.0669e-15 | 1.2528e-15 | 5.8641e-15 | -5.2624e-15 | 2.9567e-15 | -1.0551e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7156e-14 | 1.1827e-14 | -1.0551e-14 | 1.1502e-14 | -3.1319e-16 | -5.8641e-15 | 5.0669e-15 | 1.2528e-15 | 5.8641e-15 | -5.2624e-15 | 2.9567e-15 | -1.0551e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8146e-15 | 9.2369e-15 | -9.8858e-16 | 7.7335e-17 | 1.1495e-14 | -2.1172e-15 | 2.7373e-15 | -1.3753e-14 | -5.1297e-15 | -5.552e-15 | -2.2581e-15 | 9.7184e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8146e-15 | 9.2369e-15 | -9.8858e-16 | 7.7335e-17 | 1.1495e-14 | -2.1172e-15 | 2.7373e-15 | -1.3753e-14 | -5.1297e-15 | -5.552e-15 | -2.2581e-15 | 9.7184e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8358e-15 | 1.0248e-15 | 0 | -5.0682e-15 | 3.0325e-16 | 6.6329e-15 | -9.6335e-15 | 2.8077e-15 | 0 | 4.6659e-15 | -2.6561e-15 | -3.0635e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8358e-15 | 1.0248e-15 | 0 | -5.0682e-15 | 3.0325e-16 | 6.6329e-15 | -9.6335e-15 | 2.8077e-15 | 0 | 4.6659e-15 | -2.6561e-15 | -3.0635e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1447e-15 | -6.1863e-15 | -4.9427e-16 | 4.6363e-17 | 8.9773e-15 | -1.1551e-15 | 2.4053e-15 | 2.3744e-15 | -4.7432e-15 | -2.3821e-15 | -2.4994e-15 | 1.6084e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1447e-15 | -6.1863e-15 | -4.9427e-16 | 4.6363e-17 | 8.9773e-15 | -1.1551e-15 | 2.4053e-15 | 2.3744e-15 | -4.7432e-15 | -2.3821e-15 | -2.4994e-15 | 1.6084e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7839 | 0.96104 | 0.87703 | 1.7809 | 0.96422 | 0.87959 | 20.5984 | 11.0972 | 10.1271 | 20.564 | 11.1338 | 10.1567 | 1.6621 | -9.5084 | 14.949 | 8.6908e-11 | 10.0218 | -14.5895 | 1.8756 | 11.6319 | 2.8347 | -6.8069e-11 | -11.1197 | -2.4177 | -72.6985 | 93.0386 | 123.1961 | 107.3382 | -86.9834 | -56.9286 |  | 0.12166 | 1.3538 | 1.5024 | 0 | 1.3445 | 1.456 | -24.2455 | -137.6975 | 133.9332 | 0 | -134.9562 | 132.4805
Line_1 | 1.1518 | 0.48495 | 0.44231 | 1.1489 | 0.48211 | 0.4398 | 13.2993 | 5.5997 | 5.1074 | 13.2669 | 5.5669 | 5.0783 | 3.1689 | 6.1171 | -6.239 | 5.7645e-11 | -5.0109 | 7.2948 | 1.5112 | -4.935 | -1.1452 | -4.1825e-11 | 5.5599 | 1.2088 | -74.7927 | -86.9707 | -57.101 | 105.232 | 93.0166 | 123.0714 |  | 0.26398 | 1.4036 | 1.242 | 0 | 1.3445 | 1.456 | -49.2973 | -125.8654 | 133.2999 | 0 | -134.9562 | 132.4805
Line_2 | 1.1518 | 0.48495 | 0.44231 | 1.1489 | 0.48211 | 0.4398 | 13.2993 | 5.5997 | 5.1074 | 13.2669 | 5.5669 | 5.0783 | 3.1689 | 6.1171 | -6.239 | 5.7645e-11 | -5.0109 | 7.2948 | 1.5112 | -4.935 | -1.1452 | -4.1825e-11 | 5.5599 | 1.2088 | -74.7927 | -86.9707 | -57.101 | 105.232 | 93.0166 | 123.0714 |  | 0.26398 | 1.4036 | 1.242 | 0 | 1.3445 | 1.456 | -49.2973 | -125.8654 | 133.2999 | 0 | -134.9562 | 132.4805
Line_3 | 0.0012897 | 0.0012897 | 0.0012897 | 0.0012897 | 0.0012897 | 0.0012897 | 0.014892 | 0.014892 | 0.014892 | 0.014892 | 0.014892 | 0.014892 | 0.0035745 | 0.012877 | -0.016451 | 0.0035745 | 0.012877 | -0.016451 | 0.0016363 | -0.016465 | -0.0084525 | 0.0016363 | -0.016465 | -0.0084525 | -73.8939 | -73.8939 | -73.8939 | -73.8939 | -73.8939 | -73.8939 |  | 0.26398 | 1.4036 | 1.242 | 0.26398 | 1.4036 | 1.242 | -49.2973 | -125.8654 | 133.2999 | -49.2973 | -125.8654 | 133.2999

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7839 | 0.96104 | 0.87703 | 1.7809 | 0.96422 | 0.87959 | 20.5984 | 11.0972 | 10.1271 | 20.564 | 11.1338 | 10.1567 | 1.6621 | -9.5084 | 14.949 | 8.6908e-11 | 10.0218 | -14.5895 | 1.8756 | 11.6319 | 2.8347 | -6.8069e-11 | -11.1197 | -2.4177 | -72.6985 | 93.0386 | 123.1961 | 107.3382 | -86.9834 | -56.9286 |  | 0.12166 | 1.3538 | 1.5024 | 0 | 1.3445 | 1.456 | -24.2455 | -137.6975 | 133.9332 | 0 | -134.9562 | 132.4805
Line_1 | 1.1518 | 0.48495 | 0.44231 | 1.1489 | 0.48211 | 0.4398 | 13.2993 | 5.5997 | 5.1074 | 13.2669 | 5.5669 | 5.0783 | 3.1689 | 6.1171 | -6.239 | 5.7645e-11 | -5.0109 | 7.2948 | 1.5112 | -4.935 | -1.1452 | -4.1825e-11 | 5.5599 | 1.2088 | -74.7927 | -86.9707 | -57.101 | 105.232 | 93.0166 | 123.0714 |  | 0.26398 | 1.4036 | 1.242 | 0 | 1.3445 | 1.456 | -49.2973 | -125.8654 | 133.2999 | 0 | -134.9562 | 132.4805
Line_2 | 1.1518 | 0.48495 | 0.44231 | 1.1489 | 0.48211 | 0.4398 | 13.2993 | 5.5997 | 5.1074 | 13.2669 | 5.5669 | 5.0783 | 3.1689 | 6.1171 | -6.239 | 5.7645e-11 | -5.0109 | 7.2948 | 1.5112 | -4.935 | -1.1452 | -4.1825e-11 | 5.5599 | 1.2088 | -74.7927 | -86.9707 | -57.101 | 105.232 | 93.0166 | 123.0714 |  | 0.26398 | 1.4036 | 1.242 | 0 | 1.3445 | 1.456 | -49.2973 | -125.8654 | 133.2999 | 0 | -134.9562 | 132.4805
Line_3 | 0.0012897 | 0.0012897 | 0.0012897 | 0.0012897 | 0.0012897 | 0.0012897 | 0.014892 | 0.014892 | 0.014892 | 0.014892 | 0.014892 | 0.014892 | 0.0035745 | 0.012877 | -0.016451 | 0.0035745 | 0.012877 | -0.016451 | 0.0016363 | -0.016465 | -0.0084525 | 0.0016363 | -0.016465 | -0.0084525 | -73.8939 | -73.8939 | -73.8939 | -73.8939 | -73.8939 | -73.8939 |  | 0.26398 | 1.4036 | 1.242 | 0.26398 | 1.4036 | 1.242 | -49.2973 | -125.8654 | 133.2999 | -49.2973 | -125.8654 | 133.2999

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45145 | 0.21454 | 0.37936 | 0.45057 | 0.21549 | 0.37986 | 5.2129 | 2.4773 | 4.3805 | 5.2028 | 2.4883 | 4.3862 | 3.7222 | -2.7464 | 4.0261 | -3.6114 | 2.7796 | -3.9653 | 2.3544 | 1.3887 | -3.4712 | -2.2255 | -1.3732 | 3.5516 | -40.7792 | 81.9664 | 167.9161 | 139.2931 | -97.9198 | -12.2225 |  | 0.84489 | 1.2423 | 1.2135 | 0.81536 | 1.246 | 1.2136 | -8.4647 | -124.8569 | 127.1489 | -9.0636 | -124.2112 | 125.9277
Line_1 | 0.45049 | 0.10853 | 0.19049 | 0.44957 | 0.10775 | 0.18993 | 5.2019 | 1.2532 | 2.1996 | 5.1912 | 1.2442 | 2.1931 | 3.0425 | 1.4437 | -1.8514 | -2.6263 | -1.3898 | 1.9827 | 3.5704 | -0.623 | 1.7332 | -3.3193 | 0.68662 | -1.7758 | -60.7202 | -97.6535 | -12.4451 | 119.2887 | 82.0802 | 167.7775 |  | 0.90177 | 1.2547 | 1.1529 | 0.81536 | 1.246 | 1.2136 | -11.1566 | -120.9951 | 124.4435 | -9.0636 | -124.2112 | 125.9277
Line_2 | 0.45049 | 0.10853 | 0.19049 | 0.44957 | 0.10775 | 0.18993 | 5.2019 | 1.2532 | 2.1996 | 5.1912 | 1.2442 | 2.1931 | 3.0425 | 1.4437 | -1.8514 | -2.6263 | -1.3898 | 1.9827 | 3.5704 | -0.623 | 1.7332 | -3.3193 | 0.68662 | -1.7758 | -60.7202 | -97.6535 | -12.4451 | 119.2887 | 82.0802 | 167.7775 |  | 0.90177 | 1.2547 | 1.1529 | 0.81536 | 1.246 | 1.2136 | -11.1566 | -120.9951 | 124.4435 | -9.0636 | -124.2112 | 125.9277
Line_3 | 0.00042107 | 0.00042107 | 0.00042107 | 0.00042107 | 0.00042107 | 0.00042107 | 0.0048621 | 0.0048621 | 0.0048621 | 0.0048621 | 0.0048621 | 0.0048621 | 0.0032091 | 0.0023949 | -0.005604 | 0.0032091 | 0.0023949 | -0.005604 | 0.0029876 | -0.0056109 | 0.0001416 | 0.0029876 | -0.0056109 | 0.0001416 | -54.1091 | -54.1091 | -54.1091 | -54.1091 | -54.1091 | -54.1091 |  | 0.90177 | 1.2547 | 1.1529 | 0.90177 | 1.2547 | 1.1529 | -11.1566 | -120.9951 | 124.4435 | -11.1566 | -120.9951 | 124.4435

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45145 | 0.21454 | 0.37936 | 0.45057 | 0.21549 | 0.37986 | 5.2129 | 2.4773 | 4.3805 | 5.2028 | 2.4883 | 4.3862 | 3.7222 | -2.7464 | 4.0261 | -3.6114 | 2.7796 | -3.9653 | 2.3544 | 1.3887 | -3.4712 | -2.2255 | -1.3732 | 3.5516 | -40.7792 | 81.9664 | 167.9161 | 139.2931 | -97.9198 | -12.2225 |  | 0.84489 | 1.2423 | 1.2135 | 0.81536 | 1.246 | 1.2136 | -8.4647 | -124.8569 | 127.1489 | -9.0636 | -124.2112 | 125.9277
Line_1 | 0.45049 | 0.10853 | 0.19049 | 0.44957 | 0.10775 | 0.18993 | 5.2019 | 1.2532 | 2.1996 | 5.1912 | 1.2442 | 2.1931 | 3.0425 | 1.4437 | -1.8514 | -2.6263 | -1.3898 | 1.9827 | 3.5704 | -0.623 | 1.7332 | -3.3193 | 0.68662 | -1.7758 | -60.7202 | -97.6535 | -12.4451 | 119.2887 | 82.0802 | 167.7775 |  | 0.90177 | 1.2547 | 1.1529 | 0.81536 | 1.246 | 1.2136 | -11.1566 | -120.9951 | 124.4435 | -9.0636 | -124.2112 | 125.9277
Line_2 | 0.45049 | 0.10853 | 0.19049 | 0.44957 | 0.10775 | 0.18993 | 5.2019 | 1.2532 | 2.1996 | 5.1912 | 1.2442 | 2.1931 | 3.0425 | 1.4437 | -1.8514 | -2.6263 | -1.3898 | 1.9827 | 3.5704 | -0.623 | 1.7332 | -3.3193 | 0.68662 | -1.7758 | -60.7202 | -97.6535 | -12.4451 | 119.2887 | 82.0802 | 167.7775 |  | 0.90177 | 1.2547 | 1.1529 | 0.81536 | 1.246 | 1.2136 | -11.1566 | -120.9951 | 124.4435 | -9.0636 | -124.2112 | 125.9277
Line_3 | 0.00042107 | 0.00042107 | 0.00042107 | 0.00042107 | 0.00042107 | 0.00042107 | 0.0048621 | 0.0048621 | 0.0048621 | 0.0048621 | 0.0048621 | 0.0048621 | 0.0032091 | 0.0023949 | -0.005604 | 0.0032091 | 0.0023949 | -0.005604 | 0.0029876 | -0.0056109 | 0.0001416 | 0.0029876 | -0.0056109 | 0.0001416 | -54.1091 | -54.1091 | -54.1091 | -54.1091 | -54.1091 | -54.1091 |  | 0.90177 | 1.2547 | 1.1529 | 0.90177 | 1.2547 | 1.1529 | -11.1566 | -120.9951 | 124.4435 | -11.1566 | -120.9951 | 124.4435

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5901 | 0.84614 | 0.73838 | 1.5879 | 0.84839 | 0.7405 | 18.3612 | 9.7704 | 8.5261 | 18.3358 | 9.7964 | 8.5506 | 2.5338 | -1.6684 | 11.6814 | -4.3509e-11 | 2.4063 | -11.1694 | 1.4851 | 11.1075 | 1.8338 | 7.4067e-13 | -10.7052 | -1.5415 | -58.9934 | 119.315 | 123.3622 | 121.0712 | -60.8016 | -56.7833 |  | 0.15995 | 1.1496 | 1.3869 | 0 | 1.12 | 1.3187 | -28.6186 | -142.1426 | 132.2839 | 0 | -138.1334 | 131.0745
Line_1 | 0.87986 | 0.42628 | 0.37227 | 0.87773 | 0.4242 | 0.37025 | 10.1597 | 4.9223 | 4.2986 | 10.1352 | 4.8982 | 4.2753 | 3.7456 | 2.8529 | -4.1985 | -2.4002e-11 | -1.2031 | 5.5847 | 1.0028 | -5.0747 | -0.627 | -1.5685e-12 | 5.3526 | 0.77076 | -63.6929 | -60.919 | -56.9399 | 116.3571 | 119.1984 | 123.2167 |  | 0.38166 | 1.1827 | 0.98753 | 0 | 1.12 | 1.3187 | -48.7047 | -121.5753 | 131.5539 | 0 | -138.1334 | 131.0745
Line_2 | 0.87986 | 0.42628 | 0.37227 | 0.87773 | 0.4242 | 0.37025 | 10.1597 | 4.9223 | 4.2986 | 10.1352 | 4.8982 | 4.2753 | 3.7456 | 2.8529 | -4.1985 | -2.4002e-11 | -1.2031 | 5.5847 | 1.0028 | -5.0747 | -0.627 | -1.5685e-12 | 5.3526 | 0.77076 | -63.6929 | -60.919 | -56.9399 | 116.3571 | 119.1984 | 123.2167 |  | 0.38166 | 1.1827 | 0.98753 | 0 | 1.12 | 1.3187 | -48.7047 | -121.5753 | 131.5539 | 0 | -138.1334 | 131.0745
Line_3 | 0.00095991 | 0.00095991 | 0.00095991 | 0.00095991 | 0.00095991 | 0.00095991 | 0.011084 | 0.011084 | 0.011084 | 0.011084 | 0.011084 | 0.011084 | 0.0041254 | 0.006538 | -0.010663 | 0.0041254 | 0.006538 | -0.010663 | 0.00093626 | -0.011362 | -0.0024707 | 0.00093626 | -0.011362 | -0.0024707 | -61.4914 | -61.4914 | -61.4914 | -61.4914 | -61.4914 | -61.4914 |  | 0.38166 | 1.1827 | 0.98753 | 0.38166 | 1.1827 | 0.98753 | -48.7047 | -121.5753 | 131.5539 | -48.7047 | -121.5753 | 131.5539

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5901 | 0.84614 | 0.73838 | 1.5879 | 0.84839 | 0.7405 | 18.3612 | 9.7704 | 8.5261 | 18.3358 | 9.7964 | 8.5506 | 2.5338 | -1.6684 | 11.6814 | -4.3509e-11 | 2.4063 | -11.1694 | 1.4851 | 11.1075 | 1.8338 | 7.4067e-13 | -10.7052 | -1.5415 | -58.9934 | 119.315 | 123.3622 | 121.0712 | -60.8016 | -56.7833 |  | 0.15995 | 1.1496 | 1.3869 | 0 | 1.12 | 1.3187 | -28.6186 | -142.1426 | 132.2839 | 0 | -138.1334 | 131.0745
Line_1 | 0.87986 | 0.42628 | 0.37227 | 0.87773 | 0.4242 | 0.37025 | 10.1597 | 4.9223 | 4.2986 | 10.1352 | 4.8982 | 4.2753 | 3.7456 | 2.8529 | -4.1985 | -2.4002e-11 | -1.2031 | 5.5847 | 1.0028 | -5.0747 | -0.627 | -1.5685e-12 | 5.3526 | 0.77076 | -63.6929 | -60.919 | -56.9399 | 116.3571 | 119.1984 | 123.2167 |  | 0.38166 | 1.1827 | 0.98753 | 0 | 1.12 | 1.3187 | -48.7047 | -121.5753 | 131.5539 | 0 | -138.1334 | 131.0745
Line_2 | 0.87986 | 0.42628 | 0.37227 | 0.87773 | 0.4242 | 0.37025 | 10.1597 | 4.9223 | 4.2986 | 10.1352 | 4.8982 | 4.2753 | 3.7456 | 2.8529 | -4.1985 | -2.4002e-11 | -1.2031 | 5.5847 | 1.0028 | -5.0747 | -0.627 | -1.5685e-12 | 5.3526 | 0.77076 | -63.6929 | -60.919 | -56.9399 | 116.3571 | 119.1984 | 123.2167 |  | 0.38166 | 1.1827 | 0.98753 | 0 | 1.12 | 1.3187 | -48.7047 | -121.5753 | 131.5539 | 0 | -138.1334 | 131.0745
Line_3 | 0.00095991 | 0.00095991 | 0.00095991 | 0.00095991 | 0.00095991 | 0.00095991 | 0.011084 | 0.011084 | 0.011084 | 0.011084 | 0.011084 | 0.011084 | 0.0041254 | 0.006538 | -0.010663 | 0.0041254 | 0.006538 | -0.010663 | 0.00093626 | -0.011362 | -0.0024707 | 0.00093626 | -0.011362 | -0.0024707 | -61.4914 | -61.4914 | -61.4914 | -61.4914 | -61.4914 | -61.4914 |  | 0.38166 | 1.1827 | 0.98753 | 0.38166 | 1.1827 | 0.98753 | -48.7047 | -121.5753 | 131.5539 | -48.7047 | -121.5753 | 131.5539

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.52684 | 0.28035 | 0.24464 | 0.52612 | 0.28109 | 0.24535 | 6.0835 | 3.2372 | 2.8249 | 6.0751 | 3.2458 | 2.833 | 3.3138 | -0.72438 | 3.0842 | -3.0346 | 0.81115 | -3.0348 | 2.9534 | 3.3456 | -0.4462 | -2.7831 | -3.306 | 0.47555 | -47.9583 | 130.3501 | 134.3973 | 132.1063 | -49.7665 | -45.7482 |  | 0.72966 | 1.0574 | 1.1031 | 0.67778 | 1.0488 | 1.0843 | -6.2494 | -127.433 | 126.1652 | -5.3689 | -125.9808 | 125.3459
Line_1 | 0.29152 | 0.14124 | 0.12334 | 0.29081 | 0.14055 | 0.12267 | 3.3661 | 1.6309 | 1.4242 | 3.358 | 1.6229 | 1.4165 | 1.9587 | 0.59021 | -1.371 | -1.5453 | -0.40558 | 1.5174 | 1.7865 | -1.6271 | 0.25283 | -1.671 | 1.653 | -0.23778 | -52.6579 | -49.8839 | -45.9048 | 127.3922 | 130.2335 | 134.2518 |  | 0.78757 | 1.0613 | 0.97888 | 0.67778 | 1.0488 | 1.0843 | -10.2908 | -119.9468 | 123.6468 | -5.3689 | -125.9808 | 125.3459
Line_2 | 0.29152 | 0.14124 | 0.12334 | 0.29081 | 0.14055 | 0.12267 | 3.3661 | 1.6309 | 1.4242 | 3.358 | 1.6229 | 1.4165 | 1.9587 | 0.59021 | -1.371 | -1.5453 | -0.40558 | 1.5174 | 1.7865 | -1.6271 | 0.25283 | -1.671 | 1.653 | -0.23778 | -52.6579 | -49.8839 | -45.9048 | 127.3922 | 130.2335 | 134.2518 |  | 0.78757 | 1.0613 | 0.97888 | 0.67778 | 1.0488 | 1.0843 | -10.2908 | -119.9468 | 123.6468 | -5.3689 | -125.9808 | 125.3459
Line_3 | 0.00031804 | 0.00031804 | 0.00031804 | 0.00031804 | 0.00031804 | 0.00031804 | 0.0036724 | 0.0036724 | 0.0036724 | 0.0036724 | 0.0036724 | 0.0036724 | 0.0022102 | 0.0013656 | -0.0035758 | 0.0022102 | 0.0013656 | -0.0035758 | 0.0018655 | -0.0036506 | 0.00036933 | 0.0018655 | -0.0036506 | 0.00036933 | -50.4563 | -50.4563 | -50.4563 | -50.4563 | -50.4563 | -50.4563 |  | 0.78757 | 1.0613 | 0.97888 | 0.78757 | 1.0613 | 0.97888 | -10.2908 | -119.9468 | 123.6468 | -10.2908 | -119.9468 | 123.6468

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.52684 | 0.28035 | 0.24464 | 0.52612 | 0.28109 | 0.24535 | 6.0835 | 3.2372 | 2.8249 | 6.0751 | 3.2458 | 2.833 | 3.3138 | -0.72438 | 3.0842 | -3.0346 | 0.81115 | -3.0348 | 2.9534 | 3.3456 | -0.4462 | -2.7831 | -3.306 | 0.47555 | -47.9583 | 130.3501 | 134.3973 | 132.1063 | -49.7665 | -45.7482 |  | 0.72966 | 1.0574 | 1.1031 | 0.67778 | 1.0488 | 1.0843 | -6.2494 | -127.433 | 126.1652 | -5.3689 | -125.9808 | 125.3459
Line_1 | 0.29152 | 0.14124 | 0.12334 | 0.29081 | 0.14055 | 0.12267 | 3.3661 | 1.6309 | 1.4242 | 3.358 | 1.6229 | 1.4165 | 1.9587 | 0.59021 | -1.371 | -1.5453 | -0.40558 | 1.5174 | 1.7865 | -1.6271 | 0.25283 | -1.671 | 1.653 | -0.23778 | -52.6579 | -49.8839 | -45.9048 | 127.3922 | 130.2335 | 134.2518 |  | 0.78757 | 1.0613 | 0.97888 | 0.67778 | 1.0488 | 1.0843 | -10.2908 | -119.9468 | 123.6468 | -5.3689 | -125.9808 | 125.3459
Line_2 | 0.29152 | 0.14124 | 0.12334 | 0.29081 | 0.14055 | 0.12267 | 3.3661 | 1.6309 | 1.4242 | 3.358 | 1.6229 | 1.4165 | 1.9587 | 0.59021 | -1.371 | -1.5453 | -0.40558 | 1.5174 | 1.7865 | -1.6271 | 0.25283 | -1.671 | 1.653 | -0.23778 | -52.6579 | -49.8839 | -45.9048 | 127.3922 | 130.2335 | 134.2518 |  | 0.78757 | 1.0613 | 0.97888 | 0.67778 | 1.0488 | 1.0843 | -10.2908 | -119.9468 | 123.6468 | -5.3689 | -125.9808 | 125.3459
Line_3 | 0.00031804 | 0.00031804 | 0.00031804 | 0.00031804 | 0.00031804 | 0.00031804 | 0.0036724 | 0.0036724 | 0.0036724 | 0.0036724 | 0.0036724 | 0.0036724 | 0.0022102 | 0.0013656 | -0.0035758 | 0.0022102 | 0.0013656 | -0.0035758 | 0.0018655 | -0.0036506 | 0.00036933 | 0.0018655 | -0.0036506 | 0.00036933 | -50.4563 | -50.4563 | -50.4563 | -50.4563 | -50.4563 | -50.4563 |  | 0.78757 | 1.0613 | 0.97888 | 0.78757 | 1.0613 | 0.97888 | -10.2908 | -119.9468 | 123.6468 | -10.2908 | -119.9468 | 123.6468

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44644 | 3.693 | 3.739 | 0.44887 | 3.6934 | 3.7384 | 5.1551 | 42.6434 | 43.1743 | 5.1831 | 42.6473 | 43.167 | 0.87388 | 7.0916 | 7.2715 | -0.77171 | 8.6999e-11 | 1.1418e-10 | 7.6979 | 8.0347 | 8.2603 | -7.6219 | -7.7926e-11 | 1.9509e-11 | -83.5138 | -171.2835 | 15.6807 | 96.4548 | 8.7539 | -164.3554 |  | 1.5029 | 0.25131 | 0.2549 | 1.4781 | 0 | 0 | 0.0095923 | -122.7161 | 64.3234 | 0.67338 | 0 | 0
Line_1 | 0.2266 | 1.1275 | 0.9285 | 0.22443 | 1.1263 | 0.9269 | 2.6166 | 13.0194 | 10.7214 | 2.5915 | 13.0055 | 10.703 | -0.026879 | 2.3343 | 1.0142 | 0.38586 | 3.5182e-11 | 2.4539e-11 | -3.6269 | -0.21191 | 1.9938 | 3.811 | -5.5503e-12 | -1.4925e-11 | 96.4838 | 155.7757 | 56.7397 | -83.5452 | -24.1324 | -123.3514 |  | 1.3862 | 0.18003 | 0.20865 | 1.4781 | 0 | 0 | 6.0591 | 150.5884 | 119.7776 | 0.67338 | 0 | 0
Line_2 | 0.2266 | 1.1275 | 0.9285 | 0.22443 | 1.1263 | 0.9269 | 2.6166 | 13.0194 | 10.7214 | 2.5915 | 13.0055 | 10.703 | -0.026879 | 2.3343 | 1.0142 | 0.38586 | 3.5182e-11 | 2.4539e-11 | -3.6269 | -0.21191 | 1.9938 | 3.811 | -5.5503e-12 | -1.4925e-11 | 96.4838 | 155.7757 | 56.7397 | -83.5452 | -24.1324 | -123.3514 |  | 1.3862 | 0.18003 | 0.20865 | 1.4781 | 0 | 0 | 6.0591 | 150.5884 | 119.7776 | 0.67338 | 0 | 0
Line_3 | 0.00098402 | 0.00098402 | 0.00098402 | 0.00098402 | 0.00098402 | 0.00098402 | 0.011363 | 0.011363 | 0.011363 | 0.011363 | 0.011363 | 0.011363 | -0.0039018 | 0.0015627 | 0.0023391 | -0.0039018 | 0.0015627 | 0.0023391 | -0.015259 | 0.00132 | 0.00038619 | -0.015259 | 0.00132 | 0.00038619 | 110.4023 | 110.4023 | 110.4023 | 110.4023 | 110.4023 | 110.4023 |  | 1.3862 | 0.18003 | 0.20865 | 1.3862 | 0.18003 | 0.20865 | 6.0591 | 150.5884 | 119.7776 | 6.0591 | 150.5884 | 119.7776

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44644 | 3.693 | 3.739 | 0.44887 | 3.6934 | 3.7384 | 5.1551 | 42.6434 | 43.1743 | 5.1831 | 42.6473 | 43.167 | 0.87388 | 7.0916 | 7.2715 | -0.77171 | 8.6999e-11 | 1.1418e-10 | 7.6979 | 8.0347 | 8.2603 | -7.6219 | -7.7926e-11 | 1.9509e-11 | -83.5138 | -171.2835 | 15.6807 | 96.4548 | 8.7539 | -164.3554 |  | 1.5029 | 0.25131 | 0.2549 | 1.4781 | 0 | 0 | 0.0095923 | -122.7161 | 64.3234 | 0.67338 | 0 | 0
Line_1 | 0.2266 | 1.1275 | 0.9285 | 0.22443 | 1.1263 | 0.9269 | 2.6166 | 13.0194 | 10.7214 | 2.5915 | 13.0055 | 10.703 | -0.026879 | 2.3343 | 1.0142 | 0.38586 | 3.5182e-11 | 2.4539e-11 | -3.6269 | -0.21191 | 1.9938 | 3.811 | -5.5503e-12 | -1.4925e-11 | 96.4838 | 155.7757 | 56.7397 | -83.5452 | -24.1324 | -123.3514 |  | 1.3862 | 0.18003 | 0.20865 | 1.4781 | 0 | 0 | 6.0591 | 150.5884 | 119.7776 | 0.67338 | 0 | 0
Line_2 | 0.2266 | 1.1275 | 0.9285 | 0.22443 | 1.1263 | 0.9269 | 2.6166 | 13.0194 | 10.7214 | 2.5915 | 13.0055 | 10.703 | -0.026879 | 2.3343 | 1.0142 | 0.38586 | 3.5182e-11 | 2.4539e-11 | -3.6269 | -0.21191 | 1.9938 | 3.811 | -5.5503e-12 | -1.4925e-11 | 96.4838 | 155.7757 | 56.7397 | -83.5452 | -24.1324 | -123.3514 |  | 1.3862 | 0.18003 | 0.20865 | 1.4781 | 0 | 0 | 6.0591 | 150.5884 | 119.7776 | 0.67338 | 0 | 0
Line_3 | 0.00098402 | 0.00098402 | 0.00098402 | 0.00098402 | 0.00098402 | 0.00098402 | 0.011363 | 0.011363 | 0.011363 | 0.011363 | 0.011363 | 0.011363 | -0.0039018 | 0.0015627 | 0.0023391 | -0.0039018 | 0.0015627 | 0.0023391 | -0.015259 | 0.00132 | 0.00038619 | -0.015259 | 0.00132 | 0.00038619 | 110.4023 | 110.4023 | 110.4023 | 110.4023 | 110.4023 | 110.4023 |  | 1.3862 | 0.18003 | 0.20865 | 1.3862 | 0.18003 | 0.20865 | 6.0591 | 150.5884 | 119.7776 | 6.0591 | 150.5884 | 119.7776

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.082081 | 0.79638 | 0.7489 | 0.082484 | 0.79679 | 0.74842 | 0.94779 | 9.1958 | 8.6476 | 0.95245 | 9.2006 | 8.642 | 1.191 | 7.9592 | 4.0812 | -1.191 | -7.6359 | -3.7796 | 0.23077 | 2.4896 | 6.9705 | -0.24015 | -2.1094 | -6.6385 | -9.3824 | -138.3836 | 46.6976 | 170.0251 | 41.6773 | -133.3641 |  | 1.28 | 0.90688 | 0.93406 | 1.2756 | 0.86102 | 0.88394 | 1.5835 | -121.0138 | 106.3484 | 1.4255 | -122.8802 | 106.9809
Line_1 | 0.041722 | 0.40761 | 0.37488 | 0.041242 | 0.40706 | 0.37421 | 0.48176 | 4.7067 | 4.3287 | 0.47622 | 4.7003 | 4.321 | -0.57511 | 1.4556 | 3.5115 | 0.59548 | -1.1244 | -3.3192 | -0.14345 | 3.8905 | 2.1933 | 0.12007 | -3.8877 | -1.8898 | 169.0754 | 163.1625 | 77.4034 | -9.9749 | -16.7488 | -102.6739 |  | 1.2303 | 0.88256 | 0.95645 | 1.2756 | 0.86102 | 0.88394 | 3.0811 | -127.3507 | 109.3922 | 1.4255 | -122.8802 | 106.9809
Line_2 | 0.041722 | 0.40761 | 0.37488 | 0.041242 | 0.40706 | 0.37421 | 0.48176 | 4.7067 | 4.3287 | 0.47622 | 4.7003 | 4.321 | -0.57511 | 1.4556 | 3.5115 | 0.59548 | -1.1244 | -3.3192 | -0.14345 | 3.8905 | 2.1933 | 0.12007 | -3.8877 | -1.8898 | 169.0754 | 163.1625 | 77.4034 | -9.9749 | -16.7488 | -102.6739 |  | 1.2303 | 0.88256 | 0.95645 | 1.2756 | 0.86102 | 0.88394 | 3.0811 | -127.3507 | 109.3922 | 1.4255 | -122.8802 | 106.9809
Line_3 | 0.00038 | 0.00038 | 0.00038 | 0.00038 | 0.00038 | 0.00038 | 0.0043879 | 0.0043879 | 0.0043879 | 0.0043879 | 0.0043879 | 0.0043879 | -0.0028851 | -0.0011492 | 0.0040344 | -0.0028851 | -0.0011492 | 0.0040344 | -0.0045629 | 0.0036981 | -0.0011564 | -0.0045629 | 0.0036981 | -0.0011564 | 125.3862 | 125.3862 | 125.3862 | 125.3862 | 125.3862 | 125.3862 |  | 1.2303 | 0.88256 | 0.95645 | 1.2303 | 0.88256 | 0.95645 | 3.0811 | -127.3507 | 109.3922 | 3.0811 | -127.3507 | 109.3922

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.082081 | 0.79638 | 0.7489 | 0.082484 | 0.79679 | 0.74842 | 0.94779 | 9.1958 | 8.6476 | 0.95245 | 9.2006 | 8.642 | 1.191 | 7.9592 | 4.0812 | -1.191 | -7.6359 | -3.7796 | 0.23077 | 2.4896 | 6.9705 | -0.24015 | -2.1094 | -6.6385 | -9.3824 | -138.3836 | 46.6976 | 170.0251 | 41.6773 | -133.3641 |  | 1.28 | 0.90688 | 0.93406 | 1.2756 | 0.86102 | 0.88394 | 1.5835 | -121.0138 | 106.3484 | 1.4255 | -122.8802 | 106.9809
Line_1 | 0.041722 | 0.40761 | 0.37488 | 0.041242 | 0.40706 | 0.37421 | 0.48176 | 4.7067 | 4.3287 | 0.47622 | 4.7003 | 4.321 | -0.57511 | 1.4556 | 3.5115 | 0.59548 | -1.1244 | -3.3192 | -0.14345 | 3.8905 | 2.1933 | 0.12007 | -3.8877 | -1.8898 | 169.0754 | 163.1625 | 77.4034 | -9.9749 | -16.7488 | -102.6739 |  | 1.2303 | 0.88256 | 0.95645 | 1.2756 | 0.86102 | 0.88394 | 3.0811 | -127.3507 | 109.3922 | 1.4255 | -122.8802 | 106.9809
Line_2 | 0.041722 | 0.40761 | 0.37488 | 0.041242 | 0.40706 | 0.37421 | 0.48176 | 4.7067 | 4.3287 | 0.47622 | 4.7003 | 4.321 | -0.57511 | 1.4556 | 3.5115 | 0.59548 | -1.1244 | -3.3192 | -0.14345 | 3.8905 | 2.1933 | 0.12007 | -3.8877 | -1.8898 | 169.0754 | 163.1625 | 77.4034 | -9.9749 | -16.7488 | -102.6739 |  | 1.2303 | 0.88256 | 0.95645 | 1.2756 | 0.86102 | 0.88394 | 3.0811 | -127.3507 | 109.3922 | 1.4255 | -122.8802 | 106.9809
Line_3 | 0.00038 | 0.00038 | 0.00038 | 0.00038 | 0.00038 | 0.00038 | 0.0043879 | 0.0043879 | 0.0043879 | 0.0043879 | 0.0043879 | 0.0043879 | -0.0028851 | -0.0011492 | 0.0040344 | -0.0028851 | -0.0011492 | 0.0040344 | -0.0045629 | 0.0036981 | -0.0011564 | -0.0045629 | 0.0036981 | -0.0011564 | 125.3862 | 125.3862 | 125.3862 | 125.3862 | 125.3862 | 125.3862 |  | 1.2303 | 0.88256 | 0.95645 | 1.2303 | 0.88256 | 0.95645 | 3.0811 | -127.3507 | 109.3922 | 3.0811 | -127.3507 | 109.3922

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49625 | 3.1504 | 3.1077 | 0.49817 | 3.1511 | 3.1068 | 5.7302 | 36.3782 | 35.8851 | 5.7523 | 36.3853 | 35.8745 | 3.535 | 9.9055 | 9.6491 | -3.2916 | -1.0716e-10 | -6.2903e-12 | 6.7873 | 5.8392 | 5.7139 | -6.6728 | -7.9757e-11 | -1.3359e-10 | -64.4532 | -164.2253 | 24.9434 | 115.438 | 15.8119 | -155.0921 |  | 1.3355 | 0.31608 | 0.3125 | 1.2935 | 0 | 0 | -1.9648 | -133.7063 | 55.5762 | -0.81867 | 0 | 0
Line_1 | 0.25075 | 0.9674 | 0.61985 | 0.24908 | 0.96657 | 0.6186 | 2.8954 | 11.1706 | 7.1574 | 2.8762 | 11.161 | 7.143 | -0.97563 | 3.0856 | 0.84869 | 1.6458 | -1.5651e-11 | -1.6648e-11 | -3.1151 | -0.72467 | 1.7606 | 3.3364 | -3.7869e-11 | -2.0783e-11 | 115.3602 | 164.8381 | 61.0154 | -64.562 | -15.0737 | -119.0919 |  | 1.1274 | 0.28374 | 0.27307 | 1.2935 | 0 | 0 | 7.9698 | 151.6213 | 125.2788 | -0.81867 | 0 | 0
Line_2 | 0.25075 | 0.9674 | 0.61985 | 0.24908 | 0.96657 | 0.6186 | 2.8954 | 11.1706 | 7.1574 | 2.8762 | 11.161 | 7.143 | -0.97563 | 3.0856 | 0.84869 | 1.6458 | -1.5651e-11 | -1.6648e-11 | -3.1151 | -0.72467 | 1.7606 | 3.3364 | -3.7869e-11 | -2.0783e-11 | 115.3602 | 164.8381 | 61.0154 | -64.562 | -15.0737 | -119.0919 |  | 1.1274 | 0.28374 | 0.27307 | 1.2935 | 0 | 0 | 7.9698 | 151.6213 | 125.2788 | -0.81867 | 0 | 0
Line_3 | 0.00072259 | 0.00072259 | 0.00072259 | 0.00072259 | 0.00072259 | 0.00072259 | 0.0083438 | 0.0083438 | 0.0083438 | 0.0083438 | 0.0083438 | 0.0083438 | -0.0044119 | 0.0021336 | 0.0022783 | -0.0044119 | 0.0021336 | 0.0022783 | -0.0083079 | 0.001026 | -2.6295e-05 | -0.0083079 | 0.001026 | -2.6295e-05 | 125.9401 | 125.9401 | 125.9401 | 125.9401 | 125.9401 | 125.9401 |  | 1.1274 | 0.28374 | 0.27307 | 1.1274 | 0.28374 | 0.27307 | 7.9698 | 151.6213 | 125.2788 | 7.9698 | 151.6213 | 125.2788

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49625 | 3.1504 | 3.1077 | 0.49817 | 3.1511 | 3.1068 | 5.7302 | 36.3782 | 35.8851 | 5.7523 | 36.3853 | 35.8745 | 3.535 | 9.9055 | 9.6491 | -3.2916 | -1.0716e-10 | -6.2903e-12 | 6.7873 | 5.8392 | 5.7139 | -6.6728 | -7.9757e-11 | -1.3359e-10 | -64.4532 | -164.2253 | 24.9434 | 115.438 | 15.8119 | -155.0921 |  | 1.3355 | 0.31608 | 0.3125 | 1.2935 | 0 | 0 | -1.9648 | -133.7063 | 55.5762 | -0.81867 | 0 | 0
Line_1 | 0.25075 | 0.9674 | 0.61985 | 0.24908 | 0.96657 | 0.6186 | 2.8954 | 11.1706 | 7.1574 | 2.8762 | 11.161 | 7.143 | -0.97563 | 3.0856 | 0.84869 | 1.6458 | -1.5651e-11 | -1.6648e-11 | -3.1151 | -0.72467 | 1.7606 | 3.3364 | -3.7869e-11 | -2.0783e-11 | 115.3602 | 164.8381 | 61.0154 | -64.562 | -15.0737 | -119.0919 |  | 1.1274 | 0.28374 | 0.27307 | 1.2935 | 0 | 0 | 7.9698 | 151.6213 | 125.2788 | -0.81867 | 0 | 0
Line_2 | 0.25075 | 0.9674 | 0.61985 | 0.24908 | 0.96657 | 0.6186 | 2.8954 | 11.1706 | 7.1574 | 2.8762 | 11.161 | 7.143 | -0.97563 | 3.0856 | 0.84869 | 1.6458 | -1.5651e-11 | -1.6648e-11 | -3.1151 | -0.72467 | 1.7606 | 3.3364 | -3.7869e-11 | -2.0783e-11 | 115.3602 | 164.8381 | 61.0154 | -64.562 | -15.0737 | -119.0919 |  | 1.1274 | 0.28374 | 0.27307 | 1.2935 | 0 | 0 | 7.9698 | 151.6213 | 125.2788 | -0.81867 | 0 | 0
Line_3 | 0.00072259 | 0.00072259 | 0.00072259 | 0.00072259 | 0.00072259 | 0.00072259 | 0.0083438 | 0.0083438 | 0.0083438 | 0.0083438 | 0.0083438 | 0.0083438 | -0.0044119 | 0.0021336 | 0.0022783 | -0.0044119 | 0.0021336 | 0.0022783 | -0.0083079 | 0.001026 | -2.6295e-05 | -0.0083079 | 0.001026 | -2.6295e-05 | 125.9401 | 125.9401 | 125.9401 | 125.9401 | 125.9401 | 125.9401 |  | 1.1274 | 0.28374 | 0.27307 | 1.1274 | 0.28374 | 0.27307 | 7.9698 | 151.6213 | 125.2788 | 7.9698 | 151.6213 | 125.2788

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21714 | 0.77043 | 0.79376 | 0.21786 | 0.77082 | 0.79318 | 2.5073 | 8.8961 | 9.1656 | 2.5157 | 8.9007 | 9.1588 | 1.6343 | 6.4837 | 3.9353 | -1.5884 | -5.8977 | -3.2984 | 2.3147 | 3.3973 | 6.0982 | -2.2974 | -3.0445 | -5.7235 | -55.3364 | -147.634 | 48.3957 | 124.5524 | 32.421 | -131.6479 |  | 1.1301 | 0.82281 | 0.79184 | 1.1103 | 0.74569 | 0.72125 | -0.55984 | -119.9807 | 105.5604 | -0.10805 | -120.2757 | 108.3976
Line_1 | 0.10958 | 0.26892 | 0.23084 | 0.10893 | 0.26858 | 0.23021 | 1.2653 | 3.1052 | 2.6655 | 1.2578 | 3.1013 | 2.6582 | -0.67744 | 1.0645 | 2.0306 | 0.79421 | -0.75817 | -1.8189 | -1.1212 | 2.0975 | 0.8154 | 1.1487 | -2.1848 | -0.60631 | 124.4589 | 168.7391 | 90.0161 | -55.4476 | -11.1377 | -90.0382 |  | 1.0353 | 0.7575 | 0.82093 | 1.1103 | 0.74569 | 0.72125 | 3.3183 | -128.1688 | 111.8941 | -0.10805 | -120.2757 | 108.3976
Line_2 | 0.10958 | 0.26892 | 0.23084 | 0.10893 | 0.26858 | 0.23021 | 1.2653 | 3.1052 | 2.6655 | 1.2578 | 3.1013 | 2.6582 | -0.67744 | 1.0645 | 2.0306 | 0.79421 | -0.75817 | -1.8189 | -1.1212 | 2.0975 | 0.8154 | 1.1487 | -2.1848 | -0.60631 | 124.4589 | 168.7391 | 90.0161 | -55.4476 | -11.1377 | -90.0382 |  | 1.0353 | 0.7575 | 0.82093 | 1.1103 | 0.74569 | 0.72125 | 3.3183 | -128.1688 | 111.8941 | -0.10805 | -120.2757 | 108.3976
Line_3 | 0.00028386 | 0.00028386 | 0.00028386 | 0.00028386 | 0.00028386 | 0.00028386 | 0.0032777 | 0.0032777 | 0.0032777 | 0.0032777 | 0.0032777 | 0.0032777 | -0.0020782 | -0.00046304 | 0.0025413 | -0.0020782 | -0.00046304 | 0.0025413 | -0.0026827 | 0.0024393 | -0.0008844 | -0.0026827 | 0.0024393 | -0.0008844 | 131.0828 | 131.0828 | 131.0828 | 131.0828 | 131.0828 | 131.0828 |  | 1.0353 | 0.7575 | 0.82093 | 1.0353 | 0.7575 | 0.82093 | 3.3183 | -128.1688 | 111.8941 | 3.3183 | -128.1688 | 111.8941

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21714 | 0.77043 | 0.79376 | 0.21786 | 0.77082 | 0.79318 | 2.5073 | 8.8961 | 9.1656 | 2.5157 | 8.9007 | 9.1588 | 1.6343 | 6.4837 | 3.9353 | -1.5884 | -5.8977 | -3.2984 | 2.3147 | 3.3973 | 6.0982 | -2.2974 | -3.0445 | -5.7235 | -55.3364 | -147.634 | 48.3957 | 124.5524 | 32.421 | -131.6479 |  | 1.1301 | 0.82281 | 0.79184 | 1.1103 | 0.74569 | 0.72125 | -0.55984 | -119.9807 | 105.5604 | -0.10805 | -120.2757 | 108.3976
Line_1 | 0.10958 | 0.26892 | 0.23084 | 0.10893 | 0.26858 | 0.23021 | 1.2653 | 3.1052 | 2.6655 | 1.2578 | 3.1013 | 2.6582 | -0.67744 | 1.0645 | 2.0306 | 0.79421 | -0.75817 | -1.8189 | -1.1212 | 2.0975 | 0.8154 | 1.1487 | -2.1848 | -0.60631 | 124.4589 | 168.7391 | 90.0161 | -55.4476 | -11.1377 | -90.0382 |  | 1.0353 | 0.7575 | 0.82093 | 1.1103 | 0.74569 | 0.72125 | 3.3183 | -128.1688 | 111.8941 | -0.10805 | -120.2757 | 108.3976
Line_2 | 0.10958 | 0.26892 | 0.23084 | 0.10893 | 0.26858 | 0.23021 | 1.2653 | 3.1052 | 2.6655 | 1.2578 | 3.1013 | 2.6582 | -0.67744 | 1.0645 | 2.0306 | 0.79421 | -0.75817 | -1.8189 | -1.1212 | 2.0975 | 0.8154 | 1.1487 | -2.1848 | -0.60631 | 124.4589 | 168.7391 | 90.0161 | -55.4476 | -11.1377 | -90.0382 |  | 1.0353 | 0.7575 | 0.82093 | 1.1103 | 0.74569 | 0.72125 | 3.3183 | -128.1688 | 111.8941 | -0.10805 | -120.2757 | 108.3976
Line_3 | 0.00028386 | 0.00028386 | 0.00028386 | 0.00028386 | 0.00028386 | 0.00028386 | 0.0032777 | 0.0032777 | 0.0032777 | 0.0032777 | 0.0032777 | 0.0032777 | -0.0020782 | -0.00046304 | 0.0025413 | -0.0020782 | -0.00046304 | 0.0025413 | -0.0026827 | 0.0024393 | -0.0008844 | -0.0026827 | 0.0024393 | -0.0008844 | 131.0828 | 131.0828 | 131.0828 | 131.0828 | 131.0828 | 131.0828 |  | 1.0353 | 0.7575 | 0.82093 | 1.0353 | 0.7575 | 0.82093 | 3.3183 | -128.1688 | 111.8941 | 3.3183 | -128.1688 | 111.8941