## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7351e-14 | 4.2095e-15 | 2.1338e-14 | -1.7156e-14 | -3.5831e-15 | -2.1573e-14 | -1.072e-14 | -1.1514e-14 | -6.3349e-15 | 5.0669e-15 | 5.6002e-15 | 9.4156e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7351e-14 | 4.2095e-15 | 2.1338e-14 | -1.7156e-14 | -3.5831e-15 | -2.1573e-14 | -1.072e-14 | -1.1514e-14 | -6.3349e-15 | 5.0669e-15 | 5.6002e-15 | 9.4156e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.164e-15 | 1.7247e-16 | 0 | -1.3493e-15 | 1.6545e-14 | -3.0591e-15 | -5.8001e-17 | 3.3089e-15 | 0 | -2.7953e-15 | -8.6234e-16 | -2.0706e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.164e-15 | 1.7247e-16 | 0 | -1.3493e-15 | 1.6545e-14 | -3.0591e-15 | -5.8001e-17 | 3.3089e-15 | 0 | -2.7953e-15 | -8.6234e-16 | -2.0706e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.5996e-15 | 2.0423e-16 | -5.0682e-15 | -1.0248e-15 | 1.8025e-15 | 0 | -1.5947e-15 | 4.4219e-15 | 4.6659e-15 | -2.8077e-15 | -8.946e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.5996e-15 | 2.0423e-16 | -5.0682e-15 | -1.0248e-15 | 1.8025e-15 | 0 | -1.5947e-15 | 4.4219e-15 | 4.6659e-15 | -2.8077e-15 | -8.946e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0703e-15 | 1.0935e-15 | -2.3424e-15 | -3.0703e-15 | -2.3016e-15 | 2.3102e-16 | -4.7062e-15 | 9.9981e-16 | -2.1698e-15 | 4.7062e-15 | 3.2493e-15 | -3.2168e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0703e-15 | 1.0935e-15 | -2.3424e-15 | -3.0703e-15 | -2.3016e-15 | 2.3102e-16 | -4.7062e-15 | 9.9981e-16 | -2.1698e-15 | 4.7062e-15 | 3.2493e-15 | -3.2168e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.8319 | 0.62268 | 0.19545 | 3.8309 | 0.62376 | 0.19663 | 44.2467 | 7.19 | 2.2569 | 44.2355 | 7.2025 | 2.2705 | 20.741 | -6.8624 | 2.4405 | 2.7665e-10 | 7.2308 | -2.9384 | 15.1183 | -2.3895 | 0.59921 | -2.2159e-10 | 0.24281 | -1.1394 | -61.5208 | 50.9808 | 97.0787 | 118.4907 | -128.9643 | -83.0276 |  | 0.58007 | 1.0106 | 1.1135 | 0 | 1.0045 | 1.388 | -25.4321 | -109.8206 | 110.8737 | 0 | -127.041 | 118.1669
Line_1 | 1.082 | 0.31358 | 0.10019 | 1.0801 | 0.31188 | 0.098317 | 12.4935 | 3.621 | 1.1569 | 12.4725 | 3.6013 | 1.1353 | 2.2671 | 3.9601 | -1.3369 | 9.2865e-11 | -3.6154 | 1.4692 | 0.84303 | 0.56675 | -0.5561 | -3.6936e-11 | -0.12141 | 0.56971 | -78.5501 | -128.7899 | -83.348 | 101.4873 | 51.0357 | 96.9724 |  | 0.1936 | 1.1048 | 1.2516 | 0 | 1.0045 | 1.388 | -58.1522 | -120.6454 | 119.238 | 0 | -127.041 | 118.1669
Line_2 | 1.082 | 0.31358 | 0.10019 | 1.0801 | 0.31188 | 0.098317 | 12.4935 | 3.621 | 1.1569 | 12.4725 | 3.6013 | 1.1353 | 2.2671 | 3.9601 | -1.3369 | 9.2865e-11 | -3.6154 | 1.4692 | 0.84303 | 0.56675 | -0.5561 | -3.6936e-11 | -0.12141 | 0.56971 | -78.5501 | -128.7899 | -83.348 | 101.4873 | 51.0357 | 96.9724 |  | 0.1936 | 1.1048 | 1.2516 | 0 | 1.0045 | 1.388 | -58.1522 | -120.6454 | 119.238 | 0 | -127.041 | 118.1669
Line_3 | 0.00088482 | 0.00088482 | 0.00088482 | 0.00088482 | 0.00088482 | 0.00088482 | 0.010217 | 0.010217 | 0.010217 | 0.010217 | 0.010217 | 0.010217 | 0.0017021 | 0.0095866 | -0.011289 | 0.0017021 | 0.0095866 | -0.011289 | 0.0010077 | -0.0059594 | -0.0060065 | 0.0010077 | -0.0059594 | -0.0060065 | -88.7787 | -88.7787 | -88.7787 | -88.7787 | -88.7787 | -88.7787 |  | 0.1936 | 1.1048 | 1.2516 | 0.1936 | 1.1048 | 1.2516 | -58.1522 | -120.6454 | 119.238 | -58.1522 | -120.6454 | 119.238

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.8319 | 0.62268 | 0.19545 | 3.8309 | 0.62376 | 0.19663 | 44.2467 | 7.19 | 2.2569 | 44.2355 | 7.2025 | 2.2705 | 20.741 | -6.8624 | 2.4405 | 2.7665e-10 | 7.2308 | -2.9384 | 15.1183 | -2.3895 | 0.59921 | -2.2159e-10 | 0.24281 | -1.1394 | -61.5208 | 50.9808 | 97.0787 | 118.4907 | -128.9643 | -83.0276 |  | 0.58007 | 1.0106 | 1.1135 | 0 | 1.0045 | 1.388 | -25.4321 | -109.8206 | 110.8737 | 0 | -127.041 | 118.1669
Line_1 | 1.082 | 0.31358 | 0.10019 | 1.0801 | 0.31188 | 0.098317 | 12.4935 | 3.621 | 1.1569 | 12.4725 | 3.6013 | 1.1353 | 2.2671 | 3.9601 | -1.3369 | 9.2865e-11 | -3.6154 | 1.4692 | 0.84303 | 0.56675 | -0.5561 | -3.6936e-11 | -0.12141 | 0.56971 | -78.5501 | -128.7899 | -83.348 | 101.4873 | 51.0357 | 96.9724 |  | 0.1936 | 1.1048 | 1.2516 | 0 | 1.0045 | 1.388 | -58.1522 | -120.6454 | 119.238 | 0 | -127.041 | 118.1669
Line_2 | 1.082 | 0.31358 | 0.10019 | 1.0801 | 0.31188 | 0.098317 | 12.4935 | 3.621 | 1.1569 | 12.4725 | 3.6013 | 1.1353 | 2.2671 | 3.9601 | -1.3369 | 9.2865e-11 | -3.6154 | 1.4692 | 0.84303 | 0.56675 | -0.5561 | -3.6936e-11 | -0.12141 | 0.56971 | -78.5501 | -128.7899 | -83.348 | 101.4873 | 51.0357 | 96.9724 |  | 0.1936 | 1.1048 | 1.2516 | 0 | 1.0045 | 1.388 | -58.1522 | -120.6454 | 119.238 | 0 | -127.041 | 118.1669
Line_3 | 0.00088482 | 0.00088482 | 0.00088482 | 0.00088482 | 0.00088482 | 0.00088482 | 0.010217 | 0.010217 | 0.010217 | 0.010217 | 0.010217 | 0.010217 | 0.0017021 | 0.0095866 | -0.011289 | 0.0017021 | 0.0095866 | -0.011289 | 0.0010077 | -0.0059594 | -0.0060065 | 0.0010077 | -0.0059594 | -0.0060065 | -88.7787 | -88.7787 | -88.7787 | -88.7787 | -88.7787 | -88.7787 |  | 0.1936 | 1.1048 | 1.2516 | 0.1936 | 1.1048 | 1.2516 | -58.1522 | -120.6454 | 119.238 | -58.1522 | -120.6454 | 119.238

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80597 | 0.23824 | 0.18198 | 0.80576 | 0.23829 | 0.1819 | 9.3065 | 2.751 | 2.1013 | 9.3041 | 2.7516 | 2.1004 | 8.2151 | -2.1344 | 0.26181 | -7.1574 | 2.3502 | -0.37933 | 4.8412 | -2.1455 | -2.4034 | -4.2228 | 2.0487 | 2.5308 | -35.985 | 16.7781 | -158.1527 | 144.0307 | -163.1498 | 21.7546 |  | 1.0246 | 1.1001 | 1.1505 | 0.89318 | 1.1331 | 1.2184 | -5.4739 | -118.0732 | 118.0643 | -5.4289 | -122.0711 | 120.2791
Line_1 | 0.35423 | 0.11923 | 0.090833 | 0.35377 | 0.11915 | 0.09095 | 4.0903 | 1.3767 | 1.0488 | 4.0849 | 1.3758 | 1.0502 | 1.9378 | 1.1743 | -0.1842 | -1.7398 | -1.1751 | 0.18967 | 3.3112 | 1.0719 | 1.2341 | -3.2071 | -1.0243 | -1.2654 | -66.9705 | -162.9221 | 21.4611 | 113.0504 | 16.8502 | -158.2454 |  | 0.93797 | 1.1549 | 1.1896 | 0.89318 | 1.1331 | 1.2184 | -7.3082 | -120.5312 | 119.9506 | -5.4289 | -122.0711 | 120.2791
Line_2 | 0.35423 | 0.11923 | 0.090833 | 0.35377 | 0.11915 | 0.09095 | 4.0903 | 1.3767 | 1.0488 | 4.0849 | 1.3758 | 1.0502 | 1.9378 | 1.1743 | -0.1842 | -1.7398 | -1.1751 | 0.18967 | 3.3112 | 1.0719 | 1.2341 | -3.2071 | -1.0243 | -1.2654 | -66.9705 | -162.9221 | 21.4611 | 113.0504 | 16.8502 | -158.2454 |  | 0.93797 | 1.1549 | 1.1896 | 0.89318 | 1.1331 | 1.2184 | -7.3082 | -120.5312 | 119.9506 | -5.4289 | -122.0711 | 120.2791
Line_3 | 0.00021761 | 0.00021761 | 0.00021761 | 0.00021761 | 0.00021761 | 0.00021761 | 0.0025128 | 0.0025128 | 0.0025128 | 0.0025128 | 0.0025128 | 0.0025128 | 0.001023 | 0.0019059 | -0.0029289 | 0.001023 | 0.0019059 | -0.0029289 | 0.0021233 | -0.0021885 | -0.00059771 | 0.0021233 | -0.0021885 | -0.00059771 | -71.5834 | -71.5834 | -71.5834 | -71.5834 | -71.5834 | -71.5834 |  | 0.93797 | 1.1549 | 1.1896 | 0.93797 | 1.1549 | 1.1896 | -7.3082 | -120.5312 | 119.9506 | -7.3082 | -120.5312 | 119.9506

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80597 | 0.23824 | 0.18198 | 0.80576 | 0.23829 | 0.1819 | 9.3065 | 2.751 | 2.1013 | 9.3041 | 2.7516 | 2.1004 | 8.2151 | -2.1344 | 0.26181 | -7.1574 | 2.3502 | -0.37933 | 4.8412 | -2.1455 | -2.4034 | -4.2228 | 2.0487 | 2.5308 | -35.985 | 16.7781 | -158.1527 | 144.0307 | -163.1498 | 21.7546 |  | 1.0246 | 1.1001 | 1.1505 | 0.89318 | 1.1331 | 1.2184 | -5.4739 | -118.0732 | 118.0643 | -5.4289 | -122.0711 | 120.2791
Line_1 | 0.35423 | 0.11923 | 0.090833 | 0.35377 | 0.11915 | 0.09095 | 4.0903 | 1.3767 | 1.0488 | 4.0849 | 1.3758 | 1.0502 | 1.9378 | 1.1743 | -0.1842 | -1.7398 | -1.1751 | 0.18967 | 3.3112 | 1.0719 | 1.2341 | -3.2071 | -1.0243 | -1.2654 | -66.9705 | -162.9221 | 21.4611 | 113.0504 | 16.8502 | -158.2454 |  | 0.93797 | 1.1549 | 1.1896 | 0.89318 | 1.1331 | 1.2184 | -7.3082 | -120.5312 | 119.9506 | -5.4289 | -122.0711 | 120.2791
Line_2 | 0.35423 | 0.11923 | 0.090833 | 0.35377 | 0.11915 | 0.09095 | 4.0903 | 1.3767 | 1.0488 | 4.0849 | 1.3758 | 1.0502 | 1.9378 | 1.1743 | -0.1842 | -1.7398 | -1.1751 | 0.18967 | 3.3112 | 1.0719 | 1.2341 | -3.2071 | -1.0243 | -1.2654 | -66.9705 | -162.9221 | 21.4611 | 113.0504 | 16.8502 | -158.2454 |  | 0.93797 | 1.1549 | 1.1896 | 0.89318 | 1.1331 | 1.2184 | -7.3082 | -120.5312 | 119.9506 | -5.4289 | -122.0711 | 120.2791
Line_3 | 0.00021761 | 0.00021761 | 0.00021761 | 0.00021761 | 0.00021761 | 0.00021761 | 0.0025128 | 0.0025128 | 0.0025128 | 0.0025128 | 0.0025128 | 0.0025128 | 0.001023 | 0.0019059 | -0.0029289 | 0.001023 | 0.0019059 | -0.0029289 | 0.0021233 | -0.0021885 | -0.00059771 | 0.0021233 | -0.0021885 | -0.00059771 | -71.5834 | -71.5834 | -71.5834 | -71.5834 | -71.5834 | -71.5834 |  | 0.93797 | 1.1549 | 1.1896 | 0.93797 | 1.1549 | 1.1896 | -7.3082 | -120.5312 | 119.9506 | -7.3082 | -120.5312 | 119.9506

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8067 | 0.5351 | 0.37175 | 2.8059 | 0.5362 | 0.37284 | 32.4084 | 6.1788 | 4.2926 | 32.4001 | 6.1915 | 4.3052 | 19.0228 | -4.5045 | 4.2355 | -8.3465e-11 | 3.3759 | -5.1086 | 8.9123 | 2.7622 | 0.90912 | -3.9509e-12 | -4.376 | -2.067 | -50.9322 | 98.7171 | 99.1183 | 129.0867 | -81.3294 | -80.9498 |  | 0.6482 | 0.85517 | 1.0092 | 0 | 0.89265 | 1.2801 | -25.8288 | -112.7994 | 111.2326 | 0 | -133.6809 | 121.0787
Line_1 | 0.87147 | 0.26983 | 0.18815 | 0.86988 | 0.2681 | 0.18642 | 10.0629 | 3.1158 | 2.1726 | 10.0445 | 3.0957 | 2.1526 | 3.1132 | 2.4739 | -2.0521 | -2.4355e-11 | -1.6879 | 2.5543 | 0.60039 | -1.9436 | -0.88238 | -8.8245e-12 | 2.188 | 1.0335 | -68.1727 | -81.417 | -81.079 | 111.8798 | 98.6706 | 99.0502 |  | 0.31507 | 1.0097 | 1.0282 | 0 | 0.89265 | 1.2801 | -57.2568 | -119.5726 | 122.1886 | 0 | -133.6809 | 121.0787
Line_2 | 0.87147 | 0.26983 | 0.18815 | 0.86988 | 0.2681 | 0.18642 | 10.0629 | 3.1158 | 2.1726 | 10.0445 | 3.0957 | 2.1526 | 3.1132 | 2.4739 | -2.0521 | -2.4355e-11 | -1.6879 | 2.5543 | 0.60039 | -1.9436 | -0.88238 | -8.8245e-12 | 2.188 | 1.0335 | -68.1727 | -81.417 | -81.079 | 111.8798 | 98.6706 | 99.0502 |  | 0.31507 | 1.0097 | 1.0282 | 0 | 0.89265 | 1.2801 | -57.2568 | -119.5726 | 122.1886 | 0 | -133.6809 | 121.0787
Line_3 | 0.00075668 | 0.00075668 | 0.00075668 | 0.00075668 | 0.00075668 | 0.00075668 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0026538 | 0.0060288 | -0.0086826 | 0.0026538 | 0.0060288 | -0.0086826 | 0.00073209 | -0.006441 | -0.002305 | 0.00073209 | -0.006441 | -0.002305 | -72.6793 | -72.6793 | -72.6793 | -72.6793 | -72.6793 | -72.6793 |  | 0.31507 | 1.0097 | 1.0282 | 0.31507 | 1.0097 | 1.0282 | -57.2568 | -119.5726 | 122.1886 | -57.2568 | -119.5726 | 122.1886

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8067 | 0.5351 | 0.37175 | 2.8059 | 0.5362 | 0.37284 | 32.4084 | 6.1788 | 4.2926 | 32.4001 | 6.1915 | 4.3052 | 19.0228 | -4.5045 | 4.2355 | -8.3465e-11 | 3.3759 | -5.1086 | 8.9123 | 2.7622 | 0.90912 | -3.9509e-12 | -4.376 | -2.067 | -50.9322 | 98.7171 | 99.1183 | 129.0867 | -81.3294 | -80.9498 |  | 0.6482 | 0.85517 | 1.0092 | 0 | 0.89265 | 1.2801 | -25.8288 | -112.7994 | 111.2326 | 0 | -133.6809 | 121.0787
Line_1 | 0.87147 | 0.26983 | 0.18815 | 0.86988 | 0.2681 | 0.18642 | 10.0629 | 3.1158 | 2.1726 | 10.0445 | 3.0957 | 2.1526 | 3.1132 | 2.4739 | -2.0521 | -2.4355e-11 | -1.6879 | 2.5543 | 0.60039 | -1.9436 | -0.88238 | -8.8245e-12 | 2.188 | 1.0335 | -68.1727 | -81.417 | -81.079 | 111.8798 | 98.6706 | 99.0502 |  | 0.31507 | 1.0097 | 1.0282 | 0 | 0.89265 | 1.2801 | -57.2568 | -119.5726 | 122.1886 | 0 | -133.6809 | 121.0787
Line_2 | 0.87147 | 0.26983 | 0.18815 | 0.86988 | 0.2681 | 0.18642 | 10.0629 | 3.1158 | 2.1726 | 10.0445 | 3.0957 | 2.1526 | 3.1132 | 2.4739 | -2.0521 | -2.4355e-11 | -1.6879 | 2.5543 | 0.60039 | -1.9436 | -0.88238 | -8.8245e-12 | 2.188 | 1.0335 | -68.1727 | -81.417 | -81.079 | 111.8798 | 98.6706 | 99.0502 |  | 0.31507 | 1.0097 | 1.0282 | 0 | 0.89265 | 1.2801 | -57.2568 | -119.5726 | 122.1886 | 0 | -133.6809 | 121.0787
Line_3 | 0.00075668 | 0.00075668 | 0.00075668 | 0.00075668 | 0.00075668 | 0.00075668 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0026538 | 0.0060288 | -0.0086826 | 0.0026538 | 0.0060288 | -0.0086826 | 0.00073209 | -0.006441 | -0.002305 | 0.00073209 | -0.006441 | -0.002305 | -72.6793 | -72.6793 | -72.6793 | -72.6793 | -72.6793 | -72.6793 |  | 0.31507 | 1.0097 | 1.0282 | 0.31507 | 1.0097 | 1.0282 | -57.2568 | -119.5726 | 122.1886 | -57.2568 | -119.5726 | 122.1886

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75111 | 0.1432 | 0.099486 | 0.75092 | 0.1435 | 0.099778 | 8.6731 | 1.6536 | 1.1488 | 8.6708 | 1.6569 | 1.1521 | 6.3687 | -1.0862 | 1.1409 | -5.0064 | 1.0077 | -1.2058 | 4.6131 | 1.1476 | 0.18876 | -3.9721 | -1.2646 | -0.27304 | -41.7644 | 107.885 | 108.2861 | 138.2546 | -72.1615 | -71.7819 |  | 0.9067 | 0.95563 | 1.0067 | 0.73704 | 0.97589 | 1.0731 | -5.8473 | -118.6895 | 117.68 | -3.3165 | -123.6094 | 120.9771
Line_1 | 0.23322 | 0.072212 | 0.050352 | 0.23279 | 0.071748 | 0.049889 | 2.693 | 0.83383 | 0.58142 | 2.6881 | 0.82847 | 0.57607 | 1.3418 | 0.56337 | -0.57068 | -1.1183 | -0.50387 | 0.60289 | 1.6824 | -0.61726 | -0.12724 | -1.6354 | 0.63228 | 0.13652 | -59.0048 | -72.2491 | -71.9111 | 121.0476 | 107.8385 | 108.2181 |  | 0.7991 | 1.0022 | 1.0056 | 0.73704 | 0.97589 | 1.0731 | -7.5784 | -119.8626 | 120.6576 | -3.3165 | -123.6094 | 120.9771
Line_2 | 0.23322 | 0.072212 | 0.050352 | 0.23279 | 0.071748 | 0.049889 | 2.693 | 0.83383 | 0.58142 | 2.6881 | 0.82847 | 0.57607 | 1.3418 | 0.56337 | -0.57068 | -1.1183 | -0.50387 | 0.60289 | 1.6824 | -0.61726 | -0.12724 | -1.6354 | 0.63228 | 0.13652 | -59.0048 | -72.2491 | -71.9111 | 121.0476 | 107.8385 | 108.2181 |  | 0.7991 | 1.0022 | 1.0056 | 0.73704 | 0.97589 | 1.0731 | -7.5784 | -119.8626 | 120.6576 | -3.3165 | -123.6094 | 120.9771
Line_3 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0010467 | 0.0012985 | -0.0023452 | 0.0010467 | 0.0012985 | -0.0023452 | 0.0015479 | -0.0019509 | -0.00017095 | 0.0015479 | -0.0019509 | -0.00017095 | -63.5114 | -63.5114 | -63.5114 | -63.5114 | -63.5114 | -63.5114 |  | 0.7991 | 1.0022 | 1.0056 | 0.7991 | 1.0022 | 1.0056 | -7.5784 | -119.8626 | 120.6576 | -7.5784 | -119.8626 | 120.6576

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75111 | 0.1432 | 0.099486 | 0.75092 | 0.1435 | 0.099778 | 8.6731 | 1.6536 | 1.1488 | 8.6708 | 1.6569 | 1.1521 | 6.3687 | -1.0862 | 1.1409 | -5.0064 | 1.0077 | -1.2058 | 4.6131 | 1.1476 | 0.18876 | -3.9721 | -1.2646 | -0.27304 | -41.7644 | 107.885 | 108.2861 | 138.2546 | -72.1615 | -71.7819 |  | 0.9067 | 0.95563 | 1.0067 | 0.73704 | 0.97589 | 1.0731 | -5.8473 | -118.6895 | 117.68 | -3.3165 | -123.6094 | 120.9771
Line_1 | 0.23322 | 0.072212 | 0.050352 | 0.23279 | 0.071748 | 0.049889 | 2.693 | 0.83383 | 0.58142 | 2.6881 | 0.82847 | 0.57607 | 1.3418 | 0.56337 | -0.57068 | -1.1183 | -0.50387 | 0.60289 | 1.6824 | -0.61726 | -0.12724 | -1.6354 | 0.63228 | 0.13652 | -59.0048 | -72.2491 | -71.9111 | 121.0476 | 107.8385 | 108.2181 |  | 0.7991 | 1.0022 | 1.0056 | 0.73704 | 0.97589 | 1.0731 | -7.5784 | -119.8626 | 120.6576 | -3.3165 | -123.6094 | 120.9771
Line_2 | 0.23322 | 0.072212 | 0.050352 | 0.23279 | 0.071748 | 0.049889 | 2.693 | 0.83383 | 0.58142 | 2.6881 | 0.82847 | 0.57607 | 1.3418 | 0.56337 | -0.57068 | -1.1183 | -0.50387 | 0.60289 | 1.6824 | -0.61726 | -0.12724 | -1.6354 | 0.63228 | 0.13652 | -59.0048 | -72.2491 | -71.9111 | 121.0476 | 107.8385 | 108.2181 |  | 0.7991 | 1.0022 | 1.0056 | 0.73704 | 0.97589 | 1.0731 | -7.5784 | -119.8626 | 120.6576 | -3.3165 | -123.6094 | 120.9771
Line_3 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0010467 | 0.0012985 | -0.0023452 | 0.0010467 | 0.0012985 | -0.0023452 | 0.0015479 | -0.0019509 | -0.00017095 | 0.0015479 | -0.0019509 | -0.00017095 | -63.5114 | -63.5114 | -63.5114 | -63.5114 | -63.5114 | -63.5114 |  | 0.7991 | 1.0022 | 1.0056 | 0.7991 | 1.0022 | 1.0056 | -7.5784 | -119.8626 | 120.6576 | -7.5784 | -119.8626 | 120.6576

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34114 | 4.7951 | 3.1312 | 0.34176 | 4.795 | 3.1305 | 3.9391 | 55.3691 | 36.1556 | 3.9463 | 55.3676 | 36.1475 | -3.1051 | 28.5559 | -0.40144 | 3.8457 | 1.3623e-10 | 1.1964e-10 | 2.2627 | 7.81 | 15.8529 | -3.2584 | -1.836e-10 | -8.7369e-11 | -146.4896 | 175.7392 | 37.9709 | 33.68 | -4.2467 | -142.0467 |  | 0.97536 | 0.53468 | 0.4386 | 1.2773 | 0 | 0 | -2.5707 | -168.9645 | 129.4215 | -6.594 | 0 | 0
Line_1 | 0.17187 | 1.0792 | 0.94746 | 0.17088 | 1.0784 | 0.94596 | 1.9846 | 12.4618 | 10.9403 | 1.9732 | 12.4522 | 10.923 | 1.9588 | 1.8729 | 1.0992 | -1.9228 | 4.2712e-11 | 2.6596e-11 | -1.3861 | -0.28366 | 1.7803 | 1.6292 | -2.8625e-11 | -3.6011e-11 | 34.2134 | 156.068 | 55.4344 | -146.32 | -23.8425 | -124.6336 |  | 1.2091 | 0.15201 | 0.19125 | 1.2773 | 0 | 0 | -1.071 | 147.4558 | 113.7433 | -6.594 | 0 | 0
Line_2 | 0.17187 | 1.0792 | 0.94746 | 0.17088 | 1.0784 | 0.94596 | 1.9846 | 12.4618 | 10.9403 | 1.9732 | 12.4522 | 10.923 | 1.9588 | 1.8729 | 1.0992 | -1.9228 | 4.2712e-11 | 2.6596e-11 | -1.3861 | -0.28366 | 1.7803 | 1.6292 | -2.8625e-11 | -3.6011e-11 | 34.2134 | 156.068 | 55.4344 | -146.32 | -23.8425 | -124.6336 |  | 1.2091 | 0.15201 | 0.19125 | 1.2773 | 0 | 0 | -1.071 | 147.4558 | 113.7433 | -6.594 | 0 | 0
Line_3 | 0.00085034 | 0.00085034 | 0.00085034 | 0.00085034 | 0.00085034 | 0.00085034 | 0.0098189 | 0.0098189 | 0.0098189 | 0.0098189 | 0.0098189 | 0.0098189 | -0.0029136 | 0.0010678 | 0.0018458 | -0.0029136 | 0.0010678 | 0.0018458 | -0.011509 | 0.0010428 | 0.0003457 | -0.011509 | 0.0010428 | 0.0003457 | 103.1349 | 103.1349 | 103.1349 | 103.1349 | 103.1349 | 103.1349 |  | 1.2091 | 0.15201 | 0.19125 | 1.2091 | 0.15201 | 0.19125 | -1.071 | 147.4558 | 113.7433 | -1.071 | 147.4558 | 113.7433

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34114 | 4.7951 | 3.1312 | 0.34176 | 4.795 | 3.1305 | 3.9391 | 55.3691 | 36.1556 | 3.9463 | 55.3676 | 36.1475 | -3.1051 | 28.5559 | -0.40144 | 3.8457 | 1.3623e-10 | 1.1964e-10 | 2.2627 | 7.81 | 15.8529 | -3.2584 | -1.836e-10 | -8.7369e-11 | -146.4896 | 175.7392 | 37.9709 | 33.68 | -4.2467 | -142.0467 |  | 0.97536 | 0.53468 | 0.4386 | 1.2773 | 0 | 0 | -2.5707 | -168.9645 | 129.4215 | -6.594 | 0 | 0
Line_1 | 0.17187 | 1.0792 | 0.94746 | 0.17088 | 1.0784 | 0.94596 | 1.9846 | 12.4618 | 10.9403 | 1.9732 | 12.4522 | 10.923 | 1.9588 | 1.8729 | 1.0992 | -1.9228 | 4.2712e-11 | 2.6596e-11 | -1.3861 | -0.28366 | 1.7803 | 1.6292 | -2.8625e-11 | -3.6011e-11 | 34.2134 | 156.068 | 55.4344 | -146.32 | -23.8425 | -124.6336 |  | 1.2091 | 0.15201 | 0.19125 | 1.2773 | 0 | 0 | -1.071 | 147.4558 | 113.7433 | -6.594 | 0 | 0
Line_2 | 0.17187 | 1.0792 | 0.94746 | 0.17088 | 1.0784 | 0.94596 | 1.9846 | 12.4618 | 10.9403 | 1.9732 | 12.4522 | 10.923 | 1.9588 | 1.8729 | 1.0992 | -1.9228 | 4.2712e-11 | 2.6596e-11 | -1.3861 | -0.28366 | 1.7803 | 1.6292 | -2.8625e-11 | -3.6011e-11 | 34.2134 | 156.068 | 55.4344 | -146.32 | -23.8425 | -124.6336 |  | 1.2091 | 0.15201 | 0.19125 | 1.2773 | 0 | 0 | -1.071 | 147.4558 | 113.7433 | -6.594 | 0 | 0
Line_3 | 0.00085034 | 0.00085034 | 0.00085034 | 0.00085034 | 0.00085034 | 0.00085034 | 0.0098189 | 0.0098189 | 0.0098189 | 0.0098189 | 0.0098189 | 0.0098189 | -0.0029136 | 0.0010678 | 0.0018458 | -0.0029136 | 0.0010678 | 0.0018458 | -0.011509 | 0.0010428 | 0.0003457 | -0.011509 | 0.0010428 | 0.0003457 | 103.1349 | 103.1349 | 103.1349 | 103.1349 | 103.1349 | 103.1349 |  | 1.2091 | 0.15201 | 0.19125 | 1.2091 | 0.15201 | 0.19125 | -1.071 | 147.4558 | 113.7433 | -1.071 | 147.4558 | 113.7433

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14388 | 0.94619 | 0.73558 | 0.14362 | 0.94626 | 0.73532 | 1.6614 | 10.9256 | 8.4937 | 1.6584 | 10.9265 | 8.4907 | -1.1888 | 9.8768 | 5.7467 | 1.3069 | -8.7386 | -5.5096 | -1.3971 | 5.2864 | 5.9104 | 1.4806 | -5.2991 | -4.9186 | 129.8183 | -156.5052 | 70.6498 | -50.1225 | 23.5123 | -109.3615 |  | 1.1042 | 1.0253 | 0.97055 | 1.1908 | 0.93532 | 0.86985 | -0.57675 | -128.3479 | 116.4545 | -1.5568 | -125.2547 | 112.3952
Line_1 | 0.071403 | 0.32449 | 0.34417 | 0.07181 | 0.32432 | 0.34379 | 0.82449 | 3.7469 | 3.9741 | 0.82919 | 3.7449 | 3.9698 | 0.62842 | 1.6023 | 2.4141 | -0.65343 | -1.4629 | -2.2895 | 0.73854 | 3.167 | 2.7689 | -0.74028 | -3.1826 | -2.585 | -49.9366 | 169.354 | 63.9726 | 129.8775 | -10.5686 | -116.0736 |  | 1.1761 | 0.94726 | 0.92436 | 1.1908 | 0.93532 | 0.86985 | -0.33055 | -127.482 | 112.8889 | -1.5568 | -125.2547 | 112.3952
Line_2 | 0.071403 | 0.32449 | 0.34417 | 0.07181 | 0.32432 | 0.34379 | 0.82449 | 3.7469 | 3.9741 | 0.82919 | 3.7449 | 3.9698 | 0.62842 | 1.6023 | 2.4141 | -0.65343 | -1.4629 | -2.2895 | 0.73854 | 3.167 | 2.7689 | -0.74028 | -3.1826 | -2.585 | -49.9366 | 169.354 | 63.9726 | 129.8775 | -10.5686 | -116.0736 |  | 1.1761 | 0.94726 | 0.92436 | 1.1908 | 0.93532 | 0.86985 | -0.33055 | -127.482 | 112.8889 | -1.5568 | -125.2547 | 112.3952
Line_3 | 0.00021251 | 0.00021251 | 0.00021251 | 0.00021251 | 0.00021251 | 0.00021251 | 0.0024538 | 0.0024538 | 0.0024538 | 0.0024538 | 0.0024538 | 0.0024538 | -0.0010585 | -0.0012087 | 0.0022672 | -0.0010585 | -0.0012087 | 0.0022672 | -0.0026849 | 0.0019854 | 6.7404e-05 | -0.0026849 | 0.0019854 | 6.7404e-05 | 111.1861 | 111.1861 | 111.1861 | 111.1861 | 111.1861 | 111.1861 |  | 1.1761 | 0.94726 | 0.92436 | 1.1761 | 0.94726 | 0.92436 | -0.33055 | -127.482 | 112.8889 | -0.33055 | -127.482 | 112.8889

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14388 | 0.94619 | 0.73558 | 0.14362 | 0.94626 | 0.73532 | 1.6614 | 10.9256 | 8.4937 | 1.6584 | 10.9265 | 8.4907 | -1.1888 | 9.8768 | 5.7467 | 1.3069 | -8.7386 | -5.5096 | -1.3971 | 5.2864 | 5.9104 | 1.4806 | -5.2991 | -4.9186 | 129.8183 | -156.5052 | 70.6498 | -50.1225 | 23.5123 | -109.3615 |  | 1.1042 | 1.0253 | 0.97055 | 1.1908 | 0.93532 | 0.86985 | -0.57675 | -128.3479 | 116.4545 | -1.5568 | -125.2547 | 112.3952
Line_1 | 0.071403 | 0.32449 | 0.34417 | 0.07181 | 0.32432 | 0.34379 | 0.82449 | 3.7469 | 3.9741 | 0.82919 | 3.7449 | 3.9698 | 0.62842 | 1.6023 | 2.4141 | -0.65343 | -1.4629 | -2.2895 | 0.73854 | 3.167 | 2.7689 | -0.74028 | -3.1826 | -2.585 | -49.9366 | 169.354 | 63.9726 | 129.8775 | -10.5686 | -116.0736 |  | 1.1761 | 0.94726 | 0.92436 | 1.1908 | 0.93532 | 0.86985 | -0.33055 | -127.482 | 112.8889 | -1.5568 | -125.2547 | 112.3952
Line_2 | 0.071403 | 0.32449 | 0.34417 | 0.07181 | 0.32432 | 0.34379 | 0.82449 | 3.7469 | 3.9741 | 0.82919 | 3.7449 | 3.9698 | 0.62842 | 1.6023 | 2.4141 | -0.65343 | -1.4629 | -2.2895 | 0.73854 | 3.167 | 2.7689 | -0.74028 | -3.1826 | -2.585 | -49.9366 | 169.354 | 63.9726 | 129.8775 | -10.5686 | -116.0736 |  | 1.1761 | 0.94726 | 0.92436 | 1.1908 | 0.93532 | 0.86985 | -0.33055 | -127.482 | 112.8889 | -1.5568 | -125.2547 | 112.3952
Line_3 | 0.00021251 | 0.00021251 | 0.00021251 | 0.00021251 | 0.00021251 | 0.00021251 | 0.0024538 | 0.0024538 | 0.0024538 | 0.0024538 | 0.0024538 | 0.0024538 | -0.0010585 | -0.0012087 | 0.0022672 | -0.0010585 | -0.0012087 | 0.0022672 | -0.0026849 | 0.0019854 | 6.7404e-05 | -0.0026849 | 0.0019854 | 6.7404e-05 | 111.1861 | 111.1861 | 111.1861 | 111.1861 | 111.1861 | 111.1861 |  | 1.1761 | 0.94726 | 0.92436 | 1.1761 | 0.94726 | 0.92436 | -0.33055 | -127.482 | 112.8889 | -0.33055 | -127.482 | 112.8889

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35173 | 3.7854 | 2.6664 | 0.35277 | 3.7855 | 2.6658 | 4.0615 | 43.7098 | 30.7889 | 4.0734 | 43.7114 | 30.7816 | 0.18704 | 27.187 | 1.3203 | -0.4169 | -1.434e-10 | -5.6667e-11 | 3.6234 | 2.5633 | 12.3283 | -4.8327 | -9.1814e-11 | -1.067e-10 | -91.0989 | -172.0256 | 38.0089 | 88.9055 | 7.9899 | -142.0087 |  | 0.89332 | 0.62475 | 0.4027 | 1.1908 | 0 | 0 | -4.054 | -166.6393 | 121.896 | -6.0249 | 0 | 0
Line_1 | 0.17793 | 0.94569 | 0.64415 | 0.17638 | 0.94504 | 0.64291 | 2.0545 | 10.9199 | 7.438 | 2.0367 | 10.9124 | 7.4237 | 0.14241 | 2.7317 | 0.98852 | 0.20845 | -2.3554e-11 | -2.2589e-11 | -2.1465 | -0.77139 | 1.6667 | 2.4164 | -3.5387e-11 | -1.8405e-11 | 88.9913 | 164.1813 | 60.9327 | -91.0945 | -15.7323 | -119.1528 |  | 1.0471 | 0.25994 | 0.26053 | 1.1908 | 0 | 0 | 2.787 | 148.4123 | 120.261 | -6.0249 | 0 | 0
Line_2 | 0.17793 | 0.94569 | 0.64415 | 0.17638 | 0.94504 | 0.64291 | 2.0545 | 10.9199 | 7.438 | 2.0367 | 10.9124 | 7.4237 | 0.14241 | 2.7317 | 0.98852 | 0.20845 | -2.3554e-11 | -2.2589e-11 | -2.1465 | -0.77139 | 1.6667 | 2.4164 | -3.5387e-11 | -1.8405e-11 | 88.9913 | 164.1813 | 60.9327 | -91.0945 | -15.7323 | -119.1528 |  | 1.0471 | 0.25994 | 0.26053 | 1.1908 | 0 | 0 | 2.787 | 148.4123 | 120.261 | -6.0249 | 0 | 0
Line_3 | 0.00066524 | 0.00066524 | 0.00066524 | 0.00066524 | 0.00066524 | 0.00066524 | 0.0076815 | 0.0076815 | 0.0076815 | 0.0076815 | 0.0076815 | 0.0076815 | -0.0037694 | 0.0017682 | 0.0020012 | -0.0037694 | 0.0017682 | 0.0020012 | -0.0071051 | 0.00092749 | -1.6516e-05 | -0.0071051 | 0.00092749 | -1.6516e-05 | 120.7339 | 120.7339 | 120.7339 | 120.7339 | 120.7339 | 120.7339 |  | 1.0471 | 0.25994 | 0.26053 | 1.0471 | 0.25994 | 0.26053 | 2.787 | 148.4123 | 120.261 | 2.787 | 148.4123 | 120.261

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35173 | 3.7854 | 2.6664 | 0.35277 | 3.7855 | 2.6658 | 4.0615 | 43.7098 | 30.7889 | 4.0734 | 43.7114 | 30.7816 | 0.18704 | 27.187 | 1.3203 | -0.4169 | -1.434e-10 | -5.6667e-11 | 3.6234 | 2.5633 | 12.3283 | -4.8327 | -9.1814e-11 | -1.067e-10 | -91.0989 | -172.0256 | 38.0089 | 88.9055 | 7.9899 | -142.0087 |  | 0.89332 | 0.62475 | 0.4027 | 1.1908 | 0 | 0 | -4.054 | -166.6393 | 121.896 | -6.0249 | 0 | 0
Line_1 | 0.17793 | 0.94569 | 0.64415 | 0.17638 | 0.94504 | 0.64291 | 2.0545 | 10.9199 | 7.438 | 2.0367 | 10.9124 | 7.4237 | 0.14241 | 2.7317 | 0.98852 | 0.20845 | -2.3554e-11 | -2.2589e-11 | -2.1465 | -0.77139 | 1.6667 | 2.4164 | -3.5387e-11 | -1.8405e-11 | 88.9913 | 164.1813 | 60.9327 | -91.0945 | -15.7323 | -119.1528 |  | 1.0471 | 0.25994 | 0.26053 | 1.1908 | 0 | 0 | 2.787 | 148.4123 | 120.261 | -6.0249 | 0 | 0
Line_2 | 0.17793 | 0.94569 | 0.64415 | 0.17638 | 0.94504 | 0.64291 | 2.0545 | 10.9199 | 7.438 | 2.0367 | 10.9124 | 7.4237 | 0.14241 | 2.7317 | 0.98852 | 0.20845 | -2.3554e-11 | -2.2589e-11 | -2.1465 | -0.77139 | 1.6667 | 2.4164 | -3.5387e-11 | -1.8405e-11 | 88.9913 | 164.1813 | 60.9327 | -91.0945 | -15.7323 | -119.1528 |  | 1.0471 | 0.25994 | 0.26053 | 1.1908 | 0 | 0 | 2.787 | 148.4123 | 120.261 | -6.0249 | 0 | 0
Line_3 | 0.00066524 | 0.00066524 | 0.00066524 | 0.00066524 | 0.00066524 | 0.00066524 | 0.0076815 | 0.0076815 | 0.0076815 | 0.0076815 | 0.0076815 | 0.0076815 | -0.0037694 | 0.0017682 | 0.0020012 | -0.0037694 | 0.0017682 | 0.0020012 | -0.0071051 | 0.00092749 | -1.6516e-05 | -0.0071051 | 0.00092749 | -1.6516e-05 | 120.7339 | 120.7339 | 120.7339 | 120.7339 | 120.7339 | 120.7339 |  | 1.0471 | 0.25994 | 0.26053 | 1.0471 | 0.25994 | 0.26053 | 2.787 | 148.4123 | 120.261 | 2.787 | 148.4123 | 120.261

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11746 | 0.89391 | 0.75936 | 0.11776 | 0.89403 | 0.75909 | 1.3563 | 10.322 | 8.7683 | 1.3597 | 10.3233 | 8.7652 | 0.073546 | 8.1734 | 4.4759 | -0.10227 | -6.6205 | -4.0416 | 1.3068 | 4.629 | 5.9875 | -1.4229 | -4.767 | -4.8322 | -87.9305 | -158.3967 | 62.7091 | 92.0635 | 21.6213 | -117.3013 |  | 0.96506 | 0.91001 | 0.85256 | 1.0492 | 0.79026 | 0.7187 | -1.1517 | -128.8716 | 115.9291 | -2.0472 | -122.6232 | 112.7904
Line_1 | 0.059332 | 0.21643 | 0.21189 | 0.058878 | 0.21631 | 0.21146 | 0.6851 | 2.4991 | 2.4467 | 0.67987 | 2.4977 | 2.4418 | -0.015398 | 1.0035 | 1.5631 | 0.051133 | -0.8532 | -1.4227 | -0.69059 | 1.705 | 1.1693 | 0.71147 | -1.7799 | -1.0274 | 92.1091 | 172.871 | 77.0004 | -87.9365 | -7.0125 | -103.0439 |  | 1.0083 | 0.79165 | 0.79782 | 1.0492 | 0.79026 | 0.7187 | 0.83178 | -127.6093 | 113.8004 | -2.0472 | -122.6232 | 112.7904
Line_2 | 0.059332 | 0.21643 | 0.21189 | 0.058878 | 0.21631 | 0.21146 | 0.6851 | 2.4991 | 2.4467 | 0.67987 | 2.4977 | 2.4418 | -0.015398 | 1.0035 | 1.5631 | 0.051133 | -0.8532 | -1.4227 | -0.69059 | 1.705 | 1.1693 | 0.71147 | -1.7799 | -1.0274 | 92.1091 | 172.871 | 77.0004 | -87.9365 | -7.0125 | -103.0439 |  | 1.0083 | 0.79165 | 0.79782 | 1.0492 | 0.79026 | 0.7187 | 0.83178 | -127.6093 | 113.8004 | -2.0472 | -122.6232 | 112.7904
Line_3 | 0.00019354 | 0.00019354 | 0.00019354 | 0.00019354 | 0.00019354 | 0.00019354 | 0.0022349 | 0.0022349 | 0.0022349 | 0.0022349 | 0.0022349 | 0.0022349 | -0.0010999 | -0.00067253 | 0.0017724 | -0.0010999 | -0.00067253 | 0.0017724 | -0.0019666 | 0.0016364 | -0.00019407 | -0.0019666 | 0.0016364 | -0.00019407 | 120.0491 | 120.0491 | 120.0491 | 120.0491 | 120.0491 | 120.0491 |  | 1.0083 | 0.79165 | 0.79782 | 1.0083 | 0.79165 | 0.79782 | 0.83178 | -127.6093 | 113.8004 | 0.83178 | -127.6093 | 113.8004

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11746 | 0.89391 | 0.75936 | 0.11776 | 0.89403 | 0.75909 | 1.3563 | 10.322 | 8.7683 | 1.3597 | 10.3233 | 8.7652 | 0.073546 | 8.1734 | 4.4759 | -0.10227 | -6.6205 | -4.0416 | 1.3068 | 4.629 | 5.9875 | -1.4229 | -4.767 | -4.8322 | -87.9305 | -158.3967 | 62.7091 | 92.0635 | 21.6213 | -117.3013 |  | 0.96506 | 0.91001 | 0.85256 | 1.0492 | 0.79026 | 0.7187 | -1.1517 | -128.8716 | 115.9291 | -2.0472 | -122.6232 | 112.7904
Line_1 | 0.059332 | 0.21643 | 0.21189 | 0.058878 | 0.21631 | 0.21146 | 0.6851 | 2.4991 | 2.4467 | 0.67987 | 2.4977 | 2.4418 | -0.015398 | 1.0035 | 1.5631 | 0.051133 | -0.8532 | -1.4227 | -0.69059 | 1.705 | 1.1693 | 0.71147 | -1.7799 | -1.0274 | 92.1091 | 172.871 | 77.0004 | -87.9365 | -7.0125 | -103.0439 |  | 1.0083 | 0.79165 | 0.79782 | 1.0492 | 0.79026 | 0.7187 | 0.83178 | -127.6093 | 113.8004 | -2.0472 | -122.6232 | 112.7904
Line_2 | 0.059332 | 0.21643 | 0.21189 | 0.058878 | 0.21631 | 0.21146 | 0.6851 | 2.4991 | 2.4467 | 0.67987 | 2.4977 | 2.4418 | -0.015398 | 1.0035 | 1.5631 | 0.051133 | -0.8532 | -1.4227 | -0.69059 | 1.705 | 1.1693 | 0.71147 | -1.7799 | -1.0274 | 92.1091 | 172.871 | 77.0004 | -87.9365 | -7.0125 | -103.0439 |  | 1.0083 | 0.79165 | 0.79782 | 1.0492 | 0.79026 | 0.7187 | 0.83178 | -127.6093 | 113.8004 | -2.0472 | -122.6232 | 112.7904
Line_3 | 0.00019354 | 0.00019354 | 0.00019354 | 0.00019354 | 0.00019354 | 0.00019354 | 0.0022349 | 0.0022349 | 0.0022349 | 0.0022349 | 0.0022349 | 0.0022349 | -0.0010999 | -0.00067253 | 0.0017724 | -0.0010999 | -0.00067253 | 0.0017724 | -0.0019666 | 0.0016364 | -0.00019407 | -0.0019666 | 0.0016364 | -0.00019407 | 120.0491 | 120.0491 | 120.0491 | 120.0491 | 120.0491 | 120.0491 |  | 1.0083 | 0.79165 | 0.79782 | 1.0083 | 0.79165 | 0.79782 | 0.83178 | -127.6093 | 113.8004 | 0.83178 | -127.6093 | 113.8004