## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -6.7738e-14 | 30.1766 | -15.8685 | 5.2106e-14 | -23.0225 | 23.0225 | -1.0823e-27 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 9.1544e-13 | -161.8563 | 152.6723 | 9.6007e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.0421e-14 | 2.0843e-14 | -1.0421e-14 | 2.6053e-14 | -2.0843e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.5661e-13 | -180 | 180 | 9.6007e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7496e-28 | -1.0421e-14 | 2.0843e-14 | -2.0843e-14 | 2.6053e-14 | -2.0843e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.6191e-13 | -180 | 180 | 9.6007e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.3027e-14 | 5.2106e-15 | -5.2106e-15 | 7.816e-15 | -1.0421e-14 | 1.0421e-14 | -7.816e-15 | -1.2609e-25 | -8.7479e-29 | 5.2106e-15 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.5661e-13 | -180 | 180 | 9.6191e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -6.7738e-14 | 30.1766 | -15.8685 | 5.2106e-14 | -23.0225 | 23.0225 | -1.0823e-27 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 9.1544e-13 | -161.8563 | 152.6723 | 9.6007e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.0421e-14 | 2.0843e-14 | -1.0421e-14 | 2.6053e-14 | -2.0843e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.5661e-13 | -180 | 180 | 9.6007e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7496e-28 | -1.0421e-14 | 2.0843e-14 | -2.0843e-14 | 2.6053e-14 | -2.0843e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.6191e-13 | -180 | 180 | 9.6007e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.3027e-14 | 5.2106e-15 | -5.2106e-15 | 7.816e-15 | -1.0421e-14 | 1.0421e-14 | -7.816e-15 | -1.2609e-25 | -8.7479e-29 | 5.2106e-15 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.5661e-13 | -180 | 180 | 9.6191e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.3448e-14 | 19.0761 | -0.30087 | 1.8237e-14 | -17.4596 | 1.9173 | 5.2106e-15 | 3.9919 | 15.2185 | -5.2106e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.7262e-13 | -138.0936 | 121.2196 | 3.8756e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 4.734e-10 | 1.0338e-09 | -1.5632e-14 | -4.7339e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 5.2106e-15 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8503e-13 | -142.8673 | 128.239 | 3.8756e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-14 | 4.734e-10 | 1.0337e-09 | -1.8237e-14 | -4.7339e-10 | -1.0337e-09 | -1.0421e-14 | -1.3544e-09 | 3.8387e-10 | 7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8801e-13 | -142.8673 | 128.239 | 3.8756e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.2355e-15 | 6.8893e-15 | -2.6053e-15 | 7.3662e-15 | -1.9472e-15 | 2.6053e-15 | -1.6317e-15 | 1.4234e-15 | -5.2106e-15 | 4.4313e-16 | 2.471e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8503e-13 | -142.8673 | 128.239 | 3.8801e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.3448e-14 | 19.0761 | -0.30087 | 1.8237e-14 | -17.4596 | 1.9173 | 5.2106e-15 | 3.9919 | 15.2185 | -5.2106e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.7262e-13 | -138.0936 | 121.2196 | 3.8756e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 4.734e-10 | 1.0338e-09 | -1.5632e-14 | -4.7339e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 5.2106e-15 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8503e-13 | -142.8673 | 128.239 | 3.8756e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-14 | 4.734e-10 | 1.0337e-09 | -1.8237e-14 | -4.7339e-10 | -1.0337e-09 | -1.0421e-14 | -1.3544e-09 | 3.8387e-10 | 7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8801e-13 | -142.8673 | 128.239 | 3.8756e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.2355e-15 | 6.8893e-15 | -2.6053e-15 | 7.3662e-15 | -1.9472e-15 | 2.6053e-15 | -1.6317e-15 | 1.4234e-15 | -5.2106e-15 | 4.4313e-16 | 2.471e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8503e-13 | -142.8673 | 128.239 | 3.8801e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.1842e-14 | 26.5997 | -7.1734 | 1.4211e-14 | -16.8865 | 16.8865 | -2.8422e-14 | -0.51586 | 11.9957 | 2.8422e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 6.5284e-13 | -160.7833 | 141.207 | 6.0612e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -4.7369e-15 | -4.7369e-15 | 1.6579e-14 | 4.7369e-15 | 4.7369e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.7728e-13 | -180 | 180 | 6.0612e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -4.7369e-15 | -4.7369e-15 | 1.1842e-14 | 9.4739e-15 | 4.7369e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.8908e-13 | -180 | 180 | 6.0612e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | -4.737e-15 | 2.3685e-15 | -1.1842e-15 | 7.1054e-15 | 4.737e-15 | -9.4739e-15 | 1.4211e-14 | -9.4739e-15 | 1.4211e-14 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.7728e-13 | -180 | 180 | 5.8908e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.1842e-14 | 26.5997 | -7.1734 | 1.4211e-14 | -16.8865 | 16.8865 | -2.8422e-14 | -0.51586 | 11.9957 | 2.8422e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 6.5284e-13 | -160.7833 | 141.207 | 6.0612e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -4.7369e-15 | -4.7369e-15 | 1.6579e-14 | 4.7369e-15 | 4.7369e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.7728e-13 | -180 | 180 | 6.0612e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -4.7369e-15 | -4.7369e-15 | 1.1842e-14 | 9.4739e-15 | 4.7369e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.8908e-13 | -180 | 180 | 6.0612e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | -4.737e-15 | 2.3685e-15 | -1.1842e-15 | 7.1054e-15 | 4.737e-15 | -9.4739e-15 | 1.4211e-14 | -9.4739e-15 | 1.4211e-14 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.7728e-13 | -180 | 180 | 5.8908e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.7764e-15 | 15.3932 | 0.73601 | 1.7764e-15 | -13.0917 | 1.5655 | -1.4211e-14 | 2.3135 | 11.9328 | 1.4211e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.9265e-13 | -138.1765 | 119.7467 | 2.6512e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2615e-10 | 3.5527e-15 | -4.798e-10 | -8.2615e-10 | 4.737e-15 | -1.0532e-09 | 4.5325e-10 | -9.4739e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.4975e-13 | -142.5584 | 131.6989 | 2.6512e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.798e-10 | 8.2616e-10 | 3.5527e-15 | -4.798e-10 | -8.2616e-10 | -2.1183e-29 | -1.0532e-09 | 4.5326e-10 | -4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.5622e-13 | -142.5584 | 131.6989 | 2.6512e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 7.0841e-15 | -1.921e-15 | -1.7764e-15 | -7.8323e-15 | 2.4013e-15 | 2.3685e-15 | 9.5739e-16 | 2.1562e-15 | -7.1054e-15 | 2.9366e-15 | -2.6952e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.4975e-13 | -142.5584 | 131.6989 | 2.5622e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.7764e-15 | 15.3932 | 0.73601 | 1.7764e-15 | -13.0917 | 1.5655 | -1.4211e-14 | 2.3135 | 11.9328 | 1.4211e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.9265e-13 | -138.1765 | 119.7467 | 2.6512e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2615e-10 | 3.5527e-15 | -4.798e-10 | -8.2615e-10 | 4.737e-15 | -1.0532e-09 | 4.5325e-10 | -9.4739e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.4975e-13 | -142.5584 | 131.6989 | 2.6512e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.798e-10 | 8.2616e-10 | 3.5527e-15 | -4.798e-10 | -8.2616e-10 | -2.1183e-29 | -1.0532e-09 | 4.5326e-10 | -4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.5622e-13 | -142.5584 | 131.6989 | 2.6512e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 7.0841e-15 | -1.921e-15 | -1.7764e-15 | -7.8323e-15 | 2.4013e-15 | 2.3685e-15 | 9.5739e-16 | 2.1562e-15 | -7.1054e-15 | 2.9366e-15 | -2.6952e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.4975e-13 | -142.5584 | 131.6989 | 2.5622e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5892 | 0.0162 | 0.0162 | 1.5853 | 0.01234 | 0.01234 | 18.3501 | 0.18706 | 0.18706 | 18.3056 | 0.14249 | 0.14249 | 4.0315 | 0.19875 | -0.15757 | 7.326e-11 | -0.13592 | 0.13555 | 2.231 | -0.22402 | -0.21625 | -2.1226e-11 | 0.17725 | 0.1778 | -77.7235 | -88.7521 | -88.7521 | 102.2928 | 89.8846 | 89.8846 | 0.2511 | 1.6009 | 1.4304 | 0 | 1.5677 | 1.5691 | -48.7641 | -137.1726 | 145.1704 | 0 | -142.6336 | 142.5643
Line_1 | 0.002057 | 0.002057 | 0.002057 | 0.0061698 | 0.0061698 | 0.0061698 | 0.023753 | 0.023753 | 0.023753 | 0.071243 | 0.071243 | 0.071243 | 3.127e-05 | -0.022643 | 0.022612 | -2.9621e-13 | 0.067962 | -0.067774 | 1.244e-05 | 0.029549 | 0.029664 | 1.9414e-14 | -0.088627 | -0.088901 | 89.8543 | 89.8543 | 89.8543 | -90.1154 | -90.1154 | -90.1154 | 0.0014168 | 1.5673 | 1.5703 | 0 | 1.5677 | 1.5691 | 111.5487 | -142.6834 | 142.5377 | 0 | -142.6336 | 142.5643
Line_2 | 0.002057 | 0.002057 | 0.002057 | 0.0061698 | 0.0061698 | 0.0061698 | 0.023753 | 0.023753 | 0.023753 | 0.071243 | 0.071243 | 0.071243 | 3.127e-05 | -0.022643 | 0.022612 | -2.9621e-13 | 0.067962 | -0.067774 | 1.244e-05 | 0.029549 | 0.029664 | 1.9414e-14 | -0.088627 | -0.088901 | 89.8543 | 89.8543 | 89.8543 | -90.1154 | -90.1154 | -90.1154 | 0.0014168 | 1.5673 | 1.5703 | 0 | 1.5677 | 1.5691 | 111.5487 | -142.6834 | 142.5377 | 0 | -142.6336 | 142.5643
Line_3 | 0.002057 | 0.002057 | 0.002057 | 0.002057 | 0.002057 | 0.002057 | 0.023753 | 0.023753 | 0.023753 | 0.023753 | 0.023753 | 0.023753 | -3.127e-05 | 0.022643 | -0.022612 | -3.127e-05 | 0.022643 | -0.022612 | -1.244e-05 | -0.029549 | -0.029664 | -1.244e-05 | -0.029549 | -0.029664 | -90.1457 | -90.1457 | -90.1457 | -90.1457 | -90.1457 | -90.1457 | 0.0014168 | 1.5673 | 1.5703 | 0.0014168 | 1.5673 | 1.5703 | 111.5487 | -142.6834 | 142.5377 | 111.5487 | -142.6834 | 142.5377

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5892 | 0.0162 | 0.0162 | 1.5853 | 0.01234 | 0.01234 | 18.3501 | 0.18706 | 0.18706 | 18.3056 | 0.14249 | 0.14249 | 4.0315 | 0.19875 | -0.15757 | 7.326e-11 | -0.13592 | 0.13555 | 2.231 | -0.22402 | -0.21625 | -2.1226e-11 | 0.17725 | 0.1778 | -77.7235 | -88.7521 | -88.7521 | 102.2928 | 89.8846 | 89.8846 | 0.2511 | 1.6009 | 1.4304 | 0 | 1.5677 | 1.5691 | -48.7641 | -137.1726 | 145.1704 | 0 | -142.6336 | 142.5643
Line_1 | 0.002057 | 0.002057 | 0.002057 | 0.0061698 | 0.0061698 | 0.0061698 | 0.023753 | 0.023753 | 0.023753 | 0.071243 | 0.071243 | 0.071243 | 3.127e-05 | -0.022643 | 0.022612 | -2.9621e-13 | 0.067962 | -0.067774 | 1.244e-05 | 0.029549 | 0.029664 | 1.9414e-14 | -0.088627 | -0.088901 | 89.8543 | 89.8543 | 89.8543 | -90.1154 | -90.1154 | -90.1154 | 0.0014168 | 1.5673 | 1.5703 | 0 | 1.5677 | 1.5691 | 111.5487 | -142.6834 | 142.5377 | 0 | -142.6336 | 142.5643
Line_2 | 0.002057 | 0.002057 | 0.002057 | 0.0061698 | 0.0061698 | 0.0061698 | 0.023753 | 0.023753 | 0.023753 | 0.071243 | 0.071243 | 0.071243 | 3.127e-05 | -0.022643 | 0.022612 | -2.9621e-13 | 0.067962 | -0.067774 | 1.244e-05 | 0.029549 | 0.029664 | 1.9414e-14 | -0.088627 | -0.088901 | 89.8543 | 89.8543 | 89.8543 | -90.1154 | -90.1154 | -90.1154 | 0.0014168 | 1.5673 | 1.5703 | 0 | 1.5677 | 1.5691 | 111.5487 | -142.6834 | 142.5377 | 0 | -142.6336 | 142.5643
Line_3 | 0.002057 | 0.002057 | 0.002057 | 0.002057 | 0.002057 | 0.002057 | 0.023753 | 0.023753 | 0.023753 | 0.023753 | 0.023753 | 0.023753 | -3.127e-05 | 0.022643 | -0.022612 | -3.127e-05 | 0.022643 | -0.022612 | -1.244e-05 | -0.029549 | -0.029664 | -1.244e-05 | -0.029549 | -0.029664 | -90.1457 | -90.1457 | -90.1457 | -90.1457 | -90.1457 | -90.1457 | 0.0014168 | 1.5673 | 1.5703 | 0.0014168 | 1.5673 | 1.5703 | 111.5487 | -142.6834 | 142.5377 | 111.5487 | -142.6834 | 142.5377

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.88251 | 0.0089963 | 0.0089963 | 0.88037 | 0.0068526 | 0.0068526 | 10.1903 | 0.10388 | 0.10388 | 10.1657 | 0.079127 | 0.079127 | 5.0908 | 0.085779 | -0.10404 | -3.8393 | -0.061469 | 0.084096 | 4.5508 | -0.11898 | -0.062951 | -3.8523 | 0.092213 | 0.05299 | -62.5274 | -73.556 | -73.556 | 117.4889 | 105.0806 | 105.0806 | 0.67008 | 1.412 | 1.1706 | 0.53502 | 1.4006 | 1.2562 | -20.7335 | -127.7656 | 137.6198 | -17.4145 | -131.2323 | 137.296
Line_1 | 0.0011423 | 0.0011423 | 0.0011423 | 0.0034263 | 0.0034263 | 0.0034263 | 0.013191 | 0.013191 | 0.013191 | 0.039563 | 0.039563 | 0.039563 | -0.0037785 | -0.010245 | 0.014024 | 0.011372 | 0.030734 | -0.042048 | -0.0059504 | 0.015371 | 0.0088447 | 0.017853 | -0.046107 | -0.026495 | 105.0504 | 105.0504 | 105.0504 | -74.9194 | -74.9194 | -74.9194 | 0.53438 | 1.4004 | 1.257 | 0.53502 | 1.4006 | 1.2562 | -17.3651 | -131.2637 | 137.2895 | -17.4145 | -131.2323 | 137.296
Line_2 | 0.0011423 | 0.0011423 | 0.0011423 | 0.0034263 | 0.0034263 | 0.0034263 | 0.013191 | 0.013191 | 0.013191 | 0.039563 | 0.039563 | 0.039563 | -0.0037785 | -0.010245 | 0.014024 | 0.011372 | 0.030734 | -0.042048 | -0.0059504 | 0.015371 | 0.0088447 | 0.017853 | -0.046107 | -0.026495 | 105.0504 | 105.0504 | 105.0504 | -74.9194 | -74.9194 | -74.9194 | 0.53438 | 1.4004 | 1.257 | 0.53502 | 1.4006 | 1.2562 | -17.3651 | -131.2637 | 137.2895 | -17.4145 | -131.2323 | 137.296
Line_3 | 0.0011423 | 0.0011423 | 0.0011423 | 0.0011423 | 0.0011423 | 0.0011423 | 0.013191 | 0.013191 | 0.013191 | 0.013191 | 0.013191 | 0.013191 | 0.0037785 | 0.010245 | -0.014024 | 0.0037785 | 0.010245 | -0.014024 | 0.0059504 | -0.015371 | -0.0088447 | 0.0059504 | -0.015371 | -0.0088447 | -74.9496 | -74.9496 | -74.9496 | -74.9496 | -74.9496 | -74.9496 | 0.53438 | 1.4004 | 1.257 | 0.53438 | 1.4004 | 1.257 | -17.3651 | -131.2637 | 137.2895 | -17.3651 | -131.2637 | 137.2895

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.88251 | 0.0089963 | 0.0089963 | 0.88037 | 0.0068526 | 0.0068526 | 10.1903 | 0.10388 | 0.10388 | 10.1657 | 0.079127 | 0.079127 | 5.0908 | 0.085779 | -0.10404 | -3.8393 | -0.061469 | 0.084096 | 4.5508 | -0.11898 | -0.062951 | -3.8523 | 0.092213 | 0.05299 | -62.5274 | -73.556 | -73.556 | 117.4889 | 105.0806 | 105.0806 | 0.67008 | 1.412 | 1.1706 | 0.53502 | 1.4006 | 1.2562 | -20.7335 | -127.7656 | 137.6198 | -17.4145 | -131.2323 | 137.296
Line_1 | 0.0011423 | 0.0011423 | 0.0011423 | 0.0034263 | 0.0034263 | 0.0034263 | 0.013191 | 0.013191 | 0.013191 | 0.039563 | 0.039563 | 0.039563 | -0.0037785 | -0.010245 | 0.014024 | 0.011372 | 0.030734 | -0.042048 | -0.0059504 | 0.015371 | 0.0088447 | 0.017853 | -0.046107 | -0.026495 | 105.0504 | 105.0504 | 105.0504 | -74.9194 | -74.9194 | -74.9194 | 0.53438 | 1.4004 | 1.257 | 0.53502 | 1.4006 | 1.2562 | -17.3651 | -131.2637 | 137.2895 | -17.4145 | -131.2323 | 137.296
Line_2 | 0.0011423 | 0.0011423 | 0.0011423 | 0.0034263 | 0.0034263 | 0.0034263 | 0.013191 | 0.013191 | 0.013191 | 0.039563 | 0.039563 | 0.039563 | -0.0037785 | -0.010245 | 0.014024 | 0.011372 | 0.030734 | -0.042048 | -0.0059504 | 0.015371 | 0.0088447 | 0.017853 | -0.046107 | -0.026495 | 105.0504 | 105.0504 | 105.0504 | -74.9194 | -74.9194 | -74.9194 | 0.53438 | 1.4004 | 1.257 | 0.53502 | 1.4006 | 1.2562 | -17.3651 | -131.2637 | 137.2895 | -17.4145 | -131.2323 | 137.296
Line_3 | 0.0011423 | 0.0011423 | 0.0011423 | 0.0011423 | 0.0011423 | 0.0011423 | 0.013191 | 0.013191 | 0.013191 | 0.013191 | 0.013191 | 0.013191 | 0.0037785 | 0.010245 | -0.014024 | 0.0037785 | 0.010245 | -0.014024 | 0.0059504 | -0.015371 | -0.0088447 | 0.0059504 | -0.015371 | -0.0088447 | -74.9496 | -74.9496 | -74.9496 | -74.9496 | -74.9496 | -74.9496 | 0.53438 | 1.4004 | 1.257 | 0.53438 | 1.4004 | 1.257 | -17.3651 | -131.2637 | 137.2895 | -17.3651 | -131.2637 | 137.2895

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3561 | 0.0145 | 0.0145 | 1.3528 | 0.011167 | 0.011167 | 15.6594 | 0.16743 | 0.16743 | 15.6213 | 0.12894 | 0.12894 | 5.637 | 0.1739 | -0.11599 | -1.8808e-11 | -0.11195 | 0.11136 | 1.6045 | -0.17326 | -0.16504 | -1.5192e-11 | 0.14393 | 0.14683 | -67.9894 | -88.3768 | -88.3768 | 112.0416 | 89.2562 | 89.2562 | 0.37427 | 1.4661 | 1.2048 | 0 | 1.4142 | 1.4292 | -52.1006 | -133.2709 | 146.5242 | 0 | -142.8677 | 142.0782
Line_1 | 0.0018615 | 0.0018615 | 0.0018615 | 0.0055833 | 0.0055833 | 0.0055833 | 0.021495 | 0.021495 | 0.021495 | 0.064471 | 0.064471 | 0.064471 | 4.9167e-05 | -0.018638 | 0.018589 | 4.7282e-14 | 0.055976 | -0.055681 | 1.0188e-05 | 0.023985 | 0.024506 | 8.7866e-14 | -0.071966 | -0.073416 | 89.1981 | 89.1981 | 89.1981 | -90.7438 | -90.7438 | -90.7438 | 0.002336 | 1.4131 | 1.431 | 0 | 1.4142 | 1.4292 | 100.9044 | -142.9526 | 142.0167 | 0 | -142.8677 | 142.0782
Line_2 | 0.0018615 | 0.0018615 | 0.0018615 | 0.0055833 | 0.0055833 | 0.0055833 | 0.021495 | 0.021495 | 0.021495 | 0.064471 | 0.064471 | 0.064471 | 4.9167e-05 | -0.018638 | 0.018589 | 4.7282e-14 | 0.055976 | -0.055681 | 1.0188e-05 | 0.023985 | 0.024506 | 8.7866e-14 | -0.071966 | -0.073416 | 89.1981 | 89.1981 | 89.1981 | -90.7438 | -90.7438 | -90.7438 | 0.002336 | 1.4131 | 1.431 | 0 | 1.4142 | 1.4292 | 100.9044 | -142.9526 | 142.0167 | 0 | -142.8677 | 142.0782
Line_3 | 0.0018615 | 0.0018615 | 0.0018615 | 0.0018615 | 0.0018615 | 0.0018615 | 0.021495 | 0.021495 | 0.021495 | 0.021495 | 0.021495 | 0.021495 | -4.9167e-05 | 0.018638 | -0.018589 | -4.9167e-05 | 0.018638 | -0.018589 | -1.0188e-05 | -0.023985 | -0.024506 | -1.0188e-05 | -0.023985 | -0.024506 | -90.8019 | -90.8019 | -90.8019 | -90.8019 | -90.8019 | -90.8019 | 0.002336 | 1.4131 | 1.431 | 0.002336 | 1.4131 | 1.431 | 100.9044 | -142.9526 | 142.0167 | 100.9044 | -142.9526 | 142.0167

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3561 | 0.0145 | 0.0145 | 1.3528 | 0.011167 | 0.011167 | 15.6594 | 0.16743 | 0.16743 | 15.6213 | 0.12894 | 0.12894 | 5.637 | 0.1739 | -0.11599 | -1.8808e-11 | -0.11195 | 0.11136 | 1.6045 | -0.17326 | -0.16504 | -1.5192e-11 | 0.14393 | 0.14683 | -67.9894 | -88.3768 | -88.3768 | 112.0416 | 89.2562 | 89.2562 | 0.37427 | 1.4661 | 1.2048 | 0 | 1.4142 | 1.4292 | -52.1006 | -133.2709 | 146.5242 | 0 | -142.8677 | 142.0782
Line_1 | 0.0018615 | 0.0018615 | 0.0018615 | 0.0055833 | 0.0055833 | 0.0055833 | 0.021495 | 0.021495 | 0.021495 | 0.064471 | 0.064471 | 0.064471 | 4.9167e-05 | -0.018638 | 0.018589 | 4.7282e-14 | 0.055976 | -0.055681 | 1.0188e-05 | 0.023985 | 0.024506 | 8.7866e-14 | -0.071966 | -0.073416 | 89.1981 | 89.1981 | 89.1981 | -90.7438 | -90.7438 | -90.7438 | 0.002336 | 1.4131 | 1.431 | 0 | 1.4142 | 1.4292 | 100.9044 | -142.9526 | 142.0167 | 0 | -142.8677 | 142.0782
Line_2 | 0.0018615 | 0.0018615 | 0.0018615 | 0.0055833 | 0.0055833 | 0.0055833 | 0.021495 | 0.021495 | 0.021495 | 0.064471 | 0.064471 | 0.064471 | 4.9167e-05 | -0.018638 | 0.018589 | 4.7282e-14 | 0.055976 | -0.055681 | 1.0188e-05 | 0.023985 | 0.024506 | 8.7866e-14 | -0.071966 | -0.073416 | 89.1981 | 89.1981 | 89.1981 | -90.7438 | -90.7438 | -90.7438 | 0.002336 | 1.4131 | 1.431 | 0 | 1.4142 | 1.4292 | 100.9044 | -142.9526 | 142.0167 | 0 | -142.8677 | 142.0782
Line_3 | 0.0018615 | 0.0018615 | 0.0018615 | 0.0018615 | 0.0018615 | 0.0018615 | 0.021495 | 0.021495 | 0.021495 | 0.021495 | 0.021495 | 0.021495 | -4.9167e-05 | 0.018638 | -0.018589 | -4.9167e-05 | 0.018638 | -0.018589 | -1.0188e-05 | -0.023985 | -0.024506 | -1.0188e-05 | -0.023985 | -0.024506 | -90.8019 | -90.8019 | -90.8019 | -90.8019 | -90.8019 | -90.8019 | 0.002336 | 1.4131 | 1.431 | 0.002336 | 1.4131 | 1.431 | 100.9044 | -142.9526 | 142.0167 | 100.9044 | -142.9526 | 142.0167

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75905 | 0.008116 | 0.008116 | 0.75721 | 0.0062501 | 0.0062501 | 8.7648 | 0.093715 | 0.093715 | 8.7435 | 0.07217 | 0.07217 | 4.6072 | 0.079584 | -0.079256 | -2.8358 | -0.055505 | 0.067777 | 3.3653 | -0.089341 | -0.055915 | -2.8542 | 0.071272 | 0.050604 | -57.7286 | -78.1161 | -78.1161 | 122.3024 | 99.5169 | 99.5169 | 0.65094 | 1.2767 | 1.035 | 0.46017 | 1.2517 | 1.172 | -21.5821 | -126.4216 | 137.0869 | -12.5131 | -132.5724 | 136.2629
Line_1 | 0.0010419 | 0.0010419 | 0.0010419 | 0.0031251 | 0.0031251 | 0.0031251 | 0.012031 | 0.012031 | 0.012031 | 0.036085 | 0.036085 | 0.036085 | -0.002056 | -0.0092494 | 0.011305 | 0.0062285 | 0.027753 | -0.033889 | -0.0051309 | 0.011875 | 0.0084504 | 0.015393 | -0.035636 | -0.025302 | 99.4588 | 99.4588 | 99.4588 | -80.4831 | -80.4831 | -80.4831 | 0.45944 | 1.2511 | 1.1732 | 0.46017 | 1.2517 | 1.172 | -12.3774 | -132.6261 | 136.2358 | -12.5131 | -132.5724 | 136.2629
Line_2 | 0.0010419 | 0.0010419 | 0.0010419 | 0.0031251 | 0.0031251 | 0.0031251 | 0.012031 | 0.012031 | 0.012031 | 0.036085 | 0.036085 | 0.036085 | -0.002056 | -0.0092494 | 0.011305 | 0.0062285 | 0.027753 | -0.033889 | -0.0051309 | 0.011875 | 0.0084504 | 0.015393 | -0.035636 | -0.025302 | 99.4588 | 99.4588 | 99.4588 | -80.4831 | -80.4831 | -80.4831 | 0.45944 | 1.2511 | 1.1732 | 0.46017 | 1.2517 | 1.172 | -12.3774 | -132.6261 | 136.2358 | -12.5131 | -132.5724 | 136.2629
Line_3 | 0.0010419 | 0.0010419 | 0.0010419 | 0.0010419 | 0.0010419 | 0.0010419 | 0.012031 | 0.012031 | 0.012031 | 0.012031 | 0.012031 | 0.012031 | 0.002056 | 0.0092494 | -0.011305 | 0.002056 | 0.0092494 | -0.011305 | 0.0051309 | -0.011875 | -0.0084504 | 0.0051309 | -0.011875 | -0.0084504 | -80.5412 | -80.5412 | -80.5412 | -80.5412 | -80.5412 | -80.5412 | 0.45944 | 1.2511 | 1.1732 | 0.45944 | 1.2511 | 1.1732 | -12.3774 | -132.6261 | 136.2358 | -12.3774 | -132.6261 | 136.2358

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75905 | 0.008116 | 0.008116 | 0.75721 | 0.0062501 | 0.0062501 | 8.7648 | 0.093715 | 0.093715 | 8.7435 | 0.07217 | 0.07217 | 4.6072 | 0.079584 | -0.079256 | -2.8358 | -0.055505 | 0.067777 | 3.3653 | -0.089341 | -0.055915 | -2.8542 | 0.071272 | 0.050604 | -57.7286 | -78.1161 | -78.1161 | 122.3024 | 99.5169 | 99.5169 | 0.65094 | 1.2767 | 1.035 | 0.46017 | 1.2517 | 1.172 | -21.5821 | -126.4216 | 137.0869 | -12.5131 | -132.5724 | 136.2629
Line_1 | 0.0010419 | 0.0010419 | 0.0010419 | 0.0031251 | 0.0031251 | 0.0031251 | 0.012031 | 0.012031 | 0.012031 | 0.036085 | 0.036085 | 0.036085 | -0.002056 | -0.0092494 | 0.011305 | 0.0062285 | 0.027753 | -0.033889 | -0.0051309 | 0.011875 | 0.0084504 | 0.015393 | -0.035636 | -0.025302 | 99.4588 | 99.4588 | 99.4588 | -80.4831 | -80.4831 | -80.4831 | 0.45944 | 1.2511 | 1.1732 | 0.46017 | 1.2517 | 1.172 | -12.3774 | -132.6261 | 136.2358 | -12.5131 | -132.5724 | 136.2629
Line_2 | 0.0010419 | 0.0010419 | 0.0010419 | 0.0031251 | 0.0031251 | 0.0031251 | 0.012031 | 0.012031 | 0.012031 | 0.036085 | 0.036085 | 0.036085 | -0.002056 | -0.0092494 | 0.011305 | 0.0062285 | 0.027753 | -0.033889 | -0.0051309 | 0.011875 | 0.0084504 | 0.015393 | -0.035636 | -0.025302 | 99.4588 | 99.4588 | 99.4588 | -80.4831 | -80.4831 | -80.4831 | 0.45944 | 1.2511 | 1.1732 | 0.46017 | 1.2517 | 1.172 | -12.3774 | -132.6261 | 136.2358 | -12.5131 | -132.5724 | 136.2629
Line_3 | 0.0010419 | 0.0010419 | 0.0010419 | 0.0010419 | 0.0010419 | 0.0010419 | 0.012031 | 0.012031 | 0.012031 | 0.012031 | 0.012031 | 0.012031 | 0.002056 | 0.0092494 | -0.011305 | 0.002056 | 0.0092494 | -0.011305 | 0.0051309 | -0.011875 | -0.0084504 | 0.0051309 | -0.011875 | -0.0084504 | -80.5412 | -80.5412 | -80.5412 | -80.5412 | -80.5412 | -80.5412 | 0.45944 | 1.2511 | 1.1732 | 0.45944 | 1.2511 | 1.1732 | -12.3774 | -132.6261 | 136.2358 | -12.3774 | -132.6261 | 136.2358

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099223 | 3.7414 | 3.7417 | 0.0075579 | 3.7414 | 3.7411 | 0.11457 | 43.2025 | 43.2057 | 0.087271 | 43.202 | 43.199 | 0.0057367 | 8.8596 | 6.7293 | -0.00014078 | 8.9913e-11 | 1.268e-10 | -0.16999 | 4.5162 | 12.2859 | 0.1332 | -9.2885e-11 | -4.1928e-12 | 91.286 | -175.3291 | 19.7689 | -90.0774 | 4.7072 | -160.2664 | 1.4846 | 0.23018 | 0.32422 | 1.5263 | 0 | 0 | 3.2188 | -148.3188 | 81.0583 | -0.01681 | 0 | 0
Line_1 | 0.0012599 | 0.0012599 | 0.0012599 | 0.003779 | 0.003779 | 0.003779 | 0.014548 | 0.014548 | 0.014548 | 0.043636 | 0.043636 | 0.043636 | -2.3464e-05 | 1.1731e-05 | 1.1731e-05 | 7.0388e-05 | -8.5916e-14 | -3.9425e-14 | 0.022209 | 4.6669e-06 | 4.6669e-06 | -0.066599 | -9.8325e-14 | 1.2194e-13 | -90.1076 | -90.1076 | -90.1076 | 89.9226 | 89.9226 | 89.9226 | 1.5266 | 0.00086781 | 0.00086781 | 1.5263 | 0 | 0 | -0.047093 | -68.4132 | -68.4132 | -0.01681 | 0 | 0
Line_2 | 0.0012599 | 0.0012599 | 0.0012599 | 0.003779 | 0.003779 | 0.003779 | 0.014548 | 0.014548 | 0.014548 | 0.043636 | 0.043636 | 0.043636 | -2.3464e-05 | 1.1731e-05 | 1.1731e-05 | 7.0388e-05 | -8.5916e-14 | -3.9425e-14 | 0.022209 | 4.6669e-06 | 4.6669e-06 | -0.066599 | -9.8325e-14 | 1.2194e-13 | -90.1076 | -90.1076 | -90.1076 | 89.9226 | 89.9226 | 89.9226 | 1.5266 | 0.00086781 | 0.00086781 | 1.5263 | 0 | 0 | -0.047093 | -68.4132 | -68.4132 | -0.01681 | 0 | 0
Line_3 | 0.0012599 | 0.0012599 | 0.0012599 | 0.0012599 | 0.0012599 | 0.0012599 | 0.014548 | 0.014548 | 0.014548 | 0.014548 | 0.014548 | 0.014548 | 2.3462e-05 | -1.1731e-05 | -1.1731e-05 | 2.3462e-05 | -1.1731e-05 | -1.1731e-05 | -0.022209 | -4.6669e-06 | -4.6669e-06 | -0.022209 | -4.6669e-06 | -4.6669e-06 | 89.8924 | 89.8924 | 89.8924 | 89.8924 | 89.8924 | 89.8924 | 1.5266 | 0.00086781 | 0.00086781 | 1.5266 | 0.00086781 | 0.00086781 | -0.047093 | -68.4132 | -68.4132 | -0.047093 | -68.4132 | -68.4132

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099223 | 3.7414 | 3.7417 | 0.0075579 | 3.7414 | 3.7411 | 0.11457 | 43.2025 | 43.2057 | 0.087271 | 43.202 | 43.199 | 0.0057367 | 8.8596 | 6.7293 | -0.00014078 | 8.9913e-11 | 1.268e-10 | -0.16999 | 4.5162 | 12.2859 | 0.1332 | -9.2885e-11 | -4.1928e-12 | 91.286 | -175.3291 | 19.7689 | -90.0774 | 4.7072 | -160.2664 | 1.4846 | 0.23018 | 0.32422 | 1.5263 | 0 | 0 | 3.2188 | -148.3188 | 81.0583 | -0.01681 | 0 | 0
Line_1 | 0.0012599 | 0.0012599 | 0.0012599 | 0.003779 | 0.003779 | 0.003779 | 0.014548 | 0.014548 | 0.014548 | 0.043636 | 0.043636 | 0.043636 | -2.3464e-05 | 1.1731e-05 | 1.1731e-05 | 7.0388e-05 | -8.5916e-14 | -3.9425e-14 | 0.022209 | 4.6669e-06 | 4.6669e-06 | -0.066599 | -9.8325e-14 | 1.2194e-13 | -90.1076 | -90.1076 | -90.1076 | 89.9226 | 89.9226 | 89.9226 | 1.5266 | 0.00086781 | 0.00086781 | 1.5263 | 0 | 0 | -0.047093 | -68.4132 | -68.4132 | -0.01681 | 0 | 0
Line_2 | 0.0012599 | 0.0012599 | 0.0012599 | 0.003779 | 0.003779 | 0.003779 | 0.014548 | 0.014548 | 0.014548 | 0.043636 | 0.043636 | 0.043636 | -2.3464e-05 | 1.1731e-05 | 1.1731e-05 | 7.0388e-05 | -8.5916e-14 | -3.9425e-14 | 0.022209 | 4.6669e-06 | 4.6669e-06 | -0.066599 | -9.8325e-14 | 1.2194e-13 | -90.1076 | -90.1076 | -90.1076 | 89.9226 | 89.9226 | 89.9226 | 1.5266 | 0.00086781 | 0.00086781 | 1.5263 | 0 | 0 | -0.047093 | -68.4132 | -68.4132 | -0.01681 | 0 | 0
Line_3 | 0.0012599 | 0.0012599 | 0.0012599 | 0.0012599 | 0.0012599 | 0.0012599 | 0.014548 | 0.014548 | 0.014548 | 0.014548 | 0.014548 | 0.014548 | 2.3462e-05 | -1.1731e-05 | -1.1731e-05 | 2.3462e-05 | -1.1731e-05 | -1.1731e-05 | -0.022209 | -4.6669e-06 | -4.6669e-06 | -0.022209 | -4.6669e-06 | -4.6669e-06 | 89.8924 | 89.8924 | 89.8924 | 89.8924 | 89.8924 | 89.8924 | 1.5266 | 0.00086781 | 0.00086781 | 1.5266 | 0.00086781 | 0.00086781 | -0.047093 | -68.4132 | -68.4132 | -0.047093 | -68.4132 | -68.4132

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006702 | 1.1135 | 1.2464 | 0.0051049 | 1.1135 | 1.2455 | 0.077388 | 12.8576 | 14.3921 | 0.058947 | 12.8581 | 14.3819 | -0.014568 | 7.0942 | 8.7688 | 0.012558 | -6.1754 | -7.7609 | -0.10317 | 6.2059 | 9.5204 | 0.080584 | -6.2318 | -7.7117 | 102.5349 | -161.4855 | 50.5724 | -78.8285 | 18.5969 | -129.489 | 1.3464 | 0.73307 | 0.89934 | 1.3836 | 0.68231 | 0.76074 | 4.4978 | -120.3066 | 97.9256 | 2.3142 | -116.1428 | 95.3289
Line_1 | 0.000851 | 0.000851 | 0.000851 | 0.0025525 | 0.0025525 | 0.0025525 | 0.0098265 | 0.0098265 | 0.0098265 | 0.029473 | 0.029473 | 0.029473 | 0.0020916 | 0.00534 | -0.0074316 | -0.0062789 | -0.015994 | 0.022305 | 0.013437 | -0.0040594 | 0.00075916 | -0.040292 | 0.012191 | -0.0022824 | -78.8588 | -78.8588 | -78.8588 | 101.1715 | 101.1715 | 101.1715 | 1.3839 | 0.68262 | 0.76022 | 1.3836 | 0.68231 | 0.76074 | 2.2933 | -116.1006 | 95.3085 | 2.3142 | -116.1428 | 95.3289
Line_2 | 0.000851 | 0.000851 | 0.000851 | 0.0025525 | 0.0025525 | 0.0025525 | 0.0098265 | 0.0098265 | 0.0098265 | 0.029473 | 0.029473 | 0.029473 | 0.0020916 | 0.00534 | -0.0074316 | -0.0062789 | -0.015994 | 0.022305 | 0.013437 | -0.0040594 | 0.00075916 | -0.040292 | 0.012191 | -0.0022824 | -78.8588 | -78.8588 | -78.8588 | 101.1715 | 101.1715 | 101.1715 | 1.3839 | 0.68262 | 0.76022 | 1.3836 | 0.68231 | 0.76074 | 2.2933 | -116.1006 | 95.3085 | 2.3142 | -116.1428 | 95.3289
Line_3 | 0.000851 | 0.000851 | 0.000851 | 0.000851 | 0.000851 | 0.000851 | 0.0098265 | 0.0098265 | 0.0098265 | 0.0098265 | 0.0098265 | 0.0098265 | -0.0020917 | -0.00534 | 0.0074316 | -0.0020917 | -0.00534 | 0.0074316 | -0.013437 | 0.0040594 | -0.00075917 | -0.013437 | 0.0040594 | -0.00075917 | 101.1412 | 101.1412 | 101.1412 | 101.1412 | 101.1412 | 101.1412 | 1.3839 | 0.68262 | 0.76022 | 1.3839 | 0.68262 | 0.76022 | 2.2933 | -116.1006 | 95.3085 | 2.2933 | -116.1006 | 95.3085

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006702 | 1.1135 | 1.2464 | 0.0051049 | 1.1135 | 1.2455 | 0.077388 | 12.8576 | 14.3921 | 0.058947 | 12.8581 | 14.3819 | -0.014568 | 7.0942 | 8.7688 | 0.012558 | -6.1754 | -7.7609 | -0.10317 | 6.2059 | 9.5204 | 0.080584 | -6.2318 | -7.7117 | 102.5349 | -161.4855 | 50.5724 | -78.8285 | 18.5969 | -129.489 | 1.3464 | 0.73307 | 0.89934 | 1.3836 | 0.68231 | 0.76074 | 4.4978 | -120.3066 | 97.9256 | 2.3142 | -116.1428 | 95.3289
Line_1 | 0.000851 | 0.000851 | 0.000851 | 0.0025525 | 0.0025525 | 0.0025525 | 0.0098265 | 0.0098265 | 0.0098265 | 0.029473 | 0.029473 | 0.029473 | 0.0020916 | 0.00534 | -0.0074316 | -0.0062789 | -0.015994 | 0.022305 | 0.013437 | -0.0040594 | 0.00075916 | -0.040292 | 0.012191 | -0.0022824 | -78.8588 | -78.8588 | -78.8588 | 101.1715 | 101.1715 | 101.1715 | 1.3839 | 0.68262 | 0.76022 | 1.3836 | 0.68231 | 0.76074 | 2.2933 | -116.1006 | 95.3085 | 2.3142 | -116.1428 | 95.3289
Line_2 | 0.000851 | 0.000851 | 0.000851 | 0.0025525 | 0.0025525 | 0.0025525 | 0.0098265 | 0.0098265 | 0.0098265 | 0.029473 | 0.029473 | 0.029473 | 0.0020916 | 0.00534 | -0.0074316 | -0.0062789 | -0.015994 | 0.022305 | 0.013437 | -0.0040594 | 0.00075916 | -0.040292 | 0.012191 | -0.0022824 | -78.8588 | -78.8588 | -78.8588 | 101.1715 | 101.1715 | 101.1715 | 1.3839 | 0.68262 | 0.76022 | 1.3836 | 0.68231 | 0.76074 | 2.2933 | -116.1006 | 95.3085 | 2.3142 | -116.1428 | 95.3289
Line_3 | 0.000851 | 0.000851 | 0.000851 | 0.000851 | 0.000851 | 0.000851 | 0.0098265 | 0.0098265 | 0.0098265 | 0.0098265 | 0.0098265 | 0.0098265 | -0.0020917 | -0.00534 | 0.0074316 | -0.0020917 | -0.00534 | 0.0074316 | -0.013437 | 0.0040594 | -0.00075917 | -0.013437 | 0.0040594 | -0.00075917 | 101.1412 | 101.1412 | 101.1412 | 101.1412 | 101.1412 | 101.1412 | 1.3839 | 0.68262 | 0.76022 | 1.3839 | 0.68262 | 0.76022 | 2.2933 | -116.1006 | 95.3085 | 2.2933 | -116.1006 | 95.3085

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0089096 | 3.1612 | 3.1334 | 0.0068613 | 3.1613 | 3.1328 | 0.10288 | 36.5023 | 36.1819 | 0.079227 | 36.5034 | 36.1744 | 0.0081324 | 11.6335 | 9.595 | -0.00022276 | -1.5391e-10 | -1.4736e-11 | -0.13508 | 0.65712 | 11.2351 | 0.10978 | -1.3737e-10 | -2.0522e-10 | 92.058 | -167.3179 | 28.0414 | -90.3091 | 12.7196 | -151.9946 | 1.3154 | 0.31921 | 0.40835 | 1.3856 | 0 | 0 | 5.5033 | -164.085 | 77.5436 | -0.1928 | 0 | 0
Line_1 | 0.0011438 | 0.0011438 | 0.0011438 | 0.0034306 | 0.0034306 | 0.0034306 | 0.013207 | 0.013207 | 0.013207 | 0.039614 | 0.039614 | 0.039614 | -3.7127e-05 | 1.8562e-05 | 1.8562e-05 | 0.00011138 | -1.8289e-13 | 2.0549e-13 | 0.018304 | 3.8463e-06 | 3.8462e-06 | -0.054888 | 1.2911e-13 | 9.2384e-14 | -90.3672 | -90.3672 | -90.3672 | 89.6909 | 89.6909 | 89.6909 | 1.3859 | 0.0014353 | 0.0014353 | 1.3856 | 0 | 0 | -0.25094 | -78.6608 | -78.6608 | -0.1928 | 0 | 0
Line_2 | 0.0011438 | 0.0011438 | 0.0011438 | 0.0034306 | 0.0034306 | 0.0034306 | 0.013207 | 0.013207 | 0.013207 | 0.039614 | 0.039614 | 0.039614 | -3.7127e-05 | 1.8562e-05 | 1.8562e-05 | 0.00011138 | -1.8289e-13 | 2.0549e-13 | 0.018304 | 3.8463e-06 | 3.8462e-06 | -0.054888 | 1.2911e-13 | 9.2384e-14 | -90.3672 | -90.3672 | -90.3672 | 89.6909 | 89.6909 | 89.6909 | 1.3859 | 0.0014353 | 0.0014353 | 1.3856 | 0 | 0 | -0.25094 | -78.6608 | -78.6608 | -0.1928 | 0 | 0
Line_3 | 0.0011438 | 0.0011438 | 0.0011438 | 0.0011438 | 0.0011438 | 0.0011438 | 0.013207 | 0.013207 | 0.013207 | 0.013207 | 0.013207 | 0.013207 | 3.7125e-05 | -1.8562e-05 | -1.8562e-05 | 3.7125e-05 | -1.8562e-05 | -1.8562e-05 | -0.018304 | -3.8462e-06 | -3.8462e-06 | -0.018304 | -3.8462e-06 | -3.8462e-06 | 89.6328 | 89.6328 | 89.6328 | 89.6328 | 89.6328 | 89.6328 | 1.3859 | 0.0014353 | 0.0014353 | 1.3859 | 0.0014353 | 0.0014353 | -0.25094 | -78.6608 | -78.6608 | -0.25094 | -78.6608 | -78.6608

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0089096 | 3.1612 | 3.1334 | 0.0068613 | 3.1613 | 3.1328 | 0.10288 | 36.5023 | 36.1819 | 0.079227 | 36.5034 | 36.1744 | 0.0081324 | 11.6335 | 9.595 | -0.00022276 | -1.5391e-10 | -1.4736e-11 | -0.13508 | 0.65712 | 11.2351 | 0.10978 | -1.3737e-10 | -2.0522e-10 | 92.058 | -167.3179 | 28.0414 | -90.3091 | 12.7196 | -151.9946 | 1.3154 | 0.31921 | 0.40835 | 1.3856 | 0 | 0 | 5.5033 | -164.085 | 77.5436 | -0.1928 | 0 | 0
Line_1 | 0.0011438 | 0.0011438 | 0.0011438 | 0.0034306 | 0.0034306 | 0.0034306 | 0.013207 | 0.013207 | 0.013207 | 0.039614 | 0.039614 | 0.039614 | -3.7127e-05 | 1.8562e-05 | 1.8562e-05 | 0.00011138 | -1.8289e-13 | 2.0549e-13 | 0.018304 | 3.8463e-06 | 3.8462e-06 | -0.054888 | 1.2911e-13 | 9.2384e-14 | -90.3672 | -90.3672 | -90.3672 | 89.6909 | 89.6909 | 89.6909 | 1.3859 | 0.0014353 | 0.0014353 | 1.3856 | 0 | 0 | -0.25094 | -78.6608 | -78.6608 | -0.1928 | 0 | 0
Line_2 | 0.0011438 | 0.0011438 | 0.0011438 | 0.0034306 | 0.0034306 | 0.0034306 | 0.013207 | 0.013207 | 0.013207 | 0.039614 | 0.039614 | 0.039614 | -3.7127e-05 | 1.8562e-05 | 1.8562e-05 | 0.00011138 | -1.8289e-13 | 2.0549e-13 | 0.018304 | 3.8463e-06 | 3.8462e-06 | -0.054888 | 1.2911e-13 | 9.2384e-14 | -90.3672 | -90.3672 | -90.3672 | 89.6909 | 89.6909 | 89.6909 | 1.3859 | 0.0014353 | 0.0014353 | 1.3856 | 0 | 0 | -0.25094 | -78.6608 | -78.6608 | -0.1928 | 0 | 0
Line_3 | 0.0011438 | 0.0011438 | 0.0011438 | 0.0011438 | 0.0011438 | 0.0011438 | 0.013207 | 0.013207 | 0.013207 | 0.013207 | 0.013207 | 0.013207 | 3.7125e-05 | -1.8562e-05 | -1.8562e-05 | 3.7125e-05 | -1.8562e-05 | -1.8562e-05 | -0.018304 | -3.8462e-06 | -3.8462e-06 | -0.018304 | -3.8462e-06 | -3.8462e-06 | 89.6328 | 89.6328 | 89.6328 | 89.6328 | 89.6328 | 89.6328 | 1.3859 | 0.0014353 | 0.0014353 | 1.3859 | 0.0014353 | 0.0014353 | -0.25094 | -78.6608 | -78.6608 | -0.25094 | -78.6608 | -78.6608

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0060209 | 0.99542 | 1.0685 | 0.0046368 | 0.99551 | 1.0677 | 0.069524 | 11.4942 | 12.338 | 0.053541 | 11.4952 | 12.3287 | -0.0060896 | 6.2574 | 7.1742 | 0.0067541 | -4.9383 | -5.6996 | -0.083304 | 4.4548 | 7.549 | 0.067076 | -4.9832 | -5.6649 | 99.5134 | -159.0813 | 52.6592 | -82.8536 | 20.9992 | -127.4022 | 1.2014 | 0.66827 | 0.84408 | 1.2591 | 0.61031 | 0.65181 | 5.3324 | -123.6337 | 99.1177 | 1.3964 | -113.742 | 97.4227
Line_1 | 0.00077295 | 0.00077295 | 0.00077295 | 0.0023184 | 0.0023184 | 0.0023184 | 0.0089253 | 0.0089253 | 0.0089253 | 0.02677 | 0.02677 | 0.02677 | 0.0011231 | 0.0046859 | -0.005809 | -0.0033771 | -0.014021 | 0.017449 | 0.011185 | -0.0027899 | -3.22e-05 | -0.033538 | 0.0083875 | 8.4155e-05 | -82.9117 | -82.9117 | -82.9117 | 97.1464 | 97.1464 | 97.1464 | 1.2594 | 0.61103 | 0.65086 | 1.2591 | 0.61031 | 0.65181 | 1.3543 | -113.6805 | 97.4058 | 1.3964 | -113.742 | 97.4227
Line_2 | 0.00077295 | 0.00077295 | 0.00077295 | 0.0023184 | 0.0023184 | 0.0023184 | 0.0089253 | 0.0089253 | 0.0089253 | 0.02677 | 0.02677 | 0.02677 | 0.0011231 | 0.0046859 | -0.005809 | -0.0033771 | -0.014021 | 0.017449 | 0.011185 | -0.0027899 | -3.22e-05 | -0.033538 | 0.0083875 | 8.4155e-05 | -82.9117 | -82.9117 | -82.9117 | 97.1464 | 97.1464 | 97.1464 | 1.2594 | 0.61103 | 0.65086 | 1.2591 | 0.61031 | 0.65181 | 1.3543 | -113.6805 | 97.4058 | 1.3964 | -113.742 | 97.4227
Line_3 | 0.00077295 | 0.00077295 | 0.00077295 | 0.00077295 | 0.00077295 | 0.00077295 | 0.0089253 | 0.0089253 | 0.0089253 | 0.0089253 | 0.0089253 | 0.0089253 | -0.0011231 | -0.0046859 | 0.005809 | -0.0011231 | -0.0046859 | 0.005809 | -0.011185 | 0.0027899 | 3.2199e-05 | -0.011185 | 0.0027899 | 3.2199e-05 | 97.0883 | 97.0883 | 97.0883 | 97.0883 | 97.0883 | 97.0883 | 1.2594 | 0.61103 | 0.65086 | 1.2594 | 0.61103 | 0.65086 | 1.3543 | -113.6805 | 97.4058 | 1.3543 | -113.6805 | 97.4058

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0060209 | 0.99542 | 1.0685 | 0.0046368 | 0.99551 | 1.0677 | 0.069524 | 11.4942 | 12.338 | 0.053541 | 11.4952 | 12.3287 | -0.0060896 | 6.2574 | 7.1742 | 0.0067541 | -4.9383 | -5.6996 | -0.083304 | 4.4548 | 7.549 | 0.067076 | -4.9832 | -5.6649 | 99.5134 | -159.0813 | 52.6592 | -82.8536 | 20.9992 | -127.4022 | 1.2014 | 0.66827 | 0.84408 | 1.2591 | 0.61031 | 0.65181 | 5.3324 | -123.6337 | 99.1177 | 1.3964 | -113.742 | 97.4227
Line_1 | 0.00077295 | 0.00077295 | 0.00077295 | 0.0023184 | 0.0023184 | 0.0023184 | 0.0089253 | 0.0089253 | 0.0089253 | 0.02677 | 0.02677 | 0.02677 | 0.0011231 | 0.0046859 | -0.005809 | -0.0033771 | -0.014021 | 0.017449 | 0.011185 | -0.0027899 | -3.22e-05 | -0.033538 | 0.0083875 | 8.4155e-05 | -82.9117 | -82.9117 | -82.9117 | 97.1464 | 97.1464 | 97.1464 | 1.2594 | 0.61103 | 0.65086 | 1.2591 | 0.61031 | 0.65181 | 1.3543 | -113.6805 | 97.4058 | 1.3964 | -113.742 | 97.4227
Line_2 | 0.00077295 | 0.00077295 | 0.00077295 | 0.0023184 | 0.0023184 | 0.0023184 | 0.0089253 | 0.0089253 | 0.0089253 | 0.02677 | 0.02677 | 0.02677 | 0.0011231 | 0.0046859 | -0.005809 | -0.0033771 | -0.014021 | 0.017449 | 0.011185 | -0.0027899 | -3.22e-05 | -0.033538 | 0.0083875 | 8.4155e-05 | -82.9117 | -82.9117 | -82.9117 | 97.1464 | 97.1464 | 97.1464 | 1.2594 | 0.61103 | 0.65086 | 1.2591 | 0.61031 | 0.65181 | 1.3543 | -113.6805 | 97.4058 | 1.3964 | -113.742 | 97.4227
Line_3 | 0.00077295 | 0.00077295 | 0.00077295 | 0.00077295 | 0.00077295 | 0.00077295 | 0.0089253 | 0.0089253 | 0.0089253 | 0.0089253 | 0.0089253 | 0.0089253 | -0.0011231 | -0.0046859 | 0.005809 | -0.0011231 | -0.0046859 | 0.005809 | -0.011185 | 0.0027899 | 3.2199e-05 | -0.011185 | 0.0027899 | 3.2199e-05 | 97.0883 | 97.0883 | 97.0883 | 97.0883 | 97.0883 | 97.0883 | 1.2594 | 0.61103 | 0.65086 | 1.2594 | 0.61103 | 0.65086 | 1.3543 | -113.6805 | 97.4058 | 1.3543 | -113.6805 | 97.4058