## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.7317e-14 | 30.1766 | -15.8685 | 5.7317e-14 | -23.0225 | 23.0225 | 1.5632e-14 | 3.131 | 13.1032 | -1.0421e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 7.4804e-13 | -161.8563 | 152.6723 | 7.8755e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 2.6054e-15 | 1.5632e-14 | -1.5632e-14 | 1.3084e-21 | -2.0843e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.9432e-13 | -180 | 180 | 7.8755e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-14 | -7.8159e-15 | 5.2107e-15 | -3.1264e-14 | 2.0843e-14 | -1.0421e-14 | 3.6544e-28 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.0366e-13 | -180 | 180 | 7.8755e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 2.3448e-14 | 1.0421e-14 | 5.2106e-15 | -1.5632e-14 | -1.0421e-14 | 5.2106e-15 | -1.8237e-14 | 5.2106e-15 | 5.2106e-15 | 1.5632e-14 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.9432e-13 | -180 | 180 | 8.0366e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.7317e-14 | 30.1766 | -15.8685 | 5.7317e-14 | -23.0225 | 23.0225 | 1.5632e-14 | 3.131 | 13.1032 | -1.0421e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 7.4804e-13 | -161.8563 | 152.6723 | 7.8755e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 2.6054e-15 | 1.5632e-14 | -1.5632e-14 | 1.3084e-21 | -2.0843e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.9432e-13 | -180 | 180 | 7.8755e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-14 | -7.8159e-15 | 5.2107e-15 | -3.1264e-14 | 2.0843e-14 | -1.0421e-14 | 3.6544e-28 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.0366e-13 | -180 | 180 | 7.8755e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 2.3448e-14 | 1.0421e-14 | 5.2106e-15 | -1.5632e-14 | -1.0421e-14 | 5.2106e-15 | -1.8237e-14 | 5.2106e-15 | 5.2106e-15 | 1.5632e-14 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.9432e-13 | -180 | 180 | 8.0366e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.3448e-14 | 19.0761 | -0.30087 | 1.8237e-14 | -17.4596 | 1.9173 | 2.6053e-15 | 3.9919 | 15.2185 | -2.6053e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.0162e-13 | -138.0936 | 121.2196 | 3.1427e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -1.3027e-14 | -4.7338e-10 | -1.0337e-09 | -1.5632e-14 | -1.3544e-09 | 3.8385e-10 | 1.3027e-14 | 1.3544e-09 | -3.8384e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.1762e-13 | -142.8673 | 128.239 | 3.1427e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.3403e-29 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7338e-10 | -1.0337e-09 | -1.3027e-14 | -1.3544e-09 | 3.8386e-10 | 1.0421e-14 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.2285e-13 | -142.8673 | 128.239 | 3.1427e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 6.97e-15 | -1.0476e-15 | -1.3027e-14 | 0 | -7.7889e-15 | -5.2106e-15 | -2.4241e-15 | -8.8365e-15 | -7.3403e-29 | 0 | 9.8841e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.1762e-13 | -142.8673 | 128.239 | 3.2285e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.3448e-14 | 19.0761 | -0.30087 | 1.8237e-14 | -17.4596 | 1.9173 | 2.6053e-15 | 3.9919 | 15.2185 | -2.6053e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.0162e-13 | -138.0936 | 121.2196 | 3.1427e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -1.3027e-14 | -4.7338e-10 | -1.0337e-09 | -1.5632e-14 | -1.3544e-09 | 3.8385e-10 | 1.3027e-14 | 1.3544e-09 | -3.8384e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.1762e-13 | -142.8673 | 128.239 | 3.1427e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.3403e-29 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7338e-10 | -1.0337e-09 | -1.3027e-14 | -1.3544e-09 | 3.8386e-10 | 1.0421e-14 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.2285e-13 | -142.8673 | 128.239 | 3.1427e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 6.97e-15 | -1.0476e-15 | -1.3027e-14 | 0 | -7.7889e-15 | -5.2106e-15 | -2.4241e-15 | -8.8365e-15 | -7.3403e-29 | 0 | 9.8841e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.1762e-13 | -142.8673 | 128.239 | 3.2285e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.3312e-28 | 26.5997 | -7.1734 | -2.3685e-15 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.3672e-13 | -160.7833 | 141.207 | 5.5028e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.4211e-14 | 8.9939e-20 | 1.8948e-14 | 1.7764e-14 | 7.1054e-15 | 2.8422e-14 | -1.5877e-09 | 1.5877e-09 | -2.8422e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.4459e-13 | -180 | 180 | 5.5028e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -1.4211e-14 | -4.7369e-15 | 1.4211e-14 | 1.7764e-14 | 1.1842e-14 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.4482e-13 | -180 | 180 | 5.5028e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 4.737e-15 | 4.737e-15 | -3.5527e-15 | 0 | 1.4211e-14 | 1.1842e-14 | 9.4739e-15 | -1.8948e-14 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.4459e-13 | -180 | 180 | 5.4482e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.3312e-28 | 26.5997 | -7.1734 | -2.3685e-15 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.3672e-13 | -160.7833 | 141.207 | 5.5028e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.4211e-14 | 8.9939e-20 | 1.8948e-14 | 1.7764e-14 | 7.1054e-15 | 2.8422e-14 | -1.5877e-09 | 1.5877e-09 | -2.8422e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.4459e-13 | -180 | 180 | 5.5028e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -1.4211e-14 | -4.7369e-15 | 1.4211e-14 | 1.7764e-14 | 1.1842e-14 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.4482e-13 | -180 | 180 | 5.5028e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 4.737e-15 | 4.737e-15 | -3.5527e-15 | 0 | 1.4211e-14 | 1.1842e-14 | 9.4739e-15 | -1.8948e-14 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.4459e-13 | -180 | 180 | 5.4482e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 5.9212e-16 | 15.3932 | 0.73601 | -5.9212e-16 | -13.0917 | 1.5655 | -9.4739e-15 | 2.3135 | 11.9328 | 7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.1473e-13 | -138.1765 | 119.7467 | 2.113e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.7979e-10 | 8.2616e-10 | 7.6975e-15 | -4.7978e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | -1.1842e-14 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0474e-13 | -142.5584 | 131.6989 | 2.113e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.7979e-10 | 8.2615e-10 | 5.9212e-15 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0514e-13 | -142.5584 | 131.6989 | 2.113e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | -3.5642e-15 | 6.7136e-15 | 1.1842e-15 | 7.5024e-15 | -1.4408e-15 | 2.3685e-15 | 1.7378e-15 | 1.1468e-15 | -7.1054e-15 | -5.4227e-15 | 1.6171e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0474e-13 | -142.5584 | 131.6989 | 2.0514e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 5.9212e-16 | 15.3932 | 0.73601 | -5.9212e-16 | -13.0917 | 1.5655 | -9.4739e-15 | 2.3135 | 11.9328 | 7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.1473e-13 | -138.1765 | 119.7467 | 2.113e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.7979e-10 | 8.2616e-10 | 7.6975e-15 | -4.7978e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | -1.1842e-14 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0474e-13 | -142.5584 | 131.6989 | 2.113e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.7979e-10 | 8.2615e-10 | 5.9212e-15 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0514e-13 | -142.5584 | 131.6989 | 2.113e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | -3.5642e-15 | 6.7136e-15 | 1.1842e-15 | 7.5024e-15 | -1.4408e-15 | 2.3685e-15 | 1.7378e-15 | 1.1468e-15 | -7.1054e-15 | -5.4227e-15 | 1.6171e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0474e-13 | -142.5584 | 131.6989 | 2.0514e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7744 | 0.01871 | 0.01871 | 1.774 | 0.0144 | 0.0144 | 20.4886 | 0.21605 | 0.21605 | 20.485 | 0.16628 | 0.16628 | 4.9899 | 0.19506 | -0.20123 | 9.429e-12 | -0.15304 | 0.15253 | 2.7254 | -0.2222 | -0.33347 | -3.3441e-11 | 0.19996 | 0.28358 | -21.2633 | -105.6836 | -105.6836 | 158.8755 | 74.694 | 74.694 | 0.27751 | 1.3686 | 1.8028 | 0 | 1.5143 | 1.9365 | 7.3789 | -154.405 | 133.2076 | 0 | -157.8768 | 136.42
Line_1 | 0.0024005 | 0.0024005 | 0.0024005 | 0.0072001 | 0.0072001 | 0.0072001 | 0.027719 | 0.027719 | 0.027719 | 0.08314 | 0.08314 | 0.08314 | 4.2586e-05 | -0.025487 | 0.025444 | -1.389e-13 | 0.07652 | -0.076264 | 1.6942e-05 | 0.033336 | 0.047304 | -2.4312e-14 | -0.099978 | -0.14179 | 74.6638 | 74.6638 | 74.6638 | -105.306 | -105.306 | -105.306 | 0.0016534 | 1.5139 | 1.9378 | 0 | 1.5143 | 1.9365 | 96.3582 | -157.937 | 136.3886 | 0 | -157.8768 | 136.42
Line_2 | 0.0024005 | 0.0024005 | 0.0024005 | 0.0072001 | 0.0072001 | 0.0072001 | 0.027719 | 0.027719 | 0.027719 | 0.08314 | 0.08314 | 0.08314 | 4.2586e-05 | -0.025487 | 0.025444 | -1.389e-13 | 0.07652 | -0.076264 | 1.6942e-05 | 0.033336 | 0.047304 | -2.4312e-14 | -0.099978 | -0.14179 | 74.6638 | 74.6638 | 74.6638 | -105.306 | -105.306 | -105.306 | 0.0016534 | 1.5139 | 1.9378 | 0 | 1.5143 | 1.9365 | 96.3582 | -157.937 | 136.3886 | 0 | -157.8768 | 136.42
Line_3 | 0.0024005 | 0.0024005 | 0.0024005 | 0.0024005 | 0.0024005 | 0.0024005 | 0.027719 | 0.027719 | 0.027719 | 0.027719 | 0.027719 | 0.027719 | -4.2586e-05 | 0.025487 | -0.025444 | -4.2586e-05 | 0.025487 | -0.025444 | -1.6942e-05 | -0.033336 | -0.047304 | -1.6942e-05 | -0.033336 | -0.047304 | -105.3362 | -105.3362 | -105.3362 | -105.3362 | -105.3362 | -105.3362 | 0.0016534 | 1.5139 | 1.9378 | 0.0016534 | 1.5139 | 1.9378 | 96.3582 | -157.937 | 136.3886 | 96.3582 | -157.937 | 136.3886

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7744 | 0.01871 | 0.01871 | 1.774 | 0.0144 | 0.0144 | 20.4886 | 0.21605 | 0.21605 | 20.485 | 0.16628 | 0.16628 | 4.9899 | 0.19506 | -0.20123 | 9.429e-12 | -0.15304 | 0.15253 | 2.7254 | -0.2222 | -0.33347 | -3.3441e-11 | 0.19996 | 0.28358 | -21.2633 | -105.6836 | -105.6836 | 158.8755 | 74.694 | 74.694 | 0.27751 | 1.3686 | 1.8028 | 0 | 1.5143 | 1.9365 | 7.3789 | -154.405 | 133.2076 | 0 | -157.8768 | 136.42
Line_1 | 0.0024005 | 0.0024005 | 0.0024005 | 0.0072001 | 0.0072001 | 0.0072001 | 0.027719 | 0.027719 | 0.027719 | 0.08314 | 0.08314 | 0.08314 | 4.2586e-05 | -0.025487 | 0.025444 | -1.389e-13 | 0.07652 | -0.076264 | 1.6942e-05 | 0.033336 | 0.047304 | -2.4312e-14 | -0.099978 | -0.14179 | 74.6638 | 74.6638 | 74.6638 | -105.306 | -105.306 | -105.306 | 0.0016534 | 1.5139 | 1.9378 | 0 | 1.5143 | 1.9365 | 96.3582 | -157.937 | 136.3886 | 0 | -157.8768 | 136.42
Line_2 | 0.0024005 | 0.0024005 | 0.0024005 | 0.0072001 | 0.0072001 | 0.0072001 | 0.027719 | 0.027719 | 0.027719 | 0.08314 | 0.08314 | 0.08314 | 4.2586e-05 | -0.025487 | 0.025444 | -1.389e-13 | 0.07652 | -0.076264 | 1.6942e-05 | 0.033336 | 0.047304 | -2.4312e-14 | -0.099978 | -0.14179 | 74.6638 | 74.6638 | 74.6638 | -105.306 | -105.306 | -105.306 | 0.0016534 | 1.5139 | 1.9378 | 0 | 1.5143 | 1.9365 | 96.3582 | -157.937 | 136.3886 | 0 | -157.8768 | 136.42
Line_3 | 0.0024005 | 0.0024005 | 0.0024005 | 0.0024005 | 0.0024005 | 0.0024005 | 0.027719 | 0.027719 | 0.027719 | 0.027719 | 0.027719 | 0.027719 | -4.2586e-05 | 0.025487 | -0.025444 | -4.2586e-05 | 0.025487 | -0.025444 | -1.6942e-05 | -0.033336 | -0.047304 | -1.6942e-05 | -0.033336 | -0.047304 | -105.3362 | -105.3362 | -105.3362 | -105.3362 | -105.3362 | -105.3362 | 0.0016534 | 1.5139 | 1.9378 | 0.0016534 | 1.5139 | 1.9378 | 96.3582 | -157.937 | 136.3886 | 96.3582 | -157.937 | 136.3886

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91359 | 0.0096335 | 0.0096335 | 0.91343 | 0.0074144 | 0.0074144 | 10.5492 | 0.11124 | 0.11124 | 10.5473 | 0.085614 | 0.085614 | 5.448 | 0.11294 | -0.07459 | -4.1346 | -0.087746 | 0.05708 | 4.9353 | -0.048087 | -0.14684 | -4.202 | 0.044992 | 0.12004 | -33.3507 | -117.771 | -117.771 | 146.7881 | 62.6066 | 62.6066 | 0.69683 | 1.1035 | 1.4806 | 0.55891 | 1.1518 | 1.5526 | 8.8222 | -140.8348 | 125.2994 | 12.2512 | -144.5401 | 127.1753
Line_1 | 0.001236 | 0.001236 | 0.001236 | 0.0037072 | 0.0037072 | 0.0037072 | 0.014272 | 0.014272 | 0.014272 | 0.042807 | 0.042807 | 0.042807 | 0.005104 | -0.01462 | 0.0095161 | -0.015265 | 0.043873 | -0.02854 | -0.0061351 | 0.0074971 | 0.020021 | 0.018423 | -0.022496 | -0.060021 | 62.5763 | 62.5763 | 62.5763 | -117.3934 | -117.3934 | -117.3934 | 0.55918 | 1.1512 | 1.5532 | 0.55891 | 1.1518 | 1.5526 | 12.3341 | -144.572 | 127.154 | 12.2512 | -144.5401 | 127.1753
Line_2 | 0.001236 | 0.001236 | 0.001236 | 0.0037072 | 0.0037072 | 0.0037072 | 0.014272 | 0.014272 | 0.014272 | 0.042807 | 0.042807 | 0.042807 | 0.005104 | -0.01462 | 0.0095161 | -0.015265 | 0.043873 | -0.02854 | -0.0061351 | 0.0074971 | 0.020021 | 0.018423 | -0.022496 | -0.060021 | 62.5763 | 62.5763 | 62.5763 | -117.3934 | -117.3934 | -117.3934 | 0.55918 | 1.1512 | 1.5532 | 0.55891 | 1.1518 | 1.5526 | 12.3341 | -144.572 | 127.154 | 12.2512 | -144.5401 | 127.1753
Line_3 | 0.001236 | 0.001236 | 0.001236 | 0.001236 | 0.001236 | 0.001236 | 0.014272 | 0.014272 | 0.014272 | 0.014272 | 0.014272 | 0.014272 | -0.0051039 | 0.01462 | -0.0095161 | -0.0051039 | 0.01462 | -0.0095161 | 0.0061351 | -0.0074971 | -0.020021 | 0.0061351 | -0.0074971 | -0.020021 | -117.4236 | -117.4236 | -117.4236 | -117.4236 | -117.4236 | -117.4236 | 0.55918 | 1.1512 | 1.5532 | 0.55918 | 1.1512 | 1.5532 | 12.3341 | -144.572 | 127.154 | 12.3341 | -144.572 | 127.154

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91359 | 0.0096335 | 0.0096335 | 0.91343 | 0.0074144 | 0.0074144 | 10.5492 | 0.11124 | 0.11124 | 10.5473 | 0.085614 | 0.085614 | 5.448 | 0.11294 | -0.07459 | -4.1346 | -0.087746 | 0.05708 | 4.9353 | -0.048087 | -0.14684 | -4.202 | 0.044992 | 0.12004 | -33.3507 | -117.771 | -117.771 | 146.7881 | 62.6066 | 62.6066 | 0.69683 | 1.1035 | 1.4806 | 0.55891 | 1.1518 | 1.5526 | 8.8222 | -140.8348 | 125.2994 | 12.2512 | -144.5401 | 127.1753
Line_1 | 0.001236 | 0.001236 | 0.001236 | 0.0037072 | 0.0037072 | 0.0037072 | 0.014272 | 0.014272 | 0.014272 | 0.042807 | 0.042807 | 0.042807 | 0.005104 | -0.01462 | 0.0095161 | -0.015265 | 0.043873 | -0.02854 | -0.0061351 | 0.0074971 | 0.020021 | 0.018423 | -0.022496 | -0.060021 | 62.5763 | 62.5763 | 62.5763 | -117.3934 | -117.3934 | -117.3934 | 0.55918 | 1.1512 | 1.5532 | 0.55891 | 1.1518 | 1.5526 | 12.3341 | -144.572 | 127.154 | 12.2512 | -144.5401 | 127.1753
Line_2 | 0.001236 | 0.001236 | 0.001236 | 0.0037072 | 0.0037072 | 0.0037072 | 0.014272 | 0.014272 | 0.014272 | 0.042807 | 0.042807 | 0.042807 | 0.005104 | -0.01462 | 0.0095161 | -0.015265 | 0.043873 | -0.02854 | -0.0061351 | 0.0074971 | 0.020021 | 0.018423 | -0.022496 | -0.060021 | 62.5763 | 62.5763 | 62.5763 | -117.3934 | -117.3934 | -117.3934 | 0.55918 | 1.1512 | 1.5532 | 0.55891 | 1.1518 | 1.5526 | 12.3341 | -144.572 | 127.154 | 12.2512 | -144.5401 | 127.1753
Line_3 | 0.001236 | 0.001236 | 0.001236 | 0.001236 | 0.001236 | 0.001236 | 0.014272 | 0.014272 | 0.014272 | 0.014272 | 0.014272 | 0.014272 | -0.0051039 | 0.01462 | -0.0095161 | -0.0051039 | 0.01462 | -0.0095161 | 0.0061351 | -0.0074971 | -0.020021 | 0.0061351 | -0.0074971 | -0.020021 | -117.4236 | -117.4236 | -117.4236 | -117.4236 | -117.4236 | -117.4236 | 0.55918 | 1.1512 | 1.5532 | 0.55918 | 1.1512 | 1.5532 | 12.3341 | -144.572 | 127.154 | 12.3341 | -144.572 | 127.154

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3503 | 0.016536 | 0.016536 | 1.35 | 0.012926 | 0.012926 | 15.5918 | 0.19094 | 0.19094 | 15.589 | 0.14926 | 0.14926 | 5.5421 | 0.16056 | -0.16108 | -7.8403e-12 | -0.12622 | 0.12543 | 1.535 | -0.16468 | -0.24163 | 1.4287e-12 | 0.16519 | 0.22441 | -18.0547 | -103.4547 | -103.4547 | 162.0982 | 76.7554 | 76.7554 | 0.36884 | 1.2046 | 1.5209 | 0 | 1.3928 | 1.7225 | -2.5736 | -149.1803 | 132.8567 | 0 | -155.8615 | 137.5544
Line_1 | 0.0021548 | 0.0021548 | 0.0021548 | 0.006463 | 0.006463 | 0.006463 | 0.024881 | 0.024881 | 0.024881 | 0.074628 | 0.074628 | 0.074628 | 6.5879e-05 | -0.021002 | 0.020937 | 9.8641e-15 | 0.063108 | -0.062713 | 1.3651e-05 | 0.027529 | 0.037445 | 3.6854e-14 | -0.082593 | -0.11221 | 76.6973 | 76.6973 | 76.6973 | -103.2446 | -103.2446 | -103.2446 | 0.002704 | 1.3916 | 1.7242 | 0 | 1.3928 | 1.7225 | 88.4037 | -155.9618 | 137.4864 | 0 | -155.8615 | 137.5544
Line_2 | 0.0021548 | 0.0021548 | 0.0021548 | 0.006463 | 0.006463 | 0.006463 | 0.024881 | 0.024881 | 0.024881 | 0.074628 | 0.074628 | 0.074628 | 6.5879e-05 | -0.021002 | 0.020937 | 9.8641e-15 | 0.063108 | -0.062713 | 1.3651e-05 | 0.027529 | 0.037445 | 3.6854e-14 | -0.082593 | -0.11221 | 76.6973 | 76.6973 | 76.6973 | -103.2446 | -103.2446 | -103.2446 | 0.002704 | 1.3916 | 1.7242 | 0 | 1.3928 | 1.7225 | 88.4037 | -155.9618 | 137.4864 | 0 | -155.8615 | 137.5544
Line_3 | 0.0021548 | 0.0021548 | 0.0021548 | 0.0021548 | 0.0021548 | 0.0021548 | 0.024881 | 0.024881 | 0.024881 | 0.024881 | 0.024881 | 0.024881 | -6.5879e-05 | 0.021002 | -0.020937 | -6.5879e-05 | 0.021002 | -0.020937 | -1.3651e-05 | -0.027529 | -0.037445 | -1.3651e-05 | -0.027529 | -0.037445 | -103.3027 | -103.3027 | -103.3027 | -103.3027 | -103.3027 | -103.3027 | 0.002704 | 1.3916 | 1.7242 | 0.002704 | 1.3916 | 1.7242 | 88.4037 | -155.9618 | 137.4864 | 88.4037 | -155.9618 | 137.4864

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3503 | 0.016536 | 0.016536 | 1.35 | 0.012926 | 0.012926 | 15.5918 | 0.19094 | 0.19094 | 15.589 | 0.14926 | 0.14926 | 5.5421 | 0.16056 | -0.16108 | -7.8403e-12 | -0.12622 | 0.12543 | 1.535 | -0.16468 | -0.24163 | 1.4287e-12 | 0.16519 | 0.22441 | -18.0547 | -103.4547 | -103.4547 | 162.0982 | 76.7554 | 76.7554 | 0.36884 | 1.2046 | 1.5209 | 0 | 1.3928 | 1.7225 | -2.5736 | -149.1803 | 132.8567 | 0 | -155.8615 | 137.5544
Line_1 | 0.0021548 | 0.0021548 | 0.0021548 | 0.006463 | 0.006463 | 0.006463 | 0.024881 | 0.024881 | 0.024881 | 0.074628 | 0.074628 | 0.074628 | 6.5879e-05 | -0.021002 | 0.020937 | 9.8641e-15 | 0.063108 | -0.062713 | 1.3651e-05 | 0.027529 | 0.037445 | 3.6854e-14 | -0.082593 | -0.11221 | 76.6973 | 76.6973 | 76.6973 | -103.2446 | -103.2446 | -103.2446 | 0.002704 | 1.3916 | 1.7242 | 0 | 1.3928 | 1.7225 | 88.4037 | -155.9618 | 137.4864 | 0 | -155.8615 | 137.5544
Line_2 | 0.0021548 | 0.0021548 | 0.0021548 | 0.006463 | 0.006463 | 0.006463 | 0.024881 | 0.024881 | 0.024881 | 0.074628 | 0.074628 | 0.074628 | 6.5879e-05 | -0.021002 | 0.020937 | 9.8641e-15 | 0.063108 | -0.062713 | 1.3651e-05 | 0.027529 | 0.037445 | 3.6854e-14 | -0.082593 | -0.11221 | 76.6973 | 76.6973 | 76.6973 | -103.2446 | -103.2446 | -103.2446 | 0.002704 | 1.3916 | 1.7242 | 0 | 1.3928 | 1.7225 | 88.4037 | -155.9618 | 137.4864 | 0 | -155.8615 | 137.5544
Line_3 | 0.0021548 | 0.0021548 | 0.0021548 | 0.0021548 | 0.0021548 | 0.0021548 | 0.024881 | 0.024881 | 0.024881 | 0.024881 | 0.024881 | 0.024881 | -6.5879e-05 | 0.021002 | -0.020937 | -6.5879e-05 | 0.021002 | -0.020937 | -1.3651e-05 | -0.027529 | -0.037445 | -1.3651e-05 | -0.027529 | -0.037445 | -103.3027 | -103.3027 | -103.3027 | -103.3027 | -103.3027 | -103.3027 | 0.002704 | 1.3916 | 1.7242 | 0.002704 | 1.3916 | 1.7242 | 88.4037 | -155.9618 | 137.4864 | 88.4037 | -155.9618 | 137.4864

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76127 | 0.0093227 | 0.0093227 | 0.76114 | 0.0072874 | 0.0072874 | 8.7904 | 0.10765 | 0.10765 | 8.7888 | 0.084148 | 0.084148 | 4.621 | 0.10024 | -0.06744 | -2.8667 | -0.078605 | 0.052698 | 3.4181 | -0.042692 | -0.12424 | -2.922 | 0.0451 | 0.10836 | -30.5354 | -115.9354 | -115.9354 | 149.6175 | 64.2747 | 64.2747 | 0.65387 | 1.0121 | 1.3132 | 0.46576 | 1.077 | 1.432 | 5.9543 | -139.0052 | 125.5703 | 15.1647 | -145.5706 | 128.3407
Line_1 | 0.0012148 | 0.0012148 | 0.0012148 | 0.0036437 | 0.0036437 | 0.0036437 | 0.014028 | 0.014028 | 0.014028 | 0.042074 | 0.042074 | 0.042074 | 0.0043028 | -0.01309 | 0.0087874 | -0.012828 | 0.039302 | -0.026349 | -0.0049304 | 0.0075093 | 0.018078 | 0.014814 | -0.02255 | -0.054182 | 64.2166 | 64.2166 | 64.2166 | -115.7253 | -115.7253 | -115.7253 | 0.4665 | 1.0758 | 1.4329 | 0.46576 | 1.077 | 1.432 | 15.3281 | -145.6244 | 128.2924 | 15.1647 | -145.5706 | 128.3407
Line_2 | 0.0012148 | 0.0012148 | 0.0012148 | 0.0036437 | 0.0036437 | 0.0036437 | 0.014028 | 0.014028 | 0.014028 | 0.042074 | 0.042074 | 0.042074 | 0.0043028 | -0.01309 | 0.0087874 | -0.012828 | 0.039302 | -0.026349 | -0.0049304 | 0.0075093 | 0.018078 | 0.014814 | -0.02255 | -0.054182 | 64.2166 | 64.2166 | 64.2166 | -115.7253 | -115.7253 | -115.7253 | 0.4665 | 1.0758 | 1.4329 | 0.46576 | 1.077 | 1.432 | 15.3281 | -145.6244 | 128.2924 | 15.1647 | -145.5706 | 128.3407
Line_3 | 0.0012148 | 0.0012148 | 0.0012148 | 0.0012148 | 0.0012148 | 0.0012148 | 0.014028 | 0.014028 | 0.014028 | 0.014028 | 0.014028 | 0.014028 | -0.0043028 | 0.01309 | -0.0087874 | -0.0043028 | 0.01309 | -0.0087874 | 0.0049304 | -0.0075093 | -0.018078 | 0.0049304 | -0.0075093 | -0.018078 | -115.7834 | -115.7834 | -115.7834 | -115.7834 | -115.7834 | -115.7834 | 0.4665 | 1.0758 | 1.4329 | 0.4665 | 1.0758 | 1.4329 | 15.3281 | -145.6244 | 128.2924 | 15.3281 | -145.6244 | 128.2924

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76127 | 0.0093227 | 0.0093227 | 0.76114 | 0.0072874 | 0.0072874 | 8.7904 | 0.10765 | 0.10765 | 8.7888 | 0.084148 | 0.084148 | 4.621 | 0.10024 | -0.06744 | -2.8667 | -0.078605 | 0.052698 | 3.4181 | -0.042692 | -0.12424 | -2.922 | 0.0451 | 0.10836 | -30.5354 | -115.9354 | -115.9354 | 149.6175 | 64.2747 | 64.2747 | 0.65387 | 1.0121 | 1.3132 | 0.46576 | 1.077 | 1.432 | 5.9543 | -139.0052 | 125.5703 | 15.1647 | -145.5706 | 128.3407
Line_1 | 0.0012148 | 0.0012148 | 0.0012148 | 0.0036437 | 0.0036437 | 0.0036437 | 0.014028 | 0.014028 | 0.014028 | 0.042074 | 0.042074 | 0.042074 | 0.0043028 | -0.01309 | 0.0087874 | -0.012828 | 0.039302 | -0.026349 | -0.0049304 | 0.0075093 | 0.018078 | 0.014814 | -0.02255 | -0.054182 | 64.2166 | 64.2166 | 64.2166 | -115.7253 | -115.7253 | -115.7253 | 0.4665 | 1.0758 | 1.4329 | 0.46576 | 1.077 | 1.432 | 15.3281 | -145.6244 | 128.2924 | 15.1647 | -145.5706 | 128.3407
Line_2 | 0.0012148 | 0.0012148 | 0.0012148 | 0.0036437 | 0.0036437 | 0.0036437 | 0.014028 | 0.014028 | 0.014028 | 0.042074 | 0.042074 | 0.042074 | 0.0043028 | -0.01309 | 0.0087874 | -0.012828 | 0.039302 | -0.026349 | -0.0049304 | 0.0075093 | 0.018078 | 0.014814 | -0.02255 | -0.054182 | 64.2166 | 64.2166 | 64.2166 | -115.7253 | -115.7253 | -115.7253 | 0.4665 | 1.0758 | 1.4329 | 0.46576 | 1.077 | 1.432 | 15.3281 | -145.6244 | 128.2924 | 15.1647 | -145.5706 | 128.3407
Line_3 | 0.0012148 | 0.0012148 | 0.0012148 | 0.0012148 | 0.0012148 | 0.0012148 | 0.014028 | 0.014028 | 0.014028 | 0.014028 | 0.014028 | 0.014028 | -0.0043028 | 0.01309 | -0.0087874 | -0.0043028 | 0.01309 | -0.0087874 | 0.0049304 | -0.0075093 | -0.018078 | 0.0049304 | -0.0075093 | -0.018078 | -115.7834 | -115.7834 | -115.7834 | -115.7834 | -115.7834 | -115.7834 | 0.4665 | 1.0758 | 1.4329 | 0.4665 | 1.0758 | 1.4329 | 15.3281 | -145.6244 | 128.2924 | 15.3281 | -145.6244 | 128.2924

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010343 | 4.1655 | 3.2629 | 0.0079603 | 4.1661 | 3.262 | 0.11943 | 48.0988 | 37.6767 | 0.091918 | 48.1062 | 37.6666 | -0.00020891 | 13.4981 | 2.0835 | -0.00015617 | 7.3317e-11 | 6.1967e-11 | -0.18089 | 9.8257 | 6.9692 | 0.14776 | -4.5491e-11 | 2.5306e-11 | 85.394 | -170.4201 | 15.5915 | -94.2284 | 9.6115 | -164.4474 | 1.5146 | 0.34711 | 0.19306 | 1.6075 | 0 | 0 | -4.6722 | -134.3681 | 88.9471 | -4.1679 | 0 | 0
Line_1 | 0.001327 | 0.001327 | 0.001327 | 0.0039801 | 0.0039801 | 0.0039801 | 0.015323 | 0.015323 | 0.015323 | 0.045959 | 0.045959 | 0.045959 | -2.6029e-05 | 1.3013e-05 | 1.3013e-05 | 7.8082e-05 | -2.5444e-14 | -5.4643e-14 | 0.024637 | 5.1771e-06 | 5.1771e-06 | -0.073879 | -7.8407e-14 | 6.0697e-14 | -94.2587 | -94.2587 | -94.2587 | 85.7716 | 85.7716 | 85.7716 | 1.6078 | 0.00091401 | 0.00091401 | 1.6075 | 0 | 0 | -4.1982 | -72.5643 | -72.5643 | -4.1679 | 0 | 0
Line_2 | 0.001327 | 0.001327 | 0.001327 | 0.0039801 | 0.0039801 | 0.0039801 | 0.015323 | 0.015323 | 0.015323 | 0.045959 | 0.045959 | 0.045959 | -2.6029e-05 | 1.3013e-05 | 1.3013e-05 | 7.8082e-05 | -2.5444e-14 | -5.4643e-14 | 0.024637 | 5.1771e-06 | 5.1771e-06 | -0.073879 | -7.8407e-14 | 6.0697e-14 | -94.2587 | -94.2587 | -94.2587 | 85.7716 | 85.7716 | 85.7716 | 1.6078 | 0.00091401 | 0.00091401 | 1.6075 | 0 | 0 | -4.1982 | -72.5643 | -72.5643 | -4.1679 | 0 | 0
Line_3 | 0.001327 | 0.001327 | 0.001327 | 0.001327 | 0.001327 | 0.001327 | 0.015323 | 0.015323 | 0.015323 | 0.015323 | 0.015323 | 0.015323 | 2.6026e-05 | -1.3013e-05 | -1.3013e-05 | 2.6026e-05 | -1.3013e-05 | -1.3013e-05 | -0.024637 | -5.1771e-06 | -5.1771e-06 | -0.024637 | -5.1771e-06 | -5.1771e-06 | 85.7413 | 85.7413 | 85.7413 | 85.7413 | 85.7413 | 85.7413 | 1.6078 | 0.00091401 | 0.00091401 | 1.6078 | 0.00091401 | 0.00091401 | -4.1982 | -72.5643 | -72.5643 | -4.1982 | -72.5643 | -72.5643

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010343 | 4.1655 | 3.2629 | 0.0079603 | 4.1661 | 3.262 | 0.11943 | 48.0988 | 37.6767 | 0.091918 | 48.1062 | 37.6666 | -0.00020891 | 13.4981 | 2.0835 | -0.00015617 | 7.3317e-11 | 6.1967e-11 | -0.18089 | 9.8257 | 6.9692 | 0.14776 | -4.5491e-11 | 2.5306e-11 | 85.394 | -170.4201 | 15.5915 | -94.2284 | 9.6115 | -164.4474 | 1.5146 | 0.34711 | 0.19306 | 1.6075 | 0 | 0 | -4.6722 | -134.3681 | 88.9471 | -4.1679 | 0 | 0
Line_1 | 0.001327 | 0.001327 | 0.001327 | 0.0039801 | 0.0039801 | 0.0039801 | 0.015323 | 0.015323 | 0.015323 | 0.045959 | 0.045959 | 0.045959 | -2.6029e-05 | 1.3013e-05 | 1.3013e-05 | 7.8082e-05 | -2.5444e-14 | -5.4643e-14 | 0.024637 | 5.1771e-06 | 5.1771e-06 | -0.073879 | -7.8407e-14 | 6.0697e-14 | -94.2587 | -94.2587 | -94.2587 | 85.7716 | 85.7716 | 85.7716 | 1.6078 | 0.00091401 | 0.00091401 | 1.6075 | 0 | 0 | -4.1982 | -72.5643 | -72.5643 | -4.1679 | 0 | 0
Line_2 | 0.001327 | 0.001327 | 0.001327 | 0.0039801 | 0.0039801 | 0.0039801 | 0.015323 | 0.015323 | 0.015323 | 0.045959 | 0.045959 | 0.045959 | -2.6029e-05 | 1.3013e-05 | 1.3013e-05 | 7.8082e-05 | -2.5444e-14 | -5.4643e-14 | 0.024637 | 5.1771e-06 | 5.1771e-06 | -0.073879 | -7.8407e-14 | 6.0697e-14 | -94.2587 | -94.2587 | -94.2587 | 85.7716 | 85.7716 | 85.7716 | 1.6078 | 0.00091401 | 0.00091401 | 1.6075 | 0 | 0 | -4.1982 | -72.5643 | -72.5643 | -4.1679 | 0 | 0
Line_3 | 0.001327 | 0.001327 | 0.001327 | 0.001327 | 0.001327 | 0.001327 | 0.015323 | 0.015323 | 0.015323 | 0.015323 | 0.015323 | 0.015323 | 2.6026e-05 | -1.3013e-05 | -1.3013e-05 | 2.6026e-05 | -1.3013e-05 | -1.3013e-05 | -0.024637 | -5.1771e-06 | -5.1771e-06 | -0.024637 | -5.1771e-06 | -5.1771e-06 | 85.7413 | 85.7413 | 85.7413 | 85.7413 | 85.7413 | 85.7413 | 1.6078 | 0.00091401 | 0.00091401 | 1.6078 | 0.00091401 | 0.00091401 | -4.1982 | -72.5643 | -72.5643 | -4.1982 | -72.5643 | -72.5643

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0069942 | 1.3376 | 1.0021 | 0.0053831 | 1.3386 | 1.0006 | 0.080762 | 15.4448 | 11.5718 | 0.062159 | 15.4571 | 11.5543 | 0.02098 | 10.7044 | 5.1572 | -0.016164 | -8.9551 | -4.9912 | -0.10782 | 9.5604 | 6.2014 | 0.086993 | -9.0104 | -4.9714 | 73.05 | -156.7615 | 51.8964 | -106.5724 | 23.2902 | -128.135 | 1.36 | 0.92926 | 0.697 | 1.4235 | 0.82186 | 0.6097 | -5.9387 | -114.9924 | 102.1491 | -6.0462 | -111.5334 | 96.7511
Line_1 | 0.00089737 | 0.00089737 | 0.00089737 | 0.0026915 | 0.0026915 | 0.0026915 | 0.010362 | 0.010362 | 0.010362 | 0.031079 | 0.031079 | 0.031079 | -0.0026963 | 0.0084904 | -0.0057941 | 0.0080822 | -0.025447 | 0.0174 | 0.014503 | -0.00072959 | -0.002502 | -0.043496 | 0.0022088 | 0.0075023 | -106.6027 | -106.6027 | -106.6027 | 73.4276 | 73.4276 | 73.4276 | 1.4236 | 0.82241 | 0.60908 | 1.4235 | 0.82186 | 0.6097 | -6.0706 | -111.5141 | 96.7528 | -6.0462 | -111.5334 | 96.7511
Line_2 | 0.00089737 | 0.00089737 | 0.00089737 | 0.0026915 | 0.0026915 | 0.0026915 | 0.010362 | 0.010362 | 0.010362 | 0.031079 | 0.031079 | 0.031079 | -0.0026963 | 0.0084904 | -0.0057941 | 0.0080822 | -0.025447 | 0.0174 | 0.014503 | -0.00072959 | -0.002502 | -0.043496 | 0.0022088 | 0.0075023 | -106.6027 | -106.6027 | -106.6027 | 73.4276 | 73.4276 | 73.4276 | 1.4236 | 0.82241 | 0.60908 | 1.4235 | 0.82186 | 0.6097 | -6.0706 | -111.5141 | 96.7528 | -6.0462 | -111.5334 | 96.7511
Line_3 | 0.00089737 | 0.00089737 | 0.00089737 | 0.00089737 | 0.00089737 | 0.00089737 | 0.010362 | 0.010362 | 0.010362 | 0.010362 | 0.010362 | 0.010362 | 0.0026963 | -0.0084904 | 0.0057941 | 0.0026963 | -0.0084904 | 0.0057941 | -0.014503 | 0.00072959 | 0.002502 | -0.014503 | 0.00072959 | 0.002502 | 73.3973 | 73.3973 | 73.3973 | 73.3973 | 73.3973 | 73.3973 | 1.4236 | 0.82241 | 0.60908 | 1.4236 | 0.82241 | 0.60908 | -6.0706 | -111.5141 | 96.7528 | -6.0706 | -111.5141 | 96.7528

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0069942 | 1.3376 | 1.0021 | 0.0053831 | 1.3386 | 1.0006 | 0.080762 | 15.4448 | 11.5718 | 0.062159 | 15.4571 | 11.5543 | 0.02098 | 10.7044 | 5.1572 | -0.016164 | -8.9551 | -4.9912 | -0.10782 | 9.5604 | 6.2014 | 0.086993 | -9.0104 | -4.9714 | 73.05 | -156.7615 | 51.8964 | -106.5724 | 23.2902 | -128.135 | 1.36 | 0.92926 | 0.697 | 1.4235 | 0.82186 | 0.6097 | -5.9387 | -114.9924 | 102.1491 | -6.0462 | -111.5334 | 96.7511
Line_1 | 0.00089737 | 0.00089737 | 0.00089737 | 0.0026915 | 0.0026915 | 0.0026915 | 0.010362 | 0.010362 | 0.010362 | 0.031079 | 0.031079 | 0.031079 | -0.0026963 | 0.0084904 | -0.0057941 | 0.0080822 | -0.025447 | 0.0174 | 0.014503 | -0.00072959 | -0.002502 | -0.043496 | 0.0022088 | 0.0075023 | -106.6027 | -106.6027 | -106.6027 | 73.4276 | 73.4276 | 73.4276 | 1.4236 | 0.82241 | 0.60908 | 1.4235 | 0.82186 | 0.6097 | -6.0706 | -111.5141 | 96.7528 | -6.0462 | -111.5334 | 96.7511
Line_2 | 0.00089737 | 0.00089737 | 0.00089737 | 0.0026915 | 0.0026915 | 0.0026915 | 0.010362 | 0.010362 | 0.010362 | 0.031079 | 0.031079 | 0.031079 | -0.0026963 | 0.0084904 | -0.0057941 | 0.0080822 | -0.025447 | 0.0174 | 0.014503 | -0.00072959 | -0.002502 | -0.043496 | 0.0022088 | 0.0075023 | -106.6027 | -106.6027 | -106.6027 | 73.4276 | 73.4276 | 73.4276 | 1.4236 | 0.82241 | 0.60908 | 1.4235 | 0.82186 | 0.6097 | -6.0706 | -111.5141 | 96.7528 | -6.0462 | -111.5334 | 96.7511
Line_3 | 0.00089737 | 0.00089737 | 0.00089737 | 0.00089737 | 0.00089737 | 0.00089737 | 0.010362 | 0.010362 | 0.010362 | 0.010362 | 0.010362 | 0.010362 | 0.0026963 | -0.0084904 | 0.0057941 | 0.0026963 | -0.0084904 | 0.0057941 | -0.014503 | 0.00072959 | 0.002502 | -0.014503 | 0.00072959 | 0.002502 | 73.3973 | 73.3973 | 73.3973 | 73.3973 | 73.3973 | 73.3973 | 1.4236 | 0.82241 | 0.60908 | 1.4236 | 0.82241 | 0.60908 | -6.0706 | -111.5141 | 96.7528 | -6.0706 | -111.5141 | 96.7528

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0092088 | 3.4514 | 2.7979 | 0.0071984 | 3.4522 | 2.797 | 0.10633 | 39.8536 | 32.3077 | 0.08312 | 39.8623 | 32.2965 | 0.00036015 | 16.9477 | 3.9151 | -0.00024518 | -1.4808e-10 | 2.3498e-11 | -0.14029 | 5.3116 | 6.4921 | 0.12083 | -1.4916e-10 | -1.6843e-10 | 86.0475 | -162.758 | 24.1351 | -93.7423 | 17.2729 | -155.901 | 1.3193 | 0.44564 | 0.23466 | 1.4537 | 0 | 0 | -3.8054 | -145.3565 | 83.0428 | -3.6261 | 0 | 0
Line_1 | 0.0012 | 0.0012 | 0.0012 | 0.0035992 | 0.0035992 | 0.0035992 | 0.013856 | 0.013856 | 0.013856 | 0.04156 | 0.04156 | 0.04156 | -4.0865e-05 | 2.0431e-05 | 2.0431e-05 | 0.00012259 | -2.0053e-13 | 1.7753e-13 | 0.020146 | 4.2335e-06 | 4.2335e-06 | -0.060414 | 8.8349e-14 | 1.2796e-13 | -93.8004 | -93.8004 | -93.8004 | 86.2577 | 86.2577 | 86.2577 | 1.454 | 0.0015058 | 0.0015058 | 1.4537 | 0 | 0 | -3.6842 | -82.0941 | -82.0941 | -3.6261 | 0 | 0
Line_2 | 0.0012 | 0.0012 | 0.0012 | 0.0035992 | 0.0035992 | 0.0035992 | 0.013856 | 0.013856 | 0.013856 | 0.04156 | 0.04156 | 0.04156 | -4.0865e-05 | 2.0431e-05 | 2.0431e-05 | 0.00012259 | -2.0053e-13 | 1.7753e-13 | 0.020146 | 4.2335e-06 | 4.2335e-06 | -0.060414 | 8.8349e-14 | 1.2796e-13 | -93.8004 | -93.8004 | -93.8004 | 86.2577 | 86.2577 | 86.2577 | 1.454 | 0.0015058 | 0.0015058 | 1.4537 | 0 | 0 | -3.6842 | -82.0941 | -82.0941 | -3.6261 | 0 | 0
Line_3 | 0.0012 | 0.0012 | 0.0012 | 0.0012 | 0.0012 | 0.0012 | 0.013856 | 0.013856 | 0.013856 | 0.013856 | 0.013856 | 0.013856 | 4.0863e-05 | -2.0431e-05 | -2.0431e-05 | 4.0863e-05 | -2.0431e-05 | -2.0431e-05 | -0.020146 | -4.2335e-06 | -4.2335e-06 | -0.020146 | -4.2335e-06 | -4.2335e-06 | 86.1996 | 86.1996 | 86.1996 | 86.1996 | 86.1996 | 86.1996 | 1.454 | 0.0015058 | 0.0015058 | 1.454 | 0.0015058 | 0.0015058 | -3.6842 | -82.0941 | -82.0941 | -3.6842 | -82.0941 | -82.0941

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0092088 | 3.4514 | 2.7979 | 0.0071984 | 3.4522 | 2.797 | 0.10633 | 39.8536 | 32.3077 | 0.08312 | 39.8623 | 32.2965 | 0.00036015 | 16.9477 | 3.9151 | -0.00024518 | -1.4808e-10 | 2.3498e-11 | -0.14029 | 5.3116 | 6.4921 | 0.12083 | -1.4916e-10 | -1.6843e-10 | 86.0475 | -162.758 | 24.1351 | -93.7423 | 17.2729 | -155.901 | 1.3193 | 0.44564 | 0.23466 | 1.4537 | 0 | 0 | -3.8054 | -145.3565 | 83.0428 | -3.6261 | 0 | 0
Line_1 | 0.0012 | 0.0012 | 0.0012 | 0.0035992 | 0.0035992 | 0.0035992 | 0.013856 | 0.013856 | 0.013856 | 0.04156 | 0.04156 | 0.04156 | -4.0865e-05 | 2.0431e-05 | 2.0431e-05 | 0.00012259 | -2.0053e-13 | 1.7753e-13 | 0.020146 | 4.2335e-06 | 4.2335e-06 | -0.060414 | 8.8349e-14 | 1.2796e-13 | -93.8004 | -93.8004 | -93.8004 | 86.2577 | 86.2577 | 86.2577 | 1.454 | 0.0015058 | 0.0015058 | 1.4537 | 0 | 0 | -3.6842 | -82.0941 | -82.0941 | -3.6261 | 0 | 0
Line_2 | 0.0012 | 0.0012 | 0.0012 | 0.0035992 | 0.0035992 | 0.0035992 | 0.013856 | 0.013856 | 0.013856 | 0.04156 | 0.04156 | 0.04156 | -4.0865e-05 | 2.0431e-05 | 2.0431e-05 | 0.00012259 | -2.0053e-13 | 1.7753e-13 | 0.020146 | 4.2335e-06 | 4.2335e-06 | -0.060414 | 8.8349e-14 | 1.2796e-13 | -93.8004 | -93.8004 | -93.8004 | 86.2577 | 86.2577 | 86.2577 | 1.454 | 0.0015058 | 0.0015058 | 1.4537 | 0 | 0 | -3.6842 | -82.0941 | -82.0941 | -3.6261 | 0 | 0
Line_3 | 0.0012 | 0.0012 | 0.0012 | 0.0012 | 0.0012 | 0.0012 | 0.013856 | 0.013856 | 0.013856 | 0.013856 | 0.013856 | 0.013856 | 4.0863e-05 | -2.0431e-05 | -2.0431e-05 | 4.0863e-05 | -2.0431e-05 | -2.0431e-05 | -0.020146 | -4.2335e-06 | -4.2335e-06 | -0.020146 | -4.2335e-06 | -4.2335e-06 | 86.1996 | 86.1996 | 86.1996 | 86.1996 | 86.1996 | 86.1996 | 1.454 | 0.0015058 | 0.0015058 | 1.454 | 0.0015058 | 0.0015058 | -3.6842 | -82.0941 | -82.0941 | -3.6842 | -82.0941 | -82.0941

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066029 | 1.1582 | 0.88043 | 0.0051614 | 1.1591 | 0.87909 | 0.076243 | 13.3732 | 10.1664 | 0.059598 | 13.3844 | 10.1509 | 0.016719 | 9.041 | 4.2282 | -0.012996 | -6.7151 | -3.8517 | -0.091079 | 6.7443 | 5.1835 | 0.076982 | -6.76 | -3.8344 | 74.5572 | -154.0452 | 52.4505 | -105.2327 | 26.0077 | -127.5837 | 1.2145 | 0.84344 | 0.65798 | 1.3099 | 0.7119 | 0.53541 | -5.0412 | -117.3233 | 103.2458 | -5.6506 | -108.8011 | 97.2876
Line_1 | 0.00086041 | 0.00086041 | 0.00086041 | 0.0025807 | 0.0025807 | 0.0025807 | 0.0099352 | 0.0099352 | 0.0099352 | 0.029799 | 0.029799 | 0.029799 | -0.0021689 | 0.0070701 | -0.0049012 | 0.0064979 | -0.021173 | 0.014738 | 0.012833 | -0.00043087 | -0.0020402 | -0.038491 | 0.0013204 | 0.0061109 | -105.2908 | -105.2908 | -105.2908 | 74.7673 | 74.7673 | 74.7673 | 1.31 | 0.71294 | 0.53435 | 1.3099 | 0.7119 | 0.53541 | -5.6978 | -108.7783 | 97.3095 | -5.6506 | -108.8011 | 97.2876
Line_2 | 0.00086041 | 0.00086041 | 0.00086041 | 0.0025807 | 0.0025807 | 0.0025807 | 0.0099352 | 0.0099352 | 0.0099352 | 0.029799 | 0.029799 | 0.029799 | -0.0021689 | 0.0070701 | -0.0049012 | 0.0064979 | -0.021173 | 0.014738 | 0.012833 | -0.00043087 | -0.0020402 | -0.038491 | 0.0013204 | 0.0061109 | -105.2908 | -105.2908 | -105.2908 | 74.7673 | 74.7673 | 74.7673 | 1.31 | 0.71294 | 0.53435 | 1.3099 | 0.7119 | 0.53541 | -5.6978 | -108.7783 | 97.3095 | -5.6506 | -108.8011 | 97.2876
Line_3 | 0.00086041 | 0.00086041 | 0.00086041 | 0.00086041 | 0.00086041 | 0.00086041 | 0.0099352 | 0.0099352 | 0.0099352 | 0.0099352 | 0.0099352 | 0.0099352 | 0.0021689 | -0.0070701 | 0.0049012 | 0.0021689 | -0.0070701 | 0.0049012 | -0.012833 | 0.00043088 | 0.0020402 | -0.012833 | 0.00043088 | 0.0020402 | 74.7092 | 74.7092 | 74.7092 | 74.7092 | 74.7092 | 74.7092 | 1.31 | 0.71294 | 0.53435 | 1.31 | 0.71294 | 0.53435 | -5.6978 | -108.7783 | 97.3095 | -5.6978 | -108.7783 | 97.3095

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066029 | 1.1582 | 0.88043 | 0.0051614 | 1.1591 | 0.87909 | 0.076243 | 13.3732 | 10.1664 | 0.059598 | 13.3844 | 10.1509 | 0.016719 | 9.041 | 4.2282 | -0.012996 | -6.7151 | -3.8517 | -0.091079 | 6.7443 | 5.1835 | 0.076982 | -6.76 | -3.8344 | 74.5572 | -154.0452 | 52.4505 | -105.2327 | 26.0077 | -127.5837 | 1.2145 | 0.84344 | 0.65798 | 1.3099 | 0.7119 | 0.53541 | -5.0412 | -117.3233 | 103.2458 | -5.6506 | -108.8011 | 97.2876
Line_1 | 0.00086041 | 0.00086041 | 0.00086041 | 0.0025807 | 0.0025807 | 0.0025807 | 0.0099352 | 0.0099352 | 0.0099352 | 0.029799 | 0.029799 | 0.029799 | -0.0021689 | 0.0070701 | -0.0049012 | 0.0064979 | -0.021173 | 0.014738 | 0.012833 | -0.00043087 | -0.0020402 | -0.038491 | 0.0013204 | 0.0061109 | -105.2908 | -105.2908 | -105.2908 | 74.7673 | 74.7673 | 74.7673 | 1.31 | 0.71294 | 0.53435 | 1.3099 | 0.7119 | 0.53541 | -5.6978 | -108.7783 | 97.3095 | -5.6506 | -108.8011 | 97.2876
Line_2 | 0.00086041 | 0.00086041 | 0.00086041 | 0.0025807 | 0.0025807 | 0.0025807 | 0.0099352 | 0.0099352 | 0.0099352 | 0.029799 | 0.029799 | 0.029799 | -0.0021689 | 0.0070701 | -0.0049012 | 0.0064979 | -0.021173 | 0.014738 | 0.012833 | -0.00043087 | -0.0020402 | -0.038491 | 0.0013204 | 0.0061109 | -105.2908 | -105.2908 | -105.2908 | 74.7673 | 74.7673 | 74.7673 | 1.31 | 0.71294 | 0.53435 | 1.3099 | 0.7119 | 0.53541 | -5.6978 | -108.7783 | 97.3095 | -5.6506 | -108.8011 | 97.2876
Line_3 | 0.00086041 | 0.00086041 | 0.00086041 | 0.00086041 | 0.00086041 | 0.00086041 | 0.0099352 | 0.0099352 | 0.0099352 | 0.0099352 | 0.0099352 | 0.0099352 | 0.0021689 | -0.0070701 | 0.0049012 | 0.0021689 | -0.0070701 | 0.0049012 | -0.012833 | 0.00043088 | 0.0020402 | -0.012833 | 0.00043088 | 0.0020402 | 74.7092 | 74.7092 | 74.7092 | 74.7092 | 74.7092 | 74.7092 | 1.31 | 0.71294 | 0.53435 | 1.31 | 0.71294 | 0.53435 | -5.6978 | -108.7783 | 97.3095 | -5.6978 | -108.7783 | 97.3095