## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -6.7738e-14 | 30.1766 | -15.8685 | 6.7738e-14 | -23.0225 | 23.0225 | -2.6053e-14 | 3.131 | 13.1032 | 2.0843e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 5.796e-13 | -161.8563 | 152.6723 | 5.8256e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 1.0421e-14 | 1.5632e-14 | -2.0843e-14 | 2.6053e-15 | -2.0843e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8929e-13 | -180 | 180 | 5.8256e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.6294e-20 | 1.5632e-14 | -1.5632e-14 | 2.6053e-15 | -3.1264e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8046e-13 | -180 | 180 | 5.8256e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 1.0421e-14 | -1.5632e-14 | -1.5632e-14 | 2.6053e-15 | 5.2106e-15 | 5.3591e-29 | 5.2106e-15 | 5.2106e-15 | -5.2106e-15 | -5.2106e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8929e-13 | -180 | 180 | 5.8046e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -6.7738e-14 | 30.1766 | -15.8685 | 6.7738e-14 | -23.0225 | 23.0225 | -2.6053e-14 | 3.131 | 13.1032 | 2.0843e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 5.796e-13 | -161.8563 | 152.6723 | 5.8256e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 1.0421e-14 | 1.5632e-14 | -2.0843e-14 | 2.6053e-15 | -2.0843e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8929e-13 | -180 | 180 | 5.8256e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.6294e-20 | 1.5632e-14 | -1.5632e-14 | 2.6053e-15 | -3.1264e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8046e-13 | -180 | 180 | 5.8256e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 1.0421e-14 | -1.5632e-14 | -1.5632e-14 | 2.6053e-15 | 5.2106e-15 | 5.3591e-29 | 5.2106e-15 | 5.2106e-15 | -5.2106e-15 | -5.2106e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8929e-13 | -180 | 180 | 5.8046e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -3.3869e-14 | 19.0761 | -0.30087 | 2.6053e-14 | -17.4596 | 1.9173 | -1.5632e-14 | 3.9919 | 15.2185 | 1.5632e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.4571e-13 | -138.0936 | 121.2196 | 2.3732e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-14 | 4.734e-10 | 1.0337e-09 | -1.8237e-14 | -4.734e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.3846e-13 | -142.8673 | 128.239 | 2.3732e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.7341e-10 | 1.0337e-09 | -1.8237e-14 | -4.7341e-10 | -1.0337e-09 | 4.24e-29 | -1.3544e-09 | 3.8386e-10 | -7.5539e-29 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.3311e-13 | -142.8673 | 128.239 | 2.3732e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | -1.1516e-14 | 5.9897e-15 | -5.2106e-15 | 3.6596e-15 | -1.0476e-15 | -2.6053e-15 | 1.1818e-14 | 1.2731e-14 | 2.6053e-15 | 5.3383e-15 | -8.8365e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.3846e-13 | -142.8673 | 128.239 | 2.3311e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -3.3869e-14 | 19.0761 | -0.30087 | 2.6053e-14 | -17.4596 | 1.9173 | -1.5632e-14 | 3.9919 | 15.2185 | 1.5632e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.4571e-13 | -138.0936 | 121.2196 | 2.3732e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-14 | 4.734e-10 | 1.0337e-09 | -1.8237e-14 | -4.734e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.3846e-13 | -142.8673 | 128.239 | 2.3732e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.7341e-10 | 1.0337e-09 | -1.8237e-14 | -4.7341e-10 | -1.0337e-09 | 4.24e-29 | -1.3544e-09 | 3.8386e-10 | -7.5539e-29 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.3311e-13 | -142.8673 | 128.239 | 2.3732e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | -1.1516e-14 | 5.9897e-15 | -5.2106e-15 | 3.6596e-15 | -1.0476e-15 | -2.6053e-15 | 1.1818e-14 | 1.2731e-14 | 2.6053e-15 | 5.3383e-15 | -8.8365e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.3846e-13 | -142.8673 | 128.239 | 2.3311e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.1316e-14 | 26.5997 | -7.1734 | -2.1316e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.1561e-13 | -160.7833 | 141.207 | 4.8495e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -4.7369e-15 | 7.1055e-15 | 1.1842e-14 | 1.1842e-14 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5526e-13 | -180 | 180 | 4.8495e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -4.7369e-15 | 2.3686e-15 | 1.4211e-14 | 7.1054e-15 | -1.4433e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5279e-13 | -180 | 180 | 4.8495e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1842e-15 | -2.3685e-15 | -4.737e-15 | 8.2897e-15 | 2.3685e-15 | 4.737e-15 | 7.1054e-15 | 4.737e-15 | -3.7435e-29 | 4.6886e-25 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5526e-13 | -180 | 180 | 4.5279e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.1316e-14 | 26.5997 | -7.1734 | -2.1316e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.1561e-13 | -160.7833 | 141.207 | 4.8495e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -4.7369e-15 | 7.1055e-15 | 1.1842e-14 | 1.1842e-14 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5526e-13 | -180 | 180 | 4.8495e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -4.7369e-15 | 2.3686e-15 | 1.4211e-14 | 7.1054e-15 | -1.4433e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5279e-13 | -180 | 180 | 4.8495e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1842e-15 | -2.3685e-15 | -4.737e-15 | 8.2897e-15 | 2.3685e-15 | 4.737e-15 | 7.1054e-15 | 4.737e-15 | -3.7435e-29 | 4.6886e-25 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.5526e-13 | -180 | 180 | 4.5279e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 1.5395e-14 | 15.3932 | 0.73601 | -1.4803e-14 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.2376e-13 | -138.1765 | 119.7467 | 2.0998e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | 4.798e-10 | 8.2616e-10 | 9.4739e-15 | -4.798e-10 | -8.2616e-10 | 9.4739e-15 | -1.0532e-09 | 4.5325e-10 | -9.4739e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9159e-13 | -142.5584 | 131.6989 | 2.0998e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.6975e-15 | 4.798e-10 | 8.2615e-10 | 7.1054e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9056e-13 | -142.5584 | 131.6989 | 2.0998e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | -2.8602e-15 | 4.3124e-15 | 1.1842e-15 | 5.6761e-15 | 2.4509e-16 | 7.1054e-15 | 2.2769e-15 | 3.842e-15 | -7.1054e-15 | -1.207e-16 | -4.6162e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9159e-13 | -142.5584 | 131.6989 | 1.9056e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 1.5395e-14 | 15.3932 | 0.73601 | -1.4803e-14 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.2376e-13 | -138.1765 | 119.7467 | 2.0998e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | 4.798e-10 | 8.2616e-10 | 9.4739e-15 | -4.798e-10 | -8.2616e-10 | 9.4739e-15 | -1.0532e-09 | 4.5325e-10 | -9.4739e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9159e-13 | -142.5584 | 131.6989 | 2.0998e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.6975e-15 | 4.798e-10 | 8.2615e-10 | 7.1054e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9056e-13 | -142.5584 | 131.6989 | 2.0998e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | -2.8602e-15 | 4.3124e-15 | 1.1842e-15 | 5.6761e-15 | 2.4509e-16 | 7.1054e-15 | 2.2769e-15 | 3.842e-15 | -7.1054e-15 | -1.207e-16 | -4.6162e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9159e-13 | -142.5584 | 131.6989 | 1.9056e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9878 | 0.0089878 | 0.0089878 | 3.9869 | 0.0075771 | 0.0075771 | 46.0472 | 0.10378 | 0.10378 | 46.0365 | 0.087493 | 0.087493 | 25.155 | 0.10002 | -0.079009 | 3.4654e-10 | -0.074689 | 0.074547 | 13.9942 | 0.00014204 | -0.083797 | -2.5305e-10 | 0.029801 | 0.10408 | -58.4649 | -115.1198 | -115.1198 | 121.5506 | 63.5406 | 63.5406 | 0.62513 | 0.96377 | 1.1097 | 0 | 0.91909 | 1.4632 | -29.377 | -115.0384 | 111.5649 | 0 | -138.2118 | 117.9274
Line_1 | 0.0012631 | 0.0012631 | 0.0012631 | 0.0037886 | 0.0037886 | 0.0037886 | 0.014585 | 0.014585 | 0.014585 | 0.043747 | 0.043747 | 0.043747 | 1.1791e-05 | -0.012442 | 0.01243 | -3.784e-13 | 0.037344 | -0.037274 | 4.6907e-06 | 0.004966 | 0.017361 | -1.519e-13 | -0.014901 | -0.052038 | 63.5103 | 63.5104 | 63.5104 | -116.4594 | -116.4594 | -116.4594 | 0.00087001 | 0.91846 | 1.4639 | 0 | 0.91909 | 1.4632 | 85.2047 | -138.2491 | 117.909 | 0 | -138.2118 | 117.9274
Line_2 | 0.0012631 | 0.0012631 | 0.0012631 | 0.0037886 | 0.0037886 | 0.0037886 | 0.014585 | 0.014585 | 0.014585 | 0.043747 | 0.043747 | 0.043747 | 1.1791e-05 | -0.012442 | 0.01243 | -3.784e-13 | 0.037344 | -0.037274 | 4.6907e-06 | 0.004966 | 0.017361 | -1.519e-13 | -0.014901 | -0.052038 | 63.5103 | 63.5104 | 63.5104 | -116.4594 | -116.4594 | -116.4594 | 0.00087001 | 0.91846 | 1.4639 | 0 | 0.91909 | 1.4632 | 85.2047 | -138.2491 | 117.909 | 0 | -138.2118 | 117.9274
Line_3 | 0.0012631 | 0.0012631 | 0.0012631 | 0.0012631 | 0.0012631 | 0.0012631 | 0.014585 | 0.014585 | 0.014585 | 0.014585 | 0.014585 | 0.014585 | -1.1791e-05 | 0.012442 | -0.01243 | -1.1791e-05 | 0.012442 | -0.01243 | -4.6907e-06 | -0.004966 | -0.017361 | -4.6907e-06 | -0.004966 | -0.017361 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | 0.00087001 | 0.91846 | 1.4639 | 0.00087001 | 0.91846 | 1.4639 | 85.2047 | -138.2491 | 117.909 | 85.2047 | -138.2491 | 117.909

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9878 | 0.0089878 | 0.0089878 | 3.9869 | 0.0075771 | 0.0075771 | 46.0472 | 0.10378 | 0.10378 | 46.0365 | 0.087493 | 0.087493 | 25.155 | 0.10002 | -0.079009 | 3.4654e-10 | -0.074689 | 0.074547 | 13.9942 | 0.00014204 | -0.083797 | -2.5305e-10 | 0.029801 | 0.10408 | -58.4649 | -115.1198 | -115.1198 | 121.5506 | 63.5406 | 63.5406 | 0.62513 | 0.96377 | 1.1097 | 0 | 0.91909 | 1.4632 | -29.377 | -115.0384 | 111.5649 | 0 | -138.2118 | 117.9274
Line_1 | 0.0012631 | 0.0012631 | 0.0012631 | 0.0037886 | 0.0037886 | 0.0037886 | 0.014585 | 0.014585 | 0.014585 | 0.043747 | 0.043747 | 0.043747 | 1.1791e-05 | -0.012442 | 0.01243 | -3.784e-13 | 0.037344 | -0.037274 | 4.6907e-06 | 0.004966 | 0.017361 | -1.519e-13 | -0.014901 | -0.052038 | 63.5103 | 63.5104 | 63.5104 | -116.4594 | -116.4594 | -116.4594 | 0.00087001 | 0.91846 | 1.4639 | 0 | 0.91909 | 1.4632 | 85.2047 | -138.2491 | 117.909 | 0 | -138.2118 | 117.9274
Line_2 | 0.0012631 | 0.0012631 | 0.0012631 | 0.0037886 | 0.0037886 | 0.0037886 | 0.014585 | 0.014585 | 0.014585 | 0.043747 | 0.043747 | 0.043747 | 1.1791e-05 | -0.012442 | 0.01243 | -3.784e-13 | 0.037344 | -0.037274 | 4.6907e-06 | 0.004966 | 0.017361 | -1.519e-13 | -0.014901 | -0.052038 | 63.5103 | 63.5104 | 63.5104 | -116.4594 | -116.4594 | -116.4594 | 0.00087001 | 0.91846 | 1.4639 | 0 | 0.91909 | 1.4632 | 85.2047 | -138.2491 | 117.909 | 0 | -138.2118 | 117.9274
Line_3 | 0.0012631 | 0.0012631 | 0.0012631 | 0.0012631 | 0.0012631 | 0.0012631 | 0.014585 | 0.014585 | 0.014585 | 0.014585 | 0.014585 | 0.014585 | -1.1791e-05 | 0.012442 | -0.01243 | -1.1791e-05 | 0.012442 | -0.01243 | -4.6907e-06 | -0.004966 | -0.017361 | -4.6907e-06 | -0.004966 | -0.017361 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | -116.4896 | 0.00087001 | 0.91846 | 1.4639 | 0.00087001 | 0.91846 | 1.4639 | 85.2047 | -138.2491 | 117.909 | 85.2047 | -138.2491 | 117.909

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2467 | 0.0028099 | 0.0028099 | 1.2465 | 0.0023689 | 0.0023689 | 14.3962 | 0.032446 | 0.032446 | 14.3928 | 0.027354 | 0.027354 | 10.2063 | 0.033275 | -0.026177 | -7.7479 | -0.027258 | 0.022516 | 9.1447 | -0.0077289 | -0.024669 | -7.7729 | 0.0089755 | 0.024425 | -49.2498 | -105.9047 | -105.9047 | 130.7658 | 72.7558 | 72.7558 | 0.95191 | 1.0528 | 1.1086 | 0.76253 | 1.0491 | 1.2144 | -7.39 | -118.9811 | 117.3969 | -4.1418 | -125.47 | 120.0852
Line_1 | 0.0003949 | 0.0003949 | 0.0003949 | 0.0011845 | 0.0011845 | 0.0011845 | 0.0045599 | 0.0045599 | 0.0045599 | 0.013677 | 0.013677 | 0.013677 | 0.00079117 | -0.0045436 | 0.0037524 | -0.0023642 | 0.013629 | -0.011258 | -0.0033857 | 0.0014943 | 0.0040741 | 0.010158 | -0.0044877 | -0.012213 | 72.7255 | 72.7255 | 72.7255 | -107.2443 | -107.2442 | -107.2442 | 0.76249 | 1.0489 | 1.2147 | 0.76253 | 1.0491 | 1.2144 | -4.1216 | -125.4795 | 120.0796 | -4.1418 | -125.47 | 120.0852
Line_2 | 0.0003949 | 0.0003949 | 0.0003949 | 0.0011845 | 0.0011845 | 0.0011845 | 0.0045599 | 0.0045599 | 0.0045599 | 0.013677 | 0.013677 | 0.013677 | 0.00079117 | -0.0045436 | 0.0037524 | -0.0023642 | 0.013629 | -0.011258 | -0.0033857 | 0.0014943 | 0.0040741 | 0.010158 | -0.0044877 | -0.012213 | 72.7255 | 72.7255 | 72.7255 | -107.2443 | -107.2442 | -107.2442 | 0.76249 | 1.0489 | 1.2147 | 0.76253 | 1.0491 | 1.2144 | -4.1216 | -125.4795 | 120.0796 | -4.1418 | -125.47 | 120.0852
Line_3 | 0.0003949 | 0.0003949 | 0.0003949 | 0.0003949 | 0.0003949 | 0.0003949 | 0.0045599 | 0.0045599 | 0.0045599 | 0.0045599 | 0.0045599 | 0.0045599 | -0.00079117 | 0.0045436 | -0.0037524 | -0.00079117 | 0.0045436 | -0.0037524 | 0.0033857 | -0.0014943 | -0.0040741 | 0.0033857 | -0.0014943 | -0.0040741 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | 0.76249 | 1.0489 | 1.2147 | 0.76249 | 1.0489 | 1.2147 | -4.1216 | -125.4795 | 120.0796 | -4.1216 | -125.4795 | 120.0796

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2467 | 0.0028099 | 0.0028099 | 1.2465 | 0.0023689 | 0.0023689 | 14.3962 | 0.032446 | 0.032446 | 14.3928 | 0.027354 | 0.027354 | 10.2063 | 0.033275 | -0.026177 | -7.7479 | -0.027258 | 0.022516 | 9.1447 | -0.0077289 | -0.024669 | -7.7729 | 0.0089755 | 0.024425 | -49.2498 | -105.9047 | -105.9047 | 130.7658 | 72.7558 | 72.7558 | 0.95191 | 1.0528 | 1.1086 | 0.76253 | 1.0491 | 1.2144 | -7.39 | -118.9811 | 117.3969 | -4.1418 | -125.47 | 120.0852
Line_1 | 0.0003949 | 0.0003949 | 0.0003949 | 0.0011845 | 0.0011845 | 0.0011845 | 0.0045599 | 0.0045599 | 0.0045599 | 0.013677 | 0.013677 | 0.013677 | 0.00079117 | -0.0045436 | 0.0037524 | -0.0023642 | 0.013629 | -0.011258 | -0.0033857 | 0.0014943 | 0.0040741 | 0.010158 | -0.0044877 | -0.012213 | 72.7255 | 72.7255 | 72.7255 | -107.2443 | -107.2442 | -107.2442 | 0.76249 | 1.0489 | 1.2147 | 0.76253 | 1.0491 | 1.2144 | -4.1216 | -125.4795 | 120.0796 | -4.1418 | -125.47 | 120.0852
Line_2 | 0.0003949 | 0.0003949 | 0.0003949 | 0.0011845 | 0.0011845 | 0.0011845 | 0.0045599 | 0.0045599 | 0.0045599 | 0.013677 | 0.013677 | 0.013677 | 0.00079117 | -0.0045436 | 0.0037524 | -0.0023642 | 0.013629 | -0.011258 | -0.0033857 | 0.0014943 | 0.0040741 | 0.010158 | -0.0044877 | -0.012213 | 72.7255 | 72.7255 | 72.7255 | -107.2443 | -107.2442 | -107.2442 | 0.76249 | 1.0489 | 1.2147 | 0.76253 | 1.0491 | 1.2144 | -4.1216 | -125.4795 | 120.0796 | -4.1418 | -125.47 | 120.0852
Line_3 | 0.0003949 | 0.0003949 | 0.0003949 | 0.0003949 | 0.0003949 | 0.0003949 | 0.0045599 | 0.0045599 | 0.0045599 | 0.0045599 | 0.0045599 | 0.0045599 | -0.00079117 | 0.0045436 | -0.0037524 | -0.00079117 | 0.0045436 | -0.0037524 | 0.0033857 | -0.0014943 | -0.0040741 | 0.0033857 | -0.0014943 | -0.0040741 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | -107.2745 | 0.76249 | 1.0489 | 1.2147 | 0.76249 | 1.0489 | 1.2147 | -4.1216 | -125.4795 | 120.0796 | -4.1216 | -125.4795 | 120.0796

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7516 | 0.010481 | 0.010481 | 2.751 | 0.0089233 | 0.0089233 | 31.7728 | 0.12102 | 0.12102 | 31.7653 | 0.10304 | 0.10304 | 22.9951 | 0.107 | -0.086527 | -7.0507e-11 | -0.081973 | 0.081597 | 6.5824 | -0.010528 | -0.09107 | -1.7194e-11 | 0.057146 | 0.12853 | -41.8394 | -112.5959 | -112.5959 | 138.1902 | 66.4243 | 66.4243 | 0.7528 | 0.88841 | 1.038 | 0 | 0.96981 | 1.4775 | -25.8655 | -118.215 | 113.8693 | 0 | -148.4574 | 124.0142
Line_1 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0044617 | 0.0044617 | 0.0044617 | 0.017177 | 0.017177 | 0.017177 | 0.051519 | 0.051519 | 0.051519 | 3.1396e-05 | -0.013643 | 0.013612 | 9.2951e-15 | 0.040987 | -0.040798 | 6.5055e-06 | 0.009519 | 0.021446 | 1.1734e-13 | -0.028573 | -0.064263 | 66.3662 | 66.3662 | 66.3662 | -113.5757 | -113.5757 | -113.5757 | 0.0018667 | 0.96853 | 1.4788 | 0 | 0.96981 | 1.4775 | 78.0725 | -148.5375 | 123.9622 | 0 | -148.4574 | 124.0142
Line_2 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0044617 | 0.0044617 | 0.0044617 | 0.017177 | 0.017177 | 0.017177 | 0.051519 | 0.051519 | 0.051519 | 3.1396e-05 | -0.013643 | 0.013612 | 9.2951e-15 | 0.040987 | -0.040798 | 6.5055e-06 | 0.009519 | 0.021446 | 1.1734e-13 | -0.028573 | -0.064263 | 66.3662 | 66.3662 | 66.3662 | -113.5757 | -113.5757 | -113.5757 | 0.0018667 | 0.96853 | 1.4788 | 0 | 0.96981 | 1.4775 | 78.0725 | -148.5375 | 123.9622 | 0 | -148.4574 | 124.0142
Line_3 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | -3.1396e-05 | 0.013643 | -0.013612 | -3.1396e-05 | 0.013643 | -0.013612 | -6.5055e-06 | -0.009519 | -0.021446 | -6.5055e-06 | -0.009519 | -0.021446 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | 0.0018667 | 0.96853 | 1.4788 | 0.0018667 | 0.96853 | 1.4788 | 78.0725 | -148.5375 | 123.9622 | 78.0725 | -148.5375 | 123.9622

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7516 | 0.010481 | 0.010481 | 2.751 | 0.0089233 | 0.0089233 | 31.7728 | 0.12102 | 0.12102 | 31.7653 | 0.10304 | 0.10304 | 22.9951 | 0.107 | -0.086527 | -7.0507e-11 | -0.081973 | 0.081597 | 6.5824 | -0.010528 | -0.09107 | -1.7194e-11 | 0.057146 | 0.12853 | -41.8394 | -112.5959 | -112.5959 | 138.1902 | 66.4243 | 66.4243 | 0.7528 | 0.88841 | 1.038 | 0 | 0.96981 | 1.4775 | -25.8655 | -118.215 | 113.8693 | 0 | -148.4574 | 124.0142
Line_1 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0044617 | 0.0044617 | 0.0044617 | 0.017177 | 0.017177 | 0.017177 | 0.051519 | 0.051519 | 0.051519 | 3.1396e-05 | -0.013643 | 0.013612 | 9.2951e-15 | 0.040987 | -0.040798 | 6.5055e-06 | 0.009519 | 0.021446 | 1.1734e-13 | -0.028573 | -0.064263 | 66.3662 | 66.3662 | 66.3662 | -113.5757 | -113.5757 | -113.5757 | 0.0018667 | 0.96853 | 1.4788 | 0 | 0.96981 | 1.4775 | 78.0725 | -148.5375 | 123.9622 | 0 | -148.4574 | 124.0142
Line_2 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0044617 | 0.0044617 | 0.0044617 | 0.017177 | 0.017177 | 0.017177 | 0.051519 | 0.051519 | 0.051519 | 3.1396e-05 | -0.013643 | 0.013612 | 9.2951e-15 | 0.040987 | -0.040798 | 6.5055e-06 | 0.009519 | 0.021446 | 1.1734e-13 | -0.028573 | -0.064263 | 66.3662 | 66.3662 | 66.3662 | -113.5757 | -113.5757 | -113.5757 | 0.0018667 | 0.96853 | 1.4788 | 0 | 0.96981 | 1.4775 | 78.0725 | -148.5375 | 123.9622 | 0 | -148.4574 | 124.0142
Line_3 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.0014875 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | 0.017177 | -3.1396e-05 | 0.013643 | -0.013612 | -3.1396e-05 | 0.013643 | -0.013612 | -6.5055e-06 | -0.009519 | -0.021446 | -6.5055e-06 | -0.009519 | -0.021446 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | -113.6338 | 0.0018667 | 0.96853 | 1.4788 | 0.0018667 | 0.96853 | 1.4788 | 78.0725 | -148.5375 | 123.9622 | 78.0725 | -148.5375 | 123.9622

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.026 | 0.0039081 | 0.0039081 | 1.0258 | 0.0033273 | 0.0033273 | 11.8475 | 0.045127 | 0.045127 | 11.8447 | 0.038421 | 0.038421 | 8.4353 | 0.043126 | -0.027881 | -5.2395 | -0.035473 | 0.024497 | 6.1911 | -0.0034575 | -0.036129 | -5.272 | 0.0092316 | 0.038077 | -43.9515 | -114.708 | -114.708 | 136.0781 | 64.3122 | 64.3122 | 0.88318 | 0.95871 | 1.0113 | 0.62752 | 0.95403 | 1.1784 | -7.6745 | -119.2917 | 117.6341 | 1.2548 | -130.2749 | 121.5575
Line_1 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0016637 | 0.0016637 | 0.0016637 | 0.0064048 | 0.0064048 | 0.0064048 | 0.01921 | 0.01921 | 0.01921 | 0.0018291 | -0.0059106 | 0.0040816 | -0.0054621 | 0.017737 | -0.012248 | -0.0035802 | 0.0015338 | 0.0063526 | 0.010747 | -0.0046158 | -0.019039 | 64.2541 | 64.2541 | 64.2541 | -115.6878 | -115.6878 | -115.6878 | 0.62771 | 0.95341 | 1.1789 | 0.62752 | 0.95403 | 1.1784 | 1.3161 | -130.2934 | 121.5333 | 1.2548 | -130.2749 | 121.5575
Line_2 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0016637 | 0.0016637 | 0.0016637 | 0.0064048 | 0.0064048 | 0.0064048 | 0.01921 | 0.01921 | 0.01921 | 0.0018291 | -0.0059106 | 0.0040816 | -0.0054621 | 0.017737 | -0.012248 | -0.0035802 | 0.0015338 | 0.0063526 | 0.010747 | -0.0046158 | -0.019039 | 64.2541 | 64.2541 | 64.2541 | -115.6878 | -115.6878 | -115.6878 | 0.62771 | 0.95341 | 1.1789 | 0.62752 | 0.95403 | 1.1784 | 1.3161 | -130.2934 | 121.5333 | 1.2548 | -130.2749 | 121.5575
Line_3 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | -0.0018291 | 0.0059106 | -0.0040816 | -0.0018291 | 0.0059106 | -0.0040816 | 0.0035802 | -0.0015338 | -0.0063526 | 0.0035802 | -0.0015338 | -0.0063526 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | 0.62771 | 0.95341 | 1.1789 | 0.62771 | 0.95341 | 1.1789 | 1.3161 | -130.2934 | 121.5333 | 1.3161 | -130.2934 | 121.5333

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.026 | 0.0039081 | 0.0039081 | 1.0258 | 0.0033273 | 0.0033273 | 11.8475 | 0.045127 | 0.045127 | 11.8447 | 0.038421 | 0.038421 | 8.4353 | 0.043126 | -0.027881 | -5.2395 | -0.035473 | 0.024497 | 6.1911 | -0.0034575 | -0.036129 | -5.272 | 0.0092316 | 0.038077 | -43.9515 | -114.708 | -114.708 | 136.0781 | 64.3122 | 64.3122 | 0.88318 | 0.95871 | 1.0113 | 0.62752 | 0.95403 | 1.1784 | -7.6745 | -119.2917 | 117.6341 | 1.2548 | -130.2749 | 121.5575
Line_1 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0016637 | 0.0016637 | 0.0016637 | 0.0064048 | 0.0064048 | 0.0064048 | 0.01921 | 0.01921 | 0.01921 | 0.0018291 | -0.0059106 | 0.0040816 | -0.0054621 | 0.017737 | -0.012248 | -0.0035802 | 0.0015338 | 0.0063526 | 0.010747 | -0.0046158 | -0.019039 | 64.2541 | 64.2541 | 64.2541 | -115.6878 | -115.6878 | -115.6878 | 0.62771 | 0.95341 | 1.1789 | 0.62752 | 0.95403 | 1.1784 | 1.3161 | -130.2934 | 121.5333 | 1.2548 | -130.2749 | 121.5575
Line_2 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0016637 | 0.0016637 | 0.0016637 | 0.0064048 | 0.0064048 | 0.0064048 | 0.01921 | 0.01921 | 0.01921 | 0.0018291 | -0.0059106 | 0.0040816 | -0.0054621 | 0.017737 | -0.012248 | -0.0035802 | 0.0015338 | 0.0063526 | 0.010747 | -0.0046158 | -0.019039 | 64.2541 | 64.2541 | 64.2541 | -115.6878 | -115.6878 | -115.6878 | 0.62771 | 0.95341 | 1.1789 | 0.62752 | 0.95403 | 1.1784 | 1.3161 | -130.2934 | 121.5333 | 1.2548 | -130.2749 | 121.5575
Line_3 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.00055467 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | 0.0064048 | -0.0018291 | 0.0059106 | -0.0040816 | -0.0018291 | 0.0059106 | -0.0040816 | 0.0035802 | -0.0015338 | -0.0063526 | 0.0035802 | -0.0015338 | -0.0063526 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | -115.7459 | 0.62771 | 0.95341 | 1.1789 | 0.62771 | 0.95341 | 1.1789 | 1.3161 | -130.2934 | 121.5333 | 1.3161 | -130.2934 | 121.5333

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0077162 | 4.8904 | 3.0781 | 0.0065052 | 4.8903 | 3.0773 | 0.089099 | 56.4693 | 35.5433 | 0.075115 | 56.4688 | 35.5339 | 0.0064375 | 29.369 | 0.44905 | -0.00010429 | 1.9371e-10 | 1.5436e-10 | -0.089338 | 6.8365 | 16.2908 | 0.098676 | -2.2209e-10 | -1.0098e-10 | 80.2762 | 175.4535 | 39.4984 | -101.0634 | -4.5322 | -140.5185 | 1.0053 | 0.53399 | 0.45851 | 1.3137 | 0 | 0 | -5.6023 | -171.4425 | 127.9194 | -11.0028 | 0 | 0
Line_1 | 0.0010844 | 0.0010844 | 0.0010844 | 0.0032526 | 0.0032526 | 0.0032526 | 0.012522 | 0.012522 | 0.012522 | 0.037558 | 0.037558 | 0.037558 | -1.7382e-05 | 8.6904e-06 | 8.6904e-06 | 5.2144e-05 | -1.321e-13 | -5.8148e-14 | 0.016453 | 3.4574e-06 | 3.4574e-06 | -0.049338 | -1.448e-13 | 1.8609e-13 | -101.0936 | -101.0936 | -101.0936 | 78.9366 | 78.9366 | 78.9366 | 1.3139 | 0.00074693 | 0.00074693 | 1.3137 | 0 | 0 | -11.0331 | -79.3992 | -79.3992 | -11.0028 | 0 | 0
Line_2 | 0.0010844 | 0.0010844 | 0.0010844 | 0.0032526 | 0.0032526 | 0.0032526 | 0.012522 | 0.012522 | 0.012522 | 0.037558 | 0.037558 | 0.037558 | -1.7382e-05 | 8.6904e-06 | 8.6904e-06 | 5.2144e-05 | -1.321e-13 | -5.8148e-14 | 0.016453 | 3.4574e-06 | 3.4574e-06 | -0.049338 | -1.448e-13 | 1.8609e-13 | -101.0936 | -101.0936 | -101.0936 | 78.9366 | 78.9366 | 78.9366 | 1.3139 | 0.00074693 | 0.00074693 | 1.3137 | 0 | 0 | -11.0331 | -79.3992 | -79.3992 | -11.0028 | 0 | 0
Line_3 | 0.0010844 | 0.0010844 | 0.0010844 | 0.0010844 | 0.0010844 | 0.0010844 | 0.012522 | 0.012522 | 0.012522 | 0.012522 | 0.012522 | 0.012522 | 1.7381e-05 | -8.6904e-06 | -8.6904e-06 | 1.7381e-05 | -8.6904e-06 | -8.6904e-06 | -0.016453 | -3.4574e-06 | -3.4574e-06 | -0.016453 | -3.4574e-06 | -3.4574e-06 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 1.3139 | 0.00074693 | 0.00074693 | 1.3139 | 0.00074693 | 0.00074693 | -11.0331 | -79.3992 | -79.3992 | -11.0331 | -79.3992 | -79.3992

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0077162 | 4.8904 | 3.0781 | 0.0065052 | 4.8903 | 3.0773 | 0.089099 | 56.4693 | 35.5433 | 0.075115 | 56.4688 | 35.5339 | 0.0064375 | 29.369 | 0.44905 | -0.00010429 | 1.9371e-10 | 1.5436e-10 | -0.089338 | 6.8365 | 16.2908 | 0.098676 | -2.2209e-10 | -1.0098e-10 | 80.2762 | 175.4535 | 39.4984 | -101.0634 | -4.5322 | -140.5185 | 1.0053 | 0.53399 | 0.45851 | 1.3137 | 0 | 0 | -5.6023 | -171.4425 | 127.9194 | -11.0028 | 0 | 0
Line_1 | 0.0010844 | 0.0010844 | 0.0010844 | 0.0032526 | 0.0032526 | 0.0032526 | 0.012522 | 0.012522 | 0.012522 | 0.037558 | 0.037558 | 0.037558 | -1.7382e-05 | 8.6904e-06 | 8.6904e-06 | 5.2144e-05 | -1.321e-13 | -5.8148e-14 | 0.016453 | 3.4574e-06 | 3.4574e-06 | -0.049338 | -1.448e-13 | 1.8609e-13 | -101.0936 | -101.0936 | -101.0936 | 78.9366 | 78.9366 | 78.9366 | 1.3139 | 0.00074693 | 0.00074693 | 1.3137 | 0 | 0 | -11.0331 | -79.3992 | -79.3992 | -11.0028 | 0 | 0
Line_2 | 0.0010844 | 0.0010844 | 0.0010844 | 0.0032526 | 0.0032526 | 0.0032526 | 0.012522 | 0.012522 | 0.012522 | 0.037558 | 0.037558 | 0.037558 | -1.7382e-05 | 8.6904e-06 | 8.6904e-06 | 5.2144e-05 | -1.321e-13 | -5.8148e-14 | 0.016453 | 3.4574e-06 | 3.4574e-06 | -0.049338 | -1.448e-13 | 1.8609e-13 | -101.0936 | -101.0936 | -101.0936 | 78.9366 | 78.9366 | 78.9366 | 1.3139 | 0.00074693 | 0.00074693 | 1.3137 | 0 | 0 | -11.0331 | -79.3992 | -79.3992 | -11.0028 | 0 | 0
Line_3 | 0.0010844 | 0.0010844 | 0.0010844 | 0.0010844 | 0.0010844 | 0.0010844 | 0.012522 | 0.012522 | 0.012522 | 0.012522 | 0.012522 | 0.012522 | 1.7381e-05 | -8.6904e-06 | -8.6904e-06 | 1.7381e-05 | -8.6904e-06 | -8.6904e-06 | -0.016453 | -3.4574e-06 | -3.4574e-06 | -0.016453 | -3.4574e-06 | -3.4574e-06 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 78.9064 | 1.3139 | 0.00074693 | 0.00074693 | 1.3139 | 0.00074693 | 0.00074693 | -11.0331 | -79.3992 | -79.3992 | -11.0331 | -79.3992 | -79.3992

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0026579 | 1.3667 | 1.1841 | 0.0022407 | 1.3668 | 1.1837 | 0.03069 | 15.7815 | 13.6727 | 0.025874 | 15.7827 | 13.6682 | 0.0052764 | 11.671 | 7.8353 | -0.0042428 | -9.3328 | -6.9957 | -0.032271 | 9.3385 | 9.3517 | 0.029883 | -9.361 | -6.9898 | 78.9394 | -169.7042 | 64.8757 | -102.4002 | 10.3129 | -115.1317 | 1.0655 | 0.94714 | 0.89231 | 1.1666 | 0.83753 | 0.72353 | -1.7746 | -131.0391 | 114.9176 | -4.3194 | -124.6005 | 109.8443
Line_1 | 0.00037353 | 0.00037353 | 0.00037353 | 0.0011204 | 0.0011204 | 0.0011204 | 0.0043132 | 0.0043132 | 0.0043132 | 0.012937 | 0.012937 | 0.012937 | -0.00070889 | 0.0033464 | -0.0026375 | 0.0021214 | -0.010032 | 0.0079165 | 0.0049816 | -0.0013628 | -0.001666 | -0.014942 | 0.0040939 | 0.0049939 | -102.4305 | -102.4305 | -102.4305 | 77.5998 | 77.5998 | 77.5998 | 1.1666 | 0.83772 | 0.72327 | 1.1666 | 0.83753 | 0.72353 | -4.3317 | -124.5883 | 109.8481 | -4.3194 | -124.6005 | 109.8443
Line_2 | 0.00037353 | 0.00037353 | 0.00037353 | 0.0011204 | 0.0011204 | 0.0011204 | 0.0043132 | 0.0043132 | 0.0043132 | 0.012937 | 0.012937 | 0.012937 | -0.00070889 | 0.0033464 | -0.0026375 | 0.0021214 | -0.010032 | 0.0079165 | 0.0049816 | -0.0013628 | -0.001666 | -0.014942 | 0.0040939 | 0.0049939 | -102.4305 | -102.4305 | -102.4305 | 77.5998 | 77.5998 | 77.5998 | 1.1666 | 0.83772 | 0.72327 | 1.1666 | 0.83753 | 0.72353 | -4.3317 | -124.5883 | 109.8481 | -4.3194 | -124.6005 | 109.8443
Line_3 | 0.00037353 | 0.00037353 | 0.00037353 | 0.00037353 | 0.00037353 | 0.00037353 | 0.0043132 | 0.0043132 | 0.0043132 | 0.0043132 | 0.0043132 | 0.0043132 | 0.00070888 | -0.0033464 | 0.0026375 | 0.00070888 | -0.0033464 | 0.0026375 | -0.0049816 | 0.0013628 | 0.001666 | -0.0049816 | 0.0013628 | 0.001666 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 1.1666 | 0.83772 | 0.72327 | 1.1666 | 0.83772 | 0.72327 | -4.3317 | -124.5883 | 109.8481 | -4.3317 | -124.5883 | 109.8481

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0026579 | 1.3667 | 1.1841 | 0.0022407 | 1.3668 | 1.1837 | 0.03069 | 15.7815 | 13.6727 | 0.025874 | 15.7827 | 13.6682 | 0.0052764 | 11.671 | 7.8353 | -0.0042428 | -9.3328 | -6.9957 | -0.032271 | 9.3385 | 9.3517 | 0.029883 | -9.361 | -6.9898 | 78.9394 | -169.7042 | 64.8757 | -102.4002 | 10.3129 | -115.1317 | 1.0655 | 0.94714 | 0.89231 | 1.1666 | 0.83753 | 0.72353 | -1.7746 | -131.0391 | 114.9176 | -4.3194 | -124.6005 | 109.8443
Line_1 | 0.00037353 | 0.00037353 | 0.00037353 | 0.0011204 | 0.0011204 | 0.0011204 | 0.0043132 | 0.0043132 | 0.0043132 | 0.012937 | 0.012937 | 0.012937 | -0.00070889 | 0.0033464 | -0.0026375 | 0.0021214 | -0.010032 | 0.0079165 | 0.0049816 | -0.0013628 | -0.001666 | -0.014942 | 0.0040939 | 0.0049939 | -102.4305 | -102.4305 | -102.4305 | 77.5998 | 77.5998 | 77.5998 | 1.1666 | 0.83772 | 0.72327 | 1.1666 | 0.83753 | 0.72353 | -4.3317 | -124.5883 | 109.8481 | -4.3194 | -124.6005 | 109.8443
Line_2 | 0.00037353 | 0.00037353 | 0.00037353 | 0.0011204 | 0.0011204 | 0.0011204 | 0.0043132 | 0.0043132 | 0.0043132 | 0.012937 | 0.012937 | 0.012937 | -0.00070889 | 0.0033464 | -0.0026375 | 0.0021214 | -0.010032 | 0.0079165 | 0.0049816 | -0.0013628 | -0.001666 | -0.014942 | 0.0040939 | 0.0049939 | -102.4305 | -102.4305 | -102.4305 | 77.5998 | 77.5998 | 77.5998 | 1.1666 | 0.83772 | 0.72327 | 1.1666 | 0.83753 | 0.72353 | -4.3317 | -124.5883 | 109.8481 | -4.3194 | -124.6005 | 109.8443
Line_3 | 0.00037353 | 0.00037353 | 0.00037353 | 0.00037353 | 0.00037353 | 0.00037353 | 0.0043132 | 0.0043132 | 0.0043132 | 0.0043132 | 0.0043132 | 0.0043132 | 0.00070888 | -0.0033464 | 0.0026375 | 0.00070888 | -0.0033464 | 0.0026375 | -0.0049816 | 0.0013628 | 0.001666 | -0.0049816 | 0.0013628 | 0.001666 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 77.5695 | 1.1666 | 0.83772 | 0.72327 | 1.1666 | 0.83772 | 0.72327 | -4.3317 | -124.5883 | 109.8481 | -4.3317 | -124.5883 | 109.8481

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076272 | 3.8703 | 2.5472 | 0.0064937 | 3.8705 | 2.5465 | 0.088071 | 44.6903 | 29.4122 | 0.074982 | 44.6928 | 29.404 | 0.0045512 | 29.0005 | 0.61309 | -0.00019952 | -1.8811e-10 | -4.3753e-11 | -0.084641 | 1.2845 | 12.5322 | 0.098327 | -1.7644e-10 | -1.6425e-10 | 82.5348 | -170.6354 | 37.1235 | -98.445 | 9.3812 | -142.8964 | 0.96244 | 0.64956 | 0.4266 | 1.3113 | 0 | 0 | -4.3874 | -168.0992 | 124.3227 | -8.3287 | 0 | 0
Line_1 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0032468 | 0.0032468 | 0.0032468 | 0.0125 | 0.0125 | 0.0125 | 0.037491 | 0.037491 | 0.037491 | -3.3255e-05 | 1.6627e-05 | 1.6627e-05 | 9.9761e-05 | -1.8921e-13 | 1.8648e-13 | 0.016395 | 3.4451e-06 | 3.4451e-06 | -0.049164 | 1.0491e-13 | 1.1043e-13 | -98.5031 | -98.5031 | -98.5031 | 81.555 | 81.555 | 81.555 | 1.3116 | 0.0013584 | 0.0013584 | 1.3113 | 0 | 0 | -8.3869 | -86.7967 | -86.7967 | -8.3287 | 0 | 0
Line_2 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0032468 | 0.0032468 | 0.0032468 | 0.0125 | 0.0125 | 0.0125 | 0.037491 | 0.037491 | 0.037491 | -3.3255e-05 | 1.6627e-05 | 1.6627e-05 | 9.9761e-05 | -1.8921e-13 | 1.8648e-13 | 0.016395 | 3.4451e-06 | 3.4451e-06 | -0.049164 | 1.0491e-13 | 1.1043e-13 | -98.5031 | -98.5031 | -98.5031 | 81.555 | 81.555 | 81.555 | 1.3116 | 0.0013584 | 0.0013584 | 1.3113 | 0 | 0 | -8.3869 | -86.7967 | -86.7967 | -8.3287 | 0 | 0
Line_3 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 3.3253e-05 | -1.6627e-05 | -1.6627e-05 | 3.3253e-05 | -1.6627e-05 | -1.6627e-05 | -0.016395 | -3.4451e-06 | -3.4451e-06 | -0.016395 | -3.4451e-06 | -3.4451e-06 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 1.3116 | 0.0013584 | 0.0013584 | 1.3116 | 0.0013584 | 0.0013584 | -8.3869 | -86.7967 | -86.7967 | -8.3869 | -86.7967 | -86.7967

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076272 | 3.8703 | 2.5472 | 0.0064937 | 3.8705 | 2.5465 | 0.088071 | 44.6903 | 29.4122 | 0.074982 | 44.6928 | 29.404 | 0.0045512 | 29.0005 | 0.61309 | -0.00019952 | -1.8811e-10 | -4.3753e-11 | -0.084641 | 1.2845 | 12.5322 | 0.098327 | -1.7644e-10 | -1.6425e-10 | 82.5348 | -170.6354 | 37.1235 | -98.445 | 9.3812 | -142.8964 | 0.96244 | 0.64956 | 0.4266 | 1.3113 | 0 | 0 | -4.3874 | -168.0992 | 124.3227 | -8.3287 | 0 | 0
Line_1 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0032468 | 0.0032468 | 0.0032468 | 0.0125 | 0.0125 | 0.0125 | 0.037491 | 0.037491 | 0.037491 | -3.3255e-05 | 1.6627e-05 | 1.6627e-05 | 9.9761e-05 | -1.8921e-13 | 1.8648e-13 | 0.016395 | 3.4451e-06 | 3.4451e-06 | -0.049164 | 1.0491e-13 | 1.1043e-13 | -98.5031 | -98.5031 | -98.5031 | 81.555 | 81.555 | 81.555 | 1.3116 | 0.0013584 | 0.0013584 | 1.3113 | 0 | 0 | -8.3869 | -86.7967 | -86.7967 | -8.3287 | 0 | 0
Line_2 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0032468 | 0.0032468 | 0.0032468 | 0.0125 | 0.0125 | 0.0125 | 0.037491 | 0.037491 | 0.037491 | -3.3255e-05 | 1.6627e-05 | 1.6627e-05 | 9.9761e-05 | -1.8921e-13 | 1.8648e-13 | 0.016395 | 3.4451e-06 | 3.4451e-06 | -0.049164 | 1.0491e-13 | 1.1043e-13 | -98.5031 | -98.5031 | -98.5031 | 81.555 | 81.555 | 81.555 | 1.3116 | 0.0013584 | 0.0013584 | 1.3113 | 0 | 0 | -8.3869 | -86.7967 | -86.7967 | -8.3287 | 0 | 0
Line_3 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0010825 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 3.3253e-05 | -1.6627e-05 | -1.6627e-05 | 3.3253e-05 | -1.6627e-05 | -1.6627e-05 | -0.016395 | -3.4451e-06 | -3.4451e-06 | -0.016395 | -3.4451e-06 | -3.4451e-06 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 81.4969 | 1.3116 | 0.0013584 | 0.0013584 | 1.3116 | 0.0013584 | 0.0013584 | -8.3869 | -86.7967 | -86.7967 | -8.3869 | -86.7967 | -86.7967

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034731 | 1.1985 | 0.97527 | 0.002957 | 1.1988 | 0.97477 | 0.040104 | 13.8392 | 11.2615 | 0.034144 | 13.842 | 11.2556 | 0.010735 | 10.2023 | 5.7954 | -0.0086689 | -7.1805 | -4.7384 | -0.037659 | 6.4702 | 7.1247 | 0.037363 | -7.2097 | -4.7348 | 72.3438 | -164.1633 | 64.1716 | -108.636 | 15.8586 | -115.8356 | 0.97642 | 0.87296 | 0.81553 | 1.1233 | 0.73511 | 0.59512 | -1.7456 | -131.781 | 115.0461 | -5.5735 | -119.0251 | 109.1425
Line_1 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0014785 | 0.0014785 | 0.0014785 | 0.0056919 | 0.0056919 | 0.0056919 | 0.017072 | 0.017072 | 0.017072 | -0.001448 | 0.0041198 | -0.0026718 | 0.0043344 | -0.012344 | 0.0080303 | 0.0062277 | -0.00074965 | -0.0020771 | -0.018682 | 0.0022631 | 0.0062241 | -108.6941 | -108.6941 | -108.6941 | 71.364 | 71.364 | 71.364 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73511 | 0.59512 | -5.605 | -119.007 | 109.1688 | -5.5735 | -119.0251 | 109.1425
Line_2 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0014785 | 0.0014785 | 0.0014785 | 0.0056919 | 0.0056919 | 0.0056919 | 0.017072 | 0.017072 | 0.017072 | -0.001448 | 0.0041198 | -0.0026718 | 0.0043344 | -0.012344 | 0.0080303 | 0.0062277 | -0.00074965 | -0.0020771 | -0.018682 | 0.0022631 | 0.0062241 | -108.6941 | -108.6941 | -108.6941 | 71.364 | 71.364 | 71.364 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73511 | 0.59512 | -5.605 | -119.007 | 109.1688 | -5.5735 | -119.0251 | 109.1425
Line_3 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.001448 | -0.0041198 | 0.0026718 | 0.001448 | -0.0041198 | 0.0026718 | -0.0062277 | 0.00074965 | 0.0020771 | -0.0062277 | 0.00074965 | 0.0020771 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73568 | 0.59457 | -5.605 | -119.007 | 109.1688 | -5.605 | -119.007 | 109.1688

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034731 | 1.1985 | 0.97527 | 0.002957 | 1.1988 | 0.97477 | 0.040104 | 13.8392 | 11.2615 | 0.034144 | 13.842 | 11.2556 | 0.010735 | 10.2023 | 5.7954 | -0.0086689 | -7.1805 | -4.7384 | -0.037659 | 6.4702 | 7.1247 | 0.037363 | -7.2097 | -4.7348 | 72.3438 | -164.1633 | 64.1716 | -108.636 | 15.8586 | -115.8356 | 0.97642 | 0.87296 | 0.81553 | 1.1233 | 0.73511 | 0.59512 | -1.7456 | -131.781 | 115.0461 | -5.5735 | -119.0251 | 109.1425
Line_1 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0014785 | 0.0014785 | 0.0014785 | 0.0056919 | 0.0056919 | 0.0056919 | 0.017072 | 0.017072 | 0.017072 | -0.001448 | 0.0041198 | -0.0026718 | 0.0043344 | -0.012344 | 0.0080303 | 0.0062277 | -0.00074965 | -0.0020771 | -0.018682 | 0.0022631 | 0.0062241 | -108.6941 | -108.6941 | -108.6941 | 71.364 | 71.364 | 71.364 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73511 | 0.59512 | -5.605 | -119.007 | 109.1688 | -5.5735 | -119.0251 | 109.1425
Line_2 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0014785 | 0.0014785 | 0.0014785 | 0.0056919 | 0.0056919 | 0.0056919 | 0.017072 | 0.017072 | 0.017072 | -0.001448 | 0.0041198 | -0.0026718 | 0.0043344 | -0.012344 | 0.0080303 | 0.0062277 | -0.00074965 | -0.0020771 | -0.018682 | 0.0022631 | 0.0062241 | -108.6941 | -108.6941 | -108.6941 | 71.364 | 71.364 | 71.364 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73511 | 0.59512 | -5.605 | -119.007 | 109.1688 | -5.5735 | -119.0251 | 109.1425
Line_3 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.00049293 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.0056919 | 0.001448 | -0.0041198 | 0.0026718 | 0.001448 | -0.0041198 | 0.0026718 | -0.0062277 | 0.00074965 | 0.0020771 | -0.0062277 | 0.00074965 | 0.0020771 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 71.3059 | 1.1233 | 0.73568 | 0.59457 | 1.1233 | 0.73568 | 0.59457 | -5.605 | -119.007 | 109.1688 | -5.605 | -119.007 | 109.1688