## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -5.7317e-14 | 28.4108 | -10.6145 | 4.6896e-14 | -23.0719 | 15.9534 | -7.9071e-28 | 4.32 | 15.8719 | -5.2106e-15 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 7.9041e-13 | -154.8648 | 140.2623 | 8.3498e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -7.5901e-29 | -13.0085 | 13.0085 | -1.0421e-14 | 15.3813 | -10.6356 | 5.2106e-15 | 3.8506 | -3.8506 | -1.0421e-14 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 8.346e-13 | 180 | -180 | 8.3498e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 7.629e-29 | -7.0974 | 5.911 | -1.0421e-14 | 7.6906 | -5.3178 | -5.2106e-15 | 1.2523 | -2.5984 | -1.5187e-28 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 8.3887e-13 | -173.5168 | 172.7598 | 8.3498e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -1.518e-28 | -6.5042 | 6.5042 | -5.2106e-15 | 7.0974 | -5.911 | 1.0421e-14 | 1.9253 | -1.9253 | -1.0421e-14 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 8.346e-13 | 180 | -180 | 8.3887e-13 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -5.7317e-14 | 28.4108 | -10.6145 | 4.6896e-14 | -23.0719 | 15.9534 | -7.9071e-28 | 4.32 | 15.8719 | -5.2106e-15 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 7.9041e-13 | -154.8648 | 140.2623 | 8.3498e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -7.5901e-29 | -13.0085 | 13.0085 | -1.0421e-14 | 15.3813 | -10.6356 | 5.2106e-15 | 3.8506 | -3.8506 | -1.0421e-14 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 8.346e-13 | 180 | -180 | 8.3498e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 7.629e-29 | -7.0974 | 5.911 | -1.0421e-14 | 7.6906 | -5.3178 | -5.2106e-15 | 1.2523 | -2.5984 | -1.5187e-28 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 8.3887e-13 | -173.5168 | 172.7598 | 8.3498e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -1.518e-28 | -6.5042 | 6.5042 | -5.2106e-15 | 7.0974 | -5.911 | 1.0421e-14 | 1.9253 | -1.9253 | -1.0421e-14 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 8.346e-13 | 180 | -180 | 8.3887e-13 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.6053e-14 | 17.8002 | 0.06044 | 1.8237e-14 | -16.4209 | 1.3189 | 7.816e-15 | 3.9189 | 14.5607 | -7.816e-15 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 3.3884e-13 | -136.625 | 120.7211 | 3.5459e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | -2.6053e-15 | -10.3342 | 1.4923 | -5.2106e-15 | 10.9473 | -0.87927 | -1.6036e-29 | -0.87368 | -7.9682 | -2.6053e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 3.5265e-13 | -144.2087 | 131.5665 | 3.5459e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -5.2106e-15 | -5.3204 | 0.59289 | -5.2106e-15 | 5.4736 | -0.43963 | -2.6053e-15 | -0.61073 | -4.158 | -3.2248e-29 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 3.5566e-13 | -142.4927 | 129.0741 | 3.5459e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.6053e-15 | -5.1671 | 0.74615 | -5.2106e-15 | 5.3204 | -0.59289 | 1.6036e-29 | -0.43684 | -3.9841 | -5.2106e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 3.5265e-13 | -144.2087 | 131.5665 | 3.5566e-13 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.6053e-14 | 17.8002 | 0.06044 | 1.8237e-14 | -16.4209 | 1.3189 | 7.816e-15 | 3.9189 | 14.5607 | -7.816e-15 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 3.3884e-13 | -136.625 | 120.7211 | 3.5459e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | -2.6053e-15 | -10.3342 | 1.4923 | -5.2106e-15 | 10.9473 | -0.87927 | -1.6036e-29 | -0.87368 | -7.9682 | -2.6053e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 3.5265e-13 | -144.2087 | 131.5665 | 3.5459e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -5.2106e-15 | -5.3204 | 0.59289 | -5.2106e-15 | 5.4736 | -0.43963 | -2.6053e-15 | -0.61073 | -4.158 | -3.2248e-29 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 3.5566e-13 | -142.4927 | 129.0741 | 3.5459e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.6053e-15 | -5.1671 | 0.74615 | -5.2106e-15 | 5.3204 | -0.59289 | 1.6036e-29 | -0.43684 | -3.9841 | -5.2106e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 3.5265e-13 | -144.2087 | 131.5665 | 3.5566e-13 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | -2.3685e-15 | 24.6317 | -2.0295 | -2.5467e-28 | -17.851 | 8.8102 | -2.8422e-14 | -0.29866 | 13.6553 | 2.8422e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 5.5036e-13 | -153.068 | 126.0805 | 5.134e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.5395e-14 | -8.8871 | 8.8871 | 1.3027e-14 | 11.9007 | -5.8735 | 2.1316e-14 | 4.6513 | -4.6513 | -1.8948e-14 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 4.8941e-13 | -180 | 180 | 5.134e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -1.0658e-14 | -5.1969 | 3.6901 | 8.2897e-15 | 5.9503 | -2.9367 | 7.1054e-15 | 1.8804 | -2.7709 | -9.4739e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 5.0002e-13 | -172.2653 | 170.7242 | 5.134e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -4.737e-15 | -4.4435 | 4.4435 | 4.737e-15 | 5.1969 | -3.6901 | 1.4211e-14 | 2.3257 | -2.3257 | -9.4739e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 4.8941e-13 | -180 | 180 | 5.0002e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | -2.3685e-15 | 24.6317 | -2.0295 | -2.5467e-28 | -17.851 | 8.8102 | -2.8422e-14 | -0.29866 | 13.6553 | 2.8422e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 5.5036e-13 | -153.068 | 126.0805 | 5.134e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.5395e-14 | -8.8871 | 8.8871 | 1.3027e-14 | 11.9007 | -5.8735 | 2.1316e-14 | 4.6513 | -4.6513 | -1.8948e-14 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 4.8941e-13 | -180 | 180 | 5.134e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -1.0658e-14 | -5.1969 | 3.6901 | 8.2897e-15 | 5.9503 | -2.9367 | 7.1054e-15 | 1.8804 | -2.7709 | -9.4739e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 5.0002e-13 | -172.2653 | 170.7242 | 5.134e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -4.737e-15 | -4.4435 | 4.4435 | 4.737e-15 | 5.1969 | -3.6901 | 1.4211e-14 | 2.3257 | -2.3257 | -9.4739e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 4.8941e-13 | -180 | 180 | 5.0002e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 2.9606e-15 | 14.2512 | 1.4266 | -3.5527e-15 | -12.3717 | 0.45296 | -1.6579e-14 | 1.9064 | 11.2087 | 1.4211e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 2.5651e-13 | -136.4258 | 118.7019 | 2.3286e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -3.5527e-15 | -7.4125 | 1.1373 | 2.3685e-15 | 8.2478 | -0.30197 | -1.3605e-29 | -0.036791 | -6.2383 | 2.3685e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 2.1941e-13 | -143.7605 | 136.2873 | 2.3286e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 5.9212e-16 | -3.9151 | 0.35982 | -5.9212e-16 | 4.1239 | -0.15099 | -2.3685e-15 | -0.14181 | -3.2426 | 2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 2.2517e-13 | -141.9705 | 132.2872 | 2.3286e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -4.1448e-15 | -3.7062 | 0.56866 | 2.9606e-15 | 3.9151 | -0.35982 | 4.737e-15 | -0.018396 | -3.1192 | -2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 2.1941e-13 | -143.7605 | 136.2873 | 2.2517e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 2.9606e-15 | 14.2512 | 1.4266 | -3.5527e-15 | -12.3717 | 0.45296 | -1.6579e-14 | 1.9064 | 11.2087 | 1.4211e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 2.5651e-13 | -136.4258 | 118.7019 | 2.3286e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -3.5527e-15 | -7.4125 | 1.1373 | 2.3685e-15 | 8.2478 | -0.30197 | -1.3605e-29 | -0.036791 | -6.2383 | 2.3685e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 2.1941e-13 | -143.7605 | 136.2873 | 2.3286e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 5.9212e-16 | -3.9151 | 0.35982 | -5.9212e-16 | 4.1239 | -0.15099 | -2.3685e-15 | -0.14181 | -3.2426 | 2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 2.2517e-13 | -141.9705 | 132.2872 | 2.3286e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -4.1448e-15 | -3.7062 | 0.56866 | 2.9606e-15 | 3.9151 | -0.35982 | 4.737e-15 | -0.018396 | -3.1192 | -2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 2.1941e-13 | -143.7605 | 136.2873 | 2.2517e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4372 | 0.015111 | 0.015111 | 1.4337 | 0.011638 | 0.011638 | 16.5953 | 0.17448 | 0.17448 | 16.5551 | 0.13439 | 0.13439 | 5.4698 | 0.18184 | -0.14957 | -2.166 | -0.12964 | 0.12617 | 3.0335 | -0.20675 | -0.18064 | -1.2073 | 0.16375 | 0.15292 | -71.8291 | -85.4953 | -85.4953 | 108.1874 | 92.4239 | 92.4239 | 0.3769 | 1.578 | 1.3441 | 0.14979 | 1.5541 | 1.4752 | -42.8169 | -134.162 | 144.8801 | -42.6776 | -139.2065 | 142.8992
Line_1 | 0.95023 | 0.0019678 | 0.0019678 | 0.95396 | 0.0058466 | 0.0058466 | 10.9723 | 0.022722 | 0.022722 | 11.0154 | 0.06751 | 0.06751 | 3.7136e-11 | -0.020673 | 0.022606 | 1.4416 | 0.065627 | -0.062912 | -1.5074e-11 | 0.028385 | 0.027359 | 0.80259 | -0.081862 | -0.077205 | 108.2801 | 91.3572 | 91.3572 | -71.7835 | -87.9251 | -87.9251 | 0 | 1.5454 | 1.5619 | 0.14979 | 1.5541 | 1.4752 | 0 | -142.5759 | 141.791 | -42.6776 | -139.2065 | 142.8992
Line_2 | 0.47607 | 0.0019962 | 0.0019962 | 0.47976 | 0.0057918 | 0.0057918 | 5.4972 | 0.02305 | 0.02305 | 5.5397 | 0.066878 | 0.066878 | -0.35615 | -0.022342 | 0.021573 | 0.72439 | 0.064016 | -0.063255 | -0.19974 | 0.027848 | 0.027579 | 0.40473 | -0.081885 | -0.075714 | 108.2406 | 90.3499 | 90.3499 | -71.8706 | -87.2239 | -87.2239 | 0.074281 | 1.5489 | 1.5191 | 0.14979 | 1.5541 | 1.4752 | -42.4743 | -140.9103 | 142.3173 | -42.6776 | -139.2065 | 142.8992
Line_3 | 0.47229 | 0.0019678 | 0.0019678 | 0.47607 | 0.0019962 | 0.0019962 | 5.4535 | 0.022722 | 0.022722 | 5.4972 | 0.02305 | 0.02305 | 1.8444e-11 | 0.020673 | -0.022606 | 0.35615 | 0.022342 | -0.021573 | -7.5259e-12 | -0.028385 | -0.027359 | 0.19974 | -0.027848 | -0.027579 | 108.3844 | -88.6428 | -88.6428 | -71.7594 | -89.6501 | -89.6501 | 0 | 1.5454 | 1.5619 | 0.074281 | 1.5489 | 1.5191 | 0 | -142.5759 | 141.791 | -42.4743 | -140.9103 | 142.3173

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4372 | 0.015111 | 0.015111 | 1.4337 | 0.011638 | 0.011638 | 16.5953 | 0.17448 | 0.17448 | 16.5551 | 0.13439 | 0.13439 | 5.4698 | 0.18184 | -0.14957 | -2.166 | -0.12964 | 0.12617 | 3.0335 | -0.20675 | -0.18064 | -1.2073 | 0.16375 | 0.15292 | -71.8291 | -85.4953 | -85.4953 | 108.1874 | 92.4239 | 92.4239 | 0.3769 | 1.578 | 1.3441 | 0.14979 | 1.5541 | 1.4752 | -42.8169 | -134.162 | 144.8801 | -42.6776 | -139.2065 | 142.8992
Line_1 | 0.95023 | 0.0019678 | 0.0019678 | 0.95396 | 0.0058466 | 0.0058466 | 10.9723 | 0.022722 | 0.022722 | 11.0154 | 0.06751 | 0.06751 | 3.7136e-11 | -0.020673 | 0.022606 | 1.4416 | 0.065627 | -0.062912 | -1.5074e-11 | 0.028385 | 0.027359 | 0.80259 | -0.081862 | -0.077205 | 108.2801 | 91.3572 | 91.3572 | -71.7835 | -87.9251 | -87.9251 | 0 | 1.5454 | 1.5619 | 0.14979 | 1.5541 | 1.4752 | 0 | -142.5759 | 141.791 | -42.6776 | -139.2065 | 142.8992
Line_2 | 0.47607 | 0.0019962 | 0.0019962 | 0.47976 | 0.0057918 | 0.0057918 | 5.4972 | 0.02305 | 0.02305 | 5.5397 | 0.066878 | 0.066878 | -0.35615 | -0.022342 | 0.021573 | 0.72439 | 0.064016 | -0.063255 | -0.19974 | 0.027848 | 0.027579 | 0.40473 | -0.081885 | -0.075714 | 108.2406 | 90.3499 | 90.3499 | -71.8706 | -87.2239 | -87.2239 | 0.074281 | 1.5489 | 1.5191 | 0.14979 | 1.5541 | 1.4752 | -42.4743 | -140.9103 | 142.3173 | -42.6776 | -139.2065 | 142.8992
Line_3 | 0.47229 | 0.0019678 | 0.0019678 | 0.47607 | 0.0019962 | 0.0019962 | 5.4535 | 0.022722 | 0.022722 | 5.4972 | 0.02305 | 0.02305 | 1.8444e-11 | 0.020673 | -0.022606 | 0.35615 | 0.022342 | -0.021573 | -7.5259e-12 | -0.028385 | -0.027359 | 0.19974 | -0.027848 | -0.027579 | 108.3844 | -88.6428 | -88.6428 | -71.7594 | -89.6501 | -89.6501 | 0 | 1.5454 | 1.5619 | 0.074281 | 1.5489 | 1.5191 | 0 | -142.5759 | 141.791 | -42.4743 | -140.9103 | 142.3173

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82398 | 0.0086634 | 0.0086634 | 0.82198 | 0.0066724 | 0.0066724 | 9.5145 | 0.10004 | 0.10004 | 9.4915 | 0.077047 | 0.077047 | 5.1496 | 0.083849 | -0.099113 | -4.0564 | -0.062369 | 0.079946 | 4.3656 | -0.11173 | -0.058338 | -3.7562 | 0.086845 | 0.050863 | -60.064 | -73.7303 | -73.7303 | 119.9524 | 104.1889 | 104.1889 | 0.70955 | 1.3965 | 1.1497 | 0.58246 | 1.3877 | 1.2298 | -19.7741 | -126.8447 | 136.7508 | -17.2483 | -130.1263 | 136.654
Line_1 | 0.54479 | 0.0011282 | 0.0011282 | 0.54693 | 0.003352 | 0.003352 | 6.2907 | 0.013027 | 0.013027 | 6.3154 | 0.038705 | 0.038705 | -2.2202 | -0.010239 | 0.013933 | 2.7003 | 0.031597 | -0.040005 | -2.2229 | 0.01485 | 0.0092153 | 2.4979 | -0.043436 | -0.025796 | 120.0452 | 103.1222 | 103.1222 | -60.0184 | -76.1601 | -76.1601 | 0.49943 | 1.3846 | 1.2823 | 0.58246 | 1.3877 | 1.2298 | -14.9202 | -132.292 | 136.6025 | -17.2483 | -130.1263 | 136.654
Line_2 | 0.27294 | 0.0011444 | 0.0011444 | 0.27506 | 0.0033206 | 0.0033206 | 3.1517 | 0.013215 | 0.013215 | 3.1761 | 0.038343 | 0.038343 | -1.2286 | -0.010935 | 0.013682 | 1.3561 | 0.030772 | -0.039941 | -1.1801 | 0.014691 | 0.0094068 | 1.2583 | -0.043409 | -0.025067 | 120.0057 | 102.1149 | 102.1149 | -60.1055 | -75.4589 | -75.4589 | 0.54053 | 1.3858 | 1.2564 | 0.58246 | 1.3877 | 1.2298 | -16.1486 | -131.2234 | 136.6245 | -17.2483 | -130.1263 | 136.654
Line_3 | 0.27078 | 0.0011282 | 0.0011282 | 0.27294 | 0.0011444 | 0.0011444 | 3.1267 | 0.013027 | 0.013027 | 3.1517 | 0.013215 | 0.013215 | -1.1055 | 0.010239 | -0.013933 | 1.2286 | 0.010935 | -0.013682 | -1.1028 | -0.01485 | -0.0092153 | 1.1801 | -0.014691 | -0.0094068 | 120.1494 | -76.8778 | -76.8778 | -59.9943 | -77.8851 | -77.8851 | 0.49943 | 1.3846 | 1.2823 | 0.54053 | 1.3858 | 1.2564 | -14.9202 | -132.292 | 136.6025 | -16.1486 | -131.2234 | 136.6245

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82398 | 0.0086634 | 0.0086634 | 0.82198 | 0.0066724 | 0.0066724 | 9.5145 | 0.10004 | 0.10004 | 9.4915 | 0.077047 | 0.077047 | 5.1496 | 0.083849 | -0.099113 | -4.0564 | -0.062369 | 0.079946 | 4.3656 | -0.11173 | -0.058338 | -3.7562 | 0.086845 | 0.050863 | -60.064 | -73.7303 | -73.7303 | 119.9524 | 104.1889 | 104.1889 | 0.70955 | 1.3965 | 1.1497 | 0.58246 | 1.3877 | 1.2298 | -19.7741 | -126.8447 | 136.7508 | -17.2483 | -130.1263 | 136.654
Line_1 | 0.54479 | 0.0011282 | 0.0011282 | 0.54693 | 0.003352 | 0.003352 | 6.2907 | 0.013027 | 0.013027 | 6.3154 | 0.038705 | 0.038705 | -2.2202 | -0.010239 | 0.013933 | 2.7003 | 0.031597 | -0.040005 | -2.2229 | 0.01485 | 0.0092153 | 2.4979 | -0.043436 | -0.025796 | 120.0452 | 103.1222 | 103.1222 | -60.0184 | -76.1601 | -76.1601 | 0.49943 | 1.3846 | 1.2823 | 0.58246 | 1.3877 | 1.2298 | -14.9202 | -132.292 | 136.6025 | -17.2483 | -130.1263 | 136.654
Line_2 | 0.27294 | 0.0011444 | 0.0011444 | 0.27506 | 0.0033206 | 0.0033206 | 3.1517 | 0.013215 | 0.013215 | 3.1761 | 0.038343 | 0.038343 | -1.2286 | -0.010935 | 0.013682 | 1.3561 | 0.030772 | -0.039941 | -1.1801 | 0.014691 | 0.0094068 | 1.2583 | -0.043409 | -0.025067 | 120.0057 | 102.1149 | 102.1149 | -60.1055 | -75.4589 | -75.4589 | 0.54053 | 1.3858 | 1.2564 | 0.58246 | 1.3877 | 1.2298 | -16.1486 | -131.2234 | 136.6245 | -17.2483 | -130.1263 | 136.654
Line_3 | 0.27078 | 0.0011282 | 0.0011282 | 0.27294 | 0.0011444 | 0.0011444 | 3.1267 | 0.013027 | 0.013027 | 3.1517 | 0.013215 | 0.013215 | -1.1055 | 0.010239 | -0.013933 | 1.2286 | 0.010935 | -0.013682 | -1.1028 | -0.01485 | -0.0092153 | 1.1801 | -0.014691 | -0.0094068 | 120.1494 | -76.8778 | -76.8778 | -59.9943 | -77.8851 | -77.8851 | 0.49943 | 1.3846 | 1.2823 | 0.54053 | 1.3858 | 1.2564 | -14.9202 | -132.292 | 136.6025 | -16.1486 | -131.2234 | 136.6245

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1599 | 0.013082 | 0.013082 | 1.1571 | 0.010278 | 0.010278 | 13.3937 | 0.15106 | 0.15106 | 13.3612 | 0.11868 | 0.11868 | 6.8408 | 0.15024 | -0.1096 | -2.7089 | -0.10481 | 0.10042 | 1.9552 | -0.15425 | -0.12366 | -0.78343 | 0.12864 | 0.11683 | -58.3763 | -83.2854 | -83.2854 | 121.655 | 93.294 | 93.294 | 0.5312 | 1.4255 | 1.0939 | 0.21105 | 1.3981 | 1.2981 | -42.4254 | -129.0403 | 145.1634 | -42.2147 | -137.5365 | 142.6143
Line_1 | 0.7669 | 0.0017569 | 0.0017569 | 0.76992 | 0.0051821 | 0.0051821 | 8.8554 | 0.020286 | 0.020286 | 8.8902 | 0.059838 | 0.059838 | -9.4283e-12 | -0.016354 | 0.01877 | 1.8029 | 0.053469 | -0.050054 | -5.1645e-12 | 0.023175 | 0.022198 | 0.51952 | -0.064343 | -0.059394 | 121.8325 | 91.5932 | 91.5932 | -58.2892 | -87.2633 | -87.2633 | 0 | 1.3982 | 1.433 | 0.21105 | 1.3981 | 1.2981 | 0 | -143.1973 | 141.3772 | -42.2147 | -137.5365 | 142.6143
Line_2 | 0.38422 | 0.0018017 | 0.0018017 | 0.3872 | 0.0050967 | 0.0050967 | 4.4366 | 0.020804 | 0.020804 | 4.471 | 0.058852 | 0.058852 | -0.44541 | -0.018497 | 0.017536 | 0.90595 | 0.051337 | -0.050366 | -0.13065 | 0.02239 | 0.02237 | 0.26391 | -0.064302 | -0.057439 | 121.7569 | 90.0311 | 90.0311 | -58.4558 | -86.1394 | -86.1394 | 0.10462 | 1.396 | 1.3663 | 0.21105 | 1.3981 | 1.2981 | -41.8954 | -140.4071 | 141.938 | -42.2147 | -137.5365 | 142.6143
Line_3 | 0.38118 | 0.0017569 | 0.0017569 | 0.38422 | 0.0018017 | 0.0018017 | 4.4015 | 0.020286 | 0.020286 | 4.4366 | 0.020804 | 0.020804 | -4.6951e-12 | 0.016354 | -0.01877 | 0.44541 | 0.018497 | -0.017536 | -2.5506e-12 | -0.023175 | -0.022198 | 0.13065 | -0.02239 | -0.02237 | 122.032 | -88.4068 | -88.4068 | -58.2431 | -89.9689 | -89.9689 | 0 | 1.3982 | 1.433 | 0.10462 | 1.396 | 1.3663 | 0 | -143.1973 | 141.3772 | -41.8954 | -140.4071 | 141.938

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1599 | 0.013082 | 0.013082 | 1.1571 | 0.010278 | 0.010278 | 13.3937 | 0.15106 | 0.15106 | 13.3612 | 0.11868 | 0.11868 | 6.8408 | 0.15024 | -0.1096 | -2.7089 | -0.10481 | 0.10042 | 1.9552 | -0.15425 | -0.12366 | -0.78343 | 0.12864 | 0.11683 | -58.3763 | -83.2854 | -83.2854 | 121.655 | 93.294 | 93.294 | 0.5312 | 1.4255 | 1.0939 | 0.21105 | 1.3981 | 1.2981 | -42.4254 | -129.0403 | 145.1634 | -42.2147 | -137.5365 | 142.6143
Line_1 | 0.7669 | 0.0017569 | 0.0017569 | 0.76992 | 0.0051821 | 0.0051821 | 8.8554 | 0.020286 | 0.020286 | 8.8902 | 0.059838 | 0.059838 | -9.4283e-12 | -0.016354 | 0.01877 | 1.8029 | 0.053469 | -0.050054 | -5.1645e-12 | 0.023175 | 0.022198 | 0.51952 | -0.064343 | -0.059394 | 121.8325 | 91.5932 | 91.5932 | -58.2892 | -87.2633 | -87.2633 | 0 | 1.3982 | 1.433 | 0.21105 | 1.3981 | 1.2981 | 0 | -143.1973 | 141.3772 | -42.2147 | -137.5365 | 142.6143
Line_2 | 0.38422 | 0.0018017 | 0.0018017 | 0.3872 | 0.0050967 | 0.0050967 | 4.4366 | 0.020804 | 0.020804 | 4.471 | 0.058852 | 0.058852 | -0.44541 | -0.018497 | 0.017536 | 0.90595 | 0.051337 | -0.050366 | -0.13065 | 0.02239 | 0.02237 | 0.26391 | -0.064302 | -0.057439 | 121.7569 | 90.0311 | 90.0311 | -58.4558 | -86.1394 | -86.1394 | 0.10462 | 1.396 | 1.3663 | 0.21105 | 1.3981 | 1.2981 | -41.8954 | -140.4071 | 141.938 | -42.2147 | -137.5365 | 142.6143
Line_3 | 0.38118 | 0.0017569 | 0.0017569 | 0.38422 | 0.0018017 | 0.0018017 | 4.4015 | 0.020286 | 0.020286 | 4.4366 | 0.020804 | 0.020804 | -4.6951e-12 | 0.016354 | -0.01877 | 0.44541 | 0.018497 | -0.017536 | -2.5506e-12 | -0.023175 | -0.022198 | 0.13065 | -0.02239 | -0.02237 | 122.032 | -88.4068 | -88.4068 | -58.2431 | -89.9689 | -89.9689 | 0 | 1.3982 | 1.433 | 0.10462 | 1.396 | 1.3663 | 0 | -143.1973 | 141.3772 | -41.8954 | -140.4071 | 141.938

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68543 | 0.0077303 | 0.0077303 | 0.68376 | 0.0060737 | 0.0060737 | 7.9146 | 0.089262 | 0.089262 | 7.8954 | 0.070133 | 0.070133 | 4.7026 | 0.07639 | -0.074771 | -3.2554 | -0.056692 | 0.063385 | 3.0189 | -0.082194 | -0.049737 | -2.6028 | 0.06602 | 0.04765 | -52.9727 | -77.8818 | -77.8818 | 127.0587 | 98.6976 | 98.6976 | 0.70606 | 1.2571 | 1.0061 | 0.52791 | 1.2408 | 1.1307 | -20.2734 | -124.9777 | 135.7498 | -14.298 | -130.6492 | 135.6321
Line_1 | 0.45318 | 0.0010382 | 0.0010382 | 0.45496 | 0.0030622 | 0.0030622 | 5.2329 | 0.011988 | 0.011988 | 5.2534 | 0.035359 | 0.035359 | -1.5355 | -0.0092509 | 0.011358 | 2.1678 | 0.028905 | -0.031722 | -1.539 | 0.011595 | 0.009066 | 1.7297 | -0.033006 | -0.024334 | 127.2361 | 96.9969 | 96.9969 | -52.8856 | -81.8597 | -81.8597 | 0.41545 | 1.2374 | 1.2123 | 0.52791 | 1.2408 | 1.1307 | -7.6977 | -134.4195 | 135.5943 | -14.298 | -130.6492 | 135.6321
Line_2 | 0.22705 | 0.0010647 | 0.0010647 | 0.2288 | 0.0030118 | 0.0030118 | 2.6217 | 0.012294 | 0.012294 | 2.642 | 0.034777 | 0.034777 | -0.92379 | -0.010186 | 0.011011 | 1.0877 | 0.027787 | -0.031663 | -0.8177 | 0.01131 | 0.0092934 | 0.87307 | -0.033014 | -0.023316 | 127.1605 | 95.4347 | 95.4347 | -53.0522 | -80.7358 | -80.7358 | 0.47057 | 1.2381 | 1.1721 | 0.52791 | 1.2408 | 1.1307 | -11.3259 | -132.5579 | 135.5993 | -14.298 | -130.6492 | 135.6321
Line_3 | 0.22525 | 0.0010382 | 0.0010382 | 0.22705 | 0.0010647 | 0.0010647 | 2.6009 | 0.011988 | 0.011988 | 2.6217 | 0.012294 | 0.012294 | -0.76584 | 0.0092509 | -0.011358 | 0.92379 | 0.010186 | -0.011011 | -0.76228 | -0.011595 | -0.009066 | 0.8177 | -0.01131 | -0.0092934 | 127.4356 | -83.0031 | -83.0031 | -52.8395 | -84.5653 | -84.5653 | 0.41545 | 1.2374 | 1.2123 | 0.47057 | 1.2381 | 1.1721 | -7.6977 | -134.4195 | 135.5943 | -11.3259 | -132.5579 | 135.5993

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68543 | 0.0077303 | 0.0077303 | 0.68376 | 0.0060737 | 0.0060737 | 7.9146 | 0.089262 | 0.089262 | 7.8954 | 0.070133 | 0.070133 | 4.7026 | 0.07639 | -0.074771 | -3.2554 | -0.056692 | 0.063385 | 3.0189 | -0.082194 | -0.049737 | -2.6028 | 0.06602 | 0.04765 | -52.9727 | -77.8818 | -77.8818 | 127.0587 | 98.6976 | 98.6976 | 0.70606 | 1.2571 | 1.0061 | 0.52791 | 1.2408 | 1.1307 | -20.2734 | -124.9777 | 135.7498 | -14.298 | -130.6492 | 135.6321
Line_1 | 0.45318 | 0.0010382 | 0.0010382 | 0.45496 | 0.0030622 | 0.0030622 | 5.2329 | 0.011988 | 0.011988 | 5.2534 | 0.035359 | 0.035359 | -1.5355 | -0.0092509 | 0.011358 | 2.1678 | 0.028905 | -0.031722 | -1.539 | 0.011595 | 0.009066 | 1.7297 | -0.033006 | -0.024334 | 127.2361 | 96.9969 | 96.9969 | -52.8856 | -81.8597 | -81.8597 | 0.41545 | 1.2374 | 1.2123 | 0.52791 | 1.2408 | 1.1307 | -7.6977 | -134.4195 | 135.5943 | -14.298 | -130.6492 | 135.6321
Line_2 | 0.22705 | 0.0010647 | 0.0010647 | 0.2288 | 0.0030118 | 0.0030118 | 2.6217 | 0.012294 | 0.012294 | 2.642 | 0.034777 | 0.034777 | -0.92379 | -0.010186 | 0.011011 | 1.0877 | 0.027787 | -0.031663 | -0.8177 | 0.01131 | 0.0092934 | 0.87307 | -0.033014 | -0.023316 | 127.1605 | 95.4347 | 95.4347 | -53.0522 | -80.7358 | -80.7358 | 0.47057 | 1.2381 | 1.1721 | 0.52791 | 1.2408 | 1.1307 | -11.3259 | -132.5579 | 135.5993 | -14.298 | -130.6492 | 135.6321
Line_3 | 0.22525 | 0.0010382 | 0.0010382 | 0.22705 | 0.0010647 | 0.0010647 | 2.6009 | 0.011988 | 0.011988 | 2.6217 | 0.012294 | 0.012294 | -0.76584 | 0.0092509 | -0.011358 | 0.92379 | 0.010186 | -0.011011 | -0.76228 | -0.011595 | -0.009066 | 0.8177 | -0.01131 | -0.0092934 | 127.4356 | -83.0031 | -83.0031 | -52.8395 | -84.5653 | -84.5653 | 0.41545 | 1.2374 | 1.2123 | 0.47057 | 1.2381 | 1.1721 | -7.6977 | -134.4195 | 135.5943 | -11.3259 | -132.5579 | 135.5993

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.009352 | 3.2509 | 3.2202 | 0.0072028 | 3.2508 | 3.2197 | 0.10799 | 37.5379 | 37.1837 | 0.083171 | 37.5364 | 37.1783 | -0.0011582 | 11.4402 | 8.1289 | 0.0026989 | -4.5698 | -3.2481 | -0.15589 | 5.5649 | 15.4155 | 0.12374 | -2.2456 | -6.1436 | 94.939 | -171.4499 | 24.5046 | -87.1419 | 8.5883 | -155.5331 | 1.4436 | 0.33891 | 0.46868 | 1.4881 | 0.13565 | 0.18692 | 4.5133 | -145.5103 | 86.701 | 1.6086 | -145.2419 | 86.6018
Line_1 | 0.0012179 | 2.1675 | 2.1452 | 0.0036184 | 2.1673 | 2.1461 | 0.014063 | 25.0282 | 24.7705 | 0.041782 | 25.0254 | 24.7807 | 0.00074044 | 5.2758e-11 | 7.4052e-11 | -0.00097721 | 3.0475 | 2.1629 | 0.021352 | -5.5277e-11 | -3.6208e-12 | -0.062167 | 1.4955 | 4.0961 | -88.2085 | 8.6826 | -155.6223 | 92.5092 | -171.3805 | 24.4373 | 1.5192 | 0 | 0 | 1.4881 | 0.13565 | 0.18692 | -0.19461 | 0 | 0 | 1.6086 | -145.2419 | 86.6018
Line_2 | 0.0012354 | 1.0837 | 1.0729 | 0.0035845 | 1.0835 | 1.0737 | 0.014265 | 12.513 | 12.3883 | 0.041391 | 12.511 | 12.3976 | 3.7785e-05 | -0.76067 | -0.54011 | -0.0017217 | 1.5223 | 1.0852 | 0.02145 | -0.37845 | -1.019 | -0.061569 | 0.75013 | 2.0475 | -89.2158 | 8.6499 | -155.5919 | 93.2104 | -171.4741 | 24.5261 | 1.5036 | 0.067899 | 0.093095 | 1.4881 | 0.13565 | 0.18692 | 0.68326 | -144.8985 | 86.4827 | 1.6086 | -145.2419 | 86.6018
Line_3 | 0.0012179 | 1.084 | 1.0719 | 0.0012354 | 1.0837 | 1.0729 | 0.014063 | 12.5166 | 12.3772 | 0.014265 | 12.513 | 12.3883 | -0.00074044 | 2.6338e-11 | 3.7005e-11 | -3.7787e-05 | 0.76067 | 0.54011 | -0.021352 | -2.7688e-11 | -1.751e-12 | -0.02145 | 0.37845 | 1.019 | 91.7915 | 8.7785 | -155.7124 | 90.7842 | -171.3501 | 24.4081 | 1.5192 | 0 | 0 | 1.5036 | 0.067899 | 0.093095 | -0.19461 | 0 | 0 | 0.68326 | -144.8985 | 86.4827

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.009352 | 3.2509 | 3.2202 | 0.0072028 | 3.2508 | 3.2197 | 0.10799 | 37.5379 | 37.1837 | 0.083171 | 37.5364 | 37.1783 | -0.0011582 | 11.4402 | 8.1289 | 0.0026989 | -4.5698 | -3.2481 | -0.15589 | 5.5649 | 15.4155 | 0.12374 | -2.2456 | -6.1436 | 94.939 | -171.4499 | 24.5046 | -87.1419 | 8.5883 | -155.5331 | 1.4436 | 0.33891 | 0.46868 | 1.4881 | 0.13565 | 0.18692 | 4.5133 | -145.5103 | 86.701 | 1.6086 | -145.2419 | 86.6018
Line_1 | 0.0012179 | 2.1675 | 2.1452 | 0.0036184 | 2.1673 | 2.1461 | 0.014063 | 25.0282 | 24.7705 | 0.041782 | 25.0254 | 24.7807 | 0.00074044 | 5.2758e-11 | 7.4052e-11 | -0.00097721 | 3.0475 | 2.1629 | 0.021352 | -5.5277e-11 | -3.6208e-12 | -0.062167 | 1.4955 | 4.0961 | -88.2085 | 8.6826 | -155.6223 | 92.5092 | -171.3805 | 24.4373 | 1.5192 | 0 | 0 | 1.4881 | 0.13565 | 0.18692 | -0.19461 | 0 | 0 | 1.6086 | -145.2419 | 86.6018
Line_2 | 0.0012354 | 1.0837 | 1.0729 | 0.0035845 | 1.0835 | 1.0737 | 0.014265 | 12.513 | 12.3883 | 0.041391 | 12.511 | 12.3976 | 3.7785e-05 | -0.76067 | -0.54011 | -0.0017217 | 1.5223 | 1.0852 | 0.02145 | -0.37845 | -1.019 | -0.061569 | 0.75013 | 2.0475 | -89.2158 | 8.6499 | -155.5919 | 93.2104 | -171.4741 | 24.5261 | 1.5036 | 0.067899 | 0.093095 | 1.4881 | 0.13565 | 0.18692 | 0.68326 | -144.8985 | 86.4827 | 1.6086 | -145.2419 | 86.6018
Line_3 | 0.0012179 | 1.084 | 1.0719 | 0.0012354 | 1.0837 | 1.0729 | 0.014063 | 12.5166 | 12.3772 | 0.014265 | 12.513 | 12.3883 | -0.00074044 | 2.6338e-11 | 3.7005e-11 | -3.7787e-05 | 0.76067 | 0.54011 | -0.021352 | -2.7688e-11 | -1.751e-12 | -0.02145 | 0.37845 | 1.019 | 91.7915 | 8.7785 | -155.7124 | 90.7842 | -171.3501 | 24.4081 | 1.5192 | 0 | 0 | 1.5036 | 0.067899 | 0.093095 | -0.19461 | 0 | 0 | 0.68326 | -144.8985 | 86.4827

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006424 | 1.0736 | 1.1639 | 0.0049477 | 1.0736 | 1.1632 | 0.074178 | 12.3974 | 13.4399 | 0.057131 | 12.3971 | 13.4312 | -0.014773 | 7.2077 | 8.1502 | 0.011566 | -6.3291 | -7.3135 | -0.097056 | 5.8211 | 9.3519 | 0.076869 | -5.8055 | -7.7708 | 103.5027 | -160.7318 | 50.9663 | -78.5782 | 19.3477 | -129.0969 | 1.3235 | 0.74732 | 0.92299 | 1.3606 | 0.69278 | 0.79451 | 4.8482 | -121.8069 | 99.8942 | 2.8651 | -118.1228 | 97.6396
Line_1 | 0.00083657 | 0.71607 | 0.7739 | 0.0024855 | 0.71584 | 0.77495 | 0.0096599 | 8.2685 | 8.9362 | 0.0287 | 8.2658 | 8.9483 | 0.0020312 | -3.842 | -4.4925 | -0.005575 | 4.2243 | 4.8683 | 0.013232 | -3.8509 | -4.4851 | -0.038651 | 3.8661 | 5.1812 | -79.6448 | 19.543 | -129.2383 | 101.0729 | -160.5877 | 50.856 | 1.3858 | 0.65788 | 0.71037 | 1.3606 | 0.69278 | 0.79451 | 1.6282 | -115.391 | 95.7145 | 2.8651 | -118.1228 | 97.6396
Line_2 | 0.00084862 | 0.35795 | 0.38724 | 0.0024623 | 0.35778 | 0.38823 | 0.009799 | 4.1333 | 4.4715 | 0.028432 | 4.1312 | 4.4829 | 0.0016673 | -2.0161 | -2.3398 | -0.005991 | 2.1048 | 2.4453 | 0.013353 | -1.9302 | -2.4155 | -0.038218 | 1.9394 | 2.5897 | -80.6521 | 19.4754 | -129.1913 | 101.7741 | -160.7816 | 50.9971 | 1.3733 | 0.67528 | 0.75208 | 1.3606 | 0.69278 | 0.79451 | 2.2308 | -116.7713 | 96.7212 | 2.8651 | -118.1228 | 97.6396
Line_3 | 0.00083657 | 0.35824 | 0.38614 | 0.00084862 | 0.35795 | 0.38724 | 0.0096599 | 4.1366 | 4.4587 | 0.009799 | 4.1333 | 4.4715 | -0.0020312 | -1.9287 | -2.236 | -0.0016673 | 2.0161 | 2.3398 | -0.013232 | -1.9199 | -2.2434 | -0.013353 | 1.9302 | 2.4155 | 100.3552 | 19.7411 | -129.3801 | 99.3479 | -160.5246 | 50.8087 | 1.3858 | 0.65788 | 0.71037 | 1.3733 | 0.67528 | 0.75208 | 1.6282 | -115.391 | 95.7145 | 2.2308 | -116.7713 | 96.7212

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006424 | 1.0736 | 1.1639 | 0.0049477 | 1.0736 | 1.1632 | 0.074178 | 12.3974 | 13.4399 | 0.057131 | 12.3971 | 13.4312 | -0.014773 | 7.2077 | 8.1502 | 0.011566 | -6.3291 | -7.3135 | -0.097056 | 5.8211 | 9.3519 | 0.076869 | -5.8055 | -7.7708 | 103.5027 | -160.7318 | 50.9663 | -78.5782 | 19.3477 | -129.0969 | 1.3235 | 0.74732 | 0.92299 | 1.3606 | 0.69278 | 0.79451 | 4.8482 | -121.8069 | 99.8942 | 2.8651 | -118.1228 | 97.6396
Line_1 | 0.00083657 | 0.71607 | 0.7739 | 0.0024855 | 0.71584 | 0.77495 | 0.0096599 | 8.2685 | 8.9362 | 0.0287 | 8.2658 | 8.9483 | 0.0020312 | -3.842 | -4.4925 | -0.005575 | 4.2243 | 4.8683 | 0.013232 | -3.8509 | -4.4851 | -0.038651 | 3.8661 | 5.1812 | -79.6448 | 19.543 | -129.2383 | 101.0729 | -160.5877 | 50.856 | 1.3858 | 0.65788 | 0.71037 | 1.3606 | 0.69278 | 0.79451 | 1.6282 | -115.391 | 95.7145 | 2.8651 | -118.1228 | 97.6396
Line_2 | 0.00084862 | 0.35795 | 0.38724 | 0.0024623 | 0.35778 | 0.38823 | 0.009799 | 4.1333 | 4.4715 | 0.028432 | 4.1312 | 4.4829 | 0.0016673 | -2.0161 | -2.3398 | -0.005991 | 2.1048 | 2.4453 | 0.013353 | -1.9302 | -2.4155 | -0.038218 | 1.9394 | 2.5897 | -80.6521 | 19.4754 | -129.1913 | 101.7741 | -160.7816 | 50.9971 | 1.3733 | 0.67528 | 0.75208 | 1.3606 | 0.69278 | 0.79451 | 2.2308 | -116.7713 | 96.7212 | 2.8651 | -118.1228 | 97.6396
Line_3 | 0.00083657 | 0.35824 | 0.38614 | 0.00084862 | 0.35795 | 0.38724 | 0.0096599 | 4.1366 | 4.4587 | 0.009799 | 4.1333 | 4.4715 | -0.0020312 | -1.9287 | -2.236 | -0.0016673 | 2.0161 | 2.3398 | -0.013232 | -1.9199 | -2.2434 | -0.013353 | 1.9302 | 2.4155 | 100.3552 | 19.7411 | -129.3801 | 99.3479 | -160.5246 | 50.8087 | 1.3858 | 0.65788 | 0.71037 | 1.3733 | 0.67528 | 0.75208 | 1.6282 | -115.391 | 95.7145 | 2.2308 | -116.7713 | 96.7212

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080763 | 2.6604 | 2.6013 | 0.0063455 | 2.6604 | 2.6008 | 0.093257 | 30.7201 | 30.0373 | 0.073271 | 30.72 | 30.0318 | -0.0014172 | 14.0932 | 10.7152 | 0.0033576 | -5.6374 | -4.2738 | -0.11678 | 0.80337 | 13.0623 | 0.097266 | -0.34843 | -5.1977 | 97.7199 | -160.1607 | 35.5922 | -85.7007 | 19.8776 | -144.4456 | 1.2524 | 0.45951 | 0.56247 | 1.3283 | 0.18386 | 0.22407 | 7.0247 | -156.8982 | 86.2299 | 2.3223 | -156.5856 | 86.126
Line_1 | 0.0010846 | 1.7744 | 1.7323 | 0.0031992 | 1.7739 | 1.7334 | 0.012524 | 20.4894 | 20.0027 | 0.036942 | 20.4829 | 20.0153 | 0.00092067 | -1.004e-10 | -1.9151e-11 | -0.0012157 | 3.7589 | 2.8466 | 0.017294 | -7.6022e-11 | -1.2202e-10 | -0.049053 | 0.23019 | 3.4656 | -87.4014 | 19.9758 | -144.5351 | 93.742 | -160.09 | 35.5247 | 1.3828 | 0 | 0 | 1.3283 | 0.18386 | 0.22407 | -0.44884 | 0 | 0 | 2.3223 | -156.5856 | 86.126
Line_2 | 0.0011123 | 0.88702 | 0.86648 | 0.0031465 | 0.88656 | 0.86745 | 0.012844 | 10.2424 | 10.0052 | 0.036333 | 10.2372 | 10.0165 | 4.6987e-05 | -0.94032 | -0.7088 | -0.0021418 | 1.8785 | 1.4272 | 0.017407 | -0.063823 | -0.8603 | -0.048212 | 0.11823 | 1.7321 | -88.9636 | 19.9413 | -144.5046 | 94.866 | -160.1871 | 35.6137 | 1.3553 | 0.092018 | 0.11141 | 1.3283 | 0.18386 | 0.22407 | 0.88177 | -156.1758 | 86.0102 | 2.3223 | -156.5856 | 86.126
Line_3 | 0.0010846 | 0.88771 | 0.86526 | 0.0011123 | 0.88702 | 0.86648 | 0.012524 | 10.2503 | 9.9911 | 0.012844 | 10.2424 | 10.0052 | -0.00092067 | -5.0292e-11 | -9.4695e-12 | -4.6989e-05 | 0.94032 | 0.7088 | -0.017294 | -3.7944e-11 | -6.0964e-11 | -0.017407 | 0.063823 | 0.8603 | 92.5986 | 20.076 | -144.6256 | 91.0364 | -160.0587 | 35.4954 | 1.3828 | 0 | 0 | 1.3553 | 0.092018 | 0.11141 | -0.44884 | 0 | 0 | 0.88177 | -156.1758 | 86.0102

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080763 | 2.6604 | 2.6013 | 0.0063455 | 2.6604 | 2.6008 | 0.093257 | 30.7201 | 30.0373 | 0.073271 | 30.72 | 30.0318 | -0.0014172 | 14.0932 | 10.7152 | 0.0033576 | -5.6374 | -4.2738 | -0.11678 | 0.80337 | 13.0623 | 0.097266 | -0.34843 | -5.1977 | 97.7199 | -160.1607 | 35.5922 | -85.7007 | 19.8776 | -144.4456 | 1.2524 | 0.45951 | 0.56247 | 1.3283 | 0.18386 | 0.22407 | 7.0247 | -156.8982 | 86.2299 | 2.3223 | -156.5856 | 86.126
Line_1 | 0.0010846 | 1.7744 | 1.7323 | 0.0031992 | 1.7739 | 1.7334 | 0.012524 | 20.4894 | 20.0027 | 0.036942 | 20.4829 | 20.0153 | 0.00092067 | -1.004e-10 | -1.9151e-11 | -0.0012157 | 3.7589 | 2.8466 | 0.017294 | -7.6022e-11 | -1.2202e-10 | -0.049053 | 0.23019 | 3.4656 | -87.4014 | 19.9758 | -144.5351 | 93.742 | -160.09 | 35.5247 | 1.3828 | 0 | 0 | 1.3283 | 0.18386 | 0.22407 | -0.44884 | 0 | 0 | 2.3223 | -156.5856 | 86.126
Line_2 | 0.0011123 | 0.88702 | 0.86648 | 0.0031465 | 0.88656 | 0.86745 | 0.012844 | 10.2424 | 10.0052 | 0.036333 | 10.2372 | 10.0165 | 4.6987e-05 | -0.94032 | -0.7088 | -0.0021418 | 1.8785 | 1.4272 | 0.017407 | -0.063823 | -0.8603 | -0.048212 | 0.11823 | 1.7321 | -88.9636 | 19.9413 | -144.5046 | 94.866 | -160.1871 | 35.6137 | 1.3553 | 0.092018 | 0.11141 | 1.3283 | 0.18386 | 0.22407 | 0.88177 | -156.1758 | 86.0102 | 2.3223 | -156.5856 | 86.126
Line_3 | 0.0010846 | 0.88771 | 0.86526 | 0.0011123 | 0.88702 | 0.86648 | 0.012524 | 10.2503 | 9.9911 | 0.012844 | 10.2424 | 10.0052 | -0.00092067 | -5.0292e-11 | -9.4695e-12 | -4.6989e-05 | 0.94032 | 0.7088 | -0.017294 | -3.7944e-11 | -6.0964e-11 | -0.017407 | 0.063823 | 0.8603 | 92.5986 | 20.076 | -144.6256 | 91.0364 | -160.0587 | 35.4954 | 1.3828 | 0 | 0 | 1.3553 | 0.092018 | 0.11141 | -0.44884 | 0 | 0 | 0.88177 | -156.1758 | 86.0102

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0056584 | 0.94804 | 0.97272 | 0.0044458 | 0.94804 | 0.97209 | 0.065338 | 10.947 | 11.232 | 0.051335 | 10.947 | 11.2247 | -0.0074312 | 6.5488 | 6.5962 | 0.0060545 | -5.3091 | -5.4641 | -0.076018 | 3.8732 | 7.2824 | 0.062721 | -4.2654 | -5.7237 | 101.3735 | -156.5777 | 53.9887 | -82.0471 | 23.4978 | -126.0748 | 1.169 | 0.69503 | 0.87479 | 1.2275 | 0.62211 | 0.70497 | 5.7902 | -125.9765 | 101.8192 | 2.4392 | -117.7231 | 100.2543
Line_1 | 0.00075991 | 0.6326 | 0.64649 | 0.0022415 | 0.6322 | 0.64756 | 0.0087747 | 7.3046 | 7.4651 | 0.025882 | 7.3 | 7.4773 | 0.0011288 | -2.999 | -3.1344 | -0.0027448 | 3.5435 | 3.6369 | 0.01107 | -3.0059 | -3.1294 | -0.031651 | 2.8404 | 3.8158 | -83.7479 | 23.6907 | -126.212 | 97.3956 | -156.4386 | 53.8794 | 1.2681 | 0.58129 | 0.59333 | 1.2275 | 0.62211 | 0.70497 | 0.42984 | -111.2437 | 98.7425 | 2.4392 | -117.7231 | 100.2543
Line_2 | 0.0007793 | 0.31616 | 0.32356 | 0.0022045 | 0.31584 | 0.32453 | 0.0089986 | 3.6507 | 3.7361 | 0.025456 | 3.647 | 3.7474 | 0.00064479 | -1.6354 | -1.6918 | -0.0033097 | 1.7656 | 1.8273 | 0.011209 | -1.463 | -1.7351 | -0.03107 | 1.425 | 1.908 | -85.31 | 23.6229 | -126.1671 | 98.5195 | -156.6295 | 54.0166 | 1.2477 | 0.60107 | 0.64864 | 1.2275 | 0.62211 | 0.70497 | 1.3978 | -114.5625 | 99.5562 | 2.4392 | -117.7231 | 100.2543
Line_3 | 0.00075991 | 0.31664 | 0.32241 | 0.0007793 | 0.31616 | 0.32356 | 0.0087747 | 3.6563 | 3.7228 | 0.0089986 | 3.6507 | 3.7361 | -0.0011288 | -1.5063 | -1.5594 | -0.00064479 | 1.6354 | 1.6918 | -0.01107 | -1.4994 | -1.5644 | -0.011209 | 1.463 | 1.7351 | 96.2522 | 23.8875 | -126.3488 | 94.69 | -156.3771 | 53.8329 | 1.2681 | 0.58129 | 0.59333 | 1.2477 | 0.60107 | 0.64864 | 0.42984 | -111.2437 | 98.7425 | 1.3978 | -114.5625 | 99.5562

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0056584 | 0.94804 | 0.97272 | 0.0044458 | 0.94804 | 0.97209 | 0.065338 | 10.947 | 11.232 | 0.051335 | 10.947 | 11.2247 | -0.0074312 | 6.5488 | 6.5962 | 0.0060545 | -5.3091 | -5.4641 | -0.076018 | 3.8732 | 7.2824 | 0.062721 | -4.2654 | -5.7237 | 101.3735 | -156.5777 | 53.9887 | -82.0471 | 23.4978 | -126.0748 | 1.169 | 0.69503 | 0.87479 | 1.2275 | 0.62211 | 0.70497 | 5.7902 | -125.9765 | 101.8192 | 2.4392 | -117.7231 | 100.2543
Line_1 | 0.00075991 | 0.6326 | 0.64649 | 0.0022415 | 0.6322 | 0.64756 | 0.0087747 | 7.3046 | 7.4651 | 0.025882 | 7.3 | 7.4773 | 0.0011288 | -2.999 | -3.1344 | -0.0027448 | 3.5435 | 3.6369 | 0.01107 | -3.0059 | -3.1294 | -0.031651 | 2.8404 | 3.8158 | -83.7479 | 23.6907 | -126.212 | 97.3956 | -156.4386 | 53.8794 | 1.2681 | 0.58129 | 0.59333 | 1.2275 | 0.62211 | 0.70497 | 0.42984 | -111.2437 | 98.7425 | 2.4392 | -117.7231 | 100.2543
Line_2 | 0.0007793 | 0.31616 | 0.32356 | 0.0022045 | 0.31584 | 0.32453 | 0.0089986 | 3.6507 | 3.7361 | 0.025456 | 3.647 | 3.7474 | 0.00064479 | -1.6354 | -1.6918 | -0.0033097 | 1.7656 | 1.8273 | 0.011209 | -1.463 | -1.7351 | -0.03107 | 1.425 | 1.908 | -85.31 | 23.6229 | -126.1671 | 98.5195 | -156.6295 | 54.0166 | 1.2477 | 0.60107 | 0.64864 | 1.2275 | 0.62211 | 0.70497 | 1.3978 | -114.5625 | 99.5562 | 2.4392 | -117.7231 | 100.2543
Line_3 | 0.00075991 | 0.31664 | 0.32241 | 0.0007793 | 0.31616 | 0.32356 | 0.0087747 | 3.6563 | 3.7228 | 0.0089986 | 3.6507 | 3.7361 | -0.0011288 | -1.5063 | -1.5594 | -0.00064479 | 1.6354 | 1.6918 | -0.01107 | -1.4994 | -1.5644 | -0.011209 | 1.463 | 1.7351 | 96.2522 | 23.8875 | -126.3488 | 94.69 | -156.3771 | 53.8329 | 1.2681 | 0.58129 | 0.59333 | 1.2477 | 0.60107 | 0.64864 | 0.42984 | -111.2437 | 98.7425 | 1.3978 | -114.5625 | 99.5562